## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29727 | 2021-02-23 12:09 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8096 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.747 | 161490.6019 | 313457.7985 | 33.25 | 68.6
29737 | 2021-02-23 12:09 | 0.34168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6796 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.751 | 161475.4531 | 313471.8577 | 33.25 | 68.6
29747 | 2021-02-23 12:10 | 0.67474 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7207 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.749 | 161477.5378 | 313456.9341 | 33.25 | 68.6
29757 | 2021-02-23 12:10 | 1.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5908 | μmol/L | 15.605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.753 | 161470.6673 | 313447.906 | 33.25 | 68.6
29767 | 2021-02-23 12:10 | 1.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5226 | μmol/L | 15.6111 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.754 | 161465.0677 | 313437.5331 | 33.25 | 68.6
29777 | 2021-02-23 12:11 | 1.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5973 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.755 | 161462.2135 | 313427.6829 | 33.25 | 68.6
29787 | 2021-02-23 12:11 | 2.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4404 | μmol/L | 15.6111 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.758 | 161464.9048 | 313407.6223 | 33.25 | 68.6
29797 | 2021-02-23 12:11 | 2.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4674 | μmol/L | 15.605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.759 | 161472.3534 | 313388.1398 | 33.25 | 68.6
29807 | 2021-02-23 12:12 | 2.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3647 | μmol/L | 15.605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.764 | 161489.884 | 313395.9875 | 33.25 | 68.6
29817 | 2021-02-23 12:12 | 3.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4048 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.769 | 161515.0455 | 313388.3427 | 33.25 | 68.6
29827 | 2021-02-23 12:12 | 3.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3227 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.773 | 161534.6257 | 313357.597 | 33.25 | 68.6
29837 | 2021-02-23 12:13 | 3.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3432 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.772 | 161544.7042 | 313363.7676 | 33.25 | 68.6
29847 | 2021-02-23 12:13 | 4.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.234 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.775 | 161543.0752 | 313357.4301 | 33.25 | 68.6
29857 | 2021-02-23 12:13 | 4.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1659 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.776 | 161536.1959 | 313333.9579 | 33.25 | 68.6
29867 | 2021-02-23 12:14 | 4.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0503 | μmol/L | 15.6111 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.777 | 161538.5446 | 313342.564 | 33.25 | 68.6
29877 | 2021-02-23 12:14 | 5.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0158 | μmol/L | 15.605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.781 | 161552.7317 | 313341.2354 | 33.25 | 68.6
29887 | 2021-02-23 12:14 | 5.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0633 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.781 | 161555.4781 | 313347.4732 | 33.25 | 68.6
29897 | 2021-02-23 12:15 | 5.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1314 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.78 | 161555.382 | 313347.3612 | 33.25 | 68.6
29907 | 2021-02-23 12:15 | 6.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1109 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.781 | 161552.6738 | 313337.2198 | 33.25 | 68.6
29917 | 2021-02-23 12:15 | 6.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0083 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.786 | 161562.3597 | 313337.0591 | 33.25 | 68.6
29927 | 2021-02-23 12:16 | 6.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0764 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.785 | 161568.0813 | 313344.6685 | 33.25 | 68.6
29937 | 2021-02-23 12:16 | 7.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9738 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.79 | 161572.8246 | 313339.2363 | 33.25 | 68.6
29947 | 2021-02-23 12:16 | 7.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8378 | μmol/L | 15.599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.792 | 161590.738 | 313330.6468 | 33.25 | 68.6
29957 | 2021-02-23 12:17 | 7.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9263 | μmol/L | 15.5929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.79 | 161599.4662 | 313334.8904 | 33.25 | 68.6
29967 | 2021-02-23 12:17 | 8.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9328 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.792 | 161589.7153 | 313333.5189 | 33.25 | 68.6
29977 | 2021-02-23 12:17 | 8.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8984 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.796 | 161594.596 | 313315.0567 | 33.25 | 68.6
29987 | 2021-02-23 12:18 | 8.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9459 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.796 | 161605.0962 | 313328.5759 | 33.25 | 68.6
29997 | 2021-02-23 12:18 | 9.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9394 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.794 | 161608.4174 | 313322.1356 | 33.25 | 68.6
30007 | 2021-02-23 12:18 | 9.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8164 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.8 | 161618.6889 | 313321.2972 | 33.25 | 68.6
30017 | 2021-02-23 12:19 | 9.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7689 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.8 | 161628.2759 | 313310.3048 | 33.25 | 68.6
30027 | 2021-02-23 12:19 | 10.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7484 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.801 | 161636.3267 | 313313.7526 | 33.25 | 68.6
30037 | 2021-02-23 12:19 | 10.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7345 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 161661.1439 | 313308.7951 | 33.25 | 68.6
30047 | 2021-02-23 12:20 | 10.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.823 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.802 | 161655.2613 | 313298.0641 | 33.25 | 68.6
30057 | 2021-02-23 12:20 | 11.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6592 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.81 | 161684.4754 | 313305.9146 | 33.25 | 68.6
30067 | 2021-02-23 12:20 | 11.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5912 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.811 | 161700.0301 | 313308.3389 | 33.25 | 68.6
30077 | 2021-02-23 12:21 | 11.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5847 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.809 | 161700.9404 | 313304.5231 | 33.25 | 68.6
30087 | 2021-02-23 12:21 | 12.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6117 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.81 | 161700.5806 | 313292.6214 | 33.25 | 68.6
30097 | 2021-02-23 12:21 | 12.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5028 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.813 | 161700.4971 | 313303.7146 | 33.25 | 68.6
30107 | 2021-02-23 12:22 | 12.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4415 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 161712.8412 | 313288.2875 | 33.25 | 68.6
30117 | 2021-02-23 12:22 | 13.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4889 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 161720.9359 | 313288.974 | 33.25 | 68.6
30127 | 2021-02-23 12:22 | 13.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6109 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 161729.2659 | 313284.5238 | 33.25 | 68.6
30137 | 2021-02-23 12:23 | 13.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6518 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 161735.1928 | 313305.5485 | 33.25 | 68.6
30147 | 2021-02-23 12:23 | 14.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6314 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 161745.0087 | 313291.3754 | 33.25 | 68.6
30157 | 2021-02-23 12:23 | 14.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4546 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 161756.665 | 313290.6996 | 33.25 | 68.6
30167 | 2021-02-23 12:24 | 14.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4137 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.822 | 161759.1877 | 313290.5 | 33.25 | 68.6
30177 | 2021-02-23 12:24 | 15.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3867 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.821 | 161756.3304 | 313295.0351 | 33.25 | 68.6
30187 | 2021-02-23 12:24 | 15.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.278 | μmol/L | 15.5868 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.824 | 161776.79 | 313289.497 | 33.25 | 68.6
30197 | 2021-02-23 12:25 | 15.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3524 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.825 | 161779.8534 | 313270.5527 | 33.25 | 68.6
30207 | 2021-02-23 12:25 | 16.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.305 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.825 | 161794.4251 | 313273.0215 | 33.25 | 68.6
30217 | 2021-02-23 12:25 | 16.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3319 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.826 | 161799.1465 | 313277.8051 | 33.25 | 68.6
30227 | 2021-02-23 12:26 | 16.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3246 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.831 | 161822.0002 | 313267.7283 | 33.25 | 68.6
30237 | 2021-02-23 12:26 | 17.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2298 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.831 | 161832.2775 | 313269.1004 | 33.25 | 68.6
30247 | 2021-02-23 12:26 | 17.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1955 | μmol/L | 15.5686 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.835 | 161846.3408 | 313260.5551 | 33.25 | 68.6
30257 | 2021-02-23 12:27 | 17.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2904 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.835 | 161846.7752 | 313250.8593 | 33.25 | 68.6
30267 | 2021-02-23 12:27 | 18.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1751 | μmol/L | 15.5686 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.836 | 161853.5617 | 313249.523 | 33.25 | 68.6
30277 | 2021-02-23 12:27 | 18.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1547 | μmol/L | 15.5686 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.837 | 161857.0589 | 313245.6005 | 33.25 | 68.6
30287 | 2021-02-23 12:28 | 18.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1138 | μmol/L | 15.5686 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.839 | 161877.2897 | 313261.4565 | 33.25 | 68.6
30297 | 2021-02-23 12:28 | 19.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0796 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.843 | 161894.796 | 313246.578 | 33.25 | 68.6
30307 | 2021-02-23 12:28 | 19.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0052 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.842 | 161903.9858 | 313232.3673 | 33.25 | 68.6
30317 | 2021-02-23 12:29 | 19.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8559 | μmol/L | 15.5807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.847 | 161925.202 | 313238.1446 | 33.25 | 68.6
30327 | 2021-02-23 12:29 | 20.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.9236 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.846 | 161941.9341 | 313230.0944 | 33.25 | 68.6
30337 | 2021-02-23 12:29 | 20.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.869 | μmol/L | 15.5686 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.851 | 161959.8855 | 313232.9521 | 33.25 | 68.6
30347 | 2021-02-23 12:30 | 20.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8421 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.85 | 161968.9793 | 313243.8158 | 33.25 | 68.6
30357 | 2021-02-23 12:30 | 21.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8013 | μmol/L | 15.5746 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.852 | 161982.46 | 313249.5702 | 33.25 | 68.6
30367 | 2021-02-23 12:30 | 21.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8348 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.855 | 161999.6865 | 313254.8493 | 33.25 | 68.6
30377 | 2021-02-23 12:31 | 21.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0177 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.853 | 162006.685 | 313246.4663 | 33.25 | 68.6
30387 | 2021-02-23 12:31 | 22.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8618 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.856 | 162019.7946 | 313251.4402 | 33.25 | 68.6
30397 | 2021-02-23 12:31 | 22.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7803 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.86 | 162022.2127 | 313238.5048 | 33.25 | 68.6
30407 | 2021-02-23 12:32 | 22.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.9361 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.857 | 162031.3831 | 313250.4225 | 33.25 | 68.6
30417 | 2021-02-23 12:32 | 23.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.848 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.859 | 162048.2372 | 313247.8255 | 33.25 | 68.6
30427 | 2021-02-23 12:32 | 23.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6922 | μmol/L | 15.5625 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.862 | 162054.0095 | 313250.7837 | 33.25 | 68.6
30437 | 2021-02-23 12:33 | 23.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7191 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.863 | 162058.8515 | 313247.4754 | 33.25 | 68.6
30447 | 2021-02-23 12:33 | 24.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8816 | μmol/L | 15.5382 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.862 | 162069.3277 | 313248.2569 | 33.25 | 68.6
30457 | 2021-02-23 12:33 | 24.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8342 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.862 | 162086.6072 | 313256.7402 | 33.25 | 68.6
30467 | 2021-02-23 12:34 | 24.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8744 | μmol/L | 15.526 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.867 | 162093.5176 | 313253.8682 | 33.25 | 68.6
30477 | 2021-02-23 12:34 | 25.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8744 | μmol/L | 15.526 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.867 | 162093.3601 | 313253.6832 | 33.25 | 68.6
30487 | 2021-02-23 12:34 | 25.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7593 | μmol/L | 15.5382 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.868 | 162112.5684 | 313254.6143 | 33.25 | 68.6
30497 | 2021-02-23 12:35 | 25.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.597 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.869 | 162137.8076 | 313256.7753 | 33.25 | 68.6
30507 | 2021-02-23 12:35 | 26.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5221 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.875 | 162155.1171 | 313255.7169 | 33.25 | 68.6
30517 | 2021-02-23 12:35 | 26.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5084 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.878 | 162174.0578 | 313244.9787 | 33.25 | 68.6
30527 | 2021-02-23 12:36 | 26.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.4 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.881 | 162199.0589 | 313251.939 | 33.25 | 68.6
30537 | 2021-02-23 12:36 | 27.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.4066 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.883 | 162214.4858 | 313257.7293 | 33.25 | 68.6
30547 | 2021-02-23 12:36 | 27.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.366 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.885 | 162230.7021 | 313239.9318 | 33.25 | 68.6
30557 | 2021-02-23 12:37 | 27.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2918 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.884 | 162237.853 | 313250.9533 | 33.25 | 68.6
30567 | 2021-02-23 12:37 | 28.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3187 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.885 | 162260.2093 | 313244.3197 | 33.25 | 68.6
30577 | 2021-02-23 12:37 | 28.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.1902 | μmol/L | 15.5564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.889 | 162281.1572 | 313256.852 | 33.25 | 68.6
30587 | 2021-02-23 12:38 | 28.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2171 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.89 | 162292.6538 | 313242.5138 | 33.25 | 68.6
30597 | 2021-02-23 12:38 | 29.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2033 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.893 | 162312.7208 | 313260.5958 | 33.25 | 68.6
30607 | 2021-02-23 12:38 | 29.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.1155 | μmol/L | 15.5503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.895 | 162334.2162 | 313258.4814 | 33.25 | 68.6
30617 | 2021-02-23 12:39 | 29.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.0409 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.901 | 162334.2287 | 313258.714 | 33.25 | 68.6
30627 | 2021-02-23 12:39 | 30.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.0815 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.899 | 162345.9902 | 313260.0427 | 33.25 | 68.6
30637 | 2021-02-23 12:39 | 30.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.1084 | μmol/L | 15.5382 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.9 | 162368.1702 | 313258.6793 | 33.25 | 68.6
30647 | 2021-02-23 12:40 | 30.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.0409 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.901 | 162383.9152 | 313266.8957 | 33.25 | 68.6
30657 | 2021-02-23 12:40 | 31.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.0409 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.901 | 162404.2265 | 313246.4871 | 33.25 | 68.6
30667 | 2021-02-23 12:40 | 31.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8988 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.908 | 162413.8858 | 313253.1693 | 33.25 | 68.6
30677 | 2021-02-23 12:41 | 31.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8988 | μmol/L | 15.5442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.908 | 162438.3543 | 313256.3396 | 33.25 | 68.6
30687 | 2021-02-23 12:41 | 32.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.9729 | μmol/L | 15.5321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.909 | 162460.9028 | 313252.5683 | 33.25 | 68.6
30697 | 2021-02-23 12:41 | 32.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8445 | μmol/L | 15.5382 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.913 | 162468.4906 | 313249.1475 | 33.25 | 68.6
30707 | 2021-02-23 12:42 | 32.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.9323 | μmol/L | 15.5321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.911 | 162479.9039 | 313267.1356 | 33.25 | 68.6
30717 | 2021-02-23 12:42 | 33.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8512 | μmol/L | 15.5321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.915 | 162491.4103 | 313255.1175 | 33.25 | 68.6
30727 | 2021-02-23 12:42 | 33.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8243 | μmol/L | 15.5382 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.914 | 162509.8147 | 313246.3558 | 33.25 | 68.6
30737 | 2021-02-23 12:43 | 33.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7767 | μmol/L | 15.526 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.921 | 162513.0603 | 313248.7208 | 33.25 | 68.6
30747 | 2021-02-23 12:43 | 34.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7498 | μmol/L | 15.5321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.92 | 162512.6943 | 313233.4596 | 33.25 | 68.6
30757 | 2021-02-23 12:43 | 34.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8035 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.922 | 162524.815 | 313225.916 | 33.25 | 68.6
30767 | 2021-02-23 12:44 | 34.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7092 | μmol/L | 15.5321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.922 | 162516.626 | 313224.2405 | 33.25 | 68.6
30777 | 2021-02-23 12:44 | 35.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7158 | μmol/L | 15.526 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.924 | 162525.9826 | 313211.312 | 33.25 | 68.6
30787 | 2021-02-23 12:44 | 35.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7158 | μmol/L | 15.526 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.924 | 162538.3852 | 313205.78 | 33.25 | 68.6
30797 | 2021-02-23 12:45 | 35.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7022 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.927 | 162540.3416 | 313203.6012 | 33.25 | 68.6
30807 | 2021-02-23 12:45 | 36.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7225 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.926 | 162542.355 | 313198.6148 | 33.25 | 68.6
30817 | 2021-02-23 12:45 | 36.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.6009 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.932 | 162559.6762 | 313190.0274 | 33.25 | 68.6
30827 | 2021-02-23 12:46 | 36.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.6075 | μmol/L | 15.5138 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.934 | 162582.1661 | 313181.8919 | 33.25 | 68.6
30837 | 2021-02-23 12:46 | 37.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.6344 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.935 | 162586.7229 | 313161.8579 | 33.25 | 68.6
30847 | 2021-02-23 12:46 | 37.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.5331 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.94 | 162600.5005 | 313142.7881 | 33.25 | 68.6
30857 | 2021-02-23 12:47 | 37.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.4658 | μmol/L | 15.5138 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.941 | 162629.2422 | 313138.999 | 33.25 | 68.6
30867 | 2021-02-23 12:47 | 38.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.3175 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.946 | 162625.3548 | 313129.0793 | 33.25 | 68.6
30877 | 2021-02-23 12:47 | 38.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.3848 | μmol/L | 15.5138 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.945 | 162632.1649 | 313119.6685 | 33.25 | 68.6
30887 | 2021-02-23 12:48 | 38.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.3039 | μmol/L | 15.5138 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.949 | 162644.774 | 313129.704 | 33.25 | 68.6
30897 | 2021-02-23 12:48 | 39.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.351 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.949 | 162664.8901 | 313121.0776 | 33.25 | 68.6
30907 | 2021-02-23 12:48 | 39.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.3106 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.951 | 162671.6232 | 313128.5015 | 33.25 | 68.6
30917 | 2021-02-23 12:49 | 39.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.4519 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.951 | 162681.7929 | 313111.8573 | 33.25 | 68.6
30927 | 2021-02-23 12:49 | 40.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.3709 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.955 | 162701.4897 | 313102.9295 | 33.25 | 68.6
30937 | 2021-02-23 12:49 | 40.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.2161 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.958 | 162707.0643 | 313107.6348 | 33.25 | 68.6
30947 | 2021-02-23 12:50 | 40.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.1488 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.959 | 162701.8082 | 313100.7259 | 33.25 | 68.6
30957 | 2021-02-23 12:50 | 41.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.169 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.958 | 162696.622 | 313094.0871 | 33.25 | 68.6
30967 | 2021-02-23 12:50 | 41.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.2499 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.954 | 162691.2525 | 313094.4274 | 33.25 | 68.6
30977 | 2021-02-23 12:51 | 41.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0749 | μmol/L | 15.5199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.958 | 162689.5631 | 313082.4535 | 33.25 | 68.6
30987 | 2021-02-23 12:51 | 42.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.1488 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.959 | 162695.0776 | 313079.76 | 33.25 | 68.6
30997 | 2021-02-23 12:51 | 42.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.1353 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.962 | 162701.1323 | 313078.6501 | 33.25 | 68.6
31007 | 2021-02-23 12:52 | 42.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0882 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.962 | 162711.0621 | 313071.5845 | 33.25 | 68.6
31017 | 2021-02-23 12:52 | 43.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0746 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.965 | 162708.611 | 313057.9082 | 33.25 | 68.6
31027 | 2021-02-23 12:52 | 43.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0074 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.966 | 162716.8923 | 313075.4605 | 33.25 | 68.6
31037 | 2021-02-23 12:53 | 43.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0074 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.966 | 162725.9606 | 313068.1526 | 33.25 | 68.6
31047 | 2021-02-23 12:53 | 44.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.9468 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.969 | 162739.1688 | 313062.7136 | 33.25 | 68.6
31057 | 2021-02-23 12:53 | 44.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8863 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.972 | 162741.046 | 313046.6753 | 33.25 | 68.6
31067 | 2021-02-23 12:54 | 44.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8929 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.974 | 162772.2544 | 313059.6888 | 33.25 | 68.6
31077 | 2021-02-23 12:54 | 45.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8929 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.974 | 162780.9714 | 313041.7303 | 33.25 | 68.6
31087 | 2021-02-23 12:54 | 45.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8257 | μmol/L | 15.5078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.975 | 162777.794 | 313017.3635 | 33.25 | 68.6
31097 | 2021-02-23 12:55 | 45.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8794 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.977 | 162786.1031 | 313026.9157 | 33.25 | 68.6
31107 | 2021-02-23 12:55 | 46.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.9264 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.977 | 162792.8514 | 313035.8396 | 33.25 | 68.6
31117 | 2021-02-23 12:55 | 46.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.886 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.979 | 162799.164 | 313026.8987 | 33.25 | 68.6
31127 | 2021-02-23 12:56 | 46.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.7987 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.981 | 162807.3515 | 313022.7832 | 33.25 | 68.6
31137 | 2021-02-23 12:56 | 47.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.7785 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.982 | 162805.7741 | 313001.115 | 33.25 | 68.6
31147 | 2021-02-23 12:56 | 47.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6978 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.986 | 162819.7459 | 313009.8615 | 33.25 | 68.6
31157 | 2021-02-23 12:57 | 47.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6978 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.986 | 162830.1757 | 313007.0512 | 33.25 | 68.6
31167 | 2021-02-23 12:57 | 48.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6777 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.987 | 162833.5235 | 312981.8791 | 33.25 | 68.6
31177 | 2021-02-23 12:57 | 48.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6106 | μmol/L | 15.5017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.988 | 162847.1902 | 312990.1679 | 33.25 | 68.6
31187 | 2021-02-23 12:58 | 48.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6172 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.99 | 162865.3399 | 312991.9152 | 33.25 | 68.6
31197 | 2021-02-23 12:58 | 49.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5769 | μmol/L | 15.4956 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.992 | 162864.4481 | 312989.3507 | 33.25 | 68.6
31207 | 2021-02-23 12:58 | 49.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6642 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.99 | 162869.966 | 312975.883 | 33.25 | 68.6
31217 | 2021-02-23 12:59 | 49.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5231 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.997 | 162879.7815 | 312977.5049 | 33.25 | 68.6
31227 | 2021-02-23 12:59 | 50.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5634 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.995 | 162891.1486 | 312982.4007 | 33.25 | 68.6
31237 | 2021-02-23 12:59 | 50.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5298 | μmol/L | 15.4835 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.999 | 162900.1716 | 312982.0316 | 33.25 | 68.6
31247 | 2021-02-23 13:00 | 50.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4023 | μmol/L | 15.4895 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.003 | 162918.8285 | 312973.8314 | 33.25 | 68.6
31257 | 2021-02-23 13:00 | 51.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5566 | μmol/L | 15.4774 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24 | 162929.9308 | 312962.8493 | 33.25 | 68.6
31267 | 2021-02-23 13:00 | 51.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5901 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.003 | 162936.8424 | 312980.0194 | 33.25 | 68.6
31277 | 2021-02-23 13:01 | 51.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.57 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.004 | 162939.6332 | 312964.538 | 33.25 | 68.6
31287 | 2021-02-23 13:01 | 52.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4559 | μmol/L | 15.4774 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.005 | 162943.9739 | 312975.5339 | 33.25 | 68.6
31297 | 2021-02-23 13:01 | 52.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4626 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.007 | 162962.1147 | 312973.7208 | 33.25 | 68.6
31307 | 2021-02-23 13:02 | 52.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4022 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.01 | 162974.1472 | 312974.2867 | 33.25 | 68.6
31317 | 2021-02-23 13:02 | 53.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4022 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.01 | 162968.2686 | 312955.6897 | 33.25 | 68.6
31327 | 2021-02-23 13:02 | 53.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3418 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.013 | 162983.6405 | 312951.9049 | 33.25 | 68.6
31337 | 2021-02-23 13:03 | 53.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.4089 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.012 | 163002.858 | 312949.8974 | 33.25 | 68.6
31347 | 2021-02-23 13:03 | 54.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3954 | μmol/L | 15.4591 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.015 | 163012.8233 | 312954.1614 | 33.25 | 68.6
31357 | 2021-02-23 13:03 | 54.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3753 | μmol/L | 15.4591 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.016 | 163018.2147 | 312941.3367 | 33.25 | 68.6
31367 | 2021-02-23 13:04 | 54.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3954 | μmol/L | 15.4591 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.015 | 163031.5516 | 312947.6426 | 33.25 | 68.6
31377 | 2021-02-23 13:04 | 55.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.2479 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.02 | 163029.9029 | 312937.8813 | 33.25 | 68.6
31387 | 2021-02-23 13:04 | 55.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3149 | μmol/L | 15.4591 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.019 | 163046.281 | 312942.2194 | 33.25 | 68.6
31397 | 2021-02-23 13:05 | 55.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1541 | μmol/L | 15.4774 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.02 | 163038.754 | 312938.3508 | 33.25 | 68.6
31407 | 2021-02-23 13:05 | 56.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1206 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.024 | 163052.1382 | 312923.1254 | 33.25 | 68.6
31417 | 2021-02-23 13:05 | 56.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.201 | μmol/L | 15.4713 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.02 | 163057.2041 | 312921.1643 | 33.25 | 68.6
31427 | 2021-02-23 13:06 | 56.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1473 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.025 | 163081.1382 | 312935.5685 | 33.25 | 68.6
31437 | 2021-02-23 13:06 | 57.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.2009 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.027 | 163076.8944 | 312939.4634 | 33.25 | 68.6
31447 | 2021-02-23 13:06 | 57.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1808 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.028 | 163074.4389 | 312930.2253 | 33.25 | 68.6
31457 | 2021-02-23 13:07 | 57.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1138 | μmol/L | 15.4591 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.029 | 163092.2341 | 312935.2672 | 33.25 | 68.6
31467 | 2021-02-23 13:07 | 58.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0268 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.031 | 163088.7277 | 312927.5828 | 33.25 | 68.6
31477 | 2021-02-23 13:07 | 58.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0268 | μmol/L | 15.4652 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.031 | 163099.6584 | 312912.3049 | 33.25 | 68.6
31487 | 2021-02-23 13:08 | 58.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0602 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.034 | 163116.5856 | 312939.6015 | 33.25 | 68.6
31497 | 2021-02-23 13:08 | 59.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0401 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.035 | 163122.8175 | 312925.443 | 33.25 | 68.6
31507 | 2021-02-23 13:08 | 59.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0803 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.033 | 163128.0676 | 312927.9704 | 33.25 | 68.6
31517 | 2021-02-23 13:09 | 59.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0267 | μmol/L | 15.447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.038 | 163145.7807 | 312921.4516 | 33.25 | 68.6
31527 | 2021-02-23 13:09 | 60.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9799 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.038 | 163160.5007 | 312914.7165 | 33.25 | 68.6
31537 | 2021-02-23 13:09 | 60.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9665 | μmol/L | 15.447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.041 | 163168.1277 | 312917.5459 | 33.25 | 68.6
31547 | 2021-02-23 13:10 | 60.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8995 | μmol/L | 15.4531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.042 | 163180.5323 | 312905.1142 | 33.25 | 68.6
31557 | 2021-02-23 13:10 | 61.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9263 | μmol/L | 15.447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.043 | 163182.2355 | 312913.9376 | 33.25 | 68.6
31567 | 2021-02-23 13:10 | 61.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9062 | μmol/L | 15.447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.044 | 163199.1519 | 312906.4345 | 33.25 | 68.6
31577 | 2021-02-23 13:11 | 61.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.826 | μmol/L | 15.447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.048 | 163207.7159 | 312925.8573 | 33.25 | 68.6
31587 | 2021-02-23 13:11 | 62.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8929 | μmol/L | 15.4409 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.047 | 163215.3215 | 312915.1595 | 33.25 | 68.6
31597 | 2021-02-23 13:11 | 62.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8996 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.049 | 163228.6174 | 312914.3406 | 33.25 | 68.6
31607 | 2021-02-23 13:12 | 62.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8327 | μmol/L | 15.4409 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.05 | 163237.5031 | 312914.031 | 33.25 | 68.6
31617 | 2021-02-23 13:12 | 63.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8193 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.053 | 163241.9929 | 312909.8266 | 33.25 | 68.6
31627 | 2021-02-23 13:12 | 63.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8594 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.051 | 163245.2742 | 312891.641 | 33.25 | 68.6
31637 | 2021-02-23 13:13 | 63.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8461 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.054 | 163252.2425 | 312898.103 | 33.25 | 68.6
31647 | 2021-02-23 13:13 | 64.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.826 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.055 | 163259.8989 | 312895.4494 | 33.25 | 68.6
31657 | 2021-02-23 13:13 | 64.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.7591 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.056 | 163272.9222 | 312914.4245 | 33.25 | 68.6
31667 | 2021-02-23 13:14 | 64.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.7792 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.055 | 163273.3602 | 312900.2371 | 33.25 | 68.6
31677 | 2021-02-23 13:14 | 65.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.719 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.058 | 163296.6811 | 312904.9988 | 33.25 | 68.6
31687 | 2021-02-23 13:14 | 65.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6789 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.06 | 163311.1099 | 312903.4248 | 33.25 | 68.6
31697 | 2021-02-23 13:15 | 65.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6187 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.063 | 163320.1081 | 312905.7734 | 33.25 | 68.6
31707 | 2021-02-23 13:15 | 66.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6388 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.062 | 163330.336 | 312906.6484 | 33.25 | 68.6
31717 | 2021-02-23 13:15 | 66.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5987 | μmol/L | 15.4348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.064 | 163330.5081 | 312909.9957 | 33.25 | 68.6
31727 | 2021-02-23 13:16 | 66.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6254 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.065 | 163355.2325 | 312909.1325 | 33.25 | 68.6
31737 | 2021-02-23 13:16 | 67.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5854 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.067 | 163365.9898 | 312908.55 | 33.25 | 68.6
31747 | 2021-02-23 13:16 | 67.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6322 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.067 | 163367.1129 | 312897.8292 | 33.25 | 68.6
31757 | 2021-02-23 13:17 | 67.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5453 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.069 | 163384.0631 | 312908.3619 | 33.25 | 68.6
31767 | 2021-02-23 13:17 | 68.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4651 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.073 | 163390.4939 | 312897.7056 | 33.25 | 68.6
31777 | 2021-02-23 13:17 | 68.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4719 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.075 | 163409.1942 | 312910.6447 | 33.25 | 68.6
31787 | 2021-02-23 13:18 | 68.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5119 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.073 | 163418.0263 | 312900.8678 | 33.25 | 68.6
31797 | 2021-02-23 13:18 | 69.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4719 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.075 | 163428.8684 | 312916.35 | 33.25 | 68.6
31807 | 2021-02-23 13:18 | 69.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4318 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.077 | 163437.5585 | 312909.3069 | 33.25 | 68.6
31817 | 2021-02-23 13:19 | 69.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4385 | μmol/L | 15.4166 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.079 | 163456.6614 | 312918.9354 | 33.25 | 68.6
31827 | 2021-02-23 13:19 | 70.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.3517 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.081 | 163474.8263 | 312918.9195 | 33.25 | 68.6
31837 | 2021-02-23 13:19 | 70.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.3717 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.08 | 163480.5426 | 312909.5301 | 33.25 | 68.6
31847 | 2021-02-23 13:20 | 70.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.2917 | μmol/L | 15.4227 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.084 | 163488.4552 | 312914.4482 | 33.25 | 68.6
31856 | 2021-02-23 13:20 | 71.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.2249 | μmol/L | 15.4287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.085 | 163508.3989 | 312925.2305 | 33.25 | 68.6