## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31866 | 2021-02-23 15:03 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.6121 | μmol/L | 19.1692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.756 | 164538.5524 | 313635.7219 | 33.25 | 68.6
31876 | 2021-02-23 15:03 | 0.32664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.5015 | μmol/L | 19.1692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.762 | 164535.2789 | 313636.4204 | 33.25 | 68.6
31886 | 2021-02-23 15:04 | 0.66015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.4236 | μmol/L | 19.1753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.764 | 164573.1907 | 313651.7067 | 33.25 | 68.6
31896 | 2021-02-23 15:04 | 0.99397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.2537 | μmol/L | 19.1814 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.771 | 164599.3501 | 313648.4241 | 33.25 | 68.6
31906 | 2021-02-23 15:04 | 1.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.2212 | μmol/L | 19.1753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.775 | 164646.6767 | 313642.0314 | 33.25 | 68.6
31916 | 2021-02-23 15:05 | 1.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.2028 | μmol/L | 19.1753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.776 | 164663.0486 | 313620.2189 | 33.25 | 68.6
31926 | 2021-02-23 15:05 | 1.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0515 | μmol/L | 19.1814 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.782 | 164667.9893 | 313625.3283 | 33.25 | 68.6
31936 | 2021-02-23 15:05 | 2.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0373 | μmol/L | 19.1753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.785 | 164662.1488 | 313617.3024 | 33.25 | 68.6
31946 | 2021-02-23 15:06 | 2.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.101 | μmol/L | 19.1631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.786 | 164651.8596 | 313587.2484 | 33.25 | 68.6
31956 | 2021-02-23 15:06 | 2.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.2382 | μmol/L | 19.151 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.783 | 164661.7522 | 313593.7499 | 33.25 | 68.6
31966 | 2021-02-23 15:06 | 3.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1052 | μmol/L | 19.1571 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.788 | 164656.7559 | 313566.7874 | 33.25 | 68.6
31976 | 2021-02-23 15:07 | 3.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1873 | μmol/L | 19.1449 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.788 | 164667.567 | 313570.0403 | 33.25 | 68.6
31986 | 2021-02-23 15:07 | 3.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.995 | μmol/L | 19.1571 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.794 | 164667.9901 | 313556.6527 | 33.25 | 68.6
31996 | 2021-02-23 15:07 | 4.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1406 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.795 | 164671.4279 | 313541.6377 | 33.25 | 68.6
32006 | 2021-02-23 15:08 | 4.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0996 | μmol/L | 19.1388 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.795 | 164666.3635 | 313538.0488 | 33.25 | 68.6
32016 | 2021-02-23 15:08 | 4.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.159 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.794 | 164656.133 | 313539.2937 | 33.25 | 68.6
32026 | 2021-02-23 15:08 | 5.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.159 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.794 | 164644.7567 | 313533.9693 | 33.25 | 68.6
32036 | 2021-02-23 15:09 | 5.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.118 | μmol/L | 19.1388 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.794 | 164644.948 | 313516.4309 | 33.25 | 68.6
32046 | 2021-02-23 15:09 | 5.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0488 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.8 | 164664.7986 | 313532.9471 | 33.25 | 68.6
32056 | 2021-02-23 15:09 | 6.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1081 | μmol/L | 19.1266 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.799 | 164672.9466 | 313518.0781 | 33.25 | 68.6
32066 | 2021-02-23 15:10 | 6.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0206 | μmol/L | 19.1205 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.806 | 164699.7623 | 313500.7282 | 33.25 | 68.6
32076 | 2021-02-23 15:10 | 6.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0616 | μmol/L | 19.1145 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.806 | 164719.178 | 313516.0337 | 33.25 | 68.6
32086 | 2021-02-23 15:10 | 7.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0065 | μmol/L | 19.1145 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.809 | 164728.4645 | 313500.891 | 33.25 | 68.6
32096 | 2021-02-23 15:11 | 7.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0744 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.812 | 164739.6868 | 313502.6249 | 33.25 | 68.6
32106 | 2021-02-23 15:11 | 7.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.083 | μmol/L | 19.084 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.816 | 164750.0646 | 313506.8119 | 33.25 | 68.6
32116 | 2021-02-23 15:11 | 8.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.9826 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.817 | 164766.4466 | 313484.785 | 33.25 | 68.6
32126 | 2021-02-23 15:12 | 8.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.9049 | μmol/L | 19.1023 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.819 | 164777.5466 | 313508.9234 | 33.25 | 68.6
32136 | 2021-02-23 15:12 | 8.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7807 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.828 | 164792.465 | 313481.9858 | 33.25 | 68.6
32146 | 2021-02-23 15:12 | 9.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.8401 | μmol/L | 19.0901 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.827 | 164811.6089 | 313464.3241 | 33.25 | 68.6
32156 | 2021-02-23 15:13 | 9.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7624 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.829 | 164813.1283 | 313474.4474 | 33.25 | 68.6
32166 | 2021-02-23 15:13 | 9.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7807 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.828 | 164833.2527 | 313468.4082 | 33.25 | 68.6
32176 | 2021-02-23 15:13 | 10.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.785 | μmol/L | 19.0901 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.83 | 164833.4079 | 313476.3553 | 33.25 | 68.6
32186 | 2021-02-23 15:14 | 10.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7257 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.831 | 164841.7153 | 313472.3979 | 33.25 | 68.6
32196 | 2021-02-23 15:14 | 10.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.6567 | μmol/L | 19.0901 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.837 | 164852.5945 | 313464.1738 | 33.25 | 68.6
32206 | 2021-02-23 15:14 | 11.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.757 | μmol/L | 19.0779 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 164858.6532 | 313472.572 | 33.25 | 68.6
32216 | 2021-02-23 15:15 | 11.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.8023 | μmol/L | 19.0658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.838 | 164876.9008 | 313469.5401 | 33.25 | 68.6
32226 | 2021-02-23 15:15 | 11.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.8206 | μmol/L | 19.0658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.837 | 164865.9974 | 313470.1387 | 33.25 | 68.6
32236 | 2021-02-23 15:15 | 12.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.8163 | μmol/L | 19.0719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.835 | 164860.0351 | 313462.9355 | 33.25 | 68.6
32246 | 2021-02-23 15:16 | 12.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0213 | μmol/L | 19.0414 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.835 | 164846.4015 | 313469.7507 | 33.25 | 68.6
32256 | 2021-02-23 15:16 | 12.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1402 | μmol/L | 19.0293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.833 | 164844.8119 | 313460.888 | 33.25 | 68.6
32266 | 2021-02-23 15:16 | 13.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.9576 | μmol/L | 19.0536 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.834 | 164839.5499 | 313460.5165 | 33.25 | 68.6
32276 | 2021-02-23 15:17 | 13.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0354 | μmol/L | 19.0475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 164835.6906 | 313460.5391 | 33.25 | 68.6
32286 | 2021-02-23 15:17 | 13.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0537 | μmol/L | 19.0475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.831 | 164825.2494 | 313462.1879 | 33.25 | 68.6
32296 | 2021-02-23 15:17 | 14.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0354 | μmol/L | 19.0475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 164828.7308 | 313461.5922 | 33.25 | 68.6
32306 | 2021-02-23 15:18 | 14.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1218 | μmol/L | 19.0293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.834 | 164844.1471 | 313454.9719 | 33.25 | 68.6
32316 | 2021-02-23 15:18 | 14.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1542 | μmol/L | 19.0353 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.83 | 164835.6083 | 313465.8959 | 33.25 | 68.6
32326 | 2021-02-23 15:18 | 15.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.003 | μmol/L | 19.0414 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 164863.0329 | 313452.4082 | 33.25 | 68.6
32336 | 2021-02-23 15:19 | 15.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1175 | μmol/L | 19.0353 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 164866.5291 | 313458.7428 | 33.25 | 68.6
32346 | 2021-02-23 15:19 | 15.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.675 | μmol/L | 19.0901 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 164874.5355 | 313457.2765 | 33.25 | 68.6
32356 | 2021-02-23 15:19 | 16.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.5608 | μmol/L | 19.0962 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 164888.5846 | 313456.898 | 33.25 | 68.6
32366 | 2021-02-23 15:20 | 16.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.6115 | μmol/L | 19.1023 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.835 | 164906.1207 | 313453.3529 | 33.25 | 68.6
32376 | 2021-02-23 15:20 | 16.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.5522 | μmol/L | 19.1084 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 164926.5284 | 313444.1241 | 33.25 | 68.6
32386 | 2021-02-23 15:20 | 17.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.2788 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.842 | 164970.4653 | 313439.0631 | 33.25 | 68.6
32396 | 2021-02-23 15:21 | 17.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.0971 | μmol/L | 19.1571 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.843 | 164961.5902 | 313444.1834 | 33.25 | 68.6
32406 | 2021-02-23 15:21 | 17.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.9431 | μmol/L | 19.1753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.845 | 164956.5673 | 313442.9813 | 33.25 | 68.6
32416 | 2021-02-23 15:21 | 18.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.8889 | μmol/L | 19.1936 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.841 | 164977.0898 | 313446.255 | 33.25 | 68.6
32426 | 2021-02-23 15:22 | 18.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.7301 | μmol/L | 19.2118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.843 | 164975.1567 | 313448.1513 | 33.25 | 68.6
32436 | 2021-02-23 15:22 | 18.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.6626 | μmol/L | 19.2301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 164963.2448 | 313439.3237 | 33.25 | 68.6
32446 | 2021-02-23 15:22 | 19.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.6134 | μmol/L | 19.2483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 164958.4937 | 313441.1737 | 33.25 | 68.6
32456 | 2021-02-23 15:23 | 19.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.4998 | μmol/L | 19.2544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 164976.6377 | 313452.965 | 33.25 | 68.6
32466 | 2021-02-23 15:23 | 19.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.1789 | μmol/L | 19.297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.842 | 165015.41 | 313451.4854 | 33.25 | 68.6
32476 | 2021-02-23 15:23 | 20.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.1019 | μmol/L | 19.3031 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.844 | 165051.8731 | 313451.7279 | 33.25 | 68.6
32486 | 2021-02-23 15:24 | 20.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9437 | μmol/L | 19.3214 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.846 | 165095.141 | 313447.6108 | 33.25 | 68.6
32496 | 2021-02-23 15:24 | 20.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8081 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.849 | 165108.3893 | 313450.3424 | 33.25 | 68.6
32506 | 2021-02-23 15:24 | 21.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.6279 | μmol/L | 19.3579 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.85 | 165119.2974 | 313457.5617 | 33.25 | 68.6
32516 | 2021-02-23 15:25 | 21.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.5651 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.849 | 165125.693 | 313445.6131 | 33.25 | 68.6
32526 | 2021-02-23 15:25 | 21.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.5205 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.847 | 165132.858 | 313462.0224 | 33.25 | 68.6
32536 | 2021-02-23 15:25 | 22.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4759 | μmol/L | 19.3944 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165140.0253 | 313462.3143 | 33.25 | 68.6
32546 | 2021-02-23 15:26 | 22.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3769 | μmol/L | 19.4066 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.846 | 165139.1352 | 313463.733 | 33.25 | 68.6
32556 | 2021-02-23 15:26 | 22.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3142 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165163.9873 | 313479.0608 | 33.25 | 68.6
32566 | 2021-02-23 15:26 | 23.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3421 | μmol/L | 19.4309 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.839 | 165149.5857 | 313485.7905 | 33.25 | 68.6
32576 | 2021-02-23 15:27 | 23.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.1847 | μmol/L | 19.4492 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.841 | 165161.3944 | 313484.0442 | 33.25 | 68.6
32586 | 2021-02-23 15:27 | 23.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.1946 | μmol/L | 19.4613 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 165152.681 | 313484.3417 | 33.25 | 68.6
32596 | 2021-02-23 15:27 | 24.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.1361 | μmol/L | 19.4674 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.837 | 165144.3636 | 313469.0867 | 33.25 | 68.6
32606 | 2021-02-23 15:28 | 24.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0595 | μmol/L | 19.4735 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.839 | 165160.3596 | 313480.7629 | 33.25 | 68.6
32616 | 2021-02-23 15:28 | 24.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0735 | μmol/L | 19.4796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.836 | 165168.7278 | 313488.9942 | 33.25 | 68.6
32626 | 2021-02-23 15:28 | 25.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9566 | μmol/L | 19.4918 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.838 | 165168.1839 | 313485.3772 | 33.25 | 68.6
32636 | 2021-02-23 15:29 | 25.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0653 | μmol/L | 19.4918 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 165171.9655 | 313482.719 | 33.25 | 68.6
32646 | 2021-02-23 15:29 | 25.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9081 | μmol/L | 19.51 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.834 | 165187.3409 | 313496.5796 | 33.25 | 68.6
32656 | 2021-02-23 15:29 | 26.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.7872 | μmol/L | 19.5283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.834 | 165186.1043 | 313489.5407 | 33.25 | 68.6
32666 | 2021-02-23 15:30 | 26.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.6927 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.837 | 165192.2659 | 313495.6222 | 33.25 | 68.6
32676 | 2021-02-23 15:30 | 26.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.7831 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 165198.4026 | 313485.5267 | 33.25 | 68.6
32686 | 2021-02-23 15:30 | 27.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.6483 | μmol/L | 19.5465 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.835 | 165204.331 | 313486.9659 | 33.25 | 68.6
32696 | 2021-02-23 15:31 | 27.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5818 | μmol/L | 19.5648 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.832 | 165199.2641 | 313497.6297 | 33.25 | 68.6
32706 | 2021-02-23 15:31 | 27.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5556 | μmol/L | 19.577 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.829 | 165192.8178 | 313501.0572 | 33.25 | 68.6
32716 | 2021-02-23 15:31 | 28.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5796 | μmol/L | 19.5952 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.821 | 165164.3002 | 313496.2108 | 33.25 | 68.6
32726 | 2021-02-23 15:32 | 28.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.6198 | μmol/L | 19.5891 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.821 | 165172.0172 | 313510.3973 | 33.25 | 68.6
32736 | 2021-02-23 15:32 | 28.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5213 | μmol/L | 19.6013 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.822 | 165159.2195 | 313503.3001 | 33.25 | 68.6
32746 | 2021-02-23 15:32 | 29.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5715 | μmol/L | 19.6074 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.817 | 165127.8158 | 313502.2503 | 33.25 | 68.6
32756 | 2021-02-23 15:33 | 29.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5995 | μmol/L | 19.6196 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.811 | 165105.3179 | 313498.7035 | 33.25 | 68.6
32766 | 2021-02-23 15:33 | 29.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4428 | μmol/L | 19.6378 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.813 | 165107.2199 | 313524.6981 | 33.25 | 68.6
32776 | 2021-02-23 15:33 | 30.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3082 | μmol/L | 19.65 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.816 | 165130.7903 | 313520.0841 | 33.25 | 68.6
32786 | 2021-02-23 15:34 | 30.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.1959 | μmol/L | 19.6561 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.82 | 165157.0925 | 313518.5354 | 33.25 | 68.6
32796 | 2021-02-23 15:34 | 30.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4147 | μmol/L | 19.6257 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.819 | 165174.5732 | 313518.0756 | 33.25 | 68.6
32806 | 2021-02-23 15:34 | 31.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4509 | μmol/L | 19.6257 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.817 | 165191.6931 | 313530.4076 | 33.25 | 68.6
32816 | 2021-02-23 15:35 | 31.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3263 | μmol/L | 19.65 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.815 | 165189.4524 | 313525.0873 | 33.25 | 68.6
32826 | 2021-02-23 15:35 | 31.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3263 | μmol/L | 19.65 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.815 | 165194.352 | 313523.7203 | 33.25 | 68.6
32836 | 2021-02-23 15:35 | 32.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3204 | μmol/L | 19.6317 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.822 | 165247.2168 | 313531.4285 | 33.25 | 68.6
32846 | 2021-02-23 15:36 | 32.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0136 | μmol/L | 19.6317 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.839 | 165394.3986 | 313516.4974 | 33.25 | 68.6
32856 | 2021-02-23 15:36 | 32.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7754 | μmol/L | 19.6378 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.85 | 165487.739 | 313538.9247 | 33.25 | 68.6
32866 | 2021-02-23 15:36 | 33.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7092 | μmol/L | 19.6561 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.847 | 165480.2542 | 313524.0859 | 33.25 | 68.6
32876 | 2021-02-23 15:37 | 33.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8254 | μmol/L | 19.6439 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165460.2398 | 313525.0057 | 33.25 | 68.6
32886 | 2021-02-23 15:37 | 33.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8033 | μmol/L | 19.65 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.844 | 165437.9991 | 313514.2736 | 33.25 | 68.6
32896 | 2021-02-23 15:37 | 34.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5752 | μmol/L | 19.6683 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.85 | 165481.4801 | 313525.3472 | 33.25 | 68.6
32906 | 2021-02-23 15:38 | 34.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4812 | μmol/L | 19.6744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.853 | 165524.017 | 313533.3128 | 33.25 | 68.6
32916 | 2021-02-23 15:38 | 34.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4812 | μmol/L | 19.6744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.853 | 165533.4505 | 313526.2972 | 33.25 | 68.6
32926 | 2021-02-23 15:38 | 35.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3653 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.855 | 165536.0317 | 313513.5126 | 33.25 | 68.6
32936 | 2021-02-23 15:39 | 35.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2994 | μmol/L | 19.7048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.852 | 165538.5823 | 313528.8011 | 33.25 | 68.6
32946 | 2021-02-23 15:39 | 35.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2195 | μmol/L | 19.717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.852 | 165540.2461 | 313524.1517 | 33.25 | 68.6
32956 | 2021-02-23 15:39 | 36.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3452 | μmol/L | 19.717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165527.9471 | 313534.4231 | 33.25 | 68.6
32966 | 2021-02-23 15:40 | 36.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2254 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165512.1521 | 313535.1605 | 33.25 | 68.6
32976 | 2021-02-23 15:40 | 36.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2434 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.844 | 165502.4594 | 313538.704 | 33.25 | 68.6
32986 | 2021-02-23 15:40 | 37.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3852 | μmol/L | 19.7109 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165505.5711 | 313521.5953 | 33.25 | 68.6
32996 | 2021-02-23 15:41 | 37.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4971 | μmol/L | 19.7048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.841 | 165488.8864 | 313546.113 | 33.25 | 68.6
33006 | 2021-02-23 15:41 | 37.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4351 | μmol/L | 19.717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 165487.0059 | 313549.6193 | 33.25 | 68.6
33016 | 2021-02-23 15:41 | 38.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3152 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 165494.4624 | 313556.208 | 33.25 | 68.6
33026 | 2021-02-23 15:42 | 38.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2933 | μmol/L | 19.7413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.839 | 165491.5883 | 313545.0388 | 33.25 | 68.6
33036 | 2021-02-23 15:42 | 38.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1555 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 165512.6325 | 313548.2544 | 33.25 | 68.6
33046 | 2021-02-23 15:42 | 39.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.0219 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.843 | 165521.99 | 313558.6732 | 33.25 | 68.6
33056 | 2021-02-23 15:43 | 39.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1376 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.841 | 165539.1411 | 313565.44 | 33.25 | 68.6
33066 | 2021-02-23 15:43 | 39.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4131 | μmol/L | 19.723 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.839 | 165516.3664 | 313561.9463 | 33.25 | 68.6
33076 | 2021-02-23 15:43 | 40.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5151 | μmol/L | 19.7048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.84 | 165494.2985 | 313555.7744 | 33.25 | 68.6
33086 | 2021-02-23 15:44 | 40.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7431 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.834 | 165495.3427 | 313578.0811 | 33.25 | 68.6
33096 | 2021-02-23 15:44 | 40.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.565 | μmol/L | 19.7109 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.835 | 165508.0193 | 313567.1488 | 33.25 | 68.6
33106 | 2021-02-23 15:44 | 41.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3772 | μmol/L | 19.723 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.841 | 165526.9196 | 313564.9204 | 33.25 | 68.6
33116 | 2021-02-23 15:45 | 41.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2613 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.843 | 165534.9832 | 313552.9787 | 33.25 | 68.6
33126 | 2021-02-23 15:45 | 41.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1196 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.842 | 165549.3351 | 313573.0674 | 33.25 | 68.6
33136 | 2021-02-23 15:45 | 42.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8883 | μmol/L | 19.7839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.846 | 165570.439 | 313566.5196 | 33.25 | 68.6
33146 | 2021-02-23 15:46 | 42.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8664 | μmol/L | 19.79 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165586.1087 | 313565.2737 | 33.25 | 68.6
33156 | 2021-02-23 15:46 | 42.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1456 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165597.9344 | 313584.3622 | 33.25 | 68.6
33166 | 2021-02-23 15:46 | 43.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9421 | μmol/L | 19.7839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.843 | 165609.809 | 313580.6756 | 33.25 | 68.6
33176 | 2021-02-23 15:47 | 43.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9461 | μmol/L | 19.7778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165617.44 | 313580.5409 | 33.25 | 68.6
33186 | 2021-02-23 15:47 | 43.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9461 | μmol/L | 19.7778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.845 | 165619.1381 | 313579.4726 | 33.25 | 68.6
33196 | 2021-02-23 15:47 | 44.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.972 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.848 | 165626.7972 | 313580.0731 | 33.25 | 68.6
33206 | 2021-02-23 15:48 | 44.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8963 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.85 | 165642.7972 | 313581.6973 | 33.25 | 68.6
33216 | 2021-02-23 15:48 | 44.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8385 | μmol/L | 19.7778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.851 | 165659.2256 | 313590.6977 | 33.25 | 68.6
33226 | 2021-02-23 15:48 | 45.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6434 | μmol/L | 19.8022 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.853 | 165662.8304 | 313586.3287 | 33.25 | 68.6
33236 | 2021-02-23 15:49 | 45.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.719 | μmol/L | 19.7961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.851 | 165674.9424 | 313575.3268 | 33.25 | 68.6
33246 | 2021-02-23 15:49 | 45.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9621 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.853 | 165691.517 | 313585.7507 | 33.25 | 68.6
33256 | 2021-02-23 15:49 | 46.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7569 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.86 | 165738.0283 | 313598.1007 | 33.25 | 68.6
33266 | 2021-02-23 15:50 | 46.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5479 | μmol/L | 19.7839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.865 | 165786.4387 | 313603.5625 | 33.25 | 68.6
33276 | 2021-02-23 15:50 | 46.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5778 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.87 | 165818.7546 | 313612.4972 | 33.25 | 68.6
33286 | 2021-02-23 15:50 | 47.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6395 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.871 | 165832.5633 | 313602.6999 | 33.25 | 68.6
33296 | 2021-02-23 15:51 | 47.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5997 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.871 | 165838.9116 | 313610.4989 | 33.25 | 68.6
33306 | 2021-02-23 15:51 | 47.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.534 | μmol/L | 19.7778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.868 | 165827.9094 | 313614.587 | 33.25 | 68.6
33316 | 2021-02-23 15:51 | 48.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5121 | μmol/L | 19.7839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.867 | 165820.5077 | 313640.0365 | 33.25 | 68.6
33326 | 2021-02-23 15:52 | 48.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6454 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.864 | 165800.1925 | 313621.8584 | 33.25 | 68.6
33336 | 2021-02-23 15:52 | 48.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6673 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.865 | 165807.9269 | 313624.1685 | 33.25 | 68.6
33346 | 2021-02-23 15:52 | 49.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6853 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.864 | 165812.7351 | 313621.8886 | 33.25 | 68.6
33356 | 2021-02-23 15:53 | 49.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.751 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.867 | 165843.1077 | 313635.8016 | 33.25 | 68.6
33366 | 2021-02-23 15:53 | 49.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.4942 | μmol/L | 19.7839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.868 | 165859.7146 | 313629.2836 | 33.25 | 68.6
33376 | 2021-02-23 15:53 | 50.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2816 | μmol/L | 19.8083 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.871 | 165858.3132 | 313619.707 | 33.25 | 68.6
33386 | 2021-02-23 15:54 | 50.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.224 | μmol/L | 19.8143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.872 | 165861.4653 | 313623.992 | 33.25 | 68.6
33396 | 2021-02-23 15:54 | 50.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2994 | μmol/L | 19.8083 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.87 | 165879.2949 | 313642.3899 | 33.25 | 68.6
33406 | 2021-02-23 15:54 | 51.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2677 | μmol/L | 19.8022 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.874 | 165900.5422 | 313638.2775 | 33.25 | 68.6
33416 | 2021-02-23 15:55 | 51.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1645 | μmol/L | 19.7961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.882 | 165936.2021 | 313623.4982 | 33.25 | 68.6
33426 | 2021-02-23 15:55 | 51.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1109 | μmol/L | 19.7961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.885 | 165981.1664 | 313629.7518 | 33.25 | 68.6
33436 | 2021-02-23 15:55 | 52.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0573 | μmol/L | 19.7961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.888 | 166000.3416 | 313642.4156 | 33.25 | 68.6
33446 | 2021-02-23 15:56 | 52.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0613 | μmol/L | 19.79 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.89 | 166008.1267 | 313650.294 | 33.25 | 68.6
33456 | 2021-02-23 15:56 | 52.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0792 | μmol/L | 19.79 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.889 | 166009.895 | 313645.3213 | 33.25 | 68.6
33466 | 2021-02-23 15:56 | 53.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0216 | μmol/L | 19.7961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.89 | 166037.403 | 313638.7866 | 33.25 | 68.6
33476 | 2021-02-23 15:57 | 53.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0256 | μmol/L | 19.79 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.892 | 166049.3284 | 313638.0969 | 33.25 | 68.6
33486 | 2021-02-23 15:57 | 53.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1349 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.897 | 166084.709 | 313652.7112 | 33.25 | 68.6
33496 | 2021-02-23 15:57 | 54.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0854 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.902 | 166100.336 | 313646.9755 | 33.25 | 68.6
33506 | 2021-02-23 15:58 | 54.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1032 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.901 | 166138.1514 | 313658.8578 | 33.25 | 68.6
33516 | 2021-02-23 15:58 | 54.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0715 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.905 | 166161.2688 | 313661.9996 | 33.25 | 68.6
33526 | 2021-02-23 15:58 | 55.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9208 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.909 | 166166.6917 | 313653.9871 | 33.25 | 68.6
33536 | 2021-02-23 15:59 | 55.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9386 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.908 | 166194.1577 | 313671.9102 | 33.25 | 68.6
33546 | 2021-02-23 15:59 | 55.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9426 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.91 | 166185.2997 | 313664.6141 | 33.25 | 68.6
33556 | 2021-02-23 15:59 | 56.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0796 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.909 | 166189.6141 | 313668.8508 | 33.25 | 68.6
33566 | 2021-02-23 16:00 | 56.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9466 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.912 | 166200.2581 | 313671.2263 | 33.25 | 68.6
33576 | 2021-02-23 16:00 | 56.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9029 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.91 | 166198.4298 | 313694.8459 | 33.25 | 68.6
33586 | 2021-02-23 16:00 | 57.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8593 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.908 | 166185.0642 | 313675.4438 | 33.25 | 68.6
33596 | 2021-02-23 16:01 | 57.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8771 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.907 | 166189.5337 | 313679.8366 | 33.25 | 68.6
33606 | 2021-02-23 16:01 | 57.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9346 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.906 | 166212.7996 | 313668.9435 | 33.25 | 68.6
33616 | 2021-02-23 16:01 | 58.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.788 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.912 | 166232.0173 | 313677.2584 | 33.25 | 68.6
33626 | 2021-02-23 16:02 | 58.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.7345 | μmol/L | 19.7717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.915 | 166261.919 | 313678.2865 | 33.25 | 68.6
33636 | 2021-02-23 16:02 | 58.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.7207 | μmol/L | 19.7656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.918 | 166284.8509 | 313680.7576 | 33.25 | 68.6
33646 | 2021-02-23 16:02 | 59.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.7506 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.923 | 166310.7945 | 313688.5357 | 33.25 | 68.6
33656 | 2021-02-23 16:03 | 59.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.6535 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.924 | 166343.2391 | 313680.0955 | 33.25 | 68.6
33666 | 2021-02-23 16:03 | 59.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5863 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.93 | 166379.4522 | 313684.0565 | 33.25 | 68.6
33676 | 2021-02-23 16:03 | 60.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.4933 | μmol/L | 19.7596 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.933 | 166400.2123 | 313676.1631 | 33.25 | 68.6
33686 | 2021-02-23 16:04 | 60.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5151 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.934 | 166425.5037 | 313680.6079 | 33.25 | 68.6
33696 | 2021-02-23 16:04 | 60.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.549 | μmol/L | 19.7291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.941 | 166465.528 | 313691.7465 | 33.25 | 68.6
33706 | 2021-02-23 16:04 | 61.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5571 | μmol/L | 19.717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.945 | 166489.4653 | 313684.4234 | 33.25 | 68.6
33716 | 2021-02-23 16:05 | 61.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5612 | μmol/L | 19.7109 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 166515.9856 | 313705.7643 | 33.25 | 68.6
33726 | 2021-02-23 16:05 | 61.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.3494 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.95 | 166535.728 | 313707.2162 | 33.25 | 68.6
33736 | 2021-02-23 16:05 | 62.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2129 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.951 | 166558.0975 | 313707.6422 | 33.25 | 68.6
33746 | 2021-02-23 16:06 | 62.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.1419 | μmol/L | 19.7535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.955 | 166586.5282 | 313717.2487 | 33.25 | 68.6
33756 | 2021-02-23 16:06 | 62.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.3041 | μmol/L | 19.723 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.957 | 166600.3277 | 313699.8494 | 33.25 | 68.6
33766 | 2021-02-23 16:06 | 63.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2113 | μmol/L | 19.7291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.96 | 166633.8492 | 313704.5072 | 33.25 | 68.6
33776 | 2021-02-23 16:07 | 63.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0434 | μmol/L | 19.7413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.965 | 166648.8072 | 313692.4993 | 33.25 | 68.6
33786 | 2021-02-23 16:07 | 63.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0039 | μmol/L | 19.7474 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.965 | 166666.8632 | 313716.423 | 33.25 | 68.6
33796 | 2021-02-23 16:07 | 64.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0257 | μmol/L | 19.7413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.966 | 166661.3248 | 313707.9392 | 33.25 | 68.6
33806 | 2021-02-23 16:08 | 64.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0967 | μmol/L | 19.7413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.962 | 166673.197 | 313729.6161 | 33.25 | 68.6
33816 | 2021-02-23 16:08 | 64.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.1007 | μmol/L | 19.7352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.964 | 166679.1038 | 313719.8101 | 33.25 | 68.6
33826 | 2021-02-23 16:08 | 65.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.1048 | μmol/L | 19.7291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.966 | 166668.1032 | 313721.1849 | 33.25 | 68.6
33836 | 2021-02-23 16:09 | 65.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2412 | μmol/L | 19.7109 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.965 | 166664.7271 | 313712.2594 | 33.25 | 68.6
33846 | 2021-02-23 16:09 | 65.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2671 | μmol/L | 19.6987 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.968 | 166687.4424 | 313720.6621 | 33.25 | 68.6
33856 | 2021-02-23 16:09 | 66.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.196 | μmol/L | 19.6987 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 166705.5563 | 313716.4967 | 33.25 | 68.6
33866 | 2021-02-23 16:10 | 66.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2188 | μmol/L | 19.6987 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.971 | 166724.1914 | 313709.6974 | 33.25 | 68.6
33876 | 2021-02-23 16:10 | 66.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2219 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 166731.4419 | 313713.0418 | 33.25 | 68.6
33886 | 2021-02-23 16:10 | 67.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2219 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 166760.7219 | 313722.4828 | 33.25 | 68.6
33896 | 2021-02-23 16:11 | 67.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0195 | μmol/L | 19.7048 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.98 | 166767.0252 | 313717.22 | 33.25 | 68.6
33906 | 2021-02-23 16:11 | 67.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8468 | μmol/L | 19.717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 166808.5152 | 313725.3901 | 33.25 | 68.6
33916 | 2021-02-23 16:11 | 68.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7324 | μmol/L | 19.7291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 166830.5017 | 313719.2325 | 33.25 | 68.6
33926 | 2021-02-23 16:12 | 68.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7011 | μmol/L | 19.723 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.991 | 166853.6972 | 313735.5834 | 33.25 | 68.6
33936 | 2021-02-23 16:12 | 68.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.9381 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.991 | 166874.2699 | 313735.4286 | 33.25 | 68.6
33946 | 2021-02-23 16:12 | 69.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8849 | μmol/L | 19.6865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.994 | 166880.6702 | 313716.3865 | 33.25 | 68.6
33956 | 2021-02-23 16:13 | 69.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8372 | μmol/L | 19.7048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.99 | 166875.6186 | 313735.2439 | 33.25 | 68.6
33966 | 2021-02-23 16:13 | 69.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7841 | μmol/L | 19.7048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.993 | 166888.0423 | 313736.4537 | 33.25 | 68.6
33976 | 2021-02-23 16:13 | 70.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8108 | μmol/L | 19.6987 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.994 | 166903.9119 | 313748.8181 | 33.25 | 68.6
33986 | 2021-02-23 16:14 | 70.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8099 | μmol/L | 19.6926 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.996 | 166915.5974 | 313747.2872 | 33.25 | 68.6
33996 | 2021-02-23 16:14 | 70.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6996 | μmol/L | 19.6987 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24 | 166936.4873 | 313739.3565 | 33.25 | 68.6
34006 | 2021-02-23 16:14 | 71.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6869 | μmol/L | 19.6987 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.001 | 166962.7734 | 313741.3649 | 33.25 | 68.6
34016 | 2021-02-23 16:15 | 71.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6991 | μmol/L | 19.6804 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.007 | 166975.5444 | 313740.5465 | 33.25 | 68.6
34026 | 2021-02-23 16:15 | 71.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7159 | μmol/L | 19.6744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.008 | 167005.652 | 313726.4104 | 33.25 | 68.6
34036 | 2021-02-23 16:15 | 72.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6451 | μmol/L | 19.6744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.012 | 167019.0413 | 313754.1472 | 33.25 | 68.6
34046 | 2021-02-23 16:16 | 72.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.592 | μmol/L | 19.6744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.015 | 167027.8812 | 313741.4208 | 33.25 | 68.6
34056 | 2021-02-23 16:16 | 72.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6718 | μmol/L | 19.6683 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.013 | 167054.6639 | 313759.4084 | 33.25 | 68.6
34066 | 2021-02-23 16:16 | 73.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6623 | μmol/L | 19.6561 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.018 | 167069.3417 | 313750.0081 | 33.25 | 68.6
34076 | 2021-02-23 16:17 | 73.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6664 | μmol/L | 19.65 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.02 | 167089.6292 | 313748.0128 | 33.25 | 68.6
34086 | 2021-02-23 16:17 | 73.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6261 | μmol/L | 19.65 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.022 | 167101.9391 | 313760.8063 | 33.25 | 68.6
34096 | 2021-02-23 16:17 | 74.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6133 | μmol/L | 19.65 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.023 | 167108.4567 | 313747.772 | 33.25 | 68.6
34106 | 2021-02-23 16:18 | 74.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.5344 | μmol/L | 19.6622 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.023 | 167121.0678 | 313763.2843 | 33.25 | 68.6
34116 | 2021-02-23 16:18 | 74.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.5303 | μmol/L | 19.6683 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.021 | 167113.3195 | 313756.6732 | 33.25 | 68.6
34126 | 2021-02-23 16:18 | 75.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.5698 | μmol/L | 19.6622 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.021 | 167124.5122 | 313766.2904 | 33.25 | 68.6
34136 | 2021-02-23 16:19 | 75.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4773 | μmol/L | 19.6683 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.024 | 167143.1416 | 313753.6026 | 33.25 | 68.6
34146 | 2021-02-23 16:19 | 75.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4283 | μmol/L | 19.6622 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.029 | 167170.8738 | 313766.1092 | 33.25 | 68.6
34156 | 2021-02-23 16:19 | 76.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4283 | μmol/L | 19.6622 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.029 | 167193.2861 | 313761.59 | 33.25 | 68.6
34166 | 2021-02-23 16:20 | 76.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3971 | μmol/L | 19.6561 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.033 | 167206.9666 | 313777.9024 | 33.25 | 68.6
34176 | 2021-02-23 16:20 | 76.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3971 | μmol/L | 19.6561 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.033 | 167228.0602 | 313761.3516 | 33.25 | 68.6
34186 | 2021-02-23 16:20 | 77.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4357 | μmol/L | 19.6439 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.035 | 167258.122 | 313774.443 | 33.25 | 68.6
34196 | 2021-02-23 16:21 | 77.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.427 | μmol/L | 19.6378 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.038 | 167267.9742 | 313782.413 | 33.25 | 68.6
34206 | 2021-02-23 16:21 | 77.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3958 | μmol/L | 19.6317 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.042 | 167279.2867 | 313768.7848 | 33.25 | 68.6
34216 | 2021-02-23 16:21 | 78.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.536 | μmol/L | 19.6074 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.043 | 167297.7407 | 313773.6661 | 33.25 | 68.6
34226 | 2021-02-23 16:22 | 78.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3646 | μmol/L | 19.6257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.046 | 167313.4246 | 313778.3766 | 33.25 | 68.6
34236 | 2021-02-23 16:22 | 78.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3157 | μmol/L | 19.6196 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.051 | 167327.2299 | 313781.4376 | 33.25 | 68.6
34246 | 2021-02-23 16:22 | 79.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2057 | μmol/L | 19.6257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.055 | 167352.0721 | 313773.7236 | 33.25 | 68.6
34256 | 2021-02-23 16:23 | 79.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2804 | μmol/L | 19.6196 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.053 | 167367.7913 | 313788.4534 | 33.25 | 68.6
34266 | 2021-02-23 16:23 | 79.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.188 | μmol/L | 19.6257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.056 | 167389.5086 | 313796.2279 | 33.25 | 68.6
34276 | 2021-02-23 16:23 | 80.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2139 | μmol/L | 19.6135 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.059 | 167401.5872 | 313786.084 | 33.25 | 68.6
34286 | 2021-02-23 16:24 | 80.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1963 | μmol/L | 19.6135 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.06 | 167416.8709 | 313799.3671 | 33.25 | 68.6
34296 | 2021-02-23 16:24 | 80.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3322 | μmol/L | 19.5952 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.059 | 167440.0864 | 313809.3451 | 33.25 | 68.6
34306 | 2021-02-23 16:24 | 81.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1869 | μmol/L | 19.6013 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.065 | 167462.6355 | 313795.8465 | 33.25 | 68.6
34316 | 2021-02-23 16:25 | 81.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2087 | μmol/L | 19.5952 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.066 | 167482.1459 | 313796.5433 | 33.25 | 68.6
34326 | 2021-02-23 16:25 | 81.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.327 | μmol/L | 19.577 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.066 | 167491.3737 | 313801.0269 | 33.25 | 68.6
34336 | 2021-02-23 16:25 | 82.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2387 | μmol/L | 19.577 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.071 | 167497.6619 | 313804.2065 | 33.25 | 68.6
34346 | 2021-02-23 16:26 | 82.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2564 | μmol/L | 19.577 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.07 | 167495.3172 | 313812.3629 | 33.25 | 68.6
34356 | 2021-02-23 16:26 | 82.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1163 | μmol/L | 19.6013 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.069 | 167510.3115 | 313804.8907 | 33.25 | 68.6
34366 | 2021-02-23 16:26 | 83.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1422 | μmol/L | 19.5891 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.072 | 167517.8333 | 313807.6422 | 33.25 | 68.6
34376 | 2021-02-23 16:27 | 83.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2732 | μmol/L | 19.5709 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.071 | 167535.8388 | 313802.586 | 33.25 | 68.6
34386 | 2021-02-23 16:27 | 83.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2068 | μmol/L | 19.5648 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.077 | 167547.1889 | 313792.5909 | 33.25 | 68.6
34396 | 2021-02-23 16:27 | 84.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2688 | μmol/L | 19.5587 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.076 | 167565.0479 | 313807.6915 | 33.25 | 68.6
34406 | 2021-02-23 16:28 | 84.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2335 | μmol/L | 19.5587 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.078 | 167583.5719 | 313829.5844 | 33.25 | 68.6
34416 | 2021-02-23 16:28 | 84.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2327 | μmol/L | 19.5526 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.08 | 167593.3223 | 313818.125 | 33.25 | 68.6
34426 | 2021-02-23 16:28 | 85.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0883 | μmol/L | 19.5648 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.084 | 167613.5584 | 313822.8659 | 33.25 | 68.6
34436 | 2021-02-23 16:29 | 85.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0489 | μmol/L | 19.5709 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.084 | 167628.1592 | 313822.264 | 33.25 | 68.6
34446 | 2021-02-23 16:29 | 85.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9784 | μmol/L | 19.5709 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.088 | 167653.5738 | 313816.3131 | 33.25 | 68.6
34456 | 2021-02-23 16:29 | 86.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0043 | μmol/L | 19.5587 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.091 | 167690.7069 | 313816.7691 | 33.25 | 68.6
34466 | 2021-02-23 16:30 | 86.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0035 | μmol/L | 19.5526 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.093 | 167721.5199 | 313831.2829 | 33.25 | 68.6
34476 | 2021-02-23 16:30 | 86.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9598 | μmol/L | 19.5465 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.098 | 167738.3036 | 313834.9471 | 33.25 | 68.6
34486 | 2021-02-23 16:30 | 87.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0033 | μmol/L | 19.5344 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.1 | 167755.9863 | 313828.09 | 33.25 | 68.6
34496 | 2021-02-23 16:31 | 87.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0511 | μmol/L | 19.5161 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.104 | 167759.5271 | 313839.2717 | 33.25 | 68.6
34506 | 2021-02-23 16:31 | 87.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1039 | μmol/L | 19.5161 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.101 | 167768.935 | 313827.2296 | 33.25 | 68.6
34516 | 2021-02-23 16:31 | 88.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0117 | μmol/L | 19.5222 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.104 | 167780.3229 | 313825.8987 | 33.25 | 68.6
34526 | 2021-02-23 16:32 | 88.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0068 | μmol/L | 19.5222 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.104 | 167801.579 | 313851.0111 | 33.25 | 68.6
34536 | 2021-02-23 16:32 | 88.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.994 | μmol/L | 19.5222 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.105 | 167802.6432 | 313839.6624 | 33.25 | 68.6
34546 | 2021-02-23 16:32 | 89.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9764 | μmol/L | 19.5222 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.106 | 167808.7981 | 313842.9135 | 33.25 | 68.6
34556 | 2021-02-23 16:33 | 89.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9412 | μmol/L | 19.5222 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.108 | 167820.9701 | 313847.5228 | 33.25 | 68.6
34566 | 2021-02-23 16:33 | 89.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9018 | μmol/L | 19.5283 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.108 | 167837.3365 | 313855.5253 | 33.25 | 68.6
34576 | 2021-02-23 16:33 | 90.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.849 | μmol/L | 19.5283 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.111 | 167851.3182 | 313870.3374 | 33.25 | 68.6
34586 | 2021-02-23 16:34 | 90.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8708 | μmol/L | 19.5222 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.112 | 167868.572 | 313863.2603 | 33.25 | 68.6
34596 | 2021-02-23 16:34 | 90.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6865 | μmol/L | 19.5344 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.118 | 167885.14 | 313865.7393 | 33.25 | 68.6
34606 | 2021-02-23 16:34 | 91.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6992 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.117 | 167919.4182 | 313874.9143 | 33.25 | 68.6
34616 | 2021-02-23 16:35 | 91.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7863 | μmol/L | 19.51 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.121 | 167929.6286 | 313873.949 | 33.25 | 68.6
34626 | 2021-02-23 16:35 | 91.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0141 | μmol/L | 19.4674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.124 | 167945.9808 | 313879.2825 | 33.25 | 68.6
34636 | 2021-02-23 16:35 | 92.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0628 | μmol/L | 19.4735 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.119 | 167961.0613 | 313895.6553 | 33.25 | 68.6
34646 | 2021-02-23 16:36 | 92.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.0493 | μmol/L | 19.4674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.122 | 167951.6837 | 313885.7137 | 33.25 | 68.6
34656 | 2021-02-23 16:36 | 92.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9656 | μmol/L | 19.4796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.122 | 167958.695 | 313891.3447 | 33.25 | 68.6
34666 | 2021-02-23 16:36 | 93.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8959 | μmol/L | 19.4857 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.124 | 167958.7796 | 313896.9904 | 33.25 | 68.6
34676 | 2021-02-23 16:37 | 93.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8783 | μmol/L | 19.4857 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.125 | 167975.9824 | 313891.0677 | 33.25 | 68.6
34686 | 2021-02-23 16:37 | 93.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8558 | μmol/L | 19.4857 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.126 | 167988.2862 | 313900.073 | 33.25 | 68.6
34696 | 2021-02-23 16:37 | 94.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.803 | μmol/L | 19.4857 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.129 | 168005.7168 | 313896.5652 | 33.25 | 68.6
34706 | 2021-02-23 16:38 | 94.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8466 | μmol/L | 19.4735 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.131 | 168032.0521 | 313906.5295 | 33.25 | 68.6
34716 | 2021-02-23 16:38 | 94.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7762 | μmol/L | 19.4735 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.135 | 168048.1406 | 313892.9499 | 33.25 | 68.6
34726 | 2021-02-23 16:38 | 95.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.798 | μmol/L | 19.4674 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.136 | 168075.1552 | 313901.1735 | 33.25 | 68.6
34736 | 2021-02-23 16:39 | 95.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7326 | μmol/L | 19.4674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.14 | 168093.3037 | 313909.6586 | 33.25 | 68.6
34746 | 2021-02-23 16:39 | 95.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.658 | μmol/L | 19.4735 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.142 | 168105.9008 | 313915.3439 | 33.25 | 68.6
34756 | 2021-02-23 16:39 | 96.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6798 | μmol/L | 19.4674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.143 | 168135.3314 | 313916.5197 | 33.25 | 68.6
34766 | 2021-02-23 16:40 | 96.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.592 | μmol/L | 19.4674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.148 | 168149.2134 | 313930.7096 | 33.25 | 68.6
34776 | 2021-02-23 16:40 | 96.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6089 | μmol/L | 19.4613 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.149 | 168185.1131 | 313921.1283 | 33.25 | 68.6
34786 | 2021-02-23 16:40 | 97.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5604 | μmol/L | 19.4553 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.154 | 168211.2716 | 313917.7001 | 33.25 | 68.6
34796 | 2021-02-23 16:41 | 97.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.604 | μmol/L | 19.4431 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.156 | 168243.4342 | 313918.7803 | 33.25 | 68.6
34806 | 2021-02-23 16:41 | 97.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5513 | μmol/L | 19.4431 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.159 | 168254.3051 | 313914.0517 | 33.25 | 68.6
34816 | 2021-02-23 16:41 | 98.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.63 | μmol/L | 19.4309 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.159 | 168270.2 | 313935.2297 | 33.25 | 68.6
34826 | 2021-02-23 16:42 | 98.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5773 | μmol/L | 19.4309 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.162 | 168282.6845 | 313920.5465 | 33.25 | 68.6
34836 | 2021-02-23 16:42 | 98.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.564 | μmol/L | 19.4248 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.165 | 168307.5869 | 313937.1511 | 33.25 | 68.6
34846 | 2021-02-23 16:42 | 99.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5858 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.166 | 168307.8063 | 313936.5696 | 33.25 | 68.6
34856 | 2021-02-23 16:43 | 99.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5906 | μmol/L | 19.4187 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.166 | 168320.6885 | 313942.6122 | 33.25 | 68.6
34866 | 2021-02-23 16:43 | 99.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5155 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.17 | 168341.3742 | 313945.1088 | 33.25 | 68.6
34876 | 2021-02-23 16:43 | 100.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5724 | μmol/L | 19.4126 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.169 | 168353.7615 | 313953.2632 | 33.25 | 68.6
34886 | 2021-02-23 16:44 | 100.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4804 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.172 | 168368.9483 | 313956.0856 | 33.25 | 68.6
34896 | 2021-02-23 16:44 | 100.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.498 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.171 | 168381.787 | 313957.1182 | 33.25 | 68.6
34906 | 2021-02-23 16:44 | 101.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.34 | μmol/L | 19.4187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.18 | 168408.5314 | 313952.6731 | 33.25 | 68.6
34916 | 2021-02-23 16:45 | 101.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6724 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.179 | 168417.7005 | 313956.3327 | 33.25 | 68.6
34926 | 2021-02-23 16:45 | 101.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7161 | μmol/L | 19.3579 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.181 | 168444.9225 | 313963.3688 | 33.25 | 68.6
34936 | 2021-02-23 16:45 | 102.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6985 | μmol/L | 19.3579 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.182 | 168467.3589 | 313960.7466 | 33.25 | 68.6
34946 | 2021-02-23 16:46 | 102.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4357 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.188 | 168493.9784 | 313969.4772 | 33.25 | 68.6
34956 | 2021-02-23 16:46 | 102.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4272 | μmol/L | 19.3944 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.184 | 168499.7119 | 313967.173 | 33.25 | 68.6
34966 | 2021-02-23 16:46 | 103.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.3437 | μmol/L | 19.3883 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.191 | 168514.3698 | 313961.2026 | 33.25 | 68.6
34976 | 2021-02-23 16:47 | 103.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4357 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.188 | 168525.4165 | 313963.7226 | 33.25 | 68.6
34986 | 2021-02-23 16:47 | 103.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4049 | μmol/L | 19.3761 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.192 | 168546.2495 | 313968.8201 | 33.25 | 68.6
34996 | 2021-02-23 16:47 | 104.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.339 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.198 | 168583.2227 | 313982.0218 | 33.25 | 68.6
35006 | 2021-02-23 16:48 | 104.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2821 | μmol/L | 19.3761 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.199 | 168608.9565 | 313994.3618 | 33.25 | 68.6
35016 | 2021-02-23 16:48 | 104.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2338 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.204 | 168627.4204 | 313977.091 | 33.25 | 68.6
35026 | 2021-02-23 16:48 | 105.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2338 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.204 | 168649.8798 | 313985.5152 | 33.25 | 68.6
35036 | 2021-02-23 16:49 | 105.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1855 | μmol/L | 19.364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.209 | 168668.7808 | 313993.4822 | 33.25 | 68.6
35046 | 2021-02-23 16:49 | 105.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.168 | μmol/L | 19.364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.21 | 168690.332 | 313989.9216 | 33.25 | 68.6
35056 | 2021-02-23 16:49 | 106.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2685 | μmol/L | 19.3457 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.211 | 168708.6462 | 313992.1988 | 33.25 | 68.6
35066 | 2021-02-23 16:50 | 106.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2377 | μmol/L | 19.3396 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.215 | 168723.4387 | 314002.1395 | 33.25 | 68.6
35076 | 2021-02-23 16:50 | 106.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2638 | μmol/L | 19.3274 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.218 | 168748.3684 | 314003.0668 | 33.25 | 68.6
35086 | 2021-02-23 16:50 | 107.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.277 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.215 | 168745.7348 | 314003.2908 | 33.25 | 68.6
35096 | 2021-02-23 16:51 | 107.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.3643 | μmol/L | 19.3092 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.219 | 168757.4169 | 313999.4091 | 33.25 | 68.6
35106 | 2021-02-23 16:51 | 107.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2506 | μmol/L | 19.3214 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.221 | 168777.704 | 314003.3656 | 33.25 | 68.6
35116 | 2021-02-23 16:51 | 108.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1587 | μmol/L | 19.3274 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.224 | 168781.3837 | 313993.0368 | 33.25 | 68.6
35126 | 2021-02-23 16:52 | 108.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2288 | μmol/L | 19.3274 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.22 | 168790.9323 | 313995.7205 | 33.25 | 68.6
35136 | 2021-02-23 16:52 | 108.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1369 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.223 | 168806.8447 | 314005.0699 | 33.25 | 68.6
35146 | 2021-02-23 16:52 | 109.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0319 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.229 | 168809.351 | 313995.1408 | 33.25 | 68.6
35156 | 2021-02-23 16:53 | 109.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0494 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.228 | 168845.8607 | 314009.7062 | 33.25 | 68.6
35166 | 2021-02-23 16:53 | 109.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0319 | μmol/L | 19.3335 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.229 | 168876.3637 | 314005.9132 | 33.25 | 68.6
35176 | 2021-02-23 16:53 | 110.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9312 | μmol/L | 19.3274 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.237 | 168905.9871 | 314014.4519 | 33.25 | 68.6
35186 | 2021-02-23 16:54 | 110.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9355 | μmol/L | 19.3214 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.239 | 168926.6303 | 313997.9385 | 33.25 | 68.6
35196 | 2021-02-23 16:54 | 110.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9398 | μmol/L | 19.3153 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.241 | 168965.3744 | 313996.619 | 33.25 | 68.6
35206 | 2021-02-23 16:54 | 111.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7782 | μmol/L | 19.3214 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.248 | 168989.3764 | 314009.2649 | 33.25 | 68.6
35216 | 2021-02-23 16:55 | 111.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.765 | μmol/L | 19.3153 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.251 | 169007.8437 | 314012.5145 | 33.25 | 68.6
35226 | 2021-02-23 16:55 | 111.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6951 | μmol/L | 19.3153 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.255 | 169028.2187 | 314006.0553 | 33.25 | 68.6
35236 | 2021-02-23 16:55 | 112.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7344 | μmol/L | 19.3092 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.255 | 169042.9552 | 314003.9201 | 33.25 | 68.6
35246 | 2021-02-23 16:56 | 112.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6471 | μmol/L | 19.3092 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.26 | 169062.6929 | 314021.215 | 33.25 | 68.6
35256 | 2021-02-23 16:56 | 112.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6731 | μmol/L | 19.297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.263 | 169089.8814 | 314023.711 | 33.25 | 68.6
35266 | 2021-02-23 16:56 | 113.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7909 | μmol/L | 19.2788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.263 | 169115.2694 | 314012.6694 | 33.25 | 68.6
35276 | 2021-02-23 16:57 | 113.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7385 | μmol/L | 19.2788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.266 | 169125.8371 | 314020.384 | 33.25 | 68.6
35286 | 2021-02-23 16:57 | 113.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6425 | μmol/L | 19.2909 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.267 | 169145.4913 | 314032.6242 | 33.25 | 68.6
35296 | 2021-02-23 16:57 | 114.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6643 | μmol/L | 19.2848 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.268 | 169154.0524 | 314034.8056 | 33.25 | 68.6
35306 | 2021-02-23 16:58 | 114.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6512 | μmol/L | 19.2788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.271 | 169174.9046 | 314035.4063 | 33.25 | 68.6
35316 | 2021-02-23 16:58 | 114.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5988 | μmol/L | 19.2788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.274 | 169193.0623 | 314042.4514 | 33.25 | 68.6
35325 | 2021-02-23 16:58 | 115.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6249 | μmol/L | 19.2666 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.277 | 169235.6747 | 314048.8084 | 33.25 | 68.6