## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35334 | 2021-02-23 19:17 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1985 | μmol/L | 25.4309 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.465 | 167561.43 | 314518.5157 | 33.25 | 68.6
35344 | 2021-02-23 19:17 | 0.34079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2932 | μmol/L | 25.4309 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.459 | 167521.8844 | 314520.6865 | 33.25 | 68.6
35354 | 2021-02-23 19:18 | 0.67425 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3329 | μmol/L | 25.4126 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 167361.1501 | 314507.864 | 33.25 | 68.6
35364 | 2021-02-23 19:18 | 1.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4543 | μmol/L | 25.3882 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.464 | 167314.8575 | 314464.7114 | 33.25 | 68.6
35374 | 2021-02-23 19:18 | 1.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6829 | μmol/L | 25.3577 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.46 | 167279.2191 | 314436.5175 | 33.25 | 68.6
35384 | 2021-02-23 19:19 | 1.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5785 | μmol/L | 25.3577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.467 | 167236.3485 | 314410.6829 | 33.25 | 68.6
35394 | 2021-02-23 19:19 | 2.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6602 | μmol/L | 25.3516 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.464 | 167223.8062 | 314376.4191 | 33.25 | 68.6
35404 | 2021-02-23 19:19 | 2.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5442 | μmol/L | 25.3638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.467 | 167184.6818 | 314352.0401 | 33.25 | 68.6
35414 | 2021-02-23 19:20 | 2.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5758 | μmol/L | 25.3638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.465 | 167157.7532 | 314326.2256 | 33.25 | 68.6
35424 | 2021-02-23 19:20 | 3.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5572 | μmol/L | 25.3699 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.464 | 167127.6096 | 314298.5607 | 33.25 | 68.6
35434 | 2021-02-23 19:20 | 3.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5126 | μmol/L | 25.3638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.469 | 167102.4502 | 314261.4071 | 33.25 | 68.6
35444 | 2021-02-23 19:21 | 3.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5943 | μmol/L | 25.3577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.466 | 167082.0442 | 314240.5175 | 33.25 | 68.6
35454 | 2021-02-23 19:21 | 4.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6471 | μmol/L | 25.3455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.467 | 167049.7882 | 314198.5544 | 33.25 | 68.6
35464 | 2021-02-23 19:21 | 4.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.597 | μmol/L | 25.3516 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.468 | 167030.251 | 314185.4243 | 33.25 | 68.6
35474 | 2021-02-23 19:22 | 4.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5812 | μmol/L | 25.3516 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.469 | 167010.6131 | 314163.63 | 33.25 | 68.6
35484 | 2021-02-23 19:22 | 5.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5523 | μmol/L | 25.3455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166994.4112 | 314125.4397 | 33.25 | 68.6
35494 | 2021-02-23 19:22 | 5.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5804 | μmol/L | 25.3394 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166972.9443 | 314102.93 | 33.25 | 68.6
35504 | 2021-02-23 19:23 | 5.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6491 | μmol/L | 25.3273 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166954.3913 | 314082.6079 | 33.25 | 68.6
35514 | 2021-02-23 19:23 | 6.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8456 | μmol/L | 25.2907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.474 | 166915.5701 | 314054.3337 | 33.25 | 68.6
35524 | 2021-02-23 19:23 | 6.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9989 | μmol/L | 25.2663 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166895.2105 | 314042.7555 | 33.25 | 68.6
35534 | 2021-02-23 19:24 | 6.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9329 | μmol/L | 25.2724 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.475 | 166865.3296 | 313988.5159 | 33.25 | 68.6
35544 | 2021-02-23 19:24 | 7.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0677 | μmol/L | 25.2541 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166838.6556 | 313972.4792 | 33.25 | 68.6
35554 | 2021-02-23 19:24 | 7.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.851 | μmol/L | 25.2785 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.478 | 166823.4691 | 313942.7637 | 33.25 | 68.6
35564 | 2021-02-23 19:25 | 7.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8298 | μmol/L | 25.2907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.475 | 166794.5687 | 313913.879 | 33.25 | 68.6
35574 | 2021-02-23 19:25 | 8.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.658 | μmol/L | 25.3212 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.475 | 166773.7405 | 313892.1286 | 33.25 | 68.6
35584 | 2021-02-23 19:25 | 8.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5894 | μmol/L | 25.3333 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.475 | 166744.7794 | 313852.4419 | 33.25 | 68.6
35594 | 2021-02-23 19:26 | 8.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6237 | μmol/L | 25.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.475 | 166712.047 | 313825.5161 | 33.25 | 68.6
35604 | 2021-02-23 19:26 | 9.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5866 | μmol/L | 25.3394 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166681.1392 | 313810.1135 | 33.25 | 68.6
35614 | 2021-02-23 19:26 | 9.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4837 | μmol/L | 25.3577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.473 | 166669.8109 | 313783.6705 | 33.25 | 68.6
35624 | 2021-02-23 19:27 | 9.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6395 | μmol/L | 25.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.474 | 166646.9046 | 313759.3533 | 33.25 | 68.6
35634 | 2021-02-23 19:27 | 10.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7741 | μmol/L | 25.309 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.472 | 166608.9862 | 313729.172 | 33.25 | 68.6
35644 | 2021-02-23 19:27 | 10.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6395 | μmol/L | 25.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.474 | 166597.6108 | 313695.0763 | 33.25 | 68.6
35654 | 2021-02-23 19:28 | 10.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.742 | μmol/L | 25.3455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.461 | 166528.741 | 313667.8672 | 33.25 | 68.6
35664 | 2021-02-23 19:28 | 11.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.597 | μmol/L | 25.3516 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.468 | 166516.8077 | 313647.879 | 33.25 | 68.6
35674 | 2021-02-23 19:28 | 11.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5311 | μmol/L | 25.3577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.47 | 166513.0809 | 313626.223 | 33.25 | 68.6
35684 | 2021-02-23 19:29 | 11.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4281 | μmol/L | 25.376 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.47 | 166475.8477 | 313589.0261 | 33.25 | 68.6
35694 | 2021-02-23 19:29 | 12.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3541 | μmol/L | 25.4004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.466 | 166445.8787 | 313564.6222 | 33.25 | 68.6
35704 | 2021-02-23 19:29 | 12.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2328 | μmol/L | 25.4248 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.465 | 166408.3643 | 313542.7613 | 33.25 | 68.6
35714 | 2021-02-23 19:30 | 12.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1273 | μmol/L | 25.4492 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 166398.1507 | 313523.4494 | 33.25 | 68.6
35724 | 2021-02-23 19:30 | 13.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9903 | μmol/L | 25.4736 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 166348.0263 | 313499.7169 | 33.25 | 68.6
35734 | 2021-02-23 19:30 | 13.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9719 | μmol/L | 25.4797 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.462 | 166331.7622 | 313470.7935 | 33.25 | 68.6
35744 | 2021-02-23 19:31 | 13.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8534 | μmol/L | 25.498 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 166309.5598 | 313451.347 | 33.25 | 68.6
35754 | 2021-02-23 19:31 | 14.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.848 | μmol/L | 25.5102 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.459 | 166276.9893 | 313424.8942 | 33.25 | 68.6
35764 | 2021-02-23 19:31 | 14.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7242 | μmol/L | 25.5406 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.456 | 166248.431 | 313410.4474 | 33.25 | 68.6
35774 | 2021-02-23 19:32 | 14.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7058 | μmol/L | 25.5467 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.455 | 166200.5004 | 313385.0066 | 33.25 | 68.6
35784 | 2021-02-23 19:32 | 15.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7031 | μmol/L | 25.5528 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.453 | 166198.2937 | 313355.2337 | 33.25 | 68.6
35794 | 2021-02-23 19:32 | 15.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7503 | μmol/L | 25.5528 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.45 | 166163.476 | 313331.0345 | 33.25 | 68.6
35804 | 2021-02-23 19:33 | 15.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6846 | μmol/L | 25.5589 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.452 | 166116.7739 | 313304.6534 | 33.25 | 68.6
35814 | 2021-02-23 19:33 | 16.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6477 | μmol/L | 25.5711 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.45 | 166091.4964 | 313277.9637 | 33.25 | 68.6
35824 | 2021-02-23 19:33 | 16.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6738 | μmol/L | 25.5833 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.444 | 166050.6507 | 313252.3024 | 33.25 | 68.6
35834 | 2021-02-23 19:34 | 16.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6553 | μmol/L | 25.5894 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.443 | 166030.5224 | 313231.0464 | 33.25 | 68.6
35844 | 2021-02-23 19:34 | 17.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5555 | μmol/L | 25.6016 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.445 | 165999.3654 | 313218.1899 | 33.25 | 68.6
35854 | 2021-02-23 19:34 | 17.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5658 | μmol/L | 25.6138 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.44 | 165976.1316 | 313191.3145 | 33.25 | 68.6
35864 | 2021-02-23 19:35 | 17.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5159 | μmol/L | 25.6199 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.441 | 165943.6736 | 313161.0035 | 33.25 | 68.6
35874 | 2021-02-23 19:35 | 18.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4162 | μmol/L | 25.6321 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.443 | 165909.6457 | 313143.1355 | 33.25 | 68.6
35884 | 2021-02-23 19:35 | 18.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4948 | μmol/L | 25.6321 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.438 | 165885.7712 | 313124.8726 | 33.25 | 68.6
35894 | 2021-02-23 19:36 | 18.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4633 | μmol/L | 25.6321 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.44 | 165880.8336 | 313099.1633 | 33.25 | 68.6
35904 | 2021-02-23 19:36 | 19.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.408 | μmol/L | 25.6504 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.437 | 165849.864 | 313078.1974 | 33.25 | 68.6
35914 | 2021-02-23 19:36 | 19.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3555 | μmol/L | 25.6626 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 165821.3972 | 313063.8304 | 33.25 | 68.6
35924 | 2021-02-23 19:37 | 19.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3213 | μmol/L | 25.6687 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 165811.4639 | 313033.1543 | 33.25 | 68.6
35934 | 2021-02-23 19:37 | 20.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2033 | μmol/L | 25.687 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.437 | 165769.0155 | 313002.0025 | 33.25 | 68.6
35944 | 2021-02-23 19:37 | 20.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2661 | μmol/L | 25.687 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.433 | 165740.2156 | 312978.4211 | 33.25 | 68.6
35954 | 2021-02-23 19:38 | 20.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2135 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.432 | 165720.4096 | 312961.8462 | 33.25 | 68.6
35964 | 2021-02-23 19:38 | 21.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2135 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.432 | 165699.8111 | 312945.1636 | 33.25 | 68.6
35974 | 2021-02-23 19:38 | 21.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2921 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.427 | 165642.927 | 312911.0183 | 33.25 | 68.6
35984 | 2021-02-23 19:39 | 21.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2606 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.429 | 165625.8169 | 312888.538 | 33.25 | 68.6
35994 | 2021-02-23 19:39 | 22.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.174 | μmol/L | 25.7175 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.428 | 165606.4561 | 312873.4429 | 33.25 | 68.6
36004 | 2021-02-23 19:39 | 22.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1713 | μmol/L | 25.7236 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.426 | 165567.0462 | 312845.9305 | 33.25 | 68.6
36014 | 2021-02-23 19:40 | 22.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1215 | μmol/L | 25.7297 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.427 | 165554.3826 | 312830.7628 | 33.25 | 68.6
36024 | 2021-02-23 19:40 | 23.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.187 | μmol/L | 25.7236 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.425 | 165527.0343 | 312798.3772 | 33.25 | 68.6
36034 | 2021-02-23 19:40 | 23.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0663 | μmol/L | 25.7479 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.424 | 165503.7506 | 312777.4404 | 33.25 | 68.6
36044 | 2021-02-23 19:41 | 23.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0977 | μmol/L | 25.7479 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.422 | 165471.4006 | 312760.6428 | 33.25 | 68.6
36054 | 2021-02-23 19:41 | 24.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9299 | μmol/L | 25.7723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.424 | 165454.6931 | 312745.4935 | 33.25 | 68.6
36064 | 2021-02-23 19:41 | 24.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7413 | μmol/L | 25.8089 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.423 | 165426.1404 | 312720.2249 | 33.25 | 68.6
36074 | 2021-02-23 19:42 | 24.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8775 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.423 | 165414.0309 | 312704.7375 | 33.25 | 68.6
36084 | 2021-02-23 19:42 | 25.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8932 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.422 | 165386.3312 | 312671.8194 | 33.25 | 68.6
36094 | 2021-02-23 19:42 | 25.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7386 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.421 | 165350.5776 | 312653.8291 | 33.25 | 68.6
36104 | 2021-02-23 19:43 | 25.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8012 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 165324.574 | 312633.2199 | 33.25 | 68.6
36114 | 2021-02-23 19:43 | 26.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7018 | μmol/L | 25.8272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.419 | 165282.7704 | 312589.8102 | 33.25 | 68.6
36124 | 2021-02-23 19:43 | 26.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7856 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.418 | 165283.736 | 312592.9488 | 33.25 | 68.6
36134 | 2021-02-23 19:44 | 26.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8693 | μmol/L | 25.8028 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 165244.4095 | 312570.3065 | 33.25 | 68.6
36144 | 2021-02-23 19:44 | 27.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7856 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.418 | 165230.0573 | 312552.6594 | 33.25 | 68.6
36154 | 2021-02-23 19:44 | 27.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8353 | μmol/L | 25.8089 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 165206.7085 | 312529.3727 | 33.25 | 68.6
36164 | 2021-02-23 19:45 | 27.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7331 | μmol/L | 25.8272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 165186.2807 | 312504.5058 | 33.25 | 68.6
36174 | 2021-02-23 19:45 | 28.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7985 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 165150.8008 | 312469.1536 | 33.25 | 68.6
36184 | 2021-02-23 19:45 | 28.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8012 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 165132.494 | 312472.7911 | 33.25 | 68.6
36194 | 2021-02-23 19:46 | 28.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.851 | μmol/L | 25.8089 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.416 | 165103.5268 | 312427.5884 | 33.25 | 68.6
36204 | 2021-02-23 19:46 | 29.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8299 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.413 | 165084.7375 | 312420.8224 | 33.25 | 68.6
36214 | 2021-02-23 19:46 | 29.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7801 | μmol/L | 25.8272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.414 | 165067.8642 | 312412.9476 | 33.25 | 68.6
36224 | 2021-02-23 19:47 | 29.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6964 | μmol/L | 25.8394 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 165030.8072 | 312398.5117 | 33.25 | 68.6
36234 | 2021-02-23 19:47 | 30.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8482 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.414 | 165017.1314 | 312372.2033 | 33.25 | 68.6
36244 | 2021-02-23 19:47 | 30.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7931 | μmol/L | 25.8333 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.411 | 165003.6789 | 312337.5218 | 33.25 | 68.6
36254 | 2021-02-23 19:48 | 30.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6623 | μmol/L | 25.8455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 164965.1342 | 312333.449 | 33.25 | 68.6
36264 | 2021-02-23 19:48 | 31.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.725 | μmol/L | 25.8455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.411 | 164951.6834 | 312317.5223 | 33.25 | 68.6
36274 | 2021-02-23 19:48 | 31.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7277 | μmol/L | 25.8394 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.413 | 164935.4936 | 312296.2866 | 33.25 | 68.6
36284 | 2021-02-23 19:49 | 31.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7645 | μmol/L | 25.8272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 164925.4997 | 312285.3713 | 33.25 | 68.6
36294 | 2021-02-23 19:49 | 32.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7461 | μmol/L | 25.8333 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.414 | 164896.5258 | 312251.2526 | 33.25 | 68.6
36304 | 2021-02-23 19:49 | 32.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5786 | μmol/L | 25.8577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.416 | 164880.5362 | 312244.7765 | 33.25 | 68.6
36314 | 2021-02-23 19:50 | 32.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5262 | μmol/L | 25.8699 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 164865.5922 | 312230.832 | 33.25 | 68.6
36324 | 2021-02-23 19:50 | 33.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.529 | μmol/L | 25.8638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164846.0875 | 312213.3915 | 33.25 | 68.6
36334 | 2021-02-23 19:50 | 33.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6283 | μmol/L | 25.8516 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 164831.5821 | 312196.3392 | 33.25 | 68.6
36344 | 2021-02-23 19:51 | 33.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6623 | μmol/L | 25.8455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.415 | 164813.7877 | 312187.9477 | 33.25 | 68.6
36354 | 2021-02-23 19:51 | 34.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7147 | μmol/L | 25.8333 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.416 | 164793.639 | 312176.741 | 33.25 | 68.6
36364 | 2021-02-23 19:51 | 34.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.665 | μmol/L | 25.8394 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164782.6468 | 312154.8167 | 33.25 | 68.6
36374 | 2021-02-23 19:52 | 34.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7488 | μmol/L | 25.8272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.416 | 164769.4414 | 312133.3238 | 33.25 | 68.6
36384 | 2021-02-23 19:52 | 35.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7672 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164741.3745 | 312100.7623 | 33.25 | 68.6
36394 | 2021-02-23 19:52 | 35.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7672 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164738.3099 | 312088.8516 | 33.25 | 68.6
36404 | 2021-02-23 19:53 | 35.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7515 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.418 | 164725.5164 | 312068.0872 | 33.25 | 68.6
36414 | 2021-02-23 19:53 | 36.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7699 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.419 | 164699.0192 | 312043.3534 | 33.25 | 68.6
36424 | 2021-02-23 19:53 | 36.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.631 | μmol/L | 25.8455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164680.332 | 312034.0505 | 33.25 | 68.6
36434 | 2021-02-23 19:54 | 36.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.529 | μmol/L | 25.8638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 164661.9561 | 312015.7619 | 33.25 | 68.6
36444 | 2021-02-23 19:54 | 37.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5473 | μmol/L | 25.8577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.418 | 164650.5617 | 312005.3771 | 33.25 | 68.6
36454 | 2021-02-23 19:54 | 37.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4847 | μmol/L | 25.8577 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.422 | 164644.1233 | 311990.9311 | 33.25 | 68.6
36464 | 2021-02-23 19:55 | 37.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5841 | μmol/L | 25.8455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.42 | 164620.7882 | 311968.8201 | 33.25 | 68.6
36474 | 2021-02-23 19:55 | 38.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7386 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.421 | 164603.9263 | 311953.761 | 33.25 | 68.6
36484 | 2021-02-23 19:55 | 38.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6575 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.424 | 164605.7194 | 311948.8131 | 33.25 | 68.6
36494 | 2021-02-23 19:56 | 38.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6889 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.422 | 164595.2743 | 311935.84 | 33.25 | 68.6
36504 | 2021-02-23 19:56 | 39.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8618 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.424 | 164571.402 | 311911.4248 | 33.25 | 68.6
36514 | 2021-02-23 19:56 | 39.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8932 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.422 | 164546.7812 | 311885.6395 | 33.25 | 68.6
36524 | 2021-02-23 19:57 | 39.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6419 | μmol/L | 25.8211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.425 | 164546.8315 | 311878.1152 | 33.25 | 68.6
36534 | 2021-02-23 19:57 | 40.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7072 | μmol/L | 25.815 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.423 | 164529.5287 | 311858.3409 | 33.25 | 68.6
36544 | 2021-02-23 19:57 | 40.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0349 | μmol/L | 25.7479 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.426 | 164512.1567 | 311847.8626 | 33.25 | 68.6
36554 | 2021-02-23 19:58 | 40.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9667 | μmol/L | 25.7601 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.426 | 164505.4948 | 311820.6311 | 33.25 | 68.6
36564 | 2021-02-23 19:58 | 41.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6813 | μmol/L | 25.8028 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.429 | 164486.682 | 311806.2668 | 33.25 | 68.6
36574 | 2021-02-23 19:58 | 41.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.744 | μmol/L | 25.8028 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.425 | 164485.3068 | 311791.9273 | 33.25 | 68.6
36584 | 2021-02-23 19:59 | 41.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7991 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.428 | 164462.5557 | 311785.882 | 33.25 | 68.6
36594 | 2021-02-23 19:59 | 42.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8046 | μmol/L | 25.7723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.432 | 164453.7384 | 311773.8627 | 33.25 | 68.6
36604 | 2021-02-23 19:59 | 42.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7521 | μmol/L | 25.7845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.431 | 164443.2944 | 311749.1136 | 33.25 | 68.6
36614 | 2021-02-23 20:00 | 42.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8018 | μmol/L | 25.7784 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.43 | 164435.1473 | 311751.1548 | 33.25 | 68.6
36624 | 2021-02-23 20:00 | 43.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8883 | μmol/L | 25.7601 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.431 | 164419.381 | 311708.9293 | 33.25 | 68.6
36634 | 2021-02-23 20:00 | 43.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7392 | μmol/L | 25.7784 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.434 | 164409.9935 | 311708.2312 | 33.25 | 68.6
36644 | 2021-02-23 20:01 | 43.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.81 | μmol/L | 25.7601 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 164395.861 | 311696.1121 | 33.25 | 68.6
36654 | 2021-02-23 20:01 | 44.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9462 | μmol/L | 25.7358 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 164402.7083 | 311675.8313 | 33.25 | 68.6
36664 | 2021-02-23 20:01 | 44.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0144 | μmol/L | 25.7236 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 164375.6053 | 311669.6551 | 33.25 | 68.6
36674 | 2021-02-23 20:02 | 44.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1194 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.438 | 164364.1088 | 311666.0324 | 33.25 | 68.6
36684 | 2021-02-23 20:02 | 45.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0853 | μmol/L | 25.7053 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.438 | 164352.8307 | 311641.8324 | 33.25 | 68.6
36694 | 2021-02-23 20:02 | 45.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0723 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.441 | 164338.7792 | 311639.4204 | 33.25 | 68.6
36704 | 2021-02-23 20:03 | 45.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1351 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.437 | 164339.0365 | 311613.4837 | 33.25 | 68.6
36714 | 2021-02-23 20:03 | 46.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9884 | μmol/L | 25.7114 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164335.8658 | 311613.8688 | 33.25 | 68.6
36724 | 2021-02-23 20:03 | 46.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9544 | μmol/L | 25.7175 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164322.6 | 311603.474 | 33.25 | 68.6
36734 | 2021-02-23 20:04 | 46.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8862 | μmol/L | 25.7297 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164311.8419 | 311597.4858 | 33.25 | 68.6
36744 | 2021-02-23 20:04 | 47.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9544 | μmol/L | 25.7175 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164297.3155 | 311587.4058 | 33.25 | 68.6
36754 | 2021-02-23 20:04 | 47.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9782 | μmol/L | 25.6992 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.447 | 164288.8542 | 311583.0385 | 33.25 | 68.6
36764 | 2021-02-23 20:05 | 47.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9755 | μmol/L | 25.7053 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.445 | 164281.819 | 311567.2046 | 33.25 | 68.6
36774 | 2021-02-23 20:05 | 48.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.369 | μmol/L | 25.6321 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.446 | 164274.298 | 311548.4144 | 33.25 | 68.6
36784 | 2021-02-23 20:05 | 48.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0593 | μmol/L | 25.6931 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.444 | 164272.1998 | 311534.6403 | 33.25 | 68.6
36794 | 2021-02-23 20:06 | 48.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8576 | μmol/L | 25.7236 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.446 | 164255.2991 | 311524.8379 | 33.25 | 68.6
36804 | 2021-02-23 20:06 | 49.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8052 | μmol/L | 25.7358 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.445 | 164246.4755 | 311519.0984 | 33.25 | 68.6
36814 | 2021-02-23 20:06 | 49.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9598 | μmol/L | 25.7053 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.446 | 164223.7511 | 311497.5168 | 33.25 | 68.6
36824 | 2021-02-23 20:07 | 49.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8134 | μmol/L | 25.7175 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.451 | 164231.4477 | 311489.4322 | 33.25 | 68.6
36834 | 2021-02-23 20:07 | 50.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8317 | μmol/L | 25.7114 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.452 | 164216.7409 | 311463.8126 | 33.25 | 68.6
36844 | 2021-02-23 20:07 | 50.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9809 | μmol/L | 25.6931 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.449 | 164196.3448 | 311463.4853 | 33.25 | 68.6
36854 | 2021-02-23 20:08 | 50.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9993 | μmol/L | 25.687 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.45 | 164181.173 | 311443.1719 | 33.25 | 68.6
36864 | 2021-02-23 20:08 | 51.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0177 | μmol/L | 25.6809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.451 | 164170.9692 | 311413.9266 | 33.25 | 68.6
36874 | 2021-02-23 20:08 | 51.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9653 | μmol/L | 25.6931 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.45 | 164161.8626 | 311403.0156 | 33.25 | 68.6
36884 | 2021-02-23 20:09 | 51.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0388 | μmol/L | 25.6687 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.454 | 164163.3856 | 311391.1629 | 33.25 | 68.6
36894 | 2021-02-23 20:09 | 52.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1622 | μmol/L | 25.6382 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.457 | 164168.0298 | 311383.9175 | 33.25 | 68.6
36904 | 2021-02-23 20:09 | 52.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0443 | μmol/L | 25.6565 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.458 | 164142.6508 | 311369.3678 | 33.25 | 68.6
36914 | 2021-02-23 20:10 | 52.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2489 | μmol/L | 25.6199 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.458 | 164139.8853 | 311352.5564 | 33.25 | 68.6
36924 | 2021-02-23 20:10 | 53.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1842 | μmol/L | 25.6382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.456 | 164109.2601 | 311348.0389 | 33.25 | 68.6
36934 | 2021-02-23 20:10 | 53.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0784 | μmol/L | 25.6504 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.458 | 164119.4268 | 311331.3885 | 33.25 | 68.6
36944 | 2021-02-23 20:11 | 53.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0376 | μmol/L | 25.6504 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.461 | 164102.1432 | 311322.3474 | 33.25 | 68.6
36954 | 2021-02-23 20:11 | 54.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0497 | μmol/L | 25.6443 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.462 | 164104.785 | 311303.4651 | 33.25 | 68.6
36964 | 2021-02-23 20:11 | 54.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188 | μmol/L | 25.6504 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 164085.1183 | 311302.7352 | 33.25 | 68.6
36974 | 2021-02-23 20:12 | 54.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0552 | μmol/L | 25.6321 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.466 | 164099.3852 | 311266.7171 | 33.25 | 68.6
36984 | 2021-02-23 20:12 | 55.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0368 | μmol/L | 25.6382 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.465 | 164089.3493 | 311269.208 | 33.25 | 68.6
36994 | 2021-02-23 20:12 | 55.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.043 | μmol/L | 25.6382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.465 | 164075.2277 | 311249.8211 | 33.25 | 68.6
37004 | 2021-02-23 20:13 | 55.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0422 | μmol/L | 25.626 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.469 | 164076.9024 | 311227.7341 | 33.25 | 68.6
37014 | 2021-02-23 20:13 | 56.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1903 | μmol/L | 25.5894 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.473 | 164069.613 | 311221.9724 | 33.25 | 68.6
37024 | 2021-02-23 20:13 | 56.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4727 | μmol/L | 25.5406 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.472 | 164055.4326 | 311211.1794 | 33.25 | 68.6
37034 | 2021-02-23 20:14 | 56.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4071 | μmol/L | 25.5467 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.474 | 164069.6453 | 311200.5319 | 33.25 | 68.6
37044 | 2021-02-23 20:14 | 57.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4605 | μmol/L | 25.5467 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.471 | 164045.9375 | 311186.8887 | 33.25 | 68.6
37054 | 2021-02-23 20:14 | 57.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2482 | μmol/L | 25.565 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.478 | 164041.0876 | 311189.3834 | 33.25 | 68.6
37064 | 2021-02-23 20:15 | 57.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2953 | μmol/L | 25.565 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.475 | 164036.251 | 311164.6547 | 33.25 | 68.6
37074 | 2021-02-23 20:15 | 58.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2734 | μmol/L | 25.565 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.476 | 164038.1797 | 311171.7726 | 33.25 | 68.6
37084 | 2021-02-23 20:15 | 58.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1644 | μmol/L | 25.5772 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.479 | 164029.8633 | 311155.6671 | 33.25 | 68.6
37094 | 2021-02-23 20:16 | 58.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1828 | μmol/L | 25.5711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.48 | 164026.6209 | 311154.9999 | 33.25 | 68.6
37104 | 2021-02-23 20:16 | 59.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2666 | μmol/L | 25.5589 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.479 | 164018.9566 | 311133.6864 | 33.25 | 68.6
37114 | 2021-02-23 20:16 | 59.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2223 | μmol/L | 25.5528 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.484 | 164020.5853 | 311128.4781 | 33.25 | 68.6
37124 | 2021-02-23 20:17 | 59.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2748 | μmol/L | 25.5406 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.485 | 164019.3351 | 311104.7629 | 33.25 | 68.6
37134 | 2021-02-23 20:17 | 60.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2591 | μmol/L | 25.5406 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.486 | 164015.946 | 311120.3151 | 33.25 | 68.6
37144 | 2021-02-23 20:17 | 60.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3615 | μmol/L | 25.5223 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.486 | 164016.2099 | 311103.1755 | 33.25 | 68.6
37154 | 2021-02-23 20:18 | 60.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5191 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.489 | 164027.8327 | 311113.1678 | 33.25 | 68.6
37164 | 2021-02-23 20:18 | 61.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5506 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.487 | 164005.0659 | 311097.1703 | 33.25 | 68.6
37174 | 2021-02-23 20:18 | 61.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4693 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.49 | 164025.4345 | 311093.3259 | 33.25 | 68.6
37184 | 2021-02-23 20:19 | 61.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4693 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.49 | 164014.6216 | 311087.1841 | 33.25 | 68.6
37194 | 2021-02-23 20:19 | 62.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3751 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.496 | 164014.6559 | 311081.3064 | 33.25 | 68.6
37204 | 2021-02-23 20:19 | 62.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4222 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.493 | 164021.6441 | 311072.4128 | 33.25 | 68.6
37214 | 2021-02-23 20:20 | 62.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3908 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.495 | 164030.1735 | 311071.7806 | 33.25 | 68.6
37224 | 2021-02-23 20:20 | 63.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4249 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.495 | 164015.7737 | 311071.3744 | 33.25 | 68.6
37234 | 2021-02-23 20:20 | 63.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3465 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 164016.9928 | 311055.2109 | 33.25 | 68.6
37244 | 2021-02-23 20:21 | 63.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.328 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.499 | 164023.9301 | 311055.0261 | 33.25 | 68.6
37254 | 2021-02-23 20:21 | 64.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3308 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 164028.1556 | 311046.6798 | 33.25 | 68.6
37264 | 2021-02-23 20:21 | 64.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2523 | μmol/L | 25.4858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.506 | 164025.2875 | 311032.8414 | 33.25 | 68.6
37274 | 2021-02-23 20:22 | 64.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3546 | μmol/L | 25.4675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.506 | 164024.5699 | 311026.1494 | 33.25 | 68.6
37284 | 2021-02-23 20:22 | 65.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4072 | μmol/L | 25.4553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.507 | 164034.8579 | 311037.661 | 33.25 | 68.6
37294 | 2021-02-23 20:22 | 65.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6277 | μmol/L | 25.4187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.506 | 164016.7484 | 311004.6416 | 33.25 | 68.6
37304 | 2021-02-23 20:23 | 65.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7671 | μmol/L | 25.3882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.508 | 164036.4931 | 311022.4463 | 33.25 | 68.6
37314 | 2021-02-23 20:23 | 66.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7357 | μmol/L | 25.3882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.51 | 164025.3056 | 311008.3652 | 33.25 | 68.6
37324 | 2021-02-23 20:23 | 66.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7487 | μmol/L | 25.3943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.507 | 164032.9986 | 311009.6791 | 33.25 | 68.6
37334 | 2021-02-23 20:24 | 66.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7829 | μmol/L | 25.3882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.507 | 164034.6885 | 310999.0296 | 33.25 | 68.6
37344 | 2021-02-23 20:24 | 67.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4836 | μmol/L | 25.4248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 164042.9544 | 310994.0631 | 33.25 | 68.6
37354 | 2021-02-23 20:24 | 67.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4993 | μmol/L | 25.4248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.512 | 164042.5587 | 310996.9788 | 33.25 | 68.6
37364 | 2021-02-23 20:25 | 67.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5758 | μmol/L | 25.3943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.518 | 164048.8411 | 310984.8073 | 33.25 | 68.6
37374 | 2021-02-23 20:25 | 68.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7569 | μmol/L | 25.376 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 164043.6787 | 310976.8199 | 33.25 | 68.6
37384 | 2021-02-23 20:25 | 68.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7439 | μmol/L | 25.3699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.516 | 164051.918 | 310973.8857 | 33.25 | 68.6
37394 | 2021-02-23 20:26 | 68.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5574 | μmol/L | 25.4004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164054.0213 | 310971.6659 | 33.25 | 68.6
37404 | 2021-02-23 20:26 | 69.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3554 | μmol/L | 25.4309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.519 | 164054.9479 | 310959.046 | 33.25 | 68.6
37414 | 2021-02-23 20:26 | 69.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5547 | μmol/L | 25.4065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.515 | 164056.894 | 310955.9276 | 33.25 | 68.6
37424 | 2021-02-23 20:27 | 69.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4891 | μmol/L | 25.4126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164038.4399 | 310940.2136 | 33.25 | 68.6
37434 | 2021-02-23 20:27 | 70.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5758 | μmol/L | 25.3943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.518 | 164054.4917 | 310945.5386 | 33.25 | 68.6
37444 | 2021-02-23 20:27 | 70.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6257 | μmol/L | 25.3882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164043.3954 | 310929.555 | 33.25 | 68.6
37454 | 2021-02-23 20:28 | 70.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5601 | μmol/L | 25.3943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.519 | 164042.0237 | 310921.2471 | 33.25 | 68.6
37464 | 2021-02-23 20:28 | 71.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3111 | μmol/L | 25.4248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.524 | 164046.7422 | 310912.2872 | 33.25 | 68.6
37474 | 2021-02-23 20:28 | 71.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4263 | μmol/L | 25.4126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.521 | 164039.4207 | 310902.7553 | 33.25 | 68.6
37484 | 2021-02-23 20:29 | 71.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3922 | μmol/L | 25.4187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.521 | 164047.0966 | 310892.7108 | 33.25 | 68.6
37494 | 2021-02-23 20:29 | 72.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3185 | μmol/L | 25.4431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164030.6097 | 310902.331 | 33.25 | 68.6
37504 | 2021-02-23 20:29 | 72.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1535 | μmol/L | 25.4614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.521 | 164051.7396 | 310892.3477 | 33.25 | 68.6
37514 | 2021-02-23 20:30 | 72.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0145 | μmol/L | 25.4919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.519 | 164036.7645 | 310889.7661 | 33.25 | 68.6
37524 | 2021-02-23 20:30 | 73.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0431 | μmol/L | 25.498 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.515 | 164028.4838 | 310881.9752 | 33.25 | 68.6
37534 | 2021-02-23 20:30 | 73.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9594 | μmol/L | 25.5102 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.516 | 164032.203 | 310875.7749 | 33.25 | 68.6
37544 | 2021-02-23 20:31 | 73.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8416 | μmol/L | 25.5284 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164032.4504 | 310876.2248 | 33.25 | 68.6
37554 | 2021-02-23 20:31 | 74.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7396 | μmol/L | 25.5467 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164011.2988 | 310850.6219 | 33.25 | 68.6
37564 | 2021-02-23 20:31 | 74.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6504 | μmol/L | 25.5711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.514 | 164018.8663 | 310862.4411 | 33.25 | 68.6
37574 | 2021-02-23 20:32 | 74.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5016 | μmol/L | 25.5894 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.517 | 164016.6497 | 310847.4565 | 33.25 | 68.6
37584 | 2021-02-23 20:32 | 75.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5118 | μmol/L | 25.6016 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.512 | 164001.1504 | 310840.7299 | 33.25 | 68.6
37594 | 2021-02-23 20:32 | 75.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4282 | μmol/L | 25.6138 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 163997.4352 | 310842.9065 | 33.25 | 68.6
37604 | 2021-02-23 20:33 | 75.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3603 | μmol/L | 25.626 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 163996.5805 | 310837.5965 | 33.25 | 68.6
37614 | 2021-02-23 20:33 | 76.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3236 | μmol/L | 25.6382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.511 | 163994.4939 | 310827.6788 | 33.25 | 68.6
37624 | 2021-02-23 20:33 | 76.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1255 | μmol/L | 25.6626 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.515 | 163992.8504 | 310814.9676 | 33.25 | 68.6
37634 | 2021-02-23 20:34 | 76.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1384 | μmol/L | 25.6687 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.512 | 163979.9005 | 310809.4487 | 33.25 | 68.6
37644 | 2021-02-23 20:34 | 77.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2374 | μmol/L | 25.6565 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.51 | 163979.7891 | 310823.495 | 33.25 | 68.6
37654 | 2021-02-23 20:34 | 77.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1539 | μmol/L | 25.6687 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.511 | 163976.5846 | 310810.4479 | 33.25 | 68.6
37664 | 2021-02-23 20:35 | 77.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2136 | μmol/L | 25.6748 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163959.132 | 310801.8995 | 33.25 | 68.6
37674 | 2021-02-23 20:35 | 78.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.099 | μmol/L | 25.687 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.508 | 163968.9198 | 310804.0572 | 33.25 | 68.6
37684 | 2021-02-23 20:35 | 78.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0806 | μmol/L | 25.6931 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.507 | 163964.9413 | 310812.4618 | 33.25 | 68.6
37694 | 2021-02-23 20:36 | 78.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0312 | μmol/L | 25.6992 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.508 | 163955.4984 | 310792.5944 | 33.25 | 68.6
37704 | 2021-02-23 20:36 | 79.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0413 | μmol/L | 25.7114 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163959.5489 | 310788.7636 | 33.25 | 68.6
37714 | 2021-02-23 20:36 | 79.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9423 | μmol/L | 25.7236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163953.1948 | 310788.4707 | 33.25 | 68.6
37724 | 2021-02-23 20:37 | 79.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9579 | μmol/L | 25.7236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163954.8843 | 310783.8556 | 33.25 | 68.6
37734 | 2021-02-23 20:37 | 80.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8746 | μmol/L | 25.7358 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163954.5825 | 310788.1705 | 33.25 | 68.6
37744 | 2021-02-23 20:37 | 80.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9579 | μmol/L | 25.7236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163959.7444 | 310800.2762 | 33.25 | 68.6
37754 | 2021-02-23 20:38 | 80.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8068 | μmol/L | 25.7479 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163948.778 | 310785.5411 | 33.25 | 68.6
37764 | 2021-02-23 20:38 | 81.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8352 | μmol/L | 25.754 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163955.095 | 310783.7149 | 33.25 | 68.6
37774 | 2021-02-23 20:38 | 81.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7885 | μmol/L | 25.754 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163946.9171 | 310769.1065 | 33.25 | 68.6
37784 | 2021-02-23 20:39 | 81.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6687 | μmol/L | 25.7784 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163949.6604 | 310767.6899 | 33.25 | 68.6
37794 | 2021-02-23 20:39 | 82.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6348 | μmol/L | 25.7845 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163931.0735 | 310759.6715 | 33.25 | 68.6
37804 | 2021-02-23 20:39 | 82.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6321 | μmol/L | 25.7906 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163951.5997 | 310763.5774 | 33.25 | 68.6
37814 | 2021-02-23 20:40 | 82.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6842 | μmol/L | 25.7784 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163942.6622 | 310754.6493 | 33.25 | 68.6
37824 | 2021-02-23 20:40 | 83.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5644 | μmol/L | 25.8028 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163945.2178 | 310745.3721 | 33.25 | 68.6
37834 | 2021-02-23 20:40 | 83.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5023 | μmol/L | 25.8028 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163935.5754 | 310755.3153 | 33.25 | 68.6
37844 | 2021-02-23 20:41 | 83.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3953 | μmol/L | 25.8333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163930.7792 | 310737.6975 | 33.25 | 68.6
37854 | 2021-02-23 20:41 | 84.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.325 | μmol/L | 25.8516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.499 | 163942.4551 | 310755.292 | 33.25 | 68.6
37864 | 2021-02-23 20:41 | 84.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2602 | μmol/L | 25.8577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163922.2652 | 310735.8713 | 33.25 | 68.6
37874 | 2021-02-23 20:42 | 84.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2419 | μmol/L | 25.8638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 163919.8819 | 310748.6267 | 33.25 | 68.6
37884 | 2021-02-23 20:42 | 85.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1899 | μmol/L | 25.876 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.499 | 163916.3218 | 310732.9613 | 33.25 | 68.6
37894 | 2021-02-23 20:42 | 85.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1406 | μmol/L | 25.8821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 163923.3821 | 310732.6388 | 33.25 | 68.6
37904 | 2021-02-23 20:43 | 85.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1871 | μmol/L | 25.8821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.497 | 163918.1483 | 310725.0769 | 33.25 | 68.6
37914 | 2021-02-23 20:43 | 86.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0056 | μmol/L | 25.9065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 163925.0384 | 310723.2147 | 33.25 | 68.6
37924 | 2021-02-23 20:43 | 86.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0239 | μmol/L | 25.9004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163928.1735 | 310717.9153 | 33.25 | 68.6
37934 | 2021-02-23 20:44 | 86.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1251 | μmol/L | 25.8821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163919.9923 | 310719.9618 | 33.25 | 68.6
37944 | 2021-02-23 20:44 | 87.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1899 | μmol/L | 25.876 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.499 | 163918.4726 | 310728.6008 | 33.25 | 68.6
37954 | 2021-02-23 20:44 | 87.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1278 | μmol/L | 25.876 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163917.1543 | 310722.5165 | 33.25 | 68.6
37964 | 2021-02-23 20:45 | 87.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2547 | μmol/L | 25.8699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.497 | 163915.0891 | 310702.6833 | 33.25 | 68.6
37974 | 2021-02-23 20:45 | 88.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.325 | μmol/L | 25.8516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.499 | 163899.9171 | 310711.6827 | 33.25 | 68.6
37984 | 2021-02-23 20:45 | 88.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2081 | μmol/L | 25.8699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 163902.6723 | 310705.0581 | 33.25 | 68.6
37994 | 2021-02-23 20:46 | 88.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0448 | μmol/L | 25.8882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163894.6348 | 310706.1676 | 33.25 | 68.6
38004 | 2021-02-23 20:46 | 89.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9226 | μmol/L | 25.9187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163893.886 | 310709.5807 | 33.25 | 68.6
38014 | 2021-02-23 20:46 | 89.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1434 | μmol/L | 25.876 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163890.4225 | 310708.3652 | 33.25 | 68.6
38024 | 2021-02-23 20:47 | 89.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1771 | μmol/L | 25.8699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163897.8395 | 310709.1588 | 33.25 | 68.6
38034 | 2021-02-23 20:47 | 90.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0913 | μmol/L | 25.8882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163892.6529 | 310701.5764 | 33.25 | 68.6
38044 | 2021-02-23 20:47 | 90.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9591 | μmol/L | 25.9065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163897.2637 | 310709.9771 | 33.25 | 68.6
38054 | 2021-02-23 20:48 | 90.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9072 | μmol/L | 25.9187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163903.9474 | 310693.5986 | 33.25 | 68.6
38064 | 2021-02-23 20:48 | 91.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9226 | μmol/L | 25.9187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.501 | 163896.0037 | 310693.1214 | 33.25 | 68.6
38074 | 2021-02-23 20:48 | 91.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9044 | μmol/L | 25.9248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.5 | 163904.2896 | 310697.8269 | 33.25 | 68.6
38084 | 2021-02-23 20:49 | 91.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0941 | μmol/L | 25.8821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163890.4866 | 310680.1343 | 33.25 | 68.6
38094 | 2021-02-23 20:49 | 92.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0084 | μmol/L | 25.9004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163899.2352 | 310675.4798 | 33.25 | 68.6
38104 | 2021-02-23 20:49 | 92.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1434 | μmol/L | 25.876 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163904.36 | 310681.349 | 33.25 | 68.6
38114 | 2021-02-23 20:50 | 92.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1461 | μmol/L | 25.8699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163883.6837 | 310656.2832 | 33.25 | 68.6
38124 | 2021-02-23 20:50 | 93.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9099 | μmol/L | 25.9126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163890.482 | 310666.4046 | 33.25 | 68.6
38134 | 2021-02-23 20:50 | 93.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.806 | μmol/L | 25.937 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 163904.2433 | 310661.3813 | 33.25 | 68.6
38144 | 2021-02-23 20:51 | 93.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8944 | μmol/L | 25.9126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.505 | 163886.1938 | 310654.487 | 33.25 | 68.6
38154 | 2021-02-23 20:51 | 94.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8088 | μmol/L | 25.9309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163892.0708 | 310655.6086 | 33.25 | 68.6
38164 | 2021-02-23 20:51 | 94.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7441 | μmol/L | 25.937 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.506 | 163898.2426 | 310651.2865 | 33.25 | 68.6
38174 | 2021-02-23 20:52 | 94.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7468 | μmol/L | 25.9309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.508 | 163905.2835 | 310650.8257 | 33.25 | 68.6
38184 | 2021-02-23 20:52 | 95.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8325 | μmol/L | 25.9126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.509 | 163910.9722 | 310652.3768 | 33.25 | 68.6
38194 | 2021-02-23 20:52 | 95.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8662 | μmol/L | 25.9065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.509 | 163910.0673 | 310638.8765 | 33.25 | 68.6
38204 | 2021-02-23 20:53 | 95.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8535 | μmol/L | 25.9004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.512 | 163925.2012 | 310650.409 | 33.25 | 68.6
38214 | 2021-02-23 20:53 | 96.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9181 | μmol/L | 25.8943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.51 | 163937.8999 | 310651.6972 | 33.25 | 68.6