## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31868 | 2021-02-23 15:03 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1264 | μmol/L | 19.162 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.564 | 133451.0768 | 276043.1127 | 26.25 | 74
31877 | 2021-02-23 15:03 | 0.33003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9676 | μmol/L | 19.162 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.572 | 133485.8512 | 276047.3856 | 26.25 | 74
31887 | 2021-02-23 15:04 | 0.66305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0913 | μmol/L | 19.1498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.57 | 133505.0482 | 276046.9535 | 26.25 | 74
31898 | 2021-02-23 15:04 | 0.99674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0318 | μmol/L | 19.1498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.573 | 133517.5461 | 276048.2131 | 26.25 | 74
31907 | 2021-02-23 15:04 | 1.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9921 | μmol/L | 19.1498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.575 | 133506.3552 | 276049.1233 | 26.25 | 74
31917 | 2021-02-23 15:05 | 1.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1135 | μmol/L | 19.1437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.571 | 133476.5388 | 276026.2793 | 26.25 | 74
31927 | 2021-02-23 15:05 | 1.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1754 | μmol/L | 19.1376 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.57 | 133450.8833 | 276028.9266 | 26.25 | 74
31937 | 2021-02-23 15:05 | 2.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1532 | μmol/L | 19.1437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.569 | 133447.7533 | 276023.487 | 26.25 | 74
31947 | 2021-02-23 15:06 | 2.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1334 | μmol/L | 19.1437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.57 | 133450.5592 | 276009.8401 | 26.25 | 74
31957 | 2021-02-23 15:06 | 2.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0738 | μmol/L | 19.1437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.573 | 133458.8267 | 276015.186 | 26.25 | 74
31967 | 2021-02-23 15:06 | 3.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0784 | μmol/L | 19.1315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.577 | 133486.3046 | 276005.6553 | 26.25 | 74
31977 | 2021-02-23 15:07 | 3.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0236 | μmol/L | 19.1193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.584 | 133527.9854 | 275991.3325 | 26.25 | 74
31987 | 2021-02-23 15:07 | 3.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9069 | μmol/L | 19.1132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.592 | 133582.1361 | 275996.6561 | 26.25 | 74
31998 | 2021-02-23 15:07 | 4.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9092 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 133617.9692 | 275983.6552 | 26.25 | 74
32007 | 2021-02-23 15:08 | 4.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.8814 | μmol/L | 19.0767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.606 | 133636.8359 | 275988.4501 | 26.25 | 74
32017 | 2021-02-23 15:08 | 4.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.7776 | μmol/L | 19.0889 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.607 | 133654.6624 | 275979.252 | 26.25 | 74
32027 | 2021-02-23 15:08 | 5.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.6517 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.607 | 133672.6013 | 275971.324 | 26.25 | 74
32037 | 2021-02-23 15:09 | 5.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.5725 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.611 | 133671.8403 | 275967.7415 | 26.25 | 74
32048 | 2021-02-23 15:09 | 5.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.5701 | μmol/L | 19.1132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 133680.7436 | 275969.3964 | 26.25 | 74
32057 | 2021-02-23 15:09 | 6.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4316 | μmol/L | 19.1132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.616 | 133702.0526 | 275949.3831 | 26.25 | 74
32067 | 2021-02-23 15:10 | 6.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4538 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.617 | 133721.5533 | 275958.8793 | 26.25 | 74
32078 | 2021-02-23 15:10 | 6.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4387 | μmol/L | 19.095 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.622 | 133748.4269 | 275943.6245 | 26.25 | 74
32088 | 2021-02-23 15:10 | 7.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3375 | μmol/L | 19.101 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.625 | 133778.4509 | 275936.6169 | 26.25 | 74
32097 | 2021-02-23 15:11 | 7.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.2387 | μmol/L | 19.101 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.63 | 133781.8417 | 275933.6964 | 26.25 | 74
32107 | 2021-02-23 15:11 | 7.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3842 | μmol/L | 19.0828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.629 | 133778.3561 | 275934.4449 | 26.25 | 74
32117 | 2021-02-23 15:11 | 8.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4633 | μmol/L | 19.0828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.625 | 133774.3925 | 275931.7928 | 26.25 | 74
32127 | 2021-02-23 15:12 | 8.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4656 | μmol/L | 19.0767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.627 | 133761.3376 | 275921.4875 | 26.25 | 74
32138 | 2021-02-23 15:12 | 8.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3201 | μmol/L | 19.095 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.628 | 133754.9959 | 275915.1402 | 26.25 | 74
32147 | 2021-02-23 15:12 | 9.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.5939 | μmol/L | 19.0523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.629 | 133763.076 | 275926.5825 | 26.25 | 74
32158 | 2021-02-23 15:13 | 9.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.5765 | μmol/L | 19.0462 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.632 | 133767.2913 | 275925.1299 | 26.25 | 74
32167 | 2021-02-23 15:13 | 9.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.6383 | μmol/L | 19.0401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.631 | 133763.3129 | 275917.2673 | 26.25 | 74
32177 | 2021-02-23 15:13 | 10.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.658 | μmol/L | 19.0401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.63 | 133738.3127 | 275915.6064 | 26.25 | 74
32187 | 2021-02-23 15:14 | 10.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4926 | μmol/L | 19.0584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.632 | 133736.1725 | 275916.6237 | 26.25 | 74
32198 | 2021-02-23 15:14 | 10.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.5963 | μmol/L | 19.0462 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.631 | 133771.523 | 275906.0693 | 26.25 | 74
32207 | 2021-02-23 15:14 | 11.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.8159 | μmol/L | 18.9914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.639 | 133813.4365 | 275893.5847 | 26.25 | 74
32218 | 2021-02-23 15:15 | 11.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4897 | μmol/L | 19.0157 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.647 | 133844.1167 | 275908.0202 | 26.25 | 74
32227 | 2021-02-23 15:15 | 11.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3243 | μmol/L | 19.034 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.649 | 133861.9447 | 275915.1872 | 26.25 | 74
32237 | 2021-02-23 15:15 | 12.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.1567 | μmol/L | 19.0584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.649 | 133867.6594 | 275906.2316 | 26.25 | 74
32248 | 2021-02-23 15:16 | 12.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.228 | μmol/L | 19.0279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.656 | 133896.8342 | 275905.8937 | 26.25 | 74
32258 | 2021-02-23 15:16 | 12.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3982 | μmol/L | 18.9975 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.658 | 133953.575 | 275918.761 | 26.25 | 74
32267 | 2021-02-23 15:16 | 13.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.1342 | μmol/L | 19.0157 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.665 | 133975.6369 | 275900.2758 | 26.25 | 74
32277 | 2021-02-23 15:17 | 13.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.9494 | μmol/L | 19.034 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.668 | 133994.8542 | 275910.1801 | 26.25 | 74
32287 | 2021-02-23 15:17 | 13.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8681 | μmol/L | 19.0401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.67 | 133999.2442 | 275902.847 | 26.25 | 74
32297 | 2021-02-23 15:17 | 14.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.9224 | μmol/L | 19.0523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.663 | 133976.672 | 275910.6382 | 26.25 | 74
32307 | 2021-02-23 15:18 | 14.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.9003 | μmol/L | 19.0584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.662 | 133970.8634 | 275906.7404 | 26.25 | 74
32317 | 2021-02-23 15:18 | 14.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8806 | μmol/L | 19.0584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.663 | 133969.3057 | 275907.6776 | 26.25 | 74
32327 | 2021-02-23 15:18 | 15.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8781 | μmol/L | 19.0645 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.661 | 133971.9205 | 275906.4063 | 26.25 | 74
32337 | 2021-02-23 15:19 | 15.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8363 | μmol/L | 19.0706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.661 | 133965.5302 | 275902.3421 | 26.25 | 74
32347 | 2021-02-23 15:19 | 15.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.7157 | μmol/L | 19.0767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.665 | 133965.7838 | 275908.6808 | 26.25 | 74
32357 | 2021-02-23 15:19 | 16.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6518 | μmol/L | 19.0889 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.664 | 133967.1921 | 275917.1186 | 26.25 | 74
32367 | 2021-02-23 15:20 | 16.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6422 | μmol/L | 19.1132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.656 | 133943.42 | 275903.5832 | 26.25 | 74
32377 | 2021-02-23 15:20 | 16.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.5563 | μmol/L | 19.1315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.654 | 133930.7726 | 275915.7971 | 26.25 | 74
32388 | 2021-02-23 15:20 | 17.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.5122 | μmol/L | 19.1437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.652 | 133915.5401 | 275920.5435 | 26.25 | 74
32398 | 2021-02-23 15:21 | 17.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4634 | μmol/L | 19.1681 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.646 | 133888.609 | 275908.9281 | 26.25 | 74
32408 | 2021-02-23 15:21 | 17.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4343 | μmol/L | 19.1924 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.639 | 133843.5298 | 275926.9983 | 26.25 | 74
32417 | 2021-02-23 15:21 | 18.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4053 | μmol/L | 19.2168 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.632 | 133810.1438 | 275916.246 | 26.25 | 74
32427 | 2021-02-23 15:22 | 18.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.3392 | μmol/L | 19.2351 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.629 | 133782.955 | 275905.7926 | 26.25 | 74
32438 | 2021-02-23 15:22 | 18.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.3346 | μmol/L | 19.2473 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.625 | 133763.591 | 275904.4258 | 26.25 | 74
32447 | 2021-02-23 15:22 | 19.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.3671 | μmol/L | 19.2656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.617 | 133747.6458 | 275918.6195 | 26.25 | 74
32458 | 2021-02-23 15:23 | 19.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.2398 | μmol/L | 19.2899 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.615 | 133728.8147 | 275909.293 | 26.25 | 74
32467 | 2021-02-23 15:23 | 19.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.1346 | μmol/L | 19.3082 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.614 | 133713.6054 | 275920.573 | 26.25 | 74
32477 | 2021-02-23 15:23 | 20.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.1059 | μmol/L | 19.3326 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.607 | 133702.6522 | 275918.039 | 26.25 | 74
32487 | 2021-02-23 15:24 | 20.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.9418 | μmol/L | 19.3509 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 133693.8287 | 275926.1324 | 26.25 | 74
32498 | 2021-02-23 15:24 | 20.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.9547 | μmol/L | 19.3691 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.602 | 133680.4488 | 275917.0082 | 26.25 | 74
32507 | 2021-02-23 15:24 | 21.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7908 | μmol/L | 19.3874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.604 | 133666.9039 | 275919.9461 | 26.25 | 74
32517 | 2021-02-23 15:25 | 21.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6859 | μmol/L | 19.4057 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.603 | 133675.3017 | 275915.1174 | 26.25 | 74
32527 | 2021-02-23 15:25 | 21.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6007 | μmol/L | 19.424 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 133685.8086 | 275928.8539 | 26.25 | 74
32537 | 2021-02-23 15:25 | 22.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.5177 | μmol/L | 19.4362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 133696.5984 | 275938.2314 | 26.25 | 74
32547 | 2021-02-23 15:26 | 22.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4348 | μmol/L | 19.4483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 133682.2259 | 275934.1215 | 26.25 | 74
32557 | 2021-02-23 15:26 | 22.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2909 | μmol/L | 19.4666 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.602 | 133672.057 | 275940.6473 | 26.25 | 74
32568 | 2021-02-23 15:26 | 23.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3061 | μmol/L | 19.4788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.597 | 133688.02 | 275932.1414 | 26.25 | 74
32577 | 2021-02-23 15:27 | 23.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2865 | μmol/L | 19.4788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.598 | 133687.5919 | 275923.0612 | 26.25 | 74
32587 | 2021-02-23 15:27 | 23.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1036 | μmol/L | 19.4971 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 133694.101 | 275937.4007 | 26.25 | 74
32598 | 2021-02-23 15:27 | 24.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0426 | μmol/L | 19.5032 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.602 | 133711.0896 | 275949.6367 | 26.25 | 74
32608 | 2021-02-23 15:28 | 24.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0404 | μmol/L | 19.5093 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.6 | 133708.9573 | 275938.4821 | 26.25 | 74
32617 | 2021-02-23 15:28 | 24.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9947 | μmol/L | 19.5276 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.596 | 133712.3707 | 275943.7183 | 26.25 | 74
32627 | 2021-02-23 15:28 | 25.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9556 | μmol/L | 19.5276 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.598 | 133716.8134 | 275947.06 | 26.25 | 74
32637 | 2021-02-23 15:29 | 25.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7686 | μmol/L | 19.558 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.597 | 133709.4982 | 275959.0889 | 26.25 | 74
32647 | 2021-02-23 15:29 | 25.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8273 | μmol/L | 19.558 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 133700.3639 | 275951.6715 | 26.25 | 74
32658 | 2021-02-23 15:29 | 26.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7838 | μmol/L | 19.5702 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.592 | 133703.3261 | 275959.6456 | 26.25 | 74
32667 | 2021-02-23 15:30 | 26.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7643 | μmol/L | 19.5702 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.593 | 133697.0566 | 275963.5836 | 26.25 | 74
32678 | 2021-02-23 15:30 | 26.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7013 | μmol/L | 19.5824 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.592 | 133706.4612 | 275959.5642 | 26.25 | 74
32687 | 2021-02-23 15:30 | 27.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7404 | μmol/L | 19.5824 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.59 | 133697.5357 | 275965.4449 | 26.25 | 74
32697 | 2021-02-23 15:31 | 27.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.6753 | μmol/L | 19.6007 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.587 | 133688.4012 | 275975.7601 | 26.25 | 74
32708 | 2021-02-23 15:31 | 27.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.6927 | μmol/L | 19.6068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.584 | 133686.9044 | 275975.7607 | 26.25 | 74
32717 | 2021-02-23 15:31 | 28.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.5733 | μmol/L | 19.6129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 133687.3693 | 275972.8119 | 26.25 | 74
32727 | 2021-02-23 15:32 | 28.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.5516 | μmol/L | 19.619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.587 | 133687.3248 | 275976.847 | 26.25 | 74
32737 | 2021-02-23 15:32 | 28.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.4908 | μmol/L | 19.6251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 133699.8337 | 275973.0678 | 26.25 | 74
32747 | 2021-02-23 15:32 | 29.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.4258 | μmol/L | 19.6433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.585 | 133693.9255 | 275988.9762 | 26.25 | 74
32757 | 2021-02-23 15:33 | 29.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.4453 | μmol/L | 19.6433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.584 | 133702.7943 | 275989.8349 | 26.25 | 74
32768 | 2021-02-23 15:33 | 29.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.3239 | μmol/L | 19.6555 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.586 | 133700.3911 | 275979.4716 | 26.25 | 74
32778 | 2021-02-23 15:33 | 30.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.3434 | μmol/L | 19.6555 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.585 | 133713.189 | 275981.5687 | 26.25 | 74
32788 | 2021-02-23 15:34 | 30.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.2653 | μmol/L | 19.6555 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.589 | 133725.9536 | 275993.8956 | 26.25 | 74
32798 | 2021-02-23 15:34 | 30.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.222 | μmol/L | 19.6677 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.587 | 133724.42 | 275994.2202 | 26.25 | 74
32807 | 2021-02-23 15:34 | 31.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.1614 | μmol/L | 19.6738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 133735.5851 | 275978.5973 | 26.25 | 74
32817 | 2021-02-23 15:35 | 31.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.0422 | μmol/L | 19.6799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.592 | 133734.0097 | 275977.1157 | 26.25 | 74
32827 | 2021-02-23 15:35 | 31.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.1614 | μmol/L | 19.6738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 133764.5305 | 275996.9539 | 26.25 | 74
32837 | 2021-02-23 15:35 | 32.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.0791 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 133757.7037 | 275993.3968 | 26.25 | 74
32848 | 2021-02-23 15:36 | 32.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.0401 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.59 | 133779.1909 | 275995.6868 | 26.25 | 74
32857 | 2021-02-23 15:36 | 32.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9384 | μmol/L | 19.6982 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.591 | 133779.4262 | 275992.089 | 26.25 | 74
32867 | 2021-02-23 15:36 | 33.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9795 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.591 | 133801.0966 | 275994.6793 | 26.25 | 74
32878 | 2021-02-23 15:37 | 33.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.841 | μmol/L | 19.6982 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.596 | 133816.3502 | 275995.2325 | 26.25 | 74
32887 | 2021-02-23 15:37 | 33.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.8799 | μmol/L | 19.6982 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 133824.512 | 276010.7478 | 26.25 | 74
32897 | 2021-02-23 15:37 | 34.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.7025 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 133841.0509 | 275999.413 | 26.25 | 74
32908 | 2021-02-23 15:38 | 34.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.7804 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.597 | 133849.6517 | 276005.8247 | 26.25 | 74
32918 | 2021-02-23 15:38 | 34.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.642 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.602 | 133876.2852 | 276012.8292 | 26.25 | 74
32928 | 2021-02-23 15:38 | 35.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.6031 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.604 | 133888.6384 | 276014.0287 | 26.25 | 74
32937 | 2021-02-23 15:39 | 35.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4432 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.608 | 133915.5224 | 276011.4574 | 26.25 | 74
32947 | 2021-02-23 15:39 | 35.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4411 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.606 | 133911.031 | 275998.8422 | 26.25 | 74
32957 | 2021-02-23 15:39 | 36.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4648 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 133925.9867 | 276002.433 | 26.25 | 74
32968 | 2021-02-23 15:40 | 36.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4453 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.61 | 133944.7908 | 276008.4387 | 26.25 | 74
32977 | 2021-02-23 15:40 | 36.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4044 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.61 | 133965.0335 | 276007.6746 | 26.25 | 74
32988 | 2021-02-23 15:40 | 37.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3266 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.614 | 133972.0158 | 276030.5117 | 26.25 | 74
32998 | 2021-02-23 15:41 | 37.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3051 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.613 | 133978.7833 | 276023.9873 | 26.25 | 74
33008 | 2021-02-23 15:41 | 37.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3245 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.612 | 133947.1748 | 276030.7312 | 26.25 | 74
33017 | 2021-02-23 15:41 | 38.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3418 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 133944.0397 | 276039.4681 | 26.25 | 74
33027 | 2021-02-23 15:42 | 38.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3418 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 133953.7949 | 276027.7062 | 26.25 | 74
33038 | 2021-02-23 15:42 | 38.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2835 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.612 | 133976.5425 | 276036.0064 | 26.25 | 74
33048 | 2021-02-23 15:42 | 39.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3634 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.61 | 133997.6149 | 276029.7844 | 26.25 | 74
33057 | 2021-02-23 15:43 | 39.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2447 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.614 | 133983.287 | 276032.0147 | 26.25 | 74
33067 | 2021-02-23 15:43 | 39.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2252 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.615 | 133982.8675 | 276037.4432 | 26.25 | 74
33078 | 2021-02-23 15:43 | 40.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2058 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.616 | 134003.1284 | 276031.4882 | 26.25 | 74
33087 | 2021-02-23 15:44 | 40.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.1691 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.62 | 134024.6606 | 276026.7518 | 26.25 | 74
33098 | 2021-02-23 15:44 | 40.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.167 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.618 | 134049.1761 | 276039.1204 | 26.25 | 74
33107 | 2021-02-23 15:44 | 41.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9902 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.625 | 134063.6018 | 276039.4533 | 26.25 | 74
33117 | 2021-02-23 15:45 | 41.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9278 | μmol/L | 19.753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.624 | 134085.5844 | 276047.7629 | 26.25 | 74
33127 | 2021-02-23 15:45 | 41.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8523 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.63 | 134110.8453 | 276048.6019 | 26.25 | 74
33138 | 2021-02-23 15:45 | 42.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.876 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.633 | 134126.9282 | 276045.4642 | 26.25 | 74
33147 | 2021-02-23 15:46 | 42.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.7554 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.635 | 134139.4088 | 276050.1202 | 26.25 | 74
33157 | 2021-02-23 15:46 | 42.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8157 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.634 | 134128.8171 | 276046.6553 | 26.25 | 74
33167 | 2021-02-23 15:46 | 43.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9147 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.631 | 134129.8835 | 276048.1147 | 26.25 | 74
33177 | 2021-02-23 15:47 | 43.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9923 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.627 | 134129.0892 | 276064.8045 | 26.25 | 74
33187 | 2021-02-23 15:47 | 43.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9341 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.63 | 134123.9351 | 276064.9989 | 26.25 | 74
33197 | 2021-02-23 15:47 | 44.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0138 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.628 | 134121.4006 | 276062.8739 | 26.25 | 74
33207 | 2021-02-23 15:48 | 44.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.113 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.625 | 134089.2021 | 276062.1907 | 26.25 | 74
33217 | 2021-02-23 15:48 | 44.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3503 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.617 | 134054.0848 | 276063.7941 | 26.25 | 74
33227 | 2021-02-23 15:48 | 45.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2468 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.616 | 134049.837 | 276068.3113 | 26.25 | 74
33238 | 2021-02-23 15:49 | 45.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0657 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.619 | 134058.9074 | 276065.1886 | 26.25 | 74
33247 | 2021-02-23 15:49 | 45.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9666 | μmol/L | 19.753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.622 | 134097.5603 | 276095.0478 | 26.25 | 74
33257 | 2021-02-23 15:49 | 46.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.7664 | μmol/L | 19.7713 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.626 | 134111.3868 | 276078.8368 | 26.25 | 74
33267 | 2021-02-23 15:50 | 46.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9405 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.636 | 134151.2605 | 276079.249 | 26.25 | 74
33278 | 2021-02-23 15:50 | 46.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9426 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.638 | 134195.5647 | 276091.0868 | 26.25 | 74
33287 | 2021-02-23 15:50 | 47.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8221 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.64 | 134225.5272 | 276085.1329 | 26.25 | 74
33298 | 2021-02-23 15:51 | 47.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.6671 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.648 | 134257.0015 | 276085.0662 | 26.25 | 74
33307 | 2021-02-23 15:51 | 47.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4306 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.656 | 134311.869 | 276104.4785 | 26.25 | 74
33317 | 2021-02-23 15:51 | 48.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2545 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.663 | 134354.7021 | 276103.3792 | 26.25 | 74
33327 | 2021-02-23 15:52 | 48.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3941 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.66 | 134371.9031 | 276108.5406 | 26.25 | 74
33337 | 2021-02-23 15:52 | 48.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5746 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.657 | 134342.8654 | 276106.5233 | 26.25 | 74
33347 | 2021-02-23 15:52 | 49.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5725 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.655 | 134330.3917 | 276120.0185 | 26.25 | 74
33358 | 2021-02-23 15:53 | 49.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.508 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.652 | 134302.5812 | 276103.8924 | 26.25 | 74
33367 | 2021-02-23 15:53 | 49.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2632 | μmol/L | 19.7713 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.652 | 134320.4609 | 276121.0054 | 26.25 | 74
33378 | 2021-02-23 15:53 | 50.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3061 | μmol/L | 19.7591 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.654 | 134295.6621 | 276118.9876 | 26.25 | 74
33388 | 2021-02-23 15:54 | 50.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5918 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.654 | 134312.4813 | 276118.1321 | 26.25 | 74
33398 | 2021-02-23 15:54 | 50.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5144 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.658 | 134331.2936 | 276119.5114 | 26.25 | 74
33408 | 2021-02-23 15:54 | 51.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3104 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.658 | 134348.8054 | 276115.5488 | 26.25 | 74
33417 | 2021-02-23 15:55 | 51.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3061 | μmol/L | 19.7591 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.654 | 134352.1902 | 276129.5902 | 26.25 | 74
33427 | 2021-02-23 15:55 | 51.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1687 | μmol/L | 19.7652 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.659 | 134360.4442 | 276122.3883 | 26.25 | 74
33438 | 2021-02-23 15:55 | 52.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0293 | μmol/L | 19.7774 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.662 | 134374.6976 | 276122.6727 | 26.25 | 74
33448 | 2021-02-23 15:56 | 52.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.8279 | μmol/L | 19.8018 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.664 | 134399.681 | 276129.2321 | 26.25 | 74
33457 | 2021-02-23 15:56 | 52.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.8472 | μmol/L | 19.8018 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.663 | 134422.0181 | 276128.5593 | 26.25 | 74
33468 | 2021-02-23 15:56 | 53.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0958 | μmol/L | 19.753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.667 | 134422.884 | 276140.2798 | 26.25 | 74
33477 | 2021-02-23 15:57 | 53.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2803 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.668 | 134450.6843 | 276139.9866 | 26.25 | 74
33487 | 2021-02-23 15:57 | 53.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3211 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.668 | 134452.6039 | 276146.0565 | 26.25 | 74
33497 | 2021-02-23 15:57 | 54.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2631 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.671 | 134465.6613 | 276136.8086 | 26.25 | 74
33507 | 2021-02-23 15:58 | 54.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3039 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.671 | 134473.6532 | 276152.5258 | 26.25 | 74
33517 | 2021-02-23 15:58 | 54.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1666 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.676 | 134479.5135 | 276156.74 | 26.25 | 74
33527 | 2021-02-23 15:58 | 55.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1644 | μmol/L | 19.7226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.674 | 134489.135 | 276155.3786 | 26.25 | 74
33538 | 2021-02-23 15:59 | 55.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.025 | μmol/L | 19.7347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.677 | 134513.6618 | 276155.4891 | 26.25 | 74
33548 | 2021-02-23 15:59 | 55.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.7871 | μmol/L | 19.753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.683 | 134540.741 | 276164.0567 | 26.25 | 74
33558 | 2021-02-23 15:59 | 56.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.6073 | μmol/L | 19.7713 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.686 | 134580.1075 | 276168.2381 | 26.25 | 74
33567 | 2021-02-23 16:00 | 56.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.4704 | μmol/L | 19.7774 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.691 | 134603.5507 | 276166.7203 | 26.25 | 74
33577 | 2021-02-23 16:00 | 56.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.5709 | μmol/L | 19.7652 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.69 | 134612.5775 | 276169.207 | 26.25 | 74
33587 | 2021-02-23 16:00 | 57.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.5282 | μmol/L | 19.7774 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.688 | 134602.5999 | 276168.5654 | 26.25 | 74
33597 | 2021-02-23 16:01 | 57.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.6373 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.695 | 134622.1048 | 276159.8454 | 26.25 | 74
33608 | 2021-02-23 16:01 | 57.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.7873 | μmol/L | 19.6982 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 134682.3913 | 276171.1701 | 26.25 | 74
33618 | 2021-02-23 16:01 | 58.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.6547 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.711 | 134752.8029 | 276162.4277 | 26.25 | 74
33627 | 2021-02-23 16:02 | 58.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3212 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 134802.701 | 276183.2717 | 26.25 | 74
33638 | 2021-02-23 16:02 | 58.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1736 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 134803.7014 | 276175.8343 | 26.25 | 74
33647 | 2021-02-23 16:02 | 59.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1544 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 134780.1488 | 276168.5454 | 26.25 | 74
33657 | 2021-02-23 16:03 | 59.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3273 | μmol/L | 19.7469 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.709 | 134758.5175 | 276187.866 | 26.25 | 74
33667 | 2021-02-23 16:03 | 59.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3872 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.708 | 134735.2944 | 276183.7921 | 26.25 | 74
33677 | 2021-02-23 16:03 | 60.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.43 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134767.2742 | 276186.9278 | 26.25 | 74
33687 | 2021-02-23 16:04 | 60.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1802 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 134827.8892 | 276183.5872 | 26.25 | 74
33698 | 2021-02-23 16:04 | 60.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9498 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 134909.1485 | 276189.955 | 26.25 | 74
33707 | 2021-02-23 16:04 | 61.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6771 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.745 | 134975.9554 | 276205.3733 | 26.25 | 74
33717 | 2021-02-23 16:05 | 61.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.7154 | μmol/L | 19.7408 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.743 | 134986.2213 | 276187.9839 | 26.25 | 74
33728 | 2021-02-23 16:05 | 61.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6919 | μmol/L | 19.753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.74 | 134962.485 | 276201.3429 | 26.25 | 74
33737 | 2021-02-23 16:05 | 62.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.8348 | μmol/L | 19.7286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.741 | 134951.76 | 276214.7007 | 26.25 | 74
33748 | 2021-02-23 16:06 | 62.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0162 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.74 | 134920.6622 | 276203.6317 | 26.25 | 74
33758 | 2021-02-23 16:06 | 62.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3558 | μmol/L | 19.6677 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 134903.2566 | 276205.8237 | 26.25 | 74
33767 | 2021-02-23 16:06 | 63.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1143 | μmol/L | 19.6982 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.737 | 134922.7832 | 276209.0343 | 26.25 | 74
33777 | 2021-02-23 16:07 | 63.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9542 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.739 | 134933.8101 | 276204.0125 | 26.25 | 74
33787 | 2021-02-23 16:07 | 63.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9542 | μmol/L | 19.7165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.739 | 134927.519 | 276206.3071 | 26.25 | 74
33798 | 2021-02-23 16:07 | 64.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1933 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 134920.0086 | 276193.9907 | 26.25 | 74
33808 | 2021-02-23 16:08 | 64.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0332 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.737 | 134925.8405 | 276207.1592 | 26.25 | 74
33818 | 2021-02-23 16:08 | 64.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0715 | μmol/L | 19.7104 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 134924.6019 | 276197.3687 | 26.25 | 74
33828 | 2021-02-23 16:08 | 65.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0354 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.739 | 134955.7076 | 276210.0266 | 26.25 | 74
33838 | 2021-02-23 16:09 | 65.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6712 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.758 | 135043.0611 | 276199.3173 | 26.25 | 74
33847 | 2021-02-23 16:09 | 65.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5372 | μmol/L | 19.7043 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.765 | 135093.3077 | 276212.0731 | 26.25 | 74
33858 | 2021-02-23 16:09 | 66.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6374 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.764 | 135114.4867 | 276208.4866 | 26.25 | 74
33867 | 2021-02-23 16:10 | 66.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6182 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.765 | 135114.0849 | 276203.848 | 26.25 | 74
33877 | 2021-02-23 16:10 | 66.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6587 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.765 | 135114.5452 | 276206.6111 | 26.25 | 74
33887 | 2021-02-23 16:10 | 67.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.787 | μmol/L | 19.6494 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 135146.9955 | 276205.5955 | 26.25 | 74
33897 | 2021-02-23 16:11 | 67.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6035 | μmol/L | 19.6799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.77 | 135138.4024 | 276204.7176 | 26.25 | 74
33907 | 2021-02-23 16:11 | 67.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5417 | μmol/L | 19.6921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.769 | 135113.2044 | 276204.4961 | 26.25 | 74
33918 | 2021-02-23 16:11 | 68.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6204 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 135122.8672 | 276202.5768 | 26.25 | 74
33927 | 2021-02-23 16:12 | 68.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.563 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.77 | 135145.2354 | 276221.9685 | 26.25 | 74
33937 | 2021-02-23 16:12 | 68.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.4292 | μmol/L | 19.686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.777 | 135198.4019 | 276219.4053 | 26.25 | 74
33948 | 2021-02-23 16:12 | 69.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2976 | μmol/L | 19.6799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.786 | 135291.0024 | 276220.9689 | 26.25 | 74
33957 | 2021-02-23 16:13 | 69.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1662 | μmol/L | 19.6738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.795 | 135312.3452 | 276201.6131 | 26.25 | 74
33967 | 2021-02-23 16:13 | 69.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2875 | μmol/L | 19.6555 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.795 | 135346.943 | 276230.8133 | 26.25 | 74
33977 | 2021-02-23 16:13 | 70.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.237 | μmol/L | 19.6372 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.804 | 135372.4898 | 276215.8308 | 26.25 | 74
33987 | 2021-02-23 16:14 | 70.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1775 | μmol/L | 19.6433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.805 | 135400.6363 | 276218.8629 | 26.25 | 74
33997 | 2021-02-23 16:14 | 70.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.282 | μmol/L | 19.619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.808 | 135414.8493 | 276220.2046 | 26.25 | 74
34007 | 2021-02-23 16:14 | 71.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5969 | μmol/L | 19.5946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.8 | 135383.5556 | 276227.6687 | 26.25 | 74
34017 | 2021-02-23 16:15 | 71.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5541 | μmol/L | 19.6068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.798 | 135353.5457 | 276220.3484 | 26.25 | 74
34027 | 2021-02-23 16:15 | 71.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5113 | μmol/L | 19.619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.796 | 135330.9028 | 276230.6904 | 26.25 | 74
34037 | 2021-02-23 16:15 | 72.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.714 | μmol/L | 19.5885 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.796 | 135291.7591 | 276210.1056 | 26.25 | 74
34047 | 2021-02-23 16:16 | 72.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9606 | μmol/L | 19.5946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.781 | 135245.1736 | 276218.3954 | 26.25 | 74
34057 | 2021-02-23 16:16 | 72.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9415 | μmol/L | 19.5946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.782 | 135211.7047 | 276215.4013 | 26.25 | 74
34068 | 2021-02-23 16:16 | 73.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0181 | μmol/L | 19.5946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.778 | 135167.5866 | 276231.5107 | 26.25 | 74
34078 | 2021-02-23 16:17 | 73.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0136 | μmol/L | 19.6068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.774 | 135168.2061 | 276219.2808 | 26.25 | 74
34088 | 2021-02-23 16:17 | 73.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9538 | μmol/L | 19.6129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.775 | 135198.5506 | 276230.9232 | 26.25 | 74
34098 | 2021-02-23 16:17 | 74.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.6047 | μmol/L | 19.6251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.789 | 135270.4516 | 276233.3342 | 26.25 | 74
34107 | 2021-02-23 16:18 | 74.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3944 | μmol/L | 19.6251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.8 | 135351.4451 | 276233.3763 | 26.25 | 74
34118 | 2021-02-23 16:18 | 74.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.182 | μmol/L | 19.6311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.809 | 135433.475 | 276252.5028 | 26.25 | 74
34127 | 2021-02-23 16:18 | 75.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0294 | μmol/L | 19.6311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.817 | 135475.9581 | 276241.159 | 26.25 | 74
34137 | 2021-02-23 16:19 | 75.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.9722 | μmol/L | 19.6311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.82 | 135494.2958 | 276253.1795 | 26.25 | 74
34148 | 2021-02-23 16:19 | 75.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0844 | μmol/L | 19.6372 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.812 | 135463.3811 | 276243.1593 | 26.25 | 74
34158 | 2021-02-23 16:19 | 76.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.182 | μmol/L | 19.6311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.809 | 135416.2531 | 276254.8208 | 26.25 | 74
34168 | 2021-02-23 16:20 | 76.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1607 | μmol/L | 19.6372 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.808 | 135407.5985 | 276259.2837 | 26.25 | 74
34177 | 2021-02-23 16:20 | 76.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1866 | μmol/L | 19.619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.813 | 135441.3403 | 276257.6993 | 26.25 | 74
34187 | 2021-02-23 16:20 | 77.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.208 | μmol/L | 19.6129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.814 | 135447.922 | 276254.5543 | 26.25 | 74
34197 | 2021-02-23 16:21 | 77.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2484 | μmol/L | 19.6068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.814 | 135453.3434 | 276266.21 | 26.25 | 74
34208 | 2021-02-23 16:21 | 77.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2316 | μmol/L | 19.6007 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.817 | 135470.355 | 276270.9786 | 26.25 | 74
34217 | 2021-02-23 16:21 | 78.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2171 | μmol/L | 19.5885 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.822 | 135510.8813 | 276277.2212 | 26.25 | 74
34227 | 2021-02-23 16:22 | 78.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3195 | μmol/L | 19.5702 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.823 | 135525.1681 | 276263.9453 | 26.25 | 74
34237 | 2021-02-23 16:22 | 78.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3195 | μmol/L | 19.5702 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.823 | 135551.174 | 276280.8577 | 26.25 | 74
34248 | 2021-02-23 16:22 | 79.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1836 | μmol/L | 19.5763 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.828 | 135549.6288 | 276277.591 | 26.25 | 74
34258 | 2021-02-23 16:23 | 79.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2264 | μmol/L | 19.5641 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.83 | 135577.4615 | 276282.8155 | 26.25 | 74
34267 | 2021-02-23 16:23 | 79.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1715 | μmol/L | 19.558 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 135633.4173 | 276294.2692 | 26.25 | 74
34278 | 2021-02-23 16:23 | 80.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1356 | μmol/L | 19.5519 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.839 | 135662.199 | 276287.5747 | 26.25 | 74
34288 | 2021-02-23 16:24 | 80.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0617 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 135679.0828 | 276282.353 | 26.25 | 74
34298 | 2021-02-23 16:24 | 80.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0403 | μmol/L | 19.5519 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 135692.8595 | 276283.2407 | 26.25 | 74
34308 | 2021-02-23 16:24 | 81.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0236 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 135689.2574 | 276293.8766 | 26.25 | 74
34317 | 2021-02-23 16:25 | 81.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0617 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 135683.329 | 276274.5211 | 26.25 | 74
34327 | 2021-02-23 16:25 | 81.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0236 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 135699.1689 | 276289.8545 | 26.25 | 74
34338 | 2021-02-23 16:25 | 82.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0427 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 135686.2401 | 276290.3936 | 26.25 | 74
34348 | 2021-02-23 16:26 | 82.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.138 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.841 | 135688.2533 | 276286.2338 | 26.25 | 74
34357 | 2021-02-23 16:26 | 82.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0901 | μmol/L | 19.5215 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 135713.7819 | 276294.3868 | 26.25 | 74
34367 | 2021-02-23 16:26 | 83.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.9902 | μmol/L | 19.5337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 135755.361 | 276303.4975 | 26.25 | 74
34378 | 2021-02-23 16:27 | 83.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8331 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.857 | 135781.6857 | 276290.6065 | 26.25 | 74
34387 | 2021-02-23 16:27 | 83.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.738 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.862 | 135804.7563 | 276298.886 | 26.25 | 74
34398 | 2021-02-23 16:27 | 84.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6405 | μmol/L | 19.5519 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.865 | 135820.3463 | 276294.5595 | 26.25 | 74
34407 | 2021-02-23 16:28 | 84.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6429 | μmol/L | 19.5458 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.867 | 135835.0603 | 276313.6026 | 26.25 | 74
34417 | 2021-02-23 16:28 | 84.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.7594 | μmol/L | 19.5397 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 135825.9491 | 276280.6679 | 26.25 | 74
34427 | 2021-02-23 16:28 | 85.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.7998 | μmol/L | 19.5337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 135784.5999 | 276296.0149 | 26.25 | 74
34438 | 2021-02-23 16:29 | 85.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8165 | μmol/L | 19.5397 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.86 | 135782.4012 | 276304.2921 | 26.25 | 74
34448 | 2021-02-23 16:29 | 85.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8973 | μmol/L | 19.5276 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.86 | 135789.2739 | 276302.3712 | 26.25 | 74
34458 | 2021-02-23 16:29 | 86.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.883 | μmol/L | 19.5154 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.865 | 135795.7669 | 276303.3705 | 26.25 | 74
34467 | 2021-02-23 16:30 | 86.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2877 | μmol/L | 19.4544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.865 | 135809.5796 | 276313.6687 | 26.25 | 74
34478 | 2021-02-23 16:30 | 86.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1662 | μmol/L | 19.4727 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.865 | 135832.2967 | 276322.3238 | 26.25 | 74
34487 | 2021-02-23 16:30 | 87.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.9519 | μmol/L | 19.4849 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.872 | 135843.5569 | 276308.2605 | 26.25 | 74
34498 | 2021-02-23 16:31 | 87.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8758 | μmol/L | 19.4849 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 135879.1343 | 276331.7327 | 26.25 | 74
34507 | 2021-02-23 16:31 | 87.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6642 | μmol/L | 19.491 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.885 | 135949.9542 | 276328.9923 | 26.25 | 74
34518 | 2021-02-23 16:31 | 88.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5311 | μmol/L | 19.491 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.892 | 136009.4027 | 276317.3025 | 26.25 | 74
34527 | 2021-02-23 16:32 | 88.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3199 | μmol/L | 19.4971 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.901 | 136049.2211 | 276337.3963 | 26.25 | 74
34538 | 2021-02-23 16:32 | 88.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3199 | μmol/L | 19.4971 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.901 | 136069.9885 | 276338.7288 | 26.25 | 74
34547 | 2021-02-23 16:32 | 89.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3223 | μmol/L | 19.491 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 136077.1949 | 276331.429 | 26.25 | 74
34557 | 2021-02-23 16:33 | 89.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2464 | μmol/L | 19.491 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.907 | 136093.736 | 276338.518 | 26.25 | 74
34568 | 2021-02-23 16:33 | 89.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2512 | μmol/L | 19.4788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.911 | 136140.5364 | 276340.9285 | 26.25 | 74
34578 | 2021-02-23 16:33 | 90.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1943 | μmol/L | 19.4788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.914 | 136155.0333 | 276329.5533 | 26.25 | 74
34588 | 2021-02-23 16:34 | 90.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0995 | μmol/L | 19.4788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.919 | 136178.3077 | 276350.6481 | 26.25 | 74
34598 | 2021-02-23 16:34 | 90.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1778 | μmol/L | 19.4727 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.917 | 136199.4953 | 276338.1287 | 26.25 | 74
34607 | 2021-02-23 16:34 | 91.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1802 | μmol/L | 19.4666 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.919 | 136221.5026 | 276344.3632 | 26.25 | 74
34617 | 2021-02-23 16:35 | 91.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1636 | μmol/L | 19.4605 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.922 | 136233.7078 | 276366.6464 | 26.25 | 74
34627 | 2021-02-23 16:35 | 91.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1092 | μmol/L | 19.4544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.927 | 136242.1397 | 276359.2618 | 26.25 | 74
34637 | 2021-02-23 16:35 | 92.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2112 | μmol/L | 19.4362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.928 | 136265.871 | 276355.6806 | 26.25 | 74
34647 | 2021-02-23 16:36 | 92.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1495 | μmol/L | 19.4483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.927 | 136278.8531 | 276365.8184 | 26.25 | 74
34657 | 2021-02-23 16:36 | 92.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1306 | μmol/L | 19.4483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.928 | 136271.6893 | 276377.7043 | 26.25 | 74
34668 | 2021-02-23 16:36 | 93.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1519 | μmol/L | 19.4423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.929 | 136269.3425 | 276384.502 | 26.25 | 74
34677 | 2021-02-23 16:37 | 93.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1306 | μmol/L | 19.4483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.928 | 136267.4518 | 276380.1376 | 26.25 | 74
34688 | 2021-02-23 16:37 | 93.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1495 | μmol/L | 19.4483 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.927 | 136265.3472 | 276369.3876 | 26.25 | 74
34697 | 2021-02-23 16:37 | 94.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.133 | μmol/L | 19.4423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.93 | 136262.5635 | 276400.3952 | 26.25 | 74
34708 | 2021-02-23 16:38 | 94.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2467 | μmol/L | 19.4423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.924 | 136250.2625 | 276384.2726 | 26.25 | 74
34718 | 2021-02-23 16:38 | 94.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2088 | μmol/L | 19.4423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.926 | 136246.4136 | 276400.7541 | 26.25 | 74
34727 | 2021-02-23 16:38 | 95.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3274 | μmol/L | 19.4301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.924 | 136236.3142 | 276396.6629 | 26.25 | 74
34737 | 2021-02-23 16:39 | 95.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4033 | μmol/L | 19.4301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 136232.3647 | 276399.7992 | 26.25 | 74
34748 | 2021-02-23 16:39 | 95.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4816 | μmol/L | 19.424 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.918 | 136222.0887 | 276400.6217 | 26.25 | 74
34757 | 2021-02-23 16:39 | 96.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4437 | μmol/L | 19.424 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 136207.5369 | 276402.4759 | 26.25 | 74
34767 | 2021-02-23 16:40 | 96.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.541 | μmol/L | 19.4179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.917 | 136197.0992 | 276396.379 | 26.25 | 74
34777 | 2021-02-23 16:40 | 96.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4841 | μmol/L | 19.4179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 136193.9145 | 276395.3975 | 26.25 | 74
34787 | 2021-02-23 16:40 | 97.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5245 | μmol/L | 19.4118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 136206.3183 | 276392.9817 | 26.25 | 74
34798 | 2021-02-23 16:41 | 97.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4534 | μmol/L | 19.3996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.928 | 136230.9671 | 276415.063 | 26.25 | 74
34807 | 2021-02-23 16:41 | 97.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5318 | μmol/L | 19.3935 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.926 | 136261.1897 | 276409.147 | 26.25 | 74
34817 | 2021-02-23 16:41 | 98.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4155 | μmol/L | 19.3996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.93 | 136290.8513 | 276422.9674 | 26.25 | 74
34828 | 2021-02-23 16:42 | 98.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2613 | μmol/L | 19.4057 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.936 | 136318.6446 | 276403.9381 | 26.25 | 74
34838 | 2021-02-23 16:42 | 98.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1287 | μmol/L | 19.4057 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.943 | 136361.7081 | 276418.3458 | 26.25 | 74
34848 | 2021-02-23 16:42 | 99.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.188 | μmol/L | 19.3996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.942 | 136374.5419 | 276421.1921 | 26.25 | 74
34857 | 2021-02-23 16:43 | 99.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3684 | μmol/L | 19.3752 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.941 | 136355.8679 | 276424.3931 | 26.25 | 74
34867 | 2021-02-23 16:43 | 99.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5061 | μmol/L | 19.363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 136329.8046 | 276425.2876 | 26.25 | 74
34877 | 2021-02-23 16:43 | 100.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5416 | μmol/L | 19.3691 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 136315.1339 | 276434.0608 | 26.25 | 74
34887 | 2021-02-23 16:44 | 100.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6365 | μmol/L | 19.3691 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.929 | 136300.5766 | 276428.6691 | 26.25 | 74
34897 | 2021-02-23 16:44 | 100.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5581 | μmol/L | 19.3752 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 136306.7883 | 276425.4324 | 26.25 | 74
34908 | 2021-02-23 16:44 | 101.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5605 | μmol/L | 19.3691 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.933 | 136323.4543 | 276443.6578 | 26.25 | 74
34917 | 2021-02-23 16:45 | 101.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4442 | μmol/L | 19.3752 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 136341.0074 | 276430.927 | 26.25 | 74
34927 | 2021-02-23 16:45 | 101.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4277 | μmol/L | 19.3691 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.94 | 136360.8632 | 276450.6889 | 26.25 | 74
34938 | 2021-02-23 16:45 | 102.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4327 | μmol/L | 19.3569 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.944 | 136379.9078 | 276447.6483 | 26.25 | 74
34947 | 2021-02-23 16:46 | 102.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4112 | μmol/L | 19.363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.943 | 136397.9996 | 276442.8599 | 26.25 | 74
34957 | 2021-02-23 16:46 | 102.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4755 | μmol/L | 19.3448 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.946 | 136404.306 | 276465.0416 | 26.25 | 74
34967 | 2021-02-23 16:46 | 103.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4186 | μmol/L | 19.3448 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 136416.2266 | 276442.4862 | 26.25 | 74
34977 | 2021-02-23 16:47 | 103.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3782 | μmol/L | 19.3509 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 136430.4722 | 276456.4439 | 26.25 | 74
34987 | 2021-02-23 16:47 | 103.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4755 | μmol/L | 19.3448 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.946 | 136434.6503 | 276462.5424 | 26.25 | 74
34997 | 2021-02-23 16:47 | 104.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5564 | μmol/L | 19.3326 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.946 | 136437.6667 | 276468.2868 | 26.25 | 74
35007 | 2021-02-23 16:48 | 104.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5184 | μmol/L | 19.3326 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.948 | 136434.8231 | 276459.3879 | 26.25 | 74
35018 | 2021-02-23 16:48 | 104.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5044 | μmol/L | 19.3204 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.953 | 136451.608 | 276459.7693 | 26.25 | 74
35028 | 2021-02-23 16:48 | 105.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6397 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.948 | 136443.2652 | 276472.846 | 26.25 | 74
35038 | 2021-02-23 16:49 | 105.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6208 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 136453.5947 | 276456.6741 | 26.25 | 74
35048 | 2021-02-23 16:49 | 105.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5828 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.951 | 136466.605 | 276477.8326 | 26.25 | 74
35057 | 2021-02-23 16:49 | 106.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5069 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.955 | 136477.659 | 276467.3101 | 26.25 | 74
35067 | 2021-02-23 16:50 | 106.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5094 | μmol/L | 19.3082 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.957 | 136497.888 | 276479.4448 | 26.25 | 74
35077 | 2021-02-23 16:50 | 106.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3931 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.961 | 136526.8519 | 276476.5716 | 26.25 | 74
35088 | 2021-02-23 16:50 | 107.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2984 | μmol/L | 19.3143 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.966 | 136561.5883 | 276480.9107 | 26.25 | 74
35098 | 2021-02-23 16:51 | 107.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4461 | μmol/L | 19.2777 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.971 | 136591.8471 | 276475.5846 | 26.25 | 74
35108 | 2021-02-23 16:51 | 107.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6673 | μmol/L | 19.2473 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.97 | 136592.5988 | 276458.3423 | 26.25 | 74
35117 | 2021-02-23 16:51 | 108.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6648 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.968 | 136578.9613 | 276475.08 | 26.25 | 74
35127 | 2021-02-23 16:52 | 108.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5649 | μmol/L | 19.2656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.969 | 136555.7519 | 276494.9643 | 26.25 | 74
35138 | 2021-02-23 16:52 | 108.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6408 | μmol/L | 19.2656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.965 | 136537.6779 | 276485.6191 | 26.25 | 74
35147 | 2021-02-23 16:52 | 109.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.6952 | μmol/L | 19.2716 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136542.9776 | 276486.9311 | 26.25 | 74
35157 | 2021-02-23 16:53 | 109.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5219 | μmol/L | 19.2777 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.967 | 136564.6792 | 276494.309 | 26.25 | 74
35167 | 2021-02-23 16:53 | 109.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3488 | μmol/L | 19.2838 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.974 | 136590.0945 | 276494.3073 | 26.25 | 74
35178 | 2021-02-23 16:53 | 110.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2566 | μmol/L | 19.2777 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.981 | 136621.6831 | 276484.7952 | 26.25 | 74
35187 | 2021-02-23 16:54 | 110.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.316 | μmol/L | 19.2716 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.98 | 136650.3348 | 276490.2847 | 26.25 | 74
35197 | 2021-02-23 16:54 | 110.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1809 | μmol/L | 19.2777 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.985 | 136674.2785 | 276487.7864 | 26.25 | 74
35208 | 2021-02-23 16:54 | 111.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2049 | μmol/L | 19.2656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.988 | 136700.2662 | 276504.0763 | 26.25 | 74
35218 | 2021-02-23 16:55 | 111.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1506 | μmol/L | 19.2595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.993 | 136730.7695 | 276493.9187 | 26.25 | 74
35228 | 2021-02-23 16:55 | 111.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1885 | μmol/L | 19.2595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.991 | 136746.6344 | 276500.1839 | 26.25 | 74
35237 | 2021-02-23 16:55 | 112.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1532 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.995 | 136746.3294 | 276516.2576 | 26.25 | 74
35247 | 2021-02-23 16:56 | 112.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0964 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.998 | 136771.3087 | 276501.717 | 26.25 | 74
35257 | 2021-02-23 16:56 | 112.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1153 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.997 | 136774.1406 | 276510.1235 | 26.25 | 74
35267 | 2021-02-23 16:56 | 113.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1153 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.997 | 136791.8254 | 276506.6348 | 26.25 | 74
35277 | 2021-02-23 16:57 | 113.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0019 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.003 | 136801.6715 | 276509.1972 | 26.25 | 74
35288 | 2021-02-23 16:57 | 113.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1015 | μmol/L | 19.2412 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.002 | 136810.0173 | 276512.4706 | 26.25 | 74
35298 | 2021-02-23 16:57 | 114.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2253 | μmol/L | 19.2168 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136804.5158 | 276504.4132 | 26.25 | 74
35308 | 2021-02-23 16:58 | 114.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2278 | μmol/L | 19.2107 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136830.2283 | 276508.441 | 26.25 | 74
35317 | 2021-02-23 16:58 | 114.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.19 | μmol/L | 19.2107 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.008 | 136850.5654 | 276524.7123 | 26.25 | 74
35326 | 2021-02-23 16:58 | 115.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0525 | μmol/L | 19.2229 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136866.1143 | 276518.9082 | 26.25 | 74