## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29731 | 2021-02-23 12:09 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0265 | μmol/L | 15.4761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.382 | 129723.9461 | 276659.8849 | 32.55 | 27.7
29741 | 2021-02-23 12:09 | 0.34221 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1609 | μmol/L | 15.4761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.376 | 129692.3534 | 276604.5906 | 32.55 | 27.7
29751 | 2021-02-23 12:10 | 0.67512 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1385 | μmol/L | 15.4761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.377 | 129670.2855 | 276578.2705 | 32.55 | 27.7
29761 | 2021-02-23 12:10 | 1.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0669 | μmol/L | 15.4822 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 129664.1658 | 276563.9672 | 32.55 | 27.7
29771 | 2021-02-23 12:10 | 1.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0178 | μmol/L | 15.4883 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 129665.7422 | 276531.4339 | 32.55 | 27.7
29781 | 2021-02-23 12:11 | 1.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0402 | μmol/L | 15.4883 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.377 | 129653.6 | 276501.8795 | 32.55 | 27.7
29791 | 2021-02-23 12:11 | 2.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0265 | μmol/L | 15.4761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.382 | 129652.2017 | 276482.4109 | 32.55 | 27.7
29801 | 2021-02-23 12:11 | 2.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1921 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.379 | 129654.1685 | 276487.0393 | 32.55 | 27.7
29811 | 2021-02-23 12:12 | 2.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1921 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.379 | 129662.5079 | 276456.1096 | 32.55 | 27.7
29821 | 2021-02-23 12:12 | 3.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9905 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.388 | 129682.7612 | 276455.761 | 32.55 | 27.7
29831 | 2021-02-23 12:12 | 3.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8251 | μmol/L | 15.4761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 129698.9164 | 276444.8435 | 32.55 | 27.7
29841 | 2021-02-23 12:13 | 3.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8295 | μmol/L | 15.47 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.393 | 129713.4134 | 276424.0404 | 32.55 | 27.7
29851 | 2021-02-23 12:13 | 4.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8115 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 129732.036 | 276426.6393 | 32.55 | 27.7
29861 | 2021-02-23 12:13 | 4.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8874 | μmol/L | 15.4517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.397 | 129753.9374 | 276399.6398 | 32.55 | 27.7
29871 | 2021-02-23 12:14 | 4.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8068 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 129773.0469 | 276396.0773 | 32.55 | 27.7
29881 | 2021-02-23 12:14 | 5.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7889 | μmol/L | 15.4334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.408 | 129786.6745 | 276383.7991 | 32.55 | 27.7
29891 | 2021-02-23 12:14 | 5.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.838 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.408 | 129789.845 | 276374.14 | 32.55 | 27.7
29901 | 2021-02-23 12:15 | 5.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8112 | μmol/L | 15.4334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.407 | 129776.0035 | 276369.5452 | 32.55 | 27.7
29911 | 2021-02-23 12:15 | 6.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8336 | μmol/L | 15.4334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.406 | 129773.2049 | 276374.1342 | 32.55 | 27.7
29921 | 2021-02-23 12:15 | 6.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7086 | μmol/L | 15.4517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 129760.2765 | 276369.3849 | 32.55 | 27.7
29931 | 2021-02-23 12:16 | 6.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6906 | μmol/L | 15.4456 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.408 | 129753.6394 | 276359.0013 | 32.55 | 27.7
29941 | 2021-02-23 12:16 | 7.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6104 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 129745.709 | 276344.8312 | 32.55 | 27.7
29951 | 2021-02-23 12:16 | 7.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.588 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.406 | 129757.5193 | 276334.1019 | 32.55 | 27.7
29961 | 2021-02-23 12:17 | 7.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5031 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 129768.3556 | 276343.3711 | 32.55 | 27.7
29971 | 2021-02-23 12:17 | 8.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5701 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 129759.4654 | 276328.8524 | 32.55 | 27.7
29981 | 2021-02-23 12:17 | 8.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5031 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 129754.4112 | 276320.6746 | 32.55 | 27.7
29991 | 2021-02-23 12:18 | 8.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5031 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 129756.5204 | 276320.9638 | 32.55 | 27.7
30001 | 2021-02-23 12:18 | 9.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4764 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 129755.5492 | 276321.1599 | 32.55 | 27.7
30011 | 2021-02-23 12:18 | 9.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4317 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.413 | 129758.0685 | 276308.8461 | 32.55 | 27.7
30021 | 2021-02-23 12:19 | 9.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4585 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.414 | 129769.4248 | 276324.9015 | 32.55 | 27.7
30031 | 2021-02-23 12:19 | 10.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3692 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 129778.3569 | 276310.1753 | 32.55 | 27.7
30041 | 2021-02-23 12:19 | 10.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3469 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.419 | 129773.4012 | 276305.5249 | 32.55 | 27.7
30051 | 2021-02-23 12:20 | 10.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4138 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 129770.7316 | 276308.1451 | 32.55 | 27.7
30061 | 2021-02-23 12:20 | 11.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3201 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 129776.1044 | 276301.2875 | 32.55 | 27.7
30071 | 2021-02-23 12:20 | 11.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3692 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 129780.9499 | 276302.8024 | 32.55 | 27.7
30081 | 2021-02-23 12:21 | 11.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4361 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.415 | 129772.6314 | 276304.105 | 32.55 | 27.7
30091 | 2021-02-23 12:21 | 12.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2086 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.423 | 129779.5901 | 276296.1621 | 32.55 | 27.7
30101 | 2021-02-23 12:21 | 12.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2755 | μmol/L | 15.4639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.42 | 129789.1449 | 276291.232 | 32.55 | 27.7
30111 | 2021-02-23 12:22 | 12.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2576 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.423 | 129790.7326 | 276289.1073 | 32.55 | 27.7
30121 | 2021-02-23 12:22 | 13.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3513 | μmol/L | 15.4517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.421 | 129808.7598 | 276282.7894 | 32.55 | 27.7
30131 | 2021-02-23 12:22 | 13.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1907 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.426 | 129822.3173 | 276283.6254 | 32.55 | 27.7
30141 | 2021-02-23 12:23 | 13.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1462 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.428 | 129834.6481 | 276282.2908 | 32.55 | 27.7
30151 | 2021-02-23 12:23 | 14.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1907 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.426 | 129832.9562 | 276286.411 | 32.55 | 27.7
30161 | 2021-02-23 12:23 | 14.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1462 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.428 | 129832.5678 | 276288.748 | 32.55 | 27.7
30171 | 2021-02-23 12:24 | 14.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1462 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.428 | 129820.2854 | 276262.3157 | 32.55 | 27.7
30181 | 2021-02-23 12:24 | 15.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1239 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.429 | 129832.0076 | 276270.6764 | 32.55 | 27.7
30191 | 2021-02-23 12:24 | 15.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1996 | μmol/L | 15.4456 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.43 | 129827.6687 | 276271.0495 | 32.55 | 27.7
30201 | 2021-02-23 12:25 | 15.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1506 | μmol/L | 15.4517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.43 | 129844.8913 | 276267.0964 | 32.55 | 27.7
30211 | 2021-02-23 12:25 | 16.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0614 | μmol/L | 15.4517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.434 | 129870.1325 | 276271.957 | 32.55 | 27.7
30221 | 2021-02-23 12:25 | 16.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0436 | μmol/L | 15.4456 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129876.0638 | 276250.5845 | 32.55 | 27.7
30231 | 2021-02-23 12:26 | 16.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9456 | μmol/L | 15.4578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129887.4356 | 276258.4789 | 32.55 | 27.7
30241 | 2021-02-23 12:26 | 17.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0926 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129880.2182 | 276253.9541 | 32.55 | 27.7
30251 | 2021-02-23 12:26 | 17.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1149 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 129869.8729 | 276256.1063 | 32.55 | 27.7
30261 | 2021-02-23 12:27 | 17.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0926 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129866.0659 | 276253.8679 | 32.55 | 27.7
30271 | 2021-02-23 12:27 | 18.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2352 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.435 | 129873.4712 | 276263.3342 | 32.55 | 27.7
30281 | 2021-02-23 12:27 | 18.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3601 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 129874.1021 | 276259.2014 | 32.55 | 27.7
30291 | 2021-02-23 12:28 | 18.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3601 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 129873.4891 | 276253.7556 | 32.55 | 27.7
30301 | 2021-02-23 12:28 | 19.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2396 | μmol/L | 15.4211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129870.8195 | 276251.2309 | 32.55 | 27.7
30311 | 2021-02-23 12:28 | 19.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1906 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 129885.2215 | 276239.4488 | 32.55 | 27.7
30321 | 2021-02-23 12:29 | 19.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0792 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.442 | 129889.6151 | 276231.9249 | 32.55 | 27.7
30331 | 2021-02-23 12:29 | 20.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9367 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.444 | 129909.9861 | 276246.8081 | 32.55 | 27.7
30341 | 2021-02-23 12:29 | 20.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.048 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.439 | 129898.4438 | 276235.3005 | 32.55 | 27.7
30351 | 2021-02-23 12:30 | 20.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0525 | μmol/L | 15.4334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.441 | 129900.8645 | 276236.6597 | 32.55 | 27.7
30361 | 2021-02-23 12:30 | 21.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1238 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.44 | 129903.3144 | 276236.6874 | 32.55 | 27.7
30371 | 2021-02-23 12:30 | 21.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9589 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.443 | 129905.0932 | 276232.8629 | 32.55 | 27.7
30381 | 2021-02-23 12:31 | 21.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9857 | μmol/L | 15.4334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.444 | 129912.3605 | 276243.0315 | 32.55 | 27.7
30391 | 2021-02-23 12:31 | 22.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0346 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.444 | 129915.2844 | 276223.0598 | 32.55 | 27.7
30401 | 2021-02-23 12:31 | 22.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9144 | μmol/L | 15.4395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.445 | 129920.3175 | 276234.16 | 32.55 | 27.7
30411 | 2021-02-23 12:32 | 22.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1104 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.445 | 129922.2825 | 276230.9094 | 32.55 | 27.7
30421 | 2021-02-23 12:32 | 23.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1371 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.446 | 129935.9387 | 276239.0368 | 32.55 | 27.7
30431 | 2021-02-23 12:32 | 23.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0703 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.449 | 129928.352 | 276230.37 | 32.55 | 27.7
30441 | 2021-02-23 12:33 | 23.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9723 | μmol/L | 15.4211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.449 | 129932.4273 | 276225.551 | 32.55 | 27.7
30451 | 2021-02-23 12:33 | 24.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.901 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.45 | 129947.084 | 276237.8406 | 32.55 | 27.7
30461 | 2021-02-23 12:33 | 24.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.999 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.45 | 129951.3066 | 276227.1859 | 32.55 | 27.7
30471 | 2021-02-23 12:34 | 24.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9946 | μmol/L | 15.4211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.448 | 129956.9419 | 276240.7401 | 32.55 | 27.7
30481 | 2021-02-23 12:34 | 25.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9946 | μmol/L | 15.4211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.448 | 129953.3975 | 276234.4869 | 32.55 | 27.7
30491 | 2021-02-23 12:34 | 25.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8788 | μmol/L | 15.4272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.451 | 129969.6262 | 276249.521 | 32.55 | 27.7
30501 | 2021-02-23 12:35 | 25.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9545 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.452 | 129970.2287 | 276233.4265 | 32.55 | 27.7
30511 | 2021-02-23 12:35 | 26.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.91 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.454 | 129965.677 | 276231.7552 | 32.55 | 27.7
30521 | 2021-02-23 12:35 | 26.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.91 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.454 | 129968.386 | 276229.7262 | 32.55 | 27.7
30531 | 2021-02-23 12:36 | 26.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8877 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.455 | 129973.6519 | 276239.4848 | 32.55 | 27.7
30541 | 2021-02-23 12:36 | 27.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9634 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.456 | 129982.6667 | 276220.2892 | 32.55 | 27.7
30551 | 2021-02-23 12:36 | 27.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8522 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.461 | 129990.9226 | 276221.4122 | 32.55 | 27.7
30561 | 2021-02-23 12:37 | 27.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9012 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.461 | 130013.4149 | 276228.2098 | 32.55 | 27.7
30571 | 2021-02-23 12:37 | 28.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8032 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.461 | 130027.5307 | 276222.6497 | 32.55 | 27.7
30581 | 2021-02-23 12:37 | 28.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6475 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.468 | 130044.0103 | 276221.8986 | 32.55 | 27.7
30591 | 2021-02-23 12:38 | 28.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5986 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.468 | 130064.937 | 276224.0516 | 32.55 | 27.7
30601 | 2021-02-23 12:38 | 29.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.741 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.466 | 130058.7393 | 276215.3721 | 32.55 | 27.7
30611 | 2021-02-23 12:38 | 29.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6253 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.469 | 130052.2468 | 276203.9802 | 32.55 | 27.7
30621 | 2021-02-23 12:39 | 29.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6431 | μmol/L | 15.415 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.466 | 130049.3251 | 276201.2616 | 32.55 | 27.7
30631 | 2021-02-23 12:39 | 30.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5497 | μmol/L | 15.4211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.468 | 130063.7646 | 276204.179 | 32.55 | 27.7
30641 | 2021-02-23 12:39 | 30.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5187 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.476 | 130080.6737 | 276218.7104 | 32.55 | 27.7
30651 | 2021-02-23 12:40 | 30.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5364 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.473 | 130083.1798 | 276203.3947 | 32.55 | 27.7
30661 | 2021-02-23 12:40 | 31.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.492 | μmol/L | 15.4089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.475 | 130104.1659 | 276211.2213 | 32.55 | 27.7
30671 | 2021-02-23 12:40 | 31.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5454 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.477 | 130112.4897 | 276206.677 | 32.55 | 27.7
30681 | 2021-02-23 12:41 | 31.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6433 | μmol/L | 15.3845 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.477 | 130113.5658 | 276207.1788 | 32.55 | 27.7
30691 | 2021-02-23 12:41 | 32.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7145 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.476 | 130124.8326 | 276213.2743 | 32.55 | 27.7
30701 | 2021-02-23 12:41 | 32.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5367 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.484 | 130140.9919 | 276205.2641 | 32.55 | 27.7
30711 | 2021-02-23 12:42 | 32.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.51 | μmol/L | 15.3845 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.483 | 130161.2499 | 276215.6467 | 32.55 | 27.7
30721 | 2021-02-23 12:42 | 33.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3768 | μmol/L | 15.3845 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 130178.0448 | 276206.4895 | 32.55 | 27.7
30731 | 2021-02-23 12:42 | 33.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.279 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 130190.1558 | 276200.7506 | 32.55 | 27.7
30741 | 2021-02-23 12:43 | 33.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1858 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.491 | 130198.1728 | 276193.1142 | 32.55 | 27.7
30751 | 2021-02-23 12:43 | 34.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1414 | μmol/L | 15.4028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 130214.3557 | 276200.7667 | 32.55 | 27.7
30761 | 2021-02-23 12:43 | 34.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1238 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 130209.2624 | 276185.1997 | 32.55 | 27.7
30771 | 2021-02-23 12:44 | 34.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1681 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.494 | 130197.6997 | 276184.388 | 32.55 | 27.7
30781 | 2021-02-23 12:44 | 35.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2568 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.49 | 130188.6378 | 276181.4549 | 32.55 | 27.7
30791 | 2021-02-23 12:44 | 35.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.279 | μmol/L | 15.3967 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 130165.1216 | 276172.0621 | 32.55 | 27.7
30801 | 2021-02-23 12:45 | 35.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3279 | μmol/L | 15.3906 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 130154.8317 | 276174.5971 | 32.55 | 27.7
30811 | 2021-02-23 12:45 | 36.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6437 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.488 | 130155.3567 | 276161.7363 | 32.55 | 27.7
30821 | 2021-02-23 12:45 | 36.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6215 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 130146.0917 | 276149.7522 | 32.55 | 27.7
30831 | 2021-02-23 12:46 | 36.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6437 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.488 | 130152.184 | 276159.1158 | 32.55 | 27.7
30841 | 2021-02-23 12:46 | 37.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5992 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.49 | 130148.8292 | 276133.6667 | 32.55 | 27.7
30851 | 2021-02-23 12:46 | 37.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.626 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.491 | 130136.8172 | 276137.7465 | 32.55 | 27.7
30861 | 2021-02-23 12:47 | 37.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5992 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.49 | 130137.5936 | 276136.7423 | 32.55 | 27.7
30871 | 2021-02-23 12:47 | 38.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5594 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.494 | 130140.6543 | 276133.2024 | 32.55 | 27.7
30881 | 2021-02-23 12:47 | 38.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6841 | μmol/L | 15.3295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 130139.2927 | 276118.137 | 32.55 | 27.7
30891 | 2021-02-23 12:48 | 38.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5861 | μmol/L | 15.3417 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 130153.8727 | 276126.833 | 32.55 | 27.7
30901 | 2021-02-23 12:48 | 39.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5372 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 130154.6291 | 276116.4362 | 32.55 | 27.7
30911 | 2021-02-23 12:48 | 39.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3505 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.499 | 130166.3513 | 276119.1435 | 32.55 | 27.7
30921 | 2021-02-23 12:49 | 39.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1373 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.502 | 130185.3092 | 276118.4151 | 32.55 | 27.7
30931 | 2021-02-23 12:49 | 40.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1731 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.507 | 130198.8043 | 276102.3887 | 32.55 | 27.7
30941 | 2021-02-23 12:49 | 40.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.102 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.508 | 130210.7819 | 276114.9749 | 32.55 | 27.7
30951 | 2021-02-23 12:50 | 40.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1464 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.506 | 130189.8738 | 276094.397 | 32.55 | 27.7
30961 | 2021-02-23 12:50 | 41.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1509 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.508 | 130180.4401 | 276090.3761 | 32.55 | 27.7
30971 | 2021-02-23 12:50 | 41.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0487 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.506 | 130184.1061 | 276106.3046 | 32.55 | 27.7
30981 | 2021-02-23 12:51 | 41.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0089 | μmol/L | 15.3723 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.51 | 130191.7566 | 276092.6895 | 32.55 | 27.7
30991 | 2021-02-23 12:51 | 42.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9157 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.512 | 130201.6085 | 276094.2389 | 32.55 | 27.7
31001 | 2021-02-23 12:51 | 42.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0089 | μmol/L | 15.3723 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.51 | 130204.2731 | 276086.6067 | 32.55 | 27.7
31011 | 2021-02-23 12:52 | 42.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9646 | μmol/L | 15.3723 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.512 | 130204.4548 | 276090.9224 | 32.55 | 27.7
31021 | 2021-02-23 12:52 | 43.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9248 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.516 | 130221.1491 | 276086.46 | 32.55 | 27.7
31031 | 2021-02-23 12:52 | 43.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7699 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 130221.6942 | 276084.6744 | 32.55 | 27.7
31041 | 2021-02-23 12:53 | 43.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8584 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.519 | 130224.2453 | 276076.049 | 32.55 | 27.7
31051 | 2021-02-23 12:53 | 44.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7699 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 130228.4405 | 276069.142 | 32.55 | 27.7
31061 | 2021-02-23 12:53 | 44.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8805 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 130217.4829 | 276063.6176 | 32.55 | 27.7
31071 | 2021-02-23 12:54 | 44.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.792 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 130232.0707 | 276060.9465 | 32.55 | 27.7
31081 | 2021-02-23 12:54 | 45.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6723 | μmol/L | 15.3784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 130239.753 | 276056.8698 | 32.55 | 27.7
31091 | 2021-02-23 12:54 | 45.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7744 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.525 | 130250.3754 | 276055.636 | 32.55 | 27.7
31101 | 2021-02-23 12:55 | 45.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7081 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 130246.8617 | 276057.4432 | 32.55 | 27.7
31111 | 2021-02-23 12:55 | 46.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6326 | μmol/L | 15.3723 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.527 | 130241.6818 | 276044.8539 | 32.55 | 27.7
31121 | 2021-02-23 12:55 | 46.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6372 | μmol/L | 15.3662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 130238.3607 | 276045.223 | 32.55 | 27.7
31131 | 2021-02-23 12:56 | 46.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7081 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 130247.0457 | 276035.0099 | 32.55 | 27.7
31141 | 2021-02-23 12:56 | 47.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5975 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.533 | 130255.3872 | 276040.6472 | 32.55 | 27.7
31151 | 2021-02-23 12:56 | 47.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5975 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.533 | 130258.9852 | 276023.5664 | 32.55 | 27.7
31161 | 2021-02-23 12:57 | 47.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6684 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.532 | 130269.9998 | 276025.0188 | 32.55 | 27.7
31171 | 2021-02-23 12:57 | 48.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5754 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.534 | 130284.6881 | 276032.0978 | 32.55 | 27.7
31181 | 2021-02-23 12:57 | 48.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5358 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.538 | 130303.4651 | 276032.234 | 32.55 | 27.7
31191 | 2021-02-23 12:58 | 48.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4916 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.54 | 130291.5949 | 276020.4558 | 32.55 | 27.7
31201 | 2021-02-23 12:58 | 49.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5091 | μmol/L | 15.36 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.537 | 130277.7127 | 276024.3896 | 32.55 | 27.7
31211 | 2021-02-23 12:58 | 49.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5579 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.537 | 130258.1366 | 276012.9498 | 32.55 | 27.7
31221 | 2021-02-23 12:59 | 49.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5579 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.537 | 130264.6276 | 276012.3313 | 32.55 | 27.7
31231 | 2021-02-23 12:59 | 50.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4695 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.541 | 130278.2143 | 276006.1539 | 32.55 | 27.7
31241 | 2021-02-23 12:59 | 50.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5358 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.538 | 130281.0628 | 276009.7031 | 32.55 | 27.7
31251 | 2021-02-23 13:00 | 50.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4961 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.542 | 130279.9534 | 276010.649 | 32.55 | 27.7
31261 | 2021-02-23 13:00 | 51.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4916 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.54 | 130279.4637 | 276010.1408 | 32.55 | 27.7
31271 | 2021-02-23 13:00 | 51.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4474 | μmol/L | 15.3539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.542 | 130289.3888 | 276012.7766 | 32.55 | 27.7
31281 | 2021-02-23 13:01 | 51.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.474 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.543 | 130284.0413 | 275997.4925 | 32.55 | 27.7
31291 | 2021-02-23 13:01 | 52.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4299 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.545 | 130303.3385 | 276007.8233 | 32.55 | 27.7
31301 | 2021-02-23 13:01 | 52.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3728 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.552 | 130334.8673 | 275998.8338 | 32.55 | 27.7
31311 | 2021-02-23 13:02 | 52.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3728 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.552 | 130357.5518 | 275991.9744 | 32.55 | 27.7
31321 | 2021-02-23 13:02 | 53.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2845 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.556 | 130368.7503 | 275990.1328 | 32.55 | 27.7
31331 | 2021-02-23 13:02 | 53.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2404 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.558 | 130366.804 | 275992.4357 | 32.55 | 27.7
31341 | 2021-02-23 13:03 | 53.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1696 | μmol/L | 15.3417 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.559 | 130383.6213 | 275994.2176 | 32.55 | 27.7
31351 | 2021-02-23 13:03 | 54.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1962 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.56 | 130387.4065 | 275992.3215 | 32.55 | 27.7
31361 | 2021-02-23 13:03 | 54.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0547 | μmol/L | 15.3478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.562 | 130395.6847 | 275989.8474 | 32.55 | 27.7
31371 | 2021-02-23 13:04 | 54.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1521 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.562 | 130386.6789 | 275996.7915 | 32.55 | 27.7
31381 | 2021-02-23 13:04 | 55.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1788 | μmol/L | 15.3295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.563 | 130426.5543 | 276004.2354 | 32.55 | 27.7
31391 | 2021-02-23 13:04 | 55.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1347 | μmol/L | 15.3295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.565 | 130431.3725 | 276004.3362 | 32.55 | 27.7
31401 | 2021-02-23 13:05 | 55.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0685 | μmol/L | 15.3295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.568 | 130421.6068 | 275992.5889 | 32.55 | 27.7
31411 | 2021-02-23 13:05 | 56.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.086 | μmol/L | 15.3356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.565 | 130419.7938 | 275994.4227 | 32.55 | 27.7
31421 | 2021-02-23 13:05 | 56.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1393 | μmol/L | 15.3234 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.567 | 130410.157 | 276005.7399 | 32.55 | 27.7
31431 | 2021-02-23 13:06 | 56.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0685 | μmol/L | 15.3295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.568 | 130411.7086 | 275999.8555 | 32.55 | 27.7
31441 | 2021-02-23 13:06 | 57.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0731 | μmol/L | 15.3234 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.57 | 130417.418 | 275996.0662 | 32.55 | 27.7
31451 | 2021-02-23 13:06 | 57.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1659 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.568 | 130422.9327 | 275987.5154 | 32.55 | 27.7
31461 | 2021-02-23 13:07 | 57.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.21 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.566 | 130416.5748 | 275979.6881 | 32.55 | 27.7
31471 | 2021-02-23 13:07 | 58.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0998 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.571 | 130434.8769 | 276001.7893 | 32.55 | 27.7
31481 | 2021-02-23 13:07 | 58.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.029 | μmol/L | 15.3234 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.572 | 130420.81 | 275987.7365 | 32.55 | 27.7
31491 | 2021-02-23 13:08 | 58.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.985 | μmol/L | 15.3234 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 130432.9853 | 275992.6717 | 32.55 | 27.7
31501 | 2021-02-23 13:08 | 59.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0337 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 130424.8229 | 275990.5004 | 32.55 | 27.7
31511 | 2021-02-23 13:08 | 59.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1218 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.57 | 130440.9319 | 275992.438 | 32.55 | 27.7
31521 | 2021-02-23 13:09 | 59.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9896 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.576 | 130449.6194 | 275974.1948 | 32.55 | 27.7
31531 | 2021-02-23 13:09 | 60.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9455 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.578 | 130467.4549 | 275966.8371 | 32.55 | 27.7
31541 | 2021-02-23 13:09 | 60.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9722 | μmol/L | 15.3112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 130463.3924 | 275961.6249 | 32.55 | 27.7
31551 | 2021-02-23 13:10 | 60.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9455 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.578 | 130473.0664 | 275977.8363 | 32.55 | 27.7
31561 | 2021-02-23 13:10 | 61.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9235 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 130469.2911 | 275963.4585 | 32.55 | 27.7
31571 | 2021-02-23 13:10 | 61.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9235 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 130481.0303 | 275964.2063 | 32.55 | 27.7
31581 | 2021-02-23 13:11 | 61.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0162 | μmol/L | 15.3112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 130463.6 | 275955.8545 | 32.55 | 27.7
31591 | 2021-02-23 13:11 | 62.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9235 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 130473.3811 | 275956.2327 | 32.55 | 27.7
31601 | 2021-02-23 13:11 | 62.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9015 | μmol/L | 15.3173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.58 | 130480.6812 | 275969.7686 | 32.55 | 27.7
31611 | 2021-02-23 13:12 | 62.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9327 | μmol/L | 15.3051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.583 | 130485.5776 | 275967.4778 | 32.55 | 27.7
31621 | 2021-02-23 13:12 | 63.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8887 | μmol/L | 15.3051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.585 | 130503.9176 | 275954.6336 | 32.55 | 27.7
31631 | 2021-02-23 13:12 | 63.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9107 | μmol/L | 15.3051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.584 | 130509.1857 | 275952.8 | 32.55 | 27.7
31641 | 2021-02-23 13:13 | 63.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7566 | μmol/L | 15.3051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 130511.8349 | 275973.3085 | 32.55 | 27.7
31651 | 2021-02-23 13:13 | 64.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.73 | μmol/L | 15.3112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.59 | 130508.0783 | 275967.9254 | 32.55 | 27.7
31661 | 2021-02-23 13:13 | 64.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7613 | μmol/L | 15.299 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.593 | 130514.1045 | 275955.1938 | 32.55 | 27.7
31671 | 2021-02-23 13:14 | 64.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8226 | μmol/L | 15.3051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.588 | 130511.2436 | 275955.7701 | 32.55 | 27.7
31681 | 2021-02-23 13:14 | 65.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8539 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 130517.7589 | 275955.5638 | 32.55 | 27.7
31691 | 2021-02-23 13:14 | 65.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8493 | μmol/L | 15.299 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.589 | 130513.1665 | 275962.1078 | 32.55 | 27.7
31701 | 2021-02-23 13:15 | 65.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8539 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 130515.6812 | 275969.4085 | 32.55 | 27.7
31711 | 2021-02-23 13:15 | 66.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8053 | μmol/L | 15.299 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 130512.8734 | 275954.2801 | 32.55 | 27.7
31721 | 2021-02-23 13:15 | 66.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7659 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.595 | 130531.9007 | 275968.4085 | 32.55 | 27.7
31731 | 2021-02-23 13:16 | 66.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8319 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.592 | 130530.639 | 275951.4086 | 32.55 | 27.7
31741 | 2021-02-23 13:16 | 67.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8099 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.593 | 130528.4197 | 275948.8128 | 32.55 | 27.7
31751 | 2021-02-23 13:16 | 67.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8099 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.593 | 130530.4744 | 275955.7625 | 32.55 | 27.7
31761 | 2021-02-23 13:17 | 67.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8412 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.596 | 130523.4476 | 275960.7096 | 32.55 | 27.7
31771 | 2021-02-23 13:17 | 68.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9513 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 130531.8662 | 275948.8092 | 32.55 | 27.7
31781 | 2021-02-23 13:17 | 68.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7705 | μmol/L | 15.2867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.597 | 130546.4947 | 275970.3578 | 32.55 | 27.7
31791 | 2021-02-23 13:18 | 68.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7705 | μmol/L | 15.2867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.597 | 130549.5952 | 275972.5953 | 32.55 | 27.7
31801 | 2021-02-23 13:18 | 69.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7265 | μmol/L | 15.2867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.599 | 130553.1143 | 275953.7508 | 32.55 | 27.7
31811 | 2021-02-23 13:18 | 69.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7752 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.599 | 130564.5748 | 275946.4204 | 32.55 | 27.7
31821 | 2021-02-23 13:19 | 69.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7972 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.598 | 130563.4929 | 275956.4289 | 32.55 | 27.7
31831 | 2021-02-23 13:19 | 70.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7485 | μmol/L | 15.2867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.598 | 130562.153 | 275946.9225 | 32.55 | 27.7
31841 | 2021-02-23 13:19 | 70.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7532 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.6 | 130558.3835 | 275940.65 | 32.55 | 27.7
31851 | 2021-02-23 13:20 | 70.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6779 | μmol/L | 15.2928 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.599 | 130589.1111 | 275948.4208 | 32.55 | 27.7
31858 | 2021-02-23 13:20 | 71.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6872 | μmol/L | 15.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.603 | 130588.5615 | 275953.0046 | 32.55 | 27.7