## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31869 | 2021-02-23 15:03 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.2365 | μmol/L | 18.9358 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.708 | 127793.419 | 276709.7277 | 32.55 | 27.7
31879 | 2021-02-23 15:03 | 0.33021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.2399 | μmol/L | 18.9236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.712 | 127814.8768 | 276681.0441 | 32.55 | 27.7
31889 | 2021-02-23 15:04 | 0.66414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.0844 | μmol/L | 18.9358 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.715 | 127835.166 | 276658.7716 | 32.55 | 27.7
31899 | 2021-02-23 15:04 | 0.99755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8404 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.72 | 127833.6849 | 276633.0814 | 32.55 | 27.7
31909 | 2021-02-23 15:04 | 1.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8386 | μmol/L | 18.9603 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.718 | 127825.926 | 276625.5361 | 32.55 | 27.7
31919 | 2021-02-23 15:05 | 1.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7302 | μmol/L | 18.9603 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 127849.3754 | 276596.9624 | 32.55 | 27.7
31929 | 2021-02-23 15:05 | 1.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6652 | μmol/L | 18.9603 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.726 | 127865.7464 | 276580.3881 | 32.55 | 27.7
31939 | 2021-02-23 15:05 | 2.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5586 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.733 | 127877.0231 | 276562.5361 | 32.55 | 27.7
31949 | 2021-02-23 15:06 | 2.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.582 | μmol/L | 18.9481 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 127899.4698 | 276547.709 | 32.55 | 27.7
31959 | 2021-02-23 15:06 | 2.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7009 | μmol/L | 18.9114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.741 | 127928.4461 | 276530.7016 | 32.55 | 27.7
31969 | 2021-02-23 15:06 | 3.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.506 | μmol/L | 18.9114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.75 | 127957.5049 | 276514.2717 | 32.55 | 27.7
31979 | 2021-02-23 15:07 | 3.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3942 | μmol/L | 18.9236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 127952.1254 | 276495.5696 | 32.55 | 27.7
31989 | 2021-02-23 15:07 | 3.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.214 | μmol/L | 18.9481 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 127963.9557 | 276495.9444 | 32.55 | 27.7
31999 | 2021-02-23 15:07 | 4.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.061 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.756 | 127991.4251 | 276492.5115 | 32.55 | 27.7
32009 | 2021-02-23 15:08 | 4.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.1258 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.753 | 127954.5383 | 276475.67 | 32.55 | 27.7
32019 | 2021-02-23 15:08 | 4.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2123 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.749 | 127935.8509 | 276459.6541 | 32.55 | 27.7
32029 | 2021-02-23 15:08 | 5.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2392 | μmol/L | 18.9358 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.754 | 127936.0677 | 276464.2938 | 32.55 | 27.7
32039 | 2021-02-23 15:09 | 5.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3491 | μmol/L | 18.9297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 127939.944 | 276440.7419 | 32.55 | 27.7
32049 | 2021-02-23 15:09 | 5.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3094 | μmol/L | 18.9175 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.757 | 127966.6286 | 276423.9 | 32.55 | 27.7
32059 | 2021-02-23 15:09 | 6.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.295 | μmol/L | 18.893 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.766 | 128030.7767 | 276433.1457 | 32.55 | 27.7
32069 | 2021-02-23 15:10 | 6.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2987 | μmol/L | 18.8808 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.77 | 128040.1119 | 276420.1605 | 32.55 | 27.7
32079 | 2021-02-23 15:10 | 6.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2968 | μmol/L | 18.8869 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.768 | 128019.6885 | 276397.0621 | 32.55 | 27.7
32089 | 2021-02-23 15:10 | 7.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.1599 | μmol/L | 18.9114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127989.9117 | 276404.908 | 32.55 | 27.7
32099 | 2021-02-23 15:11 | 7.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3978 | μmol/L | 18.9114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.755 | 127939.3876 | 276412.6842 | 32.55 | 27.7
32109 | 2021-02-23 15:11 | 7.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.4411 | μmol/L | 18.9114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.753 | 127906.8271 | 276410.3493 | 32.55 | 27.7
32119 | 2021-02-23 15:11 | 8.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5781 | μmol/L | 18.8869 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.755 | 127881.2235 | 276403.3854 | 32.55 | 27.7
32129 | 2021-02-23 15:12 | 8.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8544 | μmol/L | 18.8319 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127919.104 | 276395.5226 | 32.55 | 27.7
32139 | 2021-02-23 15:12 | 8.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7443 | μmol/L | 18.838 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127931.7387 | 276382.8165 | 32.55 | 27.7
32149 | 2021-02-23 15:12 | 9.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6052 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127940.8499 | 276376.5424 | 32.55 | 27.7
32159 | 2021-02-23 15:13 | 9.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.277 | μmol/L | 18.8808 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127973.0118 | 276379.8385 | 32.55 | 27.7
32169 | 2021-02-23 15:13 | 9.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.1672 | μmol/L | 18.8869 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.774 | 128002.3828 | 276376.1224 | 32.55 | 27.7
32179 | 2021-02-23 15:13 | 10.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.1276 | μmol/L | 18.8747 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.78 | 128045.5938 | 276372.1227 | 32.55 | 27.7
32189 | 2021-02-23 15:14 | 10.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.0412 | μmol/L | 18.8747 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.784 | 128079.8068 | 276372.0318 | 32.55 | 27.7
32199 | 2021-02-23 15:14 | 10.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.8901 | μmol/L | 18.8747 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.791 | 128127.2301 | 276369.5702 | 32.55 | 27.7
32209 | 2021-02-23 15:14 | 11.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.7158 | μmol/L | 18.8808 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.797 | 128144.6297 | 276351.6287 | 32.55 | 27.7
32219 | 2021-02-23 15:15 | 11.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.6548 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.804 | 128175.594 | 276359.7715 | 32.55 | 27.7
32229 | 2021-02-23 15:15 | 11.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.6333 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.805 | 128195.4037 | 276369.2149 | 32.55 | 27.7
32239 | 2021-02-23 15:15 | 12.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.653 | μmol/L | 18.8747 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.802 | 128166.5838 | 276344.454 | 32.55 | 27.7
32249 | 2021-02-23 15:16 | 12.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.6117 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 128184.8462 | 276359.3893 | 32.55 | 27.7
32259 | 2021-02-23 15:16 | 12.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.3712 | μmol/L | 18.8808 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.813 | 128234.3423 | 276347.324 | 32.55 | 27.7
32269 | 2021-02-23 15:16 | 13.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.3749 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.817 | 128253.2349 | 276351.503 | 32.55 | 27.7
32279 | 2021-02-23 15:17 | 13.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.3104 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.82 | 128280.8637 | 276352.0125 | 32.55 | 27.7
32289 | 2021-02-23 15:17 | 13.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.2673 | μmol/L | 18.8686 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.822 | 128289.5287 | 276343.9261 | 32.55 | 27.7
32299 | 2021-02-23 15:17 | 14.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.244 | μmol/L | 18.8747 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.821 | 128296.8758 | 276343.5225 | 32.55 | 27.7
32309 | 2021-02-23 15:18 | 14.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.1776 | μmol/L | 18.8808 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.822 | 128303.0685 | 276331.3811 | 32.55 | 27.7
32319 | 2021-02-23 15:18 | 14.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.002 | μmol/L | 18.893 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.826 | 128326.5619 | 276340.0327 | 32.55 | 27.7
32329 | 2021-02-23 15:18 | 15.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.8694 | μmol/L | 18.9052 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.828 | 128355.322 | 276336.2699 | 32.55 | 27.7
32339 | 2021-02-23 15:19 | 15.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.6726 | μmol/L | 18.9175 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.833 | 128358.6533 | 276320.7739 | 32.55 | 27.7
32349 | 2021-02-23 15:19 | 15.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.5635 | μmol/L | 18.9236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.836 | 128388.4387 | 276337.1953 | 32.55 | 27.7
32359 | 2021-02-23 15:19 | 16.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.4722 | μmol/L | 18.9419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.834 | 128387.2656 | 276327.7944 | 32.55 | 27.7
32369 | 2021-02-23 15:20 | 16.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.5114 | μmol/L | 18.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.828 | 128373.5983 | 276333.6201 | 32.55 | 27.7
32379 | 2021-02-23 15:20 | 16.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.5702 | μmol/L | 18.9725 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.819 | 128341.9323 | 276347.8195 | 32.55 | 27.7
32389 | 2021-02-23 15:20 | 17.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.5433 | μmol/L | 18.9909 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.814 | 128298.1088 | 276329.096 | 32.55 | 27.7
32399 | 2021-02-23 15:21 | 17.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3896 | μmol/L | 19.0031 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.817 | 128305.6183 | 276323.9761 | 32.55 | 27.7
32409 | 2021-02-23 15:21 | 17.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.1022 | μmol/L | 19.0337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.82 | 128348.3716 | 276319.5538 | 32.55 | 27.7
32419 | 2021-02-23 15:21 | 18.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9934 | μmol/L | 19.0398 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.823 | 128382.4532 | 276317.799 | 32.55 | 27.7
32429 | 2021-02-23 15:22 | 18.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.8793 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.82 | 128371.3783 | 276320.7461 | 32.55 | 27.7
32439 | 2021-02-23 15:22 | 18.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.8971 | μmol/L | 19.0765 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.815 | 128339.3042 | 276330.7818 | 32.55 | 27.7
32449 | 2021-02-23 15:22 | 19.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6745 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.815 | 128335.4313 | 276336.0223 | 32.55 | 27.7
32459 | 2021-02-23 15:23 | 19.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6265 | μmol/L | 19.1254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.811 | 128316.9097 | 276325.2057 | 32.55 | 27.7
32469 | 2021-02-23 15:23 | 19.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6195 | μmol/L | 19.1499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.803 | 128295.5732 | 276339.1423 | 32.55 | 27.7
32479 | 2021-02-23 15:23 | 20.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.8085 | μmol/L | 19.1621 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.79 | 128212.0243 | 276323.2801 | 32.55 | 27.7
32489 | 2021-02-23 15:24 | 20.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7606 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.786 | 128168.5834 | 276309.7871 | 32.55 | 27.7
32499 | 2021-02-23 15:24 | 20.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9285 | μmol/L | 19.1927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.774 | 128132.8843 | 276315.4655 | 32.55 | 27.7
32509 | 2021-02-23 15:24 | 21.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7702 | μmol/L | 19.2233 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.771 | 128105.4364 | 276304.3342 | 32.55 | 27.7
32519 | 2021-02-23 15:25 | 21.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.79 | μmol/L | 19.2294 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.768 | 128106.0351 | 276320.275 | 32.55 | 27.7
32529 | 2021-02-23 15:25 | 21.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6763 | μmol/L | 19.2539 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.765 | 128108.015 | 276326.0674 | 32.55 | 27.7
32539 | 2021-02-23 15:25 | 22.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6088 | μmol/L | 19.2661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.764 | 128088.5321 | 276303.6222 | 32.55 | 27.7
32549 | 2021-02-23 15:26 | 22.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7109 | μmol/L | 19.2844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.753 | 128044.8118 | 276317.5283 | 32.55 | 27.7
32559 | 2021-02-23 15:26 | 22.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.8362 | μmol/L | 19.2967 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.743 | 127971.9695 | 276317.7769 | 32.55 | 27.7
32569 | 2021-02-23 15:26 | 23.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9401 | μmol/L | 19.3089 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 127916.5495 | 276327.354 | 32.55 | 27.7
32579 | 2021-02-23 15:27 | 23.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0457 | μmol/L | 19.315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 127862.0932 | 276324.7689 | 32.55 | 27.7
32589 | 2021-02-23 15:27 | 23.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2357 | μmol/L | 19.3273 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.714 | 127794.7639 | 276328.897 | 32.55 | 27.7
32599 | 2021-02-23 15:27 | 24.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2755 | μmol/L | 19.3395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.708 | 127756.9803 | 276336.7762 | 32.55 | 27.7
32609 | 2021-02-23 15:28 | 24.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3369 | μmol/L | 19.3517 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.701 | 127731.143 | 276319.4987 | 32.55 | 27.7
32619 | 2021-02-23 15:28 | 24.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2893 | μmol/L | 19.3701 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.697 | 127708.6912 | 276326.8873 | 32.55 | 27.7
32629 | 2021-02-23 15:28 | 25.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.4182 | μmol/L | 19.3701 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.691 | 127688.8682 | 276324.2163 | 32.55 | 27.7
32639 | 2021-02-23 15:29 | 25.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3706 | μmol/L | 19.3884 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.687 | 127681.5861 | 276330.2647 | 32.55 | 27.7
32649 | 2021-02-23 15:29 | 25.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.1742 | μmol/L | 19.4007 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.692 | 127683.3935 | 276320.4725 | 32.55 | 27.7
32659 | 2021-02-23 15:29 | 26.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.1512 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.691 | 127710.9144 | 276325.7825 | 32.55 | 27.7
32669 | 2021-02-23 15:30 | 26.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0638 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.693 | 127718.2694 | 276327.8361 | 32.55 | 27.7
32679 | 2021-02-23 15:30 | 26.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9963 | μmol/L | 19.4251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.692 | 127726.3857 | 276329.4967 | 32.55 | 27.7
32689 | 2021-02-23 15:30 | 27.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.8462 | μmol/L | 19.4251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.699 | 127764.4973 | 276328.4433 | 32.55 | 27.7
32699 | 2021-02-23 15:31 | 27.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6517 | μmol/L | 19.4312 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 127813.3322 | 276331.8136 | 32.55 | 27.7
32709 | 2021-02-23 15:31 | 27.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.54 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.705 | 127833.895 | 276330.2232 | 32.55 | 27.7
32719 | 2021-02-23 15:31 | 28.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.5599 | μmol/L | 19.4557 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.702 | 127826.4702 | 276317.998 | 32.55 | 27.7
32729 | 2021-02-23 15:32 | 28.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.4942 | μmol/L | 19.4618 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.703 | 127837.5424 | 276320.5708 | 32.55 | 27.7
32739 | 2021-02-23 15:32 | 28.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.3612 | μmol/L | 19.4802 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.703 | 127859.7143 | 276331.0532 | 32.55 | 27.7
32749 | 2021-02-23 15:32 | 29.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2114 | μmol/L | 19.4802 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.71 | 127879.6328 | 276320.1408 | 32.55 | 27.7
32759 | 2021-02-23 15:33 | 29.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2741 | μmol/L | 19.4863 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.705 | 127869.7714 | 276320.3225 | 32.55 | 27.7
32769 | 2021-02-23 15:33 | 29.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.3368 | μmol/L | 19.4924 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.7 | 127852.4751 | 276317.7021 | 32.55 | 27.7
32779 | 2021-02-23 15:33 | 30.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2054 | μmol/L | 19.5046 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.702 | 127850.488 | 276318.3235 | 32.55 | 27.7
32789 | 2021-02-23 15:34 | 30.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2268 | μmol/L | 19.5046 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.701 | 127846.6619 | 276327.6704 | 32.55 | 27.7
32799 | 2021-02-23 15:34 | 30.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.3567 | μmol/L | 19.4985 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.697 | 127846.6242 | 276334.3545 | 32.55 | 27.7
32809 | 2021-02-23 15:34 | 31.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2467 | μmol/L | 19.5108 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.698 | 127844.9686 | 276334.1266 | 32.55 | 27.7
32819 | 2021-02-23 15:35 | 31.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2423 | μmol/L | 19.5291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.692 | 127840.6552 | 276330.4817 | 32.55 | 27.7
32829 | 2021-02-23 15:35 | 31.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.0697 | μmol/L | 19.5352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.698 | 127861.2576 | 276325.9554 | 32.55 | 27.7
32839 | 2021-02-23 15:35 | 32.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.9857 | μmol/L | 19.5291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.704 | 127919.2488 | 276318.7541 | 32.55 | 27.7
32849 | 2021-02-23 15:36 | 32.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7478 | μmol/L | 19.5413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.711 | 127962.6466 | 276325.2542 | 32.55 | 27.7
32859 | 2021-02-23 15:36 | 32.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.789 | μmol/L | 19.5475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.707 | 127954.835 | 276321.9748 | 32.55 | 27.7
32869 | 2021-02-23 15:36 | 33.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8973 | μmol/L | 19.5413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.704 | 127934.0739 | 276320.64 | 32.55 | 27.7
32879 | 2021-02-23 15:37 | 33.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.0026 | μmol/L | 19.5475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.697 | 127905.5774 | 276339.7195 | 32.55 | 27.7
32889 | 2021-02-23 15:37 | 33.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8914 | μmol/L | 19.5658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.696 | 127903.0643 | 276339.4274 | 32.55 | 27.7
32899 | 2021-02-23 15:37 | 34.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.873 | μmol/L | 19.5536 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.701 | 127935.8485 | 276334.7459 | 32.55 | 27.7
32909 | 2021-02-23 15:38 | 34.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7647 | μmol/L | 19.5597 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.704 | 127952.065 | 276327.6201 | 32.55 | 27.7
32919 | 2021-02-23 15:38 | 34.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7861 | μmol/L | 19.5597 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.703 | 127937.9141 | 276326.7086 | 32.55 | 27.7
32929 | 2021-02-23 15:38 | 35.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8487 | μmol/L | 19.5658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.698 | 127916.5423 | 276329.2926 | 32.55 | 27.7
32939 | 2021-02-23 15:39 | 35.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8244 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.695 | 127894.459 | 276333.0498 | 32.55 | 27.7
32949 | 2021-02-23 15:39 | 35.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.739 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.699 | 127902.6143 | 276319.6313 | 32.55 | 27.7
32959 | 2021-02-23 15:39 | 36.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8472 | μmol/L | 19.5719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.696 | 127925.4028 | 276320.6922 | 32.55 | 27.7
32969 | 2021-02-23 15:40 | 36.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6734 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.7 | 127935.884 | 276325.5216 | 32.55 | 27.7
32979 | 2021-02-23 15:40 | 36.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6734 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.7 | 127943.7403 | 276333.8981 | 32.55 | 27.7
32989 | 2021-02-23 15:40 | 37.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7588 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.696 | 127937.8914 | 276332.3496 | 32.55 | 27.7
32999 | 2021-02-23 15:41 | 37.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.736 | μmol/L | 19.5903 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.695 | 127920.8448 | 276339.2107 | 32.55 | 27.7
33009 | 2021-02-23 15:41 | 37.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7773 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.691 | 127908.4277 | 276332.6689 | 32.55 | 27.7
33019 | 2021-02-23 15:41 | 38.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8016 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.694 | 127899.4659 | 276314.5163 | 32.55 | 27.7
33029 | 2021-02-23 15:42 | 38.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.736 | μmol/L | 19.5903 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.695 | 127902.0304 | 276329.5687 | 32.55 | 27.7
33039 | 2021-02-23 15:42 | 38.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.887 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.69 | 127882.0702 | 276324.5959 | 32.55 | 27.7
33049 | 2021-02-23 15:42 | 39.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7972 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.688 | 127870.5771 | 276312.9376 | 32.55 | 27.7
33059 | 2021-02-23 15:43 | 39.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7759 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.689 | 127881.9603 | 276320.0493 | 32.55 | 27.7
33069 | 2021-02-23 15:43 | 39.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6691 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.694 | 127922.3751 | 276320.7786 | 32.55 | 27.7
33079 | 2021-02-23 15:43 | 40.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.5837 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.698 | 127973.0722 | 276330.4563 | 32.55 | 27.7
33089 | 2021-02-23 15:44 | 40.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4984 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.702 | 127989.9465 | 276327.1979 | 32.55 | 27.7
33099 | 2021-02-23 15:44 | 40.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4998 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.704 | 128013.9906 | 276313.9267 | 32.55 | 27.7
33109 | 2021-02-23 15:44 | 41.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.3932 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.709 | 128037.557 | 276334.6962 | 32.55 | 27.7
33119 | 2021-02-23 15:45 | 41.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.2624 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.711 | 128048.5146 | 276344.5935 | 32.55 | 27.7
33129 | 2021-02-23 15:45 | 41.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.3293 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.712 | 128061.9709 | 276328.9827 | 32.55 | 27.7
33139 | 2021-02-23 15:45 | 42.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.2426 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.714 | 128086.0908 | 276327.3527 | 32.55 | 27.7
33149 | 2021-02-23 15:46 | 42.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.2441 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.716 | 128108.2093 | 276331.9702 | 32.55 | 27.7
33159 | 2021-02-23 15:46 | 42.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0723 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 128132.2121 | 276328.4158 | 32.55 | 27.7
33169 | 2021-02-23 15:46 | 43.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0084 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 128149.3575 | 276331.0313 | 32.55 | 27.7
33179 | 2021-02-23 15:47 | 43.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0084 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 128147.5542 | 276329.5206 | 32.55 | 27.7
33189 | 2021-02-23 15:47 | 43.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9219 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128159.2878 | 276321.4142 | 32.55 | 27.7
33199 | 2021-02-23 15:47 | 44.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9219 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128174.7948 | 276340.4976 | 32.55 | 27.7
33209 | 2021-02-23 15:48 | 44.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9446 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 128185.3411 | 276325.4836 | 32.55 | 27.7
33219 | 2021-02-23 15:48 | 44.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.817 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 128217.5019 | 276332.1984 | 32.55 | 27.7
33229 | 2021-02-23 15:48 | 45.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8793 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.729 | 128210.4763 | 276321.5452 | 32.55 | 27.7
33239 | 2021-02-23 15:49 | 45.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8793 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.729 | 128202.2959 | 276332.9703 | 32.55 | 27.7
33249 | 2021-02-23 15:49 | 45.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8339 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128201.4988 | 276335.0537 | 32.55 | 27.7
33259 | 2021-02-23 15:49 | 46.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9842 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 128180.8868 | 276346.5781 | 32.55 | 27.7
33269 | 2021-02-23 15:50 | 46.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9219 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128167.5392 | 276344.2424 | 32.55 | 27.7
33279 | 2021-02-23 15:50 | 46.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.007 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 128176.5992 | 276346.9549 | 32.55 | 27.7
33289 | 2021-02-23 15:50 | 47.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9204 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 128180.7542 | 276353.2639 | 32.55 | 27.7
33299 | 2021-02-23 15:51 | 47.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9219 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128192.1063 | 276341.2559 | 32.55 | 27.7
33309 | 2021-02-23 15:51 | 47.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9204 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 128189.8994 | 276340.9438 | 32.55 | 27.7
33319 | 2021-02-23 15:51 | 48.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9417 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.724 | 128189.6458 | 276348.8066 | 32.55 | 27.7
33329 | 2021-02-23 15:52 | 48.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1361 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 128172.3475 | 276354.4921 | 32.55 | 27.7
33339 | 2021-02-23 15:52 | 48.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1985 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.714 | 128141.7772 | 276356.4195 | 32.55 | 27.7
33349 | 2021-02-23 15:52 | 49.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1347 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.717 | 128135.7583 | 276377.6952 | 32.55 | 27.7
33359 | 2021-02-23 15:53 | 49.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1787 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.717 | 128161.6018 | 276377.6868 | 32.55 | 27.7
33369 | 2021-02-23 15:53 | 49.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1361 | μmol/L | 19.6025 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 128169.5965 | 276359.8403 | 32.55 | 27.7
33379 | 2021-02-23 15:53 | 50.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0466 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.717 | 128173.0068 | 276367.7265 | 32.55 | 27.7
33389 | 2021-02-23 15:54 | 50.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0466 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.717 | 128170.8072 | 276365.1407 | 32.55 | 27.7
33399 | 2021-02-23 15:54 | 50.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0268 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.72 | 128171.9769 | 276369.9422 | 32.55 | 27.7
33409 | 2021-02-23 15:54 | 51.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8991 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.726 | 128189.5851 | 276372.7716 | 32.55 | 27.7
33419 | 2021-02-23 15:55 | 51.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8779 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128208.7112 | 276370.2642 | 32.55 | 27.7
33429 | 2021-02-23 15:55 | 51.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9417 | μmol/L | 19.6147 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.724 | 128195.0697 | 276366.2745 | 32.55 | 27.7
33439 | 2021-02-23 15:55 | 52.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9189 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 128208.4012 | 276358.5963 | 32.55 | 27.7
33449 | 2021-02-23 15:56 | 52.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8339 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 128244.7952 | 276366.1211 | 32.55 | 27.7
33459 | 2021-02-23 15:56 | 52.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6426 | μmol/L | 19.6209 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.736 | 128281.1147 | 276367.7667 | 32.55 | 27.7
33469 | 2021-02-23 15:56 | 53.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6668 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.739 | 128305.6385 | 276366.1736 | 32.55 | 27.7
33479 | 2021-02-23 15:57 | 53.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6244 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.741 | 128312.413 | 276374.7028 | 32.55 | 27.7
33489 | 2021-02-23 15:57 | 53.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7518 | μmol/L | 19.6086 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.735 | 128302.6149 | 276362.1147 | 32.55 | 27.7
33499 | 2021-02-23 15:57 | 54.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7973 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.737 | 128287.1529 | 276362.038 | 32.55 | 27.7
33509 | 2021-02-23 15:58 | 54.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9491 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 128280.4762 | 276374.1865 | 32.55 | 27.7
33519 | 2021-02-23 15:58 | 54.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9065 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.736 | 128287.9968 | 276369.9918 | 32.55 | 27.7
33529 | 2021-02-23 15:58 | 55.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8428 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.739 | 128296.2584 | 276379.5763 | 32.55 | 27.7
33539 | 2021-02-23 15:59 | 55.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8443 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.741 | 128340.9733 | 276382.4373 | 32.55 | 27.7
33549 | 2021-02-23 15:59 | 55.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8685 | μmol/L | 19.5658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.744 | 128345.275 | 276366.8073 | 32.55 | 27.7
33559 | 2021-02-23 15:59 | 56.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7593 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.745 | 128335.2572 | 276358.2706 | 32.55 | 27.7
33569 | 2021-02-23 16:00 | 56.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9095 | μmol/L | 19.5719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.74 | 128331.9597 | 276378.2203 | 32.55 | 27.7
33579 | 2021-02-23 16:00 | 56.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7805 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.744 | 128337.5635 | 276373.6178 | 32.55 | 27.7
33589 | 2021-02-23 16:00 | 57.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7593 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.745 | 128350.2863 | 276381.1134 | 32.55 | 27.7
33599 | 2021-02-23 16:01 | 57.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8245 | μmol/L | 19.5719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.744 | 128363.3394 | 276387.5687 | 32.55 | 27.7
33609 | 2021-02-23 16:01 | 57.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6728 | μmol/L | 19.5842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.747 | 128391.131 | 276371.65 | 32.55 | 27.7
33619 | 2021-02-23 16:01 | 58.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3303 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.759 | 128450.9315 | 276377.6023 | 32.55 | 27.7
33629 | 2021-02-23 16:02 | 58.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.2879 | μmol/L | 19.5964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.761 | 128473.9919 | 276381.7812 | 32.55 | 27.7
33639 | 2021-02-23 16:02 | 58.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.2047 | μmol/L | 19.5903 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.767 | 128496.8065 | 276371.4302 | 32.55 | 27.7
33649 | 2021-02-23 16:02 | 59.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.2925 | μmol/L | 19.578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.767 | 128510.0275 | 276377.6322 | 32.55 | 27.7
33659 | 2021-02-23 16:03 | 59.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.294 | μmol/L | 19.5719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.769 | 128540.2729 | 276380.4576 | 32.55 | 27.7
33669 | 2021-02-23 16:03 | 59.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9764 | μmol/L | 19.5719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.784 | 128583.8839 | 276366.8812 | 32.55 | 27.7
33679 | 2021-02-23 16:03 | 60.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1519 | μmol/L | 19.5475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.784 | 128621.8412 | 276371.4433 | 32.55 | 27.7
33689 | 2021-02-23 16:04 | 60.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4351 | μmol/L | 19.5169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.781 | 128603.8641 | 276385.6142 | 32.55 | 27.7
33699 | 2021-02-23 16:04 | 60.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4562 | μmol/L | 19.5169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.78 | 128610.996 | 276376.5239 | 32.55 | 27.7
33709 | 2021-02-23 16:04 | 61.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3715 | μmol/L | 19.5169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.784 | 128629.2477 | 276366.4346 | 32.55 | 27.7
33719 | 2021-02-23 16:05 | 61.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3487 | μmol/L | 19.523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.783 | 128621.5507 | 276357.3587 | 32.55 | 27.7
33729 | 2021-02-23 16:05 | 61.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.2381 | μmol/L | 19.5413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.782 | 128620.2252 | 276364.9971 | 32.55 | 27.7
33739 | 2021-02-23 16:05 | 62.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1731 | μmol/L | 19.5475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.783 | 128620.9539 | 276365.2259 | 32.55 | 27.7
33749 | 2021-02-23 16:06 | 62.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0868 | μmol/L | 19.5536 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.785 | 128635.5375 | 276379.8405 | 32.55 | 27.7
33759 | 2021-02-23 16:06 | 62.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.963 | μmol/L | 19.5413 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.795 | 128668.7541 | 276371.2352 | 32.55 | 27.7
33769 | 2021-02-23 16:06 | 63.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9857 | μmol/L | 19.5352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.796 | 128685.0485 | 276360.9624 | 32.55 | 27.7
33779 | 2021-02-23 16:07 | 63.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9646 | μmol/L | 19.5352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.797 | 128686.0874 | 276379.4858 | 32.55 | 27.7
33789 | 2021-02-23 16:07 | 63.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0523 | μmol/L | 19.523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.797 | 128714.7271 | 276377.2703 | 32.55 | 27.7
33799 | 2021-02-23 16:07 | 64.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0084 | μmol/L | 19.5291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.797 | 128710.2074 | 276367.743 | 32.55 | 27.7
33809 | 2021-02-23 16:08 | 64.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0719 | μmol/L | 19.5291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.794 | 128684.9306 | 276378.4157 | 32.55 | 27.7
33819 | 2021-02-23 16:08 | 64.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9661 | μmol/L | 19.5291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.799 | 128688.2728 | 276369.1882 | 32.55 | 27.7
33829 | 2021-02-23 16:08 | 65.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.01 | μmol/L | 19.523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.799 | 128689.5579 | 276373.1605 | 32.55 | 27.7
33839 | 2021-02-23 16:09 | 65.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9904 | μmol/L | 19.5169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.802 | 128711.7007 | 276372.1342 | 32.55 | 27.7
33849 | 2021-02-23 16:09 | 65.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0618 | μmol/L | 19.4863 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.809 | 128760.7155 | 276372.5339 | 32.55 | 27.7
33859 | 2021-02-23 16:09 | 66.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1756 | μmol/L | 19.4557 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.814 | 128796.0603 | 276374.7295 | 32.55 | 27.7
33869 | 2021-02-23 16:10 | 66.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4133 | μmol/L | 19.4374 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.809 | 128775.9517 | 276366.497 | 32.55 | 27.7
33879 | 2021-02-23 16:10 | 66.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4329 | μmol/L | 19.4435 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 128750.8466 | 276364.2667 | 32.55 | 27.7
33889 | 2021-02-23 16:10 | 67.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4736 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.802 | 128728.4078 | 276354.0052 | 32.55 | 27.7
33899 | 2021-02-23 16:11 | 67.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.516 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.8 | 128709.1826 | 276358.812 | 32.55 | 27.7
33909 | 2021-02-23 16:11 | 67.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6432 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.794 | 128680.5065 | 276358.5563 | 32.55 | 27.7
33919 | 2021-02-23 16:11 | 68.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4524 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.803 | 128700.1956 | 276353.3916 | 32.55 | 27.7
33929 | 2021-02-23 16:12 | 68.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4524 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.803 | 128732.126 | 276364.4587 | 32.55 | 27.7
33939 | 2021-02-23 16:12 | 68.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4329 | μmol/L | 19.4435 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 128735.5491 | 276359.728 | 32.55 | 27.7
33949 | 2021-02-23 16:12 | 69.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5437 | μmol/L | 19.4251 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.807 | 128742.3029 | 276366.8298 | 32.55 | 27.7
33959 | 2021-02-23 16:13 | 69.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5208 | μmol/L | 19.4312 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 128732.9198 | 276364.2766 | 32.55 | 27.7
33969 | 2021-02-23 16:13 | 69.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5877 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.807 | 128741.173 | 276354.7771 | 32.55 | 27.7
33979 | 2021-02-23 16:13 | 70.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6089 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 128757.7438 | 276359.6698 | 32.55 | 27.7
33989 | 2021-02-23 16:14 | 70.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6545 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.808 | 128764.3785 | 276370.9971 | 32.55 | 27.7
33999 | 2021-02-23 16:14 | 70.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5697 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.812 | 128769.0791 | 276367.3309 | 32.55 | 27.7
34009 | 2021-02-23 16:14 | 71.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5273 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.814 | 128781.2556 | 276369.7986 | 32.55 | 27.7
34019 | 2021-02-23 16:15 | 71.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5485 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.813 | 128774.9463 | 276369.277 | 32.55 | 27.7
34029 | 2021-02-23 16:15 | 71.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5045 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.813 | 128772.659 | 276370.2785 | 32.55 | 27.7
34039 | 2021-02-23 16:15 | 72.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3335 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.819 | 128817.7448 | 276376.5807 | 32.55 | 27.7
34049 | 2021-02-23 16:16 | 72.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0292 | μmol/L | 19.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.823 | 128849.3948 | 276379.0822 | 32.55 | 27.7
34059 | 2021-02-23 16:16 | 72.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1431 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.828 | 128882.7291 | 276380.1884 | 32.55 | 27.7
34069 | 2021-02-23 16:16 | 73.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0634 | μmol/L | 19.4007 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.838 | 128913.5912 | 276364.3359 | 32.55 | 27.7
34079 | 2021-02-23 16:17 | 73.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.935 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.842 | 128967.0109 | 276369.0662 | 32.55 | 27.7
34089 | 2021-02-23 16:17 | 73.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9189 | μmol/L | 19.3884 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.849 | 128979.058 | 276375.7052 | 32.55 | 27.7
34099 | 2021-02-23 16:17 | 74.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0456 | μmol/L | 19.3884 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.843 | 128986.4325 | 276378.0002 | 32.55 | 27.7
34109 | 2021-02-23 16:18 | 74.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0228 | μmol/L | 19.3945 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.842 | 128995.5471 | 276379.2897 | 32.55 | 27.7
34119 | 2021-02-23 16:18 | 74.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8294 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.847 | 129025.6178 | 276382.4743 | 32.55 | 27.7
34129 | 2021-02-23 16:18 | 75.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5957 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.856 | 129066.1577 | 276369.9172 | 32.55 | 27.7
34139 | 2021-02-23 16:19 | 75.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4903 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.861 | 129072.1186 | 276366.884 | 32.55 | 27.7
34149 | 2021-02-23 16:19 | 75.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6184 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 129090.9276 | 276374.8387 | 32.55 | 27.7
34159 | 2021-02-23 16:19 | 76.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4254 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 129082.8485 | 276393.647 | 32.55 | 27.7
34169 | 2021-02-23 16:20 | 76.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9256 | μmol/L | 19.364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 129087.4665 | 276384.2981 | 32.55 | 27.7
34179 | 2021-02-23 16:20 | 76.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8445 | μmol/L | 19.3517 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.865 | 129120.4454 | 276388.9045 | 32.55 | 27.7
34189 | 2021-02-23 16:20 | 77.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8428 | μmol/L | 19.3578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 129097.2031 | 276392.0084 | 32.55 | 27.7
34199 | 2021-02-23 16:21 | 77.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.734 | μmol/L | 19.3701 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.864 | 129109.0036 | 276387.1391 | 32.55 | 27.7
34209 | 2021-02-23 16:21 | 77.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8412 | μmol/L | 19.364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.861 | 129097.9224 | 276384.7074 | 32.55 | 27.7
34219 | 2021-02-23 16:21 | 78.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6268 | μmol/L | 19.3762 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 129097.4412 | 276405.4624 | 32.55 | 27.7
34229 | 2021-02-23 16:22 | 78.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8006 | μmol/L | 19.3578 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.865 | 129108.2613 | 276388.6493 | 32.55 | 27.7
34239 | 2021-02-23 16:22 | 78.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9518 | μmol/L | 19.3456 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 129097.8511 | 276372.3244 | 32.55 | 27.7
34249 | 2021-02-23 16:22 | 79.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0802 | μmol/L | 19.3395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.858 | 129082.0185 | 276379.6143 | 32.55 | 27.7
34259 | 2021-02-23 16:23 | 79.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1893 | μmol/L | 19.3273 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 129070.4153 | 276388.4098 | 32.55 | 27.7
34269 | 2021-02-23 16:23 | 79.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.147 | μmol/L | 19.3273 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.859 | 129097.3931 | 276384.9974 | 32.55 | 27.7
34279 | 2021-02-23 16:23 | 80.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8269 | μmol/L | 19.3395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.87 | 129141.8712 | 276392.7347 | 32.55 | 27.7
34289 | 2021-02-23 16:24 | 80.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6547 | μmol/L | 19.3517 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 129175.3101 | 276390.8815 | 32.55 | 27.7
34299 | 2021-02-23 16:24 | 80.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.3968 | μmol/L | 19.3701 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 129190.3602 | 276377.0209 | 32.55 | 27.7
34309 | 2021-02-23 16:24 | 81.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.3512 | μmol/L | 19.3823 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 129200.4977 | 276385.6862 | 32.55 | 27.7
34319 | 2021-02-23 16:25 | 81.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.374 | μmol/L | 19.3762 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 129224.3059 | 276396.8065 | 32.55 | 27.7
34329 | 2021-02-23 16:25 | 81.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.225 | μmol/L | 19.3823 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.884 | 129232.7294 | 276387.5186 | 32.55 | 27.7
34339 | 2021-02-23 16:25 | 82.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.374 | μmol/L | 19.3762 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 129217.4227 | 276392.6989 | 32.55 | 27.7
34349 | 2021-02-23 16:26 | 82.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4195 | μmol/L | 19.364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 129227.4948 | 276389.7093 | 32.55 | 27.7
34359 | 2021-02-23 16:26 | 82.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.7459 | μmol/L | 19.3273 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 129216.0089 | 276385.8601 | 32.55 | 27.7
34369 | 2021-02-23 16:26 | 83.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9022 | μmol/L | 19.2967 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 129199.2729 | 276372.1168 | 32.55 | 27.7
34379 | 2021-02-23 16:27 | 83.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.7072 | μmol/L | 19.315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.884 | 129254.4261 | 276388.0958 | 32.55 | 27.7
34389 | 2021-02-23 16:27 | 83.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5176 | μmol/L | 19.315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.893 | 129300.0467 | 276388.3814 | 32.55 | 27.7
34399 | 2021-02-23 16:27 | 84.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.607 | μmol/L | 19.2967 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.895 | 129327.0342 | 276388.2292 | 32.55 | 27.7
34409 | 2021-02-23 16:28 | 84.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6527 | μmol/L | 19.2844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.897 | 129347.0428 | 276399.3288 | 32.55 | 27.7
34419 | 2021-02-23 16:28 | 84.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4596 | μmol/L | 19.2967 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.902 | 129348.2847 | 276375.1055 | 32.55 | 27.7
34429 | 2021-02-23 16:28 | 85.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.3299 | μmol/L | 19.3089 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.904 | 129367.4518 | 276377.5296 | 32.55 | 27.7
34439 | 2021-02-23 16:29 | 85.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.3088 | μmol/L | 19.3089 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.905 | 129377.7709 | 276384.05 | 32.55 | 27.7
34449 | 2021-02-23 16:29 | 85.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4824 | μmol/L | 19.2906 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.903 | 129379.4766 | 276384.4202 | 32.55 | 27.7
34459 | 2021-02-23 16:29 | 86.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.507 | μmol/L | 19.2783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.906 | 129385.4718 | 276388.2603 | 32.55 | 27.7
34469 | 2021-02-23 16:30 | 86.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4421 | μmol/L | 19.2844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.907 | 129409.3948 | 276394.9936 | 32.55 | 27.7
34479 | 2021-02-23 16:30 | 86.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.2931 | μmol/L | 19.2906 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.912 | 129429.3497 | 276404.7416 | 32.55 | 27.7
34489 | 2021-02-23 16:30 | 87.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.2931 | μmol/L | 19.2906 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.912 | 129404.7584 | 276390.7687 | 32.55 | 27.7
34499 | 2021-02-23 16:31 | 87.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5281 | μmol/L | 19.2783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.905 | 129397.4824 | 276376.2482 | 32.55 | 27.7
34509 | 2021-02-23 16:31 | 87.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6387 | μmol/L | 19.26 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.906 | 129379.4456 | 276388.8772 | 32.55 | 27.7
34519 | 2021-02-23 16:31 | 88.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6405 | μmol/L | 19.2539 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.908 | 129385.519 | 276408.3015 | 32.55 | 27.7
34529 | 2021-02-23 16:32 | 88.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5773 | μmol/L | 19.2539 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.911 | 129414.2765 | 276388.2828 | 32.55 | 27.7
34539 | 2021-02-23 16:32 | 88.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5808 | μmol/L | 19.2416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.915 | 129457.8722 | 276397.7787 | 32.55 | 27.7
34549 | 2021-02-23 16:32 | 89.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4317 | μmol/L | 19.2477 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.92 | 129488.4832 | 276397.7136 | 32.55 | 27.7
34559 | 2021-02-23 16:33 | 89.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.2125 | μmol/L | 19.2783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.92 | 129476.4335 | 276404.3048 | 32.55 | 27.7
34569 | 2021-02-23 16:33 | 89.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.1897 | μmol/L | 19.2844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.919 | 129473.3846 | 276400.8807 | 32.55 | 27.7
34579 | 2021-02-23 16:33 | 90.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.1722 | μmol/L | 19.2722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.924 | 129490.6058 | 276407.7508 | 32.55 | 27.7
34589 | 2021-02-23 16:34 | 90.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4389 | μmol/L | 19.2233 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.928 | 129525.5649 | 276416.5636 | 32.55 | 27.7
34599 | 2021-02-23 16:34 | 90.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4846 | μmol/L | 19.211 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.93 | 129569.5499 | 276400.9372 | 32.55 | 27.7
34609 | 2021-02-23 16:34 | 91.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.2954 | μmol/L | 19.211 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.939 | 129590.4536 | 276398.0662 | 32.55 | 27.7
34619 | 2021-02-23 16:35 | 91.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.1885 | μmol/L | 19.2172 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.942 | 129629.2581 | 276402.8042 | 32.55 | 27.7
34629 | 2021-02-23 16:35 | 91.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0798 | μmol/L | 19.2294 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.943 | 129649.5908 | 276420.9114 | 32.55 | 27.7
34639 | 2021-02-23 16:35 | 92.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.9958 | μmol/L | 19.2294 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.947 | 129665.0821 | 276404.4981 | 32.55 | 27.7
34649 | 2021-02-23 16:36 | 92.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0168 | μmol/L | 19.2294 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.946 | 129660.2579 | 276398.266 | 32.55 | 27.7
34659 | 2021-02-23 16:36 | 92.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.8244 | μmol/L | 19.2416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.951 | 129704.1371 | 276406.0903 | 32.55 | 27.7
34669 | 2021-02-23 16:36 | 93.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.8663 | μmol/L | 19.2416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.949 | 129682.1298 | 276414.5221 | 32.55 | 27.7
34679 | 2021-02-23 16:37 | 93.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0853 | μmol/L | 19.211 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.949 | 129675.683 | 276417.8679 | 32.55 | 27.7
34689 | 2021-02-23 16:37 | 93.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0661 | μmol/L | 19.2049 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 129685.9442 | 276413.293 | 32.55 | 27.7
34699 | 2021-02-23 16:37 | 94.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.1538 | μmol/L | 19.1927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 129722.9594 | 276406.5828 | 32.55 | 27.7
34709 | 2021-02-23 16:38 | 94.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0087 | μmol/L | 19.1866 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.961 | 129763.7708 | 276417.6097 | 32.55 | 27.7
34719 | 2021-02-23 16:38 | 94.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.9705 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 129786.5123 | 276419.0675 | 32.55 | 27.7
34729 | 2021-02-23 16:38 | 95.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.82 | μmol/L | 19.1866 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.97 | 129815.9204 | 276425.0768 | 32.55 | 27.7
34739 | 2021-02-23 16:39 | 95.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.8637 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.97 | 129835.6872 | 276414.3789 | 32.55 | 27.7
34749 | 2021-02-23 16:39 | 95.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.6905 | μmol/L | 19.1988 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.972 | 129835.0147 | 276418.7594 | 32.55 | 27.7
34759 | 2021-02-23 16:39 | 96.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.6221 | μmol/L | 19.2172 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.969 | 129837.6596 | 276420.874 | 32.55 | 27.7
34769 | 2021-02-23 16:40 | 96.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.5611 | μmol/L | 19.211 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.974 | 129835.0527 | 276433.902 | 32.55 | 27.7
34779 | 2021-02-23 16:40 | 96.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.7361 | μmol/L | 19.1866 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.974 | 129860.5762 | 276439.0295 | 32.55 | 27.7
34789 | 2021-02-23 16:40 | 97.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.7189 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.979 | 129884.2169 | 276427.9187 | 32.55 | 27.7
34799 | 2021-02-23 16:41 | 97.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.8693 | μmol/L | 19.1621 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 129859.32 | 276444.213 | 32.55 | 27.7
34809 | 2021-02-23 16:41 | 97.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0218 | μmol/L | 19.1438 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.975 | 129856.5214 | 276448.2214 | 32.55 | 27.7
34819 | 2021-02-23 16:41 | 98.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.717 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 129874.0792 | 276450.9909 | 32.55 | 27.7
34829 | 2021-02-23 16:42 | 98.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.5914 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.983 | 129931.2557 | 276441.3125 | 32.55 | 27.7
34839 | 2021-02-23 16:42 | 98.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.5305 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.988 | 129949.684 | 276434.681 | 32.55 | 27.7
34849 | 2021-02-23 16:42 | 99.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3422 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.997 | 129997.4633 | 276451.7206 | 32.55 | 27.7
34859 | 2021-02-23 16:43 | 99.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2358 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22 | 130020.3938 | 276440.6976 | 32.55 | 27.7
34869 | 2021-02-23 16:43 | 99.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.232 | μmol/L | 19.1927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.996 | 129990.2407 | 276444.4134 | 32.55 | 27.7
34879 | 2021-02-23 16:43 | 100.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3612 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.994 | 129980.8789 | 276443.9127 | 32.55 | 27.7
34889 | 2021-02-23 16:44 | 100.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2985 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.997 | 130011.8736 | 276441.0772 | 32.55 | 27.7
34899 | 2021-02-23 16:44 | 100.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2358 | μmol/L | 19.1805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22 | 130056.3042 | 276451.1746 | 32.55 | 27.7
34909 | 2021-02-23 16:44 | 101.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.008 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.013 | 130118.253 | 276455.5808 | 32.55 | 27.7
34919 | 2021-02-23 16:45 | 101.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0725 | μmol/L | 19.1682 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.012 | 130109.8121 | 276460.2218 | 32.55 | 27.7
34929 | 2021-02-23 16:45 | 101.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0497 | μmol/L | 19.1743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.011 | 130101.4889 | 276449.1992 | 32.55 | 27.7
34939 | 2021-02-23 16:45 | 102.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0763 | μmol/L | 19.156 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.016 | 130140.3292 | 276440.1322 | 32.55 | 27.7
34949 | 2021-02-23 16:46 | 102.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.12 | μmol/L | 19.1499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.016 | 130134.7169 | 276459.8128 | 32.55 | 27.7
34959 | 2021-02-23 16:46 | 102.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3841 | μmol/L | 19.1071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.018 | 130133.4725 | 276460.0726 | 32.55 | 27.7
34969 | 2021-02-23 16:46 | 103.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.4089 | μmol/L | 19.0948 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.021 | 130182.3908 | 276468.6869 | 32.55 | 27.7
34979 | 2021-02-23 16:47 | 103.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.9835 | μmol/L | 19.1193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.033 | 130239.0666 | 276463.318 | 32.55 | 27.7
34989 | 2021-02-23 16:47 | 103.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.8982 | μmol/L | 19.1254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.035 | 130255.3804 | 276466.0432 | 32.55 | 27.7
34999 | 2021-02-23 16:47 | 104.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.7465 | μmol/L | 19.1438 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.036 | 130280.5851 | 276463.6365 | 32.55 | 27.7
35009 | 2021-02-23 16:48 | 104.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.7426 | μmol/L | 19.156 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.032 | 130277.0236 | 276455.427 | 32.55 | 27.7
35019 | 2021-02-23 16:48 | 104.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.7862 | μmol/L | 19.1499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.032 | 130272.3946 | 276461.3236 | 32.55 | 27.7
35029 | 2021-02-23 16:48 | 105.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.9152 | μmol/L | 19.1377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.03 | 130231.969 | 276481.2221 | 32.55 | 27.7
35039 | 2021-02-23 16:49 | 105.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2112 | μmol/L | 19.1254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.02 | 130180.8111 | 276477.3292 | 32.55 | 27.7
35049 | 2021-02-23 16:49 | 105.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.6886 | μmol/L | 19.0704 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.016 | 130134.856 | 276466.1703 | 32.55 | 27.7
35059 | 2021-02-23 16:49 | 106.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.9038 | μmol/L | 19.052 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.012 | 130133.4065 | 276468.3474 | 32.55 | 27.7
35069 | 2021-02-23 16:50 | 106.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.6487 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.02 | 130163.8022 | 276464.961 | 32.55 | 27.7
35079 | 2021-02-23 16:50 | 106.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.5023 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.027 | 130211.8165 | 276467.3959 | 32.55 | 27.7
35089 | 2021-02-23 16:50 | 107.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3064 | μmol/L | 19.0887 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.028 | 130230.2693 | 276471.4711 | 32.55 | 27.7
35099 | 2021-02-23 16:51 | 107.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.7023 | μmol/L | 19.0276 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.03 | 130241.8908 | 276454.7728 | 32.55 | 27.7
35109 | 2021-02-23 16:51 | 107.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3312 | μmol/L | 19.0765 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.031 | 130260.4179 | 276472.4976 | 32.55 | 27.7
35119 | 2021-02-23 16:51 | 108.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2685 | μmol/L | 19.0765 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.034 | 130251.5223 | 276474.07 | 32.55 | 27.7
35129 | 2021-02-23 16:52 | 108.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2685 | μmol/L | 19.0765 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.034 | 130240.8722 | 276468.7964 | 32.55 | 27.7
35139 | 2021-02-23 16:52 | 108.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.4187 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.031 | 130219.4379 | 276460.4582 | 32.55 | 27.7
35149 | 2021-02-23 16:52 | 109.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3997 | μmol/L | 19.0581 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.034 | 130241.1072 | 276463.2284 | 32.55 | 27.7
35159 | 2021-02-23 16:53 | 109.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.6853 | μmol/L | 19.0153 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.035 | 130267.235 | 276464.1302 | 32.55 | 27.7
35169 | 2021-02-23 16:53 | 109.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2744 | μmol/L | 19.0581 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.04 | 130273.5539 | 276461.1871 | 32.55 | 27.7
35179 | 2021-02-23 16:53 | 110.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1393 | μmol/L | 19.0887 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.036 | 130274.0923 | 276472.4316 | 32.55 | 27.7
35189 | 2021-02-23 16:54 | 110.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.3351 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.035 | 130269.3033 | 276469.3747 | 32.55 | 27.7
35199 | 2021-02-23 16:54 | 110.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.4076 | μmol/L | 19.0337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.042 | 130283.4126 | 276468.5913 | 32.55 | 27.7
35209 | 2021-02-23 16:54 | 111.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.4076 | μmol/L | 19.0337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.042 | 130303.5146 | 276461.7777 | 32.55 | 27.7
35219 | 2021-02-23 16:55 | 111.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1511 | μmol/L | 19.052 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.048 | 130320.7525 | 276462.6302 | 32.55 | 27.7
35229 | 2021-02-23 16:55 | 111.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.022 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.05 | 130355.6838 | 276464.7214 | 32.55 | 27.7
35239 | 2021-02-23 16:55 | 112.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2177 | μmol/L | 19.0398 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.049 | 130363.8968 | 276458.6184 | 32.55 | 27.7
35249 | 2021-02-23 16:56 | 112.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0677 | μmol/L | 19.052 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.052 | 130355.812 | 276462.7844 | 32.55 | 27.7
35259 | 2021-02-23 16:56 | 112.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0657 | μmol/L | 19.0581 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.05 | 130361.2259 | 276474.4922 | 32.55 | 27.7
35269 | 2021-02-23 16:56 | 113.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.8969 | μmol/L | 19.0643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.056 | 130372.9357 | 276470.442 | 32.55 | 27.7
35279 | 2021-02-23 16:57 | 113.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.8801 | μmol/L | 19.052 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.061 | 130427.2179 | 276467.4509 | 32.55 | 27.7
35289 | 2021-02-23 16:57 | 113.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.9654 | μmol/L | 19.0459 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.059 | 130434.5117 | 276452.1973 | 32.55 | 27.7
35299 | 2021-02-23 16:57 | 114.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0111 | μmol/L | 19.0337 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.061 | 130420.7751 | 276466.4974 | 32.55 | 27.7
35309 | 2021-02-23 16:58 | 114.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2883 | μmol/L | 19.0153 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.054 | 130402.0296 | 276471.7643 | 32.55 | 27.7
35318 | 2021-02-23 16:58 | 114.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.361 | μmol/L | 18.9848 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.061 | 130418.7069 | 276472.1006 | 32.55 | 27.7
35327 | 2021-02-23 16:58 | 115.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.363 | μmol/L | 18.9786 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.063 | 130439.7731 | 276463.7901 | 32.55 | 27.7