## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35339 | 2021-02-23 19:17 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1753 | μmol/L | 25.1367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.114 | 129276.0489 | 277043.5003 | 32.55 | 27.7
35348 | 2021-02-23 19:18 | 0.33158 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1172 | μmol/L | 25.1245 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.121 | 129271.4417 | 276998.099 | 32.55 | 27.7
35359 | 2021-02-23 19:18 | 0.66422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3121 | μmol/L | 25.0755 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.127 | 129272.4353 | 276953.7281 | 32.55 | 27.7
35369 | 2021-02-23 19:18 | 0.99765 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0277 | μmol/L | 25.0877 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.138 | 129300.7477 | 276931.9592 | 32.55 | 27.7
35379 | 2021-02-23 19:19 | 1.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.865 | μmol/L | 25.1122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.138 | 129299.1965 | 276894.9372 | 32.55 | 27.7
35389 | 2021-02-23 19:19 | 1.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.4293 | μmol/L | 25.0326 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.135 | 129266.4309 | 276862.0635 | 32.55 | 27.7
35398 | 2021-02-23 19:19 | 1.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6436 | μmol/L | 25.0081 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.132 | 129229.0104 | 276832.679 | 32.55 | 27.7
35408 | 2021-02-23 19:20 | 2.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3124 | μmol/L | 25.051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.135 | 129203.5835 | 276816.6978 | 32.55 | 27.7
35419 | 2021-02-23 19:20 | 2.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1634 | μmol/L | 25.1 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.127 | 129126.9603 | 276783.5805 | 32.55 | 27.7
35428 | 2021-02-23 19:20 | 2.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6432 | μmol/L | 25.0448 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.12 | 129023.1253 | 276765.3275 | 32.55 | 27.7
35439 | 2021-02-23 19:21 | 3.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.0727 | μmol/L | 24.9836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.118 | 128968.211 | 276730.5644 | 32.55 | 27.7
35448 | 2021-02-23 19:21 | 3.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.7604 | μmol/L | 25.0142 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.124 | 129005.7289 | 276712.0215 | 32.55 | 27.7
35458 | 2021-02-23 19:21 | 3.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5459 | μmol/L | 25.0448 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.125 | 129014.3832 | 276683.353 | 32.55 | 27.7
35469 | 2021-02-23 19:22 | 4.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5264 | μmol/L | 25.0448 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.126 | 128982.8309 | 276655.3002 | 32.55 | 27.7
35478 | 2021-02-23 19:22 | 4.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.8385 | μmol/L | 24.9958 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.126 | 128985.5511 | 276645.4214 | 32.55 | 27.7
35488 | 2021-02-23 19:22 | 4.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.9946 | μmol/L | 24.9836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.122 | 128948.2387 | 276613.8998 | 32.55 | 27.7
35498 | 2021-02-23 19:23 | 5.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6632 | μmol/L | 25.0019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.133 | 128989.8531 | 276605.2173 | 32.55 | 27.7
35509 | 2021-02-23 19:23 | 5.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.43 | μmol/L | 24.9836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.151 | 129066.8508 | 276586.0434 | 32.55 | 27.7
35519 | 2021-02-23 19:23 | 5.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0994 | μmol/L | 25.0081 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.16 | 129127.2037 | 276559.2657 | 32.55 | 27.7
35529 | 2021-02-23 19:24 | 6.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.5365 | μmol/L | 25.0632 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.171 | 129193.8204 | 276543.1529 | 32.55 | 27.7
35539 | 2021-02-23 19:24 | 6.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4984 | μmol/L | 25.0326 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.183 | 129267.5092 | 276507.6529 | 32.55 | 27.7
35548 | 2021-02-23 19:24 | 6.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1697 | μmol/L | 25.0387 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.198 | 129322.6016 | 276485.5806 | 32.55 | 27.7
35558 | 2021-02-23 19:25 | 7.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1697 | μmol/L | 25.0387 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.198 | 129322.8531 | 276484.2109 | 32.55 | 27.7
35568 | 2021-02-23 19:25 | 7.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0151 | μmol/L | 25.051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.202 | 129331.0361 | 276472.2268 | 32.55 | 27.7
35579 | 2021-02-23 19:25 | 7.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9186 | μmol/L | 25.051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.207 | 129318.1618 | 276451.6917 | 32.55 | 27.7
35589 | 2021-02-23 19:26 | 8.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9447 | μmol/L | 25.0632 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.202 | 129297.1937 | 276415.9006 | 32.55 | 27.7
35599 | 2021-02-23 19:26 | 8.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.8604 | μmol/L | 25.0693 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.204 | 129293.5509 | 276411.8328 | 32.55 | 27.7
35609 | 2021-02-23 19:26 | 8.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7449 | μmol/L | 25.0632 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.212 | 129315.4923 | 276395.8764 | 32.55 | 27.7
35618 | 2021-02-23 19:27 | 9.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5133 | μmol/L | 25.0877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.216 | 129351.8588 | 276383.8181 | 32.55 | 27.7
35629 | 2021-02-23 19:27 | 9.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4746 | μmol/L | 25.0938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.216 | 129346.7392 | 276370.2586 | 32.55 | 27.7
35639 | 2021-02-23 19:27 | 9.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5198 | μmol/L | 25.1061 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.21 | 129342.2266 | 276358.4262 | 32.55 | 27.7
35649 | 2021-02-23 19:28 | 10.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.397 | μmol/L | 25.1184 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.212 | 129286.9888 | 276333.0328 | 32.55 | 27.7
35658 | 2021-02-23 19:28 | 10.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3001 | μmol/L | 25.149 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.207 | 129238.9182 | 276300.7607 | 32.55 | 27.7
35668 | 2021-02-23 19:28 | 10.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1649 | μmol/L | 25.1735 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.206 | 129223.8913 | 276301.0604 | 32.55 | 27.7
35679 | 2021-02-23 19:29 | 11.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2297 | μmol/L | 25.1735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.203 | 129192.5797 | 276283.932 | 32.55 | 27.7
35688 | 2021-02-23 19:29 | 11.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9792 | μmol/L | 25.2041 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.206 | 129159.2021 | 276257.6933 | 32.55 | 27.7
35698 | 2021-02-23 19:29 | 11.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9785 | μmol/L | 25.2286 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.198 | 129127.8045 | 276257.2883 | 32.55 | 27.7
35708 | 2021-02-23 19:30 | 12.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8242 | μmol/L | 25.2593 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.196 | 129110.6928 | 276241.5425 | 32.55 | 27.7
35718 | 2021-02-23 19:30 | 12.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.824 | μmol/L | 25.2654 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.194 | 129092.6009 | 276228.3743 | 32.55 | 27.7
35729 | 2021-02-23 19:30 | 12.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7278 | μmol/L | 25.2777 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.195 | 129080.7699 | 276219.9717 | 32.55 | 27.7
35738 | 2021-02-23 19:31 | 13.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6698 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.192 | 129076.2925 | 276205.0539 | 32.55 | 27.7
35749 | 2021-02-23 19:31 | 13.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4581 | μmol/L | 25.3267 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.193 | 129075.7704 | 276169.5446 | 32.55 | 27.7
35759 | 2021-02-23 19:31 | 13.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2778 | μmol/L | 25.3573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.192 | 129038.8534 | 276155.8655 | 32.55 | 27.7
35769 | 2021-02-23 19:32 | 14.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3422 | μmol/L | 25.3634 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.187 | 128982.4501 | 276156.6989 | 32.55 | 27.7
35778 | 2021-02-23 19:32 | 14.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4762 | μmol/L | 25.3696 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.178 | 128943.0299 | 276133.2266 | 32.55 | 27.7
35789 | 2021-02-23 19:32 | 14.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4759 | μmol/L | 25.3818 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.174 | 128908.002 | 276121.8018 | 32.55 | 27.7
35799 | 2021-02-23 19:33 | 15.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4494 | μmol/L | 25.388 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.173 | 128878.6187 | 276109.505 | 32.55 | 27.7
35808 | 2021-02-23 19:33 | 15.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3795 | μmol/L | 25.4063 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.171 | 128869.4682 | 276088.6491 | 32.55 | 27.7
35818 | 2021-02-23 19:33 | 15.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2452 | μmol/L | 25.4125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.176 | 128873.7071 | 276065.9838 | 32.55 | 27.7
35828 | 2021-02-23 19:34 | 16.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0725 | μmol/L | 25.4308 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.179 | 128912.5154 | 276051.9156 | 32.55 | 27.7
35839 | 2021-02-23 19:34 | 16.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0461 | μmol/L | 25.437 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.178 | 128886.9984 | 276054.5112 | 32.55 | 27.7
35849 | 2021-02-23 19:34 | 16.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0145 | μmol/L | 25.4554 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.174 | 128878.6582 | 276030.3762 | 32.55 | 27.7
35859 | 2021-02-23 19:35 | 17.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1483 | μmol/L | 25.4615 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.165 | 128818.982 | 276010.493 | 32.55 | 27.7
35869 | 2021-02-23 19:35 | 17.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2056 | μmol/L | 25.4676 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.16 | 128730.5531 | 276000.1094 | 32.55 | 27.7
35879 | 2021-02-23 19:35 | 17.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2941 | μmol/L | 25.4737 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.153 | 128678.0885 | 275982.504 | 32.55 | 27.7
35889 | 2021-02-23 19:36 | 18.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3204 | μmol/L | 25.4737 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.152 | 128658.8297 | 275969.1788 | 32.55 | 27.7
35899 | 2021-02-23 19:36 | 18.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0709 | μmol/L | 25.4983 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.157 | 128682.3886 | 275958.2451 | 32.55 | 27.7
35909 | 2021-02-23 19:36 | 18.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0326 | μmol/L | 25.4983 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.159 | 128699.571 | 275929.4025 | 32.55 | 27.7
35918 | 2021-02-23 19:37 | 19.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8912 | μmol/L | 25.5105 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.162 | 128719.0197 | 275920.7283 | 32.55 | 27.7
35928 | 2021-02-23 19:37 | 19.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8217 | μmol/L | 25.5166 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.164 | 128712.1752 | 275907.1333 | 32.55 | 27.7
35938 | 2021-02-23 19:37 | 19.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.86 | μmol/L | 25.5166 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.162 | 128697.2437 | 275890.8843 | 32.55 | 27.7
35949 | 2021-02-23 19:38 | 20.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8216 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.162 | 128687.6133 | 275883.4653 | 32.55 | 27.7
35959 | 2021-02-23 19:38 | 20.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8789 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.159 | 128670.8626 | 275868.8763 | 32.55 | 27.7
35969 | 2021-02-23 19:38 | 20.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6491 | μmol/L | 25.5411 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.165 | 128653.3953 | 275861.6908 | 32.55 | 27.7
35979 | 2021-02-23 19:39 | 21.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6681 | μmol/L | 25.5473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.162 | 128637.2971 | 275848.1998 | 32.55 | 27.7
35989 | 2021-02-23 19:39 | 21.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7447 | μmol/L | 25.5411 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.16 | 128651.91 | 275849.9839 | 32.55 | 27.7
35998 | 2021-02-23 19:39 | 21.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5913 | μmol/L | 25.5595 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.162 | 128656.3924 | 275828.5058 | 32.55 | 27.7
36008 | 2021-02-23 19:40 | 22.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3814 | μmol/L | 25.5595 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.173 | 128666.5438 | 275808.6507 | 32.55 | 27.7
36018 | 2021-02-23 19:40 | 22.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.2857 | μmol/L | 25.5718 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.174 | 128699.2098 | 275794.1999 | 32.55 | 27.7
36029 | 2021-02-23 19:40 | 22.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.152 | μmol/L | 25.584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.177 | 128740.9048 | 275787.8369 | 32.55 | 27.7
36038 | 2021-02-23 19:41 | 23.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.0379 | μmol/L | 25.5779 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.185 | 128778.2271 | 275784.3154 | 32.55 | 27.7
36048 | 2021-02-23 19:41 | 23.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9996 | μmol/L | 25.584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.185 | 128754.8257 | 275752.4648 | 32.55 | 27.7
36058 | 2021-02-23 19:41 | 23.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.0382 | μmol/L | 25.5657 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.189 | 128751.0002 | 275755.0676 | 32.55 | 27.7
36068 | 2021-02-23 19:42 | 24.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9619 | μmol/L | 25.5718 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.191 | 128754.2306 | 275748.4892 | 32.55 | 27.7
36078 | 2021-02-23 19:42 | 24.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9045 | μmol/L | 25.584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.19 | 128751.5074 | 275724.1322 | 32.55 | 27.7
36088 | 2021-02-23 19:42 | 24.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7331 | μmol/L | 25.5902 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.197 | 128777.2232 | 275701.3906 | 32.55 | 27.7
36099 | 2021-02-23 19:43 | 25.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7335 | μmol/L | 25.5779 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.201 | 128804.5068 | 275714.118 | 32.55 | 27.7
36109 | 2021-02-23 19:43 | 25.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5812 | μmol/L | 25.5902 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.205 | 128818.6493 | 275705.2775 | 32.55 | 27.7
36119 | 2021-02-23 19:43 | 25.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5246 | μmol/L | 25.5779 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.212 | 128846.4635 | 275671.7331 | 32.55 | 27.7
36128 | 2021-02-23 19:44 | 26.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3341 | μmol/L | 25.6024 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.214 | 128862.0675 | 275672.5216 | 32.55 | 27.7
36138 | 2021-02-23 19:44 | 26.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2012 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.219 | 128866.5331 | 275654.9267 | 32.55 | 27.7
36149 | 2021-02-23 19:44 | 26.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1822 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.22 | 128879.1935 | 275650.1057 | 32.55 | 27.7
36158 | 2021-02-23 19:45 | 27.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9926 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.228 | 128909.1259 | 275651.0774 | 32.55 | 27.7
36168 | 2021-02-23 19:45 | 27.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9735 | μmol/L | 25.6208 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.227 | 128888.0588 | 275627.4743 | 32.55 | 27.7
36178 | 2021-02-23 19:45 | 27.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0875 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.225 | 128889.872 | 275600.6527 | 32.55 | 27.7
36188 | 2021-02-23 19:46 | 28.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9548 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.23 | 128890.9488 | 275595.9396 | 32.55 | 27.7
36199 | 2021-02-23 19:46 | 28.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8791 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.234 | 128896.7389 | 275569.7629 | 32.55 | 27.7
36209 | 2021-02-23 19:46 | 28.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.898 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.233 | 128919.0891 | 275567.3268 | 32.55 | 27.7
36219 | 2021-02-23 19:47 | 29.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.955 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.232 | 128888.6931 | 275559.3728 | 32.55 | 27.7
36229 | 2021-02-23 19:47 | 29.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9744 | μmol/L | 25.5963 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.235 | 128866.6731 | 275551.1056 | 32.55 | 27.7
36239 | 2021-02-23 19:47 | 29.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9172 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.234 | 128866.3782 | 275535.1328 | 32.55 | 27.7
36248 | 2021-02-23 19:48 | 30.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8415 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.238 | 128872.9445 | 275521.9585 | 32.55 | 27.7
36259 | 2021-02-23 19:48 | 30.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7279 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.242 | 128867.2919 | 275517.7797 | 32.55 | 27.7
36268 | 2021-02-23 19:48 | 30.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8231 | μmol/L | 25.5963 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.243 | 128867.4423 | 275519.2235 | 32.55 | 27.7
36279 | 2021-02-23 19:49 | 31.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8231 | μmol/L | 25.5963 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.243 | 128869.3119 | 275498.5106 | 32.55 | 27.7
36288 | 2021-02-23 19:49 | 31.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6903 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.246 | 128880.6729 | 275502.8263 | 32.55 | 27.7
36299 | 2021-02-23 19:49 | 31.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5768 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.25 | 128902.2096 | 275490.6942 | 32.55 | 27.7
36308 | 2021-02-23 19:50 | 32.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4824 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128903.7626 | 275469.1883 | 32.55 | 27.7
36319 | 2021-02-23 19:50 | 32.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5962 | μmol/L | 25.6024 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.253 | 128913.4563 | 275459.8426 | 32.55 | 27.7
36328 | 2021-02-23 19:50 | 32.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4444 | μmol/L | 25.6208 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128892.4634 | 275452.4013 | 32.55 | 27.7
36339 | 2021-02-23 19:51 | 33.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3873 | μmol/L | 25.6331 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.254 | 128869.8072 | 275439.989 | 32.55 | 27.7
36349 | 2021-02-23 19:51 | 33.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4256 | μmol/L | 25.6208 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.256 | 128887.0357 | 275432.3027 | 32.55 | 27.7
36359 | 2021-02-23 19:51 | 33.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4447 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.257 | 128867.6991 | 275415.7155 | 32.55 | 27.7
36368 | 2021-02-23 19:52 | 34.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5013 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.254 | 128861.684 | 275413.3916 | 32.55 | 27.7
36379 | 2021-02-23 19:52 | 34.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5209 | μmol/L | 25.5963 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.259 | 128851.7104 | 275397.6278 | 32.55 | 27.7
36388 | 2021-02-23 19:52 | 34.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.539 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.252 | 128820.8941 | 275377.2865 | 32.55 | 27.7
36399 | 2021-02-23 19:53 | 35.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5959 | μmol/L | 25.6085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.251 | 128817.1818 | 275367.7432 | 32.55 | 27.7
36408 | 2021-02-23 19:53 | 35.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7865 | μmol/L | 25.5657 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128806.5339 | 275373.9937 | 32.55 | 27.7
36418 | 2021-02-23 19:53 | 35.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6724 | μmol/L | 25.584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128789.3479 | 275359.5534 | 32.55 | 27.7
36428 | 2021-02-23 19:54 | 36.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5967 | μmol/L | 25.5902 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.257 | 128778.9227 | 275336.1803 | 32.55 | 27.7
36438 | 2021-02-23 19:54 | 36.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6724 | μmol/L | 25.584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128759.9055 | 275335.6991 | 32.55 | 27.7
36448 | 2021-02-23 19:54 | 36.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6528 | μmol/L | 25.6024 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.25 | 128717.7581 | 275315.7169 | 32.55 | 27.7
36459 | 2021-02-23 19:55 | 37.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5579 | μmol/L | 25.6147 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.251 | 128697.1472 | 275317.6137 | 32.55 | 27.7
36468 | 2021-02-23 19:55 | 37.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4062 | μmol/L | 25.6331 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.253 | 128702.1164 | 275306.7493 | 32.55 | 27.7
36479 | 2021-02-23 19:55 | 37.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4817 | μmol/L | 25.6331 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.249 | 128681.1406 | 275297.388 | 32.55 | 27.7
36488 | 2021-02-23 19:56 | 38.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7097 | μmol/L | 25.5963 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.249 | 128655.805 | 275276.4115 | 32.55 | 27.7
36499 | 2021-02-23 19:56 | 38.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8241 | μmol/L | 25.5718 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.251 | 128647.7977 | 275279.0382 | 32.55 | 27.7
36509 | 2021-02-23 19:56 | 38.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.881 | μmol/L | 25.5657 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.25 | 128648.1714 | 275267.6833 | 32.55 | 27.7
36519 | 2021-02-23 19:57 | 39.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0338 | μmol/L | 25.5289 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.254 | 128652.7175 | 275262.8684 | 32.55 | 27.7
36528 | 2021-02-23 19:57 | 39.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1286 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.251 | 128624.5803 | 275250.3276 | 32.55 | 27.7
36538 | 2021-02-23 19:57 | 39.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.167 | μmol/L | 25.5105 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.253 | 128629.9684 | 275242.209 | 32.55 | 27.7
36548 | 2021-02-23 19:58 | 40.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2815 | μmol/L | 25.486 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.255 | 128610.6086 | 275226.9476 | 32.55 | 27.7
36558 | 2021-02-23 19:58 | 40.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2626 | μmol/L | 25.486 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.256 | 128607.3149 | 275215.7018 | 32.55 | 27.7
36569 | 2021-02-23 19:58 | 40.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1677 | μmol/L | 25.4921 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.259 | 128593.6528 | 275218.4838 | 32.55 | 27.7
36579 | 2021-02-23 19:59 | 41.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3575 | μmol/L | 25.4799 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.253 | 128561.7479 | 275199.4621 | 32.55 | 27.7
36588 | 2021-02-23 19:59 | 41.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5091 | μmol/L | 25.4799 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.245 | 128514.0816 | 275199.4618 | 32.55 | 27.7
36599 | 2021-02-23 19:59 | 41.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5468 | μmol/L | 25.486 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.241 | 128455.7944 | 275185.8868 | 32.55 | 27.7
36609 | 2021-02-23 20:00 | 42.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7563 | μmol/L | 25.4676 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.236 | 128416.3044 | 275184.5354 | 32.55 | 27.7
36618 | 2021-02-23 20:00 | 42.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5089 | μmol/L | 25.486 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.243 | 128439.7474 | 275165.7483 | 32.55 | 27.7
36628 | 2021-02-23 20:00 | 42.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2612 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.244 | 128440.5232 | 275157.1932 | 32.55 | 27.7
36638 | 2021-02-23 20:01 | 43.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1468 | μmol/L | 25.5411 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.244 | 128411.0496 | 275133.3734 | 32.55 | 27.7
36649 | 2021-02-23 20:01 | 43.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2612 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.244 | 128399.1925 | 275143.1596 | 32.55 | 27.7
36658 | 2021-02-23 20:01 | 43.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2415 | μmol/L | 25.5411 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.239 | 128353.4656 | 275119.194 | 32.55 | 27.7
36669 | 2021-02-23 20:02 | 44.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6607 | μmol/L | 25.486 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.235 | 128338.4188 | 275126.5387 | 32.55 | 27.7
36679 | 2021-02-23 20:02 | 44.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5466 | μmol/L | 25.4921 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.239 | 128351.3141 | 275116.8082 | 32.55 | 27.7
36688 | 2021-02-23 20:02 | 44.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.223 | μmol/L | 25.5289 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.244 | 128389.9118 | 275116.8906 | 32.55 | 27.7
36699 | 2021-02-23 20:03 | 45.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9581 | μmol/L | 25.5289 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.258 | 128444.8691 | 275111.3068 | 32.55 | 27.7
36708 | 2021-02-23 20:03 | 45.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9395 | μmol/L | 25.5228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.261 | 128456.6457 | 275095.8475 | 32.55 | 27.7
36719 | 2021-02-23 20:03 | 45.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3587 | μmol/L | 25.4492 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.263 | 128494.6999 | 275099.5777 | 32.55 | 27.7
36728 | 2021-02-23 20:04 | 46.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0554 | μmol/L | 25.4615 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.275 | 128517.043 | 275092.2839 | 32.55 | 27.7
36738 | 2021-02-23 20:04 | 46.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7891 | μmol/L | 25.5044 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.275 | 128525.3576 | 275066.2277 | 32.55 | 27.7
36749 | 2021-02-23 20:04 | 46.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.208 | μmol/L | 25.4308 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.277 | 128521.2271 | 275054.0203 | 32.55 | 27.7
36759 | 2021-02-23 20:05 | 47.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9417 | μmol/L | 25.4676 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.279 | 128528.9946 | 275055.7361 | 32.55 | 27.7
36768 | 2021-02-23 20:05 | 47.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8279 | μmol/L | 25.4799 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.281 | 128528.6415 | 275040.0621 | 32.55 | 27.7
36779 | 2021-02-23 20:05 | 47.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0943 | μmol/L | 25.437 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.281 | 128513.2483 | 275042.0925 | 32.55 | 27.7
36788 | 2021-02-23 20:06 | 48.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2655 | μmol/L | 25.4125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.28 | 128493.3802 | 275044.8815 | 32.55 | 27.7
36798 | 2021-02-23 20:06 | 48.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1899 | μmol/L | 25.4125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.284 | 128499.3439 | 275025.6224 | 32.55 | 27.7
36809 | 2021-02-23 20:06 | 48.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3612 | μmol/L | 25.388 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.283 | 128487.0405 | 275006.9812 | 32.55 | 27.7
36819 | 2021-02-23 20:07 | 49.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2855 | μmol/L | 25.388 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.287 | 128497.5572 | 275008.8658 | 32.55 | 27.7
36828 | 2021-02-23 20:07 | 49.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.229 | μmol/L | 25.3818 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.292 | 128522.984 | 274987.1973 | 32.55 | 27.7
36839 | 2021-02-23 20:07 | 49.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3809 | μmol/L | 25.3696 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.288 | 128501.0754 | 274990.8512 | 32.55 | 27.7
36848 | 2021-02-23 20:08 | 50.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4372 | μmol/L | 25.3818 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.281 | 128444.4577 | 274981.8134 | 32.55 | 27.7
36859 | 2021-02-23 20:08 | 50.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5134 | μmol/L | 25.3696 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.281 | 128414.793 | 274973.4645 | 32.55 | 27.7
36869 | 2021-02-23 20:08 | 50.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2469 | μmol/L | 25.4063 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.283 | 128428.5398 | 274963.9553 | 32.55 | 27.7
36878 | 2021-02-23 20:09 | 51.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7335 | μmol/L | 25.4799 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.286 | 128433.8255 | 274964.1583 | 32.55 | 27.7
36888 | 2021-02-23 20:09 | 51.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7157 | μmol/L | 25.4554 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.295 | 128475.8727 | 274957.5634 | 32.55 | 27.7
36899 | 2021-02-23 20:09 | 51.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9444 | μmol/L | 25.4063 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.299 | 128479.8761 | 274939.4919 | 32.55 | 27.7
36908 | 2021-02-23 20:10 | 52.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9449 | μmol/L | 25.3941 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.303 | 128512.5586 | 274921.6661 | 32.55 | 27.7
36918 | 2021-02-23 20:10 | 52.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2125 | μmol/L | 25.3267 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.311 | 128518.5041 | 274916.7422 | 32.55 | 27.7
36929 | 2021-02-23 20:10 | 52.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3454 | μmol/L | 25.3144 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.308 | 128497.1809 | 274907.7475 | 32.55 | 27.7
36938 | 2021-02-23 20:11 | 53.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4392 | μmol/L | 25.3328 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.297 | 128424.3048 | 274895.1661 | 32.55 | 27.7
36949 | 2021-02-23 20:11 | 53.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1347 | μmol/L | 25.3757 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.299 | 128398.9162 | 274902.502 | 32.55 | 27.7
36958 | 2021-02-23 20:11 | 53.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0389 | μmol/L | 25.4063 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.294 | 128356.684 | 274881.5279 | 32.55 | 27.7
36969 | 2021-02-23 20:12 | 54.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0764 | μmol/L | 25.4125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.29 | 128320.7923 | 274864.4725 | 32.55 | 27.7
36979 | 2021-02-23 20:12 | 54.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5705 | μmol/L | 25.3634 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.28 | 128266.3018 | 274855.5444 | 32.55 | 27.7
36989 | 2021-02-23 20:12 | 54.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5137 | μmol/L | 25.3634 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.283 | 128248.417 | 274866.9119 | 32.55 | 27.7
36998 | 2021-02-23 20:13 | 55.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5147 | μmol/L | 25.3389 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.291 | 128304.6639 | 274863.8275 | 32.55 | 27.7
37008 | 2021-02-23 20:13 | 55.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.611 | μmol/L | 25.3022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.298 | 128318.1262 | 274849.5457 | 32.55 | 27.7
37018 | 2021-02-23 20:13 | 55.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.135 | μmol/L | 25.3696 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.301 | 128348.7196 | 274836.1968 | 32.55 | 27.7
37028 | 2021-02-23 20:14 | 56.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0024 | μmol/L | 25.3757 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.306 | 128388.6893 | 274831.6065 | 32.55 | 27.7
37038 | 2021-02-23 20:14 | 56.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9841 | μmol/L | 25.3634 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.311 | 128384.3151 | 274835.2912 | 32.55 | 27.7
37049 | 2021-02-23 20:14 | 56.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.327 | μmol/L | 25.3022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.313 | 128377.7841 | 274835.5628 | 32.55 | 27.7
37058 | 2021-02-23 20:15 | 57.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0033 | μmol/L | 25.3573 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.312 | 128376.7022 | 274820.5725 | 32.55 | 27.7
37068 | 2021-02-23 20:15 | 57.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9644 | μmol/L | 25.3818 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.306 | 128341.1632 | 274821.1883 | 32.55 | 27.7
37078 | 2021-02-23 20:15 | 57.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2884 | μmol/L | 25.3206 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.309 | 128325.2372 | 274810.477 | 32.55 | 27.7
37089 | 2021-02-23 20:16 | 58.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0416 | μmol/L | 25.3451 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.314 | 128350.5264 | 274810.16 | 32.55 | 27.7
37099 | 2021-02-23 20:16 | 58.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0605 | μmol/L | 25.3451 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.313 | 128339.7762 | 274801.2207 | 32.55 | 27.7
37109 | 2021-02-23 20:16 | 58.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9539 | μmol/L | 25.3512 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.317 | 128361.7236 | 274806.3667 | 32.55 | 27.7
37119 | 2021-02-23 20:17 | 59.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7959 | μmol/L | 25.3512 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.325 | 128416.3079 | 274790.3128 | 32.55 | 27.7
37129 | 2021-02-23 20:17 | 59.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7214 | μmol/L | 25.3328 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.335 | 128461.3469 | 274787.2658 | 32.55 | 27.7
37138 | 2021-02-23 20:17 | 59.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8552 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.34 | 128486.0165 | 274772.3655 | 32.55 | 27.7
37149 | 2021-02-23 20:18 | 60.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8737 | μmol/L | 25.3022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.337 | 128485.0886 | 274781.7033 | 32.55 | 27.7
37159 | 2021-02-23 20:18 | 60.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6852 | μmol/L | 25.3022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.347 | 128514.941 | 274779.8415 | 32.55 | 27.7
37169 | 2021-02-23 20:18 | 60.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.629 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.352 | 128519.8659 | 274761.4924 | 32.55 | 27.7
37179 | 2021-02-23 20:19 | 61.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5349 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.357 | 128549.1542 | 274758.2279 | 32.55 | 27.7
37189 | 2021-02-23 20:19 | 61.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8959 | μmol/L | 25.2348 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.358 | 128562.5153 | 274764.1015 | 32.55 | 27.7
37199 | 2021-02-23 20:19 | 61.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0097 | μmol/L | 25.2225 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.356 | 128562.9415 | 274756.9509 | 32.55 | 27.7
37208 | 2021-02-23 20:20 | 62.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7254 | μmol/L | 25.2532 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.361 | 128571.2408 | 274729.9018 | 32.55 | 27.7
37218 | 2021-02-23 20:20 | 62.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.726 | μmol/L | 25.2409 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.365 | 128580.5763 | 274753.3415 | 32.55 | 27.7
37229 | 2021-02-23 20:20 | 62.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0487 | μmol/L | 25.198 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.362 | 128541.9822 | 274747.4514 | 32.55 | 27.7
37238 | 2021-02-23 20:21 | 63.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8199 | μmol/L | 25.247 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.358 | 128507.3727 | 274753.4121 | 32.55 | 27.7
37248 | 2021-02-23 20:21 | 63.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0669 | μmol/L | 25.2103 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.357 | 128509.6177 | 274748.4204 | 32.55 | 27.7
37259 | 2021-02-23 20:21 | 63.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9723 | μmol/L | 25.2164 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.36 | 128553.7753 | 274750.7576 | 32.55 | 27.7
37268 | 2021-02-23 20:22 | 64.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0688 | μmol/L | 25.1735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.369 | 128595.0752 | 274740.6282 | 32.55 | 27.7
37279 | 2021-02-23 20:22 | 64.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7464 | μmol/L | 25.2103 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.374 | 128612.8851 | 274749.4122 | 32.55 | 27.7
37289 | 2021-02-23 20:22 | 64.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.765 | μmol/L | 25.2164 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.371 | 128593.563 | 274724.1363 | 32.55 | 27.7
37299 | 2021-02-23 20:23 | 65.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3422 | μmol/L | 25.1306 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.369 | 128569.1697 | 274729.6639 | 32.55 | 27.7
37309 | 2021-02-23 20:23 | 65.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1522 | μmol/L | 25.1551 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.371 | 128565.1333 | 274718.5946 | 32.55 | 27.7
37319 | 2021-02-23 20:23 | 65.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3041 | μmol/L | 25.1367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.369 | 128543.989 | 274724.458 | 32.55 | 27.7
37328 | 2021-02-23 20:24 | 66.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3541 | μmol/L | 25.1306 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.368 | 128534.4421 | 274707.3744 | 32.55 | 27.7
37339 | 2021-02-23 20:24 | 66.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5135 | μmol/L | 25.1061 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.368 | 128506.5777 | 274703.3827 | 32.55 | 27.7
37349 | 2021-02-23 20:24 | 66.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0499 | μmol/L | 25.1735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.37 | 128548.9664 | 274704.7784 | 32.55 | 27.7
37359 | 2021-02-23 20:25 | 67.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.792 | μmol/L | 25.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.378 | 128576.0508 | 274705.9628 | 32.55 | 27.7
37369 | 2021-02-23 20:25 | 67.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7167 | μmol/L | 25.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.382 | 128605.1954 | 274702.5454 | 32.55 | 27.7
37378 | 2021-02-23 20:25 | 67.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6414 | μmol/L | 25.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.386 | 128632.9616 | 274695.0962 | 32.55 | 27.7
37388 | 2021-02-23 20:26 | 68.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6606 | μmol/L | 25.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 128636.1646 | 274692.303 | 32.55 | 27.7
37399 | 2021-02-23 20:26 | 68.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6038 | μmol/L | 25.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.388 | 128624.025 | 274685.4248 | 32.55 | 27.7
37409 | 2021-02-23 20:26 | 68.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6986 | μmol/L | 25.1796 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 128643.3178 | 274680.4826 | 32.55 | 27.7
37419 | 2021-02-23 20:27 | 69.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6603 | μmol/L | 25.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 128611.5131 | 274691.0595 | 32.55 | 27.7
37429 | 2021-02-23 20:27 | 69.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5467 | μmol/L | 25.2041 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 128619.6054 | 274675.9275 | 32.55 | 27.7
37438 | 2021-02-23 20:27 | 69.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3768 | μmol/L | 25.2164 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.392 | 128668.9931 | 274676.514 | 32.55 | 27.7
37448 | 2021-02-23 20:28 | 70.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2822 | μmol/L | 25.2286 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.393 | 128704.5271 | 274678.8912 | 32.55 | 27.7
37458 | 2021-02-23 20:28 | 70.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0562 | μmol/L | 25.2409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.401 | 128726.54 | 274662.9087 | 32.55 | 27.7
37469 | 2021-02-23 20:28 | 70.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.9243 | μmol/L | 25.2532 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.404 | 128742.4924 | 274648.2333 | 32.55 | 27.7
37478 | 2021-02-23 20:29 | 71.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.9423 | μmol/L | 25.2654 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.399 | 128735.951 | 274651.812 | 32.55 | 27.7
37488 | 2021-02-23 20:29 | 71.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7722 | μmol/L | 25.2899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.4 | 128723.966 | 274636.645 | 32.55 | 27.7
37499 | 2021-02-23 20:29 | 71.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7528 | μmol/L | 25.3022 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.397 | 128719.1138 | 274637.4908 | 32.55 | 27.7
37508 | 2021-02-23 20:30 | 72.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6581 | μmol/L | 25.3206 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.396 | 128709.5272 | 274633.599 | 32.55 | 27.7
37519 | 2021-02-23 20:30 | 72.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5256 | μmol/L | 25.3451 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 128687.5135 | 274633.7654 | 32.55 | 27.7
37529 | 2021-02-23 20:30 | 72.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5058 | μmol/L | 25.3634 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.39 | 128657.9934 | 274618.1142 | 32.55 | 27.7
37538 | 2021-02-23 20:31 | 73.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.561 | μmol/L | 25.3818 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.381 | 128624.587 | 274629.9261 | 32.55 | 27.7
37549 | 2021-02-23 20:31 | 73.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4479 | μmol/L | 25.3941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.383 | 128627.5592 | 274622.1689 | 32.55 | 27.7
37559 | 2021-02-23 20:31 | 73.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3724 | μmol/L | 25.4063 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.383 | 128640.3754 | 274625.5665 | 32.55 | 27.7
37569 | 2021-02-23 20:32 | 74.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3156 | μmol/L | 25.4186 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.382 | 128632.7092 | 274610.8902 | 32.55 | 27.7
37578 | 2021-02-23 20:32 | 74.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1459 | μmol/L | 25.4431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.383 | 128626.078 | 274602.7122 | 32.55 | 27.7
37588 | 2021-02-23 20:32 | 74.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2387 | μmol/L | 25.4554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.374 | 128595.7254 | 274609.6561 | 32.55 | 27.7
37599 | 2021-02-23 20:33 | 75.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1452 | μmol/L | 25.4554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.379 | 128655.5018 | 274612.7198 | 32.55 | 27.7
37608 | 2021-02-23 20:33 | 75.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.845 | μmol/L | 25.4799 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 128690.9009 | 274617.6552 | 32.55 | 27.7
37619 | 2021-02-23 20:33 | 75.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7319 | μmol/L | 25.4983 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 128710.3113 | 274610.6704 | 32.55 | 27.7
37628 | 2021-02-23 20:34 | 76.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7876 | μmol/L | 25.5044 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.382 | 128693.0606 | 274618.4028 | 32.55 | 27.7
37638 | 2021-02-23 20:34 | 76.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7865 | μmol/L | 25.5228 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.376 | 128639.496 | 274606.4553 | 32.55 | 27.7
37648 | 2021-02-23 20:34 | 76.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9909 | μmol/L | 25.5411 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.359 | 128546.4444 | 274604.6268 | 32.55 | 27.7
37659 | 2021-02-23 20:35 | 77.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2524 | μmol/L | 25.5473 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.343 | 128450.5136 | 274604.3287 | 32.55 | 27.7
37669 | 2021-02-23 20:35 | 77.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1775 | μmol/L | 25.5473 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.347 | 128444.4982 | 274611.6101 | 32.55 | 27.7
37678 | 2021-02-23 20:35 | 77.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0459 | μmol/L | 25.5595 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.35 | 128476.385 | 274612.6102 | 32.55 | 27.7
37689 | 2021-02-23 20:36 | 78.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9331 | μmol/L | 25.5718 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.352 | 128505.8049 | 274599.6937 | 32.55 | 27.7
37698 | 2021-02-23 20:36 | 78.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9138 | μmol/L | 25.584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.349 | 128496.6021 | 274592.0539 | 32.55 | 27.7
37709 | 2021-02-23 20:36 | 78.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8947 | μmol/L | 25.5902 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.348 | 128494.2052 | 274587.2183 | 32.55 | 27.7
37719 | 2021-02-23 20:37 | 79.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.745 | μmol/L | 25.5963 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.354 | 128515.8247 | 274582.4257 | 32.55 | 27.7
37729 | 2021-02-23 20:37 | 79.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.669 | μmol/L | 25.6208 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.35 | 128502.0619 | 274579.9277 | 32.55 | 27.7
37738 | 2021-02-23 20:37 | 79.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5947 | μmol/L | 25.6147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.356 | 128554.2484 | 274571.1842 | 32.55 | 27.7
37748 | 2021-02-23 20:38 | 80.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4079 | μmol/L | 25.6208 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.364 | 128595.94 | 274584.2541 | 32.55 | 27.7
37758 | 2021-02-23 20:38 | 80.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3516 | μmol/L | 25.6269 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.365 | 128624.8775 | 274574.1314 | 32.55 | 27.7
37769 | 2021-02-23 20:38 | 80.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2019 | μmol/L | 25.6392 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.369 | 128657.9809 | 274574.5183 | 32.55 | 27.7
37779 | 2021-02-23 20:39 | 81.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2205 | μmol/L | 25.6392 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.368 | 128659.3023 | 274566.8393 | 32.55 | 27.7
37789 | 2021-02-23 20:39 | 81.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2205 | μmol/L | 25.6392 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.368 | 128666.9221 | 274568.1931 | 32.55 | 27.7
37798 | 2021-02-23 20:39 | 81.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.1268 | μmol/L | 25.6514 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.369 | 128677.372 | 274556.6374 | 32.55 | 27.7
37808 | 2021-02-23 20:40 | 82.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9965 | μmol/L | 25.6514 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.376 | 128709.0898 | 274565.1606 | 32.55 | 27.7
37818 | 2021-02-23 20:40 | 82.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8839 | μmol/L | 25.6698 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.376 | 128734.8712 | 274552.7846 | 32.55 | 27.7
37828 | 2021-02-23 20:40 | 82.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.716 | μmol/L | 25.6821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.381 | 128762.7968 | 274562.9956 | 32.55 | 27.7
37838 | 2021-02-23 20:41 | 83.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6792 | μmol/L | 25.676 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 128784.9165 | 274569.5622 | 32.55 | 27.7
37848 | 2021-02-23 20:41 | 83.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.7728 | μmol/L | 25.6637 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.384 | 128775.0616 | 274550.4716 | 32.55 | 27.7
37858 | 2021-02-23 20:41 | 83.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.791 | μmol/L | 25.6698 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.381 | 128754.5615 | 274550.5442 | 32.55 | 27.7
37868 | 2021-02-23 20:42 | 84.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6785 | μmol/L | 25.6882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.381 | 128775.7581 | 274545.0495 | 32.55 | 27.7
37878 | 2021-02-23 20:42 | 84.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6792 | μmol/L | 25.676 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 128778.2108 | 274543.5565 | 32.55 | 27.7
37889 | 2021-02-23 20:42 | 84.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6224 | μmol/L | 25.6943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.382 | 128774.6216 | 274560.0074 | 32.55 | 27.7
37898 | 2021-02-23 20:43 | 85.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.4732 | μmol/L | 25.7066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.386 | 128785.1118 | 274549.5027 | 32.55 | 27.7
37909 | 2021-02-23 20:43 | 85.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.5293 | μmol/L | 25.7005 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 128819.7888 | 274551.6023 | 32.55 | 27.7
37919 | 2021-02-23 20:43 | 85.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3813 | μmol/L | 25.6943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 128865.8743 | 274529.0592 | 32.55 | 27.7
37929 | 2021-02-23 20:44 | 86.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3447 | μmol/L | 25.6882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.399 | 128907.1128 | 274529.3212 | 32.55 | 27.7
37939 | 2021-02-23 20:44 | 86.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.1213 | μmol/L | 25.7066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.405 | 128943.9215 | 274546.4902 | 32.55 | 27.7
37949 | 2021-02-23 20:44 | 86.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.1032 | μmol/L | 25.7005 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.408 | 128958.2931 | 274531.6455 | 32.55 | 27.7
37959 | 2021-02-23 20:45 | 87.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.0292 | μmol/L | 25.7005 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.412 | 128980.6683 | 274516.9649 | 32.55 | 27.7
37968 | 2021-02-23 20:45 | 87.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.8432 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.416 | 129009.8344 | 274523.9214 | 32.55 | 27.7
37978 | 2021-02-23 20:45 | 87.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.7135 | μmol/L | 25.725 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.421 | 129037.015 | 274524.2402 | 32.55 | 27.7
37989 | 2021-02-23 20:46 | 88.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.7508 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.421 | 129064.5552 | 274538.5596 | 32.55 | 27.7
37999 | 2021-02-23 20:46 | 88.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.7332 | μmol/L | 25.7066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.426 | 129087.5059 | 274541.134 | 32.55 | 27.7
38009 | 2021-02-23 20:46 | 88.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5663 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 129111.8286 | 274511.56 | 32.55 | 27.7
38019 | 2021-02-23 20:47 | 89.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5663 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 129130.3374 | 274522.5146 | 32.55 | 27.7
38029 | 2021-02-23 20:47 | 89.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4364 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.434 | 129150.4596 | 274517.4964 | 32.55 | 27.7
38039 | 2021-02-23 20:47 | 89.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3627 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.438 | 129174.4537 | 274522.5509 | 32.55 | 27.7
38049 | 2021-02-23 20:48 | 90.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3811 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.437 | 129165.0049 | 274506.4433 | 32.55 | 27.7
38059 | 2021-02-23 20:48 | 90.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3442 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.439 | 129173.9083 | 274502.5851 | 32.55 | 27.7
38068 | 2021-02-23 20:48 | 90.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3627 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.438 | 129174.3407 | 274493.3984 | 32.55 | 27.7
38079 | 2021-02-23 20:49 | 91.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3434 | μmol/L | 25.7434 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.435 | 129161.3801 | 274514.4685 | 32.55 | 27.7
38088 | 2021-02-23 20:49 | 91.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5663 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 129128.6158 | 274494.8076 | 32.55 | 27.7
38098 | 2021-02-23 20:49 | 91.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5478 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 129130.9491 | 274486.0063 | 32.55 | 27.7
38109 | 2021-02-23 20:50 | 92.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4741 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.436 | 129137.5677 | 274490.3049 | 32.55 | 27.7
38118 | 2021-02-23 20:50 | 92.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3999 | μmol/L | 25.725 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.438 | 129140.9013 | 274492.0475 | 32.55 | 27.7
38129 | 2021-02-23 20:50 | 92.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3811 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.437 | 129141.9683 | 274486.4635 | 32.55 | 27.7
38138 | 2021-02-23 20:51 | 93.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4737 | μmol/L | 25.725 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.434 | 129114.9972 | 274489.8553 | 32.55 | 27.7
38149 | 2021-02-23 20:51 | 93.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4732 | μmol/L | 25.7311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 129108.1803 | 274494.8597 | 32.55 | 27.7
38158 | 2021-02-23 20:51 | 93.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.6032 | μmol/L | 25.7189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.429 | 129114.8276 | 274491.4563 | 32.55 | 27.7
38169 | 2021-02-23 20:52 | 94.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.622 | μmol/L | 25.7127 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.43 | 129096.4296 | 274498.1599 | 32.55 | 27.7
38179 | 2021-02-23 20:52 | 94.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.6963 | μmol/L | 25.7066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.428 | 129075.7178 | 274476.1448 | 32.55 | 27.7
38189 | 2021-02-23 20:52 | 94.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.771 | μmol/L | 25.6943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.428 | 129058.6267 | 274480.6436 | 32.55 | 27.7
38199 | 2021-02-23 20:53 | 95.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.8452 | μmol/L | 25.6882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.426 | 129066.3569 | 274464.7275 | 32.55 | 27.7
38208 | 2021-02-23 20:53 | 95.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.604 | μmol/L | 25.7066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.433 | 129089.7595 | 274462.85 | 32.55 | 27.7
38216 | 2021-02-23 20:53 | 95.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4544 | μmol/L | 25.7372 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 129119.2224 | 274477.264 | 32.55 | 27.7