## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29719 | 2021-02-23 12:09 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.86 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.725 | 203839.2358 | 279755.0742 | 62.0402 | 75.7
29726 | 2021-02-23 12:09 | 0.32939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0121 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.718 | 203803.153 | 279753.1243 | 62.0402 | 75.7
29736 | 2021-02-23 12:09 | 0.66308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0121 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.718 | 203784.8622 | 279736.7799 | 62.0402 | 75.7
29746 | 2021-02-23 12:10 | 0.99604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.9862 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.717 | 203774.9293 | 279716.7179 | 62.0402 | 75.7
29756 | 2021-02-23 12:10 | 1.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0079 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.716 | 203758.6454 | 279707.6867 | 62.0402 | 75.7
29766 | 2021-02-23 12:10 | 1.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0514 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.714 | 203737.2747 | 279693.4996 | 62.0402 | 75.7
29776 | 2021-02-23 12:11 | 1.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1166 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 203722.456 | 279676.452 | 62.0402 | 75.7
29786 | 2021-02-23 12:11 | 2.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1685 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.713 | 203699.9159 | 279672.3282 | 62.0402 | 75.7
29796 | 2021-02-23 12:11 | 2.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.2555 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.709 | 203695.1613 | 279661.3981 | 62.0402 | 75.7
29806 | 2021-02-23 12:12 | 2.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.2597 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 203698.3508 | 279654.558 | 62.0402 | 75.7
29816 | 2021-02-23 12:12 | 3.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.2555 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.709 | 203698.8026 | 279647.8631 | 62.0402 | 75.7
29826 | 2021-02-23 12:12 | 3.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.212 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 203705.5232 | 279636.7402 | 62.0402 | 75.7
29836 | 2021-02-23 12:13 | 3.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.125 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.715 | 203723.1326 | 279635.5079 | 62.0402 | 75.7
29846 | 2021-02-23 12:13 | 4.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1944 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.714 | 203737.4956 | 279625.5899 | 62.0402 | 75.7
29856 | 2021-02-23 12:13 | 4.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1727 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.715 | 203738.0137 | 279612.2173 | 62.0402 | 75.7
29866 | 2021-02-23 12:14 | 4.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1769 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.717 | 203743.0415 | 279615.0911 | 62.0402 | 75.7
29876 | 2021-02-23 12:14 | 5.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0857 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.719 | 203754.0788 | 279609.108 | 62.0402 | 75.7
29886 | 2021-02-23 12:14 | 5.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.1292 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.717 | 203766.0819 | 279585.131 | 62.0402 | 75.7
29896 | 2021-02-23 12:15 | 5.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 254.0857 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.719 | 203786.2163 | 279607.1538 | 62.0402 | 75.7
29906 | 2021-02-23 12:15 | 6.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8992 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.721 | 203797.9378 | 279590.161 | 62.0402 | 75.7
29916 | 2021-02-23 12:15 | 6.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8082 | μmol/L | 15.4589 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.723 | 203816.9521 | 279586.7966 | 62.0402 | 75.7
29926 | 2021-02-23 12:16 | 6.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8775 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.722 | 203829.5166 | 279579.93 | 62.0402 | 75.7
29936 | 2021-02-23 12:16 | 7.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8341 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.724 | 203834.0758 | 279587.7583 | 62.0402 | 75.7
29946 | 2021-02-23 12:16 | 7.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7906 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.726 | 203838.119 | 279575.1625 | 62.0402 | 75.7
29956 | 2021-02-23 12:17 | 7.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7647 | μmol/L | 15.4589 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.725 | 203837.36 | 279571.5535 | 62.0402 | 75.7
29966 | 2021-02-23 12:17 | 8.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6954 | μmol/L | 15.465 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.726 | 203840.5164 | 279568.9287 | 62.0402 | 75.7
29976 | 2021-02-23 12:17 | 8.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7472 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.728 | 203851.0955 | 279561.1059 | 62.0402 | 75.7
29986 | 2021-02-23 12:18 | 8.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7689 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.727 | 203880.0707 | 279577.964 | 62.0402 | 75.7
29996 | 2021-02-23 12:18 | 9.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7297 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.731 | 203889.7473 | 279566.9633 | 62.0402 | 75.7
30006 | 2021-02-23 12:18 | 9.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6646 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203901.1228 | 279565.3427 | 62.0402 | 75.7
30016 | 2021-02-23 12:19 | 9.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7815 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 203913.8843 | 279564.838 | 62.0402 | 75.7
30026 | 2021-02-23 12:19 | 10.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7598 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203925.1934 | 279564.0986 | 62.0402 | 75.7
30036 | 2021-02-23 12:19 | 10.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7122 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203927.0255 | 279547.5319 | 62.0402 | 75.7
30046 | 2021-02-23 12:20 | 10.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7815 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 203923.9338 | 279561.4863 | 62.0402 | 75.7
30056 | 2021-02-23 12:20 | 11.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6947 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.737 | 203937.842 | 279544.0313 | 62.0402 | 75.7
30066 | 2021-02-23 12:20 | 11.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6688 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.736 | 203927.8299 | 279556.0441 | 62.0402 | 75.7
30076 | 2021-02-23 12:21 | 11.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8074 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203919.1037 | 279552.7808 | 62.0402 | 75.7
30086 | 2021-02-23 12:21 | 12.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8074 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203932.6942 | 279554.6826 | 62.0402 | 75.7
30096 | 2021-02-23 12:21 | 12.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8333 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203925.8296 | 279557.2285 | 62.0402 | 75.7
30106 | 2021-02-23 12:22 | 12.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8291 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 203920.0562 | 279553.0994 | 62.0402 | 75.7
30116 | 2021-02-23 12:22 | 13.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.855 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203919.2848 | 279548.4518 | 62.0402 | 75.7
30126 | 2021-02-23 12:22 | 13.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8291 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 203922.5388 | 279548.3312 | 62.0402 | 75.7
30136 | 2021-02-23 12:23 | 13.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8768 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 203923.5843 | 279545.3285 | 62.0402 | 75.7
30146 | 2021-02-23 12:23 | 14.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7857 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203942.9854 | 279548.6885 | 62.0402 | 75.7
30156 | 2021-02-23 12:23 | 14.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.8074 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 203945.5502 | 279546.0978 | 62.0402 | 75.7
30166 | 2021-02-23 12:24 | 14.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7857 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203944.4077 | 279551.2854 | 62.0402 | 75.7
30176 | 2021-02-23 12:24 | 15.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.7381 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203942.0988 | 279545.0421 | 62.0402 | 75.7
30186 | 2021-02-23 12:24 | 15.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6471 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.737 | 203956.1008 | 279556.3609 | 62.0402 | 75.7
30196 | 2021-02-23 12:25 | 15.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6429 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203954.4853 | 279548.7115 | 62.0402 | 75.7
30206 | 2021-02-23 12:25 | 16.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5085 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.739 | 203958.5448 | 279547.3663 | 62.0402 | 75.7
30216 | 2021-02-23 12:25 | 16.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5519 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.737 | 203959.409 | 279552.2128 | 62.0402 | 75.7
30226 | 2021-02-23 12:26 | 16.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5302 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 203960.5252 | 279544.9771 | 62.0402 | 75.7
30236 | 2021-02-23 12:26 | 17.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5953 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203971.4993 | 279531.6772 | 62.0402 | 75.7
30246 | 2021-02-23 12:26 | 17.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.6429 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 203972.3216 | 279536.6134 | 62.0402 | 75.7
30256 | 2021-02-23 12:27 | 17.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5344 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.74 | 203978.7452 | 279546.2228 | 62.0402 | 75.7
30266 | 2021-02-23 12:27 | 18.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5519 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.737 | 203991.0807 | 279535.88 | 62.0402 | 75.7
30276 | 2021-02-23 12:27 | 18.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.4868 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.74 | 203995.6729 | 279532.2691 | 62.0402 | 75.7
30286 | 2021-02-23 12:28 | 18.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5778 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 203999.6377 | 279544.3732 | 62.0402 | 75.7
30296 | 2021-02-23 12:28 | 19.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5561 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.739 | 204005.5464 | 279548.8718 | 62.0402 | 75.7
30306 | 2021-02-23 12:28 | 19.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5302 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 204014.4654 | 279547.1184 | 62.0402 | 75.7
30316 | 2021-02-23 12:29 | 19.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.5344 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.74 | 204022.5881 | 279544.6594 | 62.0402 | 75.7
30326 | 2021-02-23 12:29 | 20.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.4477 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.744 | 204025.1501 | 279547.7788 | 62.0402 | 75.7
30336 | 2021-02-23 12:29 | 20.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.491 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.742 | 204024.3244 | 279529.8075 | 62.0402 | 75.7
30346 | 2021-02-23 12:30 | 20.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.4694 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.743 | 204043.1598 | 279553.876 | 62.0402 | 75.7
30356 | 2021-02-23 12:30 | 21.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.361 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.748 | 204064.7207 | 279538.9084 | 62.0402 | 75.7
30366 | 2021-02-23 12:30 | 21.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.361 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.748 | 204089.8787 | 279547.8273 | 62.0402 | 75.7
30376 | 2021-02-23 12:31 | 21.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.4519 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.746 | 204077.6129 | 279545.304 | 62.0402 | 75.7
30386 | 2021-02-23 12:31 | 22.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.296 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.751 | 204105.1397 | 279535.3828 | 62.0402 | 75.7
30396 | 2021-02-23 12:31 | 22.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.296 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.751 | 204112.3471 | 279539.111 | 62.0402 | 75.7
30406 | 2021-02-23 12:32 | 22.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2918 | μmol/L | 15.4527 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.749 | 204123.153 | 279534.3758 | 62.0402 | 75.7
30416 | 2021-02-23 12:32 | 23.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2743 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.752 | 204118.647 | 279529.4862 | 62.0402 | 75.7
30426 | 2021-02-23 12:32 | 23.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.296 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.751 | 204130.6962 | 279529.7845 | 62.0402 | 75.7
30436 | 2021-02-23 12:33 | 23.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.3869 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.749 | 204126.8704 | 279535.389 | 62.0402 | 75.7
30446 | 2021-02-23 12:33 | 24.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.231 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.754 | 204125.5369 | 279531.6089 | 62.0402 | 75.7
30456 | 2021-02-23 12:33 | 24.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.296 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.751 | 204130.088 | 279540.1291 | 62.0402 | 75.7
30466 | 2021-02-23 12:34 | 24.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.3177 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.75 | 204132.7659 | 279542.0404 | 62.0402 | 75.7
30476 | 2021-02-23 12:34 | 25.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.3393 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.749 | 204130.429 | 279542.8637 | 62.0402 | 75.7
30486 | 2021-02-23 12:34 | 25.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2527 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.753 | 204138.0079 | 279542.5174 | 62.0402 | 75.7
30496 | 2021-02-23 12:35 | 25.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.3219 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.752 | 204143.3594 | 279548.9189 | 62.0402 | 75.7
30506 | 2021-02-23 12:35 | 26.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2527 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.753 | 204152.4664 | 279545.2547 | 62.0402 | 75.7
30516 | 2021-02-23 12:35 | 26.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2094 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 204173.4361 | 279543.5474 | 62.0402 | 75.7
30526 | 2021-02-23 12:36 | 26.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.2827 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.756 | 204193.3685 | 279546.4043 | 62.0402 | 75.7
30536 | 2021-02-23 12:36 | 27.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1486 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.76 | 204206.0752 | 279546.0328 | 62.0402 | 75.7
30546 | 2021-02-23 12:36 | 27.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1011 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.76 | 204227.2464 | 279548.9133 | 62.0402 | 75.7
30556 | 2021-02-23 12:37 | 27.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.0578 | μmol/L | 15.4466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 204243.4547 | 279550.3977 | 62.0402 | 75.7
30566 | 2021-02-23 12:37 | 28.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1919 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.758 | 204240.2366 | 279529.8653 | 62.0402 | 75.7
30576 | 2021-02-23 12:37 | 28.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1053 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 204243.2844 | 279535.6195 | 62.0402 | 75.7
30586 | 2021-02-23 12:38 | 28.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1053 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 204244.3515 | 279536.226 | 62.0402 | 75.7
30596 | 2021-02-23 12:38 | 29.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.127 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 204245.2231 | 279539.1286 | 62.0402 | 75.7
30606 | 2021-02-23 12:38 | 29.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.0837 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.763 | 204253.7333 | 279535.676 | 62.0402 | 75.7
30616 | 2021-02-23 12:39 | 29.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.1096 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.764 | 204268.8451 | 279538.3304 | 62.0402 | 75.7
30626 | 2021-02-23 12:39 | 30.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.9972 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 204273.117 | 279536.7743 | 62.0402 | 75.7
30636 | 2021-02-23 12:39 | 30.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.9972 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 204298.3967 | 279540.1927 | 62.0402 | 75.7
30646 | 2021-02-23 12:40 | 30.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.9539 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.769 | 204313.939 | 279530.6017 | 62.0402 | 75.7
30656 | 2021-02-23 12:40 | 31.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.0705 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.768 | 204334.6857 | 279537.3856 | 62.0402 | 75.7
30666 | 2021-02-23 12:40 | 31.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.9797 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.77 | 204339.0822 | 279519.8516 | 62.0402 | 75.7
30676 | 2021-02-23 12:41 | 31.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.889 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.772 | 204339.0746 | 279535.9508 | 62.0402 | 75.7
30686 | 2021-02-23 12:41 | 32.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 253.0056 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.771 | 204342.096 | 279530.1175 | 62.0402 | 75.7
30696 | 2021-02-23 12:41 | 32.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8458 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.774 | 204345.5321 | 279535.8315 | 62.0402 | 75.7
30706 | 2021-02-23 12:42 | 32.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8026 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.776 | 204354.8069 | 279522.9657 | 62.0402 | 75.7
30716 | 2021-02-23 12:42 | 33.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.85 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.776 | 204358.993 | 279539.2727 | 62.0402 | 75.7
30726 | 2021-02-23 12:42 | 33.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.85 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.776 | 204366.4921 | 279520.3666 | 62.0402 | 75.7
30736 | 2021-02-23 12:43 | 33.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7852 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.779 | 204356.4805 | 279523.5327 | 62.0402 | 75.7
30746 | 2021-02-23 12:43 | 34.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8542 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.778 | 204362.6574 | 279523.513 | 62.0402 | 75.7
30756 | 2021-02-23 12:43 | 34.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8068 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.778 | 204358.6832 | 279520.8518 | 62.0402 | 75.7
30766 | 2021-02-23 12:44 | 34.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7636 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.78 | 204366.0585 | 279494.4511 | 62.0402 | 75.7
30776 | 2021-02-23 12:44 | 35.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.811 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.78 | 204368.9024 | 279495.7957 | 62.0402 | 75.7
30786 | 2021-02-23 12:44 | 35.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7894 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.781 | 204379.2638 | 279489.4948 | 62.0402 | 75.7
30796 | 2021-02-23 12:45 | 35.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8326 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.779 | 204386.599 | 279482.9897 | 62.0402 | 75.7
30806 | 2021-02-23 12:45 | 36.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.742 | μmol/L | 15.4343 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.781 | 204377.4529 | 279465.1938 | 62.0402 | 75.7
30816 | 2021-02-23 12:45 | 36.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.6946 | μmol/L | 15.4405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.781 | 204361.0133 | 279459.4783 | 62.0402 | 75.7
30826 | 2021-02-23 12:46 | 36.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.8326 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.779 | 204351.2785 | 279451.9145 | 62.0402 | 75.7
30836 | 2021-02-23 12:46 | 37.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7678 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.782 | 204341.8449 | 279450.99 | 62.0402 | 75.7
30846 | 2021-02-23 12:46 | 37.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7246 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.784 | 204349.4358 | 279433.7899 | 62.0402 | 75.7
30856 | 2021-02-23 12:47 | 37.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.7246 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.784 | 204367.0124 | 279436.8079 | 62.0402 | 75.7
30866 | 2021-02-23 12:47 | 38.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.6814 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.786 | 204396.5433 | 279419.1774 | 62.0402 | 75.7
30876 | 2021-02-23 12:47 | 38.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.5087 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 204436.9452 | 279422.9995 | 62.0402 | 75.7
30886 | 2021-02-23 12:48 | 38.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.5345 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 204467.8196 | 279407.5082 | 62.0402 | 75.7
30896 | 2021-02-23 12:48 | 39.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4224 | μmol/L | 15.4282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.798 | 204495.9183 | 279404.6431 | 62.0402 | 75.7
30906 | 2021-02-23 12:48 | 39.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4741 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.8 | 204510.8415 | 279410.6094 | 62.0402 | 75.7
30916 | 2021-02-23 12:49 | 39.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3878 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 204528.7203 | 279406.056 | 62.0402 | 75.7
30926 | 2021-02-23 12:49 | 40.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3705 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 204548.9572 | 279392.9383 | 62.0402 | 75.7
30936 | 2021-02-23 12:49 | 40.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2327 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.809 | 204558.4567 | 279385.5326 | 62.0402 | 75.7
30946 | 2021-02-23 12:50 | 40.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2542 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.808 | 204549.6751 | 279381.0904 | 62.0402 | 75.7
30956 | 2021-02-23 12:50 | 41.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3231 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 204541.9617 | 279379.5632 | 62.0402 | 75.7
30966 | 2021-02-23 12:50 | 41.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2973 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 204521.7587 | 279380.1753 | 62.0402 | 75.7
30976 | 2021-02-23 12:51 | 41.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2758 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 204517.5715 | 279381.4237 | 62.0402 | 75.7
30986 | 2021-02-23 12:51 | 42.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3878 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 204492.4535 | 279367.0477 | 62.0402 | 75.7
30996 | 2021-02-23 12:51 | 42.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3404 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 204467.5731 | 279361.1907 | 62.0402 | 75.7
31006 | 2021-02-23 12:52 | 42.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4051 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.801 | 204475.2444 | 279372.0728 | 62.0402 | 75.7
31016 | 2021-02-23 12:52 | 43.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4309 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.802 | 204472.0477 | 279358.7083 | 62.0402 | 75.7
31026 | 2021-02-23 12:52 | 43.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3835 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.802 | 204463.86 | 279355.463 | 62.0402 | 75.7
31036 | 2021-02-23 12:53 | 43.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4567 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.803 | 204462.2895 | 279357.6341 | 62.0402 | 75.7
31046 | 2021-02-23 12:53 | 44.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3189 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.805 | 204476.3706 | 279348.8963 | 62.0402 | 75.7
31056 | 2021-02-23 12:53 | 44.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3189 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.805 | 204477.2031 | 279345.8553 | 62.0402 | 75.7
31066 | 2021-02-23 12:54 | 44.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3447 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 204474.5998 | 279334.0555 | 62.0402 | 75.7
31076 | 2021-02-23 12:54 | 45.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4094 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.803 | 204470.156 | 279343.7033 | 62.0402 | 75.7
31086 | 2021-02-23 12:54 | 45.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3189 | μmol/L | 15.4221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.805 | 204448.6708 | 279325.6403 | 62.0402 | 75.7
31096 | 2021-02-23 12:55 | 45.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4094 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.803 | 204451.6041 | 279321.4584 | 62.0402 | 75.7
31106 | 2021-02-23 12:55 | 46.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3878 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 204453.5846 | 279320.6503 | 62.0402 | 75.7
31116 | 2021-02-23 12:55 | 46.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.4826 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 204463.314 | 279325.1394 | 62.0402 | 75.7
31126 | 2021-02-23 12:56 | 46.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3231 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 204453.1301 | 279325.7483 | 62.0402 | 75.7
31136 | 2021-02-23 12:56 | 47.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3447 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 204457.1256 | 279304.0699 | 62.0402 | 75.7
31146 | 2021-02-23 12:56 | 47.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3231 | μmol/L | 15.416 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 204471.464 | 279292.3657 | 62.0402 | 75.7
31156 | 2021-02-23 12:57 | 47.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3489 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.808 | 204470.388 | 279290.1322 | 62.0402 | 75.7
31166 | 2021-02-23 12:57 | 48.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2627 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 204478.1743 | 279280.8488 | 62.0402 | 75.7
31176 | 2021-02-23 12:57 | 48.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.3058 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.81 | 204486.9787 | 279292.8977 | 62.0402 | 75.7
31186 | 2021-02-23 12:58 | 48.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2412 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 204487.5163 | 279279.673 | 62.0402 | 75.7
31196 | 2021-02-23 12:58 | 49.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2885 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 204486.0828 | 279278.9079 | 62.0402 | 75.7
31206 | 2021-02-23 12:58 | 49.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2627 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 204487.236 | 279290.3019 | 62.0402 | 75.7
31216 | 2021-02-23 12:59 | 49.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2885 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 204499.5972 | 279277.1947 | 62.0402 | 75.7
31226 | 2021-02-23 12:59 | 50.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2454 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.815 | 204491.2006 | 279267.2897 | 62.0402 | 75.7
31236 | 2021-02-23 12:59 | 50.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2885 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 204491.7119 | 279274.9299 | 62.0402 | 75.7
31246 | 2021-02-23 13:00 | 50.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.155 | μmol/L | 15.4098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.817 | 204499.6837 | 279279.7987 | 62.0402 | 75.7
31256 | 2021-02-23 13:00 | 51.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.2497 | μmol/L | 15.3976 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.817 | 204514.7971 | 279275.9335 | 62.0402 | 75.7
31266 | 2021-02-23 13:00 | 51.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.1808 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.818 | 204526.0995 | 279282.3484 | 62.0402 | 75.7
31276 | 2021-02-23 13:01 | 51.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.1377 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.82 | 204529.5326 | 279280.8974 | 62.0402 | 75.7
31286 | 2021-02-23 13:01 | 52.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.1377 | μmol/L | 15.4037 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.82 | 204549.3118 | 279275.8158 | 62.0402 | 75.7
31296 | 2021-02-23 13:01 | 52.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.0989 | μmol/L | 15.3976 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.824 | 204562.7311 | 279267.7312 | 62.0402 | 75.7
31306 | 2021-02-23 13:02 | 52.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.1893 | μmol/L | 15.3915 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.822 | 204576.5357 | 279276.0428 | 62.0402 | 75.7
31316 | 2021-02-23 13:02 | 53.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.0774 | μmol/L | 15.3976 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.825 | 204580.1718 | 279272.7906 | 62.0402 | 75.7
31326 | 2021-02-23 13:02 | 53.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.0343 | μmol/L | 15.3976 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.827 | 204606.9077 | 279272.2223 | 62.0402 | 75.7
31336 | 2021-02-23 13:03 | 53.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.1247 | μmol/L | 15.3915 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.825 | 204622.2159 | 279284.6977 | 62.0402 | 75.7
31346 | 2021-02-23 13:03 | 54.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.9741 | μmol/L | 15.3915 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 204629.1623 | 279272.8925 | 62.0402 | 75.7
31356 | 2021-02-23 13:03 | 54.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 252.0386 | μmol/L | 15.3915 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.829 | 204651.6496 | 279273.0042 | 62.0402 | 75.7
31366 | 2021-02-23 13:04 | 54.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.9052 | μmol/L | 15.3976 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 204664.6635 | 279280.4537 | 62.0402 | 75.7
31376 | 2021-02-23 13:04 | 55.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.9783 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 204672.9768 | 279270.9876 | 62.0402 | 75.7
31386 | 2021-02-23 13:04 | 55.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8665 | μmol/L | 15.3915 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.837 | 204693.7723 | 279263.4924 | 62.0402 | 75.7
31396 | 2021-02-23 13:05 | 55.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.9353 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.836 | 204715.344 | 279271.1511 | 62.0402 | 75.7
31406 | 2021-02-23 13:05 | 56.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8708 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.839 | 204718.5805 | 279270.7893 | 62.0402 | 75.7
31416 | 2021-02-23 13:05 | 56.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8708 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.839 | 204737.1401 | 279264.5412 | 62.0402 | 75.7
31426 | 2021-02-23 13:06 | 56.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8708 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.839 | 204748.4494 | 279259.6218 | 62.0402 | 75.7
31436 | 2021-02-23 13:06 | 57.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8536 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.842 | 204761.0902 | 279267.328 | 62.0402 | 75.7
31446 | 2021-02-23 13:06 | 57.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8751 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.841 | 204768.1572 | 279251.3759 | 62.0402 | 75.7
31456 | 2021-02-23 13:07 | 57.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.8106 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.844 | 204790.2043 | 279257.0129 | 62.0402 | 75.7
31466 | 2021-02-23 13:07 | 58.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.7504 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.849 | 204797.5842 | 279248.8009 | 62.0402 | 75.7
31476 | 2021-02-23 13:07 | 58.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.6816 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.85 | 204807.9015 | 279251.9883 | 62.0402 | 75.7
31486 | 2021-02-23 13:08 | 58.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.7288 | μmol/L | 15.367 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.852 | 204827.7916 | 279227.8631 | 62.0402 | 75.7
31496 | 2021-02-23 13:08 | 59.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.6644 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.853 | 204850.2231 | 279227.1379 | 62.0402 | 75.7
31506 | 2021-02-23 13:08 | 59.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.5742 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.855 | 204865.7519 | 279228.9997 | 62.0402 | 75.7
31516 | 2021-02-23 13:09 | 59.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.527 | μmol/L | 15.3853 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.855 | 204895.3532 | 279225.8873 | 62.0402 | 75.7
31526 | 2021-02-23 13:09 | 60.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.5141 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.86 | 204905.5576 | 279235.2848 | 62.0402 | 75.7
31536 | 2021-02-23 13:09 | 60.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4669 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.86 | 204908.085 | 279217.0936 | 62.0402 | 75.7
31546 | 2021-02-23 13:10 | 60.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4454 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.861 | 204913.1095 | 279213.4636 | 62.0402 | 75.7
31556 | 2021-02-23 13:10 | 61.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4454 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.861 | 204930.4814 | 279217.4828 | 62.0402 | 75.7
31566 | 2021-02-23 13:10 | 61.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4025 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.863 | 204935.4193 | 279220.9775 | 62.0402 | 75.7
31576 | 2021-02-23 13:11 | 61.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4283 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.864 | 204935.0582 | 279211.9251 | 62.0402 | 75.7
31586 | 2021-02-23 13:11 | 62.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4283 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.864 | 204940.9516 | 279222.4524 | 62.0402 | 75.7
31596 | 2021-02-23 13:11 | 62.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4326 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.866 | 204955.4896 | 279227.9771 | 62.0402 | 75.7
31606 | 2021-02-23 13:12 | 62.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3854 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.866 | 204952.5707 | 279213.2459 | 62.0402 | 75.7
31616 | 2021-02-23 13:12 | 63.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4111 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.867 | 204969.8716 | 279220.029 | 62.0402 | 75.7
31626 | 2021-02-23 13:12 | 63.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4068 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.865 | 204975.6876 | 279222.8135 | 62.0402 | 75.7
31636 | 2021-02-23 13:13 | 63.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.321 | μmol/L | 15.3731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.869 | 204979.9216 | 279216.7141 | 62.0402 | 75.7
31646 | 2021-02-23 13:13 | 64.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.4111 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.867 | 204985.8961 | 279211.5653 | 62.0402 | 75.7
31656 | 2021-02-23 13:13 | 64.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3167 | μmol/L | 15.3792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.867 | 205003.8932 | 279223.3494 | 62.0402 | 75.7
31666 | 2021-02-23 13:14 | 64.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3897 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.868 | 205015.9599 | 279224.1478 | 62.0402 | 75.7
31676 | 2021-02-23 13:14 | 65.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3682 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.869 | 205031.411 | 279223.6832 | 62.0402 | 75.7
31686 | 2021-02-23 13:14 | 65.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3253 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.871 | 205046.9064 | 279222.2358 | 62.0402 | 75.7
31696 | 2021-02-23 13:15 | 65.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.3039 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.872 | 205061.6891 | 279216.5994 | 62.0402 | 75.7
31706 | 2021-02-23 13:15 | 66.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2181 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.876 | 205072.7487 | 279226.593 | 62.0402 | 75.7
31716 | 2021-02-23 13:15 | 66.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2868 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.875 | 205093.4372 | 279221.1684 | 62.0402 | 75.7
31726 | 2021-02-23 13:16 | 66.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2439 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.877 | 205094.1444 | 279229.3106 | 62.0402 | 75.7
31736 | 2021-02-23 13:16 | 67.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1967 | μmol/L | 15.367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.877 | 205112.5674 | 279218.7916 | 62.0402 | 75.7
31746 | 2021-02-23 13:16 | 67.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2054 | μmol/L | 15.3547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.881 | 205116.493 | 279216.356 | 62.0402 | 75.7
31756 | 2021-02-23 13:17 | 67.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1796 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.88 | 205132.0507 | 279223.2508 | 62.0402 | 75.7
31766 | 2021-02-23 13:17 | 68.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1367 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.882 | 205140.3446 | 279225.432 | 62.0402 | 75.7
31776 | 2021-02-23 13:17 | 68.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2225 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.878 | 205133.1455 | 279227.2769 | 62.0402 | 75.7
31786 | 2021-02-23 13:18 | 68.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1796 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.88 | 205152.46 | 279238.0326 | 62.0402 | 75.7
31796 | 2021-02-23 13:18 | 69.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1796 | μmol/L | 15.3608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.88 | 205157.8308 | 279231.92 | 62.0402 | 75.7
31806 | 2021-02-23 13:18 | 69.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2268 | μmol/L | 15.3547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.88 | 205155.4243 | 279224.019 | 62.0402 | 75.7
31816 | 2021-02-23 13:19 | 69.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.2525 | μmol/L | 15.3486 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.881 | 205163.8226 | 279223.25 | 62.0402 | 75.7
31826 | 2021-02-23 13:19 | 70.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1411 | μmol/L | 15.3547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.884 | 205194.8054 | 279241.2797 | 62.0402 | 75.7
31836 | 2021-02-23 13:19 | 70.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1196 | μmol/L | 15.3547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.885 | 205208.7394 | 279235.1245 | 62.0402 | 75.7
31846 | 2021-02-23 13:20 | 70.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 251.1712 | μmol/L | 15.3424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.887 | 205238.5049 | 279237.3562 | 62.0402 | 75.7