## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31859 | 2021-02-23 15:03 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.7501 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.437 | 204443.3348 | 279916.6692 | 62.0402 | 75.7
31867 | 2021-02-23 15:03 | 0.32876 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.7884 | μmol/L | 19.0265 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.433 | 204441.413 | 279926.8962 | 62.0402 | 75.7
31878 | 2021-02-23 15:03 | 0.66221 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.7904 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.435 | 204455.3849 | 279914.4848 | 62.0402 | 75.7
31888 | 2021-02-23 15:04 | 0.99518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.7501 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.437 | 204475.5244 | 279896.0997 | 62.0402 | 75.7
31897 | 2021-02-23 15:04 | 1.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.7099 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.439 | 204505.065 | 279897.8405 | 62.0402 | 75.7
31908 | 2021-02-23 15:04 | 1.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6495 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.442 | 204532.265 | 279880.9602 | 62.0402 | 75.7
31918 | 2021-02-23 15:05 | 1.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6716 | μmol/L | 19.0142 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.443 | 204542.3473 | 279873.3789 | 62.0402 | 75.7
31928 | 2021-02-23 15:05 | 2.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6495 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.442 | 204542.3482 | 279871.2807 | 62.0402 | 75.7
31938 | 2021-02-23 15:05 | 2.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6898 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 204557.168 | 279867.5251 | 62.0402 | 75.7
31948 | 2021-02-23 15:06 | 2.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6093 | μmol/L | 19.0204 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.444 | 204557.2185 | 279845.5113 | 62.0402 | 75.7
31958 | 2021-02-23 15:06 | 3.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6535 | μmol/L | 19.0081 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.446 | 204567.8112 | 279839.8923 | 62.0402 | 75.7
31968 | 2021-02-23 15:06 | 3.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6756 | μmol/L | 19.002 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.447 | 204577.9672 | 279818.345 | 62.0402 | 75.7
31978 | 2021-02-23 15:07 | 3.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.551 | μmol/L | 19.0142 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.449 | 204603.3694 | 279823.4494 | 62.0402 | 75.7
31988 | 2021-02-23 15:07 | 4.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.553 | μmol/L | 19.0081 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 204600.9616 | 279811.4134 | 62.0402 | 75.7
31997 | 2021-02-23 15:07 | 4.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.5952 | μmol/L | 19.002 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 204601.5169 | 279796.3366 | 62.0402 | 75.7
32008 | 2021-02-23 15:08 | 4.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6354 | μmol/L | 19.002 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.449 | 204624.1293 | 279794.331 | 62.0402 | 75.7
32018 | 2021-02-23 15:08 | 5.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6173 | μmol/L | 18.9958 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.452 | 204615.5638 | 279782.5717 | 62.0402 | 75.7
32028 | 2021-02-23 15:08 | 5.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.6596 | μmol/L | 18.9897 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.452 | 204629.1526 | 279760.9485 | 62.0402 | 75.7
32038 | 2021-02-23 15:09 | 5.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.5791 | μmol/L | 18.9897 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.456 | 204648.8794 | 279769.0181 | 62.0402 | 75.7
32047 | 2021-02-23 15:09 | 6.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.3762 | μmol/L | 18.9958 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.464 | 204709.6533 | 279757.3057 | 62.0402 | 75.7
32058 | 2021-02-23 15:09 | 6.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.3561 | μmol/L | 18.9958 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.465 | 204710.5459 | 279748.1469 | 62.0402 | 75.7
32068 | 2021-02-23 15:10 | 6.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.4606 | μmol/L | 18.9836 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.464 | 204683.6771 | 279758.0128 | 62.0402 | 75.7
32077 | 2021-02-23 15:10 | 7.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.5208 | μmol/L | 18.9836 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.461 | 204675.9447 | 279744.699 | 62.0402 | 75.7
32087 | 2021-02-23 15:10 | 7.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.5631 | μmol/L | 18.9774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.461 | 204704.9706 | 279743.9892 | 62.0402 | 75.7
32098 | 2021-02-23 15:11 | 7.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.4425 | μmol/L | 18.9774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.467 | 204740.5199 | 279736.1505 | 62.0402 | 75.7
32108 | 2021-02-23 15:11 | 8.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.3421 | μmol/L | 18.9774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 204773.6671 | 279725.1775 | 62.0402 | 75.7
32118 | 2021-02-23 15:11 | 8.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1574 | μmol/L | 18.9897 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.477 | 204803.5625 | 279737.349 | 62.0402 | 75.7
32128 | 2021-02-23 15:12 | 8.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1795 | μmol/L | 18.9836 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.478 | 204813.1428 | 279723.2251 | 62.0402 | 75.7
32137 | 2021-02-23 15:12 | 9.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.2417 | μmol/L | 18.9774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.477 | 204840.6618 | 279724.3438 | 62.0402 | 75.7
32148 | 2021-02-23 15:12 | 9.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.2839 | μmol/L | 18.9713 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.477 | 204836.0919 | 279709.6018 | 62.0402 | 75.7
32157 | 2021-02-23 15:13 | 9.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.3261 | μmol/L | 18.9652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.477 | 204857.8488 | 279718.5062 | 62.0402 | 75.7
32168 | 2021-02-23 15:13 | 10.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1815 | μmol/L | 18.9774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.48 | 204875.2013 | 279714.5898 | 62.0402 | 75.7
32178 | 2021-02-23 15:13 | 10.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1836 | μmol/L | 18.9713 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.482 | 204914.5095 | 279714.61 | 62.0402 | 75.7
32188 | 2021-02-23 15:14 | 10.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1254 | μmol/L | 18.9652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 204941.3558 | 279722.3421 | 62.0402 | 75.7
32197 | 2021-02-23 15:14 | 11.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1275 | μmol/L | 18.959 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 204952.582 | 279714.7889 | 62.0402 | 75.7
32208 | 2021-02-23 15:14 | 11.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1496 | μmol/L | 18.9529 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 204960.0051 | 279707.2248 | 62.0402 | 75.7
32217 | 2021-02-23 15:15 | 11.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1717 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 204957.3216 | 279699.8445 | 62.0402 | 75.7
32228 | 2021-02-23 15:15 | 12.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.252 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 204960.5516 | 279709.1084 | 62.0402 | 75.7
32238 | 2021-02-23 15:15 | 12.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.2139 | μmol/L | 18.9406 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 204983.2285 | 279717.852 | 62.0402 | 75.7
32247 | 2021-02-23 15:16 | 12.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1717 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 204976.1019 | 279715.2362 | 62.0402 | 75.7
32257 | 2021-02-23 15:16 | 13.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1717 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 204988.26 | 279703.7934 | 62.0402 | 75.7
32268 | 2021-02-23 15:16 | 13.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1738 | μmol/L | 18.9406 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205028.334 | 279715.4587 | 62.0402 | 75.7
32278 | 2021-02-23 15:17 | 13.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1378 | μmol/L | 18.9284 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.499 | 205045.8808 | 279699.4925 | 62.0402 | 75.7
32288 | 2021-02-23 15:17 | 14.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.2422 | μmol/L | 18.9161 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.498 | 205067.935 | 279705.1843 | 62.0402 | 75.7
32298 | 2021-02-23 15:17 | 14.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.3246 | μmol/L | 18.91 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.496 | 205071.3413 | 279713.9656 | 62.0402 | 75.7
32308 | 2021-02-23 15:18 | 14.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.2823 | μmol/L | 18.9161 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.496 | 205058.5353 | 279701.737 | 62.0402 | 75.7
32318 | 2021-02-23 15:18 | 15.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.1779 | μmol/L | 18.9284 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.497 | 205079.2323 | 279715.1237 | 62.0402 | 75.7
32328 | 2021-02-23 15:18 | 15.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.0535 | μmol/L | 18.9406 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.499 | 205082.4928 | 279713.9115 | 62.0402 | 75.7
32338 | 2021-02-23 15:19 | 15.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.0134 | μmol/L | 18.9406 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.501 | 205093.8785 | 279708.3093 | 62.0402 | 75.7
32348 | 2021-02-23 15:19 | 16.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 233.0134 | μmol/L | 18.9406 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.501 | 205113.1913 | 279712.6562 | 62.0402 | 75.7
32358 | 2021-02-23 15:19 | 16.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.9512 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.502 | 205135.7029 | 279715.3201 | 62.0402 | 75.7
32368 | 2021-02-23 15:20 | 16.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.9112 | μmol/L | 18.9468 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.504 | 205154.3157 | 279717.75 | 62.0402 | 75.7
32378 | 2021-02-23 15:20 | 17.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.7669 | μmol/L | 18.959 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.507 | 205179.6873 | 279701.4278 | 62.0402 | 75.7
32387 | 2021-02-23 15:20 | 17.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.7227 | μmol/L | 18.9713 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 205191.239 | 279711.8198 | 62.0402 | 75.7
32397 | 2021-02-23 15:21 | 17.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.6186 | μmol/L | 18.9836 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.506 | 205208.5767 | 279709.1147 | 62.0402 | 75.7
32407 | 2021-02-23 15:21 | 18.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.5365 | μmol/L | 18.9897 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205230.8343 | 279707.7109 | 62.0402 | 75.7
32418 | 2021-02-23 15:21 | 18.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.4525 | μmol/L | 19.002 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205250.429 | 279703.8291 | 62.0402 | 75.7
32428 | 2021-02-23 15:22 | 18.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.2845 | μmol/L | 19.0265 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205264.9496 | 279709.9214 | 62.0402 | 75.7
32437 | 2021-02-23 15:22 | 19.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.0767 | μmol/L | 19.051 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.51 | 205263.3603 | 279712.2288 | 62.0402 | 75.7
32448 | 2021-02-23 15:22 | 19.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 232.0148 | μmol/L | 19.0572 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.511 | 205280.7265 | 279714.0631 | 62.0402 | 75.7
32457 | 2021-02-23 15:23 | 19.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.9709 | μmol/L | 19.0694 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.509 | 205287.6943 | 279712.1141 | 62.0402 | 75.7
32468 | 2021-02-23 15:23 | 20.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.907 | μmol/L | 19.0817 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205299.6293 | 279719.8225 | 62.0402 | 75.7
32478 | 2021-02-23 15:23 | 20.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.7993 | μmol/L | 19.1062 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 205285.7456 | 279721.4101 | 62.0402 | 75.7
32488 | 2021-02-23 15:24 | 20.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.6937 | μmol/L | 19.1246 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.504 | 205293.1766 | 279723.4481 | 62.0402 | 75.7
32497 | 2021-02-23 15:24 | 21.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.6717 | μmol/L | 19.1308 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.503 | 205286.109 | 279719.244 | 62.0402 | 75.7
32508 | 2021-02-23 15:24 | 21.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.5045 | μmol/L | 19.1553 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.503 | 205280.2197 | 279718.8361 | 62.0402 | 75.7
32518 | 2021-02-23 15:25 | 21.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.4806 | μmol/L | 19.1676 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.5 | 205269.3591 | 279712.756 | 62.0402 | 75.7
32528 | 2021-02-23 15:25 | 22.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.417 | μmol/L | 19.1798 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.499 | 205275.2178 | 279717.673 | 62.0402 | 75.7
32538 | 2021-02-23 15:25 | 22.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.3732 | μmol/L | 19.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.497 | 205268.1405 | 279719.2088 | 62.0402 | 75.7
32548 | 2021-02-23 15:26 | 22.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.3912 | μmol/L | 19.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 205272.8795 | 279719.7103 | 62.0402 | 75.7
32558 | 2021-02-23 15:26 | 23.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.2917 | μmol/L | 19.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.499 | 205281.4651 | 279733.2314 | 62.0402 | 75.7
32567 | 2021-02-23 15:26 | 23.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.2878 | μmol/L | 19.2105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.495 | 205284.4534 | 279719.8434 | 62.0402 | 75.7
32578 | 2021-02-23 15:27 | 23.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.2023 | μmol/L | 19.2289 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205301.4123 | 279724.6668 | 62.0402 | 75.7
32588 | 2021-02-23 15:27 | 24.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.0991 | μmol/L | 19.2412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 205301.2106 | 279728.1617 | 62.0402 | 75.7
32597 | 2021-02-23 15:27 | 24.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 231.0355 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205300.2942 | 279727.9569 | 62.0402 | 75.7
32607 | 2021-02-23 15:28 | 24.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.9919 | μmol/L | 19.2657 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 205312.5164 | 279735.3669 | 62.0402 | 75.7
32618 | 2021-02-23 15:28 | 25.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.849 | μmol/L | 19.278 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 205315.1451 | 279738.2285 | 62.0402 | 75.7
32628 | 2021-02-23 15:28 | 25.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.8868 | μmol/L | 19.2841 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 205325.4972 | 279745.3227 | 62.0402 | 75.7
32638 | 2021-02-23 15:29 | 25.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.7856 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205325.0351 | 279744.9893 | 62.0402 | 75.7
32648 | 2021-02-23 15:29 | 26.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.8234 | μmol/L | 19.2964 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 205318.4198 | 279738.7798 | 62.0402 | 75.7
32657 | 2021-02-23 15:29 | 26.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.76 | μmol/L | 19.3086 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205323.6363 | 279750.0677 | 62.0402 | 75.7
32668 | 2021-02-23 15:30 | 26.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.6352 | μmol/L | 19.327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205317.1453 | 279748.0928 | 62.0402 | 75.7
32677 | 2021-02-23 15:30 | 27.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.6135 | μmol/L | 19.3332 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205321.6983 | 279745.2177 | 62.0402 | 75.7
32688 | 2021-02-23 15:30 | 27.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.6532 | μmol/L | 19.3332 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205328.5679 | 279761.6458 | 62.0402 | 75.7
32698 | 2021-02-23 15:31 | 27.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.5304 | μmol/L | 19.3454 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205322.1148 | 279746.4664 | 62.0402 | 75.7
32707 | 2021-02-23 15:31 | 28.3284 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.5067 | μmol/L | 19.3577 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.484 | 205344.9001 | 279765.0581 | 62.0402 | 75.7
32718 | 2021-02-23 15:31 | 28.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.4057 | μmol/L | 19.3638 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205358.0441 | 279752.7673 | 62.0402 | 75.7
32728 | 2021-02-23 15:32 | 28.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.4057 | μmol/L | 19.3638 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205359.6445 | 279765.964 | 62.0402 | 75.7
32738 | 2021-02-23 15:32 | 29.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.384 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205379.5281 | 279763.6188 | 62.0402 | 75.7
32748 | 2021-02-23 15:32 | 29.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.2812 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205393.8917 | 279773.0159 | 62.0402 | 75.7
32758 | 2021-02-23 15:33 | 29.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.2812 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205395.6263 | 279763.0776 | 62.0402 | 75.7
32767 | 2021-02-23 15:33 | 30.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.2378 | μmol/L | 19.3945 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205414.3381 | 279769.1514 | 62.0402 | 75.7
32777 | 2021-02-23 15:33 | 30.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.0954 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205413.8675 | 279767.9762 | 62.0402 | 75.7
32787 | 2021-02-23 15:34 | 30.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.0323 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205404.1611 | 279766.1799 | 62.0402 | 75.7
32797 | 2021-02-23 15:34 | 31.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.0719 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205427.2592 | 279775.3087 | 62.0402 | 75.7
32808 | 2021-02-23 15:34 | 31.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 230.0719 | μmol/L | 19.419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205427.8938 | 279773.2947 | 62.0402 | 75.7
32818 | 2021-02-23 15:35 | 31.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.908 | μmol/L | 19.4374 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205435.8954 | 279778.4368 | 62.0402 | 75.7
32828 | 2021-02-23 15:35 | 32.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.8036 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205435.8833 | 279776.9125 | 62.0402 | 75.7
32838 | 2021-02-23 15:35 | 32.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.8233 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205439.2618 | 279782.3267 | 62.0402 | 75.7
32847 | 2021-02-23 15:36 | 32.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.8233 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205447.7678 | 279782.7434 | 62.0402 | 75.7
32858 | 2021-02-23 15:36 | 33.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.7189 | μmol/L | 19.4742 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.484 | 205452.2501 | 279780.1212 | 62.0402 | 75.7
32868 | 2021-02-23 15:36 | 33.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.6794 | μmol/L | 19.4742 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205473.4597 | 279774.6185 | 62.0402 | 75.7
32877 | 2021-02-23 15:37 | 33.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.5572 | μmol/L | 19.4865 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205495.6541 | 279789.3294 | 62.0402 | 75.7
32888 | 2021-02-23 15:37 | 34.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.4943 | μmol/L | 19.4988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205500.5004 | 279776.037 | 62.0402 | 75.7
32898 | 2021-02-23 15:37 | 34.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.4727 | μmol/L | 19.5049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205495.5412 | 279785.5272 | 62.0402 | 75.7
32907 | 2021-02-23 15:38 | 34.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.4943 | μmol/L | 19.4988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205496.2821 | 279790.9892 | 62.0402 | 75.7
32917 | 2021-02-23 15:38 | 35.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.4727 | μmol/L | 19.5049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205519.6657 | 279789.9904 | 62.0402 | 75.7
32927 | 2021-02-23 15:38 | 35.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.3919 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205531.2807 | 279794.0487 | 62.0402 | 75.7
32938 | 2021-02-23 15:39 | 35.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.3506 | μmol/L | 19.5172 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205539.0464 | 279789.9265 | 62.0402 | 75.7
32948 | 2021-02-23 15:39 | 36.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.3919 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205552.0109 | 279798.2232 | 62.0402 | 75.7
32958 | 2021-02-23 15:39 | 36.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.3506 | μmol/L | 19.5172 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205555.8823 | 279791.2934 | 62.0402 | 75.7
32967 | 2021-02-23 15:40 | 36.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.2465 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205562.2239 | 279785.7263 | 62.0402 | 75.7
32978 | 2021-02-23 15:40 | 37.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.1873 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 205565.8385 | 279790.9402 | 62.0402 | 75.7
32987 | 2021-02-23 15:40 | 37.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.268 | μmol/L | 19.5294 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205575.6606 | 279796.3474 | 62.0402 | 75.7
32997 | 2021-02-23 15:41 | 37.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.2662 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205590.2132 | 279806.7193 | 62.0402 | 75.7
33007 | 2021-02-23 15:41 | 38.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.1048 | μmol/L | 19.5479 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 205595.3719 | 279801.7083 | 62.0402 | 75.7
33018 | 2021-02-23 15:41 | 38.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.2249 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205590.0363 | 279809.5105 | 62.0402 | 75.7
33028 | 2021-02-23 15:42 | 38.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.0636 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 205602.2607 | 279800.0686 | 62.0402 | 75.7
33037 | 2021-02-23 15:42 | 39.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.0636 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 205595.968 | 279799.6592 | 62.0402 | 75.7
33047 | 2021-02-23 15:42 | 39.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.2859 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 205617.679 | 279813.7074 | 62.0402 | 75.7
33058 | 2021-02-23 15:43 | 39.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.1012 | μmol/L | 19.5601 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.486 | 205612.5713 | 279812.4121 | 62.0402 | 75.7
33068 | 2021-02-23 15:43 | 40.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.9166 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205607.2978 | 279810.7983 | 62.0402 | 75.7
33077 | 2021-02-23 15:43 | 40.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.8754 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205622.7915 | 279822.4264 | 62.0402 | 75.7
33088 | 2021-02-23 15:44 | 40.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.103 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 205631.0956 | 279810.8279 | 62.0402 | 75.7
33097 | 2021-02-23 15:44 | 41.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.0833 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 205647.6194 | 279815.2499 | 62.0402 | 75.7
33108 | 2021-02-23 15:44 | 41.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 229.0403 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 205657.9663 | 279805.144 | 62.0402 | 75.7
33118 | 2021-02-23 15:45 | 41.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.9184 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 205654.0243 | 279817.3936 | 62.0402 | 75.7
33128 | 2021-02-23 15:45 | 42.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.8772 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 205672.1767 | 279820.9463 | 62.0402 | 75.7
33137 | 2021-02-23 15:45 | 42.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.8772 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 205681.4936 | 279822.9359 | 62.0402 | 75.7
33148 | 2021-02-23 15:46 | 42.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.8397 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205697.7979 | 279823.235 | 62.0402 | 75.7
33158 | 2021-02-23 15:46 | 43.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.9203 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 205716.308 | 279836.222 | 62.0402 | 75.7
33168 | 2021-02-23 15:46 | 43.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.9418 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.492 | 205715.9977 | 279830.7856 | 62.0402 | 75.7
33178 | 2021-02-23 15:47 | 43.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.82 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 205713.9174 | 279827.3375 | 62.0402 | 75.7
33188 | 2021-02-23 15:47 | 44.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.7555 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 205706.6931 | 279835.9331 | 62.0402 | 75.7
33198 | 2021-02-23 15:47 | 44.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.7144 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 205712.7063 | 279837.8526 | 62.0402 | 75.7
33208 | 2021-02-23 15:48 | 44.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.5927 | μmol/L | 19.6153 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205732.165 | 279834.9019 | 62.0402 | 75.7
33218 | 2021-02-23 15:48 | 45.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.675 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205748.5791 | 279835.021 | 62.0402 | 75.7
33228 | 2021-02-23 15:48 | 45.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.7573 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 205748.876 | 279835.9263 | 62.0402 | 75.7
33237 | 2021-02-23 15:49 | 45.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.8415 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.495 | 205778.7109 | 279834.5426 | 62.0402 | 75.7
33248 | 2021-02-23 15:49 | 46.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.6375 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.497 | 205813.4243 | 279858.482 | 62.0402 | 75.7
33258 | 2021-02-23 15:49 | 46.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.7234 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.501 | 205857.0977 | 279837.6702 | 62.0402 | 75.7
33268 | 2021-02-23 15:50 | 46.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.6018 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.503 | 205891.1179 | 279856.6476 | 62.0402 | 75.7
33277 | 2021-02-23 15:50 | 47.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.4391 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 205914.4111 | 279846.0644 | 62.0402 | 75.7
33288 | 2021-02-23 15:50 | 47.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.5035 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205916.7552 | 279846.3753 | 62.0402 | 75.7
33297 | 2021-02-23 15:51 | 47.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.5821 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.504 | 205920.9425 | 279858.5195 | 62.0402 | 75.7
33308 | 2021-02-23 15:51 | 48.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.4624 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 205923.1468 | 279849.0591 | 62.0402 | 75.7
33318 | 2021-02-23 15:51 | 48.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.4409 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.507 | 205934.0525 | 279861.8521 | 62.0402 | 75.7
33328 | 2021-02-23 15:52 | 48.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.4802 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 205941.4836 | 279868.2907 | 62.0402 | 75.7
33338 | 2021-02-23 15:52 | 49.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3784 | μmol/L | 19.6092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.506 | 205960.2711 | 279871.6736 | 62.0402 | 75.7
33348 | 2021-02-23 15:52 | 49.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.2998 | μmol/L | 19.6092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.51 | 205967.5168 | 279865.9336 | 62.0402 | 75.7
33357 | 2021-02-23 15:53 | 49.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1963 | μmol/L | 19.6276 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.509 | 205983.7938 | 279868.9099 | 62.0402 | 75.7
33368 | 2021-02-23 15:53 | 50.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1784 | μmol/L | 19.6215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.512 | 206013.8246 | 279882.1727 | 62.0402 | 75.7
33377 | 2021-02-23 15:53 | 50.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1392 | μmol/L | 19.6215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.514 | 206032.2699 | 279874.926 | 62.0402 | 75.7
33387 | 2021-02-23 15:54 | 50.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1 | μmol/L | 19.6215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.516 | 206063.4396 | 279874.5207 | 62.0402 | 75.7
33397 | 2021-02-23 15:54 | 51.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1018 | μmol/L | 19.6153 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.518 | 206092.0367 | 279878.8556 | 62.0402 | 75.7
33407 | 2021-02-23 15:54 | 51.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3071 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.518 | 206099.2534 | 279892.5773 | 62.0402 | 75.7
33418 | 2021-02-23 15:55 | 51.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3893 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.518 | 206111.8575 | 279880.094 | 62.0402 | 75.7
33428 | 2021-02-23 15:55 | 52.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3304 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.521 | 206128.3542 | 279881.2813 | 62.0402 | 75.7
33437 | 2021-02-23 15:55 | 52.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3108 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.522 | 206132.0509 | 279884.1846 | 62.0402 | 75.7
33447 | 2021-02-23 15:56 | 52.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.1269 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.523 | 206144.1403 | 279887.6047 | 62.0402 | 75.7
33458 | 2021-02-23 15:56 | 53.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.027 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.526 | 206161.0021 | 279888.8304 | 62.0402 | 75.7
33467 | 2021-02-23 15:56 | 53.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.3341 | μmol/L | 19.5601 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.525 | 206187.4736 | 279890.7077 | 62.0402 | 75.7
33478 | 2021-02-23 15:57 | 53.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 228.193 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.528 | 206238.2387 | 279888.7943 | 62.0402 | 75.7
33488 | 2021-02-23 15:57 | 54.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.9719 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.533 | 206280.4444 | 279900.5792 | 62.0402 | 75.7
33498 | 2021-02-23 15:57 | 54.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.7901 | μmol/L | 19.6092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.536 | 206320.2096 | 279901.6404 | 62.0402 | 75.7
33508 | 2021-02-23 15:58 | 54.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.7314 | μmol/L | 19.6092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.539 | 206337.7861 | 279910.7305 | 62.0402 | 75.7
33518 | 2021-02-23 15:58 | 55.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.9149 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.538 | 206369.7013 | 279916.5265 | 62.0402 | 75.7
33528 | 2021-02-23 15:58 | 55.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.8776 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.542 | 206372.0152 | 279904.1012 | 62.0402 | 75.7
33537 | 2021-02-23 15:59 | 55.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.858 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.543 | 206384.0611 | 279921.0592 | 62.0402 | 75.7
33547 | 2021-02-23 15:59 | 56.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.8366 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.542 | 206393.111 | 279914.1906 | 62.0402 | 75.7
33557 | 2021-02-23 15:59 | 56.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.6745 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.544 | 206408.4474 | 279913.6938 | 62.0402 | 75.7
33568 | 2021-02-23 16:00 | 56.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.6531 | μmol/L | 19.6092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.543 | 206424.6516 | 279919.5698 | 62.0402 | 75.7
33578 | 2021-02-23 16:00 | 57.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.5321 | μmol/L | 19.6215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.545 | 206431.9677 | 279920.7191 | 62.0402 | 75.7
33588 | 2021-02-23 16:00 | 57.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.5339 | μmol/L | 19.6153 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.547 | 206453.2051 | 279916.1715 | 62.0402 | 75.7
33598 | 2021-02-23 16:01 | 57.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.5962 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.548 | 206473.0763 | 279924.6851 | 62.0402 | 75.7
33607 | 2021-02-23 16:01 | 58.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.762 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.55 | 206497.8319 | 279929.2022 | 62.0402 | 75.7
33617 | 2021-02-23 16:01 | 58.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.7014 | μmol/L | 19.5785 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.551 | 206523.5009 | 279929.6826 | 62.0402 | 75.7
33628 | 2021-02-23 16:02 | 58.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.4398 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.556 | 206531.3408 | 279936.3024 | 62.0402 | 75.7
33637 | 2021-02-23 16:02 | 59.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.4612 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.557 | 206542.6277 | 279929.389 | 62.0402 | 75.7
33648 | 2021-02-23 16:02 | 59.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.5627 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.556 | 206562.9536 | 279924.5407 | 62.0402 | 75.7
33658 | 2021-02-23 16:03 | 59.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.4826 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.558 | 206605.703 | 279925.1288 | 62.0402 | 75.7
33668 | 2021-02-23 16:03 | 60.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.2873 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.568 | 206660.3087 | 279934.1789 | 62.0402 | 75.7
33678 | 2021-02-23 16:03 | 60.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.2482 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.57 | 206699.8049 | 279927.5927 | 62.0402 | 75.7
33688 | 2021-02-23 16:04 | 60.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0903 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.576 | 206738.4629 | 279931.3739 | 62.0402 | 75.7
33697 | 2021-02-23 16:04 | 61.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0689 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.575 | 206741.8277 | 279938.3098 | 62.0402 | 75.7
33708 | 2021-02-23 16:04 | 61.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0903 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.576 | 206773.1115 | 279935.9506 | 62.0402 | 75.7
33718 | 2021-02-23 16:05 | 61.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.1507 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.575 | 206773.4211 | 279932.9816 | 62.0402 | 75.7
33727 | 2021-02-23 16:05 | 62.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0903 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.576 | 206750.1789 | 279923.1102 | 62.0402 | 75.7
33738 | 2021-02-23 16:05 | 62.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0299 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.577 | 206755.8519 | 279941.3774 | 62.0402 | 75.7
33747 | 2021-02-23 16:06 | 62.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9909 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.579 | 206790.6454 | 279940.9948 | 62.0402 | 75.7
33757 | 2021-02-23 16:06 | 63.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9909 | μmol/L | 19.6031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.579 | 206812.2365 | 279941.2928 | 62.0402 | 75.7
33768 | 2021-02-23 16:06 | 63.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8953 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.586 | 206853.6523 | 279939.254 | 62.0402 | 75.7
33778 | 2021-02-23 16:07 | 63.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9343 | μmol/L | 19.5969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.584 | 206858.1898 | 279953.4758 | 62.0402 | 75.7
33788 | 2021-02-23 16:07 | 64.3284 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9965 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.585 | 206841.0328 | 279944.189 | 62.0402 | 75.7
33797 | 2021-02-23 16:07 | 64.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0141 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.582 | 206847.8482 | 279951.5811 | 62.0402 | 75.7
33807 | 2021-02-23 16:08 | 64.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0336 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.581 | 206849.682 | 279943.6066 | 62.0402 | 75.7
33817 | 2021-02-23 16:08 | 65.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9752 | μmol/L | 19.5908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.584 | 206845.4728 | 279939.6767 | 62.0402 | 75.7
33827 | 2021-02-23 16:08 | 65.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 227.0355 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.583 | 206878.5705 | 279939.0214 | 62.0402 | 75.7
33837 | 2021-02-23 16:09 | 65.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8991 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.59 | 206925.2857 | 279929.1038 | 62.0402 | 75.7
33848 | 2021-02-23 16:09 | 66.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8212 | μmol/L | 19.5847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.594 | 206954.6809 | 279923.3622 | 62.0402 | 75.7
33857 | 2021-02-23 16:09 | 66.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8249 | μmol/L | 19.5724 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.598 | 206985.5744 | 279931.8805 | 62.0402 | 75.7
33868 | 2021-02-23 16:10 | 66.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8073 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.601 | 207017.0042 | 279931.1907 | 62.0402 | 75.7
33878 | 2021-02-23 16:10 | 67.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.9085 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.6 | 207022.1664 | 279920.6447 | 62.0402 | 75.7
33888 | 2021-02-23 16:10 | 67.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.7684 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.603 | 207040.8903 | 279931.098 | 62.0402 | 75.7
33898 | 2021-02-23 16:11 | 67.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.7489 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.604 | 207070.0968 | 279931.3675 | 62.0402 | 75.7
33908 | 2021-02-23 16:11 | 68.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.8111 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.605 | 207071.7161 | 279928.8976 | 62.0402 | 75.7
33917 | 2021-02-23 16:11 | 68.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.776 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.611 | 207124.2491 | 279939.8428 | 62.0402 | 75.7
33928 | 2021-02-23 16:12 | 68.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.6768 | μmol/L | 19.5479 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.614 | 207175.5786 | 279937.6813 | 62.0402 | 75.7
33938 | 2021-02-23 16:12 | 69.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.5582 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.618 | 207168.3296 | 279929.5104 | 62.0402 | 75.7
33947 | 2021-02-23 16:12 | 69.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.5582 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.618 | 207189.3559 | 279930.7021 | 62.0402 | 75.7
33958 | 2021-02-23 16:13 | 69.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.498 | μmol/L | 19.5601 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.619 | 207215.6332 | 279933.8994 | 62.0402 | 75.7
33968 | 2021-02-23 16:13 | 70.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4785 | μmol/L | 19.5601 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.62 | 207211.2387 | 279937.4716 | 62.0402 | 75.7
33978 | 2021-02-23 16:13 | 70.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.5155 | μmol/L | 19.5663 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.616 | 207209.1554 | 279945.8195 | 62.0402 | 75.7
33988 | 2021-02-23 16:14 | 70.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4785 | μmol/L | 19.5601 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.62 | 207208.7167 | 279948.2658 | 62.0402 | 75.7
33998 | 2021-02-23 16:14 | 71.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4999 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.621 | 207268.3947 | 279936.1 | 62.0402 | 75.7
34008 | 2021-02-23 16:14 | 71.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4027 | μmol/L | 19.554 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.626 | 207277.9782 | 279947.9105 | 62.0402 | 75.7
34018 | 2021-02-23 16:15 | 71.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3658 | μmol/L | 19.5479 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.63 | 207298.7335 | 279944.3734 | 62.0402 | 75.7
34028 | 2021-02-23 16:15 | 72.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4648 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.627 | 207313.3257 | 279955.6031 | 62.0402 | 75.7
34038 | 2021-02-23 16:15 | 72.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4259 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.629 | 207334.8788 | 279943.2715 | 62.0402 | 75.7
34048 | 2021-02-23 16:16 | 72.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3483 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 207353.6437 | 279938.4718 | 62.0402 | 75.7
34058 | 2021-02-23 16:16 | 73.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.389 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 207376.543 | 279951.2518 | 62.0402 | 75.7
34067 | 2021-02-23 16:16 | 73.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3288 | μmol/L | 19.5417 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.634 | 207384.9455 | 279965.349 | 62.0402 | 75.7
34077 | 2021-02-23 16:17 | 73.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.389 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 207398.0289 | 279972.1894 | 62.0402 | 75.7
34087 | 2021-02-23 16:17 | 74.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4473 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.63 | 207390.3267 | 279973.9708 | 62.0402 | 75.7
34097 | 2021-02-23 16:17 | 74.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4084 | μmol/L | 19.5356 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.632 | 207394.4223 | 279960.0783 | 62.0402 | 75.7
34108 | 2021-02-23 16:18 | 74.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3909 | μmol/L | 19.5294 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.635 | 207418.3114 | 279967.8806 | 62.0402 | 75.7
34117 | 2021-02-23 16:18 | 75.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4705 | μmol/L | 19.5233 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 207447.6932 | 279978.8175 | 62.0402 | 75.7
34128 | 2021-02-23 16:18 | 75.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3909 | μmol/L | 19.5294 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.635 | 207462.1769 | 279987.8443 | 62.0402 | 75.7
34138 | 2021-02-23 16:19 | 75.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3928 | μmol/L | 19.5233 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.637 | 207474.5294 | 279982.4988 | 62.0402 | 75.7
34147 | 2021-02-23 16:19 | 76.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.4142 | μmol/L | 19.5172 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.638 | 207495.7475 | 279984.8758 | 62.0402 | 75.7
34157 | 2021-02-23 16:19 | 76.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3753 | μmol/L | 19.5172 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.64 | 207500.3481 | 279995.2617 | 62.0402 | 75.7
34167 | 2021-02-23 16:20 | 76.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.354 | μmol/L | 19.5233 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.639 | 207514.7958 | 279991.6141 | 62.0402 | 75.7
34178 | 2021-02-23 16:20 | 77.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3967 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.641 | 207527.501 | 279994.4715 | 62.0402 | 75.7
34188 | 2021-02-23 16:20 | 77.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3773 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.642 | 207530.0183 | 279988.8982 | 62.0402 | 75.7
34198 | 2021-02-23 16:21 | 77.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3384 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.644 | 207547.2317 | 279991.0002 | 62.0402 | 75.7
34207 | 2021-02-23 16:21 | 78.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.2802 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.647 | 207559.2584 | 279999.6843 | 62.0402 | 75.7
34218 | 2021-02-23 16:21 | 78.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.2608 | μmol/L | 19.511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.648 | 207605.0313 | 280003.7501 | 62.0402 | 75.7
34228 | 2021-02-23 16:22 | 78.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.1657 | μmol/L | 19.5049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.655 | 207660.9045 | 280009.9449 | 62.0402 | 75.7
34238 | 2021-02-23 16:22 | 79.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.0707 | μmol/L | 19.4988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 207695.5056 | 280001.115 | 62.0402 | 75.7
34247 | 2021-02-23 16:22 | 79.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.03 | μmol/L | 19.5049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 207720.3751 | 279998.9402 | 62.0402 | 75.7
34257 | 2021-02-23 16:23 | 79.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.1115 | μmol/L | 19.4926 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 207745.8473 | 280007.7417 | 62.0402 | 75.7
34268 | 2021-02-23 16:23 | 80.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.094 | μmol/L | 19.4865 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.665 | 207773.088 | 280017.6818 | 62.0402 | 75.7
34277 | 2021-02-23 16:23 | 80.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.0165 | μmol/L | 19.4865 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.669 | 207810.6517 | 280000.2478 | 62.0402 | 75.7
34287 | 2021-02-23 16:24 | 80.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.9603 | μmol/L | 19.4804 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.674 | 207832.8426 | 280014.3027 | 62.0402 | 75.7
34297 | 2021-02-23 16:24 | 81.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.939 | μmol/L | 19.4865 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 207872.0871 | 280012.3116 | 62.0402 | 75.7
34307 | 2021-02-23 16:24 | 81.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.7667 | μmol/L | 19.4804 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.684 | 207963.0756 | 280024.3882 | 62.0402 | 75.7
34318 | 2021-02-23 16:25 | 81.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.6294 | μmol/L | 19.4865 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 208024.7848 | 280019.6748 | 62.0402 | 75.7
34328 | 2021-02-23 16:25 | 82.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.6893 | μmol/L | 19.4804 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 208038.8209 | 280013.0414 | 62.0402 | 75.7
34337 | 2021-02-23 16:25 | 82.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.6933 | μmol/L | 19.4681 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 208072.9985 | 280019.7686 | 62.0402 | 75.7
34347 | 2021-02-23 16:26 | 82.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.6353 | μmol/L | 19.4681 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 208123.1551 | 280014.7741 | 62.0402 | 75.7
34358 | 2021-02-23 16:26 | 83.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.502 | μmol/L | 19.462 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 208190.9961 | 280027.6213 | 62.0402 | 75.7
34368 | 2021-02-23 16:26 | 83.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.446 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.709 | 208279.5886 | 280025.5914 | 62.0402 | 75.7
34377 | 2021-02-23 16:27 | 83.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.3688 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.713 | 208302.8819 | 280018.235 | 62.0402 | 75.7
34388 | 2021-02-23 16:27 | 84.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2896 | μmol/L | 19.462 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 208317.2585 | 280017.79 | 62.0402 | 75.7
34397 | 2021-02-23 16:27 | 84.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2317 | μmol/L | 19.462 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 208342.7237 | 280027.9209 | 62.0402 | 75.7
34408 | 2021-02-23 16:28 | 84.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.253 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 208358.0744 | 280032.3644 | 62.0402 | 75.7
34418 | 2021-02-23 16:28 | 85.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2723 | μmol/L | 19.4558 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 208364.6022 | 280026.1611 | 62.0402 | 75.7
34428 | 2021-02-23 16:28 | 85.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.3534 | μmol/L | 19.4436 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 208331.1428 | 280022.6306 | 62.0402 | 75.7
34437 | 2021-02-23 16:29 | 85.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.392 | μmol/L | 19.4436 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 208335.1952 | 280016.6864 | 62.0402 | 75.7
34447 | 2021-02-23 16:29 | 86.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.3341 | μmol/L | 19.4436 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 208378.9927 | 280014.6171 | 62.0402 | 75.7
34457 | 2021-02-23 16:29 | 86.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2975 | μmol/L | 19.4374 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 208426.4869 | 280025.331 | 62.0402 | 75.7
34468 | 2021-02-23 16:30 | 86.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.1605 | μmol/L | 19.4436 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.728 | 208480.3444 | 280036.9793 | 62.0402 | 75.7
34477 | 2021-02-23 16:30 | 87.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.1067 | μmol/L | 19.4313 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.735 | 208514.168 | 280034.9438 | 62.0402 | 75.7
34488 | 2021-02-23 16:30 | 87.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.1067 | μmol/L | 19.4313 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.735 | 208527.5801 | 280038.0065 | 62.0402 | 75.7
34497 | 2021-02-23 16:31 | 87.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0489 | μmol/L | 19.4313 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.738 | 208546.8418 | 280034.769 | 62.0402 | 75.7
34508 | 2021-02-23 16:31 | 88.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.128 | μmol/L | 19.4252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.736 | 208570.2522 | 280041.3057 | 62.0402 | 75.7
34517 | 2021-02-23 16:31 | 88.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.132 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.74 | 208579.4938 | 280045.0675 | 62.0402 | 75.7
34528 | 2021-02-23 16:32 | 88.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2325 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.739 | 208607.1309 | 280051.8586 | 62.0402 | 75.7
34537 | 2021-02-23 16:32 | 89.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2132 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.74 | 208609.3683 | 280045.6774 | 62.0402 | 75.7
34548 | 2021-02-23 16:32 | 89.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2751 | μmol/L | 19.3884 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.741 | 208620.9925 | 280050.1968 | 62.0402 | 75.7
34558 | 2021-02-23 16:33 | 89.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.1554 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.743 | 208641.2075 | 280047.1728 | 62.0402 | 75.7
34567 | 2021-02-23 16:33 | 90.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0357 | μmol/L | 19.4129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.745 | 208669.4106 | 280061.6568 | 62.0402 | 75.7
34577 | 2021-02-23 16:33 | 90.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0975 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.746 | 208674.1618 | 280062.2871 | 62.0402 | 75.7
34587 | 2021-02-23 16:34 | 90.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.9799 | μmol/L | 19.4068 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.75 | 208695.9425 | 280062.9353 | 62.0402 | 75.7
34597 | 2021-02-23 16:34 | 91.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0205 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.75 | 208718.4713 | 280069.4284 | 62.0402 | 75.7
34608 | 2021-02-23 16:34 | 91.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0418 | μmol/L | 19.3945 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.751 | 208730.4024 | 280071.5889 | 62.0402 | 75.7
34618 | 2021-02-23 16:35 | 91.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0205 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.75 | 208738.5227 | 280062.4738 | 62.0402 | 75.7
34628 | 2021-02-23 16:35 | 92.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.982 | μmol/L | 19.4006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.752 | 208740.9595 | 280072.5873 | 62.0402 | 75.7
34638 | 2021-02-23 16:35 | 92.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.9262 | μmol/L | 19.3945 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.757 | 208786.9823 | 280069.9897 | 62.0402 | 75.7
34648 | 2021-02-23 16:36 | 92.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8898 | μmol/L | 19.3884 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.761 | 208832.1834 | 280083.8469 | 62.0402 | 75.7
34658 | 2021-02-23 16:36 | 93.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8918 | μmol/L | 19.3822 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.763 | 208843.214 | 280067.6859 | 62.0402 | 75.7
34667 | 2021-02-23 16:36 | 93.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.9131 | μmol/L | 19.3761 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.764 | 208857.3154 | 280088.1342 | 62.0402 | 75.7
34678 | 2021-02-23 16:37 | 93.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8361 | μmol/L | 19.3761 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.768 | 208883.6411 | 280086.8782 | 62.0402 | 75.7
34687 | 2021-02-23 16:37 | 94.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8554 | μmol/L | 19.3761 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.767 | 208900.3476 | 280077.6691 | 62.0402 | 75.7
34698 | 2021-02-23 16:37 | 94.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8574 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.769 | 208941.6256 | 280082.113 | 62.0402 | 75.7
34707 | 2021-02-23 16:38 | 94.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.7997 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.772 | 208959.3302 | 280094.7509 | 62.0402 | 75.7
34717 | 2021-02-23 16:38 | 95.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.7228 | μmol/L | 19.37 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.776 | 209001.6879 | 280100.3833 | 62.0402 | 75.7
34728 | 2021-02-23 16:38 | 95.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.7441 | μmol/L | 19.3638 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.777 | 209022.4324 | 280093.5872 | 62.0402 | 75.7
34738 | 2021-02-23 16:39 | 95.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.648 | μmol/L | 19.3638 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.782 | 209050.862 | 280101.4874 | 62.0402 | 75.7
34747 | 2021-02-23 16:39 | 96.3285 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.648 | μmol/L | 19.3638 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.782 | 209069.382 | 280095.8751 | 62.0402 | 75.7
34758 | 2021-02-23 16:39 | 96.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.6137 | μmol/L | 19.3516 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.788 | 209108.7729 | 280103.9582 | 62.0402 | 75.7
34768 | 2021-02-23 16:40 | 96.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.7695 | μmol/L | 19.3454 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.782 | 209119.0332 | 280111.5638 | 62.0402 | 75.7
34778 | 2021-02-23 16:40 | 97.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.6137 | μmol/L | 19.3516 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.788 | 209153.4273 | 280127.0382 | 62.0402 | 75.7
34788 | 2021-02-23 16:40 | 97.6618 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5773 | μmol/L | 19.3454 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.792 | 209186.5906 | 280107.548 | 62.0402 | 75.7
34797 | 2021-02-23 16:41 | 97.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.637 | μmol/L | 19.3393 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.791 | 209210.1805 | 280136.7369 | 62.0402 | 75.7
34808 | 2021-02-23 16:41 | 98.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5986 | μmol/L | 19.3393 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.793 | 209214.959 | 280123.8587 | 62.0402 | 75.7
34818 | 2021-02-23 16:41 | 98.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4834 | μmol/L | 19.3393 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.799 | 209257.2961 | 280136.2652 | 62.0402 | 75.7
34827 | 2021-02-23 16:42 | 98.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4855 | μmol/L | 19.3332 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.801 | 209261.4282 | 280131.7014 | 62.0402 | 75.7
34837 | 2021-02-23 16:42 | 99.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4471 | μmol/L | 19.3332 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.803 | 209280.3558 | 280138.0008 | 62.0402 | 75.7
34847 | 2021-02-23 16:42 | 99.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5473 | μmol/L | 19.3209 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.802 | 209316.0906 | 280150.5727 | 62.0402 | 75.7
34858 | 2021-02-23 16:43 | 99.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4321 | μmol/L | 19.3209 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.808 | 209330.7023 | 280148.6669 | 62.0402 | 75.7
34868 | 2021-02-23 16:43 | 100.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5899 | μmol/L | 19.3086 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.804 | 209364.8911 | 280150.9992 | 62.0402 | 75.7
34878 | 2021-02-23 16:43 | 100.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5536 | μmol/L | 19.3025 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.808 | 209387.8514 | 280163.9296 | 62.0402 | 75.7
34888 | 2021-02-23 16:44 | 100.9951 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.496 | μmol/L | 19.3025 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.811 | 209408.4982 | 280160.0056 | 62.0402 | 75.7
34898 | 2021-02-23 16:44 | 101.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5173 | μmol/L | 19.2964 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.812 | 209440.9093 | 280161.5716 | 62.0402 | 75.7
34907 | 2021-02-23 16:44 | 101.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4405 | μmol/L | 19.2964 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.816 | 209474.517 | 280174.4379 | 62.0402 | 75.7
34918 | 2021-02-23 16:45 | 101.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4426 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.818 | 209492.1815 | 280170.8574 | 62.0402 | 75.7
34928 | 2021-02-23 16:45 | 102.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4234 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.819 | 209513.6541 | 280170.5789 | 62.0402 | 75.7
34937 | 2021-02-23 16:45 | 102.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.385 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.821 | 209541.7014 | 280169.0189 | 62.0402 | 75.7
34948 | 2021-02-23 16:46 | 102.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.3467 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.823 | 209566.8738 | 280174.4105 | 62.0402 | 75.7
34958 | 2021-02-23 16:46 | 103.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.27 | μmol/L | 19.2902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.827 | 209576.8862 | 280172.4972 | 62.0402 | 75.7
34968 | 2021-02-23 16:46 | 103.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2913 | μmol/L | 19.2841 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.828 | 209590.5235 | 280167.2646 | 62.0402 | 75.7
34978 | 2021-02-23 16:47 | 103.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2529 | μmol/L | 19.2841 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.83 | 209616.4484 | 280187.0283 | 62.0402 | 75.7
34988 | 2021-02-23 16:47 | 104.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2529 | μmol/L | 19.2841 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.83 | 209630.1951 | 280176.1237 | 62.0402 | 75.7
34998 | 2021-02-23 16:47 | 104.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2934 | μmol/L | 19.278 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.83 | 209653.9964 | 280184.9323 | 62.0402 | 75.7
35008 | 2021-02-23 16:48 | 104.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2167 | μmol/L | 19.278 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.834 | 209675.0024 | 280173.0982 | 62.0402 | 75.7
35017 | 2021-02-23 16:48 | 105.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1997 | μmol/L | 19.2718 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.837 | 209683.9911 | 280186.2536 | 62.0402 | 75.7
35027 | 2021-02-23 16:48 | 105.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1422 | μmol/L | 19.2718 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.84 | 209686.6124 | 280178.128 | 62.0402 | 75.7
35037 | 2021-02-23 16:49 | 105.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1614 | μmol/L | 19.2718 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.839 | 209732.083 | 280179.9328 | 62.0402 | 75.7
35047 | 2021-02-23 16:49 | 106.3284 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2253 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.842 | 209747.8286 | 280179.8725 | 62.0402 | 75.7
35058 | 2021-02-23 16:49 | 106.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.204 | μmol/L | 19.2596 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.841 | 209744.2806 | 280183.8708 | 62.0402 | 75.7
35068 | 2021-02-23 16:50 | 106.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2444 | μmol/L | 19.2534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.841 | 209765.6438 | 280177.8265 | 62.0402 | 75.7
35078 | 2021-02-23 16:50 | 107.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2274 | μmol/L | 19.2473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.844 | 209785.5715 | 280180.0449 | 62.0402 | 75.7
35087 | 2021-02-23 16:50 | 107.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1891 | μmol/L | 19.2473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.846 | 209799.4943 | 280183.9625 | 62.0402 | 75.7
35097 | 2021-02-23 16:51 | 107.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1529 | μmol/L | 19.2412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.85 | 209814.5026 | 280185.8562 | 62.0402 | 75.7
35107 | 2021-02-23 16:51 | 108.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1742 | μmol/L | 19.235 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.851 | 209857.5749 | 280187.6953 | 62.0402 | 75.7
35118 | 2021-02-23 16:51 | 108.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.2147 | μmol/L | 19.2289 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.851 | 209864.7564 | 280186.989 | 62.0402 | 75.7
35128 | 2021-02-23 16:52 | 108.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1956 | μmol/L | 19.2289 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.852 | 209880.5163 | 280192.8471 | 62.0402 | 75.7
35137 | 2021-02-23 16:52 | 109.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1168 | μmol/L | 19.235 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.854 | 209914.7608 | 280188.3602 | 62.0402 | 75.7
35148 | 2021-02-23 16:52 | 109.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.0615 | μmol/L | 19.2289 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.859 | 209935.7302 | 280200.4052 | 62.0402 | 75.7
35158 | 2021-02-23 16:53 | 109.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9828 | μmol/L | 19.235 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.861 | 209975.5298 | 280202.1627 | 62.0402 | 75.7
35168 | 2021-02-23 16:53 | 110.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.0063 | μmol/L | 19.2228 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.864 | 210003.0828 | 280202.0508 | 62.0402 | 75.7
35177 | 2021-02-23 16:53 | 110.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9893 | μmol/L | 19.2166 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.867 | 210015.31 | 280198.0242 | 62.0402 | 75.7
35188 | 2021-02-23 16:54 | 110.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.0106 | μmol/L | 19.2105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.868 | 210013.6698 | 280198.2498 | 62.0402 | 75.7
35198 | 2021-02-23 16:54 | 111.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9319 | μmol/L | 19.2166 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.87 | 210035.8039 | 280199.5992 | 62.0402 | 75.7
35207 | 2021-02-23 16:54 | 111.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9915 | μmol/L | 19.2105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.869 | 210060.8456 | 280202.0337 | 62.0402 | 75.7
35217 | 2021-02-23 16:55 | 111.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9341 | μmol/L | 19.2105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.872 | 210085.0476 | 280208.1369 | 62.0402 | 75.7
35227 | 2021-02-23 16:55 | 112.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.015 | μmol/L | 19.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.872 | 210095.0679 | 280216.9039 | 62.0402 | 75.7
35238 | 2021-02-23 16:55 | 112.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9554 | μmol/L | 19.2044 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.873 | 210108.6121 | 280204.247 | 62.0402 | 75.7
35248 | 2021-02-23 16:56 | 112.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.898 | μmol/L | 19.2044 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.876 | 210128.9723 | 280201.6198 | 62.0402 | 75.7
35258 | 2021-02-23 16:56 | 113.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.862 | μmol/L | 19.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.88 | 210147.8244 | 280215.7046 | 62.0402 | 75.7
35268 | 2021-02-23 16:56 | 113.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8046 | μmol/L | 19.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.883 | 210185.8508 | 280217.1574 | 62.0402 | 75.7
35278 | 2021-02-23 16:57 | 113.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8068 | μmol/L | 19.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.885 | 210199.352 | 280211.0023 | 62.0402 | 75.7
35287 | 2021-02-23 16:57 | 114.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8259 | μmol/L | 19.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.884 | 210203.4809 | 280208.3997 | 62.0402 | 75.7
35297 | 2021-02-23 16:57 | 114.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8472 | μmol/L | 19.186 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.885 | 210229.082 | 280222.5004 | 62.0402 | 75.7
35307 | 2021-02-23 16:58 | 114.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8707 | μmol/L | 19.1737 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.888 | 210252.489 | 280211.987 | 62.0402 | 75.7