## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35328 | 2021-02-23 19:17 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.1273 | μmol/L | 25.1714 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.112 | 206477.4529 | 280634.9553 | 62.0402 | 75.7
35335 | 2021-02-23 19:17 | 0.33086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2154 | μmol/L | 25.1653 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.109 | 206459.5788 | 280613.3172 | 62.0402 | 75.7
35345 | 2021-02-23 19:18 | 0.66422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.1797 | μmol/L | 25.1714 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.109 | 206410.9179 | 280578.8871 | 62.0402 | 75.7
35355 | 2021-02-23 19:18 | 0.99782 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2511 | μmol/L | 25.1591 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.109 | 206262.4816 | 280559.171 | 62.0402 | 75.7
35365 | 2021-02-23 19:18 | 1.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3043 | μmol/L | 25.153 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.108 | 206239.7366 | 280514.5519 | 62.0402 | 75.7
35375 | 2021-02-23 19:19 | 1.664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2702 | μmol/L | 25.1469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.112 | 206220.5487 | 280498.2823 | 62.0402 | 75.7
35385 | 2021-02-23 19:19 | 1.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3233 | μmol/L | 25.1407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.111 | 206199.5375 | 280458.6286 | 62.0402 | 75.7
35395 | 2021-02-23 19:19 | 2.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2352 | μmol/L | 25.1469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.114 | 206168.8535 | 280422.4731 | 62.0402 | 75.7
35405 | 2021-02-23 19:20 | 2.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3059 | μmol/L | 25.1407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.112 | 206156.3828 | 280394.4275 | 62.0402 | 75.7
35415 | 2021-02-23 19:20 | 2.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3591 | μmol/L | 25.1346 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.111 | 206122.6964 | 280378.1094 | 62.0402 | 75.7
35425 | 2021-02-23 19:20 | 3.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.5013 | μmol/L | 25.1161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.109 | 206099.6143 | 280340.9094 | 62.0402 | 75.7
35435 | 2021-02-23 19:21 | 3.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.5021 | μmol/L | 25.11 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.111 | 206085.0567 | 280328.131 | 62.0402 | 75.7
35445 | 2021-02-23 19:21 | 3.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.4321 | μmol/L | 25.11 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.115 | 206087.0933 | 280294.3688 | 62.0402 | 75.7
35455 | 2021-02-23 19:21 | 4.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.309 | μmol/L | 25.1161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.12 | 206097.9695 | 280268.9413 | 62.0402 | 75.7
35465 | 2021-02-23 19:22 | 4.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2916 | μmol/L | 25.1161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.121 | 206071.926 | 280241.0538 | 62.0402 | 75.7
35475 | 2021-02-23 19:22 | 4.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3797 | μmol/L | 25.11 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.118 | 206022.3327 | 280216.7018 | 62.0402 | 75.7
35485 | 2021-02-23 19:22 | 5.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.3273 | μmol/L | 25.11 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.121 | 206016.9639 | 280186.7603 | 62.0402 | 75.7
35495 | 2021-02-23 19:23 | 5.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2757 | μmol/L | 25.1039 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.126 | 206045.2381 | 280165.9858 | 62.0402 | 75.7
35505 | 2021-02-23 19:23 | 5.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.452 | μmol/L | 25.0916 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.12 | 206003.8839 | 280131.6978 | 62.0402 | 75.7
35515 | 2021-02-23 19:23 | 6.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.452 | μmol/L | 25.0916 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.12 | 205972.3325 | 280104.4921 | 62.0402 | 75.7
35525 | 2021-02-23 19:24 | 6.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.4877 | μmol/L | 25.0854 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.12 | 205948.0629 | 280087.2752 | 62.0402 | 75.7
35535 | 2021-02-23 19:24 | 6.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.5775 | μmol/L | 25.067 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.121 | 205927.9093 | 280066.0314 | 62.0402 | 75.7
35545 | 2021-02-23 19:24 | 7.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.7883 | μmol/L | 25.0608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.111 | 205809.3581 | 280032.2443 | 62.0402 | 75.7
35555 | 2021-02-23 19:25 | 7.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.751 | μmol/L | 25.0793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.107 | 205740.3241 | 280025.0964 | 62.0402 | 75.7
35565 | 2021-02-23 19:25 | 7.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.786 | μmol/L | 25.0793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.105 | 205676.7196 | 280004.497 | 62.0402 | 75.7
35575 | 2021-02-23 19:25 | 8.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 202.036 | μmol/L | 25.0424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.103 | 205634.2668 | 279978.0567 | 62.0402 | 75.7
35585 | 2021-02-23 19:26 | 8.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8919 | μmol/L | 25.0731 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.101 | 205563.3667 | 279944.4157 | 62.0402 | 75.7
35595 | 2021-02-23 19:26 | 8.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 202.0329 | μmol/L | 25.067 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.095 | 205551.4276 | 279922.4942 | 62.0402 | 75.7
35605 | 2021-02-23 19:26 | 9.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8976 | μmol/L | 25.0793 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.099 | 205520.5878 | 279901.7068 | 62.0402 | 75.7
35615 | 2021-02-23 19:27 | 9.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8903 | μmol/L | 25.0854 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.097 | 205507.6993 | 279881.7451 | 62.0402 | 75.7
35625 | 2021-02-23 19:27 | 9.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.9437 | μmol/L | 25.0793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.096 | 205454.4483 | 279861.8907 | 62.0402 | 75.7
35635 | 2021-02-23 19:27 | 10.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8378 | μmol/L | 25.0854 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.1 | 205410.9491 | 279830.7805 | 62.0402 | 75.7
35645 | 2021-02-23 19:28 | 10.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.872 | μmol/L | 25.0916 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.096 | 205394.0886 | 279814.79 | 62.0402 | 75.7
35655 | 2021-02-23 19:28 | 10.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8545 | μmol/L | 25.0916 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.097 | 205379.4865 | 279792.5904 | 62.0402 | 75.7
35665 | 2021-02-23 19:28 | 11.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8705 | μmol/L | 25.1039 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.092 | 205330.4541 | 279766.9242 | 62.0402 | 75.7
35675 | 2021-02-23 19:29 | 11.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8347 | μmol/L | 25.11 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.092 | 205288.626 | 279749.8255 | 62.0402 | 75.7
35685 | 2021-02-23 19:29 | 11.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.9281 | μmol/L | 25.1161 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.085 | 205217.79 | 279716.823 | 62.0402 | 75.7
35695 | 2021-02-23 19:29 | 12.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8389 | μmol/L | 25.1284 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.086 | 205188.7321 | 279695.5792 | 62.0402 | 75.7
35705 | 2021-02-23 19:30 | 12.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.749 | μmol/L | 25.1469 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.085 | 205158.9963 | 279668.8364 | 62.0402 | 75.7
35715 | 2021-02-23 19:30 | 12.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.6891 | μmol/L | 25.153 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.086 | 205165.9484 | 279653.3267 | 62.0402 | 75.7
35725 | 2021-02-23 19:30 | 13.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.8008 | μmol/L | 25.153 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.08 | 205081.4033 | 279628.0141 | 62.0402 | 75.7
35735 | 2021-02-23 19:31 | 13.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.5678 | μmol/L | 25.196 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.079 | 205050.8945 | 279618.3496 | 62.0402 | 75.7
35745 | 2021-02-23 19:31 | 13.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.7569 | μmol/L | 25.1714 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.076 | 205020.1843 | 279601.1386 | 62.0402 | 75.7
35755 | 2021-02-23 19:31 | 14.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.6861 | μmol/L | 25.1776 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.078 | 205022.0679 | 279570.3953 | 62.0402 | 75.7
35765 | 2021-02-23 19:32 | 14.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.4022 | μmol/L | 25.2083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.084 | 205025.5191 | 279546.9334 | 62.0402 | 75.7
35775 | 2021-02-23 19:32 | 14.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.4722 | μmol/L | 25.2083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.08 | 204997.5811 | 279535.5571 | 62.0402 | 75.7
35785 | 2021-02-23 19:32 | 15.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2752 | μmol/L | 25.2452 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.079 | 204979.7615 | 279503.7773 | 62.0402 | 75.7
35795 | 2021-02-23 19:33 | 15.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.2569 | μmol/L | 25.2513 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.078 | 204932.0098 | 279488.5701 | 62.0402 | 75.7
35805 | 2021-02-23 19:33 | 15.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.1183 | μmol/L | 25.2943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.072 | 204867.4904 | 279458.8322 | 62.0402 | 75.7
35815 | 2021-02-23 19:33 | 16.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.0403 | μmol/L | 25.3066 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.072 | 204845.2963 | 279439.6764 | 62.0402 | 75.7
35825 | 2021-02-23 19:34 | 16.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.1175 | μmol/L | 25.3005 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.07 | 204813.9171 | 279435.1659 | 62.0402 | 75.7
35835 | 2021-02-23 19:34 | 16.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.9325 | μmol/L | 25.3312 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.07 | 204793.874 | 279398.6077 | 62.0402 | 75.7
35845 | 2021-02-23 19:34 | 17.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.9317 | μmol/L | 25.3373 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.068 | 204776.8759 | 279385.6243 | 62.0402 | 75.7
35855 | 2021-02-23 19:35 | 17.6642 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.7964 | μmol/L | 25.3558 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.07 | 204735.6862 | 279358.8329 | 62.0402 | 75.7
35865 | 2021-02-23 19:35 | 17.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.8669 | μmol/L | 25.3496 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.068 | 204727.9077 | 279339.4162 | 62.0402 | 75.7
35875 | 2021-02-23 19:35 | 18.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.0912 | μmol/L | 25.3189 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.065 | 204676.6184 | 279326.2042 | 62.0402 | 75.7
35885 | 2021-02-23 19:36 | 18.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.0081 | μmol/L | 25.3373 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.064 | 204639.8861 | 279301.8877 | 62.0402 | 75.7
35895 | 2021-02-23 19:36 | 18.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.9833 | μmol/L | 25.3435 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.063 | 204616.1185 | 279277.0427 | 62.0402 | 75.7
35905 | 2021-02-23 19:36 | 19.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.0182 | μmol/L | 25.3435 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.061 | 204567.6805 | 279265.4741 | 62.0402 | 75.7
35915 | 2021-02-23 19:37 | 19.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 201.0598 | μmol/L | 25.3435 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.059 | 204538.0303 | 279244.2456 | 62.0402 | 75.7
35925 | 2021-02-23 19:37 | 19.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.8929 | μmol/L | 25.3681 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.06 | 204501.6132 | 279218.2011 | 62.0402 | 75.7
35935 | 2021-02-23 19:37 | 20.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.7305 | μmol/L | 25.4111 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.055 | 204471.2316 | 279192.3448 | 62.0402 | 75.7
35945 | 2021-02-23 19:38 | 20.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.7713 | μmol/L | 25.4172 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.051 | 204446.1537 | 279174.4729 | 62.0402 | 75.7
35955 | 2021-02-23 19:38 | 20.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.7728 | μmol/L | 25.4049 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.055 | 204439.6983 | 279160.2431 | 62.0402 | 75.7
35965 | 2021-02-23 19:38 | 21.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.7131 | μmol/L | 25.4111 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.056 | 204415.3251 | 279145.355 | 62.0402 | 75.7
35975 | 2021-02-23 19:39 | 21.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.6864 | μmol/L | 25.3988 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.062 | 204441.336 | 279119.7765 | 62.0402 | 75.7
35985 | 2021-02-23 19:39 | 21.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.6356 | μmol/L | 25.3865 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.069 | 204473.2798 | 279104.6306 | 62.0402 | 75.7
35995 | 2021-02-23 19:39 | 22.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.8274 | μmol/L | 25.3865 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.058 | 204379.0438 | 279077.1495 | 62.0402 | 75.7
36005 | 2021-02-23 19:40 | 22.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.6833 | μmol/L | 25.4234 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.054 | 204348.9578 | 279063.4389 | 62.0402 | 75.7
36015 | 2021-02-23 19:40 | 22.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.54 | μmol/L | 25.4541 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 204293.9896 | 279051.1327 | 62.0402 | 75.7
36025 | 2021-02-23 19:40 | 23.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.6469 | μmol/L | 25.4357 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 204249.2103 | 279027.31 | 62.0402 | 75.7
36035 | 2021-02-23 19:41 | 23.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.8752 | μmol/L | 25.4234 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.043 | 204154.3119 | 279000.9082 | 62.0402 | 75.7
36045 | 2021-02-23 19:41 | 23.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.8054 | μmol/L | 25.4234 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 204176.2785 | 278988.131 | 62.0402 | 75.7
36055 | 2021-02-23 19:41 | 24.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5589 | μmol/L | 25.4418 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.055 | 204223.086 | 278964.3509 | 62.0402 | 75.7
36065 | 2021-02-23 19:42 | 24.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5218 | μmol/L | 25.4602 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.051 | 204192.7672 | 278953.4118 | 62.0402 | 75.7
36075 | 2021-02-23 19:42 | 24.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3271 | μmol/L | 25.4848 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.054 | 204208.0759 | 278931.63 | 62.0402 | 75.7
36085 | 2021-02-23 19:42 | 25.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3437 | μmol/L | 25.491 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.051 | 204166.1618 | 278909.5733 | 62.0402 | 75.7
36095 | 2021-02-23 19:43 | 25.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3619 | μmol/L | 25.4848 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 204164.5763 | 278886.9683 | 62.0402 | 75.7
36105 | 2021-02-23 19:43 | 25.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3468 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.059 | 204177.275 | 278873.0566 | 62.0402 | 75.7
36115 | 2021-02-23 19:43 | 26.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.521 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 204096.1219 | 278852.0868 | 62.0402 | 75.7
36125 | 2021-02-23 19:44 | 26.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4854 | μmol/L | 25.4725 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 204063.1491 | 278831.5456 | 62.0402 | 75.7
36135 | 2021-02-23 19:44 | 26.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5384 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.048 | 204030.9877 | 278823.3849 | 62.0402 | 75.7
36145 | 2021-02-23 19:44 | 27.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.502 | μmol/L | 25.4787 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.046 | 203989.5472 | 278797.6773 | 62.0402 | 75.7
36155 | 2021-02-23 19:45 | 27.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5369 | μmol/L | 25.4787 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.044 | 203969.8756 | 278786.6231 | 62.0402 | 75.7
36165 | 2021-02-23 19:45 | 27.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4126 | μmol/L | 25.4971 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.045 | 203946.2925 | 278766.0872 | 62.0402 | 75.7
36175 | 2021-02-23 19:45 | 28.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3975 | μmol/L | 25.4787 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203991.1566 | 278747.0258 | 62.0402 | 75.7
36185 | 2021-02-23 19:46 | 28.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3097 | μmol/L | 25.4848 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.055 | 203969.8386 | 278734.5739 | 62.0402 | 75.7
36195 | 2021-02-23 19:46 | 28.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2377 | μmol/L | 25.5033 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.053 | 203930.456 | 278708.6538 | 62.0402 | 75.7
36205 | 2021-02-23 19:46 | 29.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0418 | μmol/L | 25.5401 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203888.8284 | 278705.366 | 62.0402 | 75.7
36215 | 2021-02-23 19:47 | 29.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0054 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.05 | 203872.0042 | 278680.8791 | 62.0402 | 75.7
36225 | 2021-02-23 19:47 | 29.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2362 | μmol/L | 25.5155 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 203847.2927 | 278662.6843 | 62.0402 | 75.7
36235 | 2021-02-23 19:47 | 30.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3429 | μmol/L | 25.4971 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 203798.4316 | 278651.1395 | 62.0402 | 75.7
36245 | 2021-02-23 19:48 | 30.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1658 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.051 | 203803.9783 | 278630.8657 | 62.0402 | 75.7
36255 | 2021-02-23 19:48 | 30.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0402 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.048 | 203758.5275 | 278617.1153 | 62.0402 | 75.7
36265 | 2021-02-23 19:48 | 31.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2149 | μmol/L | 25.5463 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 203697.3143 | 278605.2661 | 62.0402 | 75.7
36275 | 2021-02-23 19:49 | 31.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1612 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 203678.8426 | 278580.494 | 62.0402 | 75.7
36285 | 2021-02-23 19:49 | 31.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0371 | μmol/L | 25.577 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 203656.2953 | 278577.0772 | 62.0402 | 75.7
36295 | 2021-02-23 19:49 | 32.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2876 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.044 | 203692.9398 | 278558.128 | 62.0402 | 75.7
36305 | 2021-02-23 19:50 | 32.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0062 | μmol/L | 25.5463 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203699.5374 | 278540.2428 | 62.0402 | 75.7
36315 | 2021-02-23 19:50 | 32.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1643 | μmol/L | 25.534 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203657.6552 | 278527.7211 | 62.0402 | 75.7
36325 | 2021-02-23 19:50 | 33.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.218 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.048 | 203639.1328 | 278516.2559 | 62.0402 | 75.7
36335 | 2021-02-23 19:51 | 33.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0924 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.045 | 203607.1514 | 278502.7503 | 62.0402 | 75.7
36345 | 2021-02-23 19:51 | 33.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1287 | μmol/L | 25.5401 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203583.7864 | 278491.9642 | 62.0402 | 75.7
36355 | 2021-02-23 19:51 | 34.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1793 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 203526.7645 | 278477.1791 | 62.0402 | 75.7
36365 | 2021-02-23 19:52 | 34.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0031 | μmol/L | 25.5709 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.044 | 203484.9577 | 278462.525 | 62.0402 | 75.7
36375 | 2021-02-23 19:52 | 34.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0734 | μmol/L | 25.5647 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.042 | 203478.6077 | 278453.7854 | 62.0402 | 75.7
36385 | 2021-02-23 19:52 | 35.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0054 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.05 | 203513.1661 | 278418.9111 | 62.0402 | 75.7
36395 | 2021-02-23 19:53 | 35.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0931 | μmol/L | 25.5463 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203510.0424 | 278414.3998 | 62.0402 | 75.7
36405 | 2021-02-23 19:53 | 35.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9683 | μmol/L | 25.5709 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.046 | 203470.3519 | 278387.2907 | 62.0402 | 75.7
36415 | 2021-02-23 19:53 | 36.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3066 | μmol/L | 25.5094 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203474.0248 | 278364.1531 | 62.0402 | 75.7
36425 | 2021-02-23 19:54 | 36.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.271 | μmol/L | 25.5155 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203437.5618 | 278353.3958 | 62.0402 | 75.7
36435 | 2021-02-23 19:54 | 36.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9873 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 203413.0007 | 278344.0126 | 62.0402 | 75.7
36445 | 2021-02-23 19:54 | 37.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9857 | μmol/L | 25.5709 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.045 | 203416.8259 | 278323.7816 | 62.0402 | 75.7
36455 | 2021-02-23 19:55 | 37.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9865 | μmol/L | 25.5647 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203386.5006 | 278306.1834 | 62.0402 | 75.7
36465 | 2021-02-23 19:55 | 37.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.951 | μmol/L | 25.5709 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 203375.6355 | 278302.5789 | 62.0402 | 75.7
36475 | 2021-02-23 19:55 | 38.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9683 | μmol/L | 25.5709 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.046 | 203380.998 | 278288.12 | 62.0402 | 75.7
36485 | 2021-02-23 19:56 | 38.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9344 | μmol/L | 25.5647 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.05 | 203375.1093 | 278272.1948 | 62.0402 | 75.7
36495 | 2021-02-23 19:56 | 38.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8286 | μmol/L | 25.577 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203378.2392 | 278253.5218 | 62.0402 | 75.7
36505 | 2021-02-23 19:56 | 39.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9351 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203366.7567 | 278251.9487 | 62.0402 | 75.7
36515 | 2021-02-23 19:57 | 39.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9707 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203358.3954 | 278221.9773 | 62.0402 | 75.7
36525 | 2021-02-23 19:57 | 39.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8822 | μmol/L | 25.5647 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.053 | 203333.2054 | 278216.3603 | 62.0402 | 75.7
36535 | 2021-02-23 19:57 | 40.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1484 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.052 | 203316.8201 | 278203.7698 | 62.0402 | 75.7
36545 | 2021-02-23 19:58 | 40.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8657 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.056 | 203370.802 | 278193.7489 | 62.0402 | 75.7
36555 | 2021-02-23 19:58 | 40.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8506 | μmol/L | 25.5401 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.063 | 203408.7788 | 278175.1591 | 62.0402 | 75.7
36565 | 2021-02-23 19:58 | 41.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8506 | μmol/L | 25.5401 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.063 | 203393.3217 | 278175.0567 | 62.0402 | 75.7
36575 | 2021-02-23 19:59 | 41.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.7623 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.064 | 203380.2642 | 278153.5258 | 62.0402 | 75.7
36585 | 2021-02-23 19:59 | 41.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.7623 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.064 | 203341.4894 | 278147.5362 | 62.0402 | 75.7
36595 | 2021-02-23 19:59 | 42.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8657 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.056 | 203301.5594 | 278126.3351 | 62.0402 | 75.7
36605 | 2021-02-23 20:00 | 42.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.883 | μmol/L | 25.5586 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.055 | 203255.5544 | 278121.026 | 62.0402 | 75.7
36615 | 2021-02-23 20:00 | 42.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9012 | μmol/L | 25.5524 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.056 | 203245.5535 | 278121.9238 | 62.0402 | 75.7
36625 | 2021-02-23 20:00 | 43.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8672 | μmol/L | 25.5463 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.06 | 203251.2787 | 278091.5753 | 62.0402 | 75.7
36635 | 2021-02-23 20:01 | 43.6642 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9391 | μmol/L | 25.5278 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.062 | 203276.1846 | 278079.4132 | 62.0402 | 75.7
36645 | 2021-02-23 20:01 | 43.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8885 | μmol/L | 25.5155 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.069 | 203327.3642 | 278076.5878 | 62.0402 | 75.7
36655 | 2021-02-23 20:01 | 44.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1002 | μmol/L | 25.491 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.065 | 203297.0848 | 278066.6287 | 62.0402 | 75.7
36665 | 2021-02-23 20:02 | 44.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1373 | μmol/L | 25.4725 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.069 | 203301.3026 | 278062.0898 | 62.0402 | 75.7
36675 | 2021-02-23 20:02 | 44.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9414 | μmol/L | 25.5094 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.068 | 203269.309 | 278050.5647 | 62.0402 | 75.7
36685 | 2021-02-23 20:02 | 45.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9233 | μmol/L | 25.5155 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.067 | 203251.5195 | 278041.9763 | 62.0402 | 75.7
36695 | 2021-02-23 20:03 | 45.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.7836 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.073 | 203255.6038 | 278038.0254 | 62.0402 | 75.7
36705 | 2021-02-23 20:03 | 45.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9398 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.064 | 203213.7647 | 278018.7578 | 62.0402 | 75.7
36715 | 2021-02-23 20:03 | 46.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9051 | μmol/L | 25.5217 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.066 | 203190.0383 | 278008.5722 | 62.0402 | 75.7
36725 | 2021-02-23 20:04 | 46.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8546 | μmol/L | 25.5094 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.073 | 203215.9006 | 278009.2032 | 62.0402 | 75.7
36735 | 2021-02-23 20:04 | 46.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9059 | μmol/L | 25.5155 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.068 | 203179.0575 | 277980.2256 | 62.0402 | 75.7
36745 | 2021-02-23 20:04 | 47.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.924 | μmol/L | 25.5094 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.069 | 203173.4134 | 277961.8504 | 62.0402 | 75.7
36755 | 2021-02-23 20:05 | 47.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.924 | μmol/L | 25.5094 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.069 | 203159.9233 | 277960.1144 | 62.0402 | 75.7
36765 | 2021-02-23 20:05 | 47.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9777 | μmol/L | 25.4971 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.07 | 203153.006 | 277953.2873 | 62.0402 | 75.7
36775 | 2021-02-23 20:05 | 48.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9248 | μmol/L | 25.5033 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.071 | 203141.7159 | 277949.6824 | 62.0402 | 75.7
36785 | 2021-02-23 20:06 | 48.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9422 | μmol/L | 25.5033 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.07 | 203139.8541 | 277929.4401 | 62.0402 | 75.7
36795 | 2021-02-23 20:06 | 48.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9422 | μmol/L | 25.5033 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.07 | 203118.1061 | 277914.0771 | 62.0402 | 75.7
36805 | 2021-02-23 20:06 | 49.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9967 | μmol/L | 25.4848 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.073 | 203111.4567 | 277908.179 | 62.0402 | 75.7
36815 | 2021-02-23 20:07 | 49.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9967 | μmol/L | 25.4848 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.073 | 203102.9441 | 277901.758 | 62.0402 | 75.7
36825 | 2021-02-23 20:07 | 49.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.067 | μmol/L | 25.4787 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.071 | 203076.5404 | 277884.21 | 62.0402 | 75.7
36835 | 2021-02-23 20:07 | 50.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1207 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.072 | 203050.6418 | 277862.925 | 62.0402 | 75.7
36845 | 2021-02-23 20:08 | 50.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1025 | μmol/L | 25.4725 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.071 | 203037.505 | 277837.6334 | 62.0402 | 75.7
36855 | 2021-02-23 20:08 | 50.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1207 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.072 | 203045.106 | 277835.8664 | 62.0402 | 75.7
36865 | 2021-02-23 20:08 | 51.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0338 | μmol/L | 25.4664 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.077 | 203038.4935 | 277823.6599 | 62.0402 | 75.7
36875 | 2021-02-23 20:09 | 51.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0504 | μmol/L | 25.4725 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.074 | 203004.2279 | 277809.7809 | 62.0402 | 75.7
36885 | 2021-02-23 20:09 | 51.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0867 | μmol/L | 25.4602 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.076 | 203027.0695 | 277789.5149 | 62.0402 | 75.7
36895 | 2021-02-23 20:09 | 52.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0006 | μmol/L | 25.4541 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.083 | 203047.8683 | 277773.784 | 62.0402 | 75.7
36905 | 2021-02-23 20:10 | 52.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0883 | μmol/L | 25.4479 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.08 | 203017.4897 | 277765.6361 | 62.0402 | 75.7
36915 | 2021-02-23 20:10 | 52.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.123 | μmol/L | 25.4479 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.078 | 203018.161 | 277762.6366 | 62.0402 | 75.7
36925 | 2021-02-23 20:10 | 53.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1065 | μmol/L | 25.4418 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.081 | 202997.2506 | 277737.3522 | 62.0402 | 75.7
36935 | 2021-02-23 20:11 | 53.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1065 | μmol/L | 25.4418 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.081 | 202987.5414 | 277724.9878 | 62.0402 | 75.7
36945 | 2021-02-23 20:11 | 53.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1594 | μmol/L | 25.4357 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.08 | 202971.4509 | 277724.546 | 62.0402 | 75.7
36955 | 2021-02-23 20:11 | 54.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1776 | μmol/L | 25.4295 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.081 | 202952.1455 | 277705.4371 | 62.0402 | 75.7
36965 | 2021-02-23 20:12 | 54.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1428 | μmol/L | 25.4295 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.083 | 202944.9121 | 277693.4737 | 62.0402 | 75.7
36975 | 2021-02-23 20:12 | 54.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1602 | μmol/L | 25.4295 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.082 | 202948.8158 | 277685.2334 | 62.0402 | 75.7
36985 | 2021-02-23 20:12 | 55.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1262 | μmol/L | 25.4234 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.086 | 202932.5456 | 277666.8371 | 62.0402 | 75.7
36995 | 2021-02-23 20:13 | 55.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1799 | μmol/L | 25.4111 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.087 | 202969.8413 | 277671.689 | 62.0402 | 75.7
37005 | 2021-02-23 20:13 | 55.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1286 | μmol/L | 25.4049 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.092 | 202984.5092 | 277657.4249 | 62.0402 | 75.7
37015 | 2021-02-23 20:13 | 56.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1112 | μmol/L | 25.4049 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.093 | 202969.6128 | 277644.6537 | 62.0402 | 75.7
37025 | 2021-02-23 20:14 | 56.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1641 | μmol/L | 25.3988 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.092 | 202978.1298 | 277645.7695 | 62.0402 | 75.7
37035 | 2021-02-23 20:14 | 56.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1649 | μmol/L | 25.3926 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.094 | 202980.9916 | 277631.5369 | 62.0402 | 75.7
37045 | 2021-02-23 20:14 | 57.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.131 | μmol/L | 25.3865 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.098 | 203009.8514 | 277642.9 | 62.0402 | 75.7
37055 | 2021-02-23 20:15 | 57.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1136 | μmol/L | 25.3865 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.099 | 203014.0335 | 277630.2705 | 62.0402 | 75.7
37065 | 2021-02-23 20:15 | 57.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1144 | μmol/L | 25.3804 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.101 | 203007.6429 | 277614.6712 | 62.0402 | 75.7
37075 | 2021-02-23 20:15 | 58.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1499 | μmol/L | 25.3742 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.101 | 203011.4968 | 277613.72 | 62.0402 | 75.7
37085 | 2021-02-23 20:16 | 58.6642 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1325 | μmol/L | 25.3742 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.102 | 202992.8624 | 277595.5537 | 62.0402 | 75.7
37095 | 2021-02-23 20:16 | 58.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1152 | μmol/L | 25.3742 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.103 | 202987.5724 | 277586.743 | 62.0402 | 75.7
37105 | 2021-02-23 20:16 | 59.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1681 | μmol/L | 25.3681 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.102 | 202978.8564 | 277577.4613 | 62.0402 | 75.7
37115 | 2021-02-23 20:17 | 59.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1507 | μmol/L | 25.3681 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.103 | 202983.8713 | 277567.8898 | 62.0402 | 75.7
37125 | 2021-02-23 20:17 | 59.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0886 | μmol/L | 25.3619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.109 | 203019.6159 | 277569.2475 | 62.0402 | 75.7
37135 | 2021-02-23 20:17 | 60.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1349 | μmol/L | 25.3558 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.108 | 203011.5491 | 277558.4643 | 62.0402 | 75.7
37145 | 2021-02-23 20:18 | 60.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1176 | μmol/L | 25.3558 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.109 | 203013.5648 | 277543.0952 | 62.0402 | 75.7
37155 | 2021-02-23 20:18 | 60.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1894 | μmol/L | 25.3373 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.111 | 203024.0146 | 277560.1272 | 62.0402 | 75.7
37165 | 2021-02-23 20:18 | 61.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.259 | μmol/L | 25.3373 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.107 | 203014.5824 | 277547.2197 | 62.0402 | 75.7
37175 | 2021-02-23 20:19 | 61.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1373 | μmol/L | 25.3373 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.114 | 203041.9204 | 277540.0502 | 62.0402 | 75.7
37185 | 2021-02-23 20:19 | 61.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0852 | μmol/L | 25.3373 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.117 | 203050.5981 | 277536.9815 | 62.0402 | 75.7
37195 | 2021-02-23 20:19 | 62.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1737 | μmol/L | 25.3251 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.116 | 203037.9829 | 277532.2771 | 62.0402 | 75.7
37205 | 2021-02-23 20:20 | 62.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1737 | μmol/L | 25.3251 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.116 | 203038.366 | 277537.5223 | 62.0402 | 75.7
37215 | 2021-02-23 20:20 | 62.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.105 | μmol/L | 25.3189 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.122 | 203071.4621 | 277512.3775 | 62.0402 | 75.7
37225 | 2021-02-23 20:20 | 63.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1224 | μmol/L | 25.3189 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.121 | 203053.0778 | 277525.0533 | 62.0402 | 75.7
37235 | 2021-02-23 20:21 | 63.664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1753 | μmol/L | 25.3128 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.12 | 203055.2418 | 277511.4148 | 62.0402 | 75.7
37245 | 2021-02-23 20:21 | 63.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.124 | μmol/L | 25.3066 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.125 | 203068.9141 | 277503.8574 | 62.0402 | 75.7
37255 | 2021-02-23 20:21 | 64.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.143 | μmol/L | 25.2943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.128 | 203083.2961 | 277502.8793 | 62.0402 | 75.7
37265 | 2021-02-23 20:22 | 64.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1777 | μmol/L | 25.2943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.126 | 203072.9566 | 277491.1388 | 62.0402 | 75.7
37275 | 2021-02-23 20:22 | 64.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.1785 | μmol/L | 25.2882 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.128 | 203061.8016 | 277497.1978 | 62.0402 | 75.7
37285 | 2021-02-23 20:22 | 65.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3199 | μmol/L | 25.2698 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.126 | 203065.9026 | 277498.3987 | 62.0402 | 75.7
37295 | 2021-02-23 20:23 | 65.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2917 | μmol/L | 25.2698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.128 | 203065.2158 | 277476.6915 | 62.0402 | 75.7
37305 | 2021-02-23 20:23 | 65.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3737 | μmol/L | 25.2575 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.127 | 203087.9285 | 277479.6621 | 62.0402 | 75.7
37315 | 2021-02-23 20:23 | 66.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2387 | μmol/L | 25.2759 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.129 | 203064.4521 | 277475.2391 | 62.0402 | 75.7
37325 | 2021-02-23 20:24 | 66.664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2867 | μmol/L | 25.2575 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.132 | 203081.7932 | 277462.4938 | 62.0402 | 75.7
37335 | 2021-02-23 20:24 | 66.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.3207 | μmol/L | 25.2636 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.128 | 203034.1232 | 277467.1198 | 62.0402 | 75.7
37345 | 2021-02-23 20:24 | 67.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4614 | μmol/L | 25.2513 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.124 | 203011.1514 | 277472.6323 | 62.0402 | 75.7
37355 | 2021-02-23 20:25 | 67.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4796 | μmol/L | 25.2452 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.125 | 203005.7348 | 277452.1855 | 62.0402 | 75.7
37365 | 2021-02-23 20:25 | 67.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5565 | μmol/L | 25.239 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.123 | 202993.9388 | 277462.8829 | 62.0402 | 75.7
37375 | 2021-02-23 20:25 | 68.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4703 | μmol/L | 25.2329 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.13 | 203031.191 | 277451.6699 | 62.0402 | 75.7
37385 | 2021-02-23 20:26 | 68.6642 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4371 | μmol/L | 25.2206 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.136 | 203063.8973 | 277448.3044 | 62.0402 | 75.7
37395 | 2021-02-23 20:26 | 68.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4016 | μmol/L | 25.2267 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.136 | 203046.2124 | 277453.3238 | 62.0402 | 75.7
37405 | 2021-02-23 20:26 | 69.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4355 | μmol/L | 25.2329 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 203017.5956 | 277436.0948 | 62.0402 | 75.7
37415 | 2021-02-23 20:27 | 69.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5067 | μmol/L | 25.2206 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 203038.9648 | 277423.7314 | 62.0402 | 75.7
37425 | 2021-02-23 20:27 | 69.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5415 | μmol/L | 25.2206 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.13 | 203011.7554 | 277415.2284 | 62.0402 | 75.7
37435 | 2021-02-23 20:27 | 70.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.5605 | μmol/L | 25.2083 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.133 | 203028.5035 | 277419.835 | 62.0402 | 75.7
37445 | 2021-02-23 20:28 | 70.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4711 | μmol/L | 25.2267 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 203017.4791 | 277409.7763 | 62.0402 | 75.7
37455 | 2021-02-23 20:28 | 70.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4529 | μmol/L | 25.2329 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.131 | 203003.4931 | 277399.7744 | 62.0402 | 75.7
37465 | 2021-02-23 20:28 | 71.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4537 | μmol/L | 25.2267 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.133 | 203004.4543 | 277379.8914 | 62.0402 | 75.7
37475 | 2021-02-23 20:29 | 71.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2941 | μmol/L | 25.2513 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.134 | 203016.0064 | 277382.1707 | 62.0402 | 75.7
37485 | 2021-02-23 20:29 | 71.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4173 | μmol/L | 25.239 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.131 | 202989.0243 | 277380.5663 | 62.0402 | 75.7
37495 | 2021-02-23 20:29 | 72.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.4355 | μmol/L | 25.2329 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 202980.879 | 277356.4033 | 62.0402 | 75.7
37505 | 2021-02-23 20:30 | 72.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.2569 | μmol/L | 25.2698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.13 | 202972.3499 | 277365.0487 | 62.0402 | 75.7
37515 | 2021-02-23 20:30 | 72.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0982 | μmol/L | 25.2882 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.133 | 202982.5922 | 277349.1876 | 62.0402 | 75.7
37525 | 2021-02-23 20:30 | 73.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 200.0272 | μmol/L | 25.3005 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.133 | 202999.54 | 277354.7361 | 62.0402 | 75.7
37535 | 2021-02-23 20:31 | 73.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.8678 | μmol/L | 25.3251 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.134 | 203006.942 | 277348.3651 | 62.0402 | 75.7
37545 | 2021-02-23 20:31 | 73.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9041 | μmol/L | 25.3128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.136 | 203010.8886 | 277345.3136 | 62.0402 | 75.7
37555 | 2021-02-23 20:31 | 74.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.9925 | μmol/L | 25.3005 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.135 | 203003.0479 | 277326.657 | 62.0402 | 75.7
37565 | 2021-02-23 20:32 | 74.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.815 | μmol/L | 25.3312 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.135 | 203019.7429 | 277317.4014 | 62.0402 | 75.7
37575 | 2021-02-23 20:32 | 74.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.6913 | μmol/L | 25.3496 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.136 | 203034.4782 | 277325.2695 | 62.0402 | 75.7
37585 | 2021-02-23 20:32 | 75.3308 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.7375 | μmol/L | 25.3435 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.135 | 203018.2698 | 277329.2027 | 62.0402 | 75.7
37595 | 2021-02-23 20:33 | 75.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.7243 | μmol/L | 25.3619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.13 | 202995.6433 | 277317.1557 | 62.0402 | 75.7
37605 | 2021-02-23 20:33 | 75.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.5833 | μmol/L | 25.3804 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 202985.8395 | 277323.7902 | 62.0402 | 75.7
37615 | 2021-02-23 20:33 | 76.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.5132 | μmol/L | 25.3865 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.134 | 202985.4663 | 277320.0507 | 62.0402 | 75.7
37625 | 2021-02-23 20:34 | 76.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.5305 | μmol/L | 25.3865 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.133 | 202983.9158 | 277320.4939 | 62.0402 | 75.7
37635 | 2021-02-23 20:34 | 76.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.505 | μmol/L | 25.3988 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.13 | 202972.0298 | 277308.636 | 62.0402 | 75.7
37645 | 2021-02-23 20:34 | 77.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.6171 | μmol/L | 25.3865 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.128 | 202961.5104 | 277312.4736 | 62.0402 | 75.7
37655 | 2021-02-23 20:35 | 77.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.51 | μmol/L | 25.4111 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.126 | 202963.6591 | 277295.9612 | 62.0402 | 75.7
37665 | 2021-02-23 20:35 | 77.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.4226 | μmol/L | 25.4172 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.129 | 202961.009 | 277299.3332 | 62.0402 | 75.7
37675 | 2021-02-23 20:35 | 78.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.4753 | μmol/L | 25.4111 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.128 | 202981.7744 | 277295.7711 | 62.0402 | 75.7
37685 | 2021-02-23 20:36 | 78.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.3691 | μmol/L | 25.4295 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.128 | 202966.5386 | 277292.114 | 62.0402 | 75.7
37695 | 2021-02-23 20:36 | 78.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.174 | μmol/L | 25.4664 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.127 | 202956.5973 | 277290.136 | 62.0402 | 75.7
37705 | 2021-02-23 20:36 | 79.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.1024 | μmol/L | 25.4848 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.125 | 202944.3209 | 277273.7563 | 62.0402 | 75.7
37715 | 2021-02-23 20:37 | 79.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.137 | μmol/L | 25.4848 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.123 | 202919.9987 | 277286.8676 | 62.0402 | 75.7
37725 | 2021-02-23 20:37 | 79.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.0136 | μmol/L | 25.5033 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202917.744 | 277288.435 | 62.0402 | 75.7
37735 | 2021-02-23 20:37 | 80.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.9248 | μmol/L | 25.5217 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.123 | 202912.1038 | 277283.2988 | 62.0402 | 75.7
37745 | 2021-02-23 20:38 | 80.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.0473 | μmol/L | 25.5094 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 202895.5515 | 277268.7044 | 62.0402 | 75.7
37755 | 2021-02-23 20:38 | 80.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.9453 | μmol/L | 25.4971 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.13 | 202949.0215 | 277278.8927 | 62.0402 | 75.7
37765 | 2021-02-23 20:38 | 81.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.924 | μmol/L | 25.5278 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.121 | 202904.5067 | 277273.8516 | 62.0402 | 75.7
37775 | 2021-02-23 20:39 | 81.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7662 | μmol/L | 25.5463 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202903.8173 | 277265.0684 | 62.0402 | 75.7
37785 | 2021-02-23 20:39 | 81.9976 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.8204 | μmol/L | 25.5278 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.127 | 202924.4699 | 277274.4207 | 62.0402 | 75.7
37795 | 2021-02-23 20:39 | 82.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.0103 | μmol/L | 25.5278 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.116 | 202862.1108 | 277257.6554 | 62.0402 | 75.7
37805 | 2021-02-23 20:40 | 82.6646 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 199.0087 | μmol/L | 25.5401 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.112 | 202839.2112 | 277256.1111 | 62.0402 | 75.7
37815 | 2021-02-23 20:40 | 82.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.9494 | μmol/L | 25.5463 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.113 | 202836.7035 | 277255.0233 | 62.0402 | 75.7
37825 | 2021-02-23 20:40 | 83.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.9026 | μmol/L | 25.5586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.112 | 202841.9692 | 277264.2792 | 62.0402 | 75.7
37835 | 2021-02-23 20:41 | 83.6645 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7473 | μmol/L | 25.5586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.121 | 202898.2917 | 277256.6016 | 62.0402 | 75.7
37845 | 2021-02-23 20:41 | 83.9974 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7301 | μmol/L | 25.5586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.122 | 202899.7207 | 277253.2081 | 62.0402 | 75.7
37855 | 2021-02-23 20:41 | 84.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7982 | μmol/L | 25.5647 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.116 | 202855.1388 | 277254.6728 | 62.0402 | 75.7
37865 | 2021-02-23 20:42 | 84.664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.5019 | μmol/L | 25.5893 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.125 | 202905.7631 | 277239.7229 | 62.0402 | 75.7
37875 | 2021-02-23 20:42 | 84.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.4477 | μmol/L | 25.6077 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.122 | 202885.9862 | 277245.8647 | 62.0402 | 75.7
37885 | 2021-02-23 20:42 | 85.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7095 | μmol/L | 25.5831 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.115 | 202837.9136 | 277247.7694 | 62.0402 | 75.7
37895 | 2021-02-23 20:43 | 85.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.625 | μmol/L | 25.5709 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202916.0598 | 277238.6534 | 62.0402 | 75.7
37905 | 2021-02-23 20:43 | 85.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.588 | μmol/L | 25.5893 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 202869.389 | 277236.3839 | 62.0402 | 75.7
37915 | 2021-02-23 20:43 | 86.3312 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.7095 | μmol/L | 25.5831 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.115 | 202851.3256 | 277229.5446 | 62.0402 | 75.7
37925 | 2021-02-23 20:44 | 86.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.6225 | μmol/L | 25.5893 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.118 | 202868.322 | 277241.5146 | 62.0402 | 75.7
37935 | 2021-02-23 20:44 | 86.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.6028 | μmol/L | 25.6077 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.113 | 202842.4067 | 277232.2775 | 62.0402 | 75.7
37945 | 2021-02-23 20:44 | 87.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.6011 | μmol/L | 25.62 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.109 | 202794.9841 | 277235.5848 | 62.0402 | 75.7
37955 | 2021-02-23 20:45 | 87.6642 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.6528 | μmol/L | 25.62 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.106 | 202772.948 | 277232.8873 | 62.0402 | 75.7
37965 | 2021-02-23 20:45 | 87.9978 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.5995 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.105 | 202789.5758 | 277234.4833 | 62.0402 | 75.7
37975 | 2021-02-23 20:45 | 88.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.4788 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.112 | 202801.2082 | 277215.7462 | 62.0402 | 75.7
37985 | 2021-02-23 20:46 | 88.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.3927 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.117 | 202835.7268 | 277219.7304 | 62.0402 | 75.7
37995 | 2021-02-23 20:46 | 88.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.4788 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.112 | 202825.2174 | 277224.5769 | 62.0402 | 75.7
38005 | 2021-02-23 20:46 | 89.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.4599 | μmol/L | 25.6446 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.109 | 202789.2894 | 277218.1636 | 62.0402 | 75.7
38015 | 2021-02-23 20:47 | 89.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.5494 | μmol/L | 25.62 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.112 | 202806.4775 | 277213.2569 | 62.0402 | 75.7
38025 | 2021-02-23 20:47 | 89.9979 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.3755 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.118 | 202828.6157 | 277212.3895 | 62.0402 | 75.7
38035 | 2021-02-23 20:47 | 90.3307 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2001 | μmol/L | 25.6569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 202843.8507 | 277196.1448 | 62.0402 | 75.7
38045 | 2021-02-23 20:48 | 90.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2173 | μmol/L | 25.6569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.119 | 202852.0726 | 277196.8744 | 62.0402 | 75.7
38055 | 2021-02-23 20:48 | 90.9977 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.3058 | μmol/L | 25.6384 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 202841.1821 | 277189.0752 | 62.0402 | 75.7
38065 | 2021-02-23 20:48 | 91.3313 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.3239 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.121 | 202828.8826 | 277181.7313 | 62.0402 | 75.7
38075 | 2021-02-23 20:49 | 91.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.1992 | μmol/L | 25.663 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.118 | 202830.6268 | 277188.5717 | 62.0402 | 75.7
38085 | 2021-02-23 20:49 | 91.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2001 | μmol/L | 25.6569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 202831.0287 | 277186.8707 | 62.0402 | 75.7
38095 | 2021-02-23 20:49 | 92.331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2362 | μmol/L | 25.6446 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.122 | 202836.7224 | 277185.0748 | 62.0402 | 75.7
38105 | 2021-02-23 20:50 | 92.6643 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.237 | μmol/L | 25.6384 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202846.7185 | 277169.1175 | 62.0402 | 75.7
38115 | 2021-02-23 20:50 | 92.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2722 | μmol/L | 25.6323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202850.837 | 277185.7991 | 62.0402 | 75.7
38125 | 2021-02-23 20:50 | 93.3311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.1657 | μmol/L | 25.6569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.122 | 202843.5673 | 277160.7777 | 62.0402 | 75.7
38135 | 2021-02-23 20:51 | 93.6641 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.0085 | μmol/L | 25.6753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.125 | 202853.3266 | 277160.9126 | 62.0402 | 75.7
38145 | 2021-02-23 20:51 | 93.998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 197.9749 | μmol/L | 25.6692 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.129 | 202887.4472 | 277171.6003 | 62.0402 | 75.7
38155 | 2021-02-23 20:51 | 94.3309 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.0445 | μmol/L | 25.663 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.127 | 202875.5695 | 277161.0365 | 62.0402 | 75.7
38165 | 2021-02-23 20:52 | 94.6647 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.0256 | μmol/L | 25.6753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202868.7154 | 277164.2434 | 62.0402 | 75.7
38175 | 2021-02-23 20:52 | 94.9975 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 197.9741 | μmol/L | 25.6753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.127 | 202880.8687 | 277157.7762 | 62.0402 | 75.7
38185 | 2021-02-23 20:52 | 95.3314 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.1124 | μmol/L | 25.6692 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.121 | 202841.4783 | 277161.1314 | 62.0402 | 75.7
38195 | 2021-02-23 20:53 | 95.6644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.2018 | μmol/L | 25.6446 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.124 | 202867.6098 | 277156.5954 | 62.0402 | 75.7
38205 | 2021-02-23 20:53 | 95.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 198.0806 | μmol/L | 25.6507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.129 | 202879.3774 | 277146.3461 | 62.0402 | 75.7