## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29720 | 2021-02-23 12:09 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6956 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 144013.7821 | 303923.7655 | 59.9307 | 38.1
29728 | 2021-02-23 12:09 | 0.33696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9058 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.71 | 144025.4469 | 303929.4762 | 59.9307 | 38.1
29738 | 2021-02-23 12:09 | 0.67086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8881 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.713 | 144030.8797 | 303921.1829 | 59.9307 | 38.1
29748 | 2021-02-23 12:10 | 1.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7898 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 144029.3632 | 303915.3943 | 59.9307 | 38.1
29758 | 2021-02-23 12:10 | 1.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8586 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.71 | 144034.1841 | 303907.4567 | 59.9307 | 38.1
29768 | 2021-02-23 12:10 | 1.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6563 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.715 | 144035.5583 | 303891.8212 | 59.9307 | 38.1
29778 | 2021-02-23 12:11 | 2.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8232 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.716 | 144041.1427 | 303853.6403 | 59.9307 | 38.1
29788 | 2021-02-23 12:11 | 2.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6209 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.721 | 144056.8035 | 303857.5672 | 59.9307 | 38.1
29798 | 2021-02-23 12:11 | 2.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4364 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.723 | 144064.9433 | 303851.0885 | 59.9307 | 38.1
29808 | 2021-02-23 12:12 | 3.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5522 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.722 | 144072.2257 | 303848.9211 | 59.9307 | 38.1
29818 | 2021-02-23 12:12 | 3.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5129 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.726 | 144083.698 | 303836.6117 | 59.9307 | 38.1
29828 | 2021-02-23 12:12 | 3.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4345 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 144116.0748 | 303837.0702 | 59.9307 | 38.1
29838 | 2021-02-23 12:13 | 4.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4777 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.732 | 144120.6695 | 303831.7549 | 59.9307 | 38.1
29848 | 2021-02-23 12:13 | 4.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3874 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 144123.9742 | 303820.2908 | 59.9307 | 38.1
29858 | 2021-02-23 12:13 | 4.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3658 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 144132.9688 | 303806.4983 | 59.9307 | 38.1
29868 | 2021-02-23 12:14 | 5.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3403 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 144124.377 | 303813.5137 | 59.9307 | 38.1
29878 | 2021-02-23 12:14 | 5.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3403 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.734 | 144127.2279 | 303805.6328 | 59.9307 | 38.1
29888 | 2021-02-23 12:14 | 5.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3364 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.732 | 144131.7053 | 303812.6751 | 59.9307 | 38.1
29898 | 2021-02-23 12:15 | 6.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2678 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 144120.2335 | 303799.4713 | 59.9307 | 38.1
29908 | 2021-02-23 12:15 | 6.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2207 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 144123.5279 | 303791.3717 | 59.9307 | 38.1
29918 | 2021-02-23 12:15 | 6.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3148 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.733 | 144127.0617 | 303787.4577 | 59.9307 | 38.1
29928 | 2021-02-23 12:16 | 7.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2972 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.736 | 144142.173 | 303784.5384 | 59.9307 | 38.1
29938 | 2021-02-23 12:16 | 7.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2541 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 144147.0447 | 303786.6505 | 59.9307 | 38.1
29948 | 2021-02-23 12:16 | 7.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.16 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 144161.2025 | 303788.2308 | 59.9307 | 38.1
29958 | 2021-02-23 12:17 | 8.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2325 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.739 | 144174.5048 | 303766.4784 | 59.9307 | 38.1
29968 | 2021-02-23 12:17 | 8.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0523 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.743 | 144184.3348 | 303778.3144 | 59.9307 | 38.1
29978 | 2021-02-23 12:17 | 8.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0777 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.744 | 144195.792 | 303770.8563 | 59.9307 | 38.1
29988 | 2021-02-23 12:18 | 9.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0092 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.745 | 144210.3017 | 303751.1822 | 59.9307 | 38.1
29998 | 2021-02-23 12:18 | 9.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.9916 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.748 | 144230.8409 | 303760.4737 | 59.9307 | 38.1
30008 | 2021-02-23 12:18 | 9.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8545 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.75 | 144240.2979 | 303747.8551 | 59.9307 | 38.1
30018 | 2021-02-23 12:19 | 10.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.9309 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.753 | 144260.705 | 303748.3055 | 59.9307 | 38.1
30028 | 2021-02-23 12:19 | 10.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7979 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.757 | 144250.9671 | 303755.2069 | 59.9307 | 38.1
30038 | 2021-02-23 12:19 | 10.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8879 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 144258.9942 | 303751.033 | 59.9307 | 38.1
30048 | 2021-02-23 12:20 | 11.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7939 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 144254.3951 | 303740.2292 | 59.9307 | 38.1
30058 | 2021-02-23 12:20 | 11.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8409 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 144252.5897 | 303751.0651 | 59.9307 | 38.1
30068 | 2021-02-23 12:20 | 11.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8154 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.754 | 144257.9092 | 303744.3964 | 59.9307 | 38.1
30078 | 2021-02-23 12:21 | 12.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.747 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 144249.7709 | 303739.8902 | 59.9307 | 38.1
30088 | 2021-02-23 12:21 | 12.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.9564 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.754 | 144251.4436 | 303744.384 | 59.9307 | 38.1
30098 | 2021-02-23 12:21 | 12.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0034 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.754 | 144258.3807 | 303755.9951 | 59.9307 | 38.1
30108 | 2021-02-23 12:22 | 13.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8918 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.757 | 144265.4262 | 303747.4025 | 59.9307 | 38.1
30118 | 2021-02-23 12:22 | 13.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0289 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 144277.5234 | 303737.5839 | 59.9307 | 38.1
30128 | 2021-02-23 12:22 | 13.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8743 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.76 | 144281.593 | 303743.487 | 59.9307 | 38.1
30138 | 2021-02-23 12:23 | 14.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8233 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.758 | 144283.2546 | 303750.2314 | 59.9307 | 38.1
30148 | 2021-02-23 12:23 | 14.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6903 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 144284.9328 | 303751.9685 | 59.9307 | 38.1
30158 | 2021-02-23 12:23 | 14.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7979 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.757 | 144277.0916 | 303757.6868 | 59.9307 | 38.1
30168 | 2021-02-23 12:24 | 15.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7764 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.758 | 144273.8302 | 303757.8919 | 59.9307 | 38.1
30178 | 2021-02-23 12:24 | 15.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7509 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.757 | 144265.8974 | 303754.2076 | 59.9307 | 38.1
30188 | 2021-02-23 12:24 | 15.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7764 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.758 | 144275.5042 | 303750.3945 | 59.9307 | 38.1
30198 | 2021-02-23 12:25 | 16.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7079 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.759 | 144284.7745 | 303765.7572 | 59.9307 | 38.1
30208 | 2021-02-23 12:25 | 16.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6394 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.76 | 144293.7018 | 303751.6946 | 59.9307 | 38.1
30218 | 2021-02-23 12:25 | 16.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6649 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 144309.6338 | 303767.9361 | 59.9307 | 38.1
30228 | 2021-02-23 12:26 | 17.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5965 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 144306.1626 | 303762.9131 | 59.9307 | 38.1
30238 | 2021-02-23 12:26 | 17.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6434 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 144318.0001 | 303761.4965 | 59.9307 | 38.1
30248 | 2021-02-23 12:26 | 17.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.618 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 144303.3466 | 303745.4967 | 59.9307 | 38.1
30258 | 2021-02-23 12:27 | 18.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5965 | μmol/L | 15.4598 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.762 | 144317.2064 | 303745.9041 | 59.9307 | 38.1
30268 | 2021-02-23 12:27 | 18.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7118 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 144322.2223 | 303748.5853 | 59.9307 | 38.1
30278 | 2021-02-23 12:27 | 18.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5574 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.766 | 144330.1422 | 303751.655 | 59.9307 | 38.1
30288 | 2021-02-23 12:28 | 19.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5359 | μmol/L | 15.4537 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 144345.3891 | 303758.0993 | 59.9307 | 38.1
30298 | 2021-02-23 12:28 | 19.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6298 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 144353.3272 | 303749.0595 | 59.9307 | 38.1
30308 | 2021-02-23 12:28 | 19.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5907 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.771 | 144362.0374 | 303745.2082 | 59.9307 | 38.1
30318 | 2021-02-23 12:29 | 20.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5693 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.772 | 144362.4624 | 303747.4775 | 59.9307 | 38.1
30328 | 2021-02-23 12:29 | 20.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5048 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.775 | 144381.5723 | 303743.4009 | 59.9307 | 38.1
30338 | 2021-02-23 12:29 | 20.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5987 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.775 | 144387.5485 | 303755.8994 | 59.9307 | 38.1
30348 | 2021-02-23 12:30 | 21.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7356 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.773 | 144392.3337 | 303757.8993 | 59.9307 | 38.1
30358 | 2021-02-23 12:30 | 21.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5557 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.777 | 144417.3297 | 303756.3439 | 59.9307 | 38.1
30368 | 2021-02-23 12:30 | 21.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5517 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.775 | 144415.1204 | 303750.0551 | 59.9307 | 38.1
30378 | 2021-02-23 12:31 | 22.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.3291 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.781 | 144431.3271 | 303768.766 | 59.9307 | 38.1
30388 | 2021-02-23 12:31 | 22.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2607 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.782 | 144442.218 | 303749.5794 | 59.9307 | 38.1
30398 | 2021-02-23 12:31 | 22.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2607 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.782 | 144453.3783 | 303755.3916 | 59.9307 | 38.1
30408 | 2021-02-23 12:32 | 23.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2861 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 144461.1227 | 303757.8185 | 59.9307 | 38.1
30418 | 2021-02-23 12:32 | 23.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.3799 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 144481.341 | 303766.4386 | 59.9307 | 38.1
30428 | 2021-02-23 12:32 | 23.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2003 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.787 | 144490.6895 | 303758.0496 | 59.9307 | 38.1
30438 | 2021-02-23 12:33 | 24.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2218 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.786 | 144496.0033 | 303754.6754 | 59.9307 | 38.1
30448 | 2021-02-23 12:33 | 24.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2043 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.789 | 144494.7522 | 303758.5621 | 59.9307 | 38.1
30458 | 2021-02-23 12:33 | 24.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.3195 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.788 | 144498.2768 | 303763.1805 | 59.9307 | 38.1
30468 | 2021-02-23 12:34 | 25.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2297 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.79 | 144502.2165 | 303753.2883 | 59.9307 | 38.1
30478 | 2021-02-23 12:34 | 25.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1828 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.79 | 144498.0607 | 303769.0831 | 59.9307 | 38.1
30488 | 2021-02-23 12:34 | 25.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1828 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.79 | 144511.6071 | 303778.7862 | 59.9307 | 38.1
30498 | 2021-02-23 12:35 | 26.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.0717 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.793 | 144520.3606 | 303758.4433 | 59.9307 | 38.1
30508 | 2021-02-23 12:35 | 26.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.0717 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.793 | 144525.6879 | 303764.0253 | 59.9307 | 38.1
30518 | 2021-02-23 12:35 | 26.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.0288 | μmol/L | 15.4415 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 144533.4497 | 303762.0267 | 59.9307 | 38.1
30528 | 2021-02-23 12:36 | 27.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1106 | μmol/L | 15.4476 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.789 | 144529.7012 | 303772.3917 | 59.9307 | 38.1
30538 | 2021-02-23 12:36 | 27.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2162 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 144530.5895 | 303761.4649 | 59.9307 | 38.1
30548 | 2021-02-23 12:36 | 27.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.3314 | μmol/L | 15.4049 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 144525.9819 | 303772.6578 | 59.9307 | 38.1
30558 | 2021-02-23 12:37 | 28.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1908 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 144535.7555 | 303763.6829 | 59.9307 | 38.1
30568 | 2021-02-23 12:37 | 28.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1265 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.797 | 144548.2767 | 303781.7002 | 59.9307 | 38.1
30578 | 2021-02-23 12:37 | 28.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.0621 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.8 | 144569.9197 | 303776.2338 | 59.9307 | 38.1
30588 | 2021-02-23 12:38 | 29.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9471 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.801 | 144576.7168 | 303770.1849 | 59.9307 | 38.1
30598 | 2021-02-23 12:38 | 29.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.8868 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 144604.7965 | 303761.6486 | 59.9307 | 38.1
30608 | 2021-02-23 12:38 | 29.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.84 | μmol/L | 15.4354 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 144620.3093 | 303766.6165 | 59.9307 | 38.1
30618 | 2021-02-23 12:39 | 30.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9122 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 144627.3889 | 303753.1914 | 59.9307 | 38.1
30628 | 2021-02-23 12:39 | 30.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9162 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.809 | 144644.7514 | 303779.5351 | 59.9307 | 38.1
30638 | 2021-02-23 12:39 | 30.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.8265 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.811 | 144662.0705 | 303769.9326 | 59.9307 | 38.1
30648 | 2021-02-23 12:40 | 31.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.7837 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 144672.7183 | 303789.8487 | 59.9307 | 38.1
30658 | 2021-02-23 12:40 | 31.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.8479 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.81 | 144651.4081 | 303769.341 | 59.9307 | 38.1
30668 | 2021-02-23 12:40 | 31.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.8987 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 144674.317 | 303776.8559 | 59.9307 | 38.1
30678 | 2021-02-23 12:41 | 32.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.6727 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.816 | 144673.4494 | 303770.1829 | 59.9307 | 38.1
30688 | 2021-02-23 12:41 | 32.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.63 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.818 | 144692.4484 | 303762.2441 | 59.9307 | 38.1
30698 | 2021-02-23 12:41 | 32.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.6553 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.819 | 144683.5719 | 303767.4471 | 59.9307 | 38.1
30708 | 2021-02-23 12:42 | 33.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.6086 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.819 | 144688.6578 | 303771.5625 | 59.9307 | 38.1
30718 | 2021-02-23 12:42 | 33.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.6086 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.819 | 144704.5221 | 303761.5822 | 59.9307 | 38.1
30728 | 2021-02-23 12:42 | 33.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4589 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.826 | 144728.9824 | 303759.0655 | 59.9307 | 38.1
30738 | 2021-02-23 12:43 | 34.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4375 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.827 | 144755.1193 | 303771.9672 | 59.9307 | 38.1
30748 | 2021-02-23 12:43 | 34.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4162 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.828 | 144767.2877 | 303752.23 | 59.9307 | 38.1
30758 | 2021-02-23 12:43 | 34.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.3774 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 144783.1981 | 303769.755 | 59.9307 | 38.1
30768 | 2021-02-23 12:44 | 35.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.288 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 144788.4048 | 303743.9898 | 59.9307 | 38.1
30778 | 2021-02-23 12:44 | 35.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.3988 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.831 | 144795.8136 | 303745.5271 | 59.9307 | 38.1
30788 | 2021-02-23 12:44 | 35.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.3347 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 144781.4354 | 303746.3373 | 59.9307 | 38.1
30798 | 2021-02-23 12:45 | 36.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.288 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 144783.8571 | 303740.2201 | 59.9307 | 38.1
30808 | 2021-02-23 12:45 | 36.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.2453 | μmol/L | 15.4293 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.836 | 144780.0986 | 303727.9665 | 59.9307 | 38.1
30818 | 2021-02-23 12:45 | 36.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4415 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.829 | 144774.0999 | 303721.2297 | 59.9307 | 38.1
30828 | 2021-02-23 12:46 | 37.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4455 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.831 | 144770.9932 | 303716.7405 | 59.9307 | 38.1
30838 | 2021-02-23 12:46 | 37.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4068 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.835 | 144769.3065 | 303700.9775 | 59.9307 | 38.1
30848 | 2021-02-23 12:46 | 37.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.3174 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.837 | 144773.7661 | 303702.6383 | 59.9307 | 38.1
30858 | 2021-02-23 12:47 | 38.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.3174 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.837 | 144775.6751 | 303687.5818 | 59.9307 | 38.1
30868 | 2021-02-23 12:47 | 38.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.228 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.839 | 144776.0687 | 303695.4574 | 59.9307 | 38.1
30878 | 2021-02-23 12:47 | 38.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.2066 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.84 | 144780.9678 | 303680.5792 | 59.9307 | 38.1
30888 | 2021-02-23 12:48 | 39.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.2106 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.842 | 144791.5944 | 303676.7717 | 59.9307 | 38.1
30898 | 2021-02-23 12:48 | 39.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0786 | μmol/L | 15.4232 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.846 | 144805.8074 | 303652.4065 | 59.9307 | 38.1
30908 | 2021-02-23 12:48 | 39.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.1079 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.849 | 144834.3839 | 303672.8831 | 59.9307 | 38.1
30918 | 2021-02-23 12:49 | 40.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.1079 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.849 | 144835.9432 | 303670.3066 | 59.9307 | 38.1
30928 | 2021-02-23 12:49 | 40.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0613 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.849 | 144843.919 | 303656.7889 | 59.9307 | 38.1
30938 | 2021-02-23 12:49 | 40.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0186 | μmol/L | 15.4171 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.851 | 144846.5859 | 303655.8022 | 59.9307 | 38.1
30948 | 2021-02-23 12:50 | 41.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.044 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.852 | 144866.9194 | 303645.8914 | 59.9307 | 38.1
30958 | 2021-02-23 12:50 | 41.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0223 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.855 | 144864.2588 | 303646.575 | 59.9307 | 38.1
30968 | 2021-02-23 12:50 | 41.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.188 | μmol/L | 15.3866 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.854 | 144861.2163 | 303652.1052 | 59.9307 | 38.1
30978 | 2021-02-23 12:51 | 42.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0733 | μmol/L | 15.3988 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.855 | 144871.133 | 303653.4901 | 59.9307 | 38.1
30988 | 2021-02-23 12:51 | 42.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.916 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.858 | 144869.6003 | 303645.8099 | 59.9307 | 38.1
30998 | 2021-02-23 12:51 | 42.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.0307 | μmol/L | 15.3988 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.857 | 144864.8792 | 303641.2738 | 59.9307 | 38.1
31008 | 2021-02-23 12:52 | 43.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.98 | μmol/L | 15.411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.855 | 144868.5556 | 303636.0355 | 59.9307 | 38.1
31018 | 2021-02-23 12:52 | 43.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9796 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.857 | 144864.8536 | 303620.63 | 59.9307 | 38.1
31028 | 2021-02-23 12:52 | 43.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9414 | μmol/L | 15.4049 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.859 | 144860.6258 | 303637.6346 | 59.9307 | 38.1
31038 | 2021-02-23 12:53 | 44.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.937 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.859 | 144862.6025 | 303624.4253 | 59.9307 | 38.1
31048 | 2021-02-23 12:53 | 44.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9157 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.86 | 144858.5591 | 303611.7391 | 59.9307 | 38.1
31058 | 2021-02-23 12:53 | 44.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9837 | μmol/L | 15.3988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.859 | 144869.2084 | 303613.9044 | 59.9307 | 38.1
31068 | 2021-02-23 12:54 | 45.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9623 | μmol/L | 15.3988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.86 | 144865.6553 | 303612.6494 | 59.9307 | 38.1
31078 | 2021-02-23 12:54 | 45.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.8731 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.862 | 144871.8864 | 303607.5479 | 59.9307 | 38.1
31088 | 2021-02-23 12:54 | 45.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.8305 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.864 | 144870.7576 | 303587.9652 | 59.9307 | 38.1
31098 | 2021-02-23 12:55 | 46.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.8348 | μmol/L | 15.4049 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.864 | 144870.7037 | 303588.8537 | 59.9307 | 38.1
31108 | 2021-02-23 12:55 | 46.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7496 | μmol/L | 15.4049 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.868 | 144882.8522 | 303620.8265 | 59.9307 | 38.1
31118 | 2021-02-23 12:55 | 46.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7625 | μmol/L | 15.411 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.865 | 144872.9538 | 303580.7312 | 59.9307 | 38.1
31128 | 2021-02-23 12:56 | 47.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.724 | μmol/L | 15.4049 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.869 | 144873.6796 | 303560.4434 | 59.9307 | 38.1
31138 | 2021-02-23 12:56 | 47.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.8132 | μmol/L | 15.3988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.867 | 144884.9264 | 303578.9542 | 59.9307 | 38.1
31148 | 2021-02-23 12:56 | 47.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.8679 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.871 | 144885.1801 | 303561.7491 | 59.9307 | 38.1
31158 | 2021-02-23 12:57 | 48.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7706 | μmol/L | 15.3988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.869 | 144869.972 | 303546.7267 | 59.9307 | 38.1
31168 | 2021-02-23 12:57 | 48.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7148 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.876 | 144891.5275 | 303557.0171 | 59.9307 | 38.1
31178 | 2021-02-23 12:57 | 48.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6854 | μmol/L | 15.3988 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.873 | 144891.3284 | 303553.2746 | 59.9307 | 38.1
31188 | 2021-02-23 12:58 | 49.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6682 | μmol/L | 15.3927 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.876 | 144905.4277 | 303546.0563 | 59.9307 | 38.1
31198 | 2021-02-23 12:58 | 49.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7188 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.878 | 144906.8399 | 303539.7782 | 59.9307 | 38.1
31208 | 2021-02-23 12:58 | 49.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7148 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.876 | 144916.1678 | 303543.0274 | 59.9307 | 38.1
31218 | 2021-02-23 12:59 | 50.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5618 | μmol/L | 15.3927 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.881 | 144920.3095 | 303552.9869 | 59.9307 | 38.1
31228 | 2021-02-23 12:59 | 50.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5405 | μmol/L | 15.3927 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.882 | 144931.3552 | 303542.6283 | 59.9307 | 38.1
31238 | 2021-02-23 12:59 | 50.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5618 | μmol/L | 15.3927 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.881 | 144928.0545 | 303535.0852 | 59.9307 | 38.1
31248 | 2021-02-23 13:00 | 51.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6124 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.883 | 144936.0016 | 303524.0414 | 59.9307 | 38.1
31258 | 2021-02-23 13:00 | 51.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6337 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.882 | 144927.4404 | 303530.5932 | 59.9307 | 38.1
31268 | 2021-02-23 13:00 | 51.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6124 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.883 | 144943.646 | 303533.2985 | 59.9307 | 38.1
31278 | 2021-02-23 13:01 | 52.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5446 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.884 | 144933.4348 | 303527.651 | 59.9307 | 38.1
31288 | 2021-02-23 13:01 | 52.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5446 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.884 | 144948.7543 | 303522.4399 | 59.9307 | 38.1
31298 | 2021-02-23 13:01 | 52.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5486 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.886 | 144950.4862 | 303520.2265 | 59.9307 | 38.1
31308 | 2021-02-23 13:02 | 53.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.6124 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.883 | 144961.5966 | 303529.4318 | 59.9307 | 38.1
31318 | 2021-02-23 13:02 | 53.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4848 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.889 | 144962.853 | 303535.6261 | 59.9307 | 38.1
31328 | 2021-02-23 13:02 | 53.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5273 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.887 | 144976.6798 | 303523.065 | 59.9307 | 38.1
31338 | 2021-02-23 13:03 | 54.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5314 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.889 | 144975.7061 | 303524.5607 | 59.9307 | 38.1
31348 | 2021-02-23 13:03 | 54.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4464 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.893 | 144984.9696 | 303517.2394 | 59.9307 | 38.1
31358 | 2021-02-23 13:03 | 54.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4423 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.891 | 144995.1352 | 303515.6668 | 59.9307 | 38.1
31368 | 2021-02-23 13:04 | 55.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4676 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.892 | 145001.1001 | 303542.7279 | 59.9307 | 38.1
31378 | 2021-02-23 13:04 | 55.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4464 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.893 | 145006.2442 | 303534.1949 | 59.9307 | 38.1
31388 | 2021-02-23 13:04 | 55.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3785 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.894 | 145016.2597 | 303524.352 | 59.9307 | 38.1
31398 | 2021-02-23 13:05 | 56.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3107 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.895 | 145012.4947 | 303513.769 | 59.9307 | 38.1
31408 | 2021-02-23 13:05 | 56.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3148 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.897 | 145035.1304 | 303534.0786 | 59.9307 | 38.1
31418 | 2021-02-23 13:05 | 56.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3148 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.897 | 145031.1845 | 303543.7993 | 59.9307 | 38.1
31428 | 2021-02-23 13:06 | 57.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3785 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.894 | 145037.3527 | 303540.524 | 59.9307 | 38.1
31438 | 2021-02-23 13:06 | 57.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3148 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.897 | 145034.2563 | 303537.987 | 59.9307 | 38.1
31448 | 2021-02-23 13:06 | 57.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2723 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.899 | 145045.4736 | 303523.1312 | 59.9307 | 38.1
31458 | 2021-02-23 13:07 | 58.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2258 | μmol/L | 15.3866 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.899 | 145057.6941 | 303532.0015 | 59.9307 | 38.1
31468 | 2021-02-23 13:07 | 58.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2086 | μmol/L | 15.3805 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.902 | 145051.3711 | 303513.9027 | 59.9307 | 38.1
31478 | 2021-02-23 13:07 | 58.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2127 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.904 | 145053.9333 | 303509.8667 | 59.9307 | 38.1
31488 | 2021-02-23 13:08 | 59.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2592 | μmol/L | 15.3683 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.904 | 145069.4721 | 303509.0322 | 59.9307 | 38.1
31498 | 2021-02-23 13:08 | 59.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.2208 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.908 | 145071.123 | 303498.232 | 59.9307 | 38.1
31508 | 2021-02-23 13:08 | 59.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.1955 | μmol/L | 15.3683 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.907 | 145087.4153 | 303505.9602 | 59.9307 | 38.1
31518 | 2021-02-23 13:09 | 60.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.0641 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.911 | 145099.0121 | 303503.6307 | 59.9307 | 38.1
31528 | 2021-02-23 13:09 | 60.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.0004 | μmol/L | 15.3744 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.914 | 145111.7274 | 303495.6246 | 59.9307 | 38.1
31538 | 2021-02-23 13:09 | 60.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.0469 | μmol/L | 15.3683 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.914 | 145123.1238 | 303494.7864 | 59.9307 | 38.1
31548 | 2021-02-23 13:10 | 61.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.9197 | μmol/L | 15.3683 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.92 | 145152.675 | 303495.074 | 59.9307 | 38.1
31558 | 2021-02-23 13:10 | 61.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.8349 | μmol/L | 15.3683 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.924 | 145165.1641 | 303501.7369 | 59.9307 | 38.1
31568 | 2021-02-23 13:10 | 61.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.9025 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.923 | 145175.9922 | 303495.1882 | 59.9307 | 38.1
31578 | 2021-02-23 13:11 | 62.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.8642 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.927 | 145211.0963 | 303514.8942 | 59.9307 | 38.1
31588 | 2021-02-23 13:11 | 62.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.7754 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.929 | 145212.816 | 303484.5682 | 59.9307 | 38.1
31598 | 2021-02-23 13:11 | 62.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.733 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.931 | 145235.3099 | 303500.4308 | 59.9307 | 38.1
31608 | 2021-02-23 13:12 | 63.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.7159 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.934 | 145244.6199 | 303485.822 | 59.9307 | 38.1
31618 | 2021-02-23 13:12 | 63.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6271 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.936 | 145248.2586 | 303486.333 | 59.9307 | 38.1
31628 | 2021-02-23 13:12 | 63.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6271 | μmol/L | 15.3622 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.936 | 145269.0204 | 303477.6109 | 59.9307 | 38.1
31638 | 2021-02-23 13:13 | 64.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6736 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.936 | 145276.6096 | 303493.7231 | 59.9307 | 38.1
31648 | 2021-02-23 13:13 | 64.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5889 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.94 | 145287.0046 | 303483.1696 | 59.9307 | 38.1
31658 | 2021-02-23 13:13 | 64.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6859 | μmol/L | 15.3378 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.942 | 145296.3391 | 303473.2942 | 59.9307 | 38.1
31668 | 2021-02-23 13:14 | 65.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.7282 | μmol/L | 15.3378 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.94 | 145291.7135 | 303473.7563 | 59.9307 | 38.1
31678 | 2021-02-23 13:14 | 65.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5759 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.945 | 145320.545 | 303506.7482 | 59.9307 | 38.1
31688 | 2021-02-23 13:14 | 65.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4831 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.945 | 145310.2887 | 303490.7204 | 59.9307 | 38.1
31698 | 2021-02-23 13:15 | 66.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5295 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.945 | 145317.2913 | 303494.8734 | 59.9307 | 38.1
31708 | 2021-02-23 13:15 | 66.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5507 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.944 | 145323.112 | 303505.2219 | 59.9307 | 38.1
31718 | 2021-02-23 13:15 | 66.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5336 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.947 | 145325.3619 | 303500.1292 | 59.9307 | 38.1
31728 | 2021-02-23 13:16 | 67.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5336 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.947 | 145332.313 | 303508.7377 | 59.9307 | 38.1
31738 | 2021-02-23 13:16 | 67.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.58 | μmol/L | 15.3378 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.947 | 145322.3209 | 303499.4823 | 59.9307 | 38.1
31748 | 2021-02-23 13:16 | 67.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5083 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.946 | 145327.1947 | 303503.9179 | 59.9307 | 38.1
31758 | 2021-02-23 13:17 | 68.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5124 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.948 | 145326.8936 | 303500.5051 | 59.9307 | 38.1
31768 | 2021-02-23 13:17 | 68.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4408 | μmol/L | 15.3561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.947 | 145329.6514 | 303482.704 | 59.9307 | 38.1
31778 | 2021-02-23 13:17 | 68.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4026 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.951 | 145343.0413 | 303511.9879 | 59.9307 | 38.1
31788 | 2021-02-23 13:18 | 69.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.466 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.948 | 145337.8886 | 303502.5225 | 59.9307 | 38.1
31798 | 2021-02-23 13:18 | 69.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.5124 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.948 | 145342.4103 | 303494.2314 | 59.9307 | 38.1
31808 | 2021-02-23 13:18 | 69.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4872 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.947 | 145340.5706 | 303494.3868 | 59.9307 | 38.1
31818 | 2021-02-23 13:19 | 70.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4701 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.95 | 145341.957 | 303503.0264 | 59.9307 | 38.1
31828 | 2021-02-23 13:19 | 70.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.3814 | μmol/L | 15.35 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.952 | 145357.8163 | 303508.4502 | 59.9307 | 38.1
31838 | 2021-02-23 13:19 | 70.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4067 | μmol/L | 15.3439 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.953 | 145368.0787 | 303514.8921 | 59.9307 | 38.1
31848 | 2021-02-23 13:20 | 71.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.4742 | μmol/L | 15.3378 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.952 | 145367.8219 | 303503.5217 | 59.9307 | 38.1