## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31860 | 2021-02-23 15:03 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.4997 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.379 | 143598.6165 | 304257.457 | 59.9307 | 38.1
31870 | 2021-02-23 15:03 | 0.34196 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.5014 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.381 | 143632.6812 | 304254.5501 | 59.9307 | 38.1
31880 | 2021-02-23 15:03 | 0.67473 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.4813 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.382 | 143638.0747 | 304262.9701 | 59.9307 | 38.1
31890 | 2021-02-23 15:04 | 1.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.3808 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.387 | 143629.9734 | 304245.1369 | 59.9307 | 38.1
31900 | 2021-02-23 15:04 | 1.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.3189 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.388 | 143652.7556 | 304251.1895 | 59.9307 | 38.1
31910 | 2021-02-23 15:04 | 1.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.3808 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.387 | 143657.6032 | 304239.0008 | 59.9307 | 38.1
31920 | 2021-02-23 15:05 | 2.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.2603 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.393 | 143682.5903 | 304230.0077 | 59.9307 | 38.1
31930 | 2021-02-23 15:05 | 2.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.1984 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.394 | 143692.9497 | 304209.6535 | 59.9307 | 38.1
31940 | 2021-02-23 15:05 | 2.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.2822 | μmol/L | 19.0366 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.394 | 143707.3098 | 304212.9394 | 59.9307 | 38.1
31950 | 2021-02-23 15:06 | 3.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.1617 | μmol/L | 19.0366 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.4 | 143740.0758 | 304215.6316 | 59.9307 | 38.1
31960 | 2021-02-23 15:06 | 3.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.0797 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.402 | 143741.7369 | 304192.2218 | 59.9307 | 38.1
31970 | 2021-02-23 15:06 | 3.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9577 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.406 | 143749.7677 | 304199.117 | 59.9307 | 38.1
31980 | 2021-02-23 15:07 | 4.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9777 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 143764.2907 | 304196.0894 | 59.9307 | 38.1
31990 | 2021-02-23 15:07 | 4.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.976 | μmol/L | 19.0549 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.403 | 143770.0229 | 304165.8928 | 59.9307 | 38.1
32000 | 2021-02-23 15:07 | 4.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9995 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.406 | 143754.0943 | 304150.7096 | 59.9307 | 38.1
32010 | 2021-02-23 15:08 | 5.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.1033 | μmol/L | 19.0305 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 143757.3846 | 304171.1424 | 59.9307 | 38.1
32020 | 2021-02-23 15:08 | 5.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.1233 | μmol/L | 19.0305 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.404 | 143740.5007 | 304156.4668 | 59.9307 | 38.1
32030 | 2021-02-23 15:08 | 5.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.0013 | μmol/L | 19.0366 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.408 | 143745.8684 | 304142.9664 | 59.9307 | 38.1
32040 | 2021-02-23 15:09 | 6.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.003 | μmol/L | 19.0305 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.41 | 143750.8246 | 304139.9161 | 59.9307 | 38.1
32050 | 2021-02-23 15:09 | 6.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.0047 | μmol/L | 19.0244 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 143783.9901 | 304144.1519 | 59.9307 | 38.1
32060 | 2021-02-23 15:09 | 6.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9045 | μmol/L | 19.0244 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 143802.3862 | 304126.5937 | 59.9307 | 38.1
32070 | 2021-02-23 15:10 | 7.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.8244 | μmol/L | 19.0244 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.421 | 143837.7063 | 304117.5383 | 59.9307 | 38.1
32080 | 2021-02-23 15:10 | 7.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7461 | μmol/L | 19.0183 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.427 | 143852.4066 | 304112.2187 | 59.9307 | 38.1
32090 | 2021-02-23 15:10 | 7.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7078 | μmol/L | 19.0122 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.431 | 143873.3377 | 304113.8531 | 59.9307 | 38.1
32100 | 2021-02-23 15:11 | 8.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7043 | μmol/L | 19.0244 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.427 | 143869.6722 | 304117.3239 | 59.9307 | 38.1
32110 | 2021-02-23 15:11 | 8.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6678 | μmol/L | 19.0122 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.433 | 143882.1741 | 304105.1379 | 59.9307 | 38.1
32120 | 2021-02-23 15:11 | 8.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7496 | μmol/L | 19.006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.431 | 143882.525 | 304098.4555 | 59.9307 | 38.1
32130 | 2021-02-23 15:12 | 9.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7096 | μmol/L | 19.006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.433 | 143897.6214 | 304101.3159 | 59.9307 | 38.1
32140 | 2021-02-23 15:12 | 9.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6077 | μmol/L | 19.0122 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.436 | 143908.5606 | 304092.7877 | 59.9307 | 38.1
32150 | 2021-02-23 15:12 | 9.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6113 | μmol/L | 18.9999 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 143936.0336 | 304078.9433 | 59.9307 | 38.1
32160 | 2021-02-23 15:13 | 10.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.5931 | μmol/L | 18.9938 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.443 | 143950.3855 | 304087.7879 | 59.9307 | 38.1
32170 | 2021-02-23 15:13 | 10.3422 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6349 | μmol/L | 18.9877 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.443 | 143962.9174 | 304078.7265 | 59.9307 | 38.1
32180 | 2021-02-23 15:13 | 10.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6384 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.447 | 143968.3101 | 304082.7997 | 59.9307 | 38.1
32190 | 2021-02-23 15:14 | 11.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6785 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.445 | 143977.3218 | 304079.6415 | 59.9307 | 38.1
32200 | 2021-02-23 15:14 | 11.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6585 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.446 | 143971.4957 | 304052.2717 | 59.9307 | 38.1
32210 | 2021-02-23 15:14 | 11.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.6402 | μmol/L | 18.9694 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.449 | 143986.365 | 304064.2129 | 59.9307 | 38.1
32220 | 2021-02-23 15:15 | 12.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.602 | μmol/L | 18.9633 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.453 | 143990.1288 | 304055.3641 | 59.9307 | 38.1
32230 | 2021-02-23 15:15 | 12.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.622 | μmol/L | 18.9633 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.452 | 143996.7189 | 304065.2768 | 59.9307 | 38.1
32240 | 2021-02-23 15:15 | 12.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.5621 | μmol/L | 18.9633 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 143998.3679 | 304079.1951 | 59.9307 | 38.1
32250 | 2021-02-23 15:16 | 13.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.582 | μmol/L | 18.9633 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.454 | 144002.2997 | 304073.7365 | 59.9307 | 38.1
32260 | 2021-02-23 15:16 | 13.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.4803 | μmol/L | 18.9694 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.457 | 144011.4236 | 304073.3572 | 59.9307 | 38.1
32270 | 2021-02-23 15:16 | 13.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.4785 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 144033.3526 | 304074.2671 | 59.9307 | 38.1
32280 | 2021-02-23 15:17 | 14.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.4585 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.456 | 144029.938 | 304054.6493 | 59.9307 | 38.1
32290 | 2021-02-23 15:17 | 14.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.5185 | μmol/L | 18.9755 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.453 | 144018.9851 | 304076.5789 | 59.9307 | 38.1
32300 | 2021-02-23 15:17 | 14.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.3932 | μmol/L | 18.9938 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.453 | 144005.0244 | 304083.8761 | 59.9307 | 38.1
32310 | 2021-02-23 15:18 | 15.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1411 | μmol/L | 19.0366 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 143995.8212 | 304067.9769 | 59.9307 | 38.1
32320 | 2021-02-23 15:18 | 15.3422 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.4331 | μmol/L | 18.9938 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 144003.4749 | 304079.7447 | 59.9307 | 38.1
32330 | 2021-02-23 15:18 | 15.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.3115 | μmol/L | 18.9999 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 144025.8278 | 304084.2884 | 59.9307 | 38.1
32340 | 2021-02-23 15:19 | 16.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1247 | μmol/L | 19.0244 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.456 | 144029.6504 | 304064.4404 | 59.9307 | 38.1
32350 | 2021-02-23 15:19 | 16.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.0395 | μmol/L | 19.0427 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.454 | 144019.4616 | 304054.8176 | 59.9307 | 38.1
32360 | 2021-02-23 15:19 | 16.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1411 | μmol/L | 19.0366 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 144022.697 | 304070.2672 | 59.9307 | 38.1
32370 | 2021-02-23 15:20 | 17.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1828 | μmol/L | 19.0305 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 144016.4826 | 304060.0015 | 59.9307 | 38.1
32380 | 2021-02-23 15:20 | 17.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.0577 | μmol/L | 19.0488 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 144021.3157 | 304071.0158 | 59.9307 | 38.1
32390 | 2021-02-23 15:20 | 17.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.036 | μmol/L | 19.0549 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.45 | 144024.5469 | 304064.3457 | 59.9307 | 38.1
32400 | 2021-02-23 15:21 | 18.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.9527 | μmol/L | 19.0671 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.45 | 144023.0841 | 304072.5827 | 59.9307 | 38.1
32410 | 2021-02-23 15:21 | 18.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.9292 | μmol/L | 19.0793 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.447 | 144016.0037 | 304075.9993 | 59.9307 | 38.1
32420 | 2021-02-23 15:21 | 18.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.8859 | μmol/L | 19.0915 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.445 | 144022.0117 | 304067.4966 | 59.9307 | 38.1
32430 | 2021-02-23 15:22 | 19.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.7593 | μmol/L | 19.116 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.443 | 144015.4504 | 304074.0366 | 59.9307 | 38.1
32440 | 2021-02-23 15:22 | 19.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.5947 | μmol/L | 19.1343 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.445 | 144006.6873 | 304061.4277 | 59.9307 | 38.1
32450 | 2021-02-23 15:22 | 19.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.5298 | μmol/L | 19.1526 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.442 | 143994.7022 | 304056.3544 | 59.9307 | 38.1
32460 | 2021-02-23 15:23 | 20.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.4468 | μmol/L | 19.1648 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.442 | 143983.4508 | 304063.989 | 59.9307 | 38.1
32470 | 2021-02-23 15:23 | 20.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.362 | μmol/L | 19.1832 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 143980.5398 | 304073.8971 | 59.9307 | 38.1
32480 | 2021-02-23 15:23 | 20.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.3984 | μmol/L | 19.1954 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.434 | 143978.1104 | 304053.1015 | 59.9307 | 38.1
32490 | 2021-02-23 15:24 | 21.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.2126 | μmol/L | 19.2198 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.435 | 143968.7445 | 304070.5258 | 59.9307 | 38.1
32500 | 2021-02-23 15:24 | 21.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.1297 | μmol/L | 19.232 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.435 | 143970.2483 | 304083.1444 | 59.9307 | 38.1
32510 | 2021-02-23 15:24 | 21.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.0866 | μmol/L | 19.2442 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.433 | 143963.5858 | 304052.9393 | 59.9307 | 38.1
32520 | 2021-02-23 15:25 | 22.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.9822 | μmol/L | 19.2625 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.432 | 143954.2982 | 304076.7463 | 59.9307 | 38.1
32530 | 2021-02-23 15:25 | 22.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.9176 | μmol/L | 19.2809 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.429 | 143964.8628 | 304073.0969 | 59.9307 | 38.1
32540 | 2021-02-23 15:25 | 22.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.9755 | μmol/L | 19.287 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 143959.7511 | 304071.5764 | 59.9307 | 38.1
32550 | 2021-02-23 15:26 | 23.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.8928 | μmol/L | 19.2992 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 143956.3332 | 304070.5551 | 59.9307 | 38.1
32560 | 2021-02-23 15:26 | 23.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.7075 | μmol/L | 19.3236 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.425 | 143952.7186 | 304066.1392 | 59.9307 | 38.1
32570 | 2021-02-23 15:26 | 23.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.7472 | μmol/L | 19.3236 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.423 | 143969.0233 | 304106.9597 | 59.9307 | 38.1
32580 | 2021-02-23 15:27 | 24.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.6232 | μmol/L | 19.3419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.423 | 143961.7775 | 304091.0993 | 59.9307 | 38.1
32590 | 2021-02-23 15:27 | 24.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.6199 | μmol/L | 19.3542 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.419 | 143970.5045 | 304088.3776 | 59.9307 | 38.1
32600 | 2021-02-23 15:27 | 24.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.5786 | μmol/L | 19.3603 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.419 | 143963.8467 | 304084.443 | 59.9307 | 38.1
32610 | 2021-02-23 15:28 | 25.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.4762 | μmol/L | 19.3725 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.42 | 143963.488 | 304089.8283 | 59.9307 | 38.1
32620 | 2021-02-23 15:28 | 25.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.4746 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 143962.4966 | 304083.5667 | 59.9307 | 38.1
32630 | 2021-02-23 15:28 | 25.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.3904 | μmol/L | 19.3969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.416 | 143966.8054 | 304096.9484 | 59.9307 | 38.1
32640 | 2021-02-23 15:29 | 26.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.3278 | μmol/L | 19.4091 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 143955.6012 | 304094.2042 | 59.9307 | 38.1
32650 | 2021-02-23 15:29 | 26.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.3048 | μmol/L | 19.4213 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 143954.5296 | 304109.7911 | 59.9307 | 38.1
32660 | 2021-02-23 15:29 | 26.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.1827 | μmol/L | 19.4336 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 143957.3442 | 304101.3469 | 59.9307 | 38.1
32670 | 2021-02-23 15:30 | 27.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.1003 | μmol/L | 19.4458 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 143973.0555 | 304119.2262 | 59.9307 | 38.1
32680 | 2021-02-23 15:30 | 27.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.0591 | μmol/L | 19.4519 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 143979.6407 | 304096.6195 | 59.9307 | 38.1
32690 | 2021-02-23 15:30 | 27.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.0164 | μmol/L | 19.4641 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 143996.3882 | 304113.5224 | 59.9307 | 38.1
32700 | 2021-02-23 15:31 | 28.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.9736 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.41 | 143991.7697 | 304114.1028 | 59.9307 | 38.1
32710 | 2021-02-23 15:31 | 28.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.8945 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 143999.3465 | 304124.3662 | 59.9307 | 38.1
32720 | 2021-02-23 15:31 | 28.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.7513 | μmol/L | 19.4946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 144009.5943 | 304139.222 | 59.9307 | 38.1
32730 | 2021-02-23 15:32 | 29.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.73 | μmol/L | 19.5007 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 143996.3619 | 304117.7439 | 59.9307 | 38.1
32740 | 2021-02-23 15:32 | 29.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6873 | μmol/L | 19.513 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 143998.1667 | 304122.4996 | 59.9307 | 38.1
32750 | 2021-02-23 15:32 | 29.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5854 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.413 | 143988.9359 | 304126.2459 | 59.9307 | 38.1
32760 | 2021-02-23 15:33 | 30.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6234 | μmol/L | 19.5313 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.409 | 143993.54 | 304127.7013 | 59.9307 | 38.1
32770 | 2021-02-23 15:33 | 30.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6036 | μmol/L | 19.5313 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.41 | 143999.3172 | 304133.679 | 59.9307 | 38.1
32780 | 2021-02-23 15:33 | 30.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6005 | μmol/L | 19.5435 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.406 | 143998.4619 | 304145.5802 | 59.9307 | 38.1
32790 | 2021-02-23 15:34 | 31.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6202 | μmol/L | 19.5435 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 143995.9434 | 304146.8642 | 59.9307 | 38.1
32800 | 2021-02-23 15:34 | 31.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5579 | μmol/L | 19.5557 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.404 | 143990.1518 | 304142.0222 | 59.9307 | 38.1
32810 | 2021-02-23 15:34 | 31.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5366 | μmol/L | 19.5618 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.403 | 143984.885 | 304140.2647 | 59.9307 | 38.1
32820 | 2021-02-23 15:35 | 32.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6156 | μmol/L | 19.5618 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.399 | 143972.0973 | 304149.4688 | 59.9307 | 38.1
32830 | 2021-02-23 15:35 | 32.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.456 | μmol/L | 19.5679 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 143991.8422 | 304145.6493 | 59.9307 | 38.1
32840 | 2021-02-23 15:35 | 32.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5563 | μmol/L | 19.5618 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.402 | 143984.8152 | 304151.5005 | 59.9307 | 38.1
32850 | 2021-02-23 15:36 | 33.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5168 | μmol/L | 19.5618 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.404 | 144008.6431 | 304151.0038 | 59.9307 | 38.1
32860 | 2021-02-23 15:36 | 33.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5548 | μmol/L | 19.5679 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.4 | 144003.309 | 304147.8612 | 59.9307 | 38.1
32870 | 2021-02-23 15:36 | 33.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2935 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.407 | 144008.9459 | 304151.6179 | 59.9307 | 38.1
32880 | 2021-02-23 15:37 | 34.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.4332 | μmol/L | 19.5801 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.402 | 144029.0305 | 304165.3481 | 59.9307 | 38.1
32890 | 2021-02-23 15:37 | 34.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2935 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.407 | 144019.7306 | 304154.4615 | 59.9307 | 38.1
32900 | 2021-02-23 15:37 | 34.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2328 | μmol/L | 19.5924 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.408 | 144040.4936 | 304167.7123 | 59.9307 | 38.1
32910 | 2021-02-23 15:38 | 35.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.292 | μmol/L | 19.5924 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 144051.581 | 304164.3943 | 59.9307 | 38.1
32920 | 2021-02-23 15:38 | 35.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2312 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.406 | 144049.4871 | 304169.6648 | 59.9307 | 38.1
32930 | 2021-02-23 15:38 | 35.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2115 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.407 | 144056.7087 | 304182.0161 | 59.9307 | 38.1
32940 | 2021-02-23 15:39 | 36.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.1311 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.409 | 144059.1453 | 304168.0779 | 59.9307 | 38.1
32950 | 2021-02-23 15:39 | 36.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.1099 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.408 | 144074.7902 | 304178.1724 | 59.9307 | 38.1
32960 | 2021-02-23 15:39 | 36.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9688 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.411 | 144097.6213 | 304188.8955 | 59.9307 | 38.1
32970 | 2021-02-23 15:40 | 37.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9491 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 144105.8104 | 304175.6143 | 59.9307 | 38.1
32980 | 2021-02-23 15:40 | 37.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9294 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.413 | 144120.8751 | 304174.7935 | 59.9307 | 38.1
32990 | 2021-02-23 15:40 | 37.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8098 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144135.0562 | 304176.6351 | 59.9307 | 38.1
33000 | 2021-02-23 15:41 | 38.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7901 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 144158.4615 | 304182.0351 | 59.9307 | 38.1
33010 | 2021-02-23 15:41 | 38.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7492 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 144162.3952 | 304200.3546 | 59.9307 | 38.1
33020 | 2021-02-23 15:41 | 38.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7098 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.42 | 144174.6482 | 304184.0084 | 59.9307 | 38.1
33030 | 2021-02-23 15:42 | 39.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8098 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144173.4209 | 304183.8231 | 59.9307 | 38.1
33040 | 2021-02-23 15:42 | 39.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8719 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 144163.8577 | 304187.9645 | 59.9307 | 38.1
33050 | 2021-02-23 15:42 | 39.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8734 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.42 | 144161.3631 | 304190.9467 | 59.9307 | 38.1
33060 | 2021-02-23 15:43 | 40.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0159 | μmol/L | 19.5924 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.419 | 144166.5935 | 304181.3867 | 59.9307 | 38.1
33070 | 2021-02-23 15:43 | 40.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9537 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 144173.6979 | 304201.0125 | 59.9307 | 38.1
33080 | 2021-02-23 15:43 | 40.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0144 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144168.1663 | 304199.2164 | 59.9307 | 38.1
33090 | 2021-02-23 15:44 | 41.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.831 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 144164.6902 | 304200.9283 | 59.9307 | 38.1
33100 | 2021-02-23 15:44 | 41.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8052 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.411 | 144162.3545 | 304202.9453 | 59.9307 | 38.1
33110 | 2021-02-23 15:44 | 41.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.5812 | μmol/L | 19.6779 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.412 | 144157.0553 | 304205.0808 | 59.9307 | 38.1
33120 | 2021-02-23 15:45 | 42.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6826 | μmol/L | 19.6657 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.411 | 144127.5862 | 304209.3896 | 59.9307 | 38.1
33130 | 2021-02-23 15:45 | 42.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9249 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.407 | 144128.3645 | 304220.8774 | 59.9307 | 38.1
33140 | 2021-02-23 15:45 | 42.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0901 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.409 | 144125.7016 | 304209.6635 | 59.9307 | 38.1
33150 | 2021-02-23 15:46 | 43.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.1554 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.414 | 144161.1576 | 304212.6155 | 59.9307 | 38.1
33160 | 2021-02-23 15:46 | 43.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0553 | μmol/L | 19.5924 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144187.8172 | 304215.186 | 59.9307 | 38.1
33170 | 2021-02-23 15:46 | 43.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9962 | μmol/L | 19.5924 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.42 | 144189.7689 | 304221.3876 | 59.9307 | 38.1
33180 | 2021-02-23 15:47 | 44.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.9734 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144186.2089 | 304226.4867 | 59.9307 | 38.1
33190 | 2021-02-23 15:47 | 44.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0704 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.41 | 144164.9044 | 304212.7633 | 59.9307 | 38.1
33200 | 2021-02-23 15:47 | 44.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0523 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.413 | 144184.3045 | 304225.3518 | 59.9307 | 38.1
33210 | 2021-02-23 15:48 | 45.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.931 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 144197.1847 | 304235.9744 | 59.9307 | 38.1
33220 | 2021-02-23 15:48 | 45.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8916 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144220.248 | 304256.6398 | 59.9307 | 38.1
33230 | 2021-02-23 15:48 | 45.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8491 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 144220.187 | 304229.8087 | 59.9307 | 38.1
33240 | 2021-02-23 15:49 | 46.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8098 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144221.0631 | 304245.0733 | 59.9307 | 38.1
33250 | 2021-02-23 15:49 | 46.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.728 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144228.1597 | 304239.9101 | 59.9307 | 38.1
33260 | 2021-02-23 15:49 | 46.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7673 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 144217.1312 | 304254.6893 | 59.9307 | 38.1
33270 | 2021-02-23 15:50 | 47.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6871 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.417 | 144232.0469 | 304244.9338 | 59.9307 | 38.1
33280 | 2021-02-23 15:50 | 47.3422 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6478 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.419 | 144249.7592 | 304254.5442 | 59.9307 | 38.1
33290 | 2021-02-23 15:50 | 47.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6296 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.422 | 144264.7328 | 304246.8201 | 59.9307 | 38.1
33300 | 2021-02-23 15:51 | 48.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.5494 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 144283.3814 | 304261.199 | 59.9307 | 38.1
33310 | 2021-02-23 15:51 | 48.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.4496 | μmol/L | 19.6534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.427 | 144315.2362 | 304261.5244 | 59.9307 | 38.1
33320 | 2021-02-23 15:51 | 48.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.4496 | μmol/L | 19.6534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.427 | 144331.9847 | 304269.3971 | 59.9307 | 38.1
33330 | 2021-02-23 15:52 | 49.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.3287 | μmol/L | 19.6657 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.429 | 144334.1679 | 304268.4101 | 59.9307 | 38.1
33340 | 2021-02-23 15:52 | 49.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.3106 | μmol/L | 19.6596 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.432 | 144342.2956 | 304258.397 | 59.9307 | 38.1
33350 | 2021-02-23 15:52 | 49.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.433 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.432 | 144376.2542 | 304267.4861 | 59.9307 | 38.1
33360 | 2021-02-23 15:53 | 50.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.5374 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.435 | 144397.994 | 304278.1342 | 59.9307 | 38.1
33370 | 2021-02-23 15:53 | 50.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.3772 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.439 | 144417.8114 | 304277.8391 | 59.9307 | 38.1
33380 | 2021-02-23 15:53 | 50.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.3348 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.437 | 144416.8976 | 304273.8789 | 59.9307 | 38.1
33390 | 2021-02-23 15:54 | 51.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0916 | μmol/L | 19.6718 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.439 | 144411.8126 | 304266.4738 | 59.9307 | 38.1
33400 | 2021-02-23 15:54 | 51.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.1535 | μmol/L | 19.6596 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 144421.3305 | 304283.4096 | 59.9307 | 38.1
33410 | 2021-02-23 15:54 | 51.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.2759 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 144446.9346 | 304286.5547 | 59.9307 | 38.1
33420 | 2021-02-23 15:55 | 52.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.2397 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.446 | 144480.4829 | 304286.2124 | 59.9307 | 38.1
33430 | 2021-02-23 15:55 | 52.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.2186 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.445 | 144505.0494 | 304291.2158 | 59.9307 | 38.1
33440 | 2021-02-23 15:55 | 52.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.1447 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 144534.511 | 304305.769 | 59.9307 | 38.1
33450 | 2021-02-23 15:56 | 53.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0451 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.458 | 144550.7574 | 304298.9396 | 59.9307 | 38.1
33460 | 2021-02-23 15:56 | 53.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.9409 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 144539.9959 | 304301.0168 | 59.9307 | 38.1
33470 | 2021-02-23 15:56 | 53.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.9409 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 144559.8137 | 304305.7646 | 59.9307 | 38.1
33480 | 2021-02-23 15:57 | 54.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8203 | μmol/L | 19.6596 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.457 | 144588.03 | 304314.0768 | 59.9307 | 38.1
33490 | 2021-02-23 15:57 | 54.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8429 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.46 | 144604.1849 | 304320.5572 | 59.9307 | 38.1
33500 | 2021-02-23 15:57 | 54.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8265 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.465 | 144633.9414 | 304326.6613 | 59.9307 | 38.1
33510 | 2021-02-23 15:58 | 55.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8084 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.468 | 144669.6495 | 304333.5765 | 59.9307 | 38.1
33520 | 2021-02-23 15:58 | 55.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6879 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.47 | 144673.9398 | 304315.8443 | 59.9307 | 38.1
33530 | 2021-02-23 15:58 | 55.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8116 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 144691.6971 | 304321.3274 | 59.9307 | 38.1
33540 | 2021-02-23 15:59 | 56.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7889 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.469 | 144708.8629 | 304341.995 | 59.9307 | 38.1
33550 | 2021-02-23 15:59 | 56.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5901 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.475 | 144703.5547 | 304326.8673 | 59.9307 | 38.1
33560 | 2021-02-23 15:59 | 56.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5478 | μmol/L | 19.6534 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.473 | 144712.522 | 304320.1747 | 59.9307 | 38.1
33570 | 2021-02-23 16:00 | 57.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5689 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.474 | 144714.8722 | 304340.4445 | 59.9307 | 38.1
33580 | 2021-02-23 16:00 | 57.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6487 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 144698.1019 | 304330.6423 | 59.9307 | 38.1
33590 | 2021-02-23 16:00 | 57.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6879 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.47 | 144684.3842 | 304333.9175 | 59.9307 | 38.1
33600 | 2021-02-23 16:01 | 58.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8296 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.469 | 144704.1521 | 304335.9047 | 59.9307 | 38.1
33610 | 2021-02-23 16:01 | 58.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7301 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 144719.0841 | 304336.1256 | 59.9307 | 38.1
33620 | 2021-02-23 16:01 | 58.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6487 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 144724.7536 | 304333.9148 | 59.9307 | 38.1
33630 | 2021-02-23 16:02 | 59.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6503 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.474 | 144721.5192 | 304336.8259 | 59.9307 | 38.1
33640 | 2021-02-23 16:02 | 59.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7106 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.473 | 144720.175 | 304334.1344 | 59.9307 | 38.1
33650 | 2021-02-23 16:02 | 59.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.691 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.474 | 144722.2765 | 304343.0036 | 59.9307 | 38.1
33660 | 2021-02-23 16:03 | 60.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6519 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.476 | 144739.2315 | 304339.6899 | 59.9307 | 38.1
33670 | 2021-02-23 16:03 | 60.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.4759 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.485 | 144791.9713 | 304354.3715 | 59.9307 | 38.1
33680 | 2021-02-23 16:03 | 60.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3555 | μmol/L | 19.6412 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 144793.1899 | 304353.9989 | 59.9307 | 38.1
33690 | 2021-02-23 16:04 | 61.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5588 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 144781.145 | 304336.5667 | 59.9307 | 38.1
33700 | 2021-02-23 16:04 | 61.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6761 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.481 | 144800.3322 | 304367.0249 | 59.9307 | 38.1
33710 | 2021-02-23 16:04 | 61.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.515 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.483 | 144830.0275 | 304360.3665 | 59.9307 | 38.1
33720 | 2021-02-23 16:05 | 62.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3149 | μmol/L | 19.6473 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 144833.8616 | 304358.0217 | 59.9307 | 38.1
33730 | 2021-02-23 16:05 | 62.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3571 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.489 | 144841.4105 | 304349.8629 | 59.9307 | 38.1
33740 | 2021-02-23 16:05 | 62.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3961 | μmol/L | 19.6351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 144849.7846 | 304356.2472 | 59.9307 | 38.1
33750 | 2021-02-23 16:06 | 63.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.4626 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 144867.4233 | 304358.7663 | 59.9307 | 38.1
33760 | 2021-02-23 16:06 | 63.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3196 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 144878.4063 | 304365.5058 | 59.9307 | 38.1
33770 | 2021-02-23 16:06 | 63.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 144882.3247 | 304367.8971 | 59.9307 | 38.1
33780 | 2021-02-23 16:07 | 64.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3211 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.495 | 144903.4707 | 304363.2801 | 59.9307 | 38.1
33790 | 2021-02-23 16:07 | 64.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.243 | μmol/L | 19.6229 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.499 | 144909.5907 | 304372.2767 | 59.9307 | 38.1
33800 | 2021-02-23 16:07 | 64.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2446 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.501 | 144944.1418 | 304373.9208 | 59.9307 | 38.1
33810 | 2021-02-23 16:08 | 65.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2267 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.504 | 144965.5837 | 304357.7668 | 59.9307 | 38.1
33820 | 2021-02-23 16:08 | 65.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1275 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.507 | 144969.4742 | 304362.5865 | 59.9307 | 38.1
33830 | 2021-02-23 16:08 | 65.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2267 | μmol/L | 19.6107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.504 | 144971.1584 | 304364.9367 | 59.9307 | 38.1
33840 | 2021-02-23 16:09 | 66.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2478 | μmol/L | 19.6046 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 144971.6886 | 304357.8116 | 59.9307 | 38.1
33850 | 2021-02-23 16:09 | 66.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1666 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.505 | 144976.8869 | 304347.5042 | 59.9307 | 38.1
33860 | 2021-02-23 16:09 | 66.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0269 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.508 | 144997.019 | 304355.9844 | 59.9307 | 38.1
33870 | 2021-02-23 16:10 | 67.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2494 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.507 | 145004.9978 | 304368.0796 | 59.9307 | 38.1
33880 | 2021-02-23 16:10 | 67.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1323 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.513 | 145003.0131 | 304362.7507 | 59.9307 | 38.1
33890 | 2021-02-23 16:10 | 67.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1355 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.517 | 145037.5674 | 304358.3479 | 59.9307 | 38.1
33900 | 2021-02-23 16:11 | 68.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0933 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.515 | 145047.6941 | 304360.6669 | 59.9307 | 38.1
33910 | 2021-02-23 16:11 | 68.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0933 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.515 | 145051.6738 | 304364.1052 | 59.9307 | 38.1
33920 | 2021-02-23 16:11 | 68.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0153 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.519 | 145067.9393 | 304356.2851 | 59.9307 | 38.1
33930 | 2021-02-23 16:12 | 69.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0186 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.523 | 145093.1588 | 304358.583 | 59.9307 | 38.1
33940 | 2021-02-23 16:12 | 69.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0186 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.523 | 145114.5963 | 304359.6997 | 59.9307 | 38.1
33950 | 2021-02-23 16:12 | 69.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.8205 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.529 | 145140.3343 | 304357.8437 | 59.9307 | 38.1
33960 | 2021-02-23 16:13 | 70.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.621 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.533 | 145169.6062 | 304351.3327 | 59.9307 | 38.1
33970 | 2021-02-23 16:13 | 70.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5011 | μmol/L | 19.629 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.535 | 145198.4557 | 304365.9679 | 59.9307 | 38.1
33980 | 2021-02-23 16:13 | 70.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5432 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.537 | 145203.4849 | 304363.749 | 59.9307 | 38.1
33990 | 2021-02-23 16:14 | 71.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5044 | μmol/L | 19.6168 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.539 | 145204.1955 | 304372.2055 | 59.9307 | 38.1
34000 | 2021-02-23 16:14 | 71.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.6648 | μmol/L | 19.5985 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.537 | 145211.8901 | 304380.0381 | 59.9307 | 38.1
34010 | 2021-02-23 16:14 | 71.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7086 | μmol/L | 19.5801 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.541 | 145215.0885 | 304378.1753 | 59.9307 | 38.1
34020 | 2021-02-23 16:15 | 72.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7897 | μmol/L | 19.5679 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.541 | 145221.8808 | 304374.9629 | 59.9307 | 38.1
34030 | 2021-02-23 16:15 | 72.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7491 | μmol/L | 19.574 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.541 | 145225.845 | 304378.1963 | 59.9307 | 38.1
34040 | 2021-02-23 16:15 | 72.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.6113 | μmol/L | 19.5801 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.546 | 145246.9156 | 304375.1976 | 59.9307 | 38.1
34050 | 2021-02-23 16:16 | 73.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5125 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.549 | 145248.7407 | 304382.5921 | 59.9307 | 38.1
34060 | 2021-02-23 16:16 | 73.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5513 | μmol/L | 19.5863 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.547 | 145276.6188 | 304375.3071 | 59.9307 | 38.1
34070 | 2021-02-23 16:16 | 73.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5951 | μmol/L | 19.5679 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.551 | 145291.015 | 304382.1842 | 59.9307 | 38.1
34080 | 2021-02-23 16:17 | 74.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5546 | μmol/L | 19.574 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.551 | 145314.0689 | 304400.7931 | 59.9307 | 38.1
34090 | 2021-02-23 16:17 | 74.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4768 | μmol/L | 19.574 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.555 | 145329.0455 | 304392.9944 | 59.9307 | 38.1
34100 | 2021-02-23 16:17 | 74.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4996 | μmol/L | 19.5618 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.558 | 145350.4629 | 304379.3178 | 59.9307 | 38.1
34110 | 2021-02-23 16:18 | 75.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4429 | μmol/L | 19.5557 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.563 | 145373.0229 | 304393.1526 | 59.9307 | 38.1
34120 | 2021-02-23 16:18 | 75.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4429 | μmol/L | 19.5557 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.563 | 145380.6425 | 304399.287 | 59.9307 | 38.1
34130 | 2021-02-23 16:18 | 75.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4268 | μmol/L | 19.5435 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.568 | 145416.3371 | 304411.2753 | 59.9307 | 38.1
34140 | 2021-02-23 16:19 | 76.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5061 | μmol/L | 19.5374 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.566 | 145440.3627 | 304401.7162 | 59.9307 | 38.1
34150 | 2021-02-23 16:19 | 76.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4284 | μmol/L | 19.5374 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.57 | 145454.4691 | 304412.8114 | 59.9307 | 38.1
34160 | 2021-02-23 16:19 | 76.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3103 | μmol/L | 19.5435 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.574 | 145464.1651 | 304421.1339 | 59.9307 | 38.1
34170 | 2021-02-23 16:20 | 77.0089 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3313 | μmol/L | 19.5374 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.575 | 145484.8589 | 304421.2354 | 59.9307 | 38.1
34180 | 2021-02-23 16:20 | 77.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.4723 | μmol/L | 19.5191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.574 | 145495.8545 | 304431.231 | 59.9307 | 38.1
34190 | 2021-02-23 16:20 | 77.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3541 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.578 | 145514.3293 | 304424.4137 | 59.9307 | 38.1
34200 | 2021-02-23 16:21 | 78.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2764 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.582 | 145528.6677 | 304434.2631 | 59.9307 | 38.1
34210 | 2021-02-23 16:21 | 78.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2182 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.585 | 145548.7117 | 304420.6935 | 59.9307 | 38.1
34220 | 2021-02-23 16:21 | 78.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2975 | μmol/L | 19.5191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.583 | 145548.9268 | 304430.5492 | 59.9307 | 38.1
34230 | 2021-02-23 16:22 | 79.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.257 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.583 | 145553.9017 | 304435.5395 | 59.9307 | 38.1
34240 | 2021-02-23 16:22 | 79.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.257 | μmol/L | 19.5252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.583 | 145576.4285 | 304438.3466 | 59.9307 | 38.1
34250 | 2021-02-23 16:22 | 79.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2005 | μmol/L | 19.5191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.588 | 145602.8396 | 304442.1961 | 59.9307 | 38.1
34260 | 2021-02-23 16:23 | 80.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1634 | μmol/L | 19.513 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.592 | 145618.5469 | 304439.3229 | 59.9307 | 38.1
34270 | 2021-02-23 16:23 | 80.3422 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1229 | μmol/L | 19.5191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.592 | 145636.2447 | 304435.5463 | 59.9307 | 38.1
34280 | 2021-02-23 16:23 | 80.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1457 | μmol/L | 19.5069 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 145620.0942 | 304434.1549 | 59.9307 | 38.1
34290 | 2021-02-23 16:24 | 81.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1263 | μmol/L | 19.5069 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.596 | 145657.584 | 304436.1876 | 59.9307 | 38.1
34300 | 2021-02-23 16:24 | 81.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1491 | μmol/L | 19.4946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.599 | 145658.4049 | 304443.9847 | 59.9307 | 38.1
34310 | 2021-02-23 16:24 | 81.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1895 | μmol/L | 19.4885 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.599 | 145681.2003 | 304452.8556 | 59.9307 | 38.1
34320 | 2021-02-23 16:25 | 82.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1103 | μmol/L | 19.4946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.601 | 145688.5227 | 304455.8322 | 59.9307 | 38.1
34330 | 2021-02-23 16:25 | 82.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1137 | μmol/L | 19.4824 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.605 | 145696.9933 | 304452.1699 | 59.9307 | 38.1
34340 | 2021-02-23 16:25 | 82.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1735 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.604 | 145709.5576 | 304449.3485 | 59.9307 | 38.1
34350 | 2021-02-23 16:26 | 83.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2123 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.602 | 145698.7595 | 304438.1137 | 59.9307 | 38.1
34360 | 2021-02-23 16:26 | 83.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1331 | μmol/L | 19.4824 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.604 | 145700.9823 | 304450.962 | 59.9307 | 38.1
34370 | 2021-02-23 16:26 | 83.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1735 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.604 | 145700.9092 | 304441.6527 | 59.9307 | 38.1
34380 | 2021-02-23 16:27 | 84.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1154 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.607 | 145722.4423 | 304446.3336 | 59.9307 | 38.1
34390 | 2021-02-23 16:27 | 84.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1365 | μmol/L | 19.4702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.608 | 145724.7189 | 304460.7246 | 59.9307 | 38.1
34400 | 2021-02-23 16:27 | 84.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1171 | μmol/L | 19.4702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.609 | 145729.475 | 304459.0507 | 59.9307 | 38.1
34410 | 2021-02-23 16:28 | 85.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0185 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.612 | 145756.3874 | 304444.4218 | 59.9307 | 38.1
34420 | 2021-02-23 16:28 | 85.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0589 | μmol/L | 19.4702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.612 | 145765.694 | 304452.8858 | 59.9307 | 38.1
34430 | 2021-02-23 16:28 | 85.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9991 | μmol/L | 19.4763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.613 | 145772.9538 | 304454.2424 | 59.9307 | 38.1
34440 | 2021-02-23 16:29 | 86.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0219 | μmol/L | 19.4641 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.616 | 145785.4414 | 304473.5835 | 59.9307 | 38.1
34450 | 2021-02-23 16:29 | 86.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0236 | μmol/L | 19.458 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.618 | 145806.3984 | 304475.9306 | 59.9307 | 38.1
34460 | 2021-02-23 16:29 | 86.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.8864 | μmol/L | 19.4641 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.623 | 145817.4631 | 304474.8273 | 59.9307 | 38.1
34470 | 2021-02-23 16:30 | 87.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9866 | μmol/L | 19.4519 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.622 | 145828.2766 | 304484.1338 | 59.9307 | 38.1
34480 | 2021-02-23 16:30 | 87.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9302 | μmol/L | 19.4458 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.627 | 145845.4745 | 304483.4668 | 59.9307 | 38.1
34490 | 2021-02-23 16:30 | 87.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9496 | μmol/L | 19.4458 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.626 | 145865.2131 | 304476.8745 | 59.9307 | 38.1
34500 | 2021-02-23 16:31 | 88.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9126 | μmol/L | 19.4397 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.63 | 145873.7317 | 304465.7624 | 59.9307 | 38.1
34510 | 2021-02-23 16:31 | 88.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9161 | μmol/L | 19.4275 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.634 | 145901.0242 | 304486.2558 | 59.9307 | 38.1
34520 | 2021-02-23 16:31 | 88.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9583 | μmol/L | 19.4152 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.636 | 145931.8802 | 304488.6267 | 59.9307 | 38.1
34530 | 2021-02-23 16:32 | 89.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.7191 | μmol/L | 19.4397 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.64 | 145968.3062 | 304493.8254 | 59.9307 | 38.1
34540 | 2021-02-23 16:32 | 89.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6611 | μmol/L | 19.4397 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.643 | 145986.2997 | 304491.282 | 59.9307 | 38.1
34550 | 2021-02-23 16:32 | 89.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6032 | μmol/L | 19.4397 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.646 | 145996.6385 | 304499.0336 | 59.9307 | 38.1
34560 | 2021-02-23 16:33 | 90.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6822 | μmol/L | 19.4336 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.644 | 146015.1178 | 304499.6409 | 59.9307 | 38.1
34570 | 2021-02-23 16:33 | 90.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6049 | μmol/L | 19.4336 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.648 | 146040.02 | 304498.0232 | 59.9307 | 38.1
34580 | 2021-02-23 16:33 | 90.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.647 | μmol/L | 19.4213 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.65 | 146055.3256 | 304500.6714 | 59.9307 | 38.1
34590 | 2021-02-23 16:34 | 91.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6101 | μmol/L | 19.4152 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.654 | 146076.6863 | 304505.3342 | 59.9307 | 38.1
34600 | 2021-02-23 16:34 | 91.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5136 | μmol/L | 19.4152 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.659 | 146083.6566 | 304509.7735 | 59.9307 | 38.1
34610 | 2021-02-23 16:34 | 91.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5926 | μmol/L | 19.4091 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.657 | 146106.943 | 304509.8889 | 59.9307 | 38.1
34620 | 2021-02-23 16:35 | 92.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.496 | μmol/L | 19.4091 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 146131.8352 | 304510.9944 | 59.9307 | 38.1
34630 | 2021-02-23 16:35 | 92.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.4785 | μmol/L | 19.403 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.665 | 146159.6861 | 304521.6543 | 59.9307 | 38.1
34640 | 2021-02-23 16:35 | 92.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3398 | μmol/L | 19.4152 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.668 | 146186.8539 | 304515.1537 | 59.9307 | 38.1
34650 | 2021-02-23 16:36 | 93.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.382 | μmol/L | 19.403 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.67 | 146223.2645 | 304527.7906 | 59.9307 | 38.1
34660 | 2021-02-23 16:36 | 93.3413 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.4048 | μmol/L | 19.3908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 146230.5025 | 304519.2977 | 59.9307 | 38.1
34670 | 2021-02-23 16:36 | 93.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.268 | μmol/L | 19.3969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.678 | 146246.5614 | 304528.888 | 59.9307 | 38.1
34680 | 2021-02-23 16:37 | 94.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.289 | μmol/L | 19.3908 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.679 | 146267.5112 | 304530.6002 | 59.9307 | 38.1
34690 | 2021-02-23 16:37 | 94.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3312 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.681 | 146280.314 | 304525.3629 | 59.9307 | 38.1
34700 | 2021-02-23 16:37 | 94.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.2523 | μmol/L | 19.3847 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.683 | 146302.2984 | 304534.1449 | 59.9307 | 38.1
34710 | 2021-02-23 16:38 | 95.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1962 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 146322.6349 | 304536.5643 | 59.9307 | 38.1
34720 | 2021-02-23 16:38 | 95.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1769 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 146337.1406 | 304546.3509 | 59.9307 | 38.1
34730 | 2021-02-23 16:38 | 95.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1384 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.691 | 146356.0518 | 304556.3897 | 59.9307 | 38.1
34740 | 2021-02-23 16:39 | 96.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1402 | μmol/L | 19.3725 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.693 | 146379.3261 | 304556.4364 | 59.9307 | 38.1
34750 | 2021-02-23 16:39 | 96.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1613 | μmol/L | 19.3664 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.694 | 146387.7663 | 304560.8356 | 59.9307 | 38.1
34760 | 2021-02-23 16:39 | 96.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1191 | μmol/L | 19.3786 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 146400.0542 | 304555.5375 | 59.9307 | 38.1
34770 | 2021-02-23 16:40 | 97.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1017 | μmol/L | 19.3725 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 146423.5175 | 304565.2303 | 59.9307 | 38.1
34780 | 2021-02-23 16:40 | 97.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.086 | μmol/L | 19.3603 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 146437.5838 | 304564.5362 | 59.9307 | 38.1
34790 | 2021-02-23 16:40 | 97.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9879 | μmol/L | 19.3664 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.703 | 146447.798 | 304574.9166 | 59.9307 | 38.1
34800 | 2021-02-23 16:41 | 98.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0667 | μmol/L | 19.3603 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.701 | 146460.9944 | 304579.3278 | 59.9307 | 38.1
34810 | 2021-02-23 16:41 | 98.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9302 | μmol/L | 19.3664 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 146485.5199 | 304580.0181 | 59.9307 | 38.1
34820 | 2021-02-23 16:41 | 98.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0108 | μmol/L | 19.3542 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 146481.478 | 304594.8487 | 59.9307 | 38.1
34830 | 2021-02-23 16:42 | 99.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.151 | μmol/L | 19.3358 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 146479.8764 | 304585.6758 | 59.9307 | 38.1
34840 | 2021-02-23 16:42 | 99.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0336 | μmol/L | 19.3419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.709 | 146487.3603 | 304591.977 | 59.9307 | 38.1
34850 | 2021-02-23 16:42 | 99.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0722 | μmol/L | 19.3419 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.707 | 146507.361 | 304590.4523 | 59.9307 | 38.1
34860 | 2021-02-23 16:43 | 100.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0355 | μmol/L | 19.3358 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.711 | 146533.5381 | 304587.9447 | 59.9307 | 38.1
34870 | 2021-02-23 16:43 | 100.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0428 | μmol/L | 19.3114 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 146562.7399 | 304593.9613 | 59.9307 | 38.1
34880 | 2021-02-23 16:43 | 100.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0794 | μmol/L | 19.3175 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 146568.1153 | 304597.013 | 59.9307 | 38.1
34890 | 2021-02-23 16:44 | 101.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9832 | μmol/L | 19.3175 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 146580.7014 | 304609.3069 | 59.9307 | 38.1
34900 | 2021-02-23 16:44 | 101.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8623 | μmol/L | 19.3358 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 146594.0896 | 304610.0296 | 59.9307 | 38.1
34910 | 2021-02-23 16:44 | 101.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9832 | μmol/L | 19.3175 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 146600.9734 | 304619.8405 | 59.9307 | 38.1
34920 | 2021-02-23 16:45 | 102.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9658 | μmol/L | 19.3114 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 146615.5645 | 304620.308 | 59.9307 | 38.1
34930 | 2021-02-23 16:45 | 102.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8678 | μmol/L | 19.3175 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.726 | 146634.1904 | 304634.8342 | 59.9307 | 38.1
34940 | 2021-02-23 16:45 | 102.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9447 | μmol/L | 19.3175 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.722 | 146630.6424 | 304633.1493 | 59.9307 | 38.1
34950 | 2021-02-23 16:46 | 103.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9676 | μmol/L | 19.3053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.725 | 146630.6041 | 304619.224 | 59.9307 | 38.1
34960 | 2021-02-23 16:46 | 103.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0483 | μmol/L | 19.2931 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.725 | 146649.7039 | 304630.2504 | 59.9307 | 38.1
34970 | 2021-02-23 16:46 | 103.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1308 | μmol/L | 19.2748 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.727 | 146658.463 | 304616.6636 | 59.9307 | 38.1
34980 | 2021-02-23 16:47 | 104.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0309 | μmol/L | 19.287 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.728 | 146661.1698 | 304620.3671 | 59.9307 | 38.1
34990 | 2021-02-23 16:47 | 104.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.931 | μmol/L | 19.2992 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.729 | 146682.2194 | 304633.2127 | 59.9307 | 38.1
35000 | 2021-02-23 16:47 | 104.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7542 | μmol/L | 19.3114 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.734 | 146714.5976 | 304640.5535 | 59.9307 | 38.1
35010 | 2021-02-23 16:48 | 105.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8137 | μmol/L | 19.3053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.733 | 146712.7423 | 304657.5172 | 59.9307 | 38.1
35020 | 2021-02-23 16:48 | 105.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9154 | μmol/L | 19.287 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.734 | 146713.1308 | 304646.062 | 59.9307 | 38.1
35030 | 2021-02-23 16:48 | 105.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.975 | μmol/L | 19.2809 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.733 | 146709.638 | 304622.7711 | 59.9307 | 38.1
35040 | 2021-02-23 16:49 | 106.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9979 | μmol/L | 19.2687 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.736 | 146732.902 | 304642.8938 | 59.9307 | 38.1
35050 | 2021-02-23 16:49 | 106.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8999 | μmol/L | 19.2748 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.739 | 146765.1905 | 304643.5622 | 59.9307 | 38.1
35060 | 2021-02-23 16:49 | 106.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9018 | μmol/L | 19.2687 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.741 | 146776.6491 | 304645.3447 | 59.9307 | 38.1
35070 | 2021-02-23 16:50 | 107.0086 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7883 | μmol/L | 19.2625 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.749 | 146799.8376 | 304650.3679 | 59.9307 | 38.1
35080 | 2021-02-23 16:50 | 107.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8708 | μmol/L | 19.2442 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.751 | 146828.3106 | 304645.3372 | 59.9307 | 38.1
35090 | 2021-02-23 16:50 | 107.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7747 | μmol/L | 19.2442 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.756 | 146839.6455 | 304643.9761 | 59.9307 | 38.1
35100 | 2021-02-23 16:51 | 108.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7709 | μmol/L | 19.2564 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.752 | 146857.8437 | 304653.76 | 59.9307 | 38.1
35110 | 2021-02-23 16:51 | 108.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7958 | μmol/L | 19.2381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.757 | 146852.5182 | 304654.4818 | 59.9307 | 38.1
35120 | 2021-02-23 16:51 | 108.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8726 | μmol/L | 19.2381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.753 | 146877.3537 | 304656.7931 | 59.9307 | 38.1
35130 | 2021-02-23 16:52 | 109.0087 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6594 | μmol/L | 19.2442 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.762 | 146879.5656 | 304660.6523 | 59.9307 | 38.1
35140 | 2021-02-23 16:52 | 109.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7152 | μmol/L | 19.2503 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.757 | 146893.4877 | 304664.701 | 59.9307 | 38.1
35150 | 2021-02-23 16:52 | 109.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6594 | μmol/L | 19.2442 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.762 | 146919.1514 | 304674.2867 | 59.9307 | 38.1
35160 | 2021-02-23 16:53 | 110.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5232 | μmol/L | 19.2503 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.767 | 146938.7956 | 304666.4998 | 59.9307 | 38.1
35170 | 2021-02-23 16:53 | 110.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6421 | μmol/L | 19.2381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.765 | 146934.6941 | 304666.7726 | 59.9307 | 38.1
35180 | 2021-02-23 16:53 | 110.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7419 | μmol/L | 19.2259 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.764 | 146943.5607 | 304663.1368 | 59.9307 | 38.1
35190 | 2021-02-23 16:54 | 111.0083 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6632 | μmol/L | 19.232 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.766 | 146945.3264 | 304677.8014 | 59.9307 | 38.1
35200 | 2021-02-23 16:54 | 111.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6824 | μmol/L | 19.232 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.765 | 146952.8849 | 304662.9469 | 59.9307 | 38.1
35210 | 2021-02-23 16:54 | 111.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7476 | μmol/L | 19.2076 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.77 | 146968.699 | 304679.4718 | 59.9307 | 38.1
35220 | 2021-02-23 16:55 | 112.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6881 | μmol/L | 19.2137 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.771 | 146987.1605 | 304677.5183 | 59.9307 | 38.1
35230 | 2021-02-23 16:55 | 112.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5116 | μmol/L | 19.2259 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.776 | 147007.2949 | 304686.696 | 59.9307 | 38.1
35240 | 2021-02-23 16:55 | 112.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4732 | μmol/L | 19.2259 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.778 | 147024.5661 | 304675.4023 | 59.9307 | 38.1
35250 | 2021-02-23 16:56 | 113.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4157 | μmol/L | 19.2259 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.781 | 147041.4295 | 304678.9103 | 59.9307 | 38.1
35260 | 2021-02-23 16:56 | 113.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6573 | μmol/L | 19.1893 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.781 | 147041.5514 | 304683.2618 | 59.9307 | 38.1
35270 | 2021-02-23 16:56 | 113.6755 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7187 | μmol/L | 19.177 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.782 | 147055.6328 | 304691.6816 | 59.9307 | 38.1
35280 | 2021-02-23 16:57 | 114.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6803 | μmol/L | 19.177 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.784 | 147077.3998 | 304681.6297 | 59.9307 | 38.1
35290 | 2021-02-23 16:57 | 114.3421 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5441 | μmol/L | 19.1832 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.789 | 147090.2209 | 304689.8243 | 59.9307 | 38.1
35300 | 2021-02-23 16:57 | 114.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6036 | μmol/L | 19.177 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.788 | 147109.3935 | 304703.1247 | 59.9307 | 38.1
35310 | 2021-02-23 16:58 | 115.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5268 | μmol/L | 19.177 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.792 | 147115.4548 | 304702.2842 | 59.9307 | 38.1
35319 | 2021-02-23 16:58 | 115.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5882 | μmol/L | 19.1648 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.793 | 147169.0038 | 304694.1717 | 59.9307 | 38.1