## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35329 | 2021-02-23 19:17 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.6291 | μmol/L | 25.1981 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.905 | 143811.5392 | 305209.241 | 59.9307 | 38.1
35337 | 2021-02-23 19:17 | 0.32934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.6827 | μmol/L | 25.192 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.904 | 143767.6295 | 305192.9986 | 59.9307 | 38.1
35347 | 2021-02-23 19:18 | 0.66265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.4683 | μmol/L | 25.2165 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.908 | 143752.8274 | 305163.2859 | 59.9307 | 38.1
35357 | 2021-02-23 19:18 | 0.99548 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.5037 | μmol/L | 25.2165 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.906 | 143787.2058 | 305134.6839 | 59.9307 | 38.1
35367 | 2021-02-23 19:18 | 1.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.5941 | μmol/L | 25.192 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 143779.1596 | 305111.3058 | 59.9307 | 38.1
35377 | 2021-02-23 19:19 | 1.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3259 | μmol/L | 25.2287 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.912 | 143790.7804 | 305078.8626 | 59.9307 | 38.1
35387 | 2021-02-23 19:19 | 1.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.0938 | μmol/L | 25.2593 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.915 | 143785.9483 | 305048.8396 | 59.9307 | 38.1
35397 | 2021-02-23 19:19 | 2.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3449 | μmol/L | 25.2103 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143788.4693 | 305010.2574 | 59.9307 | 38.1
35407 | 2021-02-23 19:20 | 2.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3999 | μmol/L | 25.1859 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.922 | 143785.5983 | 304990.7016 | 59.9307 | 38.1
35417 | 2021-02-23 19:20 | 2.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3115 | μmol/L | 25.1859 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.927 | 143799.2179 | 304958.742 | 59.9307 | 38.1
35427 | 2021-02-23 19:20 | 3.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2408 | μmol/L | 25.1859 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.931 | 143792.9145 | 304932.123 | 59.9307 | 38.1
35437 | 2021-02-23 19:21 | 3.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.026 | μmol/L | 25.2226 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.931 | 143791.4642 | 304899.1397 | 59.9307 | 38.1
35447 | 2021-02-23 19:21 | 3.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2236 | μmol/L | 25.1797 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.934 | 143799.3556 | 304879.3114 | 59.9307 | 38.1
35457 | 2021-02-23 19:21 | 4.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.0284 | μmol/L | 25.192 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.941 | 143797.7788 | 304848.828 | 59.9307 | 38.1
35467 | 2021-02-23 19:22 | 4.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9397 | μmol/L | 25.1981 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.944 | 143795.6385 | 304822.2704 | 59.9307 | 38.1
35477 | 2021-02-23 19:22 | 4.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.0112 | μmol/L | 25.1859 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.944 | 143776.3241 | 304802.948 | 59.9307 | 38.1
35487 | 2021-02-23 19:22 | 5.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.171 | μmol/L | 25.1736 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.939 | 143739.1917 | 304769.7367 | 59.9307 | 38.1
35497 | 2021-02-23 19:23 | 5.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2966 | μmol/L | 25.1492 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.94 | 143735.4329 | 304762.0058 | 59.9307 | 38.1
35507 | 2021-02-23 19:23 | 5.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2436 | μmol/L | 25.1492 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.943 | 143732.4385 | 304734.9626 | 59.9307 | 38.1
35517 | 2021-02-23 19:23 | 6.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.8863 | μmol/L | 25.2042 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.945 | 143707.8156 | 304703.0527 | 59.9307 | 38.1
35527 | 2021-02-23 19:24 | 6.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9916 | μmol/L | 25.2103 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.937 | 143650.0966 | 304687.3464 | 59.9307 | 38.1
35537 | 2021-02-23 19:24 | 6.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2231 | μmol/L | 25.1859 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.932 | 143595.2652 | 304671.2187 | 59.9307 | 38.1
35547 | 2021-02-23 19:24 | 7.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.7073 | μmol/L | 25.1002 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.933 | 143587.4257 | 304651.9174 | 59.9307 | 38.1
35557 | 2021-02-23 19:25 | 7.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.6174 | μmol/L | 25.1186 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.932 | 143570.5392 | 304626.3038 | 59.9307 | 38.1
35567 | 2021-02-23 19:25 | 7.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.4921 | μmol/L | 25.1369 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.933 | 143545.0812 | 304574.0235 | 59.9307 | 38.1
35577 | 2021-02-23 19:25 | 8.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.7609 | μmol/L | 25.0941 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.932 | 143505.8558 | 304557.2499 | 59.9307 | 38.1
35587 | 2021-02-23 19:26 | 8.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.5265 | μmol/L | 25.1492 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.927 | 143445.8158 | 304539.5659 | 59.9307 | 38.1
35597 | 2021-02-23 19:26 | 8.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.5428 | μmol/L | 25.1675 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.92 | 143387.0067 | 304517.3525 | 59.9307 | 38.1
35607 | 2021-02-23 19:26 | 9.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.5955 | μmol/L | 25.1736 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.915 | 143336.0269 | 304499.3716 | 59.9307 | 38.1
35617 | 2021-02-23 19:27 | 9.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.4525 | μmol/L | 25.192 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143326.558 | 304479.3391 | 59.9307 | 38.1
35627 | 2021-02-23 19:27 | 9.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3096 | μmol/L | 25.2103 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.919 | 143283.3622 | 304431.103 | 59.9307 | 38.1
35637 | 2021-02-23 19:27 | 10.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.3975 | μmol/L | 25.2165 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.912 | 143247.0622 | 304430.3041 | 59.9307 | 38.1
35647 | 2021-02-23 19:28 | 10.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2724 | μmol/L | 25.2348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 143237.0137 | 304405.9261 | 59.9307 | 38.1
35657 | 2021-02-23 19:28 | 10.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2724 | μmol/L | 25.2348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 143231.319 | 304382.6317 | 59.9307 | 38.1
35667 | 2021-02-23 19:28 | 11.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.1296 | μmol/L | 25.2532 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.915 | 143216.8924 | 304350.4742 | 59.9307 | 38.1
35677 | 2021-02-23 19:29 | 11.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.0933 | μmol/L | 25.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 143206.7827 | 304340.9154 | 59.9307 | 38.1
35687 | 2021-02-23 19:29 | 11.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9511 | μmol/L | 25.2776 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143199.4179 | 304319.7388 | 59.9307 | 38.1
35697 | 2021-02-23 19:29 | 12.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9511 | μmol/L | 25.2776 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143194.3953 | 304296.6149 | 59.9307 | 38.1
35707 | 2021-02-23 19:30 | 12.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9334 | μmol/L | 25.2776 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.918 | 143181.9332 | 304268.3077 | 59.9307 | 38.1
35717 | 2021-02-23 19:30 | 12.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.7723 | μmol/L | 25.3082 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143164.1612 | 304251.5918 | 59.9307 | 38.1
35727 | 2021-02-23 19:30 | 13.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.718 | μmol/L | 25.3266 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.914 | 143141.6506 | 304217.0511 | 59.9307 | 38.1
35737 | 2021-02-23 19:31 | 13.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.6284 | μmol/L | 25.3449 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 143132.1415 | 304220.3155 | 59.9307 | 38.1
35747 | 2021-02-23 19:31 | 13.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.4689 | μmol/L | 25.3572 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.918 | 143132.1141 | 304203.0687 | 59.9307 | 38.1
35757 | 2021-02-23 19:31 | 14.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.4151 | μmol/L | 25.3694 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143117.854 | 304164.8613 | 59.9307 | 38.1
35767 | 2021-02-23 19:32 | 14.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2724 | μmol/L | 25.3939 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 143093.5514 | 304143.7716 | 59.9307 | 38.1
35777 | 2021-02-23 19:32 | 14.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.3066 | μmol/L | 25.4061 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.911 | 143058.3257 | 304122.4524 | 59.9307 | 38.1
35787 | 2021-02-23 19:32 | 15.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.1464 | μmol/L | 25.4306 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.912 | 143031.0235 | 304106.6019 | 59.9307 | 38.1
35797 | 2021-02-23 19:33 | 15.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2167 | μmol/L | 25.4306 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.908 | 143021.1739 | 304086.4496 | 59.9307 | 38.1
35807 | 2021-02-23 19:33 | 15.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.1635 | μmol/L | 25.4367 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142997.1694 | 304072.2522 | 59.9307 | 38.1
35817 | 2021-02-23 19:33 | 16.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.0746 | μmol/L | 25.449 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.91 | 142973.3184 | 304028.4427 | 59.9307 | 38.1
35827 | 2021-02-23 19:34 | 16.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.9497 | μmol/L | 25.4734 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142942.7448 | 304020.8802 | 59.9307 | 38.1
35837 | 2021-02-23 19:34 | 16.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.9668 | μmol/L | 25.4796 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.906 | 142939.4743 | 304004.5868 | 59.9307 | 38.1
35847 | 2021-02-23 19:34 | 17.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.9136 | μmol/L | 25.4857 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.907 | 142927.2452 | 303976.5423 | 59.9307 | 38.1
35857 | 2021-02-23 19:35 | 17.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.7892 | μmol/L | 25.504 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.908 | 142924.7218 | 303956.2618 | 59.9307 | 38.1
35867 | 2021-02-23 19:35 | 17.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.7716 | μmol/L | 25.504 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142919.4349 | 303933.483 | 59.9307 | 38.1
35877 | 2021-02-23 19:35 | 18.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.6829 | μmol/L | 25.5163 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.91 | 142919.5624 | 303920.4776 | 59.9307 | 38.1
35887 | 2021-02-23 19:36 | 18.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.6649 | μmol/L | 25.5224 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142900.6343 | 303896.3125 | 59.9307 | 38.1
35897 | 2021-02-23 19:36 | 18.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5582 | μmol/L | 25.5407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142887.702 | 303874.0445 | 59.9307 | 38.1
35907 | 2021-02-23 19:36 | 19.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5231 | μmol/L | 25.5407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.911 | 142884.6126 | 303869.4755 | 59.9307 | 38.1
35917 | 2021-02-23 19:37 | 19.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.417 | μmol/L | 25.553 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 142870.2533 | 303832.6432 | 59.9307 | 38.1
35927 | 2021-02-23 19:37 | 19.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2759 | μmol/L | 25.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 142879.9165 | 303806.0222 | 59.9307 | 38.1
35937 | 2021-02-23 19:37 | 20.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1699 | μmol/L | 25.5775 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.919 | 142885.6486 | 303801.4739 | 59.9307 | 38.1
35947 | 2021-02-23 19:38 | 20.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1169 | μmol/L | 25.5836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.92 | 142871.0123 | 303772.7219 | 59.9307 | 38.1
35957 | 2021-02-23 19:38 | 20.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9405 | μmol/L | 25.6019 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.924 | 142865.5634 | 303755.4407 | 59.9307 | 38.1
35967 | 2021-02-23 19:38 | 21.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.975 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.92 | 142858.2832 | 303734.2801 | 59.9307 | 38.1
35977 | 2021-02-23 19:39 | 21.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9924 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.919 | 142845.5793 | 303720.5909 | 59.9307 | 38.1
35987 | 2021-02-23 19:39 | 21.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0099 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.918 | 142809.1121 | 303684.7046 | 59.9307 | 38.1
35997 | 2021-02-23 19:39 | 22.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0634 | μmol/L | 25.5958 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.919 | 142789.6357 | 303680.461 | 59.9307 | 38.1
36007 | 2021-02-23 19:40 | 22.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0274 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.917 | 142763.4897 | 303660.9871 | 59.9307 | 38.1
36017 | 2021-02-23 19:40 | 22.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0269 | μmol/L | 25.6142 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.915 | 142733.3592 | 303639.6737 | 59.9307 | 38.1
36027 | 2021-02-23 19:40 | 23.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9555 | μmol/L | 25.6325 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.913 | 142701.7216 | 303598.5503 | 59.9307 | 38.1
36037 | 2021-02-23 19:41 | 23.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0604 | μmol/L | 25.6325 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.907 | 142673.9456 | 303598.329 | 59.9307 | 38.1
36047 | 2021-02-23 19:41 | 23.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9894 | μmol/L | 25.6448 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.907 | 142650.5667 | 303583.496 | 59.9307 | 38.1
36057 | 2021-02-23 19:41 | 24.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1133 | μmol/L | 25.6264 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.906 | 142597.1473 | 303549.392 | 59.9307 | 38.1
36067 | 2021-02-23 19:42 | 24.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2709 | μmol/L | 25.6264 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.897 | 142530.566 | 303545.461 | 59.9307 | 38.1
36077 | 2021-02-23 19:42 | 24.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2519 | μmol/L | 25.6448 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.892 | 142475.7024 | 303533.5364 | 59.9307 | 38.1
36087 | 2021-02-23 19:42 | 25.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1084 | μmol/L | 25.6876 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.886 | 142411.1022 | 303501.1011 | 59.9307 | 38.1
36097 | 2021-02-23 19:43 | 25.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1779 | μmol/L | 25.6937 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.88 | 142357.4545 | 303479.1044 | 59.9307 | 38.1
36107 | 2021-02-23 19:43 | 25.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2304 | μmol/L | 25.6937 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.877 | 142310.9109 | 303453.2021 | 59.9307 | 38.1
36117 | 2021-02-23 19:43 | 26.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.301 | μmol/L | 25.6876 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.875 | 142270.9459 | 303454.5319 | 59.9307 | 38.1
36127 | 2021-02-23 19:44 | 26.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5133 | μmol/L | 25.6631 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.871 | 142240.1562 | 303422.0147 | 59.9307 | 38.1
36137 | 2021-02-23 19:44 | 26.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4071 | μmol/L | 25.6754 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.873 | 142220.6072 | 303424.756 | 59.9307 | 38.1
36147 | 2021-02-23 19:44 | 27.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.548 | μmol/L | 25.6692 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.867 | 142194.2351 | 303404.1971 | 59.9307 | 38.1
36157 | 2021-02-23 19:45 | 27.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4783 | μmol/L | 25.6631 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.873 | 142194.586 | 303393.6953 | 59.9307 | 38.1
36167 | 2021-02-23 19:45 | 27.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4437 | μmol/L | 25.657 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.877 | 142205.0267 | 303382.5644 | 59.9307 | 38.1
36177 | 2021-02-23 19:45 | 28.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.355 | μmol/L | 25.6692 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.878 | 142203.4515 | 303356.7334 | 59.9307 | 38.1
36187 | 2021-02-23 19:46 | 28.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3721 | μmol/L | 25.6754 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.875 | 142179.5329 | 303317.4613 | 59.9307 | 38.1
36197 | 2021-02-23 19:46 | 28.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4437 | μmol/L | 25.657 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.877 | 142176.3318 | 303298.9047 | 59.9307 | 38.1
36207 | 2021-02-23 19:46 | 29.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5338 | μmol/L | 25.6264 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.882 | 142199.0616 | 303282.0633 | 59.9307 | 38.1
36217 | 2021-02-23 19:47 | 29.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4115 | μmol/L | 25.6203 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.891 | 142251.5545 | 303280.3898 | 59.9307 | 38.1
36227 | 2021-02-23 19:47 | 29.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4481 | μmol/L | 25.6019 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.895 | 142261.1301 | 303260.1063 | 59.9307 | 38.1
36237 | 2021-02-23 19:47 | 30.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3945 | μmol/L | 25.6142 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.894 | 142246.9522 | 303255.2916 | 59.9307 | 38.1
36247 | 2021-02-23 19:48 | 30.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4826 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.891 | 142255.8877 | 303225.5078 | 59.9307 | 38.1
36257 | 2021-02-23 19:48 | 30.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2899 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.902 | 142271.3902 | 303211.8432 | 59.9307 | 38.1
36267 | 2021-02-23 19:48 | 31.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1308 | μmol/L | 25.6264 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.905 | 142267.871 | 303193.7462 | 59.9307 | 38.1
36277 | 2021-02-23 19:49 | 31.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2894 | μmol/L | 25.6142 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.9 | 142266.0172 | 303179.115 | 59.9307 | 38.1
36287 | 2021-02-23 19:49 | 31.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2364 | μmol/L | 25.6203 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.901 | 142233.0995 | 303163.7205 | 59.9307 | 38.1
36297 | 2021-02-23 19:49 | 32.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.396 | μmol/L | 25.5958 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.9 | 142215.6842 | 303136.5128 | 59.9307 | 38.1
36307 | 2021-02-23 19:50 | 32.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2894 | μmol/L | 25.6142 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.9 | 142191.1514 | 303124.532 | 59.9307 | 38.1
36317 | 2021-02-23 19:50 | 32.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3785 | μmol/L | 25.5958 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.901 | 142182.6281 | 303105.3018 | 59.9307 | 38.1
36327 | 2021-02-23 19:50 | 33.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5197 | μmol/L | 25.5836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.897 | 142163.5499 | 303090.7123 | 59.9307 | 38.1
36337 | 2021-02-23 19:51 | 33.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5206 | μmol/L | 25.5713 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.901 | 142137.8187 | 303076.4515 | 59.9307 | 38.1
36347 | 2021-02-23 19:51 | 33.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3079 | μmol/L | 25.6019 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.903 | 142163.4946 | 303062.7245 | 59.9307 | 38.1
36357 | 2021-02-23 19:51 | 34.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4145 | μmol/L | 25.5836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.903 | 142144.5224 | 303042.982 | 59.9307 | 38.1
36367 | 2021-02-23 19:52 | 34.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2013 | μmol/L | 25.6203 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.903 | 142117.3263 | 303025.7875 | 59.9307 | 38.1
36377 | 2021-02-23 19:52 | 34.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3264 | μmol/L | 25.5897 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.906 | 142114.6738 | 303018.3421 | 59.9307 | 38.1
36387 | 2021-02-23 19:52 | 35.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3614 | μmol/L | 25.5897 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.904 | 142083.7924 | 302992.737 | 59.9307 | 38.1
36397 | 2021-02-23 19:53 | 35.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3965 | μmol/L | 25.5897 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.902 | 142063.1827 | 302997.4832 | 59.9307 | 38.1
36407 | 2021-02-23 19:53 | 35.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2904 | μmol/L | 25.6019 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.904 | 142068.3398 | 302975.3288 | 59.9307 | 38.1
36417 | 2021-02-23 19:53 | 36.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2374 | μmol/L | 25.608 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.905 | 142064.9222 | 302939.4243 | 59.9307 | 38.1
36427 | 2021-02-23 19:54 | 36.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.2625 | μmol/L | 25.5958 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.908 | 142069.5512 | 302936.162 | 59.9307 | 38.1
36437 | 2021-02-23 19:54 | 36.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0141 | μmol/L | 25.6386 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.908 | 142077.5181 | 302918.5783 | 59.9307 | 38.1
36447 | 2021-02-23 19:54 | 37.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0964 | μmol/L | 25.6203 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142061.1964 | 302906.116 | 59.9307 | 38.1
36457 | 2021-02-23 19:55 | 37.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9611 | μmol/L | 25.6448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142043.4242 | 302895.4002 | 59.9307 | 38.1
36467 | 2021-02-23 19:55 | 37.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.884 | μmol/L | 25.6509 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 21.911 | 142042.6683 | 302884.6335 | 59.9307 | 38.1
36477 | 2021-02-23 19:55 | 38.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8732 | μmol/L | 25.6509 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.912 | 142026.9679 | 302864.6713 | 59.9307 | 38.1
36487 | 2021-02-23 19:56 | 38.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8927 | μmol/L | 25.6264 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.919 | 142050.9671 | 302854.4375 | 59.9307 | 38.1
36497 | 2021-02-23 19:56 | 38.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8763 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.924 | 142095.3911 | 302829.8573 | 59.9307 | 38.1
36507 | 2021-02-23 19:56 | 39.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8948 | μmol/L | 25.6019 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.927 | 142104.8004 | 302818.262 | 59.9307 | 38.1
36517 | 2021-02-23 19:57 | 39.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8064 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.928 | 142101.6428 | 302808.3964 | 59.9307 | 38.1
36527 | 2021-02-23 19:57 | 39.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7197 | μmol/L | 25.608 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.935 | 142117.8209 | 302802.0735 | 59.9307 | 38.1
36537 | 2021-02-23 19:57 | 40.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5606 | μmol/L | 25.6325 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.936 | 142135.4638 | 302796.8042 | 59.9307 | 38.1
36547 | 2021-02-23 19:58 | 40.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7212 | μmol/L | 25.5897 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.941 | 142156.6453 | 302789.4906 | 59.9307 | 38.1
36557 | 2021-02-23 19:58 | 40.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5278 | μmol/L | 25.608 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.946 | 142166.9897 | 302776.6859 | 59.9307 | 38.1
36567 | 2021-02-23 19:58 | 41.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5099 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 142148.5643 | 302757.2461 | 59.9307 | 38.1
36577 | 2021-02-23 19:59 | 41.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.247 | μmol/L | 25.6325 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.954 | 142173.5339 | 302730.9135 | 59.9307 | 38.1
36587 | 2021-02-23 19:59 | 41.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.2639 | μmol/L | 25.6386 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.951 | 142131.8181 | 302725.6913 | 59.9307 | 38.1
36597 | 2021-02-23 19:59 | 42.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4037 | μmol/L | 25.6325 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 142110.1741 | 302718.0419 | 59.9307 | 38.1
36607 | 2021-02-23 20:00 | 42.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5099 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 142086.8181 | 302695.1179 | 59.9307 | 38.1
36617 | 2021-02-23 20:00 | 42.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6509 | μmol/L | 25.5958 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.943 | 142066.3379 | 302689.7218 | 59.9307 | 38.1
36627 | 2021-02-23 20:00 | 43.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7223 | μmol/L | 25.5775 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 142053.3822 | 302679.6528 | 59.9307 | 38.1
36637 | 2021-02-23 20:01 | 43.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.809 | μmol/L | 25.5836 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.938 | 142021.1398 | 302677.8084 | 59.9307 | 38.1
36647 | 2021-02-23 20:01 | 43.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5088 | μmol/L | 25.6264 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.941 | 142017.1261 | 302655.8086 | 59.9307 | 38.1
36657 | 2021-02-23 20:01 | 44.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3678 | μmol/L | 25.6448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.943 | 141999.8816 | 302640.24 | 59.9307 | 38.1
36667 | 2021-02-23 20:02 | 44.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4745 | μmol/L | 25.6203 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 142015.5239 | 302632.6662 | 59.9307 | 38.1
36677 | 2021-02-23 20:02 | 44.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5981 | μmol/L | 25.6019 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.944 | 141992.5664 | 302624.8479 | 59.9307 | 38.1
36687 | 2021-02-23 20:02 | 45.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.616 | μmol/L | 25.5958 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 141987.7151 | 302600.1423 | 59.9307 | 38.1
36697 | 2021-02-23 20:03 | 45.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5099 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.945 | 141968.188 | 302596.3796 | 59.9307 | 38.1
36707 | 2021-02-23 20:03 | 45.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5458 | μmol/L | 25.6019 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.947 | 141986.4416 | 302591.6096 | 59.9307 | 38.1
36717 | 2021-02-23 20:03 | 46.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6361 | μmol/L | 25.5652 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.954 | 141988.9051 | 302584.0518 | 59.9307 | 38.1
36727 | 2021-02-23 20:04 | 46.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4771 | μmol/L | 25.5897 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.955 | 141994.3972 | 302562.3598 | 59.9307 | 38.1
36737 | 2021-02-23 20:04 | 46.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7243 | μmol/L | 25.553 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.953 | 141988.7368 | 302558.6202 | 59.9307 | 38.1
36747 | 2021-02-23 20:04 | 47.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6187 | μmol/L | 25.5652 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.955 | 141983.5281 | 302538.9167 | 59.9307 | 38.1
36757 | 2021-02-23 20:05 | 47.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6181 | μmol/L | 25.5713 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.953 | 141970.516 | 302515.6661 | 59.9307 | 38.1
36767 | 2021-02-23 20:05 | 47.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6202 | μmol/L | 25.5469 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.961 | 141984.1126 | 302520.5031 | 59.9307 | 38.1
36777 | 2021-02-23 20:05 | 48.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7254 | μmol/L | 25.5407 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.957 | 141965.0697 | 302510.0567 | 59.9307 | 38.1
36787 | 2021-02-23 20:06 | 48.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5304 | μmol/L | 25.5775 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.956 | 141950.803 | 302499.7128 | 59.9307 | 38.1
36797 | 2021-02-23 20:06 | 48.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6377 | μmol/L | 25.5469 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.96 | 141954.2328 | 302496.5586 | 59.9307 | 38.1
36807 | 2021-02-23 20:06 | 49.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4444 | μmol/L | 25.5652 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.965 | 141979.8191 | 302471.559 | 59.9307 | 38.1
36817 | 2021-02-23 20:07 | 49.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6023 | μmol/L | 25.553 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.96 | 141926.8003 | 302457.1658 | 59.9307 | 38.1
36827 | 2021-02-23 20:07 | 49.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6208 | μmol/L | 25.5407 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.963 | 141935.1866 | 302437.4751 | 59.9307 | 38.1
36837 | 2021-02-23 20:07 | 50.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5864 | μmol/L | 25.5346 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.967 | 141964.7498 | 302431.0853 | 59.9307 | 38.1
36847 | 2021-02-23 20:08 | 50.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.728 | μmol/L | 25.5101 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.967 | 141942.6583 | 302432.7507 | 59.9307 | 38.1
36857 | 2021-02-23 20:08 | 50.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.994 | μmol/L | 25.4612 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.968 | 141936.6109 | 302396.2117 | 59.9307 | 38.1
36867 | 2021-02-23 20:08 | 51.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9575 | μmol/L | 25.4796 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.964 | 141918.0459 | 302392.723 | 59.9307 | 38.1
36877 | 2021-02-23 20:09 | 51.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7111 | μmol/L | 25.504 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.97 | 141930.8313 | 302378.8436 | 59.9307 | 38.1
36887 | 2021-02-23 20:09 | 51.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6234 | μmol/L | 25.5101 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.973 | 141950.9894 | 302374.6567 | 59.9307 | 38.1
36897 | 2021-02-23 20:09 | 52.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4999 | μmol/L | 25.5285 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.974 | 141962.8872 | 302375.9056 | 59.9307 | 38.1
36907 | 2021-02-23 20:10 | 52.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4123 | μmol/L | 25.5346 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.977 | 141972.4978 | 302345.8246 | 59.9307 | 38.1
36917 | 2021-02-23 20:10 | 52.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7148 | μmol/L | 25.4612 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.984 | 141987.4844 | 302330.9808 | 59.9307 | 38.1
36927 | 2021-02-23 20:10 | 53.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4672 | μmol/L | 25.504 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.984 | 141982.7871 | 302329.8007 | 59.9307 | 38.1
36937 | 2021-02-23 20:11 | 53.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4144 | μmol/L | 25.5101 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.985 | 141964.227 | 302310.4942 | 59.9307 | 38.1
36947 | 2021-02-23 20:11 | 53.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4334 | μmol/L | 25.4918 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.99 | 141976.0096 | 302309.0782 | 59.9307 | 38.1
36957 | 2021-02-23 20:11 | 54.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3986 | μmol/L | 25.4918 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.992 | 141979.607 | 302298.2736 | 59.9307 | 38.1
36967 | 2021-02-23 20:12 | 54.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4688 | μmol/L | 25.4857 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.99 | 141970.5223 | 302267.452 | 59.9307 | 38.1
36977 | 2021-02-23 20:12 | 54.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.2937 | μmol/L | 25.4979 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.996 | 141985.4792 | 302258.3518 | 59.9307 | 38.1
36987 | 2021-02-23 20:12 | 55.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3638 | μmol/L | 25.4918 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.994 | 141975.1474 | 302252.0565 | 59.9307 | 38.1
36997 | 2021-02-23 20:13 | 55.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4873 | μmol/L | 25.4734 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.993 | 141965.8099 | 302238.274 | 59.9307 | 38.1
37007 | 2021-02-23 20:13 | 55.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5586 | μmol/L | 25.4551 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.995 | 141966.5713 | 302231.8899 | 59.9307 | 38.1
37017 | 2021-02-23 20:13 | 56.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5765 | μmol/L | 25.449 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.996 | 141952.3452 | 302216.5749 | 59.9307 | 38.1
37027 | 2021-02-23 20:14 | 56.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5597 | μmol/L | 25.4428 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.999 | 141946.2737 | 302194.5814 | 59.9307 | 38.1
37037 | 2021-02-23 20:14 | 56.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4721 | μmol/L | 25.449 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.002 | 141948.2318 | 302192.2721 | 59.9307 | 38.1
37047 | 2021-02-23 20:14 | 57.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3834 | μmol/L | 25.4673 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.001 | 141955.2746 | 302178.869 | 59.9307 | 38.1
37057 | 2021-02-23 20:15 | 57.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3138 | μmol/L | 25.4673 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.005 | 141972.7753 | 302179.7792 | 59.9307 | 38.1
37067 | 2021-02-23 20:15 | 57.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.668 | μmol/L | 25.4 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.007 | 141961.7393 | 302161.6002 | 59.9307 | 38.1
37077 | 2021-02-23 20:15 | 58.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7213 | μmol/L | 25.3878 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.008 | 141950.6666 | 302159.8601 | 59.9307 | 38.1
37087 | 2021-02-23 20:16 | 58.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5967 | μmol/L | 25.4184 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.005 | 141958.1005 | 302154.1239 | 59.9307 | 38.1
37097 | 2021-02-23 20:16 | 58.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5624 | μmol/L | 25.4122 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.009 | 141947.2077 | 302139.267 | 59.9307 | 38.1
37107 | 2021-02-23 20:16 | 59.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6505 | μmol/L | 25.4 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.008 | 141966.4368 | 302141.2279 | 59.9307 | 38.1
37117 | 2021-02-23 20:17 | 59.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5988 | μmol/L | 25.3939 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.013 | 141973.1335 | 302128.3008 | 59.9307 | 38.1
37127 | 2021-02-23 20:17 | 59.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6168 | μmol/L | 25.3878 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.014 | 141980.9362 | 302122.0464 | 59.9307 | 38.1
37137 | 2021-02-23 20:17 | 60.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6876 | μmol/L | 25.3755 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.014 | 141976.0125 | 302108.7068 | 59.9307 | 38.1
37147 | 2021-02-23 20:18 | 60.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7594 | μmol/L | 25.3511 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141977.2975 | 302095.0778 | 59.9307 | 38.1
37157 | 2021-02-23 20:18 | 60.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7594 | μmol/L | 25.3511 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141978.9772 | 302098.5886 | 59.9307 | 38.1
37167 | 2021-02-23 20:18 | 61.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.724 | μmol/L | 25.3572 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141986.0653 | 302090.3332 | 59.9307 | 38.1
37177 | 2021-02-23 20:19 | 61.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6016 | μmol/L | 25.3633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.023 | 141984.8448 | 302091.0203 | 59.9307 | 38.1
37187 | 2021-02-23 20:19 | 61.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4602 | μmol/L | 25.3878 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.023 | 141995.6029 | 302080.8571 | 59.9307 | 38.1
37197 | 2021-02-23 20:19 | 62.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3911 | μmol/L | 25.3817 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.029 | 142008.9651 | 302078.0846 | 59.9307 | 38.1
37207 | 2021-02-23 20:20 | 62.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.2857 | μmol/L | 25.3939 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.031 | 142031.433 | 302075.7014 | 59.9307 | 38.1
37217 | 2021-02-23 20:20 | 62.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3738 | μmol/L | 25.3817 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.03 | 142043.7757 | 302071.4129 | 59.9307 | 38.1
37227 | 2021-02-23 20:20 | 63.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5162 | μmol/L | 25.3449 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.034 | 142036.3444 | 302070.4859 | 59.9307 | 38.1
37237 | 2021-02-23 20:21 | 63.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5342 | μmol/L | 25.3388 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.035 | 142036.4078 | 302062.9041 | 59.9307 | 38.1
37247 | 2021-02-23 20:21 | 63.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5347 | μmol/L | 25.3327 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.037 | 142042.4303 | 302069.2017 | 59.9307 | 38.1
37257 | 2021-02-23 20:21 | 64.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6234 | μmol/L | 25.3143 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.038 | 142035.0343 | 302047.8761 | 59.9307 | 38.1
37267 | 2021-02-23 20:22 | 64.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7284 | μmol/L | 25.3082 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.034 | 142016.3649 | 302051.2044 | 59.9307 | 38.1
37277 | 2021-02-23 20:22 | 64.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6942 | μmol/L | 25.3021 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.038 | 142027.2374 | 302036.5556 | 59.9307 | 38.1
37287 | 2021-02-23 20:22 | 65.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6768 | μmol/L | 25.3021 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 142047.749 | 302034.3426 | 59.9307 | 38.1
37297 | 2021-02-23 20:23 | 65.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5381 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.049 | 142079.6457 | 302029.0606 | 59.9307 | 38.1
37307 | 2021-02-23 20:23 | 65.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5033 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.051 | 142093.3467 | 302028.8984 | 59.9307 | 38.1
37317 | 2021-02-23 20:23 | 66.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5729 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.047 | 142065.168 | 302016.0311 | 59.9307 | 38.1
37327 | 2021-02-23 20:24 | 66.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7846 | μmol/L | 25.2654 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.045 | 142039.4326 | 301999.0061 | 59.9307 | 38.1
37337 | 2021-02-23 20:24 | 66.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6779 | μmol/L | 25.2899 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.043 | 142029.0388 | 302001.9726 | 59.9307 | 38.1
37347 | 2021-02-23 20:24 | 67.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8178 | μmol/L | 25.2838 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.037 | 141974.8579 | 301996.9872 | 59.9307 | 38.1
37357 | 2021-02-23 20:25 | 67.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7644 | μmol/L | 25.296 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.036 | 141990.6747 | 301997.6415 | 59.9307 | 38.1
37367 | 2021-02-23 20:25 | 67.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7655 | μmol/L | 25.2838 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 142002.0701 | 301993.0868 | 59.9307 | 38.1
37377 | 2021-02-23 20:25 | 68.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8537 | μmol/L | 25.2715 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 142002.5828 | 301994.533 | 59.9307 | 38.1
37387 | 2021-02-23 20:26 | 68.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9599 | μmol/L | 25.2532 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 141986.4101 | 301975.9752 | 59.9307 | 38.1
37397 | 2021-02-23 20:26 | 68.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6784 | μmol/L | 25.2838 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.045 | 142026.9911 | 301970.162 | 59.9307 | 38.1
37407 | 2021-02-23 20:26 | 69.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7655 | μmol/L | 25.2838 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 142007.8703 | 301966.191 | 59.9307 | 38.1
37417 | 2021-02-23 20:27 | 69.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9245 | μmol/L | 25.2593 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 141970.5549 | 301969.7174 | 59.9307 | 38.1
37427 | 2021-02-23 20:27 | 69.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8891 | μmol/L | 25.2654 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 141976.1478 | 301952.7152 | 59.9307 | 38.1
37437 | 2021-02-23 20:27 | 70.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9431 | μmol/L | 25.247 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.042 | 141979.4044 | 301956.7729 | 59.9307 | 38.1
37447 | 2021-02-23 20:28 | 70.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0488 | μmol/L | 25.2348 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 141977.4353 | 301945.0006 | 59.9307 | 38.1
37457 | 2021-02-23 20:28 | 70.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8902 | μmol/L | 25.2532 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.043 | 141984.4073 | 301946.6533 | 59.9307 | 38.1
37467 | 2021-02-23 20:28 | 71.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7127 | μmol/L | 25.2899 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.041 | 141975.5515 | 301933.3711 | 59.9307 | 38.1
37477 | 2021-02-23 20:29 | 71.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6245 | μmol/L | 25.3021 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.042 | 141975.6489 | 301920.001 | 59.9307 | 38.1
37487 | 2021-02-23 20:29 | 71.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5533 | μmol/L | 25.3205 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.04 | 141968.6335 | 301933.8381 | 59.9307 | 38.1
37497 | 2021-02-23 20:29 | 72.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4461 | μmol/L | 25.3511 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.036 | 141954.3306 | 301927.9309 | 59.9307 | 38.1
37507 | 2021-02-23 20:30 | 72.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3917 | μmol/L | 25.3755 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.031 | 141932.0352 | 301918.9031 | 59.9307 | 38.1
37517 | 2021-02-23 20:30 | 72.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1445 | μmol/L | 25.4184 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.031 | 141901.9987 | 301897.2136 | 59.9307 | 38.1
37527 | 2021-02-23 20:30 | 73.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1619 | μmol/L | 25.4184 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.03 | 141881.8773 | 301883.4997 | 59.9307 | 38.1
37537 | 2021-02-23 20:31 | 73.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.214 | μmol/L | 25.4184 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.027 | 141874.7044 | 301895.4158 | 59.9307 | 38.1
37547 | 2021-02-23 20:31 | 73.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.126 | μmol/L | 25.4306 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.028 | 141849.4081 | 301877.7136 | 59.9307 | 38.1
37557 | 2021-02-23 20:31 | 74.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1255 | μmol/L | 25.4367 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.026 | 141858.2458 | 301865.8072 | 59.9307 | 38.1
37567 | 2021-02-23 20:32 | 74.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0549 | μmol/L | 25.449 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.026 | 141858.8215 | 301861.3278 | 59.9307 | 38.1
37577 | 2021-02-23 20:32 | 74.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0011 | μmol/L | 25.4673 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.023 | 141852.6294 | 301862.1002 | 59.9307 | 38.1
37587 | 2021-02-23 20:32 | 75.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.808 | μmol/L | 25.4918 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.026 | 141853.6626 | 301861.9034 | 59.9307 | 38.1
37597 | 2021-02-23 20:33 | 75.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.8231 | μmol/L | 25.5163 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.017 | 141818.7189 | 301860.5377 | 59.9307 | 38.1
37607 | 2021-02-23 20:33 | 75.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7353 | μmol/L | 25.5285 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141795.1841 | 301865.3511 | 59.9307 | 38.1
37617 | 2021-02-23 20:33 | 76.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7705 | μmol/L | 25.5224 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141799.2705 | 301863.9993 | 59.9307 | 38.1
37627 | 2021-02-23 20:34 | 76.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7532 | μmol/L | 25.5224 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.019 | 141805.7652 | 301849.1066 | 59.9307 | 38.1
37637 | 2021-02-23 20:34 | 76.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.6475 | μmol/L | 25.5407 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.019 | 141815.093 | 301849.1861 | 59.9307 | 38.1
37647 | 2021-02-23 20:34 | 77.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5419 | μmol/L | 25.5591 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.019 | 141816.5086 | 301850.3748 | 59.9307 | 38.1
37657 | 2021-02-23 20:35 | 77.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4882 | μmol/L | 25.5775 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.016 | 141795.4056 | 301835.1664 | 59.9307 | 38.1
37667 | 2021-02-23 20:35 | 77.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.3821 | μmol/L | 25.6019 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.014 | 141774.6599 | 301846.8712 | 59.9307 | 38.1
37677 | 2021-02-23 20:35 | 78.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4507 | μmol/L | 25.608 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.008 | 141742.9885 | 301833.4312 | 59.9307 | 38.1
37687 | 2021-02-23 20:36 | 78.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.6083 | μmol/L | 25.5897 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.005 | 141722.7828 | 301833.8607 | 59.9307 | 38.1
37697 | 2021-02-23 20:36 | 78.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5211 | μmol/L | 25.5958 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.008 | 141718.816 | 301842.9112 | 59.9307 | 38.1
37707 | 2021-02-23 20:36 | 79.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5904 | μmol/L | 25.5958 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.004 | 141711.0186 | 301829.0305 | 59.9307 | 38.1
37717 | 2021-02-23 20:37 | 79.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5033 | μmol/L | 25.6019 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.007 | 141715.7556 | 301836.1066 | 59.9307 | 38.1
37727 | 2021-02-23 20:37 | 79.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.52 | μmol/L | 25.608 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.004 | 141712.8631 | 301821.2762 | 59.9307 | 38.1
37737 | 2021-02-23 20:37 | 80.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5021 | μmol/L | 25.6142 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.003 | 141718.0011 | 301834.6621 | 59.9307 | 38.1
37747 | 2021-02-23 20:38 | 80.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.257 | μmol/L | 25.6448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.007 | 141708.8355 | 301837.4981 | 59.9307 | 38.1
37757 | 2021-02-23 20:38 | 80.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.1348 | μmol/L | 25.657 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.01 | 141724.2788 | 301813.8933 | 59.9307 | 38.1
37767 | 2021-02-23 20:38 | 81.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0996 | μmol/L | 25.6631 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.01 | 141748.3472 | 301827.0722 | 59.9307 | 38.1
37777 | 2021-02-23 20:39 | 81.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9769 | μmol/L | 25.6815 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.011 | 141764.4999 | 301819.2077 | 59.9307 | 38.1
37787 | 2021-02-23 20:39 | 81.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8031 | μmol/L | 25.6937 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.017 | 141788.8432 | 301812.5784 | 59.9307 | 38.1
37797 | 2021-02-23 20:39 | 82.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7341 | μmol/L | 25.6937 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.021 | 141833.0048 | 301814.1759 | 59.9307 | 38.1
37807 | 2021-02-23 20:40 | 82.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6646 | μmol/L | 25.6998 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.023 | 141862.8752 | 301805.3377 | 59.9307 | 38.1
37817 | 2021-02-23 20:40 | 82.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6307 | μmol/L | 25.6937 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.027 | 141883.5859 | 301811.7208 | 59.9307 | 38.1
37827 | 2021-02-23 20:40 | 83.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4216 | μmol/L | 25.7182 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.031 | 141916.2409 | 301813.6147 | 59.9307 | 38.1
37837 | 2021-02-23 20:41 | 83.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3005 | μmol/L | 25.7243 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.036 | 141941.1718 | 301819.0369 | 59.9307 | 38.1
37847 | 2021-02-23 20:41 | 83.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.456 | μmol/L | 25.7182 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.029 | 141927.0307 | 301802.2231 | 59.9307 | 38.1
37857 | 2021-02-23 20:41 | 84.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3171 | μmol/L | 25.7304 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.033 | 141938.4291 | 301787.3101 | 59.9307 | 38.1
37867 | 2021-02-23 20:42 | 84.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2133 | μmol/L | 25.7365 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.037 | 141952.8389 | 301803.8845 | 59.9307 | 38.1
37877 | 2021-02-23 20:42 | 84.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2133 | μmol/L | 25.7365 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.037 | 141954.5348 | 301794.9026 | 59.9307 | 38.1
37887 | 2021-02-23 20:42 | 85.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.039 | μmol/L | 25.761 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.039 | 141965.1842 | 301803.0232 | 59.9307 | 38.1
37897 | 2021-02-23 20:43 | 85.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9513 | μmol/L | 25.7794 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.038 | 141965.446 | 301796.1286 | 59.9307 | 38.1
37907 | 2021-02-23 20:43 | 85.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0556 | μmol/L | 25.7671 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.036 | 141951.1258 | 301784.4961 | 59.9307 | 38.1
37917 | 2021-02-23 20:43 | 86.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1415 | μmol/L | 25.7671 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.031 | 141916.4609 | 301780.0547 | 59.9307 | 38.1
37927 | 2021-02-23 20:44 | 86.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1569 | μmol/L | 25.7855 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.024 | 141882.8306 | 301787.3411 | 59.9307 | 38.1
37937 | 2021-02-23 20:44 | 86.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3124 | μmol/L | 25.7794 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.017 | 141842.244 | 301784.6844 | 59.9307 | 38.1
37947 | 2021-02-23 20:44 | 87.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5404 | μmol/L | 25.7365 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141834.2874 | 301788.3676 | 59.9307 | 38.1
37957 | 2021-02-23 20:45 | 87.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4353 | μmol/L | 25.7549 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.018 | 141808.7709 | 301789.2499 | 59.9307 | 38.1
37967 | 2021-02-23 20:45 | 87.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5036 | μmol/L | 25.761 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.012 | 141785.9293 | 301781.5416 | 59.9307 | 38.1
37977 | 2021-02-23 20:45 | 88.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5588 | μmol/L | 25.7243 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.021 | 141795.3056 | 301764.2356 | 59.9307 | 38.1
37987 | 2021-02-23 20:46 | 88.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0645 | μmol/L | 25.6692 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.01 | 141773.2409 | 301768.882 | 59.9307 | 38.1
37997 | 2021-02-23 20:46 | 88.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0651 | μmol/L | 25.6631 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.012 | 141764.9049 | 301790.7969 | 59.9307 | 38.1
38007 | 2021-02-23 20:46 | 89.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0478 | μmol/L | 25.6631 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.013 | 141767.8528 | 301761.6747 | 59.9307 | 38.1
38017 | 2021-02-23 20:47 | 89.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0193 | μmol/L | 25.6692 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.013 | 141766.2387 | 301769.1618 | 59.9307 | 38.1
38027 | 2021-02-23 20:47 | 89.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8543 | μmol/L | 25.6998 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.012 | 141759.3215 | 301763.9959 | 59.9307 | 38.1
38037 | 2021-02-23 20:47 | 90.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0829 | μmol/L | 25.657 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.013 | 141756.168 | 301767.1609 | 59.9307 | 38.1
38047 | 2021-02-23 20:48 | 90.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9769 | μmol/L | 25.6815 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.011 | 141742.1932 | 301751.0651 | 59.9307 | 38.1
38057 | 2021-02-23 20:48 | 90.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8716 | μmol/L | 25.6998 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.011 | 141737.0113 | 301742.2019 | 59.9307 | 38.1
38067 | 2021-02-23 20:48 | 91.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9412 | μmol/L | 25.6937 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.009 | 141737.7204 | 301749.6648 | 59.9307 | 38.1
38077 | 2021-02-23 20:49 | 91.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0544 | μmol/L | 25.6631 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.013 | 141760.1585 | 301736.2273 | 59.9307 | 38.1
38087 | 2021-02-23 20:49 | 91.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9859 | μmol/L | 25.657 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.019 | 141784.6824 | 301725.8682 | 59.9307 | 38.1
38097 | 2021-02-23 20:49 | 92.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.752 | μmol/L | 25.6876 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.022 | 141808.6114 | 301727.0505 | 59.9307 | 38.1
38107 | 2021-02-23 20:50 | 92.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7532 | μmol/L | 25.6754 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.026 | 141831.7946 | 301727.6493 | 59.9307 | 38.1
38117 | 2021-02-23 20:50 | 92.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7532 | μmol/L | 25.6754 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.026 | 141841.2832 | 301723.1773 | 59.9307 | 38.1
38127 | 2021-02-23 20:50 | 93.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7537 | μmol/L | 25.6692 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.028 | 141857.9743 | 301730.8622 | 59.9307 | 38.1
38137 | 2021-02-23 20:51 | 93.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6146 | μmol/L | 25.6815 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.032 | 141871.0193 | 301741.3569 | 59.9307 | 38.1
38147 | 2021-02-23 20:51 | 93.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3588 | μmol/L | 25.7243 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.033 | 141881.9903 | 301725.0379 | 59.9307 | 38.1
38157 | 2021-02-23 20:51 | 94.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5107 | μmol/L | 25.6876 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.036 | 141906.2321 | 301731.3176 | 59.9307 | 38.1
38167 | 2021-02-23 20:52 | 94.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5363 | μmol/L | 25.6692 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.041 | 141926.7723 | 301725.0213 | 59.9307 | 38.1
38177 | 2021-02-23 20:52 | 94.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2145 | μmol/L | 25.7243 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 22.041 | 141926.1274 | 301717.5828 | 59.9307 | 38.1
38187 | 2021-02-23 20:52 | 95.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.379 | μmol/L | 25.6937 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.042 | 141929.1325 | 301715.4914 | 59.9307 | 38.1
38197 | 2021-02-23 20:53 | 95.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.395 | μmol/L | 25.706 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.037 | 141888.8344 | 301716.7128 | 59.9307 | 38.1
38207 | 2021-02-23 20:53 | 95.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2929 | μmol/L | 25.6937 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.047 | 141952.8363 | 301715.3678 | 59.9307 | 38.1