## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29721 | 2021-02-23 12:09 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.7521 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.773 | 116768.005 | 218143.5046 | 27.3 | 43.4
29730 | 2021-02-23 12:09 | 0.34001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.8764 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.768 | 116774.3454 | 218147.2127 | 27.3 | 43.4
29740 | 2021-02-23 12:09 | 0.67332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.6169 | μmol/L | 15.461 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.774 | 116759.4956 | 218142.8823 | 27.3 | 43.4
29750 | 2021-02-23 12:10 | 1.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.5672 | μmol/L | 15.461 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.776 | 116759.403 | 218147.7426 | 27.3 | 43.4
29760 | 2021-02-23 12:10 | 1.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4734 | μmol/L | 15.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.782 | 116757.4462 | 218133.5463 | 27.3 | 43.4
29770 | 2021-02-23 12:10 | 1.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4485 | μmol/L | 15.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.783 | 116756.3724 | 218135.9048 | 27.3 | 43.4
29780 | 2021-02-23 12:11 | 2.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.534 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.784 | 116737.5962 | 218133.3761 | 27.3 | 43.4
29790 | 2021-02-23 12:11 | 2.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4044 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.787 | 116755.3126 | 218143.7772 | 27.3 | 43.4
29800 | 2021-02-23 12:11 | 2.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4347 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.788 | 116744.6557 | 218120.8396 | 27.3 | 43.4
29810 | 2021-02-23 12:12 | 3.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.3796 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.788 | 116740.7649 | 218120.8644 | 27.3 | 43.4
29820 | 2021-02-23 12:12 | 3.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.3796 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.788 | 116733.4558 | 218129.0502 | 27.3 | 43.4
29830 | 2021-02-23 12:12 | 3.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.3051 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.791 | 116731.6378 | 218118.7926 | 27.3 | 43.4
29840 | 2021-02-23 12:13 | 4.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.1756 | μmol/L | 15.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.794 | 116727.6535 | 218114.8529 | 27.3 | 43.4
29850 | 2021-02-23 12:13 | 4.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.2858 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.794 | 116732.8055 | 218111.7432 | 27.3 | 43.4
29860 | 2021-02-23 12:13 | 4.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.1811 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.796 | 116733.6182 | 218105.8693 | 27.3 | 43.4
29870 | 2021-02-23 12:14 | 5.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.261 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.795 | 116722.1013 | 218107.4913 | 27.3 | 43.4
29880 | 2021-02-23 12:14 | 5.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.3906 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.792 | 116727.6838 | 218102.8458 | 27.3 | 43.4
29890 | 2021-02-23 12:14 | 5.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.2913 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.796 | 116720.3532 | 218094.6894 | 27.3 | 43.4
29900 | 2021-02-23 12:15 | 6.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.2969 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.798 | 116722.3159 | 218101.285 | 27.3 | 43.4
29910 | 2021-02-23 12:15 | 6.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0875 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.802 | 116727.2369 | 218103.4764 | 27.3 | 43.4
29920 | 2021-02-23 12:15 | 6.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0379 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.804 | 116729.171 | 218097.5513 | 27.3 | 43.4
29930 | 2021-02-23 12:16 | 7.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0627 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.803 | 116736.2714 | 218096.6844 | 27.3 | 43.4
29940 | 2021-02-23 12:16 | 7.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0627 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.803 | 116729.6152 | 218107.0411 | 27.3 | 43.4
29950 | 2021-02-23 12:16 | 7.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.1426 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.802 | 116732.0011 | 218099.0806 | 27.3 | 43.4
29960 | 2021-02-23 12:17 | 8.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9883 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.806 | 116721.4261 | 218095.9747 | 27.3 | 43.4
29970 | 2021-02-23 12:17 | 8.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9691 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.809 | 116738.7717 | 218099.8172 | 27.3 | 43.4
29980 | 2021-02-23 12:17 | 8.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9636 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.807 | 116730.6925 | 218092.5167 | 27.3 | 43.4
29990 | 2021-02-23 12:18 | 9.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9691 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.809 | 116736.5602 | 218092.4062 | 27.3 | 43.4
30000 | 2021-02-23 12:18 | 9.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9443 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.81 | 116724.9722 | 218101.5487 | 27.3 | 43.4
30010 | 2021-02-23 12:18 | 9.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9691 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.809 | 116721.3855 | 218089.2599 | 27.3 | 43.4
30020 | 2021-02-23 12:19 | 10.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9499 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.812 | 116727.7961 | 218088.8474 | 27.3 | 43.4
30030 | 2021-02-23 12:19 | 10.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0297 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.811 | 116715.537 | 218094.3665 | 27.3 | 43.4
30040 | 2021-02-23 12:19 | 10.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9499 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.812 | 116731.5144 | 218083.4062 | 27.3 | 43.4
30050 | 2021-02-23 12:20 | 11.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7655 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.815 | 116726.4904 | 218091.0505 | 27.3 | 43.4
30060 | 2021-02-23 12:20 | 11.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.76 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.813 | 116726.7011 | 218079.4921 | 27.3 | 43.4
30070 | 2021-02-23 12:20 | 11.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6802 | μmol/L | 15.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.814 | 116733.1802 | 218085.346 | 27.3 | 43.4
30080 | 2021-02-23 12:21 | 12.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6005 | μmol/L | 15.461 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.815 | 116728.2642 | 218083.8114 | 27.3 | 43.4
30090 | 2021-02-23 12:21 | 12.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7902 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.814 | 116736.564 | 218086.7432 | 27.3 | 43.4
30100 | 2021-02-23 12:21 | 12.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6968 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.82 | 116730.6311 | 218097.4201 | 27.3 | 43.4
30110 | 2021-02-23 12:22 | 13.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.617 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.821 | 116739.0651 | 218089.0461 | 27.3 | 43.4
30120 | 2021-02-23 12:22 | 13.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6913 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.818 | 116747.9249 | 218094.1533 | 27.3 | 43.4
30130 | 2021-02-23 12:22 | 13.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4879 | μmol/L | 15.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.824 | 116749.951 | 218093.035 | 27.3 | 43.4
30140 | 2021-02-23 12:23 | 14.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4576 | μmol/L | 15.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.823 | 116756.1373 | 218099.5307 | 27.3 | 43.4
30150 | 2021-02-23 12:23 | 14.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4027 | μmol/L | 15.461 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.823 | 116764.7208 | 218094.7289 | 27.3 | 43.4
30160 | 2021-02-23 12:23 | 14.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5429 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.824 | 116764.748 | 218091.7519 | 27.3 | 43.4
30170 | 2021-02-23 12:24 | 15.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7437 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.827 | 116776.5073 | 218097.1373 | 27.3 | 43.4
30180 | 2021-02-23 12:24 | 15.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5156 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.834 | 116774.4528 | 218090.058 | 27.3 | 43.4
30190 | 2021-02-23 12:24 | 15.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5842 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.829 | 116786.0624 | 218092.5234 | 27.3 | 43.4
30200 | 2021-02-23 12:25 | 16.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6089 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.828 | 116768.9284 | 218099.3716 | 27.3 | 43.4
30210 | 2021-02-23 12:25 | 16.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5595 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.83 | 116784.4996 | 218092.9926 | 27.3 | 43.4
30220 | 2021-02-23 12:25 | 16.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.51 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.832 | 116782.7087 | 218074.8263 | 27.3 | 43.4
30230 | 2021-02-23 12:26 | 17.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.51 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.832 | 116795.6304 | 218088.1799 | 27.3 | 43.4
30240 | 2021-02-23 12:26 | 17.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5348 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.831 | 116804.8709 | 218093.1419 | 27.3 | 43.4
30250 | 2021-02-23 12:26 | 17.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5898 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.831 | 116793.6502 | 218090.1476 | 27.3 | 43.4
30260 | 2021-02-23 12:27 | 18.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4415 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.837 | 116809.4432 | 218094.306 | 27.3 | 43.4
30270 | 2021-02-23 12:27 | 18.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5156 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.834 | 116807.2352 | 218082.8569 | 27.3 | 43.4
30280 | 2021-02-23 12:27 | 18.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.3371 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.839 | 116821.3442 | 218089.0631 | 27.3 | 43.4
30290 | 2021-02-23 12:28 | 19.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.3618 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.838 | 116832.4768 | 218112.8788 | 27.3 | 43.4
30300 | 2021-02-23 12:28 | 19.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2272 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.839 | 116825.7317 | 218106.8464 | 27.3 | 43.4
30310 | 2021-02-23 12:28 | 19.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2574 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.84 | 116845.0424 | 218093.0149 | 27.3 | 43.4
30320 | 2021-02-23 12:29 | 20.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2025 | μmol/L | 15.4366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.84 | 116842.971 | 218103.553 | 27.3 | 43.4
30330 | 2021-02-23 12:29 | 20.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1476 | μmol/L | 15.4427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.84 | 116847.6047 | 218086.4464 | 27.3 | 43.4
30340 | 2021-02-23 12:29 | 20.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1834 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.843 | 116855.4535 | 218094.6763 | 27.3 | 43.4
30350 | 2021-02-23 12:30 | 21.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1834 | μmol/L | 15.4305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.843 | 116851.8998 | 218093.9645 | 27.3 | 43.4
30360 | 2021-02-23 12:30 | 21.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2933 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.843 | 116878.0033 | 218099.7388 | 27.3 | 43.4
30370 | 2021-02-23 12:30 | 21.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2136 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.844 | 116869.8604 | 218108.0279 | 27.3 | 43.4
30380 | 2021-02-23 12:31 | 22.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1643 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.846 | 116871.4226 | 218093.3418 | 27.3 | 43.4
30390 | 2021-02-23 12:31 | 22.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1149 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.848 | 116883.6713 | 218098.7869 | 27.3 | 43.4
30400 | 2021-02-23 12:31 | 22.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1698 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.848 | 116889.0922 | 218089.1823 | 27.3 | 43.4
30410 | 2021-02-23 12:32 | 23.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0218 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.854 | 116893.6844 | 218084.1196 | 27.3 | 43.4
30420 | 2021-02-23 12:32 | 23.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0958 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.851 | 116898.0156 | 218093.3475 | 27.3 | 43.4
30430 | 2021-02-23 12:32 | 23.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.9971 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.855 | 116899.6659 | 218104.3032 | 27.3 | 43.4
30440 | 2021-02-23 12:33 | 24.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0465 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.853 | 116918.0412 | 218103.4691 | 27.3 | 43.4
30450 | 2021-02-23 12:33 | 24.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0218 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.854 | 116916.4242 | 218099.4154 | 27.3 | 43.4
30460 | 2021-02-23 12:33 | 24.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0027 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.857 | 116929.1015 | 218098.0432 | 27.3 | 43.4
30470 | 2021-02-23 12:34 | 25.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.9287 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.86 | 116928.3592 | 218098.1737 | 27.3 | 43.4
30480 | 2021-02-23 12:34 | 25.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0274 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.856 | 116936.3756 | 218096.0923 | 27.3 | 43.4
30490 | 2021-02-23 12:34 | 25.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.9534 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.859 | 116958.4583 | 218098.7325 | 27.3 | 43.4
30500 | 2021-02-23 12:35 | 26.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.8492 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.861 | 116945.2887 | 218107.4717 | 27.3 | 43.4
30510 | 2021-02-23 12:35 | 26.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7999 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.863 | 116963.0385 | 218109.9941 | 27.3 | 43.4
30520 | 2021-02-23 12:35 | 26.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.8492 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.861 | 116959.6902 | 218104.7927 | 27.3 | 43.4
30530 | 2021-02-23 12:36 | 27.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7753 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.864 | 116968.2411 | 218101.781 | 27.3 | 43.4
30540 | 2021-02-23 12:36 | 27.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.8302 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.864 | 116980.6984 | 218114.2861 | 27.3 | 43.4
30550 | 2021-02-23 12:36 | 27.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7316 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.868 | 116970.6676 | 218106.0635 | 27.3 | 43.4
30560 | 2021-02-23 12:37 | 28.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.6029 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.871 | 116992.6565 | 218110.4933 | 27.3 | 43.4
30570 | 2021-02-23 12:37 | 28.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.6275 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.87 | 116995.3505 | 218110.4104 | 27.3 | 43.4
30580 | 2021-02-23 12:37 | 28.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.622 | μmol/L | 15.4244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.868 | 117004.3277 | 218103.3786 | 27.3 | 43.4
30590 | 2021-02-23 12:38 | 29.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.5537 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.873 | 117004.2177 | 218104.5166 | 27.3 | 43.4
30600 | 2021-02-23 12:38 | 29.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.5537 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.873 | 117019.4646 | 218107.3593 | 27.3 | 43.4
30610 | 2021-02-23 12:38 | 29.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.5593 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.875 | 117028.423 | 218108.0879 | 27.3 | 43.4
30620 | 2021-02-23 12:39 | 30.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4307 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.878 | 117025.5301 | 218112.3922 | 27.3 | 43.4
30630 | 2021-02-23 12:39 | 30.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4608 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.879 | 117033.1146 | 218108.6152 | 27.3 | 43.4
30640 | 2021-02-23 12:39 | 30.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4116 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.881 | 117033.6404 | 218111.1938 | 27.3 | 43.4
30650 | 2021-02-23 12:40 | 31.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4608 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.879 | 117049.2607 | 218109.5031 | 27.3 | 43.4
30660 | 2021-02-23 12:40 | 31.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3569 | μmol/L | 15.4183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.881 | 117042.624 | 218109.708 | 27.3 | 43.4
30670 | 2021-02-23 12:40 | 31.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4418 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.882 | 117044.8063 | 218106.9763 | 27.3 | 43.4
30680 | 2021-02-23 12:41 | 32.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3189 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117063.1644 | 218107.8735 | 27.3 | 43.4
30690 | 2021-02-23 12:41 | 32.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3737 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117072.3082 | 218107.6962 | 27.3 | 43.4
30700 | 2021-02-23 12:41 | 32.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3737 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117095.9988 | 218103.3653 | 27.3 | 43.4
30710 | 2021-02-23 12:42 | 33.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3737 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117071.3905 | 218095.4323 | 27.3 | 43.4
30720 | 2021-02-23 12:42 | 33.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3491 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.888 | 117073.6934 | 218101.5127 | 27.3 | 43.4
30730 | 2021-02-23 12:42 | 33.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.2508 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.892 | 117064.6322 | 218096.2252 | 27.3 | 43.4
30740 | 2021-02-23 12:43 | 34.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3491 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.888 | 117076.8903 | 218096.305 | 27.3 | 43.4
30750 | 2021-02-23 12:43 | 34.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.2262 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.893 | 117075.5014 | 218098.8051 | 27.3 | 43.4
30760 | 2021-02-23 12:43 | 34.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.1279 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.897 | 117092.4912 | 218099.7132 | 27.3 | 43.4
30770 | 2021-02-23 12:44 | 35.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0921 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.894 | 117085.239 | 218084.1762 | 27.3 | 43.4
30780 | 2021-02-23 12:44 | 35.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0185 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.897 | 117086.0515 | 218067.5056 | 27.3 | 43.4
30790 | 2021-02-23 12:44 | 35.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0676 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.895 | 117100.0153 | 218090.6221 | 27.3 | 43.4
30800 | 2021-02-23 12:45 | 36.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0241 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.899 | 117105.8419 | 218084.1022 | 27.3 | 43.4
30810 | 2021-02-23 12:45 | 36.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.1033 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.898 | 117114.9121 | 218086.0467 | 27.3 | 43.4
30820 | 2021-02-23 12:45 | 36.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0732 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.897 | 117119.8507 | 218085.8365 | 27.3 | 43.4
30830 | 2021-02-23 12:46 | 37.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0297 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.901 | 117114.213 | 218070.673 | 27.3 | 43.4
30840 | 2021-02-23 12:46 | 37.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.9504 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.902 | 117119.6596 | 218068.4787 | 27.3 | 43.4
30850 | 2021-02-23 12:46 | 37.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.9013 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.904 | 117117.3007 | 218064.3031 | 27.3 | 43.4
30860 | 2021-02-23 12:47 | 38.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.8277 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.907 | 117127.8228 | 218061.6617 | 27.3 | 43.4
30870 | 2021-02-23 12:47 | 38.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6505 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.912 | 117141.3296 | 218055.8043 | 27.3 | 43.4
30880 | 2021-02-23 12:47 | 38.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.7976 | μmol/L | 15.4122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.906 | 117130.5976 | 218046.0438 | 27.3 | 43.4
30890 | 2021-02-23 12:48 | 39.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.8277 | μmol/L | 15.4061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.907 | 117130.2362 | 218053.699 | 27.3 | 43.4
30900 | 2021-02-23 12:48 | 39.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.8088 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.91 | 117142.5358 | 218046.0885 | 27.3 | 43.4
30910 | 2021-02-23 12:48 | 39.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.8579 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.908 | 117137.3951 | 218042.7437 | 27.3 | 43.4
30920 | 2021-02-23 12:49 | 40.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.888 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.909 | 117132.2049 | 218026.0276 | 27.3 | 43.4
30930 | 2021-02-23 12:49 | 40.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.7107 | μmol/L | 15.4 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.914 | 117151.0325 | 218032.1246 | 27.3 | 43.4
30940 | 2021-02-23 12:49 | 40.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.8144 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.912 | 117139.2886 | 218030.1292 | 27.3 | 43.4
30950 | 2021-02-23 12:50 | 41.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.7409 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.915 | 117142.7544 | 218023.5402 | 27.3 | 43.4
30960 | 2021-02-23 12:50 | 41.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.7409 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.915 | 117154.1106 | 218025.8246 | 27.3 | 43.4
30970 | 2021-02-23 12:50 | 41.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.7409 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.915 | 117147.8731 | 218014.8616 | 27.3 | 43.4
30980 | 2021-02-23 12:51 | 42.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6428 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.919 | 117142.3501 | 218016.9388 | 27.3 | 43.4
30990 | 2021-02-23 12:51 | 42.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6183 | μmol/L | 15.3939 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.92 | 117143.4462 | 218014.5835 | 27.3 | 43.4
31000 | 2021-02-23 12:51 | 42.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5995 | μmol/L | 15.3878 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.923 | 117127.7097 | 218019.928 | 27.3 | 43.4
31010 | 2021-02-23 12:52 | 43.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5995 | μmol/L | 15.3878 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.923 | 117140.8752 | 218011.1657 | 27.3 | 43.4
31020 | 2021-02-23 12:52 | 43.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6296 | μmol/L | 15.3817 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.924 | 117129.0352 | 218014.8171 | 27.3 | 43.4
31030 | 2021-02-23 12:52 | 43.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5806 | μmol/L | 15.3817 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.926 | 117139.3064 | 218001.5274 | 27.3 | 43.4
31040 | 2021-02-23 12:53 | 44.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6353 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.926 | 117132.7004 | 218006.8572 | 27.3 | 43.4
31050 | 2021-02-23 12:53 | 44.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.6598 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.925 | 117146.6077 | 217996.7948 | 27.3 | 43.4
31060 | 2021-02-23 12:53 | 44.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5919 | μmol/L | 15.3695 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.93 | 117155.899 | 218006.8655 | 27.3 | 43.4
31070 | 2021-02-23 12:54 | 45.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5128 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.931 | 117168.1759 | 218005.8512 | 27.3 | 43.4
31080 | 2021-02-23 12:54 | 45.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3903 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.936 | 117169.5473 | 217999.741 | 27.3 | 43.4
31090 | 2021-02-23 12:54 | 45.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5071 | μmol/L | 15.3817 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.929 | 117173.2238 | 217996.0579 | 27.3 | 43.4
31100 | 2021-02-23 12:55 | 46.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5618 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.929 | 117181.133 | 218002.1868 | 27.3 | 43.4
31110 | 2021-02-23 12:55 | 46.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4638 | μmol/L | 15.3756 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.933 | 117180.1163 | 217993.809 | 27.3 | 43.4
31120 | 2021-02-23 12:55 | 46.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4506 | μmol/L | 15.3634 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.938 | 117186.8836 | 217990.9481 | 27.3 | 43.4
31130 | 2021-02-23 12:56 | 47.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5486 | μmol/L | 15.3634 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.934 | 117186.7642 | 217990.2163 | 27.3 | 43.4
31140 | 2021-02-23 12:56 | 47.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3715 | μmol/L | 15.3695 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.939 | 117193.9979 | 217985.4001 | 27.3 | 43.4
31150 | 2021-02-23 12:56 | 47.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5298 | μmol/L | 15.3573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.937 | 117201.941 | 217979.7798 | 27.3 | 43.4
31160 | 2021-02-23 12:57 | 48.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4563 | μmol/L | 15.3573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.94 | 117195.4843 | 217973.7501 | 27.3 | 43.4
31170 | 2021-02-23 12:57 | 48.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5355 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.939 | 117204.6837 | 217974.8802 | 27.3 | 43.4
31180 | 2021-02-23 12:57 | 48.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4318 | μmol/L | 15.3573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.941 | 117209.7641 | 217970.3288 | 27.3 | 43.4
31190 | 2021-02-23 12:58 | 49.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4375 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.943 | 117208.826 | 217970.6639 | 27.3 | 43.4
31200 | 2021-02-23 12:58 | 49.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3886 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.945 | 117213.7112 | 217973.6951 | 27.3 | 43.4
31210 | 2021-02-23 12:58 | 49.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3396 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.947 | 117214.0293 | 217963.0269 | 27.3 | 43.4
31220 | 2021-02-23 12:59 | 50.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3396 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.947 | 117229.9272 | 217979.1134 | 27.3 | 43.4
31230 | 2021-02-23 12:59 | 50.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.2663 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.95 | 117233.0426 | 217975.1155 | 27.3 | 43.4
31240 | 2021-02-23 12:59 | 50.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3152 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.948 | 117239.7294 | 217978.2888 | 27.3 | 43.4
31250 | 2021-02-23 13:00 | 51.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.272 | μmol/L | 15.3451 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.952 | 117245.9428 | 217965.9845 | 27.3 | 43.4
31260 | 2021-02-23 13:00 | 51.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.267 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 117240.7348 | 217955.8236 | 27.3 | 43.4
31270 | 2021-02-23 13:00 | 51.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0837 | μmol/L | 15.3634 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.953 | 117258.0657 | 217976.1278 | 27.3 | 43.4
31280 | 2021-02-23 13:01 | 52.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.1986 | μmol/L | 15.3451 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.955 | 117255.4519 | 217961.1589 | 27.3 | 43.4
31290 | 2021-02-23 13:01 | 52.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0901 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.957 | 117257.0288 | 217974.6902 | 27.3 | 43.4
31300 | 2021-02-23 13:01 | 52.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.1684 | μmol/L | 15.3512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.954 | 117266.6687 | 217958.5114 | 27.3 | 43.4
31310 | 2021-02-23 13:02 | 53.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0111 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.958 | 117266.5916 | 217959.8305 | 27.3 | 43.4
31320 | 2021-02-23 13:02 | 53.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.9134 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.962 | 117275.848 | 217954.7684 | 27.3 | 43.4
31330 | 2021-02-23 13:02 | 53.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0405 | μmol/L | 15.3573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.957 | 117274.4796 | 217955.7228 | 27.3 | 43.4
31340 | 2021-02-23 13:03 | 54.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0031 | μmol/L | 15.3451 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.963 | 117270.21 | 217951.4027 | 27.3 | 43.4
31350 | 2021-02-23 13:03 | 54.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.047 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.961 | 117287.6479 | 217944.5348 | 27.3 | 43.4
31360 | 2021-02-23 13:03 | 54.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.9378 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.961 | 117265.2598 | 217946.6612 | 27.3 | 43.4
31370 | 2021-02-23 13:04 | 55.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.9004 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 117275.6641 | 217950.1018 | 27.3 | 43.4
31380 | 2021-02-23 13:04 | 55.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8947 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.965 | 117277.881 | 217957.5227 | 27.3 | 43.4
31390 | 2021-02-23 13:04 | 55.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.797 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.969 | 117287.023 | 217953.8814 | 27.3 | 43.4
31400 | 2021-02-23 13:05 | 56.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8459 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 117278.6149 | 217953.8555 | 27.3 | 43.4
31410 | 2021-02-23 13:05 | 56.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.9981 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.963 | 117290.4701 | 217949.8428 | 27.3 | 43.4
31420 | 2021-02-23 13:05 | 56.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.9492 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.965 | 117272.7943 | 217952.0849 | 27.3 | 43.4
31430 | 2021-02-23 13:06 | 57.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7726 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.97 | 117277.5801 | 217945.7407 | 27.3 | 43.4
31440 | 2021-02-23 13:06 | 57.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7913 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 117297.4674 | 217943.4345 | 27.3 | 43.4
31450 | 2021-02-23 13:06 | 57.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6807 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117305.1155 | 217951.8719 | 27.3 | 43.4
31460 | 2021-02-23 13:07 | 58.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6693 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.972 | 117308.2214 | 217954.4314 | 27.3 | 43.4
31470 | 2021-02-23 13:07 | 58.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6994 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.973 | 117314.2478 | 217953.5261 | 27.3 | 43.4
31480 | 2021-02-23 13:07 | 58.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8027 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.971 | 117319.0679 | 217957.657 | 27.3 | 43.4
31490 | 2021-02-23 13:08 | 59.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.675 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.974 | 117318.0312 | 217948.4977 | 27.3 | 43.4
31500 | 2021-02-23 13:08 | 59.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5775 | μmol/L | 15.3512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117335.8174 | 217950.0693 | 27.3 | 43.4
31510 | 2021-02-23 13:08 | 59.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5474 | μmol/L | 15.3573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117331.9052 | 217947.4561 | 27.3 | 43.4
31520 | 2021-02-23 13:09 | 60.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7352 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117333.2627 | 217938.485 | 27.3 | 43.4
31530 | 2021-02-23 13:09 | 60.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5832 | μmol/L | 15.3451 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117346.8736 | 217953.3785 | 27.3 | 43.4
31540 | 2021-02-23 13:09 | 60.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7352 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117341.6431 | 217953.8922 | 27.3 | 43.4
31550 | 2021-02-23 13:10 | 61.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7109 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117343.4933 | 217939.6376 | 27.3 | 43.4
31560 | 2021-02-23 13:10 | 61.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7223 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117343.858 | 217952.8604 | 27.3 | 43.4
31570 | 2021-02-23 13:10 | 61.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6678 | μmol/L | 15.3329 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117339.9023 | 217949.1884 | 27.3 | 43.4
31580 | 2021-02-23 13:11 | 62.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7352 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117346.4036 | 217927.9155 | 27.3 | 43.4
31590 | 2021-02-23 13:11 | 62.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6621 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117344.207 | 217936.6579 | 27.3 | 43.4
31600 | 2021-02-23 13:11 | 62.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6979 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117359.8871 | 217936.4034 | 27.3 | 43.4
31610 | 2021-02-23 13:12 | 63.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8257 | μmol/L | 15.3206 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117354.8873 | 217931.3803 | 27.3 | 43.4
31620 | 2021-02-23 13:12 | 63.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6247 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.985 | 117358.0109 | 217934.4095 | 27.3 | 43.4
31630 | 2021-02-23 13:12 | 63.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5645 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117368.5665 | 217935.6274 | 27.3 | 43.4
31640 | 2021-02-23 13:13 | 64.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8616 | μmol/L | 15.3084 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117361.3012 | 217947.0583 | 27.3 | 43.4
31650 | 2021-02-23 13:13 | 64.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.6735 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117371.387 | 217938.3378 | 27.3 | 43.4
31660 | 2021-02-23 13:13 | 64.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.619 | μmol/L | 15.3329 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117374.7708 | 217938.3416 | 27.3 | 43.4
31670 | 2021-02-23 13:14 | 65.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4971 | μmol/L | 15.3329 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.988 | 117373.8924 | 217939.9793 | 27.3 | 43.4
31680 | 2021-02-23 13:14 | 65.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4727 | μmol/L | 15.3329 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117380.9944 | 217940.8632 | 27.3 | 43.4
31690 | 2021-02-23 13:14 | 65.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4183 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117378.8221 | 217945.3405 | 27.3 | 43.4
31700 | 2021-02-23 13:15 | 66.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4183 | μmol/L | 15.339 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117381.3075 | 217940.2626 | 27.3 | 43.4
31710 | 2021-02-23 13:15 | 66.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5322 | μmol/L | 15.3267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117381.9769 | 217947.3082 | 27.3 | 43.4
31720 | 2021-02-23 13:15 | 66.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4103 | μmol/L | 15.3267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.994 | 117395.5758 | 217951.1882 | 27.3 | 43.4
31730 | 2021-02-23 13:16 | 67.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4298 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.993 | 117392.9795 | 217941.2561 | 27.3 | 43.4
31740 | 2021-02-23 13:16 | 67.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.3323 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117408.3225 | 217950.2295 | 27.3 | 43.4
31750 | 2021-02-23 13:16 | 67.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.3323 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117406.7383 | 217952.5278 | 27.3 | 43.4
31760 | 2021-02-23 13:17 | 68.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4298 | μmol/L | 15.3267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.993 | 117426.9902 | 217932.8859 | 27.3 | 43.4
31770 | 2021-02-23 13:17 | 68.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2828 | μmol/L | 15.3329 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117405.8749 | 217942.9382 | 27.3 | 43.4
31780 | 2021-02-23 13:17 | 68.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.3917 | μmol/L | 15.3206 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117428.3289 | 217937.9408 | 27.3 | 43.4
31790 | 2021-02-23 13:18 | 69.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2943 | μmol/L | 15.3206 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.001 | 117433.5635 | 217947.3842 | 27.3 | 43.4
31800 | 2021-02-23 13:18 | 69.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.3001 | μmol/L | 15.3145 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.003 | 117440.7749 | 217936.592 | 27.3 | 43.4
31810 | 2021-02-23 13:18 | 69.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5065 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.999 | 117437.9384 | 217935.1368 | 27.3 | 43.4
31820 | 2021-02-23 13:19 | 70.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4405 | μmol/L | 15.3206 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.995 | 117436.9687 | 217949.0442 | 27.3 | 43.4
31830 | 2021-02-23 13:19 | 70.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4656 | μmol/L | 15.3145 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.996 | 117435.1196 | 217938.2851 | 27.3 | 43.4
31840 | 2021-02-23 13:19 | 70.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.343 | μmol/L | 15.3206 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.999 | 117446.896 | 217949.917 | 27.3 | 43.4
31850 | 2021-02-23 13:20 | 71.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2155 | μmol/L | 15.3267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.002 | 117450.5497 | 217950.1735 | 27.3 | 43.4