## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29722 | 2021-02-23 12:09 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8084 | μmol/L | 15.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.633 | 108813.529 | 301640.2975 | 28.7 | 67.6
29732 | 2021-02-23 12:09 | 0.32583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8084 | μmol/L | 15.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.633 | 108822.265 | 301647.9074 | 28.7 | 67.6
29742 | 2021-02-23 12:09 | 0.65886 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8339 | μmol/L | 15.5148 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.634 | 108800.0926 | 301631.9738 | 28.7 | 67.6
29752 | 2021-02-23 12:10 | 0.99261 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7903 | μmol/L | 15.5148 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.636 | 108798.7561 | 301645.7537 | 28.7 | 67.6
29762 | 2021-02-23 12:10 | 1.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7685 | μmol/L | 15.5148 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.637 | 108796.8587 | 301661.3089 | 28.7 | 67.6
29772 | 2021-02-23 12:10 | 1.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6739 | μmol/L | 15.5269 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.637 | 108787.2531 | 301649.7943 | 28.7 | 67.6
29782 | 2021-02-23 12:11 | 1.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7175 | μmol/L | 15.5269 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.635 | 108780.9103 | 301663.6529 | 28.7 | 67.6
29792 | 2021-02-23 12:11 | 2.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.634 | μmol/L | 15.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.641 | 108776.1519 | 301640.5385 | 28.7 | 67.6
29802 | 2021-02-23 12:11 | 2.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7286 | μmol/L | 15.5087 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.641 | 108771.8204 | 301626.9169 | 28.7 | 67.6
29812 | 2021-02-23 12:12 | 2.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8195 | μmol/L | 15.5026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.639 | 108773.4195 | 301637.9066 | 28.7 | 67.6
29822 | 2021-02-23 12:12 | 3.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8887 | μmol/L | 15.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.638 | 108771.6439 | 301649.2086 | 28.7 | 67.6
29832 | 2021-02-23 12:12 | 3.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8014 | μmol/L | 15.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.642 | 108766.3496 | 301633.5891 | 28.7 | 67.6
29842 | 2021-02-23 12:13 | 3.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0052 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.637 | 108762.5887 | 301633.3043 | 28.7 | 67.6
29852 | 2021-02-23 12:13 | 4.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8525 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.644 | 108756.8132 | 301635.5164 | 28.7 | 67.6
29862 | 2021-02-23 12:13 | 4.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8924 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.64 | 108760.0787 | 301634.2101 | 28.7 | 67.6
29872 | 2021-02-23 12:14 | 4.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8706 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.641 | 108752.2998 | 301624.9544 | 28.7 | 67.6
29882 | 2021-02-23 12:14 | 5.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8089 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.646 | 108752.6879 | 301620.8387 | 28.7 | 67.6
29892 | 2021-02-23 12:14 | 5.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8232 | μmol/L | 15.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.641 | 108753.5315 | 301627.4513 | 28.7 | 67.6
29902 | 2021-02-23 12:15 | 5.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8051 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.644 | 108749.9251 | 301629.5302 | 28.7 | 67.6
29912 | 2021-02-23 12:15 | 6.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8307 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.645 | 108747.7371 | 301614.8012 | 28.7 | 67.6
29922 | 2021-02-23 12:15 | 6.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7652 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.648 | 108760.8683 | 301623.2774 | 28.7 | 67.6
29932 | 2021-02-23 12:16 | 6.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6743 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108760.5017 | 301606.2687 | 28.7 | 67.6
29942 | 2021-02-23 12:16 | 7.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8269 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.643 | 108764.4887 | 301610.9209 | 28.7 | 67.6
29952 | 2021-02-23 12:16 | 7.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6961 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.649 | 108756.0538 | 301607.0613 | 28.7 | 67.6
29962 | 2021-02-23 12:17 | 7.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6308 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 108769.5171 | 301607.0128 | 28.7 | 67.6
29972 | 2021-02-23 12:17 | 8.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7179 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.648 | 108769.3708 | 301621.0811 | 28.7 | 67.6
29982 | 2021-02-23 12:17 | 8.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6706 | μmol/L | 15.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.648 | 108771.3601 | 301595.0952 | 28.7 | 67.6
29992 | 2021-02-23 12:18 | 8.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6961 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.649 | 108763.7373 | 301608.9456 | 28.7 | 67.6
30002 | 2021-02-23 12:18 | 9.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6781 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 108762.2764 | 301609.6794 | 28.7 | 67.6
30012 | 2021-02-23 12:18 | 9.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5872 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.654 | 108755.8264 | 301610.6803 | 28.7 | 67.6
30022 | 2021-02-23 12:19 | 9.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6743 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108762.1044 | 301611.1932 | 28.7 | 67.6
30032 | 2021-02-23 12:19 | 10.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7216 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108754.4352 | 301611.6181 | 28.7 | 67.6
30042 | 2021-02-23 12:19 | 10.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7434 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.649 | 108755.0352 | 301618.8578 | 28.7 | 67.6
30052 | 2021-02-23 12:20 | 10.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6743 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108749.4896 | 301591.1298 | 28.7 | 67.6
30062 | 2021-02-23 12:20 | 11.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6998 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.651 | 108750.2249 | 301607.435 | 28.7 | 67.6
30072 | 2021-02-23 12:20 | 11.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6998 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.651 | 108747.2224 | 301604.779 | 28.7 | 67.6
30082 | 2021-02-23 12:21 | 11.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.769 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108749.8722 | 301597.9185 | 28.7 | 67.6
30092 | 2021-02-23 12:21 | 12.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7036 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.653 | 108754.7976 | 301605.5916 | 28.7 | 67.6
30102 | 2021-02-23 12:21 | 12.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6781 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 108745.4579 | 301607.994 | 28.7 | 67.6
30112 | 2021-02-23 12:22 | 12.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7908 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.649 | 108745.7996 | 301608.7203 | 28.7 | 67.6
30122 | 2021-02-23 12:22 | 13.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6781 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 108755.7848 | 301606.0721 | 28.7 | 67.6
30132 | 2021-02-23 12:22 | 13.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.66 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108752.2756 | 301622.7544 | 28.7 | 67.6
30142 | 2021-02-23 12:23 | 13.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7216 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.65 | 108754.0141 | 301615.282 | 28.7 | 67.6
30152 | 2021-02-23 12:23 | 14.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5654 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108753.1627 | 301620.6895 | 28.7 | 67.6
30162 | 2021-02-23 12:23 | 14.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6127 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108752.2502 | 301609.9227 | 28.7 | 67.6
30172 | 2021-02-23 12:24 | 14.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6998 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.651 | 108752.4008 | 301619.6464 | 28.7 | 67.6
30182 | 2021-02-23 12:24 | 15.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6308 | μmol/L | 15.4905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 108754.5197 | 301604.8765 | 28.7 | 67.6
30192 | 2021-02-23 12:24 | 15.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5909 | μmol/L | 15.4844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.656 | 108752.626 | 301601.1174 | 28.7 | 67.6
30202 | 2021-02-23 12:25 | 15.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6382 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.656 | 108757.0892 | 301600.3089 | 28.7 | 67.6
30212 | 2021-02-23 12:25 | 16.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7073 | μmol/L | 15.4722 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108758 | 301616.5563 | 28.7 | 67.6
30222 | 2021-02-23 12:25 | 16.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.66 | μmol/L | 15.4783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108767.0207 | 301623.0039 | 28.7 | 67.6
30232 | 2021-02-23 12:26 | 16.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7073 | μmol/L | 15.4722 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.655 | 108754.6444 | 301610.7309 | 28.7 | 67.6
30242 | 2021-02-23 12:26 | 17.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.711 | μmol/L | 15.4662 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.657 | 108772.4812 | 301608.0405 | 28.7 | 67.6
30252 | 2021-02-23 12:26 | 17.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8275 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.656 | 108763.0502 | 301604.293 | 28.7 | 67.6
30262 | 2021-02-23 12:27 | 17.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7802 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.656 | 108768.1916 | 301612.2719 | 28.7 | 67.6
30272 | 2021-02-23 12:27 | 18.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7148 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.659 | 108767.8799 | 301609.5001 | 28.7 | 67.6
30282 | 2021-02-23 12:27 | 18.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6712 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.661 | 108766.4432 | 301595.2761 | 28.7 | 67.6
30292 | 2021-02-23 12:28 | 18.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7839 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.658 | 108780.8799 | 301619.4985 | 28.7 | 67.6
30302 | 2021-02-23 12:28 | 19.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7403 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.66 | 108765.0881 | 301613.4681 | 28.7 | 67.6
30312 | 2021-02-23 12:28 | 19.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7148 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.659 | 108773.3038 | 301610.2564 | 28.7 | 67.6
30322 | 2021-02-23 12:29 | 19.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.675 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.663 | 108781.7578 | 301623.093 | 28.7 | 67.6
30332 | 2021-02-23 12:29 | 20.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6276 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.663 | 108784.2933 | 301642.6272 | 28.7 | 67.6
30342 | 2021-02-23 12:29 | 20.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6712 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.661 | 108783.9648 | 301631.574 | 28.7 | 67.6
30352 | 2021-02-23 12:30 | 20.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6967 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.662 | 108792.4649 | 301648.6096 | 28.7 | 67.6
30362 | 2021-02-23 12:30 | 21.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5623 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.666 | 108790.2661 | 301643.5381 | 28.7 | 67.6
30372 | 2021-02-23 12:30 | 21.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6059 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.664 | 108800.4089 | 301647.3843 | 28.7 | 67.6
30382 | 2021-02-23 12:31 | 21.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.7185 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.661 | 108798.9902 | 301642.448 | 28.7 | 67.6
30392 | 2021-02-23 12:31 | 22.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6569 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.666 | 108807.0312 | 301648.0185 | 28.7 | 67.6
30402 | 2021-02-23 12:31 | 22.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5841 | μmol/L | 15.4601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.665 | 108814.5721 | 301653.6059 | 28.7 | 67.6
30412 | 2021-02-23 12:32 | 22.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5698 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.67 | 108830.6552 | 301664.3373 | 28.7 | 67.6
30422 | 2021-02-23 12:32 | 23.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.548 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.671 | 108838.4905 | 301659.582 | 28.7 | 67.6
30432 | 2021-02-23 12:32 | 23.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6682 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.672 | 108853.9268 | 301657.3021 | 28.7 | 67.6
30442 | 2021-02-23 12:33 | 23.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5991 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.673 | 108868.0518 | 301644.6558 | 28.7 | 67.6
30452 | 2021-02-23 12:33 | 24.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.4174 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 108879.5441 | 301646.1125 | 28.7 | 67.6
30462 | 2021-02-23 12:33 | 24.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.3522 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.68 | 108890.6825 | 301660.0457 | 28.7 | 67.6
30472 | 2021-02-23 12:34 | 24.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.3484 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.678 | 108901.8144 | 301656.5779 | 28.7 | 67.6
30482 | 2021-02-23 12:34 | 25.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2652 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.684 | 108903.9613 | 301642.8781 | 28.7 | 67.6
30492 | 2021-02-23 12:34 | 25.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2652 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.684 | 108923.0033 | 301651.0774 | 28.7 | 67.6
30502 | 2021-02-23 12:35 | 25.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.1744 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 108932.6845 | 301653.4708 | 28.7 | 67.6
30512 | 2021-02-23 12:35 | 26.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.1999 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.687 | 108930.6921 | 301643.5265 | 28.7 | 67.6
30522 | 2021-02-23 12:35 | 26.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2472 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.687 | 108936.1119 | 301659.2431 | 28.7 | 67.6
30532 | 2021-02-23 12:36 | 26.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.182 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.69 | 108946.695 | 301650.0563 | 28.7 | 67.6
30542 | 2021-02-23 12:36 | 27.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.131 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.688 | 108932.8039 | 301647.6798 | 28.7 | 67.6
30552 | 2021-02-23 12:36 | 27.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2255 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.688 | 108932.8827 | 301656.0252 | 28.7 | 67.6
30562 | 2021-02-23 12:37 | 27.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.3162 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 108924.4861 | 301651.3683 | 28.7 | 67.6
30572 | 2021-02-23 12:37 | 28.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2217 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 108926.7216 | 301658.6022 | 28.7 | 67.6
30582 | 2021-02-23 12:37 | 28.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2255 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.688 | 108934.6997 | 301665.0059 | 28.7 | 67.6
30592 | 2021-02-23 12:38 | 28.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.113 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 108948.0986 | 301646.7558 | 28.7 | 67.6
30602 | 2021-02-23 12:38 | 29.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.0261 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 108955.7294 | 301663.9746 | 28.7 | 67.6
30612 | 2021-02-23 12:38 | 29.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.0478 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 108967.1669 | 301662.8133 | 28.7 | 67.6
30622 | 2021-02-23 12:39 | 29.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.961 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.698 | 108992.8063 | 301665.4533 | 28.7 | 67.6
30632 | 2021-02-23 12:39 | 30.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.8779 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 109016.7568 | 301655.0784 | 28.7 | 67.6
30642 | 2021-02-23 12:39 | 30.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.7185 | μmol/L | 15.454 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.707 | 109039.9807 | 301653.5435 | 28.7 | 67.6
30652 | 2021-02-23 12:40 | 30.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6789 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.711 | 109055.6078 | 301653.6942 | 28.7 | 67.6
30662 | 2021-02-23 12:40 | 31.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6789 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.711 | 109065.073 | 301662.8354 | 28.7 | 67.6
30672 | 2021-02-23 12:40 | 31.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6572 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.712 | 109080.8899 | 301648.9003 | 28.7 | 67.6
30682 | 2021-02-23 12:41 | 31.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6177 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 109086.5211 | 301637.0542 | 28.7 | 67.6
30692 | 2021-02-23 12:41 | 32.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.4876 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.722 | 109114.1343 | 301649.3022 | 28.7 | 67.6
30702 | 2021-02-23 12:41 | 32.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.3323 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.727 | 109143.1678 | 301652.3044 | 28.7 | 67.6
30712 | 2021-02-23 12:42 | 32.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.2241 | μmol/L | 15.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.732 | 109195.9892 | 301637.201 | 28.7 | 67.6
30722 | 2021-02-23 12:42 | 33.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0333 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.743 | 109240.8557 | 301652.5194 | 28.7 | 67.6
30732 | 2021-02-23 12:42 | 33.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0371 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.745 | 109243.1589 | 301619.8965 | 28.7 | 67.6
30742 | 2021-02-23 12:43 | 33.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0333 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.743 | 109251.5045 | 301619.06 | 28.7 | 67.6
30752 | 2021-02-23 12:43 | 34.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9468 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.747 | 109264.4165 | 301646.5217 | 28.7 | 67.6
30762 | 2021-02-23 12:43 | 34.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9036 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.749 | 109241.5657 | 301629.0678 | 28.7 | 67.6
30772 | 2021-02-23 12:44 | 34.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9938 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.747 | 109232.8666 | 301624.3266 | 28.7 | 67.6
30782 | 2021-02-23 12:44 | 35.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0116 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.744 | 109219.9877 | 301611.7695 | 28.7 | 67.6
30792 | 2021-02-23 12:44 | 35.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9722 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 109230.0138 | 301599.143 | 28.7 | 67.6
30802 | 2021-02-23 12:45 | 35.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.1668 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.739 | 109220.7397 | 301595.365 | 28.7 | 67.6
30812 | 2021-02-23 12:45 | 36.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9722 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 109224.3471 | 301591.8062 | 28.7 | 67.6
30822 | 2021-02-23 12:45 | 36.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0409 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.747 | 109224.3566 | 301596.0139 | 28.7 | 67.6
30832 | 2021-02-23 12:46 | 36.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9036 | μmol/L | 15.4419 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.749 | 109219.9564 | 301557.9654 | 28.7 | 67.6
30842 | 2021-02-23 12:46 | 37.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9544 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.751 | 109230.6904 | 301565.7807 | 28.7 | 67.6
30852 | 2021-02-23 12:46 | 37.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9074 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.751 | 109233.9158 | 301565.9777 | 28.7 | 67.6
30862 | 2021-02-23 12:47 | 37.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9544 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.751 | 109236.407 | 301568.7164 | 28.7 | 67.6
30872 | 2021-02-23 12:47 | 38.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.976 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.75 | 109242.3815 | 301560.9999 | 28.7 | 67.6
30882 | 2021-02-23 12:47 | 38.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7994 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 109245.5991 | 301544.8657 | 28.7 | 67.6
30892 | 2021-02-23 12:48 | 38.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8464 | μmol/L | 15.4297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 109248.0826 | 301529.7176 | 28.7 | 67.6
30902 | 2021-02-23 12:48 | 39.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8934 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 109239.6373 | 301523.9804 | 28.7 | 67.6
30912 | 2021-02-23 12:48 | 39.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7779 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 109243.3995 | 301529.3922 | 28.7 | 67.6
30922 | 2021-02-23 12:49 | 39.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8719 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 109241.962 | 301521.7146 | 28.7 | 67.6
30932 | 2021-02-23 12:49 | 40.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7131 | μmol/L | 15.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.76 | 109235.083 | 301520.5994 | 28.7 | 67.6
30942 | 2021-02-23 12:49 | 40.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8503 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.758 | 109243.7897 | 301512.5093 | 28.7 | 67.6
30952 | 2021-02-23 12:50 | 40.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8071 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.76 | 109238.3267 | 301499.3854 | 28.7 | 67.6
30962 | 2021-02-23 12:50 | 41.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8287 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.759 | 109238.8384 | 301510.3144 | 28.7 | 67.6
30972 | 2021-02-23 12:50 | 41.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7639 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.762 | 109253.4487 | 301504.0972 | 28.7 | 67.6
30982 | 2021-02-23 12:51 | 41.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.6776 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.766 | 109256.0516 | 301508.8828 | 28.7 | 67.6
30992 | 2021-02-23 12:51 | 42.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7677 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.764 | 109259.7906 | 301490.2171 | 28.7 | 67.6
31002 | 2021-02-23 12:51 | 42.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7462 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.765 | 109273.301 | 301481.4177 | 28.7 | 67.6
31012 | 2021-02-23 12:52 | 42.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.6814 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.768 | 109280.3241 | 301492.2112 | 28.7 | 67.6
31022 | 2021-02-23 12:52 | 43.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7284 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.768 | 109290.6357 | 301469.6733 | 28.7 | 67.6
31032 | 2021-02-23 12:52 | 43.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.656 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.767 | 109297.7993 | 301482.3491 | 28.7 | 67.6
31042 | 2021-02-23 12:53 | 43.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.5266 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.773 | 109297.4744 | 301475.8917 | 28.7 | 67.6
31052 | 2021-02-23 12:53 | 44.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.5305 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.775 | 109298.9159 | 301465.5261 | 28.7 | 67.6
31062 | 2021-02-23 12:53 | 44.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.3758 | μmol/L | 15.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.78 | 109314.2587 | 301459.2815 | 28.7 | 67.6
31072 | 2021-02-23 12:54 | 44.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.4265 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.782 | 109330.4574 | 301453.0099 | 28.7 | 67.6
31082 | 2021-02-23 12:54 | 45.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.3796 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.782 | 109324.6774 | 301451.3982 | 28.7 | 67.6
31092 | 2021-02-23 12:54 | 45.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.3404 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.786 | 109324.3798 | 301450.4878 | 28.7 | 67.6
31102 | 2021-02-23 12:55 | 45.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.3619 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.785 | 109319.8571 | 301440.0456 | 28.7 | 67.6
31112 | 2021-02-23 12:55 | 46.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.2973 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.788 | 109349.3134 | 301449.5379 | 28.7 | 67.6
31122 | 2021-02-23 12:55 | 46.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.1643 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.792 | 109371.2819 | 301435.1588 | 28.7 | 67.6
31132 | 2021-02-23 12:56 | 46.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.0782 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.796 | 109391.4657 | 301431.5482 | 28.7 | 67.6
31142 | 2021-02-23 12:56 | 47.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.0176 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.801 | 109411.0114 | 301425.7503 | 28.7 | 67.6
31152 | 2021-02-23 12:56 | 47.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8671 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.808 | 109425.2532 | 301394.5838 | 28.7 | 67.6
31162 | 2021-02-23 12:57 | 47.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8026 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.811 | 109442.0165 | 301397.6325 | 28.7 | 67.6
31172 | 2021-02-23 12:57 | 48.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7558 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.811 | 109438.5086 | 301397.0854 | 28.7 | 67.6
31182 | 2021-02-23 12:57 | 48.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7811 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.812 | 109444.8619 | 301404.7673 | 28.7 | 67.6
31192 | 2021-02-23 12:58 | 48.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7988 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.809 | 109434.492 | 301401.7682 | 28.7 | 67.6
31202 | 2021-02-23 12:58 | 49.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6914 | μmol/L | 15.4176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.814 | 109444.5154 | 301396.9707 | 28.7 | 67.6
31212 | 2021-02-23 12:58 | 49.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7811 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.812 | 109447.8159 | 301402.1008 | 28.7 | 67.6
31222 | 2021-02-23 12:59 | 49.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7811 | μmol/L | 15.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.812 | 109442.0253 | 301390.3165 | 28.7 | 67.6
31232 | 2021-02-23 12:59 | 50.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7635 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.815 | 109436.1203 | 301387.7296 | 28.7 | 67.6
31242 | 2021-02-23 12:59 | 50.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8748 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.812 | 109444.4038 | 301393.7677 | 28.7 | 67.6
31252 | 2021-02-23 13:00 | 50.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8533 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.813 | 109449.1934 | 301383.1042 | 28.7 | 67.6
31262 | 2021-02-23 13:00 | 51.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7421 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.816 | 109445.1849 | 301386.5919 | 28.7 | 67.6
31272 | 2021-02-23 13:00 | 51.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7206 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 109451.3491 | 301380.1311 | 28.7 | 67.6
31282 | 2021-02-23 13:01 | 51.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7206 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 109451.0041 | 301384.8244 | 28.7 | 67.6
31292 | 2021-02-23 13:01 | 52.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7674 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 109447.4506 | 301386.3086 | 28.7 | 67.6
31302 | 2021-02-23 13:01 | 52.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7635 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.815 | 109450.4872 | 301383.1014 | 28.7 | 67.6
31312 | 2021-02-23 13:02 | 52.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7674 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 109456.2609 | 301372.3754 | 28.7 | 67.6
31322 | 2021-02-23 13:02 | 53.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.7459 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.818 | 109458.0684 | 301387.8311 | 28.7 | 67.6
31332 | 2021-02-23 13:02 | 53.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6562 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.82 | 109466.557 | 301373.7229 | 28.7 | 67.6
31342 | 2021-02-23 13:03 | 53.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6132 | μmol/L | 15.4054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.822 | 109466.7146 | 301386.471 | 28.7 | 67.6
31352 | 2021-02-23 13:03 | 54.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8142 | μmol/L | 15.3932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 109482.8756 | 301397.0491 | 28.7 | 67.6
31362 | 2021-02-23 13:03 | 54.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.5957 | μmol/L | 15.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.825 | 109498.434 | 301386.6304 | 28.7 | 67.6
31372 | 2021-02-23 13:04 | 54.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6425 | μmol/L | 15.3932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.825 | 109508.7574 | 301382.9517 | 28.7 | 67.6
31382 | 2021-02-23 13:04 | 55.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.5995 | μmol/L | 15.3932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.827 | 109518.6746 | 301381.6626 | 28.7 | 67.6
31392 | 2021-02-23 13:04 | 55.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6034 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.829 | 109532.686 | 301396.1652 | 28.7 | 67.6
31402 | 2021-02-23 13:05 | 55.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.4708 | μmol/L | 15.3932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.833 | 109543.3366 | 301388.9217 | 28.7 | 67.6
31412 | 2021-02-23 13:05 | 56.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.5858 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.832 | 109550.0937 | 301393.1269 | 28.7 | 67.6
31422 | 2021-02-23 13:05 | 56.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3208 | μmol/L | 15.3932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.84 | 109554.1578 | 301373.0247 | 28.7 | 67.6
31432 | 2021-02-23 13:06 | 56.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.5176 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.833 | 109566.2631 | 301370.1087 | 28.7 | 67.6
31442 | 2021-02-23 13:06 | 57.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.4533 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.836 | 109559.5814 | 301381.822 | 28.7 | 67.6
31452 | 2021-02-23 13:06 | 57.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3461 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109567.8171 | 301384.1489 | 28.7 | 67.6
31462 | 2021-02-23 13:07 | 57.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3032 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109563.1448 | 301380.0536 | 28.7 | 67.6
31472 | 2021-02-23 13:07 | 58.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3247 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109568.0562 | 301377.0434 | 28.7 | 67.6
31482 | 2021-02-23 13:07 | 58.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3247 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109579.7648 | 301380.5726 | 28.7 | 67.6
31492 | 2021-02-23 13:08 | 58.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.2175 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109585.3448 | 301372.4928 | 28.7 | 67.6
31502 | 2021-02-23 13:08 | 59.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.3071 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.845 | 109587.6947 | 301383.441 | 28.7 | 67.6
31512 | 2021-02-23 13:08 | 59.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.2429 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109590.4616 | 301366.2922 | 28.7 | 67.6
31522 | 2021-02-23 13:09 | 59.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.1961 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109613.3459 | 301373.57 | 28.7 | 67.6
31532 | 2021-02-23 13:09 | 60.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0463 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.855 | 109615.9639 | 301376.4601 | 28.7 | 67.6
31542 | 2021-02-23 13:09 | 60.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.1358 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.853 | 109618.8219 | 301355.4343 | 28.7 | 67.6
31552 | 2021-02-23 13:10 | 60.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0716 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.856 | 109625.2392 | 301373.9864 | 28.7 | 67.6
31562 | 2021-02-23 13:10 | 61.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0891 | μmol/L | 15.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.853 | 109626.6892 | 301353.6843 | 28.7 | 67.6
31572 | 2021-02-23 13:10 | 61.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0288 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.858 | 109636.3869 | 301360.0223 | 28.7 | 67.6
31582 | 2021-02-23 13:11 | 61.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0074 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.859 | 109647.5434 | 301355.5449 | 28.7 | 67.6
31592 | 2021-02-23 13:11 | 62.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.9432 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 109658.2566 | 301338.0361 | 28.7 | 67.6
31602 | 2021-02-23 13:11 | 62.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.9432 | μmol/L | 15.3811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 109660.4395 | 301359.6147 | 28.7 | 67.6
31612 | 2021-02-23 13:12 | 62.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.9685 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.863 | 109675.8498 | 301362.8773 | 28.7 | 67.6
31622 | 2021-02-23 13:12 | 63.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.883 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.867 | 109682.2082 | 301352.8543 | 28.7 | 67.6
31632 | 2021-02-23 13:12 | 63.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7975 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.871 | 109697.7532 | 301367.2016 | 28.7 | 67.6
31642 | 2021-02-23 13:13 | 63.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7975 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.871 | 109699.4915 | 301363.4554 | 28.7 | 67.6
31652 | 2021-02-23 13:13 | 64.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7547 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.873 | 109711.7408 | 301349.0932 | 28.7 | 67.6
31662 | 2021-02-23 13:13 | 64.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.8441 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.871 | 109708.7 | 301342.2333 | 28.7 | 67.6
31672 | 2021-02-23 13:14 | 64.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6693 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 109728.1635 | 301350.3987 | 28.7 | 67.6
31682 | 2021-02-23 13:14 | 65.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6906 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 109734.6929 | 301337.5431 | 28.7 | 67.6
31692 | 2021-02-23 13:14 | 65.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6558 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.882 | 109745.7653 | 301349.5606 | 28.7 | 67.6
31702 | 2021-02-23 13:15 | 65.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6091 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.882 | 109757.4283 | 301353.0755 | 28.7 | 67.6
31712 | 2021-02-23 13:15 | 66.3251 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6052 | μmol/L | 15.375 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.88 | 109761.1313 | 301340.0056 | 28.7 | 67.6
31722 | 2021-02-23 13:15 | 66.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6305 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 109767.9325 | 301340.7426 | 28.7 | 67.6
31732 | 2021-02-23 13:16 | 66.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5664 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.884 | 109775.2381 | 301339.4123 | 28.7 | 67.6
31742 | 2021-02-23 13:16 | 67.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5704 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 109782.3919 | 301337.3843 | 28.7 | 67.6
31752 | 2021-02-23 13:16 | 67.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.4597 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109790.6176 | 301345.36 | 28.7 | 67.6
31762 | 2021-02-23 13:17 | 67.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3744 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.893 | 109810.9239 | 301339.729 | 28.7 | 67.6
31772 | 2021-02-23 13:17 | 68.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.4423 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.892 | 109812.3543 | 301359.5094 | 28.7 | 67.6
31782 | 2021-02-23 13:17 | 68.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3957 | μmol/L | 15.3689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.892 | 109822.3743 | 301351.5414 | 28.7 | 67.6
31792 | 2021-02-23 13:18 | 68.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3783 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.895 | 109821.002 | 301361.6913 | 28.7 | 67.6
31802 | 2021-02-23 13:18 | 69.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.357 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.896 | 109848.3608 | 301369.0886 | 28.7 | 67.6
31812 | 2021-02-23 13:18 | 69.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3144 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109839.6119 | 301371.5089 | 28.7 | 67.6
31822 | 2021-02-23 13:19 | 69.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3183 | μmol/L | 15.3568 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.9 | 109851.0772 | 301351.0059 | 28.7 | 67.6
31832 | 2021-02-23 13:19 | 70.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.2717 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.9 | 109864.1429 | 301374.8332 | 28.7 | 67.6
31842 | 2021-02-23 13:19 | 70.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3222 | μmol/L | 15.3507 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.902 | 109867.5637 | 301368.6588 | 28.7 | 67.6
31852 | 2021-02-23 13:20 | 70.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.1865 | μmol/L | 15.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.904 | 109876.0107 | 301380.1612 | 28.7 | 67.6