## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29723 | 2021-02-23 12:09 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4898 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.108 | 139001.9673 | 277200.4597 | 36.4 | 83.1
29733 | 2021-02-23 12:09 | 0.33073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4656 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.109 | 138985.964 | 277205.0024 | 36.4 | 83.1
29743 | 2021-02-23 12:09 | 0.66386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4595 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.107 | 138982.9802 | 277194.452 | 36.4 | 83.1
29753 | 2021-02-23 12:10 | 0.99676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4353 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.108 | 138979.3352 | 277190.7052 | 36.4 | 83.1
29763 | 2021-02-23 12:10 | 1.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3446 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.114 | 138989.9934 | 277194.9823 | 36.4 | 83.1
29773 | 2021-02-23 12:10 | 1.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2478 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.118 | 138992.6657 | 277176.5753 | 36.4 | 83.1
29783 | 2021-02-23 12:11 | 1.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2539 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.12 | 138997.7433 | 277164.4691 | 36.4 | 83.1
29793 | 2021-02-23 12:11 | 2.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0242 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.125 | 139010.3669 | 277165.8545 | 36.4 | 83.1
29803 | 2021-02-23 12:11 | 2.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0786 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.125 | 139010.2591 | 277168.8808 | 36.4 | 83.1
29813 | 2021-02-23 12:12 | 2.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0846 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.127 | 138981.3751 | 277171.2383 | 36.4 | 83.1
29823 | 2021-02-23 12:12 | 3.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0303 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.127 | 138975.4431 | 277156.9513 | 36.4 | 83.1
29833 | 2021-02-23 12:12 | 3.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1028 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.124 | 138956.2093 | 277151.2063 | 36.4 | 83.1
29843 | 2021-02-23 12:13 | 3.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0786 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.125 | 138941.8014 | 277144.6753 | 36.4 | 83.1
29853 | 2021-02-23 12:13 | 4.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9517 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.128 | 138926.6868 | 277142.0555 | 36.4 | 83.1
29863 | 2021-02-23 12:13 | 4.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0061 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.128 | 138920.0641 | 277141.4189 | 36.4 | 83.1
29873 | 2021-02-23 12:14 | 4.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9517 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.128 | 138897.5244 | 277128.7894 | 36.4 | 83.1
29883 | 2021-02-23 12:14 | 5.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9457 | μmol/L | 15.5487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.126 | 138886.746 | 277134.2924 | 36.4 | 83.1
29893 | 2021-02-23 12:14 | 5.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9457 | μmol/L | 15.5487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.126 | 138872.5371 | 277123.2459 | 36.4 | 83.1
29903 | 2021-02-23 12:15 | 5.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9155 | μmol/L | 15.5548 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.125 | 138858.4847 | 277127.2072 | 36.4 | 83.1
29913 | 2021-02-23 12:15 | 6.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9457 | μmol/L | 15.5487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.126 | 138836.9763 | 277116.5086 | 36.4 | 83.1
29923 | 2021-02-23 12:15 | 6.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8732 | μmol/L | 15.5487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.129 | 138832.3162 | 277113.4802 | 36.4 | 83.1
29933 | 2021-02-23 12:16 | 6.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0001 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.126 | 138793.649 | 277111.7602 | 36.4 | 83.1
29943 | 2021-02-23 12:16 | 7.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9517 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.128 | 138795.4924 | 277098.7942 | 36.4 | 83.1
29953 | 2021-02-23 12:16 | 7.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0061 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.128 | 138778.1977 | 277106.4063 | 36.4 | 83.1
29963 | 2021-02-23 12:17 | 7.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0303 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.127 | 138771.5225 | 277112.9604 | 36.4 | 83.1
29973 | 2021-02-23 12:17 | 8.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9759 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.127 | 138760.0281 | 277100.423 | 36.4 | 83.1
29983 | 2021-02-23 12:17 | 8.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0363 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.129 | 138757.78 | 277104.5681 | 36.4 | 83.1
29993 | 2021-02-23 12:18 | 8.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8793 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.131 | 138744.1375 | 277095.3319 | 36.4 | 83.1
30003 | 2021-02-23 12:18 | 9.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0665 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.13 | 138742.0796 | 277098.5342 | 36.4 | 83.1
30013 | 2021-02-23 12:18 | 9.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9397 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.133 | 138742.1679 | 277097.1445 | 36.4 | 83.1
30023 | 2021-02-23 12:19 | 9.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7345 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.137 | 138741.2344 | 277089.1049 | 36.4 | 83.1
30033 | 2021-02-23 12:19 | 10.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6923 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.141 | 138733.1054 | 277086.532 | 36.4 | 83.1
30043 | 2021-02-23 12:19 | 10.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7586 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.136 | 138749.1142 | 277100.3655 | 36.4 | 83.1
30053 | 2021-02-23 12:20 | 10.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7707 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.14 | 138748.6169 | 277105.2514 | 36.4 | 83.1
30063 | 2021-02-23 12:20 | 11.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6923 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.141 | 138754.3374 | 277097.748 | 36.4 | 83.1
30073 | 2021-02-23 12:20 | 11.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5897 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.143 | 138741.8809 | 277102.9706 | 36.4 | 83.1
30083 | 2021-02-23 12:21 | 11.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4451 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.149 | 138763.1599 | 277107.5458 | 36.4 | 83.1
30093 | 2021-02-23 12:21 | 12.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5958 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.145 | 138762.1691 | 277087.1889 | 36.4 | 83.1
30103 | 2021-02-23 12:21 | 12.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4511 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.151 | 138772.4425 | 277095.7876 | 36.4 | 83.1
30113 | 2021-02-23 12:22 | 12.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.427 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.152 | 138751.358 | 277101.143 | 36.4 | 83.1
30123 | 2021-02-23 12:22 | 13.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3246 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.154 | 138787.5099 | 277091.963 | 36.4 | 83.1
30133 | 2021-02-23 12:22 | 13.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3307 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.156 | 138773.0228 | 277094.6311 | 36.4 | 83.1
30143 | 2021-02-23 12:23 | 13.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3127 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.159 | 138784.7813 | 277093.9802 | 36.4 | 83.1
30153 | 2021-02-23 12:23 | 14.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1862 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.162 | 138778.1548 | 277092.9243 | 36.4 | 83.1
30163 | 2021-02-23 12:23 | 14.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.096 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.168 | 138798.6672 | 277093.9286 | 36.4 | 83.1
30173 | 2021-02-23 12:24 | 14.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9216 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.173 | 138789.0993 | 277109.4139 | 36.4 | 83.1
30183 | 2021-02-23 12:24 | 15.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7594 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.182 | 138829.1101 | 277095.5963 | 36.4 | 83.1
30193 | 2021-02-23 12:24 | 15.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6092 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.186 | 138849.0855 | 277096.3621 | 36.4 | 83.1
30203 | 2021-02-23 12:25 | 15.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4112 | μmol/L | 15.5426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.192 | 138898.0053 | 277096.7272 | 36.4 | 83.1
30213 | 2021-02-23 12:25 | 16.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2494 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.201 | 138910.9812 | 277100.9184 | 36.4 | 83.1
30223 | 2021-02-23 12:25 | 16.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0577 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.209 | 139009.0869 | 277106.2202 | 36.4 | 83.1
30233 | 2021-02-23 12:26 | 16.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0098 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.211 | 139008.9675 | 277099.8192 | 36.4 | 83.1
30243 | 2021-02-23 12:26 | 17.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9141 | μmol/L | 15.5365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.215 | 139040.7104 | 277098.8339 | 36.4 | 83.1
30253 | 2021-02-23 12:26 | 17.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8244 | μmol/L | 15.5303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.221 | 139035.9003 | 277088.9099 | 36.4 | 83.1
30263 | 2021-02-23 12:27 | 17.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8306 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.223 | 139032.1912 | 277100.0596 | 36.4 | 83.1
30273 | 2021-02-23 12:27 | 18.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8545 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.222 | 139068.6822 | 277103.5961 | 36.4 | 83.1
30283 | 2021-02-23 12:27 | 18.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9023 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.22 | 139046.0937 | 277100.8117 | 36.4 | 83.1
30293 | 2021-02-23 12:28 | 18.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9502 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.218 | 139029.5811 | 277108.4101 | 36.4 | 83.1
30303 | 2021-02-23 12:28 | 19.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9324 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.221 | 138999.8024 | 277097.8163 | 36.4 | 83.1
30313 | 2021-02-23 12:28 | 19.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9803 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.219 | 138970.1926 | 277100.8276 | 36.4 | 83.1
30323 | 2021-02-23 12:29 | 19.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1239 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.213 | 138948.765 | 277115.9643 | 36.4 | 83.1
30333 | 2021-02-23 12:29 | 20.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.022 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.215 | 138919.1282 | 277118.5406 | 36.4 | 83.1
30343 | 2021-02-23 12:29 | 20.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.076 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.215 | 138901.6151 | 277113.0046 | 36.4 | 83.1
30353 | 2021-02-23 12:30 | 20.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.178 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.213 | 138902.3794 | 277110.3193 | 36.4 | 83.1
30363 | 2021-02-23 12:30 | 21.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1301 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.215 | 138880.5036 | 277114.5629 | 36.4 | 83.1
30373 | 2021-02-23 12:30 | 21.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.214 | 138855.7797 | 277108.7039 | 36.4 | 83.1
30383 | 2021-02-23 12:31 | 21.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9741 | μmol/L | 15.5242 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.217 | 138851.3801 | 277112.5446 | 36.4 | 83.1
30393 | 2021-02-23 12:31 | 22.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0521 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.216 | 138835.4676 | 277109.6566 | 36.4 | 83.1
30403 | 2021-02-23 12:31 | 22.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9803 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.219 | 138830.8833 | 277103.6651 | 36.4 | 83.1
30413 | 2021-02-23 12:32 | 22.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9803 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.219 | 138834.8402 | 277109.4342 | 36.4 | 83.1
30423 | 2021-02-23 12:32 | 23.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9085 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.222 | 138850.7559 | 277103.9354 | 36.4 | 83.1
30433 | 2021-02-23 12:32 | 23.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9864 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.221 | 138828.9366 | 277108.5273 | 36.4 | 83.1
30443 | 2021-02-23 12:33 | 23.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8845 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.223 | 138825.6673 | 277114.7584 | 36.4 | 83.1
30453 | 2021-02-23 12:33 | 24.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9624 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.222 | 138824.8474 | 277117.5542 | 36.4 | 83.1
30463 | 2021-02-23 12:33 | 24.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7649 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.228 | 138804.4791 | 277109.0145 | 36.4 | 83.1
30473 | 2021-02-23 12:34 | 24.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9146 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.224 | 138805.5939 | 277116.1012 | 36.4 | 83.1
30483 | 2021-02-23 12:34 | 25.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9686 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.224 | 138787.9472 | 277111.1745 | 36.4 | 83.1
30493 | 2021-02-23 12:34 | 25.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8367 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.225 | 138772.9225 | 277111.1061 | 36.4 | 83.1
30503 | 2021-02-23 12:35 | 25.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8128 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.226 | 138765.1675 | 277103.5963 | 36.4 | 83.1
30513 | 2021-02-23 12:35 | 26.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8489 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.229 | 138771.9189 | 277098.3935 | 36.4 | 83.1
30523 | 2021-02-23 12:35 | 26.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7171 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.23 | 138743.91 | 277112.831 | 36.4 | 83.1
30533 | 2021-02-23 12:36 | 26.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6754 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.234 | 138759.6743 | 277119.2404 | 36.4 | 83.1
30543 | 2021-02-23 12:36 | 27.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6576 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.237 | 138759.7158 | 277111.5102 | 36.4 | 83.1
30553 | 2021-02-23 12:36 | 27.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6576 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.237 | 138767.0791 | 277111.5305 | 36.4 | 83.1
30563 | 2021-02-23 12:37 | 27.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4781 | μmol/L | 15.5181 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.24 | 138744.4045 | 277108.8919 | 36.4 | 83.1
30573 | 2021-02-23 12:37 | 28.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5559 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.239 | 138731.3467 | 277110.3061 | 36.4 | 83.1
30583 | 2021-02-23 12:37 | 28.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5143 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.243 | 138723.0227 | 277101.2303 | 36.4 | 83.1
30593 | 2021-02-23 12:38 | 28.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5859 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.24 | 138717.9504 | 277115.9068 | 36.4 | 83.1
30603 | 2021-02-23 12:38 | 29.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5143 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.243 | 138747.5817 | 277116.637 | 36.4 | 83.1
30613 | 2021-02-23 12:38 | 29.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.532 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.24 | 138750.7075 | 277110.1008 | 36.4 | 83.1
30623 | 2021-02-23 12:39 | 29.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4843 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.242 | 138744.8221 | 277109.4361 | 36.4 | 83.1
30633 | 2021-02-23 12:39 | 30.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5081 | μmol/L | 15.512 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.241 | 138713.1221 | 277114.3768 | 36.4 | 83.1
30643 | 2021-02-23 12:39 | 30.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6399 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.24 | 138709.2214 | 277117.5979 | 36.4 | 83.1
30653 | 2021-02-23 12:40 | 30.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6877 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.238 | 138680.5472 | 277128.5519 | 36.4 | 83.1
30663 | 2021-02-23 12:40 | 31.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6098 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.239 | 138656.5669 | 277123.5375 | 36.4 | 83.1
30673 | 2021-02-23 12:40 | 31.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6877 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.238 | 138638.7067 | 277124.7802 | 36.4 | 83.1
30683 | 2021-02-23 12:41 | 31.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.616 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.241 | 138623.5579 | 277108.4383 | 36.4 | 83.1
30693 | 2021-02-23 12:41 | 32.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.646 | μmol/L | 15.4936 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.242 | 138639.0967 | 277110.4896 | 36.4 | 83.1
30703 | 2021-02-23 12:41 | 32.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4665 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.245 | 138635.3707 | 277099.3111 | 36.4 | 83.1
30713 | 2021-02-23 12:42 | 32.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3949 | μmol/L | 15.5059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.248 | 138626.8033 | 277111.7689 | 36.4 | 83.1
30723 | 2021-02-23 12:42 | 33.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4727 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.247 | 138645.7674 | 277115.7211 | 36.4 | 83.1
30733 | 2021-02-23 12:42 | 33.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3056 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.254 | 138667.8927 | 277103.2538 | 36.4 | 83.1
30743 | 2021-02-23 12:43 | 33.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3833 | μmol/L | 15.4936 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.253 | 138684.8422 | 277106.6031 | 36.4 | 83.1
30753 | 2021-02-23 12:43 | 34.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2101 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.258 | 138677.5109 | 277097.3009 | 36.4 | 83.1
30763 | 2021-02-23 12:43 | 34.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2578 | μmol/L | 15.4998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.256 | 138682.295 | 277093.7172 | 36.4 | 83.1
30773 | 2021-02-23 12:44 | 34.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2463 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.261 | 138692.1645 | 277088.4341 | 36.4 | 83.1
30783 | 2021-02-23 12:44 | 35.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1686 | μmol/L | 15.4936 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.262 | 138695.3474 | 277088.4732 | 36.4 | 83.1
30793 | 2021-02-23 12:44 | 35.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2225 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.262 | 138679.9052 | 277089.3218 | 36.4 | 83.1
30803 | 2021-02-23 12:45 | 35.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3002 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.261 | 138666.7676 | 277075.3471 | 36.4 | 83.1
30813 | 2021-02-23 12:45 | 36.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2463 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.261 | 138669.7145 | 277075.3488 | 36.4 | 83.1
30823 | 2021-02-23 12:45 | 36.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1271 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.266 | 138651.2523 | 277067.4969 | 36.4 | 83.1
30833 | 2021-02-23 12:46 | 36.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1032 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.267 | 138635.7511 | 277053.0058 | 36.4 | 83.1
30843 | 2021-02-23 12:46 | 37.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1271 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.266 | 138603.7146 | 277048.2421 | 36.4 | 83.1
30853 | 2021-02-23 12:46 | 37.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1571 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.267 | 138600.0521 | 277055.7265 | 36.4 | 83.1
30863 | 2021-02-23 12:47 | 37.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1094 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.269 | 138586.6604 | 277048.7015 | 36.4 | 83.1
30873 | 2021-02-23 12:47 | 38.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0556 | μmol/L | 15.4875 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.269 | 138585.1829 | 277032.8016 | 36.4 | 83.1
30883 | 2021-02-23 12:47 | 38.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0379 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.272 | 138571.0397 | 277045.3361 | 36.4 | 83.1
30893 | 2021-02-23 12:48 | 38.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1571 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.267 | 138555.2981 | 277034.6541 | 36.4 | 83.1
30903 | 2021-02-23 12:48 | 39.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0141 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.273 | 138578.3568 | 277032.0276 | 36.4 | 83.1
30913 | 2021-02-23 12:48 | 39.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0141 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.273 | 138579.0112 | 277046.7376 | 36.4 | 83.1
30923 | 2021-02-23 12:49 | 39.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.8473 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.28 | 138596.6282 | 277020.8036 | 36.4 | 83.1
30933 | 2021-02-23 12:49 | 40.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.8773 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.281 | 138590.9951 | 277027.4577 | 36.4 | 83.1
30943 | 2021-02-23 12:49 | 40.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7821 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.285 | 138593.8842 | 277012.2938 | 36.4 | 83.1
30953 | 2021-02-23 12:50 | 40.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7345 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.287 | 138588.7983 | 277004.4628 | 36.4 | 83.1
30963 | 2021-02-23 12:50 | 41.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6869 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.289 | 138590.2885 | 277020.8957 | 36.4 | 83.1
30973 | 2021-02-23 12:50 | 41.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5918 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.293 | 138585.7476 | 277017.4061 | 36.4 | 83.1
30983 | 2021-02-23 12:51 | 41.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6218 | μmol/L | 15.4692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.294 | 138604.6499 | 277015.4503 | 36.4 | 83.1
30993 | 2021-02-23 12:51 | 42.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4905 | μmol/L | 15.4814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.295 | 138591.0458 | 277009.5018 | 36.4 | 83.1
31003 | 2021-02-23 12:51 | 42.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4729 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.298 | 138610.0134 | 277008.0515 | 36.4 | 83.1
31013 | 2021-02-23 12:52 | 42.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1878 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.31 | 138634.703 | 277008.2406 | 36.4 | 83.1
31023 | 2021-02-23 12:52 | 43.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1166 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.313 | 138664.1436 | 277002.1245 | 36.4 | 83.1
31033 | 2021-02-23 12:52 | 43.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.0217 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.317 | 138686.7748 | 277000.9433 | 36.4 | 83.1
31043 | 2021-02-23 12:53 | 43.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.9331 | μmol/L | 15.4692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.323 | 138707.9025 | 276997.6646 | 36.4 | 83.1
31053 | 2021-02-23 12:53 | 44.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.7435 | μmol/L | 15.4692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138738.1061 | 276997.4162 | 36.4 | 83.1
31063 | 2021-02-23 12:53 | 44.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6425 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138756.537 | 276972.1141 | 36.4 | 83.1
31073 | 2021-02-23 12:54 | 44.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6251 | μmol/L | 15.4692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.336 | 138772.4451 | 276989.944 | 36.4 | 83.1
31083 | 2021-02-23 12:54 | 45.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4532 | μmol/L | 15.4753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138781.664 | 276972.3753 | 36.4 | 83.1
31093 | 2021-02-23 12:54 | 45.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4357 | μmol/L | 15.4692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138779.5402 | 276972.1026 | 36.4 | 83.1
31103 | 2021-02-23 12:55 | 45.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4656 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 138778.4471 | 276984.3339 | 36.4 | 83.1
31113 | 2021-02-23 12:55 | 46.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.371 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.349 | 138780.4213 | 276970.8676 | 36.4 | 83.1
31123 | 2021-02-23 12:55 | 46.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4183 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 138790.472 | 276974.8775 | 36.4 | 83.1
31133 | 2021-02-23 12:56 | 46.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2528 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 138782.3271 | 276947.5686 | 36.4 | 83.1
31143 | 2021-02-23 12:56 | 47.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2291 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 138782.8791 | 276949.2741 | 36.4 | 83.1
31153 | 2021-02-23 12:56 | 47.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.259 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.356 | 138802.0801 | 276945.4396 | 36.4 | 83.1
31163 | 2021-02-23 12:57 | 47.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1346 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.359 | 138780.8132 | 276940.5295 | 36.4 | 83.1
31173 | 2021-02-23 12:57 | 48.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1409 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.361 | 138785.4607 | 276939.9502 | 36.4 | 83.1
31183 | 2021-02-23 12:57 | 48.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1645 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.36 | 138777.3659 | 276934.5502 | 36.4 | 83.1
31193 | 2021-02-23 12:58 | 48.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0165 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.364 | 138771.0466 | 276928.2519 | 36.4 | 83.1
31203 | 2021-02-23 12:58 | 49.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.07 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.364 | 138772.2377 | 276921.9991 | 36.4 | 83.1
31213 | 2021-02-23 12:58 | 49.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0638 | μmol/L | 15.463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.362 | 138749.5963 | 276920.0973 | 36.4 | 83.1
31223 | 2021-02-23 12:59 | 49.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1172 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.362 | 138740.8918 | 276923.9705 | 36.4 | 83.1
31233 | 2021-02-23 12:59 | 50.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1235 | μmol/L | 15.4508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.364 | 138709.9279 | 276915.4021 | 36.4 | 83.1
31243 | 2021-02-23 12:59 | 50.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0936 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.363 | 138697.3973 | 276920.3513 | 36.4 | 83.1
31253 | 2021-02-23 13:00 | 50.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2354 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.357 | 138655.805 | 276911.229 | 36.4 | 83.1
31263 | 2021-02-23 13:00 | 51.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2416 | μmol/L | 15.4508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.359 | 138655.0527 | 276910.8699 | 36.4 | 83.1
31273 | 2021-02-23 13:00 | 51.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1881 | μmol/L | 15.4569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.359 | 138622.9816 | 276918.0398 | 36.4 | 83.1
31283 | 2021-02-23 13:01 | 51.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4071 | μmol/L | 15.4508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.352 | 138614.8065 | 276916.5875 | 36.4 | 83.1
31293 | 2021-02-23 13:01 | 52.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3835 | μmol/L | 15.4508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138588.3143 | 276906.0156 | 36.4 | 83.1
31303 | 2021-02-23 13:01 | 52.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3835 | μmol/L | 15.4508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138598.4001 | 276923.0743 | 36.4 | 83.1
31313 | 2021-02-23 13:02 | 52.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.437 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138572.6686 | 276912.8542 | 36.4 | 83.1
31323 | 2021-02-23 13:02 | 53.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5031 | μmol/L | 15.4447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.35 | 138570.0524 | 276928.2791 | 36.4 | 83.1
31333 | 2021-02-23 13:02 | 53.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4843 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.351 | 138538.3614 | 276913.0361 | 36.4 | 83.1
31343 | 2021-02-23 13:03 | 53.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.437 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138540.9901 | 276908.4478 | 36.4 | 83.1
31353 | 2021-02-23 13:03 | 54.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3897 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 138535.4598 | 276906.9458 | 36.4 | 83.1
31363 | 2021-02-23 13:03 | 54.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.437 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138527.7483 | 276906.3641 | 36.4 | 83.1
31373 | 2021-02-23 13:04 | 54.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4906 | μmol/L | 15.4386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138518.2431 | 276897.1774 | 36.4 | 83.1
31383 | 2021-02-23 13:04 | 55.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4669 | μmol/L | 15.4386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 138513.1136 | 276894.282 | 36.4 | 83.1
31393 | 2021-02-23 13:04 | 55.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.437 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 138511.128 | 276916.5819 | 36.4 | 83.1
31403 | 2021-02-23 13:05 | 55.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4433 | μmol/L | 15.4386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 138513.2401 | 276903.8499 | 36.4 | 83.1
31413 | 2021-02-23 13:05 | 56.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4621 | μmol/L | 15.4386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.354 | 138508.3848 | 276924.1993 | 36.4 | 83.1
31423 | 2021-02-23 13:05 | 56.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4147 | μmol/L | 15.4386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.356 | 138494.3208 | 276909.7414 | 36.4 | 83.1
31433 | 2021-02-23 13:06 | 56.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4669 | μmol/L | 15.4386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 138476.676 | 276899.4722 | 36.4 | 83.1
31443 | 2021-02-23 13:06 | 57.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4384 | μmol/L | 15.4386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.355 | 138575.2488 | 276917.0947 | 36.4 | 83.1
31453 | 2021-02-23 13:06 | 57.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3424 | μmol/L | 15.4447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.357 | 138541.9997 | 276907.8391 | 36.4 | 83.1
31463 | 2021-02-23 13:07 | 57.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4558 | μmol/L | 15.4447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.352 | 138531.2722 | 276908.3659 | 36.4 | 83.1
31473 | 2021-02-23 13:07 | 58.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4259 | μmol/L | 15.4324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.358 | 138540.9849 | 276900.8168 | 36.4 | 83.1
31483 | 2021-02-23 13:07 | 58.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3501 | μmol/L | 15.4324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.361 | 138540.1095 | 276894.4062 | 36.4 | 83.1
31493 | 2021-02-23 13:08 | 58.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3786 | μmol/L | 15.4324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.36 | 138544.079 | 276896.6574 | 36.4 | 83.1
31503 | 2021-02-23 13:08 | 59.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.284 | μmol/L | 15.4324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.364 | 138551.7917 | 276900.3288 | 36.4 | 83.1
31513 | 2021-02-23 13:08 | 59.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1784 | μmol/L | 15.4386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.366 | 138557.3589 | 276900.1949 | 36.4 | 83.1
31523 | 2021-02-23 13:09 | 59.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2667 | μmol/L | 15.4263 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 138551.0081 | 276904.1368 | 36.4 | 83.1
31533 | 2021-02-23 13:09 | 60.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1311 | μmol/L | 15.4386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.368 | 138579.9074 | 276900.3274 | 36.4 | 83.1
31543 | 2021-02-23 13:09 | 60.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1374 | μmol/L | 15.4324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.37 | 138575.1699 | 276892.0531 | 36.4 | 83.1
31553 | 2021-02-23 13:10 | 60.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0777 | μmol/L | 15.4263 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.375 | 138565.4859 | 276888.017 | 36.4 | 83.1
31563 | 2021-02-23 13:10 | 61.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0492 | μmol/L | 15.4263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.376 | 138585.288 | 276897.2023 | 36.4 | 83.1
31573 | 2021-02-23 13:10 | 61.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8826 | μmol/L | 15.4324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.381 | 138585.487 | 276884.3624 | 36.4 | 83.1
31583 | 2021-02-23 13:11 | 61.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.9312 | μmol/L | 15.4263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.381 | 138584.0551 | 276882.3176 | 36.4 | 83.1
31593 | 2021-02-23 13:11 | 62.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.9424 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.383 | 138591.1574 | 276893.7276 | 36.4 | 83.1
31603 | 2021-02-23 13:11 | 62.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8716 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.386 | 138591.759 | 276888.6744 | 36.4 | 83.1
31613 | 2021-02-23 13:12 | 62.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8716 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.386 | 138589.613 | 276884.2012 | 36.4 | 83.1
31623 | 2021-02-23 13:12 | 63.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8133 | μmol/L | 15.4263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.386 | 138588.238 | 276875.7661 | 36.4 | 83.1
31633 | 2021-02-23 13:12 | 63.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7065 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.393 | 138595.2777 | 276881.1052 | 36.4 | 83.1
31643 | 2021-02-23 13:13 | 63.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7537 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 138588.2707 | 276880.4644 | 36.4 | 83.1
31653 | 2021-02-23 13:13 | 64.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8023 | μmol/L | 15.4141 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.391 | 138584.3666 | 276883.474 | 36.4 | 83.1
31663 | 2021-02-23 13:13 | 64.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5652 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 138577.5227 | 276883.7348 | 36.4 | 83.1
31673 | 2021-02-23 13:14 | 64.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5652 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 138597.0396 | 276864.4764 | 36.4 | 83.1
31683 | 2021-02-23 13:14 | 65.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5887 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.398 | 138600.9399 | 276867.7188 | 36.4 | 83.1
31693 | 2021-02-23 13:14 | 65.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4239 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 138619.002 | 276884.6735 | 36.4 | 83.1
31703 | 2021-02-23 13:15 | 65.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4239 | μmol/L | 15.4202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 138628.6069 | 276878.663 | 36.4 | 83.1
31713 | 2021-02-23 13:15 | 66.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.336 | μmol/L | 15.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 138651.6097 | 276874.4201 | 36.4 | 83.1
31723 | 2021-02-23 13:15 | 66.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2419 | μmol/L | 15.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.415 | 138673.9464 | 276879.4927 | 36.4 | 83.1
31733 | 2021-02-23 13:16 | 66.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1244 | μmol/L | 15.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.42 | 138704.3416 | 276878.0248 | 36.4 | 83.1
31743 | 2021-02-23 13:16 | 67.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0069 | μmol/L | 15.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.425 | 138728.2984 | 276856.3785 | 36.4 | 83.1
31753 | 2021-02-23 13:16 | 67.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9427 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.43 | 138769.4373 | 276874.7029 | 36.4 | 83.1
31763 | 2021-02-23 13:17 | 67.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7251 | μmol/L | 15.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.437 | 138816.6119 | 276877.1919 | 36.4 | 83.1
31773 | 2021-02-23 13:17 | 68.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5438 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.447 | 138859.617 | 276861.4088 | 36.4 | 83.1
31783 | 2021-02-23 13:17 | 68.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5203 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.448 | 138899.5517 | 276872.4362 | 36.4 | 83.1
31793 | 2021-02-23 13:18 | 68.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.4798 | μmol/L | 15.4019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.452 | 138935.864 | 276866.6348 | 36.4 | 83.1
31803 | 2021-02-23 13:18 | 69.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.4158 | μmol/L | 15.3957 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.457 | 138942.1045 | 276862.1098 | 36.4 | 83.1
31813 | 2021-02-23 13:18 | 69.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.2392 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.46 | 138980.0229 | 276878.0059 | 36.4 | 83.1
31823 | 2021-02-23 13:19 | 69.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.1924 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.462 | 138972.2499 | 276880.3177 | 36.4 | 83.1
31833 | 2021-02-23 13:19 | 70.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.1222 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.465 | 139004.1225 | 276876.7259 | 36.4 | 83.1
31843 | 2021-02-23 13:19 | 70.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.1222 | μmol/L | 15.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.465 | 139205.2862 | 276871.5862 | 36.4 | 83.1
31853 | 2021-02-23 13:20 | 70.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.1519 | μmol/L | 15.4019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.466 | 139261.8116 | 276884.8291 | 36.4 | 83.1