## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31863 | 2021-02-23 15:03 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6493 | μmol/L | 19.1853 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.824 | 135511.3096 | 277443.5223 | 36.4 | 83.1
31873 | 2021-02-23 15:03 | 0.32859 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6047 | μmol/L | 19.1853 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.826 | 135534.9589 | 277438.0756 | 36.4 | 83.1
31883 | 2021-02-23 15:03 | 0.66167 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4484 | μmol/L | 19.1853 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.833 | 135532.2024 | 277449.637 | 36.4 | 83.1
31893 | 2021-02-23 15:04 | 0.99474 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4741 | μmol/L | 19.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.834 | 135552.8189 | 277426.1272 | 36.4 | 83.1
31903 | 2021-02-23 15:04 | 1.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3625 | μmol/L | 19.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.839 | 135574.9034 | 277448.636 | 36.4 | 83.1
31913 | 2021-02-23 15:04 | 1.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3436 | μmol/L | 19.173 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.842 | 135554.9538 | 277439.1548 | 36.4 | 83.1
31923 | 2021-02-23 15:05 | 1.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3882 | μmol/L | 19.173 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.84 | 135572.9191 | 277440.1042 | 36.4 | 83.1
31933 | 2021-02-23 15:05 | 2.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.28 | μmol/L | 19.1669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.847 | 135594.1768 | 277434.2617 | 36.4 | 83.1
31943 | 2021-02-23 15:05 | 2.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3469 | μmol/L | 19.1669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.844 | 135606.0265 | 277428.7433 | 36.4 | 83.1
31953 | 2021-02-23 15:06 | 2.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3949 | μmol/L | 19.1608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.844 | 135566.4424 | 277428.8357 | 36.4 | 83.1
31963 | 2021-02-23 15:06 | 3.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.5098 | μmol/L | 19.1546 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.841 | 135544.4852 | 277411.9442 | 36.4 | 83.1
31973 | 2021-02-23 15:06 | 3.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.666 | μmol/L | 19.1546 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.834 | 135495.8735 | 277401.6346 | 36.4 | 83.1
31983 | 2021-02-23 15:07 | 3.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6917 | μmol/L | 19.1485 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.835 | 135448.2108 | 277392.0488 | 36.4 | 83.1
31993 | 2021-02-23 15:07 | 4.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.714 | μmol/L | 19.1485 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.834 | 135399.9007 | 277391.2178 | 36.4 | 83.1
32003 | 2021-02-23 15:07 | 4.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.7363 | μmol/L | 19.1485 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.833 | 135461.7423 | 277392.2254 | 36.4 | 83.1
32013 | 2021-02-23 15:08 | 4.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6247 | μmol/L | 19.1485 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.838 | 135508.0057 | 277391.939 | 36.4 | 83.1
32023 | 2021-02-23 15:08 | 5.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.628 | μmol/L | 19.1424 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.84 | 135498.1056 | 277384.0853 | 36.4 | 83.1
32033 | 2021-02-23 15:08 | 5.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.7207 | μmol/L | 19.1363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.838 | 135491.5504 | 277370.27 | 36.4 | 83.1
32043 | 2021-02-23 15:09 | 5.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6057 | μmol/L | 19.1424 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.841 | 135460.6623 | 277375.7119 | 36.4 | 83.1
32053 | 2021-02-23 15:09 | 6.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.5645 | μmol/L | 19.1363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.845 | 135511.2872 | 277376.354 | 36.4 | 83.1
32063 | 2021-02-23 15:09 | 6.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.5935 | μmol/L | 19.124 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.848 | 135522.4946 | 277352.6598 | 36.4 | 83.1
32073 | 2021-02-23 15:10 | 6.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4563 | μmol/L | 19.1301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.852 | 135522.6831 | 277365.5897 | 36.4 | 83.1
32083 | 2021-02-23 15:10 | 7.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6158 | μmol/L | 19.124 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.847 | 135500.3247 | 277351.6527 | 36.4 | 83.1
32093 | 2021-02-23 15:10 | 7.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.5935 | μmol/L | 19.124 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.848 | 135455.8695 | 277349.5634 | 36.4 | 83.1
32103 | 2021-02-23 15:11 | 7.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.5455 | μmol/L | 19.1301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.848 | 135488.1058 | 277365.2662 | 36.4 | 83.1
32113 | 2021-02-23 15:11 | 8.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6192 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.849 | 135499.1218 | 277359.4899 | 36.4 | 83.1
32123 | 2021-02-23 15:11 | 8.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4853 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 135512.3145 | 277351.5468 | 36.4 | 83.1
32133 | 2021-02-23 15:12 | 8.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.307 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 135522.5697 | 277352.0479 | 36.4 | 83.1
32143 | 2021-02-23 15:12 | 9.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.307 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 135502.8356 | 277336.866 | 36.4 | 83.1
32153 | 2021-02-23 15:12 | 9.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.2881 | μmol/L | 19.1118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.866 | 135561.5564 | 277336.6726 | 36.4 | 83.1
32163 | 2021-02-23 15:13 | 9.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.2435 | μmol/L | 19.1118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.868 | 135582.0205 | 277327.0101 | 36.4 | 83.1
32173 | 2021-02-23 15:13 | 10.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3138 | μmol/L | 19.1056 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 135574.3822 | 277335.985 | 36.4 | 83.1
32183 | 2021-02-23 15:13 | 10.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3138 | μmol/L | 19.1056 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 135610.4151 | 277335.3117 | 36.4 | 83.1
32193 | 2021-02-23 15:14 | 10.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3172 | μmol/L | 19.0995 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 135585.7607 | 277331.0962 | 36.4 | 83.1
32203 | 2021-02-23 15:14 | 11.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3617 | μmol/L | 19.0995 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 135530.9794 | 277330.8116 | 36.4 | 83.1
32213 | 2021-02-23 15:14 | 11.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4766 | μmol/L | 19.0934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.864 | 135577.8639 | 277312.2213 | 36.4 | 83.1
32223 | 2021-02-23 15:15 | 11.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.4834 | μmol/L | 19.0811 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.868 | 135571.841 | 277324.3683 | 36.4 | 83.1
32233 | 2021-02-23 15:15 | 12.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3719 | μmol/L | 19.0811 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.873 | 135593.6266 | 277336.482 | 36.4 | 83.1
32243 | 2021-02-23 15:15 | 12.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3531 | μmol/L | 19.075 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 135631.0379 | 277328.1085 | 36.4 | 83.1
32253 | 2021-02-23 15:16 | 12.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.1749 | μmol/L | 19.075 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.884 | 135676.5858 | 277336.0224 | 36.4 | 83.1
32263 | 2021-02-23 15:16 | 13.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.0893 | μmol/L | 19.0689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.89 | 135727.0168 | 277323.3343 | 36.4 | 83.1
32273 | 2021-02-23 15:16 | 13.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.9781 | μmol/L | 19.0689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.895 | 135793.27 | 277326.5692 | 36.4 | 83.1
32283 | 2021-02-23 15:17 | 13.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.8259 | μmol/L | 19.0628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.904 | 135804.7078 | 277327.6846 | 36.4 | 83.1
32293 | 2021-02-23 15:17 | 14.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.8293 | μmol/L | 19.0566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.906 | 135870.3162 | 277330.2991 | 36.4 | 83.1
32303 | 2021-02-23 15:17 | 14.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.5525 | μmol/L | 19.075 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.912 | 135906.7048 | 277323.8765 | 36.4 | 83.1
32313 | 2021-02-23 15:18 | 14.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.5338 | μmol/L | 19.0689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.915 | 135922.9867 | 277325.1556 | 36.4 | 83.1
32323 | 2021-02-23 15:18 | 15.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.3051 | μmol/L | 19.0811 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.921 | 135946.9143 | 277315.7271 | 36.4 | 83.1
32333 | 2021-02-23 15:18 | 15.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.1686 | μmol/L | 19.0873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.925 | 135924.2403 | 277328.3579 | 36.4 | 83.1
32343 | 2021-02-23 15:19 | 15.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.143 | μmol/L | 19.0934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.924 | 135992.6096 | 277324.4328 | 36.4 | 83.1
32353 | 2021-02-23 15:19 | 16.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.114 | μmol/L | 19.1056 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.921 | 135999.0205 | 277317.8494 | 36.4 | 83.1
32363 | 2021-02-23 15:19 | 16.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.0884 | μmol/L | 19.1118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.92 | 136027.5853 | 277330.2575 | 36.4 | 83.1
32373 | 2021-02-23 15:20 | 16.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.0407 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.92 | 136039.7718 | 277311.1259 | 36.4 | 83.1
32383 | 2021-02-23 15:20 | 17.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.9743 | μmol/L | 19.1179 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.923 | 136089.4647 | 277327.4081 | 36.4 | 83.1
32393 | 2021-02-23 15:20 | 17.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.7904 | μmol/L | 19.1301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.927 | 136108.7563 | 277332.6389 | 36.4 | 83.1
32403 | 2021-02-23 15:21 | 17.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6916 | μmol/L | 19.1485 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.925 | 136100.2257 | 277338.9514 | 36.4 | 83.1
32413 | 2021-02-23 15:21 | 18.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5743 | μmol/L | 19.1608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.926 | 136151.0636 | 277323.3614 | 36.4 | 83.1
32423 | 2021-02-23 15:21 | 18.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5641 | μmol/L | 19.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.92 | 136094.3899 | 277314.8422 | 36.4 | 83.1
32433 | 2021-02-23 15:22 | 18.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5131 | μmol/L | 19.1914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.918 | 136087.9434 | 277325.1295 | 36.4 | 83.1
32443 | 2021-02-23 15:22 | 19.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.4842 | μmol/L | 19.2036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.915 | 136074.2126 | 277331.8182 | 36.4 | 83.1
32453 | 2021-02-23 15:22 | 19.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.3823 | μmol/L | 19.2281 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.911 | 136089.1278 | 277330.2491 | 36.4 | 83.1
32463 | 2021-02-23 15:23 | 19.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.3722 | μmol/L | 19.2465 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.905 | 136872.2194 | 277344.6849 | 36.4 | 83.1
32473 | 2021-02-23 15:23 | 20.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.2738 | μmol/L | 19.2649 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.903 | 136759.6094 | 277330.0327 | 36.4 | 83.1
32483 | 2021-02-23 15:23 | 20.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.1976 | μmol/L | 19.2833 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.9 | 136757.4763 | 277331.7852 | 36.4 | 83.1
32493 | 2021-02-23 15:24 | 20.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.0805 | μmol/L | 19.2955 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.901 | 136752.6181 | 277320.8589 | 36.4 | 83.1
32503 | 2021-02-23 15:24 | 21.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.9381 | μmol/L | 19.3139 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.901 | 136824.643 | 277340.1414 | 36.4 | 83.1
32513 | 2021-02-23 15:24 | 21.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.7485 | μmol/L | 19.3384 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.901 | 136805.4426 | 277337.0913 | 36.4 | 83.1
32523 | 2021-02-23 15:25 | 21.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.5876 | μmol/L | 19.3507 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.904 | 136830.3336 | 277344.7203 | 36.4 | 83.1
32533 | 2021-02-23 15:25 | 22.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.4456 | μmol/L | 19.369 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.904 | 136841.8379 | 277333.3075 | 36.4 | 83.1
32543 | 2021-02-23 15:25 | 22.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.3762 | μmol/L | 19.3752 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.905 | 136878.6499 | 277353.7892 | 36.4 | 83.1
32553 | 2021-02-23 15:26 | 22.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1936 | μmol/L | 19.3874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.909 | 136892.7454 | 277342.3827 | 36.4 | 83.1
32563 | 2021-02-23 15:26 | 23.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.0738 | μmol/L | 19.4058 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.908 | 136898.4862 | 277335.1508 | 36.4 | 83.1
32573 | 2021-02-23 15:26 | 23.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.0925 | μmol/L | 19.4119 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.905 | 136861.0133 | 277338.0838 | 36.4 | 83.1
32583 | 2021-02-23 15:27 | 23.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.3468 | μmol/L | 19.4303 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.887 | 136716.5011 | 277362.8579 | 36.4 | 83.1
32593 | 2021-02-23 15:27 | 24.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.4505 | μmol/L | 19.4425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 136655.4342 | 277356.1799 | 36.4 | 83.1
32603 | 2021-02-23 15:27 | 24.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.4725 | μmol/L | 19.4425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.877 | 136644.8062 | 277344.0644 | 36.4 | 83.1
32613 | 2021-02-23 15:28 | 24.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.2646 | μmol/L | 19.4609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 136664.1002 | 277348.4562 | 36.4 | 83.1
32623 | 2021-02-23 15:28 | 25.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1481 | μmol/L | 19.4732 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 136729.6867 | 277359.5403 | 36.4 | 83.1
32633 | 2021-02-23 15:28 | 25.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.0348 | μmol/L | 19.4793 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.884 | 136742.2589 | 277357.1886 | 36.4 | 83.1
32643 | 2021-02-23 15:29 | 25.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1132 | μmol/L | 19.4977 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 136671.1316 | 277353.6898 | 36.4 | 83.1
32653 | 2021-02-23 15:29 | 26.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.198 | μmol/L | 19.5038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.868 | 136628.8872 | 277350.084 | 36.4 | 83.1
32663 | 2021-02-23 15:29 | 26.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1068 | μmol/L | 19.5099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.87 | 136628.5199 | 277368.2523 | 36.4 | 83.1
32673 | 2021-02-23 15:30 | 26.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.9276 | μmol/L | 19.5161 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136693.3854 | 277367.593 | 36.4 | 83.1
32683 | 2021-02-23 15:30 | 27.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.7925 | μmol/L | 19.5222 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 136699.5693 | 277369.3839 | 36.4 | 83.1
32693 | 2021-02-23 15:30 | 27.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.6763 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 136718.4948 | 277364.7103 | 36.4 | 83.1
32703 | 2021-02-23 15:31 | 27.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.5821 | μmol/L | 19.5467 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 136716.3404 | 277352.6253 | 36.4 | 83.1
32713 | 2021-02-23 15:31 | 28.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.513 | μmol/L | 19.5528 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.882 | 136709.7224 | 277369.4098 | 36.4 | 83.1
32723 | 2021-02-23 15:31 | 28.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.5506 | μmol/L | 19.5651 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136708.9221 | 277370.8328 | 36.4 | 83.1
32733 | 2021-02-23 15:32 | 28.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.3937 | μmol/L | 19.5712 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 136723.2507 | 277381.8351 | 36.4 | 83.1
32743 | 2021-02-23 15:32 | 29.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.4345 | μmol/L | 19.5773 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.877 | 136619.6737 | 277386.2531 | 36.4 | 83.1
32753 | 2021-02-23 15:32 | 29.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.2526 | μmol/L | 19.5896 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.881 | 136634.3189 | 277375.1555 | 36.4 | 83.1
32763 | 2021-02-23 15:33 | 29.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.2714 | μmol/L | 19.5957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 136636.1004 | 277377.6981 | 36.4 | 83.1
32773 | 2021-02-23 15:33 | 30.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.2024 | μmol/L | 19.6018 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 136612.6663 | 277386.1233 | 36.4 | 83.1
32783 | 2021-02-23 15:33 | 30.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.1961 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.875 | 136634.7334 | 277395.4585 | 36.4 | 83.1
32793 | 2021-02-23 15:34 | 30.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.1272 | μmol/L | 19.6202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136577.505 | 277395.2662 | 36.4 | 83.1
32803 | 2021-02-23 15:34 | 31.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0145 | μmol/L | 19.6263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 136594.1243 | 277406.8665 | 36.4 | 83.1
32813 | 2021-02-23 15:34 | 31.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0364 | μmol/L | 19.6263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 136605.847 | 277396.8442 | 36.4 | 83.1
32823 | 2021-02-23 15:35 | 31.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9612 | μmol/L | 19.6447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.875 | 136622.3627 | 277398.9539 | 36.4 | 83.1
32833 | 2021-02-23 15:35 | 32.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.005 | μmol/L | 19.6447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.873 | 136641.6373 | 277414.352 | 36.4 | 83.1
32843 | 2021-02-23 15:35 | 32.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9143 | μmol/L | 19.6508 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.875 | 136594.9775 | 277400.2946 | 36.4 | 83.1
32853 | 2021-02-23 15:36 | 32.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8454 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136592.0485 | 277401.3846 | 36.4 | 83.1
32863 | 2021-02-23 15:36 | 33.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7985 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136594.7667 | 277407.0392 | 36.4 | 83.1
32873 | 2021-02-23 15:36 | 33.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8642 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.873 | 136609.4876 | 277401.0093 | 36.4 | 83.1
32883 | 2021-02-23 15:37 | 33.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7735 | μmol/L | 19.6692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.875 | 136623.3846 | 277397.9396 | 36.4 | 83.1
32893 | 2021-02-23 15:37 | 34.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8142 | μmol/L | 19.6753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.871 | 136625.1535 | 277402.0223 | 36.4 | 83.1
32903 | 2021-02-23 15:37 | 34.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6391 | μmol/L | 19.6753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 136624.7667 | 277401.7816 | 36.4 | 83.1
32913 | 2021-02-23 15:38 | 34.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6141 | μmol/L | 19.6815 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 136635.6595 | 277387.0723 | 36.4 | 83.1
32923 | 2021-02-23 15:38 | 35.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6516 | μmol/L | 19.6937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 136595.1311 | 277385.4967 | 36.4 | 83.1
32933 | 2021-02-23 15:38 | 35.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6078 | μmol/L | 19.6937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 136550.8353 | 277399.2354 | 36.4 | 83.1
32943 | 2021-02-23 15:39 | 35.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4735 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 136528.177 | 277402.2563 | 36.4 | 83.1
32953 | 2021-02-23 15:39 | 36.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5828 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.873 | 136496.0217 | 277406.0893 | 36.4 | 83.1
32963 | 2021-02-23 15:39 | 36.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.511 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 136475.9874 | 277411.6509 | 36.4 | 83.1
32973 | 2021-02-23 15:40 | 36.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5797 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.871 | 136464.1619 | 277415.3702 | 36.4 | 83.1
32983 | 2021-02-23 15:40 | 37.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5298 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 136468.2401 | 277414.8721 | 36.4 | 83.1
32993 | 2021-02-23 15:40 | 37.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5735 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 136483.7807 | 277418.9407 | 36.4 | 83.1
33003 | 2021-02-23 15:41 | 37.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5516 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.868 | 136473.5592 | 277412.4491 | 36.4 | 83.1
33013 | 2021-02-23 15:41 | 38.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5017 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.866 | 136456.2129 | 277423.1289 | 36.4 | 83.1
33023 | 2021-02-23 15:41 | 38.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5673 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 136434.695 | 277422.8532 | 36.4 | 83.1
33033 | 2021-02-23 15:42 | 38.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4549 | μmol/L | 19.7366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.866 | 136357.9421 | 277422.049 | 36.4 | 83.1
33043 | 2021-02-23 15:42 | 39.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4518 | μmol/L | 19.7427 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.864 | 136304.5029 | 277412.3647 | 36.4 | 83.1
33053 | 2021-02-23 15:42 | 39.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5861 | μmol/L | 19.7366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.86 | 136302.3795 | 277431.7351 | 36.4 | 83.1
33063 | 2021-02-23 15:43 | 39.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7048 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.861 | 136287.0971 | 277418.5727 | 36.4 | 83.1
33073 | 2021-02-23 15:43 | 40.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7267 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.86 | 136298.8469 | 277429.0816 | 36.4 | 83.1
33083 | 2021-02-23 15:43 | 40.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6361 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 136268.3808 | 277426.2013 | 36.4 | 83.1
33093 | 2021-02-23 15:44 | 40.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6361 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 136319.5675 | 277438.5261 | 36.4 | 83.1
33103 | 2021-02-23 15:44 | 41.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5704 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.865 | 136290.522 | 277426.3852 | 36.4 | 83.1
33113 | 2021-02-23 15:44 | 41.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5704 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.865 | 136297.5238 | 277427.0447 | 36.4 | 83.1
33123 | 2021-02-23 15:45 | 41.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6611 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 136329.9855 | 277430.2244 | 36.4 | 83.1
33133 | 2021-02-23 15:45 | 42.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6829 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 136259.7095 | 277431.0437 | 36.4 | 83.1
33143 | 2021-02-23 15:45 | 42.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6987 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 136246.6231 | 277431.6322 | 36.4 | 83.1
33153 | 2021-02-23 15:46 | 42.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7017 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.859 | 136217.335 | 277433.1183 | 36.4 | 83.1
33163 | 2021-02-23 15:46 | 43.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8143 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.856 | 136182.5456 | 277450.2734 | 36.4 | 83.1
33173 | 2021-02-23 15:46 | 43.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7893 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 136175.1359 | 277452.7134 | 36.4 | 83.1
33183 | 2021-02-23 15:47 | 43.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7893 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 136183.6489 | 277447.0541 | 36.4 | 83.1
33193 | 2021-02-23 15:47 | 44.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7674 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.856 | 136177.1934 | 277453.6816 | 36.4 | 83.1
33203 | 2021-02-23 15:47 | 44.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8331 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.853 | 136149.1856 | 277446.1819 | 36.4 | 83.1
33213 | 2021-02-23 15:48 | 44.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7455 | μmol/L | 19.7244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 136129.8349 | 277442.3493 | 36.4 | 83.1
33223 | 2021-02-23 15:48 | 45.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7486 | μmol/L | 19.7182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.859 | 136087.0917 | 277459.0176 | 36.4 | 83.1
33233 | 2021-02-23 15:48 | 45.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4675 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.859 | 136096.5187 | 277465.3772 | 36.4 | 83.1
33243 | 2021-02-23 15:49 | 45.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.555 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 136047.725 | 277461.9195 | 36.4 | 83.1
33253 | 2021-02-23 15:49 | 46.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6207 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.852 | 136050.6733 | 277468.4678 | 36.4 | 83.1
33263 | 2021-02-23 15:49 | 46.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6268 | μmol/L | 19.7427 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.856 | 136031.6047 | 277474.2447 | 36.4 | 83.1
33273 | 2021-02-23 15:50 | 46.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.555 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 136034.8286 | 277478.4415 | 36.4 | 83.1
33283 | 2021-02-23 15:50 | 47.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4145 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 135994.1452 | 277484.2227 | 36.4 | 83.1
33293 | 2021-02-23 15:50 | 47.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2554 | μmol/L | 19.7856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.858 | 135994.1491 | 277486.09 | 36.4 | 83.1
33303 | 2021-02-23 15:51 | 47.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1212 | μmol/L | 19.7917 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.862 | 135993.6197 | 277496.4014 | 36.4 | 83.1
33313 | 2021-02-23 15:51 | 48.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1024 | μmol/L | 19.7856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.865 | 135994.0799 | 277490.0223 | 36.4 | 83.1
33323 | 2021-02-23 15:51 | 48.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.0588 | μmol/L | 19.7856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.867 | 135986.3241 | 277505.5373 | 36.4 | 83.1
33333 | 2021-02-23 15:52 | 48.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.0431 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 136010.1542 | 277492.818 | 36.4 | 83.1
33343 | 2021-02-23 15:52 | 49.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9776 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.875 | 136016.6969 | 277500.8858 | 36.4 | 83.1
33353 | 2021-02-23 15:52 | 49.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9963 | μmol/L | 19.7795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 136012.6846 | 277498.9342 | 36.4 | 83.1
33363 | 2021-02-23 15:53 | 49.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9963 | μmol/L | 19.7795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 135972.0632 | 277514.6619 | 36.4 | 83.1
33373 | 2021-02-23 15:53 | 50.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9558 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136014.8975 | 277505.67 | 36.4 | 83.1
33383 | 2021-02-23 15:53 | 50.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9807 | μmol/L | 19.7672 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.877 | 136018.0082 | 277509.6614 | 36.4 | 83.1
33393 | 2021-02-23 15:54 | 50.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8218 | μmol/L | 19.7795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 135987.1932 | 277506.5577 | 36.4 | 83.1
33403 | 2021-02-23 15:54 | 51.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.7751 | μmol/L | 19.7856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 135965.5202 | 277505.4574 | 36.4 | 83.1
33413 | 2021-02-23 15:54 | 51.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.7036 | μmol/L | 19.7979 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.879 | 135930.2352 | 277505.6061 | 36.4 | 83.1
33423 | 2021-02-23 15:55 | 51.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.7472 | μmol/L | 19.7979 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.877 | 135974.2883 | 277508.6393 | 36.4 | 83.1
33433 | 2021-02-23 15:55 | 52.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9715 | μmol/L | 19.7856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.871 | 135977.188 | 277507.4196 | 36.4 | 83.1
33443 | 2021-02-23 15:55 | 52.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1086 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 135902.587 | 277504.8137 | 36.4 | 83.1
33453 | 2021-02-23 15:56 | 52.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3332 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.863 | 135870.7453 | 277502.7612 | 36.4 | 83.1
33463 | 2021-02-23 15:56 | 53.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5112 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.857 | 135785.6831 | 277511.0395 | 36.4 | 83.1
33473 | 2021-02-23 15:56 | 53.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4456 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.86 | 135772.7312 | 277509.3928 | 36.4 | 83.1
33483 | 2021-02-23 15:57 | 53.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5082 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 135733.6728 | 277509.0806 | 36.4 | 83.1
33493 | 2021-02-23 15:57 | 54.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5957 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.851 | 135701.4139 | 277522.2003 | 36.4 | 83.1
33503 | 2021-02-23 15:57 | 54.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7551 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.848 | 135718.1022 | 277514.4415 | 36.4 | 83.1
33513 | 2021-02-23 15:58 | 54.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7052 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.846 | 135687.8729 | 277531.1308 | 36.4 | 83.1
33523 | 2021-02-23 15:58 | 55.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6833 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.847 | 135628.7836 | 277535.1915 | 36.4 | 83.1
33533 | 2021-02-23 15:58 | 55.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5458 | μmol/L | 19.7734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.849 | 135658.7399 | 277541.7682 | 36.4 | 83.1
33543 | 2021-02-23 15:59 | 55.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5708 | μmol/L | 19.7672 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.85 | 135672.4876 | 277537.3295 | 36.4 | 83.1
33553 | 2021-02-23 15:59 | 56.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6176 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.85 | 135616.5042 | 277545.0696 | 36.4 | 83.1
33563 | 2021-02-23 15:59 | 56.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6207 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.852 | 135583.8361 | 277540.2107 | 36.4 | 83.1
33573 | 2021-02-23 16:00 | 56.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7052 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.846 | 135579.0005 | 277535.8884 | 36.4 | 83.1
33583 | 2021-02-23 16:00 | 57.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7928 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.842 | 135584.0657 | 277527.5567 | 36.4 | 83.1
33593 | 2021-02-23 16:00 | 57.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.724 | μmol/L | 19.7672 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.843 | 135584.5695 | 277545.478 | 36.4 | 83.1
33603 | 2021-02-23 16:01 | 57.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8585 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.839 | 135576.833 | 277541.2253 | 36.4 | 83.1
33613 | 2021-02-23 16:01 | 58.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8835 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.84 | 135531.5342 | 277538.0273 | 36.4 | 83.1
33623 | 2021-02-23 16:01 | 58.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9743 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.838 | 135530.6383 | 277539.8331 | 36.4 | 83.1
33633 | 2021-02-23 16:02 | 58.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9962 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.837 | 135498.091 | 277534.1488 | 36.4 | 83.1
33643 | 2021-02-23 16:02 | 59.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0401 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.835 | 135504.0711 | 277545.3714 | 36.4 | 83.1
33653 | 2021-02-23 16:02 | 59.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0151 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.834 | 135472.4419 | 277533.8507 | 36.4 | 83.1
33663 | 2021-02-23 16:03 | 59.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0401 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.835 | 135449.9521 | 277538.8086 | 36.4 | 83.1
33673 | 2021-02-23 16:03 | 60.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9493 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.837 | 135472.3042 | 277535.9486 | 36.4 | 83.1
33683 | 2021-02-23 16:03 | 60.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9085 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.841 | 135471.678 | 277552.3967 | 36.4 | 83.1
33693 | 2021-02-23 16:04 | 60.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6176 | μmol/L | 19.7611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.85 | 135602.0214 | 277564.7515 | 36.4 | 83.1
33703 | 2021-02-23 16:04 | 61.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.555 | μmol/L | 19.755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.855 | 135646.1718 | 277559.6926 | 36.4 | 83.1
33713 | 2021-02-23 16:04 | 61.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.405 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.864 | 135665.8141 | 277569.0428 | 36.4 | 83.1
33723 | 2021-02-23 16:05 | 61.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2301 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 135737.0713 | 277572.4422 | 36.4 | 83.1
33733 | 2021-02-23 16:05 | 62.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2332 | μmol/L | 19.7427 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 135759.1181 | 277571.0424 | 36.4 | 83.1
33743 | 2021-02-23 16:05 | 62.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1209 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.877 | 135734.6962 | 277563.7311 | 36.4 | 83.1
33753 | 2021-02-23 16:06 | 62.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1864 | μmol/L | 19.7489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 135729.5673 | 277569.8264 | 36.4 | 83.1
33763 | 2021-02-23 16:06 | 63.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.28 | μmol/L | 19.7366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 135704.2824 | 277570.4375 | 36.4 | 83.1
33773 | 2021-02-23 16:06 | 63.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3705 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 135669.657 | 277578.3275 | 36.4 | 83.1
33783 | 2021-02-23 16:07 | 63.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4361 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 135650.957 | 277569.1507 | 36.4 | 83.1
33793 | 2021-02-23 16:07 | 64.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4361 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 135666.4395 | 277575.3836 | 36.4 | 83.1
33803 | 2021-02-23 16:07 | 64.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3893 | μmol/L | 19.7366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 135627.8278 | 277575.2296 | 36.4 | 83.1
33813 | 2021-02-23 16:08 | 64.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3705 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 135687.8484 | 277565.8786 | 36.4 | 83.1
33823 | 2021-02-23 16:08 | 65.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2831 | μmol/L | 19.7305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.876 | 135661.5836 | 277575.8186 | 36.4 | 83.1
33833 | 2021-02-23 16:08 | 65.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3829 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.88 | 135724.3323 | 277567.04 | 36.4 | 83.1
33843 | 2021-02-23 16:09 | 65.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2924 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.882 | 135784.2959 | 277572.8339 | 36.4 | 83.1
33853 | 2021-02-23 16:09 | 66.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2768 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.887 | 135824.3509 | 277570.3909 | 36.4 | 83.1
33863 | 2021-02-23 16:09 | 66.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9899 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.898 | 135833.3927 | 277568.2084 | 36.4 | 83.1
33873 | 2021-02-23 16:10 | 66.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9245 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.901 | 135847.1789 | 277570.248 | 36.4 | 83.1
33883 | 2021-02-23 16:10 | 67.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.747 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.907 | 135866.4357 | 277563.618 | 36.4 | 83.1
33893 | 2021-02-23 16:10 | 67.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5728 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.915 | 135914.7058 | 277579.3447 | 36.4 | 83.1
33903 | 2021-02-23 16:11 | 67.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.4204 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.922 | 135930.5026 | 277568.4347 | 36.4 | 83.1
33913 | 2021-02-23 16:11 | 68.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.4018 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.925 | 136009.8224 | 277574.5092 | 36.4 | 83.1
33923 | 2021-02-23 16:11 | 68.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2714 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.931 | 135960.0382 | 277565.9426 | 36.4 | 83.1
33933 | 2021-02-23 16:12 | 68.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2528 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.934 | 136039.0161 | 277577.369 | 36.4 | 83.1
33943 | 2021-02-23 16:12 | 69.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1659 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.938 | 136070.5337 | 277585.221 | 36.4 | 83.1
33953 | 2021-02-23 16:12 | 69.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.079 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.942 | 136124.5651 | 277577.1547 | 36.4 | 83.1
33963 | 2021-02-23 16:13 | 69.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9425 | μmol/L | 19.7121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.944 | 136154.8216 | 277582.5557 | 36.4 | 83.1
33973 | 2021-02-23 16:13 | 70.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0541 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.941 | 136183.9343 | 277574.4385 | 36.4 | 83.1
33983 | 2021-02-23 16:13 | 70.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0759 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.94 | 136174.708 | 277586.2387 | 36.4 | 83.1
33993 | 2021-02-23 16:14 | 70.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0139 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.945 | 136154.3916 | 277583.3899 | 36.4 | 83.1
34003 | 2021-02-23 16:14 | 71.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0356 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.944 | 136152.8069 | 277588.0045 | 36.4 | 83.1
34013 | 2021-02-23 16:14 | 71.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1039 | μmol/L | 19.6937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.943 | 136165.3269 | 277586.5592 | 36.4 | 83.1
34023 | 2021-02-23 16:15 | 71.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9922 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.946 | 136187.5645 | 277580.4053 | 36.4 | 83.1
34033 | 2021-02-23 16:15 | 72.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8588 | μmol/L | 19.706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.95 | 136197.168 | 277590.0333 | 36.4 | 83.1
34043 | 2021-02-23 16:15 | 72.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7536 | μmol/L | 19.6998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.957 | 136210.7018 | 277589.1356 | 36.4 | 83.1
34053 | 2021-02-23 16:16 | 72.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7568 | μmol/L | 19.6937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.959 | 136207.1522 | 277588.1382 | 36.4 | 83.1
34063 | 2021-02-23 16:16 | 73.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7351 | μmol/L | 19.6937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.96 | 136217.243 | 277598.9933 | 36.4 | 83.1
34073 | 2021-02-23 16:16 | 73.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0298 | μmol/L | 19.6692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.955 | 136148.2429 | 277584.6247 | 36.4 | 83.1
34083 | 2021-02-23 16:17 | 73.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0017 | μmol/L | 19.6815 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 136169.5971 | 277591.1779 | 36.4 | 83.1
34093 | 2021-02-23 16:17 | 74.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0081 | μmol/L | 19.6692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.956 | 136136.1748 | 277599.7543 | 36.4 | 83.1
34103 | 2021-02-23 16:17 | 74.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.123 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.955 | 136183.7536 | 277603.0473 | 36.4 | 83.1
34113 | 2021-02-23 16:18 | 74.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0764 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.955 | 136143.8476 | 277599.2829 | 36.4 | 83.1
34123 | 2021-02-23 16:18 | 75.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1415 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 136122.3188 | 277607.7098 | 36.4 | 83.1
34133 | 2021-02-23 16:18 | 75.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1415 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.952 | 136144.2011 | 277618.4502 | 36.4 | 83.1
34143 | 2021-02-23 16:19 | 75.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0981 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.954 | 136079.5696 | 277605.7665 | 36.4 | 83.1
34153 | 2021-02-23 16:19 | 76.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0547 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.956 | 136082.9799 | 277616.5261 | 36.4 | 83.1
34163 | 2021-02-23 16:19 | 76.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.123 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.955 | 136067.1844 | 277613.3136 | 36.4 | 83.1
34173 | 2021-02-23 16:20 | 76.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1447 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.954 | 136081.6744 | 277618.8895 | 36.4 | 83.1
34183 | 2021-02-23 16:20 | 77.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0361 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.959 | 136179.2366 | 277611.2614 | 36.4 | 83.1
34193 | 2021-02-23 16:20 | 77.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0578 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.958 | 136206.1762 | 277630.47 | 36.4 | 83.1
34203 | 2021-02-23 16:21 | 77.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.971 | μmol/L | 19.657 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.962 | 136156.2284 | 277614.0411 | 36.4 | 83.1
34213 | 2021-02-23 16:21 | 78.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8811 | μmol/L | 19.6631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.964 | 136220.0368 | 277615.6422 | 36.4 | 83.1
34223 | 2021-02-23 16:21 | 78.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9742 | μmol/L | 19.6508 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.964 | 136221.3731 | 277612.939 | 36.4 | 83.1
34233 | 2021-02-23 16:22 | 78.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9309 | μmol/L | 19.6508 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.966 | 136249.9265 | 277628.4318 | 36.4 | 83.1
34243 | 2021-02-23 16:22 | 79.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9558 | μmol/L | 19.6447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 136238.0111 | 277624.3955 | 36.4 | 83.1
34253 | 2021-02-23 16:22 | 79.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0024 | μmol/L | 19.6386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.967 | 136246.269 | 277626.812 | 36.4 | 83.1
34263 | 2021-02-23 16:23 | 79.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.869 | μmol/L | 19.6447 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.971 | 136210.2951 | 277628.7339 | 36.4 | 83.1
34273 | 2021-02-23 16:23 | 80.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9405 | μmol/L | 19.6325 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.972 | 136255.3458 | 277631.3556 | 36.4 | 83.1
34283 | 2021-02-23 16:23 | 80.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9871 | μmol/L | 19.6263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.972 | 136221.6234 | 277620.9238 | 36.4 | 83.1
34293 | 2021-02-23 16:24 | 80.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9654 | μmol/L | 19.6263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.973 | 136173.9925 | 277628.8461 | 36.4 | 83.1
34303 | 2021-02-23 16:24 | 81.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0771 | μmol/L | 19.6202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.97 | 136229.0672 | 277625.8111 | 36.4 | 83.1
34313 | 2021-02-23 16:24 | 81.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9686 | μmol/L | 19.6202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.975 | 136239.9498 | 277631.3115 | 36.4 | 83.1
34323 | 2021-02-23 16:25 | 81.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9534 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.98 | 136306.724 | 277626.315 | 36.4 | 83.1
34333 | 2021-02-23 16:25 | 82.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9317 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.981 | 136328.7141 | 277631.9826 | 36.4 | 83.1
34343 | 2021-02-23 16:25 | 82.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9133 | μmol/L | 19.6018 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.984 | 136287.5902 | 277635.98 | 36.4 | 83.1
34353 | 2021-02-23 16:26 | 82.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9783 | μmol/L | 19.6018 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.981 | 136325.9409 | 277637.4596 | 36.4 | 83.1
34363 | 2021-02-23 16:26 | 83.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1583 | μmol/L | 19.5896 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 136329.3267 | 277634.6406 | 36.4 | 83.1
34373 | 2021-02-23 16:26 | 83.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.09 | μmol/L | 19.5957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.978 | 136263.5934 | 277626.5993 | 36.4 | 83.1
34383 | 2021-02-23 16:27 | 83.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2484 | μmol/L | 19.5834 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.975 | 136252.9844 | 277645.7137 | 36.4 | 83.1
34393 | 2021-02-23 16:27 | 84.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1334 | μmol/L | 19.5957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.976 | 136261.2158 | 277646.3599 | 36.4 | 83.1
34403 | 2021-02-23 16:27 | 84.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1117 | μmol/L | 19.5957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 136308.2196 | 277652.7287 | 36.4 | 83.1
34413 | 2021-02-23 16:28 | 84.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1583 | μmol/L | 19.5896 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 136276.7227 | 277637.6312 | 36.4 | 83.1
34423 | 2021-02-23 16:28 | 85.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.205 | μmol/L | 19.5834 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.977 | 136326.7489 | 277649.6547 | 36.4 | 83.1
34433 | 2021-02-23 16:28 | 85.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2299 | μmol/L | 19.5773 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.978 | 136282.3877 | 277636.8952 | 36.4 | 83.1
34443 | 2021-02-23 16:29 | 85.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1833 | μmol/L | 19.5834 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.978 | 136264.4882 | 277640.4046 | 36.4 | 83.1
34453 | 2021-02-23 16:29 | 86.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1865 | μmol/L | 19.5773 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.98 | 136299.8661 | 277652.5732 | 36.4 | 83.1
34463 | 2021-02-23 16:29 | 86.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1898 | μmol/L | 19.5712 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.982 | 136320.9344 | 277645.0325 | 36.4 | 83.1
34473 | 2021-02-23 16:30 | 86.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1898 | μmol/L | 19.5712 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.982 | 136315.4741 | 277651.0237 | 36.4 | 83.1
34483 | 2021-02-23 16:30 | 87.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2831 | μmol/L | 19.5589 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.982 | 136349.2873 | 277638.2631 | 36.4 | 83.1
34493 | 2021-02-23 16:30 | 87.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1995 | μmol/L | 19.5528 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.988 | 136267.8415 | 277652.9884 | 36.4 | 83.1
34503 | 2021-02-23 16:31 | 87.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1811 | μmol/L | 19.5467 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.991 | 136280.9468 | 277639.1953 | 36.4 | 83.1
34513 | 2021-02-23 16:31 | 88.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2061 | μmol/L | 19.5406 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.992 | 136360.2408 | 277633.6203 | 36.4 | 83.1
34523 | 2021-02-23 16:31 | 88.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1844 | μmol/L | 19.5406 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.993 | 136398.1725 | 277643.5338 | 36.4 | 83.1
34533 | 2021-02-23 16:32 | 88.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1659 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.996 | 136445.6489 | 277653.1908 | 36.4 | 83.1
34543 | 2021-02-23 16:32 | 89.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1876 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.995 | 136454.8835 | 277650.2841 | 36.4 | 83.1
34553 | 2021-02-23 16:32 | 89.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1009 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.999 | 136488.355 | 277661.5599 | 36.4 | 83.1
34563 | 2021-02-23 16:33 | 89.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1009 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.999 | 136523.8277 | 277659.9989 | 36.4 | 83.1
34573 | 2021-02-23 16:33 | 90.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0358 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.002 | 136579.4607 | 277666.0832 | 36.4 | 83.1
34583 | 2021-02-23 16:33 | 90.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9058 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.008 | 136567.5693 | 277661.0198 | 36.4 | 83.1
34593 | 2021-02-23 16:34 | 90.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8625 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.01 | 136593.0956 | 277685.7624 | 36.4 | 83.1
34603 | 2021-02-23 16:34 | 91.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8625 | μmol/L | 19.5344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.01 | 136541.4441 | 277676.5318 | 36.4 | 83.1
34613 | 2021-02-23 16:34 | 91.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9307 | μmol/L | 19.5283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.009 | 136523.5325 | 277674.9577 | 36.4 | 83.1
34623 | 2021-02-23 16:35 | 91.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0207 | μmol/L | 19.5222 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.007 | 136566.6233 | 277689.5042 | 36.4 | 83.1
34633 | 2021-02-23 16:35 | 92.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0457 | μmol/L | 19.5161 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.008 | 136607.3472 | 277694.2808 | 36.4 | 83.1
34643 | 2021-02-23 16:35 | 92.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9307 | μmol/L | 19.5283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.009 | 136546.9482 | 277688.9894 | 36.4 | 83.1
34653 | 2021-02-23 16:36 | 92.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8507 | μmol/L | 19.5161 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.017 | 136665.5019 | 277697.5241 | 36.4 | 83.1
34663 | 2021-02-23 16:36 | 93.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9223 | μmol/L | 19.5038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.018 | 136740.3128 | 277700.2548 | 36.4 | 83.1
34673 | 2021-02-23 16:36 | 93.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.879 | μmol/L | 19.5038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.02 | 136743.4768 | 277702.9249 | 36.4 | 83.1
34683 | 2021-02-23 16:37 | 93.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8356 | μmol/L | 19.5038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.022 | 136742.2362 | 277697.4327 | 36.4 | 83.1
34693 | 2021-02-23 16:37 | 94.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8173 | μmol/L | 19.4977 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.025 | 136746.2582 | 277700.3611 | 36.4 | 83.1
34703 | 2021-02-23 16:37 | 94.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7923 | μmol/L | 19.5038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.024 | 136689.45 | 277706.6196 | 36.4 | 83.1
34713 | 2021-02-23 16:38 | 94.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7307 | μmol/L | 19.4977 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.029 | 136714.6144 | 277723.0033 | 36.4 | 83.1
34723 | 2021-02-23 16:38 | 95.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7091 | μmol/L | 19.4977 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.03 | 136717.1261 | 277724.7334 | 36.4 | 83.1
34733 | 2021-02-23 16:38 | 95.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8889 | μmol/L | 19.4854 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.026 | 136752.0441 | 277730.8559 | 36.4 | 83.1
34743 | 2021-02-23 16:39 | 95.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9755 | μmol/L | 19.4854 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.022 | 136797.588 | 277725.5295 | 36.4 | 83.1
34753 | 2021-02-23 16:39 | 96.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8889 | μmol/L | 19.4854 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.026 | 136753.0021 | 277722.8852 | 36.4 | 83.1
34763 | 2021-02-23 16:39 | 96.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9789 | μmol/L | 19.4793 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.024 | 136725.2658 | 277725.6284 | 36.4 | 83.1
34773 | 2021-02-23 16:40 | 96.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9822 | μmol/L | 19.4732 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.026 | 136786.2697 | 277731.1415 | 36.4 | 83.1
34783 | 2021-02-23 16:40 | 97.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.809 | μmol/L | 19.4732 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.034 | 136835.1435 | 277743.6686 | 36.4 | 83.1
34793 | 2021-02-23 16:40 | 97.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8839 | μmol/L | 19.4548 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.037 | 136849.9402 | 277743.0268 | 36.4 | 83.1
34803 | 2021-02-23 16:41 | 97.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7723 | μmol/L | 19.4609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.04 | 136853.113 | 277742.0645 | 36.4 | 83.1
34813 | 2021-02-23 16:41 | 98.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7108 | μmol/L | 19.4548 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.045 | 136817.4256 | 277741.0812 | 36.4 | 83.1
34823 | 2021-02-23 16:41 | 98.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6675 | μmol/L | 19.4548 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.047 | 136784.6725 | 277753.1197 | 36.4 | 83.1
34833 | 2021-02-23 16:42 | 98.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8473 | μmol/L | 19.4425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.043 | 136810.4097 | 277768.5733 | 36.4 | 83.1
34843 | 2021-02-23 16:42 | 99.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7358 | μmol/L | 19.4487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.046 | 136835.2862 | 277760.1067 | 36.4 | 83.1
34853 | 2021-02-23 16:42 | 99.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6925 | μmol/L | 19.4487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.048 | 136818.2784 | 277757.6344 | 36.4 | 83.1
34863 | 2021-02-23 16:43 | 99.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7574 | μmol/L | 19.4487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.045 | 136780.002 | 277768.0255 | 36.4 | 83.1
34873 | 2021-02-23 16:43 | 100.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.779 | μmol/L | 19.4487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.044 | 136794.9468 | 277767.7495 | 36.4 | 83.1
34883 | 2021-02-23 16:43 | 100.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8906 | μmol/L | 19.4425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.041 | 136764.178 | 277756.6911 | 36.4 | 83.1
34893 | 2021-02-23 16:44 | 100.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.894 | μmol/L | 19.4364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.043 | 136674.9607 | 277763.0184 | 36.4 | 83.1
34903 | 2021-02-23 16:44 | 101.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8973 | μmol/L | 19.4303 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.045 | 136746.5258 | 277766.4497 | 36.4 | 83.1
34913 | 2021-02-23 16:44 | 101.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9223 | μmol/L | 19.4242 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.046 | 136774.5562 | 277766.3573 | 36.4 | 83.1
34923 | 2021-02-23 16:45 | 101.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8358 | μmol/L | 19.4242 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.05 | 136810.6581 | 277770.4231 | 36.4 | 83.1
34933 | 2021-02-23 16:45 | 102.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8608 | μmol/L | 19.418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.051 | 136867.0094 | 277767.8544 | 36.4 | 83.1
34943 | 2021-02-23 16:45 | 102.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7776 | μmol/L | 19.4119 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.057 | 136916.381 | 277778.4054 | 36.4 | 83.1
34953 | 2021-02-23 16:46 | 102.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7992 | μmol/L | 19.4119 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.056 | 136956.9775 | 277770.9765 | 36.4 | 83.1
34963 | 2021-02-23 16:46 | 103.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7343 | μmol/L | 19.4119 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.059 | 136971.7462 | 277778.9281 | 36.4 | 83.1
34973 | 2021-02-23 16:46 | 103.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7844 | μmol/L | 19.3997 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.061 | 136984.7879 | 277766.9759 | 36.4 | 83.1
34983 | 2021-02-23 16:47 | 103.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7844 | μmol/L | 19.3997 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.061 | 136955.47 | 277780.7031 | 36.4 | 83.1
34993 | 2021-02-23 16:47 | 104.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.806 | μmol/L | 19.3997 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.06 | 136917.7186 | 277783.8138 | 36.4 | 83.1
35003 | 2021-02-23 16:47 | 104.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6762 | μmol/L | 19.3997 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.066 | 136955.4173 | 277786.3927 | 36.4 | 83.1
35013 | 2021-02-23 16:48 | 104.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.856 | μmol/L | 19.3874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.062 | 136918.7651 | 277801.8864 | 36.4 | 83.1
35023 | 2021-02-23 16:48 | 105.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8993 | μmol/L | 19.3874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.06 | 136955.6075 | 277782.421 | 36.4 | 83.1
35033 | 2021-02-23 16:48 | 105.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.946 | μmol/L | 19.3813 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.06 | 136917.7713 | 277795.3865 | 36.4 | 83.1
35043 | 2021-02-23 16:49 | 105.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8594 | μmol/L | 19.3813 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.064 | 136876.1513 | 277803.273 | 36.4 | 83.1
35053 | 2021-02-23 16:49 | 106.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7263 | μmol/L | 19.3874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.068 | 136909.0215 | 277801.2744 | 36.4 | 83.1
35063 | 2021-02-23 16:49 | 106.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8196 | μmol/L | 19.3752 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.068 | 136954.1912 | 277794.5142 | 36.4 | 83.1
35073 | 2021-02-23 16:50 | 106.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7081 | μmol/L | 19.3813 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.071 | 136964.1783 | 277797.8403 | 36.4 | 83.1
35083 | 2021-02-23 16:50 | 107.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7149 | μmol/L | 19.369 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.075 | 136905.2673 | 277807.467 | 36.4 | 83.1
35093 | 2021-02-23 16:50 | 107.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7797 | μmol/L | 19.369 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.072 | 136966.2043 | 277797.9637 | 36.4 | 83.1
35103 | 2021-02-23 16:51 | 107.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7615 | μmol/L | 19.3629 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.075 | 136975.9611 | 277808.3571 | 36.4 | 83.1
35113 | 2021-02-23 16:51 | 108.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7684 | μmol/L | 19.3507 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.079 | 137016.702 | 277807.4255 | 36.4 | 83.1
35123 | 2021-02-23 16:51 | 108.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7467 | μmol/L | 19.3507 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.08 | 137005.0773 | 277794.8549 | 36.4 | 83.1
35133 | 2021-02-23 16:52 | 108.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6137 | μmol/L | 19.3568 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.084 | 137039.9678 | 277804.0147 | 36.4 | 83.1
35143 | 2021-02-23 16:52 | 109.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.5955 | μmol/L | 19.3507 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.087 | 137003.5771 | 277806.5356 | 36.4 | 83.1
35153 | 2021-02-23 16:52 | 109.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6205 | μmol/L | 19.3445 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.088 | 137072.2423 | 277796.4256 | 36.4 | 83.1
35163 | 2021-02-23 16:53 | 109.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6706 | μmol/L | 19.3323 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.09 | 137120.8039 | 277816.7519 | 36.4 | 83.1
35173 | 2021-02-23 16:53 | 110.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8037 | μmol/L | 19.3262 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.086 | 137139.491 | 277796.2028 | 36.4 | 83.1
35183 | 2021-02-23 16:53 | 110.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7172 | μmol/L | 19.3262 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.09 | 137125.7604 | 277807.0951 | 36.4 | 83.1
35193 | 2021-02-23 16:54 | 110.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6524 | μmol/L | 19.3262 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.093 | 137134.9128 | 277806.8286 | 36.4 | 83.1
35203 | 2021-02-23 16:54 | 111.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6092 | μmol/L | 19.3262 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.095 | 137058.796 | 277809.5308 | 36.4 | 83.1
35213 | 2021-02-23 16:54 | 111.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6092 | μmol/L | 19.3262 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.095 | 137039.4855 | 277810.2041 | 36.4 | 83.1
35223 | 2021-02-23 16:55 | 111.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6844 | μmol/L | 19.3078 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.098 | 137089.5594 | 277810.0401 | 36.4 | 83.1
35233 | 2021-02-23 16:55 | 112.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.706 | μmol/L | 19.3078 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.097 | 137112.5282 | 277818.5109 | 36.4 | 83.1
35243 | 2021-02-23 16:55 | 112.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.7276 | μmol/L | 19.3078 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.096 | 137095.7266 | 277821.8933 | 36.4 | 83.1
35253 | 2021-02-23 16:56 | 112.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.6161 | μmol/L | 19.3139 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.099 | 137102.6775 | 277830.3575 | 36.4 | 83.1
35263 | 2021-02-23 16:56 | 113.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.5764 | μmol/L | 19.3078 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.103 | 137213.771 | 277819.0585 | 36.4 | 83.1
35273 | 2021-02-23 16:56 | 113.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.4219 | μmol/L | 19.3139 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.108 | 137283.2907 | 277819.2905 | 36.4 | 83.1
35283 | 2021-02-23 16:57 | 113.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.3606 | μmol/L | 19.3078 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.113 | 137325.3616 | 277833.7617 | 36.4 | 83.1
35293 | 2021-02-23 16:57 | 114.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.3641 | μmol/L | 19.3017 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.115 | 137301.9347 | 277824.5518 | 36.4 | 83.1
35303 | 2021-02-23 16:57 | 114.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.2597 | μmol/L | 19.2955 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.122 | 137267.2977 | 277830.4283 | 36.4 | 83.1
35313 | 2021-02-23 16:58 | 114.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.3279 | μmol/L | 19.2894 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.121 | 137247.9636 | 277835.2567 | 36.4 | 83.1
35322 | 2021-02-23 16:58 | 115.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.3098 | μmol/L | 19.2833 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.124 | 137294.3733 | 277833.2292 | 36.4 | 83.1