## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35331 | 2021-02-23 19:17 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7788 | μmol/L | 25.4145 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.354 | 136281.8536 | 278104.2968 | 36.4 | 83.1 | #N/A
35340 | 2021-02-23 19:17 | 0.33701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.8179 | μmol/L | 25.4145 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.352 | 136257.2553 | 278088.7665 | 36.4 | 83.1 | #N/A
35350 | 2021-02-23 19:18 | 0.67037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.8767 | μmol/L | 25.4145 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.349 | 136049.4626 | 278062.0326 | 36.4 | 83.1 | #N/A
35360 | 2021-02-23 19:18 | 1.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.0546 | μmol/L | 25.4084 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.342 | 135978.4308 | 278031.6133 | 36.4 | 83.1 | #N/A
35370 | 2021-02-23 19:18 | 1.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2311 | μmol/L | 25.4084 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.333 | 135795.7542 | 278012.9969 | 36.4 | 83.1 | #N/A
35380 | 2021-02-23 19:19 | 1.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.3521 | μmol/L | 25.3961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.331 | 135720.6478 | 277992.1375 | 36.4 | 83.1 | #N/A
35390 | 2021-02-23 19:19 | 2.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.5008 | μmol/L | 25.3531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.338 | 135804.3021 | 277970.0743 | 36.4 | 83.1 | #N/A
35400 | 2021-02-23 19:19 | 2.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.3224 | μmol/L | 25.3593 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.345 | 135818.3469 | 277959.3737 | 36.4 | 83.1 | #N/A
35410 | 2021-02-23 19:20 | 2.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2816 | μmol/L | 25.3654 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.345 | 135819.7086 | 277927.1707 | 36.4 | 83.1 | #N/A
35420 | 2021-02-23 19:20 | 3.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2407 | μmol/L | 25.3715 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.345 | 135867.525 | 277902.5067 | 36.4 | 83.1 | #N/A
35430 | 2021-02-23 19:20 | 3.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2816 | μmol/L | 25.3654 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.345 | 135898.5318 | 277881.4199 | 36.4 | 83.1 | #N/A
35440 | 2021-02-23 19:21 | 3.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.3469 | μmol/L | 25.3409 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.35 | 135960.7145 | 277852.7275 | 36.4 | 83.1 | #N/A
35450 | 2021-02-23 19:21 | 4.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2536 | μmol/L | 25.3225 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.361 | 136072.5503 | 277842.2228 | 36.4 | 83.1 | #N/A
35460 | 2021-02-23 19:21 | 4.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.1605 | μmol/L | 25.304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.372 | 135976.8756 | 277820.8315 | 36.4 | 83.1 | #N/A
35470 | 2021-02-23 19:22 | 4.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.0266 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.383 | 136013.8582 | 277793.5698 | 36.4 | 83.1 | #N/A
35480 | 2021-02-23 19:22 | 5.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.9907 | μmol/L | 25.2795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.389 | 135999.1765 | 277777.4208 | 36.4 | 83.1 | #N/A
35490 | 2021-02-23 19:22 | 5.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.914 | μmol/L | 25.2734 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.395 | 136050.0308 | 277753.2338 | 36.4 | 83.1 | #N/A
35500 | 2021-02-23 19:23 | 5.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7755 | μmol/L | 25.2795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.4 | 136036.1522 | 277725.6391 | 36.4 | 83.1 | #N/A
35510 | 2021-02-23 19:23 | 6.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7559 | μmol/L | 25.2795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.401 | 135975.2048 | 277687.6995 | 36.4 | 83.1 | #N/A
35520 | 2021-02-23 19:23 | 6.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.8325 | μmol/L | 25.2856 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.395 | 136026.6221 | 277671.4052 | 36.4 | 83.1 | #N/A
35530 | 2021-02-23 19:24 | 6.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.0657 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.381 | 135939.9441 | 277653.5357 | 36.4 | 83.1 | #N/A
35540 | 2021-02-23 19:24 | 7.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.0494 | μmol/L | 25.2795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.386 | 135787.1646 | 277631.5232 | 36.4 | 83.1 | #N/A
35550 | 2021-02-23 19:24 | 7.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.9548 | μmol/L | 25.2672 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.395 | 135882.6417 | 277621.9062 | 36.4 | 83.1 | #N/A
35560 | 2021-02-23 19:25 | 7.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7526 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.397 | 136001.334 | 277602.4548 | 36.4 | 83.1 | #N/A
35570 | 2021-02-23 19:25 | 8.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.5165 | μmol/L | 25.2979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.407 | 136034.8168 | 277573.6215 | 36.4 | 83.1 | #N/A
35580 | 2021-02-23 19:25 | 8.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.6827 | μmol/L | 25.2611 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.411 | 135963.2817 | 277560.1724 | 36.4 | 83.1 | #N/A
35590 | 2021-02-23 19:26 | 8.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7168 | μmol/L | 25.2795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.403 | 136049.7266 | 277529.0257 | 36.4 | 83.1 | #N/A
35600 | 2021-02-23 19:26 | 9.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.5182 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.409 | 136036.4076 | 277515.7849 | 36.4 | 83.1 | #N/A
35610 | 2021-02-23 19:26 | 9.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.6924 | μmol/L | 25.2979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.398 | 135949.5314 | 277475.3794 | 36.4 | 83.1 | #N/A
35620 | 2021-02-23 19:27 | 9.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7918 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.395 | 135963.6787 | 277462.3459 | 36.4 | 83.1 | #N/A
35630 | 2021-02-23 19:27 | 10.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7347 | μmol/L | 25.2856 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.4 | 136076.1257 | 277441.4926 | 36.4 | 83.1 | #N/A
35640 | 2021-02-23 19:27 | 10.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.7135 | μmol/L | 25.2918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.399 | 136016.1473 | 277420.4344 | 36.4 | 83.1 | #N/A
35650 | 2021-02-23 19:28 | 10.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.5506 | μmol/L | 25.3163 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.399 | 135980.2203 | 277407.6346 | 36.4 | 83.1 | #N/A
35660 | 2021-02-23 19:28 | 11.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.5099 | μmol/L | 25.3225 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.399 | 135988.873 | 277392.6696 | 36.4 | 83.1 | #N/A
35670 | 2021-02-23 19:28 | 11.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.3277 | μmol/L | 25.347 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.4 | 136158.4899 | 277375.811 | 36.4 | 83.1 | #N/A
35680 | 2021-02-23 19:29 | 11.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.0414 | μmol/L | 25.3961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.398 | 136091.3434 | 277360.1769 | 36.4 | 83.1 | #N/A
35690 | 2021-02-23 19:29 | 12.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.7216 | μmol/L | 25.4268 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.404 | 136227.9545 | 277333.7471 | 36.4 | 83.1 | #N/A
35700 | 2021-02-23 19:29 | 12.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4923 | μmol/L | 25.4391 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.412 | 136214.9698 | 277315.3184 | 36.4 | 83.1 | #N/A
35710 | 2021-02-23 19:30 | 12.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.5205 | μmol/L | 25.4513 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.406 | 136165.4125 | 277282.9886 | 36.4 | 83.1 | #N/A
35720 | 2021-02-23 19:30 | 13.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.2435 | μmol/L | 25.4697 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.414 | 136316.0669 | 277281.1785 | 36.4 | 83.1 | #N/A
35730 | 2021-02-23 19:30 | 13.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4005 | μmol/L | 25.4636 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.408 | 136285.9044 | 277257.947 | 36.4 | 83.1 | #N/A
35740 | 2021-02-23 19:31 | 13.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4411 | μmol/L | 25.4575 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.408 | 136291.4305 | 277257.1241 | 36.4 | 83.1 | #N/A
35750 | 2021-02-23 19:31 | 14.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3017 | μmol/L | 25.4697 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.411 | 136326.343 | 277216.391 | 36.4 | 83.1 | #N/A
35760 | 2021-02-23 19:31 | 14.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.1786 | μmol/L | 25.4943 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.409 | 136265.1273 | 277180.0293 | 36.4 | 83.1 | #N/A
35770 | 2021-02-23 19:32 | 14.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.0629 | μmol/L | 25.5188 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.407 | 136303.9404 | 277180.4777 | 36.4 | 83.1 | #N/A
35780 | 2021-02-23 19:32 | 15.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.0555 | μmol/L | 25.5188 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.407 | 136277.2418 | 277162.9116 | 36.4 | 83.1 | #N/A
35790 | 2021-02-23 19:32 | 15.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.1542 | μmol/L | 25.5127 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.404 | 136354.9073 | 277133.9003 | 36.4 | 83.1 | #N/A
35800 | 2021-02-23 19:33 | 15.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.1104 | μmol/L | 25.5311 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.4 | 136290.7694 | 277114.4084 | 36.4 | 83.1 | #N/A
35810 | 2021-02-23 19:33 | 16.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.1653 | μmol/L | 25.5434 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.393 | 136209.7891 | 277099.8556 | 36.4 | 83.1 | #N/A
35820 | 2021-02-23 19:33 | 16.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3054 | μmol/L | 25.5557 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.382 | 136087.161 | 277068.5203 | 36.4 | 83.1 | #N/A
35830 | 2021-02-23 19:34 | 16.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3919 | μmol/L | 25.5679 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.373 | 136012.6727 | 277048.5578 | 36.4 | 83.1 | #N/A
35840 | 2021-02-23 19:34 | 17.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3691 | μmol/L | 25.5802 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.37 | 136063.4242 | 277025.3492 | 36.4 | 83.1 | #N/A
35850 | 2021-02-23 19:34 | 17.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4275 | μmol/L | 25.5802 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.367 | 135988.2796 | 277017.1799 | 36.4 | 83.1 | #N/A
35860 | 2021-02-23 19:35 | 17.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3328 | μmol/L | 25.5986 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.366 | 135995.6936 | 277010.8046 | 36.4 | 83.1 | #N/A
35870 | 2021-02-23 19:35 | 18.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4226 | μmol/L | 25.5986 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.361 | 135972.6561 | 276971.7861 | 36.4 | 83.1 | #N/A
35880 | 2021-02-23 19:35 | 18.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3788 | μmol/L | 25.617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.357 | 135996.731 | 276961.086 | 36.4 | 83.1 | #N/A
35890 | 2021-02-23 19:36 | 18.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4371 | μmol/L | 25.617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.354 | 135842.4559 | 276937.977 | 36.4 | 83.1 | #N/A
35900 | 2021-02-23 19:36 | 19.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4744 | μmol/L | 25.6232 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.35 | 135886.3069 | 276931.7807 | 36.4 | 83.1 | #N/A
35910 | 2021-02-23 19:36 | 19.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3424 | μmol/L | 25.6354 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.353 | 135878.4588 | 276910.0527 | 36.4 | 83.1 | #N/A
35920 | 2021-02-23 19:37 | 19.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.134 | μmol/L | 25.66 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.355 | 135987.9588 | 276893.8736 | 36.4 | 83.1 | #N/A
35930 | 2021-02-23 19:37 | 20.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.8412 | μmol/L | 25.6661 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.368 | 136017.9908 | 276870.1606 | 36.4 | 83.1 | #N/A
35940 | 2021-02-23 19:37 | 20.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6547 | μmol/L | 25.6661 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.378 | 136153.6921 | 276859.6268 | 36.4 | 83.1 | #N/A
35950 | 2021-02-23 19:38 | 20.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6143 | μmol/L | 25.6723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.378 | 136177.5746 | 276848.3564 | 36.4 | 83.1 | #N/A
35960 | 2021-02-23 19:38 | 21.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5723 | μmol/L | 25.6845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 136214.6168 | 276818.4791 | 36.4 | 83.1 | #N/A
35970 | 2021-02-23 19:38 | 21.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6691 | μmol/L | 25.6845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.371 | 136196.666 | 276809.2448 | 36.4 | 83.1 | #N/A
35980 | 2021-02-23 19:39 | 21.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.59 | μmol/L | 25.6907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.373 | 136209.5578 | 276783.725 | 36.4 | 83.1 | #N/A
35990 | 2021-02-23 19:39 | 22.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5034 | μmol/L | 25.6968 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.375 | 136180.4321 | 276757.1583 | 36.4 | 83.1 | #N/A
36000 | 2021-02-23 19:39 | 22.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4511 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 136068.3096 | 276731.991 | 36.4 | 83.1 | #N/A
36010 | 2021-02-23 19:40 | 22.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4107 | μmol/L | 25.7091 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 135991.0139 | 276719.9889 | 36.4 | 83.1 | #N/A
36020 | 2021-02-23 19:40 | 23.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3914 | μmol/L | 25.7091 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.377 | 135991.0075 | 276706.4872 | 36.4 | 83.1 | #N/A
36030 | 2021-02-23 19:40 | 23.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4091 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.374 | 135980.6337 | 276690.6435 | 36.4 | 83.1 | #N/A
36040 | 2021-02-23 19:41 | 23.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4478 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.372 | 136008.342 | 276683.7861 | 36.4 | 83.1 | #N/A
36050 | 2021-02-23 19:41 | 24.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.2628 | μmol/L | 25.7275 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.377 | 135994.3992 | 276671.4423 | 36.4 | 83.1 | #N/A
36060 | 2021-02-23 19:41 | 24.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1879 | μmol/L | 25.7459 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.375 | 136015.0496 | 276652.1722 | 36.4 | 83.1 | #N/A
36070 | 2021-02-23 19:42 | 24.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1283 | μmol/L | 25.752 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 135929.6138 | 276631.6343 | 36.4 | 83.1 | #N/A
36080 | 2021-02-23 19:42 | 25.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.2896 | μmol/L | 25.7275 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 135905.4786 | 276611.9035 | 36.4 | 83.1 | #N/A
36090 | 2021-02-23 19:42 | 25.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3654 | μmol/L | 25.7336 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.37 | 135858.6051 | 276588.784 | 36.4 | 83.1 | #N/A
36100 | 2021-02-23 19:43 | 25.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6271 | μmol/L | 25.6968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.369 | 135860.1221 | 276572.3218 | 36.4 | 83.1 | #N/A
36110 | 2021-02-23 19:43 | 26.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7224 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.362 | 135848.2767 | 276561.7809 | 36.4 | 83.1 | #N/A
36120 | 2021-02-23 19:43 | 26.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.571 | μmol/L | 25.7336 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.359 | 135830.8273 | 276541.9789 | 36.4 | 83.1 | #N/A
36130 | 2021-02-23 19:44 | 26.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7806 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.359 | 135736.803 | 276540.7909 | 36.4 | 83.1 | #N/A
36140 | 2021-02-23 19:44 | 27.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7013 | μmol/L | 25.7091 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.361 | 135721.2037 | 276515.6981 | 36.4 | 83.1 | #N/A
36150 | 2021-02-23 19:44 | 27.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7352 | μmol/L | 25.7275 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.353 | 135637.6806 | 276505.9994 | 36.4 | 83.1 | #N/A
36160 | 2021-02-23 19:45 | 27.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6738 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.352 | 135640.2527 | 276487.9301 | 36.4 | 83.1 | #N/A
36170 | 2021-02-23 19:45 | 28.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6544 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.353 | 135613.788 | 276480.3269 | 36.4 | 83.1 | #N/A
36180 | 2021-02-23 19:45 | 28.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4927 | μmol/L | 25.7643 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.353 | 135524.9003 | 276449.499 | 36.4 | 83.1 | #N/A
36190 | 2021-02-23 19:46 | 28.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.0907 | μmol/L | 25.8196 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.355 | 135470.1184 | 276437.1029 | 36.4 | 83.1 | #N/A
36200 | 2021-02-23 19:46 | 29.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1681 | μmol/L | 25.8196 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.351 | 135555.547 | 276418.2721 | 36.4 | 83.1 | #N/A
36210 | 2021-02-23 19:46 | 29.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.2262 | μmol/L | 25.8196 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.348 | 135515.9603 | 276406.8945 | 36.4 | 83.1 | #N/A
36220 | 2021-02-23 19:47 | 29.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3634 | μmol/L | 25.8134 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.343 | 135494.3088 | 276400.7258 | 36.4 | 83.1 | #N/A
36230 | 2021-02-23 19:47 | 30.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4215 | μmol/L | 25.8134 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.34 | 135357.8912 | 276367.8738 | 36.4 | 83.1 | #N/A
36240 | 2021-02-23 19:47 | 30.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3827 | μmol/L | 25.8134 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.342 | 135348.6644 | 276363.4529 | 36.4 | 83.1 | #N/A
36250 | 2021-02-23 19:48 | 30.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4038 | μmol/L | 25.8073 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.343 | 135404.0084 | 276347.9958 | 36.4 | 83.1 | #N/A
36260 | 2021-02-23 19:48 | 31.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5217 | μmol/L | 25.8011 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.339 | 135355.9464 | 276337.1667 | 36.4 | 83.1 | #N/A
36270 | 2021-02-23 19:48 | 31.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.8451 | μmol/L | 25.752 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.339 | 135243.4517 | 276308.1981 | 36.4 | 83.1 | #N/A
36280 | 2021-02-23 19:49 | 31.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6284 | μmol/L | 25.7643 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.346 | 135251.9495 | 276309.3715 | 36.4 | 83.1 | #N/A
36290 | 2021-02-23 19:49 | 32.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.386 | μmol/L | 25.8011 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.346 | 135279.2595 | 276297.4254 | 36.4 | 83.1 | #N/A
36300 | 2021-02-23 19:49 | 32.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5427 | μmol/L | 25.795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.34 | 135143.5119 | 276262.3603 | 36.4 | 83.1 | #N/A
36310 | 2021-02-23 19:50 | 32.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4764 | μmol/L | 25.8257 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.333 | 135077.1886 | 276250.3609 | 36.4 | 83.1 | #N/A
36320 | 2021-02-23 19:50 | 33.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7189 | μmol/L | 25.7889 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.333 | 135042.9249 | 276247.2346 | 36.4 | 83.1 | #N/A
36330 | 2021-02-23 19:50 | 33.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6219 | μmol/L | 25.7889 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.338 | 134996.9506 | 276219.1288 | 36.4 | 83.1 | #N/A
36340 | 2021-02-23 19:51 | 33.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5847 | μmol/L | 25.7827 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.342 | 134994.718 | 276221.4412 | 36.4 | 83.1 | #N/A
36350 | 2021-02-23 19:51 | 34.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7658 | μmol/L | 25.7582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.341 | 134834.9972 | 276184.4194 | 36.4 | 83.1 | #N/A
36360 | 2021-02-23 19:51 | 34.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.8257 | μmol/L | 25.752 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.34 | 134670.0294 | 276185.61 | 36.4 | 83.1 | #N/A
36370 | 2021-02-23 19:52 | 34.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6591 | μmol/L | 25.795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.334 | 134688.382 | 276165.8921 | 36.4 | 83.1 | #N/A
36380 | 2021-02-23 19:52 | 35.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6462 | μmol/L | 25.7705 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.343 | 134805.1344 | 276153.1513 | 36.4 | 83.1 | #N/A
36390 | 2021-02-23 19:52 | 35.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6931 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.351 | 134768.7332 | 276152.8877 | 36.4 | 83.1 | #N/A
36400 | 2021-02-23 19:53 | 35.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7918 | μmol/L | 25.7336 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.348 | 134789.869 | 276130.5051 | 36.4 | 83.1 | #N/A
36410 | 2021-02-23 19:53 | 36.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5962 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.356 | 134759.8597 | 276127.4716 | 36.4 | 83.1 | #N/A
36420 | 2021-02-23 19:53 | 36.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3007 | μmol/L | 25.7582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.365 | 134940.6604 | 276104.5941 | 36.4 | 83.1 | #N/A
36430 | 2021-02-23 19:54 | 36.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3201 | μmol/L | 25.7582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.364 | 134824.6076 | 276090.8902 | 36.4 | 83.1 | #N/A
36440 | 2021-02-23 19:54 | 37.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4589 | μmol/L | 25.7459 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.361 | 134804.0334 | 276080.9674 | 36.4 | 83.1 | #N/A
36450 | 2021-02-23 19:54 | 37.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3975 | μmol/L | 25.7582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.36 | 134733.204 | 276061.001 | 36.4 | 83.1 | #N/A
36460 | 2021-02-23 19:55 | 37.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5946 | μmol/L | 25.7459 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.354 | 134632.2569 | 276046.6703 | 36.4 | 83.1 | #N/A
36470 | 2021-02-23 19:55 | 38.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6931 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.351 | 134538.1295 | 276030.7079 | 36.4 | 83.1 | #N/A
36480 | 2021-02-23 19:55 | 38.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.8322 | μmol/L | 25.7275 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.348 | 134547.6373 | 276023.9145 | 36.4 | 83.1 | #N/A
36490 | 2021-02-23 19:56 | 38.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.7319 | μmol/L | 25.7398 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.349 | 134578.4923 | 276002.559 | 36.4 | 83.1 | #N/A
36500 | 2021-02-23 19:56 | 39.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6189 | μmol/L | 25.7275 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.359 | 134624.2284 | 275988.333 | 36.4 | 83.1 | #N/A
36510 | 2021-02-23 19:56 | 39.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6205 | μmol/L | 25.7214 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.361 | 134513.8648 | 275978.3092 | 36.4 | 83.1 | #N/A
36520 | 2021-02-23 19:57 | 39.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6626 | μmol/L | 25.7091 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.363 | 134541.0408 | 275964.3285 | 36.4 | 83.1 | #N/A
36530 | 2021-02-23 19:57 | 40.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.4478 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.372 | 134666.21 | 275970.9306 | 36.4 | 83.1 | #N/A
36540 | 2021-02-23 19:57 | 40.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3703 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.376 | 134572.4141 | 275953.7853 | 36.4 | 83.1 | #N/A
36550 | 2021-02-23 19:58 | 40.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1769 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.386 | 134685.8595 | 275942.0616 | 36.4 | 83.1 | #N/A
36560 | 2021-02-23 19:58 | 41.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1929 | μmol/L | 25.7275 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.381 | 134582.2692 | 275935.9459 | 36.4 | 83.1 | #N/A
36570 | 2021-02-23 19:58 | 41.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.2719 | μmol/L | 25.7214 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.379 | 134448.4323 | 275907.0831 | 36.4 | 83.1 | #N/A
36580 | 2021-02-23 19:59 | 41.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6514 | μmol/L | 25.6784 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.374 | 134433.5756 | 275908.2693 | 36.4 | 83.1 | #N/A
36590 | 2021-02-23 19:59 | 42.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3947 | μmol/L | 25.6968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.381 | 134422.3149 | 275894.5985 | 36.4 | 83.1 | #N/A
36600 | 2021-02-23 19:59 | 42.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3256 | μmol/L | 25.6661 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.395 | 134622.2071 | 275879.1302 | 36.4 | 83.1 | #N/A
36610 | 2021-02-23 20:00 | 42.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7906 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.406 | 134627.2833 | 275882.3404 | 36.4 | 83.1 | #N/A
36620 | 2021-02-23 20:00 | 43.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8712 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.406 | 134551.9639 | 275863.8848 | 36.4 | 83.1 | #N/A
36630 | 2021-02-23 20:00 | 43.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8393 | μmol/L | 25.6784 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.416 | 134563.3577 | 275835.7903 | 36.4 | 83.1 | #N/A
36640 | 2021-02-23 20:01 | 43.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5208 | μmol/L | 25.7152 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.42 | 134504.976 | 275818.7033 | 36.4 | 83.1 | #N/A
36650 | 2021-02-23 20:01 | 44.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6448 | μmol/L | 25.6845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.424 | 134609.1125 | 275811.5449 | 36.4 | 83.1 | #N/A
36660 | 2021-02-23 20:01 | 44.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7655 | μmol/L | 25.6661 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.424 | 134506.3801 | 275808.9247 | 36.4 | 83.1 | #N/A
36670 | 2021-02-23 20:02 | 44.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6448 | μmol/L | 25.6845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.424 | 134424.4267 | 275794.128 | 36.4 | 83.1 | #N/A
36680 | 2021-02-23 20:02 | 45.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8251 | μmol/L | 25.66 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.423 | 134535.3337 | 275784.5457 | 36.4 | 83.1 | #N/A
36690 | 2021-02-23 20:02 | 45.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5887 | μmol/L | 25.6784 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.429 | 134533.5755 | 275780.0084 | 36.4 | 83.1 | #N/A
36700 | 2021-02-23 20:03 | 45.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5519 | μmol/L | 25.6723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.433 | 134354.7444 | 275762.7602 | 36.4 | 83.1 | #N/A
36710 | 2021-02-23 20:03 | 46.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4941 | μmol/L | 25.6723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.436 | 134517.4173 | 275752.1731 | 36.4 | 83.1 | #N/A
36720 | 2021-02-23 20:03 | 46.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5536 | μmol/L | 25.6661 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.435 | 134520.6482 | 275738.6485 | 36.4 | 83.1 | #N/A
36730 | 2021-02-23 20:04 | 46.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6675 | μmol/L | 25.6723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.427 | 134251.727 | 275736.7178 | 36.4 | 83.1 | #N/A
36740 | 2021-02-23 20:04 | 47.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5661 | μmol/L | 25.6907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.426 | 134237.8169 | 275725.3012 | 36.4 | 83.1 | #N/A
36750 | 2021-02-23 20:04 | 47.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6239 | μmol/L | 25.6907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.423 | 134312.5056 | 275733.617 | 36.4 | 83.1 | #N/A
36760 | 2021-02-23 20:05 | 47.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6624 | μmol/L | 25.6907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.421 | 134165.0002 | 275729.0251 | 36.4 | 83.1 | #N/A
36770 | 2021-02-23 20:05 | 48.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5661 | μmol/L | 25.6907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.426 | 134202.0354 | 275700.1195 | 36.4 | 83.1 | #N/A
36780 | 2021-02-23 20:05 | 48.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3526 | μmol/L | 25.6968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.435 | 134328.1708 | 275701.907 | 36.4 | 83.1 | #N/A
36790 | 2021-02-23 20:06 | 48.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3894 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.431 | 134388.6265 | 275685.2 | 36.4 | 83.1 | #N/A
36800 | 2021-02-23 20:06 | 49.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3701 | μmol/L | 25.7029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.432 | 134239.9373 | 275679.4943 | 36.4 | 83.1 | #N/A
36810 | 2021-02-23 20:06 | 49.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3526 | μmol/L | 25.6968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.435 | 134198.3739 | 275662.0134 | 36.4 | 83.1 | #N/A
36820 | 2021-02-23 20:07 | 49.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4907 | μmol/L | 25.6845 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.432 | 134212.4099 | 275649.8204 | 36.4 | 83.1 | #N/A
36830 | 2021-02-23 20:07 | 50.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4941 | μmol/L | 25.6723 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.436 | 134185.4854 | 275634.4672 | 36.4 | 83.1 | #N/A
36840 | 2021-02-23 20:07 | 50.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5621 | μmol/L | 25.6354 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.445 | 134213.4484 | 275629.6573 | 36.4 | 83.1 | #N/A
36850 | 2021-02-23 20:08 | 50.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6232 | μmol/L | 25.6232 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.446 | 134184.1947 | 275601.8392 | 36.4 | 83.1 | #N/A
36860 | 2021-02-23 20:08 | 51.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3714 | μmol/L | 25.6293 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.457 | 134212.2927 | 275607.701 | 36.4 | 83.1 | #N/A
36870 | 2021-02-23 20:08 | 51.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1723 | μmol/L | 25.6539 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.459 | 134143.559 | 275593.8213 | 36.4 | 83.1 | #N/A
36880 | 2021-02-23 20:09 | 51.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1932 | μmol/L | 25.6477 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.46 | 134071.7047 | 275577.3309 | 36.4 | 83.1 | #N/A
36890 | 2021-02-23 20:09 | 52.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.291 | μmol/L | 25.6416 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.457 | 134032.3268 | 275575.2242 | 36.4 | 83.1 | #N/A
36900 | 2021-02-23 20:09 | 52.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.312 | μmol/L | 25.6354 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.458 | 134146.7507 | 275557.3776 | 36.4 | 83.1 | #N/A
36910 | 2021-02-23 20:10 | 52.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.2543 | μmol/L | 25.6354 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.461 | 134073.9304 | 275540.2444 | 36.4 | 83.1 | #N/A
36920 | 2021-02-23 20:10 | 53.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1757 | μmol/L | 25.6416 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.463 | 133884.4634 | 275531.9018 | 36.4 | 83.1 | #N/A
36930 | 2021-02-23 20:10 | 53.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.2001 | μmol/L | 25.6232 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.468 | 133980.7453 | 275517.1639 | 36.4 | 83.1 | #N/A
36940 | 2021-02-23 20:11 | 53.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4026 | μmol/L | 25.5863 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.47 | 134077.4393 | 275526.114 | 36.4 | 83.1 | #N/A
36950 | 2021-02-23 20:11 | 54.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6579 | μmol/L | 25.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.463 | 134025.1435 | 275517.8132 | 36.4 | 83.1 | #N/A
36960 | 2021-02-23 20:11 | 54.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5321 | μmol/L | 25.6048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.457 | 133843.9451 | 275501.3101 | 36.4 | 83.1 | #N/A
36970 | 2021-02-23 20:12 | 54.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6057 | μmol/L | 25.617 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.449 | 133847.3442 | 275481.9536 | 36.4 | 83.1 | #N/A
36980 | 2021-02-23 20:12 | 55.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6861 | μmol/L | 25.6048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.449 | 133821.8777 | 275484.1634 | 36.4 | 83.1 | #N/A
36990 | 2021-02-23 20:12 | 55.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7734 | μmol/L | 25.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.457 | 133713.5939 | 275472.5823 | 36.4 | 83.1 | #N/A
37000 | 2021-02-23 20:13 | 55.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7366 | μmol/L | 25.5618 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.461 | 133707.932 | 275465.1697 | 36.4 | 83.1 | #N/A
37010 | 2021-02-23 20:13 | 56.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7593 | μmol/L | 25.5495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.464 | 133866.3325 | 275464.9755 | 36.4 | 83.1 | #N/A
37020 | 2021-02-23 20:13 | 56.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7961 | μmol/L | 25.5557 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.46 | 133833.0337 | 275438.3114 | 36.4 | 83.1 | #N/A
37030 | 2021-02-23 20:14 | 56.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5407 | μmol/L | 25.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.467 | 133776.0025 | 275445.4756 | 36.4 | 83.1 | #N/A
37040 | 2021-02-23 20:14 | 57.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4043 | μmol/L | 25.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.472 | 133832.5538 | 275431.5205 | 36.4 | 83.1 | #N/A
37050 | 2021-02-23 20:14 | 57.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1703 | μmol/L | 25.5925 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.48 | 133969.3621 | 275437.2233 | 36.4 | 83.1 | #N/A
37060 | 2021-02-23 20:15 | 57.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.2296 | μmol/L | 25.5863 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.479 | 133939.4357 | 275420.8512 | 36.4 | 83.1 | #N/A
37070 | 2021-02-23 20:15 | 58.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.172 | μmol/L | 25.5863 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.482 | 134013.9831 | 275418.0272 | 36.4 | 83.1 | #N/A
37080 | 2021-02-23 20:15 | 58.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.2383 | μmol/L | 25.5557 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.489 | 133815.5785 | 275408.557 | 36.4 | 83.1 | #N/A
37090 | 2021-02-23 20:16 | 58.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1789 | μmol/L | 25.5618 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.49 | 133905.8881 | 275400.017 | 36.4 | 83.1 | #N/A
37100 | 2021-02-23 20:16 | 59.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1056 | μmol/L | 25.5495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.498 | 133810.4633 | 275377.4116 | 36.4 | 83.1 | #N/A
37110 | 2021-02-23 20:16 | 59.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3272 | μmol/L | 25.5127 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.499 | 134003.7587 | 275385.2538 | 36.4 | 83.1 | #N/A
37120 | 2021-02-23 20:17 | 59.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3691 | μmol/L | 25.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.501 | 133988.2433 | 275371.5686 | 36.4 | 83.1 | #N/A
37130 | 2021-02-23 20:17 | 60.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.57 | μmol/L | 25.4697 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.501 | 133883.9485 | 275370.4996 | 36.4 | 83.1 | #N/A
37140 | 2021-02-23 20:17 | 60.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5106 | μmol/L | 25.4759 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.502 | 133975.0903 | 275355.8822 | 36.4 | 83.1 | #N/A
37150 | 2021-02-23 20:18 | 60.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4354 | μmol/L | 25.4697 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.508 | 133848.0375 | 275357.7006 | 36.4 | 83.1 | #N/A
37160 | 2021-02-23 20:18 | 61.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3359 | μmol/L | 25.482 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.509 | 133889.7786 | 275348.367 | 36.4 | 83.1 | #N/A
37170 | 2021-02-23 20:18 | 61.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.39 | μmol/L | 25.4943 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.502 | 133911.8242 | 275346.6328 | 36.4 | 83.1 | #N/A
37180 | 2021-02-23 20:19 | 61.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4634 | μmol/L | 25.5066 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.494 | 133778.0303 | 275356.777 | 36.4 | 83.1 | #N/A
37190 | 2021-02-23 20:19 | 62.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5421 | μmol/L | 25.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.492 | 133591.9056 | 275340.5552 | 36.4 | 83.1 | #N/A
37200 | 2021-02-23 20:19 | 62.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5263 | μmol/L | 25.4881 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.497 | 133579.4092 | 275333.8632 | 36.4 | 83.1 | #N/A
37210 | 2021-02-23 20:20 | 62.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5054 | μmol/L | 25.4943 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.496 | 133787.2328 | 275323.7481 | 36.4 | 83.1 | #N/A
37220 | 2021-02-23 20:20 | 63.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5246 | μmol/L | 25.4943 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.495 | 133784.4151 | 275321.6156 | 36.4 | 83.1 | #N/A
37230 | 2021-02-23 20:20 | 63.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6469 | μmol/L | 25.4697 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.497 | 133733.1668 | 275308.0204 | 36.4 | 83.1 | #N/A
37240 | 2021-02-23 20:21 | 63.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.5927 | μmol/L | 25.4575 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.504 | 133828.8206 | 275312.1216 | 36.4 | 83.1 | #N/A
37250 | 2021-02-23 20:21 | 64.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6171 | μmol/L | 25.4391 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.509 | 133982.6108 | 275330.8079 | 36.4 | 83.1 | #N/A
37260 | 2021-02-23 20:21 | 64.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4232 | μmol/L | 25.4452 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.517 | 133926.3201 | 275303.9483 | 36.4 | 83.1 | #N/A
37270 | 2021-02-23 20:22 | 64.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7202 | μmol/L | 25.4145 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.512 | 133951.8852 | 275299.4831 | 36.4 | 83.1 | #N/A
37280 | 2021-02-23 20:22 | 65.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6818 | μmol/L | 25.4145 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.514 | 134082.9958 | 275294.7967 | 36.4 | 83.1 | #N/A
37290 | 2021-02-23 20:22 | 65.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7433 | μmol/L | 25.4268 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.507 | 133881.1792 | 275283.4924 | 36.4 | 83.1 | #N/A
37300 | 2021-02-23 20:23 | 65.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6398 | μmol/L | 25.4268 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.512 | 133832.6293 | 275277.6526 | 36.4 | 83.1 | #N/A
37310 | 2021-02-23 20:23 | 66.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7587 | μmol/L | 25.4145 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.51 | 133831.7724 | 275272.9595 | 36.4 | 83.1 | #N/A
37320 | 2021-02-23 20:23 | 66.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8199 | μmol/L | 25.4022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.511 | 133749.8505 | 275269.2931 | 36.4 | 83.1 | #N/A
37330 | 2021-02-23 20:24 | 66.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.7537 | μmol/L | 25.39 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.519 | 133859.7785 | 275280.5228 | 36.4 | 83.1 | #N/A
37340 | 2021-02-23 20:24 | 67.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6191 | μmol/L | 25.39 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.526 | 133951.6466 | 275269.4941 | 36.4 | 83.1 | #N/A
37350 | 2021-02-23 20:24 | 67.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6171 | μmol/L | 25.3715 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.532 | 133866.024 | 275273.669 | 36.4 | 83.1 | #N/A
37360 | 2021-02-23 20:25 | 67.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4232 | μmol/L | 25.3777 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.54 | 134029.9271 | 275268.194 | 36.4 | 83.1 | #N/A
37370 | 2021-02-23 20:25 | 68.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9335 | μmol/L | 25.4391 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.545 | 134058.7664 | 275265.0231 | 36.4 | 83.1 | #N/A
37380 | 2021-02-23 20:25 | 68.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.8952 | μmol/L | 25.4391 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.547 | 134148.6652 | 275262.4431 | 36.4 | 83.1 | #N/A
37390 | 2021-02-23 20:26 | 68.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.8587 | μmol/L | 25.4329 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.551 | 134005.0377 | 275241.1101 | 36.4 | 83.1 | #N/A
37400 | 2021-02-23 20:26 | 69.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.8048 | μmol/L | 25.4206 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.558 | 134115.6705 | 275239.3813 | 36.4 | 83.1 | #N/A
37410 | 2021-02-23 20:26 | 69.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.5091 | μmol/L | 25.4513 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.563 | 134119.998 | 275228.298 | 36.4 | 83.1 | #N/A
37420 | 2021-02-23 20:27 | 69.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9494 | μmol/L | 25.3838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.563 | 134179.7951 | 275225.9613 | 36.4 | 83.1 | #N/A
37430 | 2021-02-23 20:27 | 70.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.0888 | μmol/L | 25.3654 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.562 | 134379.0119 | 275214.0391 | 36.4 | 83.1 | #N/A
37440 | 2021-02-23 20:27 | 70.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1027 | μmol/L | 25.3838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.555 | 134357.4472 | 275218.7484 | 36.4 | 83.1 | #N/A
37450 | 2021-02-23 20:28 | 70.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9371 | μmol/L | 25.4268 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.549 | 134171.5889 | 275200.6637 | 36.4 | 83.1 | #N/A
37460 | 2021-02-23 20:28 | 71.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.0674 | μmol/L | 25.4145 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.546 | 134198.9599 | 275197.3922 | 36.4 | 83.1 | #N/A
37470 | 2021-02-23 20:28 | 71.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9298 | μmol/L | 25.4268 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.549 | 134479.458 | 275199.8274 | 36.4 | 83.1 | #N/A
37480 | 2021-02-23 20:29 | 71.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.7577 | μmol/L | 25.4513 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.55 | 134597.6186 | 275201.3576 | 36.4 | 83.1 | #N/A
37490 | 2021-02-23 20:29 | 72.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9318 | μmol/L | 25.4452 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.543 | 134540.6183 | 275190.1417 | 36.4 | 83.1 | #N/A
37500 | 2021-02-23 20:29 | 72.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9527 | μmol/L | 25.4391 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.544 | 134833.4169 | 275179.1013 | 36.4 | 83.1 | #N/A
37510 | 2021-02-23 20:30 | 72.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.6268 | μmol/L | 25.482 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.546 | 134843.8058 | 275180.4166 | 36.4 | 83.1 | #N/A
37520 | 2021-02-23 20:30 | 73.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.4203 | μmol/L | 25.4943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.553 | 134868.9879 | 275167.7803 | 36.4 | 83.1 | #N/A
37530 | 2021-02-23 20:30 | 73.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.5193 | μmol/L | 25.482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.552 | 134892.6657 | 275162.3169 | 36.4 | 83.1 | #N/A
37540 | 2021-02-23 20:31 | 73.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.4394 | μmol/L | 25.4943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.552 | 134903.5318 | 275157.4176 | 36.4 | 83.1 | #N/A
37550 | 2021-02-23 20:31 | 74.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.295 | μmol/L | 25.5311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.547 | 134863.1015 | 275154.5794 | 36.4 | 83.1 | #N/A
37560 | 2021-02-23 20:31 | 74.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.295 | μmol/L | 25.5311 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.547 | 134815.1735 | 275143.9485 | 36.4 | 83.1 | #N/A
37570 | 2021-02-23 20:32 | 74.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.097 | μmol/L | 25.5557 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.549 | 134829.9391 | 275139.6703 | 36.4 | 83.1 | #N/A
37580 | 2021-02-23 20:32 | 75.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.833 | μmol/L | 25.5863 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.552 | 134923.1202 | 275153.5113 | 36.4 | 83.1 | #N/A
37590 | 2021-02-23 20:32 | 75.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6064 | μmol/L | 25.6048 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.558 | 134969.4132 | 275143.0087 | 36.4 | 83.1 | #N/A
37600 | 2021-02-23 20:33 | 75.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.4126 | μmol/L | 25.617 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.564 | 135031.3098 | 275152.3628 | 36.4 | 83.1 | #N/A
37610 | 2021-02-23 20:33 | 76.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3728 | μmol/L | 25.6232 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.564 | 135067.4756 | 275130.285 | 36.4 | 83.1 | #N/A
37620 | 2021-02-23 20:33 | 76.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.4968 | μmol/L | 25.6293 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.555 | 135070.0879 | 275134.6795 | 36.4 | 83.1 | #N/A
37630 | 2021-02-23 20:34 | 76.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.4118 | μmol/L | 25.66 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.549 | 135146.6411 | 275126.7072 | 36.4 | 83.1 | #N/A
37640 | 2021-02-23 20:34 | 77.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.4554 | μmol/L | 25.6661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.545 | 135052.7159 | 275132.4645 | 36.4 | 83.1 | #N/A
37650 | 2021-02-23 20:34 | 77.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.4899 | μmol/L | 25.6784 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.539 | 134947.7896 | 275136.8452 | 36.4 | 83.1 | #N/A
37660 | 2021-02-23 20:35 | 77.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.5851 | μmol/L | 25.6784 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.534 | 134887.0775 | 275123.1848 | 36.4 | 83.1 | #N/A
37670 | 2021-02-23 20:35 | 78.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7357 | μmol/L | 25.6845 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.524 | 134830.8415 | 275124.3401 | 36.4 | 83.1 | #N/A
37680 | 2021-02-23 20:35 | 78.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7149 | μmol/L | 25.6907 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.523 | 134965.3948 | 275129.8039 | 36.4 | 83.1 | #N/A
37690 | 2021-02-23 20:36 | 78.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7339 | μmol/L | 25.6907 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.522 | 135026.6547 | 275112.5472 | 36.4 | 83.1 | #N/A
37700 | 2021-02-23 20:36 | 79.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7685 | μmol/L | 25.7029 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 134835.1925 | 275118.0279 | 36.4 | 83.1 | #N/A
37710 | 2021-02-23 20:36 | 79.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8639 | μmol/L | 25.7029 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 134804.7206 | 275112.9717 | 36.4 | 83.1 | #N/A
37720 | 2021-02-23 20:37 | 79.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9311 | μmol/L | 25.7091 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.505 | 134916.1624 | 275101.2401 | 36.4 | 83.1 | #N/A
37730 | 2021-02-23 20:37 | 80.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9887 | μmol/L | 25.7336 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.494 | 134890.6042 | 275098.3948 | 36.4 | 83.1 | #N/A
37740 | 2021-02-23 20:37 | 80.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8308 | μmol/L | 25.752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.496 | 134933.3957 | 275088.1412 | 36.4 | 83.1 | #N/A
37750 | 2021-02-23 20:38 | 80.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9262 | μmol/L | 25.752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.491 | 134831.4398 | 275096.5141 | 36.4 | 83.1 | #N/A
37760 | 2021-02-23 20:38 | 81.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8008 | μmol/L | 25.7643 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.493 | 134901.8807 | 275088.56 | 36.4 | 83.1 | #N/A
37770 | 2021-02-23 20:38 | 81.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6222 | μmol/L | 25.7889 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.494 | 134938.3542 | 275091.6098 | 36.4 | 83.1 | #N/A
37780 | 2021-02-23 20:39 | 81.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6239 | μmol/L | 25.7827 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.496 | 134991.4375 | 275081.4723 | 36.4 | 83.1 | #N/A
37790 | 2021-02-23 20:39 | 82.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.5205 | μmol/L | 25.7705 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134943.9542 | 275079.1983 | 36.4 | 83.1 | #N/A
37800 | 2021-02-23 20:39 | 82.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6055 | μmol/L | 25.7398 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.512 | 134942.0873 | 275082.0328 | 36.4 | 83.1 | #N/A
37810 | 2021-02-23 20:40 | 82.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.5999 | μmol/L | 25.7336 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.514 | 134978.2962 | 275082.3805 | 36.4 | 83.1 | #N/A
37820 | 2021-02-23 20:40 | 83.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3907 | μmol/L | 25.7582 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.517 | 134913.9406 | 275065.5989 | 36.4 | 83.1 | #N/A
37830 | 2021-02-23 20:40 | 83.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3471 | μmol/L | 25.752 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.521 | 134937.9623 | 275075.2168 | 36.4 | 83.1 | #N/A
37840 | 2021-02-23 20:41 | 83.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3319 | μmol/L | 25.7643 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.518 | 134746.4254 | 275064.6886 | 36.4 | 83.1 | #N/A
37850 | 2021-02-23 20:41 | 84.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.2107 | μmol/L | 25.7889 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 134739.7203 | 275067.7605 | 36.4 | 83.1 | #N/A
37860 | 2021-02-23 20:41 | 84.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.2124 | μmol/L | 25.7827 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.518 | 134863.33 | 275059.0542 | 36.4 | 83.1 | #N/A
37870 | 2021-02-23 20:42 | 84.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9583 | μmol/L | 25.8073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.523 | 134659.9734 | 275064.7499 | 36.4 | 83.1 | #N/A
37880 | 2021-02-23 20:42 | 85.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.877 | μmol/L | 25.8257 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.521 | 134688.9926 | 275054.1753 | 36.4 | 83.1 | #N/A
37890 | 2021-02-23 20:42 | 85.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.934 | μmol/L | 25.8257 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.518 | 134792.497 | 275066.7818 | 36.4 | 83.1 | #N/A
37900 | 2021-02-23 20:43 | 85.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7009 | μmol/L | 25.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.524 | 134898.9297 | 275060.4567 | 36.4 | 83.1 | #N/A
37910 | 2021-02-23 20:43 | 86.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7269 | μmol/L | 25.8196 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.531 | 135031.4679 | 275055.1135 | 36.4 | 83.1 | #N/A
37920 | 2021-02-23 20:43 | 86.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.11 | μmol/L | 25.7827 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.523 | 134952.0892 | 275041.8691 | 36.4 | 83.1 | #N/A
37930 | 2021-02-23 20:44 | 86.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1346 | μmol/L | 25.7889 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.52 | 134873.4513 | 275038.231 | 36.4 | 83.1 | #N/A
37940 | 2021-02-23 20:44 | 87.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1483 | μmol/L | 25.8073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.513 | 134672.2109 | 275031.1482 | 36.4 | 83.1 | #N/A
37950 | 2021-02-23 20:44 | 87.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8058 | μmol/L | 25.8748 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.508 | 134823.8169 | 275039.9346 | 36.4 | 83.1 | #N/A
37960 | 2021-02-23 20:45 | 87.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6677 | μmol/L | 25.8932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.509 | 134789.0735 | 275046.2041 | 36.4 | 83.1 | #N/A
37970 | 2021-02-23 20:45 | 88.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7643 | μmol/L | 25.8871 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134704.5962 | 275052.8722 | 36.4 | 83.1 | #N/A
37980 | 2021-02-23 20:45 | 88.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8231 | μmol/L | 25.8809 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.505 | 134694.7922 | 275061.7592 | 36.4 | 83.1 | #N/A
37990 | 2021-02-23 20:46 | 88.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.0444 | μmol/L | 25.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.508 | 134666.0975 | 275045.3913 | 36.4 | 83.1 | #N/A
38000 | 2021-02-23 20:46 | 89.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9233 | μmol/L | 25.8625 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134636.4315 | 275062.9291 | 36.4 | 83.1 | #N/A
38010 | 2021-02-23 20:46 | 89.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7246 | μmol/L | 25.8932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134732.1622 | 275039.4606 | 36.4 | 83.1 | #N/A
38020 | 2021-02-23 20:47 | 89.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.4916 | μmol/L | 25.9116 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.512 | 134684.2243 | 275044.7251 | 36.4 | 83.1 | #N/A
38030 | 2021-02-23 20:47 | 90.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.5503 | μmol/L | 25.9055 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 134645.5924 | 275040.6315 | 36.4 | 83.1 | #N/A
38040 | 2021-02-23 20:47 | 90.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7851 | μmol/L | 25.8809 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.507 | 134517.1318 | 275032.4515 | 36.4 | 83.1 | #N/A
38050 | 2021-02-23 20:48 | 90.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7643 | μmol/L | 25.8871 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134495.2402 | 275035.2309 | 36.4 | 83.1 | #N/A
38060 | 2021-02-23 20:48 | 91.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6624 | μmol/L | 25.9116 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.503 | 134614.9076 | 275028.3136 | 36.4 | 83.1 | #N/A
38070 | 2021-02-23 20:48 | 91.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8421 | μmol/L | 25.8809 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.504 | 134631.4763 | 275025.9164 | 36.4 | 83.1 | #N/A
38080 | 2021-02-23 20:49 | 91.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7056 | μmol/L | 25.8932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.507 | 134634.4003 | 275021.7188 | 36.4 | 83.1 | #N/A
38090 | 2021-02-23 20:49 | 92.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8456 | μmol/L | 25.8687 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.508 | 134624.1798 | 275015.1668 | 36.4 | 83.1 | #N/A
38100 | 2021-02-23 20:49 | 92.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1205 | μmol/L | 25.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.504 | 134543.9499 | 275015.5947 | 36.4 | 83.1 | #N/A
38110 | 2021-02-23 20:50 | 92.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.0046 | μmol/L | 25.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.508 | 134331.1373 | 275013.8651 | 36.4 | 83.1 | #N/A
38120 | 2021-02-23 20:50 | 93.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9476 | μmol/L | 25.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 134474.9216 | 275008.7738 | 36.4 | 83.1 | #N/A
38130 | 2021-02-23 20:50 | 93.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9097 | μmol/L | 25.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.513 | 134426.2569 | 275019.5679 | 36.4 | 83.1 | #N/A
38140 | 2021-02-23 20:51 | 93.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.972 | μmol/L | 25.8257 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 134449.5667 | 275017.2193 | 36.4 | 83.1 | #N/A
38150 | 2021-02-23 20:51 | 94.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7335 | μmol/L | 25.8625 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 134580.9957 | 275012.0697 | 36.4 | 83.1 | #N/A
38160 | 2021-02-23 20:51 | 94.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8129 | μmol/L | 25.8502 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 134521.1746 | 275010.994 | 36.4 | 83.1 | #N/A
38170 | 2021-02-23 20:52 | 94.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7524 | μmol/L | 25.8625 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.515 | 134623.5686 | 275009.7727 | 36.4 | 83.1 | #N/A
38180 | 2021-02-23 20:52 | 95.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6196 | μmol/L | 25.8625 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.522 | 134619.634 | 275001.5434 | 36.4 | 83.1 | #N/A
38190 | 2021-02-23 20:52 | 95.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7975 | μmol/L | 25.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.521 | 134566.6451 | 274998.2191 | 36.4 | 83.1 | #N/A
38200 | 2021-02-23 20:53 | 95.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7957 | μmol/L | 25.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.519 | 134389.3299 | 274993.7911 | 36.4 | 83.1 | #N/A
38210 | 2021-02-23 20:53 | 96.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9357 | μmol/L | 25.8196 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.52 | 134402.8618 | 274998.1392 | 36.4 | 83.1 | #N/A