## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43022 | 2021-03-17 11:23 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5892 | μmol/L | 12.6942 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.538 | 120207.6044 | 306644.2281 | 30.45 | 114.2
43032 | 2021-03-17 11:24 | 0.32958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5174 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.539 | 120189.3475 | 306622.0335 | 30.45 | 114.2
43042 | 2021-03-17 11:24 | 0.66336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.539 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.538 | 120150.5297 | 306601.2398 | 30.45 | 114.2
43052 | 2021-03-17 11:24 | 0.99683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.604 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.535 | 120127.4818 | 306570.6801 | 30.45 | 114.2
43062 | 2021-03-17 11:25 | 1.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.604 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.535 | 120090.7804 | 306528.5613 | 30.45 | 114.2
43072 | 2021-03-17 11:25 | 1.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5823 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.536 | 120066.2713 | 306526.4825 | 30.45 | 114.2
43082 | 2021-03-17 11:25 | 1.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.7477 | μmol/L | 12.688 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.533 | 120027.5508 | 306473.3 | 30.45 | 114.2
43092 | 2021-03-17 11:26 | 2.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.539 | μmol/L | 12.7003 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.538 | 120023.8098 | 306454.2097 | 30.45 | 114.2
43102 | 2021-03-17 11:26 | 2.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5105 | μmol/L | 12.7064 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.537 | 119983.3542 | 306418.3098 | 30.45 | 114.2
43112 | 2021-03-17 11:26 | 2.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5972 | μmol/L | 12.7064 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.533 | 119959.3905 | 306403.4152 | 30.45 | 114.2
43122 | 2021-03-17 11:27 | 3.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5037 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.535 | 119931.905 | 306365.1177 | 30.45 | 114.2
43132 | 2021-03-17 11:27 | 3.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4604 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.537 | 119902.3742 | 306312.1746 | 30.45 | 114.2
43142 | 2021-03-17 11:27 | 3.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4672 | μmol/L | 12.7064 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.539 | 119877.6709 | 306294.5216 | 30.45 | 114.2
43152 | 2021-03-17 11:28 | 4.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5471 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.533 | 119855.6465 | 306266.4877 | 30.45 | 114.2
43162 | 2021-03-17 11:28 | 4.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4753 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.534 | 119831.4536 | 306242.3017 | 30.45 | 114.2
43172 | 2021-03-17 11:28 | 4.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5037 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.535 | 119798.7467 | 306223.1159 | 30.45 | 114.2
43182 | 2021-03-17 11:29 | 5.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4821 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.536 | 119775.1906 | 306175.22 | 30.45 | 114.2
43192 | 2021-03-17 11:29 | 5.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5687 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.532 | 119758.3643 | 306150.5051 | 30.45 | 114.2
43202 | 2021-03-17 11:29 | 5.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4536 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.535 | 119734.4251 | 306128.6103 | 30.45 | 114.2
43212 | 2021-03-17 11:30 | 6.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5687 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.532 | 119714.0985 | 306101.9918 | 30.45 | 114.2
43222 | 2021-03-17 11:30 | 6.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6121 | μmol/L | 12.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119685.069 | 306065.8918 | 30.45 | 114.2
43232 | 2021-03-17 11:30 | 6.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5836 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119659.6319 | 306041.0637 | 30.45 | 114.2
43242 | 2021-03-17 11:31 | 7.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5118 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119645.3414 | 306026.4899 | 30.45 | 114.2
43252 | 2021-03-17 11:31 | 7.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5186 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.532 | 119618.6011 | 305994.6363 | 30.45 | 114.2
43262 | 2021-03-17 11:31 | 7.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5403 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.531 | 119599.7008 | 305970.8404 | 30.45 | 114.2
43272 | 2021-03-17 11:32 | 8.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5619 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119577.197 | 305944.2803 | 30.45 | 114.2
43282 | 2021-03-17 11:32 | 8.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5836 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119553.9474 | 305918.7466 | 30.45 | 114.2
43292 | 2021-03-17 11:32 | 8.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6053 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119534.987 | 305896.1391 | 30.45 | 114.2
43302 | 2021-03-17 11:33 | 9.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5186 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.532 | 119511.4008 | 305866.6605 | 30.45 | 114.2
43312 | 2021-03-17 11:33 | 9.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5619 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119502.1106 | 305843.0233 | 30.45 | 114.2
43322 | 2021-03-17 11:33 | 9.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6269 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.527 | 119471.1126 | 305810.6816 | 30.45 | 114.2
43332 | 2021-03-17 11:34 | 10.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5335 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119444.9103 | 305793.0669 | 30.45 | 114.2
43342 | 2021-03-17 11:34 | 10.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6053 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119430.5383 | 305763.8673 | 30.45 | 114.2
43352 | 2021-03-17 11:34 | 10.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5335 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119414.7107 | 305748.1554 | 30.45 | 114.2
43362 | 2021-03-17 11:35 | 11.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5836 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119399.1141 | 305723.9972 | 30.45 | 114.2
43372 | 2021-03-17 11:35 | 11.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6418 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 119387.0042 | 305702.7238 | 30.45 | 114.2
43382 | 2021-03-17 11:35 | 11.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6201 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119368.1365 | 305683.987 | 30.45 | 114.2
43392 | 2021-03-17 11:36 | 12.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5768 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.527 | 119351.6116 | 305659.8041 | 30.45 | 114.2
43402 | 2021-03-17 11:36 | 12.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5551 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119328.7343 | 305644.6416 | 30.45 | 114.2
43412 | 2021-03-17 11:36 | 12.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5118 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119306.7118 | 305611.9545 | 30.45 | 114.2
43422 | 2021-03-17 11:37 | 13.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5335 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119298.0784 | 305582.6777 | 30.45 | 114.2
43432 | 2021-03-17 11:37 | 13.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4617 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119290.4008 | 305578.9433 | 30.45 | 114.2
43442 | 2021-03-17 11:37 | 13.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6703 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119270.2679 | 305540.7922 | 30.45 | 114.2
43452 | 2021-03-17 11:38 | 14.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6053 | μmol/L | 12.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119255.5826 | 305528.6714 | 30.45 | 114.2
43462 | 2021-03-17 11:38 | 14.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4834 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 119226.6844 | 305496.4456 | 30.45 | 114.2
43472 | 2021-03-17 11:38 | 14.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5768 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.527 | 119210.6976 | 305484.7576 | 30.45 | 114.2
43482 | 2021-03-17 11:39 | 15.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5551 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119210.3566 | 305474.5382 | 30.45 | 114.2
43492 | 2021-03-17 11:39 | 15.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5985 | μmol/L | 12.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.526 | 119181.9145 | 305437.5546 | 30.45 | 114.2
43502 | 2021-03-17 11:39 | 15.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.57 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119173.0951 | 305420.0833 | 30.45 | 114.2
43512 | 2021-03-17 11:40 | 16.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5199 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119153.7442 | 305399.2419 | 30.45 | 114.2
43522 | 2021-03-17 11:40 | 16.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.57 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119137.6773 | 305377.7464 | 30.45 | 114.2
43532 | 2021-03-17 11:40 | 16.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5484 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.526 | 119130.4362 | 305363.0407 | 30.45 | 114.2
43542 | 2021-03-17 11:41 | 17.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4116 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 119115.594 | 305348.5726 | 30.45 | 114.2
43552 | 2021-03-17 11:41 | 17.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5917 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 119091.5171 | 305306.5507 | 30.45 | 114.2
43562 | 2021-03-17 11:41 | 17.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.57 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 119079.8245 | 305298.0831 | 30.45 | 114.2
43572 | 2021-03-17 11:42 | 18.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5484 | μmol/L | 12.731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.526 | 119075.2443 | 305272.6406 | 30.45 | 114.2
43582 | 2021-03-17 11:42 | 18.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5416 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 119048.7321 | 305266.7341 | 30.45 | 114.2
43592 | 2021-03-17 11:42 | 18.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4549 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119037.5054 | 305246.1925 | 30.45 | 114.2
43602 | 2021-03-17 11:43 | 19.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4983 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.526 | 119019.9974 | 305221.8509 | 30.45 | 114.2
43612 | 2021-03-17 11:43 | 19.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4049 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.528 | 119007.1551 | 305208.3869 | 30.45 | 114.2
43622 | 2021-03-17 11:43 | 19.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5633 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118988.4399 | 305172.2969 | 30.45 | 114.2
43632 | 2021-03-17 11:44 | 20.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5199 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118972.1883 | 305158.1823 | 30.45 | 114.2
43642 | 2021-03-17 11:44 | 20.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4983 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.526 | 118952.8847 | 305143.3661 | 30.45 | 114.2
43652 | 2021-03-17 11:44 | 20.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3616 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 118944.3957 | 305133.1376 | 30.45 | 114.2
43662 | 2021-03-17 11:45 | 21.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4198 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118931.9304 | 305110.0098 | 30.45 | 114.2
43672 | 2021-03-17 11:45 | 21.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4631 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118912.6342 | 305086.9248 | 30.45 | 114.2
43682 | 2021-03-17 11:45 | 21.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5348 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118898.6657 | 305064.3411 | 30.45 | 114.2
43692 | 2021-03-17 11:46 | 22.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5348 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118880.5143 | 305042.2502 | 30.45 | 114.2
43702 | 2021-03-17 11:46 | 22.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4698 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118860.8116 | 305015.2526 | 30.45 | 114.2
43712 | 2021-03-17 11:46 | 22.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4265 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.527 | 118857.1777 | 305010.2536 | 30.45 | 114.2
43722 | 2021-03-17 11:47 | 23.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5132 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118829.947 | 304973.0318 | 30.45 | 114.2
43732 | 2021-03-17 11:47 | 23.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4698 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118824.2756 | 304968.6388 | 30.45 | 114.2
43742 | 2021-03-17 11:47 | 23.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5416 | μmol/L | 12.7371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 118808.8158 | 304953.4478 | 30.45 | 114.2
43752 | 2021-03-17 11:48 | 24.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4631 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118804.4209 | 304946.2716 | 30.45 | 114.2
43762 | 2021-03-17 11:48 | 24.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4631 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118784.646 | 304921.1693 | 30.45 | 114.2
43772 | 2021-03-17 11:48 | 24.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4198 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118765.5919 | 304904.7509 | 30.45 | 114.2
43782 | 2021-03-17 11:49 | 25.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4414 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 118758.8095 | 304886.8264 | 30.45 | 114.2
43792 | 2021-03-17 11:49 | 25.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5064 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118746.0506 | 304876.4589 | 30.45 | 114.2
43802 | 2021-03-17 11:49 | 25.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4847 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118728.9724 | 304847.0342 | 30.45 | 114.2
43812 | 2021-03-17 11:50 | 26.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4847 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118718.2132 | 304841.5018 | 30.45 | 114.2
43822 | 2021-03-17 11:50 | 26.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5064 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118702.0193 | 304833.6754 | 30.45 | 114.2
43832 | 2021-03-17 11:50 | 26.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5064 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118693.4577 | 304806.3568 | 30.45 | 114.2
43842 | 2021-03-17 11:51 | 27.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4563 | μmol/L | 12.7555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118676.3477 | 304784.2846 | 30.45 | 114.2
43852 | 2021-03-17 11:51 | 27.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.413 | μmol/L | 12.7555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118668.2916 | 304784.5867 | 30.45 | 114.2
43862 | 2021-03-17 11:51 | 27.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5781 | μmol/L | 12.7432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118650.7264 | 304763.8401 | 30.45 | 114.2
43872 | 2021-03-17 11:52 | 28.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4062 | μmol/L | 12.7616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118637.872 | 304738.5085 | 30.45 | 114.2
43882 | 2021-03-17 11:52 | 28.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4996 | μmol/L | 12.7555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118628.1397 | 304719.1798 | 30.45 | 114.2
43892 | 2021-03-17 11:52 | 28.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5064 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118619.9509 | 304725.9509 | 30.45 | 114.2
43902 | 2021-03-17 11:53 | 29.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.478 | μmol/L | 12.7555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118602.8952 | 304698.5808 | 30.45 | 114.2
43912 | 2021-03-17 11:53 | 29.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4631 | μmol/L | 12.7494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118587.2039 | 304687.543 | 30.45 | 114.2
43922 | 2021-03-17 11:53 | 29.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4563 | μmol/L | 12.7555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118582.2951 | 304682.1089 | 30.45 | 114.2
43932 | 2021-03-17 11:54 | 30.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4496 | μmol/L | 12.7616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118567.8265 | 304667.3379 | 30.45 | 114.2
43942 | 2021-03-17 11:54 | 30.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3629 | μmol/L | 12.7616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118561.8066 | 304655.3536 | 30.45 | 114.2
43952 | 2021-03-17 11:54 | 30.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3846 | μmol/L | 12.7616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118550.1536 | 304614.5358 | 30.45 | 114.2
43962 | 2021-03-17 11:55 | 31.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3778 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118532.3178 | 304601.5892 | 30.45 | 114.2
43972 | 2021-03-17 11:55 | 31.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4428 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118525.3879 | 304599.4884 | 30.45 | 114.2
43982 | 2021-03-17 11:55 | 31.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3778 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118508.3787 | 304589.6052 | 30.45 | 114.2
43992 | 2021-03-17 11:56 | 32.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3778 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118500.6312 | 304557.5137 | 30.45 | 114.2
44002 | 2021-03-17 11:56 | 32.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3995 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118486.485 | 304555.281 | 30.45 | 114.2
44012 | 2021-03-17 11:56 | 32.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3995 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118473.6784 | 304527.1586 | 30.45 | 114.2
44022 | 2021-03-17 11:57 | 33.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3129 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118469.1879 | 304524.9937 | 30.45 | 114.2
44032 | 2021-03-17 11:57 | 33.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3345 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118461.913 | 304510.8182 | 30.45 | 114.2
44042 | 2021-03-17 11:57 | 33.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3562 | μmol/L | 12.7678 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118446.3216 | 304500.9053 | 30.45 | 114.2
44052 | 2021-03-17 11:58 | 34.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3278 | μmol/L | 12.7739 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118435.9026 | 304490.057 | 30.45 | 114.2
44062 | 2021-03-17 11:58 | 34.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2412 | μmol/L | 12.7739 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 118425.0688 | 304484.3194 | 30.45 | 114.2
44072 | 2021-03-17 11:58 | 34.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2629 | μmol/L | 12.7739 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118421.2041 | 304458.7417 | 30.45 | 114.2
44082 | 2021-03-17 11:59 | 35.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3673 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118406.8707 | 304457.8306 | 30.45 | 114.2
44092 | 2021-03-17 11:59 | 35.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3023 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118395.7313 | 304454.2692 | 30.45 | 114.2
44102 | 2021-03-17 11:59 | 35.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2956 | μmol/L | 12.78 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118386.7141 | 304428.6057 | 30.45 | 114.2
44112 | 2021-03-17 12:00 | 36.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2778 | μmol/L | 12.78 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118381.1122 | 304414.658 | 30.45 | 114.2
44122 | 2021-03-17 12:00 | 36.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3605 | μmol/L | 12.78 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 118372.1629 | 304401.1763 | 30.45 | 114.2
44132 | 2021-03-17 12:00 | 36.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2994 | μmol/L | 12.78 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118357.6554 | 304401.6936 | 30.45 | 114.2
44142 | 2021-03-17 12:01 | 37.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.324 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118349.1794 | 304382.9995 | 30.45 | 114.2
44152 | 2021-03-17 12:01 | 37.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2778 | μmol/L | 12.78 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118337.5827 | 304379.2259 | 30.45 | 114.2
44162 | 2021-03-17 12:01 | 37.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2807 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118336.7737 | 304361.6805 | 30.45 | 114.2
44172 | 2021-03-17 12:02 | 38.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.159 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.523 | 118325.5073 | 304355.6275 | 30.45 | 114.2
44182 | 2021-03-17 12:02 | 38.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2523 | μmol/L | 12.78 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118314.2025 | 304338.9257 | 30.45 | 114.2
44192 | 2021-03-17 12:02 | 38.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2023 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118299.4365 | 304325.8826 | 30.45 | 114.2
44202 | 2021-03-17 12:03 | 39.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3889 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118292.3199 | 304314.8633 | 30.45 | 114.2
44212 | 2021-03-17 12:03 | 39.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3456 | μmol/L | 12.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118288.1925 | 304306.2987 | 30.45 | 114.2
44222 | 2021-03-17 12:03 | 39.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2672 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118281.3327 | 304312.5405 | 30.45 | 114.2
44232 | 2021-03-17 12:04 | 40.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2456 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118264.1441 | 304285.2855 | 30.45 | 114.2
44242 | 2021-03-17 12:04 | 40.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3172 | μmol/L | 12.78 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118258.6865 | 304286.9499 | 30.45 | 114.2
44252 | 2021-03-17 12:04 | 40.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2239 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118246.4934 | 304264.6912 | 30.45 | 114.2
44262 | 2021-03-17 12:05 | 41.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3538 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.514 | 118245.1516 | 304266.9191 | 30.45 | 114.2
44272 | 2021-03-17 12:05 | 41.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1739 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118235.3153 | 304247.3543 | 30.45 | 114.2
44282 | 2021-03-17 12:05 | 41.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2456 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118233.7374 | 304246.0041 | 30.45 | 114.2
44292 | 2021-03-17 12:06 | 42.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3321 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.515 | 118217.3656 | 304219.1594 | 30.45 | 114.2
44302 | 2021-03-17 12:06 | 42.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2456 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118213.3409 | 304229.5798 | 30.45 | 114.2
44312 | 2021-03-17 12:06 | 42.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1739 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118203.0427 | 304219.4712 | 30.45 | 114.2
44322 | 2021-03-17 12:07 | 43.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2023 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118198.9481 | 304207.724 | 30.45 | 114.2
44332 | 2021-03-17 12:07 | 43.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1456 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118191.9042 | 304199.2796 | 30.45 | 114.2
44342 | 2021-03-17 12:07 | 43.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1955 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118185.1812 | 304195.1807 | 30.45 | 114.2
44352 | 2021-03-17 12:08 | 44.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2456 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118177.1049 | 304183.6 | 30.45 | 114.2
44362 | 2021-03-17 12:08 | 44.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2388 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118165.1899 | 304170.4009 | 30.45 | 114.2
44372 | 2021-03-17 12:08 | 44.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2239 | μmol/L | 12.7862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118155.9476 | 304156.173 | 30.45 | 114.2
44382 | 2021-03-17 12:09 | 45.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1239 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118151.183 | 304136.7903 | 30.45 | 114.2
44392 | 2021-03-17 12:09 | 45.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1955 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118158.9883 | 304143.3023 | 30.45 | 114.2
44402 | 2021-03-17 12:09 | 45.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1888 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118146.5076 | 304145.6513 | 30.45 | 114.2
44412 | 2021-03-17 12:10 | 46.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2605 | μmol/L | 12.7923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 118135.6283 | 304125.5693 | 30.45 | 114.2
44422 | 2021-03-17 12:10 | 46.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1672 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118126.4485 | 304126.2029 | 30.45 | 114.2
44432 | 2021-03-17 12:10 | 46.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1456 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118128.7691 | 304110.9551 | 30.45 | 114.2
44442 | 2021-03-17 12:11 | 47.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0807 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118123.5988 | 304110.1785 | 30.45 | 114.2
44452 | 2021-03-17 12:11 | 47.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0523 | μmol/L | 12.8046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118106.1411 | 304100.4759 | 30.45 | 114.2
44462 | 2021-03-17 12:11 | 47.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1239 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118112.9647 | 304111.426 | 30.45 | 114.2
44472 | 2021-03-17 12:12 | 48.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1023 | μmol/L | 12.7984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118093.6981 | 304081.5432 | 30.45 | 114.2
44482 | 2021-03-17 12:12 | 48.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.024 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118091.9905 | 304091.8816 | 30.45 | 114.2
44492 | 2021-03-17 12:12 | 48.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.074 | μmol/L | 12.8046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118082.3767 | 304069.0131 | 30.45 | 114.2
44502 | 2021-03-17 12:13 | 49.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0523 | μmol/L | 12.8046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 118081.4046 | 304078.3066 | 30.45 | 114.2
44512 | 2021-03-17 12:13 | 49.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9808 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118067.3249 | 304058.8388 | 30.45 | 114.2
44522 | 2021-03-17 12:13 | 49.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0672 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118069.0937 | 304056.9292 | 30.45 | 114.2
44532 | 2021-03-17 12:14 | 50.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0956 | μmol/L | 12.8046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118067.1245 | 304052.0837 | 30.45 | 114.2
44542 | 2021-03-17 12:14 | 50.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9741 | μmol/L | 12.8168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118065.1262 | 304046.8626 | 30.45 | 114.2
44552 | 2021-03-17 12:14 | 50.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1605 | μmol/L | 12.8046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 118056.249 | 304043.8442 | 30.45 | 114.2
44562 | 2021-03-17 12:15 | 51.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1105 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 118037.5259 | 304017.6945 | 30.45 | 114.2
44572 | 2021-03-17 12:15 | 51.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0672 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 118042.7963 | 304019.295 | 30.45 | 114.2
44582 | 2021-03-17 12:15 | 51.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9808 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.522 | 118039.6261 | 304020.2432 | 30.45 | 114.2
44592 | 2021-03-17 12:16 | 52.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.024 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118027.2639 | 303999.3835 | 30.45 | 114.2
44602 | 2021-03-17 12:16 | 52.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0889 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118024.1515 | 303988.8451 | 30.45 | 114.2
44612 | 2021-03-17 12:16 | 52.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0456 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118023.2737 | 303995.0362 | 30.45 | 114.2
44622 | 2021-03-17 12:17 | 53.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0456 | μmol/L | 12.8107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 118015.5129 | 303986.2157 | 30.45 | 114.2
44632 | 2021-03-17 12:17 | 53.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0173 | μmol/L | 12.8168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117998.2372 | 303962.592 | 30.45 | 114.2
44642 | 2021-03-17 12:17 | 53.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0173 | μmol/L | 12.8168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117999.6798 | 303947.5801 | 30.45 | 114.2
44652 | 2021-03-17 12:18 | 54.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0106 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 117999.433 | 303944.1182 | 30.45 | 114.2
44662 | 2021-03-17 12:18 | 54.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8094 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.523 | 117997.4023 | 303951.3475 | 30.45 | 114.2
44672 | 2021-03-17 12:18 | 54.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9957 | μmol/L | 12.8168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 117991.0634 | 303938.94 | 30.45 | 114.2
44682 | 2021-03-17 12:19 | 55.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9674 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117982.2766 | 303943.1719 | 30.45 | 114.2
44692 | 2021-03-17 12:19 | 55.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9025 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 117985.2432 | 303936.5592 | 30.45 | 114.2
44702 | 2021-03-17 12:19 | 55.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9457 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 117969.1494 | 303926.8147 | 30.45 | 114.2
44712 | 2021-03-17 12:20 | 56.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9025 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 117964.3039 | 303893.4735 | 30.45 | 114.2
44722 | 2021-03-17 12:20 | 56.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8526 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 117952.8155 | 303905.8667 | 30.45 | 114.2
44732 | 2021-03-17 12:20 | 56.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9025 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.521 | 117955.3795 | 303907.0879 | 30.45 | 114.2
44742 | 2021-03-17 12:21 | 57.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9174 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117947.3475 | 303896.6136 | 30.45 | 114.2
44752 | 2021-03-17 12:21 | 57.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8243 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 117941.188 | 303872.6503 | 30.45 | 114.2
44762 | 2021-03-17 12:21 | 57.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0106 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 117933.9716 | 303876.2695 | 30.45 | 114.2
44772 | 2021-03-17 12:22 | 58.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.989 | μmol/L | 12.823 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117926.3691 | 303872.7828 | 30.45 | 114.2
44782 | 2021-03-17 12:22 | 58.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8958 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 117923.8031 | 303864.0134 | 30.45 | 114.2
44792 | 2021-03-17 12:22 | 58.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.831 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.522 | 117916.8568 | 303869.4038 | 30.45 | 114.2
44802 | 2021-03-17 12:23 | 59.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9174 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117906.0256 | 303843.692 | 30.45 | 114.2
44812 | 2021-03-17 12:23 | 59.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8742 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 117899.3645 | 303836.1193 | 30.45 | 114.2
44822 | 2021-03-17 12:23 | 59.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9391 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117901.0065 | 303835.8821 | 30.45 | 114.2
44832 | 2021-03-17 12:24 | 60.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8891 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117896.6815 | 303821.6887 | 30.45 | 114.2
44842 | 2021-03-17 12:24 | 60.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8392 | μmol/L | 12.8414 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117888.6008 | 303822.3296 | 30.45 | 114.2
44852 | 2021-03-17 12:24 | 60.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9108 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 117888.139 | 303825.8842 | 30.45 | 114.2
44862 | 2021-03-17 12:25 | 61.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7894 | μmol/L | 12.8475 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117882.8287 | 303820.1337 | 30.45 | 114.2
44872 | 2021-03-17 12:25 | 61.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9174 | μmol/L | 12.8291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117876.5055 | 303810.6621 | 30.45 | 114.2
44882 | 2021-03-17 12:25 | 61.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8392 | μmol/L | 12.8414 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117874.3441 | 303803.3886 | 30.45 | 114.2
44892 | 2021-03-17 12:26 | 62.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8459 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 117868.8612 | 303797.5813 | 30.45 | 114.2
44902 | 2021-03-17 12:26 | 62.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7379 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.524 | 117852.9343 | 303794.0356 | 30.45 | 114.2
44912 | 2021-03-17 12:26 | 62.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.796 | μmol/L | 12.8414 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.519 | 117855.8022 | 303786.7473 | 30.45 | 114.2
44922 | 2021-03-17 12:27 | 63.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8675 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.518 | 117853.1905 | 303781.937 | 30.45 | 114.2
44932 | 2021-03-17 12:27 | 63.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8243 | μmol/L | 12.8352 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.52 | 117849.1984 | 303765.8959 | 30.45 | 114.2
44942 | 2021-03-17 12:27 | 63.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7894 | μmol/L | 12.8475 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117844.6627 | 303767.7899 | 30.45 | 114.2
44952 | 2021-03-17 12:28 | 64.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8392 | μmol/L | 12.8414 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.517 | 117829.5 | 303767.1312 | 30.45 | 114.2