## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43024 | 2021-03-17 11:23 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5969 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.397 | 186039.0914 | 316232.2155 | 33.25 | 68.6
43034 | 2021-03-17 11:24 | 0.33616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.639 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.395 | 185965.8871 | 316226.2571 | 33.25 | 68.6
43044 | 2021-03-17 11:24 | 0.72466 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6601 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.394 | 185892.0292 | 316192.7764 | 33.25 | 68.6
43054 | 2021-03-17 11:24 | 1.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.7114 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.394 | 185843.9683 | 316170.4895 | 33.25 | 68.6
43064 | 2021-03-17 11:25 | 1.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6299 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.393 | 185787.6289 | 316131.4502 | 33.25 | 68.6
43074 | 2021-03-17 11:25 | 1.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6812 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.393 | 185747.9823 | 316103.2297 | 33.25 | 68.6
43084 | 2021-03-17 11:25 | 2.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5758 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.398 | 185701.854 | 316070.1131 | 33.25 | 68.6
43094 | 2021-03-17 11:26 | 2.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6903 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.395 | 185634.2828 | 316031.6587 | 33.25 | 68.6
43104 | 2021-03-17 11:26 | 2.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6995 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.397 | 185593.847 | 316010.2809 | 33.25 | 68.6
43114 | 2021-03-17 11:26 | 3.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5969 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.397 | 185540.5504 | 315964.4366 | 33.25 | 68.6
43124 | 2021-03-17 11:27 | 3.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6482 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.397 | 185498.3803 | 315941.2331 | 33.25 | 68.6
43134 | 2021-03-17 11:27 | 3.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6271 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.398 | 185461.9532 | 315898.3957 | 33.25 | 68.6
43144 | 2021-03-17 11:27 | 4.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.606 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.399 | 185424.7806 | 315870.2396 | 33.25 | 68.6
43154 | 2021-03-17 11:28 | 4.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6179 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.396 | 185385.5758 | 315829.4331 | 33.25 | 68.6
43164 | 2021-03-17 11:28 | 4.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4824 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 185354.8989 | 315801.2696 | 33.25 | 68.6
43174 | 2021-03-17 11:28 | 5.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5035 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.399 | 185303.5703 | 315773.2195 | 33.25 | 68.6
43184 | 2021-03-17 11:29 | 5.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5758 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.398 | 185276.9906 | 315748.1731 | 33.25 | 68.6
43194 | 2021-03-17 11:29 | 5.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.585 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 185239.6223 | 315713.1776 | 33.25 | 68.6
43204 | 2021-03-17 11:29 | 6.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4824 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 185192.2066 | 315679.7444 | 33.25 | 68.6
43214 | 2021-03-17 11:30 | 6.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4613 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.401 | 185149.4365 | 315645.1842 | 33.25 | 68.6
43224 | 2021-03-17 11:30 | 6.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6363 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 185115.4531 | 315621.8349 | 33.25 | 68.6
43234 | 2021-03-17 11:30 | 7.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.552 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.404 | 185070.2553 | 315585.8557 | 33.25 | 68.6
43244 | 2021-03-17 11:31 | 7.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5007 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.404 | 185033.6164 | 315556.9045 | 33.25 | 68.6
43254 | 2021-03-17 11:31 | 7.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4494 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.404 | 184999.5769 | 315530.9842 | 33.25 | 68.6
43264 | 2021-03-17 11:31 | 8.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5429 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.402 | 184963.7975 | 315492.9117 | 33.25 | 68.6
43274 | 2021-03-17 11:32 | 8.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5218 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.403 | 184930.2807 | 315462.0726 | 33.25 | 68.6
43284 | 2021-03-17 11:32 | 8.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.531 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.405 | 184898.1158 | 315435.9541 | 33.25 | 68.6
43294 | 2021-03-17 11:32 | 9.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4797 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.405 | 184858.0446 | 315403.9274 | 33.25 | 68.6
43304 | 2021-03-17 11:33 | 9.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5401 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.407 | 184819.9313 | 315360.4057 | 33.25 | 68.6
43314 | 2021-03-17 11:33 | 9.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4888 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.407 | 184775.1685 | 315339.7608 | 33.25 | 68.6
43324 | 2021-03-17 11:33 | 10.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.3955 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.409 | 184738.8376 | 315307.1675 | 33.25 | 68.6
43334 | 2021-03-17 11:34 | 10.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.498 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.409 | 184722.2945 | 315284.3945 | 33.25 | 68.6
43344 | 2021-03-17 11:34 | 10.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.498 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.409 | 184693.0201 | 315261.8682 | 33.25 | 68.6
43354 | 2021-03-17 11:34 | 11.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4046 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.411 | 184650.1955 | 315246.8295 | 33.25 | 68.6
43364 | 2021-03-17 11:35 | 11.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4138 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.413 | 184623.8976 | 315214.4539 | 33.25 | 68.6
43374 | 2021-03-17 11:35 | 11.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2902 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.414 | 184572.4643 | 315188.8542 | 33.25 | 68.6
43384 | 2021-03-17 11:35 | 12.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.3205 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.415 | 184545.6615 | 315152.6584 | 33.25 | 68.6
43394 | 2021-03-17 11:36 | 12.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.3507 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.416 | 184525.871 | 315130.4877 | 33.25 | 68.6
43404 | 2021-03-17 11:36 | 12.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.3086 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.418 | 184499.4269 | 315104.0742 | 33.25 | 68.6
43414 | 2021-03-17 11:36 | 13.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2153 | μmol/L | 12.8341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.42 | 184476.4117 | 315089.2789 | 33.25 | 68.6
43424 | 2021-03-17 11:37 | 13.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2665 | μmol/L | 12.8281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.42 | 184446.8932 | 315056.9359 | 33.25 | 68.6
43434 | 2021-03-17 11:37 | 13.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2061 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.418 | 184412.0056 | 315016.2374 | 33.25 | 68.6
43444 | 2021-03-17 11:37 | 14.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.143 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.421 | 184399.752 | 315003.0897 | 33.25 | 68.6
43454 | 2021-03-17 11:38 | 14.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.122 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.422 | 184362.8674 | 314983.546 | 33.25 | 68.6
43464 | 2021-03-17 11:38 | 14.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.1128 | μmol/L | 12.8463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.42 | 184346.6886 | 314951.7444 | 33.25 | 68.6
43474 | 2021-03-17 11:38 | 15.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9986 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.423 | 184308.1847 | 314920.3953 | 33.25 | 68.6
43484 | 2021-03-17 11:39 | 15.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.088 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.421 | 184294.8665 | 314901.6759 | 33.25 | 68.6
43494 | 2021-03-17 11:39 | 15.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0157 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.422 | 184271.0508 | 314888.2234 | 33.25 | 68.6
43504 | 2021-03-17 11:39 | 16.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9776 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.424 | 184234.6781 | 314848.2167 | 33.25 | 68.6
43514 | 2021-03-17 11:40 | 16.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0406 | μmol/L | 12.8524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.421 | 184224.3507 | 314837.5356 | 33.25 | 68.6
43524 | 2021-03-17 11:40 | 16.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0169 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.427 | 184192.5999 | 314811.1906 | 33.25 | 68.6
43534 | 2021-03-17 11:40 | 17.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9409 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.428 | 184168.5336 | 314784.1725 | 33.25 | 68.6
43544 | 2021-03-17 11:41 | 17.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0341 | μmol/L | 12.8402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.426 | 184133.1336 | 314761.7578 | 33.25 | 68.6
43554 | 2021-03-17 11:41 | 17.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0551 | μmol/L | 12.8402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.425 | 184101.6946 | 314724.0646 | 33.25 | 68.6
43564 | 2021-03-17 11:41 | 18.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9959 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.428 | 184080.2449 | 314709.2597 | 33.25 | 68.6
43574 | 2021-03-17 11:42 | 18.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9199 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.429 | 184063.1678 | 314693.1226 | 33.25 | 68.6
43584 | 2021-03-17 11:42 | 18.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8989 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.43 | 184032.2046 | 314662.1343 | 33.25 | 68.6
43594 | 2021-03-17 11:42 | 19.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0222 | μmol/L | 12.8341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.429 | 184012.0889 | 314641.4471 | 33.25 | 68.6
43604 | 2021-03-17 11:43 | 19.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9749 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.429 | 183988.3629 | 314618.8391 | 33.25 | 68.6
43614 | 2021-03-17 11:43 | 19.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.908 | μmol/L | 12.8402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.432 | 183968.297 | 314590.0101 | 33.25 | 68.6
43624 | 2021-03-17 11:43 | 20.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9592 | μmol/L | 12.8341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.432 | 183957.1475 | 314574.3559 | 33.25 | 68.6
43634 | 2021-03-17 11:44 | 20.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8359 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.433 | 183917.4011 | 314560.8924 | 33.25 | 68.6
43644 | 2021-03-17 11:44 | 20.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8279 | μmol/L | 12.8402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.436 | 183916.6028 | 314539.9708 | 33.25 | 68.6
43654 | 2021-03-17 11:44 | 21.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7519 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.437 | 183892.6371 | 314523.1773 | 33.25 | 68.6
43664 | 2021-03-17 11:45 | 21.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6588 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.439 | 183863.3025 | 314485.6366 | 33.25 | 68.6
43674 | 2021-03-17 11:45 | 21.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7099 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.439 | 183844.6224 | 314462.6615 | 33.25 | 68.6
43684 | 2021-03-17 11:45 | 22.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6378 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.44 | 183828.195 | 314441.1545 | 33.25 | 68.6
43694 | 2021-03-17 11:46 | 22.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6798 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.438 | 183804.4498 | 314429.57 | 33.25 | 68.6
43704 | 2021-03-17 11:46 | 22.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6169 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 183782.1758 | 314417.9277 | 33.25 | 68.6
43714 | 2021-03-17 11:46 | 23.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5448 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.442 | 183759.6285 | 314387.6815 | 33.25 | 68.6
43724 | 2021-03-17 11:47 | 23.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.533 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.445 | 183746.7362 | 314356.676 | 33.25 | 68.6
43734 | 2021-03-17 11:47 | 23.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5448 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.442 | 183721.0117 | 314345.5344 | 33.25 | 68.6
43744 | 2021-03-17 11:47 | 24.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6169 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 183695.709 | 314326.3033 | 33.25 | 68.6
43754 | 2021-03-17 11:48 | 24.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5749 | μmol/L | 12.8524 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.443 | 183669.9117 | 314293.156 | 33.25 | 68.6
43764 | 2021-03-17 11:48 | 24.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6051 | μmol/L | 12.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.444 | 183640.4977 | 314282.0829 | 33.25 | 68.6
43774 | 2021-03-17 11:48 | 25.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4609 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.446 | 183623.7742 | 314253.9703 | 33.25 | 68.6
43784 | 2021-03-17 11:49 | 25.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4819 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.445 | 183609.5108 | 314245.4427 | 33.25 | 68.6
43794 | 2021-03-17 11:49 | 25.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3889 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.447 | 183583.8336 | 314219.6488 | 33.25 | 68.6
43804 | 2021-03-17 11:49 | 26.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4609 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.446 | 183572.7264 | 314210.4128 | 33.25 | 68.6
43814 | 2021-03-17 11:50 | 26.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.347 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.449 | 183555.7712 | 314184.0126 | 33.25 | 68.6
43824 | 2021-03-17 11:50 | 26.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.296 | μmol/L | 12.8706 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.449 | 183536.4527 | 314155.1471 | 33.25 | 68.6
43834 | 2021-03-17 11:50 | 27.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.296 | μmol/L | 12.8706 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.449 | 183512.3943 | 314148.171 | 33.25 | 68.6
43844 | 2021-03-17 11:51 | 27.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2842 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.452 | 183495.1818 | 314122.2499 | 33.25 | 68.6
43854 | 2021-03-17 11:51 | 27.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3261 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.45 | 183489.3515 | 314108.7656 | 33.25 | 68.6
43864 | 2021-03-17 11:51 | 28.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.275 | μmol/L | 12.8706 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.45 | 183474.5711 | 314088.8541 | 33.25 | 68.6
43874 | 2021-03-17 11:52 | 28.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3562 | μmol/L | 12.8584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.451 | 183447.8492 | 314076.4973 | 33.25 | 68.6
43884 | 2021-03-17 11:52 | 28.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2332 | μmol/L | 12.8706 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.452 | 183444.5544 | 314068.6858 | 33.25 | 68.6
43894 | 2021-03-17 11:52 | 29.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.1494 | μmol/L | 12.8706 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.456 | 183428.3198 | 314038.6989 | 33.25 | 68.6
43904 | 2021-03-17 11:53 | 29.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.1795 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.457 | 183409.9835 | 314031.0797 | 33.25 | 68.6
43914 | 2021-03-17 11:53 | 29.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2214 | μmol/L | 12.8645 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.455 | 183385.6773 | 314003.8086 | 33.25 | 68.6
43924 | 2021-03-17 11:53 | 30.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0775 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.457 | 183370.7003 | 314000.8925 | 33.25 | 68.6
43934 | 2021-03-17 11:54 | 30.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0984 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.456 | 183348.2296 | 313974.7277 | 33.25 | 68.6
43944 | 2021-03-17 11:54 | 30.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0566 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.458 | 183320.2461 | 313945.5021 | 33.25 | 68.6
43954 | 2021-03-17 11:54 | 31.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0147 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.46 | 183312.58 | 313938.9154 | 33.25 | 68.6
43964 | 2021-03-17 11:55 | 31.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0147 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.46 | 183294.6832 | 313921.4072 | 33.25 | 68.6
43974 | 2021-03-17 11:55 | 31.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9938 | μmol/L | 12.8767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.461 | 183270.4606 | 313890.7715 | 33.25 | 68.6
43984 | 2021-03-17 11:55 | 32.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9219 | μmol/L | 12.8827 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.462 | 183252.4722 | 313894.4591 | 33.25 | 68.6
43994 | 2021-03-17 11:56 | 32.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9219 | μmol/L | 12.8827 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.462 | 183244.7199 | 313869.9588 | 33.25 | 68.6
44004 | 2021-03-17 11:56 | 32.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9219 | μmol/L | 12.8827 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.462 | 183225.3005 | 313869.0075 | 33.25 | 68.6
44014 | 2021-03-17 11:56 | 33.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.8501 | μmol/L | 12.8888 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.463 | 183198.1133 | 313848.4319 | 33.25 | 68.6
44024 | 2021-03-17 11:57 | 33.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.901 | μmol/L | 12.8827 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.463 | 183181.1952 | 313817.367 | 33.25 | 68.6
44034 | 2021-03-17 11:57 | 33.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7574 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.465 | 183173.5577 | 313814.2431 | 33.25 | 68.6
44044 | 2021-03-17 11:57 | 34.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7665 | μmol/L | 12.8888 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.467 | 183146.9329 | 313792.138 | 33.25 | 68.6
44054 | 2021-03-17 11:58 | 34.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7038 | μmol/L | 12.8888 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.47 | 183145.5056 | 313784.8079 | 33.25 | 68.6
44064 | 2021-03-17 11:58 | 34.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7038 | μmol/L | 12.8888 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.47 | 183129.8632 | 313765.0407 | 33.25 | 68.6
44074 | 2021-03-17 11:58 | 35.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.632 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.471 | 183109.9916 | 313737.5286 | 33.25 | 68.6
44084 | 2021-03-17 11:59 | 35.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.632 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.471 | 183110.9469 | 313743.9781 | 33.25 | 68.6
44094 | 2021-03-17 11:59 | 35.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5903 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.473 | 183077.9228 | 313704.6095 | 33.25 | 68.6
44104 | 2021-03-17 11:59 | 36.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6112 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.472 | 183067.9033 | 313698.4136 | 33.25 | 68.6
44114 | 2021-03-17 12:00 | 36.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5812 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.471 | 183059.181 | 313687.6781 | 33.25 | 68.6
44124 | 2021-03-17 12:00 | 36.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5903 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.473 | 183050.6263 | 313678.8155 | 33.25 | 68.6
44134 | 2021-03-17 12:00 | 37.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4977 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.475 | 183025.1746 | 313657.6646 | 33.25 | 68.6
44144 | 2021-03-17 12:01 | 37.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5185 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.474 | 183011.6468 | 313638.9301 | 33.25 | 68.6
44154 | 2021-03-17 12:01 | 37.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5277 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.476 | 182993.0809 | 313607.8761 | 33.25 | 68.6
44164 | 2021-03-17 12:01 | 38.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5785 | μmol/L | 12.8888 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.476 | 182988.3224 | 313616.1361 | 33.25 | 68.6
44174 | 2021-03-17 12:02 | 38.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4051 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.477 | 182975.5242 | 313595.3324 | 33.25 | 68.6
44184 | 2021-03-17 12:02 | 38.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3634 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.479 | 182971.2427 | 313589.52 | 33.25 | 68.6
44194 | 2021-03-17 12:02 | 39.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4351 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.478 | 182968.6815 | 313575.067 | 33.25 | 68.6
44204 | 2021-03-17 12:03 | 39.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5277 | μmol/L | 12.8949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.476 | 182968.6459 | 313566.0552 | 33.25 | 68.6
44214 | 2021-03-17 12:03 | 39.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3217 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.481 | 182945.3723 | 313553.396 | 33.25 | 68.6
44224 | 2021-03-17 12:03 | 40.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3308 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.483 | 182940.2442 | 313542.3155 | 33.25 | 68.6
44234 | 2021-03-17 12:04 | 40.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3933 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.48 | 182931.2208 | 313544.3158 | 33.25 | 68.6
44244 | 2021-03-17 12:04 | 40.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3008 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.482 | 182915.7031 | 313526.6398 | 33.25 | 68.6
44254 | 2021-03-17 12:04 | 41.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2591 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.484 | 182901.6144 | 313513.7653 | 33.25 | 68.6
44264 | 2021-03-17 12:05 | 41.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3308 | μmol/L | 12.901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.483 | 182894.6382 | 313509.3457 | 33.25 | 68.6
44274 | 2021-03-17 12:05 | 41.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2083 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.484 | 182883.8097 | 313480.1854 | 33.25 | 68.6
44284 | 2021-03-17 12:05 | 42.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2174 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.486 | 182873.8098 | 313483.7954 | 33.25 | 68.6
44294 | 2021-03-17 12:06 | 42.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1757 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.488 | 182860.567 | 313454.8859 | 33.25 | 68.6
44304 | 2021-03-17 12:06 | 42.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1666 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.486 | 182858.0728 | 313455.0281 | 33.25 | 68.6
44314 | 2021-03-17 12:06 | 43.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1249 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.488 | 182840.2802 | 313439.3562 | 33.25 | 68.6
44324 | 2021-03-17 12:07 | 43.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0534 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.489 | 182840.1259 | 313436.8371 | 33.25 | 68.6
44334 | 2021-03-17 12:07 | 43.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1041 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.489 | 182813.9696 | 313421.3222 | 33.25 | 68.6
44344 | 2021-03-17 12:07 | 44.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9909 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.492 | 182803.2557 | 313404.3181 | 33.25 | 68.6
44354 | 2021-03-17 12:08 | 44.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 182786.7132 | 313400.9926 | 33.25 | 68.6
44364 | 2021-03-17 12:08 | 44.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0416 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.492 | 182777.3633 | 313383.1102 | 33.25 | 68.6
44374 | 2021-03-17 12:08 | 45.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1132 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.491 | 182756.3554 | 313377.1951 | 33.25 | 68.6
44384 | 2021-03-17 12:09 | 45.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0208 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.493 | 182737.8073 | 313363.2467 | 33.25 | 68.6
44394 | 2021-03-17 12:09 | 45.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 182736.388 | 313352.747 | 33.25 | 68.6
44404 | 2021-03-17 12:09 | 46.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0507 | μmol/L | 12.907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 182706.4114 | 313338.469 | 33.25 | 68.6
44414 | 2021-03-17 12:10 | 46.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9492 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 182700.179 | 313336.9895 | 33.25 | 68.6
44424 | 2021-03-17 12:10 | 46.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9284 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.495 | 182671.7095 | 313332.7127 | 33.25 | 68.6
44434 | 2021-03-17 12:10 | 47.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8451 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 182650.2967 | 313312.6995 | 33.25 | 68.6
44444 | 2021-03-17 12:11 | 47.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9375 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.497 | 182642.2455 | 313304.5101 | 33.25 | 68.6
44454 | 2021-03-17 12:11 | 47.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.875 | μmol/L | 12.9131 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.5 | 182624.4868 | 313292.9221 | 33.25 | 68.6
44464 | 2021-03-17 12:11 | 48.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8153 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.498 | 182615.3159 | 313279.4258 | 33.25 | 68.6
44474 | 2021-03-17 12:12 | 48.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.866 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.498 | 182607.5915 | 313282.9808 | 33.25 | 68.6
44484 | 2021-03-17 12:12 | 48.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8035 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 182600.5351 | 313260.8393 | 33.25 | 68.6
44494 | 2021-03-17 12:12 | 49.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7112 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 182605.729 | 313266.5799 | 33.25 | 68.6
44504 | 2021-03-17 12:13 | 49.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6904 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.504 | 182598.333 | 313253.4707 | 33.25 | 68.6
44514 | 2021-03-17 12:13 | 49.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6489 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 182582.8808 | 313238.2117 | 33.25 | 68.6
44524 | 2021-03-17 12:13 | 50.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7112 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 182582.6371 | 313233.1672 | 33.25 | 68.6
44534 | 2021-03-17 12:14 | 50.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6904 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.504 | 182567.7398 | 313230.2313 | 33.25 | 68.6
44544 | 2021-03-17 12:14 | 50.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5476 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 182565.3607 | 313216.3516 | 33.25 | 68.6
44554 | 2021-03-17 12:14 | 51.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6281 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.507 | 182551.3672 | 313204.1836 | 33.25 | 68.6
44564 | 2021-03-17 12:15 | 51.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6995 | μmol/L | 12.9192 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 182544.4494 | 313186.3198 | 33.25 | 68.6
44574 | 2021-03-17 12:15 | 51.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6073 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.508 | 182543.2145 | 313198.4658 | 33.25 | 68.6
44584 | 2021-03-17 12:15 | 52.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5566 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.508 | 182546.836 | 313189.9139 | 33.25 | 68.6
44594 | 2021-03-17 12:16 | 52.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5151 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.51 | 182537.2653 | 313183.8086 | 33.25 | 68.6
44604 | 2021-03-17 12:16 | 52.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4229 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.512 | 182514.7416 | 313165.2844 | 33.25 | 68.6
44614 | 2021-03-17 12:16 | 53.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6073 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.508 | 182516.5432 | 313166.3321 | 33.25 | 68.6
44624 | 2021-03-17 12:17 | 53.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4943 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.511 | 182490.8423 | 313160.2235 | 33.25 | 68.6
44634 | 2021-03-17 12:17 | 53.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5449 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.511 | 182475.488 | 313148.5656 | 33.25 | 68.6
44644 | 2021-03-17 12:17 | 54.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4437 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.511 | 182473.9266 | 313142.708 | 33.25 | 68.6
44654 | 2021-03-17 12:18 | 54.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4021 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182456.2796 | 313122.3856 | 33.25 | 68.6
44664 | 2021-03-17 12:18 | 54.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4021 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182445.5884 | 313108.4279 | 33.25 | 68.6
44674 | 2021-03-17 12:18 | 55.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4229 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.512 | 182421.8185 | 313084.4118 | 33.25 | 68.6
44684 | 2021-03-17 12:19 | 55.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5034 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182422.7861 | 313085.6078 | 33.25 | 68.6
44694 | 2021-03-17 12:19 | 55.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.432 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.514 | 182423.3993 | 313078.527 | 33.25 | 68.6
44704 | 2021-03-17 12:19 | 56.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3515 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182406.9738 | 313077.0753 | 33.25 | 68.6
44714 | 2021-03-17 12:20 | 56.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4735 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.512 | 182394.8268 | 313058.3525 | 33.25 | 68.6
44724 | 2021-03-17 12:20 | 56.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.393 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.511 | 182390.404 | 313056.2621 | 33.25 | 68.6
44734 | 2021-03-17 12:20 | 57.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5034 | μmol/L | 12.9253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182378.3784 | 313042.8723 | 33.25 | 68.6
44744 | 2021-03-17 12:21 | 57.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.432 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.514 | 182365.8099 | 313033.626 | 33.25 | 68.6
44754 | 2021-03-17 12:21 | 57.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4021 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.513 | 182359.3699 | 313021.9741 | 33.25 | 68.6
44764 | 2021-03-17 12:21 | 58.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4112 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.515 | 182346.1807 | 313010.2836 | 33.25 | 68.6
44774 | 2021-03-17 12:22 | 58.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2892 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.516 | 182335.2929 | 313001.6541 | 33.25 | 68.6
44784 | 2021-03-17 12:22 | 58.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2775 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.519 | 182342.8787 | 313005.622 | 33.25 | 68.6
44794 | 2021-03-17 12:22 | 59.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3398 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.516 | 182328.6571 | 313013.1326 | 33.25 | 68.6
44804 | 2021-03-17 12:23 | 59.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3074 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182322.3575 | 312987.4084 | 33.25 | 68.6
44814 | 2021-03-17 12:23 | 59.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3606 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.515 | 182315.5938 | 312988.6621 | 33.25 | 68.6
44824 | 2021-03-17 12:23 | 60.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2477 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.518 | 182293.8937 | 312977.5408 | 33.25 | 68.6
44834 | 2021-03-17 12:24 | 60.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2983 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.518 | 182271.8335 | 312959.3611 | 33.25 | 68.6
44844 | 2021-03-17 12:24 | 60.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2568 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182258.1411 | 312952.1789 | 33.25 | 68.6
44854 | 2021-03-17 12:24 | 61.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3398 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.516 | 182251.7859 | 312951.7435 | 33.25 | 68.6
44864 | 2021-03-17 12:25 | 61.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2568 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182255.4457 | 312941.3988 | 33.25 | 68.6
44874 | 2021-03-17 12:25 | 61.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2568 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182241.1892 | 312930.2267 | 33.25 | 68.6
44884 | 2021-03-17 12:25 | 62.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.236 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.521 | 182233.6684 | 312922.4614 | 33.25 | 68.6
44894 | 2021-03-17 12:26 | 62.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2062 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182229.2123 | 312917.0554 | 33.25 | 68.6
44904 | 2021-03-17 12:26 | 62.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1855 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.521 | 182211.034 | 312907.2124 | 33.25 | 68.6
44914 | 2021-03-17 12:26 | 63.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2568 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182200.4031 | 312902.1305 | 33.25 | 68.6
44924 | 2021-03-17 12:27 | 63.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1855 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.521 | 182192.5798 | 312899.098 | 33.25 | 68.6
44934 | 2021-03-17 12:27 | 63.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0817 | μmol/L | 12.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.526 | 182183.8993 | 312877.3915 | 33.25 | 68.6
44944 | 2021-03-17 12:27 | 64.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3074 | μmol/L | 12.9313 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182141.4096 | 312876.5711 | 33.25 | 68.6
44954 | 2021-03-17 12:28 | 64.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1945 | μmol/L | 12.9374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.523 | 182112.2308 | 312861.5598 | 33.25 | 68.6