## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43026 | 2021-03-17 11:23 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5982 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 138286.27 | 278145.3124 | 26.25 | 74
43037 | 2021-03-17 11:24 | 0.34124 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5467 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 138254.218 | 278115.1999 | 26.25 | 74
43046 | 2021-03-17 11:24 | 0.67933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6939 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 138211.7024 | 278081.5086 | 26.25 | 74
43056 | 2021-03-17 11:24 | 1.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6424 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 138181.8489 | 278046.4559 | 26.25 | 74
43067 | 2021-03-17 11:25 | 1.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5539 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138150.5445 | 278006.2019 | 26.25 | 74
43077 | 2021-03-17 11:25 | 1.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6867 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138134.0996 | 277981.0329 | 26.25 | 74
43086 | 2021-03-17 11:25 | 2.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5539 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138100.421 | 277951.9449 | 26.25 | 74
43097 | 2021-03-17 11:26 | 2.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4582 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 138089.119 | 277915.9466 | 26.25 | 74
43107 | 2021-03-17 11:26 | 2.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5024 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138065.7412 | 277914.6859 | 26.25 | 74
43117 | 2021-03-17 11:26 | 3.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5539 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138039.8531 | 277865.6544 | 26.25 | 74
43127 | 2021-03-17 11:27 | 3.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5024 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138001.4435 | 277830.8575 | 26.25 | 74
43137 | 2021-03-17 11:27 | 3.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5173 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137979.9788 | 277799.6438 | 26.25 | 74
43147 | 2021-03-17 11:27 | 4.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6203 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137946.0753 | 277781.7066 | 26.25 | 74
43157 | 2021-03-17 11:28 | 4.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6203 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137919.6998 | 277765.5373 | 26.25 | 74
43167 | 2021-03-17 11:28 | 4.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5909 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137888.3499 | 277723.2958 | 26.25 | 74
43176 | 2021-03-17 11:28 | 5.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5467 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137874.5711 | 277695.8322 | 26.25 | 74
43186 | 2021-03-17 11:29 | 5.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5024 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137844.1739 | 277671.7017 | 26.25 | 74
43197 | 2021-03-17 11:29 | 5.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5024 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137823.0058 | 277651.0983 | 26.25 | 74
43206 | 2021-03-17 11:29 | 6.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5394 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137799.3278 | 277617.297 | 26.25 | 74
43216 | 2021-03-17 11:30 | 6.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5688 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137780.4717 | 277583.1951 | 26.25 | 74
43227 | 2021-03-17 11:30 | 6.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5394 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137759.4178 | 277558.7211 | 26.25 | 74
43236 | 2021-03-17 11:30 | 7.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5467 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137736.465 | 277536.3516 | 26.25 | 74
43246 | 2021-03-17 11:31 | 7.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5539 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137710.2515 | 277500.0434 | 26.25 | 74
43257 | 2021-03-17 11:31 | 7.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5394 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137686.7002 | 277474.247 | 26.25 | 74
43267 | 2021-03-17 11:31 | 8.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4288 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 137663.1412 | 277459.1093 | 26.25 | 74
43277 | 2021-03-17 11:32 | 8.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5173 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137641.239 | 277424.1746 | 26.25 | 74
43286 | 2021-03-17 11:32 | 8.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4952 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137625.6752 | 277404.0535 | 26.25 | 74
43296 | 2021-03-17 11:32 | 9.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5245 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 137599.8562 | 277377.1997 | 26.25 | 74
43306 | 2021-03-17 11:33 | 9.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5909 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137585.0153 | 277356.3668 | 26.25 | 74
43316 | 2021-03-17 11:33 | 9.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5024 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137563.2884 | 277343.5406 | 26.25 | 74
43326 | 2021-03-17 11:33 | 10.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5982 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137538.9248 | 277313.7349 | 26.25 | 74
43336 | 2021-03-17 11:34 | 10.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4731 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 137510.1288 | 277277.3508 | 26.25 | 74
43346 | 2021-03-17 11:34 | 10.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5467 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137492.6268 | 277263.4269 | 26.25 | 74
43356 | 2021-03-17 11:34 | 11.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5688 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137469.0772 | 277238.7858 | 26.25 | 74
43366 | 2021-03-17 11:35 | 11.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.488 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137451.5893 | 277216.2208 | 26.25 | 74
43377 | 2021-03-17 11:35 | 11.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6131 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137427.6047 | 277188.2923 | 26.25 | 74
43386 | 2021-03-17 11:35 | 12.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5173 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137418.2582 | 277165.1235 | 26.25 | 74
43397 | 2021-03-17 11:36 | 12.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.451 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137392.162 | 277146.8072 | 26.25 | 74
43406 | 2021-03-17 11:36 | 12.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137380.1627 | 277130.152 | 26.25 | 74
43416 | 2021-03-17 11:36 | 13.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5688 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137364.4488 | 277099.7883 | 26.25 | 74
43426 | 2021-03-17 11:37 | 13.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5467 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137350.0568 | 277088.5874 | 26.25 | 74
43437 | 2021-03-17 11:37 | 13.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5616 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137336.4274 | 277054.5482 | 26.25 | 74
43446 | 2021-03-17 11:37 | 14.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5688 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137322.2853 | 277037.6092 | 26.25 | 74
43457 | 2021-03-17 11:38 | 14.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4731 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 137306.6719 | 277009.0599 | 26.25 | 74
43466 | 2021-03-17 11:38 | 14.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4952 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137290.4812 | 276999.6098 | 26.25 | 74
43477 | 2021-03-17 11:38 | 15.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3995 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137269.422 | 276979.2368 | 26.25 | 74
43486 | 2021-03-17 11:39 | 15.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4288 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 137257.9814 | 276961.4668 | 26.25 | 74
43497 | 2021-03-17 11:39 | 15.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4731 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 137248.5118 | 276928.8908 | 26.25 | 74
43507 | 2021-03-17 11:39 | 16.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5173 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137228.6291 | 276912.5448 | 26.25 | 74
43516 | 2021-03-17 11:40 | 16.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4731 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 137211.1972 | 276885.8395 | 26.25 | 74
43527 | 2021-03-17 11:40 | 16.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.488 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137176.5992 | 276857.7281 | 26.25 | 74
43536 | 2021-03-17 11:40 | 17.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4437 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137167.7167 | 276861.9957 | 26.25 | 74
43546 | 2021-03-17 11:41 | 17.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4952 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137144.7668 | 276840.5626 | 26.25 | 74
43556 | 2021-03-17 11:41 | 17.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.488 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137134.8884 | 276824.4791 | 26.25 | 74
43567 | 2021-03-17 11:41 | 18.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5837 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 137109.5503 | 276796.1707 | 26.25 | 74
43576 | 2021-03-17 11:42 | 18.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5173 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137098.4533 | 276779.5063 | 26.25 | 74
43587 | 2021-03-17 11:42 | 18.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5837 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 137088.9325 | 276752.4285 | 26.25 | 74
43596 | 2021-03-17 11:42 | 19.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5616 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137071.5661 | 276734.0451 | 26.25 | 74
43607 | 2021-03-17 11:43 | 19.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137049.5579 | 276732.4788 | 26.25 | 74
43617 | 2021-03-17 11:43 | 19.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4659 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137035.6809 | 276691.1705 | 26.25 | 74
43626 | 2021-03-17 11:43 | 20.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 137019.935 | 276676.8983 | 26.25 | 74
43637 | 2021-03-17 11:44 | 20.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5322 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 137003.5546 | 276667.3091 | 26.25 | 74
43646 | 2021-03-17 11:44 | 20.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4659 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136984.7588 | 276637.8963 | 26.25 | 74
43657 | 2021-03-17 11:44 | 21.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5986 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136966.1002 | 276619.8719 | 26.25 | 74
43667 | 2021-03-17 11:45 | 21.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136956.339 | 276607.3614 | 26.25 | 74
43676 | 2021-03-17 11:45 | 21.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4586 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136933.6239 | 276586.0214 | 26.25 | 74
43686 | 2021-03-17 11:45 | 22.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.628 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.368 | 136921.9871 | 276556.0468 | 26.25 | 74
43696 | 2021-03-17 11:46 | 22.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136906.6659 | 276541.0016 | 26.25 | 74
43706 | 2021-03-17 11:46 | 22.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4586 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136887.4887 | 276528.229 | 26.25 | 74
43716 | 2021-03-17 11:46 | 23.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.488 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 136887.006 | 276501.3588 | 26.25 | 74
43726 | 2021-03-17 11:47 | 23.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5322 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136865.9109 | 276472.717 | 26.25 | 74
43736 | 2021-03-17 11:47 | 23.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.488 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.372 | 136848.0581 | 276452.299 | 26.25 | 74
43746 | 2021-03-17 11:47 | 24.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4808 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136826.1729 | 276445.3638 | 26.25 | 74
43757 | 2021-03-17 11:48 | 24.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4659 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136828.7409 | 276420.477 | 26.25 | 74
43767 | 2021-03-17 11:48 | 24.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5101 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136815.3643 | 276404.6951 | 26.25 | 74
43777 | 2021-03-17 11:48 | 25.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3702 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.375 | 136796.8238 | 276388.9487 | 26.25 | 74
43786 | 2021-03-17 11:49 | 25.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4659 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136793.6223 | 276378.7441 | 26.25 | 74
43797 | 2021-03-17 11:49 | 25.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2967 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136770.3629 | 276361.766 | 26.25 | 74
43806 | 2021-03-17 11:49 | 26.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3923 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136763.7839 | 276343.9104 | 26.25 | 74
43817 | 2021-03-17 11:50 | 26.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3923 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136753.7171 | 276337.7475 | 26.25 | 74
43826 | 2021-03-17 11:50 | 26.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4952 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136743.5263 | 276307.3517 | 26.25 | 74
43836 | 2021-03-17 11:50 | 27.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3995 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136725.7787 | 276298.9632 | 26.25 | 74
43847 | 2021-03-17 11:51 | 27.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3481 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136720.943 | 276278.7883 | 26.25 | 74
43857 | 2021-03-17 11:51 | 27.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3923 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136706.5076 | 276269.9146 | 26.25 | 74
43867 | 2021-03-17 11:51 | 28.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.326 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136695.482 | 276252.1551 | 26.25 | 74
43876 | 2021-03-17 11:52 | 28.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4144 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136685.3168 | 276224.0346 | 26.25 | 74
43886 | 2021-03-17 11:52 | 28.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2745 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136665.851 | 276214.1034 | 26.25 | 74
43897 | 2021-03-17 11:52 | 29.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.326 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136656.1196 | 276201.8034 | 26.25 | 74
43906 | 2021-03-17 11:53 | 29.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3039 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136637.8556 | 276179.3563 | 26.25 | 74
43916 | 2021-03-17 11:53 | 29.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3481 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136628.5303 | 276161.1339 | 26.25 | 74
43927 | 2021-03-17 11:53 | 30.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3039 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136617.0279 | 276148.957 | 26.25 | 74
43936 | 2021-03-17 11:54 | 30.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2967 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136597.7668 | 276142.3648 | 26.25 | 74
43946 | 2021-03-17 11:54 | 30.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2452 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136589.6547 | 276132.1142 | 26.25 | 74
43956 | 2021-03-17 11:54 | 31.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3923 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136581.0331 | 276112.8481 | 26.25 | 74
43966 | 2021-03-17 11:55 | 31.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136562.7758 | 276082.5049 | 26.25 | 74
43977 | 2021-03-17 11:55 | 31.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3039 | μmol/L | 12.8253 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136567.4219 | 276082.2678 | 26.25 | 74
43987 | 2021-03-17 11:55 | 32.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2967 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136541.0836 | 276050.187 | 26.25 | 74
43996 | 2021-03-17 11:56 | 32.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136528.7094 | 276049.9915 | 26.25 | 74
44007 | 2021-03-17 11:56 | 32.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136520.3638 | 276026.6796 | 26.25 | 74
44017 | 2021-03-17 11:56 | 33.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2083 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136516.3892 | 276031.1056 | 26.25 | 74
44027 | 2021-03-17 11:57 | 33.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2452 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136502.0139 | 276008.2069 | 26.25 | 74
44036 | 2021-03-17 11:57 | 33.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2894 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136492.3994 | 276000.6495 | 26.25 | 74
44047 | 2021-03-17 11:57 | 34.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2967 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136484.07 | 275986.3137 | 26.25 | 74
44057 | 2021-03-17 11:58 | 34.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2452 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136473.4054 | 275966.1656 | 26.25 | 74
44066 | 2021-03-17 11:58 | 34.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2524 | μmol/L | 12.8314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136456.9031 | 275949.8406 | 26.25 | 74
44076 | 2021-03-17 11:58 | 35.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136453.7453 | 275962.7526 | 26.25 | 74
44087 | 2021-03-17 11:59 | 35.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.201 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136447.6285 | 275936.0136 | 26.25 | 74
44096 | 2021-03-17 11:59 | 35.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136435.8714 | 275922.1718 | 26.25 | 74
44107 | 2021-03-17 11:59 | 36.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1939 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136421.8247 | 275891.7703 | 26.25 | 74
44117 | 2021-03-17 12:00 | 36.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136411.0087 | 275891.6745 | 26.25 | 74
44127 | 2021-03-17 12:00 | 36.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136406.5602 | 275885.1582 | 26.25 | 74
44137 | 2021-03-17 12:00 | 37.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1569 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136392.5515 | 275865.8864 | 26.25 | 74
44146 | 2021-03-17 12:01 | 37.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.179 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.379 | 136386.2904 | 275855.6121 | 26.25 | 74
44157 | 2021-03-17 12:01 | 37.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2231 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136382.7417 | 275862.3716 | 26.25 | 74
44166 | 2021-03-17 12:01 | 38.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1055 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136371.4798 | 275840.5183 | 26.25 | 74
44176 | 2021-03-17 12:02 | 38.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1348 | μmol/L | 12.8375 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136364.7837 | 275816.6173 | 26.25 | 74
44186 | 2021-03-17 12:02 | 38.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136352.5877 | 275812.5422 | 26.25 | 74
44196 | 2021-03-17 12:02 | 39.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0834 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136356.7803 | 275791.5907 | 26.25 | 74
44207 | 2021-03-17 12:03 | 39.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0834 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136344.8221 | 275787.9128 | 26.25 | 74
44217 | 2021-03-17 12:03 | 39.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136337.7401 | 275776.531 | 26.25 | 74
44227 | 2021-03-17 12:03 | 40.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0392 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136323.4076 | 275768.7482 | 26.25 | 74
44237 | 2021-03-17 12:04 | 40.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136310.7808 | 275739.991 | 26.25 | 74
44246 | 2021-03-17 12:04 | 40.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0392 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136307.0603 | 275730.8033 | 26.25 | 74
44257 | 2021-03-17 12:04 | 41.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0834 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136306.433 | 275731.1532 | 26.25 | 74
44266 | 2021-03-17 12:05 | 41.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9658 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136299.5135 | 275724.8824 | 26.25 | 74
44277 | 2021-03-17 12:05 | 41.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0392 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136286.9636 | 275708.6151 | 26.25 | 74
44286 | 2021-03-17 12:05 | 42.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0613 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136267.098 | 275697.8762 | 26.25 | 74
44296 | 2021-03-17 12:06 | 42.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0172 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136265.1245 | 275688.5239 | 26.25 | 74
44307 | 2021-03-17 12:06 | 42.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0028 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136257.6344 | 275687.1689 | 26.25 | 74
44317 | 2021-03-17 12:06 | 43.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.01 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136242.3082 | 275677.0774 | 26.25 | 74
44326 | 2021-03-17 12:07 | 43.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.01 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136238.6023 | 275662.0753 | 26.25 | 74
44337 | 2021-03-17 12:07 | 43.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.01 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136233.4958 | 275657.6766 | 26.25 | 74
44346 | 2021-03-17 12:07 | 44.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.01 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136225.6384 | 275650.8237 | 26.25 | 74
44357 | 2021-03-17 12:08 | 44.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9658 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136219.3597 | 275629.4129 | 26.25 | 74
44366 | 2021-03-17 12:08 | 44.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1276 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.379 | 136211.7878 | 275633.1893 | 26.25 | 74
44376 | 2021-03-17 12:08 | 45.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9437 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136211.1862 | 275625.7785 | 26.25 | 74
44387 | 2021-03-17 12:09 | 45.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9879 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136201.9115 | 275612.4105 | 26.25 | 74
44397 | 2021-03-17 12:09 | 45.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8924 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136204.2996 | 275605.8479 | 26.25 | 74
44407 | 2021-03-17 12:09 | 46.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8996 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136204.5644 | 275601.7783 | 26.25 | 74
44416 | 2021-03-17 12:10 | 46.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9437 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136203.4084 | 275587.7561 | 26.25 | 74
44426 | 2021-03-17 12:10 | 46.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8704 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136195.8234 | 275577.7663 | 26.25 | 74
44436 | 2021-03-17 12:10 | 47.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9509 | μmol/L | 12.8436 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136179.2133 | 275562.4511 | 26.25 | 74
44446 | 2021-03-17 12:11 | 47.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9437 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136173.5907 | 275564.1119 | 26.25 | 74
44457 | 2021-03-17 12:11 | 47.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8262 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136154.5671 | 275544.099 | 26.25 | 74
44466 | 2021-03-17 12:11 | 48.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8924 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136151.8295 | 275536.3881 | 26.25 | 74
44476 | 2021-03-17 12:12 | 48.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9879 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136139.7877 | 275524.422 | 26.25 | 74
44487 | 2021-03-17 12:12 | 48.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9366 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136130.3464 | 275517.608 | 26.25 | 74
44496 | 2021-03-17 12:12 | 49.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9145 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136123.6332 | 275501.1137 | 26.25 | 74
44506 | 2021-03-17 12:13 | 49.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8704 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136116.9934 | 275495.6933 | 26.25 | 74
44517 | 2021-03-17 12:13 | 49.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8704 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136101.9713 | 275505.3184 | 26.25 | 74
44526 | 2021-03-17 12:13 | 50.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9217 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136095.8487 | 275497.8836 | 26.25 | 74
44537 | 2021-03-17 12:14 | 50.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8632 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136092.5468 | 275489.8736 | 26.25 | 74
44547 | 2021-03-17 12:14 | 50.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9366 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136085.4776 | 275477.0186 | 26.25 | 74
44557 | 2021-03-17 12:14 | 51.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9366 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136075.0604 | 275469.9938 | 26.25 | 74
44567 | 2021-03-17 12:15 | 51.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9879 | μmol/L | 12.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136066.4358 | 275467.8911 | 26.25 | 74
44577 | 2021-03-17 12:15 | 51.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8411 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.385 | 136056.5803 | 275444.1933 | 26.25 | 74
44587 | 2021-03-17 12:15 | 52.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9073 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136060.2744 | 275445.255 | 26.25 | 74
44596 | 2021-03-17 12:16 | 52.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8483 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136047.3071 | 275450.3659 | 26.25 | 74
44606 | 2021-03-17 12:16 | 52.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9514 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136047.6091 | 275430.8829 | 26.25 | 74
44617 | 2021-03-17 12:16 | 53.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0028 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136042.2773 | 275422.3688 | 26.25 | 74
44627 | 2021-03-17 12:17 | 53.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9807 | μmol/L | 12.8558 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136026.6702 | 275405.8086 | 26.25 | 74
44636 | 2021-03-17 12:17 | 53.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9294 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136020.8661 | 275415.6732 | 26.25 | 74
44646 | 2021-03-17 12:17 | 54.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7678 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136014.2416 | 275401.4636 | 26.25 | 74
44656 | 2021-03-17 12:18 | 54.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8632 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136016.615 | 275396.6941 | 26.25 | 74
44667 | 2021-03-17 12:18 | 54.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8781 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136005.8522 | 275399.1498 | 26.25 | 74
44676 | 2021-03-17 12:18 | 55.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9294 | μmol/L | 12.8618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136009.9643 | 275381.3511 | 26.25 | 74
44686 | 2021-03-17 12:19 | 55.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9001 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.38 | 135999.3047 | 275365.9472 | 26.25 | 74
44696 | 2021-03-17 12:19 | 55.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8781 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.381 | 135987.4802 | 275360.3117 | 26.25 | 74
44706 | 2021-03-17 12:19 | 56.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7678 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 135996.0839 | 275350.1183 | 26.25 | 74
44716 | 2021-03-17 12:20 | 56.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7016 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135995.4475 | 275350.2523 | 26.25 | 74
44726 | 2021-03-17 12:20 | 56.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6944 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 135995.0251 | 275330.6117 | 26.25 | 74
44736 | 2021-03-17 12:20 | 57.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7457 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 135996.5431 | 275320.5349 | 26.25 | 74
44747 | 2021-03-17 12:21 | 57.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6211 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136001.1194 | 275321.3817 | 26.25 | 74
44757 | 2021-03-17 12:21 | 57.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7457 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 135993.1532 | 275307.9324 | 26.25 | 74
44766 | 2021-03-17 12:21 | 58.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7016 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135988.7778 | 275308.0342 | 26.25 | 74
44777 | 2021-03-17 12:22 | 58.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7237 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.388 | 135988.7725 | 275304.1055 | 26.25 | 74
44786 | 2021-03-17 12:22 | 58.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.5842 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.392 | 135988.6181 | 275293.8441 | 26.25 | 74
44797 | 2021-03-17 12:22 | 59.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6503 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135973.6963 | 275289.8711 | 26.25 | 74
44806 | 2021-03-17 12:23 | 59.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6944 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.387 | 135956.9276 | 275275.6654 | 26.25 | 74
44817 | 2021-03-17 12:23 | 59.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6724 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.388 | 135941.562 | 275260.0583 | 26.25 | 74
44827 | 2021-03-17 12:23 | 60.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6134 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.393 | 135932.9166 | 275261.4875 | 26.25 | 74
44836 | 2021-03-17 12:24 | 60.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6283 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.39 | 135924.2127 | 275250.7232 | 26.25 | 74
44847 | 2021-03-17 12:24 | 60.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7237 | μmol/L | 12.8679 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.388 | 135915.6011 | 275251.6448 | 26.25 | 74
44856 | 2021-03-17 12:24 | 61.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6283 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.39 | 135912.8455 | 275249.0625 | 26.25 | 74
44866 | 2021-03-17 12:25 | 61.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6652 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.386 | 135905.4472 | 275225.8747 | 26.25 | 74
44876 | 2021-03-17 12:25 | 61.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.533 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.392 | 135877.3855 | 275219.2347 | 26.25 | 74
44886 | 2021-03-17 12:25 | 62.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.555 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.391 | 135886.298 | 275222.8235 | 26.25 | 74
44896 | 2021-03-17 12:26 | 62.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6503 | μmol/L | 12.874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135871.1753 | 275207.0182 | 26.25 | 74
44907 | 2021-03-17 12:26 | 62.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.4998 | μmol/L | 12.8862 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 135859.9208 | 275197.9375 | 26.25 | 74
44916 | 2021-03-17 12:26 | 63.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.5991 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135855.8703 | 275179.9422 | 26.25 | 74
44926 | 2021-03-17 12:27 | 63.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.5951 | μmol/L | 12.8801 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135853.2489 | 275179.7946 | 26.25 | 74
44937 | 2021-03-17 12:27 | 63.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.61 | μmol/L | 12.8862 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.386 | 135856.642 | 275178.6376 | 26.25 | 74
44946 | 2021-03-17 12:27 | 64.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6464 | μmol/L | 12.874 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 135831.0336 | 275166.6027 | 26.25 | 74
44955 | 2021-03-17 12:28 | 64.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.555 | μmol/L | 12.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.391 | 135833.0164 | 275161.7468 | 26.25 | 74