## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43029 | 2021-03-17 11:23 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.0697 | μmol/L | 12.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.202 | 137895.6625 | 276393.7571 | 32.55 | 27.7
43039 | 2021-03-17 11:24 | 0.32892 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.021 | μmol/L | 12.7646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.204 | 137876.3914 | 276366.6552 | 32.55 | 27.7
43049 | 2021-03-17 11:24 | 0.66193 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9429 | μmol/L | 12.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137861.3456 | 276345.6236 | 32.55 | 27.7
43059 | 2021-03-17 11:24 | 0.99592 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9613 | μmol/L | 12.7585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137832.4353 | 276296.4802 | 32.55 | 27.7
43069 | 2021-03-17 11:25 | 1.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.0099 | μmol/L | 12.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 137807.3795 | 276277.6444 | 32.55 | 27.7
43078 | 2021-03-17 11:25 | 1.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8911 | μmol/L | 12.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137777.537 | 276249.6959 | 32.55 | 27.7
43088 | 2021-03-17 11:25 | 1.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.813 | μmol/L | 12.7707 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.211 | 137748.8925 | 276207.5367 | 32.55 | 27.7
43098 | 2021-03-17 11:26 | 2.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9134 | μmol/L | 12.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137726.6943 | 276190.9184 | 32.55 | 27.7
43109 | 2021-03-17 11:26 | 2.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9134 | μmol/L | 12.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137696.7832 | 276163.8961 | 32.55 | 27.7
43118 | 2021-03-17 11:26 | 2.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.0322 | μmol/L | 12.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.206 | 137679.3806 | 276168.9251 | 32.55 | 27.7
43128 | 2021-03-17 11:27 | 3.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8911 | μmol/L | 12.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137655.4613 | 276153.0541 | 32.55 | 27.7
43138 | 2021-03-17 11:27 | 3.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8576 | μmol/L | 12.7707 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137625.2551 | 276121.7934 | 32.55 | 27.7
43148 | 2021-03-17 11:27 | 3.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8839 | μmol/L | 12.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 137597.2157 | 276097.6307 | 32.55 | 27.7
43158 | 2021-03-17 11:28 | 4.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9023 | μmol/L | 12.7707 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.207 | 137570.2659 | 276076.6501 | 32.55 | 27.7
43168 | 2021-03-17 11:28 | 4.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8393 | μmol/L | 12.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137546.6205 | 276054.8951 | 32.55 | 27.7
43178 | 2021-03-17 11:28 | 4.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7803 | μmol/L | 12.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 137519.7515 | 276040.8542 | 32.55 | 27.7
43189 | 2021-03-17 11:29 | 5.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8576 | μmol/L | 12.7707 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137493.4735 | 276023.0825 | 32.55 | 27.7
43199 | 2021-03-17 11:29 | 5.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8059 | μmol/L | 12.7768 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137477.6606 | 276010.5332 | 32.55 | 27.7
43209 | 2021-03-17 11:29 | 5.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8098 | μmol/L | 12.7768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137442.8568 | 275976.3287 | 32.55 | 27.7
43218 | 2021-03-17 11:30 | 6.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8027 | μmol/L | 12.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 137434.0907 | 275970.18 | 32.55 | 27.7
43229 | 2021-03-17 11:30 | 6.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8059 | μmol/L | 12.7768 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137412.4188 | 275937.7665 | 32.55 | 27.7
43238 | 2021-03-17 11:30 | 6.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7358 | μmol/L | 12.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137396.7255 | 275921.8246 | 32.55 | 27.7
43248 | 2021-03-17 11:31 | 7.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6872 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 137379.2475 | 275920.1643 | 32.55 | 27.7
43258 | 2021-03-17 11:31 | 7.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6426 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 137359.3747 | 275889.6998 | 32.55 | 27.7
43268 | 2021-03-17 11:31 | 7.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7318 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137334.2718 | 275868.6387 | 32.55 | 27.7
43278 | 2021-03-17 11:32 | 8.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6649 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.213 | 137324.8392 | 275859.084 | 32.55 | 27.7
43289 | 2021-03-17 11:32 | 8.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6354 | μmol/L | 12.7891 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 137302.9085 | 275841.7325 | 32.55 | 27.7
43298 | 2021-03-17 11:32 | 8.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7095 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.211 | 137274.2381 | 275811.3802 | 32.55 | 27.7
43309 | 2021-03-17 11:33 | 9.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7095 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.211 | 137257.5106 | 275814.493 | 32.55 | 27.7
43318 | 2021-03-17 11:33 | 9.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.5463 | μmol/L | 12.7891 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 137232.9185 | 275799.6377 | 32.55 | 27.7
43328 | 2021-03-17 11:33 | 9.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7541 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137213.582 | 275784.4089 | 32.55 | 27.7
43338 | 2021-03-17 11:34 | 10.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7541 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.209 | 137198.6404 | 275771.5898 | 32.55 | 27.7
43348 | 2021-03-17 11:34 | 10.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.606 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.211 | 137184.8612 | 275741.4454 | 32.55 | 27.7
43358 | 2021-03-17 11:34 | 10.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.68 | μmol/L | 12.7891 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.21 | 137162.9505 | 275738.8235 | 32.55 | 27.7
43368 | 2021-03-17 11:35 | 11.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.5909 | μmol/L | 12.7891 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 137148.2831 | 275712.0508 | 32.55 | 27.7
43379 | 2021-03-17 11:35 | 11.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6872 | μmol/L | 12.7829 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 137135.5227 | 275702.2201 | 32.55 | 27.7
43388 | 2021-03-17 11:35 | 11.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4723 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 137113.1046 | 275674.5674 | 32.55 | 27.7
43399 | 2021-03-17 11:36 | 12.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4723 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 137105.8131 | 275666.2796 | 32.55 | 27.7
43408 | 2021-03-17 11:36 | 12.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.5909 | μmol/L | 12.7891 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 137094.1906 | 275667.503 | 32.55 | 27.7
43419 | 2021-03-17 11:36 | 12.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4946 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 137077.5364 | 275635.2339 | 32.55 | 27.7
43429 | 2021-03-17 11:37 | 13.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.5391 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 137068.7984 | 275639.5407 | 32.55 | 27.7
43439 | 2021-03-17 11:37 | 13.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4874 | μmol/L | 12.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 137047.6786 | 275615.6682 | 32.55 | 27.7
43449 | 2021-03-17 11:37 | 13.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4723 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 137025.2816 | 275617.2436 | 32.55 | 27.7
43458 | 2021-03-17 11:38 | 14.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4723 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 137014.8617 | 275598.91 | 32.55 | 27.7
43468 | 2021-03-17 11:38 | 14.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.45 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 137000.6459 | 275586.5307 | 32.55 | 27.7
43478 | 2021-03-17 11:38 | 14.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4055 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136985.9398 | 275572.3689 | 32.55 | 27.7
43488 | 2021-03-17 11:39 | 15.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.45 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136972.8464 | 275572.606 | 32.55 | 27.7
43498 | 2021-03-17 11:39 | 15.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.45 | μmol/L | 12.7952 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136950.5356 | 275543.8129 | 32.55 | 27.7
43508 | 2021-03-17 11:39 | 15.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4429 | μmol/L | 12.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136944.6499 | 275534.7092 | 32.55 | 27.7
43518 | 2021-03-17 11:40 | 16.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3467 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136920.9358 | 275515.2993 | 32.55 | 27.7
43528 | 2021-03-17 11:40 | 16.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3983 | μmol/L | 12.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136904.8072 | 275499.4466 | 32.55 | 27.7
43538 | 2021-03-17 11:40 | 16.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3467 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136902.1983 | 275495.7142 | 32.55 | 27.7
43549 | 2021-03-17 11:41 | 17.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3244 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136877.9455 | 275484.0428 | 32.55 | 27.7
43558 | 2021-03-17 11:41 | 17.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3316 | μmol/L | 12.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136870.9141 | 275473.0116 | 32.55 | 27.7
43568 | 2021-03-17 11:41 | 17.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3467 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136858.8439 | 275462.4499 | 32.55 | 27.7
43579 | 2021-03-17 11:42 | 18.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3689 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136837.6293 | 275452.8116 | 32.55 | 27.7
43589 | 2021-03-17 11:42 | 18.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2131 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.224 | 136820.2773 | 275437.6231 | 32.55 | 27.7
43599 | 2021-03-17 11:42 | 18.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4135 | μmol/L | 12.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136796.8976 | 275421.1742 | 32.55 | 27.7
43608 | 2021-03-17 11:43 | 19.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.295 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136787.8553 | 275403.046 | 32.55 | 27.7
43619 | 2021-03-17 11:43 | 19.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3618 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136768.7199 | 275387.1068 | 32.55 | 27.7
43629 | 2021-03-17 11:43 | 19.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.206 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136745.377 | 275392.897 | 32.55 | 27.7
43639 | 2021-03-17 11:44 | 20.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3324 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 136731.8279 | 275366.2942 | 32.55 | 27.7
43649 | 2021-03-17 11:44 | 20.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.214 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136719.3178 | 275359.8347 | 32.55 | 27.7
43659 | 2021-03-17 11:44 | 20.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1027 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136694.9244 | 275338.867 | 32.55 | 27.7
43669 | 2021-03-17 11:45 | 21.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.214 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136683.3306 | 275323.6088 | 32.55 | 27.7
43679 | 2021-03-17 11:45 | 21.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1472 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136674.4924 | 275319.2146 | 32.55 | 27.7
43689 | 2021-03-17 11:45 | 21.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1695 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136642.8316 | 275299.6225 | 32.55 | 27.7
43699 | 2021-03-17 11:46 | 22.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2362 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136621.5443 | 275285.1097 | 32.55 | 27.7
43708 | 2021-03-17 11:46 | 22.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2211 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136613.7882 | 275276.7671 | 32.55 | 27.7
43719 | 2021-03-17 11:46 | 22.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1988 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136603.9064 | 275282.755 | 32.55 | 27.7
43729 | 2021-03-17 11:47 | 23.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.295 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136585.0386 | 275263.856 | 32.55 | 27.7
43738 | 2021-03-17 11:47 | 23.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2505 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136564.975 | 275248.4794 | 32.55 | 27.7
43748 | 2021-03-17 11:47 | 23.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1027 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136548.5063 | 275233.1708 | 32.55 | 27.7
43759 | 2021-03-17 11:48 | 24.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1695 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136546.5565 | 275228.9235 | 32.55 | 27.7
43769 | 2021-03-17 11:48 | 24.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.206 | μmol/L | 12.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136539.8243 | 275226.3468 | 32.55 | 27.7
43779 | 2021-03-17 11:48 | 24.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1027 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136518.8628 | 275190.3529 | 32.55 | 27.7
43789 | 2021-03-17 11:49 | 25.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2656 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136504.9242 | 275188.0099 | 32.55 | 27.7
43799 | 2021-03-17 11:49 | 25.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2362 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136485.1572 | 275187.9556 | 32.55 | 27.7
43809 | 2021-03-17 11:49 | 25.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1766 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136475.3978 | 275172.3847 | 32.55 | 27.7
43819 | 2021-03-17 11:50 | 26.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0805 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.223 | 136461.1154 | 275158.5906 | 32.55 | 27.7
43829 | 2021-03-17 11:50 | 26.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0956 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136449.5544 | 275146.5847 | 32.55 | 27.7
43839 | 2021-03-17 11:50 | 26.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1766 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136437.9042 | 275126.8736 | 32.55 | 27.7
43848 | 2021-03-17 11:51 | 27.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1544 | μmol/L | 12.8196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136431.3635 | 275122.0506 | 32.55 | 27.7
43859 | 2021-03-17 11:51 | 27.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1027 | μmol/L | 12.8257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136416.153 | 275119.2946 | 32.55 | 27.7
43868 | 2021-03-17 11:51 | 27.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0067 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.224 | 136396.407 | 275109.868 | 32.55 | 27.7
43879 | 2021-03-17 11:52 | 28.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0067 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.224 | 136388.1157 | 275104.8382 | 32.55 | 27.7
43888 | 2021-03-17 11:52 | 28.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0734 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136380.0298 | 275087.5199 | 32.55 | 27.7
43899 | 2021-03-17 11:52 | 28.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0218 | μmol/L | 12.8379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136366.2761 | 275075.3649 | 32.55 | 27.7
43908 | 2021-03-17 11:53 | 29.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.94 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.227 | 136353.8348 | 275068.9239 | 32.55 | 27.7
43919 | 2021-03-17 11:53 | 29.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0734 | μmol/L | 12.8318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136339.5514 | 275059.2859 | 32.55 | 27.7
43929 | 2021-03-17 11:53 | 29.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0885 | μmol/L | 12.8379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136323.8725 | 275052.8883 | 32.55 | 27.7
43938 | 2021-03-17 11:54 | 30.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9995 | μmol/L | 12.8379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136306.6915 | 275040.2409 | 32.55 | 27.7
43949 | 2021-03-17 11:54 | 30.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0662 | μmol/L | 12.8379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136284.816 | 275024.717 | 32.55 | 27.7
43959 | 2021-03-17 11:54 | 30.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0885 | μmol/L | 12.8379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136277.6838 | 275022.7459 | 32.55 | 27.7
43969 | 2021-03-17 11:55 | 31.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9924 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 136254.6351 | 275025.2203 | 32.55 | 27.7
43979 | 2021-03-17 11:55 | 31.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0146 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136244.0599 | 275010.3428 | 32.55 | 27.7
43988 | 2021-03-17 11:55 | 31.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0591 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136233.5083 | 274998.9457 | 32.55 | 27.7
43998 | 2021-03-17 11:56 | 32.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1036 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136209.3464 | 274990.9944 | 32.55 | 27.7
44008 | 2021-03-17 11:56 | 32.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.052 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136203.2551 | 274986.3282 | 32.55 | 27.7
44019 | 2021-03-17 11:56 | 32.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1258 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 136178.342 | 274966.2644 | 32.55 | 27.7
44028 | 2021-03-17 11:57 | 33.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0075 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136162.5744 | 274959.2667 | 32.55 | 27.7
44039 | 2021-03-17 11:57 | 33.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0814 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136155.9381 | 274978.6202 | 32.55 | 27.7
44048 | 2021-03-17 11:57 | 33.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1036 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136139.9029 | 274950.9881 | 32.55 | 27.7
44059 | 2021-03-17 11:58 | 34.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0369 | μmol/L | 12.844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 136124.374 | 274958.1245 | 32.55 | 27.7
44068 | 2021-03-17 11:58 | 34.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0965 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.213 | 136115.2696 | 274946.6904 | 32.55 | 27.7
44079 | 2021-03-17 11:58 | 34.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0227 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 136105.3509 | 274939.0063 | 32.55 | 27.7
44089 | 2021-03-17 11:59 | 35.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.052 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136087.8496 | 274913.9177 | 32.55 | 27.7
44098 | 2021-03-17 11:59 | 35.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.052 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136081.2041 | 274914.1001 | 32.55 | 27.7
44109 | 2021-03-17 11:59 | 35.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0298 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136070.0522 | 274913.8803 | 32.55 | 27.7
44119 | 2021-03-17 12:00 | 36.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1187 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 136053.278 | 274921.9942 | 32.55 | 27.7
44128 | 2021-03-17 12:00 | 36.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0156 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 136045.1376 | 274904.5885 | 32.55 | 27.7
44138 | 2021-03-17 12:00 | 36.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0156 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 136035.9385 | 274879.2519 | 32.55 | 27.7
44149 | 2021-03-17 12:01 | 37.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1187 | μmol/L | 12.8501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 136020.9178 | 274873.4189 | 32.55 | 27.7
44158 | 2021-03-17 12:01 | 37.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0004 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 136008.9946 | 274854.5647 | 32.55 | 27.7
44168 | 2021-03-17 12:01 | 37.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9711 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 135997.7426 | 274861.6485 | 32.55 | 27.7
44179 | 2021-03-17 12:02 | 38.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9933 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.213 | 136012.0418 | 274860.5617 | 32.55 | 27.7
44188 | 2021-03-17 12:02 | 38.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0227 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 135991.3579 | 274842.772 | 32.55 | 27.7
44199 | 2021-03-17 12:02 | 38.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0671 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 135984.5344 | 274837.1086 | 32.55 | 27.7
44208 | 2021-03-17 12:03 | 39.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9782 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 135984.7008 | 274836.0193 | 32.55 | 27.7
44219 | 2021-03-17 12:03 | 39.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.956 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 135970.4264 | 274840.4714 | 32.55 | 27.7
44228 | 2021-03-17 12:03 | 39.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.956 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 135960.9946 | 274832.2223 | 32.55 | 27.7
44238 | 2021-03-17 12:04 | 40.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9044 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 135944.2897 | 274816.6074 | 32.55 | 27.7
44249 | 2021-03-17 12:04 | 40.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9711 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 135929.2587 | 274809.3693 | 32.55 | 27.7
44259 | 2021-03-17 12:04 | 40.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9489 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135918.3798 | 274803.8644 | 32.55 | 27.7
44269 | 2021-03-17 12:05 | 41.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9489 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135904.3678 | 274798.7046 | 32.55 | 27.7
44279 | 2021-03-17 12:05 | 41.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0156 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.212 | 135901.8279 | 274788.0611 | 32.55 | 27.7
44289 | 2021-03-17 12:05 | 41.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.8529 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 135904.8153 | 274794.6187 | 32.55 | 27.7
44299 | 2021-03-17 12:06 | 42.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9782 | μmol/L | 12.8562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.216 | 135889.3953 | 274782.5956 | 32.55 | 27.7
44309 | 2021-03-17 12:06 | 42.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9489 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135888.314 | 274768.4014 | 32.55 | 27.7
44318 | 2021-03-17 12:06 | 42.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9711 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 135885.9633 | 274765.3863 | 32.55 | 27.7
44328 | 2021-03-17 12:07 | 43.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9195 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.214 | 135883.0673 | 274758.3604 | 32.55 | 27.7
44338 | 2021-03-17 12:07 | 43.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9044 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 135873.7786 | 274751.4334 | 32.55 | 27.7
44348 | 2021-03-17 12:07 | 43.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.8822 | μmol/L | 12.8623 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 135883.6592 | 274749.1296 | 32.55 | 27.7
44358 | 2021-03-17 12:08 | 44.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7862 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 135881.9767 | 274744.9102 | 32.55 | 27.7
44368 | 2021-03-17 12:08 | 44.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7862 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 135875.3522 | 274734.541 | 32.55 | 27.7
44379 | 2021-03-17 12:08 | 44.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7125 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 135870.8236 | 274746.975 | 32.55 | 27.7
44388 | 2021-03-17 12:09 | 45.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7418 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 135868.0479 | 274731.4978 | 32.55 | 27.7
44398 | 2021-03-17 12:09 | 45.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.653 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.226 | 135865.5883 | 274711.7452 | 32.55 | 27.7
44408 | 2021-03-17 12:09 | 45.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.764 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 135847.9333 | 274711.8681 | 32.55 | 27.7
44418 | 2021-03-17 12:10 | 46.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6903 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.222 | 135853.7899 | 274715.7019 | 32.55 | 27.7
44429 | 2021-03-17 12:10 | 46.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6752 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135844.4771 | 274707.7636 | 32.55 | 27.7
44438 | 2021-03-17 12:10 | 46.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7569 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.219 | 135836.3168 | 274703.9318 | 32.55 | 27.7
44448 | 2021-03-17 12:11 | 47.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.55 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.226 | 135830.572 | 274690.6312 | 32.55 | 27.7
44458 | 2021-03-17 12:11 | 47.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6237 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135821.6701 | 274676.626 | 32.55 | 27.7
44468 | 2021-03-17 12:11 | 47.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6681 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.223 | 135816.0578 | 274684.0542 | 32.55 | 27.7
44478 | 2021-03-17 12:12 | 48.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7196 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.223 | 135806.2052 | 274675.0704 | 32.55 | 27.7
44489 | 2021-03-17 12:12 | 48.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6237 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135813.2059 | 274672.9919 | 32.55 | 27.7
44498 | 2021-03-17 12:12 | 48.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6237 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135805.8243 | 274678.2242 | 32.55 | 27.7
44508 | 2021-03-17 12:13 | 49.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6237 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135813.3153 | 274666.6725 | 32.55 | 27.7
44519 | 2021-03-17 12:13 | 49.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.653 | μmol/L | 12.8684 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.226 | 135817.5676 | 274663.0293 | 32.55 | 27.7
44529 | 2021-03-17 12:13 | 49.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5571 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.228 | 135815.5845 | 274665.778 | 32.55 | 27.7
44539 | 2021-03-17 12:14 | 50.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5056 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.228 | 135807.2546 | 274665.6455 | 32.55 | 27.7
44548 | 2021-03-17 12:14 | 50.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4684 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135808.746 | 274652.7391 | 32.55 | 27.7
44559 | 2021-03-17 12:14 | 50.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5349 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.229 | 135815.9125 | 274651.6863 | 32.55 | 27.7
44569 | 2021-03-17 12:15 | 51.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4684 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135816.7299 | 274656.3049 | 32.55 | 27.7
44579 | 2021-03-17 12:15 | 51.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.424 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.234 | 135821.4057 | 274650.3349 | 32.55 | 27.7
44589 | 2021-03-17 12:15 | 51.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3504 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135818.3847 | 274634.8336 | 32.55 | 27.7
44598 | 2021-03-17 12:16 | 52.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.424 | μmol/L | 12.8745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.234 | 135817.3504 | 274629.985 | 32.55 | 27.7
44609 | 2021-03-17 12:16 | 52.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3282 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.236 | 135818.7975 | 274628.5424 | 32.55 | 27.7
44618 | 2021-03-17 12:16 | 52.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2547 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 135809.5599 | 274620.8599 | 32.55 | 27.7
44628 | 2021-03-17 12:17 | 53.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2617 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135813.3622 | 274607.4559 | 32.55 | 27.7
44638 | 2021-03-17 12:17 | 53.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3504 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135795.1538 | 274597.3261 | 32.55 | 27.7
44648 | 2021-03-17 12:17 | 53.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3282 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.236 | 135792.2868 | 274596.8427 | 32.55 | 27.7
44658 | 2021-03-17 12:18 | 54.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1589 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135788.9724 | 274594.2401 | 32.55 | 27.7
44668 | 2021-03-17 12:18 | 54.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2103 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135776.4007 | 274595.9956 | 32.55 | 27.7
44679 | 2021-03-17 12:18 | 54.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2476 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135767.8567 | 274580.9605 | 32.55 | 27.7
44689 | 2021-03-17 12:19 | 55.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2325 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.238 | 135752.2698 | 274572.9102 | 32.55 | 27.7
44698 | 2021-03-17 12:19 | 55.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3947 | μmol/L | 12.8806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135744.5937 | 274578.5172 | 32.55 | 27.7
44709 | 2021-03-17 12:19 | 55.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3433 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135729.9579 | 274553.4532 | 32.55 | 27.7
44719 | 2021-03-17 12:20 | 56.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2919 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135711.0257 | 274549.2913 | 32.55 | 27.7
44729 | 2021-03-17 12:20 | 56.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3655 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135708.5991 | 274550.2101 | 32.55 | 27.7
44738 | 2021-03-17 12:20 | 56.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3141 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135698.9844 | 274553.8251 | 32.55 | 27.7
44749 | 2021-03-17 12:21 | 57.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3433 | μmol/L | 12.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135700.6395 | 274551.638 | 32.55 | 27.7
44759 | 2021-03-17 12:21 | 57.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2919 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135691.5864 | 274539.9175 | 32.55 | 27.7
44768 | 2021-03-17 12:21 | 57.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2919 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 135684.9649 | 274539.7467 | 32.55 | 27.7
44779 | 2021-03-17 12:22 | 58.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2254 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.236 | 135689.3898 | 274530.9063 | 32.55 | 27.7
44789 | 2021-03-17 12:22 | 58.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2697 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.234 | 135685.1254 | 274517.8127 | 32.55 | 27.7
44799 | 2021-03-17 12:22 | 58.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2476 | μmol/L | 12.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135681.283 | 274521.6911 | 32.55 | 27.7
44809 | 2021-03-17 12:23 | 59.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1519 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 135695.03 | 274510.6507 | 32.55 | 27.7
44819 | 2021-03-17 12:23 | 59.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1076 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135689.3011 | 274529.0852 | 32.55 | 27.7
44829 | 2021-03-17 12:23 | 59.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1962 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135682.0706 | 274505.5804 | 32.55 | 27.7
44838 | 2021-03-17 12:24 | 60.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1297 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.238 | 135675.3759 | 274496.5442 | 32.55 | 27.7
44849 | 2021-03-17 12:24 | 60.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1519 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 135668.9215 | 274503.9043 | 32.55 | 27.7
44858 | 2021-03-17 12:24 | 60.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1297 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.238 | 135666.8612 | 274493.3322 | 32.55 | 27.7
44868 | 2021-03-17 12:25 | 61.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1076 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135654.5311 | 274493.9252 | 32.55 | 27.7
44878 | 2021-03-17 12:25 | 61.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1962 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135649.378 | 274475.8564 | 32.55 | 27.7
44889 | 2021-03-17 12:25 | 61.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1297 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.238 | 135644.9964 | 274472.9184 | 32.55 | 27.7
44898 | 2021-03-17 12:26 | 62.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1076 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135647.0855 | 274463.4029 | 32.55 | 27.7
44909 | 2021-03-17 12:26 | 62.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0341 | μmol/L | 12.905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.24 | 135652.0576 | 274478.7652 | 32.55 | 27.7
44918 | 2021-03-17 12:26 | 62.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0411 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.242 | 135654.9216 | 274457.6982 | 32.55 | 27.7
44928 | 2021-03-17 12:27 | 63.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9969 | μmol/L | 12.8989 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.244 | 135650.4397 | 274455.5282 | 32.55 | 27.7
44938 | 2021-03-17 12:27 | 63.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9163 | μmol/L | 12.9111 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.243 | 135641.8275 | 274452.5084 | 32.55 | 27.7
44948 | 2021-03-17 12:27 | 63.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9677 | μmol/L | 12.905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.243 | 135641.4643 | 274453.2558 | 32.55 | 27.7
44956 | 2021-03-17 12:28 | 64.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.8721 | μmol/L | 12.9111 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.245 | 135635.8903 | 274452.0598 | 32.55 | 27.7