## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44962 | 2021-03-17 14:18 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.5301 | μmol/L | 13.0621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.541 | 116994.6556 | 302777.9628 | 30.45 | 114.2
44972 | 2021-03-17 14:18 | 0.34106 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.4101 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.542 | 116993.47 | 302796.6516 | 30.45 | 114.2
44982 | 2021-03-17 14:19 | 0.67454 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.438 | μmol/L | 13.0683 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.543 | 116994.0323 | 302794.4415 | 30.45 | 114.2
44992 | 2021-03-17 14:19 | 1.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.3952 | μmol/L | 13.0683 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.545 | 116978.6936 | 302792.6697 | 30.45 | 114.2
45002 | 2021-03-17 14:19 | 1.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.4166 | μmol/L | 13.0683 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.544 | 116969.6802 | 302780.1115 | 30.45 | 114.2
45012 | 2021-03-17 14:20 | 1.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.5022 | μmol/L | 13.0683 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.54 | 116965.3968 | 302788.877 | 30.45 | 114.2
45022 | 2021-03-17 14:20 | 2.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.5301 | μmol/L | 13.0621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.541 | 116946.3626 | 302780.1475 | 30.45 | 114.2
45032 | 2021-03-17 14:20 | 2.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.438 | μmol/L | 13.0683 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.543 | 116957.4521 | 302771.7694 | 30.45 | 114.2
45042 | 2021-03-17 14:21 | 2.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.3246 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.546 | 116950.2263 | 302769.9815 | 30.45 | 114.2
45052 | 2021-03-17 14:21 | 3.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.3246 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.546 | 116938.9583 | 302750.0286 | 30.45 | 114.2
45062 | 2021-03-17 14:21 | 3.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2818 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.548 | 116936.6557 | 302756.3906 | 30.45 | 114.2
45072 | 2021-03-17 14:22 | 3.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2967 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.545 | 116923.3812 | 302748.5013 | 30.45 | 114.2
45082 | 2021-03-17 14:22 | 4.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.346 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.545 | 116916.2935 | 302741.285 | 30.45 | 114.2
45092 | 2021-03-17 14:22 | 4.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2753 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.546 | 116921.9316 | 302745.9538 | 30.45 | 114.2
45102 | 2021-03-17 14:23 | 4.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2326 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.548 | 116916.5665 | 302720.2169 | 30.45 | 114.2
45112 | 2021-03-17 14:23 | 5.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2967 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.545 | 116906.8818 | 302734.2196 | 30.45 | 114.2
45122 | 2021-03-17 14:23 | 5.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2818 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.548 | 116908.5693 | 302719.9369 | 30.45 | 114.2
45132 | 2021-03-17 14:24 | 5.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1685 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116905.2087 | 302710.9163 | 30.45 | 114.2
45142 | 2021-03-17 14:24 | 6.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2177 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116901.7617 | 302720.0202 | 30.45 | 114.2
45152 | 2021-03-17 14:24 | 6.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2177 | μmol/L | 13.0744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116903.0555 | 302720.3082 | 30.45 | 114.2
45162 | 2021-03-17 14:25 | 6.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1342 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.548 | 116901.6233 | 302719.4003 | 30.45 | 114.2
45172 | 2021-03-17 14:25 | 7.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1685 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116892.7036 | 302714.5992 | 30.45 | 114.2
45182 | 2021-03-17 14:25 | 7.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1193 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116889.701 | 302703.4472 | 30.45 | 114.2
45192 | 2021-03-17 14:26 | 7.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1406 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.55 | 116888.5592 | 302706.3748 | 30.45 | 114.2
45202 | 2021-03-17 14:26 | 8.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1193 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.551 | 116890.7475 | 302680.2759 | 30.45 | 114.2
45212 | 2021-03-17 14:26 | 8.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2326 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.548 | 116887.1331 | 302691.5026 | 30.45 | 114.2
45222 | 2021-03-17 14:27 | 8.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0338 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.555 | 116884.5492 | 302674.4177 | 30.45 | 114.2
45232 | 2021-03-17 14:27 | 9.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0552 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.554 | 116886.7779 | 302670.621 | 30.45 | 114.2
45242 | 2021-03-17 14:27 | 9.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0979 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.552 | 116886.6575 | 302678.1773 | 30.45 | 114.2
45252 | 2021-03-17 14:28 | 9.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0338 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.555 | 116885.3184 | 302667.8914 | 30.45 | 114.2
45262 | 2021-03-17 14:28 | 10.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1257 | μmol/L | 13.0805 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.553 | 116885.9518 | 302679.5938 | 30.45 | 114.2
45272 | 2021-03-17 14:28 | 10.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9911 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.557 | 116883.5632 | 302661.0874 | 30.45 | 114.2
45282 | 2021-03-17 14:29 | 10.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9419 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.557 | 116884.8473 | 302661.3492 | 30.45 | 114.2
45292 | 2021-03-17 14:29 | 11.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0124 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.556 | 116879.5523 | 302666.0506 | 30.45 | 114.2
45302 | 2021-03-17 14:29 | 11.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9484 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.559 | 116886.9057 | 302651.3237 | 30.45 | 114.2
45312 | 2021-03-17 14:30 | 11.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.006 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.554 | 116876.8435 | 302643.2907 | 30.45 | 114.2
45322 | 2021-03-17 14:30 | 12.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9206 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.558 | 116878.3306 | 302651.4919 | 30.45 | 114.2
45332 | 2021-03-17 14:30 | 12.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0124 | μmol/L | 13.0867 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.556 | 116879.4374 | 302642.9472 | 30.45 | 114.2
45342 | 2021-03-17 14:31 | 12.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9846 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.555 | 116876.0933 | 302640.901 | 30.45 | 114.2
45352 | 2021-03-17 14:31 | 13.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8287 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.56 | 116879.1816 | 302626.3664 | 30.45 | 114.2
45362 | 2021-03-17 14:31 | 13.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8139 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116888.045 | 302651.0047 | 30.45 | 114.2
45372 | 2021-03-17 14:32 | 13.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8352 | μmol/L | 13.0928 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.562 | 116875.813 | 302633.6429 | 30.45 | 114.2
45382 | 2021-03-17 14:32 | 14.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7156 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116871.2211 | 302619.6418 | 30.45 | 114.2
45392 | 2021-03-17 14:32 | 14.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7434 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.564 | 116884.981 | 302626.3185 | 30.45 | 114.2
45402 | 2021-03-17 14:33 | 14.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7434 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.564 | 116879.2463 | 302627.2196 | 30.45 | 114.2
45412 | 2021-03-17 14:33 | 15.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7861 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.562 | 116883.3856 | 302611.182 | 30.45 | 114.2
45422 | 2021-03-17 14:33 | 15.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8074 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.561 | 116877.7963 | 302612.8015 | 30.45 | 114.2
45432 | 2021-03-17 14:34 | 15.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7647 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116875.2687 | 302621.325 | 30.45 | 114.2
45442 | 2021-03-17 14:34 | 16.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8074 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.561 | 116872.5935 | 302606.0482 | 30.45 | 114.2
45452 | 2021-03-17 14:34 | 16.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7156 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116879.0946 | 302593.4767 | 30.45 | 114.2
45462 | 2021-03-17 14:35 | 16.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7221 | μmol/L | 13.0989 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.565 | 116877.1941 | 302605.1203 | 30.45 | 114.2
45472 | 2021-03-17 14:35 | 17.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6303 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116881.4448 | 302606.691 | 30.45 | 114.2
45482 | 2021-03-17 14:35 | 17.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7156 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116884.2359 | 302597.2249 | 30.45 | 114.2
45492 | 2021-03-17 14:36 | 17.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6943 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.564 | 116881.5411 | 302587.1972 | 30.45 | 114.2
45502 | 2021-03-17 14:36 | 18.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6943 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.564 | 116879.6685 | 302590.6874 | 30.45 | 114.2
45512 | 2021-03-17 14:36 | 18.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.7156 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.563 | 116870.3565 | 302582.9016 | 30.45 | 114.2
45522 | 2021-03-17 14:37 | 18.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6303 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116874.2478 | 302576.229 | 30.45 | 114.2
45532 | 2021-03-17 14:37 | 19.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116873.4565 | 302582.4635 | 30.45 | 114.2
45542 | 2021-03-17 14:37 | 19.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.609 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.568 | 116867.5753 | 302583.3072 | 30.45 | 114.2
45552 | 2021-03-17 14:38 | 19.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116878.0321 | 302578.3541 | 30.45 | 114.2
45562 | 2021-03-17 14:38 | 20.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6303 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116864.0882 | 302577.3782 | 30.45 | 114.2
45572 | 2021-03-17 14:38 | 20.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5451 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116860.1417 | 302576.0445 | 30.45 | 114.2
45582 | 2021-03-17 14:39 | 20.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6303 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116856.8375 | 302567.4932 | 30.45 | 114.2
45592 | 2021-03-17 14:39 | 21.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.673 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.565 | 116859.0313 | 302569.2648 | 30.45 | 114.2
45602 | 2021-03-17 14:39 | 21.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6303 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116852.2047 | 302549.8041 | 30.45 | 114.2
45612 | 2021-03-17 14:40 | 21.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116854.8004 | 302568.71 | 30.45 | 114.2
45622 | 2021-03-17 14:40 | 22.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5812 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116852.6779 | 302566.8971 | 30.45 | 114.2
45632 | 2021-03-17 14:40 | 22.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5664 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.57 | 116853.7186 | 302561.3483 | 30.45 | 114.2
45642 | 2021-03-17 14:41 | 22.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.673 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.565 | 116850.6143 | 302547.5937 | 30.45 | 114.2
45652 | 2021-03-17 14:41 | 23.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5812 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116855.0387 | 302554.143 | 30.45 | 114.2
45662 | 2021-03-17 14:41 | 23.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116850.8135 | 302553.9432 | 30.45 | 114.2
45672 | 2021-03-17 14:42 | 23.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116850.28 | 302542.0627 | 30.45 | 114.2
45682 | 2021-03-17 14:42 | 24.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5812 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116860.4369 | 302558.242 | 30.45 | 114.2
45692 | 2021-03-17 14:42 | 24.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6516 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.566 | 116855.0113 | 302549.7571 | 30.45 | 114.2
45702 | 2021-03-17 14:43 | 24.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.496 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116856.3003 | 302545.4728 | 30.45 | 114.2
45712 | 2021-03-17 14:43 | 25.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.496 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116852.2001 | 302544.289 | 30.45 | 114.2
45722 | 2021-03-17 14:43 | 25.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5451 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116852.4101 | 302534.3849 | 30.45 | 114.2
45732 | 2021-03-17 14:44 | 25.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5386 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.569 | 116857.7343 | 302537.3896 | 30.45 | 114.2
45742 | 2021-03-17 14:44 | 26.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5451 | μmol/L | 13.1051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116862.6377 | 302534.2395 | 30.45 | 114.2
45752 | 2021-03-17 14:44 | 26.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4747 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.572 | 116864.9023 | 302531.4251 | 30.45 | 114.2
45762 | 2021-03-17 14:45 | 26.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.496 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116861.9137 | 302525.685 | 30.45 | 114.2
45772 | 2021-03-17 14:45 | 27.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4108 | μmol/L | 13.1112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.575 | 116866.6462 | 302532.1213 | 30.45 | 114.2
45782 | 2021-03-17 14:45 | 27.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4256 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.572 | 116858.402 | 302509.4349 | 30.45 | 114.2
45792 | 2021-03-17 14:46 | 27.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3405 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.576 | 116858.6219 | 302521.3977 | 30.45 | 114.2
45802 | 2021-03-17 14:46 | 28.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.383 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.574 | 116867.1472 | 302509.8433 | 30.45 | 114.2
45812 | 2021-03-17 14:46 | 28.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5109 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.568 | 116852.7959 | 302513.4669 | 30.45 | 114.2
45822 | 2021-03-17 14:47 | 28.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.447 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116848.9048 | 302513.6041 | 30.45 | 114.2
45832 | 2021-03-17 14:47 | 29.0085 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3192 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.577 | 116849.9857 | 302518.0363 | 30.45 | 114.2
45842 | 2021-03-17 14:47 | 29.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4683 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.57 | 116854.877 | 302521.8292 | 30.45 | 114.2
45852 | 2021-03-17 14:48 | 29.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3618 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.575 | 116853.2773 | 302501.2322 | 30.45 | 114.2
45862 | 2021-03-17 14:48 | 30.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3979 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.571 | 116838.5158 | 302508.9645 | 30.45 | 114.2
45872 | 2021-03-17 14:48 | 30.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4256 | μmol/L | 13.1173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.572 | 116849.0954 | 302501.1177 | 30.45 | 114.2
45882 | 2021-03-17 14:49 | 30.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.334 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.574 | 116839.6901 | 302496.7478 | 30.45 | 114.2
45892 | 2021-03-17 14:49 | 31.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3702 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.57 | 116837.8429 | 302493.9157 | 30.45 | 114.2
45902 | 2021-03-17 14:49 | 31.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4831 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.567 | 116834.976 | 302492.5859 | 30.45 | 114.2
45912 | 2021-03-17 14:50 | 31.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3063 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.573 | 116837.2156 | 302487.6039 | 30.45 | 114.2
45922 | 2021-03-17 14:50 | 32.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4192 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.57 | 116835.1852 | 302497.8983 | 30.45 | 114.2
45932 | 2021-03-17 14:50 | 32.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3553 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.573 | 116835.0119 | 302483.3781 | 30.45 | 114.2
45942 | 2021-03-17 14:51 | 32.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2637 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.575 | 116836.3022 | 302485.8925 | 30.45 | 114.2
45952 | 2021-03-17 14:51 | 33.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2637 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.575 | 116846.5454 | 302483.1615 | 30.45 | 114.2
45962 | 2021-03-17 14:51 | 33.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2489 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116848.1407 | 302477.5948 | 30.45 | 114.2
45972 | 2021-03-17 14:52 | 33.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1786 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116847.155 | 302472.2267 | 30.45 | 114.2
45982 | 2021-03-17 14:52 | 34.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1786 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116848.1658 | 302470.0251 | 30.45 | 114.2
45992 | 2021-03-17 14:52 | 34.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1573 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116865.712 | 302457.9047 | 30.45 | 114.2
46002 | 2021-03-17 14:53 | 34.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1573 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116863.0616 | 302474.207 | 30.45 | 114.2
46012 | 2021-03-17 14:53 | 35.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1999 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116863.5471 | 302466.6277 | 30.45 | 114.2
46022 | 2021-03-17 14:53 | 35.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1296 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116865.368 | 302458.6363 | 30.45 | 114.2
46032 | 2021-03-17 14:54 | 35.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0445 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.583 | 116863.5727 | 302458.8654 | 30.45 | 114.2
46042 | 2021-03-17 14:54 | 36.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1084 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116856.6582 | 302451.737 | 30.45 | 114.2
46052 | 2021-03-17 14:54 | 36.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0445 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.583 | 116855.088 | 302448.5494 | 30.45 | 114.2
46062 | 2021-03-17 14:55 | 36.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1148 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.582 | 116843.3186 | 302446.9368 | 30.45 | 114.2
46072 | 2021-03-17 14:55 | 37.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1084 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116855.4891 | 302462.2588 | 30.45 | 114.2
46082 | 2021-03-17 14:55 | 37.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1148 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.582 | 116840.5488 | 302450.8775 | 30.45 | 114.2
46092 | 2021-03-17 14:56 | 37.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1296 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116842.7844 | 302441.0452 | 30.45 | 114.2
46102 | 2021-03-17 14:56 | 38.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1786 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116836.935 | 302449.1402 | 30.45 | 114.2
46112 | 2021-03-17 14:56 | 38.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1999 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116844.6827 | 302448.9083 | 30.45 | 114.2
46122 | 2021-03-17 14:57 | 38.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1637 | μmol/L | 13.1235 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.582 | 116830.625 | 302432.1908 | 30.45 | 114.2
46132 | 2021-03-17 14:57 | 39.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1999 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116830.6378 | 302429.2381 | 30.45 | 114.2
46142 | 2021-03-17 14:57 | 39.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1296 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.579 | 116828.5911 | 302428.1948 | 30.45 | 114.2
46152 | 2021-03-17 14:58 | 39.6752 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1509 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116820.7495 | 302427.4775 | 30.45 | 114.2
46162 | 2021-03-17 14:58 | 40.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1722 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.577 | 116824.9438 | 302438.967 | 30.45 | 114.2
46172 | 2021-03-17 14:58 | 40.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1999 | μmol/L | 13.1296 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.578 | 116828.714 | 302435.1588 | 30.45 | 114.2
46182 | 2021-03-17 14:59 | 40.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2147 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.575 | 116824.5019 | 302433.7161 | 30.45 | 114.2
46192 | 2021-03-17 14:59 | 41.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0871 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.581 | 116831.9652 | 302430.4494 | 30.45 | 114.2
46202 | 2021-03-17 14:59 | 41.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0871 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.581 | 116831.2163 | 302427.2879 | 30.45 | 114.2
46212 | 2021-03-17 15:00 | 41.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1084 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116841.39 | 302427.7383 | 30.45 | 114.2
46222 | 2021-03-17 15:00 | 42.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0658 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.582 | 116836.1638 | 302407.7622 | 30.45 | 114.2
46232 | 2021-03-17 15:00 | 42.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.1084 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.58 | 116839.0712 | 302412.0117 | 30.45 | 114.2
46242 | 2021-03-17 15:01 | 42.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0871 | μmol/L | 13.1357 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.581 | 116827.4399 | 302417.7568 | 30.45 | 114.2
46252 | 2021-03-17 15:01 | 43.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0381 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.581 | 116837.6147 | 302416.3345 | 30.45 | 114.2
46262 | 2021-03-17 15:01 | 43.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9318 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.586 | 116841.6444 | 302400.9859 | 30.45 | 114.2
46272 | 2021-03-17 15:02 | 43.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9318 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.586 | 116840.641 | 302410.8519 | 30.45 | 114.2
46282 | 2021-03-17 15:02 | 44.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0169 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.582 | 116839.5869 | 302417.0533 | 30.45 | 114.2
46292 | 2021-03-17 15:02 | 44.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0381 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.581 | 116842.663 | 302412.7402 | 30.45 | 114.2
46302 | 2021-03-17 15:03 | 44.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9531 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.585 | 116851.4685 | 302409.261 | 30.45 | 114.2
46312 | 2021-03-17 15:03 | 45.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9531 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.585 | 116855.5986 | 302411.999 | 30.45 | 114.2
46322 | 2021-03-17 15:03 | 45.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9743 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.584 | 116851.6621 | 302416.1174 | 30.45 | 114.2
46332 | 2021-03-17 15:04 | 45.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.8468 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.59 | 116858.5953 | 302414.4296 | 30.45 | 114.2
46342 | 2021-03-17 15:04 | 46.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.8468 | μmol/L | 13.1419 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.59 | 116858.6082 | 302398.4129 | 30.45 | 114.2
46352 | 2021-03-17 15:04 | 46.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.8617 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.587 | 116858.3116 | 302403.2488 | 30.45 | 114.2
46362 | 2021-03-17 15:05 | 46.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.8192 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.589 | 116859.5924 | 302407.1344 | 30.45 | 114.2
46372 | 2021-03-17 15:05 | 47.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7767 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116868.0299 | 302419.3185 | 30.45 | 114.2
46382 | 2021-03-17 15:05 | 47.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7703 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.589 | 116868.5125 | 302393.8598 | 30.45 | 114.2
46392 | 2021-03-17 15:06 | 47.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7342 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.593 | 116876.2937 | 302403.9468 | 30.45 | 114.2
46402 | 2021-03-17 15:06 | 48.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7767 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116881.0119 | 302395.7989 | 30.45 | 114.2
46412 | 2021-03-17 15:06 | 48.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7767 | μmol/L | 13.148 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116873.9054 | 302393.3681 | 30.45 | 114.2
46422 | 2021-03-17 15:07 | 48.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6853 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.593 | 116879.4477 | 302398.777 | 30.45 | 114.2
46432 | 2021-03-17 15:07 | 49.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6365 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.593 | 116870.6142 | 302388.8853 | 30.45 | 114.2
46442 | 2021-03-17 15:07 | 49.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7066 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.592 | 116873.2494 | 302394.869 | 30.45 | 114.2
46452 | 2021-03-17 15:08 | 49.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7066 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.592 | 116874.5805 | 302394.4652 | 30.45 | 114.2
46462 | 2021-03-17 15:08 | 50.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6641 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.594 | 116876.136 | 302395.4781 | 30.45 | 114.2
46472 | 2021-03-17 15:08 | 50.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7066 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.592 | 116866.6973 | 302396.5409 | 30.45 | 114.2
46482 | 2021-03-17 15:09 | 50.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7703 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.589 | 116867.6034 | 302373.3268 | 30.45 | 114.2
46492 | 2021-03-17 15:09 | 51.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7278 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116856.7864 | 302372.3309 | 30.45 | 114.2
46502 | 2021-03-17 15:09 | 51.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6429 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.595 | 116858.927 | 302379.3604 | 30.45 | 114.2
46512 | 2021-03-17 15:10 | 51.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6789 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116867.0155 | 302366.1103 | 30.45 | 114.2
46522 | 2021-03-17 15:10 | 52.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6365 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.593 | 116864.4736 | 302369.6812 | 30.45 | 114.2
46532 | 2021-03-17 15:10 | 52.3418 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6789 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116862.7392 | 302373.6931 | 30.45 | 114.2
46542 | 2021-03-17 15:11 | 52.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7915 | μmol/L | 13.1541 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.588 | 116856.3703 | 302373.5263 | 30.45 | 114.2
46552 | 2021-03-17 15:11 | 53.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6789 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116858.4806 | 302386.6084 | 30.45 | 114.2
46562 | 2021-03-17 15:11 | 53.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6301 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.591 | 116859.9477 | 302368.6861 | 30.45 | 114.2
46572 | 2021-03-17 15:12 | 53.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7214 | μmol/L | 13.1603 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.589 | 116871.7348 | 302364.8295 | 30.45 | 114.2
46582 | 2021-03-17 15:12 | 54.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.5876 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.593 | 116873.4497 | 302363.7559 | 30.45 | 114.2
46592 | 2021-03-17 15:12 | 54.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.5027 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.597 | 116879.2247 | 302360.29 | 30.45 | 114.2
46602 | 2021-03-17 15:13 | 54.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.5027 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.597 | 116880.6227 | 302385.5959 | 30.45 | 114.2
46612 | 2021-03-17 15:13 | 55.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.4391 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.6 | 116891.0445 | 302366.841 | 30.45 | 114.2
46622 | 2021-03-17 15:13 | 55.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.4391 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.6 | 116897.1505 | 302374.9059 | 30.45 | 114.2
46632 | 2021-03-17 15:14 | 55.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.4179 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.601 | 116902.9587 | 302352.7866 | 30.45 | 114.2
46642 | 2021-03-17 15:14 | 56.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.3755 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.603 | 116915.6461 | 302355.0229 | 30.45 | 114.2
46652 | 2021-03-17 15:14 | 56.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.3543 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.604 | 116923.2041 | 302349.3753 | 30.45 | 114.2
46662 | 2021-03-17 15:15 | 56.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.3119 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.606 | 116931.2384 | 302357.4418 | 30.45 | 114.2
46672 | 2021-03-17 15:15 | 57.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.2483 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.609 | 116938.3641 | 302337.8444 | 30.45 | 114.2
46682 | 2021-03-17 15:15 | 57.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.2419 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.607 | 116943.7181 | 302352.0981 | 30.45 | 114.2
46692 | 2021-03-17 15:16 | 57.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.1995 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.609 | 116945.8092 | 302346.6905 | 30.45 | 114.2
46702 | 2021-03-17 15:16 | 58.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.2059 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.611 | 116952.3633 | 302343.4209 | 30.45 | 114.2
46712 | 2021-03-17 15:16 | 58.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.2483 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.609 | 116963.5052 | 302343.5171 | 30.45 | 114.2
46722 | 2021-03-17 15:17 | 58.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.1424 | μmol/L | 13.1664 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.614 | 116958.4194 | 302335.6428 | 30.45 | 114.2
46732 | 2021-03-17 15:17 | 59.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0513 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.616 | 116974.3547 | 302336.621 | 30.45 | 114.2
46742 | 2021-03-17 15:17 | 59.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0237 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.615 | 116983.6222 | 302343.4253 | 30.45 | 114.2
46752 | 2021-03-17 15:18 | 59.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0513 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.616 | 116984.7291 | 302347.5109 | 30.45 | 114.2
46762 | 2021-03-17 15:18 | 60.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0026 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.616 | 116995.2689 | 302340.6212 | 30.45 | 114.2
46772 | 2021-03-17 15:18 | 60.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0513 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.616 | 117005.2332 | 302334.5691 | 30.45 | 114.2
46782 | 2021-03-17 15:19 | 60.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.9455 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.621 | 117007.5714 | 302337.4909 | 30.45 | 114.2
46792 | 2021-03-17 15:19 | 61.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.9179 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.62 | 117009.3904 | 302330.3831 | 30.45 | 114.2
46802 | 2021-03-17 15:19 | 61.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8545 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.623 | 117020.5077 | 302330.7035 | 30.45 | 114.2
46812 | 2021-03-17 15:20 | 61.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.882 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.624 | 117012.8855 | 302327.3416 | 30.45 | 114.2
46822 | 2021-03-17 15:20 | 62.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8545 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.623 | 117021.0224 | 302331.4926 | 30.45 | 114.2
46832 | 2021-03-17 15:20 | 62.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8333 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.624 | 117021.1035 | 302341.1197 | 30.45 | 114.2
46842 | 2021-03-17 15:21 | 62.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8545 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.623 | 117016.2134 | 302336.9258 | 30.45 | 114.2
46852 | 2021-03-17 15:21 | 63.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8545 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.623 | 117019.7103 | 302333.6155 | 30.45 | 114.2
46862 | 2021-03-17 15:21 | 63.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8968 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.621 | 117019.8879 | 302343.2443 | 30.45 | 114.2
46872 | 2021-03-17 15:22 | 63.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8333 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.624 | 117022.8284 | 302326.1398 | 30.45 | 114.2
46882 | 2021-03-17 15:22 | 64.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8122 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.625 | 117027.4383 | 302312.5334 | 30.45 | 114.2
46892 | 2021-03-17 15:22 | 64.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8397 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.626 | 117019.5643 | 302312.6399 | 30.45 | 114.2
46902 | 2021-03-17 15:23 | 64.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8333 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.624 | 117019.7519 | 302319.6273 | 30.45 | 114.2
46912 | 2021-03-17 15:23 | 65.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8968 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.621 | 117009.5223 | 302312.8028 | 30.45 | 114.2
46922 | 2021-03-17 15:23 | 65.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.882 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.624 | 117016.4306 | 302323.5944 | 30.45 | 114.2
46932 | 2021-03-17 15:24 | 65.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8968 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.621 | 117022.3342 | 302331.63 | 30.45 | 114.2
46942 | 2021-03-17 15:24 | 66.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.7699 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.627 | 117022.6665 | 302314.1074 | 30.45 | 114.2
46952 | 2021-03-17 15:24 | 66.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8545 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.623 | 117021.051 | 302324.5445 | 30.45 | 114.2
46962 | 2021-03-17 15:25 | 66.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.9243 | μmol/L | 13.1725 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.622 | 117026.7589 | 302314.4563 | 30.45 | 114.2
46972 | 2021-03-17 15:25 | 67.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.7423 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.626 | 117026.4796 | 302300.9164 | 30.45 | 114.2
46982 | 2021-03-17 15:25 | 67.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.6578 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.63 | 117035.9397 | 302315.8165 | 30.45 | 114.2
46992 | 2021-03-17 15:26 | 67.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.7212 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.627 | 117037.3372 | 302302.0308 | 30.45 | 114.2
47002 | 2021-03-17 15:26 | 68.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.6789 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.629 | 117043.7527 | 302320.1199 | 30.45 | 114.2
47012 | 2021-03-17 15:26 | 68.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.6514 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.628 | 117046.1802 | 302302.2091 | 30.45 | 114.2
47022 | 2021-03-17 15:27 | 68.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.6789 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.629 | 117046.4236 | 302296.7185 | 30.45 | 114.2
47032 | 2021-03-17 15:27 | 69.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5733 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.634 | 117053.2825 | 302299.6175 | 30.45 | 114.2
47042 | 2021-03-17 15:27 | 69.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5522 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.635 | 117062.8102 | 302308.7393 | 30.45 | 114.2
47052 | 2021-03-17 15:28 | 69.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5522 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.635 | 117072.2743 | 302309.0069 | 30.45 | 114.2
47062 | 2021-03-17 15:28 | 70.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5099 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.637 | 117071.6501 | 302291.4221 | 30.45 | 114.2
47072 | 2021-03-17 15:28 | 70.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4191 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.639 | 117082.2928 | 302316.5038 | 30.45 | 114.2
47082 | 2021-03-17 15:29 | 70.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.531 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.636 | 117075.4659 | 302299.0975 | 30.45 | 114.2
47092 | 2021-03-17 15:29 | 71.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4824 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.636 | 117087.9954 | 302304.8526 | 30.45 | 114.2
47102 | 2021-03-17 15:29 | 71.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4613 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.637 | 117082.6581 | 302307.9797 | 30.45 | 114.2
47112 | 2021-03-17 15:30 | 71.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4824 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.636 | 117091.8497 | 302293.6189 | 30.45 | 114.2
47122 | 2021-03-17 15:30 | 72.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5522 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.635 | 117088.8768 | 302302.5069 | 30.45 | 114.2
47132 | 2021-03-17 15:30 | 72.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5944 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.633 | 117088.6008 | 302299.1225 | 30.45 | 114.2
47142 | 2021-03-17 15:31 | 72.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4402 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.638 | 117096.7287 | 302300.7755 | 30.45 | 114.2
47152 | 2021-03-17 15:31 | 73.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4888 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.638 | 117092.039 | 302289.5274 | 30.45 | 114.2
47162 | 2021-03-17 15:31 | 73.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.3558 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.642 | 117091.3759 | 302306.8635 | 30.45 | 114.2
47172 | 2021-03-17 15:32 | 73.6751 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4255 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.641 | 117094.3869 | 302301.9157 | 30.45 | 114.2
47182 | 2021-03-17 15:32 | 74.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4613 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.637 | 117098.6171 | 302307.6426 | 30.45 | 114.2
47192 | 2021-03-17 15:32 | 74.3417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.453 | μmol/L | 13.1787 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.642 | 117102.8739 | 302292.7569 | 30.45 | 114.2
47202 | 2021-03-17 15:33 | 74.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4255 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.641 | 117100.1518 | 302291.8478 | 30.45 | 114.2
47212 | 2021-03-17 15:33 | 75.0084 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4255 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.641 | 117104.5815 | 302299.8911 | 30.45 | 114.2
47222 | 2021-03-17 15:33 | 75.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.4255 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.641 | 117117.2095 | 302303.9897 | 30.45 | 114.2
47232 | 2021-03-17 15:34 | 75.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.3558 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.642 | 117116.9596 | 302303.0532 | 30.45 | 114.2
47242 | 2021-03-17 15:34 | 76.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.341 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.645 | 117130.2738 | 302307.3508 | 30.45 | 114.2
47252 | 2021-03-17 15:34 | 76.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.3199 | μmol/L | 13.1848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.646 | 117143.0407 | 302309.2193 | 30.45 | 114.2
47262 | 2021-03-17 15:35 | 76.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.2714 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.646 | 117135.9524 | 302305.212 | 30.45 | 114.2
47272 | 2021-03-17 15:35 | 77.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.1448 | μmol/L | 13.1909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.652 | 117141.7813 | 302296.1192 | 30.45 | 114.2