## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44963 | 2021-03-17 14:18 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.5739 | μmol/L | 13.0284 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.454 | 165495.5903 | 297451.1156 | 59.9307 | 49.4
44973 | 2021-03-17 14:18 | 0.33263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2923 | μmol/L | 13.0284 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.467 | 165559.7188 | 297443.3357 | 59.9307 | 49.4
44983 | 2021-03-17 14:19 | 0.66595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1124 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.473 | 165614.3817 | 297442.246 | 59.9307 | 49.4
44993 | 2021-03-17 14:19 | 0.99894 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9611 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.48 | 165671.4436 | 297442.8488 | 59.9307 | 49.4
45003 | 2021-03-17 14:19 | 1.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6951 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.49 | 165730.0148 | 297428.6148 | 59.9307 | 49.4
45013 | 2021-03-17 14:20 | 1.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5805 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.493 | 165767.2831 | 297396.6338 | 59.9307 | 49.4
45023 | 2021-03-17 14:20 | 1.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5292 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.5 | 165822.1151 | 297409.0689 | 59.9307 | 49.4
45033 | 2021-03-17 14:20 | 2.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4282 | μmol/L | 13.0284 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.507 | 165855.6293 | 297397.5507 | 59.9307 | 49.4
45043 | 2021-03-17 14:21 | 2.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2705 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.512 | 165886.6464 | 297376.8406 | 59.9307 | 49.4
45053 | 2021-03-17 14:21 | 2.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1413 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.518 | 165922.179 | 297385.15 | 59.9307 | 49.4
45063 | 2021-03-17 14:21 | 3.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0485 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.52 | 165940.3552 | 297389.3115 | 59.9307 | 49.4
45073 | 2021-03-17 14:22 | 3.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9691 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.526 | 165953.5353 | 297370.3044 | 59.9307 | 49.4
45083 | 2021-03-17 14:22 | 3.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8548 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.529 | 165977.3861 | 297374.6138 | 59.9307 | 49.4
45093 | 2021-03-17 14:22 | 4.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8333 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.53 | 165992.8788 | 297345.8363 | 59.9307 | 49.4
45103 | 2021-03-17 14:23 | 4.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7903 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.532 | 166001.1705 | 297355.9297 | 59.9307 | 49.4
45113 | 2021-03-17 14:23 | 4.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7688 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.533 | 166010.0485 | 297338.8089 | 59.9307 | 49.4
45123 | 2021-03-17 14:23 | 5.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7756 | μmol/L | 13.0346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.535 | 166001.5128 | 297336.143 | 59.9307 | 49.4
45133 | 2021-03-17 14:24 | 5.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7903 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.532 | 165984.0705 | 297327.9151 | 59.9307 | 49.4
45143 | 2021-03-17 14:24 | 5.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8118 | μmol/L | 13.0407 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.531 | 165968.1501 | 297331.5501 | 59.9307 | 49.4
45153 | 2021-03-17 14:24 | 6.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7191 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.533 | 165948.8188 | 297317.6282 | 59.9307 | 49.4
45163 | 2021-03-17 14:25 | 6.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7836 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.53 | 165927.1515 | 297321.7351 | 59.9307 | 49.4
45173 | 2021-03-17 14:25 | 6.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8628 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.524 | 165909.013 | 297322.1686 | 59.9307 | 49.4
45183 | 2021-03-17 14:25 | 7.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8911 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.525 | 165884.5962 | 297309.7066 | 59.9307 | 49.4
45193 | 2021-03-17 14:26 | 7.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9556 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.522 | 165872.6005 | 297304.6365 | 59.9307 | 49.4
45203 | 2021-03-17 14:26 | 7.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9341 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.523 | 165877.4924 | 297308.2823 | 59.9307 | 49.4
45213 | 2021-03-17 14:26 | 8.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9556 | μmol/L | 13.0469 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.522 | 165872.9781 | 297287.848 | 59.9307 | 49.4
45223 | 2021-03-17 14:27 | 8.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8628 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.524 | 165868.2587 | 297312.9914 | 59.9307 | 49.4
45233 | 2021-03-17 14:27 | 8.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8198 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.526 | 165870.3481 | 297302.682 | 59.9307 | 49.4
45243 | 2021-03-17 14:27 | 9.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7983 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.527 | 165856.83 | 297295.4462 | 59.9307 | 49.4
45253 | 2021-03-17 14:28 | 9.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8413 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.525 | 165868.7221 | 297312.8432 | 59.9307 | 49.4
45263 | 2021-03-17 14:28 | 9.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8628 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.524 | 165870.1977 | 297298.9269 | 59.9307 | 49.4
45273 | 2021-03-17 14:28 | 10.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7056 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.529 | 165867.6064 | 297294.2761 | 59.9307 | 49.4
45283 | 2021-03-17 14:29 | 10.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8346 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.523 | 165848.1105 | 297285.5401 | 59.9307 | 49.4
45293 | 2021-03-17 14:29 | 10.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8628 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.524 | 165841.1732 | 297284.5896 | 59.9307 | 49.4
45303 | 2021-03-17 14:29 | 11.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8843 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.523 | 165832.4569 | 297266.4351 | 59.9307 | 49.4
45313 | 2021-03-17 14:30 | 11.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8843 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.523 | 165819.3932 | 297242.9619 | 59.9307 | 49.4
45323 | 2021-03-17 14:30 | 11.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8843 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.523 | 165831.0893 | 297264.6083 | 59.9307 | 49.4
45333 | 2021-03-17 14:30 | 12.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8198 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.526 | 165826.7763 | 297265.6838 | 59.9307 | 49.4
45343 | 2021-03-17 14:31 | 12.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8131 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.524 | 165817.788 | 297256.6517 | 59.9307 | 49.4
45353 | 2021-03-17 14:31 | 12.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8198 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.526 | 165824.5499 | 297244.6413 | 59.9307 | 49.4
45363 | 2021-03-17 14:31 | 13.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7271 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.528 | 165860.0708 | 297266.3584 | 59.9307 | 49.4
45373 | 2021-03-17 14:32 | 13.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6197 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.533 | 165855.9759 | 297259.0341 | 59.9307 | 49.4
45383 | 2021-03-17 14:32 | 13.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6411 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.532 | 165873.8585 | 297244.8735 | 59.9307 | 49.4
45393 | 2021-03-17 14:32 | 14.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5552 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.536 | 165915.4818 | 297242.3045 | 59.9307 | 49.4
45403 | 2021-03-17 14:33 | 14.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4693 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.54 | 165929.3077 | 297229.6084 | 59.9307 | 49.4
45413 | 2021-03-17 14:33 | 14.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4117 | μmol/L | 13.0531 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.545 | 165959.6561 | 297247.7513 | 59.9307 | 49.4
45423 | 2021-03-17 14:33 | 15.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2266 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.549 | 165998.1512 | 297227.6964 | 59.9307 | 49.4
45433 | 2021-03-17 14:34 | 15.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1837 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.551 | 166019.0002 | 297238.8042 | 59.9307 | 49.4
45443 | 2021-03-17 14:34 | 15.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1047 | μmol/L | 13.0592 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.557 | 166043.5853 | 297235.1706 | 59.9307 | 49.4
45453 | 2021-03-17 14:34 | 16.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0337 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.558 | 166068.047 | 297242.3794 | 59.9307 | 49.4
45463 | 2021-03-17 14:35 | 16.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9266 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.563 | 166087.3923 | 297240.8856 | 59.9307 | 49.4
45473 | 2021-03-17 14:35 | 16.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9052 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.564 | 166111.6647 | 297250.3358 | 59.9307 | 49.4
45483 | 2021-03-17 14:35 | 17.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.7486 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.569 | 166126.5432 | 297240.6685 | 59.9307 | 49.4
45493 | 2021-03-17 14:36 | 17.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.7768 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.57 | 166134.1216 | 297228.5293 | 59.9307 | 49.4
45503 | 2021-03-17 14:36 | 17.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.734 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.572 | 166159.434 | 297221.9302 | 59.9307 | 49.4
45513 | 2021-03-17 14:36 | 18.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.627 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.577 | 166177.0552 | 297240.221 | 59.9307 | 49.4
45523 | 2021-03-17 14:37 | 18.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6484 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.576 | 166191.2116 | 297242.2464 | 59.9307 | 49.4
45533 | 2021-03-17 14:37 | 18.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.5843 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.579 | 166200.2102 | 297219.6287 | 59.9307 | 49.4
45543 | 2021-03-17 14:37 | 19.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.5775 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.577 | 166210.979 | 297220.8025 | 59.9307 | 49.4
45553 | 2021-03-17 14:38 | 19.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4493 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.583 | 166216.5222 | 297216.9762 | 59.9307 | 49.4
45563 | 2021-03-17 14:38 | 19.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4133 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166228.4399 | 297223.8994 | 59.9307 | 49.4
45573 | 2021-03-17 14:38 | 20.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4212 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.582 | 166229.6149 | 297216.4348 | 59.9307 | 49.4
45583 | 2021-03-17 14:39 | 20.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3639 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166238.7185 | 297237.5594 | 59.9307 | 49.4
45593 | 2021-03-17 14:39 | 20.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3639 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166235.9932 | 297230.982 | 59.9307 | 49.4
45603 | 2021-03-17 14:39 | 21.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4133 | μmol/L | 13.0654 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166236.6338 | 297218.884 | 59.9307 | 49.4
45613 | 2021-03-17 14:40 | 21.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3639 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166237.522 | 297211.4727 | 59.9307 | 49.4
45623 | 2021-03-17 14:40 | 21.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2931 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.588 | 166228.8343 | 297193.1353 | 59.9307 | 49.4
45633 | 2021-03-17 14:40 | 22.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3144 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.587 | 166232.9604 | 297199.0409 | 59.9307 | 49.4
45643 | 2021-03-17 14:41 | 22.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3998 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.583 | 166239.4675 | 297204.7936 | 59.9307 | 49.4
45653 | 2021-03-17 14:41 | 22.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2931 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.588 | 166234.6065 | 297209.8436 | 59.9307 | 49.4
45663 | 2021-03-17 14:41 | 23.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3425 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.588 | 166238.4103 | 297204.862 | 59.9307 | 49.4
45673 | 2021-03-17 14:42 | 23.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2863 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.586 | 166232.323 | 297193.7947 | 59.9307 | 49.4
45683 | 2021-03-17 14:42 | 23.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2504 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.59 | 166229.8855 | 297189.8313 | 59.9307 | 49.4
45693 | 2021-03-17 14:42 | 24.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2717 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.589 | 166239.1319 | 297193.915 | 59.9307 | 49.4
45703 | 2021-03-17 14:43 | 24.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2717 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.589 | 166265.9744 | 297191.9423 | 59.9307 | 49.4
45713 | 2021-03-17 14:43 | 24.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2998 | μmol/L | 13.0715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.59 | 166265.2855 | 297199.685 | 59.9307 | 49.4
45723 | 2021-03-17 14:43 | 25.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.165 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.594 | 166293.5164 | 297188.9711 | 59.9307 | 49.4
45733 | 2021-03-17 14:44 | 25.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1223 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.596 | 166305.2451 | 297164.0149 | 59.9307 | 49.4
45743 | 2021-03-17 14:44 | 25.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0157 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.601 | 166329.3626 | 297170.9568 | 59.9307 | 49.4
45753 | 2021-03-17 14:44 | 26.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8384 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.607 | 166372.655 | 297177.2291 | 59.9307 | 49.4
45763 | 2021-03-17 14:45 | 26.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6894 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.614 | 166421.1838 | 297186.7036 | 59.9307 | 49.4
45773 | 2021-03-17 14:45 | 26.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5829 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166462.7178 | 297162.2294 | 59.9307 | 49.4
45783 | 2021-03-17 14:45 | 27.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4766 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.624 | 166506.9306 | 297167.8772 | 59.9307 | 49.4
45793 | 2021-03-17 14:46 | 27.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.349 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.63 | 166539.0877 | 297155.0573 | 59.9307 | 49.4
45803 | 2021-03-17 14:46 | 27.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3065 | μmol/L | 13.0839 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.632 | 166558.4571 | 297161.6417 | 59.9307 | 49.4
45813 | 2021-03-17 14:46 | 28.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.236 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.633 | 166591.8692 | 297178.2365 | 59.9307 | 49.4
45823 | 2021-03-17 14:47 | 28.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1298 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.638 | 166605.2346 | 297176.9096 | 59.9307 | 49.4
45833 | 2021-03-17 14:47 | 28.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2148 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.634 | 166598.8507 | 297146.6557 | 59.9307 | 49.4
45843 | 2021-03-17 14:47 | 29.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.0873 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.64 | 166595.7996 | 297165.6312 | 59.9307 | 49.4
45853 | 2021-03-17 14:48 | 29.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2707 | μmol/L | 13.0777 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.636 | 166595.999 | 297162.9157 | 59.9307 | 49.4
45863 | 2021-03-17 14:48 | 29.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.0873 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.64 | 166596.9245 | 297168.7493 | 59.9307 | 49.4
45873 | 2021-03-17 14:48 | 30.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1723 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.636 | 166586.1168 | 297155.6757 | 59.9307 | 49.4
45883 | 2021-03-17 14:49 | 30.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1298 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.638 | 166582.709 | 297150.8517 | 59.9307 | 49.4
45893 | 2021-03-17 14:49 | 30.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2148 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.634 | 166576.0212 | 297158.4991 | 59.9307 | 49.4
45903 | 2021-03-17 14:49 | 31.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1655 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.634 | 166564.0318 | 297152.6687 | 59.9307 | 49.4
45913 | 2021-03-17 14:50 | 31.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1723 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.636 | 166547.1646 | 297154.409 | 59.9307 | 49.4
45923 | 2021-03-17 14:50 | 31.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1655 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.634 | 166531.1859 | 297136.1925 | 59.9307 | 49.4
45933 | 2021-03-17 14:50 | 32.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2997 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.63 | 166520.7942 | 297156.7022 | 59.9307 | 49.4
45943 | 2021-03-17 14:51 | 32.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.293 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.628 | 166502.0457 | 297141.4672 | 59.9307 | 49.4
45953 | 2021-03-17 14:51 | 32.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.293 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.628 | 166481.6853 | 297139.2133 | 59.9307 | 49.4
45963 | 2021-03-17 14:51 | 33.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4273 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.624 | 166465.5416 | 297144.7422 | 59.9307 | 49.4
45973 | 2021-03-17 14:52 | 33.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4486 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.623 | 166450.2941 | 297139.9118 | 59.9307 | 49.4
45983 | 2021-03-17 14:52 | 33.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4698 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.622 | 166437.8312 | 297129.9144 | 59.9307 | 49.4
45993 | 2021-03-17 14:52 | 34.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4206 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.622 | 166419.8355 | 297134.8604 | 59.9307 | 49.4
46003 | 2021-03-17 14:53 | 34.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4139 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.62 | 166409.724 | 297139.3255 | 59.9307 | 49.4
46013 | 2021-03-17 14:53 | 34.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4351 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166403.0538 | 297139.8789 | 59.9307 | 49.4
46023 | 2021-03-17 14:53 | 35.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5482 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.616 | 166392.1854 | 297152.5531 | 59.9307 | 49.4
46033 | 2021-03-17 14:54 | 35.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4777 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.617 | 166375.0349 | 297140.4983 | 59.9307 | 49.4
46043 | 2021-03-17 14:54 | 35.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5269 | μmol/L | 13.0962 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.617 | 166377.7547 | 297124.4288 | 59.9307 | 49.4
46053 | 2021-03-17 14:54 | 36.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5135 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.613 | 166359.4977 | 297113.7277 | 59.9307 | 49.4
46063 | 2021-03-17 14:55 | 36.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4497 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.616 | 166365.3782 | 297117.7669 | 59.9307 | 49.4
46073 | 2021-03-17 14:55 | 36.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.584 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.612 | 166358.5042 | 297104.5601 | 59.9307 | 49.4
46083 | 2021-03-17 14:55 | 37.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4777 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.617 | 166378.0453 | 297126.6726 | 59.9307 | 49.4
46093 | 2021-03-17 14:56 | 37.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4351 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166381.3714 | 297112.5421 | 59.9307 | 49.4
46103 | 2021-03-17 14:56 | 37.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4139 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.62 | 166402.6751 | 297120.061 | 59.9307 | 49.4
46113 | 2021-03-17 14:56 | 38.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3076 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.625 | 166416.3663 | 297122.4071 | 59.9307 | 49.4
46123 | 2021-03-17 14:57 | 38.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2863 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.626 | 166435.2724 | 297111.5572 | 59.9307 | 49.4
46133 | 2021-03-17 14:57 | 38.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2013 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.63 | 166439.8528 | 297121.8141 | 59.9307 | 49.4
46143 | 2021-03-17 14:57 | 39.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2438 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.628 | 166451.1583 | 297127.5236 | 59.9307 | 49.4
46153 | 2021-03-17 14:58 | 39.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3848 | μmol/L | 13.09 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.626 | 166466.199 | 297114.2846 | 59.9307 | 49.4
46163 | 2021-03-17 14:58 | 39.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1946 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.628 | 166458.9272 | 297101.2997 | 59.9307 | 49.4
46173 | 2021-03-17 14:58 | 40.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.099 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.63 | 166466.3122 | 297105.7743 | 59.9307 | 49.4
46183 | 2021-03-17 14:59 | 40.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.0845 | μmol/L | 13.1085 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.633 | 166453.0848 | 297100.556 | 59.9307 | 49.4
46193 | 2021-03-17 14:59 | 40.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1521 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.63 | 166464.0678 | 297111.4186 | 59.9307 | 49.4
46203 | 2021-03-17 14:59 | 41.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1801 | μmol/L | 13.1023 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.631 | 166454.3684 | 297108.734 | 59.9307 | 49.4
46213 | 2021-03-17 15:00 | 41.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.127 | μmol/L | 13.1085 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.631 | 166449.5554 | 297103.473 | 59.9307 | 49.4
46223 | 2021-03-17 15:00 | 41.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.0354 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.633 | 166436.1659 | 297091.8747 | 59.9307 | 49.4
46233 | 2021-03-17 15:00 | 42.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2158 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.627 | 166431.6455 | 297106.8017 | 59.9307 | 49.4
46243 | 2021-03-17 15:01 | 42.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2545 | μmol/L | 13.1085 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.625 | 166423.2043 | 297095.5345 | 59.9307 | 49.4
46253 | 2021-03-17 15:01 | 42.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1415 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.628 | 166411.9014 | 297102.3075 | 59.9307 | 49.4
46263 | 2021-03-17 15:01 | 43.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2304 | μmol/L | 13.1147 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.624 | 166403.1695 | 297105.6929 | 59.9307 | 49.4
46273 | 2021-03-17 15:02 | 43.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1879 | μmol/L | 13.1147 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.626 | 166386.7188 | 297084.4453 | 59.9307 | 49.4
46283 | 2021-03-17 15:02 | 43.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2053 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.625 | 166380.5882 | 297087.8597 | 59.9307 | 49.4
46293 | 2021-03-17 15:02 | 44.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.269 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.622 | 166383.1296 | 297076.3117 | 59.9307 | 49.4
46303 | 2021-03-17 15:03 | 44.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.269 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.622 | 166373.1107 | 297089.6394 | 59.9307 | 49.4
46313 | 2021-03-17 15:03 | 44.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.269 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.622 | 166363.5328 | 297076.234 | 59.9307 | 49.4
46323 | 2021-03-17 15:03 | 45.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3646 | μmol/L | 13.1085 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.62 | 166349.5073 | 297078.6928 | 59.9307 | 49.4
46333 | 2021-03-17 15:04 | 45.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3115 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.62 | 166347.7499 | 297085.2502 | 59.9307 | 49.4
46343 | 2021-03-17 15:04 | 45.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3328 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166324.4139 | 297078.3412 | 59.9307 | 49.4
46353 | 2021-03-17 15:04 | 46.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3299 | μmol/L | 13.1208 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.617 | 166332.2983 | 297082.8404 | 59.9307 | 49.4
46363 | 2021-03-17 15:05 | 46.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3299 | μmol/L | 13.1208 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.617 | 166323.6822 | 297082.9601 | 59.9307 | 49.4
46373 | 2021-03-17 15:05 | 46.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3966 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.616 | 166311.0729 | 297078.1621 | 59.9307 | 49.4
46383 | 2021-03-17 15:05 | 47.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3966 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.616 | 166313.9962 | 297081.1367 | 59.9307 | 49.4
46393 | 2021-03-17 15:06 | 47.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3966 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.616 | 166311.4193 | 297079.3701 | 59.9307 | 49.4
46403 | 2021-03-17 15:06 | 47.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2623 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.62 | 166316.4264 | 297091.4559 | 59.9307 | 49.4
46413 | 2021-03-17 15:06 | 48.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2836 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166320.8536 | 297067.823 | 59.9307 | 49.4
46423 | 2021-03-17 15:07 | 48.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3328 | μmol/L | 13.1147 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.619 | 166326.3376 | 297067.5258 | 59.9307 | 49.4
46433 | 2021-03-17 15:07 | 48.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2024 | μmol/L | 13.1208 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.623 | 166342.0588 | 297065.4289 | 59.9307 | 49.4
46443 | 2021-03-17 15:07 | 49.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1494 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.623 | 166358.6548 | 297073.9144 | 59.9307 | 49.4
46453 | 2021-03-17 15:08 | 49.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1561 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.625 | 166371.981 | 297065.8778 | 59.9307 | 49.4
46463 | 2021-03-17 15:08 | 49.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.9795 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.631 | 166401.305 | 297068.7485 | 59.9307 | 49.4
46473 | 2021-03-17 15:08 | 50.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.9862 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.633 | 166425.4246 | 297071.6289 | 59.9307 | 49.4
46483 | 2021-03-17 15:09 | 50.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.9862 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.633 | 166462.6324 | 297055.1732 | 59.9307 | 49.4
46493 | 2021-03-17 15:09 | 50.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.8801 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.638 | 166487.4247 | 297062.2049 | 59.9307 | 49.4
46503 | 2021-03-17 15:09 | 51.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.6893 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.647 | 166516.4067 | 297042.4912 | 59.9307 | 49.4
46513 | 2021-03-17 15:10 | 51.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.5766 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.65 | 166568.9604 | 297067.4971 | 59.9307 | 49.4
46523 | 2021-03-17 15:10 | 51.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.464 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.653 | 166594.6791 | 297045.1967 | 59.9307 | 49.4
46533 | 2021-03-17 15:10 | 52.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.4562 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.658 | 166640.631 | 297059.8855 | 59.9307 | 49.4
46543 | 2021-03-17 15:11 | 52.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.3053 | μmol/L | 13.127 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.663 | 166663.6019 | 297069.826 | 59.9307 | 49.4
46553 | 2021-03-17 15:11 | 52.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.2591 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.665 | 166677.3895 | 297048.6004 | 59.9307 | 49.4
46563 | 2021-03-17 15:11 | 53.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.1956 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.668 | 166711.3995 | 297050.994 | 59.9307 | 49.4
46573 | 2021-03-17 15:12 | 53.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.1322 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.671 | 166741.0408 | 297051.0097 | 59.9307 | 49.4
46583 | 2021-03-17 15:12 | 53.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.1322 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.671 | 166737.4174 | 297045.5869 | 59.9307 | 49.4
46593 | 2021-03-17 15:12 | 54.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.0899 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.673 | 166762.9999 | 297040.9881 | 59.9307 | 49.4
46603 | 2021-03-17 15:13 | 54.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.9987 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.675 | 166761.7534 | 297046.9698 | 59.9307 | 49.4
46613 | 2021-03-17 15:13 | 54.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.0544 | μmol/L | 13.1208 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.677 | 166780.9272 | 297044.3582 | 59.9307 | 49.4
46623 | 2021-03-17 15:13 | 55.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.9142 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.679 | 166799.3985 | 297034.1647 | 59.9307 | 49.4
46633 | 2021-03-17 15:14 | 55.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.8998 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.682 | 166811.2777 | 297063.1116 | 59.9307 | 49.4
46643 | 2021-03-17 15:14 | 55.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.8998 | μmol/L | 13.127 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.682 | 166818.9111 | 297047.3639 | 59.9307 | 49.4
46653 | 2021-03-17 15:14 | 56.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.8509 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.682 | 166828.1736 | 297042.6937 | 59.9307 | 49.4
46663 | 2021-03-17 15:15 | 56.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.7875 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.685 | 166842.9841 | 297048.2457 | 59.9307 | 49.4
46673 | 2021-03-17 15:15 | 56.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.7386 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.685 | 166850.3424 | 297049.2401 | 59.9307 | 49.4
46683 | 2021-03-17 15:15 | 57.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.7242 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.688 | 166864.3035 | 297057.1528 | 59.9307 | 49.4
46693 | 2021-03-17 15:16 | 57.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.6543 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.689 | 166864.5815 | 297041.6167 | 59.9307 | 49.4
46703 | 2021-03-17 15:16 | 57.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.6609 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.691 | 166861.9905 | 297030.631 | 59.9307 | 49.4
46713 | 2021-03-17 15:16 | 58.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.6609 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.691 | 166879.1931 | 297025.4916 | 59.9307 | 49.4
46723 | 2021-03-17 15:17 | 58.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.7242 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.688 | 166885.0431 | 297035.1959 | 59.9307 | 49.4
46733 | 2021-03-17 15:17 | 58.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5488 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.694 | 166896.8135 | 297018.6542 | 59.9307 | 49.4
46743 | 2021-03-17 15:17 | 59.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5067 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.696 | 166919.2217 | 297029.3108 | 59.9307 | 49.4
46753 | 2021-03-17 15:18 | 59.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.4501 | μmol/L | 13.1332 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.701 | 166932.9729 | 297044.6783 | 59.9307 | 49.4
46763 | 2021-03-17 15:18 | 59.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.4224 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.7 | 166965.1821 | 297037.6425 | 59.9307 | 49.4
46773 | 2021-03-17 15:18 | 60.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.3592 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.703 | 166980.9786 | 297030.5368 | 59.9307 | 49.4
46783 | 2021-03-17 15:19 | 60.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.1907 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.711 | 167018.6567 | 297033.3019 | 59.9307 | 49.4
46793 | 2021-03-17 15:19 | 60.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.1697 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.712 | 167030.172 | 297029.6644 | 59.9307 | 49.4
46803 | 2021-03-17 15:19 | 61.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.9947 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.718 | 167068.0884 | 297035.3922 | 59.9307 | 49.4
46813 | 2021-03-17 15:20 | 61.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.9526 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.72 | 167108.8252 | 297027.5729 | 59.9307 | 49.4
46823 | 2021-03-17 15:20 | 61.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.8475 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.725 | 167143.32 | 297037.8391 | 59.9307 | 49.4
46833 | 2021-03-17 15:20 | 62.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.8332 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.728 | 167172.7482 | 297039.1642 | 59.9307 | 49.4
46843 | 2021-03-17 15:21 | 62.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7215 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.731 | 167189.1458 | 297042.6899 | 59.9307 | 49.4
46853 | 2021-03-17 15:21 | 62.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7425 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.73 | 167193.0322 | 297028.1804 | 59.9307 | 49.4
46863 | 2021-03-17 15:21 | 63.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.6795 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.733 | 167216.0549 | 297041.4161 | 59.9307 | 49.4
46873 | 2021-03-17 15:22 | 63.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.5955 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.737 | 167227.3593 | 297017.1242 | 59.9307 | 49.4
46883 | 2021-03-17 15:22 | 63.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.6022 | μmol/L | 13.1393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.739 | 167246.5707 | 297023.2302 | 59.9307 | 49.4
46893 | 2021-03-17 15:22 | 64.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4906 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.742 | 167265.8982 | 297024.0603 | 59.9307 | 49.4
46903 | 2021-03-17 15:23 | 64.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4697 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.743 | 167275.2177 | 297019.9914 | 59.9307 | 49.4
46913 | 2021-03-17 15:23 | 64.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4697 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.743 | 167291.1951 | 297017.5271 | 59.9307 | 49.4
46923 | 2021-03-17 15:23 | 65.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3371 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.747 | 167304.6705 | 297030.9843 | 59.9307 | 49.4
46933 | 2021-03-17 15:24 | 65.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3438 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.749 | 167315.5367 | 297012.0269 | 59.9307 | 49.4
46943 | 2021-03-17 15:24 | 65.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3229 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.75 | 167328.1204 | 297009.7753 | 59.9307 | 49.4
46953 | 2021-03-17 15:24 | 66.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2047 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.751 | 167337.6422 | 297024.7341 | 59.9307 | 49.4
46963 | 2021-03-17 15:25 | 66.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.26 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.753 | 167352.4592 | 297011.5541 | 59.9307 | 49.4
46973 | 2021-03-17 15:25 | 66.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.281 | μmol/L | 13.1455 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167358.8093 | 297020.7253 | 59.9307 | 49.4
46983 | 2021-03-17 15:25 | 67.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2324 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167362.3 | 297028.9478 | 59.9307 | 49.4
46993 | 2021-03-17 15:26 | 67.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1695 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.755 | 167352.4309 | 297026.8383 | 59.9307 | 49.4
47003 | 2021-03-17 15:26 | 67.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1905 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167347.1067 | 297013.0635 | 59.9307 | 49.4
47013 | 2021-03-17 15:26 | 68.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1419 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167353.3473 | 297013.7233 | 59.9307 | 49.4
47023 | 2021-03-17 15:27 | 68.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1905 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167350.6822 | 297013.438 | 59.9307 | 49.4
47033 | 2021-03-17 15:27 | 68.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.756 | 167344.0487 | 297028.9188 | 59.9307 | 49.4
47043 | 2021-03-17 15:27 | 69.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2533 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.751 | 167353.3238 | 297039.145 | 59.9307 | 49.4
47053 | 2021-03-17 15:28 | 69.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1695 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.755 | 167349.1644 | 297046.4103 | 59.9307 | 49.4
47063 | 2021-03-17 15:28 | 69.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1352 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167340.0477 | 297031.9592 | 59.9307 | 49.4
47073 | 2021-03-17 15:28 | 70.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1838 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167337.896 | 297066.0554 | 59.9307 | 49.4
47083 | 2021-03-17 15:29 | 70.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1905 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167337.6711 | 297066.6712 | 59.9307 | 49.4
47093 | 2021-03-17 15:29 | 70.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1905 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167343.7984 | 297058.5893 | 59.9307 | 49.4
47103 | 2021-03-17 15:29 | 71.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1628 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.753 | 167339.7147 | 297067.1843 | 59.9307 | 49.4
47113 | 2021-03-17 15:30 | 71.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1419 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.754 | 167340.3357 | 297034.1363 | 59.9307 | 49.4
47123 | 2021-03-17 15:30 | 71.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2324 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167336.0918 | 297026.2649 | 59.9307 | 49.4
47133 | 2021-03-17 15:30 | 72.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1352 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.752 | 167332.3205 | 297010.735 | 59.9307 | 49.4
47143 | 2021-03-17 15:31 | 72.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1628 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.753 | 167330.6078 | 296978.4124 | 59.9307 | 49.4
47153 | 2021-03-17 15:31 | 72.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2257 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.75 | 167320.4154 | 296990.9977 | 59.9307 | 49.4
47163 | 2021-03-17 15:31 | 73.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1561 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.751 | 167315.8878 | 296990.6101 | 59.9307 | 49.4
47173 | 2021-03-17 15:32 | 73.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2885 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.747 | 167292.6238 | 296984.4177 | 59.9307 | 49.4
47183 | 2021-03-17 15:32 | 73.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2609 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.746 | 167267.7741 | 296988.3069 | 59.9307 | 49.4
47193 | 2021-03-17 15:32 | 74.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.463 | μmol/L | 13.1516 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.741 | 167237.6435 | 297004.8792 | 59.9307 | 49.4
47203 | 2021-03-17 15:33 | 74.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.5612 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.734 | 167199.3551 | 297024.6235 | 59.9307 | 49.4
47213 | 2021-03-17 15:33 | 74.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.5965 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.73 | 167155.8828 | 297021.6916 | 59.9307 | 49.4
47223 | 2021-03-17 15:33 | 75.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7081 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.727 | 167120.555 | 297013.2913 | 59.9307 | 49.4
47233 | 2021-03-17 15:34 | 75.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.8342 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.721 | 167075.7303 | 297018.1664 | 59.9307 | 49.4
47243 | 2021-03-17 15:34 | 75.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.9049 | μmol/L | 13.1701 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.713 | 167026.2967 | 297012.1225 | 59.9307 | 49.4
47253 | 2021-03-17 15:34 | 76.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0377 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.709 | 166990.0983 | 297013.3537 | 59.9307 | 49.4
47263 | 2021-03-17 15:35 | 76.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0731 | μmol/L | 13.1701 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.705 | 166940.7488 | 297027.4032 | 59.9307 | 49.4
47273 | 2021-03-17 15:35 | 76.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.2482 | μmol/L | 13.164 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.699 | 166884.7354 | 297025.5374 | 59.9307 | 49.4