## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44965 | 2021-03-17 14:18 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1719 | μmol/L | 13.1622 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.482 | 183098.3084 | 311752.0505 | 33.25 | 68.6
44975 | 2021-03-17 14:18 | 0.34128 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2133 | μmol/L | 13.1622 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.48 | 183082.7909 | 311749.5154 | 33.25 | 68.6
44985 | 2021-03-17 14:19 | 0.67422 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1838 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 183049.289 | 311741.5559 | 33.25 | 68.6
44995 | 2021-03-17 14:19 | 1.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1336 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 183021.9625 | 311740.8665 | 33.25 | 68.6
45005 | 2021-03-17 14:19 | 1.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2045 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.478 | 183000.5202 | 311732.8454 | 33.25 | 68.6
45015 | 2021-03-17 14:20 | 1.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2251 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.477 | 182968.3775 | 311713.3546 | 33.25 | 68.6
45025 | 2021-03-17 14:20 | 2.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1336 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 182940.8615 | 311702.9185 | 33.25 | 68.6
45035 | 2021-03-17 14:20 | 2.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1838 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 182916.7613 | 311716.3091 | 33.25 | 68.6
45045 | 2021-03-17 14:21 | 2.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2045 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.478 | 182889.1289 | 311690.507 | 33.25 | 68.6
45055 | 2021-03-17 14:21 | 3.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1956 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.476 | 182862.2207 | 311681.8352 | 33.25 | 68.6
45065 | 2021-03-17 14:21 | 3.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1749 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.477 | 182844.3758 | 311687.9878 | 33.25 | 68.6
45075 | 2021-03-17 14:22 | 3.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1336 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 182838.1747 | 311673.7597 | 33.25 | 68.6
45085 | 2021-03-17 14:22 | 4.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9801 | μmol/L | 13.1804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.484 | 182856.1138 | 311662.2406 | 33.25 | 68.6
45095 | 2021-03-17 14:22 | 4.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8649 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.492 | 182888.6858 | 311649.4382 | 33.25 | 68.6
45105 | 2021-03-17 14:23 | 4.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6673 | μmol/L | 13.1682 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.504 | 182965.4727 | 311643.4656 | 33.25 | 68.6
45115 | 2021-03-17 14:23 | 5.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4435 | μmol/L | 13.1804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.51 | 183031.6929 | 311638.3741 | 33.25 | 68.6
45125 | 2021-03-17 14:23 | 5.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.2669 | μmol/L | 13.1743 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.521 | 183103.478 | 311618.1806 | 33.25 | 68.6
45135 | 2021-03-17 14:24 | 5.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.0022 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.529 | 183169.6756 | 311635.247 | 33.25 | 68.6
45145 | 2021-03-17 14:24 | 6.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7966 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.539 | 183217.6788 | 311619.1801 | 33.25 | 68.6
45155 | 2021-03-17 14:24 | 6.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6734 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 183266.5065 | 311612.546 | 33.25 | 68.6
45165 | 2021-03-17 14:25 | 6.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5795 | μmol/L | 13.1804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.552 | 183306.6285 | 311604.7306 | 33.25 | 68.6
45175 | 2021-03-17 14:25 | 7.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5179 | μmol/L | 13.1804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.555 | 183305.2557 | 311587.7362 | 33.25 | 68.6
45185 | 2021-03-17 14:25 | 7.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.3655 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.56 | 183317.0536 | 311599.9658 | 33.25 | 68.6
45195 | 2021-03-17 14:26 | 7.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4564 | μmol/L | 13.1804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.558 | 183307.7838 | 311589.4698 | 33.25 | 68.6
45205 | 2021-03-17 14:26 | 8.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.386 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.559 | 183271.5895 | 311568.8693 | 33.25 | 68.6
45215 | 2021-03-17 14:26 | 8.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.3772 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.557 | 183242.0667 | 311577.4944 | 33.25 | 68.6
45225 | 2021-03-17 14:27 | 8.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.3977 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.556 | 183194.1807 | 311569.6709 | 33.25 | 68.6
45235 | 2021-03-17 14:27 | 9.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5912 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.549 | 183151.3942 | 311563.6964 | 33.25 | 68.6
45245 | 2021-03-17 14:27 | 9.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6939 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 183092.7592 | 311549.8071 | 33.25 | 68.6
45255 | 2021-03-17 14:28 | 9.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7262 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.54 | 183027.616 | 311546.3185 | 33.25 | 68.6
45265 | 2021-03-17 14:28 | 10.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.8377 | μmol/L | 13.1865 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.537 | 182957.5206 | 311553.5671 | 33.25 | 68.6
45275 | 2021-03-17 14:28 | 10.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9523 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.529 | 182887.8648 | 311547.3843 | 33.25 | 68.6
45285 | 2021-03-17 14:29 | 10.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.0963 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.522 | 182801.5321 | 311533.5882 | 33.25 | 68.6
45295 | 2021-03-17 14:29 | 11.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.2404 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.515 | 182744.8905 | 311523.8678 | 33.25 | 68.6
45305 | 2021-03-17 14:29 | 11.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.3846 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.508 | 182668.101 | 311520.0985 | 33.25 | 68.6
45315 | 2021-03-17 14:30 | 11.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4583 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.502 | 182613.1738 | 311517.3099 | 33.25 | 68.6
45325 | 2021-03-17 14:30 | 12.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5702 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.499 | 182548.1955 | 311509.2665 | 33.25 | 68.6
45335 | 2021-03-17 14:30 | 12.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5614 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.497 | 182498.7477 | 311510.102 | 33.25 | 68.6
45345 | 2021-03-17 14:31 | 12.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.694 | μmol/L | 13.1925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.493 | 182450.4152 | 311492.0882 | 33.25 | 68.6
45355 | 2021-03-17 14:31 | 13.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6557 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.49 | 182412.0823 | 311491.8827 | 33.25 | 68.6
45365 | 2021-03-17 14:31 | 13.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7471 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.488 | 182365.9496 | 311485.0495 | 33.25 | 68.6
45375 | 2021-03-17 14:32 | 13.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8503 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.483 | 182339.4183 | 311477.9747 | 33.25 | 68.6
45385 | 2021-03-17 14:32 | 14.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8503 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.483 | 182303.1808 | 311482.0257 | 33.25 | 68.6
45395 | 2021-03-17 14:32 | 14.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8916 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.481 | 182251.5646 | 311466.9354 | 33.25 | 68.6
45405 | 2021-03-17 14:33 | 14.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0156 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.475 | 182217.2778 | 311476.987 | 33.25 | 68.6
45415 | 2021-03-17 14:33 | 15.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.995 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.476 | 182169.0101 | 311473.3285 | 33.25 | 68.6
45425 | 2021-03-17 14:33 | 15.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9862 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.474 | 182136.6342 | 311453.7689 | 33.25 | 68.6
45435 | 2021-03-17 14:34 | 15.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0688 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.47 | 182108.7027 | 311470.0863 | 33.25 | 68.6
45445 | 2021-03-17 14:34 | 16.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0895 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.469 | 182072.6248 | 311468.8816 | 33.25 | 68.6
45455 | 2021-03-17 14:34 | 16.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0482 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.471 | 182061.326 | 311460.7261 | 33.25 | 68.6
45465 | 2021-03-17 14:35 | 16.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1309 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.467 | 182030.5055 | 311452.2892 | 33.25 | 68.6
45475 | 2021-03-17 14:35 | 17.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1604 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.468 | 182029.3199 | 311455.382 | 33.25 | 68.6
45485 | 2021-03-17 14:35 | 17.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0068 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.473 | 182008.7171 | 311449.5079 | 33.25 | 68.6
45495 | 2021-03-17 14:36 | 17.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0895 | μmol/L | 13.2047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.469 | 182015.9681 | 311458.8675 | 33.25 | 68.6
45505 | 2021-03-17 14:36 | 18.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9154 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.475 | 181993.8326 | 311438.2291 | 33.25 | 68.6
45515 | 2021-03-17 14:36 | 18.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0156 | μmol/L | 13.1986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.475 | 181980.6492 | 311436.7229 | 33.25 | 68.6
45525 | 2021-03-17 14:37 | 18.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7945 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.476 | 181995.9411 | 311418.176 | 33.25 | 68.6
45535 | 2021-03-17 14:37 | 19.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7826 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.479 | 182024.0504 | 311434.4702 | 33.25 | 68.6
45545 | 2021-03-17 14:37 | 19.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7295 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.484 | 182049.6215 | 311424.5409 | 33.25 | 68.6
45555 | 2021-03-17 14:38 | 19.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.585 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.491 | 182090.2615 | 311421.7743 | 33.25 | 68.6
45565 | 2021-03-17 14:38 | 20.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.3994 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.5 | 182159.539 | 311420.4819 | 33.25 | 68.6
45575 | 2021-03-17 14:38 | 20.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.214 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.509 | 182225.352 | 311422.1674 | 33.25 | 68.6
45585 | 2021-03-17 14:39 | 20.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9876 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.52 | 182306.6515 | 311415.6179 | 33.25 | 68.6
45595 | 2021-03-17 14:39 | 21.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7321 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.53 | 182388.199 | 311416.3199 | 33.25 | 68.6
45605 | 2021-03-17 14:39 | 21.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4974 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.539 | 182465.4721 | 311399.9702 | 33.25 | 68.6
45615 | 2021-03-17 14:40 | 21.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2923 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.549 | 182551.3841 | 311403.8781 | 33.25 | 68.6
45625 | 2021-03-17 14:40 | 22.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1985 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.556 | 182602.0534 | 311405.6521 | 33.25 | 68.6
45635 | 2021-03-17 14:40 | 22.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0229 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.567 | 182636.6511 | 311384.621 | 33.25 | 68.6
45645 | 2021-03-17 14:41 | 22.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8913 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.571 | 182681.2806 | 311393.3602 | 33.25 | 68.6
45655 | 2021-03-17 14:41 | 23.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8299 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.574 | 182699.9389 | 311395.4952 | 33.25 | 68.6
45665 | 2021-03-17 14:41 | 23.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6984 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.578 | 182707.9209 | 311384.573 | 33.25 | 68.6
45675 | 2021-03-17 14:42 | 23.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7276 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.579 | 182695.6579 | 311376.5179 | 33.25 | 68.6
45685 | 2021-03-17 14:42 | 24.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7686 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.577 | 182686.9638 | 311382.8193 | 33.25 | 68.6
45695 | 2021-03-17 14:42 | 24.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7189 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.577 | 182644.0645 | 311367.7899 | 33.25 | 68.6
45705 | 2021-03-17 14:43 | 24.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8592 | μmol/L | 13.2108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.575 | 182608.8072 | 311378.6537 | 33.25 | 68.6
45715 | 2021-03-17 14:43 | 25.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8913 | μmol/L | 13.2168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.571 | 182577.2261 | 311370.0641 | 33.25 | 68.6
45725 | 2021-03-17 14:43 | 25.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9235 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.567 | 182540.4148 | 311351.6585 | 33.25 | 68.6
45735 | 2021-03-17 14:44 | 25.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9235 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.567 | 182523.7242 | 311350.7126 | 33.25 | 68.6
45745 | 2021-03-17 14:44 | 26.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9439 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.566 | 182495.7467 | 311365.67 | 33.25 | 68.6
45755 | 2021-03-17 14:44 | 26.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9644 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.565 | 182468.4971 | 311353.1081 | 33.25 | 68.6
45765 | 2021-03-17 14:45 | 26.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9849 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.564 | 182453.5292 | 311355.5103 | 33.25 | 68.6
45775 | 2021-03-17 14:45 | 27.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0668 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.56 | 182436.9261 | 311340.4481 | 33.25 | 68.6
45785 | 2021-03-17 14:45 | 27.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0258 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.562 | 182422.0897 | 311348.6666 | 33.25 | 68.6
45795 | 2021-03-17 14:46 | 27.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9352 | μmol/L | 13.229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.564 | 182419.0946 | 311326.5313 | 33.25 | 68.6
45805 | 2021-03-17 14:46 | 28.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0463 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.561 | 182420.2393 | 311336.0598 | 33.25 | 68.6
45815 | 2021-03-17 14:46 | 28.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9674 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.56 | 182406.866 | 311323.591 | 33.25 | 68.6
45825 | 2021-03-17 14:47 | 28.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0258 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.562 | 182388.4244 | 311330.0856 | 33.25 | 68.6
45835 | 2021-03-17 14:47 | 29.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9556 | μmol/L | 13.229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.563 | 182374.4819 | 311333.5898 | 33.25 | 68.6
45845 | 2021-03-17 14:47 | 29.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0463 | μmol/L | 13.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.561 | 182360.7364 | 311320.0708 | 33.25 | 68.6
45855 | 2021-03-17 14:48 | 29.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9878 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.559 | 182328.9823 | 311322.2214 | 33.25 | 68.6
45865 | 2021-03-17 14:48 | 30.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0376 | μmol/L | 13.229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.559 | 182310.8874 | 311321.9019 | 33.25 | 68.6
45875 | 2021-03-17 14:48 | 30.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0493 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.556 | 182275.6926 | 311305.688 | 33.25 | 68.6
45885 | 2021-03-17 14:49 | 30.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.181 | μmol/L | 13.229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.552 | 182247.5507 | 311305.2906 | 33.25 | 68.6
45895 | 2021-03-17 14:49 | 31.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1517 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.551 | 182236.33 | 311304.2398 | 33.25 | 68.6
45905 | 2021-03-17 14:49 | 31.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1107 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.553 | 182215.0534 | 311303.6772 | 33.25 | 68.6
45915 | 2021-03-17 14:50 | 31.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1517 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.551 | 182191.8233 | 311283.675 | 33.25 | 68.6
45925 | 2021-03-17 14:50 | 32.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1312 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.552 | 182165.8059 | 311272.6166 | 33.25 | 68.6
45935 | 2021-03-17 14:50 | 32.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1927 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.549 | 182145.0086 | 311285.0399 | 33.25 | 68.6
45945 | 2021-03-17 14:51 | 32.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2337 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.547 | 182138.8442 | 311284.8017 | 33.25 | 68.6
45955 | 2021-03-17 14:51 | 33.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2132 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.548 | 182122.2685 | 311275.1323 | 33.25 | 68.6
45965 | 2021-03-17 14:51 | 33.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2045 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.546 | 182102.1629 | 311265.0324 | 33.25 | 68.6
45975 | 2021-03-17 14:52 | 33.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.3245 | μmol/L | 13.229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 182092.7645 | 311274.3025 | 33.25 | 68.6
45985 | 2021-03-17 14:52 | 34.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1957 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 182075.6658 | 311265.406 | 33.25 | 68.6
45995 | 2021-03-17 14:52 | 34.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2747 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 182057.3662 | 311256.2783 | 33.25 | 68.6
46005 | 2021-03-17 14:53 | 34.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2952 | μmol/L | 13.2351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 182041.8989 | 311259.0463 | 33.25 | 68.6
46015 | 2021-03-17 14:53 | 35.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.225 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 182040.7394 | 311268.6693 | 33.25 | 68.6
46025 | 2021-03-17 14:53 | 35.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2455 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 182025.088 | 311259.7919 | 33.25 | 68.6
46035 | 2021-03-17 14:54 | 35.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.225 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 182011.9034 | 311254.3122 | 33.25 | 68.6
46045 | 2021-03-17 14:54 | 36.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2455 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 182008.0179 | 311254.5118 | 33.25 | 68.6
46055 | 2021-03-17 14:54 | 36.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.225 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 181995.8284 | 311245.4762 | 33.25 | 68.6
46065 | 2021-03-17 14:55 | 36.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2455 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.544 | 181990.9804 | 311244.8234 | 33.25 | 68.6
46075 | 2021-03-17 14:55 | 37.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1547 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.546 | 181975.0699 | 311248.3824 | 33.25 | 68.6
46085 | 2021-03-17 14:55 | 37.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.225 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.545 | 181969.9259 | 311251.6011 | 33.25 | 68.6
46095 | 2021-03-17 14:56 | 37.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1137 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.548 | 181960.28 | 311239.2058 | 33.25 | 68.6
46105 | 2021-03-17 14:56 | 38.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2045 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.546 | 181954.9091 | 311244.7703 | 33.25 | 68.6
46115 | 2021-03-17 14:56 | 38.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.184 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.547 | 181948.7125 | 311238.432 | 33.25 | 68.6
46125 | 2021-03-17 14:57 | 38.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0845 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.547 | 181944.1699 | 311240.4666 | 33.25 | 68.6
46135 | 2021-03-17 14:57 | 39.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1225 | μmol/L | 13.2411 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.55 | 181943.939 | 311226.4862 | 33.25 | 68.6
46145 | 2021-03-17 14:57 | 39.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0318 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.552 | 181952.1331 | 311225.197 | 33.25 | 68.6
46155 | 2021-03-17 14:58 | 39.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9821 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.552 | 181941.7758 | 311217.3135 | 33.25 | 68.6
46165 | 2021-03-17 14:58 | 40.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9206 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.555 | 181955.8452 | 311227.177 | 33.25 | 68.6
46175 | 2021-03-17 14:58 | 40.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9294 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.557 | 181963.4925 | 311223.5291 | 33.25 | 68.6
46185 | 2021-03-17 14:59 | 40.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8475 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.561 | 181979.2403 | 311224.0215 | 33.25 | 68.6
46195 | 2021-03-17 14:59 | 41.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7364 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.564 | 181988.9661 | 311214.7244 | 33.25 | 68.6
46205 | 2021-03-17 14:59 | 41.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7004 | μmol/L | 13.2472 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.568 | 182020.2021 | 311211.703 | 33.25 | 68.6
46215 | 2021-03-17 15:00 | 41.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.532 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.574 | 182041.5747 | 311209.3236 | 33.25 | 68.6
46225 | 2021-03-17 15:00 | 42.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6225 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.572 | 182074.2106 | 311200.7472 | 33.25 | 68.6
46235 | 2021-03-17 15:00 | 42.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4094 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.58 | 182105.8679 | 311212.63 | 33.25 | 68.6
46245 | 2021-03-17 15:01 | 42.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2869 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.586 | 182134.4527 | 311199.643 | 33.25 | 68.6
46255 | 2021-03-17 15:01 | 43.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1849 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.591 | 182169.099 | 311219.6665 | 33.25 | 68.6
46265 | 2021-03-17 15:01 | 43.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0829 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 182187.0399 | 311209.7762 | 33.25 | 68.6
46275 | 2021-03-17 15:02 | 43.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0537 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.595 | 182193.004 | 311202.0683 | 33.25 | 68.6
46285 | 2021-03-17 15:02 | 44.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0508 | μmol/L | 13.2472 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.6 | 182199.694 | 311210.104 | 33.25 | 68.6
46295 | 2021-03-17 15:02 | 44.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9809 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.601 | 182187.9131 | 311186.1332 | 33.25 | 68.6
46305 | 2021-03-17 15:03 | 44.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.911 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.602 | 182171.3185 | 311187.0957 | 33.25 | 68.6
46315 | 2021-03-17 15:03 | 45.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.911 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.602 | 182159.4133 | 311188.4376 | 33.25 | 68.6
46325 | 2021-03-17 15:03 | 45.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0217 | μmol/L | 13.2533 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.599 | 182123.4938 | 311181.619 | 33.25 | 68.6
46335 | 2021-03-17 15:04 | 45.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9722 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.599 | 182106.4392 | 311179.895 | 33.25 | 68.6
46345 | 2021-03-17 15:04 | 46.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9926 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.598 | 182078.2562 | 311189.6006 | 33.25 | 68.6
46355 | 2021-03-17 15:04 | 46.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0333 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 182057.7103 | 311183.8315 | 33.25 | 68.6
46365 | 2021-03-17 15:05 | 46.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0333 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 182033.1426 | 311166.8798 | 33.25 | 68.6
46375 | 2021-03-17 15:05 | 47.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9838 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 182032.1512 | 311175.9846 | 33.25 | 68.6
46385 | 2021-03-17 15:05 | 47.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.013 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.597 | 182004.3165 | 311167.0681 | 33.25 | 68.6
46395 | 2021-03-17 15:06 | 47.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9431 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.598 | 181999.5038 | 311187.8644 | 33.25 | 68.6
46405 | 2021-03-17 15:06 | 48.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0333 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 181981.6957 | 311178.9186 | 33.25 | 68.6
46415 | 2021-03-17 15:06 | 48.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0333 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.596 | 181957.6387 | 311161.9731 | 33.25 | 68.6
46425 | 2021-03-17 15:07 | 48.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.98 | μmol/L | 13.2654 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.596 | 181950.6584 | 311161.1335 | 33.25 | 68.6
46435 | 2021-03-17 15:07 | 49.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0246 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.594 | 181925.6033 | 311163.9045 | 33.25 | 68.6
46445 | 2021-03-17 15:07 | 49.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.045 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.593 | 181912.6045 | 311152.2876 | 33.25 | 68.6
46455 | 2021-03-17 15:08 | 49.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1353 | μmol/L | 13.2594 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.591 | 181870.6878 | 311147.0351 | 33.25 | 68.6
46465 | 2021-03-17 15:08 | 50.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1674 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.587 | 181849.1006 | 311141.3921 | 33.25 | 68.6
46475 | 2021-03-17 15:08 | 50.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.114 | μmol/L | 13.2715 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.587 | 181818.6374 | 311144.073 | 33.25 | 68.6
46485 | 2021-03-17 15:09 | 50.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2082 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.585 | 181797.616 | 311159.6336 | 33.25 | 68.6
46495 | 2021-03-17 15:09 | 51.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1995 | μmol/L | 13.2715 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.583 | 181772.4804 | 311156.8112 | 33.25 | 68.6
46505 | 2021-03-17 15:09 | 51.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2403 | μmol/L | 13.2715 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.581 | 181752.6011 | 311147.8571 | 33.25 | 68.6
46515 | 2021-03-17 15:10 | 51.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1995 | μmol/L | 13.2715 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.583 | 181744.232 | 311140.1616 | 33.25 | 68.6
46525 | 2021-03-17 15:10 | 52.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2694 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.582 | 181724.3486 | 311146.9293 | 33.25 | 68.6
46535 | 2021-03-17 15:10 | 52.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2286 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.584 | 181721.9415 | 311138.1375 | 33.25 | 68.6
46545 | 2021-03-17 15:11 | 52.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1674 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.587 | 181729.6574 | 311137.6863 | 33.25 | 68.6
46555 | 2021-03-17 15:11 | 53.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0159 | μmol/L | 13.2715 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.592 | 181733.9219 | 311126.4689 | 33.25 | 68.6
46565 | 2021-03-17 15:11 | 53.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.045 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.593 | 181742.9323 | 311120.7113 | 33.25 | 68.6
46575 | 2021-03-17 15:12 | 53.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9227 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.599 | 181759.0387 | 311126.6503 | 33.25 | 68.6
46585 | 2021-03-17 15:12 | 54.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8819 | μmol/L | 13.2654 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181778.115 | 311122.7789 | 33.25 | 68.6
46595 | 2021-03-17 15:12 | 54.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8528 | μmol/L | 13.2715 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.6 | 181775.7809 | 311129.5388 | 33.25 | 68.6
46605 | 2021-03-17 15:13 | 54.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7675 | μmol/L | 13.2715 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.604 | 181796.5214 | 311127.2859 | 33.25 | 68.6
46615 | 2021-03-17 15:13 | 55.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7016 | μmol/L | 13.2776 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.605 | 181796.4998 | 311113.039 | 33.25 | 68.6
46625 | 2021-03-17 15:13 | 55.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7268 | μmol/L | 13.2715 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.606 | 181782.3139 | 311119.2279 | 33.25 | 68.6
46635 | 2021-03-17 15:14 | 55.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5872 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181779.2014 | 311104.8991 | 33.25 | 68.6
46645 | 2021-03-17 15:14 | 56.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6657 | μmol/L | 13.2715 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.609 | 181774.4257 | 311101.1762 | 33.25 | 68.6
46655 | 2021-03-17 15:14 | 56.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6405 | μmol/L | 13.2776 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181771.9956 | 311113.7035 | 33.25 | 68.6
46665 | 2021-03-17 15:15 | 56.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6279 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.606 | 181757.4194 | 311109.5142 | 33.25 | 68.6
46675 | 2021-03-17 15:15 | 57.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6366 | μmol/L | 13.2776 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181749.1975 | 311103.1898 | 33.25 | 68.6
46685 | 2021-03-17 15:15 | 57.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6657 | μmol/L | 13.2715 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.609 | 181725.3589 | 311098.3228 | 33.25 | 68.6
46695 | 2021-03-17 15:16 | 57.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5872 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181717.491 | 311104.8817 | 33.25 | 68.6
46705 | 2021-03-17 15:16 | 58.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5465 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.61 | 181707.8777 | 311099.5866 | 33.25 | 68.6
46715 | 2021-03-17 15:16 | 58.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6608 | μmol/L | 13.2776 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 24.607 | 181679.1712 | 311101.4143 | 33.25 | 68.6
46725 | 2021-03-17 15:17 | 58.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6163 | μmol/L | 13.2776 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.609 | 181688.6288 | 311099.9309 | 33.25 | 68.6
46735 | 2021-03-17 15:17 | 59.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6773 | μmol/L | 13.2776 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.606 | 181671.9326 | 311103.6339 | 33.25 | 68.6
46745 | 2021-03-17 15:17 | 59.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6075 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.607 | 181655.5226 | 311090.3882 | 33.25 | 68.6
46755 | 2021-03-17 15:18 | 59.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6075 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.607 | 181637.8779 | 311089.2009 | 33.25 | 68.6
46765 | 2021-03-17 15:18 | 60.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6395 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181626.2798 | 311091.4384 | 33.25 | 68.6
46775 | 2021-03-17 15:18 | 60.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7791 | μmol/L | 13.2776 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181610.7254 | 311096.2481 | 33.25 | 68.6
46785 | 2021-03-17 15:19 | 60.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7297 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181585.7842 | 311084.7186 | 33.25 | 68.6
46795 | 2021-03-17 15:19 | 61.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7704 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.599 | 181571.532 | 311102.2369 | 33.25 | 68.6
46805 | 2021-03-17 15:19 | 61.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6395 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181544.3742 | 311066.7441 | 33.25 | 68.6
46815 | 2021-03-17 15:20 | 61.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7704 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.599 | 181527.9761 | 311072.3406 | 33.25 | 68.6
46825 | 2021-03-17 15:20 | 62.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6803 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181515.3297 | 311085.9856 | 33.25 | 68.6
46835 | 2021-03-17 15:20 | 62.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7413 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.598 | 181509.6837 | 311094.4149 | 33.25 | 68.6
46845 | 2021-03-17 15:21 | 62.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.721 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.599 | 181497.8095 | 311074.6708 | 33.25 | 68.6
46855 | 2021-03-17 15:21 | 63.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7704 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.599 | 181492.1864 | 311067.3392 | 33.25 | 68.6
46865 | 2021-03-17 15:21 | 63.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8111 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.597 | 181466.8745 | 311064.5618 | 33.25 | 68.6
46875 | 2021-03-17 15:22 | 63.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8111 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.597 | 181464.843 | 311069.9463 | 33.25 | 68.6
46885 | 2021-03-17 15:22 | 64.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7006 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.6 | 181442.6126 | 311059.6001 | 33.25 | 68.6
46895 | 2021-03-17 15:22 | 64.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8519 | μmol/L | 13.2836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.595 | 181439.1478 | 311070.2618 | 33.25 | 68.6
46905 | 2021-03-17 15:23 | 64.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7123 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.597 | 181428.4507 | 311073.1957 | 33.25 | 68.6
46915 | 2021-03-17 15:23 | 65.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7006 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.6 | 181427.8347 | 311071.7335 | 33.25 | 68.6
46925 | 2021-03-17 15:23 | 65.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7006 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.6 | 181412.2349 | 311055.808 | 33.25 | 68.6
46935 | 2021-03-17 15:24 | 65.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7413 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.598 | 181416.4717 | 311053.6634 | 33.25 | 68.6
46945 | 2021-03-17 15:24 | 66.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6308 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181400.741 | 311058.2235 | 33.25 | 68.6
46955 | 2021-03-17 15:24 | 66.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7617 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.597 | 181390.8484 | 311044.6129 | 33.25 | 68.6
46965 | 2021-03-17 15:25 | 66.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6018 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.6 | 181380.3913 | 311040.7427 | 33.25 | 68.6
46975 | 2021-03-17 15:25 | 67.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5814 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181389.0966 | 311062.6504 | 33.25 | 68.6
46985 | 2021-03-17 15:25 | 67.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6599 | μmol/L | 13.2897 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.602 | 181368.2192 | 311047.9359 | 33.25 | 68.6
46995 | 2021-03-17 15:26 | 67.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5407 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181369.3479 | 311048.1559 | 33.25 | 68.6
47005 | 2021-03-17 15:26 | 68.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5814 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.601 | 181373.8488 | 311041.996 | 33.25 | 68.6
47015 | 2021-03-17 15:26 | 68.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5901 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181360.435 | 311036.8118 | 33.25 | 68.6
47025 | 2021-03-17 15:27 | 68.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5611 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.602 | 181346.3284 | 311033.9683 | 33.25 | 68.6
47035 | 2021-03-17 15:27 | 69.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5901 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181349.1578 | 311032.6967 | 33.25 | 68.6
47045 | 2021-03-17 15:27 | 69.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5001 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.605 | 181342.7887 | 311031.3782 | 33.25 | 68.6
47055 | 2021-03-17 15:28 | 69.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6105 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.602 | 181344.8515 | 311026.2748 | 33.25 | 68.6
47065 | 2021-03-17 15:28 | 70.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5407 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.603 | 181353.223 | 311038.7549 | 33.25 | 68.6
47075 | 2021-03-17 15:28 | 70.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4884 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181350.6631 | 311045.4841 | 33.25 | 68.6
47085 | 2021-03-17 15:29 | 70.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3897 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.608 | 181354.8816 | 311039.291 | 33.25 | 68.6
47095 | 2021-03-17 15:29 | 71.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3287 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.611 | 181371.3843 | 311027.8743 | 33.25 | 68.6
47105 | 2021-03-17 15:29 | 71.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3461 | μmol/L | 13.2958 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.615 | 181403.4798 | 311040.4193 | 33.25 | 68.6
47115 | 2021-03-17 15:30 | 71.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1139 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.624 | 181445.9652 | 311034.9943 | 33.25 | 68.6
47125 | 2021-03-17 15:30 | 72.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9834 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.628 | 181478.7972 | 311031.8902 | 33.25 | 68.6
47135 | 2021-03-17 15:30 | 72.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9225 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.631 | 181527.5219 | 311049.204 | 33.25 | 68.6
47145 | 2021-03-17 15:31 | 72.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7806 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.638 | 181558.983 | 311050.2307 | 33.25 | 68.6
47155 | 2021-03-17 15:31 | 73.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6792 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.643 | 181578.8869 | 311038.8767 | 33.25 | 68.6
47165 | 2021-03-17 15:31 | 73.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6474 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.647 | 181603.4393 | 311044.9851 | 33.25 | 68.6
47175 | 2021-03-17 15:32 | 73.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.549 | μmol/L | 13.314 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.647 | 181613.8623 | 311035.6882 | 33.25 | 68.6
47185 | 2021-03-17 15:32 | 74.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5577 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.649 | 181624.0664 | 311052.7857 | 33.25 | 68.6
47195 | 2021-03-17 15:32 | 74.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4969 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.652 | 181624.6585 | 311046.7483 | 33.25 | 68.6
47205 | 2021-03-17 15:33 | 74.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5172 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.651 | 181621.1431 | 311038.2295 | 33.25 | 68.6
47215 | 2021-03-17 15:33 | 75.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5085 | μmol/L | 13.314 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.649 | 181615.1357 | 311034.4189 | 33.25 | 68.6
47225 | 2021-03-17 15:33 | 75.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4969 | μmol/L | 13.3079 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.652 | 181605.2942 | 311032.6919 | 33.25 | 68.6
47235 | 2021-03-17 15:34 | 75.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5664 | μmol/L | 13.3019 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.651 | 181603.8355 | 311041.7514 | 33.25 | 68.6
47245 | 2021-03-17 15:34 | 76.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.549 | μmol/L | 13.314 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.647 | 181592.3721 | 311032.564 | 33.25 | 68.6
47255 | 2021-03-17 15:34 | 76.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4883 | μmol/L | 13.314 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.65 | 181585.3566 | 311039.621 | 33.25 | 68.6
47265 | 2021-03-17 15:35 | 76.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5288 | μmol/L | 13.314 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.648 | 181587.7896 | 311052.1065 | 33.25 | 68.6
47274 | 2021-03-17 15:35 | 77.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4391 | μmol/L | 13.3201 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.65 | 181548.4868 | 311042.2773 | 33.25 | 68.6