## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44967 | 2021-03-17 14:18 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8227 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132243.4944 | 274151.9801 | 26.25 | 74
44977 | 2021-03-17 14:18 | 0.33187 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8512 | μmol/L | 13.1294 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.511 | 132244.6138 | 274157.8939 | 26.25 | 74
44987 | 2021-03-17 14:19 | 0.66561 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7725 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132242.192 | 274133.491 | 26.25 | 74
44997 | 2021-03-17 14:19 | 0.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7795 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.512 | 132234.4221 | 274138.7205 | 26.25 | 74
45007 | 2021-03-17 14:19 | 1.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7509 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.511 | 132227.597 | 274123.0774 | 26.25 | 74
45017 | 2021-03-17 14:20 | 1.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8011 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.511 | 132217.3578 | 274114.0758 | 26.25 | 74
45027 | 2021-03-17 14:20 | 1.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8874 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.507 | 132216.5933 | 274116.2315 | 26.25 | 74
45037 | 2021-03-17 14:20 | 2.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7725 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132205.7197 | 274104.9641 | 26.25 | 74
45047 | 2021-03-17 14:21 | 2.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7294 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.512 | 132197.5495 | 274101.1218 | 26.25 | 74
45057 | 2021-03-17 14:21 | 2.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7725 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132199.9407 | 274091.6636 | 26.25 | 74
45067 | 2021-03-17 14:21 | 3.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7078 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.513 | 132185.5773 | 274084.9444 | 26.25 | 74
45077 | 2021-03-17 14:22 | 3.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8227 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132188.5162 | 274082.1682 | 26.25 | 74
45087 | 2021-03-17 14:22 | 3.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7795 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.512 | 132183.9405 | 274073.0537 | 26.25 | 74
45097 | 2021-03-17 14:22 | 4.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.643 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.516 | 132182.9228 | 274074.2254 | 26.25 | 74
45107 | 2021-03-17 14:23 | 4.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.6646 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.515 | 132180.5677 | 274077.5602 | 26.25 | 74
45117 | 2021-03-17 14:23 | 4.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7579 | μmol/L | 13.1355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.513 | 132178.9063 | 274072.4062 | 26.25 | 74
45127 | 2021-03-17 14:23 | 5.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7725 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.51 | 132171.2198 | 274067.5767 | 26.25 | 74
45137 | 2021-03-17 14:24 | 5.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.4921 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.523 | 132215.6377 | 274051.3789 | 26.25 | 74
45147 | 2021-03-17 14:24 | 5.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6744 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.561 | 132479.1585 | 274041.5143 | 26.25 | 74
45157 | 2021-03-17 14:24 | 6.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.4256 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.617 | 132806.2293 | 274037.0979 | 26.25 | 74
45167 | 2021-03-17 14:25 | 6.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0204 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.636 | 132972.9355 | 274047.4336 | 26.25 | 74
45177 | 2021-03-17 14:25 | 6.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6442 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.656 | 133072.199 | 274040.1238 | 26.25 | 74
45187 | 2021-03-17 14:25 | 7.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.9577 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.686 | 133287.0986 | 274041.2587 | 26.25 | 74
45197 | 2021-03-17 14:26 | 7.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.5302 | μmol/L | 13.1477 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.706 | 133399.4077 | 274025.43 | 26.25 | 74
45207 | 2021-03-17 14:26 | 7.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0623 | μmol/L | 13.1538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.726 | 133536.0336 | 274028.9147 | 26.25 | 74
45217 | 2021-03-17 14:26 | 8.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9955 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.779 | 133895.9484 | 274017.7383 | 26.25 | 74
45227 | 2021-03-17 14:27 | 8.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.8855 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.832 | 134218.5048 | 274020.4085 | 26.25 | 74
45237 | 2021-03-17 14:27 | 8.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.2253 | μmol/L | 13.1416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.866 | 134444.4598 | 274016.1882 | 26.25 | 74
45247 | 2021-03-17 14:27 | 9.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8992 | μmol/L | 13.1538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.877 | 134524.3814 | 274003.0451 | 26.25 | 74
45257 | 2021-03-17 14:28 | 9.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7952 | μmol/L | 13.1538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.882 | 134557.8982 | 273997.6742 | 26.25 | 74
45267 | 2021-03-17 14:28 | 9.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.1139 | μmol/L | 13.1477 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.917 | 134781.0297 | 274001.6561 | 26.25 | 74
45277 | 2021-03-17 14:28 | 10.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5837 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.892 | 134599.9394 | 273991.9402 | 26.25 | 74
45287 | 2021-03-17 14:29 | 10.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3153 | μmol/L | 13.1538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.857 | 134355.9204 | 274000.7639 | 26.25 | 74
45297 | 2021-03-17 14:29 | 10.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.7076 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.838 | 134234.5402 | 273998.2081 | 26.25 | 74
45307 | 2021-03-17 14:29 | 11.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.1534 | μmol/L | 13.1477 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.819 | 134117.3124 | 273992.4625 | 26.25 | 74
45317 | 2021-03-17 14:30 | 11.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.576 | μmol/L | 13.1477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.799 | 133967.7686 | 273987.7723 | 26.25 | 74
45327 | 2021-03-17 14:30 | 11.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7747 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.787 | 133901.4725 | 273987.0937 | 26.25 | 74
45337 | 2021-03-17 14:30 | 12.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.3139 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.759 | 133719.4715 | 273987.8711 | 26.25 | 74
45347 | 2021-03-17 14:31 | 12.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.2062 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.719 | 133444.3384 | 273966.2948 | 26.25 | 74
45357 | 2021-03-17 14:31 | 12.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.8832 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.687 | 133218.4921 | 273964.7479 | 26.25 | 74
45367 | 2021-03-17 14:31 | 13.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5199 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.657 | 133029.1983 | 273975.3653 | 26.25 | 74
45377 | 2021-03-17 14:32 | 13.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.9173 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.636 | 132869.4615 | 273964.7131 | 26.25 | 74
45387 | 2021-03-17 14:32 | 13.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.1303 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.626 | 132833.9479 | 273962.9286 | 26.25 | 74
45397 | 2021-03-17 14:32 | 14.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0025 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.632 | 132868.5845 | 273971.872 | 26.25 | 74
45407 | 2021-03-17 14:33 | 14.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8147 | μmol/L | 13.1598 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.641 | 132913.6096 | 273960.8569 | 26.25 | 74
45417 | 2021-03-17 14:33 | 14.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0238 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.631 | 132868.7237 | 273957.869 | 26.25 | 74
45427 | 2021-03-17 14:33 | 15.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0877 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.628 | 132805.2783 | 273943.538 | 26.25 | 74
45437 | 2021-03-17 14:34 | 15.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.3079 | μmol/L | 13.1538 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.62 | 132751.1626 | 273947.2764 | 26.25 | 74
45447 | 2021-03-17 14:34 | 15.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.2796 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.619 | 132741.7231 | 273949.5152 | 26.25 | 74
45457 | 2021-03-17 14:34 | 16.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.2727 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.617 | 132747.2115 | 273945.0835 | 26.25 | 74
45467 | 2021-03-17 14:35 | 16.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.3437 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.616 | 132742.3739 | 273927.4462 | 26.25 | 74
45477 | 2021-03-17 14:35 | 16.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8534 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.639 | 132888.0469 | 273923.3679 | 26.25 | 74
45487 | 2021-03-17 14:35 | 17.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4705 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.657 | 133007.9508 | 273917.8961 | 26.25 | 74
45497 | 2021-03-17 14:36 | 17.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.7491 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.691 | 133228.6939 | 273934.6558 | 26.25 | 74
45507 | 2021-03-17 14:36 | 17.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.2203 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.716 | 133378.1848 | 273931.3116 | 26.25 | 74
45517 | 2021-03-17 14:36 | 18.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.8545 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.731 | 133476.1316 | 273925.0274 | 26.25 | 74
45527 | 2021-03-17 14:37 | 18.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.3279 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.756 | 133643.9684 | 273909.9459 | 26.25 | 74
45537 | 2021-03-17 14:37 | 18.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.0616 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.771 | 133715.4845 | 273929.3336 | 26.25 | 74
45547 | 2021-03-17 14:37 | 19.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.3279 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.756 | 133640.7717 | 273920.5302 | 26.25 | 74
45557 | 2021-03-17 14:38 | 19.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.728 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.737 | 133521.2392 | 273915.7516 | 26.25 | 74
45567 | 2021-03-17 14:38 | 19.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.5735 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.742 | 133541.8494 | 273912.7589 | 26.25 | 74
45577 | 2021-03-17 14:38 | 20.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.2298 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.763 | 133672.3268 | 273893.1454 | 26.25 | 74
45587 | 2021-03-17 14:39 | 20.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1247 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.768 | 133726.5004 | 273910.7318 | 26.25 | 74
45597 | 2021-03-17 14:39 | 20.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1387 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.765 | 133681.1484 | 273902.0799 | 26.25 | 74
45607 | 2021-03-17 14:39 | 21.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.391 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.753 | 133601.0116 | 273903.9995 | 26.25 | 74
45617 | 2021-03-17 14:40 | 21.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1807 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.763 | 133696.8202 | 273901.9226 | 26.25 | 74
45627 | 2021-03-17 14:40 | 21.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.4463 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.798 | 133892.3561 | 273895.1606 | 26.25 | 74
45637 | 2021-03-17 14:40 | 22.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9024 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.824 | 134074.2277 | 273898.1703 | 26.25 | 74
45647 | 2021-03-17 14:41 | 22.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3669 | μmol/L | 13.1598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.852 | 134269.6055 | 273907.5863 | 26.25 | 74
45657 | 2021-03-17 14:41 | 22.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.103 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.86 | 134301.1251 | 273889.3444 | 26.25 | 74
45667 | 2021-03-17 14:41 | 23.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.2349 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.856 | 134255.9173 | 273893.2682 | 26.25 | 74
45677 | 2021-03-17 14:42 | 23.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3529 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.848 | 134206.8852 | 273885.704 | 26.25 | 74
45687 | 2021-03-17 14:42 | 23.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.485 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.844 | 134201.024 | 273883.1379 | 26.25 | 74
45697 | 2021-03-17 14:42 | 24.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.478 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.842 | 134167.4805 | 273883.5327 | 26.25 | 74
45707 | 2021-03-17 14:43 | 24.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8672 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.869 | 134344.4883 | 273880.9711 | 26.25 | 74
45717 | 2021-03-17 14:43 | 24.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.1964 | μmol/L | 13.1659 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.906 | 134599.3591 | 273886.5181 | 26.25 | 74
45727 | 2021-03-17 14:43 | 25.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.6237 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.929 | 134756.6897 | 273884.9475 | 26.25 | 74
45737 | 2021-03-17 14:44 | 25.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.6237 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.929 | 134723.3495 | 273873.2024 | 26.25 | 74
45747 | 2021-03-17 14:44 | 25.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.3759 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.895 | 134499.0497 | 273869.0534 | 26.25 | 74
45757 | 2021-03-17 14:44 | 26.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5211 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.888 | 134459.349 | 273862.9906 | 26.25 | 74
45767 | 2021-03-17 14:45 | 26.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.279 | μmol/L | 13.1842 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.895 | 134534.4872 | 273872.5728 | 26.25 | 74
45777 | 2021-03-17 14:45 | 26.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.4726 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.888 | 134454.8941 | 273870.8347 | 26.25 | 74
45787 | 2021-03-17 14:45 | 27.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9296 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.866 | 134325.397 | 273853.7975 | 26.25 | 74
45797 | 2021-03-17 14:46 | 27.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.1793 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.854 | 134239.9147 | 273866.0615 | 26.25 | 74
45807 | 2021-03-17 14:46 | 27.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3043 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.848 | 134185.528 | 273860.083 | 26.25 | 74
45817 | 2021-03-17 14:46 | 28.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.2071 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.855 | 134233.1339 | 273846.1965 | 26.25 | 74
45827 | 2021-03-17 14:47 | 28.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0198 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.864 | 134298.1118 | 273866.98 | 26.25 | 74
45837 | 2021-03-17 14:47 | 28.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9574 | μmol/L | 13.172 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.867 | 134317.1776 | 273851.9466 | 26.25 | 74
45847 | 2021-03-17 14:47 | 29.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.888 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.868 | 134334.6632 | 273850.1172 | 26.25 | 74
45857 | 2021-03-17 14:48 | 29.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7425 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.875 | 134360.5095 | 273841.3296 | 26.25 | 74
45867 | 2021-03-17 14:48 | 29.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.4794 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.883 | 134407.2026 | 273845.3348 | 26.25 | 74
45877 | 2021-03-17 14:48 | 30.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5349 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.885 | 134438.342 | 273835.8204 | 26.25 | 74
45887 | 2021-03-17 14:49 | 30.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.3826 | μmol/L | 13.1842 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.89 | 134462.4989 | 273853.436 | 26.25 | 74
45897 | 2021-03-17 14:49 | 30.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.4034 | μmol/L | 13.1842 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.889 | 134447.123 | 273842.8154 | 26.25 | 74
45907 | 2021-03-17 14:49 | 31.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5972 | μmol/L | 13.1781 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.882 | 134400.2494 | 273830.9841 | 26.25 | 74
45917 | 2021-03-17 14:50 | 31.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.6109 | μmol/L | 13.1842 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.879 | 134367.38 | 273826.647 | 26.25 | 74
45927 | 2021-03-17 14:50 | 31.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5416 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.88 | 134370.9639 | 273826.6906 | 26.25 | 74
45937 | 2021-03-17 14:50 | 32.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5416 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.88 | 134368.8844 | 273821.7969 | 26.25 | 74
45947 | 2021-03-17 14:51 | 32.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5832 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.878 | 134361.1125 | 273818.765 | 26.25 | 74
45957 | 2021-03-17 14:51 | 32.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.6662 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.874 | 134334.3463 | 273811.8048 | 26.25 | 74
45967 | 2021-03-17 14:51 | 33.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7631 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.867 | 134294.068 | 273800.8904 | 26.25 | 74
45977 | 2021-03-17 14:52 | 33.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8532 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.865 | 134270.047 | 273816.7951 | 26.25 | 74
45987 | 2021-03-17 14:52 | 33.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8878 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.861 | 134257.5724 | 273802.4719 | 26.25 | 74
45997 | 2021-03-17 14:52 | 34.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7216 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.869 | 134297.2054 | 273813.3382 | 26.25 | 74
46007 | 2021-03-17 14:53 | 34.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5416 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.88 | 134366.421 | 273796.4734 | 26.25 | 74
46017 | 2021-03-17 14:53 | 34.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.2305 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.895 | 134467.5014 | 273802.9013 | 26.25 | 74
46027 | 2021-03-17 14:53 | 35.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.0441 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.904 | 134520.6653 | 273810.9361 | 26.25 | 74
46037 | 2021-03-17 14:54 | 35.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.0164 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.903 | 134521.2499 | 273786.3846 | 26.25 | 74
46047 | 2021-03-17 14:54 | 35.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.265 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.891 | 134449.6885 | 273781.9495 | 26.25 | 74
46057 | 2021-03-17 14:54 | 36.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5832 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.878 | 134341.5787 | 273791.9215 | 26.25 | 74
46067 | 2021-03-17 14:55 | 36.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8117 | μmol/L | 13.1902 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.867 | 134267.2956 | 273793.7691 | 26.25 | 74
46077 | 2021-03-17 14:55 | 36.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.1167 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.85 | 134161.1842 | 273790.408 | 26.25 | 74
46087 | 2021-03-17 14:55 | 37.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6726 | μmol/L | 13.1842 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.828 | 134011.721 | 273789.2102 | 26.25 | 74
46097 | 2021-03-17 14:56 | 37.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9789 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.804 | 133856.3034 | 273792.8419 | 26.25 | 74
46107 | 2021-03-17 14:56 | 37.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.5161 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.783 | 133725.7195 | 273777.5712 | 26.25 | 74
46117 | 2021-03-17 14:56 | 38.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7048 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.774 | 133649.1022 | 273777.2546 | 26.25 | 74
46127 | 2021-03-17 14:57 | 38.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6979 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.772 | 133631.5667 | 273758.249 | 26.25 | 74
46137 | 2021-03-17 14:57 | 38.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7608 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.769 | 133604.5945 | 273777.1451 | 26.25 | 74
46147 | 2021-03-17 14:57 | 39.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.8168 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.764 | 133577.9653 | 273779.0245 | 26.25 | 74
46157 | 2021-03-17 14:58 | 39.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7048 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.774 | 133629.9717 | 273768.3402 | 26.25 | 74
46167 | 2021-03-17 14:58 | 39.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.607 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.774 | 133654.7576 | 273765.9902 | 26.25 | 74
46177 | 2021-03-17 14:58 | 40.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6769 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.773 | 133623.9032 | 273776.53 | 26.25 | 74
46187 | 2021-03-17 14:59 | 40.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9357 | μmol/L | 13.1963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.763 | 133569.1721 | 273766.1849 | 26.25 | 74
46197 | 2021-03-17 14:59 | 40.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9218 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.759 | 133528.1996 | 273760.6179 | 26.25 | 74
46207 | 2021-03-17 14:59 | 41.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9078 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.762 | 133558.1901 | 273770.2691 | 26.25 | 74
46217 | 2021-03-17 15:00 | 41.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7608 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.769 | 133593.2931 | 273756.6518 | 26.25 | 74
46227 | 2021-03-17 15:00 | 41.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.5511 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.779 | 133666.7189 | 273764.7019 | 26.25 | 74
46237 | 2021-03-17 15:00 | 42.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9162 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.807 | 133843.0768 | 273763.1632 | 26.25 | 74
46247 | 2021-03-17 15:01 | 42.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.5682 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.826 | 133997.996 | 273774.4415 | 26.25 | 74
46257 | 2021-03-17 15:01 | 42.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0611 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.848 | 134107.7523 | 273764.8852 | 26.25 | 74
46267 | 2021-03-17 15:01 | 43.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.4032 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.882 | 134341.0469 | 273755.6185 | 26.25 | 74
46277 | 2021-03-17 15:02 | 43.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.4098 | μmol/L | 13.2024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.93 | 134650.1256 | 273753.7592 | 26.25 | 74
46287 | 2021-03-17 15:02 | 43.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.2635 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.981 | 134979.5608 | 273748.7873 | 26.25 | 74
46297 | 2021-03-17 15:02 | 44.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.0557 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.04 | 135388.4425 | 273756.8205 | 26.25 | 74
46307 | 2021-03-17 15:03 | 44.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.8348 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.1 | 135770.3838 | 273756.3502 | 26.25 | 74
46317 | 2021-03-17 15:03 | 44.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.7291 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.157 | 136153.6347 | 273740.1859 | 26.25 | 74
46327 | 2021-03-17 15:03 | 45.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.7228 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.207 | 136481.8415 | 273743.2068 | 26.25 | 74
46337 | 2021-03-17 15:04 | 45.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7215 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.257 | 136819.0946 | 273734.4804 | 26.25 | 74
46347 | 2021-03-17 15:04 | 45.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.7579 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.303 | 137113.0296 | 273734.7719 | 26.25 | 74
46357 | 2021-03-17 15:04 | 46.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2615 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.328 | 137287.1645 | 273731.9099 | 26.25 | 74
46367 | 2021-03-17 15:05 | 46.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.9713 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.345 | 137370.5202 | 273729.7522 | 26.25 | 74
46377 | 2021-03-17 15:05 | 46.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6547 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.361 | 137506.8772 | 273729.8369 | 26.25 | 74
46387 | 2021-03-17 15:05 | 47.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.9765 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.393 | 137698.9292 | 273734.3407 | 26.25 | 74
46397 | 2021-03-17 15:06 | 47.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.6812 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.408 | 137792.1292 | 273730.454 | 26.25 | 74
46407 | 2021-03-17 15:06 | 47.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.878 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.398 | 137736.3153 | 273723.9433 | 26.25 | 74
46417 | 2021-03-17 15:06 | 48.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.9765 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.393 | 137715.1155 | 273744.6608 | 26.25 | 74
46427 | 2021-03-17 15:07 | 48.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.6025 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.412 | 137828.4883 | 273738.2259 | 26.25 | 74
46437 | 2021-03-17 15:07 | 48.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.3666 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.424 | 137911.1436 | 273732.7 | 26.25 | 74
46447 | 2021-03-17 15:07 | 49.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.6812 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.408 | 137800.2263 | 273729.7859 | 26.25 | 74
46457 | 2021-03-17 15:08 | 49.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.2258 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.378 | 137610.6344 | 273715.9834 | 26.25 | 74
46467 | 2021-03-17 15:08 | 49.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.1469 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.382 | 137639.2095 | 273727.2786 | 26.25 | 74
46477 | 2021-03-17 15:08 | 50.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.819 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.401 | 137738.2469 | 273733.4418 | 26.25 | 74
46487 | 2021-03-17 15:09 | 50.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.0286 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.388 | 137655.7626 | 273726.2147 | 26.25 | 74
46497 | 2021-03-17 15:09 | 50.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.714 | μmol/L | 13.2085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.358 | 137476.6654 | 273715.1032 | 26.25 | 74
46507 | 2021-03-17 15:09 | 51.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.7394 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.352 | 137419.7158 | 273712.7406 | 26.25 | 74
46517 | 2021-03-17 15:10 | 51.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.7197 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.353 | 137410.6937 | 273720.7669 | 26.25 | 74
46527 | 2021-03-17 15:10 | 51.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.0562 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.336 | 137330.4432 | 273716.3221 | 26.25 | 74
46537 | 2021-03-17 15:10 | 52.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.3933 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.319 | 137222.6574 | 273727.1908 | 26.25 | 74
46547 | 2021-03-17 15:11 | 52.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5194 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.315 | 137182.3666 | 273718.1999 | 26.25 | 74
46557 | 2021-03-17 15:11 | 52.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1821 | μmol/L | 13.2146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.332 | 137286.6735 | 273705.4122 | 26.25 | 74
46567 | 2021-03-17 15:11 | 53.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6533 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.354 | 137458.7393 | 273723.412 | 26.25 | 74
46577 | 2021-03-17 15:12 | 53.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.594 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.357 | 137455.5284 | 273712.7699 | 26.25 | 74
46587 | 2021-03-17 15:12 | 53.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2346 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.327 | 137233.8552 | 273709.9727 | 26.25 | 74
46597 | 2021-03-17 15:12 | 54.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.0821 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.282 | 136934.9465 | 273714.2353 | 26.25 | 74
46607 | 2021-03-17 15:13 | 54.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8473 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.246 | 136723.0932 | 273706.777 | 26.25 | 74
46617 | 2021-03-17 15:13 | 54.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2204 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.225 | 136560.7888 | 273698.1143 | 26.25 | 74
46627 | 2021-03-17 15:13 | 55.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.8493 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.196 | 136376.2226 | 273692.2912 | 26.25 | 74
46637 | 2021-03-17 15:14 | 55.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.4056 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.166 | 136181.9988 | 273700.1733 | 26.25 | 74
46647 | 2021-03-17 15:14 | 55.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.9231 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.138 | 135979.1169 | 273705.0778 | 26.25 | 74
46657 | 2021-03-17 15:14 | 56.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.3274 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.118 | 135862.6511 | 273697.6389 | 26.25 | 74
46667 | 2021-03-17 15:15 | 56.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.0381 | μmol/L | 13.2207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.137 | 135994.9581 | 273697.0235 | 26.25 | 74
46677 | 2021-03-17 15:15 | 56.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6013 | μmol/L | 13.2267 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.206 | 136438.1282 | 273701.1214 | 26.25 | 74
46687 | 2021-03-17 15:15 | 57.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.1547 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.276 | 136931.2602 | 273695.5639 | 26.25 | 74
46697 | 2021-03-17 15:16 | 57.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.0945 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.327 | 137231.9353 | 273694.116 | 26.25 | 74
46707 | 2021-03-17 15:16 | 57.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.0539 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.382 | 137596.9048 | 273703.58 | 26.25 | 74
46717 | 2021-03-17 15:16 | 58.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.0903 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.431 | 137942.3551 | 273680.2961 | 26.25 | 74
46727 | 2021-03-17 15:17 | 58.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.5026 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.461 | 138144.2049 | 273698.278 | 26.25 | 74
46737 | 2021-03-17 15:17 | 58.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3266 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.47 | 138208.89 | 273673.2862 | 26.25 | 74
46747 | 2021-03-17 15:17 | 59.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3266 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.47 | 138178.0705 | 273691.2945 | 26.25 | 74
46757 | 2021-03-17 15:18 | 59.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.7179 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.45 | 138055.3635 | 273688.6071 | 26.25 | 74
46767 | 2021-03-17 15:18 | 59.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.0048 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.433 | 137951.6615 | 273688.1252 | 26.25 | 74
46777 | 2021-03-17 15:18 | 60.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.8354 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.444 | 138035.1967 | 273688.991 | 26.25 | 74
46787 | 2021-03-17 15:19 | 60.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1898 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.477 | 138233.4271 | 273690.424 | 26.25 | 74
46797 | 2021-03-17 15:19 | 60.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.8776 | μmol/L | 13.2328 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.493 | 138336.8903 | 273693.6413 | 26.25 | 74
46807 | 2021-03-17 15:19 | 61.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.9876 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.485 | 138311.448 | 273675.2587 | 26.25 | 74
46817 | 2021-03-17 15:20 | 61.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3391 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.467 | 138174.6516 | 273683.3903 | 26.25 | 74
46827 | 2021-03-17 15:20 | 61.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.7892 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.444 | 138009.9737 | 273678.5275 | 26.25 | 74
46837 | 2021-03-17 15:20 | 62.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.8479 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.441 | 138001.6194 | 273689.4405 | 26.25 | 74
46847 | 2021-03-17 15:21 | 62.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2148 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.471 | 138190.0437 | 273682.8304 | 26.25 | 74
46857 | 2021-03-17 15:21 | 62.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.442 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.513 | 138453.2611 | 273683.2034 | 26.25 | 74
46867 | 2021-03-17 15:21 | 63.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.8715 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.54 | 138661.2275 | 273680.572 | 26.25 | 74
46877 | 2021-03-17 15:22 | 63.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.697 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.549 | 138705.4259 | 273687.6311 | 26.25 | 74
46887 | 2021-03-17 15:22 | 63.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.9297 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.537 | 138619.2408 | 273680.4488 | 26.25 | 74
46897 | 2021-03-17 15:22 | 64.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.435 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.511 | 138450.6043 | 273681.3536 | 26.25 | 74
46907 | 2021-03-17 15:23 | 64.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.6881 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.498 | 138367.6106 | 273672.4083 | 26.25 | 74
46917 | 2021-03-17 15:23 | 64.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.8705 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.491 | 138326.9907 | 273666.595 | 26.25 | 74
46927 | 2021-03-17 15:23 | 65.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3907 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.462 | 138128.5865 | 273666.8965 | 26.25 | 74
46937 | 2021-03-17 15:24 | 65.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.2921 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.416 | 137835.222 | 273678.7447 | 26.25 | 74
46947 | 2021-03-17 15:24 | 65.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.3034 | μmol/L | 13.2389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.367 | 137492.521 | 273675.0364 | 26.25 | 74
46957 | 2021-03-17 15:24 | 66.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1272 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.323 | 137177.7151 | 273667.4679 | 26.25 | 74
46967 | 2021-03-17 15:25 | 66.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.683 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 137025.0504 | 273676.7805 | 26.25 | 74
46977 | 2021-03-17 15:25 | 66.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.3998 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.259 | 136793.5772 | 273663.2778 | 26.25 | 74
46987 | 2021-03-17 15:25 | 67.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9592 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.231 | 136588.261 | 273666.8545 | 26.25 | 74
46997 | 2021-03-17 15:26 | 67.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7922 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.237 | 136632.9524 | 273650.2366 | 26.25 | 74
47007 | 2021-03-17 15:26 | 67.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.4198 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.258 | 136769.5048 | 273667.4744 | 26.25 | 74
47017 | 2021-03-17 15:26 | 68.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.3201 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.263 | 136785.0951 | 273656.7808 | 26.25 | 74
47027 | 2021-03-17 15:27 | 68.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.4797 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.255 | 136746.1985 | 273666.0183 | 26.25 | 74
47037 | 2021-03-17 15:27 | 68.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.4926 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.252 | 136716.3224 | 273664.5243 | 26.25 | 74
47047 | 2021-03-17 15:27 | 69.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7393 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.242 | 136651.0353 | 273656.9163 | 26.25 | 74
47057 | 2021-03-17 15:28 | 69.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7792 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.24 | 136650.3132 | 273669.7259 | 26.25 | 74
47067 | 2021-03-17 15:28 | 69.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7393 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.242 | 136681.0667 | 273651.6114 | 26.25 | 74
47077 | 2021-03-17 15:28 | 70.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8992 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.234 | 136609.5422 | 273649.4609 | 26.25 | 74
47087 | 2021-03-17 15:29 | 70.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.4329 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.205 | 136440.4321 | 273642.1083 | 26.25 | 74
47097 | 2021-03-17 15:29 | 70.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.8745 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.183 | 136241.2049 | 273654.049 | 26.25 | 74
47107 | 2021-03-17 15:29 | 71.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.1762 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.168 | 136176.4395 | 273661.803 | 26.25 | 74
47117 | 2021-03-17 15:30 | 71.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6867 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.19 | 136306.4703 | 273660.7636 | 26.25 | 74
47127 | 2021-03-17 15:30 | 71.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.466 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.201 | 136407.2182 | 273661.5088 | 26.25 | 74
47137 | 2021-03-17 15:30 | 72.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9852 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.225 | 136544.641 | 273657.2168 | 26.25 | 74
47147 | 2021-03-17 15:31 | 72.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.6853 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.24 | 136656.6346 | 273662.4589 | 26.25 | 74
47157 | 2021-03-17 15:31 | 72.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.6783 | μmol/L | 13.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.238 | 136634.4738 | 273666.6766 | 26.25 | 74
47167 | 2021-03-17 15:31 | 73.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0923 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.222 | 136518.0106 | 273655.8557 | 26.25 | 74
47177 | 2021-03-17 15:32 | 73.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.5332 | μmol/L | 13.2511 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.2 | 136387.918 | 273667.0734 | 26.25 | 74
47187 | 2021-03-17 15:32 | 73.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.8474 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.182 | 136274.2665 | 273656.2795 | 26.25 | 74
47197 | 2021-03-17 15:32 | 74.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.1019 | μmol/L | 13.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.167 | 136168.8752 | 273657.0491 | 26.25 | 74
47207 | 2021-03-17 15:33 | 74.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.4915 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.15 | 136080.6725 | 273669.4049 | 26.25 | 74
47217 | 2021-03-17 15:33 | 74.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.9961 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.125 | 135911.9999 | 273675.6767 | 26.25 | 74
47227 | 2021-03-17 15:33 | 75.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.9091 | μmol/L | 13.245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.134 | 135948.9391 | 273660.9652 | 26.25 | 74
47237 | 2021-03-17 15:34 | 75.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.439 | μmol/L | 13.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.2 | 136393.902 | 273671.3297 | 26.25 | 74
47247 | 2021-03-17 15:34 | 75.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.7068 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.189 | 136315.9244 | 273677.3831 | 26.25 | 74
47257 | 2021-03-17 15:34 | 76.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.3907 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.155 | 136097.4424 | 273653.5713 | 26.25 | 74
47267 | 2021-03-17 15:35 | 76.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.9153 | μmol/L | 13.2571 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.129 | 135918.4964 | 273669.8684 | 26.25 | 74
47275 | 2021-03-17 15:35 | 76.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.3735 | μmol/L | 13.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.104 | 135777.0891 | 273665.2685 | 26.25 | 74