## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44969 | 2021-03-17 14:18 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5474 | μmol/L | 13.137 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.219 | 134095.493 | 274315.9654 | 32.55 | 27.7
44979 | 2021-03-17 14:18 | 0.32684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5254 | μmol/L | 13.137 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.22 | 134098.8199 | 274275.8872 | 32.55 | 27.7
44989 | 2021-03-17 14:19 | 0.66067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4525 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.221 | 134085.292 | 274251.6468 | 32.55 | 27.7
44999 | 2021-03-17 14:19 | 0.99427 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4813 | μmol/L | 13.137 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.222 | 134075.3554 | 274229.9745 | 32.55 | 27.7
45009 | 2021-03-17 14:19 | 1.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3796 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.222 | 134073.1716 | 274199.1877 | 32.55 | 27.7
45019 | 2021-03-17 14:20 | 1.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3644 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.225 | 134065.7949 | 274187.1279 | 32.55 | 27.7
45029 | 2021-03-17 14:20 | 1.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4373 | μmol/L | 13.137 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.224 | 134060.3747 | 274165.8097 | 32.55 | 27.7
45039 | 2021-03-17 14:20 | 2.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3204 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.227 | 134065.8121 | 274155.311 | 32.55 | 27.7
45049 | 2021-03-17 14:21 | 2.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2476 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.228 | 134067.2565 | 274141.6572 | 32.55 | 27.7
45059 | 2021-03-17 14:21 | 2.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2544 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.23 | 134065.1521 | 274136.5619 | 32.55 | 27.7
45069 | 2021-03-17 14:21 | 3.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2984 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.228 | 134063.9396 | 274122.333 | 32.55 | 27.7
45079 | 2021-03-17 14:22 | 3.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2256 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.229 | 134059.2965 | 274096.5221 | 32.55 | 27.7
45089 | 2021-03-17 14:22 | 3.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2764 | μmol/L | 13.1431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.229 | 134056.5082 | 274094.3746 | 32.55 | 27.7
45099 | 2021-03-17 14:22 | 4.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2256 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.229 | 134055.8294 | 274083.3343 | 32.55 | 27.7
45109 | 2021-03-17 14:23 | 4.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2476 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.228 | 134052.9756 | 274071.0509 | 32.55 | 27.7
45119 | 2021-03-17 14:23 | 4.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0868 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.233 | 134047.2508 | 274057.2695 | 32.55 | 27.7
45129 | 2021-03-17 14:23 | 5.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1816 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.231 | 134046.669 | 274052.7762 | 32.55 | 27.7
45139 | 2021-03-17 14:24 | 5.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1596 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.232 | 134047.2267 | 274045.5448 | 32.55 | 27.7
45149 | 2021-03-17 14:24 | 5.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0648 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134031.6934 | 274029.1138 | 32.55 | 27.7
45159 | 2021-03-17 14:24 | 6.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1596 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.232 | 134041.2102 | 274043.9417 | 32.55 | 27.7
45169 | 2021-03-17 14:25 | 6.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1156 | μmol/L | 13.1492 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134034.3542 | 274023.7384 | 32.55 | 27.7
45179 | 2021-03-17 14:25 | 6.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0648 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134029.1567 | 274021.4283 | 32.55 | 27.7
45189 | 2021-03-17 14:25 | 7.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0648 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134030.1116 | 274029.7144 | 32.55 | 27.7
45199 | 2021-03-17 14:26 | 7.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1088 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.232 | 134023.2338 | 274008.584 | 32.55 | 27.7
45209 | 2021-03-17 14:26 | 7.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9481 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 134027.0528 | 274000.308 | 32.55 | 27.7
45219 | 2021-03-17 14:26 | 8.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9769 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 134017.9359 | 274005.9337 | 32.55 | 27.7
45229 | 2021-03-17 14:27 | 8.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9633 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134012.8592 | 274013.0415 | 32.55 | 27.7
45239 | 2021-03-17 14:27 | 8.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9701 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.236 | 134008.4558 | 274002.5852 | 32.55 | 27.7
45249 | 2021-03-17 14:27 | 9.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9481 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 134005.2776 | 273992.186 | 32.55 | 27.7
45259 | 2021-03-17 14:28 | 9.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0141 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 134000.5643 | 273988.1157 | 32.55 | 27.7
45269 | 2021-03-17 14:28 | 9.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0141 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 133996.7424 | 273987.7298 | 32.55 | 27.7
45279 | 2021-03-17 14:28 | 10.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9921 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.235 | 133996.2014 | 273973.3027 | 32.55 | 27.7
45289 | 2021-03-17 14:29 | 10.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0428 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.235 | 133992.6602 | 273961.9383 | 32.55 | 27.7
45299 | 2021-03-17 14:29 | 10.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9701 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.236 | 133978.7658 | 273959.1605 | 32.55 | 27.7
45309 | 2021-03-17 14:29 | 11.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9921 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.235 | 133979.5523 | 273962.3853 | 32.55 | 27.7
45319 | 2021-03-17 14:30 | 11.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8754 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133974.3438 | 273960.3839 | 32.55 | 27.7
45329 | 2021-03-17 14:30 | 11.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9262 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133983.0747 | 273945.6046 | 32.55 | 27.7
45339 | 2021-03-17 14:30 | 12.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9633 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.234 | 133987.5295 | 273949.7469 | 32.55 | 27.7
45349 | 2021-03-17 14:31 | 12.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8974 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133972.5775 | 273942.3351 | 32.55 | 27.7
45359 | 2021-03-17 14:31 | 12.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9042 | μmol/L | 13.1615 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133975.493 | 273941.574 | 32.55 | 27.7
45369 | 2021-03-17 14:31 | 13.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8974 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133975.0898 | 273939.5975 | 32.55 | 27.7
45379 | 2021-03-17 14:32 | 13.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.955 | μmol/L | 13.1553 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133972.6324 | 273930.7061 | 32.55 | 27.7
45389 | 2021-03-17 14:32 | 13.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8974 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133965.023 | 273920.186 | 32.55 | 27.7
45399 | 2021-03-17 14:32 | 14.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8754 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133966.8673 | 273924.4208 | 32.55 | 27.7
45409 | 2021-03-17 14:33 | 14.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8974 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133953.804 | 273915.7968 | 32.55 | 27.7
45419 | 2021-03-17 14:33 | 14.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8315 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.24 | 133961.5862 | 273916.4842 | 32.55 | 27.7
45429 | 2021-03-17 14:33 | 15.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8247 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133952.639 | 273905.8542 | 32.55 | 27.7
45439 | 2021-03-17 14:34 | 15.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8467 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133957.3687 | 273914.5974 | 32.55 | 27.7
45449 | 2021-03-17 14:34 | 15.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8247 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133953.9044 | 273895.5608 | 32.55 | 27.7
45459 | 2021-03-17 14:34 | 16.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8027 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133947.3986 | 273891.3337 | 32.55 | 27.7
45469 | 2021-03-17 14:35 | 16.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8974 | μmol/L | 13.1676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.237 | 133946.0477 | 273889.7948 | 32.55 | 27.7
45479 | 2021-03-17 14:35 | 16.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8247 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133946.4524 | 273895.7789 | 32.55 | 27.7
45489 | 2021-03-17 14:35 | 17.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7369 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.242 | 133938.4074 | 273889.7615 | 32.55 | 27.7
45499 | 2021-03-17 14:36 | 17.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.693 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133942.5817 | 273889.2089 | 32.55 | 27.7
45509 | 2021-03-17 14:36 | 17.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8027 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133944.1472 | 273877.9728 | 32.55 | 27.7
45519 | 2021-03-17 14:36 | 18.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7808 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.24 | 133935.7536 | 273881.9282 | 32.55 | 27.7
45529 | 2021-03-17 14:37 | 18.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.774 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133941.0561 | 273874.0578 | 32.55 | 27.7
45539 | 2021-03-17 14:37 | 18.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7081 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133932.8297 | 273876.3723 | 32.55 | 27.7
45549 | 2021-03-17 14:37 | 19.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7548 | μmol/L | 13.1737 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133935.0299 | 273880.948 | 32.55 | 27.7
45559 | 2021-03-17 14:38 | 19.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7301 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.24 | 133929.512 | 273880.8477 | 32.55 | 27.7
45569 | 2021-03-17 14:38 | 19.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.774 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.238 | 133935.8874 | 273876.9732 | 32.55 | 27.7
45579 | 2021-03-17 14:38 | 20.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6642 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.243 | 133925.5765 | 273850.557 | 32.55 | 27.7
45589 | 2021-03-17 14:39 | 20.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.752 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133932.4135 | 273864.526 | 32.55 | 27.7
45599 | 2021-03-17 14:39 | 20.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5916 | μmol/L | 13.1859 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133928.0837 | 273844.9591 | 32.55 | 27.7
45609 | 2021-03-17 14:39 | 21.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.752 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.239 | 133929.4825 | 273855.4274 | 32.55 | 27.7
45619 | 2021-03-17 14:40 | 21.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6574 | μmol/L | 13.1859 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133934.237 | 273841.185 | 32.55 | 27.7
45629 | 2021-03-17 14:40 | 21.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7041 | μmol/L | 13.1798 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133936.7189 | 273855.7319 | 32.55 | 27.7
45639 | 2021-03-17 14:40 | 22.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6136 | μmol/L | 13.1859 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.243 | 133935.8043 | 273844.2919 | 32.55 | 27.7
45649 | 2021-03-17 14:41 | 22.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6163 | μmol/L | 13.1798 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133929.0135 | 273848.5527 | 32.55 | 27.7
45659 | 2021-03-17 14:41 | 22.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5876 | μmol/L | 13.1859 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133928.8727 | 273837.5152 | 32.55 | 27.7
45669 | 2021-03-17 14:41 | 23.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6095 | μmol/L | 13.1859 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.243 | 133919.9942 | 273842.1849 | 32.55 | 27.7
45679 | 2021-03-17 14:42 | 23.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6642 | μmol/L | 13.1798 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.243 | 133930.7227 | 273837.1128 | 32.55 | 27.7
45689 | 2021-03-17 14:42 | 23.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6315 | μmol/L | 13.1859 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.242 | 133924.3072 | 273816.9004 | 32.55 | 27.7
45699 | 2021-03-17 14:42 | 24.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7041 | μmol/L | 13.1798 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133915.9855 | 273830.2663 | 32.55 | 27.7
45709 | 2021-03-17 14:43 | 24.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.671 | μmol/L | 13.1737 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133917.0111 | 273826.1257 | 32.55 | 27.7
45719 | 2021-03-17 14:43 | 24.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4931 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.246 | 133913.5095 | 273815.8739 | 32.55 | 27.7
45729 | 2021-03-17 14:43 | 25.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5369 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133917.3707 | 273822.7932 | 32.55 | 27.7
45739 | 2021-03-17 14:44 | 25.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6753 | μmol/L | 13.1859 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.24 | 133914.9976 | 273828.6841 | 32.55 | 27.7
45749 | 2021-03-17 14:44 | 25.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.515 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133904.9254 | 273817.6639 | 32.55 | 27.7
45759 | 2021-03-17 14:44 | 26.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6027 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.241 | 133907.9737 | 273807.1793 | 32.55 | 27.7
45769 | 2021-03-17 14:45 | 26.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5588 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.243 | 133907.3234 | 273803.2028 | 32.55 | 27.7
45779 | 2021-03-17 14:45 | 26.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5808 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.242 | 133906.3377 | 273803.2132 | 32.55 | 27.7
45789 | 2021-03-17 14:45 | 27.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4863 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133907.681 | 273805.5528 | 32.55 | 27.7
45799 | 2021-03-17 14:46 | 27.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5369 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.244 | 133910.266 | 273801.2254 | 32.55 | 27.7
45809 | 2021-03-17 14:46 | 27.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4711 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.247 | 133910.7797 | 273813.8739 | 32.55 | 27.7
45819 | 2021-03-17 14:46 | 28.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4424 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.246 | 133903.8215 | 273793.2817 | 32.55 | 27.7
45829 | 2021-03-17 14:47 | 28.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.515 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133910.1807 | 273799.5941 | 32.55 | 27.7
45839 | 2021-03-17 14:47 | 28.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4424 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.246 | 133914.7518 | 273802.279 | 32.55 | 27.7
45849 | 2021-03-17 14:47 | 29.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.515 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133912.6524 | 273799.0211 | 32.55 | 27.7
45859 | 2021-03-17 14:48 | 29.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4054 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.25 | 133909.9852 | 273780.124 | 32.55 | 27.7
45869 | 2021-03-17 14:48 | 29.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3767 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.249 | 133914.068 | 273786.8209 | 32.55 | 27.7
45879 | 2021-03-17 14:48 | 30.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4643 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.245 | 133909.7014 | 273784.2679 | 32.55 | 27.7
45889 | 2021-03-17 14:49 | 30.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4273 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.249 | 133912.4945 | 273792.271 | 32.55 | 27.7
45899 | 2021-03-17 14:49 | 30.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4711 | μmol/L | 13.192 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.247 | 133905.3209 | 273776.9195 | 32.55 | 27.7
45909 | 2021-03-17 14:49 | 31.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3547 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.25 | 133909.6264 | 273769.5472 | 32.55 | 27.7
45919 | 2021-03-17 14:50 | 31.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3547 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.25 | 133913.1794 | 273772.3534 | 32.55 | 27.7
45929 | 2021-03-17 14:50 | 31.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2822 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.251 | 133901.0382 | 273777.6002 | 32.55 | 27.7
45939 | 2021-03-17 14:50 | 32.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3918 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.246 | 133905.4496 | 273769.824 | 32.55 | 27.7
45949 | 2021-03-17 14:51 | 32.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3041 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.25 | 133899.8783 | 273767.1811 | 32.55 | 27.7
45959 | 2021-03-17 14:51 | 32.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4205 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.247 | 133905.1594 | 273767.9077 | 32.55 | 27.7
45969 | 2021-03-17 14:51 | 33.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.289 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.253 | 133910.1643 | 273769.7958 | 32.55 | 27.7
45979 | 2021-03-17 14:52 | 33.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2754 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.249 | 133896.5639 | 273743.3191 | 32.55 | 27.7
45989 | 2021-03-17 14:52 | 33.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3109 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.252 | 133902.3711 | 273762.4462 | 32.55 | 27.7
45999 | 2021-03-17 14:52 | 34.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2603 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.252 | 133897.5324 | 273752.126 | 32.55 | 27.7
46009 | 2021-03-17 14:53 | 34.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2452 | μmol/L | 13.1981 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.255 | 133900.3489 | 273756.6604 | 32.55 | 27.7
46019 | 2021-03-17 14:53 | 34.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2822 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.251 | 133901.4706 | 273754.5545 | 32.55 | 27.7
46029 | 2021-03-17 14:53 | 35.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3041 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.25 | 133895.7464 | 273755.3614 | 32.55 | 27.7
46039 | 2021-03-17 14:54 | 35.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1878 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.253 | 133899.6137 | 273739.0117 | 32.55 | 27.7
46049 | 2021-03-17 14:54 | 35.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1508 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133904.3783 | 273757.3605 | 32.55 | 27.7
46059 | 2021-03-17 14:54 | 36.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.144 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.255 | 133901.6478 | 273742.4802 | 32.55 | 27.7
46069 | 2021-03-17 14:55 | 36.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1508 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133890.2393 | 273716.9798 | 32.55 | 27.7
46079 | 2021-03-17 14:55 | 36.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1002 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133905.0864 | 273740.0396 | 32.55 | 27.7
46089 | 2021-03-17 14:55 | 37.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0565 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.259 | 133904.5271 | 273736.3661 | 32.55 | 27.7
46099 | 2021-03-17 14:56 | 37.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0497 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133902.8886 | 273732.208 | 32.55 | 27.7
46109 | 2021-03-17 14:56 | 37.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1946 | μmol/L | 13.2042 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.255 | 133908.9468 | 273731.1249 | 32.55 | 27.7
46119 | 2021-03-17 14:56 | 38.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0059 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.259 | 133904.851 | 273723.8234 | 32.55 | 27.7
46129 | 2021-03-17 14:57 | 38.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1002 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133908.2091 | 273741.2221 | 32.55 | 27.7
46139 | 2021-03-17 14:57 | 38.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0278 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133909.5209 | 273723.6119 | 32.55 | 27.7
46149 | 2021-03-17 14:57 | 39.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0278 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133904.5603 | 273728.9623 | 32.55 | 27.7
46159 | 2021-03-17 14:58 | 39.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0497 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.257 | 133904.4486 | 273723.686 | 32.55 | 27.7
46169 | 2021-03-17 14:58 | 39.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0784 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133899.7448 | 273717.9154 | 32.55 | 27.7
46179 | 2021-03-17 14:58 | 40.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0278 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133911.3405 | 273709.5144 | 32.55 | 27.7
46189 | 2021-03-17 14:59 | 40.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9689 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.263 | 133909.5801 | 273708.0689 | 32.55 | 27.7
46199 | 2021-03-17 14:59 | 40.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9403 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.262 | 133914.1698 | 273720.8987 | 32.55 | 27.7
46209 | 2021-03-17 14:59 | 41.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0278 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133902.4918 | 273717.137 | 32.55 | 27.7
46219 | 2021-03-17 15:00 | 41.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8898 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.262 | 133914.8759 | 273712.797 | 32.55 | 27.7
46229 | 2021-03-17 15:00 | 41.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9841 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.26 | 133902.3397 | 273699.8767 | 32.55 | 27.7
46239 | 2021-03-17 15:00 | 42.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9841 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.26 | 133909.721 | 273703.446 | 32.55 | 27.7
46249 | 2021-03-17 15:01 | 42.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9252 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.265 | 133907.1891 | 273703.4693 | 32.55 | 27.7
46259 | 2021-03-17 15:01 | 42.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8898 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.262 | 133906.0269 | 273702.4743 | 32.55 | 27.7
46269 | 2021-03-17 15:01 | 43.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9471 | μmol/L | 13.2103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.264 | 133910.8977 | 273687.8855 | 32.55 | 27.7
46279 | 2021-03-17 15:02 | 43.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.846 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.264 | 133910.0918 | 273685.6259 | 32.55 | 27.7
46289 | 2021-03-17 15:02 | 43.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9184 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.263 | 133915.5547 | 273690.0096 | 32.55 | 27.7
46299 | 2021-03-17 15:02 | 44.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8528 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.266 | 133906.05 | 273670.3402 | 32.55 | 27.7
46309 | 2021-03-17 15:03 | 44.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8679 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.263 | 133908.3054 | 273682.0823 | 32.55 | 27.7
46319 | 2021-03-17 15:03 | 44.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7956 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.264 | 133912.872 | 273689.107 | 32.55 | 27.7
46329 | 2021-03-17 15:03 | 45.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8528 | μmol/L | 13.2164 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.266 | 133925.309 | 273679.8227 | 32.55 | 27.7
46339 | 2021-03-17 15:04 | 45.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.846 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.264 | 133913.0817 | 273685.9023 | 32.55 | 27.7
46349 | 2021-03-17 15:04 | 45.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8023 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.266 | 133919.9179 | 273683.3503 | 32.55 | 27.7
46359 | 2021-03-17 15:04 | 46.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7805 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.267 | 133920.9231 | 273689.1345 | 32.55 | 27.7
46369 | 2021-03-17 15:05 | 46.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7805 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.267 | 133915.1828 | 273685.1312 | 32.55 | 27.7
46379 | 2021-03-17 15:05 | 46.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7518 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.266 | 133912.4327 | 273674.7155 | 32.55 | 27.7
46389 | 2021-03-17 15:05 | 47.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.846 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.264 | 133919.3935 | 273684.5121 | 32.55 | 27.7
46399 | 2021-03-17 15:06 | 47.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7586 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.268 | 133918.4618 | 273681.9566 | 32.55 | 27.7
46409 | 2021-03-17 15:06 | 47.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7518 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.266 | 133918.7105 | 273673.3165 | 32.55 | 27.7
46419 | 2021-03-17 15:06 | 48.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7149 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.27 | 133930.9988 | 273680.706 | 32.55 | 27.7
46429 | 2021-03-17 15:07 | 48.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7805 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.267 | 133927.8833 | 273692.6496 | 32.55 | 27.7
46439 | 2021-03-17 15:07 | 48.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7081 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.268 | 133927.574 | 273693.2986 | 32.55 | 27.7
46449 | 2021-03-17 15:07 | 49.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.73 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.267 | 133933.3243 | 273671.1699 | 32.55 | 27.7
46459 | 2021-03-17 15:08 | 49.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6863 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.269 | 133933.7413 | 273679.1167 | 32.55 | 27.7
46469 | 2021-03-17 15:08 | 49.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6358 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.269 | 133936.9747 | 273668.763 | 32.55 | 27.7
46479 | 2021-03-17 15:08 | 50.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6577 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.268 | 133930.3097 | 273674.8515 | 32.55 | 27.7
46489 | 2021-03-17 15:09 | 50.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7367 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.269 | 133930.0505 | 273676.0579 | 32.55 | 27.7
46499 | 2021-03-17 15:09 | 50.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.614 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.27 | 133932.8591 | 273655.3188 | 32.55 | 27.7
46509 | 2021-03-17 15:09 | 51.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5989 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.273 | 133938.6146 | 273661.3141 | 32.55 | 27.7
46519 | 2021-03-17 15:10 | 51.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6712 | μmol/L | 13.2225 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.272 | 133948.8426 | 273662.7622 | 32.55 | 27.7
46529 | 2021-03-17 15:10 | 51.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6358 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.269 | 133936.9112 | 273663.3172 | 32.55 | 27.7
46539 | 2021-03-17 15:10 | 52.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5771 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133930.6976 | 273650.5543 | 32.55 | 27.7
46549 | 2021-03-17 15:11 | 52.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4762 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133940.0917 | 273656.844 | 32.55 | 27.7
46559 | 2021-03-17 15:11 | 52.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4325 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.276 | 133936.3887 | 273666.323 | 32.55 | 27.7
46569 | 2021-03-17 15:11 | 53.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5703 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.272 | 133935.2565 | 273655.5225 | 32.55 | 27.7
46579 | 2021-03-17 15:12 | 53.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5266 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133940.5535 | 273664.3646 | 32.55 | 27.7
46589 | 2021-03-17 15:12 | 53.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.498 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.273 | 133943.8623 | 273661.785 | 32.55 | 27.7
46599 | 2021-03-17 15:12 | 54.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5552 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.275 | 133936.5435 | 273656.6005 | 32.55 | 27.7
46609 | 2021-03-17 15:13 | 54.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5334 | μmol/L | 13.2286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.276 | 133939.4681 | 273648.1715 | 32.55 | 27.7
46619 | 2021-03-17 15:13 | 54.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4544 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.275 | 133948.1637 | 273637.122 | 32.55 | 27.7
46629 | 2021-03-17 15:13 | 55.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4611 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.277 | 133944.3759 | 273636.1029 | 32.55 | 27.7
46639 | 2021-03-17 15:14 | 55.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5048 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.275 | 133950.6393 | 273653.0575 | 32.55 | 27.7
46649 | 2021-03-17 15:14 | 55.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4611 | μmol/L | 13.2347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.277 | 133942.8524 | 273630.6785 | 32.55 | 27.7
46659 | 2021-03-17 15:14 | 56.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4762 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133933.7745 | 273634.7716 | 32.55 | 27.7
46669 | 2021-03-17 15:15 | 56.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4325 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.276 | 133942.1962 | 273635.0691 | 32.55 | 27.7
46679 | 2021-03-17 15:15 | 56.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.404 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.275 | 133948.7249 | 273648.8398 | 32.55 | 27.7
46689 | 2021-03-17 15:15 | 57.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3821 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.276 | 133933.2025 | 273629.5549 | 32.55 | 27.7
46699 | 2021-03-17 15:16 | 57.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4762 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133934.8114 | 273635.7812 | 32.55 | 27.7
46709 | 2021-03-17 15:16 | 57.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.498 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.273 | 133940.6115 | 273647.4058 | 32.55 | 27.7
46719 | 2021-03-17 15:16 | 58.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2881 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.278 | 133939.1682 | 273645.6839 | 32.55 | 27.7
46729 | 2021-03-17 15:17 | 58.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3385 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.278 | 133939.0471 | 273640.9358 | 32.55 | 27.7
46739 | 2021-03-17 15:17 | 58.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3603 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.277 | 133946.0523 | 273638.1771 | 32.55 | 27.7
46749 | 2021-03-17 15:17 | 59.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3167 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133941.7581 | 273633.0019 | 32.55 | 27.7
46759 | 2021-03-17 15:18 | 59.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4258 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.274 | 133939.0373 | 273635.1684 | 32.55 | 27.7
46769 | 2021-03-17 15:18 | 59.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3234 | μmol/L | 13.2408 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.281 | 133934.4605 | 273639.314 | 32.55 | 27.7
46779 | 2021-03-17 15:18 | 60.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3099 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.277 | 133941.3547 | 273619.012 | 32.55 | 27.7
46789 | 2021-03-17 15:19 | 60.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3167 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133946.9257 | 273638.6706 | 32.55 | 27.7
46799 | 2021-03-17 15:19 | 60.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2949 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.28 | 133937.9666 | 273625.8968 | 32.55 | 27.7
46809 | 2021-03-17 15:19 | 61.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2663 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133942.2014 | 273618.1471 | 32.55 | 27.7
46819 | 2021-03-17 15:20 | 61.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2445 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.28 | 133947.4419 | 273619.3657 | 32.55 | 27.7
46829 | 2021-03-17 15:20 | 61.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3167 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133944.2661 | 273619.0312 | 32.55 | 27.7
46839 | 2021-03-17 15:20 | 62.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2949 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.28 | 133945.6994 | 273610.3088 | 32.55 | 27.7
46849 | 2021-03-17 15:21 | 62.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3167 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133946.9178 | 273615.1739 | 32.55 | 27.7
46859 | 2021-03-17 15:21 | 62.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2881 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.278 | 133949.4031 | 273613.3885 | 32.55 | 27.7
46869 | 2021-03-17 15:21 | 63.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3167 | μmol/L | 13.2469 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.279 | 133947.4543 | 273608.4743 | 32.55 | 27.7
46879 | 2021-03-17 15:22 | 63.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2814 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.276 | 133955.3186 | 273613.9941 | 32.55 | 27.7
46889 | 2021-03-17 15:22 | 63.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1505 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.282 | 133956.2634 | 273620.8907 | 32.55 | 27.7
46899 | 2021-03-17 15:22 | 64.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1791 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.283 | 133945.0893 | 273607.6938 | 32.55 | 27.7
46909 | 2021-03-17 15:23 | 64.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2009 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.282 | 133959.6418 | 273595.4625 | 32.55 | 27.7
46919 | 2021-03-17 15:23 | 64.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2009 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.282 | 133959.0823 | 273607.8457 | 32.55 | 27.7
46929 | 2021-03-17 15:23 | 65.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0851 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133961.8218 | 273590.814 | 32.55 | 27.7
46939 | 2021-03-17 15:24 | 65.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1287 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.283 | 133953.9618 | 273607.6611 | 32.55 | 27.7
46949 | 2021-03-17 15:24 | 65.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1069 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.284 | 133953.4393 | 273604.6517 | 32.55 | 27.7
46959 | 2021-03-17 15:24 | 66.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1355 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133954.9574 | 273601.1376 | 32.55 | 27.7
46969 | 2021-03-17 15:25 | 66.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1355 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133971.3336 | 273614.6945 | 32.55 | 27.7
46979 | 2021-03-17 15:25 | 66.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1069 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.284 | 133960.9534 | 273600.2575 | 32.55 | 27.7
46989 | 2021-03-17 15:25 | 67.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0634 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.286 | 133963.3581 | 273607.6741 | 32.55 | 27.7
46999 | 2021-03-17 15:26 | 67.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0701 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.288 | 133969.0745 | 273599.1864 | 32.55 | 27.7
47009 | 2021-03-17 15:26 | 67.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1355 | μmol/L | 13.253 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133974.1229 | 273600.337 | 32.55 | 27.7
47019 | 2021-03-17 15:26 | 68.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9695 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.288 | 133972.585 | 273576.3399 | 32.55 | 27.7
47029 | 2021-03-17 15:27 | 68.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9913 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.287 | 133975.6829 | 273589.4561 | 32.55 | 27.7
47039 | 2021-03-17 15:27 | 68.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.998 | μmol/L | 13.2591 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 133975.6615 | 273589.8793 | 32.55 | 27.7
47049 | 2021-03-17 15:27 | 69.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0348 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133983.3843 | 273586.7501 | 32.55 | 27.7
47059 | 2021-03-17 15:28 | 69.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9259 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.29 | 133991.0981 | 273589.0491 | 32.55 | 27.7
47069 | 2021-03-17 15:28 | 69.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9477 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 133995.2075 | 273608.161 | 32.55 | 27.7
47079 | 2021-03-17 15:28 | 70.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9041 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 134000.4907 | 273601.433 | 32.55 | 27.7
47089 | 2021-03-17 15:29 | 70.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9477 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 133997.1356 | 273596.8194 | 32.55 | 27.7
47099 | 2021-03-17 15:29 | 70.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9259 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.29 | 133995.9843 | 273600.9048 | 32.55 | 27.7
47109 | 2021-03-17 15:29 | 71.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8321 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.292 | 133996.7766 | 273597.5314 | 32.55 | 27.7
47119 | 2021-03-17 15:30 | 71.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9259 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.29 | 134003.354 | 273597.6642 | 32.55 | 27.7
47129 | 2021-03-17 15:30 | 71.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9477 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 133996.6916 | 273589.2422 | 32.55 | 27.7
47139 | 2021-03-17 15:30 | 72.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8388 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.294 | 134004.0261 | 273586.6919 | 32.55 | 27.7
47149 | 2021-03-17 15:31 | 72.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8824 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.292 | 134000.6577 | 273594.7538 | 32.55 | 27.7
47159 | 2021-03-17 15:31 | 72.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9041 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 134006.914 | 273606.136 | 32.55 | 27.7
47169 | 2021-03-17 15:31 | 73.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9041 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 133997.0726 | 273589.3784 | 32.55 | 27.7
47179 | 2021-03-17 15:32 | 73.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8539 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 133997.3445 | 273602.7274 | 32.55 | 27.7
47189 | 2021-03-17 15:32 | 73.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9041 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 133992.1607 | 273602.0409 | 32.55 | 27.7
47199 | 2021-03-17 15:32 | 74.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9041 | μmol/L | 13.2652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 133995.5376 | 273596.836 | 32.55 | 27.7
47209 | 2021-03-17 15:33 | 74.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8103 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.293 | 134003.3941 | 273610.4801 | 32.55 | 27.7
47219 | 2021-03-17 15:33 | 74.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8539 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 134000.4189 | 273616.2225 | 32.55 | 27.7
47229 | 2021-03-17 15:33 | 75.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8539 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.291 | 133990.6168 | 273588.8351 | 32.55 | 27.7
47239 | 2021-03-17 15:34 | 75.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8907 | μmol/L | 13.2775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.287 | 133990.1058 | 273604.1429 | 32.55 | 27.7
47249 | 2021-03-17 15:34 | 75.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8974 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 133989.8782 | 273607.9982 | 32.55 | 27.7
47259 | 2021-03-17 15:34 | 76.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8321 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.292 | 133998.2791 | 273602.6962 | 32.55 | 27.7
47269 | 2021-03-17 15:35 | 76.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8321 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.292 | 133995.7941 | 273611.8456 | 32.55 | 27.7
47276 | 2021-03-17 15:35 | 76.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8974 | μmol/L | 13.2713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.289 | 134015.846 | 273590.6331 | 32.55 | 27.7