## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47285 | 2021-03-17 16:13 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6085 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174531.6833 | 311054.9142 | 33.25 | 68.6
47295 | 2021-03-17 16:13 | 0.33722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6418 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.264 | 174510.3619 | 311081.0915 | 33.25 | 68.6
47305 | 2021-03-17 16:14 | 0.67093 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7219 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.265 | 174506.6343 | 311080.5238 | 33.25 | 68.6
47315 | 2021-03-17 16:14 | 1.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7009 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174497.2717 | 311081.6207 | 33.25 | 68.6
47326 | 2021-03-17 16:14 | 1.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6714 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.265 | 174486.461 | 311081.3559 | 33.25 | 68.6
47335 | 2021-03-17 16:15 | 1.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7009 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174465.3696 | 311075.4586 | 33.25 | 68.6
47346 | 2021-03-17 16:15 | 2.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5999 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174453.4546 | 311072.7443 | 33.25 | 68.6
47355 | 2021-03-17 16:15 | 2.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.659 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174442.9966 | 311064.2482 | 33.25 | 68.6
47365 | 2021-03-17 16:16 | 2.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.579 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174434.2821 | 311075.3224 | 33.25 | 68.6
47375 | 2021-03-17 16:16 | 3.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5666 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174432.9956 | 311058.785 | 33.25 | 68.6
47385 | 2021-03-17 16:16 | 3.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6504 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174421.3161 | 311055.5162 | 33.25 | 68.6
47395 | 2021-03-17 16:17 | 3.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6295 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174414.7982 | 311052.1659 | 33.25 | 68.6
47405 | 2021-03-17 16:17 | 4.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6295 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174401.4394 | 311055.3118 | 33.25 | 68.6
47416 | 2021-03-17 16:17 | 4.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.68 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174390.9954 | 311039.8644 | 33.25 | 68.6
47425 | 2021-03-17 16:18 | 4.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5999 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174384.729 | 311047.9541 | 33.25 | 68.6
47436 | 2021-03-17 16:18 | 5.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5876 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.269 | 174373.7641 | 311056.8134 | 33.25 | 68.6
47446 | 2021-03-17 16:18 | 5.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5876 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.269 | 174367.0956 | 311046.3678 | 33.25 | 68.6
47455 | 2021-03-17 16:19 | 5.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5666 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174365.0462 | 311047.3919 | 33.25 | 68.6
47466 | 2021-03-17 16:19 | 6.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6504 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174346.3938 | 311040.997 | 33.25 | 68.6
47475 | 2021-03-17 16:19 | 6.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.558 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174346.0617 | 311041.7705 | 33.25 | 68.6
47486 | 2021-03-17 16:20 | 6.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6504 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174335.6218 | 311034.8125 | 33.25 | 68.6
47495 | 2021-03-17 16:20 | 7.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5666 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174331.2068 | 311049.5749 | 33.25 | 68.6
47505 | 2021-03-17 16:20 | 7.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6295 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174327.3214 | 311032.7925 | 33.25 | 68.6
47516 | 2021-03-17 16:21 | 7.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7009 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174326.8075 | 311027.3224 | 33.25 | 68.6
47526 | 2021-03-17 16:21 | 8.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6295 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174310.598 | 311036.7403 | 33.25 | 68.6
47535 | 2021-03-17 16:21 | 8.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5876 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.269 | 174315.5027 | 311026.2924 | 33.25 | 68.6
47546 | 2021-03-17 16:22 | 8.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.68 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174309.5447 | 311032.1093 | 33.25 | 68.6
47556 | 2021-03-17 16:22 | 9.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5876 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.269 | 174300.885 | 311039.8443 | 33.25 | 68.6
47565 | 2021-03-17 16:22 | 9.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.68 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174287.9581 | 311032.1514 | 33.25 | 68.6
47575 | 2021-03-17 16:23 | 9.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6676 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174278.0098 | 311033.3926 | 33.25 | 68.6
47585 | 2021-03-17 16:23 | 10.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6085 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174273.2084 | 311035.1158 | 33.25 | 68.6
47595 | 2021-03-17 16:23 | 10.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5666 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174249.0759 | 311032.7898 | 33.25 | 68.6
47606 | 2021-03-17 16:24 | 10.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6171 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174240.3221 | 311025.5215 | 33.25 | 68.6
47615 | 2021-03-17 16:24 | 11.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6171 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174247.8709 | 311033.3421 | 33.25 | 68.6
47625 | 2021-03-17 16:24 | 11.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6048 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.273 | 174224.5641 | 311021.5362 | 33.25 | 68.6
47636 | 2021-03-17 16:25 | 11.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.659 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174220.2419 | 311025.3507 | 33.25 | 68.6
47646 | 2021-03-17 16:25 | 12.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6295 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.267 | 174211.9025 | 311028.6891 | 33.25 | 68.6
47656 | 2021-03-17 16:25 | 12.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6171 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174187.339 | 311016.5131 | 33.25 | 68.6
47665 | 2021-03-17 16:26 | 12.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5962 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.271 | 174210.1385 | 311033.4444 | 33.25 | 68.6
47676 | 2021-03-17 16:26 | 13.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6171 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.27 | 174203.0564 | 311033.2908 | 33.25 | 68.6
47685 | 2021-03-17 16:26 | 13.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5247 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.272 | 174195.4164 | 311027.6757 | 33.25 | 68.6
47696 | 2021-03-17 16:27 | 13.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5876 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.269 | 173728.6709 | 311024.659 | 33.25 | 68.6
47705 | 2021-03-17 16:27 | 14.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4029 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.273 | 173781.4297 | 311022.2761 | 33.25 | 68.6
47716 | 2021-03-17 16:27 | 14.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4619 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173765.462 | 311016.4023 | 33.25 | 68.6
47725 | 2021-03-17 16:28 | 14.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4447 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173772.4274 | 311013.1788 | 33.25 | 68.6
47735 | 2021-03-17 16:28 | 15.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.361 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173767.0013 | 311016.8021 | 33.25 | 68.6
47745 | 2021-03-17 16:28 | 15.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3486 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173772.463 | 311020.4886 | 33.25 | 68.6
47756 | 2021-03-17 16:29 | 15.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3486 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173770.0309 | 311005.2597 | 33.25 | 68.6
47766 | 2021-03-17 16:29 | 16.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3696 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173758.6615 | 311016.0099 | 33.25 | 68.6
47775 | 2021-03-17 16:29 | 16.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3905 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.276 | 173762.4095 | 311012.5799 | 33.25 | 68.6
47785 | 2021-03-17 16:30 | 16.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2982 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173760.5232 | 311018.1379 | 33.25 | 68.6
47795 | 2021-03-17 16:30 | 17.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.441 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.276 | 173750.8982 | 311019.5125 | 33.25 | 68.6
47805 | 2021-03-17 16:30 | 17.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.361 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173736.9831 | 311023.1716 | 33.25 | 68.6
47816 | 2021-03-17 16:31 | 17.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4828 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.274 | 173739.9804 | 311009.549 | 33.25 | 68.6
47825 | 2021-03-17 16:31 | 18.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3696 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173721.5205 | 311001.0733 | 33.25 | 68.6
47835 | 2021-03-17 16:31 | 18.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3486 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173714.5147 | 311007.9898 | 33.25 | 68.6
47845 | 2021-03-17 16:32 | 18.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3363 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.281 | 173692.6358 | 311004.0481 | 33.25 | 68.6
47855 | 2021-03-17 16:32 | 19.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.441 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.276 | 173688.3259 | 311005.9215 | 33.25 | 68.6
47866 | 2021-03-17 16:32 | 19.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3782 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173670.1935 | 311021.7678 | 33.25 | 68.6
47876 | 2021-03-17 16:33 | 19.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3782 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173659.2434 | 311010.3414 | 33.25 | 68.6
47885 | 2021-03-17 16:33 | 20.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3068 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.28 | 173645.9308 | 311006.4029 | 33.25 | 68.6
47896 | 2021-03-17 16:33 | 20.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3991 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173633.1294 | 311008.3218 | 33.25 | 68.6
47906 | 2021-03-17 16:34 | 20.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3991 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173626.0994 | 310998.1968 | 33.25 | 68.6
47916 | 2021-03-17 16:34 | 21.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4324 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.274 | 173624.3817 | 311000.8072 | 33.25 | 68.6
47926 | 2021-03-17 16:34 | 21.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.42 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173605.7862 | 310990.5296 | 33.25 | 68.6
47935 | 2021-03-17 16:35 | 21.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3782 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173581.6122 | 310989.6358 | 33.25 | 68.6
47946 | 2021-03-17 16:35 | 22.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3572 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.28 | 173585.5008 | 311001.7178 | 33.25 | 68.6
47956 | 2021-03-17 16:35 | 22.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3991 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173569.2783 | 310984.2067 | 33.25 | 68.6
47966 | 2021-03-17 16:36 | 22.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3782 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173556.4859 | 310983.3282 | 33.25 | 68.6
47975 | 2021-03-17 16:36 | 23.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3991 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.278 | 173542.8955 | 310979.1035 | 33.25 | 68.6
47985 | 2021-03-17 16:36 | 23.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3696 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173539.7636 | 311003.9963 | 33.25 | 68.6
47996 | 2021-03-17 16:37 | 23.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3782 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173524.4985 | 310982.6065 | 33.25 | 68.6
48006 | 2021-03-17 16:37 | 24.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4077 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.28 | 173511.8555 | 310990.8835 | 33.25 | 68.6
48015 | 2021-03-17 16:37 | 24.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2859 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.281 | 173512.6465 | 310976.6782 | 33.25 | 68.6
48025 | 2021-03-17 16:38 | 24.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4286 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173500.7476 | 310973.2408 | 33.25 | 68.6
48035 | 2021-03-17 16:38 | 25.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3363 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.281 | 173498.7377 | 310986.0336 | 33.25 | 68.6
48045 | 2021-03-17 16:38 | 25.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3363 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.281 | 173485.4013 | 310965.3429 | 33.25 | 68.6
48055 | 2021-03-17 16:39 | 25.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3658 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173485.834 | 310977.8005 | 33.25 | 68.6
48065 | 2021-03-17 16:39 | 26.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4077 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.28 | 173483.0165 | 310966.3234 | 33.25 | 68.6
48075 | 2021-03-17 16:39 | 26.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3572 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.28 | 173479.3876 | 310981.8356 | 33.25 | 68.6
48086 | 2021-03-17 16:40 | 26.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3868 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.281 | 173472.1868 | 310982.2854 | 33.25 | 68.6
48096 | 2021-03-17 16:40 | 27.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3954 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.283 | 173473.7444 | 310980.6612 | 33.25 | 68.6
48105 | 2021-03-17 16:40 | 27.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3954 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.283 | 173464.6143 | 310975.1705 | 33.25 | 68.6
48115 | 2021-03-17 16:41 | 27.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3658 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173456.1127 | 310967.8881 | 33.25 | 68.6
48125 | 2021-03-17 16:41 | 28.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3658 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173445.0146 | 310967.1425 | 33.25 | 68.6
48136 | 2021-03-17 16:41 | 28.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2403 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.288 | 173446.4927 | 310952.2013 | 33.25 | 68.6
48146 | 2021-03-17 16:42 | 28.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2526 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.285 | 173448.638 | 310959.967 | 33.25 | 68.6
48156 | 2021-03-17 16:42 | 29.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2108 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.287 | 173431.6311 | 310961.612 | 33.25 | 68.6
48166 | 2021-03-17 16:42 | 29.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2108 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.287 | 173400.2676 | 310948.8812 | 33.25 | 68.6
48176 | 2021-03-17 16:43 | 29.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2108 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.287 | 173403.1406 | 310947.0712 | 33.25 | 68.6
48185 | 2021-03-17 16:43 | 30.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.324 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.284 | 173383.6305 | 310945.6255 | 33.25 | 68.6
48196 | 2021-03-17 16:43 | 30.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.324 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.284 | 173379.7153 | 310958.9618 | 33.25 | 68.6
48205 | 2021-03-17 16:44 | 30.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2317 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.286 | 173382.7013 | 310952.0154 | 33.25 | 68.6
48215 | 2021-03-17 16:44 | 31.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2403 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.288 | 173370.972 | 310944.3113 | 33.25 | 68.6
48225 | 2021-03-17 16:44 | 31.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2108 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.287 | 173357.3502 | 310952.8478 | 33.25 | 68.6
48236 | 2021-03-17 16:45 | 31.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1272 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.291 | 173348.7923 | 310940.7499 | 33.25 | 68.6
48245 | 2021-03-17 16:45 | 32.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1272 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.291 | 173344.9961 | 310938.926 | 33.25 | 68.6
48255 | 2021-03-17 16:45 | 32.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1899 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.288 | 173338.0688 | 310951.0439 | 33.25 | 68.6
48265 | 2021-03-17 16:46 | 32.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1272 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.291 | 173326.371 | 310961.9811 | 33.25 | 68.6
48275 | 2021-03-17 16:46 | 33.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1272 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.291 | 173307.1404 | 310936.8583 | 33.25 | 68.6
48286 | 2021-03-17 16:46 | 33.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0559 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.292 | 173314.6782 | 310942.7355 | 33.25 | 68.6
48296 | 2021-03-17 16:47 | 33.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0141 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.294 | 173316.8787 | 310948.827 | 33.25 | 68.6
48306 | 2021-03-17 16:47 | 34.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0436 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 173306.521 | 310944.756 | 33.25 | 68.6
48316 | 2021-03-17 16:47 | 34.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.094 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 173305.7555 | 310933.1274 | 33.25 | 68.6
48326 | 2021-03-17 16:48 | 34.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9932 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 173302.3425 | 310941.1444 | 33.25 | 68.6
48336 | 2021-03-17 16:48 | 35.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.094 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 173308.2286 | 310930.434 | 33.25 | 68.6
48345 | 2021-03-17 16:48 | 35.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0436 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.295 | 173293.7848 | 310930.0822 | 33.25 | 68.6
48355 | 2021-03-17 16:49 | 35.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0018 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.297 | 173291.9748 | 310923.5995 | 33.25 | 68.6
48366 | 2021-03-17 16:49 | 36.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0104 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.299 | 173292.1317 | 310920.1027 | 33.25 | 68.6
48376 | 2021-03-17 16:49 | 36.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0018 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.297 | 173288.2865 | 310928.9836 | 33.25 | 68.6
48385 | 2021-03-17 16:50 | 36.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9809 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.298 | 173267.9825 | 310934.1598 | 33.25 | 68.6
48396 | 2021-03-17 16:50 | 37.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9895 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.3 | 173278.4246 | 310939.5036 | 33.25 | 68.6
48405 | 2021-03-17 16:50 | 37.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9686 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.301 | 173263.1267 | 310921.2805 | 33.25 | 68.6
48416 | 2021-03-17 16:51 | 37.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9772 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.303 | 173260.9087 | 310920.7695 | 33.25 | 68.6
48425 | 2021-03-17 16:51 | 38.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9182 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.301 | 173253.9791 | 310926.5368 | 33.25 | 68.6
48435 | 2021-03-17 16:51 | 38.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8556 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.304 | 173243.8304 | 310917.6754 | 33.25 | 68.6
48446 | 2021-03-17 16:52 | 38.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9477 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.302 | 173243.7258 | 310936.7935 | 33.25 | 68.6
48456 | 2021-03-17 16:52 | 39.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9686 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.301 | 173230.5768 | 310917.2751 | 33.25 | 68.6
48466 | 2021-03-17 16:52 | 39.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8347 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.305 | 173245.7268 | 310937.639 | 33.25 | 68.6
48475 | 2021-03-17 16:53 | 39.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8642 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.306 | 173239.499 | 310937.0828 | 33.25 | 68.6
48486 | 2021-03-17 16:53 | 40.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9145 | μmol/L | 13.393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.306 | 173233.7646 | 310927.0463 | 33.25 | 68.6
48496 | 2021-03-17 16:53 | 40.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7929 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.307 | 173231.4187 | 310920.2769 | 33.25 | 68.6
48506 | 2021-03-17 16:54 | 40.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7929 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.307 | 173238.0106 | 310922.2716 | 33.25 | 68.6
48516 | 2021-03-17 16:54 | 41.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8015 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.309 | 173241.0207 | 310925.2538 | 33.25 | 68.6
48526 | 2021-03-17 16:54 | 41.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7389 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.312 | 173253.4026 | 310923.2774 | 33.25 | 68.6
48536 | 2021-03-17 16:55 | 41.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6469 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.314 | 173256.8714 | 310932.2587 | 33.25 | 68.6
48545 | 2021-03-17 16:55 | 42.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5843 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.317 | 173266.2613 | 310927.0903 | 33.25 | 68.6
48555 | 2021-03-17 16:55 | 42.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6763 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.315 | 173285.3363 | 310937.7192 | 33.25 | 68.6
48565 | 2021-03-17 16:56 | 42.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5512 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.321 | 173274.0314 | 310928.1736 | 33.25 | 68.6
48575 | 2021-03-17 16:56 | 43.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5304 | μmol/L | 13.3991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.322 | 173275.7598 | 310922.1528 | 33.25 | 68.6
48585 | 2021-03-17 16:56 | 43.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5009 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.321 | 173285.379 | 310909.1183 | 33.25 | 68.6
48596 | 2021-03-17 16:57 | 43.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5426 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.319 | 173295.0673 | 310922.268 | 33.25 | 68.6
48605 | 2021-03-17 16:57 | 44.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3881 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.324 | 173294.5847 | 310924.0399 | 33.25 | 68.6
48616 | 2021-03-17 16:57 | 44.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4592 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.323 | 173309.3585 | 310922.1241 | 33.25 | 68.6
48625 | 2021-03-17 16:58 | 44.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3465 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.326 | 173304.9838 | 310909.7648 | 33.25 | 68.6
48636 | 2021-03-17 16:58 | 45.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2632 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.33 | 173316.1934 | 310916.0751 | 33.25 | 68.6
48645 | 2021-03-17 16:58 | 45.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3342 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.329 | 173321.0808 | 310913.2885 | 33.25 | 68.6
48656 | 2021-03-17 16:59 | 45.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2424 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.331 | 173324.6615 | 310923.6315 | 33.25 | 68.6
48665 | 2021-03-17 16:59 | 46.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2678 | μmol/L | 13.4051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.332 | 173326.6523 | 310923.3477 | 33.25 | 68.6
48676 | 2021-03-17 16:59 | 46.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2301 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.334 | 173342.2655 | 310925.8234 | 33.25 | 68.6
48685 | 2021-03-17 17:00 | 46.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1343 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.336 | 173327.5403 | 310928.6304 | 33.25 | 68.6
48695 | 2021-03-17 17:00 | 47.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1383 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.336 | 173324.0638 | 310918.0159 | 33.25 | 68.6
48705 | 2021-03-17 17:00 | 47.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1637 | μmol/L | 13.4051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.337 | 173321.8403 | 310919.4532 | 33.25 | 68.6
48716 | 2021-03-17 17:01 | 47.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1677 | μmol/L | 13.4051 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.337 | 173316.2008 | 310916.5922 | 33.25 | 68.6
48725 | 2021-03-17 17:01 | 48.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9841 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.341 | 173306.8418 | 310915.8229 | 33.25 | 68.6
48736 | 2021-03-17 17:01 | 48.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0927 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.338 | 173312.9167 | 310921.1617 | 33.25 | 68.6
48745 | 2021-03-17 17:02 | 48.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0465 | μmol/L | 13.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.338 | 173311.63 | 310920.3649 | 33.25 | 68.6
48756 | 2021-03-17 17:02 | 49.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0967 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.338 | 173310.5475 | 310925.1339 | 33.25 | 68.6
48765 | 2021-03-17 17:02 | 49.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0551 | μmol/L | 13.4112 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 24.34 | 173314.0209 | 310921.1127 | 33.25 | 68.6
48775 | 2021-03-17 17:03 | 49.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1429 | μmol/L | 13.4051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.338 | 173305.8445 | 310922.2783 | 33.25 | 68.6
48785 | 2021-03-17 17:03 | 50.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0303 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.341 | 173283.6071 | 310923.161 | 33.25 | 68.6
48795 | 2021-03-17 17:03 | 50.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9263 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.346 | 173288.1409 | 310934.3514 | 33.25 | 68.6
48806 | 2021-03-17 17:04 | 50.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9801 | μmol/L | 13.4173 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.341 | 173280.4658 | 310944.4433 | 33.25 | 68.6
48815 | 2021-03-17 17:04 | 51.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9471 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.345 | 173269.5386 | 310929.0961 | 33.25 | 68.6
48826 | 2021-03-17 17:04 | 51.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0389 | μmol/L | 13.4051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.343 | 173261.3792 | 310937.1805 | 33.25 | 68.6
48835 | 2021-03-17 17:05 | 51.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0181 | μmol/L | 13.4051 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.344 | 173260.4053 | 310933.7399 | 33.25 | 68.6
48845 | 2021-03-17 17:05 | 52.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9887 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.343 | 173266.586 | 310935.124 | 33.25 | 68.6
48855 | 2021-03-17 17:05 | 52.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.864 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.349 | 173270.9826 | 310940.9236 | 33.25 | 68.6
48866 | 2021-03-17 17:06 | 52.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9055 | μmol/L | 13.4112 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 24.347 | 173285.1638 | 310933.4852 | 33.25 | 68.6