## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47287 | 2021-03-17 16:13 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.1087 | μmol/L | 13.397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.351 | 136003.7815 | 273700.3606 | 26.25 | 74
47297 | 2021-03-17 16:13 | 0.33459 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9497 | μmol/L | 13.4031 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.356 | 135993.249 | 273722.1425 | 26.25 | 74
47307 | 2021-03-17 16:14 | 0.66824 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.0677 | μmol/L | 13.391 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.355 | 135987.9233 | 273713.8031 | 26.25 | 74
47317 | 2021-03-17 16:14 | 1.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9305 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.359 | 135997.5847 | 273709.5929 | 26.25 | 74
47327 | 2021-03-17 16:14 | 1.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.974 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.357 | 135988.3912 | 273713.2453 | 26.25 | 74
47337 | 2021-03-17 16:15 | 1.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9372 | μmol/L | 13.391 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.361 | 135999.7255 | 273706.4195 | 26.25 | 74
47347 | 2021-03-17 16:15 | 2.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.974 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.357 | 136001.7773 | 273695.409 | 26.25 | 74
47357 | 2021-03-17 16:15 | 2.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9088 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.36 | 136000.6993 | 273707.7789 | 26.25 | 74
47367 | 2021-03-17 16:16 | 2.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8653 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 136002.2727 | 273711.2335 | 26.25 | 74
47377 | 2021-03-17 16:16 | 3.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9523 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 136013.5179 | 273711.5646 | 26.25 | 74
47387 | 2021-03-17 16:16 | 3.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8435 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 136017.4046 | 273707.0986 | 26.25 | 74
47397 | 2021-03-17 16:17 | 3.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8911 | μmol/L | 13.397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.361 | 136006.5976 | 273707.5291 | 26.25 | 74
47407 | 2021-03-17 16:17 | 4.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7934 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 136019.7324 | 273707.227 | 26.25 | 74
47417 | 2021-03-17 16:17 | 4.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7566 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136018.4621 | 273719.5406 | 26.25 | 74
47427 | 2021-03-17 16:18 | 4.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136017.0478 | 273711.5572 | 26.25 | 74
47437 | 2021-03-17 16:18 | 5.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.887 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.361 | 136028.3163 | 273715.3281 | 26.25 | 74
47447 | 2021-03-17 16:18 | 5.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8653 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 136013.4155 | 273712.6251 | 26.25 | 74
47457 | 2021-03-17 16:19 | 5.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7783 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136021.6419 | 273711.1839 | 26.25 | 74
47467 | 2021-03-17 16:19 | 6.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7566 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136008.5929 | 273713.238 | 26.25 | 74
47477 | 2021-03-17 16:19 | 6.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136011.0378 | 273699.8416 | 26.25 | 74
47487 | 2021-03-17 16:20 | 6.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8653 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 136017.9651 | 273708.2344 | 26.25 | 74
47497 | 2021-03-17 16:20 | 7.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7934 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 136013.8103 | 273708.3958 | 26.25 | 74
47507 | 2021-03-17 16:20 | 7.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136015.2078 | 273700.6869 | 26.25 | 74
47517 | 2021-03-17 16:21 | 7.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 136021.466 | 273711.9786 | 26.25 | 74
47527 | 2021-03-17 16:21 | 8.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6847 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 136022.9403 | 273702.5957 | 26.25 | 74
47537 | 2021-03-17 16:21 | 8.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8001 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136012.8272 | 273696.7033 | 26.25 | 74
47547 | 2021-03-17 16:22 | 8.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7499 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136023.9816 | 273702.9031 | 26.25 | 74
47557 | 2021-03-17 16:22 | 9.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7783 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136022.5937 | 273694.7264 | 26.25 | 74
47567 | 2021-03-17 16:22 | 9.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136018.9798 | 273692.51 | 26.25 | 74
47577 | 2021-03-17 16:23 | 9.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6847 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 136021.5171 | 273706.986 | 26.25 | 74
47587 | 2021-03-17 16:23 | 10.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7282 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136021.6377 | 273708.523 | 26.25 | 74
47597 | 2021-03-17 16:23 | 10.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7131 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.369 | 136017.1077 | 273696.7989 | 26.25 | 74
47607 | 2021-03-17 16:24 | 10.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7349 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 136019.5847 | 273695.3583 | 26.25 | 74
47617 | 2021-03-17 16:24 | 11.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6346 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 136025.1921 | 273685.2635 | 26.25 | 74
47627 | 2021-03-17 16:24 | 11.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136021.6983 | 273698.4594 | 26.25 | 74
47637 | 2021-03-17 16:25 | 11.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7282 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136010.5265 | 273685.7513 | 26.25 | 74
47647 | 2021-03-17 16:25 | 12.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6413 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136019.545 | 273698.3957 | 26.25 | 74
47657 | 2021-03-17 16:25 | 12.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7499 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135998.4974 | 273691.2946 | 26.25 | 74
47667 | 2021-03-17 16:26 | 12.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 136002.6976 | 273695.7917 | 26.25 | 74
47677 | 2021-03-17 16:26 | 13.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8001 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136003.9126 | 273695.1495 | 26.25 | 74
47687 | 2021-03-17 16:26 | 13.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136006.5954 | 273716.4784 | 26.25 | 74
47697 | 2021-03-17 16:27 | 13.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7282 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 135996.5108 | 273688.8088 | 26.25 | 74
47707 | 2021-03-17 16:27 | 14.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8586 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.36 | 135974.95 | 273703.2039 | 26.25 | 74
47717 | 2021-03-17 16:27 | 14.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8151 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 135964.8447 | 273694.2752 | 26.25 | 74
47727 | 2021-03-17 16:28 | 14.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135965.6937 | 273685.898 | 26.25 | 74
47737 | 2021-03-17 16:28 | 15.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135968.5853 | 273695.3113 | 26.25 | 74
47747 | 2021-03-17 16:28 | 15.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8369 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.361 | 135979.1087 | 273694.587 | 26.25 | 74
47757 | 2021-03-17 16:29 | 15.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8151 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 135974.3789 | 273698.4416 | 26.25 | 74
47767 | 2021-03-17 16:29 | 16.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8151 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 135983.608 | 273697.0521 | 26.25 | 74
47777 | 2021-03-17 16:29 | 16.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135967.3993 | 273684.2726 | 26.25 | 74
47787 | 2021-03-17 16:30 | 16.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7867 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.361 | 135979.2631 | 273703.6523 | 26.25 | 74
47797 | 2021-03-17 16:30 | 17.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6998 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135970.7431 | 273703.0554 | 26.25 | 74
47807 | 2021-03-17 16:30 | 17.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7499 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135972.7046 | 273701.7629 | 26.25 | 74
47817 | 2021-03-17 16:31 | 17.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7215 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135972.796 | 273700.5503 | 26.25 | 74
47827 | 2021-03-17 16:31 | 18.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7433 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 135970.0624 | 273701.3201 | 26.25 | 74
47837 | 2021-03-17 16:31 | 18.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7433 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 135975.5799 | 273697.1676 | 26.25 | 74
47847 | 2021-03-17 16:32 | 18.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7282 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 135974.1392 | 273696.4352 | 26.25 | 74
47857 | 2021-03-17 16:32 | 19.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7934 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 135977.4226 | 273699.9166 | 26.25 | 74
47867 | 2021-03-17 16:32 | 19.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8001 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135970.1693 | 273705.1318 | 26.25 | 74
47877 | 2021-03-17 16:33 | 19.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135986.8233 | 273705.4153 | 26.25 | 74
47887 | 2021-03-17 16:33 | 20.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7566 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 135977.1451 | 273698.7818 | 26.25 | 74
47897 | 2021-03-17 16:33 | 20.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7499 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135975.5023 | 273694.6694 | 26.25 | 74
47907 | 2021-03-17 16:34 | 20.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6129 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.369 | 135979.3125 | 273696.6125 | 26.25 | 74
47917 | 2021-03-17 16:34 | 21.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7282 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 135971.2137 | 273689.3793 | 26.25 | 74
47927 | 2021-03-17 16:34 | 21.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7717 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135975.1086 | 273692.9523 | 26.25 | 74
47937 | 2021-03-17 16:35 | 21.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7499 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135969.22 | 273685.389 | 26.25 | 74
47947 | 2021-03-17 16:35 | 22.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7215 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 135979.8609 | 273699.2447 | 26.25 | 74
47957 | 2021-03-17 16:35 | 22.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6998 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 135978.8873 | 273689.2842 | 26.25 | 74
47967 | 2021-03-17 16:36 | 22.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7349 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 135981.1175 | 273687.8307 | 26.25 | 74
47977 | 2021-03-17 16:36 | 23.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 135988.7966 | 273687.7297 | 26.25 | 74
47987 | 2021-03-17 16:36 | 23.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7065 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136000.1391 | 273683.1049 | 26.25 | 74
47997 | 2021-03-17 16:37 | 23.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5478 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.372 | 135999.0087 | 273690.232 | 26.25 | 74
48007 | 2021-03-17 16:37 | 24.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5761 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136008.4746 | 273693.7314 | 26.25 | 74
48017 | 2021-03-17 16:37 | 24.3343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5761 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136017.9292 | 273688.2143 | 26.25 | 74
48027 | 2021-03-17 16:38 | 24.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6045 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136016.7468 | 273691.1175 | 26.25 | 74
48037 | 2021-03-17 16:38 | 25.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5327 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.375 | 136029.0743 | 273681.6517 | 26.25 | 74
48047 | 2021-03-17 16:38 | 25.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5044 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136025.9448 | 273694.7404 | 26.25 | 74
48057 | 2021-03-17 16:39 | 25.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5044 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136038.375 | 273684.1456 | 26.25 | 74
48067 | 2021-03-17 16:39 | 26.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.4893 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136045.3003 | 273674.0034 | 26.25 | 74
48077 | 2021-03-17 16:39 | 26.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.3808 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136045.1801 | 273675.7307 | 26.25 | 74
48087 | 2021-03-17 16:40 | 26.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.511 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136061.8485 | 273690.3317 | 26.25 | 74
48097 | 2021-03-17 16:40 | 27.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.3958 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.379 | 136059.0406 | 273684.1511 | 26.25 | 74
48107 | 2021-03-17 16:40 | 27.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.2874 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136073.8946 | 273681.5943 | 26.25 | 74
48117 | 2021-03-17 16:41 | 27.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.2874 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136085.0646 | 273677.293 | 26.25 | 74
48127 | 2021-03-17 16:41 | 28.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.2724 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136095.4771 | 273676.9871 | 26.25 | 74
48137 | 2021-03-17 16:41 | 28.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.229 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.389 | 136105.2047 | 273686.2926 | 26.25 | 74
48147 | 2021-03-17 16:42 | 28.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.114 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.392 | 136118.6907 | 273672.6968 | 26.25 | 74
48157 | 2021-03-17 16:42 | 29.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.1357 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.391 | 136134.4284 | 273675.1527 | 26.25 | 74
48167 | 2021-03-17 16:42 | 29.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.1573 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136150.239 | 273671.2502 | 26.25 | 74
48177 | 2021-03-17 16:43 | 29.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.0557 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.397 | 136158.5338 | 273683.8452 | 26.25 | 74
48187 | 2021-03-17 16:43 | 30.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.099 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.395 | 136175.805 | 273683.445 | 26.25 | 74
48197 | 2021-03-17 16:43 | 30.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.034 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.398 | 136183.1374 | 273670.837 | 26.25 | 74
48207 | 2021-03-17 16:44 | 30.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.9624 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.399 | 136201.7834 | 273673.9371 | 26.25 | 74
48217 | 2021-03-17 16:44 | 31.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8175 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136215.8529 | 273680.4419 | 26.25 | 74
48227 | 2021-03-17 16:44 | 31.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8109 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.406 | 136224.7312 | 273667.3099 | 26.25 | 74
48237 | 2021-03-17 16:45 | 31.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.8891 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.407 | 136241.174 | 273662.8391 | 26.25 | 74
48247 | 2021-03-17 16:45 | 32.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7959 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.409 | 136252.6798 | 273675.1033 | 26.25 | 74
48257 | 2021-03-17 16:45 | 32.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.6378 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.414 | 136262.105 | 273663.4656 | 26.25 | 74
48267 | 2021-03-17 16:46 | 32.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.6661 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136281.299 | 273668.0513 | 26.25 | 74
48277 | 2021-03-17 16:46 | 33.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.6944 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.416 | 136301.8881 | 273657.859 | 26.25 | 74
48287 | 2021-03-17 16:46 | 33.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.6296 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.419 | 136314.9354 | 273663.8676 | 26.25 | 74
48297 | 2021-03-17 16:47 | 33.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.4932 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.423 | 136331.8163 | 273666.8554 | 26.25 | 74
48307 | 2021-03-17 16:47 | 34.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.4434 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.423 | 136347.8911 | 273664.892 | 26.25 | 74
48317 | 2021-03-17 16:47 | 34.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.3786 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.426 | 136357.3446 | 273670.6735 | 26.25 | 74
48327 | 2021-03-17 16:48 | 34.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.357 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.427 | 136373.1521 | 273674.8131 | 26.25 | 74
48337 | 2021-03-17 16:48 | 35.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.2922 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.43 | 136391.5846 | 273665.4346 | 26.25 | 74
48347 | 2021-03-17 16:48 | 35.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.2707 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.431 | 136402.4199 | 273678.021 | 26.25 | 74
48357 | 2021-03-17 16:49 | 35.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.2989 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.432 | 136412.9218 | 273668.4445 | 26.25 | 74
48367 | 2021-03-17 16:49 | 36.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.1695 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.438 | 136426.3871 | 273670.3006 | 26.25 | 74
48377 | 2021-03-17 16:49 | 36.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.1695 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.438 | 136440.1399 | 273663.5252 | 26.25 | 74
48387 | 2021-03-17 16:50 | 36.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.0981 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136439.0266 | 273661.2145 | 26.25 | 74
48397 | 2021-03-17 16:50 | 37.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.191 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.437 | 136453.3056 | 273655.1671 | 26.25 | 74
48407 | 2021-03-17 16:50 | 37.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.0616 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.443 | 136460.6719 | 273657.1673 | 26.25 | 74
48417 | 2021-03-17 16:51 | 37.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.0334 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136470.5248 | 273654.9936 | 26.25 | 74
48427 | 2021-03-17 16:51 | 38.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.055 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136483.0337 | 273658.5481 | 26.25 | 74
48437 | 2021-03-17 16:51 | 38.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.9539 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.448 | 136484.7978 | 273661.5927 | 26.25 | 74
48447 | 2021-03-17 16:52 | 38.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.9472 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136484.1391 | 273655.8267 | 26.25 | 74
48457 | 2021-03-17 16:52 | 39.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.9687 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136495.6131 | 273653.2173 | 26.25 | 74
48467 | 2021-03-17 16:52 | 39.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.9323 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.449 | 136498.423 | 273648.2186 | 26.25 | 74
48477 | 2021-03-17 16:53 | 39.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8893 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.451 | 136508.3146 | 273665.145 | 26.25 | 74
48487 | 2021-03-17 16:53 | 40.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.997 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136517.1643 | 273668.4641 | 26.25 | 74
48497 | 2021-03-17 16:53 | 40.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8826 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.449 | 136514.3316 | 273649.9902 | 26.25 | 74
48507 | 2021-03-17 16:54 | 40.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.861 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.45 | 136528.1724 | 273662.9064 | 26.25 | 74
48517 | 2021-03-17 16:54 | 41.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8826 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.449 | 136531.1276 | 273640.4104 | 26.25 | 74
48527 | 2021-03-17 16:54 | 41.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.861 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.45 | 136528.4916 | 273663.0394 | 26.25 | 74
48537 | 2021-03-17 16:55 | 41.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.9539 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.448 | 136540.2514 | 273659.5508 | 26.25 | 74
48547 | 2021-03-17 16:55 | 42.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7318 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136551.2307 | 273666.4746 | 26.25 | 74
48557 | 2021-03-17 16:55 | 42.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8826 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.449 | 136547.5426 | 273652.6535 | 26.25 | 74
48567 | 2021-03-17 16:56 | 42.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7964 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136542.6878 | 273649.4162 | 26.25 | 74
48577 | 2021-03-17 16:56 | 43.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7816 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136557.0003 | 273652.1782 | 26.25 | 74
48587 | 2021-03-17 16:56 | 43.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7964 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136548.888 | 273661.5414 | 26.25 | 74
48597 | 2021-03-17 16:57 | 43.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7534 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136557.0153 | 273652.7893 | 26.25 | 74
48607 | 2021-03-17 16:57 | 44.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7964 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136559.3258 | 273654.7388 | 26.25 | 74
48617 | 2021-03-17 16:57 | 44.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7682 | μmol/L | 13.4153 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.452 | 136565.3825 | 273661.476 | 26.25 | 74
48627 | 2021-03-17 16:58 | 44.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7534 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136561.3026 | 273655.4641 | 26.25 | 74
48637 | 2021-03-17 16:58 | 45.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7964 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136565.7409 | 273664.0566 | 26.25 | 74
48647 | 2021-03-17 16:58 | 45.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8395 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.451 | 136569.7794 | 273667.203 | 26.25 | 74
48657 | 2021-03-17 16:59 | 45.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7534 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136564.712 | 273664.1748 | 26.25 | 74
48667 | 2021-03-17 16:59 | 46.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7318 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136563.2814 | 273661.0466 | 26.25 | 74
48677 | 2021-03-17 16:59 | 46.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8959 | μmol/L | 13.397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136566.5038 | 273652.2379 | 26.25 | 74
48687 | 2021-03-17 17:00 | 46.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8031 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136576.8344 | 273660.8838 | 26.25 | 74
48697 | 2021-03-17 17:00 | 47.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8031 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136578.5182 | 273664.5824 | 26.25 | 74
48707 | 2021-03-17 17:00 | 47.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6242 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.461 | 136576.374 | 273667.8841 | 26.25 | 74
48717 | 2021-03-17 17:01 | 47.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7318 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136574.191 | 273659.2879 | 26.25 | 74
48727 | 2021-03-17 17:01 | 48.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.8031 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.455 | 136579.6466 | 273659.6872 | 26.25 | 74
48737 | 2021-03-17 17:01 | 48.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.5961 | μmol/L | 13.4153 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136586.0024 | 273661.1548 | 26.25 | 74
48747 | 2021-03-17 17:02 | 48.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6888 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.458 | 136592.3298 | 273674.4164 | 26.25 | 74
48757 | 2021-03-17 17:02 | 49.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6673 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.459 | 136581.9536 | 273661.0711 | 26.25 | 74
48767 | 2021-03-17 17:02 | 49.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6027 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.462 | 136595.288 | 273672.873 | 26.25 | 74
48777 | 2021-03-17 17:03 | 49.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7318 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136599.4158 | 273669.3823 | 26.25 | 74
48787 | 2021-03-17 17:03 | 50.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.7385 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.458 | 136591.1779 | 273670.679 | 26.25 | 74
48797 | 2021-03-17 17:03 | 50.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6458 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136600.3035 | 273671.1979 | 26.25 | 74
48807 | 2021-03-17 17:04 | 50.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6242 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.461 | 136610.7493 | 273678.8494 | 26.25 | 74
48817 | 2021-03-17 17:04 | 51.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6955 | μmol/L | 13.4031 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136607.1671 | 273678.653 | 26.25 | 74
48827 | 2021-03-17 17:04 | 51.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6027 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.462 | 136609.094 | 273687.6356 | 26.25 | 74
48837 | 2021-03-17 17:05 | 51.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.5961 | μmol/L | 13.4153 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136608.7727 | 273673.0555 | 26.25 | 74
48847 | 2021-03-17 17:05 | 52.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6458 | μmol/L | 13.4092 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136614.4711 | 273680.3236 | 26.25 | 74
48857 | 2021-03-17 17:05 | 52.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.5961 | μmol/L | 13.4153 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.46 | 136616.8038 | 273684.9107 | 26.25 | 74
48867 | 2021-03-17 17:06 | 52.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.6821 | μmol/L | 13.4153 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136650.4645 | 273672.1964 | 26.25 | 74