## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47289 | 2021-03-17 16:13 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8366 | μmol/L | 13.3507 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.216 | 130876.8111 | 273879.3706 | 32.55 | 27.7
47299 | 2021-03-17 16:13 | 0.33445 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9156 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.217 | 130862.417 | 273849.5705 | 32.55 | 27.7
47309 | 2021-03-17 16:14 | 0.66828 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.887 | μmol/L | 13.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.216 | 130853.8656 | 273848.0386 | 32.55 | 27.7
47319 | 2021-03-17 16:14 | 1.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8652 | μmol/L | 13.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.217 | 130838.8904 | 273815.0939 | 32.55 | 27.7
47329 | 2021-03-17 16:14 | 1.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0098 | μmol/L | 13.3324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.215 | 130837.6277 | 273805.5856 | 32.55 | 27.7
47339 | 2021-03-17 16:15 | 1.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.828 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.221 | 130822.6665 | 273791.9337 | 32.55 | 27.7
47349 | 2021-03-17 16:15 | 2.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.966 | μmol/L | 13.3324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.217 | 130819.3857 | 273779.2183 | 32.55 | 27.7
47359 | 2021-03-17 16:15 | 2.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9813 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130804.8431 | 273765.0726 | 32.55 | 27.7
47369 | 2021-03-17 16:16 | 2.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0908 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.209 | 130795.0089 | 273767.5695 | 32.55 | 27.7
47379 | 2021-03-17 16:16 | 3.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0822 | μmol/L | 13.3263 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130790.8249 | 273758.9804 | 32.55 | 27.7
47389 | 2021-03-17 16:16 | 3.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0251 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130788.6839 | 273741.2631 | 32.55 | 27.7
47399 | 2021-03-17 16:17 | 3.6678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0974 | μmol/L | 13.3324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130779.4042 | 273740.56 | 32.55 | 27.7
47409 | 2021-03-17 16:17 | 4.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0536 | μmol/L | 13.3324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130778.5276 | 273737.2403 | 32.55 | 27.7
47419 | 2021-03-17 16:17 | 4.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0495 | μmol/L | 13.3324 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130774.0819 | 273716.5022 | 32.55 | 27.7
47429 | 2021-03-17 16:18 | 4.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0251 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130763.6243 | 273714.614 | 32.55 | 27.7
47439 | 2021-03-17 16:18 | 5.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1041 | μmol/L | 13.3263 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130769.3544 | 273721.3382 | 32.55 | 27.7
47449 | 2021-03-17 16:18 | 5.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1041 | μmol/L | 13.3263 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130765.6753 | 273704.6454 | 32.55 | 27.7
47459 | 2021-03-17 16:19 | 5.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0689 | μmol/L | 13.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.21 | 130762.1123 | 273703.9313 | 32.55 | 27.7
47469 | 2021-03-17 16:19 | 6.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9746 | μmol/L | 13.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130767.1201 | 273701.6872 | 32.55 | 27.7
47479 | 2021-03-17 16:19 | 6.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9772 | μmol/L | 13.3385 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130757.2938 | 273690.2474 | 32.55 | 27.7
47489 | 2021-03-17 16:20 | 6.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9991 | μmol/L | 13.3385 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130757.4883 | 273704.3362 | 32.55 | 27.7
47499 | 2021-03-17 16:20 | 7.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0429 | μmol/L | 13.3385 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130756.2078 | 273700.104 | 32.55 | 27.7
47509 | 2021-03-17 16:20 | 7.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9527 | μmol/L | 13.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130762.4851 | 273701.1756 | 32.55 | 27.7
47519 | 2021-03-17 16:21 | 7.6678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9242 | μmol/L | 13.3507 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130757.2239 | 273685.5128 | 32.55 | 27.7
47529 | 2021-03-17 16:21 | 8.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.968 | μmol/L | 13.3507 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.21 | 130755.7818 | 273670.8384 | 32.55 | 27.7
47539 | 2021-03-17 16:21 | 8.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8544 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.215 | 130757.1527 | 273682.1165 | 32.55 | 27.7
47549 | 2021-03-17 16:22 | 8.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8478 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130749.1491 | 273676.8287 | 32.55 | 27.7
47559 | 2021-03-17 16:22 | 9.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8478 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130764.7179 | 273679.7867 | 32.55 | 27.7
47569 | 2021-03-17 16:22 | 9.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9461 | μmol/L | 13.3507 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130754.0921 | 273686.6981 | 32.55 | 27.7
47579 | 2021-03-17 16:23 | 9.6678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8916 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130754.5849 | 273674.6298 | 32.55 | 27.7
47589 | 2021-03-17 16:23 | 10.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8193 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130757.7579 | 273676.6523 | 32.55 | 27.7
47599 | 2021-03-17 16:23 | 10.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8697 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130753.4133 | 273683.4251 | 32.55 | 27.7
47609 | 2021-03-17 16:24 | 10.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.747 | μmol/L | 13.369 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130749.4328 | 273676.6088 | 32.55 | 27.7
47619 | 2021-03-17 16:24 | 11.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7577 | μmol/L | 13.3629 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.215 | 130743.8554 | 273660.586 | 32.55 | 27.7
47629 | 2021-03-17 16:24 | 11.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8519 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130751.7108 | 273671.9071 | 32.55 | 27.7
47639 | 2021-03-17 16:25 | 11.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8697 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130749.4867 | 273668.6173 | 32.55 | 27.7
47649 | 2021-03-17 16:25 | 12.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8193 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130740.8391 | 273660.1942 | 32.55 | 27.7
47659 | 2021-03-17 16:25 | 12.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8412 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130732.5787 | 273660.6017 | 32.55 | 27.7
47669 | 2021-03-17 16:26 | 12.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.885 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.209 | 130703.9978 | 273652.9823 | 32.55 | 27.7
47679 | 2021-03-17 16:26 | 13.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8259 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130700.8534 | 273657.4143 | 32.55 | 27.7
47689 | 2021-03-17 16:26 | 13.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7755 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130708.7689 | 273670.8532 | 32.55 | 27.7
47699 | 2021-03-17 16:27 | 13.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7974 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130658.4689 | 273659.3939 | 32.55 | 27.7
47709 | 2021-03-17 16:27 | 14.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8957 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130673.5653 | 273676.6997 | 32.55 | 27.7
47719 | 2021-03-17 16:27 | 14.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7796 | μmol/L | 13.3629 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130659.2817 | 273658.3776 | 32.55 | 27.7
47729 | 2021-03-17 16:28 | 14.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7536 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.215 | 130668.6146 | 273657.3481 | 32.55 | 27.7
47739 | 2021-03-17 16:28 | 15.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8259 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.214 | 130667.7463 | 273647.8603 | 32.55 | 27.7
47749 | 2021-03-17 16:28 | 15.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8193 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.212 | 130667.5485 | 273660.4091 | 32.55 | 27.7
47759 | 2021-03-17 16:29 | 15.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8478 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.213 | 130671.0399 | 273661.5309 | 32.55 | 27.7
47769 | 2021-03-17 16:29 | 16.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.804 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.215 | 130674.5549 | 273626.9587 | 32.55 | 27.7
47779 | 2021-03-17 16:29 | 16.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7384 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.218 | 130678.4264 | 273625.9042 | 32.55 | 27.7
47789 | 2021-03-17 16:30 | 16.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6224 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.221 | 130688.3052 | 273642.6522 | 32.55 | 27.7
47799 | 2021-03-17 16:30 | 17.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6377 | μmol/L | 13.369 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.218 | 130696.7327 | 273641.9595 | 32.55 | 27.7
47809 | 2021-03-17 16:30 | 17.3344 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6224 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.221 | 130692.3314 | 273640.4129 | 32.55 | 27.7
47819 | 2021-03-17 16:31 | 17.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6443 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.22 | 130703.5861 | 273633.6727 | 32.55 | 27.7
47829 | 2021-03-17 16:31 | 18.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6224 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.221 | 130704.9242 | 273629.2608 | 32.55 | 27.7
47839 | 2021-03-17 16:31 | 18.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6728 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.221 | 130703.6405 | 273635.974 | 32.55 | 27.7
47849 | 2021-03-17 16:32 | 18.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6331 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.223 | 130713.6199 | 273643.4155 | 32.55 | 27.7
47859 | 2021-03-17 16:32 | 19.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5568 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.224 | 130717.1154 | 273626.9623 | 32.55 | 27.7
47869 | 2021-03-17 16:32 | 19.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6575 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.224 | 130723.1634 | 273625.7423 | 32.55 | 27.7
47879 | 2021-03-17 16:33 | 19.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5568 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.224 | 130728.3164 | 273629.689 | 32.55 | 27.7
47889 | 2021-03-17 16:33 | 20.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.476 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130727.9651 | 273619.1045 | 32.55 | 27.7
47899 | 2021-03-17 16:33 | 20.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6072 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.224 | 130731.0227 | 273614.2168 | 32.55 | 27.7
47909 | 2021-03-17 16:34 | 20.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5264 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130738.5963 | 273608.4621 | 32.55 | 27.7
47919 | 2021-03-17 16:34 | 21.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5197 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.228 | 130746.9077 | 273619.1146 | 32.55 | 27.7
47929 | 2021-03-17 16:34 | 21.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5853 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.225 | 130748.7687 | 273618.8561 | 32.55 | 27.7
47939 | 2021-03-17 16:35 | 21.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4257 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130739.4259 | 273604.0723 | 32.55 | 27.7
47949 | 2021-03-17 16:35 | 22.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4979 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.229 | 130744.5985 | 273609.2094 | 32.55 | 27.7
47959 | 2021-03-17 16:35 | 22.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4039 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.231 | 130746.1967 | 273610.7034 | 32.55 | 27.7
47969 | 2021-03-17 16:36 | 22.6677 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4694 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.228 | 130746.8733 | 273629.201 | 32.55 | 27.7
47979 | 2021-03-17 16:36 | 23.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3754 | μmol/L | 13.369 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130740.373 | 273611.3031 | 32.55 | 27.7
47989 | 2021-03-17 16:36 | 23.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5675 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.226 | 130741.7191 | 273601.8313 | 32.55 | 27.7
47999 | 2021-03-17 16:37 | 23.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4979 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.229 | 130744.5931 | 273614.2426 | 32.55 | 27.7
48009 | 2021-03-17 16:37 | 24.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4694 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.228 | 130738.0267 | 273606.653 | 32.55 | 27.7
48019 | 2021-03-17 16:37 | 24.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5416 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.227 | 130744.5318 | 273601.0808 | 32.55 | 27.7
48029 | 2021-03-17 16:38 | 24.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3602 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.233 | 130736.592 | 273594.2003 | 32.55 | 27.7
48039 | 2021-03-17 16:38 | 25.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4694 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.228 | 130741.7786 | 273608.9539 | 32.55 | 27.7
48049 | 2021-03-17 16:38 | 25.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.288 | μmol/L | 13.369 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.234 | 130741.4927 | 273606.4055 | 32.55 | 27.7
48059 | 2021-03-17 16:39 | 25.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4146 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.233 | 130739.0211 | 273587.1079 | 32.55 | 27.7
48069 | 2021-03-17 16:39 | 26.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3602 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.233 | 130738.3827 | 273600.1501 | 32.55 | 27.7
48079 | 2021-03-17 16:39 | 26.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4257 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130738.5754 | 273605.8591 | 32.55 | 27.7
48089 | 2021-03-17 16:40 | 26.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4364 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.232 | 130741.6928 | 273589.1988 | 32.55 | 27.7
48099 | 2021-03-17 16:40 | 27.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4257 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.23 | 130740.9423 | 273579.3528 | 32.55 | 27.7
48109 | 2021-03-17 16:40 | 27.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4475 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.229 | 130749.9563 | 273591.8705 | 32.55 | 27.7
48119 | 2021-03-17 16:41 | 27.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3165 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.235 | 130745.6988 | 273578.9169 | 32.55 | 27.7
48129 | 2021-03-17 16:41 | 28.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3165 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.235 | 130758.2176 | 273598.6283 | 32.55 | 27.7
48139 | 2021-03-17 16:41 | 28.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.345 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.236 | 130758.2167 | 273591.5388 | 32.55 | 27.7
48149 | 2021-03-17 16:42 | 28.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3231 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.237 | 130774.8516 | 273588.7894 | 32.55 | 27.7
48159 | 2021-03-17 16:42 | 29.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2795 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.239 | 130764.3486 | 273581.0968 | 32.55 | 27.7
48169 | 2021-03-17 16:42 | 29.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.251 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.238 | 130775.923 | 273581.8548 | 32.55 | 27.7
48179 | 2021-03-17 16:43 | 29.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2292 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.239 | 130783.5131 | 273583.1696 | 32.55 | 27.7
48189 | 2021-03-17 16:43 | 30.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2576 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.24 | 130786.2049 | 273576.55 | 32.55 | 27.7
48199 | 2021-03-17 16:43 | 30.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3013 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.238 | 130797.3832 | 273576.4451 | 32.55 | 27.7
48209 | 2021-03-17 16:44 | 30.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2576 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.24 | 130792.0878 | 273587.2182 | 32.55 | 27.7
48219 | 2021-03-17 16:44 | 31.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1855 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.241 | 130804.6545 | 273574.4773 | 32.55 | 27.7
48229 | 2021-03-17 16:44 | 31.3344 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1744 | μmol/L | 13.3568 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.244 | 130809.1596 | 273556.8852 | 32.55 | 27.7
48239 | 2021-03-17 16:45 | 31.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1267 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.246 | 130806.402 | 273562.9918 | 32.55 | 27.7
48249 | 2021-03-17 16:45 | 32.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1988 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.245 | 130809.4965 | 273559.8969 | 32.55 | 27.7
48259 | 2021-03-17 16:45 | 32.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1267 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.246 | 130813.3155 | 273564.5074 | 32.55 | 27.7
48269 | 2021-03-17 16:46 | 32.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0177 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.251 | 130817.9846 | 273562.3218 | 32.55 | 27.7
48279 | 2021-03-17 16:46 | 33.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0831 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.248 | 130836.7074 | 273563.5502 | 32.55 | 27.7
48289 | 2021-03-17 16:46 | 33.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1333 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.248 | 130831.1286 | 273575.1883 | 32.55 | 27.7
48299 | 2021-03-17 16:47 | 33.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0679 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.251 | 130850.4665 | 273576.6862 | 32.55 | 27.7
48309 | 2021-03-17 16:47 | 34.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9674 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.251 | 130850.315 | 273563.4551 | 32.55 | 27.7
48319 | 2021-03-17 16:47 | 34.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9523 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.254 | 130849.8845 | 273557.8734 | 32.55 | 27.7
48329 | 2021-03-17 16:48 | 34.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9589 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.256 | 130862.4749 | 273561.8537 | 32.55 | 27.7
48339 | 2021-03-17 16:48 | 35.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9305 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.255 | 130866.5735 | 273569.6997 | 32.55 | 27.7
48349 | 2021-03-17 16:48 | 35.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9087 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.256 | 130879.4553 | 273578.4095 | 32.55 | 27.7
48359 | 2021-03-17 16:49 | 35.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8651 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.258 | 130883.0852 | 273556.3429 | 32.55 | 27.7
48369 | 2021-03-17 16:49 | 36.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8215 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.26 | 130880.8963 | 273559.7061 | 32.55 | 27.7
48379 | 2021-03-17 16:49 | 36.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7997 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.261 | 130892.1198 | 273560.307 | 32.55 | 27.7
48389 | 2021-03-17 16:50 | 36.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7562 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.263 | 130896.6356 | 273558.4558 | 32.55 | 27.7
48399 | 2021-03-17 16:50 | 37.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8433 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.259 | 130897.0309 | 273556.2169 | 32.55 | 27.7
48409 | 2021-03-17 16:50 | 37.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7562 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.263 | 130902.9816 | 273549.665 | 32.55 | 27.7
48419 | 2021-03-17 16:51 | 37.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.85 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.261 | 130915.5142 | 273548.4634 | 32.55 | 27.7
48429 | 2021-03-17 16:51 | 38.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6473 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.268 | 130920.8371 | 273550.9805 | 32.55 | 27.7
48439 | 2021-03-17 16:51 | 38.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6038 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.27 | 130936.0543 | 273543.5258 | 32.55 | 27.7
48449 | 2021-03-17 16:52 | 38.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6473 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.268 | 130942.0142 | 273545.6134 | 32.55 | 27.7
48459 | 2021-03-17 16:52 | 39.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7411 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.266 | 130949.9357 | 273563.6707 | 32.55 | 27.7
48469 | 2021-03-17 16:52 | 39.3344 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6038 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.27 | 130957.3328 | 273546.3413 | 32.55 | 27.7
48479 | 2021-03-17 16:53 | 39.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5821 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.271 | 130963.0025 | 273545.8645 | 32.55 | 27.7
48489 | 2021-03-17 16:53 | 40.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5168 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.274 | 130965.2645 | 273553.6906 | 32.55 | 27.7
48499 | 2021-03-17 16:53 | 40.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5603 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.272 | 130973.4008 | 273534.9292 | 32.55 | 27.7
48509 | 2021-03-17 16:54 | 40.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6105 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.272 | 130979.6624 | 273546.4472 | 32.55 | 27.7
48519 | 2021-03-17 16:54 | 41.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4516 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.277 | 130990.7931 | 273551.7117 | 32.55 | 27.7
48529 | 2021-03-17 16:54 | 41.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5017 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.277 | 130995.6082 | 273545.4733 | 32.55 | 27.7
48539 | 2021-03-17 16:55 | 41.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3362 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.28 | 130995.6614 | 273543.34 | 32.55 | 27.7
48549 | 2021-03-17 16:55 | 42.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3863 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.28 | 131001.6301 | 273542.2271 | 32.55 | 27.7
48559 | 2021-03-17 16:55 | 42.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5017 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.277 | 131002.0165 | 273544.0885 | 32.55 | 27.7
48569 | 2021-03-17 16:56 | 42.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4799 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.278 | 131004.9965 | 273543.8479 | 32.55 | 27.7
48579 | 2021-03-17 16:56 | 43.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4147 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.281 | 131004.9955 | 273532.3762 | 32.55 | 27.7
48589 | 2021-03-17 16:56 | 43.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.358 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.279 | 131016.2335 | 273525.8917 | 32.55 | 27.7
48599 | 2021-03-17 16:57 | 43.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4147 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.281 | 131025.0368 | 273528.2745 | 32.55 | 27.7
48609 | 2021-03-17 16:57 | 44.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2928 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.282 | 131025.0238 | 273538.6688 | 32.55 | 27.7
48619 | 2021-03-17 16:57 | 44.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3278 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.285 | 131026.6242 | 273538.9857 | 32.55 | 27.7
48629 | 2021-03-17 16:58 | 44.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2994 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.284 | 131022.6809 | 273522.2959 | 32.55 | 27.7
48639 | 2021-03-17 16:58 | 45.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3061 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.286 | 131036.7593 | 273535.0798 | 32.55 | 27.7
48649 | 2021-03-17 16:58 | 45.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2342 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.287 | 131034.7386 | 273531.987 | 32.55 | 27.7
48659 | 2021-03-17 16:59 | 45.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2125 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.288 | 131047.0128 | 273519.1845 | 32.55 | 27.7
48669 | 2021-03-17 16:59 | 46.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2559 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.286 | 131045.2626 | 273527.4526 | 32.55 | 27.7
48679 | 2021-03-17 16:59 | 46.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2626 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.288 | 131053.359 | 273536.049 | 32.55 | 27.7
48689 | 2021-03-17 17:00 | 46.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3127 | μmol/L | 13.3446 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.288 | 131064.2406 | 273534.6689 | 32.55 | 27.7
48699 | 2021-03-17 17:00 | 47.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0973 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.291 | 131072.7931 | 273534.055 | 32.55 | 27.7
48709 | 2021-03-17 17:00 | 47.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1474 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.291 | 131080.6028 | 273538.4155 | 32.55 | 27.7
48719 | 2021-03-17 17:01 | 47.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1474 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.291 | 131091.5397 | 273516.4166 | 32.55 | 27.7
48729 | 2021-03-17 17:01 | 48.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1323 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.294 | 131110.0839 | 273535.851 | 32.55 | 27.7
48739 | 2021-03-17 17:01 | 48.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0171 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.297 | 131119.1812 | 273537.6 | 32.55 | 27.7
48749 | 2021-03-17 17:02 | 48.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0171 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.297 | 131120.8109 | 273537.7993 | 32.55 | 27.7
48759 | 2021-03-17 17:02 | 49.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9237 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.299 | 131133.0455 | 273534.1384 | 32.55 | 27.7
48769 | 2021-03-17 17:02 | 49.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9153 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.304 | 131134.082 | 273523.1739 | 32.55 | 27.7
48779 | 2021-03-17 17:03 | 49.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0238 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.299 | 131149.9461 | 273525.5567 | 32.55 | 27.7
48789 | 2021-03-17 17:03 | 50.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9654 | μmol/L | 13.3446 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.304 | 131159.2557 | 273539.9241 | 32.55 | 27.7
48799 | 2021-03-17 17:03 | 50.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8436 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.305 | 131162.6356 | 273548.3632 | 32.55 | 27.7
48809 | 2021-03-17 17:04 | 50.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.887 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.303 | 131171.1094 | 273534.3423 | 32.55 | 27.7
48819 | 2021-03-17 17:04 | 51.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7719 | μmol/L | 13.3629 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.306 | 131179.3946 | 273539.7419 | 32.55 | 27.7
48829 | 2021-03-17 17:04 | 51.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8936 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.305 | 131183.4073 | 273533.4226 | 32.55 | 27.7
48839 | 2021-03-17 17:05 | 51.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8719 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.306 | 131194.4419 | 273542.7256 | 32.55 | 27.7
48849 | 2021-03-17 17:05 | 52.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8352 | μmol/L | 13.3446 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.31 | 131193.4227 | 273540.917 | 32.55 | 27.7
48859 | 2021-03-17 17:05 | 52.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7786 | μmol/L | 13.3568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.308 | 131191.2895 | 273548.4976 | 32.55 | 27.7
48868 | 2021-03-17 17:06 | 52.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8286 | μmol/L | 13.3507 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.308 | 131072.5022 | 273558.4493 | 32.55 | 27.7