## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43017 | 2021-03-17 11:23 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4541 | μmol/L | 12.6785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 196077.9661 | 282329.7581 | 62.0402 | 75.7
43025 | 2021-03-17 11:23 | 0.34023 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6889 | μmol/L | 12.6785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.565 | 195978.2727 | 282318.1073 | 62.0402 | 75.7
43035 | 2021-03-17 11:24 | 0.67336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7579 | μmol/L | 12.6785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 195894.3028 | 282286.8697 | 62.0402 | 75.7
43047 | 2021-03-17 11:24 | 1.0452 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9099 | μmol/L | 12.6785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.555 | 195861.9673 | 282257.6441 | 62.0402 | 75.7
43055 | 2021-03-17 11:24 | 1.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8124 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.557 | 195843.5287 | 282226.996 | 62.0402 | 75.7
43065 | 2021-03-17 11:25 | 1.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7008 | μmol/L | 12.6907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 195821.7318 | 282186.2325 | 62.0402 | 75.7
43075 | 2021-03-17 11:25 | 2.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.823 | μmol/L | 12.6785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 195790.0011 | 282155.5615 | 62.0402 | 75.7
43085 | 2021-03-17 11:25 | 2.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8665 | μmol/L | 12.6785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.557 | 195743.8231 | 282140.3184 | 62.0402 | 75.7
43095 | 2021-03-17 11:26 | 2.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8993 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.553 | 195654.2945 | 282105.8175 | 62.0402 | 75.7
43105 | 2021-03-17 11:26 | 3.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0515 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.546 | 195580.0619 | 282082.1322 | 62.0402 | 75.7
43115 | 2021-03-17 11:26 | 3.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.182 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.54 | 195504.1137 | 282070.3269 | 62.0402 | 75.7
43125 | 2021-03-17 11:27 | 3.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3126 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.534 | 195414.4051 | 282017.081 | 62.0402 | 75.7
43135 | 2021-03-17 11:27 | 4.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3493 | μmol/L | 12.6907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.53 | 195329.3325 | 282000.9413 | 62.0402 | 75.7
43145 | 2021-03-17 11:27 | 4.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4582 | μmol/L | 12.6907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.525 | 195293.7068 | 281977.6092 | 62.0402 | 75.7
43155 | 2021-03-17 11:28 | 4.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4147 | μmol/L | 12.6907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.527 | 195245.814 | 281941.7926 | 62.0402 | 75.7
43165 | 2021-03-17 11:28 | 5.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4433 | μmol/L | 12.6846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.528 | 195230.2964 | 281915.937 | 62.0402 | 75.7
43175 | 2021-03-17 11:28 | 5.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3425 | μmol/L | 12.6968 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.528 | 195256.5705 | 281889.3112 | 62.0402 | 75.7
43185 | 2021-03-17 11:29 | 5.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1752 | μmol/L | 12.6907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.538 | 195302.114 | 281866.0457 | 62.0402 | 75.7
43195 | 2021-03-17 11:29 | 6.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0447 | μmol/L | 12.6907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.544 | 195348.7617 | 281844.6241 | 62.0402 | 75.7
43205 | 2021-03-17 11:29 | 6.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9292 | μmol/L | 12.6968 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.547 | 195354.4978 | 281809.4358 | 62.0402 | 75.7
43215 | 2021-03-17 11:30 | 6.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7852 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.549 | 195361.6531 | 281796.6746 | 62.0402 | 75.7
43225 | 2021-03-17 11:30 | 7.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8205 | μmol/L | 12.6968 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.552 | 195337.5395 | 281763.6052 | 62.0402 | 75.7
43235 | 2021-03-17 11:30 | 7.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8422 | μmol/L | 12.6968 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.551 | 195307.057 | 281743.3033 | 62.0402 | 75.7
43245 | 2021-03-17 11:31 | 7.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8137 | μmol/L | 12.703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.55 | 195261.5566 | 281710.7822 | 62.0402 | 75.7
43255 | 2021-03-17 11:31 | 8.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0161 | μmol/L | 12.6968 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.543 | 195190.127 | 281700.1608 | 62.0402 | 75.7
43265 | 2021-03-17 11:31 | 8.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1398 | μmol/L | 12.703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.535 | 195103.684 | 281678.8133 | 62.0402 | 75.7
43275 | 2021-03-17 11:32 | 8.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1983 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.53 | 195013.9575 | 281649.291 | 62.0402 | 75.7
43285 | 2021-03-17 11:32 | 9.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3793 | μmol/L | 12.703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.524 | 194914.1599 | 281622.1805 | 62.0402 | 75.7
43295 | 2021-03-17 11:32 | 9.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4597 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.518 | 194836.1619 | 281591.58 | 62.0402 | 75.7
43305 | 2021-03-17 11:33 | 9.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.619 | μmol/L | 12.703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.513 | 194764.1757 | 281575.9116 | 62.0402 | 75.7
43315 | 2021-03-17 11:33 | 10.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7499 | μmol/L | 12.703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.507 | 194675.6974 | 281551.5921 | 62.0402 | 75.7
43325 | 2021-03-17 11:33 | 10.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8086 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.502 | 194611.4474 | 281542.0422 | 62.0402 | 75.7
43335 | 2021-03-17 11:34 | 10.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8959 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.498 | 194563.7182 | 281521.1838 | 62.0402 | 75.7
43345 | 2021-03-17 11:34 | 11.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9396 | μmol/L | 12.7091 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.496 | 194516.0929 | 281495.2215 | 62.0402 | 75.7
43355 | 2021-03-17 11:34 | 11.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9547 | μmol/L | 12.7152 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.493 | 194476.4039 | 281490.4943 | 62.0402 | 75.7
43365 | 2021-03-17 11:35 | 11.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9765 | μmol/L | 12.7152 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.492 | 194432.6249 | 281469.5131 | 62.0402 | 75.7
43375 | 2021-03-17 11:35 | 12.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0858 | μmol/L | 12.7152 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.487 | 194388.6005 | 281424.7095 | 62.0402 | 75.7
43385 | 2021-03-17 11:35 | 12.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9916 | μmol/L | 12.7213 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.489 | 194356.4971 | 281407.3905 | 62.0402 | 75.7
43395 | 2021-03-17 11:36 | 12.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0353 | μmol/L | 12.7213 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.487 | 194322.1518 | 281395.9853 | 62.0402 | 75.7
43405 | 2021-03-17 11:36 | 13.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1009 | μmol/L | 12.7213 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.484 | 194281.7338 | 281375.9877 | 62.0402 | 75.7
43415 | 2021-03-17 11:36 | 13.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1446 | μmol/L | 12.7213 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.482 | 194234.9351 | 281371.0332 | 62.0402 | 75.7
43425 | 2021-03-17 11:37 | 13.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1732 | μmol/L | 12.7152 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.483 | 194196.5693 | 281330.8161 | 62.0402 | 75.7
43435 | 2021-03-17 11:37 | 14.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2321 | μmol/L | 12.7213 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.478 | 194178.5963 | 281316.3179 | 62.0402 | 75.7
43445 | 2021-03-17 11:37 | 14.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2253 | μmol/L | 12.7274 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.476 | 194138.6275 | 281306.3136 | 62.0402 | 75.7
43455 | 2021-03-17 11:38 | 14.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2034 | μmol/L | 12.7274 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.477 | 194107.306 | 281275.3448 | 62.0402 | 75.7
43465 | 2021-03-17 11:38 | 15.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3128 | μmol/L | 12.7274 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.472 | 194069.0341 | 281248.5669 | 62.0402 | 75.7
43475 | 2021-03-17 11:38 | 15.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.269 | μmol/L | 12.7274 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.474 | 194043.9945 | 281225.7869 | 62.0402 | 75.7
43485 | 2021-03-17 11:39 | 15.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2404 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.473 | 194025.9518 | 281218.3961 | 62.0402 | 75.7
43495 | 2021-03-17 11:39 | 16.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2623 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.472 | 193990.7589 | 281201.2208 | 62.0402 | 75.7
43505 | 2021-03-17 11:39 | 16.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2404 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.473 | 193957.4235 | 281169.6438 | 62.0402 | 75.7
43515 | 2021-03-17 11:40 | 16.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3279 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.469 | 193936.1899 | 281159.0354 | 62.0402 | 75.7
43525 | 2021-03-17 11:40 | 17.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3212 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.467 | 193904.4698 | 281143.9705 | 62.0402 | 75.7
43535 | 2021-03-17 11:40 | 17.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4155 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.465 | 193870.2023 | 281111.1472 | 62.0402 | 75.7
43545 | 2021-03-17 11:41 | 17.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4593 | μmol/L | 12.7336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.463 | 193841.4583 | 281107.3649 | 62.0402 | 75.7
43555 | 2021-03-17 11:41 | 18.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3869 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.464 | 193820.8906 | 281080.9003 | 62.0402 | 75.7
43565 | 2021-03-17 11:41 | 18.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4525 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.461 | 193771.6081 | 281060.2435 | 62.0402 | 75.7
43575 | 2021-03-17 11:42 | 18.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4087 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.463 | 193750.4485 | 281042.8211 | 62.0402 | 75.7
43585 | 2021-03-17 11:42 | 19.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4306 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.462 | 193725.486 | 281015.508 | 62.0402 | 75.7
43595 | 2021-03-17 11:42 | 19.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3801 | μmol/L | 12.7458 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.462 | 193700.6799 | 281015.8049 | 62.0402 | 75.7
43605 | 2021-03-17 11:43 | 19.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.402 | μmol/L | 12.7458 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.461 | 193676.9232 | 280981.9278 | 62.0402 | 75.7
43615 | 2021-03-17 11:43 | 20.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4963 | μmol/L | 12.7397 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.459 | 193653.1399 | 280953.2021 | 62.0402 | 75.7
43625 | 2021-03-17 11:43 | 20.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3801 | μmol/L | 12.7458 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.462 | 193623.1941 | 280937.2136 | 62.0402 | 75.7
43635 | 2021-03-17 11:44 | 20.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2859 | μmol/L | 12.7519 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.464 | 193622.1049 | 280929.2867 | 62.0402 | 75.7
43645 | 2021-03-17 11:44 | 21.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3363 | μmol/L | 12.7458 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.464 | 193592.2401 | 280913.9809 | 62.0402 | 75.7
43655 | 2021-03-17 11:44 | 21.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3582 | μmol/L | 12.7458 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.463 | 193571.6942 | 280896.7287 | 62.0402 | 75.7
43665 | 2021-03-17 11:45 | 21.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2791 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.462 | 193552.7033 | 280879.4533 | 62.0402 | 75.7
43675 | 2021-03-17 11:45 | 22.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.264 | μmol/L | 12.7519 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.465 | 193528.6023 | 280839.759 | 62.0402 | 75.7
43685 | 2021-03-17 11:45 | 22.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2354 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.464 | 193501.7576 | 280848.7977 | 62.0402 | 75.7
43695 | 2021-03-17 11:46 | 22.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3229 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.46 | 193456.0327 | 280811.8639 | 62.0402 | 75.7
43705 | 2021-03-17 11:46 | 23.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3734 | μmol/L | 12.7519 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.46 | 193434.1941 | 280796.9976 | 62.0402 | 75.7
43715 | 2021-03-17 11:46 | 23.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3448 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.459 | 193372.1993 | 280781.003 | 62.0402 | 75.7
43725 | 2021-03-17 11:47 | 23.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3886 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.457 | 193332.5039 | 280747.5685 | 62.0402 | 75.7
43735 | 2021-03-17 11:47 | 24.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4543 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.454 | 193297.837 | 280742.1762 | 62.0402 | 75.7
43745 | 2021-03-17 11:47 | 24.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4324 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.455 | 193268.0135 | 280728.9717 | 62.0402 | 75.7
43755 | 2021-03-17 11:48 | 24.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5267 | μmol/L | 12.7519 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 193236.2604 | 280696.9794 | 62.0402 | 75.7
43765 | 2021-03-17 11:48 | 25.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4256 | μmol/L | 12.7642 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 193211.1194 | 280695.4163 | 62.0402 | 75.7
43775 | 2021-03-17 11:48 | 25.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4762 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 193192.6191 | 280670.9626 | 62.0402 | 75.7
43785 | 2021-03-17 11:49 | 25.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4981 | μmol/L | 12.7581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 193162.9463 | 280655.2453 | 62.0402 | 75.7
43795 | 2021-03-17 11:49 | 26.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4037 | μmol/L | 12.7642 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.454 | 193140.8048 | 280636.0717 | 62.0402 | 75.7
43805 | 2021-03-17 11:49 | 26.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4475 | μmol/L | 12.7642 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 193121.2978 | 280619.2774 | 62.0402 | 75.7
43815 | 2021-03-17 11:50 | 26.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4475 | μmol/L | 12.7642 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 193105.606 | 280620.4142 | 62.0402 | 75.7
43825 | 2021-03-17 11:50 | 27.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3532 | μmol/L | 12.7703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.454 | 193076.4484 | 280581.0339 | 62.0402 | 75.7
43835 | 2021-03-17 11:50 | 27.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4189 | μmol/L | 12.7703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 193057.7379 | 280566.2693 | 62.0402 | 75.7
43845 | 2021-03-17 11:51 | 27.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3751 | μmol/L | 12.7703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 193019.1398 | 280546.2341 | 62.0402 | 75.7
43855 | 2021-03-17 11:51 | 28.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.397 | μmol/L | 12.7703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 193010.2344 | 280548.2637 | 62.0402 | 75.7
43865 | 2021-03-17 11:51 | 28.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4189 | μmol/L | 12.7703 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192987.8239 | 280538.8971 | 62.0402 | 75.7
43875 | 2021-03-17 11:52 | 28.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.318 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192961.1434 | 280509.1725 | 62.0402 | 75.7
43885 | 2021-03-17 11:52 | 29.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4122 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192938.3326 | 280484.8719 | 62.0402 | 75.7
43895 | 2021-03-17 11:52 | 29.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3465 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 192914.3331 | 280468.7501 | 62.0402 | 75.7
43905 | 2021-03-17 11:53 | 29.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3684 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192873.1909 | 280468.7865 | 62.0402 | 75.7
43915 | 2021-03-17 11:53 | 30.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4341 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192844.7048 | 280444.7934 | 62.0402 | 75.7
43925 | 2021-03-17 11:53 | 30.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4274 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.446 | 192818.5237 | 280419.91 | 62.0402 | 75.7
43935 | 2021-03-17 11:54 | 30.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5217 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.444 | 192781.527 | 280408.072 | 62.0402 | 75.7
43945 | 2021-03-17 11:54 | 31.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4712 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.444 | 192764.6291 | 280404.8253 | 62.0402 | 75.7
43955 | 2021-03-17 11:54 | 31.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5217 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.444 | 192734.6231 | 280390.1165 | 62.0402 | 75.7
43965 | 2021-03-17 11:55 | 31.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4493 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 192723.5419 | 280376.5861 | 62.0402 | 75.7
43975 | 2021-03-17 11:55 | 32.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4055 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 192707.8473 | 280353.8913 | 62.0402 | 75.7
43985 | 2021-03-17 11:55 | 32.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4998 | μmol/L | 12.7764 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 192704.117 | 280347.4287 | 62.0402 | 75.7
43995 | 2021-03-17 11:56 | 32.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4055 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 192704.2965 | 280329.158 | 62.0402 | 75.7
44005 | 2021-03-17 11:56 | 33.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3617 | μmol/L | 12.7825 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192692.4885 | 280321.4243 | 62.0402 | 75.7
44015 | 2021-03-17 11:56 | 33.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3113 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192686.8193 | 280310.5836 | 62.0402 | 75.7
44025 | 2021-03-17 11:57 | 33.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2675 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192683.1102 | 280292.8846 | 62.0402 | 75.7
44035 | 2021-03-17 11:57 | 34.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2608 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192673.7887 | 280284.5997 | 62.0402 | 75.7
44045 | 2021-03-17 11:57 | 34.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1952 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 192655.2674 | 280269.8767 | 62.0402 | 75.7
44055 | 2021-03-17 11:58 | 34.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1733 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 192635.0387 | 280236.6105 | 62.0402 | 75.7
44065 | 2021-03-17 11:58 | 35.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2675 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192626.0441 | 280241.8484 | 62.0402 | 75.7
44075 | 2021-03-17 11:58 | 35.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.217 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192603.4079 | 280237.6033 | 62.0402 | 75.7
44085 | 2021-03-17 11:59 | 35.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2456 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 192585.7524 | 280214.3392 | 62.0402 | 75.7
44095 | 2021-03-17 11:59 | 36.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1952 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 192591.3665 | 280203.2706 | 62.0402 | 75.7
44105 | 2021-03-17 11:59 | 36.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1952 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 192579.2095 | 280198.1098 | 62.0402 | 75.7
44115 | 2021-03-17 12:00 | 36.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.18 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.455 | 192544.0144 | 280187.3585 | 62.0402 | 75.7
44125 | 2021-03-17 12:00 | 37.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2389 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192520.3887 | 280162.6576 | 62.0402 | 75.7
44135 | 2021-03-17 12:00 | 37.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3332 | μmol/L | 12.7887 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192504.8381 | 280162.1112 | 62.0402 | 75.7
44145 | 2021-03-17 12:01 | 37.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2322 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192471.3406 | 280147.6867 | 62.0402 | 75.7
44155 | 2021-03-17 12:01 | 38.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2389 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192454.5141 | 280134.5549 | 62.0402 | 75.7
44165 | 2021-03-17 12:01 | 38.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2608 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192439.6735 | 280112.8563 | 62.0402 | 75.7
44175 | 2021-03-17 12:02 | 38.6738 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1666 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192434.8142 | 280111.2596 | 62.0402 | 75.7
44185 | 2021-03-17 12:02 | 39.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.217 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 192414.0375 | 280092.7448 | 62.0402 | 75.7
44195 | 2021-03-17 12:02 | 39.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1818 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192401.4422 | 280091.7709 | 62.0402 | 75.7
44205 | 2021-03-17 12:03 | 39.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1599 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192372.2344 | 280056.2629 | 62.0402 | 75.7
44215 | 2021-03-17 12:03 | 40.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2541 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 192355.8861 | 280071.5939 | 62.0402 | 75.7
44225 | 2021-03-17 12:03 | 40.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3265 | μmol/L | 12.7948 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.446 | 192343.3298 | 280063.5805 | 62.0402 | 75.7
44235 | 2021-03-17 12:04 | 40.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.197 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 192323.6562 | 280047.4574 | 62.0402 | 75.7
44245 | 2021-03-17 12:04 | 41.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2322 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192302.3239 | 280042.2052 | 62.0402 | 75.7
44255 | 2021-03-17 12:04 | 41.3405 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3198 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.444 | 192298.2487 | 280025.026 | 62.0402 | 75.7
44265 | 2021-03-17 12:05 | 41.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1599 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 192285.3656 | 280018.502 | 62.0402 | 75.7
44275 | 2021-03-17 12:05 | 42.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1885 | μmol/L | 12.8009 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192272.8855 | 280014.4301 | 62.0402 | 75.7
44285 | 2021-03-17 12:05 | 42.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1381 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192262.7538 | 279996.0398 | 62.0402 | 75.7
44295 | 2021-03-17 12:06 | 42.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1818 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192257.0772 | 279986.9537 | 62.0402 | 75.7
44305 | 2021-03-17 12:06 | 43.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0877 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192263.1625 | 279993.7215 | 62.0402 | 75.7
44315 | 2021-03-17 12:06 | 43.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1314 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192250.3477 | 279977.593 | 62.0402 | 75.7
44325 | 2021-03-17 12:07 | 43.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0877 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 192235.1434 | 279965.4005 | 62.0402 | 75.7
44335 | 2021-03-17 12:07 | 44.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1818 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 192219.2417 | 279947.8075 | 62.0402 | 75.7
44345 | 2021-03-17 12:07 | 44.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.197 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 192199.539 | 279940.5851 | 62.0402 | 75.7
44355 | 2021-03-17 12:08 | 44.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0525 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 192174.3279 | 279943.9542 | 62.0402 | 75.7
44365 | 2021-03-17 12:08 | 45.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1466 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 192152.9425 | 279933.8123 | 62.0402 | 75.7
44375 | 2021-03-17 12:08 | 45.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2846 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 192126.4974 | 279923.7277 | 62.0402 | 75.7
44385 | 2021-03-17 12:09 | 45.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2037 | μmol/L | 12.807 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 192110.7777 | 279919.8661 | 62.0402 | 75.7
44395 | 2021-03-17 12:09 | 46.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1904 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.443 | 192090.1292 | 279898.479 | 62.0402 | 75.7
44405 | 2021-03-17 12:09 | 46.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2846 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 192082.4926 | 279899.5407 | 62.0402 | 75.7
44415 | 2021-03-17 12:10 | 46.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2123 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 192067.3223 | 279885.8429 | 62.0402 | 75.7
44425 | 2021-03-17 12:10 | 47.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2846 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 192071.0407 | 279881.4378 | 62.0402 | 75.7
44435 | 2021-03-17 12:10 | 47.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2123 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 192049.8149 | 279868.8415 | 62.0402 | 75.7
44445 | 2021-03-17 12:11 | 47.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2341 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 192045.1267 | 279860.418 | 62.0402 | 75.7
44455 | 2021-03-17 12:11 | 48.0071 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2123 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 192032.2423 | 279860.2195 | 62.0402 | 75.7
44465 | 2021-03-17 12:11 | 48.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1618 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 192019.1868 | 279835.2847 | 62.0402 | 75.7
44475 | 2021-03-17 12:12 | 48.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2056 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.44 | 192013.0602 | 279835.7444 | 62.0402 | 75.7
44485 | 2021-03-17 12:12 | 49.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1904 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.443 | 191996.1481 | 279829.9747 | 62.0402 | 75.7
44495 | 2021-03-17 12:12 | 49.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2123 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 191982.7344 | 279811.3138 | 62.0402 | 75.7
44505 | 2021-03-17 12:13 | 49.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1904 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.443 | 191988.8906 | 279817.9708 | 62.0402 | 75.7
44515 | 2021-03-17 12:13 | 50.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1837 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191987.3424 | 279805.4695 | 62.0402 | 75.7
44525 | 2021-03-17 12:13 | 50.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1837 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191985.0864 | 279797.3062 | 62.0402 | 75.7
44535 | 2021-03-17 12:14 | 50.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1114 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.442 | 191983.4918 | 279799.0851 | 62.0402 | 75.7
44545 | 2021-03-17 12:14 | 51.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1837 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191971.5556 | 279794.6477 | 62.0402 | 75.7
44555 | 2021-03-17 12:14 | 51.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0896 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.443 | 191952.2492 | 279773.5878 | 62.0402 | 75.7
44565 | 2021-03-17 12:15 | 51.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.14 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.443 | 191941.5911 | 279767.4695 | 62.0402 | 75.7
44575 | 2021-03-17 12:15 | 52.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1837 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191930.7186 | 279751.8986 | 62.0402 | 75.7
44585 | 2021-03-17 12:15 | 52.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1333 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191925.8071 | 279765.1816 | 62.0402 | 75.7
44595 | 2021-03-17 12:16 | 52.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1181 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.444 | 191904.5792 | 279733.549 | 62.0402 | 75.7
44605 | 2021-03-17 12:16 | 53.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1333 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.441 | 191914.5625 | 279738.3994 | 62.0402 | 75.7
44615 | 2021-03-17 12:16 | 53.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0743 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.446 | 191919.7358 | 279735.002 | 62.0402 | 75.7
44625 | 2021-03-17 12:17 | 53.6737 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0306 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 191927.5105 | 279723.9233 | 62.0402 | 75.7
44635 | 2021-03-17 12:17 | 54.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9365 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 191936.34 | 279703.9457 | 62.0402 | 75.7
44645 | 2021-03-17 12:17 | 54.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.965 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 191934.2071 | 279715.8134 | 62.0402 | 75.7
44655 | 2021-03-17 12:18 | 54.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0021 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 191937.4806 | 279703.0885 | 62.0402 | 75.7
44665 | 2021-03-17 12:18 | 55.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9147 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 191939.0368 | 279693.7056 | 62.0402 | 75.7
44675 | 2021-03-17 12:18 | 55.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8862 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 191949.9129 | 279687.2415 | 62.0402 | 75.7
44685 | 2021-03-17 12:19 | 55.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7266 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.455 | 191946.9325 | 279680.7224 | 62.0402 | 75.7
44695 | 2021-03-17 12:19 | 56.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8491 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.454 | 191943.8942 | 279666.6698 | 62.0402 | 75.7
44705 | 2021-03-17 12:19 | 56.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8206 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 191941.0284 | 279666.5051 | 62.0402 | 75.7
44715 | 2021-03-17 12:20 | 56.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6829 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.457 | 191945.4309 | 279655.7499 | 62.0402 | 75.7
44725 | 2021-03-17 12:20 | 57.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6174 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.46 | 191934.4139 | 279649.1851 | 62.0402 | 75.7
44735 | 2021-03-17 12:20 | 57.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7551 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.456 | 191940.4728 | 279638.1805 | 62.0402 | 75.7
44745 | 2021-03-17 12:21 | 57.6737 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7703 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.453 | 191911.8357 | 279620.496 | 62.0402 | 75.7
44755 | 2021-03-17 12:21 | 58.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7769 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.455 | 191905.9754 | 279625.986 | 62.0402 | 75.7
44765 | 2021-03-17 12:21 | 58.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7551 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.456 | 191894.2781 | 279608.0015 | 62.0402 | 75.7
44775 | 2021-03-17 12:22 | 58.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7769 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.455 | 191879.9252 | 279602.464 | 62.0402 | 75.7
44785 | 2021-03-17 12:22 | 59.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7921 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 191865.7457 | 279586.9036 | 62.0402 | 75.7
44795 | 2021-03-17 12:22 | 59.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7921 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 191845.5976 | 279572.6913 | 62.0402 | 75.7
44805 | 2021-03-17 12:23 | 59.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7921 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 191828.9829 | 279579.8711 | 62.0402 | 75.7
44815 | 2021-03-17 12:23 | 60.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.814 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 191810.6191 | 279579.6986 | 62.0402 | 75.7
44825 | 2021-03-17 12:23 | 60.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7133 | μmol/L | 12.856 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.451 | 191794.5082 | 279571.2382 | 62.0402 | 75.7
44835 | 2021-03-17 12:24 | 60.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8577 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 191786.188 | 279573.0344 | 62.0402 | 75.7
44845 | 2021-03-17 12:24 | 61.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7921 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.452 | 191768.8874 | 279554.6663 | 62.0402 | 75.7
44855 | 2021-03-17 12:24 | 61.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8577 | μmol/L | 12.8438 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 191753.8479 | 279547.8439 | 62.0402 | 75.7
44865 | 2021-03-17 12:25 | 61.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8292 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.448 | 191753.8653 | 279549.2608 | 62.0402 | 75.7
44875 | 2021-03-17 12:25 | 62.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8073 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 191741.6395 | 279538.2071 | 62.0402 | 75.7
44885 | 2021-03-17 12:25 | 62.3405 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6849 | μmol/L | 12.8621 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.45 | 191732.8131 | 279521.3577 | 62.0402 | 75.7
44895 | 2021-03-17 12:26 | 62.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8073 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 191719.978 | 279513.4798 | 62.0402 | 75.7
44905 | 2021-03-17 12:26 | 63.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7067 | μmol/L | 12.8621 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.449 | 191712.4052 | 279513.4007 | 62.0402 | 75.7
44915 | 2021-03-17 12:26 | 63.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.851 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 191701.3629 | 279503.1807 | 62.0402 | 75.7
44925 | 2021-03-17 12:27 | 63.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8729 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.446 | 191687.3902 | 279498.1587 | 62.0402 | 75.7
44935 | 2021-03-17 12:27 | 64.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8007 | μmol/L | 12.856 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.447 | 191675.6317 | 279500.0273 | 62.0402 | 75.7
44945 | 2021-03-17 12:27 | 64.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8947 | μmol/L | 12.8499 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.445 | 191629.4944 | 279487.4904 | 62.0402 | 75.7