## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43018 | 2021-03-17 11:23 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6079 | μmol/L | 12.7217 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148503.9021 | 306113.34 | 59.9307 | 38.1
43027 | 2021-03-17 11:23 | 0.33638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6015 | μmol/L | 12.7278 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 148483.5293 | 306088.6212 | 59.9307 | 38.1
43036 | 2021-03-17 11:24 | 0.66919 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6079 | μmol/L | 12.7217 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148443.9029 | 306069.4176 | 59.9307 | 38.1
43043 | 2021-03-17 11:24 | 1.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6964 | μmol/L | 12.7217 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 148389.7004 | 306035.788 | 59.9307 | 38.1
43057 | 2021-03-17 11:24 | 1.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6079 | μmol/L | 12.7217 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148365.1714 | 305995.7077 | 59.9307 | 38.1
43066 | 2021-03-17 11:25 | 1.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5572 | μmol/L | 12.7278 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148342.447 | 305977.8475 | 59.9307 | 38.1
43076 | 2021-03-17 11:25 | 2.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5066 | μmol/L | 12.7339 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148306.3346 | 305930.1432 | 59.9307 | 38.1
43087 | 2021-03-17 11:25 | 2.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6236 | μmol/L | 12.7278 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 148279.2828 | 305913.592 | 59.9307 | 38.1
43096 | 2021-03-17 11:26 | 2.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5793 | μmol/L | 12.7278 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 148247.7123 | 305866.0521 | 59.9307 | 38.1
43106 | 2021-03-17 11:26 | 3.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5287 | μmol/L | 12.7339 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 148220.874 | 305830.3131 | 59.9307 | 38.1
43116 | 2021-03-17 11:26 | 3.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4845 | μmol/L | 12.7339 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 148195.9796 | 305802.0906 | 59.9307 | 38.1
43126 | 2021-03-17 11:27 | 3.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5066 | μmol/L | 12.7339 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148166.2054 | 305781.1241 | 59.9307 | 38.1
43136 | 2021-03-17 11:27 | 4.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5002 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 148149.8506 | 305750.1012 | 59.9307 | 38.1
43146 | 2021-03-17 11:27 | 4.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5002 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 148113.1342 | 305712.4384 | 59.9307 | 38.1
43156 | 2021-03-17 11:28 | 4.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4781 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 148095.5137 | 305697.1586 | 59.9307 | 38.1
43166 | 2021-03-17 11:28 | 5.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5223 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 148069.6808 | 305664.8426 | 59.9307 | 38.1
43177 | 2021-03-17 11:28 | 5.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4559 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148044.9532 | 305629.4792 | 59.9307 | 38.1
43187 | 2021-03-17 11:29 | 5.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5066 | μmol/L | 12.7339 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 148018.5471 | 305595.73 | 59.9307 | 38.1
43196 | 2021-03-17 11:29 | 6.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4274 | μmol/L | 12.7461 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147992.6212 | 305572.1645 | 59.9307 | 38.1
43207 | 2021-03-17 11:29 | 6.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4274 | μmol/L | 12.7461 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147966.6586 | 305540.8754 | 59.9307 | 38.1
43217 | 2021-03-17 11:30 | 6.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4938 | μmol/L | 12.7461 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147948.3504 | 305523.6414 | 59.9307 | 38.1
43226 | 2021-03-17 11:30 | 7.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.421 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147923.1627 | 305500.9678 | 59.9307 | 38.1
43237 | 2021-03-17 11:30 | 7.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4431 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147899.9679 | 305466.148 | 59.9307 | 38.1
43247 | 2021-03-17 11:31 | 7.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3768 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147875.4262 | 305442.966 | 59.9307 | 38.1
43256 | 2021-03-17 11:31 | 8.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5223 | μmol/L | 12.74 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147854.3542 | 305395.5334 | 59.9307 | 38.1
43266 | 2021-03-17 11:31 | 8.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.5159 | μmol/L | 12.7461 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.3 | 147834.4744 | 305380.3412 | 59.9307 | 38.1
43276 | 2021-03-17 11:32 | 8.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3989 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 147816.4129 | 305360.1714 | 59.9307 | 38.1
43287 | 2021-03-17 11:32 | 9.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3704 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147796.3358 | 305331.0211 | 59.9307 | 38.1
43297 | 2021-03-17 11:32 | 9.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3768 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147772.2171 | 305305.87 | 59.9307 | 38.1
43307 | 2021-03-17 11:33 | 9.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3925 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147760.4782 | 305284.4478 | 59.9307 | 38.1
43317 | 2021-03-17 11:33 | 10.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3704 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147730.1753 | 305251.0157 | 59.9307 | 38.1
43327 | 2021-03-17 11:33 | 10.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3925 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147708.3291 | 305242.9184 | 59.9307 | 38.1
43337 | 2021-03-17 11:34 | 10.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3262 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147697.9614 | 305214.3696 | 59.9307 | 38.1
43347 | 2021-03-17 11:34 | 11.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.421 | μmol/L | 12.7522 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147670.8974 | 305192.531 | 59.9307 | 38.1
43357 | 2021-03-17 11:34 | 11.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3419 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147655.2377 | 305171.0044 | 59.9307 | 38.1
43367 | 2021-03-17 11:35 | 11.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3483 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 147645.6348 | 305160.5192 | 59.9307 | 38.1
43376 | 2021-03-17 11:35 | 12.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3862 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.299 | 147612.2786 | 305121.1624 | 59.9307 | 38.1
43387 | 2021-03-17 11:35 | 12.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3925 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 147595.7547 | 305096.0115 | 59.9307 | 38.1
43396 | 2021-03-17 11:36 | 12.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3483 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 147584.5482 | 305077.1415 | 59.9307 | 38.1
43407 | 2021-03-17 11:36 | 13.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.364 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.3 | 147563.0756 | 305057.5491 | 59.9307 | 38.1
43417 | 2021-03-17 11:36 | 13.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3704 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147539.0508 | 305016.1481 | 59.9307 | 38.1
43427 | 2021-03-17 11:37 | 13.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3198 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147523.1597 | 305015.0898 | 59.9307 | 38.1
43436 | 2021-03-17 11:37 | 14.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3262 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147508.5892 | 304997.0883 | 59.9307 | 38.1
43447 | 2021-03-17 11:37 | 14.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3198 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147495.5963 | 304984.6181 | 59.9307 | 38.1
43456 | 2021-03-17 11:38 | 14.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3041 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 147477.0042 | 304951.4662 | 59.9307 | 38.1
43467 | 2021-03-17 11:38 | 15.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.3262 | μmol/L | 12.7583 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 147456.4792 | 304919.3472 | 59.9307 | 38.1
43476 | 2021-03-17 11:38 | 15.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.364 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.3 | 147439.884 | 304906.4361 | 59.9307 | 38.1
43487 | 2021-03-17 11:39 | 15.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.2693 | μmol/L | 12.7705 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 147419.2933 | 304877.3968 | 59.9307 | 38.1
43496 | 2021-03-17 11:39 | 16.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.916 | μmol/L | 12.7705 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.318 | 147492.8124 | 304847.6704 | 59.9307 | 38.1
43506 | 2021-03-17 11:39 | 16.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9224 | μmol/L | 12.7644 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.32 | 147523.916 | 304850.5799 | 59.9307 | 38.1
43517 | 2021-03-17 11:40 | 16.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8058 | μmol/L | 12.7705 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.323 | 147525.5747 | 304813.66 | 59.9307 | 38.1
43526 | 2021-03-17 11:40 | 17.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7553 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.323 | 147506.8811 | 304804.0765 | 59.9307 | 38.1
43537 | 2021-03-17 11:40 | 17.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7994 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.321 | 147477.1589 | 304776.0845 | 59.9307 | 38.1
43547 | 2021-03-17 11:41 | 17.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8592 | μmol/L | 12.7827 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.316 | 147447.4282 | 304762.4123 | 59.9307 | 38.1
43557 | 2021-03-17 11:41 | 18.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9317 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.315 | 147412.5546 | 304727.8682 | 59.9307 | 38.1
43566 | 2021-03-17 11:41 | 18.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9033 | μmol/L | 12.7827 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.314 | 147382.5448 | 304703.9851 | 59.9307 | 38.1
43577 | 2021-03-17 11:42 | 18.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9758 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.313 | 147354.3654 | 304682.7731 | 59.9307 | 38.1
43586 | 2021-03-17 11:42 | 19.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9979 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.312 | 147326.2042 | 304659.3076 | 59.9307 | 38.1
43597 | 2021-03-17 11:42 | 19.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.0357 | μmol/L | 12.7827 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 147302.5637 | 304642.9245 | 59.9307 | 38.1
43606 | 2021-03-17 11:43 | 19.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.0421 | μmol/L | 12.7766 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 147277.9695 | 304613.5465 | 59.9307 | 38.1
43616 | 2021-03-17 11:43 | 20.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9915 | μmol/L | 12.7827 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 147251.4665 | 304593.3542 | 59.9307 | 38.1
43627 | 2021-03-17 11:43 | 20.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.941 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 147237.1288 | 304579.4398 | 59.9307 | 38.1
43636 | 2021-03-17 11:44 | 20.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9631 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.309 | 147226.8315 | 304558.1793 | 59.9307 | 38.1
43647 | 2021-03-17 11:44 | 21.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9788 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 147197.5668 | 304520.0109 | 59.9307 | 38.1
43656 | 2021-03-17 11:44 | 21.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9852 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 147180.8914 | 304505.7002 | 59.9307 | 38.1
43666 | 2021-03-17 11:45 | 21.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9852 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 147169.1655 | 304480.5802 | 59.9307 | 38.1
43677 | 2021-03-17 11:45 | 22.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9631 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.309 | 147162.9881 | 304473.1546 | 59.9307 | 38.1
43687 | 2021-03-17 11:45 | 22.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.0072 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 147153.6855 | 304460.8485 | 59.9307 | 38.1
43697 | 2021-03-17 11:46 | 22.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8906 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 147132.0034 | 304434.6795 | 59.9307 | 38.1
43707 | 2021-03-17 11:46 | 23.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.919 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.311 | 147113.1877 | 304424.8743 | 59.9307 | 38.1
43717 | 2021-03-17 11:46 | 23.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.941 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 147096.149 | 304387.3032 | 59.9307 | 38.1
43727 | 2021-03-17 11:47 | 23.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9568 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 147075.2005 | 304379.8919 | 59.9307 | 38.1
43737 | 2021-03-17 11:47 | 24.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9063 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 147054.9023 | 304370.7462 | 59.9307 | 38.1
43747 | 2021-03-17 11:47 | 24.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9788 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 147044.7102 | 304343.0331 | 59.9307 | 38.1
43756 | 2021-03-17 11:48 | 24.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9852 | μmol/L | 12.7888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 147022.8055 | 304329.7492 | 59.9307 | 38.1
43766 | 2021-03-17 11:48 | 25.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9063 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 147006.9233 | 304301.8608 | 59.9307 | 38.1
43776 | 2021-03-17 11:48 | 25.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9347 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146983.3724 | 304296.7219 | 59.9307 | 38.1
43787 | 2021-03-17 11:49 | 25.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9063 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146967.5395 | 304269.8602 | 59.9307 | 38.1
43796 | 2021-03-17 11:49 | 26.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9063 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146951.588 | 304251.5751 | 59.9307 | 38.1
43807 | 2021-03-17 11:49 | 26.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9347 | μmol/L | 12.7949 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146938.4591 | 304242.8418 | 59.9307 | 38.1
43816 | 2021-03-17 11:50 | 26.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9504 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146914.3054 | 304229.7731 | 59.9307 | 38.1
43827 | 2021-03-17 11:50 | 27.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9441 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146910.8547 | 304202.5288 | 59.9307 | 38.1
43837 | 2021-03-17 11:50 | 27.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9725 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146881.5133 | 304182.4101 | 59.9307 | 38.1
43846 | 2021-03-17 11:51 | 27.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9725 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146865.9078 | 304155.8385 | 59.9307 | 38.1
43856 | 2021-03-17 11:51 | 28.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9945 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146852.7016 | 304163.8967 | 59.9307 | 38.1
43866 | 2021-03-17 11:51 | 28.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8495 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146838.6827 | 304136.5914 | 59.9307 | 38.1
43877 | 2021-03-17 11:52 | 28.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9661 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 146827.2614 | 304124.5878 | 59.9307 | 38.1
43887 | 2021-03-17 11:52 | 29.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9441 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146799.9263 | 304101.201 | 59.9307 | 38.1
43896 | 2021-03-17 11:52 | 29.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8779 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146793.4386 | 304093.0782 | 59.9307 | 38.1
43907 | 2021-03-17 11:53 | 29.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.0387 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146781.2595 | 304088.3065 | 59.9307 | 38.1
43917 | 2021-03-17 11:53 | 30.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9283 | μmol/L | 12.801 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146767.8353 | 304061.5255 | 59.9307 | 38.1
43926 | 2021-03-17 11:53 | 30.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9441 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146760.348 | 304046.4562 | 59.9307 | 38.1
43937 | 2021-03-17 11:54 | 30.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8999 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146734.6194 | 304013.4802 | 59.9307 | 38.1
43947 | 2021-03-17 11:54 | 31.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8495 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146726.4694 | 304021.9927 | 59.9307 | 38.1
43957 | 2021-03-17 11:54 | 31.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9441 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146722.737 | 303993.6415 | 59.9307 | 38.1
43967 | 2021-03-17 11:55 | 31.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8715 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146704.8039 | 303991.738 | 59.9307 | 38.1
43976 | 2021-03-17 11:55 | 32.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.922 | μmol/L | 12.8071 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146690.3073 | 303977.0879 | 59.9307 | 38.1
43986 | 2021-03-17 11:55 | 32.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8652 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.302 | 146673.6692 | 303957.2893 | 59.9307 | 38.1
43997 | 2021-03-17 11:56 | 32.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6824 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146673.9737 | 303949.4227 | 59.9307 | 38.1
44006 | 2021-03-17 11:56 | 33.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8495 | μmol/L | 12.8132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146656.2807 | 303912.7189 | 59.9307 | 38.1
44016 | 2021-03-17 11:56 | 33.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8211 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146656.4308 | 303911.952 | 59.9307 | 38.1
44026 | 2021-03-17 11:57 | 33.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.777 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146640.2252 | 303906.5866 | 59.9307 | 38.1
44037 | 2021-03-17 11:57 | 34.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8211 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146627.666 | 303884.2282 | 59.9307 | 38.1
44046 | 2021-03-17 11:57 | 34.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.777 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146615.4255 | 303857.9547 | 59.9307 | 38.1
44056 | 2021-03-17 11:58 | 34.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7706 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146613.7393 | 303870.5672 | 59.9307 | 38.1
44067 | 2021-03-17 11:58 | 35.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.777 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146600.6404 | 303854.5512 | 59.9307 | 38.1
44077 | 2021-03-17 11:58 | 35.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7329 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146583.9873 | 303836.7841 | 59.9307 | 38.1
44086 | 2021-03-17 11:59 | 35.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6824 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146576.371 | 303822.8179 | 59.9307 | 38.1
44097 | 2021-03-17 11:59 | 36.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7549 | μmol/L | 12.8193 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146568.2827 | 303803.0362 | 59.9307 | 38.1
44106 | 2021-03-17 11:59 | 36.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7045 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146557.2805 | 303803.4837 | 59.9307 | 38.1
44116 | 2021-03-17 12:00 | 36.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8368 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146540.9472 | 303781.8601 | 59.9307 | 38.1
44126 | 2021-03-17 12:00 | 37.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7927 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146529.1334 | 303772.812 | 59.9307 | 38.1
44136 | 2021-03-17 12:00 | 37.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6761 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146520.6576 | 303756.2155 | 59.9307 | 38.1
44147 | 2021-03-17 12:01 | 37.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7706 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146494.7166 | 303732.583 | 59.9307 | 38.1
44156 | 2021-03-17 12:01 | 38.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7706 | μmol/L | 12.8254 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146492.9817 | 303722.6867 | 59.9307 | 38.1
44167 | 2021-03-17 12:01 | 38.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6761 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146476.8536 | 303707.2069 | 59.9307 | 38.1
44177 | 2021-03-17 12:02 | 38.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.588 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.31 | 146471.3306 | 303708.2995 | 59.9307 | 38.1
44187 | 2021-03-17 12:02 | 39.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6982 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146459.3236 | 303680.534 | 59.9307 | 38.1
44197 | 2021-03-17 12:02 | 39.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6761 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146447.2251 | 303683.2634 | 59.9307 | 38.1
44206 | 2021-03-17 12:03 | 39.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6761 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146439.0094 | 303673.5966 | 59.9307 | 38.1
44216 | 2021-03-17 12:03 | 40.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7864 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146433.6418 | 303661.2856 | 59.9307 | 38.1
44226 | 2021-03-17 12:03 | 40.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.7202 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146420.5703 | 303645.9559 | 59.9307 | 38.1
44236 | 2021-03-17 12:04 | 40.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6943 | μmol/L | 12.8315 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146407.8367 | 303628.9386 | 59.9307 | 38.1
44247 | 2021-03-17 12:04 | 41.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.8084 | μmol/L | 12.8315 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146405.8181 | 303629.6392 | 59.9307 | 38.1
44256 | 2021-03-17 12:04 | 41.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5817 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146398.9709 | 303620.0747 | 59.9307 | 38.1
44267 | 2021-03-17 12:05 | 41.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6698 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146392.8093 | 303611.4108 | 59.9307 | 38.1
44276 | 2021-03-17 12:05 | 42.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5998 | μmol/L | 12.8376 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146381.8634 | 303607.1671 | 59.9307 | 38.1
44287 | 2021-03-17 12:05 | 42.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6919 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146371.7083 | 303594.568 | 59.9307 | 38.1
44297 | 2021-03-17 12:06 | 42.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5533 | μmol/L | 12.8437 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146352.2805 | 303588.0608 | 59.9307 | 38.1
44306 | 2021-03-17 12:06 | 43.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5974 | μmol/L | 12.8437 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146354.9654 | 303573.7221 | 59.9307 | 38.1
44316 | 2021-03-17 12:06 | 43.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6698 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146355.7558 | 303567.6776 | 59.9307 | 38.1
44327 | 2021-03-17 12:07 | 43.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6478 | μmol/L | 12.8376 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146342.2688 | 303548.5056 | 59.9307 | 38.1
44336 | 2021-03-17 12:07 | 44.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5053 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146338.6745 | 303543.124 | 59.9307 | 38.1
44347 | 2021-03-17 12:07 | 44.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5998 | μmol/L | 12.8376 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146323.7415 | 303530.161 | 59.9307 | 38.1
44356 | 2021-03-17 12:08 | 44.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5313 | μmol/L | 12.8437 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146327.8806 | 303533.2444 | 59.9307 | 38.1
44367 | 2021-03-17 12:08 | 45.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6155 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146311.6144 | 303507.9987 | 59.9307 | 38.1
44377 | 2021-03-17 12:08 | 45.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.499 | μmol/L | 12.8497 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146297.3597 | 303491.9117 | 59.9307 | 38.1
44386 | 2021-03-17 12:09 | 45.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5494 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146302.6709 | 303490.2516 | 59.9307 | 38.1
44396 | 2021-03-17 12:09 | 46.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5974 | μmol/L | 12.8437 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146289.7773 | 303467.6424 | 59.9307 | 38.1
44406 | 2021-03-17 12:09 | 46.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6376 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146279.6158 | 303471.8994 | 59.9307 | 38.1
44417 | 2021-03-17 12:10 | 46.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.6439 | μmol/L | 12.8376 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146275.2291 | 303459.3054 | 59.9307 | 38.1
44427 | 2021-03-17 12:10 | 47.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5313 | μmol/L | 12.8437 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146267.0432 | 303454.5061 | 59.9307 | 38.1
44437 | 2021-03-17 12:10 | 47.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5494 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146255.8928 | 303441.6104 | 59.9307 | 38.1
44447 | 2021-03-17 12:11 | 47.6699 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5872 | μmol/L | 12.8497 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146243.2914 | 303415.5214 | 59.9307 | 38.1
44456 | 2021-03-17 12:11 | 48.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.499 | μmol/L | 12.8497 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146248.6556 | 303410.857 | 59.9307 | 38.1
44467 | 2021-03-17 12:11 | 48.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4644 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146231.9809 | 303408.6567 | 59.9307 | 38.1
44477 | 2021-03-17 12:12 | 48.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5714 | μmol/L | 12.8437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146225.4915 | 303389.0171 | 59.9307 | 38.1
44486 | 2021-03-17 12:12 | 49.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4487 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146221.6116 | 303388.9026 | 59.9307 | 38.1
44497 | 2021-03-17 12:12 | 49.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4927 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146213.8849 | 303385.9873 | 59.9307 | 38.1
44507 | 2021-03-17 12:13 | 49.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4487 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146218.4891 | 303381.3953 | 59.9307 | 38.1
44516 | 2021-03-17 12:13 | 50.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4927 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.305 | 146213.6171 | 303381.4444 | 59.9307 | 38.1
44527 | 2021-03-17 12:13 | 50.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4487 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146192.7195 | 303367.9757 | 59.9307 | 38.1
44536 | 2021-03-17 12:14 | 50.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.499 | μmol/L | 12.8497 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146189.6749 | 303347.2825 | 59.9307 | 38.1
44546 | 2021-03-17 12:14 | 51.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4487 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146186.2918 | 303337.4691 | 59.9307 | 38.1
44556 | 2021-03-17 12:14 | 51.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4707 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146191.1342 | 303341.2712 | 59.9307 | 38.1
44566 | 2021-03-17 12:15 | 51.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5211 | μmol/L | 12.8497 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146185.1271 | 303326.5504 | 59.9307 | 38.1
44576 | 2021-03-17 12:15 | 52.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4707 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146180.1703 | 303322.2424 | 59.9307 | 38.1
44586 | 2021-03-17 12:15 | 52.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3983 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146171.8398 | 303324.0258 | 59.9307 | 38.1
44597 | 2021-03-17 12:16 | 52.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3763 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146161.7424 | 303307.8719 | 59.9307 | 38.1
44607 | 2021-03-17 12:16 | 53.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4487 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146157.5542 | 303296.6766 | 59.9307 | 38.1
44616 | 2021-03-17 12:16 | 53.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4046 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146153.2233 | 303292.1507 | 59.9307 | 38.1
44626 | 2021-03-17 12:17 | 53.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4046 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146140.401 | 303271.9045 | 59.9307 | 38.1
44637 | 2021-03-17 12:17 | 54.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4204 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146127.6656 | 303266.3678 | 59.9307 | 38.1
44647 | 2021-03-17 12:17 | 54.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4707 | μmol/L | 12.8558 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146134.7568 | 303262.0432 | 59.9307 | 38.1
44657 | 2021-03-17 12:18 | 54.6699 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3543 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146131.6034 | 303253.9247 | 59.9307 | 38.1
44666 | 2021-03-17 12:18 | 55.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3983 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146131.7101 | 303260.2877 | 59.9307 | 38.1
44677 | 2021-03-17 12:18 | 55.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3543 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146126.2851 | 303236.3358 | 59.9307 | 38.1
44687 | 2021-03-17 12:19 | 55.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3103 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.311 | 146124.9647 | 303234.6653 | 59.9307 | 38.1
44697 | 2021-03-17 12:19 | 56.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3543 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146116.4567 | 303226.5722 | 59.9307 | 38.1
44707 | 2021-03-17 12:19 | 56.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3763 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146113.0595 | 303205.8017 | 59.9307 | 38.1
44717 | 2021-03-17 12:20 | 56.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3103 | μmol/L | 12.8619 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.311 | 146108.7177 | 303214.5413 | 59.9307 | 38.1
44727 | 2021-03-17 12:20 | 57.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.304 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.309 | 146113.9484 | 303206.2155 | 59.9307 | 38.1
44737 | 2021-03-17 12:20 | 57.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1657 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.313 | 146118.5924 | 303185.4223 | 59.9307 | 38.1
44746 | 2021-03-17 12:21 | 57.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.238 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.312 | 146118.9889 | 303192.4695 | 59.9307 | 38.1
44756 | 2021-03-17 12:21 | 58.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.194 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.314 | 146120.7724 | 303185.6619 | 59.9307 | 38.1
44767 | 2021-03-17 12:21 | 58.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.15 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146109.1148 | 303155.6133 | 59.9307 | 38.1
44776 | 2021-03-17 12:22 | 58.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.216 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.313 | 146115.1692 | 303158.5089 | 59.9307 | 38.1
44787 | 2021-03-17 12:22 | 59.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1657 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.313 | 146111.0538 | 303145.9804 | 59.9307 | 38.1
44796 | 2021-03-17 12:22 | 59.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0997 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146120.6564 | 303145.9152 | 59.9307 | 38.1
44807 | 2021-03-17 12:23 | 59.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.106 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 146108.6124 | 303128.428 | 59.9307 | 38.1
44816 | 2021-03-17 12:23 | 60.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0777 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 146107.0203 | 303128.6347 | 59.9307 | 38.1
44826 | 2021-03-17 12:23 | 60.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0777 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 146099.7825 | 303128.7049 | 59.9307 | 38.1
44837 | 2021-03-17 12:24 | 60.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.15 | μmol/L | 12.868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146087.9803 | 303119.4106 | 59.9307 | 38.1
44846 | 2021-03-17 12:24 | 61.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0997 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146077.6892 | 303101.5172 | 59.9307 | 38.1
44857 | 2021-03-17 12:24 | 61.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1217 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.315 | 146067.1982 | 303095.8257 | 59.9307 | 38.1
44867 | 2021-03-17 12:25 | 61.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0714 | μmol/L | 12.8802 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.315 | 146058.4634 | 303089.8111 | 59.9307 | 38.1
44877 | 2021-03-17 12:25 | 62.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0777 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 146041.7278 | 303080.9033 | 59.9307 | 38.1
44887 | 2021-03-17 12:25 | 62.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0777 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 146046.5792 | 303079.3539 | 59.9307 | 38.1
44897 | 2021-03-17 12:26 | 62.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1437 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.314 | 146029.9393 | 303061.8513 | 59.9307 | 38.1
44906 | 2021-03-17 12:26 | 63.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0714 | μmol/L | 12.8802 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.315 | 146026.1551 | 303059.7778 | 59.9307 | 38.1
44917 | 2021-03-17 12:26 | 63.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0714 | μmol/L | 12.8802 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.315 | 146021.4763 | 303060.25 | 59.9307 | 38.1
44927 | 2021-03-17 12:27 | 63.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1217 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.315 | 146016.457 | 303043.7251 | 59.9307 | 38.1
44936 | 2021-03-17 12:27 | 64.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0997 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146005.2141 | 303034.5316 | 59.9307 | 38.1
44947 | 2021-03-17 12:27 | 64.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1657 | μmol/L | 12.8741 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.313 | 146001.4342 | 303027.0271 | 59.9307 | 38.1