## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43020 | 2021-03-17 11:23 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5738 | μmol/L | 12.6659 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 108814.5779 | 304045.5604 | 28.7 | 67.6
43030 | 2021-03-17 11:24 | 0.34058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5012 | μmol/L | 12.672 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.371 | 108790.4017 | 304056.0467 | 28.7 | 67.6
43040 | 2021-03-17 11:24 | 0.67349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5517 | μmol/L | 12.6659 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.371 | 108798.0009 | 304034.2204 | 28.7 | 67.6
43050 | 2021-03-17 11:24 | 1.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5169 | μmol/L | 12.6781 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 108802.5298 | 304004.9218 | 28.7 | 67.6
43060 | 2021-03-17 11:25 | 1.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5169 | μmol/L | 12.6781 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 108773.8582 | 303964.7234 | 28.7 | 67.6
43070 | 2021-03-17 11:25 | 1.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5169 | μmol/L | 12.6781 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 108742.1883 | 303942.0474 | 28.7 | 67.6
43080 | 2021-03-17 11:25 | 2.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4728 | μmol/L | 12.6781 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 108727.1784 | 303915.205 | 28.7 | 67.6
43090 | 2021-03-17 11:26 | 2.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4664 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 108703.7724 | 303892.5279 | 28.7 | 67.6
43100 | 2021-03-17 11:26 | 2.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5106 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 108677.5134 | 303847.0471 | 28.7 | 67.6
43110 | 2021-03-17 11:26 | 3.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.438 | μmol/L | 12.6902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 108660.3749 | 303806.1327 | 28.7 | 67.6
43120 | 2021-03-17 11:27 | 3.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5548 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 108636.2605 | 303777.5025 | 28.7 | 67.6
43130 | 2021-03-17 11:27 | 3.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.621 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.361 | 108607 | 303746.5775 | 28.7 | 67.6
43140 | 2021-03-17 11:27 | 4.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4601 | μmol/L | 12.6902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 108586.2725 | 303712.5073 | 28.7 | 67.6
43150 | 2021-03-17 11:28 | 4.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5327 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 108560.7513 | 303702.474 | 28.7 | 67.6
43160 | 2021-03-17 11:28 | 4.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5548 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 108539.5908 | 303656.7796 | 28.7 | 67.6
43170 | 2021-03-17 11:28 | 5.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5769 | μmol/L | 12.6842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 108514.7275 | 303634.4041 | 28.7 | 67.6
43180 | 2021-03-17 11:29 | 5.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5705 | μmol/L | 12.6902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.361 | 108505.4234 | 303625.4786 | 28.7 | 67.6
43190 | 2021-03-17 11:29 | 5.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5484 | μmol/L | 12.6902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.362 | 108475.621 | 303583.5402 | 28.7 | 67.6
43200 | 2021-03-17 11:29 | 6.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4759 | μmol/L | 12.6963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 108452.6246 | 303544.5599 | 28.7 | 67.6
43210 | 2021-03-17 11:30 | 6.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4759 | μmol/L | 12.6963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 108427.3255 | 303506.0774 | 28.7 | 67.6
43220 | 2021-03-17 11:30 | 6.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4538 | μmol/L | 12.6963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 108415.3634 | 303484.3635 | 28.7 | 67.6
43230 | 2021-03-17 11:30 | 7.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5264 | μmol/L | 12.6902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 108394.8516 | 303464.2964 | 28.7 | 67.6
43240 | 2021-03-17 11:31 | 7.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4317 | μmol/L | 12.6963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 108386.4444 | 303429.444 | 28.7 | 67.6
43250 | 2021-03-17 11:31 | 7.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5382 | μmol/L | 12.6963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108359.3826 | 303391.4329 | 28.7 | 67.6
43260 | 2021-03-17 11:31 | 8.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.52 | μmol/L | 12.6963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.361 | 108338.9727 | 303368.2556 | 28.7 | 67.6
43270 | 2021-03-17 11:32 | 8.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4278 | μmol/L | 12.6963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.365 | 108318.3587 | 303337.7787 | 28.7 | 67.6
43280 | 2021-03-17 11:32 | 8.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4941 | μmol/L | 12.6963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.362 | 108303.9337 | 303309.814 | 28.7 | 67.6
43290 | 2021-03-17 11:32 | 9.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4878 | μmol/L | 12.7024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108290.7206 | 303302.6523 | 28.7 | 67.6
43300 | 2021-03-17 11:33 | 9.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4941 | μmol/L | 12.6963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.362 | 108274.7567 | 303268.3308 | 28.7 | 67.6
43310 | 2021-03-17 11:33 | 9.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4878 | μmol/L | 12.7024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108257.6639 | 303246.182 | 28.7 | 67.6
43320 | 2021-03-17 11:33 | 10.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4594 | μmol/L | 12.7084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 108240.1537 | 303220.7235 | 28.7 | 67.6
43330 | 2021-03-17 11:34 | 10.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3868 | μmol/L | 12.7145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108223.9743 | 303193.8784 | 28.7 | 67.6
43340 | 2021-03-17 11:34 | 10.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3868 | μmol/L | 12.7145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108204.6296 | 303169.3243 | 28.7 | 67.6
43350 | 2021-03-17 11:34 | 11.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5098 | μmol/L | 12.7024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 108179.6508 | 303141.0335 | 28.7 | 67.6
43360 | 2021-03-17 11:35 | 11.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4152 | μmol/L | 12.7084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.361 | 108172.5599 | 303113.5059 | 28.7 | 67.6
43370 | 2021-03-17 11:35 | 11.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4594 | μmol/L | 12.7084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 108157.591 | 303079.951 | 28.7 | 67.6
43380 | 2021-03-17 11:35 | 12.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4531 | μmol/L | 12.7145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 108142.4793 | 303069.6574 | 28.7 | 67.6
43390 | 2021-03-17 11:36 | 12.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5035 | μmol/L | 12.7084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 108129.5691 | 303032.4028 | 28.7 | 67.6
43400 | 2021-03-17 11:36 | 12.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4247 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.356 | 108118.7698 | 303016.2545 | 28.7 | 67.6
43410 | 2021-03-17 11:36 | 13.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4531 | μmol/L | 12.7145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 108100.8003 | 302994.165 | 28.7 | 67.6
43420 | 2021-03-17 11:37 | 13.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4026 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 108082.3026 | 302962.8064 | 28.7 | 67.6
43430 | 2021-03-17 11:37 | 13.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.308 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 108065.5422 | 302940.2337 | 28.7 | 67.6
43440 | 2021-03-17 11:37 | 14.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4688 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 108047.5836 | 302913.8004 | 28.7 | 67.6
43450 | 2021-03-17 11:38 | 14.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4468 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 108040.5866 | 302912.56 | 28.7 | 67.6
43460 | 2021-03-17 11:38 | 14.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3868 | μmol/L | 12.7145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.36 | 108025.7917 | 302873.1331 | 28.7 | 67.6
43470 | 2021-03-17 11:38 | 15.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.308 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 108008.2708 | 302850.6905 | 28.7 | 67.6
43480 | 2021-03-17 11:39 | 15.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4247 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107994.4034 | 302819.2527 | 28.7 | 67.6
43490 | 2021-03-17 11:39 | 15.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4026 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107981.8837 | 302797.8182 | 28.7 | 67.6
43500 | 2021-03-17 11:39 | 16.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.308 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107967.3803 | 302779.4705 | 28.7 | 67.6
43510 | 2021-03-17 11:40 | 16.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4026 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107954.3252 | 302753.3675 | 28.7 | 67.6
43520 | 2021-03-17 11:40 | 16.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4688 | μmol/L | 12.7206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107938.0573 | 302731.5261 | 28.7 | 67.6
43530 | 2021-03-17 11:40 | 17.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3963 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107926.3583 | 302704.2637 | 28.7 | 67.6
43540 | 2021-03-17 11:41 | 17.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3963 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107910.5042 | 302666.7694 | 28.7 | 67.6
43550 | 2021-03-17 11:41 | 17.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3679 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107901.0077 | 302648.5128 | 28.7 | 67.6
43560 | 2021-03-17 11:41 | 18.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3679 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107885.9676 | 302634.4232 | 28.7 | 67.6
43570 | 2021-03-17 11:42 | 18.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4184 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107870.572 | 302608.0422 | 28.7 | 67.6
43580 | 2021-03-17 11:42 | 18.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4121 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107867.5274 | 302588.8017 | 28.7 | 67.6
43590 | 2021-03-17 11:42 | 19.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3679 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107850.2851 | 302567.9206 | 28.7 | 67.6
43600 | 2021-03-17 11:43 | 19.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3963 | μmol/L | 12.7267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107832.4871 | 302525.7648 | 28.7 | 67.6
43610 | 2021-03-17 11:43 | 19.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3459 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107817.103 | 302532.3273 | 28.7 | 67.6
43620 | 2021-03-17 11:43 | 20.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3679 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107803.4225 | 302496.0965 | 28.7 | 67.6
43630 | 2021-03-17 11:44 | 20.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.39 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107791.8695 | 302482.3371 | 28.7 | 67.6
43640 | 2021-03-17 11:44 | 20.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4563 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107784.7759 | 302459.2524 | 28.7 | 67.6
43650 | 2021-03-17 11:44 | 21.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.39 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107763.24 | 302432.4203 | 28.7 | 67.6
43660 | 2021-03-17 11:45 | 21.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4342 | μmol/L | 12.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107741.5473 | 302405.999 | 28.7 | 67.6
43670 | 2021-03-17 11:45 | 21.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3175 | μmol/L | 12.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107738.498 | 302389.4953 | 28.7 | 67.6
43680 | 2021-03-17 11:45 | 22.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3837 | μmol/L | 12.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107721.2407 | 302359.1251 | 28.7 | 67.6
43690 | 2021-03-17 11:46 | 22.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3837 | μmol/L | 12.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107710.6978 | 302340.9223 | 28.7 | 67.6
43700 | 2021-03-17 11:46 | 22.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4058 | μmol/L | 12.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107695.3547 | 302312.2861 | 28.7 | 67.6
43710 | 2021-03-17 11:46 | 23.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2892 | μmol/L | 12.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107676.7332 | 302286.8003 | 28.7 | 67.6
43720 | 2021-03-17 11:47 | 23.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2892 | μmol/L | 12.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107664.4308 | 302285.1174 | 28.7 | 67.6
43730 | 2021-03-17 11:47 | 23.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3995 | μmol/L | 12.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107659.8931 | 302257.7823 | 28.7 | 67.6
43740 | 2021-03-17 11:47 | 24.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2671 | μmol/L | 12.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107637.1398 | 302241.5611 | 28.7 | 67.6
43750 | 2021-03-17 11:48 | 24.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3775 | μmol/L | 12.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107635.0046 | 302231.6412 | 28.7 | 67.6
43760 | 2021-03-17 11:48 | 24.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1884 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107609.4012 | 302198.2412 | 28.7 | 67.6
43770 | 2021-03-17 11:48 | 25.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2829 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107604.8222 | 302179.5007 | 28.7 | 67.6
43780 | 2021-03-17 11:49 | 25.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3491 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107595.3695 | 302160.1177 | 28.7 | 67.6
43790 | 2021-03-17 11:49 | 25.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2104 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107578.7797 | 302156.5586 | 28.7 | 67.6
43800 | 2021-03-17 11:49 | 26.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.305 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107571.0334 | 302133.7077 | 28.7 | 67.6
43810 | 2021-03-17 11:50 | 26.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.305 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107553.0618 | 302095.1111 | 28.7 | 67.6
43820 | 2021-03-17 11:50 | 26.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2766 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107540.1221 | 302084.0434 | 28.7 | 67.6
43830 | 2021-03-17 11:50 | 27.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3712 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107527.4967 | 302052.4336 | 28.7 | 67.6
43840 | 2021-03-17 11:51 | 27.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3428 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107524.3586 | 302050.909 | 28.7 | 67.6
43850 | 2021-03-17 11:51 | 27.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4153 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107518.4455 | 302052.1514 | 28.7 | 67.6
43860 | 2021-03-17 11:51 | 28.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3649 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107498.6121 | 302002.1781 | 28.7 | 67.6
43870 | 2021-03-17 11:52 | 28.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3208 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107492.8592 | 301998.616 | 28.7 | 67.6
43880 | 2021-03-17 11:52 | 28.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2829 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107473.1602 | 301978.5422 | 28.7 | 67.6
43890 | 2021-03-17 11:52 | 29.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1821 | μmol/L | 12.7631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107462.4286 | 301958.4114 | 28.7 | 67.6
43900 | 2021-03-17 11:53 | 29.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3428 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107451.0333 | 301933.0416 | 28.7 | 67.6
43910 | 2021-03-17 11:53 | 29.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3428 | μmol/L | 12.757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107438.0291 | 301912.6377 | 28.7 | 67.6
43920 | 2021-03-17 11:53 | 30.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.327 | μmol/L | 12.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107431.3645 | 301900.2631 | 28.7 | 67.6
43930 | 2021-03-17 11:54 | 30.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2704 | μmol/L | 12.7631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107425.9622 | 301897.5398 | 28.7 | 67.6
43940 | 2021-03-17 11:54 | 30.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.22 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107417.4258 | 301878.3832 | 28.7 | 67.6
43950 | 2021-03-17 11:54 | 31.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.22 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107406.3352 | 301852.1375 | 28.7 | 67.6
43960 | 2021-03-17 11:55 | 31.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2421 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107389.8131 | 301834.1812 | 28.7 | 67.6
43970 | 2021-03-17 11:55 | 31.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3145 | μmol/L | 12.7631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107385.2167 | 301824.3793 | 28.7 | 67.6
43980 | 2021-03-17 11:55 | 32.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2262 | μmol/L | 12.7631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107377.5019 | 301804.5157 | 28.7 | 67.6
43990 | 2021-03-17 11:56 | 32.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2421 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107366.8329 | 301795.964 | 28.7 | 67.6
44000 | 2021-03-17 11:56 | 32.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0814 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107361.412 | 301781.8831 | 28.7 | 67.6
44010 | 2021-03-17 11:56 | 33.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2137 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107357.1304 | 301777.6451 | 28.7 | 67.6
44020 | 2021-03-17 11:57 | 33.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3083 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107345.53 | 301756.9425 | 28.7 | 67.6
44030 | 2021-03-17 11:57 | 33.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1696 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107333.6129 | 301743.5373 | 28.7 | 67.6
44040 | 2021-03-17 11:57 | 34.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.22 | μmol/L | 12.7692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107324.0836 | 301727.88 | 28.7 | 67.6
44050 | 2021-03-17 11:58 | 34.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1476 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107314.2818 | 301712.0512 | 28.7 | 67.6
44060 | 2021-03-17 11:58 | 34.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2358 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107312.1649 | 301712.5309 | 28.7 | 67.6
44070 | 2021-03-17 11:58 | 35.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1696 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107304.7597 | 301674.5465 | 28.7 | 67.6
44080 | 2021-03-17 11:59 | 35.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.302 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.341 | 107286.2961 | 301664.5097 | 28.7 | 67.6
44090 | 2021-03-17 11:59 | 35.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0972 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107285.3961 | 301666.7416 | 28.7 | 67.6
44100 | 2021-03-17 11:59 | 36.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0972 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107278.0005 | 301651.449 | 28.7 | 67.6
44110 | 2021-03-17 12:00 | 36.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0689 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107263.5966 | 301622.3308 | 28.7 | 67.6
44120 | 2021-03-17 12:00 | 36.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0531 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107247.9473 | 301606.1119 | 28.7 | 67.6
44130 | 2021-03-17 12:00 | 37.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0689 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107250.7969 | 301600.9318 | 28.7 | 67.6
44140 | 2021-03-17 12:01 | 37.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1917 | μmol/L | 12.7752 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107246.1774 | 301574 | 28.7 | 67.6
44150 | 2021-03-17 12:01 | 37.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0531 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107235.9894 | 301557.5028 | 28.7 | 67.6
44160 | 2021-03-17 12:01 | 38.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1854 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107224.5749 | 301560.5804 | 28.7 | 67.6
44170 | 2021-03-17 12:02 | 38.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0689 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107218.3033 | 301555.5535 | 28.7 | 67.6
44180 | 2021-03-17 12:02 | 38.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1413 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107211.6688 | 301543.541 | 28.7 | 67.6
44190 | 2021-03-17 12:02 | 39.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0689 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107207.358 | 301512.6295 | 28.7 | 67.6
44200 | 2021-03-17 12:03 | 39.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0972 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107198.1112 | 301515.4093 | 28.7 | 67.6
44210 | 2021-03-17 12:03 | 39.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1413 | μmol/L | 12.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107199.1056 | 301498.1359 | 28.7 | 67.6
44220 | 2021-03-17 12:03 | 40.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0406 | μmol/L | 12.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107187.2751 | 301476.2913 | 28.7 | 67.6
44230 | 2021-03-17 12:04 | 40.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.091 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107185.5957 | 301470.3558 | 28.7 | 67.6
44240 | 2021-03-17 12:04 | 40.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.091 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107173.476 | 301460.3195 | 28.7 | 67.6
44250 | 2021-03-17 12:04 | 41.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.113 | μmol/L | 12.7874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107166.9321 | 301460.2085 | 28.7 | 67.6
44260 | 2021-03-17 12:05 | 41.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9745 | μmol/L | 12.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107152.2064 | 301433.1603 | 28.7 | 67.6
44270 | 2021-03-17 12:05 | 41.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0124 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107151.2847 | 301418.9 | 28.7 | 67.6
44280 | 2021-03-17 12:05 | 42.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9745 | μmol/L | 12.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107145.5219 | 301416.6625 | 28.7 | 67.6
44290 | 2021-03-17 12:06 | 42.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0344 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107149.3638 | 301416.4804 | 28.7 | 67.6
44300 | 2021-03-17 12:06 | 42.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0124 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107126.9961 | 301397.1947 | 28.7 | 67.6
44310 | 2021-03-17 12:06 | 43.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0124 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107134.3294 | 301391.8768 | 28.7 | 67.6
44320 | 2021-03-17 12:07 | 43.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0124 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107127.3745 | 301369.5891 | 28.7 | 67.6
44330 | 2021-03-17 12:07 | 43.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9621 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107121.638 | 301376.8693 | 28.7 | 67.6
44340 | 2021-03-17 12:07 | 44.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.918 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107119.8223 | 301351.0864 | 28.7 | 67.6
44350 | 2021-03-17 12:08 | 44.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9903 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107111.3878 | 301356.2896 | 28.7 | 67.6
44360 | 2021-03-17 12:08 | 44.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0565 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107105.8368 | 301344.9368 | 28.7 | 67.6
44370 | 2021-03-17 12:08 | 45.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9242 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107096.6505 | 301323.706 | 28.7 | 67.6
44380 | 2021-03-17 12:09 | 45.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.1006 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.341 | 107092.7927 | 301324.3039 | 28.7 | 67.6
44390 | 2021-03-17 12:09 | 45.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9841 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107092.0444 | 301300.7053 | 28.7 | 67.6
44400 | 2021-03-17 12:09 | 46.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9621 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107080.0179 | 301291.7348 | 28.7 | 67.6
44410 | 2021-03-17 12:10 | 46.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0282 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107070.8471 | 301266.9326 | 28.7 | 67.6
44420 | 2021-03-17 12:10 | 46.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.94 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107067.5724 | 301281.927 | 28.7 | 67.6
44430 | 2021-03-17 12:10 | 47.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.94 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107063.4498 | 301256.2227 | 28.7 | 67.6
44440 | 2021-03-17 12:11 | 47.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8677 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107062.3543 | 301254.3875 | 28.7 | 67.6
44450 | 2021-03-17 12:11 | 47.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8897 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107043.8196 | 301228.0567 | 28.7 | 67.6
44460 | 2021-03-17 12:11 | 48.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9462 | μmol/L | 12.7995 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107045.015 | 301231.4514 | 28.7 | 67.6
44470 | 2021-03-17 12:12 | 48.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.94 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107040.3274 | 301223.2505 | 28.7 | 67.6
44480 | 2021-03-17 12:12 | 48.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9779 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107033.0247 | 301215.2879 | 28.7 | 67.6
44490 | 2021-03-17 12:12 | 49.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9841 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107031.7912 | 301208.0297 | 28.7 | 67.6
44500 | 2021-03-17 12:13 | 49.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8519 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107025.5258 | 301202.5027 | 28.7 | 67.6
44510 | 2021-03-17 12:13 | 49.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8739 | μmol/L | 12.8056 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107022.6603 | 301190.2204 | 28.7 | 67.6
44520 | 2021-03-17 12:13 | 50.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9118 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107022.1252 | 301193.7997 | 28.7 | 67.6
44530 | 2021-03-17 12:14 | 50.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8457 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107012.3092 | 301166.5043 | 28.7 | 67.6
44540 | 2021-03-17 12:14 | 50.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7954 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107005.2254 | 301159.8976 | 28.7 | 67.6
44550 | 2021-03-17 12:14 | 51.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8457 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107006.0317 | 301156.2432 | 28.7 | 67.6
44560 | 2021-03-17 12:15 | 51.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8897 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106999.0856 | 301149.2353 | 28.7 | 67.6
44570 | 2021-03-17 12:15 | 51.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8395 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106992.7715 | 301142.1892 | 28.7 | 67.6
44580 | 2021-03-17 12:15 | 52.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7514 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 106998.4893 | 301132.0409 | 28.7 | 67.6
44590 | 2021-03-17 12:16 | 52.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7954 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106996.5701 | 301122.024 | 28.7 | 67.6
44600 | 2021-03-17 12:16 | 52.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8897 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106983.822 | 301124.9427 | 28.7 | 67.6
44610 | 2021-03-17 12:16 | 53.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9056 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.343 | 106978.8012 | 301104.8539 | 28.7 | 67.6
44620 | 2021-03-17 12:17 | 53.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8615 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 106978.9904 | 301099.0273 | 28.7 | 67.6
44630 | 2021-03-17 12:17 | 53.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6949 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106962.253 | 301086.1002 | 28.7 | 67.6
44640 | 2021-03-17 12:17 | 54.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9999 | μmol/L | 12.8117 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.341 | 106960.8405 | 301078.135 | 28.7 | 67.6
44650 | 2021-03-17 12:18 | 54.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7452 | μmol/L | 12.8238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106955.7883 | 301069.277 | 28.7 | 67.6
44660 | 2021-03-17 12:18 | 54.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8333 | μmol/L | 12.8238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 106956.005 | 301062.401 | 28.7 | 67.6
44670 | 2021-03-17 12:18 | 55.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7073 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.352 | 106944.0683 | 301054.5129 | 28.7 | 67.6
44680 | 2021-03-17 12:19 | 55.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8615 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 106953.2202 | 301048.2059 | 28.7 | 67.6
44690 | 2021-03-17 12:19 | 55.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.739 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106942.0914 | 301033.4607 | 28.7 | 67.6
44700 | 2021-03-17 12:19 | 56.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7452 | μmol/L | 12.8238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106943.1288 | 301035.51 | 28.7 | 67.6
44710 | 2021-03-17 12:20 | 56.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8112 | μmol/L | 12.8238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 106934.4134 | 301021.8878 | 28.7 | 67.6
44720 | 2021-03-17 12:20 | 56.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6825 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 106934.4374 | 301005.7491 | 28.7 | 67.6
44730 | 2021-03-17 12:20 | 57.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.783 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 106917.9219 | 301002.3298 | 28.7 | 67.6
44740 | 2021-03-17 12:21 | 57.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.783 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 106915.4979 | 300978.542 | 28.7 | 67.6
44750 | 2021-03-17 12:21 | 57.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7892 | μmol/L | 12.8238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106914.544 | 300978.2401 | 28.7 | 67.6
44760 | 2021-03-17 12:21 | 58.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8174 | μmol/L | 12.8177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 106908.8507 | 300986.2982 | 28.7 | 67.6
44770 | 2021-03-17 12:22 | 58.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7548 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.343 | 106894.4396 | 300948.2305 | 28.7 | 67.6
44780 | 2021-03-17 12:22 | 58.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7169 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 106891.9022 | 300947.791 | 28.7 | 67.6
44790 | 2021-03-17 12:22 | 59.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6385 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106896.9906 | 300939.8629 | 28.7 | 67.6
44800 | 2021-03-17 12:23 | 59.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6887 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106887.3082 | 300934.9499 | 28.7 | 67.6
44810 | 2021-03-17 12:23 | 59.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7046 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.343 | 106880.7475 | 300933.8834 | 28.7 | 67.6
44820 | 2021-03-17 12:23 | 60.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7169 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 106874.7849 | 300919.6287 | 28.7 | 67.6
44830 | 2021-03-17 12:24 | 60.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6667 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.347 | 106877.2074 | 300911.2502 | 28.7 | 67.6
44840 | 2021-03-17 12:24 | 60.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6887 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106870.8641 | 300909.4231 | 28.7 | 67.6
44850 | 2021-03-17 12:24 | 61.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7107 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 106864.9479 | 300893.7199 | 28.7 | 67.6
44860 | 2021-03-17 12:25 | 61.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7107 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.345 | 106859.2509 | 300888.5833 | 28.7 | 67.6
44870 | 2021-03-17 12:25 | 61.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6447 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106854.9501 | 300873.0709 | 28.7 | 67.6
44880 | 2021-03-17 12:25 | 62.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6385 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106856.1491 | 300863.4292 | 28.7 | 67.6
44890 | 2021-03-17 12:26 | 62.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.739 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106850.3428 | 300854.2575 | 28.7 | 67.6
44900 | 2021-03-17 12:26 | 62.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6887 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106847.8237 | 300853.9077 | 28.7 | 67.6
44910 | 2021-03-17 12:26 | 63.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6447 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.348 | 106846.6534 | 300848.3149 | 28.7 | 67.6
44920 | 2021-03-17 12:27 | 63.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.739 | μmol/L | 12.8299 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106837.3974 | 300831.5728 | 28.7 | 67.6
44930 | 2021-03-17 12:27 | 63.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6887 | μmol/L | 12.836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 106835.6904 | 300822.5787 | 28.7 | 67.6
44940 | 2021-03-17 12:27 | 64.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6825 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.344 | 106832.9198 | 300823.2166 | 28.7 | 67.6
44950 | 2021-03-17 12:28 | 64.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5505 | μmol/L | 12.842 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.35 | 106837.2624 | 300810.6796 | 28.7 | 67.6