## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 12:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
43021 | 2021-03-17 11:23 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.7122 | μmol/L | 12.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.912 | 149899.6323 | 278358.6599 | 36.4 | 83.1
43031 | 2021-03-17 11:24 | 0.33565 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6836 | μmol/L | 12.7291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 149862.2604 | 278331.7723 | 36.4 | 83.1
43041 | 2021-03-17 11:24 | 0.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.8388 | μmol/L | 12.723 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.909 | 149319.98 | 278304.9521 | 36.4 | 83.1
43051 | 2021-03-17 11:24 | 1.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6743 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.911 | 149666.263 | 278284.4968 | 36.4 | 83.1
43061 | 2021-03-17 11:25 | 1.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.7565 | μmol/L | 12.7291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.91 | 149633.8158 | 278251.8363 | 36.4 | 83.1
43071 | 2021-03-17 11:25 | 1.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6257 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 149600.3096 | 278222.6073 | 36.4 | 83.1
43081 | 2021-03-17 11:25 | 2.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.723 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.909 | 149556.057 | 278198.9245 | 36.4 | 83.1
43091 | 2021-03-17 11:26 | 2.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.7079 | μmol/L | 12.7291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.912 | 149490.0466 | 278170.783 | 36.4 | 83.1
43101 | 2021-03-17 11:26 | 2.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6651 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.909 | 149445.0119 | 278144.19 | 36.4 | 83.1
43111 | 2021-03-17 11:26 | 3.0028 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6987 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.91 | 149406.9221 | 278106.2501 | 36.4 | 83.1
43121 | 2021-03-17 11:27 | 3.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.65 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.912 | 149371.3369 | 278082.4583 | 36.4 | 83.1
43131 | 2021-03-17 11:27 | 3.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6987 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.91 | 149327.3528 | 278066.2027 | 36.4 | 83.1
43141 | 2021-03-17 11:27 | 4.0022 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5679 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 149295.2481 | 278036.0657 | 36.4 | 83.1
43151 | 2021-03-17 11:28 | 4.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5922 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.912 | 149299.2662 | 278010.9762 | 36.4 | 83.1
43161 | 2021-03-17 11:28 | 4.6694 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5436 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.914 | 149266.3171 | 277998.2879 | 36.4 | 83.1
43171 | 2021-03-17 11:28 | 5.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5679 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 149234.1819 | 277973.6959 | 36.4 | 83.1
43181 | 2021-03-17 11:29 | 5.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6165 | μmol/L | 12.7413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.911 | 149194.0321 | 277943.1427 | 36.4 | 83.1
43191 | 2021-03-17 11:29 | 5.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.51 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 149156.3469 | 277915.9168 | 36.4 | 83.1
43201 | 2021-03-17 11:29 | 6.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4372 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.916 | 149128.3427 | 277892.9847 | 36.4 | 83.1
43211 | 2021-03-17 11:30 | 6.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4857 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.914 | 149086.649 | 277868.5555 | 36.4 | 83.1
43221 | 2021-03-17 11:30 | 6.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4614 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.915 | 149043.2011 | 277831.1632 | 36.4 | 83.1
43231 | 2021-03-17 11:30 | 7.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6014 | μmol/L | 12.7352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.914 | 149014.7313 | 277820.3235 | 36.4 | 83.1
43241 | 2021-03-17 11:31 | 7.336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5343 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.912 | 148961.2785 | 277786.5346 | 36.4 | 83.1
43251 | 2021-03-17 11:31 | 7.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.51 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 148915.4555 | 277767.2558 | 36.4 | 83.1
43261 | 2021-03-17 11:31 | 8.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6072 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.909 | 148877.2811 | 277757.1299 | 36.4 | 83.1
43271 | 2021-03-17 11:32 | 8.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5829 | μmol/L | 12.7474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.91 | 148827.556 | 277727.5063 | 36.4 | 83.1
43281 | 2021-03-17 11:32 | 8.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4187 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.912 | 148794.4162 | 277706.6857 | 36.4 | 83.1
43291 | 2021-03-17 11:32 | 9.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4916 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.909 | 148737.3897 | 277685.7597 | 36.4 | 83.1
43301 | 2021-03-17 11:33 | 9.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5008 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.911 | 148689.8566 | 277662.8548 | 36.4 | 83.1
43311 | 2021-03-17 11:33 | 9.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6223 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.906 | 148649.5903 | 277633.6311 | 36.4 | 83.1
43321 | 2021-03-17 11:33 | 10.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3366 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.913 | 148629.364 | 277622.8809 | 36.4 | 83.1
43331 | 2021-03-17 11:34 | 10.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2973 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.917 | 148604.5029 | 277591.9562 | 36.4 | 83.1
43341 | 2021-03-17 11:34 | 10.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2337 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.922 | 148595.126 | 277572.9984 | 36.4 | 83.1
43351 | 2021-03-17 11:34 | 11.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.9911 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.932 | 148599.4511 | 277543.5385 | 36.4 | 83.1
43361 | 2021-03-17 11:35 | 11.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8849 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.934 | 148632.9265 | 277535.876 | 36.4 | 83.1
43371 | 2021-03-17 11:35 | 11.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6519 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.946 | 148656.1964 | 277520.0391 | 36.4 | 83.1
43381 | 2021-03-17 11:35 | 12.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4249 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.953 | 148657.9604 | 277496.0032 | 36.4 | 83.1
43391 | 2021-03-17 11:36 | 12.336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.304 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.958 | 148668.4769 | 277480.35 | 36.4 | 83.1
43401 | 2021-03-17 11:36 | 12.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1498 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.962 | 148657.5241 | 277465.1059 | 36.4 | 83.1
43411 | 2021-03-17 11:36 | 13.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1924 | μmol/L | 12.7535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.965 | 148655.2621 | 277446.0993 | 36.4 | 83.1
43421 | 2021-03-17 11:37 | 13.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9232 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.969 | 148651.0981 | 277428.8272 | 36.4 | 83.1
43431 | 2021-03-17 11:37 | 13.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9658 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.972 | 148632.9303 | 277413.1525 | 36.4 | 83.1
43441 | 2021-03-17 11:37 | 14.0028 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7061 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 148610.5824 | 277395.6155 | 36.4 | 83.1
43451 | 2021-03-17 11:38 | 14.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7486 | μmol/L | 12.7597 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 148587.5958 | 277381.0321 | 36.4 | 83.1
43461 | 2021-03-17 11:38 | 14.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5947 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.985 | 148558.332 | 277365.041 | 36.4 | 83.1
43471 | 2021-03-17 11:38 | 15.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.6912 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 148534.3236 | 277334.8412 | 36.4 | 83.1
43481 | 2021-03-17 11:39 | 15.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7635 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 148482.202 | 277344.0463 | 36.4 | 83.1
43491 | 2021-03-17 11:39 | 15.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8359 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 148425.5825 | 277314.234 | 36.4 | 83.1
43501 | 2021-03-17 11:39 | 16.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9232 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.969 | 148351.9371 | 277295.4674 | 36.4 | 83.1
43511 | 2021-03-17 11:40 | 16.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.029 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.967 | 148277.4534 | 277270.2207 | 36.4 | 83.1
43521 | 2021-03-17 11:40 | 16.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1072 | μmol/L | 12.778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.959 | 148191.2602 | 277255.4522 | 36.4 | 83.1
43531 | 2021-03-17 11:40 | 17.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1406 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.96 | 148124.5093 | 277233.9128 | 36.4 | 83.1
43541 | 2021-03-17 11:41 | 17.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3431 | μmol/L | 12.7658 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.954 | 148051.2204 | 277213.7423 | 36.4 | 83.1
43551 | 2021-03-17 11:41 | 17.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3823 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.95 | 147991.5503 | 277205.5935 | 36.4 | 83.1
43561 | 2021-03-17 11:41 | 18.0029 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4548 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.947 | 147942.4993 | 277186.7119 | 36.4 | 83.1
43571 | 2021-03-17 11:42 | 18.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5516 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.943 | 147901.1664 | 277175.7738 | 36.4 | 83.1
43581 | 2021-03-17 11:42 | 18.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6001 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.941 | 147843.1196 | 277151.9107 | 36.4 | 83.1
43591 | 2021-03-17 11:42 | 19.0022 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5666 | μmol/L | 12.778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.94 | 147789.182 | 277132.3444 | 36.4 | 83.1
43601 | 2021-03-17 11:43 | 19.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6635 | μmol/L | 12.778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147753.7269 | 277135.8409 | 36.4 | 83.1
43611 | 2021-03-17 11:43 | 19.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6635 | μmol/L | 12.778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147726.0281 | 277126.5445 | 36.4 | 83.1
43621 | 2021-03-17 11:43 | 20.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6635 | μmol/L | 12.778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147684.2419 | 277087.4832 | 36.4 | 83.1
43631 | 2021-03-17 11:44 | 20.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5574 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.938 | 147645.7852 | 277067.0623 | 36.4 | 83.1
43641 | 2021-03-17 11:44 | 20.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6059 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147608.394 | 277051.7738 | 36.4 | 83.1
43651 | 2021-03-17 11:44 | 21.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6969 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.937 | 147590.1143 | 277034.9946 | 36.4 | 83.1
43661 | 2021-03-17 11:45 | 21.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7211 | μmol/L | 12.7719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147571.2473 | 277020.0697 | 36.4 | 83.1
43671 | 2021-03-17 11:45 | 21.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5332 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.939 | 147555.2781 | 276992.5342 | 36.4 | 83.1
43681 | 2021-03-17 11:45 | 22.0028 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5817 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.937 | 147530.6642 | 276981.3366 | 36.4 | 83.1
43691 | 2021-03-17 11:46 | 22.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5332 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.939 | 147508.772 | 276968.1532 | 36.4 | 83.1
43701 | 2021-03-17 11:46 | 22.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4364 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.943 | 147484.9433 | 276942.6318 | 36.4 | 83.1
43711 | 2021-03-17 11:46 | 23.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4606 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.942 | 147468.0214 | 276932.8315 | 36.4 | 83.1
43721 | 2021-03-17 11:47 | 23.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3639 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.946 | 147453.8277 | 276909.0553 | 36.4 | 83.1
43731 | 2021-03-17 11:47 | 23.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.2913 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.949 | 147445.6601 | 276901.5204 | 36.4 | 83.1
43741 | 2021-03-17 11:47 | 24.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1946 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.953 | 147428.7705 | 276897.1432 | 36.4 | 83.1
43751 | 2021-03-17 11:48 | 24.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0796 | μmol/L | 12.7963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.953 | 147414.9975 | 276879.0544 | 36.4 | 83.1
43761 | 2021-03-17 11:48 | 24.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1221 | μmol/L | 12.7841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.956 | 147398.4064 | 276855.5767 | 36.4 | 83.1
43771 | 2021-03-17 11:48 | 25.0022 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1371 | μmol/L | 12.7902 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.953 | 147389.049 | 276867.6714 | 36.4 | 83.1
43781 | 2021-03-17 11:49 | 25.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0554 | μmol/L | 12.7963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.954 | 147358.7011 | 276816.2759 | 36.4 | 83.1
43791 | 2021-03-17 11:49 | 25.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.968 | μmol/L | 12.7902 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.96 | 147347.8959 | 276818.6628 | 36.4 | 83.1
43801 | 2021-03-17 11:49 | 26.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9106 | μmol/L | 12.7963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.96 | 147319.1531 | 276798.7106 | 36.4 | 83.1
43811 | 2021-03-17 11:50 | 26.336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9106 | μmol/L | 12.7963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.96 | 147292.3419 | 276774.854 | 36.4 | 83.1
43821 | 2021-03-17 11:50 | 26.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9588 | μmol/L | 12.7963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.958 | 147264.7956 | 276766.9781 | 36.4 | 83.1
43831 | 2021-03-17 11:50 | 27.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9497 | μmol/L | 12.8025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.956 | 147238.6804 | 276749.9146 | 36.4 | 83.1
43841 | 2021-03-17 11:51 | 27.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9497 | μmol/L | 12.8025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.956 | 147213.698 | 276746.7493 | 36.4 | 83.1
43851 | 2021-03-17 11:51 | 27.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9014 | μmol/L | 12.8025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.958 | 147173.942 | 276728.5864 | 36.4 | 83.1
43861 | 2021-03-17 11:51 | 28.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9497 | μmol/L | 12.8025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.956 | 147144.3938 | 276716.6003 | 36.4 | 83.1
43871 | 2021-03-17 11:52 | 28.336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9405 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.954 | 147121.2452 | 276699.0847 | 36.4 | 83.1
43881 | 2021-03-17 11:52 | 28.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0463 | μmol/L | 12.8025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.952 | 147081.8766 | 276692.5889 | 36.4 | 83.1
43891 | 2021-03-17 11:52 | 29.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8348 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.956 | 147065.9363 | 276660.2827 | 36.4 | 83.1
43901 | 2021-03-17 11:53 | 29.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9163 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.955 | 147043.4451 | 276664.082 | 36.4 | 83.1
43911 | 2021-03-17 11:53 | 29.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9163 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.955 | 147022.2758 | 276648.9574 | 36.4 | 83.1
43921 | 2021-03-17 11:53 | 30.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9405 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.954 | 146996.4081 | 276648.9552 | 36.4 | 83.1
43931 | 2021-03-17 11:54 | 30.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8681 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.957 | 146979.7136 | 276625.7348 | 36.4 | 83.1
43941 | 2021-03-17 11:54 | 30.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8106 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.957 | 146965.608 | 276609.2943 | 36.4 | 83.1
43951 | 2021-03-17 11:54 | 31.0029 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7291 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.958 | 146951.9124 | 276608.7007 | 36.4 | 83.1
43961 | 2021-03-17 11:55 | 31.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7624 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.959 | 146941.2414 | 276593.5576 | 36.4 | 83.1
43971 | 2021-03-17 11:55 | 31.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7715 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.961 | 146932.1466 | 276585.6497 | 36.4 | 83.1
43981 | 2021-03-17 11:55 | 32.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7715 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.961 | 146926.5643 | 276568.3468 | 36.4 | 83.1
43991 | 2021-03-17 11:56 | 32.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.69 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.962 | 146917.0007 | 276551.9213 | 36.4 | 83.1
44001 | 2021-03-17 11:56 | 32.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.512 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.967 | 146894.2923 | 276542.3235 | 36.4 | 83.1
44011 | 2021-03-17 11:56 | 33.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5453 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146887.3051 | 276521.3461 | 36.4 | 83.1
44021 | 2021-03-17 11:57 | 33.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5694 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.967 | 146884.5309 | 276527.9293 | 36.4 | 83.1
44031 | 2021-03-17 11:57 | 33.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5453 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146865.3507 | 276519.9006 | 36.4 | 83.1
44041 | 2021-03-17 11:57 | 34.0028 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4971 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146862.524 | 276509.2266 | 36.4 | 83.1
44051 | 2021-03-17 11:58 | 34.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5786 | μmol/L | 12.8086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.969 | 146843.6833 | 276504.5742 | 36.4 | 83.1
44061 | 2021-03-17 11:58 | 34.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4248 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.973 | 146823.4794 | 276480.5297 | 36.4 | 83.1
44071 | 2021-03-17 11:58 | 35.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4489 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.972 | 146792.1384 | 276469.2851 | 36.4 | 83.1
44081 | 2021-03-17 11:59 | 35.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4397 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146764.7726 | 276455.2261 | 36.4 | 83.1
44091 | 2021-03-17 11:59 | 35.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.473 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146743.8266 | 276453.7871 | 36.4 | 83.1
44101 | 2021-03-17 11:59 | 36.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.473 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146718.5515 | 276448.5247 | 36.4 | 83.1
44111 | 2021-03-17 12:00 | 36.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4971 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146690.7726 | 276433.9253 | 36.4 | 83.1
44121 | 2021-03-17 12:00 | 36.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5212 | μmol/L | 12.8147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.969 | 146686.2731 | 276433.5973 | 36.4 | 83.1
44131 | 2021-03-17 12:00 | 37.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4306 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146624.7878 | 276406.2581 | 36.4 | 83.1
44141 | 2021-03-17 12:01 | 37.336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3583 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146626.6009 | 276409.361 | 36.4 | 83.1
44151 | 2021-03-17 12:01 | 37.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4156 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146610.4387 | 276401.6693 | 36.4 | 83.1
44161 | 2021-03-17 12:01 | 38.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3583 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146603.0948 | 276389.985 | 36.4 | 83.1
44171 | 2021-03-17 12:02 | 38.3362 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3433 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.974 | 146584.8121 | 276375.4563 | 36.4 | 83.1
44181 | 2021-03-17 12:02 | 38.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4156 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146588.6043 | 276377.7541 | 36.4 | 83.1
44191 | 2021-03-17 12:02 | 39.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1324 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 146577.9331 | 276361.0912 | 36.4 | 83.1
44201 | 2021-03-17 12:03 | 39.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2046 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 146557.2455 | 276339.1061 | 36.4 | 83.1
44211 | 2021-03-17 12:03 | 39.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0602 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 146522.0384 | 276361.6718 | 36.4 | 83.1
44221 | 2021-03-17 12:03 | 40.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1175 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 146491.098 | 276343.6987 | 36.4 | 83.1
44231 | 2021-03-17 12:04 | 40.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1565 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.977 | 146460.5989 | 276327.897 | 36.4 | 83.1
44241 | 2021-03-17 12:04 | 40.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1565 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.977 | 146438.1756 | 276335.1119 | 36.4 | 83.1
44251 | 2021-03-17 12:04 | 41.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1897 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 146406.0369 | 276303.9508 | 36.4 | 83.1
44261 | 2021-03-17 12:05 | 41.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1806 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.976 | 146377.4847 | 276298.2774 | 36.4 | 83.1
44271 | 2021-03-17 12:05 | 41.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1806 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.976 | 146363.3948 | 276288.0668 | 36.4 | 83.1
44281 | 2021-03-17 12:05 | 42.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3101 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.973 | 146330.4047 | 276283.868 | 36.4 | 83.1
44291 | 2021-03-17 12:06 | 42.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1565 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.977 | 146296.2353 | 276289.3898 | 36.4 | 83.1
44301 | 2021-03-17 12:06 | 42.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3583 | μmol/L | 12.8269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146265.6914 | 276275.0264 | 36.4 | 83.1
44311 | 2021-03-17 12:06 | 43.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1955 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.973 | 146229.8314 | 276267.5178 | 36.4 | 83.1
44321 | 2021-03-17 12:07 | 43.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2196 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.972 | 146215.5228 | 276273.6452 | 36.4 | 83.1
44331 | 2021-03-17 12:07 | 43.6694 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.34 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.967 | 146168.5203 | 276254.2547 | 36.4 | 83.1
44341 | 2021-03-17 12:07 | 44.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3159 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146145.0003 | 276253.6393 | 36.4 | 83.1
44351 | 2021-03-17 12:08 | 44.3358 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4696 | μmol/L | 12.833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.964 | 146106.4879 | 276238.6999 | 36.4 | 83.1
44361 | 2021-03-17 12:08 | 44.6694 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4123 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.964 | 146071.5169 | 276228.9573 | 36.4 | 83.1
44371 | 2021-03-17 12:08 | 45.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.379 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.963 | 146058.9155 | 276233.9194 | 36.4 | 83.1
44381 | 2021-03-17 12:09 | 45.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2586 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146038.1173 | 276225.6142 | 36.4 | 83.1
44391 | 2021-03-17 12:09 | 45.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3159 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146036.9956 | 276218.711 | 36.4 | 83.1
44401 | 2021-03-17 12:09 | 46.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3068 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.966 | 146022.6197 | 276213.8963 | 36.4 | 83.1
44411 | 2021-03-17 12:10 | 46.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2677 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146014.548 | 276185.7301 | 36.4 | 83.1
44421 | 2021-03-17 12:10 | 46.669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2586 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.968 | 146020.0313 | 276197.1571 | 36.4 | 83.1
44431 | 2021-03-17 12:10 | 47.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2677 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146015.7909 | 276178.0916 | 36.4 | 83.1
44441 | 2021-03-17 12:11 | 47.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1141 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.974 | 146009.3661 | 276173.6324 | 36.4 | 83.1
44451 | 2021-03-17 12:11 | 47.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0569 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.974 | 146006.3577 | 276167.1128 | 36.4 | 83.1
44461 | 2021-03-17 12:11 | 48.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.066 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.976 | 145994.7809 | 276160.482 | 36.4 | 83.1
44471 | 2021-03-17 12:12 | 48.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0901 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 145987.8494 | 276160.4828 | 36.4 | 83.1
44481 | 2021-03-17 12:12 | 48.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.066 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.976 | 145973.4256 | 276150.6537 | 36.4 | 83.1
44491 | 2021-03-17 12:12 | 49.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0901 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 145944.0609 | 276132.0805 | 36.4 | 83.1
44501 | 2021-03-17 12:13 | 49.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2437 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 145915.3568 | 276139.5228 | 36.4 | 83.1
44511 | 2021-03-17 12:13 | 49.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0718 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 145888.9725 | 276126.0944 | 36.4 | 83.1
44521 | 2021-03-17 12:13 | 50.0028 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1291 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 145864.1778 | 276131.8918 | 36.4 | 83.1
44531 | 2021-03-17 12:14 | 50.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1291 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.971 | 145840.7956 | 276129.8396 | 36.4 | 83.1
44541 | 2021-03-17 12:14 | 50.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1623 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.972 | 145844.6022 | 276118.2085 | 36.4 | 83.1
44551 | 2021-03-17 12:14 | 51.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0569 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.974 | 145841.9436 | 276115.1769 | 36.4 | 83.1
44561 | 2021-03-17 12:15 | 51.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.042 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.977 | 145830.518 | 276106.0223 | 36.4 | 83.1
44571 | 2021-03-17 12:15 | 51.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0328 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 145839.4075 | 276108.5302 | 36.4 | 83.1
44581 | 2021-03-17 12:15 | 52.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0992 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.977 | 145829.371 | 276094.1586 | 36.4 | 83.1
44591 | 2021-03-17 12:16 | 52.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0328 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 145820.8161 | 276089.1216 | 36.4 | 83.1
44601 | 2021-03-17 12:16 | 52.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9938 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.979 | 145804.0656 | 276076.2507 | 36.4 | 83.1
44611 | 2021-03-17 12:16 | 53.0022 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9366 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.979 | 145800.6723 | 276069.3984 | 36.4 | 83.1
44621 | 2021-03-17 12:17 | 53.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9125 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145780.5639 | 276064.8331 | 36.4 | 83.1
44631 | 2021-03-17 12:17 | 53.6694 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8404 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.983 | 145770.1536 | 276046.4968 | 36.4 | 83.1
44641 | 2021-03-17 12:17 | 54.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9607 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145749.8467 | 276046.5599 | 36.4 | 83.1
44651 | 2021-03-17 12:18 | 54.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9034 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145738.5209 | 276033.9788 | 36.4 | 83.1
44661 | 2021-03-17 12:18 | 54.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9607 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145709.0388 | 276026.6486 | 36.4 | 83.1
44671 | 2021-03-17 12:18 | 55.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8313 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 145675.9288 | 276026.0722 | 36.4 | 83.1
44681 | 2021-03-17 12:19 | 55.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8976 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.983 | 145661.838 | 276022.5256 | 36.4 | 83.1
44691 | 2021-03-17 12:19 | 55.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9034 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145647.9341 | 276009.1413 | 36.4 | 83.1
44701 | 2021-03-17 12:19 | 56.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8313 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 145641.1547 | 276011.0354 | 36.4 | 83.1
44711 | 2021-03-17 12:20 | 56.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8645 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.982 | 145618.8271 | 275994.0593 | 36.4 | 83.1
44721 | 2021-03-17 12:20 | 56.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7501 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.982 | 145615.8771 | 275993.7815 | 36.4 | 83.1
44731 | 2021-03-17 12:20 | 57.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7501 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.982 | 145609.6778 | 275990.5679 | 36.4 | 83.1
44741 | 2021-03-17 12:21 | 57.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8885 | μmol/L | 12.8514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 145598.8095 | 275983.1728 | 36.4 | 83.1
44751 | 2021-03-17 12:21 | 57.6693 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8553 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145589.3975 | 275976.9661 | 36.4 | 83.1
44761 | 2021-03-17 12:21 | 58.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7981 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145567.8208 | 275965.2357 | 36.4 | 83.1
44771 | 2021-03-17 12:22 | 58.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7981 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145550.4266 | 275967.6829 | 36.4 | 83.1
44781 | 2021-03-17 12:22 | 58.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7981 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145577.4198 | 275975.4738 | 36.4 | 83.1
44791 | 2021-03-17 12:22 | 59.0024 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8222 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.979 | 145559.4958 | 275971.8994 | 36.4 | 83.1
44801 | 2021-03-17 12:23 | 59.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8794 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.979 | 145545.3742 | 275957.4381 | 36.4 | 83.1
44811 | 2021-03-17 12:23 | 59.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8553 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145534.9284 | 275948.479 | 36.4 | 83.1
44821 | 2021-03-17 12:23 | 60.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.765 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.979 | 145539.4392 | 275929.0674 | 36.4 | 83.1
44831 | 2021-03-17 12:24 | 60.3359 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6929 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.982 | 145541.4806 | 275941.9694 | 36.4 | 83.1
44841 | 2021-03-17 12:24 | 60.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6929 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.982 | 145532.7623 | 275929.3459 | 36.4 | 83.1
44851 | 2021-03-17 12:24 | 61.0026 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.702 | μmol/L | 12.8636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.984 | 145531.8231 | 275921.075 | 36.4 | 83.1
44861 | 2021-03-17 12:25 | 61.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6208 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.985 | 145521.8356 | 275914.5657 | 36.4 | 83.1
44871 | 2021-03-17 12:25 | 61.6691 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6689 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.983 | 145503.0481 | 275916.4714 | 36.4 | 83.1
44881 | 2021-03-17 12:25 | 62.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7169 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.981 | 145483.1389 | 275914.7056 | 36.4 | 83.1
44891 | 2021-03-17 12:26 | 62.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6117 | μmol/L | 12.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.983 | 145464.1352 | 275901.5398 | 36.4 | 83.1
44901 | 2021-03-17 12:26 | 62.6692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.741 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145443.9303 | 275900.5994 | 36.4 | 83.1
44911 | 2021-03-17 12:26 | 63.0027 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.741 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.98 | 145421.0385 | 275893.6338 | 36.4 | 83.1
44921 | 2021-03-17 12:27 | 63.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.789 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145396.0109 | 275899.0745 | 36.4 | 83.1
44931 | 2021-03-17 12:27 | 63.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7319 | μmol/L | 12.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145384.4087 | 275887.9243 | 36.4 | 83.1
44941 | 2021-03-17 12:27 | 64.0025 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7319 | μmol/L | 12.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.978 | 145375.8591 | 275871.9185 | 36.4 | 83.1
44951 | 2021-03-17 12:28 | 64.3357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7468 | μmol/L | 12.8819 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 144929.437 | 275884.1389 | 36.4 | 83.1