## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44957 | 2021-03-17 14:18 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7352 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169625.1103 | 278631.6344 | 62.0402 | 75.7
44964 | 2021-03-17 14:18 | 0.32992 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8009 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.341 | 169615.8461 | 278639.0617 | 62.0402 | 75.7
44974 | 2021-03-17 14:18 | 0.66384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8009 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.341 | 169608.0481 | 278625.9348 | 62.0402 | 75.7
44984 | 2021-03-17 14:19 | 0.99672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8009 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.341 | 169608.8311 | 278617.1207 | 62.0402 | 75.7
44994 | 2021-03-17 14:19 | 1.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8665 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169593.8867 | 278612.1587 | 62.0402 | 75.7
45004 | 2021-03-17 14:19 | 1.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8446 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169595.5146 | 278598.8838 | 62.0402 | 75.7
45014 | 2021-03-17 14:20 | 1.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8383 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169589.5196 | 278585.1387 | 62.0402 | 75.7
45024 | 2021-03-17 14:20 | 2.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7508 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.341 | 169583.1134 | 278575.7285 | 62.0402 | 75.7
45034 | 2021-03-17 14:20 | 2.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.779 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169564.4488 | 278565.8885 | 62.0402 | 75.7
45044 | 2021-03-17 14:21 | 2.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7726 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169570.6295 | 278550.6512 | 62.0402 | 75.7
45054 | 2021-03-17 14:21 | 3.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6569 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.343 | 169568.0287 | 278550.9065 | 62.0402 | 75.7
45064 | 2021-03-17 14:21 | 3.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7225 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169556.4327 | 278527.4723 | 62.0402 | 75.7
45074 | 2021-03-17 14:22 | 3.9973 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7508 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.341 | 169550.6974 | 278532.1345 | 62.0402 | 75.7
45084 | 2021-03-17 14:22 | 4.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8164 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169547.7138 | 278508.9698 | 62.0402 | 75.7
45094 | 2021-03-17 14:22 | 4.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8383 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169541.5615 | 278499.5507 | 62.0402 | 75.7
45104 | 2021-03-17 14:23 | 4.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7225 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169475.7828 | 278507.2686 | 62.0402 | 75.7
45114 | 2021-03-17 14:23 | 5.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7444 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169479.1673 | 278493.8387 | 62.0402 | 75.7
45124 | 2021-03-17 14:23 | 5.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7225 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169471.2884 | 278476.5211 | 62.0402 | 75.7
45134 | 2021-03-17 14:24 | 5.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7663 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169475.38 | 278479.5539 | 62.0402 | 75.7
45144 | 2021-03-17 14:24 | 6.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8383 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169465.1 | 278479.1427 | 62.0402 | 75.7
45154 | 2021-03-17 14:24 | 6.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7225 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169470.654 | 278478.6183 | 62.0402 | 75.7
45164 | 2021-03-17 14:25 | 6.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7444 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169469.5197 | 278467.8679 | 62.0402 | 75.7
45174 | 2021-03-17 14:25 | 7.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7444 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169465.7847 | 278461.1637 | 62.0402 | 75.7
45184 | 2021-03-17 14:25 | 7.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7444 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169467.7813 | 278451.8021 | 62.0402 | 75.7
45194 | 2021-03-17 14:26 | 7.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7444 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169466.4153 | 278452.0392 | 62.0402 | 75.7
45204 | 2021-03-17 14:26 | 8.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7882 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169461.9756 | 278455.3441 | 62.0402 | 75.7
45214 | 2021-03-17 14:26 | 8.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7663 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169447.503 | 278438.7896 | 62.0402 | 75.7
45224 | 2021-03-17 14:27 | 8.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7882 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169454.2606 | 278438.8869 | 62.0402 | 75.7
45234 | 2021-03-17 14:27 | 9.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9103 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.336 | 169452.7006 | 278436.6731 | 62.0402 | 75.7
45244 | 2021-03-17 14:27 | 9.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9322 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169451.4315 | 278430.7185 | 62.0402 | 75.7
45254 | 2021-03-17 14:28 | 9.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8665 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169444.6624 | 278424.462 | 62.0402 | 75.7
45264 | 2021-03-17 14:28 | 10.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9668 | μmol/L | 13.1254 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169442.9199 | 278420.9472 | 62.0402 | 75.7
45274 | 2021-03-17 14:28 | 10.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9605 | μmol/L | 13.1315 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.336 | 169448.3759 | 278401.567 | 62.0402 | 75.7
45284 | 2021-03-17 14:29 | 10.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9167 | μmol/L | 13.1315 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169432.7345 | 278401.4447 | 62.0402 | 75.7
45294 | 2021-03-17 14:29 | 11.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9541 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169435.9023 | 278398.0503 | 62.0402 | 75.7
45304 | 2021-03-17 14:29 | 11.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9979 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169430.9577 | 278385.5671 | 62.0402 | 75.7
45314 | 2021-03-17 14:30 | 11.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9322 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169436.1053 | 278384.8714 | 62.0402 | 75.7
45324 | 2021-03-17 14:30 | 12.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9541 | μmol/L | 13.1376 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169424.5851 | 278390.3501 | 62.0402 | 75.7
45334 | 2021-03-17 14:30 | 12.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8821 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169415.2432 | 278385.7868 | 62.0402 | 75.7
45344 | 2021-03-17 14:31 | 12.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.904 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169406.3154 | 278371.4488 | 62.0402 | 75.7
45354 | 2021-03-17 14:31 | 13.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9697 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.331 | 169401.038 | 278370.0826 | 62.0402 | 75.7
45364 | 2021-03-17 14:31 | 13.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8821 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169396.5973 | 278362.5715 | 62.0402 | 75.7
45374 | 2021-03-17 14:32 | 13.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8977 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169392.2263 | 278353.8142 | 62.0402 | 75.7
45384 | 2021-03-17 14:32 | 14.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9478 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169386.3176 | 278351.7534 | 62.0402 | 75.7
45394 | 2021-03-17 14:32 | 14.6631 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9697 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.331 | 169379.719 | 278361.2392 | 62.0402 | 75.7
45404 | 2021-03-17 14:33 | 14.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8475 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169377.1087 | 278351.7302 | 62.0402 | 75.7
45414 | 2021-03-17 14:33 | 15.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9634 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.329 | 169360.5862 | 278347.3598 | 62.0402 | 75.7
45424 | 2021-03-17 14:33 | 15.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8475 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169381.4243 | 278340.8449 | 62.0402 | 75.7
45434 | 2021-03-17 14:34 | 15.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8977 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169366.2835 | 278339.3539 | 62.0402 | 75.7
45444 | 2021-03-17 14:34 | 16.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9196 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.331 | 169364.5016 | 278330.487 | 62.0402 | 75.7
45454 | 2021-03-17 14:34 | 16.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9196 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.331 | 169367.2448 | 278324.9806 | 62.0402 | 75.7
45464 | 2021-03-17 14:35 | 16.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8977 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169367.3776 | 278324.6226 | 62.0402 | 75.7
45474 | 2021-03-17 14:35 | 17.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9092 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.329 | 169375.6017 | 278317.5356 | 62.0402 | 75.7
45484 | 2021-03-17 14:35 | 17.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0135 | μmol/L | 13.1438 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.329 | 169375.3741 | 278325.4845 | 62.0402 | 75.7
45494 | 2021-03-17 14:36 | 17.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8913 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.33 | 169375.3242 | 278312.2748 | 62.0402 | 75.7
45504 | 2021-03-17 14:36 | 18.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8758 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.333 | 169363.6818 | 278306.2667 | 62.0402 | 75.7
45514 | 2021-03-17 14:36 | 18.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8257 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.333 | 169375.6968 | 278310.6821 | 62.0402 | 75.7
45524 | 2021-03-17 14:37 | 18.9973 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9132 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.329 | 169373.4791 | 278305.7355 | 62.0402 | 75.7
45534 | 2021-03-17 14:37 | 19.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8873 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.33 | 169371.3456 | 278307.7323 | 62.0402 | 75.7
45544 | 2021-03-17 14:37 | 19.6639 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8475 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169363.2416 | 278302.2346 | 62.0402 | 75.7
45554 | 2021-03-17 14:38 | 19.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8718 | μmol/L | 13.1499 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.333 | 169382.9943 | 278297.8597 | 62.0402 | 75.7
45564 | 2021-03-17 14:38 | 20.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8977 | μmol/L | 13.1499 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.332 | 169387.0093 | 278305.7079 | 62.0402 | 75.7
45574 | 2021-03-17 14:38 | 20.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7998 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169397.7224 | 278308.2908 | 62.0402 | 75.7
45584 | 2021-03-17 14:39 | 20.9973 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7779 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169386.9905 | 278299.5196 | 62.0402 | 75.7
45594 | 2021-03-17 14:39 | 21.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7998 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169396.9949 | 278296.1059 | 62.0402 | 75.7
45604 | 2021-03-17 14:39 | 21.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7998 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169394.1537 | 278284.7299 | 62.0402 | 75.7
45614 | 2021-03-17 14:40 | 21.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7716 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.333 | 169394.3782 | 278283.5164 | 62.0402 | 75.7
45624 | 2021-03-17 14:40 | 22.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7819 | μmol/L | 13.156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169400.2895 | 278269.1712 | 62.0402 | 75.7
45634 | 2021-03-17 14:40 | 22.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.828 | μmol/L | 13.1499 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169399.3776 | 278285.9157 | 62.0402 | 75.7
45644 | 2021-03-17 14:41 | 22.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7779 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169400.0077 | 278274.4024 | 62.0402 | 75.7
45654 | 2021-03-17 14:41 | 23.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7779 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.335 | 169412.1132 | 278270.7715 | 62.0402 | 75.7
45664 | 2021-03-17 14:41 | 23.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7497 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.334 | 169415.4235 | 278261.3295 | 62.0402 | 75.7
45674 | 2021-03-17 14:42 | 23.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.684 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169405.4888 | 278260.1199 | 62.0402 | 75.7
45684 | 2021-03-17 14:42 | 24.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6558 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.336 | 169411.5053 | 278256.0406 | 62.0402 | 75.7
45694 | 2021-03-17 14:42 | 24.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.684 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169411.4074 | 278263.5682 | 62.0402 | 75.7
45704 | 2021-03-17 14:43 | 24.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7341 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169415.9865 | 278250.6767 | 62.0402 | 75.7
45714 | 2021-03-17 14:43 | 25.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6121 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169415.6117 | 278256.9229 | 62.0402 | 75.7
45724 | 2021-03-17 14:43 | 25.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6558 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.336 | 169430.4755 | 278256.3366 | 62.0402 | 75.7
45734 | 2021-03-17 14:44 | 25.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6558 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.336 | 169435.6364 | 278244.9091 | 62.0402 | 75.7
45744 | 2021-03-17 14:44 | 26.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6621 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.338 | 169433.5106 | 278233.2632 | 62.0402 | 75.7
45754 | 2021-03-17 14:44 | 26.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6403 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169440.4664 | 278222.5477 | 62.0402 | 75.7
45764 | 2021-03-17 14:45 | 26.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6903 | μmol/L | 13.156 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169453.0819 | 278239.9033 | 62.0402 | 75.7
45774 | 2021-03-17 14:45 | 27.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6403 | μmol/L | 13.1621 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169449.2802 | 278227.5321 | 62.0402 | 75.7
45784 | 2021-03-17 14:45 | 27.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.688 | μmol/L | 13.1621 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 23.337 | 169442.4331 | 278223.9464 | 62.0402 | 75.7
45794 | 2021-03-17 14:46 | 27.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5902 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169453.9555 | 278217.1673 | 62.0402 | 75.7
45804 | 2021-03-17 14:46 | 28.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5902 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169455.8437 | 278217.4487 | 62.0402 | 75.7
45814 | 2021-03-17 14:46 | 28.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5683 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169466.6392 | 278211.2333 | 62.0402 | 75.7
45824 | 2021-03-17 14:47 | 28.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5902 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.339 | 169462.7959 | 278205.0726 | 62.0402 | 75.7
45834 | 2021-03-17 14:47 | 29.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5683 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.34 | 169472.4333 | 278207.7348 | 62.0402 | 75.7
45844 | 2021-03-17 14:47 | 29.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4746 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169475.3114 | 278216.58 | 62.0402 | 75.7
45854 | 2021-03-17 14:48 | 29.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5246 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169477.4547 | 278198.7995 | 62.0402 | 75.7
45864 | 2021-03-17 14:48 | 30.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5246 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169487.0362 | 278207.1439 | 62.0402 | 75.7
45874 | 2021-03-17 14:48 | 30.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4527 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.343 | 169481.2563 | 278197.2912 | 62.0402 | 75.7
45884 | 2021-03-17 14:49 | 30.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4309 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169480.7324 | 278185.0063 | 62.0402 | 75.7
45894 | 2021-03-17 14:49 | 31.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5027 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.343 | 169491.1517 | 278194.6781 | 62.0402 | 75.7
45904 | 2021-03-17 14:49 | 31.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.359 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169480.2148 | 278173.9842 | 62.0402 | 75.7
45914 | 2021-03-17 14:50 | 31.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.409 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169489.1892 | 278184.2009 | 62.0402 | 75.7
45924 | 2021-03-17 14:50 | 32.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4746 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169487.6042 | 278169.5959 | 62.0402 | 75.7
45934 | 2021-03-17 14:50 | 32.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3653 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169480.7808 | 278169.0563 | 62.0402 | 75.7
45944 | 2021-03-17 14:51 | 32.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4309 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169484.5886 | 278178.1406 | 62.0402 | 75.7
45954 | 2021-03-17 14:51 | 33.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4309 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169486.2361 | 278169.4922 | 62.0402 | 75.7
45964 | 2021-03-17 14:51 | 33.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.459 | μmol/L | 13.1682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169486.9032 | 278171.9402 | 62.0402 | 75.7
45974 | 2021-03-17 14:52 | 33.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169489.4149 | 278168.5288 | 62.0402 | 75.7
45984 | 2021-03-17 14:52 | 34.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3653 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169489.2862 | 278162.142 | 62.0402 | 75.7
45994 | 2021-03-17 14:52 | 34.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169489.5443 | 278164.6773 | 62.0402 | 75.7
46004 | 2021-03-17 14:53 | 34.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3435 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169479.9694 | 278155.4642 | 62.0402 | 75.7
46014 | 2021-03-17 14:53 | 35.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.409 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169486.5888 | 278150.3009 | 62.0402 | 75.7
46024 | 2021-03-17 14:53 | 35.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.409 | μmol/L | 13.1744 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169476.0053 | 278154.602 | 62.0402 | 75.7
46034 | 2021-03-17 14:54 | 35.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3308 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169491.3793 | 278151.1653 | 62.0402 | 75.7
46044 | 2021-03-17 14:54 | 36.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169477.7287 | 278145.3526 | 62.0402 | 75.7
46054 | 2021-03-17 14:54 | 36.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3808 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169480.9765 | 278142.5126 | 62.0402 | 75.7
46064 | 2021-03-17 14:55 | 36.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.359 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169471.4254 | 278128.8921 | 62.0402 | 75.7
46074 | 2021-03-17 14:55 | 37.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2153 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169476.9317 | 278137.6114 | 62.0402 | 75.7
46084 | 2021-03-17 14:55 | 37.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3153 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169471.345 | 278137.5484 | 62.0402 | 75.7
46094 | 2021-03-17 14:56 | 37.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169473.9917 | 278139.4058 | 62.0402 | 75.7
46104 | 2021-03-17 14:56 | 38.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4246 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.342 | 169475.3298 | 278132.9452 | 62.0402 | 75.7
46114 | 2021-03-17 14:56 | 38.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169475.8111 | 278123.2852 | 62.0402 | 75.7
46124 | 2021-03-17 14:57 | 38.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2435 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169471.192 | 278114.3975 | 62.0402 | 75.7
46134 | 2021-03-17 14:57 | 39.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.309 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.345 | 169472.6946 | 278127.5497 | 62.0402 | 75.7
46144 | 2021-03-17 14:57 | 39.6639 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2653 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169469.7353 | 278123.4876 | 62.0402 | 75.7
46154 | 2021-03-17 14:58 | 39.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2435 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169472.6543 | 278124.1864 | 62.0402 | 75.7
46164 | 2021-03-17 14:58 | 40.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2216 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.349 | 169470.4105 | 278108.8477 | 62.0402 | 75.7
46174 | 2021-03-17 14:58 | 40.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2872 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169479.7978 | 278118.9921 | 62.0402 | 75.7
46184 | 2021-03-17 14:59 | 40.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3371 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169471.7177 | 278123.0115 | 62.0402 | 75.7
46194 | 2021-03-17 14:59 | 41.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2872 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.346 | 169474.7148 | 278094.6498 | 62.0402 | 75.7
46204 | 2021-03-17 14:59 | 41.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3308 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.344 | 169481.8651 | 278105.5627 | 62.0402 | 75.7
46214 | 2021-03-17 15:00 | 41.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3153 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169467.8133 | 278103.1304 | 62.0402 | 75.7
46224 | 2021-03-17 15:00 | 42.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2153 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169464.6443 | 278103.8194 | 62.0402 | 75.7
46234 | 2021-03-17 15:00 | 42.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2716 | μmol/L | 13.1805 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.349 | 169469.4413 | 278098.7719 | 62.0402 | 75.7
46244 | 2021-03-17 15:01 | 42.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2153 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169467.2537 | 278096.8147 | 62.0402 | 75.7
46254 | 2021-03-17 15:01 | 43.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2653 | μmol/L | 13.1866 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169465.2368 | 278090.4743 | 62.0402 | 75.7
46264 | 2021-03-17 15:01 | 43.6637 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1436 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169464.7575 | 278079.8748 | 62.0402 | 75.7
46274 | 2021-03-17 15:02 | 43.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1935 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169468.5205 | 278089.2044 | 62.0402 | 75.7
46284 | 2021-03-17 15:02 | 44.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1935 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169466.1958 | 278083.7769 | 62.0402 | 75.7
46294 | 2021-03-17 15:02 | 44.6639 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1498 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.35 | 169468.7261 | 278089.559 | 62.0402 | 75.7
46304 | 2021-03-17 15:03 | 44.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1717 | μmol/L | 13.1927 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.349 | 169476.3355 | 278087.9535 | 62.0402 | 75.7
46314 | 2021-03-17 15:03 | 45.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1217 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.349 | 169467.4267 | 278081.032 | 62.0402 | 75.7
46324 | 2021-03-17 15:03 | 45.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1436 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169462.9502 | 278077.9599 | 62.0402 | 75.7
46334 | 2021-03-17 15:04 | 45.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1654 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169462.2979 | 278071.87 | 62.0402 | 75.7
46344 | 2021-03-17 15:04 | 46.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1154 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169466.1633 | 278064.6412 | 62.0402 | 75.7
46354 | 2021-03-17 15:04 | 46.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0781 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 169461.3893 | 278061.9881 | 62.0402 | 75.7
46364 | 2021-03-17 15:05 | 46.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1436 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.348 | 169462.602 | 278065.7321 | 62.0402 | 75.7
46374 | 2021-03-17 15:05 | 47.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.05 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.35 | 169471.4903 | 278073.3671 | 62.0402 | 75.7
46384 | 2021-03-17 15:05 | 47.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0718 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.349 | 169468.8209 | 278063.5527 | 62.0402 | 75.7
46394 | 2021-03-17 15:06 | 47.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0282 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 169466.7648 | 278068.3551 | 62.0402 | 75.7
46404 | 2021-03-17 15:06 | 48.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1654 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169465.2993 | 278060.1489 | 62.0402 | 75.7
46414 | 2021-03-17 15:06 | 48.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1154 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.347 | 169462.6342 | 278064.9939 | 62.0402 | 75.7
46424 | 2021-03-17 15:07 | 48.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.05 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.35 | 169462.8501 | 278057.3261 | 62.0402 | 75.7
46434 | 2021-03-17 15:07 | 49.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.05 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.35 | 169456.2723 | 278062.8004 | 62.0402 | 75.7
46444 | 2021-03-17 15:07 | 49.6637 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9782 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 169458.8449 | 278051.7419 | 62.0402 | 75.7
46454 | 2021-03-17 15:08 | 49.9973 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9908 | μmol/L | 13.1989 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 169473.2297 | 278056.7628 | 62.0402 | 75.7
46464 | 2021-03-17 15:08 | 50.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0063 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.352 | 169471.3595 | 278056.1826 | 62.0402 | 75.7
46474 | 2021-03-17 15:08 | 50.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0282 | μmol/L | 13.205 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 169472.3041 | 278055.612 | 62.0402 | 75.7
46484 | 2021-03-17 15:09 | 50.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.0001 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.35 | 169479.8409 | 278055.3425 | 62.0402 | 75.7
46494 | 2021-03-17 15:09 | 51.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9782 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 169475.7616 | 278054.4976 | 62.0402 | 75.7
46504 | 2021-03-17 15:09 | 51.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9128 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.354 | 169476.3869 | 278042.1639 | 62.0402 | 75.7
46514 | 2021-03-17 15:10 | 51.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8847 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.353 | 169485.6638 | 278055.0315 | 62.0402 | 75.7
46524 | 2021-03-17 15:10 | 52.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8847 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.353 | 169482.9317 | 278047.9265 | 62.0402 | 75.7
46534 | 2021-03-17 15:10 | 52.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9346 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.353 | 169488.6475 | 278049.1908 | 62.0402 | 75.7
46544 | 2021-03-17 15:11 | 52.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.9564 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.352 | 169489.0394 | 278038.3132 | 62.0402 | 75.7
46554 | 2021-03-17 15:11 | 53.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8411 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 169499.3931 | 278037.8651 | 62.0402 | 75.7
46564 | 2021-03-17 15:11 | 53.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8193 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 169505.0931 | 278031.4652 | 62.0402 | 75.7
46574 | 2021-03-17 15:12 | 53.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7975 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 169512.8791 | 278040.4293 | 62.0402 | 75.7
46584 | 2021-03-17 15:12 | 54.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8411 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 169504.5347 | 278046.0544 | 62.0402 | 75.7
46594 | 2021-03-17 15:12 | 54.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7975 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 169514.1027 | 278036.8565 | 62.0402 | 75.7
46604 | 2021-03-17 15:13 | 54.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8256 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 169522.1884 | 278040.0158 | 62.0402 | 75.7
46614 | 2021-03-17 15:13 | 55.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7757 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 169524.6936 | 278034.4124 | 62.0402 | 75.7
46624 | 2021-03-17 15:13 | 55.6639 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7321 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.36 | 169531.604 | 278037.1424 | 62.0402 | 75.7
46634 | 2021-03-17 15:14 | 55.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7757 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 169528.9552 | 278025.9867 | 62.0402 | 75.7
46644 | 2021-03-17 15:14 | 56.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7041 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.359 | 169536.9756 | 278031.9879 | 62.0402 | 75.7
46654 | 2021-03-17 15:14 | 56.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7477 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 169534.8226 | 278021.5712 | 62.0402 | 75.7
46664 | 2021-03-17 15:15 | 56.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.8038 | μmol/L | 13.2111 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.359 | 169545.6768 | 278030.5175 | 62.0402 | 75.7
46674 | 2021-03-17 15:15 | 57.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6387 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 169544.0606 | 278017.1025 | 62.0402 | 75.7
46684 | 2021-03-17 15:15 | 57.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.7477 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 169547.5114 | 278013.304 | 62.0402 | 75.7
46694 | 2021-03-17 15:16 | 57.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6387 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 169547.5812 | 278020.9698 | 62.0402 | 75.7
46704 | 2021-03-17 15:16 | 58.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6605 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.361 | 169549.3528 | 278024.2027 | 62.0402 | 75.7
46714 | 2021-03-17 15:16 | 58.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6107 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.361 | 169554.9777 | 278009.7911 | 62.0402 | 75.7
46724 | 2021-03-17 15:17 | 58.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6886 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 169566.2904 | 278014.0974 | 62.0402 | 75.7
46734 | 2021-03-17 15:17 | 59.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5734 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 169566.4611 | 278016.3658 | 62.0402 | 75.7
46744 | 2021-03-17 15:17 | 59.6639 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6668 | μmol/L | 13.2172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.363 | 169563.4214 | 278011.492 | 62.0402 | 75.7
46754 | 2021-03-17 15:18 | 59.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5889 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 169568.0704 | 278018.5825 | 62.0402 | 75.7
46764 | 2021-03-17 15:18 | 60.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5952 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.364 | 169569.2284 | 278003.4196 | 62.0402 | 75.7
46774 | 2021-03-17 15:18 | 60.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5453 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.364 | 169576.0186 | 277999.176 | 62.0402 | 75.7
46784 | 2021-03-17 15:19 | 60.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.6387 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 169585.6299 | 278008.2485 | 62.0402 | 75.7
46794 | 2021-03-17 15:19 | 61.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5018 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.366 | 169583.6363 | 277995.2004 | 62.0402 | 75.7
46804 | 2021-03-17 15:19 | 61.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5734 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 169583.0077 | 277996.1318 | 62.0402 | 75.7
46814 | 2021-03-17 15:20 | 61.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5453 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.364 | 169591.5802 | 277995.9481 | 62.0402 | 75.7
46824 | 2021-03-17 15:20 | 62.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.48 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.367 | 169586.8693 | 277989.9482 | 62.0402 | 75.7
46834 | 2021-03-17 15:20 | 62.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4645 | μmol/L | 13.2233 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 169592.2925 | 277989.68 | 62.0402 | 75.7
46844 | 2021-03-17 15:21 | 62.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4085 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 169596.3288 | 277989.672 | 62.0402 | 75.7
46854 | 2021-03-17 15:21 | 63.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4583 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 169599.8218 | 277990.5304 | 62.0402 | 75.7
46864 | 2021-03-17 15:21 | 63.6637 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.5236 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 169595.0847 | 277987.708 | 62.0402 | 75.7
46874 | 2021-03-17 15:22 | 63.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.48 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.367 | 169603.1413 | 277986.1775 | 62.0402 | 75.7
46884 | 2021-03-17 15:22 | 64.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4085 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 169602.2141 | 277979.9135 | 62.0402 | 75.7
46894 | 2021-03-17 15:22 | 64.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.424 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 169597.7961 | 277979.9192 | 62.0402 | 75.7
46904 | 2021-03-17 15:23 | 64.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.452 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.366 | 169601.1937 | 277975.6401 | 62.0402 | 75.7
46914 | 2021-03-17 15:23 | 65.3301 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4583 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 169609.55 | 277973.3408 | 62.0402 | 75.7
46924 | 2021-03-17 15:23 | 65.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.393 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169601.9599 | 277970.5459 | 62.0402 | 75.7
46934 | 2021-03-17 15:24 | 65.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4365 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.369 | 169608.3624 | 277967.5615 | 62.0402 | 75.7
46944 | 2021-03-17 15:24 | 66.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.48 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.367 | 169615.073 | 277969.5682 | 62.0402 | 75.7
46954 | 2021-03-17 15:24 | 66.6633 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4085 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 169619.4076 | 277975.0802 | 62.0402 | 75.7
46964 | 2021-03-17 15:25 | 66.9969 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.3432 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169629.3061 | 277962.8816 | 62.0402 | 75.7
46974 | 2021-03-17 15:25 | 67.3306 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.4147 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 169619.8866 | 277961.9088 | 62.0402 | 75.7
46984 | 2021-03-17 15:25 | 67.6637 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.3215 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169622.2534 | 277966.54 | 62.0402 | 75.7
46994 | 2021-03-17 15:26 | 67.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.3432 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169624.6788 | 277963.2636 | 62.0402 | 75.7
47004 | 2021-03-17 15:26 | 68.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.3712 | μmol/L | 13.2295 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169631.4138 | 277961.5081 | 62.0402 | 75.7
47014 | 2021-03-17 15:26 | 68.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169626.6594 | 277957.0294 | 62.0402 | 75.7
47024 | 2021-03-17 15:27 | 68.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169625.4673 | 277949.3284 | 62.0402 | 75.7
47034 | 2021-03-17 15:27 | 69.3298 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2282 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 169638.4101 | 277957.0254 | 62.0402 | 75.7
47044 | 2021-03-17 15:27 | 69.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169629.9734 | 277961.863 | 62.0402 | 75.7
47054 | 2021-03-17 15:28 | 69.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169639.9076 | 277959.7633 | 62.0402 | 75.7
47064 | 2021-03-17 15:28 | 70.33 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.365 | μmol/L | 13.2356 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 169638.5335 | 277951.5207 | 62.0402 | 75.7
47074 | 2021-03-17 15:28 | 70.6635 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169632.9522 | 277956.3409 | 62.0402 | 75.7
47084 | 2021-03-17 15:29 | 70.9966 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169637.2417 | 277955.0321 | 62.0402 | 75.7
47094 | 2021-03-17 15:29 | 71.3303 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169633.7734 | 277955.8509 | 62.0402 | 75.7
47104 | 2021-03-17 15:29 | 71.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2655 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 169635.9894 | 277944.4454 | 62.0402 | 75.7
47114 | 2021-03-17 15:30 | 71.9967 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2935 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169639.5111 | 277947.0895 | 62.0402 | 75.7
47124 | 2021-03-17 15:30 | 72.3305 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.1785 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 169640.7233 | 277959.775 | 62.0402 | 75.7
47134 | 2021-03-17 15:30 | 72.6634 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2717 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169639.5115 | 277964.8019 | 62.0402 | 75.7
47144 | 2021-03-17 15:31 | 72.9971 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2437 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169636.542 | 277944.564 | 62.0402 | 75.7
47154 | 2021-03-17 15:31 | 73.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2002 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 169644.5121 | 277957.7353 | 62.0402 | 75.7
47164 | 2021-03-17 15:31 | 73.6637 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2437 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169645.3352 | 277954.4056 | 62.0402 | 75.7
47174 | 2021-03-17 15:32 | 73.9965 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2002 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 169650.4767 | 277944.0994 | 62.0402 | 75.7
47184 | 2021-03-17 15:32 | 74.3304 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2437 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169650.5756 | 277952.2899 | 62.0402 | 75.7
47194 | 2021-03-17 15:32 | 74.6632 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.25 | μmol/L | 13.2417 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 169650.1873 | 277944.7814 | 62.0402 | 75.7
47204 | 2021-03-17 15:33 | 74.997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2655 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 169652.2651 | 277954.0884 | 62.0402 | 75.7
47214 | 2021-03-17 15:33 | 75.3299 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.194 | μmol/L | 13.254 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 169651.975 | 277950.4135 | 62.0402 | 75.7
47224 | 2021-03-17 15:33 | 75.6636 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.1722 | μmol/L | 13.254 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 169656.9362 | 277956.9903 | 62.0402 | 75.7
47234 | 2021-03-17 15:34 | 75.9972 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.1785 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 169673.6742 | 277956.4193 | 62.0402 | 75.7
47244 | 2021-03-17 15:34 | 76.3302 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.1505 | μmol/L | 13.254 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 169665.7612 | 277949.8354 | 62.0402 | 75.7
47254 | 2021-03-17 15:34 | 76.6638 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.1288 | μmol/L | 13.254 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 169670.8611 | 277952.0751 | 62.0402 | 75.7
47264 | 2021-03-17 15:35 | 76.9968 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 257.2002 | μmol/L | 13.2478 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 169669.4496 | 277956.6752 | 62.0402 | 75.7