## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44958 | 2021-03-17 14:18 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.15 | μmol/L | 13.1241 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 145407.7712 | 302158.1328 | 59.9307 | 38.1
44966 | 2021-03-17 14:18 | 0.33326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.1814 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 145400.9591 | 302155.2882 | 59.9307 | 38.1
44976 | 2021-03-17 14:18 | 0.66686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.2092 | μmol/L | 13.1302 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.352 | 145401.8144 | 302140.392 | 59.9307 | 38.1
44986 | 2021-03-17 14:19 | 0.99972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.237 | μmol/L | 13.1241 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.353 | 145406.0312 | 302132.9594 | 59.9307 | 38.1
44996 | 2021-03-17 14:19 | 1.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.2804 | μmol/L | 13.1241 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.351 | 145386.1063 | 302116.366 | 59.9307 | 38.1
45006 | 2021-03-17 14:19 | 1.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0667 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.354 | 145387.1709 | 302114.9374 | 59.9307 | 38.1
45016 | 2021-03-17 14:20 | 2 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.144 | μmol/L | 13.1302 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 145381.2263 | 302097.5147 | 59.9307 | 38.1
45026 | 2021-03-17 14:20 | 2.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.1657 | μmol/L | 13.1302 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.354 | 145374.9297 | 302081.5782 | 59.9307 | 38.1
45036 | 2021-03-17 14:20 | 2.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.144 | μmol/L | 13.1302 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 145377.9988 | 302079.4224 | 59.9307 | 38.1
45046 | 2021-03-17 14:21 | 3.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.144 | μmol/L | 13.1302 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.355 | 145382.5243 | 302069.7897 | 59.9307 | 38.1
45056 | 2021-03-17 14:21 | 3.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.1162 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.354 | 145369.0661 | 302045.328 | 59.9307 | 38.1
45066 | 2021-03-17 14:21 | 3.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0728 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 145359.5519 | 302051.7747 | 59.9307 | 38.1
45076 | 2021-03-17 14:22 | 4 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0728 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 145361.6358 | 302044.4155 | 59.9307 | 38.1
45086 | 2021-03-17 14:22 | 4.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0728 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 145359.4028 | 302034.3133 | 59.9307 | 38.1
45096 | 2021-03-17 14:22 | 4.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0728 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 145359.0531 | 302027.1187 | 59.9307 | 38.1
45106 | 2021-03-17 14:23 | 5.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0076 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.359 | 145359.679 | 302037.5497 | 59.9307 | 38.1
45116 | 2021-03-17 14:23 | 5.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0667 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.354 | 145353.401 | 302024.4929 | 59.9307 | 38.1
45126 | 2021-03-17 14:23 | 5.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.051 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.357 | 145355.4218 | 302031.0491 | 59.9307 | 38.1
45136 | 2021-03-17 14:24 | 5.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0293 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 145354.9137 | 302003.8857 | 59.9307 | 38.1
45146 | 2021-03-17 14:24 | 6.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0728 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.356 | 145350.1712 | 302000.0586 | 59.9307 | 38.1
45156 | 2021-03-17 14:24 | 6.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0293 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 145350.2179 | 301997.4979 | 59.9307 | 38.1
45166 | 2021-03-17 14:25 | 7.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9581 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.359 | 145353.6386 | 302007.3069 | 59.9307 | 38.1
45176 | 2021-03-17 14:25 | 7.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0293 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.358 | 145351.5612 | 301997.4224 | 59.9307 | 38.1
45186 | 2021-03-17 14:25 | 7.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9642 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.361 | 145348.1819 | 301979.4652 | 59.9307 | 38.1
45196 | 2021-03-17 14:26 | 8 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9425 | μmol/L | 13.1363 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 145339.6635 | 301976.2352 | 59.9307 | 38.1
45206 | 2021-03-17 14:26 | 8.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8713 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.363 | 145353.928 | 301985.515 | 59.9307 | 38.1
45216 | 2021-03-17 14:26 | 8.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8435 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 145345.2874 | 301966.4883 | 59.9307 | 38.1
45226 | 2021-03-17 14:27 | 8.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.893 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 145353.6936 | 301966.4264 | 59.9307 | 38.1
45236 | 2021-03-17 14:27 | 9.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8713 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.363 | 145353.8555 | 301957.3225 | 59.9307 | 38.1
45246 | 2021-03-17 14:27 | 9.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8279 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 145354.7128 | 301957.2742 | 59.9307 | 38.1
45256 | 2021-03-17 14:28 | 10.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8713 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.363 | 145351.5478 | 301946.89 | 59.9307 | 38.1
45266 | 2021-03-17 14:28 | 10.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8496 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.364 | 145355.3362 | 301943.4406 | 59.9307 | 38.1
45276 | 2021-03-17 14:28 | 10.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8279 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 145356.6673 | 301945.2604 | 59.9307 | 38.1
45286 | 2021-03-17 14:29 | 10.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6917 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.369 | 145352.7826 | 301945.7896 | 59.9307 | 38.1
45296 | 2021-03-17 14:29 | 11.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8435 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.362 | 145348.8135 | 301935.2593 | 59.9307 | 38.1
45306 | 2021-03-17 14:29 | 11.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.7134 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.368 | 145352.3077 | 301929.4414 | 59.9307 | 38.1
45316 | 2021-03-17 14:30 | 12.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8279 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.365 | 145356.1082 | 301933.3353 | 59.9307 | 38.1
45326 | 2021-03-17 14:30 | 12.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6483 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 145368.3511 | 301934.2965 | 59.9307 | 38.1
45336 | 2021-03-17 14:30 | 12.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6917 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.369 | 145360.9919 | 301922.2838 | 59.9307 | 38.1
45346 | 2021-03-17 14:31 | 13.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6917 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.369 | 145355.9413 | 301913.2577 | 59.9307 | 38.1
45356 | 2021-03-17 14:31 | 13.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.67 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.37 | 145358.5741 | 301902.2191 | 59.9307 | 38.1
45366 | 2021-03-17 14:31 | 13.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5496 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 145359.6881 | 301907.5361 | 59.9307 | 38.1
45376 | 2021-03-17 14:32 | 13.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6483 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 145359.1693 | 301902.6558 | 59.9307 | 38.1
45386 | 2021-03-17 14:32 | 14.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.605 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 145354.7383 | 301900.5922 | 59.9307 | 38.1
45396 | 2021-03-17 14:32 | 14.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6483 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 145366.2352 | 301906.9171 | 59.9307 | 38.1
45406 | 2021-03-17 14:33 | 15 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5773 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.372 | 145358.2861 | 301896.4507 | 59.9307 | 38.1
45416 | 2021-03-17 14:33 | 15.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.54 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.376 | 145356.1218 | 301884.0441 | 59.9307 | 38.1
45426 | 2021-03-17 14:33 | 15.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5339 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 145357.2977 | 301893.5352 | 59.9307 | 38.1
45436 | 2021-03-17 14:34 | 16.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6327 | μmol/L | 13.1424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 145355.8881 | 301887.1859 | 59.9307 | 38.1
45446 | 2021-03-17 14:34 | 16.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.605 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 145360.5096 | 301877.3707 | 59.9307 | 38.1
45456 | 2021-03-17 14:34 | 16.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5616 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.375 | 145359.5669 | 301879.2908 | 59.9307 | 38.1
45466 | 2021-03-17 14:35 | 16.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5989 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.371 | 145361.5847 | 301879.6448 | 59.9307 | 38.1
45476 | 2021-03-17 14:35 | 17.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5556 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.373 | 145358.3789 | 301863.4249 | 59.9307 | 38.1
45486 | 2021-03-17 14:35 | 17.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5339 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 145340.4393 | 301859.0927 | 59.9307 | 38.1
45496 | 2021-03-17 14:36 | 18.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5616 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.375 | 145341.5603 | 301865.8592 | 59.9307 | 38.1
45506 | 2021-03-17 14:36 | 18.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5183 | μmol/L | 13.1485 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.377 | 145342.1387 | 301862.9622 | 59.9307 | 38.1
45516 | 2021-03-17 14:36 | 18.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4906 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.376 | 145340.0693 | 301856.6791 | 59.9307 | 38.1
45526 | 2021-03-17 14:37 | 19.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3763 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.379 | 145344.6403 | 301867.1646 | 59.9307 | 38.1
45536 | 2021-03-17 14:37 | 19.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4196 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.377 | 145328.7992 | 301852.8571 | 59.9307 | 38.1
45546 | 2021-03-17 14:37 | 19.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5339 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.374 | 145347.6498 | 301856.2 | 59.9307 | 38.1
45556 | 2021-03-17 14:38 | 19.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4196 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.377 | 145343.9833 | 301850.0168 | 59.9307 | 38.1
45566 | 2021-03-17 14:38 | 20.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3979 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145343.0513 | 301863.0182 | 59.9307 | 38.1
45576 | 2021-03-17 14:38 | 20.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4473 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145342.3875 | 301846.6758 | 59.9307 | 38.1
45586 | 2021-03-17 14:39 | 20.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3919 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.376 | 145343.5291 | 301842.3122 | 59.9307 | 38.1
45596 | 2021-03-17 14:39 | 21.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2992 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145344.409 | 301849.0307 | 59.9307 | 38.1
45606 | 2021-03-17 14:39 | 21.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3763 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.379 | 145346.7628 | 301850.9156 | 59.9307 | 38.1
45616 | 2021-03-17 14:40 | 22.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3979 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145341.3051 | 301848.1988 | 59.9307 | 38.1
45626 | 2021-03-17 14:40 | 22.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4473 | μmol/L | 13.1546 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145352.5856 | 301847.9838 | 59.9307 | 38.1
45636 | 2021-03-17 14:40 | 22.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3053 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.38 | 145346.8328 | 301836.0765 | 59.9307 | 38.1
45646 | 2021-03-17 14:41 | 22.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4196 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.377 | 145345.7467 | 301840.8912 | 59.9307 | 38.1
45656 | 2021-03-17 14:41 | 23.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3979 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145345.1124 | 301837.9428 | 59.9307 | 38.1
45666 | 2021-03-17 14:41 | 23.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3486 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.378 | 145345.4192 | 301834.7364 | 59.9307 | 38.1
45676 | 2021-03-17 14:42 | 24 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3546 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.38 | 145346.3706 | 301848.7613 | 59.9307 | 38.1
45686 | 2021-03-17 14:42 | 24.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3546 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.38 | 145336.4539 | 301836.3698 | 59.9307 | 38.1
45696 | 2021-03-17 14:42 | 24.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.262 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.382 | 145347.0682 | 301821.1776 | 59.9307 | 38.1
45706 | 2021-03-17 14:43 | 25.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.333 | μmol/L | 13.1606 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.381 | 145337.5988 | 301818.3204 | 59.9307 | 38.1
45716 | 2021-03-17 14:43 | 25.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2836 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.381 | 145354.8165 | 301827.1828 | 59.9307 | 38.1
45726 | 2021-03-17 14:43 | 25.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2836 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.381 | 145348.8416 | 301820.5588 | 59.9307 | 38.1
45736 | 2021-03-17 14:44 | 26.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.262 | μmol/L | 13.1667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.382 | 145341.5028 | 301822.7538 | 59.9307 | 38.1
45746 | 2021-03-17 14:44 | 26.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.256 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.38 | 145351.3257 | 301827.7948 | 59.9307 | 38.1
45756 | 2021-03-17 14:44 | 26.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.191 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.383 | 145349.4977 | 301830.2822 | 59.9307 | 38.1
45766 | 2021-03-17 14:45 | 26.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2127 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.382 | 145348.207 | 301828.0646 | 59.9307 | 38.1
45776 | 2021-03-17 14:45 | 27.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.191 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.383 | 145350.9348 | 301826.8031 | 59.9307 | 38.1
45786 | 2021-03-17 14:45 | 27.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1478 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.385 | 145360.2441 | 301828.1071 | 59.9307 | 38.1
45796 | 2021-03-17 14:46 | 28.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2127 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.382 | 145356.9193 | 301824.5392 | 59.9307 | 38.1
45806 | 2021-03-17 14:46 | 28.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1694 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.384 | 145356.7052 | 301805.317 | 59.9307 | 38.1
45816 | 2021-03-17 14:46 | 28.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1045 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.387 | 145361.7754 | 301804.1439 | 59.9307 | 38.1
45826 | 2021-03-17 14:47 | 29.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0985 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.385 | 145358.1398 | 301803.2473 | 59.9307 | 38.1
45836 | 2021-03-17 14:47 | 29.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0769 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.386 | 145370.5926 | 301813.6867 | 59.9307 | 38.1
45846 | 2021-03-17 14:47 | 29.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0552 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.387 | 145355.5488 | 301803.6795 | 59.9307 | 38.1
45856 | 2021-03-17 14:48 | 30.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0336 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.388 | 145369.9738 | 301787.552 | 59.9307 | 38.1
45866 | 2021-03-17 14:48 | 30.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.012 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.389 | 145366.0425 | 301798.7391 | 59.9307 | 38.1
45876 | 2021-03-17 14:48 | 30.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0396 | μmol/L | 13.1728 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.39 | 145367.8127 | 301791.9437 | 59.9307 | 38.1
45886 | 2021-03-17 14:49 | 30.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.012 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.389 | 145368.0546 | 301783.4425 | 59.9307 | 38.1
45896 | 2021-03-17 14:49 | 31.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.012 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.389 | 145374.2513 | 301785.6282 | 59.9307 | 38.1
45906 | 2021-03-17 14:49 | 31.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9471 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.392 | 145374.6827 | 301783.4453 | 59.9307 | 38.1
45916 | 2021-03-17 14:50 | 31.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8547 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.394 | 145382.8215 | 301778.9593 | 59.9307 | 38.1
45926 | 2021-03-17 14:50 | 32.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9688 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.391 | 145383.4789 | 301779.0469 | 59.9307 | 38.1
45936 | 2021-03-17 14:50 | 32.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9255 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.393 | 145383.1571 | 301790.6679 | 59.9307 | 38.1
45946 | 2021-03-17 14:51 | 33.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8331 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.395 | 145394.6456 | 301775.044 | 59.9307 | 38.1
45956 | 2021-03-17 14:51 | 33.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8115 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.396 | 145403.7737 | 301773.844 | 59.9307 | 38.1
45966 | 2021-03-17 14:51 | 33.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8391 | μmol/L | 13.1789 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.397 | 145404.9155 | 301781.8547 | 59.9307 | 38.1
45976 | 2021-03-17 14:52 | 34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7899 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.397 | 145407.0386 | 301764.6853 | 59.9307 | 38.1
45986 | 2021-03-17 14:52 | 34.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7899 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.397 | 145403.2042 | 301760.8471 | 59.9307 | 38.1
45996 | 2021-03-17 14:52 | 34.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7467 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.399 | 145412.3034 | 301756.9906 | 59.9307 | 38.1
46006 | 2021-03-17 14:53 | 35.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7899 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.397 | 145414.8781 | 301760.2859 | 59.9307 | 38.1
46016 | 2021-03-17 14:53 | 35.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7683 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.398 | 145421.4422 | 301762.6428 | 59.9307 | 38.1
46026 | 2021-03-17 14:53 | 35.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6327 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.402 | 145420.3965 | 301754.2487 | 59.9307 | 38.1
46036 | 2021-03-17 14:54 | 35.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6388 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.404 | 145435.3026 | 301760.8128 | 59.9307 | 38.1
46046 | 2021-03-17 14:54 | 36.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.568 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.405 | 145439.7118 | 301768.674 | 59.9307 | 38.1
46056 | 2021-03-17 14:54 | 36.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6388 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.404 | 145431.6546 | 301744.7711 | 59.9307 | 38.1
46066 | 2021-03-17 14:55 | 37.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6603 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.403 | 145444.4565 | 301745.6151 | 59.9307 | 38.1
46076 | 2021-03-17 14:55 | 37.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6603 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.403 | 145443.0834 | 301765.1937 | 59.9307 | 38.1
46086 | 2021-03-17 14:55 | 37.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5309 | μmol/L | 13.185 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.409 | 145448.6191 | 301736.6118 | 59.9307 | 38.1
46096 | 2021-03-17 14:56 | 38.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.568 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.405 | 145452.5899 | 301743.5729 | 59.9307 | 38.1
46106 | 2021-03-17 14:56 | 38.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5033 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.408 | 145463.5437 | 301729.3361 | 59.9307 | 38.1
46116 | 2021-03-17 14:56 | 38.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3463 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.413 | 145462.078 | 301711.0051 | 59.9307 | 38.1
46126 | 2021-03-17 14:57 | 38.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3679 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.412 | 145470.5539 | 301728.0036 | 59.9307 | 38.1
46136 | 2021-03-17 14:57 | 39.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3955 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.413 | 145469.0805 | 301715.4888 | 59.9307 | 38.1
46146 | 2021-03-17 14:57 | 39.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3248 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.414 | 145483.4806 | 301721.1118 | 59.9307 | 38.1
46156 | 2021-03-17 14:58 | 39.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.417 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.412 | 145484.0096 | 301723.7349 | 59.9307 | 38.1
46166 | 2021-03-17 14:58 | 40.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2171 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.419 | 145502.7346 | 301718.1108 | 59.9307 | 38.1
46176 | 2021-03-17 14:58 | 40.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3093 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.417 | 145511.261 | 301718.2923 | 59.9307 | 38.1
46186 | 2021-03-17 14:59 | 40.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.18 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.423 | 145514.1773 | 301713.8871 | 59.9307 | 38.1
46196 | 2021-03-17 14:59 | 41.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2015 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.422 | 145529.5815 | 301727.4218 | 59.9307 | 38.1
46206 | 2021-03-17 14:59 | 41.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2015 | μmol/L | 13.1911 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.422 | 145531.481 | 301715.867 | 59.9307 | 38.1
46216 | 2021-03-17 15:00 | 42.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0818 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.423 | 145541.8157 | 301712.8285 | 59.9307 | 38.1
46226 | 2021-03-17 15:00 | 42.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0663 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.426 | 145549.3522 | 301700.9645 | 59.9307 | 38.1
46236 | 2021-03-17 15:00 | 42.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9957 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.427 | 145560.0783 | 301710.6972 | 59.9307 | 38.1
46246 | 2021-03-17 15:01 | 43 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0173 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.426 | 145570.4609 | 301714.4646 | 59.9307 | 38.1
46256 | 2021-03-17 15:01 | 43.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0448 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.427 | 145581.4914 | 301715.5488 | 59.9307 | 38.1
46266 | 2021-03-17 15:01 | 43.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9802 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.43 | 145589.8314 | 301707.6231 | 59.9307 | 38.1
46276 | 2021-03-17 15:02 | 44.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8882 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.432 | 145594.5853 | 301713.9504 | 59.9307 | 38.1
46286 | 2021-03-17 15:02 | 44.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8667 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.433 | 145600.4334 | 301692.0511 | 59.9307 | 38.1
46296 | 2021-03-17 15:02 | 44.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8237 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.435 | 145608.6352 | 301703.8828 | 59.9307 | 38.1
46306 | 2021-03-17 15:03 | 44.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8512 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.436 | 145613.8019 | 301705.687 | 59.9307 | 38.1
46316 | 2021-03-17 15:03 | 45.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7377 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.439 | 145626.838 | 301709.4059 | 59.9307 | 38.1
46326 | 2021-03-17 15:03 | 45.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7592 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.438 | 145634.411 | 301706.1693 | 59.9307 | 38.1
46336 | 2021-03-17 15:04 | 46 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7162 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.44 | 145632.6649 | 301690.7492 | 59.9307 | 38.1
46346 | 2021-03-17 15:04 | 46.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7222 | μmol/L | 13.1972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.442 | 145646.2359 | 301702.4526 | 59.9307 | 38.1
46356 | 2021-03-17 15:04 | 46.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6242 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.442 | 145659.8895 | 301686.3448 | 59.9307 | 38.1
46366 | 2021-03-17 15:05 | 47.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6732 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.442 | 145663.9373 | 301690.6558 | 59.9307 | 38.1
46376 | 2021-03-17 15:05 | 47.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6732 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.442 | 145674.8309 | 301690.7155 | 59.9307 | 38.1
46386 | 2021-03-17 15:05 | 47.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5813 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.444 | 145687.3205 | 301682.3956 | 59.9307 | 38.1
46396 | 2021-03-17 15:06 | 47.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5168 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.447 | 145687.6591 | 301680.6512 | 59.9307 | 38.1
46406 | 2021-03-17 15:06 | 48.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5443 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.448 | 145694.5883 | 301689.1671 | 59.9307 | 38.1
46416 | 2021-03-17 15:06 | 48.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5873 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.446 | 145699.9975 | 301680.5474 | 59.9307 | 38.1
46426 | 2021-03-17 15:07 | 49.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4954 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.448 | 145700.434 | 301671.3205 | 59.9307 | 38.1
46436 | 2021-03-17 15:07 | 49.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4739 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.449 | 145717.2479 | 301684.1274 | 59.9307 | 38.1
46446 | 2021-03-17 15:07 | 49.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4524 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.45 | 145731.3171 | 301689.476 | 59.9307 | 38.1
46456 | 2021-03-17 15:08 | 49.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3881 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.453 | 145735.4025 | 301681.4332 | 59.9307 | 38.1
46466 | 2021-03-17 15:08 | 50.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3941 | μmol/L | 13.2033 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.455 | 145738.1442 | 301676.6418 | 59.9307 | 38.1
46476 | 2021-03-17 15:08 | 50.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2962 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.455 | 145743.0594 | 301670.3865 | 59.9307 | 38.1
46486 | 2021-03-17 15:09 | 51.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3177 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.454 | 145750.0487 | 301679.3938 | 59.9307 | 38.1
46496 | 2021-03-17 15:09 | 51.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2748 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.456 | 145756.8763 | 301678.0378 | 59.9307 | 38.1
46506 | 2021-03-17 15:09 | 51.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3237 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.456 | 145766.5249 | 301682.5029 | 59.9307 | 38.1
46516 | 2021-03-17 15:10 | 52.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2319 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.458 | 145770.7996 | 301681.2037 | 59.9307 | 38.1
46526 | 2021-03-17 15:10 | 52.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2533 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.457 | 145766.3078 | 301667.4483 | 59.9307 | 38.1
46536 | 2021-03-17 15:10 | 52.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2808 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.458 | 145769.6832 | 301670.0266 | 59.9307 | 38.1
46546 | 2021-03-17 15:11 | 53.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1247 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.463 | 145770.3056 | 301654.8027 | 59.9307 | 38.1
46556 | 2021-03-17 15:11 | 53.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1521 | μmol/L | 13.2094 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.464 | 145787.23 | 301660.6635 | 59.9307 | 38.1
46566 | 2021-03-17 15:11 | 53.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0758 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.463 | 145788.6822 | 301666.9758 | 59.9307 | 38.1
46576 | 2021-03-17 15:12 | 54 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1461 | μmol/L | 13.2155 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.462 | 145794.1896 | 301666.8316 | 59.9307 | 38.1
46586 | 2021-03-17 15:12 | 54.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0116 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.466 | 145794.7761 | 301661.7486 | 59.9307 | 38.1
46596 | 2021-03-17 15:12 | 54.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0544 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.464 | 145797.2102 | 301676.9735 | 59.9307 | 38.1
46606 | 2021-03-17 15:13 | 55.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0116 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.466 | 145798.3308 | 301666.3289 | 59.9307 | 38.1
46616 | 2021-03-17 15:13 | 55.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0116 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.466 | 145801.299 | 301677.8827 | 59.9307 | 38.1
46626 | 2021-03-17 15:13 | 55.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9413 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.467 | 145799.8635 | 301668.5087 | 59.9307 | 38.1
46636 | 2021-03-17 15:14 | 56.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0544 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.464 | 145804.931 | 301665.153 | 59.9307 | 38.1
46646 | 2021-03-17 15:14 | 56.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9901 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.467 | 145812.0491 | 301654.4853 | 59.9307 | 38.1
46656 | 2021-03-17 15:14 | 56.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9687 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.468 | 145813.6091 | 301660.4906 | 59.9307 | 38.1
46666 | 2021-03-17 15:15 | 56.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8985 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.469 | 145819.9791 | 301653.1369 | 59.9307 | 38.1
46676 | 2021-03-17 15:15 | 57.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9199 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.468 | 145813.7979 | 301637.2105 | 59.9307 | 38.1
46686 | 2021-03-17 15:15 | 57.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9841 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.465 | 145822.5322 | 301652.0145 | 59.9307 | 38.1
46696 | 2021-03-17 15:16 | 58.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9687 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.468 | 145818.2475 | 301644.6139 | 59.9307 | 38.1
46706 | 2021-03-17 15:16 | 58.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8985 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.469 | 145820.2022 | 301654.6299 | 59.9307 | 38.1
46716 | 2021-03-17 15:16 | 58.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8068 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.471 | 145831.9281 | 301642.2156 | 59.9307 | 38.1
46726 | 2021-03-17 15:17 | 58.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8342 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.472 | 145838.2586 | 301654.7515 | 59.9307 | 38.1
46736 | 2021-03-17 15:17 | 59.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8342 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.472 | 145837.1296 | 301652.2385 | 59.9307 | 38.1
46746 | 2021-03-17 15:17 | 59.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7426 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.474 | 145849.7818 | 301649.963 | 59.9307 | 38.1
46756 | 2021-03-17 15:18 | 60 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.77 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.475 | 145851.6564 | 301648.4208 | 59.9307 | 38.1
46766 | 2021-03-17 15:18 | 60.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7486 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.476 | 145859.956 | 301651.104 | 59.9307 | 38.1
46776 | 2021-03-17 15:18 | 60.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7119 | μmol/L | 13.2216 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.48 | 145856.9026 | 301650.9025 | 59.9307 | 38.1
46786 | 2021-03-17 15:19 | 61.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6845 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.479 | 145868.8759 | 301653.8083 | 59.9307 | 38.1
46796 | 2021-03-17 15:19 | 61.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5442 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.481 | 145874.8031 | 301637.8891 | 59.9307 | 38.1
46806 | 2021-03-17 15:19 | 61.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6631 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.48 | 145872.6623 | 301640.2992 | 59.9307 | 38.1
46816 | 2021-03-17 15:20 | 62.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5929 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.481 | 145873.9443 | 301631.8751 | 59.9307 | 38.1
46826 | 2021-03-17 15:20 | 62.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5228 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.482 | 145877.6343 | 301628.6881 | 59.9307 | 38.1
46836 | 2021-03-17 15:20 | 62.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6417 | μmol/L | 13.2277 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.481 | 145886.6704 | 301635.7283 | 59.9307 | 38.1
46846 | 2021-03-17 15:21 | 62.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5715 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.482 | 145901.1905 | 301634.0584 | 59.9307 | 38.1
46856 | 2021-03-17 15:21 | 63.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4373 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.486 | 145905.0278 | 301622.6696 | 59.9307 | 38.1
46866 | 2021-03-17 15:21 | 63.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4373 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.486 | 145910.5791 | 301616.0658 | 59.9307 | 38.1
46876 | 2021-03-17 15:22 | 64 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4587 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.485 | 145918.6072 | 301630.6967 | 59.9307 | 38.1
46886 | 2021-03-17 15:22 | 64.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3732 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.489 | 145926.3472 | 301621.8406 | 59.9307 | 38.1
46896 | 2021-03-17 15:22 | 64.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3946 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.488 | 145940.7043 | 301625.2768 | 59.9307 | 38.1
46906 | 2021-03-17 15:23 | 65.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4006 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.49 | 145937.4477 | 301623.3995 | 59.9307 | 38.1
46916 | 2021-03-17 15:23 | 65.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2605 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.492 | 145946.2318 | 301619.693 | 59.9307 | 38.1
46926 | 2021-03-17 15:23 | 65.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.422 | μmol/L | 13.2338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.489 | 145946.5409 | 301622.3196 | 59.9307 | 38.1
46936 | 2021-03-17 15:24 | 65.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3092 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.492 | 145965.4732 | 301622.0049 | 59.9307 | 38.1
46946 | 2021-03-17 15:24 | 66.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.1964 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.495 | 145960.7527 | 301616.4852 | 59.9307 | 38.1
46956 | 2021-03-17 15:24 | 66.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2024 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.497 | 145977.6274 | 301621.7169 | 59.9307 | 38.1
46966 | 2021-03-17 15:25 | 67.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.1111 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.499 | 145990.9579 | 301626.9906 | 59.9307 | 38.1
46976 | 2021-03-17 15:25 | 67.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0838 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.498 | 146008.3036 | 301628.0754 | 59.9307 | 38.1
46986 | 2021-03-17 15:25 | 67.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0411 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.5 | 146008.1123 | 301613.3645 | 59.9307 | 38.1
46996 | 2021-03-17 15:26 | 67.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0897 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.5 | 146024.0138 | 301616.6973 | 59.9307 | 38.1
47006 | 2021-03-17 15:26 | 68.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9345 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.505 | 146021.9556 | 301612.1961 | 59.9307 | 38.1
47016 | 2021-03-17 15:26 | 68.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9831 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.505 | 146032.1278 | 301617.0641 | 59.9307 | 38.1
47026 | 2021-03-17 15:27 | 68.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0104 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.506 | 146040.4188 | 301622.0368 | 59.9307 | 38.1
47036 | 2021-03-17 15:27 | 69.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8919 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.507 | 146055.6384 | 301614.6458 | 59.9307 | 38.1
47046 | 2021-03-17 15:27 | 69.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8979 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.509 | 146063.9564 | 301611.0686 | 59.9307 | 38.1
47056 | 2021-03-17 15:28 | 70.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8825 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.512 | 146089.2015 | 301623.1379 | 59.9307 | 38.1
47066 | 2021-03-17 15:28 | 70.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8066 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.511 | 146085.3486 | 301610.3177 | 59.9307 | 38.1
47076 | 2021-03-17 15:28 | 70.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8186 | μmol/L | 13.2399 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.515 | 146102.6021 | 301621.7742 | 59.9307 | 38.1
47086 | 2021-03-17 15:29 | 71.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6788 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.517 | 146114.5027 | 301630.5451 | 59.9307 | 38.1
47096 | 2021-03-17 15:29 | 71.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7487 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.516 | 146116.8083 | 301616.2696 | 59.9307 | 38.1
47106 | 2021-03-17 15:29 | 71.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5724 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.522 | 146142.3744 | 301622.432 | 59.9307 | 38.1
47116 | 2021-03-17 15:30 | 72 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5877 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.519 | 146143.7579 | 301614.0775 | 59.9307 | 38.1
47126 | 2021-03-17 15:30 | 72.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5571 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.525 | 146157.643 | 301625.4889 | 59.9307 | 38.1
47136 | 2021-03-17 15:30 | 72.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5571 | μmol/L | 13.246 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.525 | 146173.0865 | 301624.6812 | 59.9307 | 38.1
47146 | 2021-03-17 15:31 | 73.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4873 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.526 | 146175.5845 | 301627.9893 | 59.9307 | 38.1
47156 | 2021-03-17 15:31 | 73.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3963 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.528 | 146190.269 | 301632.6076 | 59.9307 | 38.1
47166 | 2021-03-17 15:31 | 73.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.375 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.529 | 146202.4204 | 301614.7934 | 59.9307 | 38.1
47176 | 2021-03-17 15:32 | 74.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4448 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.528 | 146208.2004 | 301624.0787 | 59.9307 | 38.1
47186 | 2021-03-17 15:32 | 74.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4235 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.529 | 146227.485 | 301638.8589 | 59.9307 | 38.1
47196 | 2021-03-17 15:32 | 74.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.284 | μmol/L | 13.2643 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.531 | 146225.3127 | 301636.7633 | 59.9307 | 38.1
47206 | 2021-03-17 15:33 | 74.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2262 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.536 | 146224.4646 | 301633.4788 | 59.9307 | 38.1
47216 | 2021-03-17 15:33 | 75.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3325 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.531 | 146239.6328 | 301634.6565 | 59.9307 | 38.1
47226 | 2021-03-17 15:33 | 75.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2415 | μmol/L | 13.2643 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.533 | 146235.7836 | 301635.8394 | 59.9307 | 38.1
47236 | 2021-03-17 15:34 | 75.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.29 | μmol/L | 13.2582 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.533 | 146245.1572 | 301626.4668 | 59.9307 | 38.1
47246 | 2021-03-17 15:34 | 76.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2747 | μmol/L | 13.2521 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.536 | 146251.3575 | 301639.6003 | 59.9307 | 38.1
47256 | 2021-03-17 15:34 | 76.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.114 | μmol/L | 13.2643 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.539 | 146250.2849 | 301628.167 | 59.9307 | 38.1
47266 | 2021-03-17 15:35 | 77.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.1565 | μmol/L | 13.2643 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.537 | 146265.2167 | 301623.9038 | 59.9307 | 38.1