## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44960 | 2021-03-17 14:18 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.6374 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.339 | 107654.9927 | 299585.8973 | 28.7 | 67.6
44970 | 2021-03-17 14:18 | 0.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5282 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107656.5291 | 299601.991 | 28.7 | 67.6
44980 | 2021-03-17 14:18 | 0.66628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5004 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107645.4447 | 299589.5259 | 28.7 | 67.6
44990 | 2021-03-17 14:19 | 0.99999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.6592 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.338 | 107632.0606 | 299597.8697 | 28.7 | 67.6
45000 | 2021-03-17 14:19 | 1.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5718 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107621.2856 | 299597.6241 | 28.7 | 67.6
45010 | 2021-03-17 14:19 | 1.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.6155 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 107612.9273 | 299585.0726 | 28.7 | 67.6
45020 | 2021-03-17 14:20 | 2.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.6215 | μmol/L | 13.0971 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107611.7122 | 299589.7108 | 28.7 | 67.6
45030 | 2021-03-17 14:20 | 2.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.4508 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107612.6886 | 299580.3317 | 28.7 | 67.6
45040 | 2021-03-17 14:20 | 2.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.4786 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107593.7606 | 299585.0037 | 28.7 | 67.6
45050 | 2021-03-17 14:21 | 3.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5718 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107591.3344 | 299576.8586 | 28.7 | 67.6
45060 | 2021-03-17 14:21 | 3.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5718 | μmol/L | 13.1031 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107585.399 | 299574.4429 | 28.7 | 67.6
45070 | 2021-03-17 14:21 | 3.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.56 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.338 | 107585.2839 | 299573.4466 | 28.7 | 67.6
45080 | 2021-03-17 14:22 | 3.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.4349 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107579.2963 | 299579.147 | 28.7 | 67.6
45090 | 2021-03-17 14:22 | 4.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5004 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107575.6067 | 299566.8499 | 28.7 | 67.6
45100 | 2021-03-17 14:22 | 4.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3853 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107568.6799 | 299556.6197 | 28.7 | 67.6
45110 | 2021-03-17 14:23 | 4.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5163 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 107574.6296 | 299553.8948 | 28.7 | 67.6
45120 | 2021-03-17 14:23 | 5.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5004 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107571.8397 | 299565.9979 | 28.7 | 67.6
45130 | 2021-03-17 14:23 | 5.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5004 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107569.8711 | 299565.956 | 28.7 | 67.6
45140 | 2021-03-17 14:24 | 5.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.4071 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107571.5421 | 299546.8399 | 28.7 | 67.6
45150 | 2021-03-17 14:24 | 6.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3912 | μmol/L | 13.1092 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107562.3503 | 299555.7939 | 28.7 | 67.6
45160 | 2021-03-17 14:24 | 6.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.423 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107565.631 | 299547.3818 | 28.7 | 67.6
45170 | 2021-03-17 14:25 | 7 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.429 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107549.5154 | 299549.0212 | 28.7 | 67.6
45180 | 2021-03-17 14:25 | 7.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.298 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107550.1119 | 299531.8652 | 28.7 | 67.6
45190 | 2021-03-17 14:25 | 7.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3575 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107544.7682 | 299541.2521 | 28.7 | 67.6
45200 | 2021-03-17 14:26 | 7.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.4071 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107543.5902 | 299521.7452 | 28.7 | 67.6
45210 | 2021-03-17 14:26 | 8.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3575 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107547.2141 | 299530.8077 | 28.7 | 67.6
45220 | 2021-03-17 14:26 | 8.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3575 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107544.809 | 299512.3825 | 28.7 | 67.6
45230 | 2021-03-17 14:27 | 8.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3635 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107537.6335 | 299512.4807 | 28.7 | 67.6
45240 | 2021-03-17 14:27 | 9.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2485 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107534.8709 | 299504.4125 | 28.7 | 67.6
45250 | 2021-03-17 14:27 | 9.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3357 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107536.619 | 299503.0761 | 28.7 | 67.6
45260 | 2021-03-17 14:28 | 10 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3417 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107534.7085 | 299510.2515 | 28.7 | 67.6
45270 | 2021-03-17 14:28 | 10.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1989 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107526.8754 | 299494.3776 | 28.7 | 67.6
45280 | 2021-03-17 14:28 | 10.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2921 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107530.7046 | 299493.648 | 28.7 | 67.6
45290 | 2021-03-17 14:29 | 10.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3417 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107518.7586 | 299483.6834 | 28.7 | 67.6
45300 | 2021-03-17 14:29 | 11.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2425 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107517.7867 | 299480.0456 | 28.7 | 67.6
45310 | 2021-03-17 14:29 | 11.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3357 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107519.7333 | 299470.1248 | 28.7 | 67.6
45320 | 2021-03-17 14:30 | 12 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2048 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107520.1529 | 299470.9265 | 28.7 | 67.6
45330 | 2021-03-17 14:30 | 12.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2762 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107508.729 | 299463.9003 | 28.7 | 67.6
45340 | 2021-03-17 14:30 | 12.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2703 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107515.2166 | 299459.4315 | 28.7 | 67.6
45350 | 2021-03-17 14:31 | 13 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3417 | μmol/L | 13.1153 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107515.8939 | 299460.2676 | 28.7 | 67.6
45360 | 2021-03-17 14:31 | 13.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2207 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107516.9723 | 299479.9178 | 28.7 | 67.6
45370 | 2021-03-17 14:31 | 13.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2485 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107509.5656 | 299454.6877 | 28.7 | 67.6
45380 | 2021-03-17 14:32 | 13.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2207 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107508.8837 | 299463.1358 | 28.7 | 67.6
45390 | 2021-03-17 14:32 | 14.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1335 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107511.8551 | 299458.6401 | 28.7 | 67.6
45400 | 2021-03-17 14:32 | 14.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0463 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107508.9785 | 299454.3663 | 28.7 | 67.6
45410 | 2021-03-17 14:33 | 14.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1553 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107506.0748 | 299446.5 | 28.7 | 67.6
45420 | 2021-03-17 14:33 | 15.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1612 | μmol/L | 13.1214 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107505.6868 | 299449.3224 | 28.7 | 67.6
45430 | 2021-03-17 14:33 | 15.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1989 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107497.4448 | 299436.2657 | 28.7 | 67.6
45440 | 2021-03-17 14:34 | 15.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1335 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107503.3426 | 299436.4145 | 28.7 | 67.6
45450 | 2021-03-17 14:34 | 16.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1335 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107498.0667 | 299433.9238 | 28.7 | 67.6
45460 | 2021-03-17 14:34 | 16.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1276 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107495.8276 | 299419.0869 | 28.7 | 67.6
45470 | 2021-03-17 14:35 | 17.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0899 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107501.8639 | 299426.9585 | 28.7 | 67.6
45480 | 2021-03-17 14:35 | 17.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0681 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107497.5117 | 299424.1038 | 28.7 | 67.6
45490 | 2021-03-17 14:35 | 17.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1771 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107496.419 | 299419.7937 | 28.7 | 67.6
45500 | 2021-03-17 14:36 | 17.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.084 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107491.6143 | 299420.6954 | 28.7 | 67.6
45510 | 2021-03-17 14:36 | 18.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0404 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107490.3137 | 299406.4969 | 28.7 | 67.6
45520 | 2021-03-17 14:36 | 18.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1058 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107500.1637 | 299417.082 | 28.7 | 67.6
45530 | 2021-03-17 14:37 | 18.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9909 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107505.8245 | 299415.8279 | 28.7 | 67.6
45540 | 2021-03-17 14:37 | 19.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.084 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107497.9363 | 299413.2368 | 28.7 | 67.6
45550 | 2021-03-17 14:37 | 19.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0404 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107495.4403 | 299410.7394 | 28.7 | 67.6
45560 | 2021-03-17 14:38 | 20.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0899 | μmol/L | 13.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107501.7908 | 299409.316 | 28.7 | 67.6
45570 | 2021-03-17 14:38 | 20.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0345 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107496.7197 | 299415.4989 | 28.7 | 67.6
45580 | 2021-03-17 14:38 | 20.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9909 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107491.1136 | 299397.9756 | 28.7 | 67.6
45590 | 2021-03-17 14:39 | 20.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9532 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107493.2948 | 299401.4533 | 28.7 | 67.6
45600 | 2021-03-17 14:39 | 21.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8761 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107501.0828 | 299399.3953 | 28.7 | 67.6
45610 | 2021-03-17 14:39 | 21.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9532 | μmol/L | 13.1335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107498.4751 | 299395.3818 | 28.7 | 67.6
45620 | 2021-03-17 14:40 | 21.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9909 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107495.9393 | 299394.9184 | 28.7 | 67.6
45630 | 2021-03-17 14:40 | 22.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9196 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107497.1585 | 299391.2409 | 28.7 | 67.6
45640 | 2021-03-17 14:40 | 22.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8978 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107495.1036 | 299397.0645 | 28.7 | 67.6
45650 | 2021-03-17 14:41 | 23.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9255 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107504.2626 | 299407.8909 | 28.7 | 67.6
45660 | 2021-03-17 14:41 | 23.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9473 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107498.7991 | 299381.7496 | 28.7 | 67.6
45670 | 2021-03-17 14:41 | 23.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8325 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.36 | 107500.1204 | 299382.2709 | 28.7 | 67.6
45680 | 2021-03-17 14:42 | 23.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8543 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107506.5138 | 299379.532 | 28.7 | 67.6
45690 | 2021-03-17 14:42 | 24.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9473 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107504.3523 | 299366.8857 | 28.7 | 67.6
45700 | 2021-03-17 14:42 | 24.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8761 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107503.8191 | 299365.5989 | 28.7 | 67.6
45710 | 2021-03-17 14:43 | 25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.7256 | μmol/L | 13.1396 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107510.6375 | 299375.1581 | 28.7 | 67.6
45720 | 2021-03-17 14:43 | 25.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8543 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107501.4252 | 299367.5613 | 28.7 | 67.6
45730 | 2021-03-17 14:43 | 25.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8602 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.361 | 107501.4526 | 299364.2425 | 28.7 | 67.6
45740 | 2021-03-17 14:44 | 25.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.7415 | μmol/L | 13.1456 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.364 | 107502.2767 | 299370.5827 | 28.7 | 67.6
45750 | 2021-03-17 14:44 | 26.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9037 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107501.0752 | 299373.8031 | 28.7 | 67.6
45760 | 2021-03-17 14:44 | 26.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8543 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107494.0042 | 299358.9021 | 28.7 | 67.6
45770 | 2021-03-17 14:45 | 26.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.789 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.362 | 107511.3822 | 299365.4085 | 28.7 | 67.6
45780 | 2021-03-17 14:45 | 27.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6703 | μmol/L | 13.1517 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.365 | 107508.1527 | 299359.607 | 28.7 | 67.6
45790 | 2021-03-17 14:45 | 27.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.7296 | μmol/L | 13.1396 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107509.1735 | 299362.8536 | 28.7 | 67.6
45800 | 2021-03-17 14:46 | 28.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6525 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.366 | 107509.3395 | 299345.0243 | 28.7 | 67.6
45810 | 2021-03-17 14:46 | 28.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6366 | μmol/L | 13.1456 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107511.5625 | 299357.7584 | 28.7 | 67.6
45820 | 2021-03-17 14:46 | 28.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6525 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.366 | 107512.764 | 299360.9913 | 28.7 | 67.6
45830 | 2021-03-17 14:47 | 28.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6248 | μmol/L | 13.1578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.365 | 107515.2868 | 299344.2445 | 28.7 | 67.6
45840 | 2021-03-17 14:47 | 29.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.5655 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.37 | 107512.2673 | 299348.1934 | 28.7 | 67.6
45850 | 2021-03-17 14:47 | 29.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6485 | μmol/L | 13.1517 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.366 | 107517.9959 | 299339.3753 | 28.7 | 67.6
45860 | 2021-03-17 14:48 | 30.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.5833 | μmol/L | 13.1517 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107508.4048 | 299342.7072 | 28.7 | 67.6
45870 | 2021-03-17 14:48 | 30.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4469 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.373 | 107511.635 | 299350.0497 | 28.7 | 67.6
45880 | 2021-03-17 14:48 | 30.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4726 | μmol/L | 13.1578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107515.5158 | 299343.5794 | 28.7 | 67.6
45890 | 2021-03-17 14:49 | 30.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4904 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.371 | 107514.9098 | 299325.1271 | 28.7 | 67.6
45900 | 2021-03-17 14:49 | 31.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.5872 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107511.7109 | 299330.2916 | 28.7 | 67.6
45910 | 2021-03-17 14:49 | 31.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4845 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107512.0441 | 299323.2384 | 28.7 | 67.6
45920 | 2021-03-17 14:50 | 31.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6307 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107521.7347 | 299330.8692 | 28.7 | 67.6
45930 | 2021-03-17 14:50 | 32.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3975 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.373 | 107518.1635 | 299329.5127 | 28.7 | 67.6
45940 | 2021-03-17 14:50 | 32.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.5615 | μmol/L | 13.1517 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.37 | 107504.8912 | 299321.34 | 28.7 | 67.6
45950 | 2021-03-17 14:51 | 33.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.5121 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.37 | 107522.4531 | 299322.9614 | 28.7 | 67.6
45960 | 2021-03-17 14:51 | 33.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4943 | μmol/L | 13.1578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.371 | 107517.3837 | 299307.9465 | 28.7 | 67.6
45970 | 2021-03-17 14:51 | 33.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4252 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107519.8041 | 299307.6403 | 28.7 | 67.6
45980 | 2021-03-17 14:52 | 34.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.518 | μmol/L | 13.1517 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107520.3526 | 299307.8936 | 28.7 | 67.6
45990 | 2021-03-17 14:52 | 34.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3106 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.377 | 107530.1041 | 299302.8675 | 28.7 | 67.6
46000 | 2021-03-17 14:52 | 34.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4133 | μmol/L | 13.1517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.377 | 107527.9603 | 299301.5292 | 28.7 | 67.6
46010 | 2021-03-17 14:53 | 34.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3857 | μmol/L | 13.1578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.376 | 107522.1713 | 299293.7683 | 28.7 | 67.6
46020 | 2021-03-17 14:53 | 35.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3146 | μmol/L | 13.1639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.377 | 107532.1484 | 299294.0707 | 28.7 | 67.6
46030 | 2021-03-17 14:53 | 35.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2672 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.379 | 107519.031 | 299290.1259 | 28.7 | 67.6
46040 | 2021-03-17 14:54 | 36 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3817 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.376 | 107524.465 | 299301.3992 | 28.7 | 67.6
46050 | 2021-03-17 14:54 | 36.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3165 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.379 | 107522.391 | 299305.7426 | 28.7 | 67.6
46060 | 2021-03-17 14:54 | 36.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3817 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.376 | 107527.9505 | 299309.3865 | 28.7 | 67.6
46070 | 2021-03-17 14:55 | 36.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3146 | μmol/L | 13.1639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.377 | 107527.3172 | 299298.5595 | 28.7 | 67.6
46080 | 2021-03-17 14:55 | 37.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3383 | μmol/L | 13.1578 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.378 | 107530.0512 | 299290.4541 | 28.7 | 67.6
46090 | 2021-03-17 14:55 | 37.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2494 | μmol/L | 13.1639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.38 | 107526.4012 | 299286.9724 | 28.7 | 67.6
46100 | 2021-03-17 14:56 | 38.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1685 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.379 | 107523.6696 | 299284.0032 | 28.7 | 67.6
46110 | 2021-03-17 14:56 | 38.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.206 | μmol/L | 13.1639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.382 | 107527.5504 | 299282.7558 | 28.7 | 67.6
46120 | 2021-03-17 14:56 | 38.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1744 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.381 | 107526.9075 | 299279.302 | 28.7 | 67.6
46130 | 2021-03-17 14:57 | 38.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1744 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.381 | 107530.4404 | 299289.9396 | 28.7 | 67.6
46140 | 2021-03-17 14:57 | 39.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1527 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.382 | 107534.1732 | 299287.9938 | 28.7 | 67.6
46150 | 2021-03-17 14:57 | 39.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1961 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.38 | 107528.9274 | 299280.7967 | 28.7 | 67.6
46160 | 2021-03-17 14:58 | 39.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2672 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.379 | 107529.6007 | 299282.997 | 28.7 | 67.6
46170 | 2021-03-17 14:58 | 40.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1961 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.38 | 107518.8664 | 299272.3318 | 28.7 | 67.6
46180 | 2021-03-17 14:58 | 40.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1744 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.381 | 107525.2834 | 299266.0663 | 28.7 | 67.6
46190 | 2021-03-17 14:59 | 41.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.202 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.382 | 107529.6963 | 299257.1512 | 28.7 | 67.6
46200 | 2021-03-17 14:59 | 41.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0817 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.383 | 107534.758 | 299261.2259 | 28.7 | 67.6
46210 | 2021-03-17 14:59 | 41.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2179 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.379 | 107540.3002 | 299272.4478 | 28.7 | 67.6
46220 | 2021-03-17 15:00 | 41.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1093 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.384 | 107537.9869 | 299271.4741 | 28.7 | 67.6
46230 | 2021-03-17 15:00 | 42.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1527 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.382 | 107535.6987 | 299271.6616 | 28.7 | 67.6
46240 | 2021-03-17 15:00 | 42.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1369 | μmol/L | 13.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.385 | 107542.7151 | 299253.6453 | 28.7 | 67.6
46250 | 2021-03-17 15:01 | 42.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9732 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.388 | 107543.3293 | 299261.9704 | 28.7 | 67.6
46260 | 2021-03-17 15:01 | 43.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9516 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.389 | 107549.2518 | 299262.1269 | 28.7 | 67.6
46270 | 2021-03-17 15:01 | 43.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0008 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.389 | 107546.7458 | 299259.112 | 28.7 | 67.6
46280 | 2021-03-17 15:02 | 44.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0442 | μmol/L | 13.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.387 | 107546.0433 | 299257.714 | 28.7 | 67.6
46290 | 2021-03-17 15:02 | 44.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9023 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.389 | 107542.9781 | 299252.3199 | 28.7 | 67.6
46300 | 2021-03-17 15:02 | 44.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8865 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.392 | 107552.4676 | 299265.9729 | 28.7 | 67.6
46310 | 2021-03-17 15:03 | 44.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9023 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.389 | 107557.4036 | 299250.4705 | 28.7 | 67.6
46320 | 2021-03-17 15:03 | 45.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8806 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.39 | 107555.9832 | 299233.8717 | 28.7 | 67.6
46330 | 2021-03-17 15:03 | 45.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8648 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.393 | 107572.5221 | 299267.2665 | 28.7 | 67.6
46340 | 2021-03-17 15:04 | 45.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8373 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.392 | 107560.0588 | 299252.154 | 28.7 | 67.6
46350 | 2021-03-17 15:04 | 46.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8373 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.392 | 107572.2456 | 299243.9113 | 28.7 | 67.6
46360 | 2021-03-17 15:04 | 46.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7722 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.395 | 107569.5841 | 299246.5016 | 28.7 | 67.6
46370 | 2021-03-17 15:05 | 47.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8589 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.391 | 107575.6042 | 299253.1148 | 28.7 | 67.6
46380 | 2021-03-17 15:05 | 47.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7998 | μmol/L | 13.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.396 | 107576.5181 | 299248.3907 | 28.7 | 67.6
46390 | 2021-03-17 15:05 | 47.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8156 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.393 | 107578.7684 | 299244.3356 | 28.7 | 67.6
46400 | 2021-03-17 15:06 | 47.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7722 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.395 | 107583.4764 | 299255.9724 | 28.7 | 67.6
46410 | 2021-03-17 15:06 | 48.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7072 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.398 | 107590.2022 | 299244.2481 | 28.7 | 67.6
46420 | 2021-03-17 15:06 | 48.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.658 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.398 | 107589.164 | 299239.3941 | 28.7 | 67.6
46430 | 2021-03-17 15:07 | 49 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5872 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.399 | 107596.0372 | 299231.1322 | 28.7 | 67.6
46440 | 2021-03-17 15:07 | 49.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7289 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.397 | 107591.4082 | 299243.9884 | 28.7 | 67.6
46450 | 2021-03-17 15:07 | 49.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6639 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.4 | 107598.6583 | 299238.0398 | 28.7 | 67.6
46460 | 2021-03-17 15:08 | 50.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6856 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.399 | 107601.7778 | 299239.417 | 28.7 | 67.6
46470 | 2021-03-17 15:08 | 50.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6856 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.399 | 107600.0577 | 299232.2815 | 28.7 | 67.6
46480 | 2021-03-17 15:08 | 50.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6147 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.4 | 107611.221 | 299228.4945 | 28.7 | 67.6
46490 | 2021-03-17 15:09 | 50.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5989 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.403 | 107609.901 | 299225.7124 | 28.7 | 67.6
46500 | 2021-03-17 15:09 | 51.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6423 | μmol/L | 13.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.401 | 107620.3528 | 299237.874 | 28.7 | 67.6
46510 | 2021-03-17 15:09 | 51.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5281 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.404 | 107610.354 | 299209.0439 | 28.7 | 67.6
46520 | 2021-03-17 15:10 | 51.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4415 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.408 | 107613.116 | 299229.169 | 28.7 | 67.6
46530 | 2021-03-17 15:10 | 52.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.414 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.407 | 107632.1324 | 299222.6117 | 28.7 | 67.6
46540 | 2021-03-17 15:10 | 52.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3924 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.408 | 107623.7272 | 299229.3439 | 28.7 | 67.6
46550 | 2021-03-17 15:11 | 53 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.414 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.407 | 107630.397 | 299223.7378 | 28.7 | 67.6
46560 | 2021-03-17 15:11 | 53.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4081 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.405 | 107628.2205 | 299214.9843 | 28.7 | 67.6
46570 | 2021-03-17 15:11 | 53.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3924 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.408 | 107631.0557 | 299221.7807 | 28.7 | 67.6
46580 | 2021-03-17 15:12 | 54.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3707 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.409 | 107630.518 | 299222.3892 | 28.7 | 67.6
46590 | 2021-03-17 15:12 | 54.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4199 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.409 | 107639.8351 | 299207.1228 | 28.7 | 67.6
46600 | 2021-03-17 15:12 | 54.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3432 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.408 | 107637.9822 | 299224.6967 | 28.7 | 67.6
46610 | 2021-03-17 15:13 | 54.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3766 | μmol/L | 13.1882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.411 | 107645.8031 | 299213.1847 | 28.7 | 67.6
46620 | 2021-03-17 15:13 | 55.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3491 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.41 | 107647.7758 | 299230.2644 | 28.7 | 67.6
46630 | 2021-03-17 15:13 | 55.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3924 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.408 | 107651.1337 | 299211.8535 | 28.7 | 67.6
46640 | 2021-03-17 15:14 | 55.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2351 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.413 | 107652.5469 | 299213.5287 | 28.7 | 67.6
46650 | 2021-03-17 15:14 | 56.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2567 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.412 | 107654.7847 | 299216.1286 | 28.7 | 67.6
46660 | 2021-03-17 15:14 | 56.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1919 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.415 | 107660.6052 | 299223.8635 | 28.7 | 67.6
46670 | 2021-03-17 15:15 | 57 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2351 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.413 | 107656.755 | 299214.4023 | 28.7 | 67.6
46680 | 2021-03-17 15:15 | 57.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2626 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.414 | 107668.4293 | 299220.6533 | 28.7 | 67.6
46690 | 2021-03-17 15:15 | 57.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1978 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.417 | 107654.9463 | 299194.2128 | 28.7 | 67.6
46700 | 2021-03-17 15:16 | 57.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1212 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.416 | 107666.8969 | 299200.7464 | 28.7 | 67.6
46710 | 2021-03-17 15:16 | 58.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.078 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.418 | 107662.6867 | 299204.0227 | 28.7 | 67.6
46720 | 2021-03-17 15:16 | 58.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1271 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.418 | 107667.575 | 299209.6219 | 28.7 | 67.6
46730 | 2021-03-17 15:17 | 58.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1762 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.418 | 107671.3888 | 299192.0758 | 28.7 | 67.6
46740 | 2021-03-17 15:17 | 59.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0622 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.421 | 107673.8588 | 299192.1142 | 28.7 | 67.6
46750 | 2021-03-17 15:17 | 59.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0564 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.419 | 107683.0133 | 299205.9561 | 28.7 | 67.6
46760 | 2021-03-17 15:18 | 59.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0406 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.422 | 107688.2576 | 299204.7185 | 28.7 | 67.6
46770 | 2021-03-17 15:18 | 60.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0406 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.422 | 107685.9661 | 299178.9405 | 28.7 | 67.6
46780 | 2021-03-17 15:18 | 60.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0681 | μmol/L | 13.1942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.423 | 107694.729 | 299195.6848 | 28.7 | 67.6
46790 | 2021-03-17 15:19 | 61.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9641 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.421 | 107693.9748 | 299194.4966 | 28.7 | 67.6
46800 | 2021-03-17 15:19 | 61.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0406 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.422 | 107693.9338 | 299202.278 | 28.7 | 67.6
46810 | 2021-03-17 15:19 | 61.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9052 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.426 | 107697.0719 | 299192.8691 | 28.7 | 67.6
46820 | 2021-03-17 15:20 | 62.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8562 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.426 | 107709.9883 | 299186.6388 | 28.7 | 67.6
46830 | 2021-03-17 15:20 | 62.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9974 | μmol/L | 13.2003 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.424 | 107712.2995 | 299194.748 | 28.7 | 67.6
46840 | 2021-03-17 15:20 | 62.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8836 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.427 | 107717.2256 | 299192.4144 | 28.7 | 67.6
46850 | 2021-03-17 15:21 | 63 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.862 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.428 | 107718.7307 | 299201.454 | 28.7 | 67.6
46860 | 2021-03-17 15:21 | 63.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8405 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.429 | 107716.0523 | 299186.1171 | 28.7 | 67.6
46870 | 2021-03-17 15:21 | 63.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7973 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.431 | 107721.1577 | 299181.563 | 28.7 | 67.6
46880 | 2021-03-17 15:22 | 63.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.862 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.428 | 107725.4565 | 299186.0901 | 28.7 | 67.6
46890 | 2021-03-17 15:22 | 64.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7757 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.432 | 107738.9771 | 299191.1891 | 28.7 | 67.6
46900 | 2021-03-17 15:22 | 64.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7052 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.433 | 107735.8941 | 299174.2849 | 28.7 | 67.6
46910 | 2021-03-17 15:23 | 64.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6895 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.436 | 107743.0976 | 299175.6198 | 28.7 | 67.6
46920 | 2021-03-17 15:23 | 65.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7267 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.432 | 107746.7817 | 299176.7904 | 28.7 | 67.6
46930 | 2021-03-17 15:23 | 65.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7052 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.433 | 107747.0234 | 299182.0649 | 28.7 | 67.6
46940 | 2021-03-17 15:24 | 66.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.711 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.435 | 107749.1259 | 299183.0776 | 28.7 | 67.6
46950 | 2021-03-17 15:24 | 66.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.711 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.435 | 107757.5231 | 299170.4939 | 28.7 | 67.6
46960 | 2021-03-17 15:24 | 66.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6895 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.436 | 107764.9027 | 299177.648 | 28.7 | 67.6
46970 | 2021-03-17 15:25 | 66.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5758 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.439 | 107756.0507 | 299172.4286 | 28.7 | 67.6
46980 | 2021-03-17 15:25 | 67.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6248 | μmol/L | 13.2064 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.439 | 107766.8748 | 299187.7158 | 28.7 | 67.6
46990 | 2021-03-17 15:25 | 67.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5327 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.441 | 107765.0104 | 299176.3135 | 28.7 | 67.6
47000 | 2021-03-17 15:26 | 68 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4132 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.442 | 107774.1203 | 299176.2661 | 28.7 | 67.6
47010 | 2021-03-17 15:26 | 68.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4837 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.441 | 107775.0903 | 299185.3154 | 28.7 | 67.6
47020 | 2021-03-17 15:26 | 68.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4465 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.445 | 107779.8835 | 299180.0534 | 28.7 | 67.6
47030 | 2021-03-17 15:27 | 69.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4896 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.443 | 107786.8012 | 299186.2213 | 28.7 | 67.6
47040 | 2021-03-17 15:27 | 69.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3486 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.445 | 107790.2017 | 299181.9458 | 28.7 | 67.6
47050 | 2021-03-17 15:27 | 69.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3271 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.446 | 107794.2349 | 299188.2104 | 28.7 | 67.6
47060 | 2021-03-17 15:28 | 69.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3604 | μmol/L | 13.2124 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.449 | 107791.1874 | 299176.7422 | 28.7 | 67.6
47070 | 2021-03-17 15:28 | 70.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3976 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.445 | 107799.5206 | 299174.6929 | 28.7 | 67.6
47080 | 2021-03-17 15:28 | 70.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.376 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.446 | 107807.1914 | 299181.65 | 28.7 | 67.6
47090 | 2021-03-17 15:29 | 71.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3976 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.445 | 107806.4597 | 299169.0651 | 28.7 | 67.6
47100 | 2021-03-17 15:29 | 71.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.284 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.448 | 107807.5182 | 299168.6552 | 28.7 | 67.6
47110 | 2021-03-17 15:29 | 71.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2899 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.45 | 107816.8071 | 299189.5438 | 28.7 | 67.6
47120 | 2021-03-17 15:30 | 71.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.198 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.452 | 107824.0099 | 299194.8054 | 28.7 | 67.6
47130 | 2021-03-17 15:30 | 72.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2625 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.449 | 107826.8248 | 299188.5693 | 28.7 | 67.6
47140 | 2021-03-17 15:30 | 72.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2254 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.453 | 107829.9243 | 299180.3378 | 28.7 | 67.6
47150 | 2021-03-17 15:31 | 73 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2038 | μmol/L | 13.2185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.454 | 107847.1607 | 299186.4278 | 28.7 | 67.6
47160 | 2021-03-17 15:31 | 73.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.1549 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.454 | 107854.4694 | 299189.3236 | 28.7 | 67.6
47170 | 2021-03-17 15:31 | 73.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.1119 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.456 | 107862.6671 | 299192.3593 | 28.7 | 67.6
47180 | 2021-03-17 15:32 | 74.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0904 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.457 | 107858.0935 | 299187.1121 | 28.7 | 67.6
47190 | 2021-03-17 15:32 | 74.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0474 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.459 | 107863.804 | 299191.2912 | 28.7 | 67.6
47200 | 2021-03-17 15:32 | 74.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.977 | μmol/L | 13.2307 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.46 | 107878.0327 | 299187.514 | 28.7 | 67.6
47210 | 2021-03-17 15:33 | 74.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8911 | μmol/L | 13.2307 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.464 | 107881.6019 | 299177.8188 | 28.7 | 67.6
47220 | 2021-03-17 15:33 | 75.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9829 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.462 | 107883.3326 | 299186.5736 | 28.7 | 67.6
47230 | 2021-03-17 15:33 | 75.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9614 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.463 | 107893.9537 | 299188.089 | 28.7 | 67.6
47240 | 2021-03-17 15:34 | 76.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9184 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.465 | 107890.0809 | 299187.199 | 28.7 | 67.6
47250 | 2021-03-17 15:34 | 76.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9184 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.465 | 107897.7125 | 299188.5908 | 28.7 | 67.6
47260 | 2021-03-17 15:34 | 76.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8423 | μmol/L | 13.2367 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.464 | 107906.3453 | 299193.9246 | 28.7 | 67.6
47270 | 2021-03-17 15:35 | 76.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.8755 | μmol/L | 13.2246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.467 | 107908.158 | 299182.5196 | 28.7 | 67.6