## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 15:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
44961 | 2021-03-17 14:18 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8264 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.948 | 142253.9014 | 275112.6667 | 36.4 | 83.1
44971 | 2021-03-17 14:18 | 0.34166 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8503 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.947 | 142249.3834 | 275110.6074 | 36.4 | 83.1
44981 | 2021-03-17 14:19 | 0.67518 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9786 | μmol/L | 13.151 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.944 | 142237.7736 | 275105.3798 | 36.4 | 83.1
44991 | 2021-03-17 14:19 | 1.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8742 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142220.0997 | 275093.5037 | 36.4 | 83.1
45001 | 2021-03-17 14:19 | 1.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9308 | μmol/L | 13.151 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142218.113 | 275087.998 | 36.4 | 83.1
45011 | 2021-03-17 14:20 | 1.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8025 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142217.0893 | 275079.2343 | 36.4 | 83.1
45021 | 2021-03-17 14:20 | 2.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8742 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142203.3502 | 275069.5811 | 36.4 | 83.1
45031 | 2021-03-17 14:20 | 2.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8503 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.947 | 142197.9189 | 275069.7823 | 36.4 | 83.1
45041 | 2021-03-17 14:21 | 2.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8654 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.944 | 142182.5943 | 275059.7562 | 36.4 | 83.1
45051 | 2021-03-17 14:21 | 3.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9308 | μmol/L | 13.151 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142164.816 | 275053.6486 | 36.4 | 83.1
45061 | 2021-03-17 14:21 | 3.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8981 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.945 | 142155.2229 | 275048.0987 | 36.4 | 83.1
45071 | 2021-03-17 14:22 | 3.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8742 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142150.3144 | 275042.5821 | 36.4 | 83.1
45081 | 2021-03-17 14:22 | 4.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8176 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142134.8269 | 275050.463 | 36.4 | 83.1
45091 | 2021-03-17 14:22 | 4.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8025 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142122.3798 | 275042.697 | 36.4 | 83.1
45101 | 2021-03-17 14:23 | 4.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8742 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142107.5792 | 275031.8867 | 36.4 | 83.1
45111 | 2021-03-17 14:23 | 5.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7699 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.948 | 142099.7698 | 275025.9909 | 36.4 | 83.1
45121 | 2021-03-17 14:23 | 5.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8264 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.948 | 142095.3548 | 275020.1915 | 36.4 | 83.1
45131 | 2021-03-17 14:24 | 5.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7548 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.951 | 142093.4049 | 275026.1176 | 36.4 | 83.1
45141 | 2021-03-17 14:24 | 6.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8176 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.946 | 142095.8745 | 275011.1261 | 36.4 | 83.1
45151 | 2021-03-17 14:24 | 6.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7221 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.95 | 142080.5729 | 275006.6599 | 36.4 | 83.1
45161 | 2021-03-17 14:25 | 6.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7221 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.95 | 142083.4233 | 275004.8358 | 36.4 | 83.1
45171 | 2021-03-17 14:25 | 7.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.746 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142085.8125 | 274998.4394 | 36.4 | 83.1
45181 | 2021-03-17 14:25 | 7.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.746 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142081.5907 | 275010.782 | 36.4 | 83.1
45191 | 2021-03-17 14:26 | 7.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6505 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142079.765 | 275003.8895 | 36.4 | 83.1
45201 | 2021-03-17 14:26 | 8.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6743 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.952 | 142082.9794 | 275000.0804 | 36.4 | 83.1
45211 | 2021-03-17 14:26 | 8.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6417 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.951 | 142081.8869 | 274988.0379 | 36.4 | 83.1
45221 | 2021-03-17 14:27 | 8.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6505 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142083.3718 | 275003.6558 | 36.4 | 83.1
45231 | 2021-03-17 14:27 | 9.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6266 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.954 | 142081.0025 | 274990.9222 | 36.4 | 83.1
45241 | 2021-03-17 14:27 | 9.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6982 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.951 | 142077.5249 | 274988.0236 | 36.4 | 83.1
45251 | 2021-03-17 14:28 | 9.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6505 | μmol/L | 13.1632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142066.8583 | 274985.5674 | 36.4 | 83.1
45261 | 2021-03-17 14:28 | 10.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.707 | μmol/L | 13.1571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142069.8459 | 274979.4992 | 36.4 | 83.1
45271 | 2021-03-17 14:28 | 10.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.594 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142061.1453 | 274967.9722 | 36.4 | 83.1
45281 | 2021-03-17 14:29 | 10.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4985 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.957 | 142067.6015 | 274969.6749 | 36.4 | 83.1
45291 | 2021-03-17 14:29 | 11.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4182 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.958 | 142060.2423 | 274968.0464 | 36.4 | 83.1
45301 | 2021-03-17 14:29 | 11.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5224 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.956 | 142055.2438 | 274955.2717 | 36.4 | 83.1
45311 | 2021-03-17 14:30 | 11.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4746 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.958 | 142047.4768 | 274940.2761 | 36.4 | 83.1
45321 | 2021-03-17 14:30 | 12.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3987 | μmol/L | 13.1693 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.961 | 142039.1445 | 274947.3925 | 36.4 | 83.1
45331 | 2021-03-17 14:30 | 12.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.299 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.963 | 142034.2648 | 274948.6987 | 36.4 | 83.1
45341 | 2021-03-17 14:31 | 12.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3077 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142035.2423 | 274944.5341 | 36.4 | 83.1
45351 | 2021-03-17 14:31 | 13.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3422 | μmol/L | 13.1754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.961 | 142028.6138 | 274951.0658 | 36.4 | 83.1
45361 | 2021-03-17 14:31 | 13.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3705 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.96 | 142022.8952 | 274938.5977 | 36.4 | 83.1
45371 | 2021-03-17 14:32 | 13.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3184 | μmol/L | 13.1754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.962 | 142025.246 | 274952.8487 | 36.4 | 83.1
45381 | 2021-03-17 14:32 | 14.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2513 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142023.8264 | 274937.612 | 36.4 | 83.1
45391 | 2021-03-17 14:32 | 14.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3228 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.962 | 142016.531 | 274913.8213 | 36.4 | 83.1
45401 | 2021-03-17 14:33 | 14.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4031 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.961 | 142024.1602 | 274931.7755 | 36.4 | 83.1
45411 | 2021-03-17 14:33 | 15.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1385 | μmol/L | 13.1877 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142019.8504 | 274918.3102 | 36.4 | 83.1
45421 | 2021-03-17 14:33 | 15.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2425 | μmol/L | 13.1815 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.963 | 142013.8162 | 274914.8471 | 36.4 | 83.1
45431 | 2021-03-17 14:34 | 15.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3554 | μmol/L | 13.1693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.963 | 142015.7368 | 274930.7233 | 36.4 | 83.1
45441 | 2021-03-17 14:34 | 16.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2469 | μmol/L | 13.1754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142001.9861 | 274914.0621 | 36.4 | 83.1
45451 | 2021-03-17 14:34 | 16.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1666 | μmol/L | 13.1815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142005.0282 | 274915.0883 | 36.4 | 83.1
45461 | 2021-03-17 14:35 | 16.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1992 | μmol/L | 13.1754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 142004.1895 | 274914.7555 | 36.4 | 83.1
45471 | 2021-03-17 14:35 | 17.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2513 | μmol/L | 13.1754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.965 | 141996.7514 | 274913.2304 | 36.4 | 83.1
45481 | 2021-03-17 14:35 | 17.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.262 | μmol/L | 13.1815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.962 | 141987.0891 | 274907.2922 | 36.4 | 83.1
45491 | 2021-03-17 14:36 | 17.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1472 | μmol/L | 13.1815 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141987.9777 | 274910.5548 | 36.4 | 83.1
45501 | 2021-03-17 14:36 | 18.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1472 | μmol/L | 13.1815 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141985.0934 | 274914.6577 | 36.4 | 83.1
45511 | 2021-03-17 14:36 | 18.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0626 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141981.7984 | 274910.7108 | 36.4 | 83.1
45521 | 2021-03-17 14:37 | 18.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0864 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141970.4028 | 274904.2822 | 36.4 | 83.1
45531 | 2021-03-17 14:37 | 19.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1754 | μmol/L | 13.1754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141968.9023 | 274907.8752 | 36.4 | 83.1
45541 | 2021-03-17 14:37 | 19.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0952 | μmol/L | 13.1815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141964.9932 | 274896.3223 | 36.4 | 83.1
45551 | 2021-03-17 14:38 | 19.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0757 | μmol/L | 13.1815 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.97 | 141964.135 | 274896.7444 | 36.4 | 83.1
45561 | 2021-03-17 14:38 | 20.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9912 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141972.1191 | 274889.6151 | 36.4 | 83.1
45571 | 2021-03-17 14:38 | 20.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0952 | μmol/L | 13.1815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141972.0716 | 274888.5651 | 36.4 | 83.1
45581 | 2021-03-17 14:39 | 20.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0388 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141975.5007 | 274889.82 | 36.4 | 83.1
45591 | 2021-03-17 14:39 | 21.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9673 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.972 | 141980.0808 | 274895.7928 | 36.4 | 83.1
45601 | 2021-03-17 14:39 | 21.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0062 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141983.7353 | 274896.804 | 36.4 | 83.1
45611 | 2021-03-17 14:40 | 21.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0388 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141965.9863 | 274886.0352 | 36.4 | 83.1
45621 | 2021-03-17 14:40 | 22.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0475 | μmol/L | 13.1815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141965.8229 | 274891.5898 | 36.4 | 83.1
45631 | 2021-03-17 14:40 | 22.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0388 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141967.6027 | 274883.1296 | 36.4 | 83.1
45641 | 2021-03-17 14:41 | 22.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9348 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141970.7405 | 274888.0946 | 36.4 | 83.1
45651 | 2021-03-17 14:41 | 23.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9824 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141956.6215 | 274882.4691 | 36.4 | 83.1
45661 | 2021-03-17 14:41 | 23.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9435 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.973 | 141957.3656 | 274886.0474 | 36.4 | 83.1
45671 | 2021-03-17 14:42 | 23.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.015 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.97 | 141961.8084 | 274887.9071 | 36.4 | 83.1
45681 | 2021-03-17 14:42 | 24.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9586 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.97 | 141950.3118 | 274891.7884 | 36.4 | 83.1
45691 | 2021-03-17 14:42 | 24.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0388 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141945.7277 | 274896.5003 | 36.4 | 83.1
45701 | 2021-03-17 14:43 | 24.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9261 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141942.9537 | 274875.2347 | 36.4 | 83.1
45711 | 2021-03-17 14:43 | 25.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9348 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141923.8586 | 274873.8298 | 36.4 | 83.1
45721 | 2021-03-17 14:43 | 25.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8872 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.973 | 141929.4928 | 274867.0934 | 36.4 | 83.1
45731 | 2021-03-17 14:44 | 25.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9261 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141910.8011 | 274866.4314 | 36.4 | 83.1
45741 | 2021-03-17 14:44 | 26.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9499 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141909.6598 | 274871.0878 | 36.4 | 83.1
45751 | 2021-03-17 14:44 | 26.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0213 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.965 | 141900.5799 | 274860.0418 | 36.4 | 83.1
45761 | 2021-03-17 14:45 | 26.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0539 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141902.0528 | 274864.8828 | 36.4 | 83.1
45771 | 2021-03-17 14:45 | 27.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0388 | μmol/L | 13.1877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141892.8207 | 274862.1235 | 36.4 | 83.1
45781 | 2021-03-17 14:45 | 27.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9023 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.97 | 141879.2168 | 274855.5381 | 36.4 | 83.1
45791 | 2021-03-17 14:46 | 27.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0062 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141870.2553 | 274849.6271 | 36.4 | 83.1
45801 | 2021-03-17 14:46 | 28.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0539 | μmol/L | 13.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141866.9816 | 274845.5873 | 36.4 | 83.1
45811 | 2021-03-17 14:46 | 28.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9499 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141887.0812 | 274852.7907 | 36.4 | 83.1
45821 | 2021-03-17 14:47 | 28.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9411 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141890.7515 | 274842.5733 | 36.4 | 83.1
45831 | 2021-03-17 14:47 | 29.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9499 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141884.3635 | 274840.5834 | 36.4 | 83.1
45841 | 2021-03-17 14:47 | 29.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9975 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141882.2271 | 274838.2296 | 36.4 | 83.1
45851 | 2021-03-17 14:48 | 29.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8935 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141881.9127 | 274835.5932 | 36.4 | 83.1
45861 | 2021-03-17 14:48 | 30.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8547 | μmol/L | 13.1999 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.972 | 141873.0864 | 274829.6892 | 36.4 | 83.1
45871 | 2021-03-17 14:48 | 30.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9173 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141878.6154 | 274831.0219 | 36.4 | 83.1
45881 | 2021-03-17 14:49 | 30.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9411 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141864.5358 | 274829.7341 | 36.4 | 83.1
45891 | 2021-03-17 14:49 | 31.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9324 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.964 | 141870.5698 | 274831.3212 | 36.4 | 83.1
45901 | 2021-03-17 14:49 | 31.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8697 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141855.5464 | 274834.1675 | 36.4 | 83.1
45911 | 2021-03-17 14:50 | 31.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8697 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141854.4462 | 274833.485 | 36.4 | 83.1
45921 | 2021-03-17 14:50 | 32.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9411 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141849.8835 | 274827.4272 | 36.4 | 83.1
45931 | 2021-03-17 14:50 | 32.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7571 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141839.2008 | 274840.0566 | 36.4 | 83.1
45941 | 2021-03-17 14:51 | 32.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8848 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141829.338 | 274820.3693 | 36.4 | 83.1
45951 | 2021-03-17 14:51 | 33.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8697 | μmol/L | 13.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141813.4191 | 274824.6033 | 36.4 | 83.1
45961 | 2021-03-17 14:51 | 33.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7896 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.97 | 141806.6988 | 274816.464 | 36.4 | 83.1
45971 | 2021-03-17 14:52 | 33.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7809 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141802.174 | 274809.6877 | 36.4 | 83.1
45981 | 2021-03-17 14:52 | 34.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8047 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141795.5388 | 274807.296 | 36.4 | 83.1
45991 | 2021-03-17 14:52 | 34.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8285 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141779.322 | 274798.0831 | 36.4 | 83.1
46001 | 2021-03-17 14:53 | 34.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7571 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141779.9514 | 274807.0273 | 36.4 | 83.1
46011 | 2021-03-17 14:53 | 35.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8047 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141766.1204 | 274816.8383 | 36.4 | 83.1
46021 | 2021-03-17 14:53 | 35.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8285 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141763.1893 | 274803.8264 | 36.4 | 83.1
46031 | 2021-03-17 14:54 | 35.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8848 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141749.9555 | 274813.2122 | 36.4 | 83.1
46041 | 2021-03-17 14:54 | 36.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7809 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141735.6148 | 274794.3217 | 36.4 | 83.1
46051 | 2021-03-17 14:54 | 36.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7484 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.967 | 141735.1274 | 274810.6487 | 36.4 | 83.1
46061 | 2021-03-17 14:55 | 36.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8285 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141738.1275 | 274815.3326 | 36.4 | 83.1
46071 | 2021-03-17 14:55 | 37.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8848 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141721.5688 | 274797.9384 | 36.4 | 83.1
46081 | 2021-03-17 14:55 | 37.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7571 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141720.4146 | 274789.0398 | 36.4 | 83.1
46091 | 2021-03-17 14:56 | 37.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7809 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141707.526 | 274784.4169 | 36.4 | 83.1
46101 | 2021-03-17 14:56 | 38.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7008 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.969 | 141706.7913 | 274788.6516 | 36.4 | 83.1
46111 | 2021-03-17 14:56 | 38.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7722 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141698.3158 | 274784.7919 | 36.4 | 83.1
46121 | 2021-03-17 14:57 | 38.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6294 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.972 | 141698.387 | 274783.9339 | 36.4 | 83.1
46131 | 2021-03-17 14:57 | 39.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6382 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.974 | 141702.1853 | 274790.1819 | 36.4 | 83.1
46141 | 2021-03-17 14:57 | 39.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7658 | μmol/L | 13.2121 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141695.2004 | 274787.2808 | 36.4 | 83.1
46151 | 2021-03-17 14:58 | 39.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7095 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.971 | 141691.8971 | 274783.4399 | 36.4 | 83.1
46161 | 2021-03-17 14:58 | 40.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6144 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.975 | 141699.6627 | 274784.2421 | 36.4 | 83.1
46171 | 2021-03-17 14:58 | 40.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4543 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.977 | 141690.1373 | 274770.9412 | 36.4 | 83.1
46181 | 2021-03-17 14:59 | 40.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5344 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.976 | 141700.8124 | 274770.0614 | 36.4 | 83.1
46191 | 2021-03-17 14:59 | 41.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4631 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.979 | 141707.1282 | 274762.9436 | 36.4 | 83.1
46201 | 2021-03-17 14:59 | 41.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.368 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.983 | 141720.5732 | 274776.5149 | 36.4 | 83.1
46211 | 2021-03-17 15:00 | 41.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4718 | μmol/L | 13.2182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.981 | 141735.8555 | 274766.0369 | 36.4 | 83.1
46221 | 2021-03-17 15:00 | 42.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3205 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.985 | 141734.541 | 274747.8143 | 36.4 | 83.1
46231 | 2021-03-17 15:00 | 42.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2493 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.988 | 141746.0923 | 274756.2401 | 36.4 | 83.1
46241 | 2021-03-17 15:01 | 42.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2493 | μmol/L | 13.2243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.988 | 141754.6232 | 274764.0794 | 36.4 | 83.1
46251 | 2021-03-17 15:01 | 43.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0745 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.993 | 141766.7499 | 274757.4029 | 36.4 | 83.1
46261 | 2021-03-17 15:01 | 43.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9472 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.996 | 141783.7294 | 274757.9976 | 36.4 | 83.1
46271 | 2021-03-17 15:02 | 43.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9559 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.998 | 141781.9263 | 274761.9036 | 36.4 | 83.1
46281 | 2021-03-17 15:02 | 44.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9559 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.998 | 141792.1823 | 274748.7706 | 36.4 | 83.1
46291 | 2021-03-17 15:02 | 44.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8374 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.003 | 141794.685 | 274752.6735 | 36.4 | 83.1
46301 | 2021-03-17 15:03 | 44.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8611 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.002 | 141803.752 | 274756.1501 | 36.4 | 83.1
46311 | 2021-03-17 15:03 | 45.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8137 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.004 | 141801.8352 | 274744.4287 | 36.4 | 83.1
46321 | 2021-03-17 15:03 | 45.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7102 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.006 | 141817.3528 | 274742.3601 | 36.4 | 83.1
46331 | 2021-03-17 15:04 | 45.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6715 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.01 | 141823.2252 | 274751.6957 | 36.4 | 83.1
46341 | 2021-03-17 15:04 | 46.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6391 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.009 | 141825.6549 | 274742.6937 | 36.4 | 83.1
46351 | 2021-03-17 15:04 | 46.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6952 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.009 | 141842.7744 | 274737.5287 | 36.4 | 83.1
46361 | 2021-03-17 15:05 | 46.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5532 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.015 | 141838.9906 | 274749.3244 | 36.4 | 83.1
46371 | 2021-03-17 15:05 | 47.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5768 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.014 | 141850.4602 | 274743.4413 | 36.4 | 83.1
46381 | 2021-03-17 15:05 | 47.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5445 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.013 | 141843.3386 | 274719.6682 | 36.4 | 83.1
46391 | 2021-03-17 15:06 | 47.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4735 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.016 | 141853.0544 | 274744.8641 | 36.4 | 83.1
46401 | 2021-03-17 15:06 | 48.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4648 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.014 | 141848.0994 | 274734.8013 | 36.4 | 83.1
46411 | 2021-03-17 15:06 | 48.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3788 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.02 | 141859.7309 | 274723.8164 | 36.4 | 83.1
46421 | 2021-03-17 15:07 | 48.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4025 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.019 | 141866.2754 | 274721.7201 | 36.4 | 83.1
46431 | 2021-03-17 15:07 | 49.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4112 | μmol/L | 13.2305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.021 | 141876.617 | 274738.4433 | 36.4 | 83.1
46441 | 2021-03-17 15:07 | 49.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3552 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.021 | 141871.5164 | 274737.2827 | 36.4 | 83.1
46451 | 2021-03-17 15:08 | 49.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2519 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.023 | 141879.7883 | 274741.1765 | 36.4 | 83.1
46461 | 2021-03-17 15:08 | 50.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2283 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.024 | 141882.225 | 274738.099 | 36.4 | 83.1
46471 | 2021-03-17 15:08 | 50.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1014 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.027 | 141893.459 | 274745.3095 | 36.4 | 83.1
46481 | 2021-03-17 15:09 | 50.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.125 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.026 | 141899.6748 | 274723.9275 | 36.4 | 83.1
46491 | 2021-03-17 15:09 | 51.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0305 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.03 | 141899.5694 | 274729.0767 | 36.4 | 83.1
46501 | 2021-03-17 15:09 | 51.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1424 | μmol/L | 13.2366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.03 | 141896.9621 | 274727.1135 | 36.4 | 83.1
46511 | 2021-03-17 15:10 | 51.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1101 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.029 | 141894.483 | 274717.6046 | 36.4 | 83.1
46521 | 2021-03-17 15:10 | 52.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0392 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.032 | 141905.5741 | 274721.7039 | 36.4 | 83.1
46531 | 2021-03-17 15:10 | 52.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9597 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.033 | 141902.097 | 274724.569 | 36.4 | 83.1
46541 | 2021-03-17 15:11 | 52.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9597 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.033 | 141902.3943 | 274717.8671 | 36.4 | 83.1
46551 | 2021-03-17 15:11 | 53.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9212 | μmol/L | 13.2427 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.037 | 141901.4584 | 274712.1882 | 36.4 | 83.1
46561 | 2021-03-17 15:11 | 53.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9833 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.032 | 141904.4983 | 274716.9932 | 36.4 | 83.1
46571 | 2021-03-17 15:12 | 53.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9125 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.035 | 141896.6268 | 274706.9064 | 36.4 | 83.1
46581 | 2021-03-17 15:12 | 54.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9125 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.035 | 141891.2723 | 274697.6303 | 36.4 | 83.1
46591 | 2021-03-17 15:12 | 54.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9597 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.033 | 141885.4716 | 274699.6714 | 36.4 | 83.1
46601 | 2021-03-17 15:13 | 54.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9361 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.034 | 141896.1808 | 274697.5567 | 36.4 | 83.1
46611 | 2021-03-17 15:13 | 55.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8889 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141894.909 | 274698.9787 | 36.4 | 83.1
46621 | 2021-03-17 15:13 | 55.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.833 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141897.7874 | 274705.1981 | 36.4 | 83.1
46631 | 2021-03-17 15:14 | 55.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.833 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141898.1654 | 274697.1617 | 36.4 | 83.1
46641 | 2021-03-17 15:14 | 56.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8802 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.034 | 141887.6689 | 274698.8319 | 36.4 | 83.1
46651 | 2021-03-17 15:14 | 56.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8653 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.037 | 141877.6477 | 274692.121 | 36.4 | 83.1
46661 | 2021-03-17 15:15 | 56.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8566 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.035 | 141881.6432 | 274691.7049 | 36.4 | 83.1
46671 | 2021-03-17 15:15 | 57.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8181 | μmol/L | 13.2488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.039 | 141868.5779 | 274688.5173 | 36.4 | 83.1
46681 | 2021-03-17 15:15 | 57.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7858 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.038 | 141869.4061 | 274696.2399 | 36.4 | 83.1
46691 | 2021-03-17 15:16 | 57.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8007 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.035 | 141859.6348 | 274702.3876 | 36.4 | 83.1
46701 | 2021-03-17 15:16 | 58.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9038 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.033 | 141867.6161 | 274697.7945 | 36.4 | 83.1
46711 | 2021-03-17 15:16 | 58.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.833 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141856.3344 | 274693.8656 | 36.4 | 83.1
46721 | 2021-03-17 15:17 | 58.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7063 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.039 | 141852.3983 | 274702.1105 | 36.4 | 83.1
46731 | 2021-03-17 15:17 | 59.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.833 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141848.0548 | 274709.3362 | 36.4 | 83.1
46741 | 2021-03-17 15:17 | 59.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.833 | μmol/L | 13.2549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.036 | 141842.8139 | 274696.3326 | 36.4 | 83.1
46751 | 2021-03-17 15:18 | 59.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7299 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.038 | 141850.906 | 274706.3316 | 36.4 | 83.1
46761 | 2021-03-17 15:18 | 60.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7299 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.038 | 141852.8994 | 274689.8384 | 36.4 | 83.1
46771 | 2021-03-17 15:18 | 60.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6591 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.041 | 141850.9421 | 274689.5711 | 36.4 | 83.1
46781 | 2021-03-17 15:19 | 60.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6827 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.04 | 141845.3045 | 274692.1451 | 36.4 | 83.1
46791 | 2021-03-17 15:19 | 61.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6827 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.04 | 141857.293 | 274690.0594 | 36.4 | 83.1
46801 | 2021-03-17 15:19 | 61.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6356 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.042 | 141852.3628 | 274695.7263 | 36.4 | 83.1
46811 | 2021-03-17 15:20 | 61.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.612 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.043 | 141862.1699 | 274690.191 | 36.4 | 83.1
46821 | 2021-03-17 15:20 | 62.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5562 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.043 | 141856.9809 | 274691.5566 | 36.4 | 83.1
46831 | 2021-03-17 15:20 | 62.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4148 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.049 | 141866.2232 | 274701.7684 | 36.4 | 83.1
46841 | 2021-03-17 15:21 | 62.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4383 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.048 | 141858.4312 | 274688.2127 | 36.4 | 83.1
46851 | 2021-03-17 15:21 | 63.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5413 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.046 | 141858.9723 | 274676.5402 | 36.4 | 83.1
46861 | 2021-03-17 15:21 | 63.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4148 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.049 | 141859.1323 | 274685.4032 | 36.4 | 83.1
46871 | 2021-03-17 15:22 | 63.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5177 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.047 | 141868.9213 | 274690.6124 | 36.4 | 83.1
46881 | 2021-03-17 15:22 | 64.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3676 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.051 | 141873.2097 | 274685.3716 | 36.4 | 83.1
46891 | 2021-03-17 15:22 | 64.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3999 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.052 | 141884.4201 | 274680.879 | 36.4 | 83.1
46901 | 2021-03-17 15:23 | 64.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2735 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.055 | 141891.2682 | 274685.9346 | 36.4 | 83.1
46911 | 2021-03-17 15:23 | 65.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4234 | μmol/L | 13.261 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.051 | 141884.4021 | 274689.5048 | 36.4 | 83.1
46921 | 2021-03-17 15:23 | 65.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3205 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.053 | 141885.3254 | 274689.047 | 36.4 | 83.1
46931 | 2021-03-17 15:24 | 65.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1942 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.056 | 141883.8617 | 274678.9611 | 36.4 | 83.1
46941 | 2021-03-17 15:24 | 66.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2264 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.057 | 141891.338 | 274672.974 | 36.4 | 83.1
46951 | 2021-03-17 15:24 | 66.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.297 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.054 | 141890.8154 | 274681.4938 | 36.4 | 83.1
46961 | 2021-03-17 15:25 | 66.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1236 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.059 | 141896.4997 | 274679.3189 | 36.4 | 83.1
46971 | 2021-03-17 15:25 | 67.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1558 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.06 | 141911.1027 | 274683.6575 | 36.4 | 83.1
46981 | 2021-03-17 15:25 | 67.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1087 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.062 | 141912.0881 | 274687.3824 | 36.4 | 83.1
46991 | 2021-03-17 15:26 | 67.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1558 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.06 | 141911.8815 | 274684.6694 | 36.4 | 83.1
47001 | 2021-03-17 15:26 | 68.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1322 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.061 | 141919.8542 | 274689.139 | 36.4 | 83.1
47011 | 2021-03-17 15:26 | 68.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1322 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.061 | 141925.5181 | 274681.8148 | 36.4 | 83.1
47021 | 2021-03-17 15:27 | 68.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0295 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.063 | 141930.23 | 274674.3279 | 36.4 | 83.1
47031 | 2021-03-17 15:27 | 69.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0852 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.063 | 141938.5482 | 274681.8406 | 36.4 | 83.1
47041 | 2021-03-17 15:27 | 69.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9267 | μmol/L | 13.2794 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.065 | 141921.8077 | 274679.6309 | 36.4 | 83.1
47051 | 2021-03-17 15:28 | 69.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0852 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.063 | 141933.3954 | 274690.0835 | 36.4 | 83.1
47061 | 2021-03-17 15:28 | 70.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0852 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.063 | 141922.7342 | 274685.2224 | 36.4 | 83.1
47071 | 2021-03-17 15:28 | 70.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0146 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.066 | 141919.9546 | 274666.7885 | 36.4 | 83.1
47081 | 2021-03-17 15:29 | 70.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0146 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.066 | 141922.1152 | 274689.5623 | 36.4 | 83.1
47091 | 2021-03-17 15:29 | 71.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9676 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.068 | 141935.3459 | 274686.2848 | 36.4 | 83.1
47101 | 2021-03-17 15:29 | 71.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8649 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.07 | 141921.3664 | 274676.9709 | 36.4 | 83.1
47111 | 2021-03-17 15:30 | 71.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9589 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.066 | 141918.3754 | 274674.9184 | 36.4 | 83.1
47121 | 2021-03-17 15:30 | 72.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8649 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.07 | 141924.9349 | 274674.3667 | 36.4 | 83.1
47131 | 2021-03-17 15:30 | 72.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9119 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.068 | 141930.1608 | 274678.992 | 36.4 | 83.1
47141 | 2021-03-17 15:31 | 72.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8649 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.07 | 141921.5097 | 274677.3769 | 36.4 | 83.1
47151 | 2021-03-17 15:31 | 73.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9441 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.069 | 141929.6159 | 274674.1633 | 36.4 | 83.1
47161 | 2021-03-17 15:31 | 73.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7709 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.074 | 141939.3506 | 274691.6758 | 36.4 | 83.1
47171 | 2021-03-17 15:32 | 73.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8179 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.072 | 141924.1172 | 274672.3637 | 36.4 | 83.1
47181 | 2021-03-17 15:32 | 74.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8649 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.07 | 141923.2301 | 274676.9133 | 36.4 | 83.1
47191 | 2021-03-17 15:32 | 74.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7857 | μmol/L | 13.2794 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.071 | 141928.6557 | 274662.9087 | 36.4 | 83.1
47201 | 2021-03-17 15:33 | 74.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7152 | μmol/L | 13.2794 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.074 | 141937.1744 | 274682.5902 | 36.4 | 83.1
47211 | 2021-03-17 15:33 | 75.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8179 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.072 | 141930.8563 | 274678.3577 | 36.4 | 83.1
47221 | 2021-03-17 15:33 | 75.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8736 | μmol/L | 13.2671 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.072 | 141935.482 | 274678.8627 | 36.4 | 83.1
47231 | 2021-03-17 15:34 | 75.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7709 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.074 | 141926.0863 | 274665.2278 | 36.4 | 83.1
47241 | 2021-03-17 15:34 | 76.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7622 | μmol/L | 13.2794 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.072 | 141927.9222 | 274681.9761 | 36.4 | 83.1
47251 | 2021-03-17 15:34 | 76.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7944 | μmol/L | 13.2733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.073 | 141930.4725 | 274681.1527 | 36.4 | 83.1
47261 | 2021-03-17 15:35 | 76.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7387 | μmol/L | 13.2794 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.073 | 141945.9893 | 274675.7237 | 36.4 | 83.1
47271 | 2021-03-17 15:35 | 77.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6596 | μmol/L | 13.2855 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.074 | 142058.5502 | 274674.7104 | 36.4 | 83.1