## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47277 | 2021-03-17 16:13 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4222 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 136269.5041 | 278046.7787 | 62.0402 | 75.7
47284 | 2021-03-17 16:13 | 0.33909 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4662 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.226 | 136272.2171 | 278049.8983 | 62.0402 | 75.7
47294 | 2021-03-17 16:13 | 0.67209 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5101 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.224 | 136216.3116 | 278057.7498 | 62.0402 | 75.7
47304 | 2021-03-17 16:14 | 1.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4222 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 136197.9008 | 278052.5807 | 62.0402 | 75.7
47314 | 2021-03-17 16:14 | 1.3389 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4442 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.227 | 136172.3773 | 278044.1004 | 62.0402 | 75.7
47324 | 2021-03-17 16:14 | 1.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4942 | μmol/L | 13.358 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.227 | 136157.1515 | 278049.0025 | 62.0402 | 75.7
47334 | 2021-03-17 16:15 | 2.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4222 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 136120.9584 | 278045.3665 | 62.0402 | 75.7
47344 | 2021-03-17 16:15 | 2.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4222 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 136071.6706 | 278037.0185 | 62.0402 | 75.7
47354 | 2021-03-17 16:15 | 2.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4442 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.227 | 136035.938 | 278027.8385 | 62.0402 | 75.7
47364 | 2021-03-17 16:16 | 3.0053 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4002 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.229 | 136017.5095 | 278035.0898 | 62.0402 | 75.7
47374 | 2021-03-17 16:16 | 3.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3721 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 135985.2762 | 278011.1377 | 62.0402 | 75.7
47384 | 2021-03-17 16:16 | 3.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3721 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 135963.7295 | 278016.2894 | 62.0402 | 75.7
47394 | 2021-03-17 16:17 | 4.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4222 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.228 | 135940.6468 | 278005.7183 | 62.0402 | 75.7
47404 | 2021-03-17 16:17 | 4.3388 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3282 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.23 | 135916.4748 | 278007.0835 | 62.0402 | 75.7
47414 | 2021-03-17 16:17 | 4.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.344 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.227 | 135899.0132 | 278010.0082 | 62.0402 | 75.7
47424 | 2021-03-17 16:18 | 5.0053 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3501 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.229 | 135879.1275 | 278009.8391 | 62.0402 | 75.7
47434 | 2021-03-17 16:18 | 5.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3241 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.23 | 135868.8793 | 278008.2963 | 62.0402 | 75.7
47444 | 2021-03-17 16:18 | 5.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.4002 | μmol/L | 13.3642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.229 | 135810.6735 | 278007.3727 | 62.0402 | 75.7
47454 | 2021-03-17 16:19 | 6.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.368 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.228 | 135770.8291 | 277996.5899 | 62.0402 | 75.7
47464 | 2021-03-17 16:19 | 6.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3021 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.231 | 135738.5884 | 278012.7692 | 62.0402 | 75.7
47474 | 2021-03-17 16:19 | 6.6723 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.34 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.227 | 135671.7804 | 277996.5745 | 62.0402 | 75.7
47484 | 2021-03-17 16:20 | 7.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.412 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.226 | 135625.2756 | 278009.451 | 62.0402 | 75.7
47494 | 2021-03-17 16:20 | 7.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3021 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.231 | 135587.6806 | 278001.7178 | 62.0402 | 75.7
47504 | 2021-03-17 16:20 | 7.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.39 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.227 | 135552.4737 | 277999.099 | 62.0402 | 75.7
47514 | 2021-03-17 16:21 | 8.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2301 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.232 | 135512.585 | 277983.5815 | 62.0402 | 75.7
47524 | 2021-03-17 16:21 | 8.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.362 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.226 | 135494.8013 | 277997.9205 | 62.0402 | 75.7
47534 | 2021-03-17 16:21 | 8.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3062 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 23.231 | 135456.6148 | 277994.4468 | 62.0402 | 75.7
47544 | 2021-03-17 16:22 | 9.0056 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3522 | μmol/L | 13.3642 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.231 | 135448.4995 | 277983.9164 | 62.0402 | 75.7
47554 | 2021-03-17 16:22 | 9.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3461 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.229 | 135430.5798 | 277988.2657 | 62.0402 | 75.7
47564 | 2021-03-17 16:22 | 9.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2301 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.232 | 135408.1892 | 277980.1741 | 62.0402 | 75.7
47574 | 2021-03-17 16:23 | 10.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2801 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.232 | 135386.8979 | 277990.3726 | 62.0402 | 75.7
47584 | 2021-03-17 16:23 | 10.3386 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1642 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.235 | 135377.1218 | 277993.6351 | 62.0402 | 75.7
47594 | 2021-03-17 16:23 | 10.6722 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2081 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.233 | 135361.2946 | 277979.3804 | 62.0402 | 75.7
47604 | 2021-03-17 16:24 | 11.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2081 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.233 | 135354.6902 | 277990.8701 | 62.0402 | 75.7
47614 | 2021-03-17 16:24 | 11.3388 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2362 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.234 | 135347.7157 | 277989.1895 | 62.0402 | 75.7
47624 | 2021-03-17 16:24 | 11.6716 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1862 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.234 | 135335.1841 | 277988.3017 | 62.0402 | 75.7
47634 | 2021-03-17 16:25 | 12.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2582 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.233 | 135309.9011 | 277989.383 | 62.0402 | 75.7
47644 | 2021-03-17 16:25 | 12.339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2582 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.233 | 135297.9339 | 277984.8597 | 62.0402 | 75.7
47654 | 2021-03-17 16:25 | 12.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1264 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.239 | 135285.9377 | 277990.7861 | 62.0402 | 75.7
47664 | 2021-03-17 16:26 | 13.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1862 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.234 | 135296.5764 | 277991.0068 | 62.0402 | 75.7
47674 | 2021-03-17 16:26 | 13.3389 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1642 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.235 | 135270.5415 | 277997.6433 | 62.0402 | 75.7
47684 | 2021-03-17 16:26 | 13.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1203 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.237 | 135260.4311 | 277987.4822 | 62.0402 | 75.7
47694 | 2021-03-17 16:27 | 14.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.1703 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.237 | 135241.6167 | 277981.697 | 62.0402 | 75.7
47704 | 2021-03-17 16:27 | 14.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5159 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.219 | 134419.129 | 277983.4081 | 62.0402 | 75.7
47714 | 2021-03-17 16:27 | 14.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.6919 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.211 | 134350.0373 | 277988.5958 | 62.0402 | 75.7
47724 | 2021-03-17 16:28 | 15.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.6638 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.21 | 134326.5687 | 277988.8865 | 62.0402 | 75.7
47734 | 2021-03-17 16:28 | 15.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.802 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.206 | 134321.7858 | 277980.4423 | 62.0402 | 75.7
47744 | 2021-03-17 16:28 | 15.6722 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.7139 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.21 | 134314.5388 | 277975.6602 | 62.0402 | 75.7
47754 | 2021-03-17 16:29 | 16.0051 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5599 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.217 | 134318.5685 | 277975.0129 | 62.0402 | 75.7
47764 | 2021-03-17 16:29 | 16.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5758 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.214 | 134315.9635 | 277970.5619 | 62.0402 | 75.7
47774 | 2021-03-17 16:29 | 16.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.5159 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.219 | 134325.4881 | 277974.8865 | 62.0402 | 75.7
47784 | 2021-03-17 16:30 | 17.0053 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.478 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.223 | 134322.0602 | 277981.7099 | 62.0402 | 75.7
47794 | 2021-03-17 16:30 | 17.3389 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3778 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.223 | 134321.4119 | 277976.4165 | 62.0402 | 75.7
47804 | 2021-03-17 16:30 | 17.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3778 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.223 | 134318.8935 | 277982.485 | 62.0402 | 75.7
47814 | 2021-03-17 16:31 | 18.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.3241 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.23 | 134313.4509 | 277967.1757 | 62.0402 | 75.7
47824 | 2021-03-17 16:31 | 18.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.224 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.23 | 134305.8441 | 277968.9795 | 62.0402 | 75.7
47834 | 2021-03-17 16:31 | 18.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2521 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.231 | 134302.8567 | 277968.8513 | 62.0402 | 75.7
47844 | 2021-03-17 16:32 | 19.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2301 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.232 | 134302.7876 | 277973.641 | 62.0402 | 75.7
47854 | 2021-03-17 16:32 | 19.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.2301 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.232 | 134299.1532 | 277974.7141 | 62.0402 | 75.7
47864 | 2021-03-17 16:32 | 19.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0703 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.237 | 134293.4479 | 277965.6731 | 62.0402 | 75.7
47874 | 2021-03-17 16:33 | 20.0056 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 259.0045 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.24 | 134299.5925 | 277976.2613 | 62.0402 | 75.7
47884 | 2021-03-17 16:33 | 20.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9606 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.242 | 134284.7763 | 277958.9576 | 62.0402 | 75.7
47894 | 2021-03-17 16:33 | 20.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9606 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.242 | 134289.9742 | 277965.3789 | 62.0402 | 75.7
47904 | 2021-03-17 16:34 | 21.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9167 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.244 | 134281.1931 | 277966.4173 | 62.0402 | 75.7
47914 | 2021-03-17 16:34 | 21.3386 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9606 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.242 | 134271.7025 | 277957.2141 | 62.0402 | 75.7
47924 | 2021-03-17 16:34 | 21.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.9167 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.244 | 134278.4033 | 277964.697 | 62.0402 | 75.7
47934 | 2021-03-17 16:35 | 22.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7632 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.251 | 134278.6851 | 277955.4567 | 62.0402 | 75.7
47944 | 2021-03-17 16:35 | 22.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.779 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.248 | 134270.2293 | 277952.1529 | 62.0402 | 75.7
47954 | 2021-03-17 16:35 | 22.6722 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.8509 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.247 | 134269.4604 | 277945.5541 | 62.0402 | 75.7
47964 | 2021-03-17 16:36 | 23.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7571 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.249 | 134257.4034 | 277939.7916 | 62.0402 | 75.7
47974 | 2021-03-17 16:36 | 23.3386 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7912 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.252 | 134250.1177 | 277948.4998 | 62.0402 | 75.7
47984 | 2021-03-17 16:36 | 23.6723 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7632 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.251 | 134245.1358 | 277952.9466 | 62.0402 | 75.7
47994 | 2021-03-17 16:37 | 24.0051 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6974 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.254 | 134232.9009 | 277949.7817 | 62.0402 | 75.7
48004 | 2021-03-17 16:37 | 24.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7133 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.251 | 134226.3387 | 277941.7786 | 62.0402 | 75.7
48014 | 2021-03-17 16:37 | 24.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.7194 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.253 | 134449.1033 | 277932.9644 | 62.0402 | 75.7
48024 | 2021-03-17 16:38 | 25.0052 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6098 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.258 | 134476.7592 | 277937.5961 | 62.0402 | 75.7
48034 | 2021-03-17 16:38 | 25.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6317 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134475.5578 | 277932.2743 | 62.0402 | 75.7
48044 | 2021-03-17 16:38 | 25.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5879 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.259 | 134477.666 | 277947.7903 | 62.0402 | 75.7
48054 | 2021-03-17 16:39 | 26.0055 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6317 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134470.3217 | 277941.8597 | 62.0402 | 75.7
48064 | 2021-03-17 16:39 | 26.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.6317 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134458.3123 | 277933.9388 | 62.0402 | 75.7
48074 | 2021-03-17 16:39 | 26.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5441 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134460.2709 | 277927.9815 | 62.0402 | 75.7
48084 | 2021-03-17 16:40 | 27.0055 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4942 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134462.8957 | 277917.3917 | 62.0402 | 75.7
48094 | 2021-03-17 16:40 | 27.3383 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4504 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134456.1964 | 277918.2678 | 62.0402 | 75.7
48104 | 2021-03-17 16:40 | 27.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4942 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134465.5972 | 277918.072 | 62.0402 | 75.7
48114 | 2021-03-17 16:41 | 28.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4504 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134456.1202 | 277921.8179 | 62.0402 | 75.7
48124 | 2021-03-17 16:41 | 28.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.594 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134453.5931 | 277923.9523 | 62.0402 | 75.7
48134 | 2021-03-17 16:41 | 28.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134443.5734 | 277919.6718 | 62.0402 | 75.7
48144 | 2021-03-17 16:42 | 29.0052 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.5003 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134438.6185 | 277915.5096 | 62.0402 | 75.7
48154 | 2021-03-17 16:42 | 29.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3848 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134423.9924 | 277903.6298 | 62.0402 | 75.7
48164 | 2021-03-17 16:42 | 29.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134427.7123 | 277918.2522 | 62.0402 | 75.7
48174 | 2021-03-17 16:43 | 30.0051 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4942 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134421.917 | 277908.6915 | 62.0402 | 75.7
48184 | 2021-03-17 16:43 | 30.3388 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134421.4088 | 277902.3809 | 62.0402 | 75.7
48194 | 2021-03-17 16:43 | 30.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134412.7485 | 277898.5618 | 62.0402 | 75.7
48204 | 2021-03-17 16:44 | 31.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4845 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134407.3537 | 277899.8428 | 62.0402 | 75.7
48214 | 2021-03-17 16:44 | 31.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4845 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134401.9028 | 277901.185 | 62.0402 | 75.7
48224 | 2021-03-17 16:44 | 31.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4784 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134388.9971 | 277898.7348 | 62.0402 | 75.7
48234 | 2021-03-17 16:45 | 32.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4565 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134384.1027 | 277887.3119 | 62.0402 | 75.7
48244 | 2021-03-17 16:45 | 32.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134361.6509 | 277891.3089 | 62.0402 | 75.7
48254 | 2021-03-17 16:45 | 32.6723 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4784 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134359.8664 | 277881.4253 | 62.0402 | 75.7
48264 | 2021-03-17 16:46 | 33.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134353.8068 | 277893.6282 | 62.0402 | 75.7
48274 | 2021-03-17 16:46 | 33.3383 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3131 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134342.7155 | 277887.7382 | 62.0402 | 75.7
48284 | 2021-03-17 16:46 | 33.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134347.5605 | 277894.3066 | 62.0402 | 75.7
48294 | 2021-03-17 16:47 | 34.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3909 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134332.2552 | 277888.3363 | 62.0402 | 75.7
48304 | 2021-03-17 16:47 | 34.339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3848 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134332.9342 | 277898.1334 | 62.0402 | 75.7
48314 | 2021-03-17 16:47 | 34.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2912 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134324.6559 | 277900.7483 | 62.0402 | 75.7
48324 | 2021-03-17 16:48 | 35.0055 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.341 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134318.5142 | 277899.5062 | 62.0402 | 75.7
48334 | 2021-03-17 16:48 | 35.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134311.7924 | 277891.4889 | 62.0402 | 75.7
48344 | 2021-03-17 16:48 | 35.6722 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3191 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.269 | 134306.63 | 277889.2635 | 62.0402 | 75.7
48354 | 2021-03-17 16:49 | 36.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4128 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134306.492 | 277891.819 | 62.0402 | 75.7
48364 | 2021-03-17 16:49 | 36.3388 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3848 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134301.2496 | 277892.5913 | 62.0402 | 75.7
48374 | 2021-03-17 16:49 | 36.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2693 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.269 | 134290.6554 | 277893.0788 | 62.0402 | 75.7
48384 | 2021-03-17 16:50 | 37.0052 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3848 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134282.5111 | 277891.8258 | 62.0402 | 75.7
48394 | 2021-03-17 16:50 | 37.339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2474 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.27 | 134290.8724 | 277900.5207 | 62.0402 | 75.7
48404 | 2021-03-17 16:50 | 37.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3191 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.269 | 134280.9993 | 277891.294 | 62.0402 | 75.7
48414 | 2021-03-17 16:51 | 38.0053 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.341 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134266.5948 | 277883.5106 | 62.0402 | 75.7
48424 | 2021-03-17 16:51 | 38.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3191 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.269 | 134260.7937 | 277886.5519 | 62.0402 | 75.7
48434 | 2021-03-17 16:51 | 38.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2912 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134253.8613 | 277899.9402 | 62.0402 | 75.7
48444 | 2021-03-17 16:52 | 39.0055 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134240.6169 | 277893.8724 | 62.0402 | 75.7
48454 | 2021-03-17 16:52 | 39.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134237.2347 | 277903.1044 | 62.0402 | 75.7
48464 | 2021-03-17 16:52 | 39.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2474 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.27 | 134229.7241 | 277887.8734 | 62.0402 | 75.7
48474 | 2021-03-17 16:53 | 40.0055 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134217.8609 | 277886.9255 | 62.0402 | 75.7
48484 | 2021-03-17 16:53 | 40.3383 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3349 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134204.7888 | 277891.7449 | 62.0402 | 75.7
48494 | 2021-03-17 16:53 | 40.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3349 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134200.2553 | 277881.9047 | 62.0402 | 75.7
48504 | 2021-03-17 16:54 | 41.0056 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3629 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134190.5664 | 277893.0547 | 62.0402 | 75.7
48514 | 2021-03-17 16:54 | 41.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3131 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134193.791 | 277885.0171 | 62.0402 | 75.7
48524 | 2021-03-17 16:54 | 41.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4067 | μmol/L | 13.3887 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134184.7962 | 277886.0007 | 62.0402 | 75.7
48534 | 2021-03-17 16:55 | 42.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3568 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134176.1254 | 277888.9085 | 62.0402 | 75.7
48544 | 2021-03-17 16:55 | 42.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3507 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134169.7911 | 277882.2311 | 62.0402 | 75.7
48554 | 2021-03-17 16:55 | 42.672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4443 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134157.42 | 277891.7023 | 62.0402 | 75.7
48564 | 2021-03-17 16:56 | 43.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3507 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134158.9468 | 277885.3643 | 62.0402 | 75.7
48574 | 2021-03-17 16:56 | 43.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3288 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134156.9806 | 277880.2227 | 62.0402 | 75.7
48584 | 2021-03-17 16:56 | 43.6717 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.307 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134154.7491 | 277895.4026 | 62.0402 | 75.7
48594 | 2021-03-17 16:57 | 44.0056 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3787 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134157.5029 | 277901.8134 | 62.0402 | 75.7
48604 | 2021-03-17 16:57 | 44.3383 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2632 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134152.6377 | 277887.5447 | 62.0402 | 75.7
48614 | 2021-03-17 16:57 | 44.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2632 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134154.2252 | 277892.272 | 62.0402 | 75.7
48624 | 2021-03-17 16:58 | 45.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3507 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134138.4733 | 277882.747 | 62.0402 | 75.7
48634 | 2021-03-17 16:58 | 45.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.4006 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134142.4778 | 277901.4857 | 62.0402 | 75.7
48644 | 2021-03-17 16:58 | 45.6717 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3787 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134139.2856 | 277894.1221 | 62.0402 | 75.7
48654 | 2021-03-17 16:59 | 46.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2851 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134130.8579 | 277893.4444 | 62.0402 | 75.7
48664 | 2021-03-17 16:59 | 46.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3349 | μmol/L | 13.3948 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134124.9646 | 277904.5887 | 62.0402 | 75.7
48674 | 2021-03-17 16:59 | 46.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3507 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134118.5783 | 277899.0418 | 62.0402 | 75.7
48684 | 2021-03-17 17:00 | 47.005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3009 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134122.4784 | 277896.234 | 62.0402 | 75.7
48694 | 2021-03-17 17:00 | 47.3387 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2413 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134119.0864 | 277891.6381 | 62.0402 | 75.7
48704 | 2021-03-17 17:00 | 47.6724 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3507 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134113.7897 | 277882.6125 | 62.0402 | 75.7
48714 | 2021-03-17 17:01 | 48.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3009 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134114.2647 | 277896.5879 | 62.0402 | 75.7
48724 | 2021-03-17 17:01 | 48.3391 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2632 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134105.2559 | 277882.9492 | 62.0402 | 75.7
48734 | 2021-03-17 17:01 | 48.6718 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2571 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134105.9429 | 277873.2131 | 62.0402 | 75.7
48744 | 2021-03-17 17:02 | 49.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3009 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134101.9037 | 277889.827 | 62.0402 | 75.7
48754 | 2021-03-17 17:02 | 49.3385 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.279 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134096.5965 | 277879.9809 | 62.0402 | 75.7
48764 | 2021-03-17 17:02 | 49.6721 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1417 | μmol/L | 13.4132 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134097.6606 | 277884.4643 | 62.0402 | 75.7
48774 | 2021-03-17 17:03 | 50.0058 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3288 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134081.6355 | 277881.676 | 62.0402 | 75.7
48784 | 2021-03-17 17:03 | 50.3388 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2134 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 134085.2649 | 277876.3652 | 62.0402 | 75.7
48794 | 2021-03-17 17:03 | 50.6716 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2851 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134077.2061 | 277878.3594 | 62.0402 | 75.7
48804 | 2021-03-17 17:04 | 51.0054 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.307 | μmol/L | 13.4009 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134082.6618 | 277889.2984 | 62.0402 | 75.7
48814 | 2021-03-17 17:04 | 51.3384 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1855 | μmol/L | 13.4132 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134078.7972 | 277886.0423 | 62.0402 | 75.7
48824 | 2021-03-17 17:04 | 51.6723 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3446 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134071.3105 | 277894.418 | 62.0402 | 75.7
48834 | 2021-03-17 17:05 | 52.0052 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2073 | μmol/L | 13.4132 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134083.058 | 277910.1264 | 62.0402 | 75.7
48844 | 2021-03-17 17:05 | 52.339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.2073 | μmol/L | 13.4132 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.265 | 134076.5458 | 277894.4654 | 62.0402 | 75.7
48854 | 2021-03-17 17:05 | 52.6719 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.3009 | μmol/L | 13.407 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134075.2393 | 277892.8977 | 62.0402 | 75.7
48864 | 2021-03-17 17:06 | 53.0057 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 258.1636 | μmol/L | 13.4132 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.267 | 133956.2215 | 277880.9901 | 62.0402 | 75.7