## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47278 | 2021-03-17 16:13 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5014 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.298 | 146180.3587 | 301761.8989 | 59.9307 | 38.1
47286 | 2021-03-17 16:13 | 0.32805 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5289 | μmol/L | 13.3557 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146180.501 | 301745.5253 | 59.9307 | 38.1
47296 | 2021-03-17 16:13 | 0.66186 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.458 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146181.9461 | 301756.7083 | 59.9307 | 38.1
47306 | 2021-03-17 16:14 | 0.99466 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4956 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.296 | 146180.1797 | 301738.0399 | 59.9307 | 38.1
47316 | 2021-03-17 16:14 | 1.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4797 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146190.5725 | 301753.2445 | 59.9307 | 38.1
47325 | 2021-03-17 16:14 | 1.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4305 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146190.2003 | 301746.5831 | 59.9307 | 38.1
47336 | 2021-03-17 16:15 | 1.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5231 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.297 | 146179.3951 | 301732.3178 | 59.9307 | 38.1
47345 | 2021-03-17 16:15 | 2.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5014 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.298 | 146182.074 | 301734.49 | 59.9307 | 38.1
47356 | 2021-03-17 16:15 | 2.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5448 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.296 | 146178.5357 | 301738.1529 | 59.9307 | 38.1
47366 | 2021-03-17 16:16 | 2.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4305 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146185.8719 | 301737.6812 | 59.9307 | 38.1
47376 | 2021-03-17 16:16 | 3.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3871 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146176.7102 | 301725.8542 | 59.9307 | 38.1
47386 | 2021-03-17 16:16 | 3.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4522 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.298 | 146185.7372 | 301718.7063 | 59.9307 | 38.1
47396 | 2021-03-17 16:17 | 3.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4305 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146182.5841 | 301732.7583 | 59.9307 | 38.1
47406 | 2021-03-17 16:17 | 4.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.458 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146175.3297 | 301710.3893 | 59.9307 | 38.1
47415 | 2021-03-17 16:17 | 4.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3438 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146177.5038 | 301715.7974 | 59.9307 | 38.1
47426 | 2021-03-17 16:18 | 4.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4305 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146172.8236 | 301702.2536 | 59.9307 | 38.1
47435 | 2021-03-17 16:18 | 5.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4088 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146162.2546 | 301702.3753 | 59.9307 | 38.1
47445 | 2021-03-17 16:18 | 5.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5014 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.298 | 146172.0665 | 301706.7121 | 59.9307 | 38.1
47456 | 2021-03-17 16:19 | 5.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4088 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146167.3469 | 301701.6008 | 59.9307 | 38.1
47465 | 2021-03-17 16:19 | 6.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4739 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.297 | 146166.1774 | 301715.0533 | 59.9307 | 38.1
47476 | 2021-03-17 16:19 | 6.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4522 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.298 | 146167.4658 | 301707.6783 | 59.9307 | 38.1
47485 | 2021-03-17 16:20 | 6.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4305 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146150.0737 | 301700.3654 | 59.9307 | 38.1
47496 | 2021-03-17 16:20 | 7.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3813 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.299 | 146164.027 | 301714.6062 | 59.9307 | 38.1
47506 | 2021-03-17 16:20 | 7.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4739 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.297 | 146151.7775 | 301692.8673 | 59.9307 | 38.1
47515 | 2021-03-17 16:21 | 7.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4088 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146167.9515 | 301694.0948 | 59.9307 | 38.1
47525 | 2021-03-17 16:21 | 8.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.458 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146163.9887 | 301700.4704 | 59.9307 | 38.1
47536 | 2021-03-17 16:21 | 8.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4956 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.296 | 146171.9963 | 301695.8843 | 59.9307 | 38.1
47545 | 2021-03-17 16:22 | 8.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.468 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.295 | 146168.9197 | 301692.9161 | 59.9307 | 38.1
47555 | 2021-03-17 16:22 | 9.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3379 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146166.0175 | 301689.6641 | 59.9307 | 38.1
47566 | 2021-03-17 16:22 | 9.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3379 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.301 | 146163.9795 | 301679.6421 | 59.9307 | 38.1
47576 | 2021-03-17 16:23 | 9.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2946 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146165.7313 | 301687.0442 | 59.9307 | 38.1
47586 | 2021-03-17 16:23 | 10.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3438 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146174.3107 | 301682.226 | 59.9307 | 38.1
47596 | 2021-03-17 16:23 | 10.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3654 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.302 | 146183.5242 | 301684.6172 | 59.9307 | 38.1
47605 | 2021-03-17 16:24 | 10.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3596 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.3 | 146184.9987 | 301677.1494 | 59.9307 | 38.1
47616 | 2021-03-17 16:24 | 11.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2946 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146193.0439 | 301686.3729 | 59.9307 | 38.1
47626 | 2021-03-17 16:24 | 11.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3438 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.303 | 146201.1051 | 301692.6218 | 59.9307 | 38.1
47635 | 2021-03-17 16:25 | 11.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2354 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146207.3974 | 301691.8663 | 59.9307 | 38.1
47645 | 2021-03-17 16:25 | 12.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3279 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146211.0818 | 301696.2495 | 59.9307 | 38.1
47655 | 2021-03-17 16:25 | 12.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2787 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.306 | 146222.2616 | 301684.9902 | 59.9307 | 38.1
47666 | 2021-03-17 16:26 | 12.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2354 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146235.2365 | 301712.8426 | 59.9307 | 38.1
47675 | 2021-03-17 16:26 | 13.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2354 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.308 | 146252.3057 | 301701.917 | 59.9307 | 38.1
47686 | 2021-03-17 16:26 | 13.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1487 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.312 | 146257.7369 | 301711.2679 | 59.9307 | 38.1
47695 | 2021-03-17 16:27 | 13.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0996 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.312 | 146267.4297 | 301708.2218 | 59.9307 | 38.1
47706 | 2021-03-17 16:27 | 14.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1429 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.31 | 146260.5992 | 301700.6024 | 59.9307 | 38.1
47715 | 2021-03-17 16:27 | 14.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1487 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.312 | 146260.7502 | 301705.266 | 59.9307 | 38.1
47726 | 2021-03-17 16:28 | 14.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0621 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146270.2354 | 301694.8259 | 59.9307 | 38.1
47736 | 2021-03-17 16:28 | 15.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0621 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146278.5066 | 301705.7292 | 59.9307 | 38.1
47746 | 2021-03-17 16:28 | 15.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0563 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.314 | 146284.469 | 301716.0898 | 59.9307 | 38.1
47755 | 2021-03-17 16:29 | 15.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9264 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.32 | 146286.9532 | 301710.2399 | 59.9307 | 38.1
47765 | 2021-03-17 16:29 | 16.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9697 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.318 | 146290.2981 | 301700.2464 | 59.9307 | 38.1
47776 | 2021-03-17 16:29 | 16.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0621 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.316 | 146300.7137 | 301692.0268 | 59.9307 | 38.1
47786 | 2021-03-17 16:30 | 16.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9755 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.32 | 146301.6459 | 301688.8946 | 59.9307 | 38.1
47796 | 2021-03-17 16:30 | 17.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.948 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.319 | 146306.9999 | 301698.5259 | 59.9307 | 38.1
47806 | 2021-03-17 16:30 | 17.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9972 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.319 | 146314.9446 | 301705.1324 | 59.9307 | 38.1
47815 | 2021-03-17 16:31 | 17.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9322 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.322 | 146314.828 | 301705.7876 | 59.9307 | 38.1
47826 | 2021-03-17 16:31 | 18.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9048 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.321 | 146311.9884 | 301694.9785 | 59.9307 | 38.1
47836 | 2021-03-17 16:31 | 18.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0463 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.319 | 146316.1704 | 301700.4663 | 59.9307 | 38.1
47846 | 2021-03-17 16:32 | 18.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8615 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.323 | 146309.2138 | 301691.6003 | 59.9307 | 38.1
47856 | 2021-03-17 16:32 | 19.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9106 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.323 | 146318.6154 | 301699.3569 | 59.9307 | 38.1
47865 | 2021-03-17 16:32 | 19.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9539 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.321 | 146317.7098 | 301698.4678 | 59.9307 | 38.1
47875 | 2021-03-17 16:33 | 19.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9048 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.321 | 146323.6191 | 301699.0989 | 59.9307 | 38.1
47886 | 2021-03-17 16:33 | 20.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8831 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.322 | 146321.3866 | 301692.9318 | 59.9307 | 38.1
47895 | 2021-03-17 16:33 | 20.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9322 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.322 | 146331.9674 | 301695.0891 | 59.9307 | 38.1
47905 | 2021-03-17 16:34 | 20.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.889 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.324 | 146324.6972 | 301696.4516 | 59.9307 | 38.1
47915 | 2021-03-17 16:34 | 21.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7966 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.326 | 146324.0345 | 301677.8545 | 59.9307 | 38.1
47925 | 2021-03-17 16:34 | 21.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9164 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.325 | 146335.8213 | 301690.5932 | 59.9307 | 38.1
47936 | 2021-03-17 16:35 | 21.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8457 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.326 | 146341.174 | 301687.9226 | 59.9307 | 38.1
47945 | 2021-03-17 16:35 | 22.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.889 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.324 | 146337.9337 | 301675.9354 | 59.9307 | 38.1
47955 | 2021-03-17 16:35 | 22.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9106 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.323 | 146346.3762 | 301683.6185 | 59.9307 | 38.1
47965 | 2021-03-17 16:36 | 22.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8457 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.326 | 146350.4456 | 301690.1384 | 59.9307 | 38.1
47976 | 2021-03-17 16:36 | 23.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8241 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.327 | 146338.2722 | 301676.077 | 59.9307 | 38.1
47986 | 2021-03-17 16:36 | 23.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8182 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.325 | 146346.1512 | 301673.5174 | 59.9307 | 38.1
47995 | 2021-03-17 16:37 | 23.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8024 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.328 | 146355.0198 | 301687.9302 | 59.9307 | 38.1
48005 | 2021-03-17 16:37 | 24.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9164 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.325 | 146353.351 | 301677.7686 | 59.9307 | 38.1
48016 | 2021-03-17 16:37 | 24.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7317 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146367.2221 | 301676.928 | 59.9307 | 38.1
48026 | 2021-03-17 16:38 | 24.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8241 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.327 | 146358.5296 | 301686.8537 | 59.9307 | 38.1
48036 | 2021-03-17 16:38 | 25.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8673 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.325 | 146355.1148 | 301675.4133 | 59.9307 | 38.1
48046 | 2021-03-17 16:38 | 25.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8673 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.325 | 146353.9579 | 301664.3449 | 59.9307 | 38.1
48056 | 2021-03-17 16:39 | 25.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8024 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.328 | 146350.4783 | 301692.4767 | 59.9307 | 38.1
48066 | 2021-03-17 16:39 | 26.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8515 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.328 | 146344.8484 | 301683.4521 | 59.9307 | 38.1
48076 | 2021-03-17 16:39 | 26.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8515 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.328 | 146337.5797 | 301666.3608 | 59.9307 | 38.1
48085 | 2021-03-17 16:40 | 26.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7808 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146352.9868 | 301673.2899 | 59.9307 | 38.1
48095 | 2021-03-17 16:40 | 27.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8299 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146350.1002 | 301664.6277 | 59.9307 | 38.1
48106 | 2021-03-17 16:40 | 27.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7808 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146351.9057 | 301661.82 | 59.9307 | 38.1
48116 | 2021-03-17 16:41 | 27.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8299 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146348.5782 | 301664.8959 | 59.9307 | 38.1
48126 | 2021-03-17 16:41 | 28.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8948 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.326 | 146343.97 | 301668.1227 | 59.9307 | 38.1
48135 | 2021-03-17 16:41 | 28.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8083 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.33 | 146350.0108 | 301671.684 | 59.9307 | 38.1
48145 | 2021-03-17 16:42 | 28.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8299 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146346.268 | 301665.0657 | 59.9307 | 38.1
48155 | 2021-03-17 16:42 | 29.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7867 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.331 | 146350.1207 | 301672.1174 | 59.9307 | 38.1
48165 | 2021-03-17 16:42 | 29.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.716 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.332 | 146367.3333 | 301672.7944 | 59.9307 | 38.1
48175 | 2021-03-17 16:43 | 29.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7808 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.329 | 146354.6188 | 301680.9143 | 59.9307 | 38.1
48186 | 2021-03-17 16:43 | 30.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7867 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.331 | 146366.8533 | 301679.0344 | 59.9307 | 38.1
48195 | 2021-03-17 16:43 | 30.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7434 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.333 | 146370.4319 | 301685.5859 | 59.9307 | 38.1
48206 | 2021-03-17 16:44 | 30.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6944 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.333 | 146369.3485 | 301674.7546 | 59.9307 | 38.1
48216 | 2021-03-17 16:44 | 31.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6944 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.333 | 146373.9307 | 301664.5609 | 59.9307 | 38.1
48226 | 2021-03-17 16:44 | 31.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7218 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.334 | 146381.4598 | 301672.5404 | 59.9307 | 38.1
48235 | 2021-03-17 16:45 | 31.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7434 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.333 | 146388.2175 | 301665.5511 | 59.9307 | 38.1
48246 | 2021-03-17 16:45 | 32.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6786 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.336 | 146392.0473 | 301671.3088 | 59.9307 | 38.1
48256 | 2021-03-17 16:45 | 32.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6511 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.335 | 146400.9008 | 301670.1893 | 59.9307 | 38.1
48266 | 2021-03-17 16:46 | 32.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5647 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.339 | 146385.6352 | 301671.0911 | 59.9307 | 38.1
48276 | 2021-03-17 16:46 | 33.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.657 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.337 | 146395.0488 | 301669.171 | 59.9307 | 38.1
48285 | 2021-03-17 16:46 | 33.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6079 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.337 | 146393.9484 | 301673.4249 | 59.9307 | 38.1
48295 | 2021-03-17 16:47 | 33.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6079 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.337 | 146402.8843 | 301659.9466 | 59.9307 | 38.1
48305 | 2021-03-17 16:47 | 34.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5647 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.339 | 146401.8315 | 301662.2646 | 59.9307 | 38.1
48315 | 2021-03-17 16:47 | 34.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5215 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.341 | 146414.7696 | 301680.7425 | 59.9307 | 38.1
48325 | 2021-03-17 16:48 | 34.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5706 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.341 | 146414.6032 | 301679.5113 | 59.9307 | 38.1
48335 | 2021-03-17 16:48 | 35.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4999 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.342 | 146408.5155 | 301664.7139 | 59.9307 | 38.1
48346 | 2021-03-17 16:48 | 35.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.549 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.342 | 146420.475 | 301665.3485 | 59.9307 | 38.1
48356 | 2021-03-17 16:49 | 35.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5431 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.34 | 146421.0483 | 301666.5694 | 59.9307 | 38.1
48365 | 2021-03-17 16:49 | 36.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5215 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.341 | 146421.8345 | 301672.2475 | 59.9307 | 38.1
48375 | 2021-03-17 16:49 | 36.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5058 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.344 | 146432.2482 | 301655.5728 | 59.9307 | 38.1
48386 | 2021-03-17 16:50 | 36.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4293 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.343 | 146439.8383 | 301656.7135 | 59.9307 | 38.1
48395 | 2021-03-17 16:50 | 37.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5058 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.344 | 146448.2465 | 301658.9888 | 59.9307 | 38.1
48406 | 2021-03-17 16:50 | 37.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4351 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.345 | 146452.4093 | 301664.9156 | 59.9307 | 38.1
48415 | 2021-03-17 16:51 | 37.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.392 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.347 | 146454.7189 | 301666.622 | 59.9307 | 38.1
48426 | 2021-03-17 16:51 | 38.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3762 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.35 | 146454.2673 | 301648.6013 | 59.9307 | 38.1
48436 | 2021-03-17 16:51 | 38.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4626 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.346 | 146455.0961 | 301653.8743 | 59.9307 | 38.1
48445 | 2021-03-17 16:52 | 38.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2841 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.352 | 146469.506 | 301665.7194 | 59.9307 | 38.1
48455 | 2021-03-17 16:52 | 39.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.392 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.347 | 146476.7757 | 301666.1835 | 59.9307 | 38.1
48465 | 2021-03-17 16:52 | 39.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3272 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.35 | 146475.4306 | 301664.3138 | 59.9307 | 38.1
48476 | 2021-03-17 16:53 | 39.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3057 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.351 | 146486.8453 | 301662.37 | 59.9307 | 38.1
48485 | 2021-03-17 16:53 | 40.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3762 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.35 | 146487.0339 | 301660.9173 | 59.9307 | 38.1
48495 | 2021-03-17 16:53 | 40.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2841 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.352 | 146503.5316 | 301661.0201 | 59.9307 | 38.1
48505 | 2021-03-17 16:54 | 40.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3115 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.353 | 146497.9933 | 301660.8571 | 59.9307 | 38.1
48515 | 2021-03-17 16:54 | 41.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2468 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.356 | 146508.1746 | 301676.7687 | 59.9307 | 38.1
48525 | 2021-03-17 16:54 | 41.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.241 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.354 | 146507.7672 | 301669.1262 | 59.9307 | 38.1
48535 | 2021-03-17 16:55 | 41.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2468 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.356 | 146507.2099 | 301664.0742 | 59.9307 | 38.1
48546 | 2021-03-17 16:55 | 42.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1978 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.356 | 146526.8117 | 301657.3274 | 59.9307 | 38.1
48556 | 2021-03-17 16:55 | 42.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1821 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.359 | 146534.7964 | 301672.6618 | 59.9307 | 38.1
48566 | 2021-03-17 16:56 | 42.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1057 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.358 | 146543.2949 | 301680.7992 | 59.9307 | 38.1
48576 | 2021-03-17 16:56 | 43.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0137 | μmol/L | 13.3801 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.36 | 146540.7653 | 301671.8688 | 59.9307 | 38.1
48586 | 2021-03-17 16:56 | 43.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.09 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.361 | 146535.9592 | 301668.7337 | 59.9307 | 38.1
48595 | 2021-03-17 16:57 | 43.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1174 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.362 | 146547.6365 | 301661.1961 | 59.9307 | 38.1
48606 | 2021-03-17 16:57 | 44.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1174 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.362 | 146556.2044 | 301662.4067 | 59.9307 | 38.1
48615 | 2021-03-17 16:57 | 44.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1116 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.36 | 146569.2662 | 301677.3667 | 59.9307 | 38.1
48626 | 2021-03-17 16:58 | 44.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.09 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.361 | 146556.4242 | 301664.5638 | 59.9307 | 38.1
48635 | 2021-03-17 16:58 | 45.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9765 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.364 | 146565.3199 | 301664.8246 | 59.9307 | 38.1
48646 | 2021-03-17 16:58 | 45.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0469 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.363 | 146574.2241 | 301691.5546 | 59.9307 | 38.1
48655 | 2021-03-17 16:59 | 45.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9334 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.366 | 146569.7365 | 301669.0164 | 59.9307 | 38.1
48666 | 2021-03-17 16:59 | 46.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9823 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.366 | 146584.1194 | 301681.3919 | 59.9307 | 38.1
48675 | 2021-03-17 16:59 | 46.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0528 | μmol/L | 13.3618 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.365 | 146573.5077 | 301668.4143 | 59.9307 | 38.1
48686 | 2021-03-17 17:00 | 46.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.0038 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.365 | 146592.1255 | 301677.7513 | 59.9307 | 38.1
48696 | 2021-03-17 17:00 | 47.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9549 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.365 | 146593.1502 | 301679.3902 | 59.9307 | 38.1
48706 | 2021-03-17 17:00 | 47.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9334 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.366 | 146589.3176 | 301671.3895 | 59.9307 | 38.1
48715 | 2021-03-17 17:01 | 47.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9392 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.368 | 146602.0606 | 301667.6154 | 59.9307 | 38.1
48726 | 2021-03-17 17:01 | 48.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8472 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.37 | 146616.0745 | 301679.6156 | 59.9307 | 38.1
48735 | 2021-03-17 17:01 | 48.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8688 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.369 | 146610.5809 | 301682.8483 | 59.9307 | 38.1
48746 | 2021-03-17 17:02 | 48.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8257 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.371 | 146615.668 | 301681.5136 | 59.9307 | 38.1
48755 | 2021-03-17 17:02 | 49.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8962 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.37 | 146624.6166 | 301675.0639 | 59.9307 | 38.1
48766 | 2021-03-17 17:02 | 49.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9608 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.367 | 146623.6322 | 301682.4145 | 59.9307 | 38.1
48776 | 2021-03-17 17:03 | 49.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8316 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.373 | 146627.0004 | 301693.4262 | 59.9307 | 38.1
48786 | 2021-03-17 17:03 | 50.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8746 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.371 | 146633.5916 | 301685.132 | 59.9307 | 38.1
48796 | 2021-03-17 17:03 | 50.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8746 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.371 | 146639.5667 | 301701.5842 | 59.9307 | 38.1
48805 | 2021-03-17 17:04 | 50.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7612 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.374 | 146637.0397 | 301695.6018 | 59.9307 | 38.1
48816 | 2021-03-17 17:04 | 51.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8042 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.372 | 146644.8186 | 301711.3862 | 59.9307 | 38.1
48825 | 2021-03-17 17:04 | 51.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8531 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.372 | 146639.4438 | 301703.9766 | 59.9307 | 38.1
48836 | 2021-03-17 17:05 | 51.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8257 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.371 | 146652.8722 | 301710.8001 | 59.9307 | 38.1
48846 | 2021-03-17 17:05 | 52.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7181 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.376 | 146659.1345 | 301695.4632 | 59.9307 | 38.1
48856 | 2021-03-17 17:05 | 52.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7396 | μmol/L | 13.374 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.375 | 146667.3325 | 301710.0968 | 59.9307 | 38.1
48865 | 2021-03-17 17:06 | 52.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.767 | μmol/L | 13.3679 | °C | 998 | hPa | Humid | 28 | 1 | 0 | 23.376 | 146637.631 | 301696.2612 | 59.9307 | 38.1