## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47279 | 2021-03-17 16:13 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9918 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.459 | 113719.8942 | 217201.5496 | 27.3 | 43.4
47288 | 2021-03-17 16:13 | 0.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9671 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.46 | 113738.1432 | 217204.2256 | 27.3 | 43.4
47298 | 2021-03-17 16:13 | 0.66348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.049 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.459 | 113709.7538 | 217200.8906 | 27.3 | 43.4
47308 | 2021-03-17 16:14 | 0.99707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.1029 | μmol/L | 13.3499 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.457 | 113706.6121 | 217205.4914 | 27.3 | 43.4
47318 | 2021-03-17 16:14 | 1.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.0737 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.458 | 113707.4357 | 217203.1019 | 27.3 | 43.4
47328 | 2021-03-17 16:14 | 1.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9178 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.462 | 113698.5668 | 217203.33 | 27.3 | 43.4
47338 | 2021-03-17 16:15 | 1.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.7945 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.467 | 113687.7648 | 217201.8443 | 27.3 | 43.4
47348 | 2021-03-17 16:15 | 2.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8685 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.464 | 113686.6454 | 217204.9422 | 27.3 | 43.4
47358 | 2021-03-17 16:15 | 2.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9257 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.464 | 113695.2262 | 217193.2814 | 27.3 | 43.4
47368 | 2021-03-17 16:16 | 2.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8931 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.463 | 113691.5052 | 217200.593 | 27.3 | 43.4
47378 | 2021-03-17 16:16 | 3.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8518 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.467 | 113691.011 | 217196.3951 | 27.3 | 43.4
47388 | 2021-03-17 16:16 | 3.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9583 | μmol/L | 13.3438 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.465 | 113679.0243 | 217188.3237 | 27.3 | 43.4
47398 | 2021-03-17 16:17 | 3.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9337 | μmol/L | 13.3438 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.466 | 113678.7014 | 217192.2236 | 27.3 | 43.4
47408 | 2021-03-17 16:17 | 4.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9337 | μmol/L | 13.3438 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.466 | 113694.6517 | 217202.9951 | 27.3 | 43.4
47418 | 2021-03-17 16:17 | 4.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8518 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.467 | 113691.5526 | 217198.1176 | 27.3 | 43.4
47428 | 2021-03-17 16:18 | 4.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8025 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.469 | 113681.532 | 217181.087 | 27.3 | 43.4
47438 | 2021-03-17 16:18 | 5.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8351 | μmol/L | 13.3438 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.47 | 113682.6393 | 217185.0168 | 27.3 | 43.4
47448 | 2021-03-17 16:18 | 5.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.7778 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.47 | 113685.3083 | 217195.6445 | 27.3 | 43.4
47458 | 2021-03-17 16:19 | 5.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8025 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.469 | 113690.989 | 217204.9751 | 27.3 | 43.4
47468 | 2021-03-17 16:19 | 6.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.696 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.471 | 113694.4317 | 217179.7556 | 27.3 | 43.4
47478 | 2021-03-17 16:19 | 6.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.696 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.471 | 113692.881 | 217186.2001 | 27.3 | 43.4
47488 | 2021-03-17 16:20 | 6.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.7039 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.473 | 113689.9425 | 217185.2078 | 27.3 | 43.4
47498 | 2021-03-17 16:20 | 7.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6546 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.475 | 113691.3159 | 217199.6192 | 27.3 | 43.4
47508 | 2021-03-17 16:20 | 7.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.696 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.471 | 113681.6745 | 217184.469 | 27.3 | 43.4
47518 | 2021-03-17 16:21 | 7.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5402 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.475 | 113692.3092 | 217191.3098 | 27.3 | 43.4
47528 | 2021-03-17 16:21 | 8.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5974 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.475 | 113692.9084 | 217190.169 | 27.3 | 43.4
47538 | 2021-03-17 16:21 | 8.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.7285 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.472 | 113704.7537 | 217196.1146 | 27.3 | 43.4
47548 | 2021-03-17 16:22 | 8.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6546 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.475 | 113698.7514 | 217190.5839 | 27.3 | 43.4
47558 | 2021-03-17 16:22 | 9.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.638 | μmol/L | 13.3438 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113703.0435 | 217193.9821 | 27.3 | 43.4
47568 | 2021-03-17 16:22 | 9.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5974 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.475 | 113703.8859 | 217186.2344 | 27.3 | 43.4
47578 | 2021-03-17 16:23 | 9.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5236 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113707.6638 | 217174.8558 | 27.3 | 43.4
47588 | 2021-03-17 16:23 | 10.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4743 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.48 | 113710.2004 | 217189.5567 | 27.3 | 43.4
47598 | 2021-03-17 16:23 | 10.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4497 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.481 | 113701.015 | 217186.3497 | 27.3 | 43.4
47608 | 2021-03-17 16:24 | 10.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.499 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.479 | 113717.9437 | 217195.863 | 27.3 | 43.4
47618 | 2021-03-17 16:24 | 11.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5808 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113713.9998 | 217202.3171 | 27.3 | 43.4
47628 | 2021-03-17 16:24 | 11.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4577 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113718.8583 | 217184.0891 | 27.3 | 43.4
47638 | 2021-03-17 16:25 | 11.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4331 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.484 | 113726.2516 | 217180.0079 | 27.3 | 43.4
47648 | 2021-03-17 16:25 | 12.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4005 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113730.1075 | 217184.8235 | 27.3 | 43.4
47658 | 2021-03-17 16:25 | 12.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4577 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113736.5029 | 217192.958 | 27.3 | 43.4
47668 | 2021-03-17 16:26 | 12.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3434 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113743.2124 | 217188.7926 | 27.3 | 43.4
47678 | 2021-03-17 16:26 | 13.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3759 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.484 | 113743.0681 | 217187.5907 | 27.3 | 43.4
47688 | 2021-03-17 16:26 | 13.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113744.8916 | 217190.8877 | 27.3 | 43.4
47698 | 2021-03-17 16:27 | 13.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3267 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113763.3514 | 217186.4258 | 27.3 | 43.4
47708 | 2021-03-17 16:27 | 14.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113750.1476 | 217185.4538 | 27.3 | 43.4
47718 | 2021-03-17 16:27 | 14.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113753.5009 | 217178.9245 | 27.3 | 43.4
47728 | 2021-03-17 16:28 | 14.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4005 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113766.5595 | 217180.547 | 27.3 | 43.4
47738 | 2021-03-17 16:28 | 15.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3267 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113760.7126 | 217178.6588 | 27.3 | 43.4
47748 | 2021-03-17 16:28 | 15.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3513 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.485 | 113761.7288 | 217193.0485 | 27.3 | 43.4
47758 | 2021-03-17 16:29 | 15.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.245 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.487 | 113770.7056 | 217183.9811 | 27.3 | 43.4
47768 | 2021-03-17 16:29 | 16.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3839 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113768.8456 | 217185.695 | 27.3 | 43.4
47778 | 2021-03-17 16:29 | 16.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2855 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.49 | 113768.1146 | 217177.42 | 27.3 | 43.4
47788 | 2021-03-17 16:30 | 16.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2204 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.488 | 113771.4789 | 217182.2987 | 27.3 | 43.4
47798 | 2021-03-17 16:30 | 17.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2775 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.488 | 113774.0479 | 217187.5887 | 27.3 | 43.4
47808 | 2021-03-17 16:30 | 17.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2038 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113775.8181 | 217181.6799 | 27.3 | 43.4
47818 | 2021-03-17 16:31 | 17.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2284 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.49 | 113779.164 | 217184.763 | 27.3 | 43.4
47828 | 2021-03-17 16:31 | 18.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2038 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113783.7418 | 217188.3255 | 27.3 | 43.4
47838 | 2021-03-17 16:31 | 18.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1467 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113785.2696 | 217184.5474 | 27.3 | 43.4
47848 | 2021-03-17 16:32 | 18.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2038 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113779.9074 | 217185.4947 | 27.3 | 43.4
47858 | 2021-03-17 16:32 | 19.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2204 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.488 | 113769.8441 | 217181.3175 | 27.3 | 43.4
47868 | 2021-03-17 16:32 | 19.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3267 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113773.998 | 217185.6253 | 27.3 | 43.4
47878 | 2021-03-17 16:33 | 19.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1633 | μmol/L | 13.3682 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.488 | 113777.7126 | 217189.8104 | 27.3 | 43.4
47888 | 2021-03-17 16:33 | 20.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1467 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113770.5965 | 217193.3093 | 27.3 | 43.4
47898 | 2021-03-17 16:33 | 20.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1467 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.491 | 113770.6698 | 217186.8092 | 27.3 | 43.4
47908 | 2021-03-17 16:34 | 20.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1712 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.49 | 113761.005 | 217191.6742 | 27.3 | 43.4
47918 | 2021-03-17 16:34 | 21.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3021 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.487 | 113757.0202 | 217196.9594 | 27.3 | 43.4
47928 | 2021-03-17 16:34 | 21.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2775 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.488 | 113750.8735 | 217192.5133 | 27.3 | 43.4
47938 | 2021-03-17 16:35 | 21.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3759 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.484 | 113758.2404 | 217188.9842 | 27.3 | 43.4
47948 | 2021-03-17 16:35 | 22.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2696 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113749.1004 | 217182.3936 | 27.3 | 43.4
47958 | 2021-03-17 16:35 | 22.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2284 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.49 | 113750.8388 | 217194.4045 | 27.3 | 43.4
47968 | 2021-03-17 16:36 | 22.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4005 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113738.3847 | 217180.7474 | 27.3 | 43.4
47978 | 2021-03-17 16:36 | 23.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3021 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.487 | 113728.8802 | 217173.915 | 27.3 | 43.4
47988 | 2021-03-17 16:36 | 23.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113723.6754 | 217172.7022 | 27.3 | 43.4
47998 | 2021-03-17 16:37 | 23.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4005 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113725.2508 | 217178.0435 | 27.3 | 43.4
48008 | 2021-03-17 16:37 | 24.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3188 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.484 | 113709.6219 | 217174.9736 | 27.3 | 43.4
48018 | 2021-03-17 16:37 | 24.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113709.5337 | 217168.2424 | 27.3 | 43.4
48028 | 2021-03-17 16:38 | 24.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5561 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.479 | 113701.9932 | 217180.3948 | 27.3 | 43.4
48038 | 2021-03-17 16:38 | 25.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4497 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.481 | 113700.2745 | 217173.0289 | 27.3 | 43.4
48048 | 2021-03-17 16:38 | 25.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5156 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.476 | 113701.3671 | 217173.9193 | 27.3 | 43.4
48058 | 2021-03-17 16:39 | 25.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4251 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.482 | 113682.9665 | 217165.74 | 27.3 | 43.4
48068 | 2021-03-17 16:39 | 26.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4743 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.48 | 113681.7796 | 217177.88 | 27.3 | 43.4
48078 | 2021-03-17 16:39 | 26.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6221 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.474 | 113671.8555 | 217172.3651 | 27.3 | 43.4
48088 | 2021-03-17 16:40 | 26.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4664 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113676.846 | 217164.3391 | 27.3 | 43.4
48098 | 2021-03-17 16:40 | 27.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5236 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113682.1781 | 217178.3069 | 27.3 | 43.4
48108 | 2021-03-17 16:40 | 27.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6054 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.477 | 113684.3269 | 217172.613 | 27.3 | 43.4
48118 | 2021-03-17 16:41 | 27.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.63 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.476 | 113682.5361 | 217186.1194 | 27.3 | 43.4
48128 | 2021-03-17 16:41 | 28.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5482 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.477 | 113689.7782 | 217177.725 | 27.3 | 43.4
48138 | 2021-03-17 16:41 | 28.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4005 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.483 | 113691.8296 | 217182.6881 | 27.3 | 43.4
48148 | 2021-03-17 16:42 | 28.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5236 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.478 | 113701.7356 | 217178.4979 | 27.3 | 43.4
48158 | 2021-03-17 16:42 | 29.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3267 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.486 | 113700.0569 | 217172.5991 | 27.3 | 43.4
48168 | 2021-03-17 16:42 | 29.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4085 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.485 | 113707.9804 | 217181.6472 | 27.3 | 43.4
48178 | 2021-03-17 16:43 | 29.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2529 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.489 | 113711.2479 | 217165.9342 | 27.3 | 43.4
48188 | 2021-03-17 16:43 | 30.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3021 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.487 | 113717.8174 | 217175.1644 | 27.3 | 43.4
48198 | 2021-03-17 16:43 | 30.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3101 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.489 | 113735.5275 | 217178.6507 | 27.3 | 43.4
48208 | 2021-03-17 16:44 | 30.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.3021 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.487 | 113743.4496 | 217180.1475 | 27.3 | 43.4
48218 | 2021-03-17 16:44 | 31.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1792 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.492 | 113743.9465 | 217169.1592 | 27.3 | 43.4
48228 | 2021-03-17 16:44 | 31.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2363 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.492 | 113746.9214 | 217162.5206 | 27.3 | 43.4
48238 | 2021-03-17 16:45 | 31.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.0318 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.498 | 113745.2192 | 217159.1058 | 27.3 | 43.4
48248 | 2021-03-17 16:45 | 32.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.0563 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.497 | 113764.9278 | 217156.1693 | 27.3 | 43.4
48258 | 2021-03-17 16:45 | 32.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.0563 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.497 | 113772.0559 | 217161.2155 | 27.3 | 43.4
48268 | 2021-03-17 16:46 | 32.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.0643 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.499 | 113786.3205 | 217166.0994 | 27.3 | 43.4
48278 | 2021-03-17 16:46 | 33.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.0072 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.499 | 113793.2703 | 217162.7663 | 27.3 | 43.4
48288 | 2021-03-17 16:46 | 33.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.9335 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.502 | 113798.9682 | 217160.4976 | 27.3 | 43.4
48298 | 2021-03-17 16:47 | 33.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8028 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.505 | 113803.2817 | 217162.896 | 27.3 | 43.4
48308 | 2021-03-17 16:47 | 34.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.909 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.503 | 113815.9409 | 217169.3263 | 27.3 | 43.4
48318 | 2021-03-17 16:47 | 34.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7783 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.506 | 113813.4017 | 217167.8899 | 27.3 | 43.4
48328 | 2021-03-17 16:48 | 34.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8274 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.504 | 113817.817 | 217167.9864 | 27.3 | 43.4
48338 | 2021-03-17 16:48 | 35.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7862 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.508 | 113811.6121 | 217163.025 | 27.3 | 43.4
48348 | 2021-03-17 16:48 | 35.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8599 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.505 | 113807.6617 | 217157.8238 | 27.3 | 43.4
48358 | 2021-03-17 16:49 | 35.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8108 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.507 | 113808.1782 | 217162.3141 | 27.3 | 43.4
48368 | 2021-03-17 16:49 | 36.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8844 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.504 | 113809.0404 | 217158.4519 | 27.3 | 43.4
48378 | 2021-03-17 16:49 | 36.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8678 | μmol/L | 13.3499 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.507 | 113800.7527 | 217166.6444 | 27.3 | 43.4
48388 | 2021-03-17 16:50 | 36.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7292 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.508 | 113804.2684 | 217166.4009 | 27.3 | 43.4
48398 | 2021-03-17 16:50 | 37.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.909 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.503 | 113798.5541 | 217167.6009 | 27.3 | 43.4
48408 | 2021-03-17 16:50 | 37.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7862 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.508 | 113808.0214 | 217149.8912 | 27.3 | 43.4
48418 | 2021-03-17 16:51 | 37.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8274 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.504 | 113802.0598 | 217165.8211 | 27.3 | 43.4
48428 | 2021-03-17 16:51 | 38.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8844 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.504 | 113805.4347 | 217166.2974 | 27.3 | 43.4
48438 | 2021-03-17 16:51 | 38.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8844 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.504 | 113801.0738 | 217158.4016 | 27.3 | 43.4
48448 | 2021-03-17 16:52 | 38.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7292 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.508 | 113809.6737 | 217158.9904 | 27.3 | 43.4
48458 | 2021-03-17 16:52 | 39.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8353 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.506 | 113818.6355 | 217159.436 | 27.3 | 43.4
48468 | 2021-03-17 16:52 | 39.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6881 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.512 | 113827.8657 | 217164.514 | 27.3 | 43.4
48478 | 2021-03-17 16:53 | 39.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6881 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.512 | 113820.06 | 217168.4112 | 27.3 | 43.4
48488 | 2021-03-17 16:53 | 40.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7862 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.508 | 113818.988 | 217172.9547 | 27.3 | 43.4
48498 | 2021-03-17 16:53 | 40.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6636 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.513 | 113820.8037 | 217162.9672 | 27.3 | 43.4
48508 | 2021-03-17 16:54 | 40.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7047 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.509 | 113821.3367 | 217157.0249 | 27.3 | 43.4
48518 | 2021-03-17 16:54 | 41.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6311 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.512 | 113828.1242 | 217155.6613 | 27.3 | 43.4
48528 | 2021-03-17 16:54 | 41.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6802 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.51 | 113830.0534 | 217169.433 | 27.3 | 43.4
48538 | 2021-03-17 16:55 | 41.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7047 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.509 | 113834.7352 | 217174.2688 | 27.3 | 43.4
48548 | 2021-03-17 16:55 | 42.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7617 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.509 | 113832.3597 | 217163.4729 | 27.3 | 43.4
48558 | 2021-03-17 16:55 | 42.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6636 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.513 | 113832.2615 | 217166.2286 | 27.3 | 43.4
48568 | 2021-03-17 16:56 | 42.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6636 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.513 | 113839.135 | 217170.6499 | 27.3 | 43.4
48578 | 2021-03-17 16:56 | 43.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6311 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.512 | 113831.1269 | 217164.0795 | 27.3 | 43.4
48588 | 2021-03-17 16:56 | 43.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6066 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.513 | 113846.8071 | 217173.7568 | 27.3 | 43.4
48598 | 2021-03-17 16:57 | 43.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6145 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.515 | 113843.1599 | 217170.955 | 27.3 | 43.4
48608 | 2021-03-17 16:57 | 44.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6391 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.514 | 113842.0429 | 217164.9465 | 27.3 | 43.4
48618 | 2021-03-17 16:57 | 44.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6556 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.511 | 113843.9101 | 217163.316 | 27.3 | 43.4
48628 | 2021-03-17 16:58 | 44.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6145 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.515 | 113845.3307 | 217159.0246 | 27.3 | 43.4
48638 | 2021-03-17 16:58 | 45.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6311 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.512 | 113840.0784 | 217161.4793 | 27.3 | 43.4
48648 | 2021-03-17 16:58 | 45.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.533 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.516 | 113850.0303 | 217165.1925 | 27.3 | 43.4
48658 | 2021-03-17 16:59 | 45.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7617 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.509 | 113854.2273 | 217172.3136 | 27.3 | 43.4
48668 | 2021-03-17 16:59 | 46.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5821 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.514 | 113858.8618 | 217168.7856 | 27.3 | 43.4
48678 | 2021-03-17 16:59 | 46.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6145 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.515 | 113857.5934 | 217163.8901 | 27.3 | 43.4
48688 | 2021-03-17 17:00 | 46.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4515 | μmol/L | 13.3682 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.517 | 113858.4611 | 217166.8041 | 27.3 | 43.4
48698 | 2021-03-17 17:00 | 47.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5085 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.517 | 113864.131 | 217171.6418 | 27.3 | 43.4
48708 | 2021-03-17 17:00 | 47.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5575 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.515 | 113862.0729 | 217167.2452 | 27.3 | 43.4
48718 | 2021-03-17 17:01 | 47.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4595 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.519 | 113862.2076 | 217161.2881 | 27.3 | 43.4
48728 | 2021-03-17 17:01 | 48.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4675 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.521 | 113866.7603 | 217159.8124 | 27.3 | 43.4
48738 | 2021-03-17 17:01 | 48.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5085 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.517 | 113883.8504 | 217165.3264 | 27.3 | 43.4
48748 | 2021-03-17 17:02 | 48.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.492 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.52 | 113874.7358 | 217167.7421 | 27.3 | 43.4
48758 | 2021-03-17 17:02 | 49.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5085 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.517 | 113885.0906 | 217165.1486 | 27.3 | 43.4
48768 | 2021-03-17 17:02 | 49.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4515 | μmol/L | 13.3682 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.517 | 113886.8792 | 217167.7158 | 27.3 | 43.4
48778 | 2021-03-17 17:03 | 49.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4675 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.521 | 113885.7142 | 217161.0161 | 27.3 | 43.4
48788 | 2021-03-17 17:03 | 50.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.386 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.522 | 113896.9871 | 217183.7943 | 27.3 | 43.4
48798 | 2021-03-17 17:03 | 50.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.329 | μmol/L | 13.3682 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.522 | 113895.1283 | 217174.8647 | 27.3 | 43.4
48808 | 2021-03-17 17:04 | 50.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.386 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.522 | 113898.1893 | 217176.2839 | 27.3 | 43.4
48818 | 2021-03-17 17:04 | 51.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.3125 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.525 | 113902.8483 | 217182.5968 | 27.3 | 43.4
48828 | 2021-03-17 17:04 | 51.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.443 | μmol/L | 13.356 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.522 | 113910.1062 | 217177.1099 | 27.3 | 43.4
48838 | 2021-03-17 17:05 | 51.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.337 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.524 | 113921 | 217176.0603 | 27.3 | 43.4
48848 | 2021-03-17 17:05 | 52.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.1821 | μmol/L | 13.3682 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.528 | 113924.7466 | 217177.291 | 27.3 | 43.4
48858 | 2021-03-17 17:05 | 52.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.1411 | μmol/L | 13.3621 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.532 | 113925.5479 | 217186.7913 | 27.3 | 43.4