## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47280 | 2021-03-17 16:13 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2439 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.303 | 107669.1531 | 299171.3107 | 28.7 | 67.6
47290 | 2021-03-17 16:13 | 0.33744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2874 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.301 | 107677.5792 | 299187.1889 | 28.7 | 67.6
47300 | 2021-03-17 16:13 | 0.67036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2439 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.303 | 107668.7386 | 299190.197 | 28.7 | 67.6
47310 | 2021-03-17 16:14 | 1.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3584 | μmol/L | 13.3643 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.3 | 107675.6407 | 299192.1211 | 28.7 | 67.6
47320 | 2021-03-17 16:14 | 1.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2439 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.303 | 107661.9884 | 299189.0393 | 28.7 | 67.6
47330 | 2021-03-17 16:14 | 1.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1947 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.303 | 107666.1305 | 299200.3655 | 28.7 | 67.6
47340 | 2021-03-17 16:15 | 2.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2874 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.301 | 107656.3046 | 299218.6667 | 28.7 | 67.6
47350 | 2021-03-17 16:15 | 2.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2657 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.302 | 107662.3797 | 299206.4672 | 28.7 | 67.6
47360 | 2021-03-17 16:15 | 2.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3584 | μmol/L | 13.3643 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.3 | 107665.5404 | 299205.9862 | 28.7 | 67.6
47370 | 2021-03-17 16:16 | 3.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1135 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.309 | 107667.1752 | 299209.161 | 28.7 | 67.6
47380 | 2021-03-17 16:16 | 3.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1295 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.306 | 107665.1658 | 299215.4632 | 28.7 | 67.6
47390 | 2021-03-17 16:16 | 3.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2222 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.304 | 107663.2745 | 299205.315 | 28.7 | 67.6
47400 | 2021-03-17 16:17 | 4.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1513 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.305 | 107671.103 | 299214.8457 | 28.7 | 67.6
47410 | 2021-03-17 16:17 | 4.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1352 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.308 | 107660.5137 | 299198.1745 | 28.7 | 67.6
47420 | 2021-03-17 16:17 | 4.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1352 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.308 | 107660.9298 | 299213.7787 | 28.7 | 67.6
47430 | 2021-03-17 16:18 | 5.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0209 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.311 | 107661.6776 | 299211.6757 | 28.7 | 67.6
47440 | 2021-03-17 16:18 | 5.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1078 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.307 | 107671.8111 | 299226.3089 | 28.7 | 67.6
47450 | 2021-03-17 16:18 | 5.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0426 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.31 | 107664.7012 | 299214.8838 | 28.7 | 67.6
47460 | 2021-03-17 16:19 | 6.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0917 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.31 | 107677.9337 | 299212.6653 | 28.7 | 67.6
47470 | 2021-03-17 16:19 | 6.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0917 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.31 | 107673.2317 | 299218.434 | 28.7 | 67.6
47480 | 2021-03-17 16:19 | 6.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0483 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.312 | 107673.4166 | 299210.9395 | 28.7 | 67.6
47490 | 2021-03-17 16:20 | 7.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9774 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.313 | 107668.5485 | 299211.7106 | 28.7 | 67.6
47500 | 2021-03-17 16:20 | 7.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0209 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.311 | 107677.6596 | 299204.7385 | 28.7 | 67.6
47510 | 2021-03-17 16:20 | 7.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1135 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.309 | 107678.9918 | 299208.5356 | 28.7 | 67.6
47520 | 2021-03-17 16:21 | 8.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9557 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.314 | 107685.8382 | 299215.0053 | 28.7 | 67.6
47530 | 2021-03-17 16:21 | 8.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0917 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.31 | 107689.6418 | 299218.2919 | 28.7 | 67.6
47540 | 2021-03-17 16:21 | 8.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0209 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.311 | 107685.6141 | 299219.4014 | 28.7 | 67.6
47550 | 2021-03-17 16:22 | 9.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.918 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.318 | 107686.5502 | 299215.8473 | 28.7 | 67.6
47560 | 2021-03-17 16:22 | 9.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9397 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.317 | 107687.478 | 299212.7651 | 28.7 | 67.6
47570 | 2021-03-17 16:22 | 9.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9123 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.316 | 107685.9719 | 299213.7443 | 28.7 | 67.6
47580 | 2021-03-17 16:23 | 10.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9123 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.316 | 107691.1069 | 299213.38 | 28.7 | 67.6
47590 | 2021-03-17 16:23 | 10.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8254 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.32 | 107699.0471 | 299219.0882 | 28.7 | 67.6
47600 | 2021-03-17 16:23 | 10.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8906 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.317 | 107694.1778 | 299214.5959 | 28.7 | 67.6
47610 | 2021-03-17 16:24 | 11.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8528 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.321 | 107696.4521 | 299212.3117 | 28.7 | 67.6
47620 | 2021-03-17 16:24 | 11.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8254 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.32 | 107698.8766 | 299211.1068 | 28.7 | 67.6
47630 | 2021-03-17 16:24 | 11.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8528 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.321 | 107709.2899 | 299224.4274 | 28.7 | 67.6
47640 | 2021-03-17 16:25 | 12.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8963 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.319 | 107706.7221 | 299216.8069 | 28.7 | 67.6
47650 | 2021-03-17 16:25 | 12.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8254 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.32 | 107707.8488 | 299223.8272 | 28.7 | 67.6
47660 | 2021-03-17 16:25 | 12.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8311 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.322 | 107712.4523 | 299221.8972 | 28.7 | 67.6
47670 | 2021-03-17 16:26 | 13.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8311 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.322 | 107727.4932 | 299229.5465 | 28.7 | 67.6
47680 | 2021-03-17 16:26 | 13.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7386 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.324 | 107731.9326 | 299230.1712 | 28.7 | 67.6
47690 | 2021-03-17 16:26 | 13.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7603 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.323 | 107729.8941 | 299217.0459 | 28.7 | 67.6
47700 | 2021-03-17 16:27 | 14.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9614 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.316 | 107719.366 | 299234.5089 | 28.7 | 67.6
47710 | 2021-03-17 16:27 | 14.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8906 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.317 | 107702.7988 | 299238.8629 | 28.7 | 67.6
47720 | 2021-03-17 16:27 | 14.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9123 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.316 | 107702.8004 | 299237.2211 | 28.7 | 67.6
47730 | 2021-03-17 16:28 | 15.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.934 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.315 | 107697.1952 | 299214.5019 | 28.7 | 67.6
47740 | 2021-03-17 16:28 | 15.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9397 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.317 | 107696.1412 | 299230.7256 | 28.7 | 67.6
47750 | 2021-03-17 16:28 | 15.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8963 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.319 | 107706.1783 | 299230.8377 | 28.7 | 67.6
47760 | 2021-03-17 16:29 | 16.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.918 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.318 | 107705.9973 | 299231.9469 | 28.7 | 67.6
47770 | 2021-03-17 16:29 | 16.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8431 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.319 | 107692.0588 | 299221.1469 | 28.7 | 67.6
47780 | 2021-03-17 16:29 | 16.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9197 | μmol/L | 13.3643 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.32 | 107702.8991 | 299214.6327 | 28.7 | 67.6
47790 | 2021-03-17 16:30 | 17.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8648 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.318 | 107709.5584 | 299225.9931 | 28.7 | 67.6
47800 | 2021-03-17 16:30 | 17.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8431 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.319 | 107713.4205 | 299225.9586 | 28.7 | 67.6
47810 | 2021-03-17 16:30 | 17.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8037 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.321 | 107712.59 | 299227.3164 | 28.7 | 67.6
47820 | 2021-03-17 16:31 | 18.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7113 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.323 | 107713.0025 | 299230.4212 | 28.7 | 67.6
47830 | 2021-03-17 16:31 | 18.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7997 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.321 | 107724.3627 | 299218.0334 | 28.7 | 67.6
47840 | 2021-03-17 16:31 | 18.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7603 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.323 | 107722.1266 | 299233.1855 | 28.7 | 67.6
47850 | 2021-03-17 16:32 | 19.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.778 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.322 | 107718.8844 | 299226.2619 | 28.7 | 67.6
47860 | 2021-03-17 16:32 | 19.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7563 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.323 | 107728.3193 | 299227.9801 | 28.7 | 67.6
47870 | 2021-03-17 16:32 | 19.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.717 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.325 | 107735.3551 | 299229.4417 | 28.7 | 67.6
47880 | 2021-03-17 16:33 | 20.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6205 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.327 | 107740.5034 | 299226.2682 | 28.7 | 67.6
47890 | 2021-03-17 16:33 | 20.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6953 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.326 | 107730.2803 | 299235.0646 | 28.7 | 67.6
47900 | 2021-03-17 16:33 | 20.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7837 | μmol/L | 13.3703 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.324 | 107735.5307 | 299246.3058 | 28.7 | 67.6
47910 | 2021-03-17 16:34 | 21.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6736 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.327 | 107729.0281 | 299223.2937 | 28.7 | 67.6
47920 | 2021-03-17 16:34 | 21.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.7129 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.325 | 107737.6954 | 299222.9568 | 28.7 | 67.6
47930 | 2021-03-17 16:34 | 21.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6696 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.327 | 107750.8162 | 299239.4081 | 28.7 | 67.6
47940 | 2021-03-17 16:35 | 22.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5121 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.332 | 107748.253 | 299224.3062 | 28.7 | 67.6
47950 | 2021-03-17 16:35 | 22.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5595 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.33 | 107755.5662 | 299228.7662 | 28.7 | 67.6
47960 | 2021-03-17 16:35 | 22.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5161 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.332 | 107747.6415 | 299210.1097 | 28.7 | 67.6
47970 | 2021-03-17 16:36 | 23.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5435 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.333 | 107755.3308 | 299243.6084 | 28.7 | 67.6
47980 | 2021-03-17 16:36 | 23.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.701 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.328 | 107749.9979 | 299207.0405 | 28.7 | 67.6
47990 | 2021-03-17 16:36 | 23.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5218 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.334 | 107756.1225 | 299223.4191 | 28.7 | 67.6
48000 | 2021-03-17 16:37 | 24.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5435 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.333 | 107761.8013 | 299220.7658 | 28.7 | 67.6
48010 | 2021-03-17 16:37 | 24.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5435 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.333 | 107760.6631 | 299233.015 | 28.7 | 67.6
48020 | 2021-03-17 16:37 | 24.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6576 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.33 | 107767.2203 | 299217.3429 | 28.7 | 67.6
48030 | 2021-03-17 16:38 | 25.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5868 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.331 | 107766.366 | 299227.1406 | 28.7 | 67.6
48040 | 2021-03-17 16:38 | 25.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4961 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.335 | 107766.881 | 299223.3662 | 28.7 | 67.6
48050 | 2021-03-17 16:38 | 25.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4568 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.337 | 107766.5063 | 299211.3497 | 28.7 | 67.6
48060 | 2021-03-17 16:39 | 26.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5058 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.337 | 107775.8195 | 299231.9429 | 28.7 | 67.6
48070 | 2021-03-17 16:39 | 26.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5275 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.336 | 107780.4498 | 299217.1562 | 28.7 | 67.6
48080 | 2021-03-17 16:39 | 26.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4842 | μmol/L | 13.3703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.338 | 107785.3038 | 299218.6912 | 28.7 | 67.6
48090 | 2021-03-17 16:40 | 27.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3702 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.341 | 107783.5239 | 299224.7034 | 28.7 | 67.6
48100 | 2021-03-17 16:40 | 27.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4311 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.338 | 107783.427 | 299223.653 | 28.7 | 67.6
48110 | 2021-03-17 16:40 | 27.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3445 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107772.8625 | 299216.6933 | 28.7 | 67.6
48120 | 2021-03-17 16:41 | 28.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4568 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.337 | 107792.9695 | 299208.4621 | 28.7 | 67.6
48130 | 2021-03-17 16:41 | 28.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3878 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.34 | 107792.3991 | 299209.2961 | 28.7 | 67.6
48140 | 2021-03-17 16:41 | 28.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4568 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.337 | 107790.7761 | 299211.8667 | 28.7 | 67.6
48150 | 2021-03-17 16:42 | 29.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2995 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107789.5361 | 299210.6261 | 28.7 | 67.6
48160 | 2021-03-17 16:42 | 29.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3445 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107796.647 | 299227.1328 | 28.7 | 67.6
48170 | 2021-03-17 16:42 | 29.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3485 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.342 | 107800.4569 | 299232.6802 | 28.7 | 67.6
48180 | 2021-03-17 16:43 | 30.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3052 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107790.083 | 299208.9209 | 28.7 | 67.6
48190 | 2021-03-17 16:43 | 30.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3268 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.343 | 107804.2277 | 299210.9713 | 28.7 | 67.6
48200 | 2021-03-17 16:43 | 30.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3012 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107806.9226 | 299209.3811 | 28.7 | 67.6
48210 | 2021-03-17 16:44 | 31.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.3052 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107807.2888 | 299209.5015 | 28.7 | 67.6
48220 | 2021-03-17 16:44 | 31.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2619 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.346 | 107802.082 | 299209.7044 | 28.7 | 67.6
48230 | 2021-03-17 16:44 | 31.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1696 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107804.8945 | 299204.0709 | 28.7 | 67.6
48240 | 2021-03-17 16:45 | 32.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2835 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107800.1572 | 299201.1828 | 28.7 | 67.6
48250 | 2021-03-17 16:45 | 32.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2835 | μmol/L | 13.3764 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.345 | 107805.8458 | 299194.0604 | 28.7 | 67.6
48260 | 2021-03-17 16:45 | 32.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1873 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107818.5747 | 299210.9023 | 28.7 | 67.6
48270 | 2021-03-17 16:46 | 33.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1913 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.347 | 107808.9463 | 299209.6993 | 28.7 | 67.6
48280 | 2021-03-17 16:46 | 33.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1713 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107810.3082 | 299211.2875 | 28.7 | 67.6
48290 | 2021-03-17 16:46 | 33.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1656 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107812.6885 | 299195.9153 | 28.7 | 67.6
48300 | 2021-03-17 16:47 | 34.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1696 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.348 | 107819.7955 | 299203.0544 | 28.7 | 67.6
48310 | 2021-03-17 16:47 | 34.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2562 | μmol/L | 13.3825 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 23.344 | 107817.703 | 299195.6303 | 28.7 | 67.6
48320 | 2021-03-17 16:47 | 34.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.095 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107814.5945 | 299194.115 | 28.7 | 67.6
48330 | 2021-03-17 16:48 | 35.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1224 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107816.3222 | 299202.2781 | 28.7 | 67.6
48340 | 2021-03-17 16:48 | 35.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0301 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107814.2068 | 299201.8704 | 28.7 | 67.6
48350 | 2021-03-17 16:48 | 35.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.144 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.349 | 107814.9823 | 299180.387 | 28.7 | 67.6
48360 | 2021-03-17 16:49 | 36.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1224 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.35 | 107819.5798 | 299189.5336 | 28.7 | 67.6
48370 | 2021-03-17 16:49 | 36.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1064 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107821.2707 | 299180.5083 | 28.7 | 67.6
48380 | 2021-03-17 16:49 | 36.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0791 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107822.8279 | 299189.4437 | 28.7 | 67.6
48390 | 2021-03-17 16:50 | 37.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0358 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107824.9561 | 299192.67 | 28.7 | 67.6
48400 | 2021-03-17 16:50 | 37.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0301 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107828.4283 | 299183.4898 | 28.7 | 67.6
48410 | 2021-03-17 16:50 | 37.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9653 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107828.762 | 299190.2829 | 28.7 | 67.6
48420 | 2021-03-17 16:51 | 38.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0518 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.351 | 107833.0747 | 299188.8749 | 28.7 | 67.6
48430 | 2021-03-17 16:51 | 38.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0791 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.352 | 107825.9852 | 299196.9762 | 28.7 | 67.6
48440 | 2021-03-17 16:51 | 38.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1064 | μmol/L | 13.3764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107837.0071 | 299191.3162 | 28.7 | 67.6
48450 | 2021-03-17 16:52 | 39.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8947 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107835.1267 | 299189.1068 | 28.7 | 67.6
48460 | 2021-03-17 16:52 | 39.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0575 | μmol/L | 13.3825 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.353 | 107838.9817 | 299204.0095 | 28.7 | 67.6
48470 | 2021-03-17 16:52 | 39.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9653 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107841.1571 | 299216.2359 | 28.7 | 67.6
48480 | 2021-03-17 16:53 | 40.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.922 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107837.8791 | 299189.56 | 28.7 | 67.6
48490 | 2021-03-17 16:53 | 40.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.922 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107833.0323 | 299192.7643 | 28.7 | 67.6
48500 | 2021-03-17 16:53 | 40.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9653 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107835.8076 | 299194.0456 | 28.7 | 67.6
48510 | 2021-03-17 16:54 | 41.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8788 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107845.4945 | 299204.138 | 28.7 | 67.6
48520 | 2021-03-17 16:54 | 41.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9437 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107835.0487 | 299195.989 | 28.7 | 67.6
48530 | 2021-03-17 16:54 | 41.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9004 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107851.899 | 299208.8686 | 28.7 | 67.6
48540 | 2021-03-17 16:55 | 42.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9004 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107851.343 | 299200.121 | 28.7 | 67.6
48550 | 2021-03-17 16:55 | 42.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9653 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.355 | 107853.8184 | 299211.0649 | 28.7 | 67.6
48560 | 2021-03-17 16:55 | 42.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9004 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107851.6579 | 299191.095 | 28.7 | 67.6
48570 | 2021-03-17 16:56 | 43.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8083 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.36 | 107859.2066 | 299210.502 | 28.7 | 67.6
48580 | 2021-03-17 16:56 | 43.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8947 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.356 | 107851.782 | 299192.1478 | 28.7 | 67.6
48590 | 2021-03-17 16:56 | 43.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9004 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107856.0497 | 299194.8846 | 28.7 | 67.6
48600 | 2021-03-17 16:57 | 44.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.938 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.354 | 107859.7777 | 299210.7119 | 28.7 | 67.6
48610 | 2021-03-17 16:57 | 44.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.922 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.357 | 107866.2478 | 299219.2827 | 28.7 | 67.6
48620 | 2021-03-17 16:57 | 44.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8299 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.359 | 107863.5372 | 299209.1219 | 28.7 | 67.6
48630 | 2021-03-17 16:58 | 45.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7651 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 107863.3647 | 299197.7387 | 28.7 | 67.6
48640 | 2021-03-17 16:58 | 45.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7435 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 107859.261 | 299201.9354 | 28.7 | 67.6
48650 | 2021-03-17 16:58 | 45.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.814 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 107866.5701 | 299217.1784 | 28.7 | 67.6
48660 | 2021-03-17 16:59 | 46.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7219 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 107873.5449 | 299223.5622 | 28.7 | 67.6
48670 | 2021-03-17 16:59 | 46.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6946 | μmol/L | 13.4007 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 107871.672 | 299220.8684 | 28.7 | 67.6
48680 | 2021-03-17 16:59 | 46.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7003 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.365 | 107876.3715 | 299219.6712 | 28.7 | 67.6
48690 | 2021-03-17 17:00 | 47.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.8515 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.358 | 107880.813 | 299228.4301 | 28.7 | 67.6
48700 | 2021-03-17 17:00 | 47.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7708 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 107876.3881 | 299220.8868 | 28.7 | 67.6
48710 | 2021-03-17 17:00 | 47.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.814 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 107883.0591 | 299211.1177 | 28.7 | 67.6
48720 | 2021-03-17 17:01 | 48.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7708 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.364 | 107888.3646 | 299230.9826 | 28.7 | 67.6
48730 | 2021-03-17 17:01 | 48.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7651 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.362 | 107880.7878 | 299218.9978 | 28.7 | 67.6
48740 | 2021-03-17 17:01 | 48.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6083 | μmol/L | 13.4007 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107892.1137 | 299225.2609 | 28.7 | 67.6
48750 | 2021-03-17 17:02 | 49.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7435 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 107888.3511 | 299226.7128 | 28.7 | 67.6
48760 | 2021-03-17 17:02 | 49.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.706 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107901.7642 | 299232.1839 | 28.7 | 67.6
48770 | 2021-03-17 17:02 | 49.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6571 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107896.5595 | 299235.0202 | 28.7 | 67.6
48780 | 2021-03-17 17:03 | 50.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6571 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.367 | 107897.685 | 299224.0746 | 28.7 | 67.6
48790 | 2021-03-17 17:03 | 50.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5867 | μmol/L | 13.4007 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 107902.6349 | 299253.3384 | 28.7 | 67.6
48800 | 2021-03-17 17:03 | 50.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7924 | μmol/L | 13.3886 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.363 | 107906.3425 | 299248.3085 | 28.7 | 67.6
48810 | 2021-03-17 17:04 | 51.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5492 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107915.5963 | 299246.5308 | 28.7 | 67.6
48820 | 2021-03-17 17:04 | 51.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6356 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.368 | 107907.5693 | 299240.962 | 28.7 | 67.6
48830 | 2021-03-17 17:04 | 51.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6787 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 107925.326 | 299257.5358 | 28.7 | 67.6
48840 | 2021-03-17 17:05 | 52.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.614 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107922.0438 | 299256.6745 | 28.7 | 67.6
48850 | 2021-03-17 17:05 | 52.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.6299 | μmol/L | 13.4007 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.366 | 107919.9945 | 299244.9015 | 28.7 | 67.6
48860 | 2021-03-17 17:05 | 52.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5492 | μmol/L | 13.3946 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107931.0686 | 299253.1045 | 28.7 | 67.6