## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-17 17:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
47281 | 2021-03-17 16:13 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6589 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.942 | 142270.8811 | 274704.4 | 36.4 | 83.1
47291 | 2021-03-17 16:13 | 0.32795 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6352 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.943 | 142217.4243 | 274725.5948 | 36.4 | 83.1
47301 | 2021-03-17 16:13 | 0.66156 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.603 | μmol/L | 13.4139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.942 | 142220.3078 | 274715.8122 | 36.4 | 83.1
47311 | 2021-03-17 16:14 | 0.99446 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6115 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.944 | 142222.3717 | 274711.6433 | 36.4 | 83.1
47321 | 2021-03-17 16:14 | 1.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5833 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.945 | 142226.5194 | 274701.4917 | 36.4 | 83.1
47331 | 2021-03-17 16:14 | 1.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4134 | μmol/L | 13.4139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.95 | 142217.7601 | 274703.1392 | 36.4 | 83.1
47341 | 2021-03-17 16:15 | 1.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4286 | μmol/L | 13.42 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.947 | 142223.2207 | 274700.3758 | 36.4 | 83.1
47351 | 2021-03-17 16:15 | 2.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4885 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142229.378 | 274697.8267 | 36.4 | 83.1
47361 | 2021-03-17 16:15 | 2.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5404 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.947 | 142227.4502 | 274702.7659 | 36.4 | 83.1
47371 | 2021-03-17 16:16 | 2.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.493 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.949 | 142221.2287 | 274701.6596 | 36.4 | 83.1
47381 | 2021-03-17 16:16 | 3.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4693 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.95 | 142215.3956 | 274689.3745 | 36.4 | 83.1
47391 | 2021-03-17 16:16 | 3.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4219 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.952 | 142226.8094 | 274680.6683 | 36.4 | 83.1
47401 | 2021-03-17 16:17 | 3.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4219 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.952 | 142223.4128 | 274675.8265 | 36.4 | 83.1
47411 | 2021-03-17 16:17 | 4.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3616 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.952 | 142220.9475 | 274699.6661 | 36.4 | 83.1
47421 | 2021-03-17 16:17 | 4.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3379 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142218.5191 | 274690.2086 | 36.4 | 83.1
47431 | 2021-03-17 16:18 | 4.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3508 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.955 | 142223.9612 | 274691.1607 | 36.4 | 83.1
47441 | 2021-03-17 16:18 | 5.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4411 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.951 | 142238.8023 | 274686.2316 | 36.4 | 83.1
47451 | 2021-03-17 16:18 | 5.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3938 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.953 | 142224.8613 | 274676.5202 | 36.4 | 83.1
47461 | 2021-03-17 16:19 | 5.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2669 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.956 | 142211.4042 | 274691.7001 | 36.4 | 83.1
47471 | 2021-03-17 16:19 | 6.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2905 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.955 | 142209.9332 | 274679.8563 | 36.4 | 83.1
47481 | 2021-03-17 16:19 | 6.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2669 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.956 | 142209.6906 | 274673.4636 | 36.4 | 83.1
47491 | 2021-03-17 16:20 | 6.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2905 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.955 | 142213.5019 | 274657.8893 | 36.4 | 83.1
47501 | 2021-03-17 16:20 | 7.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.211 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.956 | 142224.8885 | 274679.563 | 36.4 | 83.1
47511 | 2021-03-17 16:20 | 7.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2195 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.958 | 142223.7911 | 274684.6006 | 36.4 | 83.1
47521 | 2021-03-17 16:21 | 7.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2432 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.957 | 142214.8153 | 274674.4533 | 36.4 | 83.1
47531 | 2021-03-17 16:21 | 8.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1874 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.957 | 142223.6007 | 274679.5832 | 36.4 | 83.1
47541 | 2021-03-17 16:21 | 8.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2195 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.958 | 142222.3483 | 274680.4293 | 36.4 | 83.1
47551 | 2021-03-17 16:22 | 8.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1249 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.962 | 142220.4932 | 274675.1453 | 36.4 | 83.1
47561 | 2021-03-17 16:22 | 9.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2088 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.961 | 142233.6847 | 274693.9691 | 36.4 | 83.1
47571 | 2021-03-17 16:22 | 9.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2517 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.959 | 142228.9401 | 274686.0561 | 36.4 | 83.1
47581 | 2021-03-17 16:23 | 9.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1959 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.959 | 142213.6781 | 274666.8765 | 36.4 | 83.1
47591 | 2021-03-17 16:23 | 10.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2754 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.958 | 142211.2785 | 274668.135 | 36.4 | 83.1
47601 | 2021-03-17 16:23 | 10.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2561 | μmol/L | 13.4078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.959 | 142216.1958 | 274663.5954 | 36.4 | 83.1
47611 | 2021-03-17 16:24 | 10.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1722 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.96 | 142214.6877 | 274670.6528 | 36.4 | 83.1
47621 | 2021-03-17 16:24 | 11.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2003 | μmol/L | 13.4139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.959 | 142228.5181 | 274663.0434 | 36.4 | 83.1
47631 | 2021-03-17 16:24 | 11.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1722 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.96 | 142225.0691 | 274674.9546 | 36.4 | 83.1
47641 | 2021-03-17 16:25 | 11.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0691 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.962 | 142207.8148 | 274665.6604 | 36.4 | 83.1
47651 | 2021-03-17 16:25 | 12.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2044 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.961 | 142245.8395 | 274682.0962 | 36.4 | 83.1
47661 | 2021-03-17 16:25 | 12.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0861 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142249.9156 | 274684.8705 | 36.4 | 83.1
47671 | 2021-03-17 16:26 | 12.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0539 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142294.7735 | 274679.7647 | 36.4 | 83.1
47681 | 2021-03-17 16:26 | 13.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0454 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.963 | 142289.9517 | 274669.4111 | 36.4 | 83.1
47691 | 2021-03-17 16:26 | 13.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0218 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.964 | 142294.0534 | 274680.3714 | 36.4 | 83.1
47701 | 2021-03-17 16:27 | 13.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0539 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142234.2092 | 274664.2446 | 36.4 | 83.1
47711 | 2021-03-17 16:27 | 14.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1012 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.963 | 142244.3263 | 274679.312 | 36.4 | 83.1
47721 | 2021-03-17 16:27 | 14.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0539 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142236.2817 | 274665.5484 | 36.4 | 83.1
47731 | 2021-03-17 16:28 | 14.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0539 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142229.0079 | 274668.577 | 36.4 | 83.1
47741 | 2021-03-17 16:28 | 15.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0861 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142233.1507 | 274671.8476 | 36.4 | 83.1
47751 | 2021-03-17 16:28 | 15.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0776 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.964 | 142239.7112 | 274679.0693 | 36.4 | 83.1
47761 | 2021-03-17 16:29 | 15.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0776 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.964 | 142238.9239 | 274660.8558 | 36.4 | 83.1
47771 | 2021-03-17 16:29 | 16.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0218 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.964 | 142249.6448 | 274671.2014 | 36.4 | 83.1
47781 | 2021-03-17 16:29 | 16.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9272 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.968 | 142251.2117 | 274671.875 | 36.4 | 83.1
47791 | 2021-03-17 16:30 | 16.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0303 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142249.0805 | 274671.5321 | 36.4 | 83.1
47801 | 2021-03-17 16:30 | 17.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9272 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.968 | 142250.2718 | 274672.5993 | 36.4 | 83.1
47811 | 2021-03-17 16:30 | 17.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9981 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.965 | 142253.2146 | 274655.7345 | 36.4 | 83.1
47821 | 2021-03-17 16:31 | 17.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9745 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142257.8688 | 274670.7369 | 36.4 | 83.1
47831 | 2021-03-17 16:31 | 18.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9593 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.969 | 142245.0261 | 274672.1707 | 36.4 | 83.1
47841 | 2021-03-17 16:31 | 18.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9035 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.969 | 142243.951 | 274661.2835 | 36.4 | 83.1
47851 | 2021-03-17 16:32 | 18.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9745 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.966 | 142241.8863 | 274665.0993 | 36.4 | 83.1
47861 | 2021-03-17 16:32 | 19.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8884 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.972 | 142261.0137 | 274671.883 | 36.4 | 83.1
47871 | 2021-03-17 16:32 | 19.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9442 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.972 | 142249.4032 | 274661.1786 | 36.4 | 83.1
47881 | 2021-03-17 16:33 | 19.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8563 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.971 | 142247.4154 | 274678.156 | 36.4 | 83.1
47891 | 2021-03-17 16:33 | 20.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8563 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.971 | 142248.5982 | 274667.8517 | 36.4 | 83.1
47901 | 2021-03-17 16:33 | 20.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8799 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.97 | 142260.4366 | 274654.6375 | 36.4 | 83.1
47911 | 2021-03-17 16:34 | 20.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.983 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.968 | 142260.717 | 274656.9966 | 36.4 | 83.1
47921 | 2021-03-17 16:34 | 21.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9357 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.97 | 142271.8564 | 274673.0742 | 36.4 | 83.1
47931 | 2021-03-17 16:34 | 21.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.809 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142257.4185 | 274672.0495 | 36.4 | 83.1
47941 | 2021-03-17 16:35 | 21.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.912 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.971 | 142244.3625 | 274669.1446 | 36.4 | 83.1
47951 | 2021-03-17 16:35 | 22.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9442 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.972 | 142244.2078 | 274668.4273 | 36.4 | 83.1
47961 | 2021-03-17 16:35 | 22.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8411 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.974 | 142246.122 | 274670.0806 | 36.4 | 83.1
47971 | 2021-03-17 16:36 | 22.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9206 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142244.8282 | 274659.0454 | 36.4 | 83.1
47981 | 2021-03-17 16:36 | 23.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.912 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.971 | 142245.9538 | 274658.7793 | 36.4 | 83.1
47991 | 2021-03-17 16:36 | 23.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8648 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142244.3702 | 274657.4739 | 36.4 | 83.1
48001 | 2021-03-17 16:37 | 23.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7381 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.976 | 142251.3539 | 274667.6391 | 36.4 | 83.1
48011 | 2021-03-17 16:37 | 24.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.809 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142240.8728 | 274670.6318 | 36.4 | 83.1
48021 | 2021-03-17 16:37 | 24.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7854 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.974 | 142241.1839 | 274650.6469 | 36.4 | 83.1
48031 | 2021-03-17 16:38 | 24.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.809 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142244.1097 | 274658.5352 | 36.4 | 83.1
48041 | 2021-03-17 16:38 | 25.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7381 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.976 | 142254.9278 | 274655.2179 | 36.4 | 83.1
48051 | 2021-03-17 16:38 | 25.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7145 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.977 | 142257.1526 | 274665.0987 | 36.4 | 83.1
48061 | 2021-03-17 16:39 | 25.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7703 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.977 | 142255.395 | 274660.6153 | 36.4 | 83.1
48071 | 2021-03-17 16:39 | 26.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7618 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.975 | 142258.6088 | 274664.1587 | 36.4 | 83.1
48081 | 2021-03-17 16:39 | 26.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7381 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.976 | 142250.858 | 274662.4205 | 36.4 | 83.1
48091 | 2021-03-17 16:40 | 26.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6437 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.98 | 142246.8564 | 274663.4666 | 36.4 | 83.1
48101 | 2021-03-17 16:40 | 27.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7854 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.974 | 142248.8013 | 274655.8709 | 36.4 | 83.1
48111 | 2021-03-17 16:40 | 27.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7618 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.975 | 142249.5579 | 274656.7261 | 36.4 | 83.1
48121 | 2021-03-17 16:41 | 27.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8024 | μmol/L | 13.4078 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.978 | 142250.8563 | 274649.2895 | 36.4 | 83.1
48131 | 2021-03-17 16:41 | 28.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7466 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.978 | 142246.5027 | 274647.2477 | 36.4 | 83.1
48141 | 2021-03-17 16:41 | 28.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6909 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.978 | 142236.0901 | 274638.0174 | 36.4 | 83.1
48151 | 2021-03-17 16:42 | 28.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7703 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.977 | 142239.5461 | 274635.9014 | 36.4 | 83.1
48161 | 2021-03-17 16:42 | 29.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6116 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.979 | 142240.965 | 274635.757 | 36.4 | 83.1
48171 | 2021-03-17 16:42 | 29.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7939 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.976 | 142245.3256 | 274640.9979 | 36.4 | 83.1
48181 | 2021-03-17 16:43 | 29.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6522 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142244.0839 | 274644.5206 | 36.4 | 83.1
48191 | 2021-03-17 16:43 | 30.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6909 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.978 | 142252.2636 | 274649.615 | 36.4 | 83.1
48201 | 2021-03-17 16:43 | 30.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.723 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.979 | 142244.0752 | 274649.0278 | 36.4 | 83.1
48211 | 2021-03-17 16:44 | 30.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6201 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.981 | 142241.2204 | 274645.2962 | 36.4 | 83.1
48221 | 2021-03-17 16:44 | 31.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6522 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142234.9966 | 274640.9844 | 36.4 | 83.1
48231 | 2021-03-17 16:44 | 31.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6673 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.979 | 142237.6356 | 274647.9903 | 36.4 | 83.1
48241 | 2021-03-17 16:45 | 31.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7145 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.977 | 142243.3519 | 274645.2484 | 36.4 | 83.1
48251 | 2021-03-17 16:45 | 32.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6437 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.98 | 142227.8261 | 274644.3834 | 36.4 | 83.1
48261 | 2021-03-17 16:45 | 32.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6437 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.98 | 142227.6976 | 274642.2905 | 36.4 | 83.1
48271 | 2021-03-17 16:46 | 32.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6201 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.981 | 142224.3397 | 274618.4348 | 36.4 | 83.1
48281 | 2021-03-17 16:46 | 33.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6437 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.98 | 142225.6187 | 274634.0393 | 36.4 | 83.1
48291 | 2021-03-17 16:46 | 33.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4936 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.984 | 142234.6132 | 274637.7202 | 36.4 | 83.1
48301 | 2021-03-17 16:47 | 33.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5965 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142227.3681 | 274641.5927 | 36.4 | 83.1
48311 | 2021-03-17 16:47 | 34.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.723 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.979 | 142220.8095 | 274639.0907 | 36.4 | 83.1
48321 | 2021-03-17 16:47 | 34.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6522 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142221.9897 | 274623.2432 | 36.4 | 83.1
48331 | 2021-03-17 16:48 | 34.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5965 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142232.3255 | 274638.6414 | 36.4 | 83.1
48341 | 2021-03-17 16:48 | 35.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5493 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.984 | 142230.8651 | 274633.5523 | 36.4 | 83.1
48351 | 2021-03-17 16:48 | 35.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5172 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.983 | 142220.2026 | 274631.3308 | 36.4 | 83.1
48361 | 2021-03-17 16:49 | 35.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5965 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142223.9244 | 274645.4197 | 36.4 | 83.1
48371 | 2021-03-17 16:49 | 36.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5965 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.982 | 142217.515 | 274616.7123 | 36.4 | 83.1
48381 | 2021-03-17 16:49 | 36.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5172 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.983 | 142225.9642 | 274627.9457 | 36.4 | 83.1
48391 | 2021-03-17 16:50 | 36.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.47 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.985 | 142227.1565 | 274622.2989 | 36.4 | 83.1
48401 | 2021-03-17 16:50 | 37.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4464 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.986 | 142226.6288 | 274613.8292 | 36.4 | 83.1
48411 | 2021-03-17 16:50 | 37.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4785 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142220.1661 | 274625.9469 | 36.4 | 83.1
48421 | 2021-03-17 16:51 | 37.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4936 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.984 | 142223.6644 | 274628.1137 | 36.4 | 83.1
48431 | 2021-03-17 16:51 | 38.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5257 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.985 | 142226.5162 | 274618.1783 | 36.4 | 83.1
48441 | 2021-03-17 16:51 | 38.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5021 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.986 | 142224.9778 | 274624.5943 | 36.4 | 83.1
48451 | 2021-03-17 16:52 | 38.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4936 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.984 | 142219.4904 | 274617.1812 | 36.4 | 83.1
48461 | 2021-03-17 16:52 | 39.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4228 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142220.1307 | 274613.4986 | 36.4 | 83.1
48471 | 2021-03-17 16:52 | 39.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4464 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.986 | 142218.9122 | 274619.3417 | 36.4 | 83.1
48481 | 2021-03-17 16:53 | 39.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4785 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142232.5362 | 274616.2272 | 36.4 | 83.1
48491 | 2021-03-17 16:53 | 40.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4549 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142222.7936 | 274621.0934 | 36.4 | 83.1
48501 | 2021-03-17 16:53 | 40.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4549 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142217.273 | 274616.1883 | 36.4 | 83.1
48511 | 2021-03-17 16:54 | 40.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3756 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.989 | 142229.1198 | 274628.1563 | 36.4 | 83.1
48521 | 2021-03-17 16:54 | 41.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.352 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142218.5631 | 274629.5558 | 36.4 | 83.1
48531 | 2021-03-17 16:54 | 41.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.32 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.989 | 142234.4649 | 274634.9238 | 36.4 | 83.1
48541 | 2021-03-17 16:55 | 41.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3605 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.992 | 142225.041 | 274627.6107 | 36.4 | 83.1
48551 | 2021-03-17 16:55 | 42.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4785 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142211.4832 | 274611.3908 | 36.4 | 83.1
48561 | 2021-03-17 16:55 | 42.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.47 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.985 | 142207.7969 | 274616.7853 | 36.4 | 83.1
48571 | 2021-03-17 16:56 | 42.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.352 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142215.85 | 274626.8329 | 36.4 | 83.1
48581 | 2021-03-17 16:56 | 43.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4549 | μmol/L | 13.42 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142217.318 | 274619.4046 | 36.4 | 83.1
48591 | 2021-03-17 16:56 | 43.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3436 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142202.9867 | 274621.2402 | 36.4 | 83.1
48601 | 2021-03-17 16:57 | 43.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4398 | μmol/L | 13.4139 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142212.7629 | 274613.2675 | 36.4 | 83.1
48611 | 2021-03-17 16:57 | 44.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4228 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142212.3919 | 274617.0526 | 36.4 | 83.1
48621 | 2021-03-17 16:57 | 44.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3049 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.992 | 142212.7649 | 274616.41 | 36.4 | 83.1
48631 | 2021-03-17 16:58 | 44.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.352 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142209.1223 | 274609.6004 | 36.4 | 83.1
48641 | 2021-03-17 16:58 | 45.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2492 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.992 | 142197.5156 | 274617.4648 | 36.4 | 83.1
48651 | 2021-03-17 16:58 | 45.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4228 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.987 | 142201.3564 | 274619.6522 | 36.4 | 83.1
48661 | 2021-03-17 16:59 | 45.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3992 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142199.2632 | 274599.2307 | 36.4 | 83.1
48671 | 2021-03-17 16:59 | 46.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2728 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142205.8093 | 274606.2176 | 36.4 | 83.1
48681 | 2021-03-17 16:59 | 46.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.352 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142200.6153 | 274615.2168 | 36.4 | 83.1
48691 | 2021-03-17 17:00 | 46.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3992 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.988 | 142202.416 | 274620.1986 | 36.4 | 83.1
48701 | 2021-03-17 17:00 | 47.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.352 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142196.7028 | 274607.6209 | 36.4 | 83.1
48711 | 2021-03-17 17:00 | 47.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2728 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142199.4243 | 274616.1919 | 36.4 | 83.1
48721 | 2021-03-17 17:01 | 47.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2964 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.99 | 142204.2722 | 274618.9319 | 36.4 | 83.1
48731 | 2021-03-17 17:01 | 48.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2813 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.993 | 142195.1897 | 274625.584 | 36.4 | 83.1
48741 | 2021-03-17 17:01 | 48.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2257 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.993 | 142202.0988 | 274610.3259 | 36.4 | 83.1
48751 | 2021-03-17 17:02 | 48.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3049 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.992 | 142205.9238 | 274612.623 | 36.4 | 83.1
48761 | 2021-03-17 17:02 | 49.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.32 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.989 | 142208.0825 | 274614.5516 | 36.4 | 83.1
48771 | 2021-03-17 17:02 | 49.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2492 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.992 | 142207.2608 | 274626.0604 | 36.4 | 83.1
48781 | 2021-03-17 17:03 | 49.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2257 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.993 | 142197.0897 | 274617.0395 | 36.4 | 83.1
48791 | 2021-03-17 17:03 | 50.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.32 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.989 | 142202.1654 | 274619.5792 | 36.4 | 83.1
48801 | 2021-03-17 17:03 | 50.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2728 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142203.9062 | 274630.4212 | 36.4 | 83.1
48811 | 2021-03-17 17:04 | 50.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2257 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.993 | 142214.4032 | 274617.2462 | 36.4 | 83.1
48821 | 2021-03-17 17:04 | 51.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2021 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.994 | 142211.9444 | 274621.312 | 36.4 | 83.1
48831 | 2021-03-17 17:04 | 51.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2172 | μmol/L | 13.4384 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142207.3233 | 274622.5636 | 36.4 | 83.1
48841 | 2021-03-17 17:05 | 51.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3285 | μmol/L | 13.4261 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.991 | 142212.5935 | 274624.1864 | 36.4 | 83.1
48851 | 2021-03-17 17:05 | 52.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0994 | μmol/L | 13.4384 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.996 | 142221.232 | 274636.5182 | 36.4 | 83.1
48861 | 2021-03-17 17:05 | 52.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1229 | μmol/L | 13.4384 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.995 | 142213.281 | 274624.753 | 36.4 | 83.1
48869 | 2021-03-17 17:06 | 52.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2257 | μmol/L | 13.4322 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.993 | 141964.5615 | 274637.7008 | 36.4 | 83.1