## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48875 | 2021-03-22 10:06 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1108 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.544 | 118368.3481 | 304859.0996 | 30.45 | 114.2
48885 | 2021-03-22 10:06 | 0.33813 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6515 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.568 | 118451.4963 | 304865.1927 | 30.45 | 114.2
48895 | 2021-03-22 10:07 | 0.67168 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5111 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.576 | 118497.9232 | 304854.8134 | 30.45 | 114.2
48905 | 2021-03-22 10:07 | 1.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.4887 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.573 | 118478.5039 | 304860.5353 | 30.45 | 114.2
48915 | 2021-03-22 10:07 | 1.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.0246 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.566 | 118445.4922 | 304848.1472 | 30.45 | 114.2
48925 | 2021-03-22 10:08 | 1.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6763 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.573 | 118449.745 | 304845.0203 | 30.45 | 114.2
48935 | 2021-03-22 10:08 | 2.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5159 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.58 | 118488.3701 | 304832.9239 | 30.45 | 114.2
48945 | 2021-03-22 10:08 | 2.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3606 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.591 | 118513.1053 | 304833.0669 | 30.45 | 114.2
48955 | 2021-03-22 10:09 | 2.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.4132 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.588 | 118511.9964 | 304810.67 | 30.45 | 114.2
48965 | 2021-03-22 10:09 | 3.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0183 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.602 | 118571.1889 | 304797.1189 | 30.45 | 114.2
48975 | 2021-03-22 10:09 | 3.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8411 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.61 | 118599.9182 | 304805.4083 | 30.45 | 114.2
48985 | 2021-03-22 10:10 | 3.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7887 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.613 | 118605.7672 | 304804.3855 | 30.45 | 114.2
48995 | 2021-03-22 10:10 | 4.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.6665 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.62 | 118640.053 | 304798.9922 | 30.45 | 114.2
49005 | 2021-03-22 10:10 | 4.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7063 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.622 | 118627.4813 | 304778.83 | 30.45 | 114.2
49015 | 2021-03-22 10:11 | 4.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7538 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.615 | 118637.3182 | 304779.5953 | 30.45 | 114.2
49025 | 2021-03-22 10:11 | 5.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7785 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.62 | 118638.1247 | 304772.8168 | 30.45 | 114.2
49035 | 2021-03-22 10:11 | 5.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8956 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.624 | 118652.9238 | 304768.3076 | 30.45 | 114.2
49045 | 2021-03-22 10:12 | 5.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.9704 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.624 | 118642.1881 | 304768.9825 | 30.45 | 114.2
49055 | 2021-03-22 10:12 | 6.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.701 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.633 | 118672.7091 | 304751.5947 | 30.45 | 114.2
49065 | 2021-03-22 10:12 | 6.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4994 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.636 | 118696.8091 | 304750.2547 | 30.45 | 114.2
49075 | 2021-03-22 10:13 | 6.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5939 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.637 | 118700.9198 | 304747.067 | 30.45 | 114.2
49085 | 2021-03-22 10:13 | 7.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4071 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.652 | 118749.4383 | 304743.5557 | 30.45 | 114.2
49095 | 2021-03-22 10:13 | 7.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2927 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.65 | 118756.0243 | 304733.9929 | 30.45 | 114.2
49105 | 2021-03-22 10:14 | 7.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.166 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.653 | 118781.8505 | 304729.2817 | 30.45 | 114.2
49115 | 2021-03-22 10:14 | 8.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0393 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.656 | 118777.5064 | 304717.4428 | 30.45 | 114.2
49125 | 2021-03-22 10:14 | 8.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9201 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.665 | 118816.9409 | 304723.747 | 30.45 | 114.2
49135 | 2021-03-22 10:15 | 8.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9747 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.664 | 118826.7695 | 304713.7416 | 30.45 | 114.2
49145 | 2021-03-22 10:15 | 9.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0391 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.671 | 118846.5748 | 304710.6981 | 30.45 | 114.2
49155 | 2021-03-22 10:15 | 9.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.791 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.681 | 118897.1311 | 304709.454 | 30.45 | 114.2
49165 | 2021-03-22 10:16 | 9.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5654 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.694 | 118936.3568 | 304691.9358 | 30.45 | 114.2
49175 | 2021-03-22 10:16 | 10.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.4985 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.7 | 118967.573 | 304686.4318 | 30.45 | 114.2
49185 | 2021-03-22 10:16 | 10.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3624 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.71 | 118986.5027 | 304678.0899 | 30.45 | 114.2
49195 | 2021-03-22 10:17 | 10.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2659 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.707 | 118984.6152 | 304682.2472 | 30.45 | 114.2
49205 | 2021-03-22 10:17 | 11.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2313 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.709 | 119003.9892 | 304675.5991 | 30.45 | 114.2
49215 | 2021-03-22 10:17 | 11.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3748 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.705 | 118997.5812 | 304671.9306 | 30.45 | 114.2
49225 | 2021-03-22 10:18 | 11.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2709 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.711 | 119000.6781 | 304669.4258 | 30.45 | 114.2
49235 | 2021-03-22 10:18 | 12.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.13 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.717 | 119032.618 | 304660.56 | 30.45 | 114.2
49245 | 2021-03-22 10:18 | 12.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2388 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.715 | 119040.5133 | 304648.8595 | 30.45 | 114.2
49255 | 2021-03-22 10:19 | 12.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.1918 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.722 | 119038.1542 | 304642.064 | 30.45 | 114.2
49265 | 2021-03-22 10:19 | 13.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.511 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.71 | 118998.7698 | 304628.2676 | 30.45 | 114.2
49275 | 2021-03-22 10:19 | 13.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6373 | μmol/L | 19.4832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.707 | 118976.5711 | 304637.1012 | 30.45 | 114.2
49285 | 2021-03-22 10:20 | 13.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.4936 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.711 | 119006.7574 | 304620.1936 | 30.45 | 114.2
49295 | 2021-03-22 10:20 | 14.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0362 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.731 | 119092.1988 | 304613.513 | 30.45 | 114.2
49305 | 2021-03-22 10:20 | 14.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.1597 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.726 | 119074.2649 | 304605.3403 | 30.45 | 114.2
49315 | 2021-03-22 10:21 | 14.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9671 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.735 | 119108.9985 | 304607.909 | 30.45 | 114.2
49325 | 2021-03-22 10:21 | 15.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8955 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.737 | 119121.5707 | 304602.698 | 30.45 | 114.2
49335 | 2021-03-22 10:21 | 15.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7796 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.748 | 119159.2191 | 304593.8997 | 30.45 | 114.2
49345 | 2021-03-22 10:22 | 15.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5407 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.764 | 119224.2823 | 304594.8408 | 30.45 | 114.2
49355 | 2021-03-22 10:22 | 16.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7156 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.756 | 119202.3799 | 304588.4826 | 30.45 | 114.2
49365 | 2021-03-22 10:22 | 16.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2875 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.783 | 119310.9397 | 304585.2943 | 30.45 | 114.2
49375 | 2021-03-22 10:23 | 16.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1104 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.789 | 119350.43 | 304572.3071 | 30.45 | 114.2
49385 | 2021-03-22 10:23 | 17.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.113 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.791 | 119356.2762 | 304558.8102 | 30.45 | 114.2
49395 | 2021-03-22 10:23 | 17.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1989 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.786 | 119370.0722 | 304565.1536 | 30.45 | 114.2
49405 | 2021-03-22 10:24 | 17.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2014 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.788 | 119363.8544 | 304561.9351 | 30.45 | 114.2
49415 | 2021-03-22 10:24 | 18.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2237 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.791 | 119383.6641 | 304563.4864 | 30.45 | 114.2
49425 | 2021-03-22 10:24 | 18.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5609 | μmol/L | 19.4525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.78 | 119314.4252 | 304564.687 | 30.45 | 114.2
49435 | 2021-03-22 10:25 | 18.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6719 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.78 | 119294.9003 | 304541.6562 | 30.45 | 114.2
49445 | 2021-03-22 10:25 | 19.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.492 | μmol/L | 19.4525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.784 | 119329.6988 | 304547.4756 | 30.45 | 114.2
49455 | 2021-03-22 10:25 | 19.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1893 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.793 | 119377.6789 | 304555.3528 | 30.45 | 114.2
49465 | 2021-03-22 10:26 | 19.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2434 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.792 | 119376.5454 | 304538.1341 | 30.45 | 114.2
49475 | 2021-03-22 10:26 | 20.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0346 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.802 | 119425.5647 | 304533.076 | 30.45 | 114.2
49485 | 2021-03-22 10:26 | 20.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0741 | μmol/L | 19.4648 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.804 | 119431.5346 | 304531.3932 | 30.45 | 114.2
49495 | 2021-03-22 10:27 | 20.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7822 | μmol/L | 19.4648 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.821 | 119513.6062 | 304535.0856 | 30.45 | 114.2
49505 | 2021-03-22 10:27 | 21.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7701 | μmol/L | 19.4525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.826 | 119521.9597 | 304526.2783 | 30.45 | 114.2
49515 | 2021-03-22 10:27 | 21.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.8464 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.828 | 119524.6543 | 304507.1117 | 30.45 | 114.2
49525 | 2021-03-22 10:28 | 21.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9468 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.82 | 119511.419 | 304508.8273 | 30.45 | 114.2
49535 | 2021-03-22 10:28 | 22.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9348 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.825 | 119549.6861 | 304501.9083 | 30.45 | 114.2
49545 | 2021-03-22 10:28 | 22.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6038 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.84 | 119600.9697 | 304493.1153 | 30.45 | 114.2
49555 | 2021-03-22 10:29 | 22.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.5842 | μmol/L | 19.4464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.839 | 119596.1728 | 304493.4318 | 30.45 | 114.2
49565 | 2021-03-22 10:29 | 23.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4326 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.85 | 119646.4281 | 304483.591 | 30.45 | 114.2
49575 | 2021-03-22 10:29 | 23.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1932 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.864 | 119701.763 | 304482.1945 | 30.45 | 114.2
49585 | 2021-03-22 10:30 | 23.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.159 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.866 | 119738.7161 | 304487.0983 | 30.45 | 114.2
49595 | 2021-03-22 10:30 | 24.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9763 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.881 | 119807.8728 | 304478.9828 | 30.45 | 114.2
49605 | 2021-03-22 10:30 | 24.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.7938 | μmol/L | 19.4156 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 119858.3503 | 304479.0803 | 30.45 | 114.2
49615 | 2021-03-22 10:31 | 24.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9592 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.882 | 119825.2216 | 304470.5963 | 30.45 | 114.2
49625 | 2021-03-22 10:31 | 25.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.613 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 119901.3722 | 304484.716 | 30.45 | 114.2
49635 | 2021-03-22 10:31 | 25.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.7834 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 119858.9861 | 304464.6602 | 30.45 | 114.2
49645 | 2021-03-22 10:32 | 25.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.7494 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 119880.1212 | 304474.7515 | 30.45 | 114.2
49655 | 2021-03-22 10:32 | 26.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5815 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 119937.0003 | 304468.7095 | 30.45 | 114.2
49665 | 2021-03-22 10:32 | 26.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5212 | μmol/L | 19.4156 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.912 | 119964.6266 | 304447.955 | 30.45 | 114.2
49675 | 2021-03-22 10:33 | 26.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6352 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 119930.2033 | 304442.8078 | 30.45 | 114.2
49685 | 2021-03-22 10:33 | 27.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.66 | μmol/L | 19.4095 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.906 | 119956.0861 | 304440.742 | 30.45 | 114.2
49695 | 2021-03-22 10:33 | 27.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4806 | μmol/L | 19.3911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.923 | 120006.8705 | 304429.7458 | 30.45 | 114.2
49705 | 2021-03-22 10:34 | 27.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5683 | μmol/L | 19.3849 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.92 | 120008.8958 | 304439.7759 | 30.45 | 114.2
49715 | 2021-03-22 10:34 | 28.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4465 | μmol/L | 19.3911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.925 | 120030.952 | 304429.0587 | 30.45 | 114.2
49725 | 2021-03-22 10:34 | 28.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2281 | μmol/L | 19.3849 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.94 | 120090.205 | 304440.6633 | 30.45 | 114.2
49735 | 2021-03-22 10:35 | 28.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3537 | μmol/L | 19.4095 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.924 | 120038.3575 | 304431.9863 | 30.45 | 114.2
49745 | 2021-03-22 10:35 | 29.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3981 | μmol/L | 19.3849 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.93 | 120042.5368 | 304427.8523 | 30.45 | 114.2
49755 | 2021-03-22 10:35 | 29.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6364 | μmol/L | 19.3849 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.916 | 120002.9689 | 304427.9991 | 30.45 | 114.2
49765 | 2021-03-22 10:36 | 29.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5094 | μmol/L | 19.4034 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.917 | 120000.1896 | 304420.9713 | 30.45 | 114.2
49775 | 2021-03-22 10:36 | 30.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3027 | μmol/L | 19.4095 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.927 | 120033.9246 | 304408.7065 | 30.45 | 114.2
49785 | 2021-03-22 10:36 | 30.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4714 | μmol/L | 19.3726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.93 | 120064.3346 | 304422.7076 | 30.45 | 114.2
49795 | 2021-03-22 10:37 | 30.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3497 | μmol/L | 19.3788 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.935 | 120056.8325 | 304410.6095 | 30.45 | 114.2
49805 | 2021-03-22 10:37 | 31.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1262 | μmol/L | 19.3849 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.946 | 120121.404 | 304399.8246 | 30.45 | 114.2
49815 | 2021-03-22 10:37 | 31.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1563 | μmol/L | 19.3542 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.955 | 120159.7935 | 304416.4583 | 30.45 | 114.2
49825 | 2021-03-22 10:38 | 31.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2269 | μmol/L | 19.3481 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.953 | 120166.1506 | 304415.6849 | 30.45 | 114.2
49835 | 2021-03-22 10:38 | 32.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3341 | μmol/L | 19.3358 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.951 | 120164.8761 | 304405.1894 | 30.45 | 114.2
49845 | 2021-03-22 10:38 | 32.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1537 | μmol/L | 19.3603 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.953 | 120173.8122 | 304398.391 | 30.45 | 114.2
49855 | 2021-03-22 10:39 | 32.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9109 | μmol/L | 19.3726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.963 | 120214.9687 | 304400.315 | 30.45 | 114.2
49865 | 2021-03-22 10:39 | 33.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.0557 | μmol/L | 19.3911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.948 | 120160.2685 | 304406.5062 | 30.45 | 114.2
49875 | 2021-03-22 10:39 | 33.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9656 | μmol/L | 19.4034 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.949 | 120140.1862 | 304394.8379 | 30.45 | 114.2
49885 | 2021-03-22 10:40 | 33.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9434 | μmol/L | 19.4156 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.946 | 120152.5422 | 304400.5989 | 30.45 | 114.2
49895 | 2021-03-22 10:40 | 34.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9408 | μmol/L | 19.4218 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.944 | 120139.6104 | 304404.8642 | 30.45 | 114.2
49905 | 2021-03-22 10:40 | 34.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9213 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.943 | 120129.7632 | 304396.3486 | 30.45 | 114.2
49915 | 2021-03-22 10:41 | 34.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8508 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.945 | 120137.2233 | 304401.6407 | 30.45 | 114.2
49925 | 2021-03-22 10:41 | 35.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.7178 | μmol/L | 19.4279 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.955 | 120169.9378 | 304385.858 | 30.45 | 114.2
49935 | 2021-03-22 10:41 | 35.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8508 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.945 | 120150.2414 | 304396.3704 | 30.45 | 114.2
49945 | 2021-03-22 10:42 | 35.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6618 | μmol/L | 19.4402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.954 | 120183.3342 | 304399.8684 | 30.45 | 114.2
49955 | 2021-03-22 10:42 | 36.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5524 | μmol/L | 19.4587 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.954 | 120206.3078 | 304398.341 | 30.45 | 114.2
49965 | 2021-03-22 10:42 | 36.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5186 | μmol/L | 19.4587 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.956 | 120226.0875 | 304404.6739 | 30.45 | 114.2
49975 | 2021-03-22 10:43 | 36.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.555 | μmol/L | 19.4525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.956 | 120227.0171 | 304410.2555 | 30.45 | 114.2
49985 | 2021-03-22 10:43 | 37.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5238 | μmol/L | 19.4464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.96 | 120248.5058 | 304411.0857 | 30.45 | 114.2
49995 | 2021-03-22 10:43 | 37.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6136 | μmol/L | 19.4341 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.959 | 120253.0791 | 304411.834 | 30.45 | 114.2
50005 | 2021-03-22 10:44 | 37.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5238 | μmol/L | 19.4464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.96 | 120261.6171 | 304413.5244 | 30.45 | 114.2
50015 | 2021-03-22 10:44 | 38.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3156 | μmol/L | 19.4587 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.968 | 120283.803 | 304395.6047 | 30.45 | 114.2
50025 | 2021-03-22 10:44 | 38.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.2285 | μmol/L | 19.4648 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.971 | 120313.4385 | 304410.2481 | 30.45 | 114.2
50035 | 2021-03-22 10:45 | 38.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.1726 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.97 | 120301.7697 | 304394.1495 | 30.45 | 114.2
50045 | 2021-03-22 10:45 | 39.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0323 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.974 | 120340.9984 | 304402.8427 | 30.45 | 114.2
50055 | 2021-03-22 10:45 | 39.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.1193 | μmol/L | 19.4832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.971 | 120324.1718 | 304405.4741 | 30.45 | 114.2
50065 | 2021-03-22 10:46 | 39.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.1362 | μmol/L | 19.4832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.97 | 120334.697 | 304397.4291 | 30.45 | 114.2
50075 | 2021-03-22 10:46 | 40.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0518 | μmol/L | 19.4832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.975 | 120340.2625 | 304400.9211 | 30.45 | 114.2
50085 | 2021-03-22 10:46 | 40.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0232 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.981 | 120388.4089 | 304405.0271 | 30.45 | 114.2
50095 | 2021-03-22 10:47 | 40.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.9505 | μmol/L | 19.4832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.981 | 120391.7181 | 304397.0621 | 30.45 | 114.2
50105 | 2021-03-22 10:47 | 41.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0232 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.981 | 120379.9499 | 304395.0402 | 30.45 | 114.2
50115 | 2021-03-22 10:47 | 41.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8856 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.987 | 120407.1834 | 304394.9765 | 30.45 | 114.2
50125 | 2021-03-22 10:48 | 41.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8273 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.984 | 120402.4614 | 304396.0601 | 30.45 | 114.2
50135 | 2021-03-22 10:48 | 42.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.7041 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.987 | 120418.4915 | 304393.8524 | 30.45 | 114.2
50145 | 2021-03-22 10:48 | 42.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.6536 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.99 | 120424.9586 | 304398.088 | 30.45 | 114.2
50155 | 2021-03-22 10:49 | 42.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.603 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.993 | 120449.5985 | 304398.8092 | 30.45 | 114.2
50165 | 2021-03-22 10:49 | 43.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.4295 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.999 | 120478.9714 | 304413.2374 | 30.45 | 114.2
50175 | 2021-03-22 10:49 | 43.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.4321 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.001 | 120493.7953 | 304407.1481 | 30.45 | 114.2
50185 | 2021-03-22 10:50 | 43.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.471 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.003 | 120510.9927 | 304405.4393 | 30.45 | 114.2
50195 | 2021-03-22 10:50 | 44.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.3364 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.011 | 120549.6694 | 304401.7686 | 30.45 | 114.2
50205 | 2021-03-22 10:50 | 44.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.3196 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.012 | 120563.9839 | 304401.3171 | 30.45 | 114.2
50215 | 2021-03-22 10:51 | 44.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.096 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.021 | 120599.6868 | 304395.9688 | 30.45 | 114.2
50225 | 2021-03-22 10:51 | 45.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.9282 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.031 | 120626.2997 | 304394.9294 | 30.45 | 114.2
50235 | 2021-03-22 10:51 | 45.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.7244 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.041 | 120686.7249 | 304404.6512 | 30.45 | 114.2
50245 | 2021-03-22 10:52 | 45.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.727 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.043 | 120692.2545 | 304399.0882 | 30.45 | 114.2
50255 | 2021-03-22 10:52 | 46.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.535 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.048 | 120724.256 | 304409.6508 | 30.45 | 114.2
50265 | 2021-03-22 10:52 | 46.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5042 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.052 | 120740.0551 | 304404.9479 | 30.45 | 114.2
50275 | 2021-03-22 10:53 | 46.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5905 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.049 | 120742.3935 | 304399.2217 | 30.45 | 114.2
50285 | 2021-03-22 10:53 | 47.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5376 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.05 | 120747.9261 | 304389.9578 | 30.45 | 114.2
50295 | 2021-03-22 10:53 | 47.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5068 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.054 | 120747.3382 | 304399.5419 | 30.45 | 114.2
50305 | 2021-03-22 10:54 | 47.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6716 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.042 | 120723.8596 | 304399.8735 | 30.45 | 114.2
50315 | 2021-03-22 10:54 | 48.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5209 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.051 | 120746.0745 | 304401.3619 | 30.45 | 114.2
50325 | 2021-03-22 10:54 | 48.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6239 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.047 | 120764.6986 | 304413.558 | 30.45 | 114.2
50335 | 2021-03-22 10:55 | 48.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6046 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.046 | 120764.0014 | 304400.7676 | 30.45 | 114.2
50345 | 2021-03-22 10:55 | 49.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6292 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.051 | 120792.8173 | 304407.1351 | 30.45 | 114.2
50355 | 2021-03-22 10:55 | 49.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2779 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.072 | 120869.7392 | 304406.5368 | 30.45 | 114.2
50365 | 2021-03-22 10:56 | 49.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2612 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.073 | 120890.5125 | 304388.5882 | 30.45 | 114.2
50375 | 2021-03-22 10:56 | 50.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.3307 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.071 | 120889.7448 | 304386.7486 | 30.45 | 114.2
50385 | 2021-03-22 10:56 | 50.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2534 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.067 | 120895.6643 | 304387.489 | 30.45 | 114.2
50395 | 2021-03-22 10:57 | 50.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.053 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.079 | 120931.3579 | 304386.7319 | 30.45 | 114.2
50405 | 2021-03-22 10:57 | 51.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.1074 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.093 | 121005.0015 | 304388.0443 | 30.45 | 114.2
50415 | 2021-03-22 10:57 | 51.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.9915 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.087 | 120981.1655 | 304372.4715 | 30.45 | 114.2
50425 | 2021-03-22 10:58 | 51.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.6004 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.104 | 121063.5797 | 304363.5951 | 30.45 | 114.2
50435 | 2021-03-22 10:58 | 52.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.6031 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.106 | 121082.6828 | 304372.4722 | 30.45 | 114.2
50445 | 2021-03-22 10:58 | 52.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5952 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.1 | 121059.7498 | 304360.6143 | 30.45 | 114.2
50455 | 2021-03-22 10:59 | 52.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4814 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.109 | 121086.4612 | 304355.9093 | 30.45 | 114.2
50465 | 2021-03-22 10:59 | 53.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.379 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.113 | 121117.8514 | 304359.7098 | 30.45 | 114.2
50475 | 2021-03-22 10:59 | 53.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4455 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.109 | 121091.8791 | 304353.3988 | 30.45 | 114.2
50485 | 2021-03-22 11:00 | 53.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3073 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.113 | 121112.7002 | 304370.1851 | 30.45 | 114.2
50495 | 2021-03-22 11:00 | 54.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3895 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.121 | 121158.6587 | 304361.0594 | 30.45 | 114.2
50505 | 2021-03-22 11:00 | 54.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.143 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.138 | 121226.4961 | 304362.7906 | 30.45 | 114.2
50515 | 2021-03-22 11:01 | 54.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0024 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.14 | 121242.6234 | 304340.0932 | 30.45 | 114.2
50525 | 2021-03-22 11:01 | 55.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0137 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.135 | 121253.3357 | 304355.8597 | 30.45 | 114.2
50535 | 2021-03-22 11:01 | 55.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1019 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.134 | 121246.6837 | 304352.4562 | 30.45 | 114.2
50545 | 2021-03-22 11:02 | 55.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.074 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.14 | 121269.52 | 304350.1458 | 30.45 | 114.2
50555 | 2021-03-22 11:02 | 56.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.773 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.156 | 121353.2123 | 304358.6397 | 30.45 | 114.2
50565 | 2021-03-22 11:02 | 56.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.877 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.167 | 121398.499 | 304354.5587 | 30.45 | 114.2
50575 | 2021-03-22 11:03 | 56.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0122 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.161 | 121384.5116 | 304338.2794 | 30.45 | 114.2
50585 | 2021-03-22 11:03 | 57.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9048 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.161 | 121384.9926 | 304333.1805 | 30.45 | 114.2
50595 | 2021-03-22 11:03 | 57.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6789 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.166 | 121412.6054 | 304343.8625 | 30.45 | 114.2
50605 | 2021-03-22 11:04 | 57.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4534 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.171 | 121429.3647 | 304328.846 | 30.45 | 114.2
50615 | 2021-03-22 11:04 | 58.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2525 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.181 | 121484.6184 | 304320.8807 | 30.45 | 114.2
50625 | 2021-03-22 11:04 | 58.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1508 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.185 | 121486.3783 | 304318.3241 | 30.45 | 114.2
50635 | 2021-03-22 11:05 | 58.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2716 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.182 | 121506.6447 | 304322.8925 | 30.45 | 114.2
50645 | 2021-03-22 11:05 | 59.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2109 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.19 | 121513.176 | 304328.0954 | 30.45 | 114.2
50655 | 2021-03-22 11:05 | 59.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0539 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.206 | 121587.9693 | 304298.3213 | 30.45 | 114.2
50665 | 2021-03-22 11:06 | 59.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9358 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.211 | 121615.4851 | 304315.4411 | 30.45 | 114.2
50675 | 2021-03-22 11:06 | 60.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.7685 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.219 | 121684.593 | 304303.2601 | 30.45 | 114.2
50685 | 2021-03-22 11:06 | 60.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6289 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.221 | 121699.1762 | 304290.6295 | 30.45 | 114.2
50695 | 2021-03-22 11:07 | 60.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5276 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.225 | 121734.8923 | 304294.1921 | 30.45 | 114.2
50705 | 2021-03-22 11:07 | 61.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4565 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.225 | 121720.0081 | 304293.8215 | 30.45 | 114.2
50715 | 2021-03-22 11:07 | 61.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4703 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.222 | 121707.3182 | 304283.1084 | 30.45 | 114.2
50725 | 2021-03-22 11:08 | 61.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5716 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.218 | 121681.0116 | 304285.4426 | 30.45 | 114.2
50735 | 2021-03-22 11:08 | 62.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5881 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.217 | 121676.1971 | 304271.8969 | 30.45 | 114.2
50745 | 2021-03-22 11:08 | 62.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4099 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.23 | 121705.9485 | 304266.0752 | 30.45 | 114.2
50755 | 2021-03-22 11:09 | 62.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3442 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.234 | 121719.8317 | 304277.7521 | 30.45 | 114.2
50765 | 2021-03-22 11:09 | 63.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3659 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.237 | 121744.7354 | 304257.6639 | 30.45 | 114.2
50775 | 2021-03-22 11:09 | 63.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3468 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.236 | 121747.0216 | 304271.4368 | 30.45 | 114.2
50785 | 2021-03-22 11:10 | 63.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4014 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.237 | 121774.8792 | 304265.0983 | 30.45 | 114.2
50795 | 2021-03-22 11:10 | 64.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2701 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.245 | 121804.0222 | 304258.2837 | 30.45 | 114.2
50805 | 2021-03-22 11:10 | 64.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2044 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.249 | 121822.1557 | 304247.575 | 30.45 | 114.2
50815 | 2021-03-22 11:11 | 64.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1224 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.254 | 121857.6971 | 304243.3807 | 30.45 | 114.2
50825 | 2021-03-22 11:11 | 65.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1552 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.252 | 121854.4275 | 304248.9856 | 30.45 | 114.2
50835 | 2021-03-22 11:11 | 65.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0214 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.258 | 121870.6403 | 304252.1291 | 30.45 | 114.2
50845 | 2021-03-22 11:12 | 65.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0923 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.258 | 121887.4537 | 304247.9184 | 30.45 | 114.2
50855 | 2021-03-22 11:12 | 66.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9749 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.263 | 121906.7825 | 304239.7835 | 30.45 | 114.2
50865 | 2021-03-22 11:12 | 66.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7621 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.276 | 121964.4218 | 304252.2609 | 30.45 | 114.2
50875 | 2021-03-22 11:13 | 66.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5548 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.293 | 122037.2061 | 304224.0809 | 30.45 | 114.2
50885 | 2021-03-22 11:13 | 67.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4295 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.305 | 122107.8325 | 304238.9713 | 30.45 | 114.2
50895 | 2021-03-22 11:13 | 67.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.299 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.313 | 122136.1076 | 304232.5883 | 30.45 | 114.2
50905 | 2021-03-22 11:14 | 67.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3996 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.309 | 122155.7159 | 304220.7295 | 30.45 | 114.2