## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48876 | 2021-03-22 10:06 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.3374 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.137 | 158650.7894 | 299578.2948 | 59.9307 | 49.4
48886 | 2021-03-22 10:06 | 0.32882 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.2246 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.141 | 158676.1387 | 299574.4048 | 59.9307 | 49.4
48896 | 2021-03-22 10:07 | 0.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.0934 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.146 | 158723.0651 | 299585.3673 | 59.9307 | 49.4
48906 | 2021-03-22 10:07 | 0.99544 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.1143 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.147 | 158718.7421 | 299574.2275 | 59.9307 | 49.4
48916 | 2021-03-22 10:07 | 1.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9783 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.148 | 158732.6061 | 299550.3065 | 59.9307 | 49.4
48926 | 2021-03-22 10:08 | 1.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8681 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.154 | 158756.6906 | 299552.6297 | 59.9307 | 49.4
48936 | 2021-03-22 10:08 | 1.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6272 | μmol/L | 19.5524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.165 | 158792.5018 | 299549.7434 | 59.9307 | 49.4
48946 | 2021-03-22 10:08 | 2.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5355 | μmol/L | 19.5524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.17 | 158836.055 | 299520.0602 | 59.9307 | 49.4
48956 | 2021-03-22 10:09 | 2.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5379 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.172 | 158863.5611 | 299515.6891 | 59.9307 | 49.4
48966 | 2021-03-22 10:09 | 2.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3523 | μmol/L | 19.5524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.18 | 158897.4572 | 299511.1205 | 59.9307 | 49.4
48976 | 2021-03-22 10:09 | 3.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3914 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.18 | 158909.3928 | 299498.4958 | 59.9307 | 49.4
48986 | 2021-03-22 10:10 | 3.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.2999 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.185 | 158940.6675 | 299497.9621 | 59.9307 | 49.4
48996 | 2021-03-22 10:10 | 3.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3048 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.189 | 158952.2571 | 299486.1051 | 59.9307 | 49.4
49006 | 2021-03-22 10:10 | 4.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.156 | μmol/L | 19.54 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.195 | 158964.015 | 299478.3049 | 59.9307 | 49.4
49016 | 2021-03-22 10:11 | 4.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0463 | μmol/L | 19.54 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.201 | 159000.7744 | 299474.3326 | 59.9307 | 49.4
49026 | 2021-03-22 10:11 | 4.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.2133 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.194 | 158999.095 | 299456.22 | 59.9307 | 49.4
49036 | 2021-03-22 10:11 | 5.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.1609 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.199 | 159012.6367 | 299455.5378 | 59.9307 | 49.4
49046 | 2021-03-22 10:12 | 5.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0147 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.207 | 159034.1136 | 299457.9856 | 59.9307 | 49.4
49056 | 2021-03-22 10:12 | 5.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9781 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.209 | 159049.8603 | 299444.5281 | 59.9307 | 49.4
49066 | 2021-03-22 10:12 | 6.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9026 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.211 | 159057.2695 | 299454.1941 | 59.9307 | 49.4
49076 | 2021-03-22 10:13 | 6.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7724 | μmol/L | 19.54 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.216 | 159085.2376 | 299460.2255 | 59.9307 | 49.4
49086 | 2021-03-22 10:13 | 6.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7176 | μmol/L | 19.54 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.219 | 159108.569 | 299430.3239 | 59.9307 | 49.4
49096 | 2021-03-22 10:13 | 7.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7591 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.221 | 159106.5605 | 299423.143 | 59.9307 | 49.4
49106 | 2021-03-22 10:14 | 7.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7615 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 159122.1567 | 299438.5166 | 59.9307 | 49.4
49116 | 2021-03-22 10:14 | 7.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8395 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 159135.9086 | 299433.5323 | 59.9307 | 49.4
49126 | 2021-03-22 10:14 | 8.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8859 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 159148.9883 | 299419.066 | 59.9307 | 49.4
49136 | 2021-03-22 10:15 | 8.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0237 | μmol/L | 19.4598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.23 | 159158.1293 | 299421.7349 | 59.9307 | 49.4
49146 | 2021-03-22 10:15 | 8.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9689 | μmol/L | 19.4598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 159164.2034 | 299395.4101 | 59.9307 | 49.4
49156 | 2021-03-22 10:15 | 9.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8387 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.238 | 159198.6507 | 299409.5107 | 59.9307 | 49.4
49166 | 2021-03-22 10:16 | 9.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6123 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 159228.846 | 299397.1428 | 59.9307 | 49.4
49176 | 2021-03-22 10:16 | 9.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5527 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.243 | 159225.6228 | 299404.4622 | 59.9307 | 49.4
49186 | 2021-03-22 10:16 | 10.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3888 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.252 | 159264.0612 | 299385.2962 | 59.9307 | 49.4
49196 | 2021-03-22 10:17 | 10.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2953 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.255 | 159279.6573 | 299394.5293 | 59.9307 | 49.4
49206 | 2021-03-22 10:17 | 10.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2978 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.257 | 159280.2061 | 299384.2415 | 59.9307 | 49.4
49216 | 2021-03-22 10:17 | 11.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2978 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.257 | 159308.0208 | 299393.0598 | 59.9307 | 49.4
49226 | 2021-03-22 10:18 | 11.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3053 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.263 | 159338.6835 | 299377.7076 | 59.9307 | 49.4
49236 | 2021-03-22 10:18 | 11.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2144 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.268 | 159362.1817 | 299373.592 | 59.9307 | 49.4
49246 | 2021-03-22 10:18 | 12.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.069 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.276 | 159399.9644 | 299357.1224 | 59.9307 | 49.4
49256 | 2021-03-22 10:19 | 12.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9187 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.28 | 159434.0704 | 299358.2199 | 59.9307 | 49.4
49266 | 2021-03-22 10:19 | 12.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.771 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.286 | 159466.8102 | 299347.1806 | 59.9307 | 49.4
49276 | 2021-03-22 10:19 | 13.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.5459 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.292 | 159497.1142 | 299363.8374 | 59.9307 | 49.4
49286 | 2021-03-22 10:20 | 13.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.5509 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.296 | 159520.3082 | 299349.5218 | 59.9307 | 49.4
49296 | 2021-03-22 10:20 | 13.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.5147 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.298 | 159544.9261 | 299357.0712 | 59.9307 | 49.4
49306 | 2021-03-22 10:20 | 14.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.6103 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.297 | 159558.2061 | 299337.171 | 59.9307 | 49.4
49316 | 2021-03-22 10:21 | 14.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.5585 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.302 | 159587.472 | 299344.8691 | 59.9307 | 49.4
49326 | 2021-03-22 10:21 | 14.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.486 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.306 | 159602.1045 | 299332.1852 | 59.9307 | 49.4
49336 | 2021-03-22 10:21 | 15.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4704 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.309 | 159611.5831 | 299309.0074 | 59.9307 | 49.4
49346 | 2021-03-22 10:22 | 15.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4161 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.312 | 159635.5664 | 299313.7954 | 59.9307 | 49.4
49356 | 2021-03-22 10:22 | 15.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.305 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.316 | 159660.7309 | 299332.6205 | 59.9307 | 49.4
49366 | 2021-03-22 10:22 | 16.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1784 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.323 | 159705.9817 | 299320.258 | 59.9307 | 49.4
49376 | 2021-03-22 10:23 | 16.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2403 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.326 | 159731.5533 | 299313.4568 | 59.9307 | 49.4
49386 | 2021-03-22 10:23 | 16.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1112 | μmol/L | 19.4721 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.331 | 159763.9394 | 299312.2228 | 59.9307 | 49.4
49396 | 2021-03-22 10:23 | 17.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9461 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.338 | 159805.3431 | 299319.3302 | 59.9307 | 49.4
49406 | 2021-03-22 10:24 | 17.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9718 | μmol/L | 19.4598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.343 | 159848.2748 | 299321.8803 | 59.9307 | 49.4
49416 | 2021-03-22 10:24 | 17.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9022 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.349 | 159869.261 | 299297.795 | 59.9307 | 49.4
49426 | 2021-03-22 10:24 | 18.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8686 | μmol/L | 19.4474 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.353 | 159909.0788 | 299303.0895 | 59.9307 | 49.4
49436 | 2021-03-22 10:25 | 18.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.7244 | μmol/L | 19.4474 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.361 | 159962.0511 | 299321.3866 | 59.9307 | 49.4
49446 | 2021-03-22 10:25 | 18.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6111 | μmol/L | 19.4598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.363 | 159995.9768 | 299300.5242 | 59.9307 | 49.4
49456 | 2021-03-22 10:25 | 19.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.5236 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.37 | 160017.0776 | 299296.103 | 59.9307 | 49.4
49466 | 2021-03-22 10:26 | 19.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.5236 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.37 | 160049.6412 | 299298.3679 | 59.9307 | 49.4
49476 | 2021-03-22 10:26 | 19.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.4002 | μmol/L | 19.4474 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.379 | 160065.2027 | 299274.3182 | 59.9307 | 49.4
49486 | 2021-03-22 10:26 | 20.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.2537 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.385 | 160119.3937 | 299258.9298 | 59.9307 | 49.4
49496 | 2021-03-22 10:27 | 20.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3359 | μmol/L | 19.4289 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.389 | 160141.0326 | 299259.4526 | 59.9307 | 49.4
49506 | 2021-03-22 10:27 | 20.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3797 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.393 | 160168.6083 | 299236.271 | 59.9307 | 49.4
49516 | 2021-03-22 10:27 | 21.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3283 | μmol/L | 19.4042 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.398 | 160202.3534 | 299249.282 | 59.9307 | 49.4
49526 | 2021-03-22 10:28 | 21.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3541 | μmol/L | 19.3857 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.403 | 160241.8191 | 299232.1378 | 59.9307 | 49.4
49536 | 2021-03-22 10:28 | 21.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.1538 | μmol/L | 19.3919 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.412 | 160308.186 | 299240.9243 | 59.9307 | 49.4
49546 | 2021-03-22 10:28 | 22.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.8999 | μmol/L | 19.3981 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.424 | 160386.421 | 299236.743 | 59.9307 | 49.4
49556 | 2021-03-22 10:29 | 22.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6616 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.433 | 160454.7119 | 299228.3614 | 59.9307 | 49.4
49566 | 2021-03-22 10:29 | 22.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.4468 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.445 | 160527.0832 | 299222.1153 | 59.9307 | 49.4
49576 | 2021-03-22 10:29 | 23.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3368 | μmol/L | 19.4166 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.449 | 160590.1589 | 299227.6107 | 59.9307 | 49.4
49586 | 2021-03-22 10:30 | 23.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2679 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.455 | 160624.6749 | 299225.008 | 59.9307 | 49.4
49596 | 2021-03-22 10:30 | 23.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0662 | μmol/L | 19.4227 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.462 | 160637.898 | 299205.5615 | 59.9307 | 49.4
49606 | 2021-03-22 10:30 | 24.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.166 | μmol/L | 19.3981 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.465 | 160660.716 | 299196.8346 | 59.9307 | 49.4
49616 | 2021-03-22 10:31 | 24.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0383 | μmol/L | 19.4042 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.47 | 160693.8913 | 299223.9449 | 59.9307 | 49.4
49626 | 2021-03-22 10:31 | 24.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9491 | μmol/L | 19.4042 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.475 | 160723.9301 | 299228.8168 | 59.9307 | 49.4
49636 | 2021-03-22 10:31 | 25.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.819 | μmol/L | 19.4166 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.478 | 160763.3791 | 299212.0823 | 59.9307 | 49.4
49646 | 2021-03-22 10:32 | 25.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8243 | μmol/L | 19.4042 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.482 | 160770.8074 | 299191.0992 | 59.9307 | 49.4
49656 | 2021-03-22 10:32 | 25.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3155 | μmol/L | 19.2993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.491 | 160825.7537 | 299194.902 | 59.9307 | 49.4
49666 | 2021-03-22 10:32 | 26.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1263 | μmol/L | 19.324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.493 | 160870.2008 | 299203.8106 | 59.9307 | 49.4
49676 | 2021-03-22 10:33 | 26.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8832 | μmol/L | 19.361 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.494 | 160878.2444 | 299202.0487 | 59.9307 | 49.4
49686 | 2021-03-22 10:33 | 26.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7101 | μmol/L | 19.3795 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.497 | 160894.0718 | 299196.4972 | 59.9307 | 49.4
49696 | 2021-03-22 10:33 | 27.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.751 | μmol/L | 19.3672 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.499 | 160886.9465 | 299195.3245 | 59.9307 | 49.4
49706 | 2021-03-22 10:34 | 27.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8454 | μmol/L | 19.3549 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.498 | 160896.9717 | 299198.177 | 59.9307 | 49.4
49716 | 2021-03-22 10:34 | 27.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6436 | μmol/L | 19.3795 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.501 | 160920.514 | 299169.5585 | 59.9307 | 49.4
49726 | 2021-03-22 10:34 | 28.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5854 | μmol/L | 19.3795 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.504 | 160963.0236 | 299183.2187 | 59.9307 | 49.4
49736 | 2021-03-22 10:35 | 28.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4808 | μmol/L | 19.3857 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.508 | 160965.7469 | 299192.0269 | 59.9307 | 49.4
49746 | 2021-03-22 10:35 | 28.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4964 | μmol/L | 19.3795 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.509 | 160978.8995 | 299183.8168 | 59.9307 | 49.4
49756 | 2021-03-22 10:35 | 29.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4608 | μmol/L | 19.3795 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.511 | 160971.9809 | 299173.085 | 59.9307 | 49.4
49766 | 2021-03-22 10:36 | 29.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5777 | μmol/L | 19.3672 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.509 | 160979.3712 | 299170.1375 | 59.9307 | 49.4
49776 | 2021-03-22 10:36 | 29.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5195 | μmol/L | 19.3672 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.512 | 160987.3001 | 299181.9867 | 59.9307 | 49.4
49786 | 2021-03-22 10:36 | 30.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5169 | μmol/L | 19.3734 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.51 | 160990.2364 | 299168.0845 | 59.9307 | 49.4
49796 | 2021-03-22 10:37 | 30.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4483 | μmol/L | 19.3672 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.516 | 161001.8585 | 299153.6932 | 59.9307 | 49.4
49806 | 2021-03-22 10:37 | 30.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4532 | μmol/L | 19.3672 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.516 | 161051.1942 | 299156.7968 | 59.9307 | 49.4
49816 | 2021-03-22 10:37 | 31.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5578 | μmol/L | 19.361 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.512 | 161045.1164 | 299156.8381 | 59.9307 | 49.4
49826 | 2021-03-22 10:38 | 31.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1963 | μmol/L | 19.3857 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.524 | 161084.7746 | 299162.4034 | 59.9307 | 49.4
49836 | 2021-03-22 10:38 | 31.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1759 | μmol/L | 19.3919 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 161094.1967 | 299147.3479 | 59.9307 | 49.4
49846 | 2021-03-22 10:38 | 32.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2218 | μmol/L | 19.3981 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.518 | 161073.3503 | 299146.7533 | 59.9307 | 49.4
49856 | 2021-03-22 10:39 | 32.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1378 | μmol/L | 19.3981 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 161082.4104 | 299159.3583 | 59.9307 | 49.4
49866 | 2021-03-22 10:39 | 32.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0845 | μmol/L | 19.3981 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.526 | 161098.7698 | 299142.4384 | 59.9307 | 49.4
49876 | 2021-03-22 10:39 | 33.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1023 | μmol/L | 19.3981 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.525 | 161114.7104 | 299148.6375 | 59.9307 | 49.4
49886 | 2021-03-22 10:40 | 33.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0819 | μmol/L | 19.4042 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.524 | 161120.1944 | 299158.7964 | 59.9307 | 49.4
49896 | 2021-03-22 10:40 | 33.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.9195 | μmol/L | 19.4104 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.531 | 161143.4775 | 299151.6512 | 59.9307 | 49.4
49906 | 2021-03-22 10:40 | 34.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.8078 | μmol/L | 19.4227 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 161169.8016 | 299160.3406 | 59.9307 | 49.4
49916 | 2021-03-22 10:41 | 34.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.8255 | μmol/L | 19.4227 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 161186.151 | 299161.1254 | 59.9307 | 49.4
49926 | 2021-03-22 10:41 | 34.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.7874 | μmol/L | 19.4289 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 161171.4326 | 299156.3924 | 59.9307 | 49.4
49936 | 2021-03-22 10:41 | 35.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.6404 | μmol/L | 19.4413 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 161202.8925 | 299153.2632 | 59.9307 | 49.4
49946 | 2021-03-22 10:42 | 35.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4961 | μmol/L | 19.4474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 161236.7444 | 299149.9308 | 59.9307 | 49.4
49956 | 2021-03-22 10:42 | 35.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4784 | μmol/L | 19.4474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.543 | 161269.5882 | 299140.3981 | 59.9307 | 49.4
49966 | 2021-03-22 10:42 | 36.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4758 | μmol/L | 19.4536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 161265.4991 | 299138.8278 | 59.9307 | 49.4
49976 | 2021-03-22 10:43 | 36.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4024 | μmol/L | 19.4598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.543 | 161262.2297 | 299173.6439 | 59.9307 | 49.4
49986 | 2021-03-22 10:43 | 36.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4201 | μmol/L | 19.4598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 161251.5081 | 299160.1264 | 59.9307 | 49.4
49996 | 2021-03-22 10:43 | 37.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3971 | μmol/L | 19.4721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 161273.707 | 299146.2924 | 59.9307 | 49.4
50006 | 2021-03-22 10:44 | 37.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3087 | μmol/L | 19.4721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 161290.4363 | 299133.6941 | 59.9307 | 49.4
50016 | 2021-03-22 10:44 | 37.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1064 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 161320.799 | 299141.6113 | 59.9307 | 49.4
50026 | 2021-03-22 10:44 | 38.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0004 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 161346.3542 | 299123.5324 | 59.9307 | 49.4
50036 | 2021-03-22 10:45 | 38.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.9828 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 161391.101 | 299132.9979 | 59.9307 | 49.4
50046 | 2021-03-22 10:45 | 38.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.8946 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.561 | 161424.7761 | 299129.9995 | 59.9307 | 49.4
50056 | 2021-03-22 10:45 | 39.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.7685 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.566 | 161459.5133 | 299126.6356 | 59.9307 | 49.4
50066 | 2021-03-22 10:46 | 39.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6451 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.573 | 161491.9516 | 299141.6088 | 59.9307 | 49.4
50076 | 2021-03-22 10:46 | 39.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.5922 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.576 | 161507.5985 | 299128.9378 | 59.9307 | 49.4
50086 | 2021-03-22 10:46 | 40.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.5746 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.577 | 161547.2628 | 299144.2308 | 59.9307 | 49.4
50096 | 2021-03-22 10:47 | 40.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.5218 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.58 | 161559.7317 | 299114.9188 | 59.9307 | 49.4
50106 | 2021-03-22 10:47 | 40.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.4312 | μmol/L | 19.503 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.583 | 161580.9572 | 299126.2286 | 59.9307 | 49.4
50116 | 2021-03-22 10:47 | 41.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.3432 | μmol/L | 19.503 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.588 | 161614.8782 | 299147.1841 | 59.9307 | 49.4
50126 | 2021-03-22 10:48 | 41.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.1999 | μmol/L | 19.5092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.594 | 161661.1721 | 299124.2936 | 59.9307 | 49.4
50136 | 2021-03-22 10:48 | 41.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.0769 | μmol/L | 19.5092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.601 | 161719.6316 | 299123.7243 | 59.9307 | 49.4
50146 | 2021-03-22 10:48 | 42.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.8988 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 161787.6266 | 299137.8143 | 59.9307 | 49.4
50156 | 2021-03-22 10:49 | 42.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.8111 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 161825.0958 | 299136.2746 | 59.9307 | 49.4
50166 | 2021-03-22 10:49 | 42.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.6305 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 161849.6185 | 299137.8894 | 59.9307 | 49.4
50176 | 2021-03-22 10:49 | 43.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.6682 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 161876.9398 | 299146.0006 | 59.9307 | 49.4
50186 | 2021-03-22 10:50 | 43.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.5053 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.625 | 161913.1688 | 299142.6464 | 59.9307 | 49.4
50196 | 2021-03-22 10:50 | 43.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.4353 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.629 | 161954.0068 | 299140.2587 | 59.9307 | 49.4
50206 | 2021-03-22 10:50 | 44.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.2778 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.638 | 161997.65 | 299141.2181 | 59.9307 | 49.4
50216 | 2021-03-22 10:51 | 44.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.228 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.643 | 162034.0954 | 299124.784 | 59.9307 | 49.4
50226 | 2021-03-22 10:51 | 44.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.1206 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.647 | 162066.1942 | 299132.6962 | 59.9307 | 49.4
50236 | 2021-03-22 10:51 | 45.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.0158 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.653 | 162122.3878 | 299146.4842 | 59.9307 | 49.4
50246 | 2021-03-22 10:52 | 45.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.9084 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.657 | 162172.5826 | 299142.2615 | 59.9307 | 49.4
50256 | 2021-03-22 10:52 | 45.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.734 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.667 | 162221.9015 | 299147.9149 | 59.9307 | 49.4
50266 | 2021-03-22 10:52 | 46.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.6643 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.671 | 162260.0347 | 299139.793 | 59.9307 | 49.4
50276 | 2021-03-22 10:53 | 46.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.5049 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.678 | 162302.5704 | 299122.3822 | 59.9307 | 49.4
50286 | 2021-03-22 10:53 | 46.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.4206 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.685 | 162371.1063 | 299141.6613 | 59.9307 | 49.4
50296 | 2021-03-22 10:53 | 47.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.1397 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 162477.3515 | 299140.2995 | 59.9307 | 49.4
50306 | 2021-03-22 10:54 | 47.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.9114 | μmol/L | 19.5524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.71 | 162548.9347 | 299142.2948 | 59.9307 | 49.4
50316 | 2021-03-22 10:54 | 47.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.8794 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.714 | 162617.4921 | 299148.6525 | 59.9307 | 49.4
50326 | 2021-03-22 10:54 | 48.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.666 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.722 | 162665.2098 | 299142.8367 | 59.9307 | 49.4
50336 | 2021-03-22 10:55 | 48.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.5595 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.726 | 162706.6909 | 299145.5226 | 59.9307 | 49.4
50346 | 2021-03-22 10:55 | 48.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.4383 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.733 | 162753.2078 | 299140.9544 | 59.9307 | 49.4
50356 | 2021-03-22 10:55 | 49.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2654 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.743 | 162800.2884 | 299135.0825 | 59.9307 | 49.4
50366 | 2021-03-22 10:56 | 49.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2135 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.746 | 162846.1311 | 299137.1041 | 59.9307 | 49.4
50376 | 2021-03-22 10:56 | 49.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.1417 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.748 | 162866.5813 | 299144.9016 | 59.9307 | 49.4
50386 | 2021-03-22 10:56 | 50.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.1936 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.745 | 162840.6495 | 299126.114 | 59.9307 | 49.4
50396 | 2021-03-22 10:57 | 50.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2335 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.747 | 162840.3542 | 299115.2409 | 59.9307 | 49.4
50406 | 2021-03-22 10:57 | 50.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.1962 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.747 | 162841.0631 | 299109.7553 | 59.9307 | 49.4
50416 | 2021-03-22 10:57 | 51.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.1245 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.749 | 162854.8615 | 299118.8196 | 59.9307 | 49.4
50426 | 2021-03-22 10:58 | 51.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.1099 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.752 | 162860.6184 | 299124.6369 | 59.9307 | 49.4
50436 | 2021-03-22 10:58 | 51.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0381 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.754 | 162890.1971 | 299120.4118 | 59.9307 | 49.4
50446 | 2021-03-22 10:58 | 52.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0036 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.756 | 162893.7726 | 299108.788 | 59.9307 | 49.4
50456 | 2021-03-22 10:59 | 52.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.9691 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.758 | 162922.3823 | 299108.061 | 59.9307 | 49.4
50466 | 2021-03-22 10:59 | 52.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.8828 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.763 | 162937.1883 | 299099.9738 | 59.9307 | 49.4
50476 | 2021-03-22 10:59 | 53.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.8656 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.764 | 162958.5871 | 299090.0779 | 59.9307 | 49.4
50486 | 2021-03-22 11:00 | 53.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.8139 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.767 | 162997.382 | 299119.3341 | 59.9307 | 49.4
50496 | 2021-03-22 11:00 | 53.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.6932 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.774 | 163025.7481 | 299094.0316 | 59.9307 | 49.4
50506 | 2021-03-22 11:00 | 54.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.5899 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.78 | 163069.9418 | 299088.76 | 59.9307 | 49.4
50516 | 2021-03-22 11:01 | 54.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.6787 | μmol/L | 19.5647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.777 | 163072.4297 | 299091.3447 | 59.9307 | 49.4
50526 | 2021-03-22 11:01 | 54.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.5555 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.782 | 163081.6797 | 299090.9316 | 59.9307 | 49.4
50536 | 2021-03-22 11:01 | 55.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.7212 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.781 | 163091.2253 | 299081.6286 | 59.9307 | 49.4
50546 | 2021-03-22 11:02 | 55.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.6179 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.787 | 163111.8848 | 299108.7696 | 59.9307 | 49.4
50556 | 2021-03-22 11:02 | 55.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.4748 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.791 | 163145.0352 | 299111.9797 | 59.9307 | 49.4
50566 | 2021-03-22 11:02 | 56.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.406 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.795 | 163181.8198 | 299105.8405 | 59.9307 | 49.4
50576 | 2021-03-22 11:03 | 56.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.3227 | μmol/L | 19.5524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.802 | 163216.2478 | 299102.7484 | 59.9307 | 49.4
50586 | 2021-03-22 11:03 | 56.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.2341 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.805 | 163254.0859 | 299100.6518 | 59.9307 | 49.4
50596 | 2021-03-22 11:03 | 57.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.131 | μmol/L | 19.5585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.811 | 163283.0733 | 299093.5828 | 59.9307 | 49.4
50606 | 2021-03-22 11:04 | 57.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0651 | μmol/L | 19.5524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.817 | 163319.8776 | 299082.4044 | 59.9307 | 49.4
50616 | 2021-03-22 11:04 | 57.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0506 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.82 | 163341.7382 | 299064.6919 | 59.9307 | 49.4
50626 | 2021-03-22 11:04 | 58.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0388 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.825 | 163378.9564 | 299065.836 | 59.9307 | 49.4
50636 | 2021-03-22 11:05 | 58.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.1156 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.827 | 163391.0831 | 299059.6332 | 59.9307 | 49.4
50646 | 2021-03-22 11:05 | 58.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.1184 | μmol/L | 19.5092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.829 | 163412.7255 | 299055.4817 | 59.9307 | 49.4
50656 | 2021-03-22 11:05 | 59.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.9955 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.834 | 163449.3462 | 299072.4584 | 59.9307 | 49.4
50666 | 2021-03-22 11:06 | 59.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.8214 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.842 | 163497.8259 | 299046.8616 | 59.9307 | 49.4
50676 | 2021-03-22 11:06 | 59.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.6248 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.847 | 163551.5136 | 299065.7572 | 59.9307 | 49.4
50686 | 2021-03-22 11:06 | 60.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.5221 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.853 | 163565.5443 | 299054.3632 | 59.9307 | 49.4
50696 | 2021-03-22 11:07 | 60.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.4024 | μmol/L | 19.54 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.86 | 163599.1671 | 299040.8084 | 59.9307 | 49.4
50706 | 2021-03-22 11:07 | 60.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3143 | μmol/L | 19.5462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.863 | 163631.0368 | 299045.6089 | 59.9307 | 49.4
50716 | 2021-03-22 11:07 | 61.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.4051 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.862 | 163649.7341 | 299029.2804 | 59.9307 | 49.4
50726 | 2021-03-22 11:08 | 61.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3197 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.867 | 163676.4542 | 299041.5935 | 59.9307 | 49.4
50736 | 2021-03-22 11:08 | 61.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.2541 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.873 | 163703.8786 | 299025.4573 | 59.9307 | 49.4
50746 | 2021-03-22 11:08 | 62.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.1148 | μmol/L | 19.5338 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.879 | 163748.6175 | 299016.08 | 59.9307 | 49.4
50756 | 2021-03-22 11:09 | 62.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.0322 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.886 | 163779.3074 | 299022.1791 | 59.9307 | 49.4
50766 | 2021-03-22 11:09 | 62.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9128 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.893 | 163815.8146 | 299014.8642 | 59.9307 | 49.4
50776 | 2021-03-22 11:09 | 63.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8985 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.896 | 163843.1567 | 299000.2781 | 59.9307 | 49.4
50786 | 2021-03-22 11:10 | 63.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7936 | μmol/L | 19.5277 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.9 | 163869.0416 | 299022.6139 | 59.9307 | 49.4
50796 | 2021-03-22 11:10 | 63.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8501 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.901 | 163906.9699 | 299015.1375 | 59.9307 | 49.4
50806 | 2021-03-22 11:10 | 64.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7507 | μmol/L | 19.5092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.909 | 163930.7097 | 299008.9187 | 59.9307 | 49.4
50816 | 2021-03-22 11:11 | 64.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7139 | μmol/L | 19.5153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.909 | 163960.2958 | 299000.5922 | 59.9307 | 49.4
50826 | 2021-03-22 11:11 | 64.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6486 | μmol/L | 19.5092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.915 | 163972.7546 | 299010.5187 | 59.9307 | 49.4
50836 | 2021-03-22 11:11 | 65.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6173 | μmol/L | 19.503 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.919 | 163997.9529 | 299017.6497 | 59.9307 | 49.4
50846 | 2021-03-22 11:12 | 65.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5833 | μmol/L | 19.503 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.921 | 164039.8509 | 299011.1215 | 59.9307 | 49.4
50856 | 2021-03-22 11:12 | 65.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.552 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.925 | 164056.7849 | 299013.7854 | 59.9307 | 49.4
50866 | 2021-03-22 11:12 | 66.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5548 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.927 | 164081.1481 | 299016.4595 | 59.9307 | 49.4
50876 | 2021-03-22 11:13 | 66.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.382 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.935 | 164111.2394 | 298996.3471 | 59.9307 | 49.4
50886 | 2021-03-22 11:13 | 66.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.3338 | μmol/L | 19.4906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.94 | 164137.3558 | 299009.3402 | 59.9307 | 49.4
50896 | 2021-03-22 11:13 | 67.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2292 | μmol/L | 19.4968 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.944 | 164177.067 | 299020.4611 | 59.9307 | 49.4
50906 | 2021-03-22 11:14 | 67.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2177 | μmol/L | 19.4845 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.949 | 164224.5895 | 299003.095 | 59.9307 | 49.4