## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48877 | 2021-03-22 10:06 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6226 | μmol/L | 19.7596 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.037 | 159654.5575 | 314159.2584 | 33.25 | 68.6
48887 | 2021-03-22 10:06 | 0.33031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7324 | μmol/L | 19.7535 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 159638.2489 | 314176.6717 | 33.25 | 68.6
48897 | 2021-03-22 10:07 | 0.66312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7229 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 159667.5917 | 314172.495 | 33.25 | 68.6
48907 | 2021-03-22 10:07 | 0.99675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7351 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.044 | 159701.8772 | 314179.7703 | 33.25 | 68.6
48917 | 2021-03-22 10:07 | 1.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6823 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.047 | 159730.3452 | 314168.604 | 33.25 | 68.6
48927 | 2021-03-22 10:08 | 1.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6851 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.058 | 159767.8861 | 314139.6224 | 33.25 | 68.6
48937 | 2021-03-22 10:08 | 1.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.4576 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.062 | 159792.6553 | 314134.4947 | 33.25 | 68.6
48947 | 2021-03-22 10:08 | 2.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2386 | μmol/L | 19.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.07 | 159825.6249 | 314128.6458 | 33.25 | 68.6
48957 | 2021-03-22 10:09 | 2.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.125 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.072 | 159866.1486 | 314113.2797 | 33.25 | 68.6
48967 | 2021-03-22 10:09 | 2.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0063 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.081 | 159916.1511 | 314086.13 | 33.25 | 68.6
48977 | 2021-03-22 10:09 | 3.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9484 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.091 | 159978.154 | 314079.1504 | 33.25 | 68.6
48987 | 2021-03-22 10:10 | 3.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9607 | μmol/L | 19.6987 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.097 | 160034.69 | 314106.5589 | 33.25 | 68.6
48997 | 2021-03-22 10:10 | 3.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9246 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.108 | 160089.9411 | 314078.0442 | 33.25 | 68.6
49007 | 2021-03-22 10:10 | 4.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6753 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.12 | 160153.5561 | 314070.0067 | 33.25 | 68.6
49017 | 2021-03-22 10:11 | 4.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5363 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.119 | 160170.6539 | 314051.0441 | 33.25 | 68.6
49027 | 2021-03-22 10:11 | 4.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3574 | μmol/L | 19.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.127 | 160224.3832 | 314052.1017 | 33.25 | 68.6
49037 | 2021-03-22 10:11 | 5.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.4962 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.128 | 160228.2245 | 314045.2145 | 33.25 | 68.6
49047 | 2021-03-22 10:12 | 5.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.4654 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.132 | 160258.347 | 314033.3213 | 33.25 | 68.6
49057 | 2021-03-22 10:12 | 5.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2998 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.137 | 160285.2901 | 314029.5896 | 33.25 | 68.6
49067 | 2021-03-22 10:12 | 6.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1221 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.136 | 160287.6294 | 314017.9847 | 33.25 | 68.6
49077 | 2021-03-22 10:13 | 6.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.039 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.143 | 160345.1994 | 314018.5057 | 33.25 | 68.6
49087 | 2021-03-22 10:13 | 6.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.9477 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.146 | 160374.7863 | 313995.4019 | 33.25 | 68.6
49097 | 2021-03-22 10:13 | 7.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6997 | μmol/L | 19.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.158 | 160420.5263 | 314000.197 | 33.25 | 68.6
49107 | 2021-03-22 10:14 | 7.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7386 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.158 | 160442.5513 | 313978.9786 | 33.25 | 68.6
49117 | 2021-03-22 10:14 | 7.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6126 | μmol/L | 19.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.163 | 160473.5101 | 313976.0043 | 33.25 | 68.6
49127 | 2021-03-22 10:14 | 8.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.625 | μmol/L | 19.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.169 | 160512.7764 | 313981.4358 | 33.25 | 68.6
49137 | 2021-03-22 10:15 | 8.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6896 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.172 | 160549.6465 | 313958.6004 | 33.25 | 68.6
49147 | 2021-03-22 10:15 | 8.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5677 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.179 | 160575.8513 | 313949.1616 | 33.25 | 68.6
49157 | 2021-03-22 10:15 | 9.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5073 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.178 | 160590.8926 | 313941.1352 | 33.25 | 68.6
49167 | 2021-03-22 10:16 | 9.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4675 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.187 | 160638.5393 | 313947.3725 | 33.25 | 68.6
49177 | 2021-03-22 10:16 | 9.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.35 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.196 | 160699.1147 | 313920.6211 | 33.25 | 68.6
49187 | 2021-03-22 10:16 | 10.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.1855 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.201 | 160716.0773 | 313917.0372 | 33.25 | 68.6
49197 | 2021-03-22 10:17 | 10.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.1202 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.207 | 160763.7356 | 313909.1182 | 33.25 | 68.6
49207 | 2021-03-22 10:17 | 10.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.0682 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.21 | 160785.6819 | 313911.9675 | 33.25 | 68.6
49217 | 2021-03-22 10:17 | 11.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7958 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.219 | 160842.6023 | 313898.2543 | 33.25 | 68.6
49227 | 2021-03-22 10:18 | 11.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7479 | μmol/L | 19.6987 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.224 | 160880.8717 | 313904.5088 | 33.25 | 68.6
49237 | 2021-03-22 10:18 | 11.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7694 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.225 | 160921.1856 | 313889.5147 | 33.25 | 68.6
49247 | 2021-03-22 10:18 | 12.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5707 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.232 | 160953.7792 | 313876.3667 | 33.25 | 68.6
49257 | 2021-03-22 10:19 | 12.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5403 | μmol/L | 19.6987 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.236 | 160973.7689 | 313879.4467 | 33.25 | 68.6
49267 | 2021-03-22 10:19 | 12.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4926 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.241 | 161009.5051 | 313852.5345 | 33.25 | 68.6
49277 | 2021-03-22 10:19 | 13.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4919 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.25 | 161047.7058 | 313846.7137 | 33.25 | 68.6
49287 | 2021-03-22 10:20 | 13.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.3668 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.255 | 161081.9377 | 313847.1421 | 33.25 | 68.6
49297 | 2021-03-22 10:20 | 13.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.2977 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.259 | 161124.089 | 313840.752 | 33.25 | 68.6
49307 | 2021-03-22 10:20 | 14.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.1983 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.267 | 161168.3608 | 313844.599 | 33.25 | 68.6
49317 | 2021-03-22 10:21 | 14.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.1763 | μmol/L | 19.65 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.275 | 161221.9391 | 313823.8247 | 33.25 | 68.6
49327 | 2021-03-22 10:21 | 14.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.0299 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 161255.794 | 313824.2536 | 33.25 | 68.6
49337 | 2021-03-22 10:21 | 15.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.8837 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 161319.7038 | 313801.5465 | 33.25 | 68.6
49347 | 2021-03-22 10:22 | 15.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6344 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.293 | 161376.062 | 313811.1292 | 33.25 | 68.6
49357 | 2021-03-22 10:22 | 15.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5442 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.296 | 161412.5266 | 313790.8237 | 33.25 | 68.6
49367 | 2021-03-22 10:22 | 16.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3979 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.309 | 161472.6256 | 313802.5041 | 33.25 | 68.6
49377 | 2021-03-22 10:23 | 16.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5818 | μmol/L | 19.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161504.9172 | 313796.5372 | 33.25 | 68.6
49387 | 2021-03-22 10:23 | 16.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6976 | μmol/L | 19.6196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161526.0847 | 313789.0549 | 33.25 | 68.6
49397 | 2021-03-22 10:23 | 17.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.7446 | μmol/L | 19.6013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.318 | 161544.3972 | 313762.856 | 33.25 | 68.6
49407 | 2021-03-22 10:24 | 17.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6628 | μmol/L | 19.5952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.325 | 161596.3249 | 313772.9239 | 33.25 | 68.6
49417 | 2021-03-22 10:24 | 17.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1186 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.332 | 161638.2553 | 313771.7421 | 33.25 | 68.6
49427 | 2021-03-22 10:24 | 18.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.943 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.34 | 161677.8823 | 313758.7774 | 33.25 | 68.6
49437 | 2021-03-22 10:25 | 18.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.0626 | μmol/L | 19.6439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.342 | 161711.4704 | 313747.7578 | 33.25 | 68.6
49447 | 2021-03-22 10:25 | 18.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.0283 | μmol/L | 19.6439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.344 | 161755.0558 | 313745.5149 | 33.25 | 68.6
49457 | 2021-03-22 10:25 | 19.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9255 | μmol/L | 19.6439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.35 | 161785.0838 | 313739.0436 | 33.25 | 68.6
49467 | 2021-03-22 10:26 | 19.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7588 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.353 | 161792.9745 | 313725.5786 | 33.25 | 68.6
49477 | 2021-03-22 10:26 | 19.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4468 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.369 | 161882.8636 | 313739.2469 | 33.25 | 68.6
49487 | 2021-03-22 10:26 | 20.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4297 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.37 | 161898.9527 | 313717.8051 | 33.25 | 68.6
49497 | 2021-03-22 10:27 | 20.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4339 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161923.3775 | 313718.7078 | 33.25 | 68.6
49507 | 2021-03-22 10:27 | 20.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3868 | μmol/L | 19.6561 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.377 | 161950.0878 | 313723.4658 | 33.25 | 68.6
49517 | 2021-03-22 10:27 | 21.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7237 | μmol/L | 19.5891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.382 | 161969.2378 | 313706.1295 | 33.25 | 68.6
49527 | 2021-03-22 10:28 | 21.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3908 | μmol/L | 19.6257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.388 | 162032.1293 | 313701.5847 | 33.25 | 68.6
49537 | 2021-03-22 10:28 | 21.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4163 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.391 | 162048.5212 | 313697.62 | 33.25 | 68.6
49547 | 2021-03-22 10:28 | 22.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4163 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.391 | 162092.4947 | 313690.1887 | 33.25 | 68.6
49557 | 2021-03-22 10:29 | 22.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4161 | μmol/L | 19.5891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 162152.9785 | 313692.1792 | 33.25 | 68.6
49567 | 2021-03-22 10:29 | 22.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.1688 | μmol/L | 19.6013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.41 | 162204.5435 | 313685.3519 | 33.25 | 68.6
49577 | 2021-03-22 10:29 | 23.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0239 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.414 | 162243.7759 | 313686.3537 | 33.25 | 68.6
49587 | 2021-03-22 10:30 | 23.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0962 | μmol/L | 19.5831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.421 | 162263.5634 | 313683.6529 | 33.25 | 68.6
49597 | 2021-03-22 10:30 | 23.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4201 | μmol/L | 19.5344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.42 | 162287.2794 | 313669.6024 | 33.25 | 68.6
49607 | 2021-03-22 10:30 | 24.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0876 | μmol/L | 19.5709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.426 | 162327.8323 | 313656.1563 | 33.25 | 68.6
49617 | 2021-03-22 10:31 | 24.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.9386 | μmol/L | 19.5648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.437 | 162379.8091 | 313660.3813 | 33.25 | 68.6
49627 | 2021-03-22 10:31 | 24.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.8881 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.438 | 162405.1239 | 313657.88 | 33.25 | 68.6
49637 | 2021-03-22 10:31 | 25.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.9477 | μmol/L | 19.5587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.439 | 162427.0241 | 313647.1344 | 33.25 | 68.6
49647 | 2021-03-22 10:32 | 25.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.641 | μmol/L | 19.6013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.441 | 162441.5445 | 313641.999 | 33.25 | 68.6
49657 | 2021-03-22 10:32 | 25.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6118 | μmol/L | 19.6013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.443 | 162463.3307 | 313634.4635 | 33.25 | 68.6
49667 | 2021-03-22 10:32 | 26.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.5353 | μmol/L | 19.5891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.452 | 162475.3137 | 313635.0338 | 33.25 | 68.6
49677 | 2021-03-22 10:33 | 26.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.7435 | μmol/L | 19.5587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.451 | 162504.2109 | 313631.9989 | 33.25 | 68.6
49687 | 2021-03-22 10:33 | 26.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.7854 | μmol/L | 19.5405 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.455 | 162513.9665 | 313609.9898 | 33.25 | 68.6
49697 | 2021-03-22 10:33 | 27.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6542 | μmol/L | 19.5405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.463 | 162561.3528 | 313618.4267 | 33.25 | 68.6
49707 | 2021-03-22 10:34 | 27.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.5178 | μmol/L | 19.5344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.473 | 162634.946 | 313615.3269 | 33.25 | 68.6
49717 | 2021-03-22 10:34 | 27.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2043 | μmol/L | 19.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.476 | 162643.1911 | 313615.0663 | 33.25 | 68.6
49727 | 2021-03-22 10:34 | 28.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1536 | μmol/L | 19.5526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.488 | 162693.7006 | 313596.1979 | 33.25 | 68.6
49737 | 2021-03-22 10:35 | 28.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0349 | μmol/L | 19.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.486 | 162717.3898 | 313604.2114 | 33.25 | 68.6
49747 | 2021-03-22 10:35 | 28.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8232 | μmol/L | 19.5891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.494 | 162759.1999 | 313608.8292 | 33.25 | 68.6
49757 | 2021-03-22 10:35 | 29.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.9165 | μmol/L | 19.5526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.502 | 162814.3838 | 313584.7586 | 33.25 | 68.6
49767 | 2021-03-22 10:36 | 29.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0182 | μmol/L | 19.5283 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.505 | 162853.1315 | 313592.5361 | 33.25 | 68.6
49777 | 2021-03-22 10:36 | 29.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.6119 | μmol/L | 19.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.511 | 162892.961 | 313585.9106 | 33.25 | 68.6
49787 | 2021-03-22 10:36 | 30.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5486 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.517 | 162934.3985 | 313573.7786 | 33.25 | 68.6
49797 | 2021-03-22 10:37 | 30.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.832 | μmol/L | 19.5283 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.516 | 162959.7077 | 313590.7038 | 33.25 | 68.6
49807 | 2021-03-22 10:37 | 30.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.6121 | μmol/L | 19.5526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.52 | 163001.2261 | 313576.7289 | 33.25 | 68.6
49817 | 2021-03-22 10:37 | 31.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5868 | μmol/L | 19.5405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.526 | 163033.5817 | 313566.454 | 33.25 | 68.6
49827 | 2021-03-22 10:38 | 31.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.4095 | μmol/L | 19.5526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.532 | 163097.622 | 313587.2725 | 33.25 | 68.6
49837 | 2021-03-22 10:38 | 31.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2576 | μmol/L | 19.5526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.541 | 163165.4156 | 313579.7748 | 33.25 | 68.6
49847 | 2021-03-22 10:38 | 32.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.8575 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.558 | 163271.6743 | 313581.3703 | 33.25 | 68.6
49857 | 2021-03-22 10:39 | 32.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7902 | μmol/L | 19.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.562 | 163293.0206 | 313561.1327 | 33.25 | 68.6
49867 | 2021-03-22 10:39 | 32.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7315 | μmol/L | 19.5587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.57 | 163350.7586 | 313555.1726 | 33.25 | 68.6
49877 | 2021-03-22 10:39 | 33.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.6936 | μmol/L | 19.5648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.57 | 163378.0605 | 313564.1409 | 33.25 | 68.6
49887 | 2021-03-22 10:40 | 33.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4917 | μmol/L | 19.5891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.573 | 163419.3907 | 313569.6811 | 33.25 | 68.6
49897 | 2021-03-22 10:40 | 33.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4203 | μmol/L | 19.5952 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.575 | 163447.5451 | 313557.5288 | 33.25 | 68.6
49907 | 2021-03-22 10:40 | 34.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.198 | μmol/L | 19.6013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.586 | 163500.5713 | 313555.7052 | 33.25 | 68.6
49917 | 2021-03-22 10:41 | 34.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1057 | μmol/L | 19.6135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.587 | 163528.1494 | 313543.7806 | 33.25 | 68.6
49927 | 2021-03-22 10:41 | 34.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0555 | μmol/L | 19.6135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.59 | 163545.5242 | 313548.3571 | 33.25 | 68.6
49937 | 2021-03-22 10:41 | 35.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1898 | μmol/L | 19.5891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.591 | 163563.8484 | 313549.4095 | 33.25 | 68.6
49947 | 2021-03-22 10:42 | 35.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0975 | μmol/L | 19.6013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.592 | 163605.5708 | 313545.5267 | 33.25 | 68.6
49957 | 2021-03-22 10:42 | 35.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9133 | μmol/L | 19.6013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.603 | 163659.7279 | 313551.3786 | 33.25 | 68.6
49967 | 2021-03-22 10:42 | 36.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.771 | μmol/L | 19.6135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.607 | 163702.3861 | 313543.1304 | 33.25 | 68.6
49977 | 2021-03-22 10:43 | 36.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.612 | μmol/L | 19.6257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.612 | 163742.0689 | 313534.6605 | 33.25 | 68.6
49987 | 2021-03-22 10:43 | 36.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.445 | μmol/L | 19.6257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.622 | 163804.5209 | 313549.4701 | 33.25 | 68.6
49997 | 2021-03-22 10:43 | 37.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3155 | μmol/L | 19.6439 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.623 | 163824.6706 | 313533.9118 | 33.25 | 68.6
50007 | 2021-03-22 10:44 | 37.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.1945 | μmol/L | 19.65 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.628 | 163869.1771 | 313525.2939 | 33.25 | 68.6
50017 | 2021-03-22 10:44 | 37.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.2154 | μmol/L | 19.6439 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.629 | 163896.8829 | 313529.9587 | 33.25 | 68.6
50027 | 2021-03-22 10:44 | 38.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3115 | μmol/L | 19.6257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.63 | 163934.5702 | 313550.1625 | 33.25 | 68.6
50037 | 2021-03-22 10:45 | 38.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.1363 | μmol/L | 19.6378 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.636 | 163976.1081 | 313537.1943 | 33.25 | 68.6
50047 | 2021-03-22 10:45 | 38.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0948 | μmol/L | 19.6257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.643 | 164020.1225 | 313528.3952 | 33.25 | 68.6
50057 | 2021-03-22 10:45 | 39.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.8405 | μmol/L | 19.6561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.647 | 164063.2184 | 313543.2084 | 33.25 | 68.6
50067 | 2021-03-22 10:46 | 39.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.6573 | μmol/L | 19.6804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.649 | 164075.652 | 313531.8139 | 33.25 | 68.6
50077 | 2021-03-22 10:46 | 39.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.5533 | μmol/L | 19.6865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.653 | 164113.6689 | 313542.5061 | 33.25 | 68.6
50087 | 2021-03-22 10:46 | 40.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.3622 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.66 | 164167.599 | 313527.8673 | 33.25 | 68.6
50097 | 2021-03-22 10:47 | 40.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.2712 | μmol/L | 19.6865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.67 | 164241.2288 | 313533.426 | 33.25 | 68.6
50107 | 2021-03-22 10:47 | 40.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.2214 | μmol/L | 19.6865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.673 | 164266.3602 | 313533.3889 | 33.25 | 68.6
50117 | 2021-03-22 10:47 | 41.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.2881 | μmol/L | 19.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.678 | 164316.6448 | 313528.3075 | 33.25 | 68.6
50127 | 2021-03-22 10:48 | 41.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.1844 | μmol/L | 19.6683 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.682 | 164340.7167 | 313526.8896 | 33.25 | 68.6
50137 | 2021-03-22 10:48 | 41.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.9606 | μmol/L | 19.6804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.691 | 164400.7348 | 313525.8928 | 33.25 | 68.6
50147 | 2021-03-22 10:48 | 42.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.8197 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.695 | 164446.1319 | 313530.3087 | 33.25 | 68.6
50157 | 2021-03-22 10:49 | 42.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.7824 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.695 | 164460.6528 | 313525.7943 | 33.25 | 68.6
50167 | 2021-03-22 10:49 | 42.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.6417 | μmol/L | 19.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.699 | 164522.6226 | 313527.0783 | 33.25 | 68.6
50177 | 2021-03-22 10:49 | 43.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.6379 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.706 | 164568.6314 | 313527.9479 | 33.25 | 68.6
50187 | 2021-03-22 10:50 | 43.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.6091 | μmol/L | 19.6865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.71 | 164610.7975 | 313524.3077 | 33.25 | 68.6
50197 | 2021-03-22 10:50 | 43.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.5473 | μmol/L | 19.6804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.716 | 164651.5965 | 313527.8908 | 33.25 | 68.6
50207 | 2021-03-22 10:50 | 44.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.3572 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.723 | 164684.6866 | 313519.8016 | 33.25 | 68.6
50217 | 2021-03-22 10:51 | 44.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.1881 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.731 | 164730.4957 | 313520.347 | 33.25 | 68.6
50227 | 2021-03-22 10:51 | 44.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.1014 | μmol/L | 19.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.734 | 164781.3217 | 313524.9568 | 33.25 | 68.6
50237 | 2021-03-22 10:51 | 45.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.0069 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.742 | 164814.7805 | 313494.8626 | 33.25 | 68.6
50247 | 2021-03-22 10:52 | 45.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.0233 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.741 | 164818.7568 | 313511.4452 | 33.25 | 68.6
50257 | 2021-03-22 10:52 | 45.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.9655 | μmol/L | 19.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.74 | 164838.8246 | 313519.1515 | 33.25 | 68.6
50267 | 2021-03-22 10:52 | 46.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.8625 | μmol/L | 19.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.744 | 164870.3425 | 313525.5954 | 33.25 | 68.6
50277 | 2021-03-22 10:53 | 46.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.7803 | μmol/L | 19.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.749 | 164915.8877 | 313518.8265 | 33.25 | 68.6
50287 | 2021-03-22 10:53 | 46.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.6239 | μmol/L | 19.7291 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.754 | 164953.0152 | 313511.5343 | 33.25 | 68.6
50297 | 2021-03-22 10:53 | 47.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.5417 | μmol/L | 19.7291 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.759 | 164991.9046 | 313517.8123 | 33.25 | 68.6
50307 | 2021-03-22 10:54 | 47.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.5502 | μmol/L | 19.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.763 | 165021.4334 | 313523.8338 | 33.25 | 68.6
50317 | 2021-03-22 10:54 | 47.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.4845 | μmol/L | 19.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.767 | 165062.2517 | 313509.6899 | 33.25 | 68.6
50327 | 2021-03-22 10:54 | 48.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.2215 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.774 | 165112.6199 | 313511.4444 | 33.25 | 68.6
50337 | 2021-03-22 10:55 | 48.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.1026 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.779 | 165171.798 | 313519.8015 | 33.25 | 68.6
50347 | 2021-03-22 10:55 | 48.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.0165 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.782 | 165205.509 | 313514.7515 | 33.25 | 68.6
50357 | 2021-03-22 10:55 | 49.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.8855 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.79 | 165240.652 | 313510.0715 | 33.25 | 68.6
50367 | 2021-03-22 10:56 | 49.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.7626 | μmol/L | 19.7656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.793 | 165290.093 | 313501.0839 | 33.25 | 68.6
50377 | 2021-03-22 10:56 | 49.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.6851 | μmol/L | 19.7596 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.8 | 165338.484 | 313505.9875 | 33.25 | 68.6
50387 | 2021-03-22 10:56 | 50.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.7263 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.802 | 165358.0326 | 313495.9692 | 33.25 | 68.6
50397 | 2021-03-22 10:57 | 50.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.6566 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.804 | 165400.756 | 313484.9074 | 33.25 | 68.6
50407 | 2021-03-22 10:57 | 50.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.575 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.809 | 165441.3426 | 313505.0618 | 33.25 | 68.6
50417 | 2021-03-22 10:57 | 51.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.4117 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.819 | 165482.1732 | 313493.7542 | 33.25 | 68.6
50427 | 2021-03-22 10:58 | 51.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.1587 | μmol/L | 19.7656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.83 | 165538.3214 | 313495.6091 | 33.25 | 68.6
50437 | 2021-03-22 10:58 | 51.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.2076 | μmol/L | 19.7656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.827 | 165571.7266 | 313486.4799 | 33.25 | 68.6
50447 | 2021-03-22 10:58 | 52.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.1467 | μmol/L | 19.7596 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.833 | 165611.6894 | 313485.8721 | 33.25 | 68.6
50457 | 2021-03-22 10:59 | 52.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.102 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.838 | 165653.2602 | 313476.2314 | 33.25 | 68.6
50467 | 2021-03-22 10:59 | 52.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.9393 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.848 | 165705.457 | 313487.8213 | 33.25 | 68.6
50477 | 2021-03-22 10:59 | 53.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.9761 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.848 | 165741.6554 | 313473.939 | 33.25 | 68.6
50487 | 2021-03-22 11:00 | 53.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.8297 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.857 | 165778.891 | 313480.4332 | 33.25 | 68.6
50497 | 2021-03-22 11:00 | 53.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.8134 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.858 | 165820.8817 | 313482.6797 | 33.25 | 68.6
50507 | 2021-03-22 11:00 | 54.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.7364 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.865 | 165867.0867 | 313486.8443 | 33.25 | 68.6
50517 | 2021-03-22 11:01 | 54.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.6227 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.872 | 165901.5274 | 313467.4864 | 33.25 | 68.6
50527 | 2021-03-22 11:01 | 54.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.5945 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.876 | 165952.2712 | 313464.3336 | 33.25 | 68.6
50537 | 2021-03-22 11:01 | 55.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.4075 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.883 | 165988.282 | 313456.4231 | 33.25 | 68.6
50547 | 2021-03-22 11:02 | 55.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.3059 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.887 | 166023.8561 | 313460.8752 | 33.25 | 68.6
50557 | 2021-03-22 11:02 | 55.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.2292 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.894 | 166071.5903 | 313459.3718 | 33.25 | 68.6
50567 | 2021-03-22 11:02 | 56.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0102 | μmol/L | 19.7596 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.903 | 166123.679 | 313451.7674 | 33.25 | 68.6
50577 | 2021-03-22 11:03 | 56.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.9659 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.908 | 166167.1418 | 313453.7273 | 33.25 | 68.6
50587 | 2021-03-22 11:03 | 56.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.9702 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.91 | 166213.4225 | 313451.4489 | 33.25 | 68.6
50597 | 2021-03-22 11:03 | 57.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.8204 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.917 | 166245.7706 | 313430.9152 | 33.25 | 68.6
50607 | 2021-03-22 11:04 | 57.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.7234 | μmol/L | 19.7535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.923 | 166295.0977 | 313437.3162 | 33.25 | 68.6
50617 | 2021-03-22 11:04 | 57.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5866 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.936 | 166367.8925 | 313419.2156 | 33.25 | 68.6
50627 | 2021-03-22 11:04 | 58.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.4856 | μmol/L | 19.7474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.94 | 166403.4491 | 313423.9797 | 33.25 | 68.6
50637 | 2021-03-22 11:05 | 58.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.7338 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.945 | 166428.0016 | 313425.5512 | 33.25 | 68.6
50647 | 2021-03-22 11:05 | 58.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.6811 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.946 | 166436.8558 | 313404.9918 | 33.25 | 68.6
50657 | 2021-03-22 11:05 | 59.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.608 | μmol/L | 19.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.946 | 166451.3744 | 313413.0015 | 33.25 | 68.6
50667 | 2021-03-22 11:06 | 59.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5112 | μmol/L | 19.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.952 | 166484.9084 | 313405.1137 | 33.25 | 68.6
50677 | 2021-03-22 11:06 | 59.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.6294 | μmol/L | 19.6804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.956 | 166524.6247 | 313400.0523 | 33.25 | 68.6
50687 | 2021-03-22 11:06 | 60.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5573 | μmol/L | 19.6683 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.965 | 166573.752 | 313389.6956 | 33.25 | 68.6
50697 | 2021-03-22 11:07 | 60.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.3306 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.97 | 166606.1333 | 313391.0576 | 33.25 | 68.6
50707 | 2021-03-22 11:07 | 60.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1771 | μmol/L | 19.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.975 | 166650.5049 | 313387.179 | 33.25 | 68.6
50717 | 2021-03-22 11:07 | 61.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1653 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.978 | 166681.9746 | 313371.2302 | 33.25 | 68.6
50727 | 2021-03-22 11:08 | 61.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1052 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.984 | 166724.5641 | 313371.008 | 33.25 | 68.6
50737 | 2021-03-22 11:08 | 61.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6703 | μmol/L | 19.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.002 | 166829.4935 | 313382.5708 | 33.25 | 68.6
50747 | 2021-03-22 11:08 | 62.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7912 | μmol/L | 19.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.999 | 166844.8868 | 313358.835 | 33.25 | 68.6
50757 | 2021-03-22 11:09 | 62.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7677 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.005 | 166857.8127 | 313348.8858 | 33.25 | 68.6
50767 | 2021-03-22 11:09 | 62.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.817 | μmol/L | 19.6683 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.011 | 166901.7452 | 313338.9245 | 33.25 | 68.6
50777 | 2021-03-22 11:09 | 63.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5344 | μmol/L | 19.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.015 | 166948.8531 | 313360.947 | 33.25 | 68.6
50787 | 2021-03-22 11:10 | 63.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4789 | μmol/L | 19.6926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.023 | 166996.2476 | 313352.1787 | 33.25 | 68.6
50797 | 2021-03-22 11:10 | 63.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3464 | μmol/L | 19.6987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.029 | 167017.21 | 313331.5776 | 33.25 | 68.6
50807 | 2021-03-22 11:10 | 64.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5719 | μmol/L | 19.6744 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.024 | 167032.1056 | 313335.8756 | 33.25 | 68.6
50817 | 2021-03-22 11:11 | 64.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4234 | μmol/L | 19.6804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.031 | 167049.0039 | 313336.6321 | 33.25 | 68.6
50827 | 2021-03-22 11:11 | 64.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4683 | μmol/L | 19.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.035 | 167065.2619 | 313309.2771 | 33.25 | 68.6
50837 | 2021-03-22 11:11 | 65.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4406 | μmol/L | 19.6561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.039 | 167099.0171 | 313334.7946 | 33.25 | 68.6
50847 | 2021-03-22 11:12 | 65.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3808 | μmol/L | 19.65 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.045 | 167164.6378 | 313334.3478 | 33.25 | 68.6
50857 | 2021-03-22 11:12 | 65.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4141 | μmol/L | 19.6257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.052 | 167202.8272 | 313319.0732 | 33.25 | 68.6
50867 | 2021-03-22 11:12 | 66.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9956 | μmol/L | 19.6744 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.06 | 167245.5555 | 313305.4704 | 33.25 | 68.6
50877 | 2021-03-22 11:13 | 66.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9317 | μmol/L | 19.6744 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.064 | 167278.142 | 313314.1298 | 33.25 | 68.6
50887 | 2021-03-22 11:13 | 66.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1131 | μmol/L | 19.6439 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.064 | 167299.9103 | 313336.0766 | 33.25 | 68.6
50897 | 2021-03-22 11:13 | 67.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9201 | μmol/L | 19.6683 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.067 | 167322.2304 | 313314.6811 | 33.25 | 68.6
50907 | 2021-03-22 11:14 | 67.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8402 | μmol/L | 19.6683 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.072 | 167355.2359 | 313302.5826 | 33.25 | 68.6