## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48879 | 2021-03-22 10:06 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.9846 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.249 | 121839.6545 | 276412.6845 | 26.25 | 74
48889 | 2021-03-22 10:06 | 0.33557 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.852 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.252 | 121867.8369 | 276412.4009 | 26.25 | 74
48899 | 2021-03-22 10:07 | 0.66928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8363 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.255 | 121920.6781 | 276400.1366 | 26.25 | 74
48909 | 2021-03-22 10:07 | 1.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6907 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 121982.9493 | 276388.6411 | 26.25 | 74
48919 | 2021-03-22 10:07 | 1.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6361 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 122030.3075 | 276381.5848 | 26.25 | 74
48929 | 2021-03-22 10:08 | 1.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5659 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.272 | 122103.0688 | 276384.7182 | 26.25 | 74
48939 | 2021-03-22 10:08 | 2.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5503 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.275 | 122176.4485 | 276376.112 | 26.25 | 74
48949 | 2021-03-22 10:08 | 2.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4231 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.282 | 122250.8956 | 276361.7601 | 26.25 | 74
48959 | 2021-03-22 10:09 | 2.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4075 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.285 | 122321.7324 | 276364.8418 | 26.25 | 74
48969 | 2021-03-22 10:09 | 3.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.3712 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.287 | 122359.3704 | 276341.693 | 26.25 | 74
48979 | 2021-03-22 10:09 | 3.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.353 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.288 | 122401.0117 | 276343.2814 | 26.25 | 74
48989 | 2021-03-22 10:10 | 3.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.3504 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.286 | 122430.5456 | 276331.0466 | 26.25 | 74
48999 | 2021-03-22 10:10 | 4.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.1871 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.295 | 122491.0993 | 276321.0906 | 26.25 | 74
49009 | 2021-03-22 10:10 | 4.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.2415 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.292 | 122551.1259 | 276318.701 | 26.25 | 74
49019 | 2021-03-22 10:11 | 4.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.055 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.298 | 122618.3563 | 276320.9159 | 26.25 | 74
49029 | 2021-03-22 10:11 | 5.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.9074 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.304 | 122683.4657 | 276294.8032 | 26.25 | 74
49039 | 2021-03-22 10:11 | 5.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8737 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.308 | 122754.4031 | 276299.1935 | 26.25 | 74
49049 | 2021-03-22 10:12 | 5.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8039 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.314 | 122825.2677 | 276296.0903 | 26.25 | 74
49059 | 2021-03-22 10:12 | 6.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8091 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.318 | 122889.9459 | 276289.1321 | 26.25 | 74
49069 | 2021-03-22 10:12 | 6.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.716 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.321 | 122941.3036 | 276301.0825 | 26.25 | 74
49079 | 2021-03-22 10:13 | 6.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6591 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.322 | 122981.8981 | 276281.9141 | 26.25 | 74
49089 | 2021-03-22 10:13 | 7.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6049 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.325 | 123034.8309 | 276283.4584 | 26.25 | 74
49099 | 2021-03-22 10:13 | 7.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.7031 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.326 | 123077.8994 | 276248.8557 | 26.25 | 74
49109 | 2021-03-22 10:14 | 7.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6488 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.329 | 123128.4115 | 276245.088 | 26.25 | 74
49119 | 2021-03-22 10:14 | 8.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.5171 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 123193.0239 | 276260.6823 | 26.25 | 74
49129 | 2021-03-22 10:14 | 8.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.499 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.333 | 123245.1259 | 276257.6476 | 26.25 | 74
49139 | 2021-03-22 10:15 | 8.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6385 | μmol/L | 19.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.336 | 123306.5853 | 276237.6793 | 26.25 | 74
49149 | 2021-03-22 10:15 | 9.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.7213 | μmol/L | 19.5641 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.34 | 123374.4919 | 276230.2994 | 26.25 | 74
49159 | 2021-03-22 10:15 | 9.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6128 | μmol/L | 19.5641 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.346 | 123432.8758 | 276232.5866 | 26.25 | 74
49169 | 2021-03-22 10:16 | 9.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4062 | μmol/L | 19.5824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 123514.5278 | 276220.0003 | 26.25 | 74
49179 | 2021-03-22 10:16 | 10.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3367 | μmol/L | 19.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.357 | 123578.4615 | 276231.2063 | 26.25 | 74
49189 | 2021-03-22 10:16 | 10.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4348 | μmol/L | 19.558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.358 | 123634.7049 | 276212.8216 | 26.25 | 74
49199 | 2021-03-22 10:17 | 10.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4788 | μmol/L | 19.5397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.362 | 123693.3651 | 276210.6975 | 26.25 | 74
49209 | 2021-03-22 10:17 | 11.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4815 | μmol/L | 19.5337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 123741.7665 | 276199.7503 | 26.25 | 74
49219 | 2021-03-22 10:17 | 11.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2183 | μmol/L | 19.558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 123797.4017 | 276194.5745 | 26.25 | 74
49229 | 2021-03-22 10:18 | 11.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3164 | μmol/L | 19.5397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.371 | 123846.8014 | 276183.7676 | 26.25 | 74
49239 | 2021-03-22 10:18 | 12.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2702 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.38 | 123902.8365 | 276178.8939 | 26.25 | 74
49249 | 2021-03-22 10:18 | 12.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3838 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.378 | 123953.4916 | 276174.3864 | 26.25 | 74
49259 | 2021-03-22 10:19 | 12.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3063 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.378 | 124014.4194 | 276180.7739 | 26.25 | 74
49269 | 2021-03-22 10:19 | 13.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2575 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.385 | 124073.293 | 276159.9043 | 26.25 | 74
49279 | 2021-03-22 10:19 | 13.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1493 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.391 | 124141.841 | 276162.0662 | 26.25 | 74
49289 | 2021-03-22 10:20 | 13.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0539 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.392 | 124194.2667 | 276154.5855 | 26.25 | 74
49299 | 2021-03-22 10:20 | 14.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0773 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.395 | 124248.5628 | 276149.8733 | 26.25 | 74
49309 | 2021-03-22 10:20 | 14.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0259 | μmol/L | 19.5032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.4 | 124301.1616 | 276147.9728 | 26.25 | 74
49319 | 2021-03-22 10:21 | 14.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.088 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 124354.7869 | 276151.6249 | 26.25 | 74
49329 | 2021-03-22 10:21 | 15.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8432 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 124423.0272 | 276135.3173 | 26.25 | 74
49339 | 2021-03-22 10:21 | 15.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6787 | μmol/L | 19.5154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 124486.4532 | 276133.3382 | 26.25 | 74
49349 | 2021-03-22 10:22 | 15.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.553 | μmol/L | 19.5154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.422 | 124560.5921 | 276134.1642 | 26.25 | 74
49359 | 2021-03-22 10:22 | 16.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4632 | μmol/L | 19.5154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.427 | 124650.2539 | 276136.1519 | 26.25 | 74
49369 | 2021-03-22 10:22 | 16.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3968 | μmol/L | 19.5032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.435 | 124736.2923 | 276121.5793 | 26.25 | 74
49379 | 2021-03-22 10:23 | 16.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3717 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.445 | 124809.1757 | 276108.4538 | 26.25 | 74
49389 | 2021-03-22 10:23 | 17.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2793 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.448 | 124884.7374 | 276103.7348 | 26.25 | 74
49399 | 2021-03-22 10:23 | 17.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1718 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.454 | 124962.5687 | 276093.0918 | 26.25 | 74
49409 | 2021-03-22 10:24 | 17.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0079 | μmol/L | 19.491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.461 | 125003.2084 | 276103.0679 | 26.25 | 74
49419 | 2021-03-22 10:24 | 18.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8523 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.474 | 125144.3394 | 276081.938 | 26.25 | 74
49429 | 2021-03-22 10:24 | 18.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7065 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.48 | 125252.4246 | 276094.1089 | 26.25 | 74
49439 | 2021-03-22 10:25 | 18.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6735 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.484 | 125308.2576 | 276106.3269 | 26.25 | 74
49449 | 2021-03-22 10:25 | 19.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.712 | μmol/L | 19.4727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.484 | 125344.778 | 276072.8932 | 26.25 | 74
49459 | 2021-03-22 10:25 | 19.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7532 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.486 | 125402.9146 | 276074.7834 | 26.25 | 74
49469 | 2021-03-22 10:26 | 19.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.679 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.488 | 125441.6912 | 276070.4355 | 26.25 | 74
49479 | 2021-03-22 10:26 | 20.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.679 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.488 | 125494.7882 | 276075.1574 | 26.25 | 74
49489 | 2021-03-22 10:26 | 20.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5485 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.491 | 125517.6455 | 276058.1514 | 26.25 | 74
49499 | 2021-03-22 10:27 | 20.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4511 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.49 | 125561.3474 | 276071.1478 | 26.25 | 74
49509 | 2021-03-22 10:27 | 21.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5225 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.486 | 125604.3974 | 276054.1893 | 26.25 | 74
49519 | 2021-03-22 10:27 | 21.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4511 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.49 | 125633.1668 | 276051.8072 | 26.25 | 74
49529 | 2021-03-22 10:28 | 21.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5101 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.491 | 125690.4343 | 276045.9546 | 26.25 | 74
49539 | 2021-03-22 10:28 | 22.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4414 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.497 | 125663.6744 | 276032.7728 | 26.25 | 74
49549 | 2021-03-22 10:28 | 22.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.554 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.495 | 125834.2137 | 276038.1548 | 26.25 | 74
49559 | 2021-03-22 10:29 | 22.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4798 | μmol/L | 19.4727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.497 | 125919.4353 | 276035.6198 | 26.25 | 74
49569 | 2021-03-22 10:29 | 23.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2371 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.502 | 125961.499 | 276022.3223 | 26.25 | 74
49579 | 2021-03-22 10:29 | 23.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.222 | μmol/L | 19.491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.505 | 126011.9876 | 276022.3423 | 26.25 | 74
49589 | 2021-03-22 10:30 | 23.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2247 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.507 | 126071.2228 | 276013.948 | 26.25 | 74
49599 | 2021-03-22 10:30 | 24.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2631 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.507 | 126128.6031 | 276006.1313 | 26.25 | 74
49609 | 2021-03-22 10:30 | 24.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3426 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.509 | 126174.5116 | 276005.9883 | 26.25 | 74
49619 | 2021-03-22 10:31 | 24.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3125 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.515 | 126215.0817 | 275996.015 | 26.25 | 74
49629 | 2021-03-22 10:31 | 25.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2768 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.517 | 126260.764 | 275994.997 | 26.25 | 74
49639 | 2021-03-22 10:31 | 25.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3481 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.513 | 126279.3622 | 275988.2309 | 26.25 | 74
49649 | 2021-03-22 10:32 | 25.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2234 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.52 | 126235.3588 | 275996.8314 | 26.25 | 74
49659 | 2021-03-22 10:32 | 26.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1165 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.526 | 126311.9393 | 275991.9341 | 26.25 | 74
49669 | 2021-03-22 10:32 | 26.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2138 | μmol/L | 19.4301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.527 | 126399.6756 | 275993.0144 | 26.25 | 74
49679 | 2021-03-22 10:33 | 26.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.122 | μmol/L | 19.4362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.53 | 126432.8207 | 275975.6553 | 26.25 | 74
49689 | 2021-03-22 10:33 | 27.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1276 | μmol/L | 19.424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.534 | 126207.7694 | 275980.1072 | 26.25 | 74
49699 | 2021-03-22 10:33 | 27.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.018 | μmol/L | 19.4301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.538 | 126316.3739 | 275971.6759 | 26.25 | 74
49709 | 2021-03-22 10:34 | 27.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.7936 | μmol/L | 19.4544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.542 | 126505.4949 | 275966.6464 | 26.25 | 74
49719 | 2021-03-22 10:34 | 28.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.6282 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.547 | 126584.2392 | 275966.4762 | 26.25 | 74
49729 | 2021-03-22 10:34 | 28.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.5777 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.552 | 126689.3215 | 275962.006 | 26.25 | 74
49739 | 2021-03-22 10:35 | 28.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.5244 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.555 | 126768.0886 | 275976.4711 | 26.25 | 74
49749 | 2021-03-22 10:35 | 29.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.4357 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.56 | 126846.5531 | 275956.5213 | 26.25 | 74
49759 | 2021-03-22 10:35 | 29.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.3675 | μmol/L | 19.4544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.566 | 126957.2172 | 275957.2948 | 26.25 | 74
49769 | 2021-03-22 10:36 | 29.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.2584 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.57 | 127002.9192 | 275945.1931 | 26.25 | 74
49779 | 2021-03-22 10:36 | 30.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.1671 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.573 | 127036.8752 | 275949.9194 | 26.25 | 74
49789 | 2021-03-22 10:36 | 30.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.1522 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.576 | 127124.3938 | 275941.289 | 26.25 | 74
49799 | 2021-03-22 10:37 | 30.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.264 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.574 | 127189.145 | 275946.762 | 26.25 | 74
49809 | 2021-03-22 10:37 | 31.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.1876 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.574 | 127242.1808 | 275934.3934 | 26.25 | 74
49819 | 2021-03-22 10:37 | 31.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.0459 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.582 | 127323.7271 | 275926.3509 | 26.25 | 74
49829 | 2021-03-22 10:38 | 31.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.9901 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.583 | 127373.8013 | 275939.8726 | 26.25 | 74
49839 | 2021-03-22 10:38 | 32.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.8458 | μmol/L | 19.4727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.589 | 127418.0404 | 275930.4383 | 26.25 | 74
49849 | 2021-03-22 10:38 | 32.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.9017 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.588 | 127465.5346 | 275924.2582 | 26.25 | 74
49859 | 2021-03-22 10:39 | 32.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.7575 | μmol/L | 19.4727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.594 | 127521.1992 | 275929.9852 | 26.25 | 74
49869 | 2021-03-22 10:39 | 33.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.6487 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.598 | 127569.0922 | 275932.1474 | 26.25 | 74
49879 | 2021-03-22 10:39 | 33.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.6134 | μmol/L | 19.4788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.6 | 127608.9383 | 275916.9764 | 26.25 | 74
49889 | 2021-03-22 10:40 | 33.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.3757 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.607 | 127671.2307 | 275933.3059 | 26.25 | 74
49899 | 2021-03-22 10:40 | 34.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.2115 | μmol/L | 19.5093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.612 | 127727.8861 | 275925.6714 | 26.25 | 74
49909 | 2021-03-22 10:40 | 34.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.2848 | μmol/L | 19.5032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.61 | 127776.1601 | 275924.667 | 26.25 | 74
49919 | 2021-03-22 10:41 | 34.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.0123 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.619 | 127828.0923 | 275914.3282 | 26.25 | 74
49929 | 2021-03-22 10:41 | 35.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.9595 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.622 | 127880.3484 | 275908.9845 | 26.25 | 74
49939 | 2021-03-22 10:41 | 35.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.8336 | μmol/L | 19.5276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.627 | 127911.5412 | 275934.0391 | 26.25 | 74
49949 | 2021-03-22 10:42 | 35.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.6875 | μmol/L | 19.5397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.631 | 127947.786 | 275924.542 | 26.25 | 74
49959 | 2021-03-22 10:42 | 36.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.6903 | μmol/L | 19.5337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.633 | 127986.1375 | 275913.6262 | 26.25 | 74
49969 | 2021-03-22 10:42 | 36.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.6903 | μmol/L | 19.5337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.633 | 127964.4138 | 275917.3793 | 26.25 | 74
49979 | 2021-03-22 10:43 | 36.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.6847 | μmol/L | 19.5458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.629 | 127982.7993 | 275910.7486 | 26.25 | 74
49989 | 2021-03-22 10:43 | 37.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.632 | μmol/L | 19.5458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.632 | 128020.3299 | 275904.2129 | 26.25 | 74
49999 | 2021-03-22 10:43 | 37.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.6293 | μmol/L | 19.5519 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.63 | 128068.2166 | 275914.6417 | 26.25 | 74
50009 | 2021-03-22 10:44 | 37.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.5738 | μmol/L | 19.558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.631 | 128112.8169 | 275930.6454 | 26.25 | 74
50019 | 2021-03-22 10:44 | 38.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.5914 | μmol/L | 19.558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.63 | 128130.4346 | 275915.1878 | 26.25 | 74
50029 | 2021-03-22 10:44 | 38.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.4833 | μmol/L | 19.5641 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.634 | 128180.9024 | 275936.6123 | 26.25 | 74
50039 | 2021-03-22 10:45 | 38.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.3402 | μmol/L | 19.5702 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.64 | 128213.3237 | 275942.0223 | 26.25 | 74
50049 | 2021-03-22 10:45 | 39.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.2876 | μmol/L | 19.5702 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.643 | 128252.016 | 275926.8432 | 26.25 | 74
50059 | 2021-03-22 10:45 | 39.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.2673 | μmol/L | 19.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.642 | 128298.7798 | 275926.344 | 26.25 | 74
50069 | 2021-03-22 10:46 | 39.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.2322 | μmol/L | 19.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.644 | 128313.7196 | 275928.8102 | 26.25 | 74
50079 | 2021-03-22 10:46 | 40.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.2147 | μmol/L | 19.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.645 | 128333.2484 | 275924.5269 | 26.25 | 74
50089 | 2021-03-22 10:46 | 40.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1068 | μmol/L | 19.5824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.649 | 128364.4284 | 275914.5779 | 26.25 | 74
50099 | 2021-03-22 10:47 | 40.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1041 | μmol/L | 19.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.647 | 128395.4528 | 275926.3662 | 26.25 | 74
50109 | 2021-03-22 10:47 | 41.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.0138 | μmol/L | 19.5946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.65 | 128414.0375 | 275925.1275 | 26.25 | 74
50119 | 2021-03-22 10:47 | 41.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.7836 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.661 | 128491.0696 | 275922.3092 | 26.25 | 74
50129 | 2021-03-22 10:48 | 41.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.5914 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.672 | 128585.488 | 275924.6835 | 26.25 | 74
50139 | 2021-03-22 10:48 | 42.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.4169 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.682 | 128669.8605 | 275921.4358 | 26.25 | 74
50149 | 2021-03-22 10:48 | 42.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.3297 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.687 | 128720.0338 | 275915.7282 | 26.25 | 74
50159 | 2021-03-22 10:49 | 42.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.3499 | μmol/L | 19.5946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.688 | 128741.2603 | 275909.9501 | 26.25 | 74
50169 | 2021-03-22 10:49 | 43.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.2397 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.69 | 128766.7613 | 275923.0968 | 26.25 | 74
50179 | 2021-03-22 10:49 | 43.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.1645 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.69 | 128801.2671 | 275914.0265 | 26.25 | 74
50189 | 2021-03-22 10:50 | 43.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.1498 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.693 | 128805.5917 | 275909.0418 | 26.25 | 74
50199 | 2021-03-22 10:50 | 44.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.1792 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.687 | 128822.8951 | 275911.711 | 26.25 | 74
50209 | 2021-03-22 10:50 | 44.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.1297 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.692 | 128869.1071 | 275917.919 | 26.25 | 74
50219 | 2021-03-22 10:51 | 44.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.9904 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.7 | 128932.7876 | 275913.814 | 26.25 | 74
50229 | 2021-03-22 10:51 | 45.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.8686 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.707 | 128976.3664 | 275926.6412 | 26.25 | 74
50239 | 2021-03-22 10:51 | 45.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.9382 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.703 | 128991.3003 | 275921.248 | 26.25 | 74
50249 | 2021-03-22 10:52 | 45.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.8658 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.705 | 128988.7803 | 275929.5918 | 26.25 | 74
50259 | 2021-03-22 10:52 | 46.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.8679 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.703 | 129000.0313 | 275916.5767 | 26.25 | 74
50269 | 2021-03-22 10:52 | 46.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.7733 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.706 | 129034.8003 | 275918.4522 | 26.25 | 74
50279 | 2021-03-22 10:53 | 46.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.6392 | μmol/L | 19.6372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.714 | 129075.4544 | 275906.2363 | 26.25 | 74
50289 | 2021-03-22 10:53 | 47.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5843 | μmol/L | 19.6433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.715 | 129126.6689 | 275915.232 | 26.25 | 74
50299 | 2021-03-22 10:53 | 47.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.6051 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.72 | 129166.9467 | 275903.6213 | 26.25 | 74
50309 | 2021-03-22 10:54 | 47.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5878 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.721 | 129198.7756 | 275915.416 | 26.25 | 74
50319 | 2021-03-22 10:54 | 48.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5551 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.721 | 129211.8735 | 275916.4432 | 26.25 | 74
50329 | 2021-03-22 10:54 | 48.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5926 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.721 | 129213.7741 | 275918.1187 | 26.25 | 74
50339 | 2021-03-22 10:55 | 48.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.4857 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.725 | 129236.7736 | 275912.9896 | 26.25 | 74
50349 | 2021-03-22 10:55 | 49.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.4538 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.729 | 129268.3317 | 275922.502 | 26.25 | 74
50359 | 2021-03-22 10:55 | 49.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.3268 | μmol/L | 19.6372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.732 | 129311.1957 | 275898.0712 | 26.25 | 74
50369 | 2021-03-22 10:56 | 49.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.2055 | μmol/L | 19.6372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 129368.3588 | 275912.5373 | 26.25 | 74
50379 | 2021-03-22 10:56 | 50.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.0842 | μmol/L | 19.6372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.746 | 129416.6348 | 275901.9755 | 26.25 | 74
50389 | 2021-03-22 10:56 | 50.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.871 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.754 | 129470.9909 | 275906.2814 | 26.25 | 74
50399 | 2021-03-22 10:57 | 50.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.8047 | μmol/L | 19.6433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.76 | 129509.1858 | 275895.6939 | 26.25 | 74
50409 | 2021-03-22 10:57 | 51.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.7874 | μmol/L | 19.6433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.761 | 129536.0305 | 275888.8786 | 26.25 | 74
50419 | 2021-03-22 10:57 | 51.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.6636 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.766 | 129578.2911 | 275896.3361 | 26.25 | 74
50429 | 2021-03-22 10:58 | 51.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.5697 | μmol/L | 19.6555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.769 | 129609.1583 | 275879.7813 | 26.25 | 74
50439 | 2021-03-22 10:58 | 52.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.471 | μmol/L | 19.6555 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.775 | 129659.9845 | 275899.9966 | 26.25 | 74
50449 | 2021-03-22 10:58 | 52.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.2813 | μmol/L | 19.6555 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.786 | 129707.5459 | 275894.0126 | 26.25 | 74
50459 | 2021-03-22 10:59 | 52.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.2296 | μmol/L | 19.6555 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.789 | 129762.1253 | 275880.6759 | 26.25 | 74
50469 | 2021-03-22 10:59 | 53.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.129 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.797 | 129815.7318 | 275880.1231 | 26.25 | 74
50479 | 2021-03-22 10:59 | 53.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0602 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.801 | 129851.3412 | 275880.7596 | 26.25 | 74
50489 | 2021-03-22 11:00 | 53.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0258 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 129876.1613 | 275880.9027 | 26.25 | 74
50499 | 2021-03-22 11:00 | 54.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.9742 | μmol/L | 19.6494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.806 | 129896.9166 | 275900.3355 | 26.25 | 74
50509 | 2021-03-22 11:00 | 54.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.9998 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.811 | 129910.2832 | 275874.9187 | 26.25 | 74
50519 | 2021-03-22 11:01 | 54.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0915 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.81 | 129929.6263 | 275888.2479 | 26.25 | 74
50529 | 2021-03-22 11:01 | 55.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.9682 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.815 | 129948.2472 | 275887.8153 | 26.25 | 74
50539 | 2021-03-22 11:01 | 55.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.9338 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.817 | 129976.4219 | 275889.7667 | 26.25 | 74
50549 | 2021-03-22 11:02 | 55.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.7907 | μmol/L | 19.6372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.821 | 129993.4448 | 275876.2919 | 26.25 | 74
50559 | 2021-03-22 11:02 | 56.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.7707 | μmol/L | 19.6433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.82 | 130022.7444 | 275865.9458 | 26.25 | 74
50569 | 2021-03-22 11:02 | 56.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.7963 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.825 | 130040.3217 | 275870.5404 | 26.25 | 74
50579 | 2021-03-22 11:03 | 56.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.7248 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.827 | 130074.6018 | 275861.4584 | 26.25 | 74
50589 | 2021-03-22 11:03 | 57.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6932 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.831 | 130121.7268 | 275853.3179 | 26.25 | 74
50599 | 2021-03-22 11:03 | 57.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5559 | μmol/L | 19.6251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.839 | 130163.3154 | 275858.4952 | 26.25 | 74
50609 | 2021-03-22 11:04 | 57.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6274 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.837 | 130180.8534 | 275841.9089 | 26.25 | 74
50619 | 2021-03-22 11:04 | 58.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.473 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.846 | 130196.4576 | 275837.2939 | 26.25 | 74
50629 | 2021-03-22 11:04 | 58.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5473 | μmol/L | 19.6068 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.846 | 130217.2232 | 275823.561 | 26.25 | 74
50639 | 2021-03-22 11:05 | 58.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6731 | μmol/L | 19.5946 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.843 | 130232.3623 | 275821.7078 | 26.25 | 74
50649 | 2021-03-22 11:05 | 59.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6759 | μmol/L | 19.5885 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.845 | 130241.564 | 275820.7591 | 26.25 | 74
50659 | 2021-03-22 11:05 | 59.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5701 | μmol/L | 19.5946 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.849 | 130249.2661 | 275828.5762 | 26.25 | 74
50669 | 2021-03-22 11:06 | 59.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4958 | μmol/L | 19.6068 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.849 | 130268.677 | 275815.0609 | 26.25 | 74
50679 | 2021-03-22 11:06 | 60.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6044 | μmol/L | 19.5946 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.847 | 130294.91 | 275818.4016 | 26.25 | 74
50689 | 2021-03-22 11:06 | 60.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5158 | μmol/L | 19.6007 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.85 | 130312.8466 | 275804.4451 | 26.25 | 74
50699 | 2021-03-22 11:07 | 60.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3873 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.851 | 130337.3055 | 275801.0172 | 26.25 | 74
50709 | 2021-03-22 11:07 | 61.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.216 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.861 | 130353.4129 | 275803.1513 | 26.25 | 74
50719 | 2021-03-22 11:07 | 61.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.216 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.861 | 130396.2212 | 275811.9681 | 26.25 | 74
50729 | 2021-03-22 11:08 | 61.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.1304 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.866 | 130413.1025 | 275802.3398 | 26.25 | 74
50739 | 2021-03-22 11:08 | 62.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.099 | μmol/L | 19.6129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.87 | 130467.9231 | 275790.5551 | 26.25 | 74
50749 | 2021-03-22 11:08 | 62.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9593 | μmol/L | 19.619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.876 | 130501.868 | 275790.6687 | 26.25 | 74
50759 | 2021-03-22 11:09 | 62.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9308 | μmol/L | 19.6068 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.882 | 130541.6105 | 275788.7937 | 26.25 | 74
50769 | 2021-03-22 11:09 | 63.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8596 | μmol/L | 19.6129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.884 | 130565.6545 | 275778.346 | 26.25 | 74
50779 | 2021-03-22 11:09 | 63.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8084 | μmol/L | 19.6129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.887 | 130584.3223 | 275779.7777 | 26.25 | 74
50789 | 2021-03-22 11:10 | 63.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6889 | μmol/L | 19.6129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.894 | 130636.422 | 275765.5486 | 26.25 | 74
50799 | 2021-03-22 11:10 | 64.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6861 | μmol/L | 19.5824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.905 | 130700.1252 | 275775.7257 | 26.25 | 74
50809 | 2021-03-22 11:10 | 64.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6947 | μmol/L | 19.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.911 | 130770.5022 | 275769.0145 | 26.25 | 74
50819 | 2021-03-22 11:11 | 64.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6921 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.922 | 130824.5105 | 275772.5448 | 26.25 | 74
50829 | 2021-03-22 11:11 | 65.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6239 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.926 | 130869.2554 | 275766.609 | 26.25 | 74
50839 | 2021-03-22 11:11 | 65.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4535 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.936 | 130924.6736 | 275770.5948 | 26.25 | 74
50849 | 2021-03-22 11:12 | 65.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3824 | μmol/L | 19.5397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.938 | 130947.8333 | 275756.8037 | 26.25 | 74
50859 | 2021-03-22 11:12 | 66.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2093 | μmol/L | 19.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.946 | 130981.0434 | 275750.2143 | 26.25 | 74
50869 | 2021-03-22 11:12 | 66.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.201 | μmol/L | 19.5276 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.953 | 131014.0414 | 275752.315 | 26.25 | 74
50879 | 2021-03-22 11:13 | 66.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2948 | μmol/L | 19.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.954 | 131050.8075 | 275738.7013 | 26.25 | 74
50889 | 2021-03-22 11:13 | 67.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2608 | μmol/L | 19.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.956 | 131084.4038 | 275736.5885 | 26.25 | 74
50899 | 2021-03-22 11:13 | 67.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0509 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.964 | 131121.7336 | 275736.1999 | 26.25 | 74
50908 | 2021-03-22 11:14 | 67.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.966 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.969 | 131163.1927 | 275741.1864 | 26.25 | 74