## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50917 | 2021-03-22 12:51 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.1103 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.481 | 162982.9975 | 313113.2037 | 33.25 | 68.6
50927 | 2021-03-22 12:51 | 0.32881 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.972 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.484 | 163007.9707 | 313141.7567 | 33.25 | 68.6
50937 | 2021-03-22 12:51 | 0.66248 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.8151 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 163002.0212 | 313137.1774 | 33.25 | 68.6
50947 | 2021-03-22 12:52 | 0.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.9121 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 163011.2342 | 313130.7636 | 33.25 | 68.6
50957 | 2021-03-22 12:52 | 1.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.7367 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.49 | 163023.5368 | 313118.0936 | 33.25 | 68.6
50967 | 2021-03-22 12:52 | 1.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.6731 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.489 | 163043.5988 | 313104.1091 | 33.25 | 68.6
50977 | 2021-03-22 12:53 | 1.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.6437 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.495 | 163069.5228 | 313108.1845 | 33.25 | 68.6
50987 | 2021-03-22 12:53 | 2.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.7935 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.498 | 163089.3446 | 313096.432 | 33.25 | 68.6
50997 | 2021-03-22 12:53 | 2.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.5771 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.503 | 163109.5148 | 313092.2251 | 33.25 | 68.6
51007 | 2021-03-22 12:54 | 2.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.6818 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.504 | 163142.8445 | 313087.6414 | 33.25 | 68.6
51017 | 2021-03-22 12:54 | 3.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.4029 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.519 | 163203.7126 | 313079.4825 | 33.25 | 68.6
51027 | 2021-03-22 12:54 | 3.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.314 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.526 | 163259.1838 | 313061.7565 | 33.25 | 68.6
51037 | 2021-03-22 12:55 | 3.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.2954 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.527 | 163270.1072 | 313065.3582 | 33.25 | 68.6
51047 | 2021-03-22 12:55 | 4.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.1537 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.528 | 163248.9827 | 313054.9629 | 33.25 | 68.6
51057 | 2021-03-22 12:55 | 4.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.1762 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.529 | 163280.5859 | 313050.0323 | 33.25 | 68.6
51067 | 2021-03-22 12:56 | 4.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.819 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.535 | 163321.4501 | 313039.4999 | 33.25 | 68.6
51077 | 2021-03-22 12:56 | 5.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.7752 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.544 | 163376.6919 | 313053.2709 | 33.25 | 68.6
51087 | 2021-03-22 12:56 | 5.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.7567 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.545 | 163395.9129 | 313034.3397 | 33.25 | 68.6
51097 | 2021-03-22 12:57 | 5.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.6271 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.552 | 163422.3229 | 313032.1371 | 33.25 | 68.6
51107 | 2021-03-22 12:57 | 6.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.6944 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.555 | 163454.8857 | 313031.3775 | 33.25 | 68.6
51117 | 2021-03-22 12:57 | 6.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.6798 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.558 | 163471.058 | 313010.231 | 33.25 | 68.6
51127 | 2021-03-22 12:58 | 6.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.5279 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.564 | 163499.3294 | 313017.8513 | 33.25 | 68.6
51137 | 2021-03-22 12:58 | 7.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.4052 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.564 | 163542.5314 | 313004.9729 | 33.25 | 68.6
51147 | 2021-03-22 12:58 | 7.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.3089 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.567 | 163580.4 | 313012.061 | 33.25 | 68.6
51157 | 2021-03-22 12:59 | 7.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1612 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.575 | 163612.0406 | 312993.4627 | 33.25 | 68.6
51167 | 2021-03-22 12:59 | 8.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.173 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.581 | 163647.2926 | 312980.8407 | 33.25 | 68.6
51177 | 2021-03-22 12:59 | 8.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1321 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.581 | 163674.1886 | 312984.7734 | 33.25 | 68.6
51187 | 2021-03-22 13:00 | 8.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0952 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.583 | 163695.8264 | 312979.8513 | 33.25 | 68.6
51197 | 2021-03-22 13:00 | 9.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.1479 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.589 | 163715.2601 | 312979.7293 | 33.25 | 68.6
51207 | 2021-03-22 13:00 | 9.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0886 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.59 | 163727.5548 | 312974.0176 | 33.25 | 68.6
51217 | 2021-03-22 13:01 | 9.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.974 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.594 | 163761.3022 | 312967.1532 | 33.25 | 68.6
51227 | 2021-03-22 13:01 | 10.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.9372 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.596 | 163798.2913 | 312970.582 | 33.25 | 68.6
51237 | 2021-03-22 13:01 | 10.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.749 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.604 | 163845.6709 | 312972.2236 | 33.25 | 68.6
51247 | 2021-03-22 13:02 | 10.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7122 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.606 | 163874.1227 | 312951.7093 | 33.25 | 68.6
51257 | 2021-03-22 13:02 | 11.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.6609 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.611 | 163899.7294 | 312943.3541 | 33.25 | 68.6
51267 | 2021-03-22 13:02 | 11.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.5059 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.615 | 163926.4794 | 312929.1823 | 33.25 | 68.6
51277 | 2021-03-22 13:03 | 11.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.3549 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.621 | 163961.567 | 312930.4404 | 33.25 | 68.6
51287 | 2021-03-22 13:03 | 12.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.1817 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.626 | 164001.128 | 312927.8852 | 33.25 | 68.6
51297 | 2021-03-22 13:03 | 12.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.1122 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.632 | 164048.6041 | 312923.7977 | 33.25 | 68.6
51307 | 2021-03-22 13:04 | 12.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.9615 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.638 | 164081.2055 | 312918.7399 | 33.25 | 68.6
51317 | 2021-03-22 13:04 | 13.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.9655 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.64 | 164117.4069 | 312906.79 | 33.25 | 68.6
51327 | 2021-03-22 13:04 | 13.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.8778 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.647 | 164143.1801 | 312905.6721 | 33.25 | 68.6
51337 | 2021-03-22 13:05 | 13.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.8228 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.65 | 164181.8938 | 312906.6881 | 33.25 | 68.6
51347 | 2021-03-22 13:05 | 14.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.7901 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.654 | 164217.2577 | 312906.0236 | 33.25 | 68.6
51357 | 2021-03-22 13:05 | 14.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.6802 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.66 | 164268.0079 | 312896.3834 | 33.25 | 68.6
51367 | 2021-03-22 13:06 | 14.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.6229 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.672 | 164357.3503 | 312915.7143 | 33.25 | 68.6
51377 | 2021-03-22 13:06 | 15.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.448 | μmol/L | 19.6804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.686 | 164479.1934 | 312892.2351 | 33.25 | 68.6
51387 | 2021-03-22 13:06 | 15.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9694 | μmol/L | 19.6865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.71 | 164612.6581 | 312899.678 | 33.25 | 68.6
51397 | 2021-03-22 13:07 | 15.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7468 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.72 | 164726.5384 | 312892.6819 | 33.25 | 68.6
51407 | 2021-03-22 13:07 | 16.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.6194 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.727 | 164781.186 | 312881.0579 | 33.25 | 68.6
51417 | 2021-03-22 13:07 | 16.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4739 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.735 | 164837.0417 | 312889.8691 | 33.25 | 68.6
51427 | 2021-03-22 13:08 | 16.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3688 | μmol/L | 19.6865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 164896.088 | 312883.947 | 33.25 | 68.6
51437 | 2021-03-22 13:08 | 17.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3263 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 164964.1644 | 312885.2475 | 33.25 | 68.6
51447 | 2021-03-22 13:08 | 17.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3344 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 164981.5768 | 312888.9857 | 33.25 | 68.6
51457 | 2021-03-22 13:09 | 17.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2134 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 165010.0276 | 312876.9255 | 33.25 | 68.6
51467 | 2021-03-22 13:09 | 18.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2134 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 164990.5462 | 312875.6865 | 33.25 | 68.6
51477 | 2021-03-22 13:09 | 18.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3566 | μmol/L | 19.65 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.757 | 165004.1267 | 312870.4807 | 33.25 | 68.6
51487 | 2021-03-22 13:10 | 18.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2981 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.758 | 164997.7127 | 312879.2883 | 33.25 | 68.6
51497 | 2021-03-22 13:10 | 19.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3889 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 164981.596 | 312867.3286 | 33.25 | 68.6
51507 | 2021-03-22 13:10 | 19.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3889 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 164981.9668 | 312866.6898 | 33.25 | 68.6
51517 | 2021-03-22 13:11 | 19.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3445 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.751 | 164966.5781 | 312861.0005 | 33.25 | 68.6
51527 | 2021-03-22 13:11 | 20.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3344 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 164979.9367 | 312858.774 | 33.25 | 68.6
51537 | 2021-03-22 13:11 | 20.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3787 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.758 | 165000.2576 | 312858.5829 | 33.25 | 68.6
51547 | 2021-03-22 13:12 | 20.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.175 | μmol/L | 19.65 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 165029.1366 | 312853.4634 | 33.25 | 68.6
51557 | 2021-03-22 13:12 | 21.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3182 | μmol/L | 19.6257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 165059.0738 | 312851.2275 | 33.25 | 68.6
51567 | 2021-03-22 13:12 | 21.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2597 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.769 | 165049.0281 | 312853.3318 | 33.25 | 68.6
51577 | 2021-03-22 13:13 | 21.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.296 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 165052.1028 | 312856.164 | 33.25 | 68.6
51587 | 2021-03-22 13:13 | 22.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3323 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.765 | 165041.9978 | 312867.9404 | 33.25 | 68.6
51597 | 2021-03-22 13:13 | 22.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3686 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 165014.4744 | 312867.2901 | 33.25 | 68.6
51607 | 2021-03-22 13:14 | 22.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2274 | μmol/L | 19.6257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 165103.8279 | 312853.0775 | 33.25 | 68.6
51617 | 2021-03-22 13:14 | 23.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.891 | μmol/L | 19.6135 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.796 | 165278.7304 | 312846.2614 | 33.25 | 68.6
51627 | 2021-03-22 13:14 | 23.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8729 | μmol/L | 19.6135 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.797 | 165302.4475 | 312849.0013 | 33.25 | 68.6
51637 | 2021-03-22 13:15 | 23.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8467 | μmol/L | 19.6257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.794 | 165247.1622 | 312847.6017 | 33.25 | 68.6
51647 | 2021-03-22 13:15 | 24.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9695 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 165199.017 | 312830.2037 | 33.25 | 68.6
51657 | 2021-03-22 13:15 | 24.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9876 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 165171.3927 | 312848.8288 | 33.25 | 68.6
51667 | 2021-03-22 13:16 | 24.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9292 | μmol/L | 19.6378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 165185.6933 | 312850.1696 | 33.25 | 68.6
51677 | 2021-03-22 13:16 | 25.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9473 | μmol/L | 19.6378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 165183.5975 | 312830.5048 | 33.25 | 68.6
51687 | 2021-03-22 13:16 | 25.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9514 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 165207.0718 | 312845.6821 | 33.25 | 68.6
51697 | 2021-03-22 13:17 | 25.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8165 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 165236.1187 | 312833.041 | 33.25 | 68.6
51707 | 2021-03-22 13:17 | 26.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.7219 | μmol/L | 19.65 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.792 | 165248.886 | 312849.2129 | 33.25 | 68.6
51717 | 2021-03-22 13:17 | 26.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.547 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.795 | 165265.1331 | 312835.7456 | 33.25 | 68.6
51727 | 2021-03-22 13:18 | 26.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4566 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.8 | 165309.0255 | 312837.9967 | 33.25 | 68.6
51737 | 2021-03-22 13:18 | 27.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4064 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.805 | 165326.2281 | 312819.0484 | 33.25 | 68.6
51747 | 2021-03-22 13:18 | 27.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3441 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.804 | 165342.5705 | 312825.0106 | 33.25 | 68.6
51757 | 2021-03-22 13:19 | 27.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.2358 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.81 | 165370.4006 | 312829.2053 | 33.25 | 68.6
51767 | 2021-03-22 13:19 | 28.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0252 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.815 | 165390.654 | 312810.963 | 33.25 | 68.6
51777 | 2021-03-22 13:19 | 28.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.931 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.818 | 165452.554 | 312809.6238 | 33.25 | 68.6
51787 | 2021-03-22 13:20 | 28.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8229 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.824 | 165472.5892 | 312803.9248 | 33.25 | 68.6
51797 | 2021-03-22 13:20 | 29.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8769 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.821 | 165449.6001 | 312799.6605 | 33.25 | 68.6
51807 | 2021-03-22 13:20 | 29.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7288 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.827 | 165472.8563 | 312804.8195 | 33.25 | 68.6
51817 | 2021-03-22 13:21 | 29.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5768 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.831 | 165491.8123 | 312800.6705 | 33.25 | 68.6
51827 | 2021-03-22 13:21 | 30.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5368 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.831 | 165522.0784 | 312796.2421 | 33.25 | 68.6
51837 | 2021-03-22 13:21 | 30.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4388 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.832 | 165538.5607 | 312798.9567 | 33.25 | 68.6
51847 | 2021-03-22 13:22 | 30.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.295 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.84 | 165591.1154 | 312790.9199 | 33.25 | 68.6
51857 | 2021-03-22 13:22 | 31.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1872 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.846 | 165627.9397 | 312788.9745 | 33.25 | 68.6
51867 | 2021-03-22 13:22 | 31.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.0934 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.849 | 165662.1387 | 312797.4341 | 33.25 | 68.6
51877 | 2021-03-22 13:23 | 31.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9818 | μmol/L | 19.7474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.853 | 165680.025 | 312781.4665 | 33.25 | 68.6
51887 | 2021-03-22 13:23 | 32.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.928 | μmol/L | 19.7474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.856 | 165702.8122 | 312780.2272 | 33.25 | 68.6
51897 | 2021-03-22 13:23 | 32.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8124 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.858 | 165740.1279 | 312777.2046 | 33.25 | 68.6
51907 | 2021-03-22 13:24 | 32.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.691 | μmol/L | 19.7535 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.867 | 165750.3736 | 312777.9031 | 33.25 | 68.6
51917 | 2021-03-22 13:24 | 33.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7049 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.864 | 165756.8433 | 312764.3137 | 33.25 | 68.6
51927 | 2021-03-22 13:24 | 33.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5536 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.868 | 165779.7498 | 312762.7508 | 33.25 | 68.6
51937 | 2021-03-22 13:25 | 33.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.4463 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.874 | 165815.9899 | 312757.3016 | 33.25 | 68.6
51947 | 2021-03-22 13:25 | 34.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.4324 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.877 | 165854.9734 | 312749.1902 | 33.25 | 68.6
51957 | 2021-03-22 13:25 | 34.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2715 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.886 | 165882.8222 | 312761.3231 | 33.25 | 68.6
51967 | 2021-03-22 13:26 | 34.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1563 | μmol/L | 19.7778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.888 | 165912.037 | 312754.0139 | 33.25 | 68.6
51977 | 2021-03-22 13:26 | 35.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1424 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.891 | 165946.4696 | 312735.9635 | 33.25 | 68.6
51987 | 2021-03-22 13:26 | 35.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.071 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.895 | 165965.0641 | 312747.8689 | 33.25 | 68.6
51997 | 2021-03-22 13:27 | 35.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8886 | μmol/L | 19.7778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.903 | 165998.249 | 312726.3778 | 33.25 | 68.6
52007 | 2021-03-22 13:27 | 36.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8489 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.903 | 166046.1105 | 312732.245 | 33.25 | 68.6
52017 | 2021-03-22 13:27 | 36.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.6667 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.911 | 166083.4504 | 312738.0034 | 33.25 | 68.6
52027 | 2021-03-22 13:28 | 36.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5736 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.914 | 166117.3807 | 312738.7058 | 33.25 | 68.6
52037 | 2021-03-22 13:28 | 37.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5777 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.916 | 166133.0987 | 312730.7949 | 33.25 | 68.6
52047 | 2021-03-22 13:28 | 37.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5243 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.919 | 166164.8342 | 312735.3174 | 33.25 | 68.6
52057 | 2021-03-22 13:29 | 37.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.3957 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.924 | 166185.8877 | 312728.2139 | 33.25 | 68.6
52067 | 2021-03-22 13:29 | 38.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2988 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.925 | 166230.8506 | 312729.8211 | 33.25 | 68.6
52077 | 2021-03-22 13:29 | 38.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.2139 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.932 | 166262.1238 | 312740.9239 | 33.25 | 68.6
52087 | 2021-03-22 13:30 | 38.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.1388 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.934 | 166285.1526 | 312733.0999 | 33.25 | 68.6
52097 | 2021-03-22 13:30 | 39.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.1114 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.94 | 166305.4393 | 312715.5645 | 33.25 | 68.6
52107 | 2021-03-22 13:30 | 39.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0363 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.942 | 166314.9681 | 312722.6854 | 33.25 | 68.6
52117 | 2021-03-22 13:31 | 39.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0363 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.942 | 166329.6387 | 312711.3539 | 33.25 | 68.6
52127 | 2021-03-22 13:31 | 40.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.9339 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.95 | 166375.4302 | 312725.4966 | 33.25 | 68.6
52137 | 2021-03-22 13:31 | 40.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8944 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.95 | 166389.5751 | 312728.0244 | 33.25 | 68.6
52147 | 2021-03-22 13:32 | 40.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.8412 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.953 | 166387.7704 | 312727.479 | 33.25 | 68.6
52157 | 2021-03-22 13:32 | 41.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7703 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.957 | 166406.2808 | 312722.6193 | 33.25 | 68.6
52167 | 2021-03-22 13:32 | 41.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6382 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.96 | 166414.8948 | 312717.8636 | 33.25 | 68.6
52177 | 2021-03-22 13:33 | 41.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.6245 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.963 | 166465.2872 | 312720.7877 | 33.25 | 68.6
52187 | 2021-03-22 13:33 | 42.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4475 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.973 | 166508.244 | 312723.3434 | 33.25 | 68.6
52197 | 2021-03-22 13:33 | 42.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3985 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.978 | 166565.2899 | 312710.8953 | 33.25 | 68.6
52207 | 2021-03-22 13:34 | 42.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.2924 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.984 | 166618.3052 | 312717.9109 | 33.25 | 68.6
52217 | 2021-03-22 13:34 | 43.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1076 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.99 | 166670.0946 | 312714.4408 | 33.25 | 68.6
52227 | 2021-03-22 13:34 | 43.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.09 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.991 | 166716.9506 | 312717.4836 | 33.25 | 68.6
52237 | 2021-03-22 13:35 | 43.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.037 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.994 | 166750.6032 | 312717.2476 | 33.25 | 68.6
52247 | 2021-03-22 13:35 | 44.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9054 | μmol/L | 19.8265 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.997 | 166780.1181 | 312698.1745 | 33.25 | 68.6
52257 | 2021-03-22 13:35 | 44.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8742 | μmol/L | 19.8204 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.001 | 166810.9724 | 312714.5592 | 33.25 | 68.6
52267 | 2021-03-22 13:36 | 44.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8646 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.006 | 166838.7895 | 312707.034 | 33.25 | 68.6
52277 | 2021-03-22 13:36 | 45.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7629 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.014 | 166898.9396 | 312712.306 | 33.25 | 68.6
52287 | 2021-03-22 13:36 | 45.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.6138 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.018 | 166942.751 | 312701.1373 | 33.25 | 68.6
52297 | 2021-03-22 13:37 | 45.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5082 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.024 | 166968.7454 | 312689.6346 | 33.25 | 68.6
52307 | 2021-03-22 13:37 | 46.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.473 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.026 | 167008.0417 | 312700.9688 | 33.25 | 68.6
52317 | 2021-03-22 13:37 | 46.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2755 | μmol/L | 19.8204 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.035 | 167055.3273 | 312703.3448 | 33.25 | 68.6
52327 | 2021-03-22 13:38 | 46.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.262 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.038 | 167092.8527 | 312698.606 | 33.25 | 68.6
52337 | 2021-03-22 13:38 | 47.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2133 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.043 | 167136.4768 | 312701.8111 | 33.25 | 68.6
52347 | 2021-03-22 13:38 | 47.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1214 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.046 | 167166.4518 | 312690.7599 | 33.25 | 68.6
52357 | 2021-03-22 13:39 | 47.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1079 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.049 | 167195.5483 | 312697.537 | 33.25 | 68.6
52367 | 2021-03-22 13:39 | 48.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1079 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.049 | 167208.7991 | 312701.6432 | 33.25 | 68.6
52377 | 2021-03-22 13:39 | 48.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1471 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.049 | 167212.7934 | 312693.4626 | 33.25 | 68.6
52387 | 2021-03-22 13:40 | 48.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1552 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.053 | 167228.2085 | 312698.5332 | 33.25 | 68.6
52397 | 2021-03-22 13:40 | 49.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1025 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.056 | 167248.9074 | 312686.0753 | 33.25 | 68.6
52407 | 2021-03-22 13:40 | 49.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.8973 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.061 | 167280.3949 | 312682.2769 | 33.25 | 68.6
52417 | 2021-03-22 13:41 | 49.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9054 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.065 | 167315.3681 | 312677.6675 | 33.25 | 68.6
52427 | 2021-03-22 13:41 | 50.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.8569 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.07 | 167348.7854 | 312686.4812 | 33.25 | 68.6
52437 | 2021-03-22 13:41 | 50.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7692 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.075 | 167396.0303 | 312678.5335 | 33.25 | 68.6
52447 | 2021-03-22 13:42 | 50.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6425 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.08 | 167450.9282 | 312681.4023 | 33.25 | 68.6
52457 | 2021-03-22 13:42 | 51.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5981 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.087 | 167502.0498 | 312681.0429 | 33.25 | 68.6
52467 | 2021-03-22 13:42 | 51.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.376 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.093 | 167578.17 | 312680.7299 | 33.25 | 68.6
52477 | 2021-03-22 13:43 | 51.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1366 | μmol/L | 19.8204 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.1 | 167621.1214 | 312673.2356 | 33.25 | 68.6
52487 | 2021-03-22 13:43 | 52.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2833 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.105 | 167668.9064 | 312678.5992 | 33.25 | 68.6
52497 | 2021-03-22 13:43 | 52.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2565 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.111 | 167713.7115 | 312658.2402 | 33.25 | 68.6
52507 | 2021-03-22 13:44 | 52.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2256 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.115 | 167747.9804 | 312661.7516 | 33.25 | 68.6
52517 | 2021-03-22 13:44 | 53.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0953 | μmol/L | 19.7778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.118 | 167773.9088 | 312672.79 | 33.25 | 68.6
52527 | 2021-03-22 13:44 | 53.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1733 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.118 | 167781.565 | 312652.3082 | 33.25 | 68.6
52537 | 2021-03-22 13:45 | 53.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2676 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.126 | 167806.5782 | 312656.5377 | 33.25 | 68.6
52547 | 2021-03-22 13:45 | 54.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2153 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.129 | 167850.6437 | 312647.3116 | 33.25 | 68.6
52557 | 2021-03-22 13:45 | 54.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1454 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.133 | 167885.6312 | 312657.4767 | 33.25 | 68.6
52567 | 2021-03-22 13:46 | 54.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.9627 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.139 | 167929.9086 | 312653.2365 | 33.25 | 68.6
52577 | 2021-03-22 13:46 | 55.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7977 | μmol/L | 19.7535 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.144 | 167956.9991 | 312648.1346 | 33.25 | 68.6
52587 | 2021-03-22 13:46 | 55.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5805 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.152 | 168011.1117 | 312650.6596 | 33.25 | 68.6
52597 | 2021-03-22 13:47 | 55.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.602 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.153 | 168056.1898 | 312649.5794 | 33.25 | 68.6
52607 | 2021-03-22 13:47 | 56.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.515 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.158 | 168088.2372 | 312648.6073 | 33.25 | 68.6
52617 | 2021-03-22 13:47 | 56.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4884 | μmol/L | 19.7474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.164 | 168129.262 | 312645.9729 | 33.25 | 68.6
52627 | 2021-03-22 13:48 | 56.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4445 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.171 | 168200.0009 | 312643.1158 | 33.25 | 68.6
52637 | 2021-03-22 13:48 | 57.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.0204 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.182 | 168277.9991 | 312646.8927 | 33.25 | 68.6
52647 | 2021-03-22 13:48 | 57.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7002 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.196 | 168347.4491 | 312630.2803 | 33.25 | 68.6
52657 | 2021-03-22 13:49 | 57.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.528 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.197 | 168378.7813 | 312641.1473 | 33.25 | 68.6
52667 | 2021-03-22 13:49 | 58.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5963 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.202 | 168398.1386 | 312643.0704 | 33.25 | 68.6
52677 | 2021-03-22 13:49 | 58.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4925 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.208 | 168427.9692 | 312622.0915 | 33.25 | 68.6
52687 | 2021-03-22 13:50 | 58.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5995 | μmol/L | 19.7535 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.213 | 168455.4651 | 312638.4615 | 33.25 | 68.6
52697 | 2021-03-22 13:50 | 59.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8749 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.215 | 168490.3905 | 312638.3751 | 33.25 | 68.6
52707 | 2021-03-22 13:50 | 59.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6547 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.221 | 168516.0633 | 312632.3849 | 33.25 | 68.6
52717 | 2021-03-22 13:51 | 59.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5468 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.225 | 168563.6554 | 312644.5259 | 33.25 | 68.6
52727 | 2021-03-22 13:51 | 60.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4562 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.228 | 168606.9936 | 312645.0554 | 33.25 | 68.6
52737 | 2021-03-22 13:51 | 60.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.3311 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.233 | 168639.4558 | 312647.2531 | 33.25 | 68.6
52747 | 2021-03-22 13:52 | 60.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.2924 | μmol/L | 19.7474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.233 | 168677.4725 | 312650.7251 | 33.25 | 68.6
52757 | 2021-03-22 13:52 | 61.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.2102 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.24 | 168709.6452 | 312639.5548 | 33.25 | 68.6
52767 | 2021-03-22 13:52 | 61.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.9907 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.246 | 168749.0986 | 312632.6404 | 33.25 | 68.6
52777 | 2021-03-22 13:53 | 61.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.7929 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 168812.2428 | 312644.0527 | 33.25 | 68.6
52787 | 2021-03-22 13:53 | 62.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.7667 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.259 | 168860.3448 | 312655.3216 | 33.25 | 68.6
52797 | 2021-03-22 13:53 | 62.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6035 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.264 | 168907.1284 | 312658.7396 | 33.25 | 68.6
52807 | 2021-03-22 13:54 | 62.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5044 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.272 | 168971.2858 | 312665.3036 | 33.25 | 68.6
52817 | 2021-03-22 13:54 | 63.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3283 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.28 | 169029.1555 | 312651.2825 | 33.25 | 68.6
52827 | 2021-03-22 13:54 | 63.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.2081 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.287 | 169080.9385 | 312656.9395 | 33.25 | 68.6
52837 | 2021-03-22 13:55 | 63.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.2631 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.295 | 169123.2965 | 312657.8365 | 33.25 | 68.6
52847 | 2021-03-22 13:55 | 64.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3525 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.301 | 169182.7399 | 312660.11 | 33.25 | 68.6
52857 | 2021-03-22 13:55 | 64.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1382 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.309 | 169255.5 | 312651.4583 | 33.25 | 68.6
52867 | 2021-03-22 13:56 | 64.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.988 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.32 | 169312.9617 | 312648.1282 | 33.25 | 68.6
52877 | 2021-03-22 13:56 | 65.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.0134 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.323 | 169360.2813 | 312661.0125 | 33.25 | 68.6
52887 | 2021-03-22 13:56 | 65.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9147 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.331 | 169385.284 | 312645.3321 | 33.25 | 68.6
52897 | 2021-03-22 13:57 | 65.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7824 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.332 | 169407.9851 | 312645.0987 | 33.25 | 68.6
52907 | 2021-03-22 13:57 | 66.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7564 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.338 | 169442.2728 | 312645.9042 | 33.25 | 68.6
52917 | 2021-03-22 13:57 | 66.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6796 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.338 | 169477.4149 | 312650.2925 | 33.25 | 68.6
52927 | 2021-03-22 13:58 | 66.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6708 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.343 | 169505.0004 | 312642.5927 | 33.25 | 68.6
52937 | 2021-03-22 13:58 | 67.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6325 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.343 | 169533.2033 | 312653.4315 | 33.25 | 68.6
52947 | 2021-03-22 13:58 | 67.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.5682 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.349 | 169578.9655 | 312652.2525 | 33.25 | 68.6
52957 | 2021-03-22 13:59 | 67.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4144 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.358 | 169632.5602 | 312642.3699 | 33.25 | 68.6
52967 | 2021-03-22 13:59 | 68.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3502 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.364 | 169687.3891 | 312628.5939 | 33.25 | 68.6
52977 | 2021-03-22 13:59 | 68.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3244 | μmol/L | 19.6865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.37 | 169729.8201 | 312650.4026 | 33.25 | 68.6
52987 | 2021-03-22 14:00 | 68.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3073 | μmol/L | 19.6865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.371 | 169760.9677 | 312642.2296 | 33.25 | 68.6
52997 | 2021-03-22 14:00 | 69.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.1241 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.375 | 169785.8653 | 312652.7286 | 33.25 | 68.6
53007 | 2021-03-22 14:00 | 69.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.175 | μmol/L | 19.6804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.381 | 169809.4786 | 312644.5126 | 33.25 | 68.6
53017 | 2021-03-22 14:01 | 69.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3537 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.384 | 169849.864 | 312641.0219 | 33.25 | 68.6
53027 | 2021-03-22 14:01 | 70.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3792 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.387 | 169883.6724 | 312636.6213 | 33.25 | 68.6
53037 | 2021-03-22 14:01 | 70.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0427 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.391 | 169944.719 | 312649.3539 | 33.25 | 68.6
53047 | 2021-03-22 14:02 | 70.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0637 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.401 | 169988.2846 | 312641.9429 | 33.25 | 68.6
53057 | 2021-03-22 14:02 | 71.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.2041 | μmol/L | 19.6135 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.404 | 170012.0814 | 312652.4426 | 33.25 | 68.6
53067 | 2021-03-22 14:02 | 71.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0805 | μmol/L | 19.6196 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.409 | 170050.0472 | 312649.4592 | 33.25 | 68.6
53077 | 2021-03-22 14:03 | 71.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.9699 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.411 | 170082.1749 | 312638.7946 | 33.25 | 68.6
53087 | 2021-03-22 14:03 | 72.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.7487 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.415 | 170114.566 | 312644.3811 | 33.25 | 68.6
53097 | 2021-03-22 14:03 | 72.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4345 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.42 | 170150.1702 | 312636.5221 | 33.25 | 68.6
53107 | 2021-03-22 14:04 | 72.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2394 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.427 | 170213.1881 | 312648.0507 | 33.25 | 68.6
53117 | 2021-03-22 14:04 | 73.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2605 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.428 | 170241.1352 | 312647.0638 | 33.25 | 68.6
53127 | 2021-03-22 14:04 | 73.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2647 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.43 | 170262.708 | 312644.5142 | 33.25 | 68.6
53137 | 2021-03-22 14:05 | 73.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1969 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.434 | 170286.4724 | 312641.0178 | 33.25 | 68.6
53147 | 2021-03-22 14:05 | 74.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2264 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.439 | 170321.0463 | 312630.8537 | 33.25 | 68.6
53157 | 2021-03-22 14:05 | 74.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1416 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.444 | 170365.7397 | 312644.5506 | 33.25 | 68.6
53167 | 2021-03-22 14:06 | 74.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0907 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.447 | 170415.0492 | 312645.6795 | 33.25 | 68.6
53177 | 2021-03-22 14:06 | 75.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0271 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.453 | 170455.249 | 312646.5592 | 33.25 | 68.6
53187 | 2021-03-22 14:06 | 75.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1457 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.455 | 170485.834 | 312643.2926 | 33.25 | 68.6
53197 | 2021-03-22 14:07 | 75.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2092 | μmol/L | 19.6257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.458 | 170518.7298 | 312657.6777 | 33.25 | 68.6
53207 | 2021-03-22 14:07 | 76.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0863 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.463 | 170537.6542 | 312643.2889 | 33.25 | 68.6
53217 | 2021-03-22 14:07 | 76.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0312 | μmol/L | 19.6378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.464 | 170561.686 | 312646.3771 | 33.25 | 68.6
53227 | 2021-03-22 14:08 | 76.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0354 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.466 | 170565.2949 | 312636.4234 | 33.25 | 68.6
53237 | 2021-03-22 14:08 | 77.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.9254 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.468 | 170572.4269 | 312653.907 | 33.25 | 68.6
53247 | 2021-03-22 14:08 | 77.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.7773 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.47 | 170580.3173 | 312640.8622 | 33.25 | 68.6
53257 | 2021-03-22 14:09 | 77.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.79 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.467 | 170574.856 | 312624.5894 | 33.25 | 68.6
53267 | 2021-03-22 14:09 | 78.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.7435 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.472 | 170610.1649 | 312653.7652 | 33.25 | 68.6
53277 | 2021-03-22 14:09 | 78.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8407 | μmol/L | 19.6439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.473 | 170618.638 | 312640.2982 | 33.25 | 68.6
53287 | 2021-03-22 14:10 | 78.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8111 | μmol/L | 19.6378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.477 | 170632.1266 | 312654.2907 | 33.25 | 68.6
53297 | 2021-03-22 14:10 | 79.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8788 | μmol/L | 19.6378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.473 | 170627.7037 | 312641.5305 | 33.25 | 68.6
53307 | 2021-03-22 14:10 | 79.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8492 | μmol/L | 19.6317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.477 | 170666.5257 | 312648.2674 | 33.25 | 68.6
53317 | 2021-03-22 14:11 | 79.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.9931 | μmol/L | 19.6196 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.473 | 170645.0369 | 312648.9061 | 33.25 | 68.6
53327 | 2021-03-22 14:11 | 80.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8365 | μmol/L | 19.6257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.48 | 170686.5 | 312648.4473 | 33.25 | 68.6
53337 | 2021-03-22 14:11 | 80.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.3927 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.495 | 170773.9039 | 312645.0667 | 33.25 | 68.6
53347 | 2021-03-22 14:12 | 80.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2535 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.501 | 170815.232 | 312646.7314 | 33.25 | 68.6
53357 | 2021-03-22 14:12 | 81.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.321 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.497 | 170820.2543 | 312649.6649 | 33.25 | 68.6
53367 | 2021-03-22 14:12 | 81.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2746 | μmol/L | 19.6561 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.502 | 170837.7395 | 312639.0693 | 33.25 | 68.6
53377 | 2021-03-22 14:13 | 81.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.1102 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.505 | 170872.9264 | 312637.7246 | 33.25 | 68.6
53387 | 2021-03-22 14:13 | 82.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0933 | μmol/L | 19.6744 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.506 | 170862.889 | 312650.88 | 33.25 | 68.6
53397 | 2021-03-22 14:13 | 82.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.8028 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.512 | 170906.1666 | 312647.379 | 33.25 | 68.6
53407 | 2021-03-22 14:14 | 82.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7313 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.514 | 170949.3636 | 312649.9187 | 33.25 | 68.6
53417 | 2021-03-22 14:14 | 83.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.6346 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.522 | 170978.7058 | 312642.4844 | 33.25 | 68.6
53427 | 2021-03-22 14:14 | 83.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.5799 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.523 | 170994.42 | 312651.5978 | 33.25 | 68.6
53437 | 2021-03-22 14:15 | 83.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4791 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.529 | 171041.6341 | 312675.1236 | 33.25 | 68.6
53447 | 2021-03-22 14:15 | 84.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3741 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.533 | 171055.7799 | 312642.5967 | 33.25 | 68.6