## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50915 | 2021-03-22 12:51 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.627 | μmol/L | 19.5816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.845 | 114763.7053 | 303986.8495 | 30.45 | 114.2
50925 | 2021-03-22 12:51 | 0.32656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2729 | μmol/L | 19.6246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.849 | 114800.1936 | 304010.395 | 30.45 | 114.2
50935 | 2021-03-22 12:51 | 0.66027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1222 | μmol/L | 19.6246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.857 | 114831.8504 | 304012.6651 | 30.45 | 114.2
50945 | 2021-03-22 12:52 | 0.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3021 | μmol/L | 19.5938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.858 | 114839.4374 | 304011.3087 | 30.45 | 114.2
50955 | 2021-03-22 12:52 | 1.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0718 | μmol/L | 19.6061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.866 | 114848.2688 | 303991.1764 | 30.45 | 114.2
50965 | 2021-03-22 12:52 | 1.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2205 | μmol/L | 19.6123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.856 | 114816.1251 | 303992.5194 | 30.45 | 114.2
50975 | 2021-03-22 12:53 | 1.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9445 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.858 | 114817.5879 | 304004.1957 | 30.45 | 114.2
50985 | 2021-03-22 12:53 | 2.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8336 | μmol/L | 19.643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.866 | 114833.8142 | 303996.8011 | 30.45 | 114.2
50995 | 2021-03-22 12:53 | 2.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6248 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.875 | 114884.286 | 304003.105 | 30.45 | 114.2
51005 | 2021-03-22 12:54 | 2.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.535 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.884 | 114915.7977 | 303998.1575 | 30.45 | 114.2
51015 | 2021-03-22 12:54 | 3.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3848 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 114933.8339 | 303981.302 | 30.45 | 114.2
51025 | 2021-03-22 12:54 | 3.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3285 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.895 | 114944.498 | 303972.1729 | 30.45 | 114.2
51035 | 2021-03-22 12:55 | 3.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3848 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 114964.8605 | 303986.4689 | 30.45 | 114.2
51045 | 2021-03-22 12:55 | 4.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4098 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.897 | 114971.4879 | 303968.2125 | 30.45 | 114.2
51055 | 2021-03-22 12:55 | 4.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3723 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.899 | 114987.267 | 303961.0257 | 30.45 | 114.2
51065 | 2021-03-22 12:56 | 4.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4702 | μmol/L | 19.6061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.898 | 114990.4816 | 303955.3706 | 30.45 | 114.2
51075 | 2021-03-22 12:56 | 5.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1577 | μmol/L | 19.643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.902 | 114999.6071 | 303965.7628 | 30.45 | 114.2
51085 | 2021-03-22 12:56 | 5.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3723 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.899 | 114999.3508 | 303941.7469 | 30.45 | 114.2
51095 | 2021-03-22 12:57 | 5.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3764 | μmol/L | 19.6061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.903 | 115009.8221 | 303955.7347 | 30.45 | 114.2
51105 | 2021-03-22 12:57 | 6.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2285 | μmol/L | 19.6 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.913 | 115042.061 | 303950.5031 | 30.45 | 114.2
51115 | 2021-03-22 12:57 | 6.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1119 | μmol/L | 19.6123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.915 | 115061.9591 | 303953.9491 | 30.45 | 114.2
51125 | 2021-03-22 12:58 | 6.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.935 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.916 | 115070.693 | 303937.9504 | 30.45 | 114.2
51135 | 2021-03-22 12:58 | 7.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.012 | μmol/L | 19.6307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.914 | 115070.8849 | 303951.5996 | 30.45 | 114.2
51145 | 2021-03-22 12:58 | 7.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0536 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.916 | 115075.0089 | 303935.6539 | 30.45 | 114.2
51155 | 2021-03-22 12:59 | 7.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9226 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.923 | 115105.0239 | 303934.9543 | 30.45 | 114.2
51165 | 2021-03-22 12:59 | 8.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7563 | μmol/L | 19.6123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.934 | 115150.4278 | 303933.8274 | 30.45 | 114.2
51175 | 2021-03-22 12:59 | 8.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6692 | μmol/L | 19.5938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 115231.1903 | 303936.5861 | 30.45 | 114.2
51185 | 2021-03-22 13:00 | 8.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4825 | μmol/L | 19.5938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.955 | 115271.3739 | 303921.6542 | 30.45 | 114.2
51195 | 2021-03-22 13:00 | 9.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5843 | μmol/L | 19.5693 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 115285.8101 | 303919.1752 | 30.45 | 114.2
51205 | 2021-03-22 13:00 | 9.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6424 | μmol/L | 19.5631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.957 | 115284.0385 | 303911.7704 | 30.45 | 114.2
51215 | 2021-03-22 13:01 | 9.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7027 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 115286.0146 | 303908.4651 | 30.45 | 114.2
51225 | 2021-03-22 13:01 | 10.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5448 | μmol/L | 19.5754 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 115293.6581 | 303906.3282 | 30.45 | 114.2
51235 | 2021-03-22 13:01 | 10.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2938 | μmol/L | 19.6 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.963 | 115321.206 | 303902.8295 | 30.45 | 114.2
51245 | 2021-03-22 13:02 | 10.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2858 | μmol/L | 19.5693 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.974 | 115358.5028 | 303899.475 | 30.45 | 114.2
51255 | 2021-03-22 13:02 | 11.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3897 | μmol/L | 19.5385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.979 | 115394.77 | 303901.0876 | 30.45 | 114.2
51265 | 2021-03-22 13:02 | 11.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4916 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.982 | 115412.7313 | 303904.813 | 30.45 | 114.2
51275 | 2021-03-22 13:03 | 11.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4751 | μmol/L | 19.5078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.985 | 115424.4371 | 303879.1822 | 30.45 | 114.2
51285 | 2021-03-22 13:03 | 12.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2865 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.993 | 115443.8607 | 303877.4164 | 30.45 | 114.2
51295 | 2021-03-22 13:03 | 12.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2284 | μmol/L | 19.5201 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.994 | 115471.1102 | 303894.732 | 30.45 | 114.2
51305 | 2021-03-22 13:04 | 12.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0916 | μmol/L | 19.5385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.995 | 115475.6636 | 303892.8303 | 30.45 | 114.2
51315 | 2021-03-22 13:04 | 13.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3259 | μmol/L | 19.5078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.993 | 115483.1587 | 303888.077 | 30.45 | 114.2
51325 | 2021-03-22 13:04 | 13.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3116 | μmol/L | 19.4955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.998 | 115510.4827 | 303878.0084 | 30.45 | 114.2
51335 | 2021-03-22 13:05 | 13.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9656 | μmol/L | 19.5263 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.006 | 115541.1544 | 303885.8649 | 30.45 | 114.2
51345 | 2021-03-22 13:05 | 14.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.7961 | μmol/L | 19.5324 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 115557.2947 | 303885.3087 | 30.45 | 114.2
51355 | 2021-03-22 13:05 | 14.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.8398 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 115573.2978 | 303871.7837 | 30.45 | 114.2
51365 | 2021-03-22 13:06 | 14.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2941 | μmol/L | 19.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 115581.4442 | 303878.6638 | 30.45 | 114.2
51375 | 2021-03-22 13:06 | 15.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0991 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 115592.0936 | 303885.0824 | 30.45 | 114.2
51385 | 2021-03-22 13:06 | 15.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.7884 | μmol/L | 19.5017 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.024 | 115615.4971 | 303869.2582 | 30.45 | 114.2
51395 | 2021-03-22 13:07 | 15.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.307 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 115637.6105 | 303863.8474 | 30.45 | 114.2
51405 | 2021-03-22 13:07 | 16.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3092 | μmol/L | 19.5447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.035 | 115673.9231 | 303877.8377 | 30.45 | 114.2
51415 | 2021-03-22 13:07 | 16.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3899 | μmol/L | 19.5263 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.037 | 115684.6258 | 303875.9924 | 30.45 | 114.2
51425 | 2021-03-22 13:08 | 16.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.5841 | μmol/L | 19.5017 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.035 | 115691.812 | 303867.8773 | 30.45 | 114.2
51435 | 2021-03-22 13:08 | 17.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.7273 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 115708.2659 | 303869.0634 | 30.45 | 114.2
51445 | 2021-03-22 13:08 | 17.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.4467 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 115748.9936 | 303858.6111 | 30.45 | 114.2
51455 | 2021-03-22 13:09 | 17.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.2777 | μmol/L | 19.4771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 115785.4914 | 303861.2682 | 30.45 | 114.2
51465 | 2021-03-22 13:09 | 18.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.2777 | μmol/L | 19.4771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 115803.4605 | 303858.8808 | 30.45 | 114.2
51475 | 2021-03-22 13:09 | 18.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.4556 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 115828.747 | 303851.5902 | 30.45 | 114.2
51485 | 2021-03-22 13:10 | 18.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3325 | μmol/L | 19.4279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.074 | 115867.4547 | 303859.4481 | 30.45 | 114.2
51495 | 2021-03-22 13:10 | 19.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1592 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.077 | 115876.7164 | 303851.5516 | 30.45 | 114.2
51505 | 2021-03-22 13:10 | 19.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0992 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 115871.8475 | 303850.8252 | 30.45 | 114.2
51515 | 2021-03-22 13:11 | 19.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.097 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.074 | 115886.3114 | 303831.8627 | 30.45 | 114.2
51525 | 2021-03-22 13:11 | 20.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.2422 | μmol/L | 19.4218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 115894.2323 | 303846.6564 | 30.45 | 114.2
51535 | 2021-03-22 13:11 | 20.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.4735 | μmol/L | 19.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.077 | 115897.9424 | 303840.7601 | 30.45 | 114.2
51545 | 2021-03-22 13:12 | 20.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.286 | μmol/L | 19.4034 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.085 | 115916.6302 | 303846.5965 | 30.45 | 114.2
51555 | 2021-03-22 13:12 | 21.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1799 | μmol/L | 19.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.078 | 115898.984 | 303835.6921 | 30.45 | 114.2
51565 | 2021-03-22 13:12 | 21.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0807 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.077 | 115899.9354 | 303843.0211 | 30.45 | 114.2
51575 | 2021-03-22 13:13 | 21.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1799 | μmol/L | 19.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.078 | 115901.0834 | 303845.881 | 30.45 | 114.2
51585 | 2021-03-22 13:13 | 22.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1777 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 115893.8103 | 303835.0436 | 30.45 | 114.2
51595 | 2021-03-22 13:13 | 22.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1177 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.075 | 115893.1452 | 303834.5624 | 30.45 | 114.2
51605 | 2021-03-22 13:14 | 22.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0274 | μmol/L | 19.4525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.082 | 115920.6401 | 303856.523 | 30.45 | 114.2
51615 | 2021-03-22 13:14 | 23.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.8913 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.083 | 115945.2013 | 303833.1303 | 30.45 | 114.2
51625 | 2021-03-22 13:14 | 23.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6053 | μmol/L | 19.4955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.09 | 115949.9924 | 303830.9468 | 30.45 | 114.2
51635 | 2021-03-22 13:15 | 23.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6238 | μmol/L | 19.4955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.089 | 115965.4802 | 303836.5952 | 30.45 | 114.2
51645 | 2021-03-22 13:15 | 24.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6098 | μmol/L | 19.4832 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.094 | 115982.8238 | 303837.3533 | 30.45 | 114.2
51655 | 2021-03-22 13:15 | 24.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.626 | μmol/L | 19.4894 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.091 | 115985.8643 | 303842.1152 | 30.45 | 114.2
51665 | 2021-03-22 13:16 | 24.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6009 | μmol/L | 19.5078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 115970.5713 | 303840.4889 | 30.45 | 114.2
51675 | 2021-03-22 13:16 | 25.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4511 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 115976.2928 | 303830.7199 | 30.45 | 114.2
51685 | 2021-03-22 13:16 | 25.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4879 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.09 | 115981.395 | 303833.5719 | 30.45 | 114.2
51695 | 2021-03-22 13:17 | 25.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3404 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 116003.7761 | 303830.8921 | 30.45 | 114.2
51705 | 2021-03-22 13:17 | 26.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.336 | μmol/L | 19.5263 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.094 | 116020.1924 | 303838.1125 | 30.45 | 114.2
51715 | 2021-03-22 13:17 | 26.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2903 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.088 | 116004.0183 | 303820.3023 | 30.45 | 114.2
51725 | 2021-03-22 13:18 | 26.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.1775 | μmol/L | 19.557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 116041.3262 | 303827.224 | 30.45 | 114.2
51735 | 2021-03-22 13:18 | 27.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.0714 | μmol/L | 19.5447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.102 | 116073.2967 | 303828.3361 | 30.45 | 114.2
51745 | 2021-03-22 13:18 | 27.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.883 | μmol/L | 19.557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 116096.8384 | 303814.6317 | 30.45 | 114.2
51755 | 2021-03-22 13:19 | 27.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.7727 | μmol/L | 19.557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 116126.309 | 303811.9673 | 30.45 | 114.2
51765 | 2021-03-22 13:19 | 28.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.6948 | μmol/L | 19.5693 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 116134.19 | 303822.6987 | 30.45 | 114.2
51775 | 2021-03-22 13:19 | 28.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.5067 | μmol/L | 19.5816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.12 | 116161.4565 | 303803.0245 | 30.45 | 114.2
51785 | 2021-03-22 13:20 | 28.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.3027 | μmol/L | 19.5877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 116205.6768 | 303810.8705 | 30.45 | 114.2
51795 | 2021-03-22 13:20 | 29.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.1539 | μmol/L | 19.5938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.135 | 116254.0071 | 303804.1159 | 30.45 | 114.2
51805 | 2021-03-22 13:20 | 29.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.8244 | μmol/L | 19.5938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.153 | 116309.6769 | 303799.4901 | 30.45 | 114.2
51815 | 2021-03-22 13:21 | 29.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.8017 | μmol/L | 19.6061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.15 | 116342.3388 | 303808.4738 | 30.45 | 114.2
51825 | 2021-03-22 13:21 | 30.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.7491 | μmol/L | 19.6 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 116374.071 | 303806.3245 | 30.45 | 114.2
51835 | 2021-03-22 13:21 | 30.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.4706 | μmol/L | 19.6123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 116413.8389 | 303788.4049 | 30.45 | 114.2
51845 | 2021-03-22 13:22 | 30.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.3772 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 116445.0233 | 303780.1458 | 30.45 | 114.2
51855 | 2021-03-22 13:22 | 31.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.1197 | μmol/L | 19.6246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.181 | 116516.7423 | 303794.1331 | 30.45 | 114.2
51865 | 2021-03-22 13:22 | 31.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.0695 | μmol/L | 19.6123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.188 | 116562.2388 | 303792.244 | 30.45 | 114.2
51875 | 2021-03-22 13:23 | 31.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.8489 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.198 | 116610.1832 | 303789.7112 | 30.45 | 114.2
51885 | 2021-03-22 13:23 | 32.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.7579 | μmol/L | 19.6184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 116641.2068 | 303782.7298 | 30.45 | 114.2
51895 | 2021-03-22 13:23 | 32.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.6467 | μmol/L | 19.6246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 116683.023 | 303784.1104 | 30.45 | 114.2
51905 | 2021-03-22 13:24 | 32.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.3495 | μmol/L | 19.643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.217 | 116721.221 | 303776.3702 | 30.45 | 114.2
51915 | 2021-03-22 13:24 | 33.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.3336 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.22 | 116740.8493 | 303771.9593 | 30.45 | 114.2
51925 | 2021-03-22 13:24 | 33.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.1885 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.228 | 116783.9808 | 303781.3112 | 30.45 | 114.2
51935 | 2021-03-22 13:25 | 33.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.116 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.232 | 116803.7229 | 303762.1479 | 30.45 | 114.2
51945 | 2021-03-22 13:25 | 34.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.7473 | μmol/L | 19.6553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.246 | 116877.6859 | 303767.0138 | 30.45 | 114.2
51955 | 2021-03-22 13:25 | 34.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.7496 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.248 | 116908.8222 | 303773.7247 | 30.45 | 114.2
51965 | 2021-03-22 13:26 | 34.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.6231 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.255 | 116941.2927 | 303763.7215 | 30.45 | 114.2
51975 | 2021-03-22 13:26 | 35.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.4763 | μmol/L | 19.6553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.261 | 116964.7993 | 303768.5096 | 30.45 | 114.2
51985 | 2021-03-22 13:26 | 35.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.4763 | μmol/L | 19.6553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.261 | 116964.6784 | 303752.6267 | 30.45 | 114.2
51995 | 2021-03-22 13:27 | 35.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5327 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.26 | 116970.203 | 303761.2685 | 30.45 | 114.2
52005 | 2021-03-22 13:27 | 36.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.4425 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.265 | 116979.7823 | 303757.995 | 30.45 | 114.2
52015 | 2021-03-22 13:27 | 36.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.3139 | μmol/L | 19.6553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.27 | 117011.9906 | 303756.3327 | 30.45 | 114.2
52025 | 2021-03-22 13:28 | 36.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.244 | μmol/L | 19.6491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.276 | 117040.793 | 303750.3225 | 30.45 | 114.2
52035 | 2021-03-22 13:28 | 37.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.0593 | μmol/L | 19.6614 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.282 | 117094.8897 | 303753.0987 | 30.45 | 114.2
52045 | 2021-03-22 13:28 | 37.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.8028 | μmol/L | 19.6737 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.292 | 117146.9171 | 303743.0306 | 30.45 | 114.2
52055 | 2021-03-22 13:29 | 37.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.5085 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.302 | 117190.9888 | 303747.8524 | 30.45 | 114.2
52065 | 2021-03-22 13:29 | 38.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.3649 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.31 | 117255.2156 | 303742.0186 | 30.45 | 114.2
52075 | 2021-03-22 13:29 | 38.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.2214 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.318 | 117305.0009 | 303747.173 | 30.45 | 114.2
52085 | 2021-03-22 13:30 | 38.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.9885 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.331 | 117370.1209 | 303737.3819 | 30.45 | 114.2
52095 | 2021-03-22 13:30 | 39.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.7737 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.343 | 117416.4283 | 303736.5119 | 30.45 | 114.2
52105 | 2021-03-22 13:30 | 39.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.6665 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.349 | 117460.3345 | 303743.6729 | 30.45 | 114.2
52115 | 2021-03-22 13:31 | 39.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.6307 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 117490.5804 | 303740.5 | 30.45 | 114.2
52125 | 2021-03-22 13:31 | 40.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.3583 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.362 | 117553.7286 | 303750.4942 | 30.45 | 114.2
52135 | 2021-03-22 13:31 | 40.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.3094 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 117590.0299 | 303733.2863 | 30.45 | 114.2
52145 | 2021-03-22 13:32 | 40.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.0663 | μmol/L | 19.7229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.372 | 117599.5212 | 303746.9037 | 30.45 | 114.2
52155 | 2021-03-22 13:32 | 41.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.1087 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.376 | 117641.7519 | 303732.0805 | 30.45 | 114.2
52165 | 2021-03-22 13:32 | 41.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.9617 | μmol/L | 19.7167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.38 | 117666.5678 | 303741.253 | 30.45 | 114.2
52175 | 2021-03-22 13:33 | 41.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.9462 | μmol/L | 19.7106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.383 | 117655.0176 | 303736.5025 | 30.45 | 114.2
52185 | 2021-03-22 13:33 | 42.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.984 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.383 | 117674.7847 | 303736.7508 | 30.45 | 114.2
52195 | 2021-03-22 13:33 | 42.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.7906 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.396 | 117758.8961 | 303745.7727 | 30.45 | 114.2
52205 | 2021-03-22 13:34 | 42.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6885 | μmol/L | 19.686 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 117801.2521 | 303741.6393 | 30.45 | 114.2
52215 | 2021-03-22 13:34 | 43.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6128 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 117800.8373 | 303734.4885 | 30.45 | 114.2
52225 | 2021-03-22 13:34 | 43.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6105 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.404 | 117806.5504 | 303746.4226 | 30.45 | 114.2
52235 | 2021-03-22 13:35 | 43.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5618 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 117836.5653 | 303730.1737 | 30.45 | 114.2
52245 | 2021-03-22 13:35 | 44.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.271 | μmol/L | 19.7106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.421 | 117884.0211 | 303741.3186 | 30.45 | 114.2
52255 | 2021-03-22 13:35 | 44.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.1824 | μmol/L | 19.7106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.426 | 117921.829 | 303741.9652 | 30.45 | 114.2
52265 | 2021-03-22 13:36 | 44.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.9675 | μmol/L | 19.7167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.436 | 117972.1383 | 303732.6559 | 30.45 | 114.2
52275 | 2021-03-22 13:36 | 45.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.939 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.444 | 118019.0338 | 303734.1801 | 30.45 | 114.2
52285 | 2021-03-22 13:36 | 45.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7245 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.454 | 118086.5715 | 303736.0754 | 30.45 | 114.2
52295 | 2021-03-22 13:37 | 45.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5808 | μmol/L | 19.7106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.46 | 118119.945 | 303725.0112 | 30.45 | 114.2
52305 | 2021-03-22 13:37 | 46.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6738 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.459 | 118128.4075 | 303730.2142 | 30.45 | 114.2
52315 | 2021-03-22 13:37 | 46.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6584 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.462 | 118119.1524 | 303730.1507 | 30.45 | 114.2
52325 | 2021-03-22 13:38 | 46.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6008 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.461 | 118108.8053 | 303718.3251 | 30.45 | 114.2
52335 | 2021-03-22 13:38 | 47.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5148 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.468 | 118142.1091 | 303729.4981 | 30.45 | 114.2
52345 | 2021-03-22 13:38 | 47.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.4265 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.473 | 118168.6277 | 303726.6589 | 30.45 | 114.2
52355 | 2021-03-22 13:39 | 47.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3031 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.48 | 118196.2724 | 303721.783 | 30.45 | 114.2
52365 | 2021-03-22 13:39 | 48.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1774 | μmol/L | 19.7045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.485 | 118222.3854 | 303718.7823 | 30.45 | 114.2
52375 | 2021-03-22 13:39 | 48.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1996 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.488 | 118238.4512 | 303714.5363 | 30.45 | 114.2
52385 | 2021-03-22 13:40 | 48.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.074 | μmol/L | 19.6983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.493 | 118258.7745 | 303721.8935 | 30.45 | 114.2
52395 | 2021-03-22 13:40 | 49.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2466 | μmol/L | 19.6614 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.496 | 118286.2245 | 303711.8555 | 30.45 | 114.2
52405 | 2021-03-22 13:40 | 49.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.4017 | μmol/L | 19.6246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.5 | 118306.2163 | 303705.8067 | 30.45 | 114.2
52415 | 2021-03-22 13:41 | 49.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3065 | μmol/L | 19.643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.499 | 118335.1811 | 303706.6374 | 30.45 | 114.2
52425 | 2021-03-22 13:41 | 50.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.0505 | μmol/L | 19.6676 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.505 | 118347.6718 | 303694.9281 | 30.45 | 114.2
52435 | 2021-03-22 13:41 | 50.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9425 | μmol/L | 19.6737 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.509 | 118392.8099 | 303696.7099 | 30.45 | 114.2
52445 | 2021-03-22 13:42 | 50.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9144 | μmol/L | 19.6553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.517 | 118416.9836 | 303697.5599 | 30.45 | 114.2
52455 | 2021-03-22 13:42 | 51.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.8512 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.527 | 118451.9053 | 303700.3699 | 30.45 | 114.2
52465 | 2021-03-22 13:42 | 51.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.7984 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.53 | 118487.5862 | 303705.4235 | 30.45 | 114.2
52475 | 2021-03-22 13:43 | 51.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.8359 | μmol/L | 19.6307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.53 | 118496.0522 | 303700.3378 | 30.45 | 114.2
52485 | 2021-03-22 13:43 | 52.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.7106 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.535 | 118508.0445 | 303693.6411 | 30.45 | 114.2
52495 | 2021-03-22 13:43 | 52.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6754 | μmol/L | 19.6369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.537 | 118537.8584 | 303688.5804 | 30.45 | 114.2
52505 | 2021-03-22 13:44 | 52.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6124 | μmol/L | 19.6307 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.543 | 118552.1369 | 303700.9444 | 30.45 | 114.2
52515 | 2021-03-22 13:44 | 53.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.59 | μmol/L | 19.6307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.544 | 118575.3386 | 303693.8913 | 30.45 | 114.2
52525 | 2021-03-22 13:44 | 53.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.4919 | μmol/L | 19.6246 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 118595.5493 | 303687.5711 | 30.45 | 114.2
52535 | 2021-03-22 13:45 | 53.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3294 | μmol/L | 19.6369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.557 | 118620.0603 | 303676.1817 | 30.45 | 114.2
52545 | 2021-03-22 13:45 | 54.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.2043 | μmol/L | 19.643 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.562 | 118642.9852 | 303697.8977 | 30.45 | 114.2
52555 | 2021-03-22 13:45 | 54.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3891 | μmol/L | 19.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.56 | 118646.5858 | 303692.3477 | 30.45 | 114.2
52565 | 2021-03-22 13:46 | 54.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5015 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.56 | 118635.0318 | 303686.7043 | 30.45 | 114.2
52575 | 2021-03-22 13:46 | 55.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5916 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.557 | 118630.2844 | 303683.3731 | 30.45 | 114.2
52585 | 2021-03-22 13:46 | 55.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5916 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.557 | 118626.0922 | 303674.0431 | 30.45 | 114.2
52595 | 2021-03-22 13:47 | 55.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5015 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.56 | 118640.1492 | 303686.7547 | 30.45 | 114.2
52605 | 2021-03-22 13:47 | 56.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.4011 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.57 | 118671.6473 | 303684.2624 | 30.45 | 114.2
52615 | 2021-03-22 13:47 | 56.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3835 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.571 | 118717.9204 | 303685.7912 | 30.45 | 114.2
52625 | 2021-03-22 13:48 | 56.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0985 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.583 | 118747.1707 | 303679.5264 | 30.45 | 114.2
52635 | 2021-03-22 13:48 | 57.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0834 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.586 | 118772.8964 | 303689.1351 | 30.45 | 114.2
52645 | 2021-03-22 13:48 | 57.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.9984 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.593 | 118802.9144 | 303693.0841 | 30.45 | 114.2
52655 | 2021-03-22 13:49 | 57.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8935 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.599 | 118833.2238 | 303686.4835 | 30.45 | 114.2
52665 | 2021-03-22 13:49 | 58.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7838 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.601 | 118863.1978 | 303680.9417 | 30.45 | 114.2
52675 | 2021-03-22 13:49 | 58.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7687 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.604 | 118886.6004 | 303680.5819 | 30.45 | 114.2
52685 | 2021-03-22 13:50 | 58.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5767 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.615 | 118936.4646 | 303681.0311 | 30.45 | 114.2
52695 | 2021-03-22 13:50 | 59.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5268 | μmol/L | 19.5754 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.624 | 118982.5717 | 303685.0578 | 30.45 | 114.2
52705 | 2021-03-22 13:50 | 59.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.3699 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.629 | 119014.9098 | 303688.1005 | 30.45 | 114.2
52715 | 2021-03-22 13:51 | 59.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1387 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.638 | 119052.4408 | 303677.3885 | 30.45 | 114.2
52725 | 2021-03-22 13:51 | 60.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0343 | μmol/L | 19.6 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.644 | 119078.6898 | 303676.9645 | 30.45 | 114.2
52735 | 2021-03-22 13:51 | 60.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2703 | μmol/L | 19.5631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.643 | 119100.7566 | 303691.2007 | 30.45 | 114.2
52745 | 2021-03-22 13:52 | 60.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.434 | μmol/L | 19.514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.651 | 119117.3323 | 303676.4478 | 30.45 | 114.2
52755 | 2021-03-22 13:52 | 61.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4365 | μmol/L | 19.5078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.653 | 119137.058 | 303677.391 | 30.45 | 114.2
52765 | 2021-03-22 13:52 | 61.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1084 | μmol/L | 19.5447 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.659 | 119160.7148 | 303676.3265 | 30.45 | 114.2
52775 | 2021-03-22 13:53 | 61.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2028 | μmol/L | 19.5263 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.66 | 119181.0827 | 303682.7058 | 30.45 | 114.2
52785 | 2021-03-22 13:53 | 62.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.332 | μmol/L | 19.5078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.659 | 119175.595 | 303686.1869 | 30.45 | 114.2
52795 | 2021-03-22 13:53 | 62.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2351 | μmol/L | 19.5324 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.656 | 119189.4296 | 303693.8193 | 30.45 | 114.2
52805 | 2021-03-22 13:54 | 62.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9818 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.662 | 119207.9335 | 303686.261 | 30.45 | 114.2
52815 | 2021-03-22 13:54 | 63.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7438 | μmol/L | 19.5754 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.669 | 119239.7282 | 303694.4094 | 30.45 | 114.2
52825 | 2021-03-22 13:54 | 63.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7438 | μmol/L | 19.5754 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.669 | 119279.4692 | 303696.0807 | 30.45 | 114.2
52835 | 2021-03-22 13:55 | 63.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7487 | μmol/L | 19.5631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.673 | 119262.0049 | 303693.3115 | 30.45 | 114.2
52845 | 2021-03-22 13:55 | 64.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8801 | μmol/L | 19.5385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.674 | 119286.8729 | 303706.3833 | 30.45 | 114.2
52855 | 2021-03-22 13:55 | 64.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8454 | μmol/L | 19.5385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.676 | 119293.4414 | 303703.3221 | 30.45 | 114.2
52865 | 2021-03-22 13:56 | 64.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8255 | μmol/L | 19.5447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.675 | 119293.2066 | 303702.6772 | 30.45 | 114.2
52875 | 2021-03-22 13:56 | 65.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6544 | μmol/L | 19.5385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.687 | 119345.3957 | 303694.1085 | 30.45 | 114.2
52885 | 2021-03-22 13:56 | 65.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5132 | μmol/L | 19.5447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.693 | 119388.8804 | 303696.8695 | 30.45 | 114.2
52895 | 2021-03-22 13:57 | 65.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.4241 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.696 | 119387.2885 | 303687.618 | 30.45 | 114.2
52905 | 2021-03-22 13:57 | 66.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3672 | μmol/L | 19.5631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.695 | 119410.5401 | 303692.2261 | 30.45 | 114.2
52915 | 2021-03-22 13:57 | 66.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3029 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.703 | 119428.4513 | 303680.6312 | 30.45 | 114.2
52925 | 2021-03-22 13:58 | 66.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3103 | μmol/L | 19.5324 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.709 | 119453.5117 | 303692.1239 | 30.45 | 114.2
52935 | 2021-03-22 13:58 | 67.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5677 | μmol/L | 19.4955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.707 | 119464.8049 | 303685.8704 | 30.45 | 114.2
52945 | 2021-03-22 13:58 | 67.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6867 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.713 | 119479.0238 | 303681.9826 | 30.45 | 114.2
52955 | 2021-03-22 13:59 | 67.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8902 | μmol/L | 19.4279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.712 | 119500.8598 | 303685.8255 | 30.45 | 114.2
52965 | 2021-03-22 13:59 | 68.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.548 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.721 | 119517.9645 | 303684.6301 | 30.45 | 114.2
52975 | 2021-03-22 13:59 | 68.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.4589 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.724 | 119547.3111 | 303683.4283 | 30.45 | 114.2
52985 | 2021-03-22 14:00 | 68.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2311 | μmol/L | 19.4832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.731 | 119602.7082 | 303697.8529 | 30.45 | 114.2
52995 | 2021-03-22 14:00 | 69.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.947 | μmol/L | 19.5017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 119629.6874 | 303699.0356 | 30.45 | 114.2
53005 | 2021-03-22 14:00 | 69.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9916 | μmol/L | 19.4771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 119676.0193 | 303696.197 | 30.45 | 114.2
53015 | 2021-03-22 14:01 | 69.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8387 | μmol/L | 19.4709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.758 | 119737.0796 | 303692.2382 | 30.45 | 114.2
53025 | 2021-03-22 14:01 | 70.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6834 | μmol/L | 19.4709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.767 | 119797.5551 | 303680.912 | 30.45 | 114.2
53035 | 2021-03-22 14:01 | 70.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7578 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.771 | 119817.5572 | 303692.3129 | 30.45 | 114.2
53045 | 2021-03-22 14:02 | 70.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.965 | μmol/L | 19.4156 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.77 | 119817.6684 | 303687.1866 | 30.45 | 114.2
53055 | 2021-03-22 14:02 | 71.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.943 | μmol/L | 19.4156 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.771 | 119820.4669 | 303696.6034 | 30.45 | 114.2
53065 | 2021-03-22 14:02 | 71.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6741 | μmol/L | 19.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.778 | 119861.4784 | 303698.8433 | 30.45 | 114.2
53075 | 2021-03-22 14:03 | 71.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.3787 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.793 | 119942.2718 | 303697.1285 | 30.45 | 114.2
53085 | 2021-03-22 14:03 | 72.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2706 | μmol/L | 19.4279 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.806 | 120016.3637 | 303683.7337 | 30.45 | 114.2
53095 | 2021-03-22 14:03 | 72.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1507 | μmol/L | 19.4156 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.817 | 120064.7003 | 303687.9232 | 30.45 | 114.2
53105 | 2021-03-22 14:04 | 72.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0794 | μmol/L | 19.4218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.819 | 120082.1453 | 303683.0958 | 30.45 | 114.2
53115 | 2021-03-22 14:04 | 73.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.8435 | μmol/L | 19.4525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.822 | 120129.7199 | 303687.0811 | 30.45 | 114.2
53125 | 2021-03-22 14:04 | 73.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.8117 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.826 | 120141.572 | 303688.6973 | 30.45 | 114.2
53135 | 2021-03-22 14:05 | 73.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6155 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.831 | 120151.6427 | 303690.2049 | 30.45 | 114.2
53145 | 2021-03-22 14:05 | 74.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7063 | μmol/L | 19.4525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.83 | 120160.4687 | 303690.8162 | 30.45 | 114.2
53155 | 2021-03-22 14:05 | 74.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7603 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.829 | 120161.633 | 303688.8872 | 30.45 | 114.2
53165 | 2021-03-22 14:06 | 74.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6009 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.834 | 120177.7873 | 303682.2141 | 30.45 | 114.2
53175 | 2021-03-22 14:06 | 75.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.5076 | μmol/L | 19.4771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.833 | 120187.8805 | 303685.1487 | 30.45 | 114.2
53185 | 2021-03-22 14:06 | 75.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4759 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.837 | 120209.9824 | 303691.0402 | 30.45 | 114.2
53195 | 2021-03-22 14:07 | 75.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.5152 | μmol/L | 19.4587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.839 | 120194.9101 | 303683.8463 | 30.45 | 114.2
53205 | 2021-03-22 14:07 | 76.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7749 | μmol/L | 19.4525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.826 | 120171.3026 | 303693.154 | 30.45 | 114.2
53215 | 2021-03-22 14:07 | 76.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7825 | μmol/L | 19.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.832 | 120152.79 | 303678.8183 | 30.45 | 114.2
53225 | 2021-03-22 14:08 | 76.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0699 | μmol/L | 19.4034 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.826 | 120151.7527 | 303688.7699 | 30.45 | 114.2
53235 | 2021-03-22 14:08 | 77.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9472 | μmol/L | 19.4095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.831 | 120162.7667 | 303702.1714 | 30.45 | 114.2
53245 | 2021-03-22 14:08 | 77.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9128 | μmol/L | 19.4095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.833 | 120197.3398 | 303687.5247 | 30.45 | 114.2
53255 | 2021-03-22 14:09 | 77.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.8245 | μmol/L | 19.4156 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.836 | 120210.354 | 303689.1626 | 30.45 | 114.2
53265 | 2021-03-22 14:09 | 78.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.5375 | μmol/L | 19.4464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.842 | 120236.597 | 303690.9025 | 30.45 | 114.2
53275 | 2021-03-22 14:09 | 78.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.2731 | μmol/L | 19.4648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120282.2668 | 303692.1178 | 30.45 | 114.2
53285 | 2021-03-22 14:10 | 78.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.2192 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.852 | 120311.7976 | 303694.6454 | 30.45 | 114.2
53295 | 2021-03-22 14:10 | 79.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.2021 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.853 | 120304.6234 | 303694.5874 | 30.45 | 114.2
53305 | 2021-03-22 14:10 | 79.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.2705 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.849 | 120293.1896 | 303686.7778 | 30.45 | 114.2
53315 | 2021-03-22 14:11 | 79.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1996 | μmol/L | 19.4771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120308.0434 | 303694.8118 | 30.45 | 114.2
53325 | 2021-03-22 14:11 | 80.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.2363 | μmol/L | 19.4709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120312.777 | 303699.7943 | 30.45 | 114.2
53335 | 2021-03-22 14:11 | 80.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1996 | μmol/L | 19.4771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120310.589 | 303700.457 | 30.45 | 114.2
53345 | 2021-03-22 14:12 | 80.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1799 | μmol/L | 19.4832 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.85 | 120318.7116 | 303693.4472 | 30.45 | 114.2
53355 | 2021-03-22 14:12 | 81.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.0527 | μmol/L | 19.5017 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120328.1032 | 303690.1892 | 30.45 | 114.2
53365 | 2021-03-22 14:12 | 81.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9989 | μmol/L | 19.5078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.852 | 120333.0892 | 303691.1131 | 30.45 | 114.2
53375 | 2021-03-22 14:13 | 81.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9793 | μmol/L | 19.514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 120323.4249 | 303692.3041 | 30.45 | 114.2
53385 | 2021-03-22 14:13 | 82.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6987 | μmol/L | 19.5324 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.861 | 120384.7276 | 303689.9915 | 30.45 | 114.2
53395 | 2021-03-22 14:13 | 82.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5061 | μmol/L | 19.5447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.868 | 120420.7908 | 303688.7697 | 30.45 | 114.2
53405 | 2021-03-22 14:14 | 82.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5717 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.862 | 120409.9403 | 303705.0876 | 30.45 | 114.2
53415 | 2021-03-22 14:14 | 83.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5377 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.864 | 120424.3851 | 303689.3445 | 30.45 | 114.2
53425 | 2021-03-22 14:14 | 83.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5717 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.862 | 120403.3302 | 303683.9661 | 30.45 | 114.2
53435 | 2021-03-22 14:15 | 83.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4866 | μmol/L | 19.5508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.867 | 120437.8098 | 303691.4524 | 30.45 | 114.2
53445 | 2021-03-22 14:15 | 84.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2772 | μmol/L | 19.5631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.875 | 120477.5235 | 303700.0178 | 30.45 | 114.2