## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50916 | 2021-03-22 12:51 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.0722 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.567 | 160811.4366 | 298882.0631 | 59.9307 | 49.4
50926 | 2021-03-22 12:51 | 0.33888 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.9377 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.576 | 160871.0936 | 298880.0647 | 59.9307 | 49.4
50936 | 2021-03-22 12:51 | 0.67171 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6843 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.589 | 160960.7737 | 298858.022 | 59.9307 | 49.4
50946 | 2021-03-22 12:52 | 1.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.4075 | μmol/L | 19.54 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.599 | 161050.566 | 298873.2798 | 59.9307 | 49.4
50956 | 2021-03-22 12:52 | 1.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2735 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.608 | 161110.4555 | 298856.7365 | 59.9307 | 49.4
50966 | 2021-03-22 12:52 | 1.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2541 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.609 | 161137.8074 | 298853.2338 | 59.9307 | 49.4
50976 | 2021-03-22 12:53 | 2.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1764 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.613 | 161145.5049 | 298836.8826 | 59.9307 | 49.4
50986 | 2021-03-22 12:53 | 2.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1807 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.617 | 161157.7513 | 298821.686 | 59.9307 | 49.4
50996 | 2021-03-22 12:53 | 2.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.239 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.614 | 161131.0824 | 298829.043 | 59.9307 | 49.4
51006 | 2021-03-22 12:54 | 3.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2584 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.613 | 161113.6824 | 298822.5157 | 59.9307 | 49.4
51016 | 2021-03-22 12:54 | 3.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2195 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.615 | 161125.1174 | 298821.5089 | 59.9307 | 49.4
51026 | 2021-03-22 12:54 | 3.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2001 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.616 | 161136.2025 | 298809.9395 | 59.9307 | 49.4
51036 | 2021-03-22 12:55 | 4.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.144 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.621 | 161186.9764 | 298802.3393 | 59.9307 | 49.4
51046 | 2021-03-22 12:55 | 4.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.9887 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.629 | 161229.5928 | 298814.8015 | 59.9307 | 49.4
51056 | 2021-03-22 12:55 | 4.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.952 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.633 | 161263.0185 | 298800.3574 | 59.9307 | 49.4
51066 | 2021-03-22 12:56 | 5.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8529 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.636 | 161290.9745 | 298787.6779 | 59.9307 | 49.4
51076 | 2021-03-22 12:56 | 5.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8335 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.637 | 161278.7912 | 298782.8046 | 59.9307 | 49.4
51086 | 2021-03-22 12:56 | 5.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.9154 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.637 | 161282.9851 | 298790.9701 | 59.9307 | 49.4
51096 | 2021-03-22 12:57 | 6.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7991 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.643 | 161318.0647 | 298792.8755 | 59.9307 | 49.4
51106 | 2021-03-22 12:57 | 6.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7237 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.649 | 161355.5364 | 298784.5773 | 59.9307 | 49.4
51116 | 2021-03-22 12:57 | 6.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5882 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.656 | 161425.9 | 298791.5341 | 59.9307 | 49.4
51126 | 2021-03-22 12:58 | 7.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4527 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.663 | 161470.3853 | 298776.718 | 59.9307 | 49.4
51136 | 2021-03-22 12:58 | 7.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.3173 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.67 | 161493.9944 | 298776.2552 | 59.9307 | 49.4
51146 | 2021-03-22 12:58 | 7.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5345 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.663 | 161459.2508 | 298784.1743 | 59.9307 | 49.4
51156 | 2021-03-22 12:59 | 8.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4958 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.665 | 161467.2508 | 298785.421 | 59.9307 | 49.4
51166 | 2021-03-22 12:59 | 8.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.498 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.667 | 161505.9874 | 298791.4451 | 59.9307 | 49.4
51176 | 2021-03-22 12:59 | 8.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4057 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.676 | 161537.8807 | 298771.9508 | 59.9307 | 49.4
51186 | 2021-03-22 13:00 | 9.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2466 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.68 | 161565.7816 | 298757.1159 | 59.9307 | 49.4
51196 | 2021-03-22 13:00 | 9.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2681 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.681 | 161549.744 | 298758.6042 | 59.9307 | 49.4
51206 | 2021-03-22 13:00 | 9.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2273 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.681 | 161551.4542 | 298760.4426 | 59.9307 | 49.4
51216 | 2021-03-22 13:01 | 10.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1693 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.684 | 161594.4697 | 298734.7773 | 59.9307 | 49.4
51226 | 2021-03-22 13:01 | 10.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1158 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 161654.3834 | 298742.2182 | 59.9307 | 49.4
51236 | 2021-03-22 13:01 | 10.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9636 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.701 | 161715.0525 | 298754.9624 | 59.9307 | 49.4
51246 | 2021-03-22 13:02 | 11.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.891 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.709 | 161773.7711 | 298748.9664 | 59.9307 | 49.4
51256 | 2021-03-22 13:02 | 11.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7753 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.715 | 161800.2464 | 298735.6241 | 59.9307 | 49.4
51266 | 2021-03-22 13:02 | 11.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6983 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.719 | 161837.8962 | 298732.0508 | 59.9307 | 49.4
51276 | 2021-03-22 13:03 | 12.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6042 | μmol/L | 19.4413 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.726 | 161872.0653 | 298744.9166 | 59.9307 | 49.4
51286 | 2021-03-22 13:03 | 12.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6302 | μmol/L | 19.4227 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 161899.5121 | 298746.9345 | 59.9307 | 49.4
51296 | 2021-03-22 13:03 | 12.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5702 | μmol/L | 19.4289 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.732 | 161931.1825 | 298739.7858 | 59.9307 | 49.4
51306 | 2021-03-22 13:04 | 13.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7526 | μmol/L | 19.4042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 161923.0067 | 298738.312 | 59.9307 | 49.4
51316 | 2021-03-22 13:04 | 13.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6971 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.736 | 161955.1797 | 298758.8548 | 59.9307 | 49.4
51326 | 2021-03-22 13:04 | 13.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4978 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.74 | 161961.641 | 298726.5767 | 59.9307 | 49.4
51336 | 2021-03-22 13:05 | 14.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4016 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.745 | 161997.9488 | 298730.9668 | 59.9307 | 49.4
51346 | 2021-03-22 13:05 | 14.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3892 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.752 | 162055.5389 | 298727.0576 | 59.9307 | 49.4
51356 | 2021-03-22 13:05 | 14.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3339 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 162108.1352 | 298744.4943 | 59.9307 | 49.4
51366 | 2021-03-22 13:06 | 15.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1802 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.765 | 162160.5686 | 298728.4896 | 59.9307 | 49.4
51376 | 2021-03-22 13:06 | 15.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1057 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 162201.1655 | 298731.8337 | 59.9307 | 49.4
51386 | 2021-03-22 13:06 | 15.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.9906 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 162249.4998 | 298701.5263 | 59.9307 | 49.4
51396 | 2021-03-22 13:07 | 16.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.861 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 162303.3467 | 298705.2507 | 59.9307 | 49.4
51406 | 2021-03-22 13:07 | 16.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.6671 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.796 | 162375.1084 | 298713.3731 | 59.9307 | 49.4
51416 | 2021-03-22 13:07 | 16.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.5714 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.801 | 162431.8263 | 298716.7239 | 59.9307 | 49.4
51426 | 2021-03-22 13:08 | 17.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.4757 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.806 | 162482.0995 | 298709.8031 | 59.9307 | 49.4
51436 | 2021-03-22 13:08 | 17.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.3801 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.811 | 162511.8417 | 298696.4058 | 59.9307 | 49.4
51446 | 2021-03-22 13:08 | 17.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.2082 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 162581.8935 | 298708.3106 | 59.9307 | 49.4
51456 | 2021-03-22 13:09 | 18.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.0508 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 162603.4365 | 298686.1798 | 59.9307 | 49.4
51466 | 2021-03-22 13:09 | 18.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.9126 | μmol/L | 19.4042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.827 | 162615.4938 | 298687.1569 | 59.9307 | 49.4
51476 | 2021-03-22 13:09 | 18.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.8196 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.834 | 162663.9963 | 298703.0106 | 59.9307 | 49.4
51486 | 2021-03-22 13:10 | 19.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.729 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.843 | 162700.1301 | 298692.4011 | 59.9307 | 49.4
51496 | 2021-03-22 13:10 | 19.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.7481 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.842 | 162727.6141 | 298692.9932 | 59.9307 | 49.4
51506 | 2021-03-22 13:10 | 19.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.7504 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.844 | 162756.2595 | 298704.7037 | 59.9307 | 49.4
51516 | 2021-03-22 13:11 | 20.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.6933 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.847 | 162765.8417 | 298660.4434 | 59.9307 | 49.4
51526 | 2021-03-22 13:11 | 20.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.6742 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.848 | 162784.166 | 298697.4668 | 59.9307 | 49.4
51536 | 2021-03-22 13:11 | 20.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.5386 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.853 | 162812.6968 | 298697.2194 | 59.9307 | 49.4
51546 | 2021-03-22 13:12 | 21.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.4839 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.858 | 162858.8446 | 298685.5928 | 59.9307 | 49.4
51556 | 2021-03-22 13:12 | 21.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.4482 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.862 | 162890.9537 | 298675.7856 | 59.9307 | 49.4
51566 | 2021-03-22 13:12 | 21.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.3341 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.868 | 162929.6983 | 298679.1641 | 59.9307 | 49.4
51576 | 2021-03-22 13:13 | 22.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.3365 | μmol/L | 19.3672 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.87 | 162963.5587 | 298687.6801 | 59.9307 | 49.4
51586 | 2021-03-22 13:13 | 22.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.9639 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.879 | 163017.2575 | 298676.3805 | 59.9307 | 49.4
51596 | 2021-03-22 13:13 | 22.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.8714 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.886 | 163087.6418 | 298693.4345 | 59.9307 | 49.4
51606 | 2021-03-22 13:14 | 23.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.7388 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.893 | 163130.0947 | 298683.6194 | 59.9307 | 49.4
51616 | 2021-03-22 13:14 | 23.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.7222 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.896 | 163165.3334 | 298673.1346 | 59.9307 | 49.4
51626 | 2021-03-22 13:14 | 23.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.4903 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.904 | 163229.0389 | 298666.6394 | 59.9307 | 49.4
51636 | 2021-03-22 13:15 | 24.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.2964 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.91 | 163282.9964 | 298676.599 | 59.9307 | 49.4
51646 | 2021-03-22 13:15 | 24.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.2397 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.913 | 163299.2436 | 298660.5349 | 59.9307 | 49.4
51656 | 2021-03-22 13:15 | 24.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.2373 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.911 | 163305.5222 | 298666.2479 | 59.9307 | 49.4
51666 | 2021-03-22 13:16 | 25.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.2421 | μmol/L | 19.4042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.915 | 163332.0056 | 298675.2267 | 59.9307 | 49.4
51676 | 2021-03-22 13:16 | 25.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.3862 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.918 | 163357.3995 | 298676.8005 | 59.9307 | 49.4
51686 | 2021-03-22 13:16 | 25.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.1878 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.92 | 163392.2373 | 298672.7184 | 59.9307 | 49.4
51696 | 2021-03-22 13:17 | 26.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.9164 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.928 | 163420.8617 | 298659.7955 | 59.9307 | 49.4
51706 | 2021-03-22 13:17 | 26.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.5605 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.932 | 163452.5823 | 298652.9144 | 59.9307 | 49.4
51716 | 2021-03-22 13:17 | 26.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.4664 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.937 | 163504.3179 | 298656.1855 | 59.9307 | 49.4
51726 | 2021-03-22 13:18 | 27.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.2359 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.945 | 163564.1204 | 298657.5542 | 59.9307 | 49.4
51736 | 2021-03-22 13:18 | 27.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1608 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.949 | 163612.773 | 298657.9315 | 59.9307 | 49.4
51746 | 2021-03-22 13:18 | 27.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.0105 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.957 | 163666.938 | 298656.1756 | 59.9307 | 49.4
51756 | 2021-03-22 13:19 | 28.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.9377 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.963 | 163701.0144 | 298656.2039 | 59.9307 | 49.4
51766 | 2021-03-22 13:19 | 28.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8579 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.963 | 163739.3951 | 298654.4793 | 59.9307 | 49.4
51776 | 2021-03-22 13:19 | 28.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6469 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.97 | 163781.7449 | 298664.7315 | 59.9307 | 49.4
51786 | 2021-03-22 13:20 | 29.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6353 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.977 | 163813.4113 | 298628.3803 | 59.9307 | 49.4
51796 | 2021-03-22 13:20 | 29.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5978 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.979 | 163855.6407 | 298639.2881 | 59.9307 | 49.4
51806 | 2021-03-22 13:20 | 29.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4385 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.979 | 163879.3142 | 298644.9871 | 59.9307 | 49.4
51816 | 2021-03-22 13:21 | 30.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3239 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.983 | 163908.8534 | 298638.3566 | 59.9307 | 49.4
51826 | 2021-03-22 13:21 | 30.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3123 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.99 | 163913.2076 | 298635.2017 | 59.9307 | 49.4
51836 | 2021-03-22 13:21 | 30.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.331 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.989 | 163928.7143 | 298634.135 | 59.9307 | 49.4
51846 | 2021-03-22 13:22 | 31.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0971 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.993 | 163958.9106 | 298625.875 | 59.9307 | 49.4
51856 | 2021-03-22 13:22 | 31.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0808 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.996 | 163995.2445 | 298634.9365 | 59.9307 | 49.4
51866 | 2021-03-22 13:22 | 31.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0224 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.997 | 164030.1805 | 298612.4039 | 59.9307 | 49.4
51876 | 2021-03-22 13:23 | 32.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9314 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.004 | 164071.9001 | 298617.6378 | 59.9307 | 49.4
51886 | 2021-03-22 13:23 | 32.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.74 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.01 | 164114.3937 | 298620.3903 | 59.9307 | 49.4
51896 | 2021-03-22 13:23 | 32.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6491 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.017 | 164158.0049 | 298623.226 | 59.9307 | 49.4
51906 | 2021-03-22 13:24 | 33.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4767 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.022 | 164193.0267 | 298622.5336 | 59.9307 | 49.4
51916 | 2021-03-22 13:24 | 33.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5001 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.025 | 164234.8583 | 298630.5086 | 59.9307 | 49.4
51926 | 2021-03-22 13:24 | 33.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.386 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.029 | 164269.4232 | 298617.0849 | 59.9307 | 49.4
51936 | 2021-03-22 13:25 | 34.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1766 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.036 | 164295.2827 | 298614.7451 | 59.9307 | 49.4
51946 | 2021-03-22 13:25 | 34.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1208 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.039 | 164326.1902 | 298610.4238 | 59.9307 | 49.4
51956 | 2021-03-22 13:25 | 34.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1999 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.039 | 164344.9447 | 298616.8793 | 59.9307 | 49.4
51966 | 2021-03-22 13:26 | 35.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.2605 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.04 | 164368.1963 | 298585.8264 | 59.9307 | 49.4
51976 | 2021-03-22 13:26 | 35.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.0279 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.044 | 164384.524 | 298608.8411 | 59.9307 | 49.4
51986 | 2021-03-22 13:26 | 35.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9931 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.048 | 164404.6396 | 298617.4265 | 59.9307 | 49.4
51996 | 2021-03-22 13:27 | 36.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9374 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.051 | 164425.3254 | 298620.7073 | 59.9307 | 49.4
52006 | 2021-03-22 13:27 | 36.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8978 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.051 | 164434.7317 | 298599.576 | 59.9307 | 49.4
52016 | 2021-03-22 13:27 | 36.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8284 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.059 | 164461.8639 | 298600.4402 | 59.9307 | 49.4
52026 | 2021-03-22 13:28 | 37.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7913 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.061 | 164479.6324 | 298595.6519 | 59.9307 | 49.4
52036 | 2021-03-22 13:28 | 37.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7123 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.061 | 164513.5847 | 298593.7968 | 59.9307 | 49.4
52046 | 2021-03-22 13:28 | 37.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6985 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.066 | 164530.3646 | 298587.8084 | 59.9307 | 49.4
52056 | 2021-03-22 13:29 | 38.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.759 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.067 | 164555.5657 | 298582.6702 | 59.9307 | 49.4
52066 | 2021-03-22 13:29 | 38.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5269 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.071 | 164567.1221 | 298571.986 | 59.9307 | 49.4
52076 | 2021-03-22 13:29 | 38.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5502 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.074 | 164593.6213 | 298586.3771 | 59.9307 | 49.4
52086 | 2021-03-22 13:30 | 39.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4528 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.075 | 164626.9919 | 298582.3627 | 59.9307 | 49.4
52096 | 2021-03-22 13:30 | 39.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3417 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.081 | 164650.4631 | 298602.254 | 59.9307 | 49.4
52106 | 2021-03-22 13:30 | 39.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.365 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.084 | 164681.5213 | 298571.1593 | 59.9307 | 49.4
52116 | 2021-03-22 13:31 | 40.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3119 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.089 | 164722.5088 | 298589.6032 | 59.9307 | 49.4
52126 | 2021-03-22 13:31 | 40.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.0113 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.101 | 164768.0537 | 298596.0663 | 59.9307 | 49.4
52136 | 2021-03-22 13:31 | 40.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9165 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.104 | 164816.8977 | 298598.8398 | 59.9307 | 49.4
52146 | 2021-03-22 13:32 | 41.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9374 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.105 | 164836.1197 | 298610.4812 | 59.9307 | 49.4
52156 | 2021-03-22 13:32 | 41.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.8266 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.111 | 164862.3834 | 298591.017 | 59.9307 | 49.4
52166 | 2021-03-22 13:32 | 41.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.7897 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.113 | 164918.6034 | 298593.3052 | 59.9307 | 49.4
52176 | 2021-03-22 13:33 | 42.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.5427 | μmol/L | 19.54 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.12 | 164968.8847 | 298583.6706 | 59.9307 | 49.4
52186 | 2021-03-22 13:33 | 42.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.4138 | μmol/L | 19.54 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.127 | 165024.5543 | 298584.0792 | 59.9307 | 49.4
52196 | 2021-03-22 13:33 | 42.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.2065 | μmol/L | 19.5524 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.134 | 165085.0309 | 298597.775 | 59.9307 | 49.4
52206 | 2021-03-22 13:34 | 43.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.0937 | μmol/L | 19.5585 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.138 | 165114.8695 | 298604.3918 | 59.9307 | 49.4
52216 | 2021-03-22 13:34 | 43.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.0729 | μmol/L | 19.5647 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.137 | 165123.5161 | 298600.2005 | 59.9307 | 49.4
52226 | 2021-03-22 13:34 | 43.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9602 | μmol/L | 19.5709 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.141 | 165120.255 | 298592.467 | 59.9307 | 49.4
52236 | 2021-03-22 13:35 | 44.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9786 | μmol/L | 19.5709 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.14 | 165141.8744 | 298580.9466 | 59.9307 | 49.4
52246 | 2021-03-22 13:35 | 44.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8109 | μmol/L | 19.577 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.147 | 165173.6782 | 298584.6648 | 59.9307 | 49.4
52256 | 2021-03-22 13:35 | 44.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7974 | μmol/L | 19.5647 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165220.3988 | 298591.9181 | 59.9307 | 49.4
52266 | 2021-03-22 13:36 | 45.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7032 | μmol/L | 19.5709 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.155 | 165249.712 | 298588.6604 | 59.9307 | 49.4
52276 | 2021-03-22 13:36 | 45.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6323 | μmol/L | 19.5647 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.161 | 165279.3367 | 298577.5874 | 59.9307 | 49.4
52286 | 2021-03-22 13:36 | 45.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7105 | μmol/L | 19.5524 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.161 | 165288.4813 | 298573.6631 | 59.9307 | 49.4
52296 | 2021-03-22 13:37 | 46.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.768 | μmol/L | 19.5462 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.16 | 165300.5048 | 298585.2854 | 59.9307 | 49.4
52306 | 2021-03-22 13:37 | 46.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7912 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.163 | 165319.4194 | 298584.0344 | 59.9307 | 49.4
52316 | 2021-03-22 13:37 | 46.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.686 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.173 | 165338.3014 | 298568.3327 | 59.9307 | 49.4
52326 | 2021-03-22 13:38 | 47.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6836 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.171 | 165384.2047 | 298585.4291 | 59.9307 | 49.4
52336 | 2021-03-22 13:38 | 47.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.576 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.179 | 165430.2343 | 298578.7066 | 59.9307 | 49.4
52346 | 2021-03-22 13:38 | 47.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.4478 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.186 | 165478.4017 | 298570.6125 | 59.9307 | 49.4
52356 | 2021-03-22 13:39 | 48.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3587 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.193 | 165534.0553 | 298563.2625 | 59.9307 | 49.4
52366 | 2021-03-22 13:39 | 48.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.155 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.202 | 165600.8046 | 298583.1077 | 59.9307 | 49.4
52376 | 2021-03-22 13:39 | 48.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9698 | μmol/L | 19.5277 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.21 | 165664.8831 | 298592.3462 | 59.9307 | 49.4
52386 | 2021-03-22 13:40 | 49.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9382 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.216 | 165725.8512 | 298576.6137 | 59.9307 | 49.4
52396 | 2021-03-22 13:40 | 49.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6827 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.23 | 165803.0293 | 298588.448 | 59.9307 | 49.4
52406 | 2021-03-22 13:40 | 49.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6123 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.236 | 165850.2319 | 298574.4416 | 59.9307 | 49.4
52416 | 2021-03-22 13:41 | 50.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6927 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.238 | 165876.8874 | 298558.1959 | 59.9307 | 49.4
52426 | 2021-03-22 13:41 | 50.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5054 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.244 | 165922.0598 | 298555.3668 | 59.9307 | 49.4
52436 | 2021-03-22 13:41 | 50.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.4194 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.253 | 166021.5317 | 298572.1291 | 59.9307 | 49.4
52446 | 2021-03-22 13:42 | 51.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0506 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.269 | 166132.9288 | 298567.1579 | 59.9307 | 49.4
52456 | 2021-03-22 13:42 | 51.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7395 | μmol/L | 19.5092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.284 | 166237.2124 | 298557.606 | 59.9307 | 49.4
52466 | 2021-03-22 13:42 | 51.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4084 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.298 | 166340.5927 | 298569.9004 | 59.9307 | 49.4
52476 | 2021-03-22 13:43 | 52.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2767 | μmol/L | 19.5338 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.301 | 166410.8401 | 298568.5839 | 59.9307 | 49.4
52486 | 2021-03-22 13:43 | 52.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2093 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.309 | 166452.1369 | 298556.2996 | 59.9307 | 49.4
52496 | 2021-03-22 13:43 | 52.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1034 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.317 | 166490.1619 | 298558.9535 | 59.9307 | 49.4
52506 | 2021-03-22 13:44 | 53.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0672 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.319 | 166533.6292 | 298559.5482 | 59.9307 | 49.4
52516 | 2021-03-22 13:44 | 53.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1265 | μmol/L | 19.503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.32 | 166538.6952 | 298576.6402 | 59.9307 | 49.4
52526 | 2021-03-22 13:44 | 53.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9563 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.323 | 166546.8533 | 298551.7346 | 59.9307 | 49.4
52536 | 2021-03-22 13:45 | 54.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.866 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.328 | 166568.2437 | 298544.8872 | 59.9307 | 49.4
52546 | 2021-03-22 13:45 | 54.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9227 | μmol/L | 19.5153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.327 | 166607.4807 | 298553.4491 | 59.9307 | 49.4
52556 | 2021-03-22 13:45 | 54.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8942 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.335 | 166615.6569 | 298553.2968 | 59.9307 | 49.4
52566 | 2021-03-22 13:46 | 55.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9148 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.336 | 166643.238 | 298564.7137 | 59.9307 | 49.4
52576 | 2021-03-22 13:46 | 55.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9379 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.339 | 166670.4963 | 298537.8162 | 59.9307 | 49.4
52586 | 2021-03-22 13:46 | 55.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0719 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.338 | 166674.1959 | 298540.6038 | 59.9307 | 49.4
52596 | 2021-03-22 13:47 | 56.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9791 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.341 | 166669.1268 | 298559.2902 | 59.9307 | 49.4
52606 | 2021-03-22 13:47 | 56.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.961 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.342 | 166682.9288 | 298552.8598 | 59.9307 | 49.4
52616 | 2021-03-22 13:47 | 56.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9816 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.343 | 166700.8992 | 298580.604 | 59.9307 | 49.4
52626 | 2021-03-22 13:48 | 57.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.7961 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.349 | 166747.9293 | 298583.3815 | 59.9307 | 49.4
52636 | 2021-03-22 13:48 | 57.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6158 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.359 | 166803.1066 | 298605.939 | 59.9307 | 49.4
52646 | 2021-03-22 13:48 | 57.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3175 | μmol/L | 19.4968 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.367 | 166855.9541 | 298588.0355 | 59.9307 | 49.4
52656 | 2021-03-22 13:49 | 58.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3561 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.367 | 166883.0435 | 298593.9396 | 59.9307 | 49.4
52666 | 2021-03-22 13:49 | 58.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.2122 | μmol/L | 19.4906 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.375 | 166910.289 | 298551.3839 | 59.9307 | 49.4
52676 | 2021-03-22 13:49 | 58.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.1428 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.381 | 166969.6873 | 298551.2108 | 59.9307 | 49.4
52686 | 2021-03-22 13:50 | 59.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.1633 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.382 | 167014.6551 | 298553.2344 | 59.9307 | 49.4
52696 | 2021-03-22 13:50 | 59.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.053 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.386 | 167027.0605 | 298520.673 | 59.9307 | 49.4
52706 | 2021-03-22 13:50 | 59.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.094 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.388 | 167049.0596 | 298535.9438 | 59.9307 | 49.4
52716 | 2021-03-22 13:51 | 60.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.9683 | μmol/L | 19.4721 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.395 | 167093.8759 | 298512.528 | 59.9307 | 49.4
52726 | 2021-03-22 13:51 | 60.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.8017 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.4 | 167117.9314 | 298525.3754 | 59.9307 | 49.4
52736 | 2021-03-22 13:51 | 60.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7146 | μmol/L | 19.4783 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.407 | 167171.7992 | 298535.3242 | 59.9307 | 49.4
52746 | 2021-03-22 13:52 | 61.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7761 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.41 | 167214.0121 | 298530.5115 | 59.9307 | 49.4
52756 | 2021-03-22 13:52 | 61.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6506 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.417 | 167260.4542 | 298551.2022 | 59.9307 | 49.4
52766 | 2021-03-22 13:52 | 61.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6558 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.421 | 167296.0354 | 298547.4654 | 59.9307 | 49.4
52776 | 2021-03-22 13:53 | 62.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7763 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.425 | 167334.0414 | 298550.2276 | 59.9307 | 49.4
52786 | 2021-03-22 13:53 | 62.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6893 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.432 | 167375.4115 | 298558.956 | 59.9307 | 49.4
52796 | 2021-03-22 13:53 | 62.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.464 | μmol/L | 19.4351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.436 | 167409.9341 | 298567.9572 | 59.9307 | 49.4
52806 | 2021-03-22 13:54 | 63.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3105 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.436 | 167420.055 | 298535.7167 | 59.9307 | 49.4
52816 | 2021-03-22 13:54 | 63.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2747 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.438 | 167455.6265 | 298570.7803 | 59.9307 | 49.4
52826 | 2021-03-22 13:54 | 63.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2237 | μmol/L | 19.4536 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.443 | 167479.4842 | 298551.5416 | 59.9307 | 49.4
52836 | 2021-03-22 13:55 | 64.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2289 | μmol/L | 19.4413 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.447 | 167507.0658 | 298573.2106 | 59.9307 | 49.4
52846 | 2021-03-22 13:55 | 64.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.045 | μmol/L | 19.4536 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.453 | 167531.6331 | 298564.0923 | 59.9307 | 49.4
52856 | 2021-03-22 13:55 | 64.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8257 | μmol/L | 19.4659 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.461 | 167589.4386 | 298565.4765 | 59.9307 | 49.4
52866 | 2021-03-22 13:56 | 65.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8487 | μmol/L | 19.4536 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.464 | 167609.708 | 298561.7501 | 59.9307 | 49.4
52876 | 2021-03-22 13:56 | 65.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8513 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.466 | 167631.6187 | 298554.9763 | 59.9307 | 49.4
52886 | 2021-03-22 13:56 | 65.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8387 | μmol/L | 19.4351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.471 | 167674.4064 | 298539.4433 | 59.9307 | 49.4
52896 | 2021-03-22 13:57 | 66.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7495 | μmol/L | 19.4351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.476 | 167726.259 | 298550.4227 | 59.9307 | 49.4
52906 | 2021-03-22 13:57 | 66.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7165 | μmol/L | 19.4289 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.48 | 167752.0568 | 298542.1307 | 59.9307 | 49.4
52916 | 2021-03-22 13:57 | 66.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7013 | μmol/L | 19.4227 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.483 | 167788.127 | 298550.7642 | 59.9307 | 49.4
52926 | 2021-03-22 13:58 | 67.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6096 | μmol/L | 19.4289 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.486 | 167819.373 | 298560.7513 | 59.9307 | 49.4
52936 | 2021-03-22 13:58 | 67.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6353 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.491 | 167852.0926 | 298548.6411 | 59.9307 | 49.4
52946 | 2021-03-22 13:58 | 67.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7474 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.489 | 167829.1344 | 298537.898 | 59.9307 | 49.4
52956 | 2021-03-22 13:59 | 68.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7653 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.488 | 167826.9407 | 298551.4909 | 59.9307 | 49.4
52966 | 2021-03-22 13:59 | 68.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.694 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.492 | 167842.453 | 298533.2392 | 59.9307 | 49.4
52976 | 2021-03-22 13:59 | 68.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5667 | μmol/L | 19.4042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.497 | 167877.5853 | 298549.0424 | 59.9307 | 49.4
52986 | 2021-03-22 14:00 | 69.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5159 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.502 | 167918.4011 | 298550.4184 | 59.9307 | 49.4
52996 | 2021-03-22 14:00 | 69.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4296 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.509 | 167962.4064 | 298533.1827 | 59.9307 | 49.4
53006 | 2021-03-22 14:00 | 69.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3993 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.515 | 168013.3656 | 298532.2666 | 59.9307 | 49.4
53016 | 2021-03-22 14:01 | 70.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3309 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.521 | 168081.4135 | 298546.0685 | 59.9307 | 49.4
53026 | 2021-03-22 14:01 | 70.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.186 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.527 | 168136.5901 | 298524.1023 | 59.9307 | 49.4
53036 | 2021-03-22 14:01 | 70.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.9349 | μmol/L | 19.3857 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.539 | 168195.1905 | 298555.1438 | 59.9307 | 49.4
53046 | 2021-03-22 14:02 | 71.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.887 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.546 | 168268.1914 | 298542.2803 | 59.9307 | 49.4
53056 | 2021-03-22 14:02 | 71.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.8392 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.553 | 168320.3454 | 298549.4688 | 59.9307 | 49.4
53066 | 2021-03-22 14:02 | 71.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.7914 | μmol/L | 19.3487 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.56 | 168386.5271 | 298550.962 | 59.9307 | 49.4
53076 | 2021-03-22 14:03 | 72.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.6116 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.568 | 168429.8768 | 298538.16 | 59.9307 | 49.4
53086 | 2021-03-22 14:03 | 72.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.485 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.573 | 168462.8209 | 298541.9011 | 59.9307 | 49.4
53096 | 2021-03-22 14:03 | 72.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.5054 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.574 | 168504.277 | 298535.9775 | 59.9307 | 49.4
53106 | 2021-03-22 14:04 | 73.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3843 | μmol/L | 19.3487 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.583 | 168554.8207 | 298548.38 | 59.9307 | 49.4
53116 | 2021-03-22 14:04 | 73.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.372 | μmol/L | 19.3363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.588 | 168592.6986 | 298547.2443 | 59.9307 | 49.4
53126 | 2021-03-22 14:04 | 73.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2483 | μmol/L | 19.3363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.595 | 168647.8657 | 298535.8809 | 59.9307 | 49.4
53136 | 2021-03-22 14:05 | 74.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2388 | μmol/L | 19.3178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.602 | 168691.0028 | 298556.0638 | 59.9307 | 49.4
53146 | 2021-03-22 14:05 | 74.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2591 | μmol/L | 19.3116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.603 | 168701.172 | 298549.2919 | 59.9307 | 49.4
53156 | 2021-03-22 14:05 | 74.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.027 | μmol/L | 19.3178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.614 | 168785.4164 | 298539.6336 | 59.9307 | 49.4
53166 | 2021-03-22 14:06 | 75.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.787 | μmol/L | 19.3425 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.619 | 168848.945 | 298559.2481 | 59.9307 | 49.4
53176 | 2021-03-22 14:06 | 75.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6028 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.623 | 168895.7702 | 298550.9613 | 59.9307 | 49.4
53186 | 2021-03-22 14:06 | 75.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.4648 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 168934.3426 | 298531.5401 | 59.9307 | 49.4
53196 | 2021-03-22 14:07 | 76.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.4472 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 168959.0431 | 298543.3533 | 59.9307 | 49.4
53206 | 2021-03-22 14:07 | 76.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.3188 | μmol/L | 19.3672 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.637 | 168969.1636 | 298531.9388 | 59.9307 | 49.4
53216 | 2021-03-22 14:07 | 76.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.3012 | μmol/L | 19.3672 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.638 | 169007.153 | 298530.9753 | 59.9307 | 49.4
53226 | 2021-03-22 14:08 | 77.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.1458 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.649 | 169080.4299 | 298541.891 | 59.9307 | 49.4
53236 | 2021-03-22 14:08 | 77.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.023 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.656 | 169120.196 | 298554.5436 | 59.9307 | 49.4
53246 | 2021-03-22 14:08 | 77.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.0784 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.655 | 169159.3349 | 298536.3942 | 59.9307 | 49.4
53256 | 2021-03-22 14:09 | 78.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.9529 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.66 | 169191.5107 | 298557.4982 | 59.9307 | 49.4
53266 | 2021-03-22 14:09 | 78.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.8827 | μmol/L | 19.361 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.664 | 169234.3878 | 298542.2727 | 59.9307 | 49.4
53276 | 2021-03-22 14:09 | 78.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.7224 | μmol/L | 19.3672 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.671 | 169261.5776 | 298545.1888 | 59.9307 | 49.4
53286 | 2021-03-22 14:10 | 79.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.6698 | μmol/L | 19.3672 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.674 | 169293.1989 | 298540.5747 | 59.9307 | 49.4
53296 | 2021-03-22 14:10 | 79.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.4113 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.678 | 169333.2273 | 298545.7396 | 59.9307 | 49.4
53306 | 2021-03-22 14:10 | 79.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.4288 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.677 | 169330.8097 | 298548.1926 | 59.9307 | 49.4
53316 | 2021-03-22 14:11 | 80.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.2836 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.681 | 169359.0441 | 298533.357 | 59.9307 | 49.4
53326 | 2021-03-22 14:11 | 80.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.1586 | μmol/L | 19.4166 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.686 | 169406.8905 | 298551.0605 | 59.9307 | 49.4
53336 | 2021-03-22 14:11 | 80.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.1291 | μmol/L | 19.4042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.692 | 169466.4069 | 298538.0317 | 59.9307 | 49.4
53346 | 2021-03-22 14:12 | 81.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.1695 | μmol/L | 19.3919 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.694 | 169501.103 | 298556.2209 | 59.9307 | 49.4
53356 | 2021-03-22 14:12 | 81.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.9345 | μmol/L | 19.4104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.701 | 169560.6244 | 298558.3965 | 59.9307 | 49.4
53366 | 2021-03-22 14:12 | 81.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.7146 | μmol/L | 19.4351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.705 | 169601.9723 | 298551.7968 | 59.9307 | 49.4
53376 | 2021-03-22 14:13 | 82.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.6101 | μmol/L | 19.4351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.711 | 169645.9267 | 298555.5224 | 59.9307 | 49.4
53386 | 2021-03-22 14:13 | 82.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.4307 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.717 | 169680.7343 | 298555.4304 | 59.9307 | 49.4
53396 | 2021-03-22 14:13 | 82.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.321 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.719 | 169717.5405 | 298544.9911 | 59.9307 | 49.4
53406 | 2021-03-22 14:14 | 83.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.309 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.724 | 169759.6913 | 298554.2086 | 59.9307 | 49.4
53416 | 2021-03-22 14:14 | 83.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.15 | μmol/L | 19.4536 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.731 | 169812.6182 | 298560.771 | 59.9307 | 49.4
53426 | 2021-03-22 14:14 | 83.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.0632 | μmol/L | 19.4536 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.736 | 169865.2664 | 298569.1375 | 59.9307 | 49.4
53436 | 2021-03-22 14:15 | 84.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.9618 | μmol/L | 19.4474 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.744 | 169918.516 | 298547.7246 | 59.9307 | 49.4
53446 | 2021-03-22 14:15 | 84.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.835 | μmol/L | 19.4598 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.747 | 169977.6486 | 298566.5244 | 59.9307 | 49.4